## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4185-8_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4185-8_0_2_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_4185-8_0_2_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_4185-8_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4185-8_0_2_node_32 | 0.4 | n |  | TRUE
5 | bus_LV_4185-8_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_4185-8_0_2_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_4185-8_0_2_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_4185-8_0_2_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_4185-8_0_2_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_4185-8_0_2_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_4185-8_0_2_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_4185-8_0_2_node_26 | 0.4 | n |  | TRUE
13 | bus_LV_4185-8_0_2_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_4185-8_0_2_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_4185-8_0_2_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_4185-8_0_2_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_4185-8_0_2_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_4185-8_0_2_node_27 | 0.4 | n |  | TRUE
19 | bus_LV_4185-8_0_2_node_64 | 0.4 | n |  | TRUE
20 | bus_LV_4185-8_0_2_node_51 | 0.4 | n |  | TRUE
21 | bus_LV_4185-8_0_2_node_54 | 0.4 | n |  | TRUE
22 | bus_LV_4185-8_0_2_node_53 | 0.4 | n |  | TRUE
23 | bus_LV_4185-8_0_2_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_4185-8_0_2_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_4185-8_0_2_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_4185-8_0_2_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_4185-8_0_2_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_4185-8_0_2_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_4185-8_0_2_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_4185-8_0_2_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_4185-8_0_2_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_4185-8_0_2_node_36 | 0.4 | n |  | TRUE
33 | bus_LV_4185-8_0_2_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_4185-8_0_2_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_4185-8_0_2_node_30 | 0.4 | n |  | TRUE
36 | bus_LV_4185-8_0_2_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_4185-8_0_2_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_4185-8_0_2_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_4185-8_0_2_node_38 | 0.4 | n |  | TRUE
40 | bus_LV_4185-8_0_2_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_4185-8_0_2_node_42 | 0.4 | n |  | TRUE
42 | bus_LV_4185-8_0_2_node_40 | 0.4 | n |  | TRUE
43 | bus_LV_4185-8_0_2_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_4185-8_0_2_node_41 | 0.4 | n |  | TRUE
45 | bus_LV_4185-8_0_2_node_43 | 0.4 | n |  | TRUE
46 | bus_LV_4185-8_0_2_node_44 | 0.4 | n |  | TRUE
47 | bus_LV_4185-8_0_2_node_45 | 0.4 | n |  | TRUE
48 | bus_LV_4185-8_0_2_node_46 | 0.4 | n |  | TRUE
49 | bus_LV_4185-8_0_2_node_52 | 0.4 | n |  | TRUE
50 | bus_LV_4185-8_0_2_node_47 | 0.4 | n |  | TRUE
51 | bus_LV_4185-8_0_2_node_48 | 0.4 | n |  | TRUE
52 | bus_LV_4185-8_0_2_node_49 | 0.4 | n |  | TRUE
53 | bus_LV_4185-8_0_2_node_50 | 0.4 | n |  | TRUE
54 | bus_LV_4185-8_0_2_node_66 | 0.4 | n |  | TRUE
55 | bus_LV_4185-8_0_2_node_55 | 0.4 | n |  | TRUE
56 | bus_LV_4185-8_0_2_node_163 | 0.4 | n |  | TRUE
57 | bus_LV_4185-8_0_2_node_56 | 0.4 | n |  | TRUE
58 | bus_LV_4185-8_0_2_node_57 | 0.4 | n |  | TRUE
59 | bus_LV_4185-8_0_2_node_92 | 0.4 | n |  | TRUE
60 | bus_LV_4185-8_0_2_node_162 | 0.4 | n |  | TRUE
61 | bus_LV_4185-8_0_2_node_164 | 0.4 | n |  | TRUE
62 | bus_LV_4185-8_0_2_node_165 | 0.4 | n |  | TRUE
63 | bus_LV_4185-8_0_2_node_65 | 0.4 | n |  | TRUE
64 | bus_LV_4185-8_0_2_node_94 | 0.4 | n |  | TRUE
65 | bus_LV_4185-8_0_2_node_93 | 0.4 | n |  | TRUE
66 | bus_MV_304_0_node_187 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4185-8_0_2_load_0 | 0 | 0.00096677 | 0.00024229 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4185-8_0_2_load_4 | 2 | 0.0089219 | 0.002236 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4185-8_0_2_load_32 | 4 | 0.0016206 | 0.00040617 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4185-8_0_2_load_5 | 5 | 0.0014227 | 0.00035657 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4185-8_0_2_load_6 | 6 | 0.001423 | 0.00035663 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4185-8_0_2_load_7 | 7 | 0.00146 | 0.0003659 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4185-8_0_2_load_8 | 8 | 0.00089522 | 0.00022436 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4185-8_0_2_load_9 | 9 | 0.0013377 | 0.00033525 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4185-8_0_2_load_10 | 10 | 0.00085453 | 0.00021417 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4185-8_0_2_load_26 | 12 | 0.00090087 | 0.00022578 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4185-8_0_2_load_11 | 13 | 0.00081096 | 0.00020325 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4185-8_0_2_load_12 | 14 | 0.00077389 | 0.00019396 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4185-8_0_2_load_27 | 18 | 0.0032969 | 0.00082628 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4185-8_0_2_load_64 | 19 | 0.00058299 | 0.00014611 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4185-8_0_2_load_51 | 20 | 0.014385 | 0.0036052 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4185-8_0_2_load_54 | 21 | 0.0010129 | 0.00025386 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4185-8_0_2_load_53 | 22 | 0.0033319 | 0.00083506 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4185-8_0_2_load_17 | 23 | 0.00085426 | 0.0002141 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4185-8_0_2_load_18 | 24 | 0.00082844 | 0.00020763 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4185-8_0_2_load_19 | 25 | 0.00089199 | 0.00022355 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4185-8_0_2_load_20 | 26 | 0.00089717 | 0.00022485 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4185-8_0_2_load_21 | 27 | 0.00093915 | 0.00023537 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4185-8_0_2_load_23 | 28 | 0.00085162 | 0.00021344 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4185-8_0_2_load_22 | 29 | 0.0008458 | 0.00021198 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4185-8_0_2_load_24 | 30 | 0.00088843 | 0.00022266 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4185-8_0_2_load_25 | 31 | 0.00085612 | 0.00021456 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4185-8_0_2_load_28 | 33 | 0.00080326 | 0.00020132 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4185-8_0_2_load_29 | 34 | 0.0017649 | 0.00044233 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4185-8_0_2_load_31 | 36 | 0.0023077 | 0.00057838 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4185-8_0_2_load_33 | 37 | 0.0024279 | 0.00060849 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4185-8_0_2_load_34 | 38 | 0.0014505 | 0.00036353 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4185-8_0_2_load_38 | 39 | 0.0014962 | 0.00037497 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4185-8_0_2_load_35 | 40 | 0.001787 | 0.00044785 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4185-8_0_2_load_42 | 41 | 0.0011112 | 0.00027849 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4185-8_0_2_load_40 | 42 | 0.0024844 | 0.00062266 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4185-8_0_2_load_37 | 43 | 0.0010987 | 0.00027536 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4185-8_0_2_load_41 | 44 | 0.0031508 | 0.00078965 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4185-8_0_2_load_43 | 45 | 0.0027381 | 0.00068624 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4185-8_0_2_load_44 | 46 | 0.0016218 | 0.00040645 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4185-8_0_2_load_45 | 47 | 0.0022606 | 0.00056656 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4185-8_0_2_load_52 | 49 | 0.0016027 | 0.00040167 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4185-8_0_2_load_47 | 50 | 0.0084807 | 0.0021255 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4185-8_0_2_load_48 | 51 | 0.0084032 | 0.002106 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4185-8_0_2_load_49 | 52 | 0.0020986 | 0.00052596 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4185-8_0_2_load_50 | 53 | 0.00077638 | 0.00019458 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4185-8_0_2_load_163 | 56 | 0.00059716 | 0.00014966 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4185-8_0_2_load_56 | 57 | 0.0011154 | 0.00027954 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4185-8_0_2_load_92 | 59 | 0.0016949 | 0.00042478 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4185-8_0_2_load_162 | 60 | 0.00070231 | 0.00017602 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4185-8_0_2_load_164 | 61 | 0.00092491 | 0.00023181 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4185-8_0_2_load_165 | 62 | 0.0017476 | 0.00043798 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4185-8_0_2_load_65 | 63 | 0.0028809 | 0.00072202 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4185-8_0_2_load_93 | 65 | 0.00026092 | 6.5393e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 12 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4185-8_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.048124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4185-8_0_2_line_1 | NAYY 4x150 SE | 1 | 2 | 0.04166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4185-8_0_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.045401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4185-8_0_2_line_3 | NAYY 4x150 SE | 3 | 4 | 0.46031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4185-8_0_2_line_4 | NAYY 4x150 SE | 4 | 35 | 0.036875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4185-8_0_2_line_5 | NAYY 4x150 SE | 5 | 6 | 0.003783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4185-8_0_2_line_6 | NAYY 4x150 SE | 5 | 7 | 0.003891 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4185-8_0_2_line_7 | NAYY 4x150 SE | 6 | 8 | 0.011274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4185-8_0_2_line_8 | NAYY 4x150 SE | 7 | 9 | 0.011611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4185-8_0_2_line_9 | NAYY 4x150 SE | 8 | 10 | 0.0013407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4185-8_0_2_line_10 | NAYY 4x150 SE | 9 | 11 | 0.028875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4185-8_0_2_line_11 | NAYY 4x150 SE | 10 | 12 | 0.023793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4185-8_0_2_line_12 | NAYY 4x150 SE | 11 | 18 | 0.0096922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4185-8_0_2_line_13 | NAYY 4x150 SE | 11 | 14 | 0.028633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4185-8_0_2_line_14 | NAYY 4x150 SE | 12 | 26 | 0.0012504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4185-8_0_2_line_15 | NAYY 4x150 SE | 13 | 14 | 0.015439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4185-8_0_2_line_16 | NAYY 4x150 SE | 13 | 15 | 0.013441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4185-8_0_2_line_17 | NAYY 4x150 SE | 15 | 16 | 0.023675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4185-8_0_2_line_18 | NAYY 4x150 SE | 15 | 17 | 0.05408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4185-8_0_2_line_19 | NAYY 4x150 SE | 16 | 19 | 0.022155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4185-8_0_2_line_20 | NAYY 4x150 SE | 17 | 20 | 0.013111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4185-8_0_2_line_21 | NAYY 4x150 SE | 17 | 21 | 0.016939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4185-8_0_2_line_22 | NAYY 4x150 SE | 17 | 22 | 0.023473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4185-8_0_2_line_23 | NAYY 4x150 SE | 18 | 32 | 0.031677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4185-8_0_2_line_24 | NAYY 4x150 SE | 19 | 63 | 0.012589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4185-8_0_2_line_25 | NAYY 4x150 SE | 20 | 53 | 0.026953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4185-8_0_2_line_26 | NAYY 4x150 SE | 21 | 56 | 0.020293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4185-8_0_2_line_27 | NAYY 4x150 SE | 23 | 24 | 0.0013057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4185-8_0_2_line_28 | NAYY 4x150 SE | 23 | 25 | 0.020428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4185-8_0_2_line_29 | NAYY 4x150 SE | 24 | 26 | 0.0021009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4185-8_0_2_line_30 | NAYY 4x150 SE | 25 | 27 | 0.00066145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4185-8_0_2_line_31 | NAYY 4x150 SE | 27 | 28 | 0.0025677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4185-8_0_2_line_32 | NAYY 4x150 SE | 28 | 29 | 0.0037618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4185-8_0_2_line_33 | NAYY 4x150 SE | 29 | 30 | 0.013548 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4185-8_0_2_line_34 | NAYY 4x150 SE | 30 | 31 | 0.005333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4185-8_0_2_line_35 | NAYY 4x150 SE | 32 | 41 | 0.024914 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4185-8_0_2_line_36 | NAYY 4x150 SE | 32 | 42 | 0.015119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4185-8_0_2_line_37 | NAYY 4x150 SE | 32 | 40 | 0.047065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4185-8_0_2_line_38 | NAYY 4x150 SE | 33 | 34 | 0.0078434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4185-8_0_2_line_39 | NAYY 4x150 SE | 33 | 35 | 0.026462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4185-8_0_2_line_40 | NAYY 4x150 SE | 34 | 36 | 0.030397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4185-8_0_2_line_41 | NAYY 4x150 SE | 35 | 37 | 0.0465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4185-8_0_2_line_42 | NAYY 4x150 SE | 36 | 38 | 0.0040754 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4185-8_0_2_line_43 | NAYY 4x150 SE | 37 | 39 | 0.026416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4185-8_0_2_line_44 | NAYY 4x150 SE | 38 | 40 | 0.014249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4185-8_0_2_line_45 | NAYY 4x150 SE | 39 | 43 | 0.02786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4185-8_0_2_line_46 | NAYY 4x150 SE | 41 | 45 | 0.0049786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4185-8_0_2_line_47 | NAYY 4x150 SE | 42 | 44 | 0.011028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4185-8_0_2_line_48 | NAYY 4x150 SE | 45 | 46 | 0.00071243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4185-8_0_2_line_49 | NAYY 4x150 SE | 46 | 47 | 0.0095825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4185-8_0_2_line_50 | NAYY 4x150 SE | 47 | 48 | 0.017836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4185-8_0_2_line_51 | NAYY 4x150 SE | 48 | 49 | 0.043896 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4185-8_0_2_line_52 | NAYY 4x150 SE | 49 | 54 | 0.083834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4185-8_0_2_line_53 | NAYY 4x150 SE | 49 | 55 | 0.053879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4185-8_0_2_line_54 | NAYY 4x150 SE | 50 | 51 | 0.020887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4185-8_0_2_line_55 | NAYY 4x150 SE | 50 | 52 | 0.0047402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4185-8_0_2_line_56 | NAYY 4x150 SE | 51 | 53 | 0.017789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4185-8_0_2_line_57 | NAYY 4x150 SE | 54 | 64 | 0.057789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4185-8_0_2_line_58 | NAYY 4x150 SE | 55 | 57 | 0.023275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4185-8_0_2_line_59 | NAYY 4x150 SE | 55 | 58 | 0.036877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4185-8_0_2_line_60 | NAYY 4x150 SE | 56 | 60 | 0.018212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4185-8_0_2_line_61 | NAYY 4x150 SE | 58 | 59 | 0.0085613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4185-8_0_2_line_62 | NAYY 4x150 SE | 60 | 61 | 0.0024584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4185-8_0_2_line_63 | NAYY 4x150 SE | 61 | 62 | 0.012508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4185-8_0_2_line_64 | NAYY 4x150 SE | 64 | 65 | 0.024245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4185-8_0_2_trafo_26 | 0.25 MVA 20/0.4 kV | 66 | 12 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2648639.3525 | 1261479.2204 | 2648629.388 | 1261495.2499 | 2648619.2391 | 1261494.2992 | 2648600.3251 | 1261491.9769
1 | 2648639.3525 | 1261479.2204 | 2648623.2596 | 1261462.5763 | 2648609.5989 | 1261450.0884
2 | 2648573.0232 | 1261423.4137 | 2648580.8787 | 1261428.404 | 2648598.872 | 1261440.2824 | 2648609.5989 | 1261450.0884
3 | 2648800.8007 | 1261023.4109 | 2648573.0232 | 1261423.4137
4 | 2648783.3573 | 1260991.0686 | 2648790.0539 | 1261000.475 | 2648800.8007 | 1261023.4109
5 | 2648789.5508 | 1260924.586 | 2648793.3334 | 1260924.5323
6 | 2648785.6601 | 1260924.6412 | 2648789.5508 | 1260924.586
7 | 2648804.1778 | 1260927.0725 | 2648796.6035 | 1260924.486 | 2648793.3334 | 1260924.5323
8 | 2648774.8854 | 1260921.0212 | 2648777.1156 | 1260922.8131 | 2648785.2011 | 1260924.6477 | 2648785.6601 | 1260924.6412
9 | 2648804.9497 | 1260928.1686 | 2648804.1778 | 1260927.0725 | 2648804.1778 | 1260927.0725
10 | 2648767.969 | 1260895.2181 | 2648766.8915 | 1260902.5255 | 2648766.8353 | 1260909.341 | 2648769.8169 | 1260916.9488 | 2648774.8854 | 1260921.0212
11 | 2648804.9497 | 1260928.1686 | 2648812.9443 | 1260939.5203 | 2648817.8846 | 1260948.1101
12 | 2648767.969 | 1260895.2181 | 2648762.873 | 1260889.9835 | 2648760.753 | 1260888.8872
13 | 2648767.969 | 1260895.2181 | 2648775.9643 | 1260893.3715 | 2648785.1576 | 1260881.4833 | 2648789.8342 | 1260878.7849
14 | 2648817.8846 | 1260948.1101 | 2648818.508 | 1260949.194
15 | 2648789.8342 | 1260878.7849 | 2648799.4072 | 1260873.2615 | 2648803.7737 | 1260872.8417
16 | 2648816.0415 | 1260867.35 | 2648803.7737 | 1260872.8417 | 2648803.7737 | 1260872.8417
17 | 2648816.0415 | 1260867.35 | 2648802.8737 | 1260847.6497
18 | 2648854.4307 | 1260876.0506 | 2648851.9397 | 1260877.4867 | 2648844.1108 | 1260881.9919 | 2648829.8223 | 1260889.4572 | 2648816.0415 | 1260867.35
19 | 2648802.8737 | 1260847.6497 | 2648808.2994 | 1260842.1571 | 2648809.0033 | 1260836.3032 | 2648807.0693 | 1260833.2407 | 2648802.9111 | 1260830.6183
20 | 2648854.4307 | 1260876.0506 | 2648860.1955 | 1260875.1198 | 2648866.9015 | 1260877.9327
21 | 2648854.4307 | 1260876.0506 | 2648862.1287 | 1260891.1399
22 | 2648854.4307 | 1260876.0506 | 2648855.5551 | 1260870.3781 | 2648853.1897 | 1260862.0749 | 2648848.4711 | 1260854.3442
23 | 2648733.8222 | 1260873.7216 | 2648741.6513 | 1260875.5763 | 2648747.5134 | 1260882.0403 | 2648760.753 | 1260888.8872
24 | 2648792.9952 | 1260822.9173 | 2648799.048 | 1260828.1821 | 2648802.9111 | 1260830.6183
25 | 2648888.2711 | 1260893.9586 | 2648877.5543 | 1260883.6802 | 2648866.9015 | 1260877.9327 | 2648866.9015 | 1260877.9327
26 | 2648871.3505 | 1260909.216 | 2648862.1287 | 1260891.1399
27 | 2648820.2063 | 1260952.147 | 2648819.5554 | 1260951.0152
28 | 2648829.4808 | 1260970.3368 | 2648823.0771 | 1260957.1386 | 2648820.2063 | 1260952.147
29 | 2648818.508 | 1260949.194 | 2648819.5554 | 1260951.0152
30 | 2648829.7695 | 1260970.9319 | 2648829.4808 | 1260970.3368
31 | 2648829.7695 | 1260970.9319 | 2648830.6495 | 1260972.7455 | 2648831.023 | 1260973.1518
32 | 2648833.569 | 1260975.921 | 2648831.023 | 1260973.1518
33 | 2648842.7384 | 1260985.8945 | 2648833.569 | 1260975.921
34 | 2648846.3478 | 1260989.8204 | 2648842.7384 | 1260985.8945
35 | 2648733.8222 | 1260873.7216 | 2648747.2257 | 1260852.72
36 | 2648733.8222 | 1260873.7216 | 2648719.6716 | 1260868.3982
37 | 2648733.8222 | 1260873.7216 | 2648738.0121 | 1260897.4841 | 2648741.7168 | 1260916.1057 | 2648742.4743 | 1260919.9819
38 | 2648768.0526 | 1260969.4811 | 2648765.6591 | 1260966.1051 | 2648763.4971 | 1260963.0962
39 | 2648783.3573 | 1260991.0686 | 2648768.0526 | 1260969.4811
40 | 2648747.1195 | 1260937.5627 | 2648752.9123 | 1260948.3652 | 2648763.4971 | 1260963.0962
41 | 2648783.3573 | 1260991.0686 | 2648779.5944 | 1260994.1398 | 2648775.7966 | 1260995.9654 | 2648771.5252 | 1260995.8301 | 2648766.9851 | 1260992.646 | 2648755.4859 | 1260982.6219 | 2648749.9906 | 1260978.2958 | 2648745.1057 | 1260976.086
42 | 2648745.2071 | 1260933.9663 | 2648745.2164 | 1260934.0139 | 2648747.1195 | 1260937.5627
43 | 2648718.8713 | 1260973.3884 | 2648720.8152 | 1260973.5523 | 2648733.5544 | 1260974.8358 | 2648744.3826 | 1260975.7589 | 2648745.1057 | 1260976.086
44 | 2648745.2071 | 1260933.9663 | 2648742.4743 | 1260919.9819
45 | 2648691.1099 | 1260971.0477 | 2648718.8713 | 1260973.3884
46 | 2648749.9041 | 1260848.5233 | 2648747.2257 | 1260852.72
47 | 2648719.6716 | 1260868.3982 | 2648709.3496 | 1260864.5152
48 | 2648750.2874 | 1260847.9227 | 2648749.9041 | 1260848.5233
49 | 2648750.2874 | 1260847.9227 | 2648755.4426 | 1260839.8451
50 | 2648765.0379 | 1260824.8105 | 2648755.4426 | 1260839.8451
51 | 2648765.0379 | 1260824.8105 | 2648754.2402 | 1260813.7471 | 2648744.6115 | 1260797.9899 | 2648739.6548 | 1260789.3387
52 | 2648679.926 | 1260732.0775 | 2648687.1973 | 1260742.2223 | 2648696.0774 | 1260751.9133 | 2648709.4447 | 1260760.2626 | 2648720.8022 | 1260768.3284 | 2648729.2309 | 1260775.1804 | 2648736.2393 | 1260783.3773 | 2648739.6548 | 1260789.3387
53 | 2648763.1602 | 1260740.8576 | 2648739.6548 | 1260789.3387
54 | 2648916.1838 | 1260920.7295 | 2648901.1093 | 1260906.2717
55 | 2648919.6048 | 1260924.0106 | 2648916.1838 | 1260920.7295
56 | 2648888.2711 | 1260893.9586 | 2648901.1093 | 1260906.2717
57 | 2648730.4573 | 1260704.04 | 2648679.926 | 1260732.0775
58 | 2648763.1602 | 1260740.8576 | 2648744.1111 | 1260727.4835
59 | 2648790.57 | 1260716.7663 | 2648788.022 | 1260718.7134 | 2648765.9993 | 1260735.5884 | 2648763.1602 | 1260740.8576
60 | 2648879.6269 | 1260925.4392 | 2648871.3505 | 1260909.216
61 | 2648790.57 | 1260716.7663 | 2648797.3654 | 1260711.5588
62 | 2648879.6269 | 1260925.4392 | 2648880.7441 | 1260927.6291
63 | 2648886.428 | 1260938.7705 | 2648880.7441 | 1260927.6291
64 | 2648730.4573 | 1260704.04 | 2648738.8237 | 1260688.2754 | 2648740.7367 | 1260682.1702

## bus_geodata
| x | y | coords
0 | 2648600.3251 | 1261491.9769
1 | 2648639.3525 | 1261479.2204
2 | 2648609.5989 | 1261450.0884
3 | 2648573.0232 | 1261423.4137
4 | 2648800.8007 | 1261023.4109
5 | 2648789.5508 | 1260924.586
6 | 2648793.3334 | 1260924.5323
7 | 2648785.6601 | 1260924.6412
8 | 2648804.1778 | 1260927.0725
9 | 2648774.8854 | 1260921.0212
10 | 2648804.9497 | 1260928.1686
11 | 2648767.969 | 1260895.2181
12 | 2648817.8846 | 1260948.1101
13 | 2648803.7737 | 1260872.8417
14 | 2648789.8342 | 1260878.7849
15 | 2648816.0415 | 1260867.35
16 | 2648802.8737 | 1260847.6497
17 | 2648854.4307 | 1260876.0506
18 | 2648760.753 | 1260888.8872
19 | 2648802.9111 | 1260830.6183
20 | 2648866.9015 | 1260877.9327
21 | 2648862.1287 | 1260891.1399
22 | 2648848.4711 | 1260854.3442
23 | 2648820.2063 | 1260952.147
24 | 2648819.5554 | 1260951.0152
25 | 2648829.4808 | 1260970.3368
26 | 2648818.508 | 1260949.194
27 | 2648829.7695 | 1260970.9319
28 | 2648831.023 | 1260973.1518
29 | 2648833.569 | 1260975.921
30 | 2648842.7384 | 1260985.8945
31 | 2648846.3478 | 1260989.8204
32 | 2648733.8222 | 1260873.7216
33 | 2648768.0526 | 1260969.4811
34 | 2648763.4971 | 1260963.0962
35 | 2648783.3573 | 1260991.0686
36 | 2648747.1195 | 1260937.5627
37 | 2648745.1057 | 1260976.086
38 | 2648745.2071 | 1260933.9663
39 | 2648718.8713 | 1260973.3884
40 | 2648742.4743 | 1260919.9819
41 | 2648747.2257 | 1260852.72
42 | 2648719.6716 | 1260868.3982
43 | 2648691.1099 | 1260971.0477
44 | 2648709.3496 | 1260864.5152
45 | 2648749.9041 | 1260848.5233
46 | 2648750.2874 | 1260847.9227
47 | 2648755.4426 | 1260839.8451
48 | 2648765.0379 | 1260824.8105
49 | 2648739.6548 | 1260789.3387
50 | 2648916.1838 | 1260920.7295
51 | 2648901.1093 | 1260906.2717
52 | 2648919.6048 | 1260924.0106
53 | 2648888.2711 | 1260893.9586
54 | 2648679.926 | 1260732.0775
55 | 2648763.1602 | 1260740.8576
56 | 2648871.3505 | 1260909.216
57 | 2648744.1111 | 1260727.4835
58 | 2648790.57 | 1260716.7663
59 | 2648797.3654 | 1260711.5587
60 | 2648879.6269 | 1260925.4392
61 | 2648880.7441 | 1260927.6291
62 | 2648886.428 | 1260938.7705
63 | 2648792.9952 | 1260822.9173
64 | 2648730.4573 | 1260704.04
65 | 2648740.7367 | 1260682.1702
66 | 2648846.3478 | 1260989.8204

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1