## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_431-5_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_431-5_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_431-5_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_431-5_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_431-5_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_431-5_0_3_node_19 | 0.4 | n |  | TRUE
6 | bus_LV_431-5_0_3_node_23 | 0.4 | n |  | TRUE
7 | bus_LV_431-5_0_3_node_34 | 0.4 | n |  | TRUE
8 | bus_LV_431-5_0_3_node_27 | 0.4 | n |  | TRUE
9 | bus_LV_431-5_0_3_node_22 | 0.4 | n |  | TRUE
10 | bus_LV_431-5_0_3_node_26 | 0.4 | n |  | TRUE
11 | bus_LV_431-5_0_3_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_431-5_0_3_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_431-5_0_3_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_431-5_0_3_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_431-5_0_3_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_431-5_0_3_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_431-5_0_3_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_431-5_0_3_node_82 | 0.4 | n |  | TRUE
19 | bus_LV_431-5_0_3_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_431-5_0_3_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_431-5_0_3_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_431-5_0_3_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_431-5_0_3_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_431-5_0_3_node_73 | 0.4 | n |  | TRUE
25 | bus_LV_431-5_0_3_node_76 | 0.4 | n |  | TRUE
26 | bus_LV_431-5_0_3_node_80 | 0.4 | n |  | TRUE
27 | bus_LV_431-5_0_3_node_71 | 0.4 | n |  | TRUE
28 | bus_LV_431-5_0_3_node_77 | 0.4 | n |  | TRUE
29 | bus_LV_431-5_0_3_node_74 | 0.4 | n |  | TRUE
30 | bus_LV_431-5_0_3_node_81 | 0.4 | n |  | TRUE
31 | bus_LV_431-5_0_3_node_15 | 0.4 | n |  | TRUE
32 | bus_LV_431-5_0_3_node_17 | 0.4 | n |  | TRUE
33 | bus_LV_431-5_0_3_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_431-5_0_3_node_43 | 0.4 | n |  | TRUE
35 | bus_LV_431-5_0_3_node_36 | 0.4 | n |  | TRUE
36 | bus_LV_431-5_0_3_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_431-5_0_3_node_35 | 0.4 | n |  | TRUE
38 | bus_LV_431-5_0_3_node_42 | 0.4 | n |  | TRUE
39 | bus_LV_431-5_0_3_node_21 | 0.4 | n |  | TRUE
40 | bus_LV_431-5_0_3_node_24 | 0.4 | n |  | TRUE
41 | bus_LV_431-5_0_3_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_431-5_0_3_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_431-5_0_3_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_431-5_0_3_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_431-5_0_3_node_31 | 0.4 | n |  | TRUE
46 | bus_LV_431-5_0_3_node_37 | 0.4 | n |  | TRUE
47 | bus_LV_431-5_0_3_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_431-5_0_3_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_431-5_0_3_node_54 | 0.4 | n |  | TRUE
50 | bus_LV_431-5_0_3_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_431-5_0_3_node_55 | 0.4 | n |  | TRUE
52 | bus_LV_431-5_0_3_node_40 | 0.4 | n |  | TRUE
53 | bus_LV_431-5_0_3_node_44 | 0.4 | n |  | TRUE
54 | bus_LV_431-5_0_3_node_49 | 0.4 | n |  | TRUE
55 | bus_LV_431-5_0_3_node_61 | 0.4 | n |  | TRUE
56 | bus_LV_431-5_0_3_node_47 | 0.4 | n |  | TRUE
57 | bus_LV_431-5_0_3_node_45 | 0.4 | n |  | TRUE
58 | bus_LV_431-5_0_3_node_46 | 0.4 | n |  | TRUE
59 | bus_LV_431-5_0_3_node_48 | 0.4 | n |  | TRUE
60 | bus_LV_431-5_0_3_node_50 | 0.4 | n |  | TRUE
61 | bus_LV_431-5_0_3_node_62 | 0.4 | n |  | TRUE
62 | bus_LV_431-5_0_3_node_59 | 0.4 | n |  | TRUE
63 | bus_LV_431-5_0_3_node_56 | 0.4 | n |  | TRUE
64 | bus_LV_431-5_0_3_node_83 | 0.4 | n |  | TRUE
65 | bus_LV_431-5_0_3_node_53 | 0.4 | n |  | TRUE
66 | bus_LV_431-5_0_3_node_60 | 0.4 | n |  | TRUE
67 | bus_LV_431-5_0_3_node_51 | 0.4 | n |  | TRUE
68 | bus_LV_431-5_0_3_node_52 | 0.4 | n |  | TRUE
69 | bus_LV_431-5_0_3_node_57 | 0.4 | n |  | TRUE
70 | bus_LV_431-5_0_3_node_64 | 0.4 | n |  | TRUE
71 | bus_LV_431-5_0_3_node_67 | 0.4 | n |  | TRUE
72 | bus_LV_431-5_0_3_node_68 | 0.4 | n |  | TRUE
73 | bus_LV_431-5_0_3_node_66 | 0.4 | n |  | TRUE
74 | bus_LV_431-5_0_3_node_63 | 0.4 | n |  | TRUE
75 | bus_LV_431-5_0_3_node_65 | 0.4 | n |  | TRUE
76 | bus_LV_431-5_0_3_node_70 | 0.4 | n |  | TRUE
77 | bus_LV_431-5_0_3_node_72 | 0.4 | n |  | TRUE
78 | bus_LV_431-5_0_3_node_75 | 0.4 | n |  | TRUE
79 | bus_LV_431-5_0_3_node_78 | 0.4 | n |  | TRUE
80 | bus_LV_431-5_0_3_node_79 | 0.4 | n |  | TRUE
81 | bus_MV_308_1_node_26 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_431-5_0_3_load_0 | 0 | 0.0040708 | 0.0010202 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_431-5_0_3_load_1 | 1 | 0.0046416 | 0.0011633 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_431-5_0_3_load_3 | 3 | 0.0045949 | 0.0011516 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_431-5_0_3_load_19 | 5 | 0.0016711 | 0.00041883 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_431-5_0_3_load_34 | 7 | 0.0040784 | 0.0010222 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_431-5_0_3_load_27 | 8 | 0.0026445 | 0.00066277 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_431-5_0_3_load_26 | 10 | 0.0048078 | 0.0012049 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_431-5_0_3_load_5 | 11 | 0.0014777 | 0.00037035 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_431-5_0_3_load_8 | 14 | 0.00020265 | 5.079e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_431-5_0_3_load_9 | 15 | 0.0019542 | 0.00048977 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_431-5_0_3_load_82 | 18 | 0.0015946 | 0.00039963 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_431-5_0_3_load_14 | 23 | 0.0025478 | 0.00063855 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_431-5_0_3_load_73 | 24 | 0.00057375 | 0.0001438 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_431-5_0_3_load_80 | 26 | 0.00086067 | 0.0002157 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_431-5_0_3_load_71 | 27 | 0.0012333 | 0.00030909 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_431-5_0_3_load_74 | 29 | 0.0020855 | 0.00052267 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_431-5_0_3_load_81 | 30 | 0.017906 | 0.0044877 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_431-5_0_3_load_15 | 31 | 0.0043325 | 0.0010858 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_431-5_0_3_load_17 | 32 | 0.010804 | 0.0027077 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_431-5_0_3_load_25 | 33 | 0.0042525 | 0.0010658 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_431-5_0_3_load_43 | 34 | 0.0037226 | 0.00093298 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_431-5_0_3_load_35 | 37 | 0.0015706 | 0.00039363 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_431-5_0_3_load_21 | 39 | 0.0031261 | 0.00078347 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_431-5_0_3_load_24 | 40 | 0.0032262 | 0.00080856 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_431-5_0_3_load_33 | 41 | 0.0058695 | 0.001471 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_431-5_0_3_load_28 | 42 | 0.0024697 | 0.00061896 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_431-5_0_3_load_29 | 43 | 0.0085897 | 0.0021528 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_431-5_0_3_load_30 | 44 | 0.0017258 | 0.00043252 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_431-5_0_3_load_31 | 45 | 0.0025505 | 0.00063923 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_431-5_0_3_load_37 | 46 | 0.0014428 | 0.00036159 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_431-5_0_3_load_38 | 47 | 0.0023747 | 0.00059515 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_431-5_0_3_load_41 | 48 | 0.0029822 | 0.0007474 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_431-5_0_3_load_54 | 49 | 0.00068726 | 0.00017224 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_431-5_0_3_load_39 | 50 | 0.0056186 | 0.0014082 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_431-5_0_3_load_55 | 51 | 0.00093812 | 0.00023511 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_431-5_0_3_load_40 | 52 | 0.012636 | 0.0031669 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_431-5_0_3_load_44 | 53 | 0.0035499 | 0.00088968 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_431-5_0_3_load_61 | 55 | 0.002211 | 0.00055414 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_431-5_0_3_load_47 | 56 | 0.0015393 | 0.0003858 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_431-5_0_3_load_45 | 57 | 0.0010291 | 0.0002579 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_431-5_0_3_load_46 | 58 | 0.0022911 | 0.0005742 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_431-5_0_3_load_48 | 59 | 0.0014276 | 0.00035778 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_431-5_0_3_load_62 | 61 | 0.001955 | 0.00048996 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_431-5_0_3_load_83 | 64 | 0.0013185 | 0.00033044 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_431-5_0_3_load_51 | 67 | 0.0013088 | 0.00032802 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_431-5_0_3_load_52 | 68 | 0.0015239 | 0.00038192 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_431-5_0_3_load_57 | 69 | 0.0020283 | 0.00050833 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_431-5_0_3_load_67 | 71 | 0.0013729 | 0.00034409 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_431-5_0_3_load_68 | 72 | 0.0014198 | 0.00035583 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_431-5_0_3_load_66 | 73 | 0.0018338 | 0.0004596 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_431-5_0_3_load_63 | 74 | 0.0017719 | 0.00044408 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_431-5_0_3_load_65 | 75 | 0.0017726 | 0.00044426 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_431-5_0_3_load_70 | 76 | 0.0035495 | 0.00088959 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_431-5_0_3_load_72 | 77 | 0.062539 | 0.015674 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_431-5_0_3_load_75 | 78 | 0.0021042 | 0.00052735 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_431-5_0_3_load_78 | 79 | 0.0013488 | 0.00033805 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_431-5_0_3_load_79 | 80 | 0.00096865 | 0.00024277 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 15 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_431-5_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0062649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_431-5_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.015241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_431-5_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.033173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_431-5_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.004507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_431-5_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.075987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_431-5_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.017776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_431-5_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.011003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_431-5_0_3_line_7 | NAYY 4x150 SE | 6 | 8 | 0.023239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_431-5_0_3_line_8 | NAYY 4x150 SE | 6 | 9 | 0.033099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_431-5_0_3_line_9 | NAYY 4x150 SE | 7 | 10 | 0.0075087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_431-5_0_3_line_10 | NAYY 4x150 SE | 8 | 42 | 0.00028413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_431-5_0_3_line_11 | NAYY 4x150 SE | 9 | 40 | 0.020719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_431-5_0_3_line_12 | NAYY 4x150 SE | 9 | 39 | 0.01793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_431-5_0_3_line_13 | NAYY 4x150 SE | 10 | 33 | 0.014938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_431-5_0_3_line_14 | NAYY 4x150 SE | 11 | 12 | 0.027189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
15 | LV_431-5_0_3_line_15 | NAYY 4x150 SE | 11 | 13 | 0.035598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
16 | LV_431-5_0_3_line_16 | NAYY 4x150 SE | 12 | 14 | 0.031456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
17 | LV_431-5_0_3_line_17 | NAYY 4x150 SE | 13 | 15 | 0.031266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
18 | LV_431-5_0_3_line_18 | NAYY 4x150 SE | 13 | 16 | 0.055278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
19 | LV_431-5_0_3_line_19 | NAYY 4x150 SE | 14 | 17 | 0.073941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
20 | LV_431-5_0_3_line_20 | NAYY 4x150 SE | 16 | 18 | 0.016573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_431-5_0_3_line_21 | NAYY 4x150 SE | 16 | 19 | 0.024342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
22 | LV_431-5_0_3_line_22 | NAYY 4x150 SE | 17 | 20 | 0.067009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
23 | LV_431-5_0_3_line_23 | NAYY 4x150 SE | 17 | 21 | 0.026857 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_431-5_0_3_line_24 | NAYY 4x150 SE | 19 | 22 | 0.056418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
25 | LV_431-5_0_3_line_25 | NAYY 4x150 SE | 19 | 23 | 0.0045411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_431-5_0_3_line_26 | NAYY 4x150 SE | 20 | 24 | 0.012823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_431-5_0_3_line_27 | NAYY 4x150 SE | 20 | 25 | 0.058709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_431-5_0_3_line_28 | NAYY 4x150 SE | 21 | 26 | 0.038478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_431-5_0_3_line_29 | NAYY 4x150 SE | 22 | 34 | 0.016151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_431-5_0_3_line_30 | NAYY 4x150 SE | 23 | 31 | 0.014482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_431-5_0_3_line_31 | NAYY 4x150 SE | 24 | 27 | 0.01231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_431-5_0_3_line_32 | NAYY 4x150 SE | 25 | 28 | 0.11625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_431-5_0_3_line_33 | NAYY 4x150 SE | 25 | 29 | 0.055602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_431-5_0_3_line_34 | NAYY 4x150 SE | 26 | 30 | 0.09182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_431-5_0_3_line_35 | NAYY 4x150 SE | 27 | 76 | 0.045861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_431-5_0_3_line_36 | NAYY 4x150 SE | 28 | 79 | 0.019835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_431-5_0_3_line_37 | NAYY 4x150 SE | 29 | 78 | 0.038994 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_431-5_0_3_line_38 | NAYY 4x150 SE | 31 | 32 | 0.0078344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_431-5_0_3_line_39 | NAYY 4x150 SE | 32 | 33 | 0.0064106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_431-5_0_3_line_40 | NAYY 4x150 SE | 34 | 38 | 0.027497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_431-5_0_3_line_41 | NAYY 4x150 SE | 35 | 36 | 0.033337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_431-5_0_3_line_42 | NAYY 4x150 SE | 35 | 37 | 0.013772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_431-5_0_3_line_43 | NAYY 4x150 SE | 36 | 46 | 0.037515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_431-5_0_3_line_44 | NAYY 4x150 SE | 36 | 47 | 0.011934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_431-5_0_3_line_45 | NAYY 4x150 SE | 36 | 44 | 0.017577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_431-5_0_3_line_46 | NAYY 4x150 SE | 38 | 52 | 0.01169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_431-5_0_3_line_47 | NAYY 4x150 SE | 40 | 41 | 0.007755 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_431-5_0_3_line_48 | NAYY 4x150 SE | 43 | 44 | 0.030748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_431-5_0_3_line_49 | NAYY 4x150 SE | 43 | 45 | 0.0039402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_431-5_0_3_line_50 | NAYY 4x150 SE | 46 | 48 | 0.018265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_431-5_0_3_line_51 | NAYY 4x150 SE | 47 | 49 | 0.013499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_431-5_0_3_line_52 | NAYY 4x150 SE | 48 | 50 | 0.013053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_431-5_0_3_line_53 | NAYY 4x150 SE | 49 | 51 | 0.020061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_431-5_0_3_line_54 | NAYY 4x150 SE | 50 | 52 | 0.015709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_431-5_0_3_line_55 | NAYY 4x150 SE | 51 | 63 | 0.015298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_431-5_0_3_line_56 | NAYY 4x150 SE | 53 | 54 | 0.0031688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_431-5_0_3_line_57 | NAYY 4x150 SE | 54 | 55 | 0.012392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_431-5_0_3_line_58 | NAYY 4x150 SE | 54 | 56 | 0.021252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_431-5_0_3_line_59 | NAYY 4x150 SE | 56 | 57 | 0.025399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_431-5_0_3_line_60 | NAYY 4x150 SE | 57 | 58 | 0.01511 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_431-5_0_3_line_61 | NAYY 4x150 SE | 58 | 59 | 0.018955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_431-5_0_3_line_62 | NAYY 4x150 SE | 59 | 60 | 0.020453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_431-5_0_3_line_63 | NAYY 4x150 SE | 60 | 61 | 0.021194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_431-5_0_3_line_64 | NAYY 4x150 SE | 60 | 62 | 0.037782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_431-5_0_3_line_65 | NAYY 4x150 SE | 60 | 63 | 0.021221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_431-5_0_3_line_66 | NAYY 4x150 SE | 62 | 64 | 0.032595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_431-5_0_3_line_67 | NAYY 4x150 SE | 62 | 65 | 0.011539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_431-5_0_3_line_68 | NAYY 4x150 SE | 63 | 66 | 0.060936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_431-5_0_3_line_69 | NAYY 4x150 SE | 65 | 69 | 0.018338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_431-5_0_3_line_70 | NAYY 4x150 SE | 65 | 68 | 0.029856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_431-5_0_3_line_71 | NAYY 4x150 SE | 66 | 70 | 0.023021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_431-5_0_3_line_72 | NAYY 4x150 SE | 66 | 71 | 0.016628 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_431-5_0_3_line_73 | NAYY 4x150 SE | 67 | 68 | 0.027118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_431-5_0_3_line_74 | NAYY 4x150 SE | 70 | 73 | 0.04422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_431-5_0_3_line_75 | NAYY 4x150 SE | 70 | 74 | 0.019493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_431-5_0_3_line_76 | NAYY 4x150 SE | 71 | 72 | 0.0026664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_431-5_0_3_line_77 | NAYY 4x150 SE | 74 | 75 | 0.0069937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_431-5_0_3_line_78 | NAYY 4x150 SE | 76 | 77 | 0.090771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_431-5_0_3_line_79 | NAYY 4x150 SE | 79 | 80 | 0.0392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_431-5_0_3_trafo_9 | 0.25 MVA 20/0.4 kV | 81 | 15 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16
0 | 2576932.151 | 1226927.3368 | 2576928.9129 | 1226932.7
1 | 2576922.0395 | 1226946.2985 | 2576928.2957 | 1226933.7222 | 2576928.9129 | 1226932.7
2 | 2576922.0395 | 1226946.2985 | 2576912.6849 | 1226939.6977 | 2576896.5715 | 1226927.5866 | 2576895.2945 | 1226926.6783
3 | 2576925.7327 | 1226948.8968 | 2576922.0395 | 1226946.2985
4 | 2576832.1751 | 1226884.7027 | 2576835.0932 | 1226886.2353 | 2576847.1978 | 1226892.5251 | 2576864.1773 | 1226903.2207 | 2576880.2175 | 1226915.9546 | 2576895.2945 | 1226926.6783
5 | 2576925.7327 | 1226948.8968 | 2576918.702 | 1226949.4023 | 2576910.3785 | 1226948.7565 | 2576908.0417 | 1226948.0874
6 | 2576925.7327 | 1226948.8968 | 2576936.3646 | 1226951.7304
7 | 2576908.0417 | 1226948.0874 | 2576900.3351 | 1226970.0111
8 | 2576876.3262 | 1226938.3275 | 2576882.0472 | 1226940.1174 | 2576899.1804 | 1226945.5649 | 2576908.0417 | 1226948.0874
9 | 2576936.3646 | 1226951.7304 | 2576943.6201 | 1226953.6641
10 | 2576900.2409 | 1226970.2791 | 2576900.3351 | 1226970.0111
11 | 2576876.3262 | 1226938.3275 | 2576867.686 | 1226957.159
12 | 2576876.3262 | 1226938.3275 | 2576869.725 | 1226936.2743 | 2576859.2185 | 1226932.9616
13 | 2576958.0538 | 1226957.511 | 2576943.6201 | 1226953.6641
14 | 2577076.1288 | 1226910.7349 | 2577069.0665 | 1226936.9909
15 | 2577059.82 | 1226971.3674 | 2577069.0665 | 1226936.9909
16 | 2577076.1288 | 1226910.7349 | 2577100.7208 | 1226916.6544 | 2577106.6817 | 1226918.2126
17 | 2577039.2036 | 1226954.8596 | 2577039.6848 | 1226963.6519 | 2577041.493 | 1226966.7912 | 2577059.82 | 1226971.3674
18 | 2577013.9274 | 1226971.7899 | 2577016.1802 | 1226972.3259 | 2577047.4555 | 1226980.0538 | 2577057.0495 | 1226981.9733 | 2577059.82 | 1226971.3674
19 | 2577178.2196 | 1226936.912 | 2577106.6817 | 1226918.2126
20 | 2577012.2038 | 1226955.309 | 2577013.9274 | 1226971.7899
21 | 2576990.2002 | 1226966.0786 | 2576998.5053 | 1226967.8363 | 2577011.1815 | 1226971.1335 | 2577013.9274 | 1226971.7899
22 | 2577178.2196 | 1226936.912 | 2577243.306 | 1226953.605
23 | 2577182.3549 | 1226910.7138 | 2577181.3287 | 1226911.8629 | 2577180.1927 | 1226915.9919 | 2577180.0307 | 1226921.1623 | 2577179.6273 | 1226926.5893 | 2577178.2196 | 1226936.912
24 | 2576990.2002 | 1226966.0786 | 2576986.6567 | 1226972.7297 | 2576982.1755 | 1226981.8525 | 2576980.4156 | 1226989.2193 | 2576980.0981 | 1226997.2253 | 2576981.2137 | 1227003.4691 | 2576982.3343 | 1227009.0681 | 2576982.1754 | 1227014.9944 | 2576979.6162 | 1227019.4737
25 | 2576990.2002 | 1226966.0786 | 2576985.8123 | 1226964.9091
26 | 2577243.306 | 1226953.605 | 2577244.4254 | 1226940.8314
27 | 2577243.306 | 1226953.605 | 2577272.0637 | 1226960.9768 | 2577300.3881 | 1226968.0057
28 | 2577182.3549 | 1226910.7138 | 2577172.2892 | 1226908.3289 | 2577162.9082 | 1226906.6196 | 2577156.0364 | 1226905.123 | 2577150.4365 | 1226903.299 | 2577145.6301 | 1226900.8939 | 2577145.3834 | 1226900.7211
29 | 2576979.6162 | 1227019.4737 | 2576976.5732 | 1227026.1895 | 2576975.7698 | 1227028.116 | 2576973.5578 | 1227034.4309
30 | 2576971.8184 | 1226961.1795 | 2576985.8123 | 1226964.9091
31 | 2577244.4254 | 1226940.8314 | 2577244.5184 | 1226939.7698 | 2577246.4366 | 1226928.6906
32 | 2577300.3881 | 1226968.0057 | 2577308.8081 | 1226970.0969 | 2577320.5958 | 1226972.9869 | 2577329.0407 | 1226975.6561 | 2577337.2696 | 1226979.3268 | 2577346.7157 | 1226984.2159 | 2577360.6116 | 1226991.4337 | 2577362.7501 | 1226981.8977 | 2577367.2158 | 1226960.6235 | 2577371.5299 | 1226941.34
33 | 2577300.3881 | 1226968.0057 | 2577301.9248 | 1226959.6615 | 2577303.8146 | 1226948.5032 | 2577306.737 | 1226933.9167 | 2577308.7398 | 1226924.5923 | 2577310.513 | 1226916.6364 | 2577310.7409 | 1226914.8011 | 2577310.5083 | 1226913.4345
34 | 2577145.3834 | 1226900.7211 | 2577137.9627 | 1226895.5203 | 2577129.7208 | 1226888.5368 | 2577122.9695 | 1226882.9262 | 2577117.7098 | 1226876.9763 | 2577110.1499 | 1226868.0446 | 2577106.9547 | 1226862.9095 | 2577100.5418 | 1226852.7282 | 2577095.8572 | 1226844.597 | 2577092.0775 | 1226837.2739 | 2577088.9267 | 1226830.1072
35 | 2577255.9048 | 1226883.8365 | 2577251.1533 | 1226903.2893 | 2577249.5351 | 1226912.1008 | 2577247.0243 | 1226925.2961 | 2577246.4366 | 1226928.6906
36 | 2577371.5299 | 1226941.34 | 2577374.5143 | 1226927.0645 | 2577375.5651 | 1226921.92
37 | 2577305.0193 | 1226879.224 | 2577303.5324 | 1226880.8196 | 2577302.0403 | 1226882.9932 | 2577301.1836 | 1226884.8865 | 2577300.6688 | 1226887.0009 | 2577300.6711 | 1226889.5802 | 2577300.5527 | 1226892.3156 | 2577300.7861 | 1226895.8724 | 2577301.015 | 1226900.2185 | 2577301.355 | 1226901.9294 | 2577301.8684 | 1226903.4172 | 2577303.1841 | 1226904.6239 | 2577305.2449 | 1226906.4505 | 2577307.2452 | 1226908.3439 | 2577308.6233 | 1226909.9952 | 2577309.7673 | 1226911.892 | 2577310.5083 | 1226913.4345
38 | 2576964.2482 | 1226959.1619 | 2576971.8184 | 1226961.1795
39 | 2576964.2482 | 1226959.1619 | 2576958.0538 | 1226957.511
40 | 2576962.3849 | 1227058.8419 | 2576963.7704 | 1227058.5252 | 2576965.6904 | 1227055.327 | 2576968.0874 | 1227050.0478 | 2576973.5578 | 1227034.4309
41 | 2576902.6236 | 1227022.0304 | 2576895.4242 | 1227023.9485 | 2576870.6127 | 1227031.6387
42 | 2576902.6236 | 1227022.0304 | 2576900.438 | 1227019.3039 | 2576899.002 | 1227018.3423 | 2576896.4368 | 1227017.3851 | 2576894.2799 | 1227016.1816 | 2576893.2357 | 1227014.6626 | 2576892.836 | 1227013.2188
43 | 2576870.6127 | 1227031.6387 | 2576881.4974 | 1227036.1211 | 2576905.9895 | 1227044.0507
44 | 2576870.6127 | 1227031.6387 | 2576859.1716 | 1227035.0316
45 | 2576870.6127 | 1227031.6387 | 2576864.6817 | 1227028.46 | 2576854.8856 | 1227023.7997
46 | 2576962.3849 | 1227058.8419 | 2576960.2497 | 1227059.3283 | 2576954.6469 | 1227058.683 | 2576950.8284 | 1227058.1148
47 | 2576867.686 | 1226957.159 | 2576864.4521 | 1226964.2076
48 | 2576827.2399 | 1227010.3474 | 2576833.7952 | 1227013.5718 | 2576842.5959 | 1227018.0511 | 2576851.5621 | 1227022.2186 | 2576854.8856 | 1227023.7997
49 | 2576823.7043 | 1227008.6083 | 2576827.2399 | 1227010.3474
50 | 2576923.3662 | 1227049.6766 | 2576905.9895 | 1227044.0507
51 | 2576846.2295 | 1227038.8696 | 2576859.1716 | 1227035.0316
52 | 2576935.7846 | 1227053.6972 | 2576923.3662 | 1227049.6766
53 | 2576846.2295 | 1227038.8696 | 2576826.9961 | 1227044.5732
54 | 2576935.7846 | 1227053.6972 | 2576948.2396 | 1227057.7296 | 2576950.8284 | 1227058.1148
55 | 2576815.7115 | 1227053.7219 | 2576817.471 | 1227050.2019 | 2576819.3947 | 1227047.9597 | 2576822.5921 | 1227045.8793 | 2576826.9961 | 1227044.5732
56 | 2576915.3567 | 1227107.9986 | 2576917.0566 | 1227108.6146 | 2576918.3801 | 1227108.9308
57 | 2576915.3567 | 1227107.9986 | 2576911.5302 | 1227119.7872
58 | 2576915.3567 | 1227107.9986 | 2576912.9814 | 1227107.1407 | 2576897.7875 | 1227101.3965 | 2576895.4696 | 1227100.5049
59 | 2576871.5969 | 1227091.8593 | 2576880.1343 | 1227094.6057 | 2576895.4696 | 1227100.5049
60 | 2576871.5969 | 1227091.8593 | 2576860.467 | 1227088.2787 | 2576857.2414 | 1227087.1477
61 | 2576857.2414 | 1227087.1477 | 2576848.1431 | 1227083.9576 | 2576839.3815 | 1227080.7978
62 | 2576820.2152 | 1227073.6607 | 2576833.3828 | 1227078.6343 | 2576839.3815 | 1227080.7978
63 | 2576820.2152 | 1227073.6607 | 2576816.4236 | 1227073.0307 | 2576812.105 | 1227071.3466 | 2576805.6229 | 1227068.7037 | 2576800.3394 | 1227066.3897
64 | 2576820.2152 | 1227073.6607 | 2576820.9935 | 1227075.014 | 2576840.6037 | 1227105.4999
65 | 2576815.7115 | 1227053.7219 | 2576814.9087 | 1227057.7275 | 2576815.2319 | 1227062.8515 | 2576816.1942 | 1227066.6945 | 2576820.2152 | 1227073.6607
66 | 2576812.7112 | 1227088.7434 | 2576818.1435 | 1227092.291 | 2576825.0711 | 1227096.4664 | 2576831.4769 | 1227100.9329 | 2576834.296 | 1227102.8674 | 2576836.5668 | 1227104.1149 | 2576840.6037 | 1227105.4999
67 | 2576840.6037 | 1227105.4999 | 2576843.4553 | 1227109.9247 | 2576846.8482 | 1227115.2035
68 | 2576815.7115 | 1227053.7219 | 2576811.3841 | 1227053.6611 | 2576806.1015 | 1227053.5039 | 2576798.738 | 1227052.2208 | 2576786.0926 | 1227049.024 | 2576764.647 | 1227043.4158 | 2576756.0905 | 1227041.3148
69 | 2576846.8482 | 1227115.2035 | 2576856.7705 | 1227130.6254
70 | 2576846.8482 | 1227115.2035 | 2576854.6322 | 1227117.4856 | 2576863.6845 | 1227120.4298 | 2576872.2895 | 1227123.3757 | 2576875.2583 | 1227124.3664
71 | 2576737.2315 | 1227032.4946 | 2576737.542 | 1227036.2845 | 2576756.0905 | 1227041.3148
72 | 2576756.0905 | 1227041.3148 | 2576752.5262 | 1227052.2686 | 2576751.026 | 1227057.1523
73 | 2576900.6472 | 1227133.8443 | 2576899.6782 | 1227133.4415 | 2576892.7711 | 1227130.6112 | 2576884.5058 | 1227127.3304 | 2576879.0732 | 1227125.6395 | 2576875.2583 | 1227124.3664
74 | 2576737.2315 | 1227032.4946 | 2576733.9033 | 1227030.2063 | 2576724.5209 | 1227026.2074 | 2576715.594 | 1227022.4291 | 2576706.7803 | 1227018.5392 | 2576696.7384 | 1227014.9797
75 | 2576737.2315 | 1227032.4946 | 2576737.1044 | 1227031.0053 | 2576737.3317 | 1227027.1244 | 2576738.0172 | 1227024.1421 | 2576739.6241 | 1227020.3669 | 2576741.2217 | 1227016.1359 | 2576741.9668 | 1227013.8278
76 | 2576751.026 | 1227057.1523 | 2576750.2431 | 1227059.7011
77 | 2576742.9363 | 1227006.9793 | 2576743.0527 | 1227009.6137 | 2576742.4795 | 1227012.2397 | 2576741.9668 | 1227013.8278
78 | 2577255.9048 | 1226883.8365 | 2577256.3313 | 1226882.0902 | 2577263.4511 | 1226855.3914 | 2577268.3827 | 1226837.1061 | 2577271.1337 | 1226827.2341 | 2577271.0541 | 1226822.2981 | 2577270.4888 | 1226819.1428 | 2577268.7067 | 1226816.8817 | 2577264.9069 | 1226814.1279 | 2577259.5641 | 1226812.1806 | 2577253.5769 | 1226810.1579 | 2577249.2502 | 1226809.1857
79 | 2577383.7834 | 1226883.5922 | 2577381.9514 | 1226892.0598 | 2577377.8322 | 1226910.82 | 2577375.5651 | 1226921.92

## bus_geodata
| x | y | coords
0 | 2576928.9129 | 1226932.7
1 | 2576932.151 | 1226927.3368
2 | 2576922.0395 | 1226946.2985
3 | 2576895.2945 | 1226926.6783
4 | 2576925.7327 | 1226948.8968
5 | 2576832.1751 | 1226884.7027
6 | 2576908.0417 | 1226948.0874
7 | 2576936.3646 | 1226951.7304
8 | 2576900.3351 | 1226970.0111
9 | 2576876.3262 | 1226938.3275
10 | 2576943.6201 | 1226953.6641
11 | 2577069.0665 | 1226936.9909
12 | 2577076.1288 | 1226910.7349
13 | 2577059.82 | 1226971.3674
14 | 2577106.6817 | 1226918.2126
15 | 2577039.2036 | 1226954.8596
16 | 2577013.9274 | 1226971.7899
17 | 2577178.2196 | 1226936.912
18 | 2577012.2038 | 1226955.309
19 | 2576990.2002 | 1226966.0786
20 | 2577243.306 | 1226953.605
21 | 2577182.3549 | 1226910.7138
22 | 2576979.6162 | 1227019.4737
23 | 2576985.8123 | 1226964.9091
24 | 2577244.4254 | 1226940.8314
25 | 2577300.3881 | 1226968.0057
26 | 2577145.3834 | 1226900.7211
27 | 2577246.4366 | 1226928.6906
28 | 2577371.5299 | 1226941.34
29 | 2577310.5083 | 1226913.4345
30 | 2577088.9267 | 1226830.1072
31 | 2576971.8184 | 1226961.1795
32 | 2576964.2482 | 1226959.1619
33 | 2576958.0538 | 1226957.511
34 | 2576973.5578 | 1227034.4309
35 | 2576902.6236 | 1227022.0304
36 | 2576870.6127 | 1227031.6387
37 | 2576892.836 | 1227013.2188
38 | 2576962.3849 | 1227058.8419
39 | 2576859.2185 | 1226932.9616
40 | 2576867.686 | 1226957.159
41 | 2576864.4521 | 1226964.2076
42 | 2576900.2409 | 1226970.2791
43 | 2576827.2399 | 1227010.3474
44 | 2576854.8856 | 1227023.7997
45 | 2576823.7043 | 1227008.6083
46 | 2576905.9895 | 1227044.0507
47 | 2576859.1716 | 1227035.0316
48 | 2576923.3662 | 1227049.6766
49 | 2576846.2295 | 1227038.8696
50 | 2576935.7846 | 1227053.6972
51 | 2576826.9961 | 1227044.5732
52 | 2576950.8284 | 1227058.1148
53 | 2576918.3801 | 1227108.9308
54 | 2576915.3567 | 1227107.9986
55 | 2576911.5302 | 1227119.7872
56 | 2576895.4696 | 1227100.5049
57 | 2576871.5969 | 1227091.8593
58 | 2576857.2414 | 1227087.1477
59 | 2576839.3815 | 1227080.7978
60 | 2576820.2152 | 1227073.6607
61 | 2576800.3394 | 1227066.3897
62 | 2576840.6037 | 1227105.4999
63 | 2576815.7115 | 1227053.7219
64 | 2576812.7112 | 1227088.7434
65 | 2576846.8482 | 1227115.2035
66 | 2576756.0905 | 1227041.3148
67 | 2576900.6472 | 1227133.8443
68 | 2576875.2583 | 1227124.3664
69 | 2576856.7705 | 1227130.6254
70 | 2576737.2315 | 1227032.4946
71 | 2576751.026 | 1227057.1523
72 | 2576750.2431 | 1227059.7011
73 | 2576696.7384 | 1227014.9797
74 | 2576741.9668 | 1227013.8278
75 | 2576742.9363 | 1227006.9793
76 | 2577255.9048 | 1226883.8365
77 | 2577249.2502 | 1226809.1857
78 | 2577305.0193 | 1226879.224
79 | 2577375.5651 | 1226921.92
80 | 2577383.7834 | 1226883.5922
81 | 2577059.82 | 1226971.3674

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1