## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_432-1_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_432-1_0_6_node_72 | 0.4 | n |  | TRUE
2 | bus_LV_432-1_0_6_node_74 | 0.4 | n |  | TRUE
3 | bus_LV_432-1_0_6_node_73 | 0.4 | n |  | TRUE
4 | bus_LV_432-1_0_6_node_70 | 0.4 | n |  | TRUE
5 | bus_LV_432-1_0_6_node_1 | 0.4 | n |  | TRUE
6 | bus_LV_432-1_0_6_node_75 | 0.4 | n |  | TRUE
7 | bus_LV_432-1_0_6_node_3 | 0.4 | n |  | TRUE
8 | bus_LV_432-1_0_6_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_432-1_0_6_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_432-1_0_6_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_432-1_0_6_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_432-1_0_6_node_52 | 0.4 | n |  | TRUE
13 | bus_LV_432-1_0_6_node_19 | 0.4 | n |  | TRUE
14 | bus_LV_432-1_0_6_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_432-1_0_6_node_53 | 0.4 | n |  | TRUE
16 | bus_LV_432-1_0_6_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_432-1_0_6_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_432-1_0_6_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_432-1_0_6_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_432-1_0_6_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_432-1_0_6_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_432-1_0_6_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_432-1_0_6_node_44 | 0.4 | n |  | TRUE
24 | bus_LV_432-1_0_6_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_432-1_0_6_node_43 | 0.4 | n |  | TRUE
26 | bus_LV_432-1_0_6_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_432-1_0_6_node_59 | 0.4 | n |  | TRUE
28 | bus_LV_432-1_0_6_node_68 | 0.4 | n |  | TRUE
29 | bus_LV_432-1_0_6_node_65 | 0.4 | n |  | TRUE
30 | bus_LV_432-1_0_6_node_57 | 0.4 | n |  | TRUE
31 | bus_LV_432-1_0_6_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_432-1_0_6_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_432-1_0_6_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_432-1_0_6_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_432-1_0_6_node_33 | 0.4 | n |  | TRUE
36 | bus_LV_432-1_0_6_node_34 | 0.4 | n |  | TRUE
37 | bus_LV_432-1_0_6_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_432-1_0_6_node_38 | 0.4 | n |  | TRUE
39 | bus_LV_432-1_0_6_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_432-1_0_6_node_40 | 0.4 | n |  | TRUE
41 | bus_LV_432-1_0_6_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_432-1_0_6_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_432-1_0_6_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_432-1_0_6_node_25 | 0.4 | n |  | TRUE
45 | bus_LV_432-1_0_6_node_26 | 0.4 | n |  | TRUE
46 | bus_LV_432-1_0_6_node_28 | 0.4 | n |  | TRUE
47 | bus_LV_432-1_0_6_node_27 | 0.4 | n |  | TRUE
48 | bus_LV_432-1_0_6_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_432-1_0_6_node_42 | 0.4 | n |  | TRUE
50 | bus_LV_432-1_0_6_node_29 | 0.4 | n |  | TRUE
51 | bus_LV_432-1_0_6_node_30 | 0.4 | n |  | TRUE
52 | bus_LV_432-1_0_6_node_39 | 0.4 | n |  | TRUE
53 | bus_LV_432-1_0_6_node_35 | 0.4 | n |  | TRUE
54 | bus_LV_432-1_0_6_node_58 | 0.4 | n |  | TRUE
55 | bus_LV_432-1_0_6_node_56 | 0.4 | n |  | TRUE
56 | bus_LV_432-1_0_6_node_54 | 0.4 | n |  | TRUE
57 | bus_LV_432-1_0_6_node_55 | 0.4 | n |  | TRUE
58 | bus_LV_432-1_0_6_node_45 | 0.4 | n |  | TRUE
59 | bus_LV_432-1_0_6_node_46 | 0.4 | n |  | TRUE
60 | bus_LV_432-1_0_6_node_47 | 0.4 | n |  | TRUE
61 | bus_LV_432-1_0_6_node_48 | 0.4 | n |  | TRUE
62 | bus_LV_432-1_0_6_node_49 | 0.4 | n |  | TRUE
63 | bus_LV_432-1_0_6_node_50 | 0.4 | n |  | TRUE
64 | bus_LV_432-1_0_6_node_51 | 0.4 | n |  | TRUE
65 | bus_LV_432-1_0_6_node_61 | 0.4 | n |  | TRUE
66 | bus_LV_432-1_0_6_node_62 | 0.4 | n |  | TRUE
67 | bus_LV_432-1_0_6_node_60 | 0.4 | n |  | TRUE
68 | bus_LV_432-1_0_6_node_67 | 0.4 | n |  | TRUE
69 | bus_LV_432-1_0_6_node_63 | 0.4 | n |  | TRUE
70 | bus_LV_432-1_0_6_node_64 | 0.4 | n |  | TRUE
71 | bus_LV_432-1_0_6_node_66 | 0.4 | n |  | TRUE
72 | bus_LV_432-1_0_6_node_69 | 0.4 | n |  | TRUE
73 | bus_LV_432-1_0_6_node_71 | 0.4 | n |  | TRUE
74 | bus_MV_308_1_node_284 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_432-1_0_6_load_0 | 0 | 0.0036091 | 0.00090452 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_432-1_0_6_load_74 | 2 | 0.0021014 | 0.00052666 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_432-1_0_6_load_73 | 3 | 0.0023766 | 0.00059563 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_432-1_0_6_load_70 | 4 | 0.0029853 | 0.00074817 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_432-1_0_6_load_1 | 5 | 0.017483 | 0.0043817 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_432-1_0_6_load_75 | 6 | 0.0045432 | 0.0011386 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_432-1_0_6_load_3 | 7 | 0.001385 | 0.00034711 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_432-1_0_6_load_4 | 8 | 0.0032321 | 0.00081004 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_432-1_0_6_load_6 | 10 | 0.0060286 | 0.0015109 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_432-1_0_6_load_52 | 12 | 0.0066483 | 0.0016662 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_432-1_0_6_load_19 | 13 | 0.00087736 | 0.00021989 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_432-1_0_6_load_10 | 14 | 0.0049836 | 0.001249 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_432-1_0_6_load_53 | 15 | 0.0038829 | 0.00097314 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_432-1_0_6_load_9 | 16 | 0.001999 | 0.000501 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_432-1_0_6_load_11 | 17 | 0.0026979 | 0.00067615 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_432-1_0_6_load_12 | 18 | 0.001736 | 0.00043508 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_432-1_0_6_load_13 | 19 | 0.0014305 | 0.00035852 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_432-1_0_6_load_15 | 21 | 0.004916 | 0.0012321 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_432-1_0_6_load_44 | 23 | 0.014167 | 0.0035507 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_432-1_0_6_load_16 | 24 | 0.0031593 | 0.0007918 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_432-1_0_6_load_43 | 25 | 0.003461 | 0.0008674 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_432-1_0_6_load_68 | 28 | 0.0011483 | 0.00028778 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_432-1_0_6_load_57 | 30 | 0.00070266 | 0.0001761 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_432-1_0_6_load_20 | 31 | 0.00072332 | 0.00018128 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_432-1_0_6_load_21 | 32 | 0.00045153 | 0.00011316 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_432-1_0_6_load_22 | 33 | 0.0016499 | 0.00041351 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_432-1_0_6_load_34 | 36 | 0.015901 | 0.0039852 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_432-1_0_6_load_38 | 38 | 0.0015951 | 0.00039978 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_432-1_0_6_load_32 | 39 | 0.00052643 | 0.00013194 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_432-1_0_6_load_40 | 40 | 0.011823 | 0.002963 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_432-1_0_6_load_36 | 42 | 0.00058186 | 0.00014583 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_432-1_0_6_load_31 | 43 | 0.0043391 | 0.0010875 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_432-1_0_6_load_25 | 44 | 0.0011058 | 0.00027715 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_432-1_0_6_load_26 | 45 | 0.0026144 | 0.00065522 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_432-1_0_6_load_28 | 46 | 0.0055078 | 0.0013804 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_432-1_0_6_load_27 | 47 | 0.0034107 | 0.00085481 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_432-1_0_6_load_29 | 50 | 0.0028678 | 0.00071875 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_432-1_0_6_load_30 | 51 | 0.0071982 | 0.001804 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_432-1_0_6_load_39 | 52 | 0.0029038 | 0.00072775 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_432-1_0_6_load_35 | 53 | 0.0012835 | 0.00032168 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_432-1_0_6_load_58 | 54 | 0.0027501 | 0.00068925 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_432-1_0_6_load_56 | 55 | 0.00090971 | 0.00022799 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_432-1_0_6_load_54 | 56 | 0.00048063 | 0.00012046 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_432-1_0_6_load_55 | 57 | 0.00095575 | 0.00023953 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_432-1_0_6_load_45 | 58 | 0.0091861 | 0.0023022 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_432-1_0_6_load_46 | 59 | 0.0013229 | 0.00033154 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_432-1_0_6_load_48 | 61 | 0.004548 | 0.0011398 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_432-1_0_6_load_49 | 62 | 0.00065133 | 0.00016324 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_432-1_0_6_load_50 | 63 | 0.0022183 | 0.00055597 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_432-1_0_6_load_51 | 64 | 0.0033252 | 0.00083337 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_432-1_0_6_load_62 | 66 | 0.0026328 | 0.00065984 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_432-1_0_6_load_60 | 67 | 0.0026381 | 0.00066116 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_432-1_0_6_load_67 | 68 | 0.001759 | 0.00044086 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_432-1_0_6_load_63 | 69 | 0.0080618 | 0.0020205 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_432-1_0_6_load_66 | 71 | 0.0015963 | 0.00040006 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_432-1_0_6_load_71 | 73 | 0.0038186 | 0.00095703 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 2 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_432-1_0_6_line_0 | NAYY 4x150 SE | 0 | 1 | 0.11727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_432-1_0_6_line_1 | NAYY 4x150 SE | 0 | 2 | 1.399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
2 | LV_432-1_0_6_line_2 | NAYY 4x150 SE | 1 | 3 | 0.006228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_432-1_0_6_line_3 | NAYY 4x150 SE | 2 | 4 | 0.079175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
4 | LV_432-1_0_6_line_4 | NAYY 4x150 SE | 3 | 6 | 0.1029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_432-1_0_6_line_5 | NAYY 4x150 SE | 3 | 5 | 0.23139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_432-1_0_6_line_6 | NAYY 4x150 SE | 4 | 72 | 0.02989 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
7 | LV_432-1_0_6_line_7 | NAYY 4x150 SE | 7 | 8 | 0.021037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_432-1_0_6_line_8 | NAYY 4x150 SE | 7 | 9 | 0.01209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_432-1_0_6_line_9 | NAYY 4x150 SE | 8 | 10 | 0.023553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_432-1_0_6_line_10 | NAYY 4x150 SE | 9 | 11 | 0.018462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_432-1_0_6_line_11 | NAYY 4x150 SE | 10 | 12 | 0.036568 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_432-1_0_6_line_12 | NAYY 4x150 SE | 11 | 13 | 0.025391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_432-1_0_6_line_13 | NAYY 4x150 SE | 11 | 14 | 0.00014682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_432-1_0_6_line_14 | NAYY 4x150 SE | 12 | 15 | 0.026646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_432-1_0_6_line_15 | NAYY 4x150 SE | 14 | 16 | 0.032165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_432-1_0_6_line_16 | NAYY 4x150 SE | 15 | 49 | 0.01811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_432-1_0_6_line_17 | NAYY 4x150 SE | 17 | 18 | 0.0017244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_432-1_0_6_line_18 | NAYY 4x150 SE | 17 | 19 | 0.009572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_432-1_0_6_line_19 | NAYY 4x150 SE | 18 | 20 | 0.027728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_432-1_0_6_line_20 | NAYY 4x150 SE | 19 | 21 | 0.0092542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_432-1_0_6_line_21 | NAYY 4x150 SE | 20 | 22 | 0.013512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_432-1_0_6_line_22 | NAYY 4x150 SE | 21 | 23 | 0.0051212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_432-1_0_6_line_23 | NAYY 4x150 SE | 22 | 24 | 0.026231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_432-1_0_6_line_24 | NAYY 4x150 SE | 23 | 25 | 0.017851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_432-1_0_6_line_25 | NAYY 4x150 SE | 25 | 35 | 0.0113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_432-1_0_6_line_26 | NAYY 4x150 SE | 26 | 27 | 0.030806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_432-1_0_6_line_27 | NAYY 4x150 SE | 26 | 28 | 0.033248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_432-1_0_6_line_28 | NAYY 4x150 SE | 27 | 29 | 0.004898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
29 | LV_432-1_0_6_line_29 | NAYY 4x150 SE | 27 | 30 | 0.0095447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
30 | LV_432-1_0_6_line_30 | NAYY 4x150 SE | 29 | 68 | 0.015807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
31 | LV_432-1_0_6_line_31 | NAYY 4x150 SE | 29 | 69 | 0.014866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_432-1_0_6_line_32 | NAYY 4x150 SE | 30 | 55 | 0.011059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
33 | LV_432-1_0_6_line_33 | NAYY 4x150 SE | 31 | 32 | 0.019839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_432-1_0_6_line_34 | NAYY 4x150 SE | 31 | 33 | 0.014628 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_432-1_0_6_line_35 | NAYY 4x150 SE | 32 | 34 | 0.026852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_432-1_0_6_line_36 | NAYY 4x150 SE | 34 | 35 | 0.007263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
37 | LV_432-1_0_6_line_37 | NAYY 4x150 SE | 34 | 36 | 0.019664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
38 | LV_432-1_0_6_line_38 | NAYY 4x150 SE | 35 | 40 | 0.011077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
39 | LV_432-1_0_6_line_39 | NAYY 4x150 SE | 36 | 41 | 0.032041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
40 | LV_432-1_0_6_line_40 | NAYY 4x150 SE | 37 | 38 | 0.02592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_432-1_0_6_line_41 | NAYY 4x150 SE | 37 | 39 | 0.028203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_432-1_0_6_line_42 | NAYY 4x150 SE | 38 | 42 | 0.018123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_432-1_0_6_line_43 | NAYY 4x150 SE | 39 | 43 | 0.020409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_432-1_0_6_line_44 | NAYY 4x150 SE | 40 | 48 | 0.020977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
45 | LV_432-1_0_6_line_45 | NAYY 4x150 SE | 41 | 52 | 0.022739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
46 | LV_432-1_0_6_line_46 | NAYY 4x150 SE | 41 | 53 | 0.014716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_432-1_0_6_line_47 | NAYY 4x150 SE | 42 | 53 | 0.0087598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_432-1_0_6_line_48 | NAYY 4x150 SE | 43 | 50 | 0.0084065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_432-1_0_6_line_49 | NAYY 4x150 SE | 44 | 45 | 0.023081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_432-1_0_6_line_50 | NAYY 4x150 SE | 44 | 46 | 0.07029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_432-1_0_6_line_51 | NAYY 4x150 SE | 45 | 47 | 0.00069179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_432-1_0_6_line_52 | NAYY 4x150 SE | 47 | 48 | 0.041648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_432-1_0_6_line_53 | NAYY 4x150 SE | 48 | 49 | 0.040397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
54 | LV_432-1_0_6_line_54 | NAYY 4x150 SE | 49 | 56 | 0.03644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
55 | LV_432-1_0_6_line_55 | NAYY 4x150 SE | 50 | 51 | 0.047698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_432-1_0_6_line_56 | NAYY 4x150 SE | 52 | 54 | 0.03371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
57 | LV_432-1_0_6_line_57 | NAYY 4x150 SE | 54 | 55 | 0.00016916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
58 | LV_432-1_0_6_line_58 | NAYY 4x150 SE | 56 | 57 | 0.019811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_432-1_0_6_line_59 | NAYY 4x150 SE | 57 | 62 | 0.0093258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_432-1_0_6_line_60 | NAYY 4x150 SE | 58 | 59 | 0.016819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_432-1_0_6_line_61 | NAYY 4x150 SE | 58 | 60 | 0.025686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_432-1_0_6_line_62 | NAYY 4x150 SE | 59 | 61 | 0.01465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_432-1_0_6_line_63 | NAYY 4x150 SE | 60 | 62 | 0.029459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_432-1_0_6_line_64 | NAYY 4x150 SE | 60 | 63 | 0.012669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_432-1_0_6_line_65 | NAYY 4x150 SE | 61 | 64 | 0.04015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_432-1_0_6_line_66 | NAYY 4x150 SE | 63 | 65 | 0.057045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_432-1_0_6_line_67 | NAYY 4x150 SE | 65 | 66 | 0.01558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_432-1_0_6_line_68 | NAYY 4x150 SE | 65 | 67 | 0.049513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_432-1_0_6_line_69 | NAYY 4x150 SE | 68 | 72 | 0.0238 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
70 | LV_432-1_0_6_line_70 | NAYY 4x150 SE | 69 | 70 | 0.026379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_432-1_0_6_line_71 | NAYY 4x150 SE | 70 | 71 | 0.047069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_432-1_0_6_line_72 | NAYY 4x150 SE | 72 | 73 | 0.016475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_432-1_0_6_trafo_74 | 0.25 MVA 20/0.4 kV | 74 | 2 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2569529.477 | 1225785.9418 | 2569636.5267 | 1225738.0655
1 | 2570875.6295 | 1225088.5303 | 2569636.5267 | 1225738.0655
2 | 2569529.477 | 1225785.9418 | 2569523.2315 | 1225786.0184
3 | 2570910.9494 | 1225017.6703 | 2570875.6295 | 1225088.5303
4 | 2569523.2315 | 1225786.0184 | 2569447.626 | 1225716.21
5 | 2569523.2315 | 1225786.0184 | 2569429.3922 | 1225997.5229
6 | 2570891.2146 | 1224995.6763 | 2570901.1174 | 1225003.8325 | 2570903.7745 | 1225006.1542 | 2570910.9494 | 1225017.6703
7 | 2571033.1582 | 1224892.2624 | 2571021.0671 | 1224880.761 | 2571018.0868 | 1224877.5931
8 | 2571010.574 | 1224868.1603 | 2571014.5286 | 1224873.811 | 2571018.0868 | 1224877.5931
9 | 2571033.1582 | 1224892.2624 | 2571038.4859 | 1224897.3302 | 2571050.8693 | 1224907.7753
10 | 2571010.574 | 1224868.1603 | 2570994.4351 | 1224859.1116
11 | 2571076.1263 | 1224934.041 | 2571075.7481 | 1224933.381 | 2571061.1707 | 1224916.4642 | 2571050.8693 | 1224907.7753
12 | 2570994.4351 | 1224859.1116 | 2570986.7502 | 1224868.8772 | 2570981.059 | 1224877.0655 | 2570979.3703 | 1224879.5352
13 | 2570994.307 | 1224859.0398 | 2570994.4351 | 1224859.1116
14 | 2571076.1263 | 1224934.041 | 2571086.445 | 1224952.0511 | 2571089.9837 | 1224956.7591
15 | 2570994.307 | 1224859.0398 | 2570966.2485 | 1224843.3129
16 | 2571099.5363 | 1224972.0659 | 2571095.3955 | 1224963.959 | 2571089.9837 | 1224956.7591
17 | 2570987.7588 | 1224937.4109 | 2570988.9942 | 1224938.614
18 | 2570995.8516 | 1224945.2923 | 2570988.9942 | 1224938.614
19 | 2570967.8944 | 1224918.0654 | 2570987.7588 | 1224937.4109
20 | 2571002.4813 | 1224951.7488 | 2570995.8516 | 1224945.2923
21 | 2570958.0769 | 1224908.7524 | 2570967.8944 | 1224918.0654
22 | 2571002.4813 | 1224951.7488 | 2571006.1502 | 1224955.3218
23 | 2570958.0769 | 1224908.7524 | 2570939.1627 | 1224890.5778
24 | 2571006.1502 | 1224955.3218 | 2571016.3173 | 1224965.2234 | 2571019.3852 | 1224967.2182
25 | 2571028.8581 | 1224973.3781 | 2571019.3852 | 1224967.2182
26 | 2570912.8475 | 1224962.6171 | 2570929.5326 | 1224948.5937 | 2570934.8032 | 1224941.2301
27 | 2570934.8032 | 1224941.2301 | 2570930.2673 | 1224937.6391 | 2570908.676 | 1224920.6676
28 | 2570912.8475 | 1224962.6171 | 2570908.6052 | 1224960.1476
29 | 2570912.8475 | 1224962.6171 | 2570920.8389 | 1224967.8363
30 | 2570908.6052 | 1224960.1476 | 2570906.7469 | 1224963.0473 | 2570904.7841 | 1224966.2588 | 2570901.0964 | 1224974.0272
31 | 2570908.6052 | 1224960.1476 | 2570895.9169 | 1224952.4006
32 | 2570930.0984 | 1224973.8835 | 2570920.8389 | 1224967.8363
33 | 2571039.5464 | 1225018.9277 | 2571039.3581 | 1225018.4648 | 2571027.3024 | 1225007.1724 | 2571025.8654 | 1225004.7447 | 2571025.8654 | 1225004.7447
34 | 2571039.5464 | 1225018.9277 | 2571041.0002 | 1225022.5036 | 2571040.6152 | 1225025.952 | 2571036.0926 | 1225031.6796
35 | 2571023.2558 | 1224978.0193 | 2571025.8654 | 1225004.7447
36 | 2571028.8581 | 1224973.3781 | 2571023.2558 | 1224978.0193
37 | 2571023.2558 | 1224978.0193 | 2571021.5645 | 1224979.4284 | 2571009.8563 | 1224988.0463 | 2571007.2185 | 1224989.3089
38 | 2571028.8581 | 1224973.3781 | 2571039.3238 | 1224977.0064
39 | 2570978.3178 | 1225003.1428 | 2571007.2185 | 1224989.3089
40 | 2571015.4811 | 1225057.7826 | 2571013.0589 | 1225055.4374 | 2570997.8095 | 1225038.8267
41 | 2571015.4811 | 1225057.7826 | 2571035.7325 | 1225077.411
42 | 2570985.5531 | 1225025.4763 | 2570997.8095 | 1225038.8267
43 | 2571035.7325 | 1225077.411 | 2571040.3274 | 1225081.8644 | 2571047.727 | 1225083.5738 | 2571053.918 | 1225085.2564
44 | 2571059.9432 | 1224980.2526 | 2571044.0685 | 1224978.6514 | 2571039.3238 | 1224977.0064
45 | 2570978.3178 | 1225003.1428 | 2570971.4612 | 1225000.8973 | 2570958.4637 | 1224992.4087
46 | 2570978.3178 | 1225003.1428 | 2570982.8534 | 1225017.1429
47 | 2570982.8534 | 1225017.1429 | 2570985.5531 | 1225025.4763 | 2570985.5531 | 1225025.4763
48 | 2571061.7278 | 1225088.2364 | 2571058.2555 | 1225086.4352 | 2571053.918 | 1225085.2564
49 | 2571109.7515 | 1225021.6481 | 2571101.5369 | 1225013.8921 | 2571091.7875 | 1225007.2743
50 | 2571109.7515 | 1225021.6481 | 2571160.8839 | 1225069.8779
51 | 2571091.2151 | 1225006.8857 | 2571091.7875 | 1225007.2743
52 | 2571059.9432 | 1224980.2526 | 2571067.2411 | 1224990.6121 | 2571091.2151 | 1225006.8857
53 | 2571059.9432 | 1224980.2526 | 2571075.8759 | 1224978.2182 | 2571093.7295 | 1224973.6507 | 2571099.5363 | 1224972.0659
54 | 2571099.5363 | 1224972.0659 | 2571112.845 | 1224968.2543 | 2571123.5074 | 1224965.8899 | 2571134.9049 | 1224963.361
55 | 2571061.7278 | 1225088.2364 | 2571098.6419 | 1225107.3841 | 2571099.7675 | 1225113.3926
56 | 2570930.24 | 1224973.976 | 2570958.4637 | 1224992.4087
57 | 2570930.0984 | 1224973.8835 | 2570930.24 | 1224973.976
58 | 2571134.9049 | 1224963.361 | 2571154.2453 | 1224959.0696
59 | 2571154.2453 | 1224959.0696 | 2571154.2453 | 1224959.0696 | 2571163.4666 | 1224957.678
60 | 2571218.0812 | 1224957.4065 | 2571225.5363 | 1224959.0456 | 2571234.2531 | 1224961.9436
61 | 2571192.7124 | 1224954.6912 | 2571204.8562 | 1224954.4988 | 2571218.0812 | 1224957.4065
62 | 2571248.1567 | 1224966.5612 | 2571245.1799 | 1224965.5765 | 2571234.2531 | 1224961.9436
63 | 2571192.7124 | 1224954.6912 | 2571182.1833 | 1224954.8536 | 2571163.4666 | 1224957.678
64 | 2571192.7124 | 1224954.6912 | 2571193.0665 | 1224944.8725 | 2571194.177 | 1224942.2546
65 | 2571284.9514 | 1224982.5857 | 2571283.0883 | 1224981.9915 | 2571249.3865 | 1224966.968 | 2571248.1567 | 1224966.5612
66 | 2571215.1982 | 1224889.2431 | 2571209.7814 | 1224904.056 | 2571207.4696 | 1224910.371 | 2571206.0331 | 1224914.3025 | 2571194.177 | 1224942.2546
67 | 2571215.1982 | 1224889.2431 | 2571217.5358 | 1224873.8398
68 | 2571215.1982 | 1224889.2431 | 2571200.6616 | 1224886.9234 | 2571179.7472 | 1224884.1455 | 2571166.6309 | 1224880.2075
69 | 2570891.2146 | 1224995.6763 | 2570896.2303 | 1224984.2782 | 2570901.0964 | 1224974.0272
70 | 2570874.0846 | 1224937.6258 | 2570887.5428 | 1224947.2877 | 2570895.9169 | 1224952.4006
71 | 2570874.0846 | 1224937.6258 | 2570865.2408 | 1224945.9742 | 2570860.0459 | 1224951.7476 | 2570843.1434 | 1224963.1708 | 2570838.3993 | 1224967.9587
72 | 2570878.5324 | 1225005.0663 | 2570887.1988 | 1224996.1073 | 2570891.2146 | 1224995.6763

## bus_geodata
| x | y | coords
0 | 2569636.5267 | 1225738.0655
1 | 2569529.477 | 1225785.9418
2 | 2570875.6295 | 1225088.5303
3 | 2569523.2315 | 1225786.0184
4 | 2570910.9494 | 1225017.6703
5 | 2569429.3922 | 1225997.5229
6 | 2569447.626 | 1225716.21
7 | 2571018.0868 | 1224877.5931
8 | 2571033.1582 | 1224892.2624
9 | 2571010.574 | 1224868.1603
10 | 2571050.8693 | 1224907.7753
11 | 2570994.4351 | 1224859.1116
12 | 2571076.1263 | 1224934.041
13 | 2570979.3703 | 1224879.5352
14 | 2570994.307 | 1224859.0398
15 | 2571089.9837 | 1224956.7591
16 | 2570966.2485 | 1224843.3129
17 | 2570988.9942 | 1224938.614
18 | 2570987.7588 | 1224937.4109
19 | 2570995.8516 | 1224945.2923
20 | 2570967.8944 | 1224918.0654
21 | 2571002.4813 | 1224951.7488
22 | 2570958.0769 | 1224908.7524
23 | 2571006.1502 | 1224955.3218
24 | 2570939.1627 | 1224890.5778
25 | 2571019.3852 | 1224967.2182
26 | 2570934.8032 | 1224941.2301
27 | 2570912.8475 | 1224962.6171
28 | 2570908.676 | 1224920.6676
29 | 2570908.6052 | 1224960.1476
30 | 2570920.8389 | 1224967.8363
31 | 2571039.5464 | 1225018.9277
32 | 2571025.8653 | 1225004.7447
33 | 2571036.0926 | 1225031.6796
34 | 2571023.2558 | 1224978.0193
35 | 2571028.8581 | 1224973.3781
36 | 2571007.2185 | 1224989.3089
37 | 2571015.4811 | 1225057.7826
38 | 2570997.8095 | 1225038.8267
39 | 2571035.7325 | 1225077.411
40 | 2571039.3238 | 1224977.0064
41 | 2570978.3178 | 1225003.1428
42 | 2570985.5531 | 1225025.4763
43 | 2571053.918 | 1225085.2564
44 | 2571109.7515 | 1225021.6481
45 | 2571091.7875 | 1225007.2743
46 | 2571160.8839 | 1225069.8779
47 | 2571091.2151 | 1225006.8857
48 | 2571059.9432 | 1224980.2527
49 | 2571099.5363 | 1224972.0659
50 | 2571061.7278 | 1225088.2364
51 | 2571099.7675 | 1225113.3926
52 | 2570958.4637 | 1224992.4087
53 | 2570982.8534 | 1225017.1429
54 | 2570930.24 | 1224973.976
55 | 2570930.0984 | 1224973.8835
56 | 2571134.9049 | 1224963.361
57 | 2571154.2453 | 1224959.0696
58 | 2571218.0812 | 1224957.4065
59 | 2571234.2531 | 1224961.9436
60 | 2571192.7124 | 1224954.6912
61 | 2571248.1567 | 1224966.5612
62 | 2571163.4666 | 1224957.678
63 | 2571194.177 | 1224942.2546
64 | 2571284.9514 | 1224982.5857
65 | 2571215.1982 | 1224889.2431
66 | 2571217.5358 | 1224873.8398
67 | 2571166.6309 | 1224880.2075
68 | 2570901.0964 | 1224974.0272
69 | 2570895.9169 | 1224952.4006
70 | 2570874.0846 | 1224937.6258
71 | 2570838.3993 | 1224967.9587
72 | 2570891.2146 | 1224995.6763
73 | 2570878.5324 | 1225005.0663
74 | 2570795.6835 | 1225062.5412

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1