## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_432-2_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_432-2_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_432-2_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_432-2_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_432-2_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_432-2_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_432-2_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_432-2_0_3_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_432-2_0_3_node_29 | 0.4 | n |  | TRUE
9 | bus_LV_432-2_0_3_node_26 | 0.4 | n |  | TRUE
10 | bus_LV_432-2_0_3_node_23 | 0.4 | n |  | TRUE
11 | bus_LV_432-2_0_3_node_21 | 0.4 | n |  | TRUE
12 | bus_LV_432-2_0_3_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_432-2_0_3_node_46 | 0.4 | n |  | TRUE
14 | bus_LV_432-2_0_3_node_31 | 0.4 | n |  | TRUE
15 | bus_LV_432-2_0_3_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_432-2_0_3_node_34 | 0.4 | n |  | TRUE
17 | bus_LV_432-2_0_3_node_27 | 0.4 | n |  | TRUE
18 | bus_LV_432-2_0_3_node_36 | 0.4 | n |  | TRUE
19 | bus_LV_432-2_0_3_node_22 | 0.4 | n |  | TRUE
20 | bus_LV_432-2_0_3_node_30 | 0.4 | n |  | TRUE
21 | bus_LV_432-2_0_3_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_432-2_0_3_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_432-2_0_3_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_432-2_0_3_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_432-2_0_3_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_432-2_0_3_node_32 | 0.4 | n |  | TRUE
27 | bus_LV_432-2_0_3_node_33 | 0.4 | n |  | TRUE
28 | bus_LV_432-2_0_3_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_432-2_0_3_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_432-2_0_3_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_432-2_0_3_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_432-2_0_3_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_432-2_0_3_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_432-2_0_3_node_70 | 0.4 | n |  | TRUE
35 | bus_LV_432-2_0_3_node_71 | 0.4 | n |  | TRUE
36 | bus_LV_432-2_0_3_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_432-2_0_3_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_432-2_0_3_node_45 | 0.4 | n |  | TRUE
39 | bus_LV_432-2_0_3_node_42 | 0.4 | n |  | TRUE
40 | bus_LV_432-2_0_3_node_41 | 0.4 | n |  | TRUE
41 | bus_LV_432-2_0_3_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_432-2_0_3_node_56 | 0.4 | n |  | TRUE
43 | bus_LV_432-2_0_3_node_43 | 0.4 | n |  | TRUE
44 | bus_LV_432-2_0_3_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_432-2_0_3_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_432-2_0_3_node_40 | 0.4 | n |  | TRUE
47 | bus_LV_432-2_0_3_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_432-2_0_3_node_47 | 0.4 | n |  | TRUE
49 | bus_LV_432-2_0_3_node_64 | 0.4 | n |  | TRUE
50 | bus_LV_432-2_0_3_node_50 | 0.4 | n |  | TRUE
51 | bus_LV_432-2_0_3_node_48 | 0.4 | n |  | TRUE
52 | bus_LV_432-2_0_3_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_432-2_0_3_node_51 | 0.4 | n |  | TRUE
54 | bus_LV_432-2_0_3_node_58 | 0.4 | n |  | TRUE
55 | bus_LV_432-2_0_3_node_57 | 0.4 | n |  | TRUE
56 | bus_LV_432-2_0_3_node_49 | 0.4 | n |  | TRUE
57 | bus_LV_432-2_0_3_node_59 | 0.4 | n |  | TRUE
58 | bus_LV_432-2_0_3_node_52 | 0.4 | n |  | TRUE
59 | bus_LV_432-2_0_3_node_53 | 0.4 | n |  | TRUE
60 | bus_LV_432-2_0_3_node_54 | 0.4 | n |  | TRUE
61 | bus_LV_432-2_0_3_node_55 | 0.4 | n |  | TRUE
62 | bus_LV_432-2_0_3_node_63 | 0.4 | n |  | TRUE
63 | bus_LV_432-2_0_3_node_67 | 0.4 | n |  | TRUE
64 | bus_LV_432-2_0_3_node_62 | 0.4 | n |  | TRUE
65 | bus_LV_432-2_0_3_node_61 | 0.4 | n |  | TRUE
66 | bus_LV_432-2_0_3_node_60 | 0.4 | n |  | TRUE
67 | bus_LV_432-2_0_3_node_65 | 0.4 | n |  | TRUE
68 | bus_LV_432-2_0_3_node_66 | 0.4 | n |  | TRUE
69 | bus_LV_432-2_0_3_node_68 | 0.4 | n |  | TRUE
70 | bus_LV_432-2_0_3_node_69 | 0.4 | n |  | TRUE
71 | bus_LV_432-2_0_3_node_73 | 0.4 | n |  | TRUE
72 | bus_MV_308_1_node_34 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_432-2_0_3_load_0 | 0 | 0.0021676 | 0.00054326 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_432-2_0_3_load_1 | 1 | 0.0047736 | 0.0011964 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_432-2_0_3_load_2 | 2 | 0.0013428 | 0.00033654 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_432-2_0_3_load_4 | 4 | 0.0061261 | 0.0015353 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_432-2_0_3_load_8 | 7 | 0.0012575 | 0.00031517 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_432-2_0_3_load_29 | 8 | 0.0052857 | 0.0013247 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_432-2_0_3_load_26 | 9 | 0.0057208 | 0.0014338 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_432-2_0_3_load_23 | 10 | 0.0028573 | 0.0007161 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_432-2_0_3_load_21 | 11 | 0.0029653 | 0.00074318 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_432-2_0_3_load_46 | 13 | 0.00088742 | 0.00022241 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_432-2_0_3_load_31 | 14 | 0.0013694 | 0.00034321 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_432-2_0_3_load_9 | 15 | 0.001606 | 0.00040251 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_432-2_0_3_load_34 | 16 | 0.0030676 | 0.00076881 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_432-2_0_3_load_27 | 17 | 0.0019728 | 0.00049444 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_432-2_0_3_load_36 | 18 | 0.0020621 | 0.00051681 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_432-2_0_3_load_30 | 20 | 0.0028728 | 0.00072 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_432-2_0_3_load_11 | 21 | 0.0026992 | 0.00067648 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_432-2_0_3_load_12 | 22 | 0.0008302 | 0.00020807 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_432-2_0_3_load_13 | 23 | 0.0029256 | 0.00073322 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_432-2_0_3_load_14 | 24 | 0.0028692 | 0.00071908 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_432-2_0_3_load_15 | 25 | 0.00092914 | 0.00023286 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_432-2_0_3_load_32 | 26 | 0.0019643 | 0.00049231 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_432-2_0_3_load_33 | 27 | 0.0035818 | 0.00089768 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_432-2_0_3_load_16 | 28 | 0.0010743 | 0.00026925 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_432-2_0_3_load_17 | 29 | 0.0011739 | 0.00029421 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_432-2_0_3_load_19 | 31 | 0.0025208 | 0.00063178 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_432-2_0_3_load_20 | 32 | 0.0015726 | 0.00039414 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_432-2_0_3_load_28 | 33 | 0.0024305 | 0.00060913 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_432-2_0_3_load_70 | 34 | 0.0031351 | 0.00078573 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_432-2_0_3_load_71 | 35 | 0.0012722 | 0.00031884 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_432-2_0_3_load_25 | 37 | 0.0061475 | 0.0015407 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_432-2_0_3_load_45 | 38 | 0.0037713 | 0.00094517 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_432-2_0_3_load_42 | 39 | 0.0013201 | 0.00033084 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_432-2_0_3_load_41 | 40 | 0.0010829 | 0.00027141 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_432-2_0_3_load_37 | 41 | 0.0037921 | 0.00095039 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_432-2_0_3_load_56 | 42 | 0.0014361 | 0.00035992 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_432-2_0_3_load_43 | 43 | 0.0037793 | 0.00094718 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_432-2_0_3_load_35 | 44 | 0.0023474 | 0.00058832 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_432-2_0_3_load_39 | 45 | 0.0016057 | 0.00040242 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_432-2_0_3_load_47 | 48 | 0.004349 | 0.00109 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_432-2_0_3_load_64 | 49 | 0.0036799 | 0.00092226 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_432-2_0_3_load_50 | 50 | 0.00020848 | 5.225e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_432-2_0_3_load_48 | 51 | 0.00025756 | 6.4552e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_432-2_0_3_load_44 | 52 | 0.0024276 | 0.0006084 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_432-2_0_3_load_51 | 53 | 0.0015213 | 0.00038128 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_432-2_0_3_load_58 | 54 | 0.0028027 | 0.00070241 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_432-2_0_3_load_57 | 55 | 0.0033079 | 0.00082904 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_432-2_0_3_load_49 | 56 | 0.00040774 | 0.00010219 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_432-2_0_3_load_59 | 57 | 0.0026495 | 0.00066404 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_432-2_0_3_load_52 | 58 | 0.0010622 | 0.00026621 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_432-2_0_3_load_53 | 59 | 0.0011932 | 0.00029903 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_432-2_0_3_load_55 | 61 | 0.00154 | 0.00038596 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_432-2_0_3_load_62 | 64 | 0.0029662 | 0.00074339 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_432-2_0_3_load_61 | 65 | 0.002379 | 0.00059624 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_432-2_0_3_load_60 | 66 | 0.0049205 | 0.0012332 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_432-2_0_3_load_65 | 67 | 0.0015724 | 0.00039409 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_432-2_0_3_load_66 | 68 | 0.0067796 | 0.0016991 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_432-2_0_3_load_68 | 69 | 0.0011704 | 0.00029333 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_432-2_0_3_load_73 | 71 | 0.0024903 | 0.00062414 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 18 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_432-2_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.072486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_432-2_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.086004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_432-2_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.021647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_432-2_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.035058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_432-2_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.026634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_432-2_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.10119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_432-2_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.018519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_432-2_0_3_line_7 | NAYY 4x150 SE | 5 | 8 | 0.015568 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_432-2_0_3_line_8 | NAYY 4x150 SE | 5 | 9 | 0.046623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_432-2_0_3_line_9 | NAYY 4x150 SE | 6 | 10 | 0.056596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_432-2_0_3_line_10 | NAYY 4x150 SE | 6 | 11 | 0.045315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_432-2_0_3_line_11 | NAYY 4x150 SE | 7 | 15 | 0.005038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_432-2_0_3_line_12 | NAYY 4x150 SE | 8 | 16 | 0.021845 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_432-2_0_3_line_13 | NAYY 4x150 SE | 9 | 17 | 0.023283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_432-2_0_3_line_14 | NAYY 4x150 SE | 10 | 18 | 0.025381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_432-2_0_3_line_15 | NAYY 4x150 SE | 11 | 19 | 0.0020642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_432-2_0_3_line_16 | NAYY 4x150 SE | 12 | 13 | 0.013154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_432-2_0_3_line_17 | NAYY 4x150 SE | 12 | 14 | 0.011771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_432-2_0_3_line_18 | NAYY 4x150 SE | 14 | 20 | 0.00032993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_432-2_0_3_line_19 | NAYY 4x150 SE | 16 | 44 | 0.017911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_432-2_0_3_line_20 | NAYY 4x150 SE | 17 | 33 | 0.013969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_432-2_0_3_line_21 | NAYY 4x150 SE | 18 | 41 | 0.046572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_432-2_0_3_line_22 | NAYY 4x150 SE | 19 | 36 | 0.019177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_432-2_0_3_line_23 | NAYY 4x150 SE | 19 | 37 | 0.0091934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_432-2_0_3_line_24 | NAYY 4x150 SE | 20 | 24 | 0.0093775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_432-2_0_3_line_25 | NAYY 4x150 SE | 21 | 22 | 0.014846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_432-2_0_3_line_26 | NAYY 4x150 SE | 21 | 23 | 0.012806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_432-2_0_3_line_27 | NAYY 4x150 SE | 22 | 24 | 0.0010682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_432-2_0_3_line_28 | NAYY 4x150 SE | 23 | 25 | 0.016164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_432-2_0_3_line_29 | NAYY 4x150 SE | 25 | 26 | 0.0014454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_432-2_0_3_line_30 | NAYY 4x150 SE | 26 | 27 | 0.017411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_432-2_0_3_line_31 | NAYY 4x150 SE | 27 | 40 | 0.0012246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_432-2_0_3_line_32 | NAYY 4x150 SE | 28 | 29 | 0.012053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_432-2_0_3_line_33 | NAYY 4x150 SE | 28 | 30 | 0.046211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_432-2_0_3_line_34 | NAYY 4x150 SE | 29 | 31 | 0.038107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_432-2_0_3_line_35 | NAYY 4x150 SE | 30 | 32 | 0.11737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_432-2_0_3_line_36 | NAYY 4x150 SE | 31 | 33 | 0.027321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_432-2_0_3_line_37 | NAYY 4x150 SE | 32 | 34 | 0.033573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_432-2_0_3_line_38 | NAYY 4x150 SE | 34 | 35 | 0.015921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_432-2_0_3_line_39 | NAYY 4x150 SE | 36 | 38 | 0.019318 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_432-2_0_3_line_40 | NAYY 4x150 SE | 36 | 39 | 0.012588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_432-2_0_3_line_41 | NAYY 4x150 SE | 37 | 40 | 0.014286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_432-2_0_3_line_42 | NAYY 4x150 SE | 38 | 42 | 0.042677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_432-2_0_3_line_43 | NAYY 4x150 SE | 39 | 43 | 0.024403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_432-2_0_3_line_44 | NAYY 4x150 SE | 41 | 47 | 0.042493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_432-2_0_3_line_45 | NAYY 4x150 SE | 42 | 55 | 0.032889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_432-2_0_3_line_46 | NAYY 4x150 SE | 43 | 52 | 0.01201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_432-2_0_3_line_47 | NAYY 4x150 SE | 44 | 45 | 0.041696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_432-2_0_3_line_48 | NAYY 4x150 SE | 45 | 46 | 0.026567 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_432-2_0_3_line_49 | NAYY 4x150 SE | 46 | 50 | 0.010092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_432-2_0_3_line_50 | NAYY 4x150 SE | 47 | 48 | 0.021825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_432-2_0_3_line_51 | NAYY 4x150 SE | 48 | 49 | 0.00012756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_432-2_0_3_line_52 | NAYY 4x150 SE | 50 | 51 | 0.024105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_432-2_0_3_line_53 | NAYY 4x150 SE | 51 | 56 | 0.013728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_432-2_0_3_line_54 | NAYY 4x150 SE | 52 | 53 | 0.0066159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_432-2_0_3_line_55 | NAYY 4x150 SE | 53 | 54 | 0.0071082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_432-2_0_3_line_56 | NAYY 4x150 SE | 54 | 57 | 0.021366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_432-2_0_3_line_57 | NAYY 4x150 SE | 57 | 65 | 0.0081459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_432-2_0_3_line_58 | NAYY 4x150 SE | 58 | 59 | 0.020271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_432-2_0_3_line_59 | NAYY 4x150 SE | 58 | 60 | 0.027813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_432-2_0_3_line_60 | NAYY 4x150 SE | 60 | 61 | 0.029323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_432-2_0_3_line_61 | NAYY 4x150 SE | 61 | 62 | 0.043707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_432-2_0_3_line_62 | NAYY 4x150 SE | 62 | 63 | 0.023402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_432-2_0_3_line_63 | NAYY 4x150 SE | 62 | 64 | 0.0077099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_432-2_0_3_line_64 | NAYY 4x150 SE | 63 | 67 | 0.014827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_432-2_0_3_line_65 | NAYY 4x150 SE | 64 | 66 | 0.021605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_432-2_0_3_line_66 | NAYY 4x150 SE | 65 | 66 | 0.016284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_432-2_0_3_line_67 | NAYY 4x150 SE | 67 | 68 | 0.00090261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_432-2_0_3_line_68 | NAYY 4x150 SE | 68 | 69 | 0.050118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_432-2_0_3_line_69 | NAYY 4x150 SE | 69 | 70 | 0.087736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_432-2_0_3_line_70 | NAYY 4x150 SE | 70 | 71 | 0.13567 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_432-2_0_3_trafo_36 | 0.25 MVA 20/0.4 kV | 72 | 18 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2570843.3223 | 1224747.2566 | 2570839.9645 | 1224745.3234 | 2570828.8885 | 1224734.5714 | 2570818.3249 | 1224717.0352 | 2570790.4913 | 1224699.8661
1 | 2570843.3223 | 1224747.2566 | 2570879.4074 | 1224768.032 | 2570910.4956 | 1224799.6832
2 | 2570772.0675 | 1224688.5015 | 2570790.4913 | 1224699.8661
3 | 2570936.4268 | 1224823.0942 | 2570926.6923 | 1224816.1732 | 2570910.4956 | 1224799.6832
4 | 2570787.1369 | 1224666.5142 | 2570780.0011 | 1224676.9222 | 2570777.6602 | 1224680.3469 | 2570772.0675 | 1224688.5015
5 | 2570772.0675 | 1224688.5015 | 2570764.592 | 1224688.4272 | 2570751.3098 | 1224686.9473 | 2570741.1727 | 1224688.287 | 2570735.3638 | 1224694.108 | 2570753.1134 | 1224711.3863 | 2570779.662 | 1224737.3376
6 | 2570951.52 | 1224833.8251 | 2570936.4268 | 1224823.0942
7 | 2570787.1369 | 1224666.5142 | 2570794.5814 | 1224655.66 | 2570795.4933 | 1224653.4334
8 | 2570787.1369 | 1224666.5142 | 2570826.6679 | 1224691.2323
9 | 2570779.662 | 1224737.3376 | 2570820.4756 | 1224776.5473
10 | 2570779.662 | 1224737.3376 | 2570776.9346 | 1224743.8549 | 2570788.1848 | 1224780.4131
11 | 2570951.52 | 1224833.8251 | 2570955.6259 | 1224836.7444
12 | 2570795.4933 | 1224653.4334 | 2570798.3045 | 1224646.5696 | 2570799.0318 | 1224635.6817 | 2570798.1895 | 1224632.2689
13 | 2570846.409 | 1224703.5761 | 2570826.6679 | 1224691.2323
14 | 2570838.7787 | 1224794.1313 | 2570820.4756 | 1224776.5473
15 | 2570788.7919 | 1224782.3861 | 2570788.1848 | 1224780.4131
16 | 2570714.2685 | 1224702.4726 | 2570705.3592 | 1224705.2849 | 2570701.5898 | 1224704.722
17 | 2570714.2685 | 1224702.4726 | 2570723.7062 | 1224709.5078
18 | 2570723.7062 | 1224709.5078 | 2570723.9707 | 1224709.705
19 | 2570793.898 | 1224614.8799 | 2570798.1895 | 1224632.2689
20 | 2570858.253 | 1224710.9819 | 2570846.409 | 1224703.5761
21 | 2570838.7787 | 1224794.1313 | 2570872.3633 | 1224826.3962
22 | 2570788.7919 | 1224782.3861 | 2570792.2509 | 1224801.2469
23 | 2570788.7919 | 1224782.3861 | 2570783.0994 | 1224775.1671
24 | 2570731.4891 | 1224715.3095 | 2570723.9707 | 1224709.705
25 | 2570743.0088 | 1224726.1526 | 2570737.53 | 1224719.8126 | 2570732.3456 | 1224715.9479
26 | 2570743.0088 | 1224726.1526 | 2570751.3822 | 1224735.8423
27 | 2570732.3456 | 1224715.9479 | 2570731.4891 | 1224715.3095
28 | 2570751.3822 | 1224735.8423 | 2570759.4665 | 1224745.1973 | 2570761.8191 | 1224748.1808
29 | 2570762.7141 | 1224749.3157 | 2570761.8191 | 1224748.1808
30 | 2570762.7141 | 1224749.3157 | 2570773.4951 | 1224762.9875
31 | 2570773.4951 | 1224762.9875 | 2570774.2534 | 1224763.9491
32 | 2570923.9482 | 1224752.0601 | 2570913.7288 | 1224745.6701
33 | 2570963.1304 | 1224776.5601 | 2570923.9482 | 1224752.0601
34 | 2570881.4184 | 1224725.4669 | 2570913.7288 | 1224745.6701
35 | 2570963.1304 | 1224776.5601 | 2570959.0447 | 1224744.183 | 2570956.6311 | 1224725.0501 | 2570952.7158 | 1224673.283 | 2570952.9347 | 1224659.7473
36 | 2570858.253 | 1224710.9819 | 2570881.4184 | 1224725.4669
37 | 2570952.9347 | 1224659.7473 | 2570952.9892 | 1224656.3716 | 2570955.2577 | 1224639.6727 | 2570960.6911 | 1224627.4846
38 | 2570967.1735 | 1224612.9434 | 2570960.6911 | 1224627.4846
39 | 2570792.2509 | 1224801.2469 | 2570784.1011 | 1224804.3111 | 2570776.0759 | 1224811.2533
40 | 2570792.2509 | 1224801.2469 | 2570796.244 | 1224813.1845
41 | 2570783.0994 | 1224775.1671 | 2570774.2534 | 1224763.9491
42 | 2570776.0759 | 1224811.2533 | 2570774.0836 | 1224812.9767 | 2570770.4445 | 1224817.5529 | 2570762.7785 | 1224829.5534 | 2570754.492 | 1224840.2339 | 2570749.3997 | 1224844.1719
43 | 2570796.244 | 1224813.1845 | 2570803.9854 | 1224836.3273
44 | 2570903.0064 | 1224855.8352 | 2570872.3633 | 1224826.3962
45 | 2570719.1794 | 1224854.0942 | 2570729.8523 | 1224853.8413 | 2570736.1541 | 1224852.6873 | 2570743.1484 | 1224849.0062 | 2570749.3997 | 1224844.1719
46 | 2570803.9854 | 1224836.3273 | 2570807.7954 | 1224847.7173
47 | 2570793.898 | 1224614.8799 | 2570792.789 | 1224610.3863 | 2570791.4442 | 1224602.0991 | 2570788.6219 | 1224584.7582 | 2570789.8601 | 1224573.7247
48 | 2570797.8978 | 1224548.6022 | 2570790.6554 | 1224566.6375 | 2570789.8601 | 1224573.7247
49 | 2570797.8978 | 1224548.6022 | 2570804.8285 | 1224541.2658
50 | 2570903.0064 | 1224855.8352 | 2570899.8674 | 1224858.819 | 2570886.9875 | 1224870.6576
51 | 2570886.9875 | 1224870.6576 | 2570886.8936 | 1224870.7439
52 | 2570821.382 | 1224523.7435 | 2570804.8285 | 1224541.2658
53 | 2570821.382 | 1224523.7435 | 2570829.6806 | 1224514.9592 | 2570830.7119 | 1224513.6793
54 | 2570809.8941 | 1224853.9915 | 2570807.7954 | 1224847.7173
55 | 2570809.8941 | 1224853.9915 | 2570809.8941 | 1224853.9915 | 2570814.1018 | 1224859.7205
56 | 2570814.1018 | 1224859.7205 | 2570826.7494 | 1224876.9409
57 | 2570831.5713 | 1224883.5062 | 2570826.7494 | 1224876.9409
58 | 2570741.1629 | 1224899.8351 | 2570750.0162 | 1224901.1034 | 2570761.3335 | 1224901.5873
59 | 2570785.8522 | 1224911.9777 | 2570779.8263 | 1224906.026 | 2570775.4401 | 1224903.6129 | 2570769.132 | 1224901.9207 | 2570761.3335 | 1224901.5873
60 | 2570785.8522 | 1224911.9777 | 2570803.3543 | 1224911.4801 | 2570815.054 | 1224913.1157
61 | 2570857.756 | 1224920.8182 | 2570848.0692 | 1224921.166 | 2570820.3322 | 1224913.8536 | 2570815.054 | 1224913.1157
62 | 2570857.756 | 1224920.8182 | 2570874.0846 | 1224937.6258
63 | 2570857.756 | 1224920.8182 | 2570853.5284 | 1224914.3707
64 | 2570874.0846 | 1224937.6258 | 2570865.2408 | 1224945.9742 | 2570863.4581 | 1224947.9554
65 | 2570841.2104 | 1224896.6304 | 2570847.6047 | 1224905.3366 | 2570853.5284 | 1224914.3707
66 | 2570841.2104 | 1224896.6304 | 2570831.5713 | 1224883.5062
67 | 2570862.8543 | 1224948.6263 | 2570863.4581 | 1224947.9554
68 | 2570862.8543 | 1224948.6263 | 2570860.0459 | 1224951.7476 | 2570843.1434 | 1224963.1708 | 2570836.8446 | 1224969.5277 | 2570826.4084 | 1224982.3978
69 | 2570795.6835 | 1225062.5412 | 2570795.6716 | 1225060.1287 | 2570796.5799 | 1225056.7778 | 2570812.8601 | 1225029.8927 | 2570815.9965 | 1225024.8632 | 2570819.2002 | 1225018.0879 | 2570819.6705 | 1225013.5162 | 2570819.8747 | 1225002.6531 | 2570821.2536 | 1224993.2407 | 2570823.2755 | 1224988.1722 | 2570826.4084 | 1224982.3978
70 | 2570795.6835 | 1225062.5412 | 2570766.3393 | 1225194.998

## bus_geodata
| x | y | coords
0 | 2570843.3223 | 1224747.2566
1 | 2570790.4913 | 1224699.8661
2 | 2570910.4956 | 1224799.6832
3 | 2570772.0675 | 1224688.5015
4 | 2570936.4268 | 1224823.0942
5 | 2570787.1369 | 1224666.5142
6 | 2570779.662 | 1224737.3376
7 | 2570951.52 | 1224833.8251
8 | 2570795.4933 | 1224653.4334
9 | 2570826.6679 | 1224691.2323
10 | 2570820.4756 | 1224776.5473
11 | 2570788.1848 | 1224780.4131
12 | 2570714.2685 | 1224702.4726
13 | 2570701.5898 | 1224704.722
14 | 2570723.7062 | 1224709.5078
15 | 2570955.6259 | 1224836.7444
16 | 2570798.1895 | 1224632.2689
17 | 2570846.409 | 1224703.5761
18 | 2570838.7787 | 1224794.1313
19 | 2570788.7919 | 1224782.3861
20 | 2570723.9707 | 1224709.705
21 | 2570743.0088 | 1224726.1526
22 | 2570732.3456 | 1224715.9479
23 | 2570751.3822 | 1224735.8423
24 | 2570731.4891 | 1224715.3095
25 | 2570761.8191 | 1224748.1808
26 | 2570762.7141 | 1224749.3157
27 | 2570773.4951 | 1224762.9875
28 | 2570923.9482 | 1224752.0601
29 | 2570913.7288 | 1224745.6701
30 | 2570963.1304 | 1224776.5601
31 | 2570881.4184 | 1224725.4669
32 | 2570952.9347 | 1224659.7473
33 | 2570858.253 | 1224710.9819
34 | 2570960.6911 | 1224627.4846
35 | 2570967.1735 | 1224612.9434
36 | 2570792.2509 | 1224801.2469
37 | 2570783.0994 | 1224775.1671
38 | 2570776.0759 | 1224811.2533
39 | 2570796.244 | 1224813.1845
40 | 2570774.2534 | 1224763.9491
41 | 2570872.3633 | 1224826.3962
42 | 2570749.3997 | 1224844.1719
43 | 2570803.9854 | 1224836.3273
44 | 2570793.898 | 1224614.8799
45 | 2570789.8601 | 1224573.7247
46 | 2570797.8978 | 1224548.6022
47 | 2570903.0064 | 1224855.8352
48 | 2570886.9875 | 1224870.6576
49 | 2570886.8936 | 1224870.7439
50 | 2570804.8285 | 1224541.2658
51 | 2570821.382 | 1224523.7435
52 | 2570807.7954 | 1224847.7173
53 | 2570809.8941 | 1224853.9915
54 | 2570814.1018 | 1224859.7205
55 | 2570719.1794 | 1224854.0942
56 | 2570830.7119 | 1224513.6793
57 | 2570826.7494 | 1224876.9409
58 | 2570761.3335 | 1224901.5873
59 | 2570741.1629 | 1224899.8351
60 | 2570785.8522 | 1224911.9777
61 | 2570815.054 | 1224913.1157
62 | 2570857.756 | 1224920.8182
63 | 2570874.0846 | 1224937.6258
64 | 2570853.5284 | 1224914.3707
65 | 2570831.5713 | 1224883.5062
66 | 2570841.2104 | 1224896.6304
67 | 2570863.4581 | 1224947.9554
68 | 2570862.8543 | 1224948.6263
69 | 2570826.4084 | 1224982.3978
70 | 2570795.6835 | 1225062.5412
71 | 2570766.3393 | 1225194.998
72 | 2570779.662 | 1224737.3376

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1