## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_432-3_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_432-3_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_432-3_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_432-3_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_432-3_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_432-3_0_3_node_22 | 0.4 | n |  | TRUE
6 | bus_LV_432-3_0_3_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_432-3_0_3_node_14 | 0.4 | n |  | TRUE
8 | bus_LV_432-3_0_3_node_23 | 0.4 | n |  | TRUE
9 | bus_LV_432-3_0_3_node_24 | 0.4 | n |  | TRUE
10 | bus_LV_432-3_0_3_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_432-3_0_3_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_432-3_0_3_node_18 | 0.4 | n |  | TRUE
13 | bus_LV_432-3_0_3_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_432-3_0_3_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_432-3_0_3_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_432-3_0_3_node_17 | 0.4 | n |  | TRUE
17 | bus_LV_432-3_0_3_node_19 | 0.4 | n |  | TRUE
18 | bus_LV_432-3_0_3_node_21 | 0.4 | n |  | TRUE
19 | bus_LV_432-3_0_3_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_432-3_0_3_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_432-3_0_3_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_432-3_0_3_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_432-3_0_3_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_432-3_0_3_node_82 | 0.4 | n |  | TRUE
25 | bus_LV_432-3_0_3_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_432-3_0_3_node_77 | 0.4 | n |  | TRUE
27 | bus_LV_432-3_0_3_node_76 | 0.4 | n |  | TRUE
28 | bus_LV_432-3_0_3_node_78 | 0.4 | n |  | TRUE
29 | bus_LV_432-3_0_3_node_79 | 0.4 | n |  | TRUE
30 | bus_LV_432-3_0_3_node_80 | 0.4 | n |  | TRUE
31 | bus_LV_432-3_0_3_node_81 | 0.4 | n |  | TRUE
32 | bus_LV_432-3_0_3_node_71 | 0.4 | n |  | TRUE
33 | bus_LV_432-3_0_3_node_50 | 0.4 | n |  | TRUE
34 | bus_LV_432-3_0_3_node_51 | 0.4 | n |  | TRUE
35 | bus_LV_432-3_0_3_node_84 | 0.4 | n |  | TRUE
36 | bus_LV_432-3_0_3_node_52 | 0.4 | n |  | TRUE
37 | bus_LV_432-3_0_3_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_432-3_0_3_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_432-3_0_3_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_432-3_0_3_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_432-3_0_3_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_432-3_0_3_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_432-3_0_3_node_57 | 0.4 | n |  | TRUE
44 | bus_LV_432-3_0_3_node_29 | 0.4 | n |  | TRUE
45 | bus_LV_432-3_0_3_node_56 | 0.4 | n |  | TRUE
46 | bus_LV_432-3_0_3_node_58 | 0.4 | n |  | TRUE
47 | bus_LV_432-3_0_3_node_54 | 0.4 | n |  | TRUE
48 | bus_LV_432-3_0_3_node_53 | 0.4 | n |  | TRUE
49 | bus_LV_432-3_0_3_node_45 | 0.4 | n |  | TRUE
50 | bus_LV_432-3_0_3_node_55 | 0.4 | n |  | TRUE
51 | bus_LV_432-3_0_3_node_35 | 0.4 | n |  | TRUE
52 | bus_LV_432-3_0_3_node_40 | 0.4 | n |  | TRUE
53 | bus_LV_432-3_0_3_node_32 | 0.4 | n |  | TRUE
54 | bus_LV_432-3_0_3_node_33 | 0.4 | n |  | TRUE
55 | bus_LV_432-3_0_3_node_34 | 0.4 | n |  | TRUE
56 | bus_LV_432-3_0_3_node_36 | 0.4 | n |  | TRUE
57 | bus_LV_432-3_0_3_node_59 | 0.4 | n |  | TRUE
58 | bus_LV_432-3_0_3_node_65 | 0.4 | n |  | TRUE
59 | bus_LV_432-3_0_3_node_75 | 0.4 | n |  | TRUE
60 | bus_LV_432-3_0_3_node_37 | 0.4 | n |  | TRUE
61 | bus_LV_432-3_0_3_node_38 | 0.4 | n |  | TRUE
62 | bus_LV_432-3_0_3_node_39 | 0.4 | n |  | TRUE
63 | bus_LV_432-3_0_3_node_41 | 0.4 | n |  | TRUE
64 | bus_LV_432-3_0_3_node_48 | 0.4 | n |  | TRUE
65 | bus_LV_432-3_0_3_node_47 | 0.4 | n |  | TRUE
66 | bus_LV_432-3_0_3_node_42 | 0.4 | n |  | TRUE
67 | bus_LV_432-3_0_3_node_43 | 0.4 | n |  | TRUE
68 | bus_LV_432-3_0_3_node_44 | 0.4 | n |  | TRUE
69 | bus_LV_432-3_0_3_node_49 | 0.4 | n |  | TRUE
70 | bus_LV_432-3_0_3_node_60 | 0.4 | n |  | TRUE
71 | bus_LV_432-3_0_3_node_61 | 0.4 | n |  | TRUE
72 | bus_LV_432-3_0_3_node_72 | 0.4 | n |  | TRUE
73 | bus_LV_432-3_0_3_node_64 | 0.4 | n |  | TRUE
74 | bus_LV_432-3_0_3_node_62 | 0.4 | n |  | TRUE
75 | bus_LV_432-3_0_3_node_63 | 0.4 | n |  | TRUE
76 | bus_LV_432-3_0_3_node_73 | 0.4 | n |  | TRUE
77 | bus_LV_432-3_0_3_node_83 | 0.4 | n |  | TRUE
78 | bus_LV_432-3_0_3_node_66 | 0.4 | n |  | TRUE
79 | bus_LV_432-3_0_3_node_67 | 0.4 | n |  | TRUE
80 | bus_LV_432-3_0_3_node_68 | 0.4 | n |  | TRUE
81 | bus_LV_432-3_0_3_node_69 | 0.4 | n |  | TRUE
82 | bus_LV_432-3_0_3_node_70 | 0.4 | n |  | TRUE
83 | bus_LV_432-3_0_3_node_74 | 0.4 | n |  | TRUE
84 | bus_MV_329_0_node_1 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_432-3_0_3_load_0 | 0 | 0.0010973 | 0.00027502 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_432-3_0_3_load_1 | 1 | 0.0016133 | 0.00040434 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_432-3_0_3_load_2 | 2 | 0.0037503 | 0.00093992 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_432-3_0_3_load_3 | 3 | 0.0012735 | 0.00031918 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_432-3_0_3_load_23 | 8 | 0.00045432 | 0.00011386 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_432-3_0_3_load_24 | 9 | 0.002919 | 0.00073157 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_432-3_0_3_load_9 | 10 | 0.0014536 | 0.00036431 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_432-3_0_3_load_5 | 11 | 0.0031817 | 0.00079741 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_432-3_0_3_load_12 | 13 | 0.0024044 | 0.00060259 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_432-3_0_3_load_6 | 14 | 0.0022528 | 0.00056461 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_432-3_0_3_load_8 | 15 | 0.0017379 | 0.00043555 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_432-3_0_3_load_17 | 16 | 0.0033007 | 0.00082723 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_432-3_0_3_load_19 | 17 | 0.0049363 | 0.0012372 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_432-3_0_3_load_21 | 18 | 0.0019891 | 0.00049851 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_432-3_0_3_load_10 | 19 | 0.0022312 | 0.00055919 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_432-3_0_3_load_11 | 20 | 0.0022085 | 0.00055349 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_432-3_0_3_load_82 | 24 | 0.0029445 | 0.00073797 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_432-3_0_3_load_20 | 25 | 0.0013072 | 0.0003276 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_432-3_0_3_load_77 | 26 | 0.0012335 | 0.00030914 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_432-3_0_3_load_76 | 27 | 0.00082226 | 0.00020608 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_432-3_0_3_load_78 | 28 | 0.00045431 | 0.00011386 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_432-3_0_3_load_80 | 30 | 0.0011804 | 0.00029584 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_432-3_0_3_load_81 | 31 | 0.00076292 | 0.00019121 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_432-3_0_3_load_71 | 32 | 0.0045006 | 0.001128 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_432-3_0_3_load_50 | 33 | 0.0027196 | 0.00068159 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_432-3_0_3_load_51 | 34 | 0.00061829 | 0.00015496 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_432-3_0_3_load_84 | 35 | 0.0023616 | 0.00059186 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_432-3_0_3_load_52 | 36 | 0.0024132 | 0.0006048 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_432-3_0_3_load_25 | 37 | 0.0016129 | 0.00040422 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_432-3_0_3_load_26 | 38 | 0.001887 | 0.00047293 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_432-3_0_3_load_28 | 40 | 0.0027921 | 0.00069978 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_432-3_0_3_load_30 | 41 | 0.0016821 | 0.00042157 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_432-3_0_3_load_31 | 42 | 0.0021033 | 0.00052713 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_432-3_0_3_load_57 | 43 | 0.0023807 | 0.00059667 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_432-3_0_3_load_56 | 45 | 0.0042948 | 0.0010764 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_432-3_0_3_load_58 | 46 | 0.0019998 | 0.0005012 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_432-3_0_3_load_54 | 47 | 0.0019948 | 0.00049995 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_432-3_0_3_load_53 | 48 | 0.0034419 | 0.00086261 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_432-3_0_3_load_45 | 49 | 0.0023225 | 0.00058206 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_432-3_0_3_load_55 | 50 | 0.0060014 | 0.0015041 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_432-3_0_3_load_40 | 52 | 0.0015821 | 0.00039651 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_432-3_0_3_load_32 | 53 | 0.0036035 | 0.00090313 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_432-3_0_3_load_33 | 54 | 0.0014064 | 0.00035247 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_432-3_0_3_load_34 | 55 | 0.0019797 | 0.00049615 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_432-3_0_3_load_36 | 56 | 0.0019867 | 0.00049792 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_432-3_0_3_load_75 | 59 | 0.0017074 | 0.00042792 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_432-3_0_3_load_37 | 60 | 0.0069595 | 0.0017442 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_432-3_0_3_load_38 | 61 | 0.002701 | 0.00067693 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_432-3_0_3_load_39 | 62 | 0.0019785 | 0.00049587 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_432-3_0_3_load_41 | 63 | 0.0024847 | 0.00062272 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_432-3_0_3_load_48 | 64 | 0.0026814 | 0.00067203 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_432-3_0_3_load_47 | 65 | 0.0024142 | 0.00060505 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_432-3_0_3_load_42 | 66 | 0.0039147 | 0.00098112 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_432-3_0_3_load_43 | 67 | 0.0020199 | 0.00050622 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_432-3_0_3_load_44 | 68 | 0.0026008 | 0.00065181 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_432-3_0_3_load_49 | 69 | 0.0053902 | 0.0013509 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_432-3_0_3_load_60 | 70 | 0.0019325 | 0.00048433 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_432-3_0_3_load_61 | 71 | 0.0020389 | 0.000511 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_432-3_0_3_load_72 | 72 | 0.0019905 | 0.00049887 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_432-3_0_3_load_64 | 73 | 0.039184 | 0.0098204 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_432-3_0_3_load_62 | 74 | 0.0030338 | 0.00076035 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_432-3_0_3_load_63 | 75 | 0.0035756 | 0.00089614 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_432-3_0_3_load_73 | 76 | 0.0012224 | 0.00030637 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_432-3_0_3_load_83 | 77 | 0.019768 | 0.0049543 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_432-3_0_3_load_66 | 78 | 0.0014092 | 0.00035317 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_432-3_0_3_load_67 | 79 | 0.0019687 | 0.0004934 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_432-3_0_3_load_69 | 81 | 0.001779 | 0.00044587 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_432-3_0_3_load_70 | 82 | 0.0026864 | 0.00067329 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_432-3_0_3_load_74 | 83 | 0.002147 | 0.00053809 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 70 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_432-3_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.028657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
1 | LV_432-3_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.016404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
2 | LV_432-3_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.01827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
3 | LV_432-3_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.017184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_432-3_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.0076451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_432-3_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.038453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_432-3_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.003906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_432-3_0_3_line_7 | NAYY 4x150 SE | 5 | 8 | 0.033675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_432-3_0_3_line_8 | NAYY 4x150 SE | 5 | 9 | 0.022213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_432-3_0_3_line_9 | NAYY 4x150 SE | 6 | 10 | 0.0083123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_432-3_0_3_line_10 | NAYY 4x150 SE | 6 | 11 | 0.0076289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
11 | LV_432-3_0_3_line_11 | NAYY 4x150 SE | 7 | 12 | 0.039375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_432-3_0_3_line_12 | NAYY 4x150 SE | 7 | 13 | 0.017352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_432-3_0_3_line_13 | NAYY 4x150 SE | 8 | 34 | 0.013396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_432-3_0_3_line_14 | NAYY 4x150 SE | 9 | 35 | 0.037035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_432-3_0_3_line_15 | NAYY 4x150 SE | 10 | 17 | 0.020838 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_432-3_0_3_line_16 | NAYY 4x150 SE | 11 | 14 | 0.014205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_432-3_0_3_line_17 | NAYY 4x150 SE | 12 | 26 | 0.017749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_432-3_0_3_line_18 | NAYY 4x150 SE | 12 | 27 | 0.0081931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_432-3_0_3_line_19 | NAYY 4x150 SE | 13 | 19 | 0.015521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_432-3_0_3_line_20 | NAYY 4x150 SE | 14 | 15 | 0.015969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_432-3_0_3_line_21 | NAYY 4x150 SE | 15 | 16 | 0.025132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
22 | LV_432-3_0_3_line_22 | NAYY 4x150 SE | 16 | 18 | 0.040203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
23 | LV_432-3_0_3_line_23 | NAYY 4x150 SE | 18 | 32 | 4.5589e-06 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
24 | LV_432-3_0_3_line_24 | NAYY 4x150 SE | 19 | 20 | 0.028611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_432-3_0_3_line_25 | NAYY 4x150 SE | 20 | 21 | 0.028697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_432-3_0_3_line_26 | NAYY 4x150 SE | 21 | 22 | 0.045096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_432-3_0_3_line_27 | NAYY 4x150 SE | 21 | 23 | 0.028863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_432-3_0_3_line_28 | NAYY 4x150 SE | 22 | 24 | 0.13139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_432-3_0_3_line_29 | NAYY 4x150 SE | 23 | 25 | 0.028123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_432-3_0_3_line_30 | NAYY 4x150 SE | 24 | 30 | 0.019364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_432-3_0_3_line_31 | NAYY 4x150 SE | 28 | 29 | 0.051197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_432-3_0_3_line_32 | NAYY 4x150 SE | 29 | 30 | 0.0079935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_432-3_0_3_line_33 | NAYY 4x150 SE | 29 | 31 | 0.010527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_432-3_0_3_line_34 | NAYY 4x150 SE | 32 | 33 | 0.027502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
35 | LV_432-3_0_3_line_35 | NAYY 4x150 SE | 33 | 69 | 0.0087192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
36 | LV_432-3_0_3_line_36 | NAYY 4x150 SE | 34 | 36 | 0.036544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
37 | LV_432-3_0_3_line_37 | NAYY 4x150 SE | 36 | 70 | 0.017672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
38 | LV_432-3_0_3_line_38 | NAYY 4x150 SE | 37 | 38 | 0.010149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
39 | LV_432-3_0_3_line_39 | NAYY 4x150 SE | 37 | 39 | 0.0315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
40 | LV_432-3_0_3_line_40 | NAYY 4x150 SE | 38 | 40 | 0.017532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_432-3_0_3_line_41 | NAYY 4x150 SE | 39 | 41 | 0.047704 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
42 | LV_432-3_0_3_line_42 | NAYY 4x150 SE | 39 | 42 | 0.011638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_432-3_0_3_line_43 | NAYY 4x150 SE | 40 | 43 | 0.011778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_432-3_0_3_line_44 | NAYY 4x150 SE | 41 | 47 | 0.023215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_432-3_0_3_line_45 | NAYY 4x150 SE | 41 | 48 | 0.020272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
46 | LV_432-3_0_3_line_46 | NAYY 4x150 SE | 43 | 49 | 0.017595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_432-3_0_3_line_47 | NAYY 4x150 SE | 44 | 45 | 0.019169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_432-3_0_3_line_48 | NAYY 4x150 SE | 44 | 46 | 0.029022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_432-3_0_3_line_49 | NAYY 4x150 SE | 45 | 50 | 0.030412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_432-3_0_3_line_50 | NAYY 4x150 SE | 46 | 51 | 0.019966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_432-3_0_3_line_51 | NAYY 4x150 SE | 48 | 52 | 0.011632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
52 | LV_432-3_0_3_line_52 | NAYY 4x150 SE | 49 | 67 | 0.0085056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_432-3_0_3_line_53 | NAYY 4x150 SE | 51 | 57 | 0.042582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_432-3_0_3_line_54 | NAYY 4x150 SE | 51 | 54 | 0.012433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_432-3_0_3_line_55 | NAYY 4x150 SE | 52 | 61 | 0.015769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
56 | LV_432-3_0_3_line_56 | NAYY 4x150 SE | 53 | 54 | 0.03606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_432-3_0_3_line_57 | NAYY 4x150 SE | 53 | 55 | 0.00040275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_432-3_0_3_line_58 | NAYY 4x150 SE | 55 | 56 | 0.026039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_432-3_0_3_line_59 | NAYY 4x150 SE | 57 | 58 | 0.033673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_432-3_0_3_line_60 | NAYY 4x150 SE | 57 | 59 | 0.033094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_432-3_0_3_line_61 | NAYY 4x150 SE | 58 | 72 | 0.0083093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_432-3_0_3_line_62 | NAYY 4x150 SE | 58 | 73 | 0.024926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_432-3_0_3_line_63 | NAYY 4x150 SE | 60 | 61 | 0.013004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
64 | LV_432-3_0_3_line_64 | NAYY 4x150 SE | 60 | 62 | 0.027678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
65 | LV_432-3_0_3_line_65 | NAYY 4x150 SE | 62 | 63 | 0.0049074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
66 | LV_432-3_0_3_line_66 | NAYY 4x150 SE | 63 | 64 | 0.024999 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
67 | LV_432-3_0_3_line_67 | NAYY 4x150 SE | 64 | 65 | 0.0046544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
68 | LV_432-3_0_3_line_68 | NAYY 4x150 SE | 65 | 69 | 0.017576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
69 | LV_432-3_0_3_line_69 | NAYY 4x150 SE | 66 | 67 | 0.022965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_432-3_0_3_line_70 | NAYY 4x150 SE | 66 | 68 | 0.0024506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_432-3_0_3_line_71 | NAYY 4x150 SE | 70 | 71 | 0.00024733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_432-3_0_3_line_72 | NAYY 4x150 SE | 71 | 74 | 0.018341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_432-3_0_3_line_73 | NAYY 4x150 SE | 72 | 76 | 0.029469 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_432-3_0_3_line_74 | NAYY 4x150 SE | 72 | 77 | 0.041057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_432-3_0_3_line_75 | NAYY 4x150 SE | 73 | 75 | 0.020616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_432-3_0_3_line_76 | NAYY 4x150 SE | 74 | 75 | 0.0087129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_432-3_0_3_line_77 | NAYY 4x150 SE | 76 | 83 | 0.022603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_432-3_0_3_line_78 | NAYY 4x150 SE | 78 | 79 | 0.022041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_432-3_0_3_line_79 | NAYY 4x150 SE | 78 | 80 | 0.013348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_432-3_0_3_line_80 | NAYY 4x150 SE | 79 | 81 | 0.018548 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_432-3_0_3_line_81 | NAYY 4x150 SE | 80 | 82 | 0.011422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_432-3_0_3_line_82 | NAYY 4x150 SE | 81 | 83 | 0.0062908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_432-3_0_3_trafo_60 | 0.25 MVA 20/0.4 kV | 84 | 70 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2570594.3316 | 1224602.8533 | 2570581.51 | 1224594.9655 | 2570569.7015 | 1224588.2121
1 | 2570594.3316 | 1224602.8533 | 2570608.3035 | 1224611.4488
2 | 2570569.7015 | 1224588.2121 | 2570553.8417 | 1224579.1417
3 | 2570622.9399 | 1224620.4531 | 2570608.3035 | 1224611.4488
4 | 2570547.2052 | 1224575.3462 | 2570553.8417 | 1224579.1417
5 | 2570622.9399 | 1224620.4531 | 2570619.9435 | 1224624.6927 | 2570619.6154 | 1224627.3403 | 2570623.0948 | 1224630.3027 | 2570634.2596 | 1224645.0895 | 2570635.1912 | 1224652.556
6 | 2570626.3834 | 1224622.315 | 2570622.9399 | 1224620.4531
7 | 2570547.2052 | 1224575.3462 | 2570535.8311 | 1224568.8433 | 2570516.923 | 1224560.7345
8 | 2570547.2052 | 1224575.3462 | 2570544.3792 | 1224569.6124 | 2570534.1495 | 1224559.9908 | 2570532.8036 | 1224558.8308
9 | 2570635.1912 | 1224652.556 | 2570638.8623 | 1224654.439 | 2570641.9254 | 1224657.2927
10 | 2570635.1912 | 1224652.556 | 2570633.1356 | 1224658.4697 | 2570632.7607 | 1224659.7855
11 | 2570623.7905 | 1224584.0272 | 2570623.7349 | 1224589.642 | 2570628.9455 | 1224611.5181 | 2570628.8324 | 1224616.2214 | 2570626.3834 | 1224622.315
12 | 2570626.3834 | 1224622.315 | 2570640.1491 | 1224632.8797
13 | 2570516.923 | 1224560.7345 | 2570504.6112 | 1224555.4546
14 | 2570532.8036 | 1224558.8308 | 2570518.297 | 1224546.3281 | 2570505.4684 | 1224533.8679
15 | 2570657.1721 | 1224671.4969 | 2570641.9254 | 1224657.2927
16 | 2570632.7607 | 1224659.7855 | 2570630.9373 | 1224666.1852 | 2570624.0383 | 1224669.2545 | 2570624.0383 | 1224669.2545
17 | 2570623.7905 | 1224584.0272 | 2570637.6258 | 1224595.145
18 | 2570623.7905 | 1224584.0272 | 2570619.7801 | 1224576.8828
19 | 2570651.5322 | 1224643.4223 | 2570641.0789 | 1224633.5934 | 2570640.1491 | 1224632.8797
20 | 2570624.0383 | 1224669.2545 | 2570608.7801 | 1224668.3184 | 2570608.1005 | 1224668.2615
21 | 2570583.1458 | 1224667.6512 | 2570588.2337 | 1224666.597 | 2570608.1005 | 1224668.2615
22 | 2570583.1458 | 1224667.6512 | 2570574.2151 | 1224669.5016 | 2570564.4122 | 1224672.4964 | 2570556.3257 | 1224670.0017 | 2570545.7555 | 1224663.5766
23 | 2570545.7555 | 1224663.5766 | 2570545.7516 | 1224663.5742
24 | 2570651.5322 | 1224643.4223 | 2570658.2396 | 1224649.7292 | 2570671.9447 | 1224663.4661
25 | 2570692.2131 | 1224683.7815 | 2570671.9447 | 1224663.4661
26 | 2570692.2131 | 1224683.7815 | 2570719.3411 | 1224693.4088 | 2570729.6092 | 1224695.5706 | 2570735.3638 | 1224694.108
27 | 2570692.2131 | 1224683.7815 | 2570714.2685 | 1224702.4726
28 | 2570735.3638 | 1224694.108 | 2570789.7718 | 1224574.5108
29 | 2570714.2685 | 1224702.4726 | 2570705.3592 | 1224705.2849 | 2570691.1642 | 1224703.1649 | 2570687.9246 | 1224700.1468
30 | 2570789.7718 | 1224574.5108 | 2570790.6554 | 1224566.6375 | 2570794.9191 | 1224556.0199
31 | 2570797.8978 | 1224548.6022 | 2570829.6806 | 1224514.9592 | 2570832.7643 | 1224511.1321
32 | 2570797.8978 | 1224548.6022 | 2570794.9191 | 1224556.0199
33 | 2570797.8978 | 1224548.6022 | 2570798.2169 | 1224538.0803
34 | 2570522.2502 | 1224649.2888 | 2570545.7516 | 1224663.5742
35 | 2570522.2502 | 1224649.2888 | 2570514.7995 | 1224644.7599
36 | 2570471.2723 | 1224540.5149 | 2570481.6293 | 1224545.5989 | 2570504.6112 | 1224555.4546
37 | 2570471.2723 | 1224540.5149 | 2570467.6832 | 1224538.7531 | 2570456.9976 | 1224530.222
38 | 2570323.7607 | 1224536.1895 | 2570314.7295 | 1224531.5594
39 | 2570351.7684 | 1224550.6049 | 2570324.8607 | 1224536.7535 | 2570323.7607 | 1224536.1895
40 | 2570314.7295 | 1224531.5594 | 2570309.9779 | 1224529.1234 | 2570299.1088 | 1224523.5997
41 | 2570351.7684 | 1224550.6049 | 2570362.5763 | 1224556.0208 | 2570384.7992 | 1224568.4839 | 2570393.6648 | 1224573.6094
42 | 2570351.7684 | 1224550.6049 | 2570355.4957 | 1224560.659 | 2570355.8079 | 1224561.5196
43 | 2570288.6086 | 1224518.2634 | 2570299.1088 | 1224523.5997
44 | 2570397.0313 | 1224553.9476 | 2570399.5701 | 1224555.2579 | 2570400.7864 | 1224558.9541 | 2570399.6137 | 1224563.9962 | 2570395.2593 | 1224571.0555 | 2570393.6648 | 1224573.6094
45 | 2570393.6648 | 1224573.6094 | 2570411.2137 | 1224583.7577
46 | 2570272.9233 | 1224510.2921 | 2570288.6086 | 1224518.2634
47 | 2570328.1485 | 1224502.9169 | 2570336.4978 | 1224504.8429 | 2570346.8975 | 1224506.8946
48 | 2570328.1485 | 1224502.9169 | 2570325.8936 | 1224499.2482 | 2570317.2855 | 1224486.517 | 2570316.6323 | 1224477.1925
49 | 2570373.9378 | 1224520.7543 | 2570358.9318 | 1224512.4687 | 2570347.1604 | 1224506.9464 | 2570346.8975 | 1224506.8946
50 | 2570326.9725 | 1224460.3196 | 2570321.0566 | 1224467.4424 | 2570316.6323 | 1224477.1925
51 | 2570411.2137 | 1224583.7577 | 2570421.2832 | 1224589.5807
52 | 2570265.3407 | 1224506.4386 | 2570272.9233 | 1224510.2921
53 | 2570326.9725 | 1224460.3196 | 2570366.9792 | 1224475.2174
54 | 2570326.9725 | 1224460.3196 | 2570315.3208 | 1224455.9811
55 | 2570434.9343 | 1224597.475 | 2570421.2832 | 1224589.5807
56 | 2570281.5274 | 1224443.3978 | 2570315.3208 | 1224455.9811
57 | 2570281.5274 | 1224443.3978 | 2570281.15 | 1224443.2572
58 | 2570256.4524 | 1224438.4717 | 2570257.6247 | 1224437.8424 | 2570262.98 | 1224436.8705 | 2570269.199 | 1224438.8072 | 2570281.15 | 1224443.2572
59 | 2570366.9792 | 1224475.2174 | 2570398.6152 | 1224486.9999
60 | 2570366.9792 | 1224475.2174 | 2570368.0445 | 1224479.0366 | 2570371.8239 | 1224487.3783 | 2570379.5207 | 1224498.313 | 2570384.2062 | 1224502.9605
61 | 2570398.6152 | 1224486.9999 | 2570396.1099 | 1224483.2879 | 2570393.204 | 1224480.7915
62 | 2570398.6152 | 1224486.9999 | 2570402.4435 | 1224488.4261 | 2570418.7621 | 1224499.6958 | 2570419.5508 | 1224500.3255
63 | 2570446.1913 | 1224603.9847 | 2570434.9343 | 1224597.475
64 | 2570446.1913 | 1224603.9847 | 2570470.1519 | 1224617.8407
65 | 2570474.4001 | 1224620.2974 | 2570470.1519 | 1224617.8407
66 | 2570495.8031 | 1224633.2129 | 2570477.5904 | 1224622.1423 | 2570474.4001 | 1224620.2974
67 | 2570499.7804 | 1224635.6305 | 2570495.8031 | 1224633.2129
68 | 2570499.7804 | 1224635.6305 | 2570514.7995 | 1224644.7599
69 | 2570244.8678 | 1224496.0341 | 2570265.3407 | 1224506.4386
70 | 2570244.8678 | 1224496.0341 | 2570242.6831 | 1224494.9239
71 | 2570456.9976 | 1224530.222 | 2570456.8043 | 1224530.0677
72 | 2570456.8043 | 1224530.0677 | 2570442.4709 | 1224518.6243
73 | 2570393.204 | 1224480.7915 | 2570377.7749 | 1224467.5367 | 2570370.8318 | 1224461.6111
74 | 2570393.204 | 1224480.7915 | 2570423.1756 | 1224452.7317
75 | 2570435.6619 | 1224513.1882 | 2570419.5508 | 1224500.3255
76 | 2570435.6619 | 1224513.1882 | 2570442.4709 | 1224518.6243
77 | 2570353.1585 | 1224447.5647 | 2570359.3717 | 1224451.8304 | 2570370.8318 | 1224461.6111
78 | 2570312.2728 | 1224424.7734 | 2570317.1275 | 1224427.7051 | 2570331.716 | 1224435.1305
79 | 2570300.4555 | 1224418.6164 | 2570306.9753 | 1224421.5744 | 2570312.2728 | 1224424.7734
80 | 2570347.9723 | 1224444.0041 | 2570344.5975 | 1224441.6871 | 2570331.716 | 1224435.1305
81 | 2570300.4555 | 1224418.6164 | 2570306.1771 | 1224408.7307
82 | 2570353.1585 | 1224447.5647 | 2570347.9723 | 1224444.0041

## bus_geodata
| x | y | coords
0 | 2570594.3316 | 1224602.8533
1 | 2570569.7015 | 1224588.2121
2 | 2570608.3035 | 1224611.4488
3 | 2570553.8417 | 1224579.1417
4 | 2570622.9399 | 1224620.4531
5 | 2570547.2052 | 1224575.3462
6 | 2570635.1912 | 1224652.556
7 | 2570626.3834 | 1224622.315
8 | 2570516.923 | 1224560.7345
9 | 2570532.8036 | 1224558.8308
10 | 2570641.9254 | 1224657.2927
11 | 2570632.7607 | 1224659.7855
12 | 2570623.7905 | 1224584.0272
13 | 2570640.1491 | 1224632.8797
14 | 2570624.0383 | 1224669.2545
15 | 2570608.1005 | 1224668.2615
16 | 2570583.1458 | 1224667.6512
17 | 2570657.1721 | 1224671.4969
18 | 2570545.7555 | 1224663.5766
19 | 2570651.5322 | 1224643.4223
20 | 2570671.9447 | 1224663.4661
21 | 2570692.2131 | 1224683.7815
22 | 2570735.3638 | 1224694.108
23 | 2570714.2685 | 1224702.4726
24 | 2570789.7718 | 1224574.5108
25 | 2570687.9246 | 1224700.1468
26 | 2570637.6258 | 1224595.145
27 | 2570619.7801 | 1224576.8827
28 | 2570832.7644 | 1224511.1321
29 | 2570797.8978 | 1224548.6022
30 | 2570794.9191 | 1224556.0199
31 | 2570798.2169 | 1224538.0803
32 | 2570545.7516 | 1224663.5742
33 | 2570522.2502 | 1224649.2888
34 | 2570504.6112 | 1224555.4546
35 | 2570505.4684 | 1224533.8679
36 | 2570471.2723 | 1224540.5149
37 | 2570323.7607 | 1224536.1895
38 | 2570314.7295 | 1224531.5594
39 | 2570351.7684 | 1224550.6049
40 | 2570299.1088 | 1224523.5997
41 | 2570393.6648 | 1224573.6094
42 | 2570355.8079 | 1224561.5196
43 | 2570288.6086 | 1224518.2634
44 | 2570328.1485 | 1224502.9169
45 | 2570346.8975 | 1224506.8946
46 | 2570316.6323 | 1224477.1925
47 | 2570397.0313 | 1224553.9476
48 | 2570411.2137 | 1224583.7577
49 | 2570272.9233 | 1224510.2921
50 | 2570373.9378 | 1224520.7543
51 | 2570326.9725 | 1224460.3196
52 | 2570421.2832 | 1224589.5807
53 | 2570281.5274 | 1224443.3978
54 | 2570315.3208 | 1224455.9811
55 | 2570281.15 | 1224443.2572
56 | 2570256.4524 | 1224438.4717
57 | 2570366.9792 | 1224475.2174
58 | 2570398.6152 | 1224486.9999
59 | 2570384.2062 | 1224502.9605
60 | 2570446.1913 | 1224603.9847
61 | 2570434.9343 | 1224597.475
62 | 2570470.1519 | 1224617.8407
63 | 2570474.4001 | 1224620.2974
64 | 2570495.8031 | 1224633.2129
65 | 2570499.7804 | 1224635.6305
66 | 2570244.8678 | 1224496.0341
67 | 2570265.3407 | 1224506.4386
68 | 2570242.6831 | 1224494.9239
69 | 2570514.7995 | 1224644.7599
70 | 2570456.9976 | 1224530.222
71 | 2570456.8043 | 1224530.0677
72 | 2570393.204 | 1224480.7915
73 | 2570419.5508 | 1224500.3255
74 | 2570442.4709 | 1224518.6243
75 | 2570435.6619 | 1224513.1882
76 | 2570370.8318 | 1224461.6111
77 | 2570423.1756 | 1224452.7317
78 | 2570312.2728 | 1224424.7734
79 | 2570331.716 | 1224435.1305
80 | 2570300.4555 | 1224418.6164
81 | 2570347.9723 | 1224444.0041
82 | 2570306.1771 | 1224408.7307
83 | 2570353.1585 | 1224447.5647
84 | 2570398.6152 | 1224486.9999

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1