## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_441-3_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_441-3_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_441-3_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_441-3_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_441-3_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_441-3_0_3_node_32 | 0.4 | n |  | TRUE
6 | bus_LV_441-3_0_3_node_46 | 0.4 | n |  | TRUE
7 | bus_LV_441-3_0_3_node_45 | 0.4 | n |  | TRUE
8 | bus_LV_441-3_0_3_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_441-3_0_3_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_441-3_0_3_node_30 | 0.4 | n |  | TRUE
11 | bus_LV_441-3_0_3_node_51 | 0.4 | n |  | TRUE
12 | bus_LV_441-3_0_3_node_31 | 0.4 | n |  | TRUE
13 | bus_LV_441-3_0_3_node_59 | 0.4 | n |  | TRUE
14 | bus_LV_441-3_0_3_node_27 | 0.4 | n |  | TRUE
15 | bus_LV_441-3_0_3_node_25 | 0.4 | n |  | TRUE
16 | bus_LV_441-3_0_3_node_44 | 0.4 | n |  | TRUE
17 | bus_LV_441-3_0_3_node_47 | 0.4 | n |  | TRUE
18 | bus_LV_441-3_0_3_node_7 | 0.4 | n |  | TRUE
19 | bus_LV_441-3_0_3_node_6 | 0.4 | n |  | TRUE
20 | bus_LV_441-3_0_3_node_8 | 0.4 | n |  | TRUE
21 | bus_LV_441-3_0_3_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_441-3_0_3_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_441-3_0_3_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_441-3_0_3_node_24 | 0.4 | n |  | TRUE
25 | bus_LV_441-3_0_3_node_52 | 0.4 | n |  | TRUE
26 | bus_LV_441-3_0_3_node_13 | 0.4 | n |  | TRUE
27 | bus_LV_441-3_0_3_node_33 | 0.4 | n |  | TRUE
28 | bus_LV_441-3_0_3_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_441-3_0_3_node_12 | 0.4 | n |  | TRUE
30 | bus_LV_441-3_0_3_node_15 | 0.4 | n |  | TRUE
31 | bus_LV_441-3_0_3_node_36 | 0.4 | n |  | TRUE
32 | bus_LV_441-3_0_3_node_35 | 0.4 | n |  | TRUE
33 | bus_LV_441-3_0_3_node_16 | 0.4 | n |  | TRUE
34 | bus_LV_441-3_0_3_node_17 | 0.4 | n |  | TRUE
35 | bus_LV_441-3_0_3_node_18 | 0.4 | n |  | TRUE
36 | bus_LV_441-3_0_3_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_441-3_0_3_node_60 | 0.4 | n |  | TRUE
38 | bus_LV_441-3_0_3_node_19 | 0.4 | n |  | TRUE
39 | bus_LV_441-3_0_3_node_20 | 0.4 | n |  | TRUE
40 | bus_LV_441-3_0_3_node_22 | 0.4 | n |  | TRUE
41 | bus_LV_441-3_0_3_node_61 | 0.4 | n |  | TRUE
42 | bus_LV_441-3_0_3_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_441-3_0_3_node_26 | 0.4 | n |  | TRUE
44 | bus_LV_441-3_0_3_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_441-3_0_3_node_43 | 0.4 | n |  | TRUE
46 | bus_LV_441-3_0_3_node_29 | 0.4 | n |  | TRUE
47 | bus_LV_441-3_0_3_node_63 | 0.4 | n |  | TRUE
48 | bus_LV_441-3_0_3_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_441-3_0_3_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_441-3_0_3_node_38 | 0.4 | n |  | TRUE
51 | bus_LV_441-3_0_3_node_39 | 0.4 | n |  | TRUE
52 | bus_LV_441-3_0_3_node_40 | 0.4 | n |  | TRUE
53 | bus_LV_441-3_0_3_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_441-3_0_3_node_50 | 0.4 | n |  | TRUE
55 | bus_LV_441-3_0_3_node_54 | 0.4 | n |  | TRUE
56 | bus_LV_441-3_0_3_node_53 | 0.4 | n |  | TRUE
57 | bus_LV_441-3_0_3_node_57 | 0.4 | n |  | TRUE
58 | bus_LV_441-3_0_3_node_49 | 0.4 | n |  | TRUE
59 | bus_LV_441-3_0_3_node_55 | 0.4 | n |  | TRUE
60 | bus_MV_307_0_node_6 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_441-3_0_3_load_0 | 0 | 0.0076096 | 0.0019071 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_441-3_0_3_load_1 | 1 | 0.010313 | 0.0025847 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_441-3_0_3_load_46 | 6 | 0.0064243 | 0.0016101 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_441-3_0_3_load_45 | 7 | 0.011565 | 0.0028986 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_441-3_0_3_load_30 | 10 | 0.0037007 | 0.00092749 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_441-3_0_3_load_51 | 11 | 0.0037081 | 0.00092935 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_441-3_0_3_load_31 | 12 | 0.0044334 | 0.0011111 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_441-3_0_3_load_25 | 15 | 0.005336 | 0.0013373 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_441-3_0_3_load_44 | 16 | 0.0027902 | 0.00069928 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_441-3_0_3_load_47 | 17 | 0.002123 | 0.00053208 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_441-3_0_3_load_7 | 18 | 0.0037455 | 0.00093871 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_441-3_0_3_load_6 | 19 | 0.0076064 | 0.0019063 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_441-3_0_3_load_11 | 22 | 0.007548 | 0.0018917 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_441-3_0_3_load_14 | 23 | 0.0043989 | 0.0011025 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_441-3_0_3_load_52 | 25 | 0.0045019 | 0.0011283 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_441-3_0_3_load_33 | 27 | 0.0053437 | 0.0013393 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_441-3_0_3_load_12 | 29 | 0.0035995 | 0.00090211 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_441-3_0_3_load_15 | 30 | 0.0030476 | 0.0007638 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_441-3_0_3_load_36 | 31 | 0.0047132 | 0.0011812 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_441-3_0_3_load_35 | 32 | 0.0043131 | 0.001081 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_441-3_0_3_load_16 | 33 | 0.019471 | 0.0048799 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_441-3_0_3_load_18 | 35 | 0.0026313 | 0.00065946 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_441-3_0_3_load_60 | 37 | 0.0010857 | 0.0002721 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_441-3_0_3_load_19 | 38 | 0.0010584 | 0.00026526 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_441-3_0_3_load_20 | 39 | 0.0027029 | 0.0006774 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_441-3_0_3_load_22 | 40 | 0.0057879 | 0.0014506 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_441-3_0_3_load_61 | 41 | 0.0037557 | 0.00094126 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_441-3_0_3_load_34 | 42 | 0.0016016 | 0.0004014 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_441-3_0_3_load_28 | 44 | 0.0022379 | 0.00056086 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_441-3_0_3_load_43 | 45 | 0.0034054 | 0.00085348 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_441-3_0_3_load_63 | 47 | 0.0011142 | 0.00027925 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_441-3_0_3_load_41 | 48 | 0.0019383 | 0.00048579 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_441-3_0_3_load_37 | 49 | 0.0060717 | 0.0015217 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_441-3_0_3_load_38 | 50 | 0.0032285 | 0.00080913 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_441-3_0_3_load_39 | 51 | 0.0023956 | 0.00060041 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_441-3_0_3_load_40 | 52 | 0.001022 | 0.00025613 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_441-3_0_3_load_50 | 54 | 0.0050016 | 0.0012535 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_441-3_0_3_load_54 | 55 | 0.0022019 | 0.00055184 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_441-3_0_3_load_53 | 56 | 0.0058835 | 0.0014746 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_441-3_0_3_load_49 | 58 | 0.0032058 | 0.00080345 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_441-3_0_3_load_55 | 59 | 0.013833 | 0.0034669 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 19 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_441-3_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.013604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_441-3_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.010608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_441-3_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.020931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_441-3_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.020244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_441-3_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.034588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_441-3_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.013677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_441-3_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.017279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_441-3_0_3_line_7 | NAYY 4x150 SE | 5 | 11 | 0.0088577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_441-3_0_3_line_8 | NAYY 4x150 SE | 5 | 12 | 0.031752 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_441-3_0_3_line_9 | NAYY 4x150 SE | 6 | 13 | 0.0191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_441-3_0_3_line_10 | NAYY 4x150 SE | 7 | 16 | 0.0021671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_441-3_0_3_line_11 | NAYY 4x150 SE | 8 | 9 | 0.014757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_441-3_0_3_line_12 | NAYY 4x150 SE | 8 | 10 | 0.015557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_441-3_0_3_line_13 | NAYY 4x150 SE | 9 | 17 | 0.012385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_441-3_0_3_line_14 | NAYY 4x150 SE | 9 | 18 | 0.012825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_441-3_0_3_line_15 | NAYY 4x150 SE | 10 | 14 | 0.0291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_441-3_0_3_line_16 | NAYY 4x150 SE | 12 | 22 | 0.0035209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_441-3_0_3_line_17 | NAYY 4x150 SE | 13 | 57 | 0.027988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_441-3_0_3_line_18 | NAYY 4x150 SE | 14 | 15 | 0.003273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_441-3_0_3_line_19 | NAYY 4x150 SE | 15 | 43 | 0.021581 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_441-3_0_3_line_20 | NAYY 4x150 SE | 16 | 46 | 0.018395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_441-3_0_3_line_21 | NAYY 4x150 SE | 17 | 25 | 0.0055218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_441-3_0_3_line_22 | NAYY 4x150 SE | 18 | 19 | 0.013092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_441-3_0_3_line_23 | NAYY 4x150 SE | 19 | 20 | 0.014461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
24 | LV_441-3_0_3_line_24 | NAYY 4x150 SE | 20 | 21 | 0.002458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_441-3_0_3_line_25 | NAYY 4x150 SE | 20 | 22 | 0.012943 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_441-3_0_3_line_26 | NAYY 4x150 SE | 21 | 23 | 0.015722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_441-3_0_3_line_27 | NAYY 4x150 SE | 21 | 24 | 0.034647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_441-3_0_3_line_28 | NAYY 4x150 SE | 23 | 26 | 0.022195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_441-3_0_3_line_29 | NAYY 4x150 SE | 24 | 27 | 0.017846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_441-3_0_3_line_30 | NAYY 4x150 SE | 24 | 28 | 0.003934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_441-3_0_3_line_31 | NAYY 4x150 SE | 25 | 58 | 0.014278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_441-3_0_3_line_32 | NAYY 4x150 SE | 26 | 30 | 0.011434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_441-3_0_3_line_33 | NAYY 4x150 SE | 26 | 29 | 0.015661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_441-3_0_3_line_34 | NAYY 4x150 SE | 27 | 42 | 0.015804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_441-3_0_3_line_35 | NAYY 4x150 SE | 28 | 36 | 0.035257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_441-3_0_3_line_36 | NAYY 4x150 SE | 28 | 38 | 0.031233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_441-3_0_3_line_37 | NAYY 4x150 SE | 30 | 31 | 0.007859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_441-3_0_3_line_38 | NAYY 4x150 SE | 31 | 32 | 0.01667 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_441-3_0_3_line_39 | NAYY 4x150 SE | 32 | 49 | 0.013809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_441-3_0_3_line_40 | NAYY 4x150 SE | 33 | 34 | 0.015397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_441-3_0_3_line_41 | NAYY 4x150 SE | 34 | 35 | 0.028095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_441-3_0_3_line_42 | NAYY 4x150 SE | 35 | 36 | 0.011808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_441-3_0_3_line_43 | NAYY 4x150 SE | 36 | 37 | 0.041369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_441-3_0_3_line_44 | NAYY 4x150 SE | 38 | 39 | 0.00107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_441-3_0_3_line_45 | NAYY 4x150 SE | 39 | 40 | 0.0093576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_441-3_0_3_line_46 | NAYY 4x150 SE | 40 | 41 | 0.00859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_441-3_0_3_line_47 | NAYY 4x150 SE | 43 | 44 | 0.024724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_441-3_0_3_line_48 | NAYY 4x150 SE | 44 | 45 | 0.0095404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_441-3_0_3_line_49 | NAYY 4x150 SE | 45 | 48 | 0.012201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_441-3_0_3_line_50 | NAYY 4x150 SE | 46 | 47 | 0.10787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_441-3_0_3_line_51 | NAYY 4x150 SE | 48 | 51 | 0.014854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_441-3_0_3_line_52 | NAYY 4x150 SE | 49 | 50 | 0.0058147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_441-3_0_3_line_53 | NAYY 4x150 SE | 51 | 52 | 0.0083584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_441-3_0_3_line_54 | NAYY 4x150 SE | 52 | 53 | 0.0051882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_441-3_0_3_line_55 | NAYY 4x150 SE | 53 | 54 | 0.024446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_441-3_0_3_line_56 | NAYY 4x150 SE | 53 | 55 | 0.0028567 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_441-3_0_3_line_57 | NAYY 4x150 SE | 55 | 56 | 0.042462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_441-3_0_3_line_58 | NAYY 4x150 SE | 57 | 59 | 0.030533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_441-3_0_3_trafo_6 | 0.25 MVA 20/0.4 kV | 60 | 19 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2561327.0813 | 1219708.8411 | 2561337.4923 | 1219717.5984
1 | 2561318.9633 | 1219702.0126 | 2561327.0813 | 1219708.8411
2 | 2561353.5099 | 1219731.0717 | 2561337.4923 | 1219717.5984
3 | 2561302.9102 | 1219689.6209 | 2561318.9633 | 1219702.0126
4 | 2561380.5344 | 1219752.7533 | 2561353.5099 | 1219731.0717
5 | 2561353.5099 | 1219731.0717 | 2561345.3718 | 1219742.0635
6 | 2561302.9102 | 1219689.6209 | 2561289.239 | 1219679.0546
7 | 2561380.5344 | 1219752.7533 | 2561375.3744 | 1219759.9528
8 | 2561380.5344 | 1219752.7533 | 2561400.1393 | 1219727.777
9 | 2561334.0064 | 1219757.4142 | 2561345.3718 | 1219742.0635
10 | 2561287.5244 | 1219677.7293 | 2561289.239 | 1219679.0546
11 | 2561365.2316 | 1219683.0448 | 2561377.3889 | 1219691.4596
12 | 2561365.2316 | 1219683.0448 | 2561352.4385 | 1219674.193
13 | 2561377.3889 | 1219691.4596 | 2561385.05 | 1219681.7283
14 | 2561377.3889 | 1219691.4596 | 2561387.9347 | 1219698.7588
15 | 2561328.508 | 1219657.6353 | 2561352.4385 | 1219674.193
16 | 2561400.1393 | 1219727.777 | 2561402.3133 | 1219725.0074
17 | 2561334.0064 | 1219757.4142 | 2561317.3311 | 1219779.925
18 | 2561328.508 | 1219657.6353 | 2561325.8165 | 1219655.7729
19 | 2561307.0825 | 1219645.223 | 2561317.5244 | 1219650.0356 | 2561325.8165 | 1219655.7729
20 | 2561272.9696 | 1219666.4801 | 2561287.5244 | 1219677.7293
21 | 2561388.4656 | 1219677.3897 | 2561385.05 | 1219681.7283
22 | 2561398.6995 | 1219706.2096 | 2561387.9347 | 1219698.7588
23 | 2561410.3049 | 1219714.8262 | 2561404.0434 | 1219709.9084 | 2561398.6995 | 1219706.2096
24 | 2561410.3049 | 1219714.8262 | 2561412.1668 | 1219716.4373
25 | 2561410.3049 | 1219714.8262 | 2561402.3133 | 1219725.0074
26 | 2561412.1668 | 1219716.4373 | 2561421.7036 | 1219703.9379
27 | 2561412.1668 | 1219716.4373 | 2561438.386 | 1219739.1694
28 | 2561435.1668 | 1219686.2923 | 2561421.7036 | 1219703.9379
29 | 2561438.386 | 1219739.1694 | 2561427.2673 | 1219753.1286
30 | 2561438.386 | 1219739.1694 | 2561441.362 | 1219741.7517
31 | 2561397.2973 | 1219666.1714 | 2561388.4656 | 1219677.3897
32 | 2561435.1668 | 1219686.2923 | 2561442.1004 | 1219677.2008
33 | 2561435.1668 | 1219686.2923 | 2561447.4253 | 1219696.0387
34 | 2561416.1085 | 1219764.211 | 2561423.1376 | 1219758.3131 | 2561427.2673 | 1219753.1286
35 | 2561469.2284 | 1219763.4504 | 2561441.362 | 1219741.7517
36 | 2561441.362 | 1219741.7517 | 2561460.6139 | 1219717.1579
37 | 2561446.8663 | 1219670.9517 | 2561446.8663 | 1219670.9517 | 2561442.1004 | 1219677.2008
38 | 2561433.953 | 1219660.4094 | 2561446.8663 | 1219670.9517
39 | 2561433.953 | 1219660.4094 | 2561423.2561 | 1219651.6766
40 | 2561500.717 | 1219787.9608 | 2561512.8665 | 1219797.4187
41 | 2561500.717 | 1219787.9608 | 2561478.5466 | 1219770.7036
42 | 2561469.2284 | 1219763.4504 | 2561478.5466 | 1219770.7036
43 | 2561469.2284 | 1219763.4504 | 2561454.4114 | 1219780.0897 | 2561445.7506 | 1219776.0769 | 2561439.3995 | 1219783.2
44 | 2561461.2735 | 1219716.3153 | 2561460.6139 | 1219717.1579
45 | 2561467.0415 | 1219708.9469 | 2561461.2735 | 1219716.3153
46 | 2561472.3364 | 1219702.1828 | 2561467.0415 | 1219708.9469
47 | 2561307.0825 | 1219645.223 | 2561318.1103 | 1219632.8104 | 2561324.4349 | 1219627.7171
48 | 2561324.4349 | 1219627.7171 | 2561326.4889 | 1219626.063 | 2561332.8329 | 1219623.3413
49 | 2561344.0459 | 1219618.5308 | 2561332.8329 | 1219623.3413
50 | 2561272.9696 | 1219666.4801 | 2561205.9598 | 1219751.0118
51 | 2561357.6964 | 1219612.6745 | 2561344.0459 | 1219618.5308
52 | 2561418.7518 | 1219647.9994 | 2561423.2561 | 1219651.6766
53 | 2561357.6964 | 1219612.6745 | 2561362.1965 | 1219610.7438 | 2561365.0105 | 1219608.7278
54 | 2561369.228 | 1219605.7062 | 2561365.0105 | 1219608.7278
55 | 2561369.228 | 1219605.7062 | 2561387.6413 | 1219621.7852
56 | 2561369.228 | 1219605.7062 | 2561371.5511 | 1219604.0438
57 | 2561390.2753 | 1219568.6119 | 2561385.9546 | 1219580.4603 | 2561383.2913 | 1219595.6422 | 2561371.5511 | 1219604.0438
58 | 2561317.3311 | 1219779.925 | 2561311.5684 | 1219789.8462 | 2561327.1183 | 1219800.8683

## bus_geodata
| x | y | coords
0 | 2561327.0813 | 1219708.8411
1 | 2561337.4923 | 1219717.5984
2 | 2561318.9633 | 1219702.0126
3 | 2561353.5099 | 1219731.0717
4 | 2561302.9102 | 1219689.6209
5 | 2561380.5344 | 1219752.7533
6 | 2561345.3718 | 1219742.0635
7 | 2561289.239 | 1219679.0546
8 | 2561365.2316 | 1219683.0448
9 | 2561377.3889 | 1219691.4596
10 | 2561352.4385 | 1219674.193
11 | 2561375.3744 | 1219759.9528
12 | 2561400.1393 | 1219727.777
13 | 2561334.0064 | 1219757.4142
14 | 2561328.508 | 1219657.6353
15 | 2561325.8165 | 1219655.7729
16 | 2561287.5244 | 1219677.7293
17 | 2561385.05 | 1219681.7283
18 | 2561387.9347 | 1219698.7588
19 | 2561398.6995 | 1219706.2096
20 | 2561410.3049 | 1219714.8262
21 | 2561412.1668 | 1219716.4373
22 | 2561402.3133 | 1219725.0074
23 | 2561421.7036 | 1219703.9379
24 | 2561438.386 | 1219739.1694
25 | 2561388.4656 | 1219677.3897
26 | 2561435.1668 | 1219686.2923
27 | 2561427.2673 | 1219753.1286
28 | 2561441.362 | 1219741.7517
29 | 2561447.4253 | 1219696.0387
30 | 2561442.1004 | 1219677.2008
31 | 2561446.8663 | 1219670.9517
32 | 2561433.953 | 1219660.4094
33 | 2561512.8665 | 1219797.4187
34 | 2561500.717 | 1219787.9608
35 | 2561478.5466 | 1219770.7036
36 | 2561469.2284 | 1219763.4504
37 | 2561439.3995 | 1219783.2
38 | 2561460.6139 | 1219717.1579
39 | 2561461.2735 | 1219716.3153
40 | 2561467.0415 | 1219708.9469
41 | 2561472.3364 | 1219702.1828
42 | 2561416.1085 | 1219764.211
43 | 2561307.0825 | 1219645.223
44 | 2561324.4349 | 1219627.7171
45 | 2561332.8329 | 1219623.3413
46 | 2561272.9696 | 1219666.4801
47 | 2561205.9598 | 1219751.0118
48 | 2561344.0459 | 1219618.5308
49 | 2561423.2561 | 1219651.6766
50 | 2561418.7518 | 1219647.9994
51 | 2561357.6964 | 1219612.6745
52 | 2561365.0105 | 1219608.7278
53 | 2561369.228 | 1219605.7062
54 | 2561387.6413 | 1219621.7852
55 | 2561371.5511 | 1219604.0438
56 | 2561390.2753 | 1219568.6119
57 | 2561317.3311 | 1219779.925
58 | 2561397.2973 | 1219666.1714
59 | 2561327.1183 | 1219800.8683
60 | 2561410.3049 | 1219714.8262

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1