## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_443-19_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_443-19_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_443-19_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_443-19_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_443-19_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_443-19_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_443-19_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_443-19_0_3_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_443-19_0_3_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_443-19_0_3_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_443-19_0_3_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_443-19_0_3_node_70 | 0.4 | n |  | TRUE
12 | bus_LV_443-19_0_3_node_58 | 0.4 | n |  | TRUE
13 | bus_LV_443-19_0_3_node_71 | 0.4 | n |  | TRUE
14 | bus_LV_443-19_0_3_node_69 | 0.4 | n |  | TRUE
15 | bus_LV_443-19_0_3_node_53 | 0.4 | n |  | TRUE
16 | bus_LV_443-19_0_3_node_17 | 0.4 | n |  | TRUE
17 | bus_LV_443-19_0_3_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_443-19_0_3_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_443-19_0_3_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_443-19_0_3_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_443-19_0_3_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_443-19_0_3_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_443-19_0_3_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_443-19_0_3_node_75 | 0.4 | n |  | TRUE
25 | bus_LV_443-19_0_3_node_56 | 0.4 | n |  | TRUE
26 | bus_LV_443-19_0_3_node_74 | 0.4 | n |  | TRUE
27 | bus_LV_443-19_0_3_node_55 | 0.4 | n |  | TRUE
28 | bus_LV_443-19_0_3_node_57 | 0.4 | n |  | TRUE
29 | bus_LV_443-19_0_3_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_443-19_0_3_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_443-19_0_3_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_443-19_0_3_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_443-19_0_3_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_443-19_0_3_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_443-19_0_3_node_43 | 0.4 | n |  | TRUE
36 | bus_LV_443-19_0_3_node_41 | 0.4 | n |  | TRUE
37 | bus_LV_443-19_0_3_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_443-19_0_3_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_443-19_0_3_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_443-19_0_3_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_443-19_0_3_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_443-19_0_3_node_30 | 0.4 | n |  | TRUE
43 | bus_LV_443-19_0_3_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_443-19_0_3_node_64 | 0.4 | n |  | TRUE
45 | bus_LV_443-19_0_3_node_65 | 0.4 | n |  | TRUE
46 | bus_LV_443-19_0_3_node_54 | 0.4 | n |  | TRUE
47 | bus_LV_443-19_0_3_node_66 | 0.4 | n |  | TRUE
48 | bus_LV_443-19_0_3_node_67 | 0.4 | n |  | TRUE
49 | bus_LV_443-19_0_3_node_32 | 0.4 | n |  | TRUE
50 | bus_LV_443-19_0_3_node_33 | 0.4 | n |  | TRUE
51 | bus_LV_443-19_0_3_node_34 | 0.4 | n |  | TRUE
52 | bus_LV_443-19_0_3_node_35 | 0.4 | n |  | TRUE
53 | bus_LV_443-19_0_3_node_36 | 0.4 | n |  | TRUE
54 | bus_LV_443-19_0_3_node_37 | 0.4 | n |  | TRUE
55 | bus_LV_443-19_0_3_node_38 | 0.4 | n |  | TRUE
56 | bus_LV_443-19_0_3_node_39 | 0.4 | n |  | TRUE
57 | bus_LV_443-19_0_3_node_62 | 0.4 | n |  | TRUE
58 | bus_LV_443-19_0_3_node_61 | 0.4 | n |  | TRUE
59 | bus_LV_443-19_0_3_node_40 | 0.4 | n |  | TRUE
60 | bus_LV_443-19_0_3_node_42 | 0.4 | n |  | TRUE
61 | bus_LV_443-19_0_3_node_44 | 0.4 | n |  | TRUE
62 | bus_LV_443-19_0_3_node_45 | 0.4 | n |  | TRUE
63 | bus_LV_443-19_0_3_node_46 | 0.4 | n |  | TRUE
64 | bus_LV_443-19_0_3_node_47 | 0.4 | n |  | TRUE
65 | bus_LV_443-19_0_3_node_60 | 0.4 | n |  | TRUE
66 | bus_LV_443-19_0_3_node_68 | 0.4 | n |  | TRUE
67 | bus_LV_443-19_0_3_node_48 | 0.4 | n |  | TRUE
68 | bus_LV_443-19_0_3_node_49 | 0.4 | n |  | TRUE
69 | bus_LV_443-19_0_3_node_50 | 0.4 | n |  | TRUE
70 | bus_LV_443-19_0_3_node_51 | 0.4 | n |  | TRUE
71 | bus_LV_443-19_0_3_node_52 | 0.4 | n |  | TRUE
72 | bus_LV_443-19_0_3_node_63 | 0.4 | n |  | TRUE
73 | bus_LV_443-19_0_3_node_59 | 0.4 | n |  | TRUE
74 | bus_LV_443-19_0_3_node_77 | 0.4 | n |  | TRUE
75 | bus_LV_443-19_0_3_node_73 | 0.4 | n |  | TRUE
76 | bus_LV_443-19_0_3_node_78 | 0.4 | n |  | TRUE
77 | bus_LV_443-19_0_3_node_76 | 0.4 | n |  | TRUE
78 | bus_LV_443-19_0_3_node_81 | 0.4 | n |  | TRUE
79 | bus_LV_443-19_0_3_node_80 | 0.4 | n |  | TRUE
80 | bus_LV_443-19_0_3_node_72 | 0.4 | n |  | TRUE
81 | bus_LV_443-19_0_3_node_79 | 0.4 | n |  | TRUE
82 | bus_MV_329_0_node_46 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_443-19_0_3_load_0 | 0 | 0.002258 | 0.0005659 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_443-19_0_3_load_1 | 1 | 0.0074454 | 0.001866 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_443-19_0_3_load_2 | 2 | 0.0019052 | 0.00047748 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_443-19_0_3_load_3 | 3 | 0.001586 | 0.00039749 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_443-19_0_3_load_4 | 4 | 0.0016802 | 0.0004211 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_443-19_0_3_load_5 | 5 | 0.002133 | 0.00053457 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_443-19_0_3_load_6 | 6 | 0.0023636 | 0.00059237 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_443-19_0_3_load_7 | 7 | 0.0019811 | 0.0004965 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_443-19_0_3_load_8 | 8 | 0.0016835 | 0.00042192 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_443-19_0_3_load_9 | 9 | 0.0026542 | 0.0006652 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_443-19_0_3_load_70 | 11 | 0.0016029 | 0.00040174 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_443-19_0_3_load_71 | 13 | 0.0038097 | 0.00095481 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_443-19_0_3_load_69 | 14 | 0.0028804 | 0.00072189 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_443-19_0_3_load_53 | 15 | 0.0051397 | 0.0012881 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_443-19_0_3_load_17 | 16 | 0.002036 | 0.00051026 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_443-19_0_3_load_11 | 17 | 0.0016265 | 0.00040763 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_443-19_0_3_load_12 | 18 | 0.003255 | 0.00081578 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_443-19_0_3_load_13 | 19 | 0.0014756 | 0.00036981 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_443-19_0_3_load_15 | 21 | 0.0035405 | 0.00088734 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_443-19_0_3_load_16 | 22 | 0.0029658 | 0.0007433 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_443-19_0_3_load_18 | 23 | 0.0011191 | 0.00028047 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_443-19_0_3_load_75 | 24 | 0.0031567 | 0.00079115 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_443-19_0_3_load_74 | 26 | 0.0023719 | 0.00059446 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_443-19_0_3_load_55 | 27 | 0.0082658 | 0.0020716 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_443-19_0_3_load_57 | 28 | 0.00081532 | 0.00020434 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_443-19_0_3_load_19 | 29 | 0.0039061 | 0.00097896 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_443-19_0_3_load_20 | 30 | 0.0028953 | 0.00072563 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_443-19_0_3_load_21 | 31 | 0.0035452 | 0.0008885 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_443-19_0_3_load_22 | 32 | 0.0026544 | 0.00066525 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_443-19_0_3_load_23 | 33 | 0.0022031 | 0.00055215 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_443-19_0_3_load_24 | 34 | 0.0042633 | 0.0010685 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_443-19_0_3_load_43 | 35 | 0.0042879 | 0.0010747 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_443-19_0_3_load_41 | 36 | 0.0019262 | 0.00048276 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_443-19_0_3_load_25 | 37 | 0.001826 | 0.00045765 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_443-19_0_3_load_26 | 38 | 0.0068635 | 0.0017202 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_443-19_0_3_load_28 | 40 | 0.0036987 | 0.00092697 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_443-19_0_3_load_29 | 41 | 0.0049562 | 0.0012421 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_443-19_0_3_load_30 | 42 | 0.0019429 | 0.00048694 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_443-19_0_3_load_64 | 44 | 0.0062057 | 0.0015553 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_443-19_0_3_load_66 | 47 | 0.0035992 | 0.00090203 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_443-19_0_3_load_32 | 49 | 0.0061079 | 0.0015308 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_443-19_0_3_load_33 | 50 | 0.0039033 | 0.00097825 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_443-19_0_3_load_35 | 52 | 0.0050733 | 0.0012715 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_443-19_0_3_load_37 | 54 | 0.0034905 | 0.00087479 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_443-19_0_3_load_38 | 55 | 0.0017827 | 0.0004468 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_443-19_0_3_load_62 | 57 | 0.0026104 | 0.00065423 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_443-19_0_3_load_40 | 59 | 0.0021787 | 0.00054603 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_443-19_0_3_load_44 | 61 | 0.0031706 | 0.00079463 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_443-19_0_3_load_45 | 62 | 0.0011898 | 0.0002982 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_443-19_0_3_load_46 | 63 | 0.014165 | 0.00355 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_443-19_0_3_load_47 | 64 | 0.0031048 | 0.00077813 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_443-19_0_3_load_60 | 65 | 0.003559 | 0.00089197 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_443-19_0_3_load_68 | 66 | 0.0023897 | 0.00059891 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_443-19_0_3_load_48 | 67 | 0.0013571 | 0.00034012 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_443-19_0_3_load_49 | 68 | 0.0036357 | 0.0009112 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_443-19_0_3_load_50 | 69 | 0.0015132 | 0.00037923 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_443-19_0_3_load_51 | 70 | 0.003964 | 0.00099346 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_443-19_0_3_load_52 | 71 | 0.0034047 | 0.00085329 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_443-19_0_3_load_63 | 72 | 0.0032373 | 0.00081134 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_443-19_0_3_load_59 | 73 | 0.00072927 | 0.00018277 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_443-19_0_3_load_73 | 75 | 0.0027669 | 0.00069346 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_443-19_0_3_load_78 | 76 | 0.0042769 | 0.0010719 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_443-19_0_3_load_76 | 77 | 0.0013416 | 0.00033625 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_443-19_0_3_load_81 | 78 | 0.00034744 | 8.7076e-05 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_443-19_0_3_load_80 | 79 | 0.0026115 | 0.00065451 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_443-19_0_3_load_72 | 80 | 0.0020906 | 0.00052394 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_443-19_0_3_load_79 | 81 | 0.00073464 | 0.00018412 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 12 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_443-19_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0034139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_443-19_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.010719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_443-19_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.02432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_443-19_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.014324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_443-19_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.0051066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_443-19_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.012605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_443-19_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.019383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_443-19_0_3_line_7 | NAYY 4x150 SE | 6 | 8 | 0.0032205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_443-19_0_3_line_8 | NAYY 4x150 SE | 8 | 9 | 0.0086814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_443-19_0_3_line_9 | NAYY 4x150 SE | 9 | 10 | 0.0091622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_443-19_0_3_line_10 | NAYY 4x150 SE | 10 | 11 | 0.019896 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_443-19_0_3_line_11 | NAYY 4x150 SE | 10 | 12 | 0.025005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
12 | LV_443-19_0_3_line_12 | NAYY 4x150 SE | 10 | 13 | 0.012193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_443-19_0_3_line_13 | NAYY 4x150 SE | 11 | 14 | 0.0057133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_443-19_0_3_line_14 | NAYY 4x150 SE | 12 | 15 | 0.030149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_443-19_0_3_line_15 | NAYY 4x150 SE | 13 | 16 | 0.013488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_443-19_0_3_line_16 | NAYY 4x150 SE | 14 | 66 | 0.010744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_443-19_0_3_line_17 | NAYY 4x150 SE | 15 | 70 | 0.019292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_443-19_0_3_line_18 | NAYY 4x150 SE | 16 | 21 | 0.025338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_443-19_0_3_line_19 | NAYY 4x150 SE | 17 | 18 | 0.018781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_443-19_0_3_line_20 | NAYY 4x150 SE | 17 | 19 | 0.008808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_443-19_0_3_line_21 | NAYY 4x150 SE | 18 | 20 | 0.014596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_443-19_0_3_line_22 | NAYY 4x150 SE | 20 | 21 | 0.012678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_443-19_0_3_line_23 | NAYY 4x150 SE | 20 | 22 | 0.0047162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_443-19_0_3_line_24 | NAYY 4x150 SE | 22 | 23 | 0.01313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_443-19_0_3_line_25 | NAYY 4x150 SE | 23 | 24 | 0.0079634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_443-19_0_3_line_26 | NAYY 4x150 SE | 23 | 25 | 0.051836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_443-19_0_3_line_27 | NAYY 4x150 SE | 24 | 26 | 0.015565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_443-19_0_3_line_28 | NAYY 4x150 SE | 25 | 28 | 0.025086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_443-19_0_3_line_29 | NAYY 4x150 SE | 25 | 27 | 0.013488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_443-19_0_3_line_30 | NAYY 4x150 SE | 26 | 75 | 0.011631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_443-19_0_3_line_31 | NAYY 4x150 SE | 28 | 73 | 0.0091564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_443-19_0_3_line_32 | NAYY 4x150 SE | 29 | 30 | 0.010745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_443-19_0_3_line_33 | NAYY 4x150 SE | 30 | 31 | 0.023605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_443-19_0_3_line_34 | NAYY 4x150 SE | 31 | 32 | 0.0061101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_443-19_0_3_line_35 | NAYY 4x150 SE | 32 | 33 | 0.025082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_443-19_0_3_line_36 | NAYY 4x150 SE | 33 | 34 | 0.0043779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_443-19_0_3_line_37 | NAYY 4x150 SE | 34 | 35 | 0.0039642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_443-19_0_3_line_38 | NAYY 4x150 SE | 35 | 36 | 0.0063778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_443-19_0_3_line_39 | NAYY 4x150 SE | 36 | 59 | 0.014732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_443-19_0_3_line_40 | NAYY 4x150 SE | 37 | 38 | 0.0019151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_443-19_0_3_line_41 | NAYY 4x150 SE | 37 | 39 | 0.016372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_443-19_0_3_line_42 | NAYY 4x150 SE | 38 | 40 | 0.015844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_443-19_0_3_line_43 | NAYY 4x150 SE | 39 | 41 | 0.034683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_443-19_0_3_line_44 | NAYY 4x150 SE | 40 | 42 | 0.0041782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_443-19_0_3_line_45 | NAYY 4x150 SE | 41 | 43 | 0.010991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_443-19_0_3_line_46 | NAYY 4x150 SE | 42 | 44 | 0.0014638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_443-19_0_3_line_47 | NAYY 4x150 SE | 43 | 45 | 0.057829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_443-19_0_3_line_48 | NAYY 4x150 SE | 44 | 46 | 0.010403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_443-19_0_3_line_49 | NAYY 4x150 SE | 45 | 47 | 0.037881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_443-19_0_3_line_50 | NAYY 4x150 SE | 45 | 48 | 0.01551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_443-19_0_3_line_51 | NAYY 4x150 SE | 46 | 72 | 0.022802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_443-19_0_3_line_52 | NAYY 4x150 SE | 46 | 71 | 0.0083135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_443-19_0_3_line_53 | NAYY 4x150 SE | 48 | 78 | 0.026957 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_443-19_0_3_line_54 | NAYY 4x150 SE | 49 | 50 | 0.052616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_443-19_0_3_line_55 | NAYY 4x150 SE | 49 | 51 | 0.0026049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_443-19_0_3_line_56 | NAYY 4x150 SE | 50 | 52 | 0.024066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_443-19_0_3_line_57 | NAYY 4x150 SE | 51 | 53 | 0.074742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_443-19_0_3_line_58 | NAYY 4x150 SE | 52 | 54 | 0.022728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_443-19_0_3_line_59 | NAYY 4x150 SE | 53 | 55 | 0.041309 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_443-19_0_3_line_60 | NAYY 4x150 SE | 53 | 56 | 0.033087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_443-19_0_3_line_61 | NAYY 4x150 SE | 56 | 57 | 0.0342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_443-19_0_3_line_62 | NAYY 4x150 SE | 57 | 58 | 0.019238 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_443-19_0_3_line_63 | NAYY 4x150 SE | 58 | 72 | 0.037996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_443-19_0_3_line_64 | NAYY 4x150 SE | 59 | 60 | 0.024016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_443-19_0_3_line_65 | NAYY 4x150 SE | 60 | 61 | 0.011111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_443-19_0_3_line_66 | NAYY 4x150 SE | 60 | 62 | 0.018295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_443-19_0_3_line_67 | NAYY 4x150 SE | 61 | 63 | 0.015205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_443-19_0_3_line_68 | NAYY 4x150 SE | 62 | 64 | 0.0049123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_443-19_0_3_line_69 | NAYY 4x150 SE | 63 | 65 | 0.00068719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_443-19_0_3_line_70 | NAYY 4x150 SE | 64 | 66 | 0.0063512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_443-19_0_3_line_71 | NAYY 4x150 SE | 67 | 68 | 0.0026257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_443-19_0_3_line_72 | NAYY 4x150 SE | 67 | 69 | 0.0090527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_443-19_0_3_line_73 | NAYY 4x150 SE | 68 | 70 | 0.0029663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_443-19_0_3_line_74 | NAYY 4x150 SE | 69 | 71 | 0.0041901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_443-19_0_3_line_75 | NAYY 4x150 SE | 73 | 74 | 0.023769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_443-19_0_3_line_76 | NAYY 4x150 SE | 74 | 76 | 0.034963 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_443-19_0_3_line_77 | NAYY 4x150 SE | 74 | 77 | 0.013448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_443-19_0_3_line_78 | NAYY 4x150 SE | 75 | 80 | 0.011825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_443-19_0_3_line_79 | NAYY 4x150 SE | 78 | 79 | 0.0033917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_443-19_0_3_line_80 | NAYY 4x150 SE | 79 | 81 | 0.013178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_443-19_0_3_trafo_58 | 0.25 MVA 20/0.4 kV | 82 | 12 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2567185.4513 | 1222677.9682 | 2567188.6656 | 1222679.1183
1 | 2567185.4513 | 1222677.9682 | 2567176.2972 | 1222674.6926 | 2567175.3669 | 1222674.3341
2 | 2567188.6656 | 1222679.1183 | 2567211.564 | 1222687.3118
3 | 2567162.001 | 1222669.1828 | 2567175.3669 | 1222674.3341
4 | 2567216.372 | 1222689.0323 | 2567211.564 | 1222687.3118
5 | 2567150.2392 | 1222664.6496 | 2567162.001 | 1222669.1828
6 | 2567216.372 | 1222689.0323 | 2567234.6219 | 1222695.5625
7 | 2567150.2392 | 1222664.6496 | 2567147.2341 | 1222663.4915
8 | 2567139.1336 | 1222660.3694 | 2567147.2341 | 1222663.4915
9 | 2567130.5823 | 1222657.0795 | 2567139.0717 | 1222660.3456 | 2567139.1336 | 1222660.3694
10 | 2567130.5823 | 1222657.0795 | 2567126.7167 | 1222661.5703 | 2567114.9047 | 1222669.0307
11 | 2567130.5823 | 1222657.0795 | 2567107.062 | 1222648.4047
12 | 2567130.5823 | 1222657.0795 | 2567138.0576 | 1222651.1569 | 2567140.1386 | 1222649.5073
13 | 2567110.0743 | 1222672.0816 | 2567114.9047 | 1222669.0307
14 | 2567107.062 | 1222648.4047 | 2567080.405 | 1222634.3206
15 | 2567150.709 | 1222641.1285 | 2567140.1386 | 1222649.5073
16 | 2567110.0743 | 1222672.0816 | 2567100.9902 | 1222677.8191
17 | 2567080.405 | 1222634.3206 | 2567063.3473 | 1222625.3081
18 | 2567150.709 | 1222641.1285 | 2567170.5656 | 1222625.3886
19 | 2567210.5892 | 1222631.9607 | 2567193.6587 | 1222623.8312
20 | 2567210.5892 | 1222631.9607 | 2567218.5293 | 1222635.7733
21 | 2567180.5008 | 1222617.5132 | 2567193.6587 | 1222623.8312
22 | 2567180.5008 | 1222617.5132 | 2567170.5656 | 1222625.3886
23 | 2567180.5008 | 1222617.5132 | 2567183.5717 | 1222613.9337
24 | 2567183.5717 | 1222613.9337 | 2567192.1212 | 1222603.968
25 | 2567192.1212 | 1222603.968 | 2567197.3064 | 1222597.924
26 | 2567192.1212 | 1222603.968 | 2567151.0976 | 1222572.2823
27 | 2567207.6219 | 1222586.3159 | 2567206.807 | 1222586.8496 | 2567197.3064 | 1222597.924
28 | 2567151.0976 | 1222572.2823 | 2567166.0955 | 1222552.1739
29 | 2567151.0976 | 1222572.2823 | 2567145.3948 | 1222569.6123 | 2567143.5041 | 1222566.4653 | 2567143.1282 | 1222562.9653
30 | 2567207.6219 | 1222586.3159 | 2567217.3515 | 1222579.9428
31 | 2567172.4554 | 1222545.7056 | 2567168.8415 | 1222548.4923 | 2567166.0955 | 1222552.1739
32 | 2567173.3793 | 1222740.6957 | 2567177.6904 | 1222742.8365 | 2567182.5154 | 1222746.2873
33 | 2567173.3793 | 1222740.6957 | 2567152.2375 | 1222730.1972
34 | 2567146.765 | 1222727.4797 | 2567152.2375 | 1222730.1972
35 | 2567146.765 | 1222727.4797 | 2567124.2998 | 1222716.324
36 | 2567120.3787 | 1222714.3769 | 2567124.2998 | 1222716.324
37 | 2567116.8282 | 1222712.6138 | 2567120.3787 | 1222714.3769
38 | 2567116.8282 | 1222712.6138 | 2567111.116 | 1222709.7772
39 | 2567097.921 | 1222703.2249 | 2567111.116 | 1222709.7772
40 | 2567009.4173 | 1222596.9057 | 2567011.1127 | 1222597.7963
41 | 2566994.923 | 1222589.292 | 2567009.4173 | 1222596.9057
42 | 2567025.1394 | 1222605.1645 | 2567011.1127 | 1222597.7963
43 | 2566994.923 | 1222589.292 | 2567010.929 | 1222558.5236
44 | 2567025.1394 | 1222605.1645 | 2567028.8382 | 1222607.1075
45 | 2567016.0013 | 1222548.773 | 2567010.929 | 1222558.5236
46 | 2567028.8382 | 1222607.1075 | 2567030.1341 | 1222607.7882
47 | 2567034.6105 | 1222495.1601 | 2567035.2782 | 1222502.0382 | 2567034.2859 | 1222510.4487 | 2567031.3938 | 1222516.8241 | 2567016.0013 | 1222548.773
48 | 2567039.3433 | 1222612.6257 | 2567030.1341 | 1222607.7882
49 | 2567034.6105 | 1222495.1601 | 2567038.9854 | 1222497.6928 | 2567042.7236 | 1222500.2736 | 2567046.2935 | 1222503.9782 | 2567060.9322 | 1222521.9632
50 | 2567034.6105 | 1222495.1601 | 2567031.7428 | 1222488.1718 | 2567026.2501 | 1222482.3989
51 | 2567039.3433 | 1222612.6257 | 2567036.5828 | 1222619.4562 | 2567030.9334 | 1222633.8202
52 | 2567039.3433 | 1222612.6257 | 2567046.6939 | 1222616.5094
53 | 2567026.2501 | 1222482.3989 | 2567031.2336 | 1222479.803 | 2567039.1231 | 1222476.0681 | 2567044.8167 | 1222474.3132 | 2567051.1721 | 1222476.2758
54 | 2567027.4695 | 1222748.216 | 2567030.8611 | 1222752.5893 | 2567035.02 | 1222757.2134 | 2567040.9223 | 1222763.0618 | 2567046.889 | 1222768.1984 | 2567054.9387 | 1222774.2574 | 2567066.7753 | 1222782.8136
55 | 2567025.8731 | 1222746.1576 | 2567027.4695 | 1222748.216
56 | 2567086.6945 | 1222796.312 | 2567071.9263 | 1222786.5371 | 2567066.7753 | 1222782.8136
57 | 2566984.2863 | 1222683.9852 | 2567025.8731 | 1222746.1576
58 | 2567086.6945 | 1222796.312 | 2567098.0116 | 1222803.8027 | 2567105.6768 | 1222808.8118
59 | 2566984.2863 | 1222683.9852 | 2566990.5613 | 1222683.1831 | 2566995.6525 | 1222684.9781 | 2567000.7398 | 1222688.7965 | 2567007.2987 | 1222694.041 | 2567011.9697 | 1222696.6499 | 2567015.8703 | 1222698.4515 | 2567020.9592 | 1222699.8352
60 | 2566964.1644 | 1222659.149 | 2566964.5673 | 1222663.3937 | 2566967.2886 | 1222668.6039 | 2566974.6007 | 1222674.2777 | 2566980.5163 | 1222679.7592 | 2566984.2863 | 1222683.9852
61 | 2566964.1644 | 1222659.149 | 2566981.9777 | 1222664.353 | 2566997.3101 | 1222667.4496
62 | 2567016.4646 | 1222668.9418 | 2567000.1389 | 1222668.0209 | 2566997.3101 | 1222667.4496
63 | 2567016.4646 | 1222668.9418 | 2567021.3196 | 1222658.264 | 2567030.9334 | 1222633.8202
64 | 2567075.9987 | 1222693.6037 | 2567082.0603 | 1222695.3489 | 2567097.921 | 1222703.2249
65 | 2567075.9987 | 1222693.6037 | 2567065.3007 | 1222690.6021
66 | 2567075.9987 | 1222693.6037 | 2567091.4672 | 1222683.8338
67 | 2567050.6614 | 1222686.4947 | 2567065.3007 | 1222690.6021
68 | 2567095.6204 | 1222681.2107 | 2567091.4672 | 1222683.8338
69 | 2567049.9998 | 1222686.3091 | 2567050.6614 | 1222686.4947
70 | 2567095.6204 | 1222681.2107 | 2567100.9902 | 1222677.8191
71 | 2567058.4029 | 1222622.6958 | 2567060.7245 | 1222623.9224
72 | 2567058.4029 | 1222622.6958 | 2567050.3988 | 1222618.4668
73 | 2567060.7245 | 1222623.9224 | 2567063.3473 | 1222625.3081
74 | 2567046.6939 | 1222616.5094 | 2567050.3988 | 1222618.4668
75 | 2567191.2781 | 1222531.1913 | 2567172.4554 | 1222545.7056
76 | 2567191.2781 | 1222531.1913 | 2567188.7701 | 1222527.503 | 2567174.4325 | 1222521.3564 | 2567160.3982 | 1222516.3432
77 | 2567191.2781 | 1222531.1913 | 2567201.0803 | 1222526.3454 | 2567203.396 | 1222525.3692
78 | 2567227.6482 | 1222574.5672 | 2567225.0715 | 1222574.8861 | 2567217.3515 | 1222579.9428
79 | 2567051.1721 | 1222476.2758 | 2567054.4128 | 1222477.2765
80 | 2567054.4128 | 1222477.2765 | 2567067.0039 | 1222481.1646

## bus_geodata
| x | y | coords
0 | 2567185.4513 | 1222677.9682
1 | 2567188.6656 | 1222679.1183
2 | 2567175.3669 | 1222674.3341
3 | 2567211.564 | 1222687.3118
4 | 2567162.001 | 1222669.1828
5 | 2567216.372 | 1222689.0323
6 | 2567150.2392 | 1222664.6496
7 | 2567234.6219 | 1222695.5625
8 | 2567147.2341 | 1222663.4915
9 | 2567139.1336 | 1222660.3694
10 | 2567130.5823 | 1222657.0795
11 | 2567114.9047 | 1222669.0307
12 | 2567107.062 | 1222648.4047
13 | 2567140.1386 | 1222649.5073
14 | 2567110.0743 | 1222672.0816
15 | 2567080.405 | 1222634.3206
16 | 2567150.709 | 1222641.1285
17 | 2567210.5892 | 1222631.9607
18 | 2567193.6587 | 1222623.8312
19 | 2567218.5293 | 1222635.7733
20 | 2567180.5008 | 1222617.5132
21 | 2567170.5656 | 1222625.3886
22 | 2567183.5717 | 1222613.9337
23 | 2567192.1212 | 1222603.968
24 | 2567197.3064 | 1222597.924
25 | 2567151.0976 | 1222572.2823
26 | 2567207.6219 | 1222586.3159
27 | 2567143.1282 | 1222562.9653
28 | 2567166.0955 | 1222552.1739
29 | 2567182.5154 | 1222746.2873
30 | 2567173.3793 | 1222740.6957
31 | 2567152.2375 | 1222730.1972
32 | 2567146.765 | 1222727.4797
33 | 2567124.2998 | 1222716.324
34 | 2567120.3787 | 1222714.3769
35 | 2567116.8282 | 1222712.6138
36 | 2567111.116 | 1222709.7772
37 | 2567009.4173 | 1222596.9057
38 | 2567011.1127 | 1222597.7963
39 | 2566994.923 | 1222589.292
40 | 2567025.1394 | 1222605.1645
41 | 2567010.929 | 1222558.5236
42 | 2567028.8382 | 1222607.1075
43 | 2567016.0013 | 1222548.773
44 | 2567030.1341 | 1222607.7882
45 | 2567034.6105 | 1222495.1601
46 | 2567039.3433 | 1222612.6257
47 | 2567060.9322 | 1222521.9632
48 | 2567026.2501 | 1222482.3989
49 | 2567027.4695 | 1222748.216
50 | 2567066.7753 | 1222782.8136
51 | 2567025.8731 | 1222746.1576
52 | 2567086.6945 | 1222796.312
53 | 2566984.2863 | 1222683.9852
54 | 2567105.6768 | 1222808.8118
55 | 2567020.9592 | 1222699.8352
56 | 2566964.1644 | 1222659.149
57 | 2566997.3101 | 1222667.4496
58 | 2567016.4646 | 1222668.9418
59 | 2567097.921 | 1222703.2249
60 | 2567075.9987 | 1222693.6037
61 | 2567065.3007 | 1222690.6021
62 | 2567091.4672 | 1222683.8338
63 | 2567050.6614 | 1222686.4947
64 | 2567095.6204 | 1222681.2107
65 | 2567049.9998 | 1222686.3091
66 | 2567100.9902 | 1222677.8191
67 | 2567058.4029 | 1222622.6958
68 | 2567060.7245 | 1222623.9224
69 | 2567050.3988 | 1222618.4668
70 | 2567063.3473 | 1222625.3081
71 | 2567046.6939 | 1222616.5094
72 | 2567030.9334 | 1222633.8202
73 | 2567172.4554 | 1222545.7056
74 | 2567191.2781 | 1222531.1913
75 | 2567217.3515 | 1222579.9428
76 | 2567160.3982 | 1222516.3433
77 | 2567203.396 | 1222525.3692
78 | 2567051.1721 | 1222476.2758
79 | 2567054.4128 | 1222477.2765
80 | 2567227.6482 | 1222574.5672
81 | 2567067.0039 | 1222481.1646
82 | 2567130.5823 | 1222657.0795

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1