## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_443-21_0_1_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_443-21_0_1_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_443-21_0_1_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_443-21_0_1_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_443-21_0_1_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_443-21_0_1_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_443-21_0_1_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_443-21_0_1_node_33 | 0.4 | n |  | TRUE
8 | bus_LV_443-21_0_1_node_77 | 0.4 | n |  | TRUE
9 | bus_LV_443-21_0_1_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_443-21_0_1_node_35 | 0.4 | n |  | TRUE
11 | bus_LV_443-21_0_1_node_32 | 0.4 | n |  | TRUE
12 | bus_LV_443-21_0_1_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_443-21_0_1_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_443-21_0_1_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_443-21_0_1_node_25 | 0.4 | n |  | TRUE
16 | bus_LV_443-21_0_1_node_68 | 0.4 | n |  | TRUE
17 | bus_LV_443-21_0_1_node_26 | 0.4 | n |  | TRUE
18 | bus_LV_443-21_0_1_node_27 | 0.4 | n |  | TRUE
19 | bus_LV_443-21_0_1_node_66 | 0.4 | n |  | TRUE
20 | bus_LV_443-21_0_1_node_69 | 0.4 | n |  | TRUE
21 | bus_LV_443-21_0_1_node_40 | 0.4 | n |  | TRUE
22 | bus_LV_443-21_0_1_node_30 | 0.4 | n |  | TRUE
23 | bus_LV_443-21_0_1_node_28 | 0.4 | n |  | TRUE
24 | bus_LV_443-21_0_1_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_443-21_0_1_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_443-21_0_1_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_443-21_0_1_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_443-21_0_1_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_443-21_0_1_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_443-21_0_1_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_443-21_0_1_node_42 | 0.4 | n |  | TRUE
32 | bus_LV_443-21_0_1_node_75 | 0.4 | n |  | TRUE
33 | bus_LV_443-21_0_1_node_50 | 0.4 | n |  | TRUE
34 | bus_LV_443-21_0_1_node_47 | 0.4 | n |  | TRUE
35 | bus_LV_443-21_0_1_node_70 | 0.4 | n |  | TRUE
36 | bus_LV_443-21_0_1_node_43 | 0.4 | n |  | TRUE
37 | bus_LV_443-21_0_1_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_443-21_0_1_node_48 | 0.4 | n |  | TRUE
39 | bus_LV_443-21_0_1_node_19 | 0.4 | n |  | TRUE
40 | bus_LV_443-21_0_1_node_20 | 0.4 | n |  | TRUE
41 | bus_LV_443-21_0_1_node_21 | 0.4 | n |  | TRUE
42 | bus_LV_443-21_0_1_node_22 | 0.4 | n |  | TRUE
43 | bus_LV_443-21_0_1_node_23 | 0.4 | n |  | TRUE
44 | bus_LV_443-21_0_1_node_59 | 0.4 | n |  | TRUE
45 | bus_LV_443-21_0_1_node_57 | 0.4 | n |  | TRUE
46 | bus_LV_443-21_0_1_node_67 | 0.4 | n |  | TRUE
47 | bus_LV_443-21_0_1_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_443-21_0_1_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_443-21_0_1_node_38 | 0.4 | n |  | TRUE
50 | bus_LV_443-21_0_1_node_29 | 0.4 | n |  | TRUE
51 | bus_LV_443-21_0_1_node_31 | 0.4 | n |  | TRUE
52 | bus_LV_443-21_0_1_node_34 | 0.4 | n |  | TRUE
53 | bus_LV_443-21_0_1_node_37 | 0.4 | n |  | TRUE
54 | bus_LV_443-21_0_1_node_72 | 0.4 | n |  | TRUE
55 | bus_LV_443-21_0_1_node_71 | 0.4 | n |  | TRUE
56 | bus_LV_443-21_0_1_node_76 | 0.4 | n |  | TRUE
57 | bus_LV_443-21_0_1_node_74 | 0.4 | n |  | TRUE
58 | bus_LV_443-21_0_1_node_73 | 0.4 | n |  | TRUE
59 | bus_LV_443-21_0_1_node_39 | 0.4 | n |  | TRUE
60 | bus_LV_443-21_0_1_node_46 | 0.4 | n |  | TRUE
61 | bus_LV_443-21_0_1_node_44 | 0.4 | n |  | TRUE
62 | bus_LV_443-21_0_1_node_55 | 0.4 | n |  | TRUE
63 | bus_LV_443-21_0_1_node_52 | 0.4 | n |  | TRUE
64 | bus_LV_443-21_0_1_node_45 | 0.4 | n |  | TRUE
65 | bus_LV_443-21_0_1_node_53 | 0.4 | n |  | TRUE
66 | bus_LV_443-21_0_1_node_49 | 0.4 | n |  | TRUE
67 | bus_LV_443-21_0_1_node_51 | 0.4 | n |  | TRUE
68 | bus_LV_443-21_0_1_node_54 | 0.4 | n |  | TRUE
69 | bus_LV_443-21_0_1_node_56 | 0.4 | n |  | TRUE
70 | bus_LV_443-21_0_1_node_58 | 0.4 | n |  | TRUE
71 | bus_LV_443-21_0_1_node_60 | 0.4 | n |  | TRUE
72 | bus_LV_443-21_0_1_node_61 | 0.4 | n |  | TRUE
73 | bus_LV_443-21_0_1_node_62 | 0.4 | n |  | TRUE
74 | bus_LV_443-21_0_1_node_63 | 0.4 | n |  | TRUE
75 | bus_LV_443-21_0_1_node_64 | 0.4 | n |  | TRUE
76 | bus_LV_443-21_0_1_node_65 | 0.4 | n |  | TRUE
77 | bus_MV_329_0_node_250 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_443-21_0_1_load_0 | 0 | 0.0026097 | 0.00065405 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_443-21_0_1_load_1 | 1 | 0.0015467 | 0.00038763 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_443-21_0_1_load_3 | 3 | 0.0020393 | 0.00051109 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_443-21_0_1_load_4 | 4 | 0.0013847 | 0.00034703 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_443-21_0_1_load_77 | 8 | 0.0022984 | 0.00057602 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_443-21_0_1_load_7 | 9 | 0.0025236 | 0.00063246 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_443-21_0_1_load_32 | 11 | 0.0014448 | 0.0003621 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_443-21_0_1_load_8 | 12 | 0.0045891 | 0.0011501 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_443-21_0_1_load_9 | 13 | 0.00085539 | 0.00021438 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_443-21_0_1_load_68 | 16 | 0.0014318 | 0.00035885 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_443-21_0_1_load_66 | 19 | 0.0020587 | 0.00051596 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_443-21_0_1_load_69 | 20 | 0.0030964 | 0.00077604 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_443-21_0_1_load_30 | 22 | 0.0016997 | 0.00042599 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_443-21_0_1_load_28 | 23 | 0.0010904 | 0.00027328 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_443-21_0_1_load_12 | 24 | 0.0023243 | 0.00058251 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_443-21_0_1_load_16 | 28 | 0.001599 | 0.00040075 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_443-21_0_1_load_18 | 30 | 0.0028946 | 0.00072547 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_443-21_0_1_load_75 | 32 | 0.0010759 | 0.00026966 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_443-21_0_1_load_47 | 34 | 0.0010776 | 0.00027007 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_443-21_0_1_load_70 | 35 | 0.0020531 | 0.00051456 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_443-21_0_1_load_24 | 37 | 0.0021146 | 0.00052996 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_443-21_0_1_load_48 | 38 | 0.0016048 | 0.00040219 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_443-21_0_1_load_19 | 39 | 0.001819 | 0.00045588 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_443-21_0_1_load_23 | 43 | 0.0016458 | 0.00041246 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_443-21_0_1_load_59 | 44 | 0.00079407 | 0.00019901 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_443-21_0_1_load_57 | 45 | 0.001284 | 0.00032181 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_443-21_0_1_load_67 | 46 | 0.0020674 | 0.00051814 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_443-21_0_1_load_41 | 47 | 0.001176 | 0.00029473 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_443-21_0_1_load_38 | 49 | 0.0010552 | 0.00026446 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_443-21_0_1_load_31 | 51 | 0.0027528 | 0.00068993 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_443-21_0_1_load_37 | 53 | 0.0010728 | 0.00026886 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_443-21_0_1_load_71 | 55 | 0.0010447 | 0.00026182 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_443-21_0_1_load_76 | 56 | 0.0010714 | 0.00026852 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_443-21_0_1_load_74 | 57 | 0.0011507 | 0.0002884 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_443-21_0_1_load_73 | 58 | 0.0021283 | 0.00053339 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_443-21_0_1_load_39 | 59 | 0.001068 | 0.00026767 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_443-21_0_1_load_44 | 61 | 0.0017227 | 0.00043175 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_443-21_0_1_load_55 | 62 | 0.0015516 | 0.00038888 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_443-21_0_1_load_52 | 63 | 0.0015523 | 0.00038905 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_443-21_0_1_load_45 | 64 | 0.0013981 | 0.00035039 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_443-21_0_1_load_53 | 65 | 0.0011497 | 0.00028815 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_443-21_0_1_load_49 | 66 | 0.0010797 | 0.0002706 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_443-21_0_1_load_51 | 67 | 0.0022408 | 0.00056159 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_443-21_0_1_load_54 | 68 | 0.0021554 | 0.00054019 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_443-21_0_1_load_56 | 69 | 0.0013081 | 0.00032785 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_443-21_0_1_load_60 | 71 | 0.0014892 | 0.00037322 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_443-21_0_1_load_61 | 72 | 0.0014218 | 0.00035633 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_443-21_0_1_load_63 | 74 | 0.0010272 | 0.00025745 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_443-21_0_1_load_64 | 75 | 0.0012595 | 0.00031565 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_443-21_0_1_load_65 | 76 | 0.0011306 | 0.00028335 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 32 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_443-21_0_1_line_0 | NAYY 4x150 SE | 0 | 1 | 0.018302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_443-21_0_1_line_1 | NAYY 4x150 SE | 0 | 2 | 0.019119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_443-21_0_1_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0090433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_443-21_0_1_line_3 | NAYY 4x150 SE | 2 | 4 | 0.026819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_443-21_0_1_line_4 | NAYY 4x150 SE | 2 | 5 | 0.014842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_443-21_0_1_line_5 | NAYY 4x150 SE | 3 | 6 | 0.0077649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_443-21_0_1_line_6 | NAYY 4x150 SE | 5 | 7 | 0.011431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_443-21_0_1_line_7 | NAYY 4x150 SE | 5 | 8 | 0.018129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_443-21_0_1_line_8 | NAYY 4x150 SE | 6 | 9 | 0.008127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_443-21_0_1_line_9 | NAYY 4x150 SE | 7 | 10 | 0.013099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_443-21_0_1_line_10 | NAYY 4x150 SE | 7 | 11 | 0.0027106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_443-21_0_1_line_11 | NAYY 4x150 SE | 10 | 54 | 0.006986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_443-21_0_1_line_12 | NAYY 4x150 SE | 10 | 55 | 0.013294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_443-21_0_1_line_13 | NAYY 4x150 SE | 11 | 52 | 0.0091541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_443-21_0_1_line_14 | NAYY 4x150 SE | 12 | 13 | 0.013078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_443-21_0_1_line_15 | NAYY 4x150 SE | 13 | 14 | 0.19008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_443-21_0_1_line_16 | NAYY 4x150 SE | 14 | 15 | 0.17585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_443-21_0_1_line_17 | NAYY 4x150 SE | 15 | 16 | 0.017552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_443-21_0_1_line_18 | NAYY 4x150 SE | 15 | 17 | 0.19279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_443-21_0_1_line_19 | NAYY 4x150 SE | 15 | 18 | 0.042102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_443-21_0_1_line_20 | NAYY 4x150 SE | 15 | 19 | 0.019569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_443-21_0_1_line_21 | NAYY 4x150 SE | 17 | 20 | 0.03162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_443-21_0_1_line_22 | NAYY 4x150 SE | 17 | 21 | 0.21938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_443-21_0_1_line_23 | NAYY 4x150 SE | 18 | 22 | 0.014926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_443-21_0_1_line_24 | NAYY 4x150 SE | 18 | 23 | 0.030305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_443-21_0_1_line_25 | NAYY 4x150 SE | 19 | 46 | 0.010136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_443-21_0_1_line_26 | NAYY 4x150 SE | 21 | 47 | 0.01512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_443-21_0_1_line_27 | NAYY 4x150 SE | 21 | 48 | 0.016507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_443-21_0_1_line_28 | NAYY 4x150 SE | 21 | 49 | 0.010243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_443-21_0_1_line_29 | NAYY 4x150 SE | 21 | 31 | 0.083012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_443-21_0_1_line_30 | NAYY 4x150 SE | 23 | 50 | 0.021045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_443-21_0_1_line_31 | NAYY 4x150 SE | 24 | 25 | 0.0045633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_443-21_0_1_line_32 | NAYY 4x150 SE | 24 | 26 | 0.022259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_443-21_0_1_line_33 | NAYY 4x150 SE | 25 | 27 | 0.020829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_443-21_0_1_line_34 | NAYY 4x150 SE | 25 | 28 | 0.026027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_443-21_0_1_line_35 | NAYY 4x150 SE | 26 | 29 | 0.01576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_443-21_0_1_line_36 | NAYY 4x150 SE | 26 | 30 | 0.012929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_443-21_0_1_line_37 | NAYY 4x150 SE | 27 | 31 | 0.014731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_443-21_0_1_line_38 | NAYY 4x150 SE | 27 | 32 | 0.015197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_443-21_0_1_line_39 | NAYY 4x150 SE | 29 | 33 | 0.019922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_443-21_0_1_line_40 | NAYY 4x150 SE | 29 | 34 | 0.017318 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_443-21_0_1_line_41 | NAYY 4x150 SE | 31 | 35 | 0.016457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_443-21_0_1_line_42 | NAYY 4x150 SE | 31 | 36 | 0.09285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_443-21_0_1_line_43 | NAYY 4x150 SE | 33 | 37 | 0.018211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_443-21_0_1_line_44 | NAYY 4x150 SE | 34 | 38 | 0.012537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_443-21_0_1_line_45 | NAYY 4x150 SE | 36 | 60 | 0.009824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_443-21_0_1_line_46 | NAYY 4x150 SE | 36 | 61 | 0.01045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_443-21_0_1_line_47 | NAYY 4x150 SE | 37 | 41 | 0.0059585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_443-21_0_1_line_48 | NAYY 4x150 SE | 38 | 66 | 0.0061642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_443-21_0_1_line_49 | NAYY 4x150 SE | 39 | 40 | 0.070403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_443-21_0_1_line_50 | NAYY 4x150 SE | 39 | 41 | 0.023613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_443-21_0_1_line_51 | NAYY 4x150 SE | 40 | 42 | 0.059524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_443-21_0_1_line_52 | NAYY 4x150 SE | 41 | 43 | 0.017583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_443-21_0_1_line_53 | NAYY 4x150 SE | 42 | 44 | 0.11811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_443-21_0_1_line_54 | NAYY 4x150 SE | 44 | 45 | 0.0246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_443-21_0_1_line_55 | NAYY 4x150 SE | 45 | 69 | 0.0017563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_443-21_0_1_line_56 | NAYY 4x150 SE | 48 | 56 | 0.015597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_443-21_0_1_line_57 | NAYY 4x150 SE | 48 | 52 | 0.022089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_443-21_0_1_line_58 | NAYY 4x150 SE | 49 | 59 | 0.00076656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_443-21_0_1_line_59 | NAYY 4x150 SE | 50 | 51 | 0.006036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_443-21_0_1_line_60 | NAYY 4x150 SE | 52 | 53 | 0.010209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_443-21_0_1_line_61 | NAYY 4x150 SE | 54 | 57 | 0.017554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_443-21_0_1_line_62 | NAYY 4x150 SE | 54 | 58 | 0.023786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_443-21_0_1_line_63 | NAYY 4x150 SE | 60 | 62 | 0.008554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_443-21_0_1_line_64 | NAYY 4x150 SE | 60 | 63 | 0.01067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_443-21_0_1_line_65 | NAYY 4x150 SE | 61 | 64 | 0.012996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_443-21_0_1_line_66 | NAYY 4x150 SE | 63 | 65 | 0.0056709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_443-21_0_1_line_67 | NAYY 4x150 SE | 65 | 68 | 0.0089137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_443-21_0_1_line_68 | NAYY 4x150 SE | 66 | 67 | 0.016604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_443-21_0_1_line_69 | NAYY 4x150 SE | 69 | 70 | 0.022687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_443-21_0_1_line_70 | NAYY 4x150 SE | 70 | 71 | 0.016148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_443-21_0_1_line_71 | NAYY 4x150 SE | 70 | 72 | 0.011833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_443-21_0_1_line_72 | NAYY 4x150 SE | 72 | 73 | 0.022289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_443-21_0_1_line_73 | NAYY 4x150 SE | 73 | 74 | 0.043717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_443-21_0_1_line_74 | NAYY 4x150 SE | 73 | 75 | 0.039402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_443-21_0_1_line_75 | NAYY 4x150 SE | 73 | 76 | 0.017668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_443-21_0_1_trafo_75 | 0.25 MVA 20/0.4 kV | 77 | 32 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2567536.3261 | 1219891.5139 | 2567536.0835 | 1219888.7803 | 2567537.6242 | 1219886.0814 | 2567541.4211 | 1219883.8927 | 2567542.81 | 1219878.4153 | 2567540.7394 | 1219877.1703
1 | 2567517.4695 | 1219893.9629 | 2567518.7991 | 1219894.3003 | 2567536.3261 | 1219891.5139
2 | 2567540.7394 | 1219877.1703 | 2567540.7394 | 1219877.1703 | 2567544.2086 | 1219868.8189
3 | 2567517.4695 | 1219893.9629 | 2567518.3767 | 1219897.5267 | 2567518.2393 | 1219905.699 | 2567516.2811 | 1219912.5137 | 2567515.2467 | 1219917.589 | 2567517.3275 | 1219919.3119
4 | 2567517.4695 | 1219893.9629 | 2567502.9223 | 1219890.8184
5 | 2567547.1874 | 1219861.6481 | 2567544.2086 | 1219868.8189
6 | 2567502.9223 | 1219890.8184 | 2567491.7472 | 1219888.267
7 | 2567502.9223 | 1219890.8184 | 2567502.8625 | 1219888.2061 | 2567504.3872 | 1219882.5945 | 2567508.0304 | 1219877.2714 | 2567510.4845 | 1219875.1234
8 | 2567547.1874 | 1219861.6481 | 2567551.8144 | 1219868.3379
9 | 2567491.7472 | 1219888.267 | 2567489.291 | 1219901.1324
10 | 2567491.7472 | 1219888.267 | 2567489.942 | 1219886.245
11 | 2567489.291 | 1219901.1324 | 2567484.7602 | 1219906.4604
12 | 2567489.291 | 1219901.1324 | 2567501.5506 | 1219906.3573
13 | 2567483.8457 | 1219879.4162 | 2567489.942 | 1219886.245
14 | 2567385.2061 | 1219632.2853 | 2567372.2 | 1219630.9187
15 | 2567187.4664 | 1219656.1595 | 2567190.6406 | 1219653.874 | 2567194.5177 | 1219651.0843 | 2567197.1087 | 1219650.3584 | 2567245.0043 | 1219636.8973 | 2567252.3455 | 1219634.8334 | 2567266.0354 | 1219630.989 | 2567274.5326 | 1219629.3968 | 2567277.4356 | 1219628.8471 | 2567289.8002 | 1219626.8223 | 2567297.3054 | 1219625.6024 | 2567304.7499 | 1219624.383 | 2567307.1232 | 1219624.0808 | 2567372.2 | 1219630.9187
16 | 2567187.4664 | 1219656.1595 | 2567242.555 | 1219682.5487 | 2567267.7069 | 1219694.6838 | 2567262.2977 | 1219714.0917 | 2567260.9648 | 1219724.1716 | 2567262.0016 | 1219744.3111 | 2567262.8831 | 1219750.0652 | 2567265.1501 | 1219766.2733 | 2567263.2093 | 1219780.3145
17 | 2567263.2093 | 1219780.3145 | 2567276.9337 | 1219780.0276 | 2567278.8113 | 1219783.4081
18 | 2567263.2093 | 1219780.3145 | 2567265.1501 | 1219766.2733 | 2567262.8831 | 1219750.0652 | 2567262.0016 | 1219744.3111 | 2567260.9648 | 1219724.1716 | 2567262.2977 | 1219714.0917 | 2567267.7069 | 1219694.6838 | 2567291.8774 | 1219706.3464 | 2567359.5271 | 1219747.3539
19 | 2567263.2093 | 1219780.3145 | 2567265.1501 | 1219766.2733 | 2567268.0908 | 1219767.0464 | 2567292.4805 | 1219762.0981
20 | 2567263.2093 | 1219780.3145 | 2567267.7378 | 1219797.9777 | 2567268.7685 | 1219798.8259
21 | 2567359.5271 | 1219747.3539 | 2567362.5075 | 1219776.0432 | 2567359.7879 | 1219775.469
22 | 2567359.5271 | 1219747.3539 | 2567360.7985 | 1219748.1251 | 2567391.4986 | 1219766.1782 | 2567417.3843 | 1219782.1677 | 2567459.1776 | 1219808.6097 | 2567472.1871 | 1219814.9644 | 2567481.3166 | 1219819.417 | 2567494.7831 | 1219824.7019 | 2567507.4207 | 1219829.6579 | 2567504.4418 | 1219832.9873 | 2567500.5912 | 1219836.4548 | 2567496.9377 | 1219838.5094 | 2567491.2969 | 1219839.2962 | 2567481.7148 | 1219836.7139 | 2567474.5414 | 1219834.7409 | 2567471.5291 | 1219847.198
23 | 2567292.4805 | 1219762.0981 | 2567292.9125 | 1219762.0067 | 2567305.0659 | 1219757.5261 | 2567306.6152 | 1219757.7844
24 | 2567292.4805 | 1219762.0981 | 2567300.7076 | 1219785.9001 | 2567302.4907 | 1219790.7009
25 | 2567276.5948 | 1219805.2665 | 2567268.7685 | 1219798.8259
26 | 2567471.5291 | 1219847.198 | 2567457.6163 | 1219853.2111
27 | 2567469.1417 | 1219862.8981 | 2567468.0494 | 1219861.5811 | 2567471.5291 | 1219847.198
28 | 2567471.5291 | 1219847.198 | 2567478.7412 | 1219854.4714
29 | 2567406.0205 | 1219821.2975 | 2567417.2717 | 1219821.0912 | 2567428.267 | 1219822.654 | 2567442.7851 | 1219825.9764 | 2567474.5414 | 1219834.7409 | 2567471.5291 | 1219847.198
30 | 2567312.5077 | 1219805.4355 | 2567314.2963 | 1219800.923 | 2567303.7652 | 1219794.1325 | 2567302.4907 | 1219790.7009
31 | 2567370.7817 | 1219826.4051 | 2567366.3115 | 1219827.3227
32 | 2567344.4975 | 1219831.7527 | 2567357.4805 | 1219829.1354 | 2567366.3115 | 1219827.3227
33 | 2567391.3546 | 1219822.8345 | 2567379.8461 | 1219824.5431 | 2567370.7817 | 1219826.4051
34 | 2567370.7817 | 1219826.4051 | 2567368.0156 | 1219832.535 | 2567363.8948 | 1219837.9164 | 2567362.5171 | 1219842.649 | 2567367.4354 | 1219848.4587
35 | 2567344.4975 | 1219831.7527 | 2567336.744 | 1219833.3074 | 2567328.9195 | 1219834.3733
36 | 2567344.4975 | 1219831.7527 | 2567342.5151 | 1219818.9784
37 | 2567406.0205 | 1219821.2975 | 2567401.1953 | 1219821.3796 | 2567391.3546 | 1219822.8345
38 | 2567391.3546 | 1219822.8345 | 2567391.5897 | 1219833.8508 | 2567395.5801 | 1219835.1185
39 | 2567309.0991 | 1219836.806 | 2567311.9362 | 1219836.6792 | 2567328.9195 | 1219834.3733
40 | 2567328.9195 | 1219834.3733 | 2567329.914 | 1219844.1069 | 2567331.0097 | 1219851.5608 | 2567331.0097 | 1219851.5608
41 | 2567406.0205 | 1219821.2975 | 2567393.7517 | 1219810.2917
42 | 2567406.0205 | 1219821.2975 | 2567417.2717 | 1219821.0912 | 2567428.267 | 1219822.654 | 2567442.7851 | 1219825.9764 | 2567437.5429 | 1219839.9578 | 2567430.9152 | 1219857.2487 | 2567411.0442 | 1219867.0302
43 | 2567309.0991 | 1219836.806 | 2567290.9065 | 1219837.6183
44 | 2567331.0097 | 1219851.5608 | 2567339.3723 | 1219860.9007
45 | 2567411.0442 | 1219867.0302 | 2567410.2178 | 1219876.8182
46 | 2567411.0442 | 1219867.0302 | 2567406.3816 | 1219869.0903 | 2567401.2275 | 1219867.6462
47 | 2567284.954 | 1219837.884 | 2567290.9065 | 1219837.6183
48 | 2567339.3723 | 1219860.9007 | 2567342.0643 | 1219863.9072 | 2567343.426 | 1219865.5433
49 | 2567194.4415 | 1219861.0747 | 2567202.7797 | 1219859.6056 | 2567209.4854 | 1219857.9454 | 2567220.2434 | 1219853.6279 | 2567261.4474 | 1219839.8819
50 | 2567284.954 | 1219837.884 | 2567280.5998 | 1219838.0748 | 2567269.8216 | 1219838.7457 | 2567261.686 | 1219839.8023 | 2567261.4474 | 1219839.8819
51 | 2567194.4415 | 1219861.0747 | 2567185.885 | 1219860.0992 | 2567181.0472 | 1219859.2699 | 2567166.7801 | 1219854.6794 | 2567138.0176 | 1219842.6647
52 | 2567284.954 | 1219837.884 | 2567282.2933 | 1219830.0941 | 2567277.7791 | 1219831.5309 | 2567274.0545 | 1219828.808
53 | 2567138.0176 | 1219842.6647 | 2567138.0469 | 1219847.9455 | 2567141.3254 | 1219852.1854 | 2567150.0664 | 1219859.0855 | 2567166.4264 | 1219874.4152 | 2567185.4856 | 1219897.6346 | 2567195.7802 | 1219909.707 | 2567203.1265 | 1219914.1246 | 2567211.2855 | 1219917.3259 | 2567220.8641 | 1219919.3075 | 2567221.7421 | 1219919.4197
54 | 2567246.2415 | 1219921.4601 | 2567231.4561 | 1219920.661 | 2567221.7421 | 1219919.4197
55 | 2567247.9953 | 1219921.5549 | 2567246.2415 | 1219921.4601
56 | 2567469.1417 | 1219862.8981 | 2567467.1675 | 1219875.0939 | 2567464.3309 | 1219876.677
57 | 2567483.8457 | 1219879.4162 | 2567469.1417 | 1219862.8981
58 | 2567479.2809 | 1219855.0157 | 2567478.7412 | 1219854.4714
59 | 2567312.5077 | 1219805.4355 | 2567306.8747 | 1219807.6456
60 | 2567483.8457 | 1219879.4162 | 2567479.815 | 1219888.7993
61 | 2567484.7602 | 1219906.4604 | 2567482.5868 | 1219905.8497 | 2567467.5618 | 1219902.7302
62 | 2567484.7602 | 1219906.4604 | 2567484.3821 | 1219909.4642 | 2567487.5519 | 1219914.6944 | 2567495.8175 | 1219919.3741 | 2567495.2995 | 1219921.7672 | 2567492.9243 | 1219923.1032
63 | 2567410.2178 | 1219876.8182 | 2567418.7653 | 1219877.5495
64 | 2567410.2178 | 1219876.8182 | 2567409.8666 | 1219887.482
65 | 2567388.7135 | 1219864.1399 | 2567401.2275 | 1219867.6462
66 | 2567409.8666 | 1219887.482 | 2567404.4954 | 1219889.3011
67 | 2567396.0528 | 1219892.1605 | 2567404.4954 | 1219889.3011
68 | 2567354.0483 | 1219878.3054 | 2567343.426 | 1219865.5433
69 | 2567270.6492 | 1219922.7794 | 2567247.9953 | 1219921.5549
70 | 2567270.6492 | 1219922.7794 | 2567276.0746 | 1219937.9918
71 | 2567270.6492 | 1219922.7794 | 2567279.2938 | 1219923.2432 | 2567282.4305 | 1219923.7438
72 | 2567300.9279 | 1219934.6863 | 2567295.6061 | 1219928.6231 | 2567287.8448 | 1219924.608 | 2567282.4305 | 1219923.7438
73 | 2567300.9279 | 1219934.6863 | 2567292.2014 | 1219938.6367 | 2567288.3073 | 1219950.7097 | 2567294.0663 | 1219971.4012
74 | 2567336.9135 | 1219950.9645 | 2567300.9279 | 1219934.6863
75 | 2567303.3612 | 1219952.1832 | 2567301.9353 | 1219942.6299 | 2567300.9279 | 1219934.6863

## bus_geodata
| x | y | coords
0 | 2567536.3261 | 1219891.5139
1 | 2567540.7394 | 1219877.1703
2 | 2567517.4695 | 1219893.9629
3 | 2567544.2086 | 1219868.8189
4 | 2567517.3275 | 1219919.3119
5 | 2567502.9223 | 1219890.8184
6 | 2567547.1874 | 1219861.6481
7 | 2567491.7472 | 1219888.267
8 | 2567510.4845 | 1219875.1234
9 | 2567551.8144 | 1219868.3379
10 | 2567489.291 | 1219901.1324
11 | 2567489.942 | 1219886.245
12 | 2567385.2061 | 1219632.2853
13 | 2567372.2 | 1219630.9187
14 | 2567187.4664 | 1219656.1595
15 | 2567263.2093 | 1219780.3145
16 | 2567278.8113 | 1219783.4081
17 | 2567359.5271 | 1219747.3539
18 | 2567292.4805 | 1219762.0981
19 | 2567268.7685 | 1219798.8259
20 | 2567359.788 | 1219775.469
21 | 2567471.5291 | 1219847.198
22 | 2567306.6152 | 1219757.7844
23 | 2567302.4907 | 1219790.7009
24 | 2567366.3115 | 1219827.3227
25 | 2567370.7817 | 1219826.4051
26 | 2567344.4975 | 1219831.7527
27 | 2567391.3546 | 1219822.8345
28 | 2567367.4354 | 1219848.4587
29 | 2567328.9195 | 1219834.3733
30 | 2567342.5151 | 1219818.9784
31 | 2567406.0205 | 1219821.2975
32 | 2567395.5801 | 1219835.1185
33 | 2567309.0991 | 1219836.806
34 | 2567331.0097 | 1219851.5608
35 | 2567393.7517 | 1219810.2917
36 | 2567411.0442 | 1219867.0302
37 | 2567290.9065 | 1219837.6183
38 | 2567339.3723 | 1219860.9007
39 | 2567261.4474 | 1219839.8819
40 | 2567194.4415 | 1219861.0747
41 | 2567284.954 | 1219837.884
42 | 2567138.0176 | 1219842.6647
43 | 2567274.0545 | 1219828.808
44 | 2567221.7421 | 1219919.4197
45 | 2567246.2415 | 1219921.4601
46 | 2567276.5948 | 1219805.2665
47 | 2567457.6163 | 1219853.2111
48 | 2567469.1417 | 1219862.8981
49 | 2567478.7412 | 1219854.4714
50 | 2567312.5077 | 1219805.4355
51 | 2567306.8747 | 1219807.6456
52 | 2567483.8457 | 1219879.4162
53 | 2567479.815 | 1219888.7993
54 | 2567484.7602 | 1219906.4604
55 | 2567501.5506 | 1219906.3573
56 | 2567464.3309 | 1219876.677
57 | 2567467.5618 | 1219902.7302
58 | 2567492.9243 | 1219923.1032
59 | 2567479.2809 | 1219855.0157
60 | 2567410.2178 | 1219876.8182
61 | 2567401.2275 | 1219867.6462
62 | 2567418.7653 | 1219877.5495
63 | 2567409.8666 | 1219887.482
64 | 2567388.7135 | 1219864.1399
65 | 2567404.4954 | 1219889.3011
66 | 2567343.426 | 1219865.5433
67 | 2567354.0483 | 1219878.3054
68 | 2567396.0528 | 1219892.1605
69 | 2567247.9953 | 1219921.5549
70 | 2567270.6492 | 1219922.7794
71 | 2567276.0746 | 1219937.9918
72 | 2567282.4305 | 1219923.7438
73 | 2567300.9279 | 1219934.6863
74 | 2567294.0663 | 1219971.4012
75 | 2567336.9135 | 1219950.9645
76 | 2567303.3612 | 1219952.1832
77 | 2567391.3546 | 1219822.8345

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1