## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_443-30_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_443-30_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_443-30_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_443-30_0_4_node_56 | 0.4 | n |  | TRUE
4 | bus_LV_443-30_0_4_node_55 | 0.4 | n |  | TRUE
5 | bus_LV_443-30_0_4_node_66 | 0.4 | n |  | TRUE
6 | bus_LV_443-30_0_4_node_62 | 0.4 | n |  | TRUE
7 | bus_LV_443-30_0_4_node_24 | 0.4 | n |  | TRUE
8 | bus_LV_443-30_0_4_node_40 | 0.4 | n |  | TRUE
9 | bus_LV_443-30_0_4_node_3 | 0.4 | n |  | TRUE
10 | bus_LV_443-30_0_4_node_4 | 0.4 | n |  | TRUE
11 | bus_LV_443-30_0_4_node_53 | 0.4 | n |  | TRUE
12 | bus_LV_443-30_0_4_node_36 | 0.4 | n |  | TRUE
13 | bus_LV_443-30_0_4_node_5 | 0.4 | n |  | TRUE
14 | bus_LV_443-30_0_4_node_67 | 0.4 | n |  | TRUE
15 | bus_LV_443-30_0_4_node_27 | 0.4 | n |  | TRUE
16 | bus_LV_443-30_0_4_node_52 | 0.4 | n |  | TRUE
17 | bus_LV_443-30_0_4_node_37 | 0.4 | n |  | TRUE
18 | bus_LV_443-30_0_4_node_32 | 0.4 | n |  | TRUE
19 | bus_LV_443-30_0_4_node_6 | 0.4 | n |  | TRUE
20 | bus_LV_443-30_0_4_node_7 | 0.4 | n |  | TRUE
21 | bus_LV_443-30_0_4_node_8 | 0.4 | n |  | TRUE
22 | bus_LV_443-30_0_4_node_65 | 0.4 | n |  | TRUE
23 | bus_LV_443-30_0_4_node_61 | 0.4 | n |  | TRUE
24 | bus_LV_443-30_0_4_node_9 | 0.4 | n |  | TRUE
25 | bus_LV_443-30_0_4_node_10 | 0.4 | n |  | TRUE
26 | bus_LV_443-30_0_4_node_11 | 0.4 | n |  | TRUE
27 | bus_LV_443-30_0_4_node_12 | 0.4 | n |  | TRUE
28 | bus_LV_443-30_0_4_node_13 | 0.4 | n |  | TRUE
29 | bus_LV_443-30_0_4_node_47 | 0.4 | n |  | TRUE
30 | bus_LV_443-30_0_4_node_44 | 0.4 | n |  | TRUE
31 | bus_LV_443-30_0_4_node_49 | 0.4 | n |  | TRUE
32 | bus_LV_443-30_0_4_node_45 | 0.4 | n |  | TRUE
33 | bus_LV_443-30_0_4_node_14 | 0.4 | n |  | TRUE
34 | bus_LV_443-30_0_4_node_15 | 0.4 | n |  | TRUE
35 | bus_LV_443-30_0_4_node_16 | 0.4 | n |  | TRUE
36 | bus_LV_443-30_0_4_node_17 | 0.4 | n |  | TRUE
37 | bus_LV_443-30_0_4_node_18 | 0.4 | n |  | TRUE
38 | bus_LV_443-30_0_4_node_50 | 0.4 | n |  | TRUE
39 | bus_LV_443-30_0_4_node_48 | 0.4 | n |  | TRUE
40 | bus_LV_443-30_0_4_node_51 | 0.4 | n |  | TRUE
41 | bus_LV_443-30_0_4_node_19 | 0.4 | n |  | TRUE
42 | bus_LV_443-30_0_4_node_20 | 0.4 | n |  | TRUE
43 | bus_LV_443-30_0_4_node_21 | 0.4 | n |  | TRUE
44 | bus_LV_443-30_0_4_node_22 | 0.4 | n |  | TRUE
45 | bus_LV_443-30_0_4_node_23 | 0.4 | n |  | TRUE
46 | bus_LV_443-30_0_4_node_57 | 0.4 | n |  | TRUE
47 | bus_LV_443-30_0_4_node_58 | 0.4 | n |  | TRUE
48 | bus_LV_443-30_0_4_node_59 | 0.4 | n |  | TRUE
49 | bus_LV_443-30_0_4_node_29 | 0.4 | n |  | TRUE
50 | bus_LV_443-30_0_4_node_60 | 0.4 | n |  | TRUE
51 | bus_LV_443-30_0_4_node_39 | 0.4 | n |  | TRUE
52 | bus_LV_443-30_0_4_node_28 | 0.4 | n |  | TRUE
53 | bus_LV_443-30_0_4_node_25 | 0.4 | n |  | TRUE
54 | bus_LV_443-30_0_4_node_26 | 0.4 | n |  | TRUE
55 | bus_LV_443-30_0_4_node_35 | 0.4 | n |  | TRUE
56 | bus_LV_443-30_0_4_node_41 | 0.4 | n |  | TRUE
57 | bus_LV_443-30_0_4_node_42 | 0.4 | n |  | TRUE
58 | bus_LV_443-30_0_4_node_33 | 0.4 | n |  | TRUE
59 | bus_LV_443-30_0_4_node_34 | 0.4 | n |  | TRUE
60 | bus_LV_443-30_0_4_node_30 | 0.4 | n |  | TRUE
61 | bus_LV_443-30_0_4_node_31 | 0.4 | n |  | TRUE
62 | bus_LV_443-30_0_4_node_63 | 0.4 | n |  | TRUE
63 | bus_LV_443-30_0_4_node_38 | 0.4 | n |  | TRUE
64 | bus_LV_443-30_0_4_node_46 | 0.4 | n |  | TRUE
65 | bus_LV_443-30_0_4_node_54 | 0.4 | n |  | TRUE
66 | bus_MV_329_0_node_238 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_443-30_0_4_load_0 | 0 | 0.0023759 | 0.00059546 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_443-30_0_4_load_2 | 2 | 0.0023875 | 0.00059836 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_443-30_0_4_load_56 | 3 | 0.0024664 | 0.00061814 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_443-30_0_4_load_55 | 4 | 0.0023877 | 0.00059841 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_443-30_0_4_load_66 | 5 | 0.0017644 | 0.00044219 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_443-30_0_4_load_62 | 6 | 0.0022916 | 0.00057432 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_443-30_0_4_load_3 | 9 | 0.0057527 | 0.0014418 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_443-30_0_4_load_5 | 13 | 0.0016306 | 0.00040866 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_443-30_0_4_load_67 | 14 | 0.0022224 | 0.00055698 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_443-30_0_4_load_27 | 15 | 0.0032377 | 0.00081144 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_443-30_0_4_load_52 | 16 | 0.0039193 | 0.00098227 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_443-30_0_4_load_37 | 17 | 0.0038775 | 0.00097179 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_443-30_0_4_load_32 | 18 | 0.0031595 | 0.00079186 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_443-30_0_4_load_6 | 19 | 0.013833 | 0.003467 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_443-30_0_4_load_7 | 20 | 0.0069125 | 0.0017324 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_443-30_0_4_load_8 | 21 | 0.019298 | 0.0048365 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_443-30_0_4_load_65 | 22 | 0.0054974 | 0.0013778 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_443-30_0_4_load_61 | 23 | 0.019738 | 0.0049468 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_443-30_0_4_load_9 | 24 | 0.0018056 | 0.00045253 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_443-30_0_4_load_10 | 25 | 0.0045052 | 0.0011291 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_443-30_0_4_load_11 | 26 | 0.0017831 | 0.00044688 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_443-30_0_4_load_12 | 27 | 0.0063493 | 0.0015913 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_443-30_0_4_load_13 | 28 | 0.0022163 | 0.00055547 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_443-30_0_4_load_47 | 29 | 0.0053088 | 0.0013305 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_443-30_0_4_load_44 | 30 | 0.0011473 | 0.00028753 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_443-30_0_4_load_49 | 31 | 0.0063985 | 0.0016036 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_443-30_0_4_load_45 | 32 | 0.0031596 | 0.00079188 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_443-30_0_4_load_14 | 33 | 0.0064 | 0.001604 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_443-30_0_4_load_15 | 34 | 0.0023428 | 0.00058715 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_443-30_0_4_load_17 | 36 | 0.0020898 | 0.00052374 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_443-30_0_4_load_18 | 37 | 0.0063557 | 0.0015929 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_443-30_0_4_load_48 | 39 | 0.004354 | 0.0010912 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_443-30_0_4_load_51 | 40 | 0.0041679 | 0.0010446 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_443-30_0_4_load_19 | 41 | 0.0042157 | 0.0010566 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_443-30_0_4_load_20 | 42 | 0.00334 | 0.0008371 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_443-30_0_4_load_21 | 43 | 0.0060946 | 0.0015274 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_443-30_0_4_load_22 | 44 | 0.0057315 | 0.0014365 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_443-30_0_4_load_23 | 45 | 0.0026359 | 0.00066062 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_443-30_0_4_load_57 | 46 | 0.0010256 | 0.00025705 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_443-30_0_4_load_58 | 47 | 0.007364 | 0.0018456 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_443-30_0_4_load_59 | 48 | 0.0020021 | 0.00050177 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_443-30_0_4_load_29 | 49 | 0.0056458 | 0.001415 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_443-30_0_4_load_39 | 51 | 0.0021027 | 0.00052698 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_443-30_0_4_load_28 | 52 | 0.0034984 | 0.00087677 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_443-30_0_4_load_25 | 53 | 0.0041278 | 0.0010345 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_443-30_0_4_load_26 | 54 | 0.0025599 | 0.00064157 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_443-30_0_4_load_35 | 55 | 0.0034676 | 0.00086906 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_443-30_0_4_load_41 | 56 | 0.0018094 | 0.00045347 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_443-30_0_4_load_42 | 57 | 0.0020774 | 0.00052065 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_443-30_0_4_load_33 | 58 | 0.0027208 | 0.0006819 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_443-30_0_4_load_30 | 60 | 0.001778 | 0.00044561 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_443-30_0_4_load_31 | 61 | 0.0016547 | 0.00041472 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_443-30_0_4_load_63 | 62 | 0.0066381 | 0.0016637 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_443-30_0_4_load_38 | 63 | 0.0013252 | 0.00033212 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_443-30_0_4_load_46 | 64 | 0.0015172 | 0.00038025 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_443-30_0_4_load_54 | 65 | 0.0043253 | 0.001084 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 8 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_443-30_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.00093207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_443-30_0_4_line_1 | NAYY 4x150 SE | 1 | 2 | 0.022558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_443-30_0_4_line_2 | NAYY 4x150 SE | 2 | 9 | 0.0050552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_443-30_0_4_line_3 | NAYY 4x150 SE | 3 | 4 | 0.0022233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_443-30_0_4_line_4 | NAYY 4x150 SE | 4 | 12 | 0.027334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_443-30_0_4_line_5 | NAYY 4x150 SE | 5 | 6 | 0.025883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_443-30_0_4_line_6 | NAYY 4x150 SE | 5 | 7 | 0.015908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_443-30_0_4_line_7 | NAYY 4x150 SE | 5 | 8 | 0.01794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_443-30_0_4_line_8 | NAYY 4x150 SE | 6 | 11 | 0.012326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_443-30_0_4_line_9 | NAYY 4x150 SE | 6 | 12 | 0.019422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_443-30_0_4_line_10 | NAYY 4x150 SE | 7 | 44 | 0.023819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_443-30_0_4_line_11 | NAYY 4x150 SE | 8 | 48 | 0.0084694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_443-30_0_4_line_12 | NAYY 4x150 SE | 8 | 51 | 0.044086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_443-30_0_4_line_13 | NAYY 4x150 SE | 9 | 10 | 0.056389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_443-30_0_4_line_14 | NAYY 4x150 SE | 10 | 13 | 0.029647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_443-30_0_4_line_15 | NAYY 4x150 SE | 10 | 14 | 0.066489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_443-30_0_4_line_16 | NAYY 4x150 SE | 11 | 15 | 0.041299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_443-30_0_4_line_17 | NAYY 4x150 SE | 11 | 16 | 0.0092496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_443-30_0_4_line_18 | NAYY 4x150 SE | 14 | 17 | 0.0083028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_443-30_0_4_line_19 | NAYY 4x150 SE | 15 | 18 | 0.024472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_443-30_0_4_line_20 | NAYY 4x150 SE | 16 | 38 | 0.040014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_443-30_0_4_line_21 | NAYY 4x150 SE | 17 | 59 | 0.017013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_443-30_0_4_line_22 | NAYY 4x150 SE | 18 | 58 | 0.027268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_443-30_0_4_line_23 | NAYY 4x150 SE | 18 | 59 | 0.004766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_443-30_0_4_line_24 | NAYY 4x150 SE | 19 | 20 | 0.0097362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_443-30_0_4_line_25 | NAYY 4x150 SE | 20 | 21 | 0.035709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_443-30_0_4_line_26 | NAYY 4x150 SE | 21 | 22 | 0.012823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_443-30_0_4_line_27 | NAYY 4x150 SE | 22 | 23 | 0.0089266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_443-30_0_4_line_28 | NAYY 4x150 SE | 23 | 50 | 0.0085956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_443-30_0_4_line_29 | NAYY 4x150 SE | 24 | 25 | 0.0013674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_443-30_0_4_line_30 | NAYY 4x150 SE | 24 | 26 | 0.00010317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_443-30_0_4_line_31 | NAYY 4x150 SE | 25 | 27 | 0.016629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_443-30_0_4_line_32 | NAYY 4x150 SE | 26 | 28 | 0.029122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_443-30_0_4_line_33 | NAYY 4x150 SE | 27 | 29 | 0.014967 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_443-30_0_4_line_34 | NAYY 4x150 SE | 28 | 30 | 0.0010371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_443-30_0_4_line_35 | NAYY 4x150 SE | 29 | 31 | 0.01314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_443-30_0_4_line_36 | NAYY 4x150 SE | 30 | 32 | 0.024392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_443-30_0_4_line_37 | NAYY 4x150 SE | 31 | 39 | 0.0019036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_443-30_0_4_line_38 | NAYY 4x150 SE | 32 | 64 | 0.017757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_443-30_0_4_line_39 | NAYY 4x150 SE | 33 | 34 | 0.013686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_443-30_0_4_line_40 | NAYY 4x150 SE | 33 | 35 | 0.02459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_443-30_0_4_line_41 | NAYY 4x150 SE | 34 | 36 | 0.023255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_443-30_0_4_line_42 | NAYY 4x150 SE | 35 | 37 | 0.01838 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_443-30_0_4_line_43 | NAYY 4x150 SE | 36 | 38 | 0.011267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_443-30_0_4_line_44 | NAYY 4x150 SE | 37 | 39 | 0.01612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_443-30_0_4_line_45 | NAYY 4x150 SE | 38 | 40 | 0.015784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_443-30_0_4_line_46 | NAYY 4x150 SE | 40 | 65 | 0.02411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_443-30_0_4_line_47 | NAYY 4x150 SE | 41 | 42 | 0.0026952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_443-30_0_4_line_48 | NAYY 4x150 SE | 41 | 43 | 0.0021174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_443-30_0_4_line_49 | NAYY 4x150 SE | 42 | 44 | 0.016923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_443-30_0_4_line_50 | NAYY 4x150 SE | 43 | 45 | 0.011776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_443-30_0_4_line_51 | NAYY 4x150 SE | 45 | 49 | 0.0074652 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_443-30_0_4_line_52 | NAYY 4x150 SE | 46 | 47 | 0.018581 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_443-30_0_4_line_53 | NAYY 4x150 SE | 46 | 48 | 0.0014843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_443-30_0_4_line_54 | NAYY 4x150 SE | 47 | 50 | 0.018644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_443-30_0_4_line_55 | NAYY 4x150 SE | 49 | 52 | 0.0010553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_443-30_0_4_line_56 | NAYY 4x150 SE | 51 | 63 | 0.0051166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_443-30_0_4_line_57 | NAYY 4x150 SE | 52 | 60 | 0.0030533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_443-30_0_4_line_58 | NAYY 4x150 SE | 53 | 54 | 0.020335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_443-30_0_4_line_59 | NAYY 4x150 SE | 54 | 55 | 0.028874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_443-30_0_4_line_60 | NAYY 4x150 SE | 55 | 58 | 0.025429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_443-30_0_4_line_61 | NAYY 4x150 SE | 55 | 56 | 0.025249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_443-30_0_4_line_62 | NAYY 4x150 SE | 56 | 57 | 0.018678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_443-30_0_4_line_63 | NAYY 4x150 SE | 60 | 61 | 0.011986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_443-30_0_4_line_64 | NAYY 4x150 SE | 61 | 62 | 0.021958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_443-30_0_4_trafo_40 | 0.25 MVA 20/0.4 kV | 66 | 8 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2567155.9721 | 1223015.0672 | 2567156.8795 | 1223015.2801
1 | 2567156.8795 | 1223015.2801 | 2567178.6308 | 1223021.2575
2 | 2567178.6308 | 1223021.2575 | 2567183.5053 | 1223022.5971
3 | 2567235.8702 | 1222959.4837 | 2567234.6788 | 1222961.3608
4 | 2567250.5171 | 1222936.4048 | 2567235.8702 | 1222959.4837
5 | 2567260.7386 | 1222919.8902 | 2567241.3565 | 1222902.736
6 | 2567241.3565 | 1222902.736 | 2567229.9089 | 1222913.7829
7 | 2567227.7735 | 1222891.0256 | 2567230.7821 | 1222893.377 | 2567241.3565 | 1222902.736
8 | 2567269.9684 | 1222928.0592 | 2567260.7386 | 1222919.8902
9 | 2567260.7386 | 1222919.8902 | 2567250.5171 | 1222936.4048
10 | 2567229.9089 | 1222913.7829 | 2567226.8791 | 1222915.8119 | 2567222.7499 | 1222917.8915 | 2567219.8858 | 1222918.3409 | 2567207.324 | 1222916.8465
11 | 2567227.7735 | 1222891.0256 | 2567220.9435 | 1222886.0175
12 | 2567227.7735 | 1222891.0256 | 2567233.9824 | 1222892.0141 | 2567236.305 | 1222892.3682 | 2567240.521 | 1222893.6568 | 2567247.425 | 1222894.1745 | 2567252.6499 | 1222894.1457 | 2567258.0441 | 1222893.182 | 2567261.585 | 1222891.6838 | 2567266.0335 | 1222887.001 | 2567267.4396 | 1222884.228
13 | 2567233.7032 | 1223043.2944 | 2567229.9606 | 1223037.0892 | 2567223.748 | 1223032.6542 | 2567212.3611 | 1223030.5269 | 2567183.5053 | 1223022.5971
14 | 2567233.7032 | 1223043.2944 | 2567210.0812 | 1223048.8504 | 2567205.0963 | 1223050.8743
15 | 2567267.4519 | 1222986.0075 | 2567233.7032 | 1223043.2944
16 | 2567269.9684 | 1222928.0592 | 2567290.7907 | 1222944.154 | 2567303.767 | 1222951.6407
17 | 2567269.9684 | 1222928.0592 | 2567279.1221 | 1222926.7302
18 | 2567267.4519 | 1222986.0075 | 2567272.1097 | 1222979.1342
19 | 2567303.767 | 1222951.6407 | 2567285.4758 | 1222967.8976
20 | 2567318.3733 | 1222925.1019 | 2567306.3977 | 1222929.0146 | 2567292.5707 | 1222928.635 | 2567279.1221 | 1222926.7302
21 | 2567281.654 | 1222965.0501 | 2567272.1097 | 1222979.1342
22 | 2567285.4758 | 1222967.8976 | 2567295.6957 | 1222975.5123 | 2567307.7452 | 1222983.62
23 | 2567281.654 | 1222965.0501 | 2567285.4758 | 1222967.8976
24 | 2567127.8749 | 1222823.4514 | 2567135.9691 | 1222828.8624
25 | 2567165.228 | 1222849.3131 | 2567165.228 | 1222849.3131 | 2567153.7672 | 1222840.7603 | 2567135.9691 | 1222828.8624
26 | 2567165.228 | 1222849.3131 | 2567174.7894 | 1222857.2427 | 2567175.0928 | 1222857.5058
27 | 2567175.0928 | 1222857.5058 | 2567178.0508 | 1222860.0708 | 2567181.8368 | 1222863.3542
28 | 2567188.3305 | 1222868.9859 | 2567181.8368 | 1222863.3542
29 | 2567290.2637 | 1222821.5436 | 2567289.1082 | 1222820.8123
30 | 2567289.1082 | 1222820.8123 | 2567289.0211 | 1222820.7571
31 | 2567290.2637 | 1222821.5436 | 2567304.315 | 1222830.4361
32 | 2567289.0211 | 1222820.7571 | 2567268.3487 | 1222807.6744 | 2567264.5601 | 1222804.9648
33 | 2567316.9617 | 1222838.4397 | 2567304.315 | 1222830.4361
34 | 2567263.7166 | 1222804.3615 | 2567264.5601 | 1222804.9648
35 | 2567316.9617 | 1222838.4397 | 2567328.0649 | 1222845.4665
36 | 2567263.7166 | 1222804.3615 | 2567243.8769 | 1222790.1724
37 | 2567329.6735 | 1222846.4845 | 2567328.0649 | 1222845.4665
38 | 2567229.4335 | 1222779.8426 | 2567243.8769 | 1222790.1724
39 | 2567338.4386 | 1222897.3264 | 2567345.7287 | 1222885.7435
40 | 2567358.8268 | 1222864.9324 | 2567345.7287 | 1222885.7435
41 | 2567326.0516 | 1222917.0076 | 2567338.4386 | 1222897.3264
42 | 2567358.8268 | 1222864.9324 | 2567349.0706 | 1222858.7602 | 2567343.2949 | 1222855.105
43 | 2567318.3733 | 1222925.1019 | 2567324.0416 | 1222920.2011 | 2567326.0516 | 1222917.0076
44 | 2567343.2949 | 1222855.105 | 2567329.6735 | 1222846.4845
45 | 2567318.3733 | 1222925.1019 | 2567331.8694 | 1222933.2867
46 | 2567331.8694 | 1222933.2867 | 2567338.5752 | 1222937.3535 | 2567354.2577 | 1222941.6761
47 | 2567187.8429 | 1222914.5289 | 2567190.5192 | 1222914.8473
48 | 2567185.7404 | 1222914.2788 | 2567187.8429 | 1222914.5289
49 | 2567207.324 | 1222916.8465 | 2567190.5192 | 1222914.8473
50 | 2567174.0466 | 1222912.8877 | 2567185.7404 | 1222914.2788
51 | 2567166.6337 | 1222912.0058 | 2567174.0466 | 1222912.8877
52 | 2567219.7465 | 1222885.1398 | 2567204.762 | 1222874.1526
53 | 2567219.7465 | 1222885.1398 | 2567220.9435 | 1222886.0175
54 | 2567188.3305 | 1222868.9859 | 2567191.2123 | 1222867.6136 | 2567193.3425 | 1222867.4684 | 2567195.4771 | 1222868.1237 | 2567198.3681 | 1222869.7754 | 2567201.0314 | 1222871.4172 | 2567204.762 | 1222874.1526
55 | 2567166.6337 | 1222912.0058 | 2567165.5857 | 1222911.8811
56 | 2567269.7536 | 1222879.6645 | 2567267.4396 | 1222884.228
57 | 2567162.5538 | 1222911.5204 | 2567165.5857 | 1222911.8811
58 | 2567348.6059 | 1222976.9921 | 2567366.4768 | 1222986.6937
59 | 2567348.6059 | 1222976.9921 | 2567328.7484 | 1222997.9543
60 | 2567328.7484 | 1222997.9543 | 2567321.393 | 1222992.8032 | 2567307.7452 | 1222983.62
61 | 2567348.7986 | 1223013.2783 | 2567341.3785 | 1223007.124 | 2567333.0178 | 1223000.9441 | 2567328.7484 | 1222997.9543
62 | 2567348.7986 | 1223013.2783 | 2567355.6399 | 1223018.9526 | 2567362.8888 | 1223025.5323
63 | 2567162.5538 | 1222911.5204 | 2567150.6521 | 1222910.1046
64 | 2567128.8477 | 1222907.5106 | 2567150.6521 | 1222910.1046

## bus_geodata
| x | y | coords
0 | 2567155.9721 | 1223015.0672
1 | 2567156.8795 | 1223015.2801
2 | 2567178.6308 | 1223021.2575
3 | 2567234.6788 | 1222961.3608
4 | 2567235.8702 | 1222959.4837
5 | 2567241.3565 | 1222902.736
6 | 2567260.7386 | 1222919.8902
7 | 2567229.9089 | 1222913.7829
8 | 2567227.7735 | 1222891.0256
9 | 2567183.5053 | 1223022.5971
10 | 2567233.7032 | 1223043.2944
11 | 2567269.9684 | 1222928.0592
12 | 2567250.5171 | 1222936.4048
13 | 2567205.0963 | 1223050.8744
14 | 2567267.4519 | 1222986.0075
15 | 2567303.767 | 1222951.6407
16 | 2567279.1221 | 1222926.7302
17 | 2567272.1097 | 1222979.1342
18 | 2567285.4758 | 1222967.8976
19 | 2567127.8749 | 1222823.4514
20 | 2567135.9691 | 1222828.8624
21 | 2567165.228 | 1222849.3131
22 | 2567175.0928 | 1222857.5058
23 | 2567181.8368 | 1222863.3542
24 | 2567289.1082 | 1222820.8123
25 | 2567290.2637 | 1222821.5436
26 | 2567289.0211 | 1222820.7571
27 | 2567304.315 | 1222830.4361
28 | 2567264.5601 | 1222804.9648
29 | 2567316.9617 | 1222838.4397
30 | 2567263.7166 | 1222804.3615
31 | 2567328.0649 | 1222845.4665
32 | 2567243.8769 | 1222790.1724
33 | 2567345.7287 | 1222885.7435
34 | 2567338.4386 | 1222897.3264
35 | 2567358.8268 | 1222864.9324
36 | 2567326.0516 | 1222917.0076
37 | 2567343.2949 | 1222855.105
38 | 2567318.3733 | 1222925.1019
39 | 2567329.6735 | 1222846.4845
40 | 2567331.8694 | 1222933.2867
41 | 2567187.8429 | 1222914.5289
42 | 2567190.5192 | 1222914.8473
43 | 2567185.7404 | 1222914.2788
44 | 2567207.324 | 1222916.8465
45 | 2567174.0466 | 1222912.8877
46 | 2567219.7465 | 1222885.1398
47 | 2567204.762 | 1222874.1526
48 | 2567220.9435 | 1222886.0175
49 | 2567166.6337 | 1222912.0058
50 | 2567188.3305 | 1222868.9859
51 | 2567267.4396 | 1222884.228
52 | 2567165.5857 | 1222911.8811
53 | 2567366.4768 | 1222986.6937
54 | 2567348.6059 | 1222976.9921
55 | 2567328.7484 | 1222997.9543
56 | 2567348.7986 | 1223013.2783
57 | 2567362.8888 | 1223025.5323
58 | 2567307.7452 | 1222983.62
59 | 2567281.654 | 1222965.0501
60 | 2567162.5538 | 1222911.5204
61 | 2567150.6521 | 1222910.1046
62 | 2567128.8477 | 1222907.5106
63 | 2567269.7536 | 1222879.6645
64 | 2567229.4335 | 1222779.8426
65 | 2567354.2577 | 1222941.6761
66 | 2567188.3305 | 1222868.9859

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1