## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_444-12_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_444-12_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_444-12_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_444-12_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_444-12_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_444-12_0_4_node_11 | 0.4 | n |  | TRUE
6 | bus_LV_444-12_0_4_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_444-12_0_4_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_444-12_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_444-12_0_4_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_444-12_0_4_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_444-12_0_4_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_444-12_0_4_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_444-12_0_4_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_444-12_0_4_node_15 | 0.4 | n |  | TRUE
15 | bus_LV_444-12_0_4_node_67 | 0.4 | n |  | TRUE
16 | bus_LV_444-12_0_4_node_68 | 0.4 | n |  | TRUE
17 | bus_LV_444-12_0_4_node_29 | 0.4 | n |  | TRUE
18 | bus_LV_444-12_0_4_node_39 | 0.4 | n |  | TRUE
19 | bus_LV_444-12_0_4_node_24 | 0.4 | n |  | TRUE
20 | bus_LV_444-12_0_4_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_444-12_0_4_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_444-12_0_4_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_444-12_0_4_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_444-12_0_4_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_444-12_0_4_node_40 | 0.4 | n |  | TRUE
26 | bus_LV_444-12_0_4_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_444-12_0_4_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_444-12_0_4_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_444-12_0_4_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_444-12_0_4_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_444-12_0_4_node_89 | 0.4 | n |  | TRUE
32 | bus_LV_444-12_0_4_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_444-12_0_4_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_444-12_0_4_node_37 | 0.4 | n |  | TRUE
35 | bus_LV_444-12_0_4_node_38 | 0.4 | n |  | TRUE
36 | bus_LV_444-12_0_4_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_444-12_0_4_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_444-12_0_4_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_444-12_0_4_node_46 | 0.4 | n |  | TRUE
40 | bus_LV_444-12_0_4_node_47 | 0.4 | n |  | TRUE
41 | bus_LV_444-12_0_4_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_444-12_0_4_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_444-12_0_4_node_35 | 0.4 | n |  | TRUE
44 | bus_LV_444-12_0_4_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_444-12_0_4_node_53 | 0.4 | n |  | TRUE
46 | bus_LV_444-12_0_4_node_54 | 0.4 | n |  | TRUE
47 | bus_LV_444-12_0_4_node_57 | 0.4 | n |  | TRUE
48 | bus_LV_444-12_0_4_node_58 | 0.4 | n |  | TRUE
49 | bus_LV_444-12_0_4_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_444-12_0_4_node_43 | 0.4 | n |  | TRUE
51 | bus_LV_444-12_0_4_node_44 | 0.4 | n |  | TRUE
52 | bus_LV_444-12_0_4_node_45 | 0.4 | n |  | TRUE
53 | bus_LV_444-12_0_4_node_91 | 0.4 | n |  | TRUE
54 | bus_LV_444-12_0_4_node_92 | 0.4 | n |  | TRUE
55 | bus_LV_444-12_0_4_node_48 | 0.4 | n |  | TRUE
56 | bus_LV_444-12_0_4_node_50 | 0.4 | n |  | TRUE
57 | bus_LV_444-12_0_4_node_51 | 0.4 | n |  | TRUE
58 | bus_LV_444-12_0_4_node_56 | 0.4 | n |  | TRUE
59 | bus_LV_444-12_0_4_node_49 | 0.4 | n |  | TRUE
60 | bus_LV_444-12_0_4_node_85 | 0.4 | n |  | TRUE
61 | bus_LV_444-12_0_4_node_82 | 0.4 | n |  | TRUE
62 | bus_LV_444-12_0_4_node_75 | 0.4 | n |  | TRUE
63 | bus_LV_444-12_0_4_node_52 | 0.4 | n |  | TRUE
64 | bus_LV_444-12_0_4_node_77 | 0.4 | n |  | TRUE
65 | bus_LV_444-12_0_4_node_98 | 0.4 | n |  | TRUE
66 | bus_LV_444-12_0_4_node_74 | 0.4 | n |  | TRUE
67 | bus_LV_444-12_0_4_node_55 | 0.4 | n |  | TRUE
68 | bus_LV_444-12_0_4_node_79 | 0.4 | n |  | TRUE
69 | bus_LV_444-12_0_4_node_80 | 0.4 | n |  | TRUE
70 | bus_LV_444-12_0_4_node_59 | 0.4 | n |  | TRUE
71 | bus_LV_444-12_0_4_node_60 | 0.4 | n |  | TRUE
72 | bus_LV_444-12_0_4_node_76 | 0.4 | n |  | TRUE
73 | bus_LV_444-12_0_4_node_86 | 0.4 | n |  | TRUE
74 | bus_LV_444-12_0_4_node_61 | 0.4 | n |  | TRUE
75 | bus_LV_444-12_0_4_node_62 | 0.4 | n |  | TRUE
76 | bus_LV_444-12_0_4_node_63 | 0.4 | n |  | TRUE
77 | bus_LV_444-12_0_4_node_64 | 0.4 | n |  | TRUE
78 | bus_LV_444-12_0_4_node_65 | 0.4 | n |  | TRUE
79 | bus_LV_444-12_0_4_node_66 | 0.4 | n |  | TRUE
80 | bus_LV_444-12_0_4_node_72 | 0.4 | n |  | TRUE
81 | bus_LV_444-12_0_4_node_83 | 0.4 | n |  | TRUE
82 | bus_LV_444-12_0_4_node_69 | 0.4 | n |  | TRUE
83 | bus_LV_444-12_0_4_node_84 | 0.4 | n |  | TRUE
84 | bus_LV_444-12_0_4_node_70 | 0.4 | n |  | TRUE
85 | bus_LV_444-12_0_4_node_71 | 0.4 | n |  | TRUE
86 | bus_LV_444-12_0_4_node_97 | 0.4 | n |  | TRUE
87 | bus_LV_444-12_0_4_node_96 | 0.4 | n |  | TRUE
88 | bus_LV_444-12_0_4_node_81 | 0.4 | n |  | TRUE
89 | bus_LV_444-12_0_4_node_87 | 0.4 | n |  | TRUE
90 | bus_LV_444-12_0_4_node_88 | 0.4 | n |  | TRUE
91 | bus_LV_444-12_0_4_node_90 | 0.4 | n |  | TRUE
92 | bus_LV_444-12_0_4_node_93 | 0.4 | n |  | TRUE
93 | bus_LV_444-12_0_4_node_94 | 0.4 | n |  | TRUE
94 | bus_MV_308_0_node_71 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_444-12_0_4_load_0 | 0 | 0.0030776 | 0.00077131 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_444-12_0_4_load_1 | 1 | 0.0011165 | 0.00027982 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_444-12_0_4_load_2 | 2 | 0.0026829 | 0.00067239 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_444-12_0_4_load_3 | 3 | 0.0054648 | 0.0013696 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_444-12_0_4_load_4 | 4 | 0.0049412 | 0.0012384 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_444-12_0_4_load_5 | 6 | 0.0025626 | 0.00064226 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_444-12_0_4_load_6 | 8 | 0.002923 | 0.00073258 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_444-12_0_4_load_7 | 9 | 0.0044575 | 0.0011172 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_444-12_0_4_load_8 | 10 | 0.0022047 | 0.00055255 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_444-12_0_4_load_9 | 11 | 0.0033874 | 0.00084897 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_444-12_0_4_load_10 | 12 | 0.0022312 | 0.00055919 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_444-12_0_4_load_14 | 13 | 0.002662 | 0.00066716 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_444-12_0_4_load_15 | 14 | 0.007838 | 0.0019644 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_444-12_0_4_load_67 | 15 | 0.0042009 | 0.0010528 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_444-12_0_4_load_16 | 20 | 0.0011731 | 0.00029401 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_444-12_0_4_load_17 | 21 | 0.0017762 | 0.00044515 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_444-12_0_4_load_19 | 23 | 0.0012156 | 0.00030465 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_444-12_0_4_load_20 | 24 | 0.0015958 | 0.00039995 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_444-12_0_4_load_21 | 26 | 0.0016053 | 0.00040234 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_444-12_0_4_load_22 | 27 | 0.0019365 | 0.00048534 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_444-12_0_4_load_23 | 28 | 0.0014374 | 0.00036026 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_444-12_0_4_load_26 | 30 | 0.0022319 | 0.00055936 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_444-12_0_4_load_89 | 31 | 0.0012667 | 0.00031747 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_444-12_0_4_load_27 | 32 | 0.0023086 | 0.00057859 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_444-12_0_4_load_28 | 33 | 0.0029016 | 0.0007272 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_444-12_0_4_load_37 | 34 | 0.0033068 | 0.00082877 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_444-12_0_4_load_38 | 35 | 0.0022758 | 0.00057037 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_444-12_0_4_load_30 | 36 | 0.0022774 | 0.00057077 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_444-12_0_4_load_31 | 37 | 0.0018276 | 0.00045803 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_444-12_0_4_load_32 | 38 | 0.00069373 | 0.00017387 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_444-12_0_4_load_46 | 39 | 0.0034005 | 0.00085225 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_444-12_0_4_load_33 | 41 | 0.00084431 | 0.0002116 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_444-12_0_4_load_35 | 43 | 0.0017287 | 0.00043324 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_444-12_0_4_load_36 | 44 | 0.00093216 | 0.00023362 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_444-12_0_4_load_53 | 45 | 0.0015536 | 0.00038936 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_444-12_0_4_load_57 | 47 | 0.0018192 | 0.00045593 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_444-12_0_4_load_41 | 49 | 0.0006439 | 0.00016138 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_444-12_0_4_load_44 | 51 | 0.0011236 | 0.00028159 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_444-12_0_4_load_45 | 52 | 0.002376 | 0.00059548 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_444-12_0_4_load_91 | 53 | 0.00203 | 0.00050876 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_444-12_0_4_load_92 | 54 | 0.0024557 | 0.00061545 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_444-12_0_4_load_48 | 55 | 0.0017459 | 0.00043756 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_444-12_0_4_load_56 | 58 | 0.0015884 | 0.00039808 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_444-12_0_4_load_85 | 60 | 0.0044906 | 0.0011255 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_444-12_0_4_load_82 | 61 | 0.0011827 | 0.00029642 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_444-12_0_4_load_75 | 62 | 0.0012457 | 0.00031221 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_444-12_0_4_load_77 | 64 | 0.00082561 | 0.00020692 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_444-12_0_4_load_98 | 65 | 0.0016774 | 0.0004204 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_444-12_0_4_load_74 | 66 | 0.0019165 | 0.00048033 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_444-12_0_4_load_55 | 67 | 0.0016077 | 0.00040293 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_444-12_0_4_load_79 | 68 | 0.0013246 | 0.00033198 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_444-12_0_4_load_80 | 69 | 0.001266 | 0.0003173 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_444-12_0_4_load_59 | 70 | 0.0041404 | 0.0010377 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_444-12_0_4_load_60 | 71 | 0.0057095 | 0.0014309 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_444-12_0_4_load_76 | 72 | 0.0073076 | 0.0018314 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_444-12_0_4_load_86 | 73 | 0.0023457 | 0.00058788 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_444-12_0_4_load_61 | 74 | 0.0024263 | 0.00060808 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_444-12_0_4_load_64 | 77 | 0.009386 | 0.0023523 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_444-12_0_4_load_65 | 78 | 0.0097532 | 0.0024444 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_444-12_0_4_load_66 | 79 | 0.0042337 | 0.0010611 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_444-12_0_4_load_83 | 81 | 0.0045639 | 0.0011438 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_444-12_0_4_load_69 | 82 | 0.013309 | 0.0033355 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_444-12_0_4_load_70 | 84 | 0.0030958 | 0.00077589 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_444-12_0_4_load_71 | 85 | 0.0035881 | 0.00089927 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_444-12_0_4_load_97 | 86 | 0.0016881 | 0.00042309 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_444-12_0_4_load_96 | 87 | 0.0036725 | 0.00092042 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_444-12_0_4_load_81 | 88 | 0.0019597 | 0.00049114 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_444-12_0_4_load_87 | 89 | 0.0010916 | 0.00027358 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_444-12_0_4_load_88 | 90 | 0.0011406 | 0.00028585 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_444-12_0_4_load_90 | 91 | 0.0021109 | 0.00052904 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_444-12_0_4_load_93 | 92 | 0.0061754 | 0.0015477 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 79 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_444-12_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0043006 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_444-12_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.031506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_444-12_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.034689 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_444-12_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0047153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_444-12_0_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.098992 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_444-12_0_4_line_5 | NAYY 4x150 SE | 4 | 6 | 0.0028887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_444-12_0_4_line_6 | NAYY 4x150 SE | 5 | 7 | 0.12643 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_444-12_0_4_line_7 | NAYY 4x150 SE | 7 | 15 | 0.073859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_444-12_0_4_line_8 | NAYY 4x150 SE | 8 | 9 | 0.019386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_444-12_0_4_line_9 | NAYY 4x150 SE | 8 | 10 | 0.018851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_444-12_0_4_line_10 | NAYY 4x150 SE | 9 | 11 | 0.0028823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_444-12_0_4_line_11 | NAYY 4x150 SE | 10 | 12 | 0.0064852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_444-12_0_4_line_12 | NAYY 4x150 SE | 11 | 13 | 0.0223 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_444-12_0_4_line_13 | NAYY 4x150 SE | 13 | 14 | 0.032233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_444-12_0_4_line_14 | NAYY 4x150 SE | 14 | 17 | 0.018984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_444-12_0_4_line_15 | NAYY 4x150 SE | 15 | 16 | 0.017212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_444-12_0_4_line_16 | NAYY 4x150 SE | 16 | 82 | 0.026664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_444-12_0_4_line_17 | NAYY 4x150 SE | 16 | 84 | 0.016864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_444-12_0_4_line_18 | NAYY 4x150 SE | 16 | 85 | 0.10692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_444-12_0_4_line_19 | NAYY 4x150 SE | 17 | 18 | 0.01965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_444-12_0_4_line_20 | NAYY 4x150 SE | 17 | 19 | 0.019502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_444-12_0_4_line_21 | NAYY 4x150 SE | 18 | 25 | 0.021296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_444-12_0_4_line_22 | NAYY 4x150 SE | 18 | 24 | 0.018133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_444-12_0_4_line_23 | NAYY 4x150 SE | 19 | 30 | 0.018408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_444-12_0_4_line_24 | NAYY 4x150 SE | 19 | 27 | 0.025945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_444-12_0_4_line_25 | NAYY 4x150 SE | 20 | 21 | 0.014772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_444-12_0_4_line_26 | NAYY 4x150 SE | 20 | 22 | 0.0029608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_444-12_0_4_line_27 | NAYY 4x150 SE | 21 | 23 | 0.027326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_444-12_0_4_line_28 | NAYY 4x150 SE | 22 | 24 | 0.010375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_444-12_0_4_line_29 | NAYY 4x150 SE | 25 | 47 | 0.01314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_444-12_0_4_line_30 | NAYY 4x150 SE | 26 | 27 | 0.023124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_444-12_0_4_line_31 | NAYY 4x150 SE | 26 | 28 | 0.02686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_444-12_0_4_line_32 | NAYY 4x150 SE | 28 | 29 | 0.024901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_444-12_0_4_line_33 | NAYY 4x150 SE | 29 | 31 | 0.020489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_444-12_0_4_line_34 | NAYY 4x150 SE | 30 | 32 | 0.0055297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_444-12_0_4_line_35 | NAYY 4x150 SE | 32 | 33 | 0.01882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_444-12_0_4_line_36 | NAYY 4x150 SE | 33 | 34 | 0.0078815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_444-12_0_4_line_37 | NAYY 4x150 SE | 34 | 35 | 0.014639 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_444-12_0_4_line_38 | NAYY 4x150 SE | 36 | 37 | 0.0043817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_444-12_0_4_line_39 | NAYY 4x150 SE | 37 | 38 | 0.026026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_444-12_0_4_line_40 | NAYY 4x150 SE | 38 | 39 | 0.002558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_444-12_0_4_line_41 | NAYY 4x150 SE | 39 | 40 | 0.023215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_444-12_0_4_line_42 | NAYY 4x150 SE | 40 | 55 | 0.010617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_444-12_0_4_line_43 | NAYY 4x150 SE | 40 | 56 | 0.042445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_444-12_0_4_line_44 | NAYY 4x150 SE | 40 | 57 | 0.081452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_444-12_0_4_line_45 | NAYY 4x150 SE | 41 | 42 | 0.014822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_444-12_0_4_line_46 | NAYY 4x150 SE | 42 | 43 | 0.029744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_444-12_0_4_line_47 | NAYY 4x150 SE | 42 | 44 | 0.014831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_444-12_0_4_line_48 | NAYY 4x150 SE | 43 | 45 | 0.00061591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_444-12_0_4_line_49 | NAYY 4x150 SE | 45 | 46 | 0.028232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_444-12_0_4_line_50 | NAYY 4x150 SE | 46 | 67 | 0.016155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
51 | LV_444-12_0_4_line_51 | NAYY 4x150 SE | 46 | 58 | 0.0030423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
52 | LV_444-12_0_4_line_52 | NAYY 4x150 SE | 47 | 48 | 0.0054873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_444-12_0_4_line_53 | NAYY 4x150 SE | 48 | 70 | 0.013005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_444-12_0_4_line_54 | NAYY 4x150 SE | 48 | 71 | 0.019672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_444-12_0_4_line_55 | NAYY 4x150 SE | 49 | 50 | 0.041436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_444-12_0_4_line_56 | NAYY 4x150 SE | 50 | 51 | 0.0047599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_444-12_0_4_line_57 | NAYY 4x150 SE | 50 | 52 | 0.081176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_444-12_0_4_line_58 | NAYY 4x150 SE | 51 | 53 | 0.013033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_444-12_0_4_line_59 | NAYY 4x150 SE | 53 | 54 | 0.0097339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_444-12_0_4_line_60 | NAYY 4x150 SE | 54 | 91 | 0.0097874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_444-12_0_4_line_61 | NAYY 4x150 SE | 55 | 58 | 0.035303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
62 | LV_444-12_0_4_line_62 | NAYY 4x150 SE | 56 | 61 | 0.017379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_444-12_0_4_line_63 | NAYY 4x150 SE | 56 | 62 | 0.026794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_444-12_0_4_line_64 | NAYY 4x150 SE | 57 | 63 | 0.078844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_444-12_0_4_line_65 | NAYY 4x150 SE | 57 | 64 | 0.061619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_444-12_0_4_line_66 | NAYY 4x150 SE | 57 | 59 | 0.056824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_444-12_0_4_line_67 | NAYY 4x150 SE | 59 | 60 | 0.022103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_444-12_0_4_line_68 | NAYY 4x150 SE | 62 | 66 | 0.0011474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_444-12_0_4_line_69 | NAYY 4x150 SE | 63 | 65 | 0.018808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_444-12_0_4_line_70 | NAYY 4x150 SE | 66 | 72 | 0.011818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_444-12_0_4_line_71 | NAYY 4x150 SE | 67 | 68 | 0.01328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
72 | LV_444-12_0_4_line_72 | NAYY 4x150 SE | 68 | 69 | 0.0057706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
73 | LV_444-12_0_4_line_73 | NAYY 4x150 SE | 69 | 88 | 0.012062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
74 | LV_444-12_0_4_line_74 | NAYY 4x150 SE | 70 | 72 | 0.0072379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_444-12_0_4_line_75 | NAYY 4x150 SE | 71 | 73 | 0.010638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_444-12_0_4_line_76 | NAYY 4x150 SE | 74 | 75 | 0.021211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_444-12_0_4_line_77 | NAYY 4x150 SE | 74 | 76 | 0.0085797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_444-12_0_4_line_78 | NAYY 4x150 SE | 75 | 77 | 0.047911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_444-12_0_4_line_79 | NAYY 4x150 SE | 75 | 78 | 0.016832 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_444-12_0_4_line_80 | NAYY 4x150 SE | 76 | 79 | 0.10659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
81 | LV_444-12_0_4_line_81 | NAYY 4x150 SE | 78 | 80 | 0.030469 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_444-12_0_4_line_82 | NAYY 4x150 SE | 79 | 81 | 0.009566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
83 | LV_444-12_0_4_line_83 | NAYY 4x150 SE | 80 | 82 | 0.016971 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_444-12_0_4_line_84 | NAYY 4x150 SE | 81 | 83 | 0.01336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
85 | LV_444-12_0_4_line_85 | NAYY 4x150 SE | 83 | 91 | 0.049265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_444-12_0_4_line_86 | NAYY 4x150 SE | 83 | 90 | 0.008071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
87 | LV_444-12_0_4_line_87 | NAYY 4x150 SE | 85 | 86 | 0.011462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_444-12_0_4_line_88 | NAYY 4x150 SE | 86 | 87 | 0.0058439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_444-12_0_4_line_89 | NAYY 4x150 SE | 87 | 93 | 0.013623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_444-12_0_4_line_90 | NAYY 4x150 SE | 88 | 89 | 0.020554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
91 | LV_444-12_0_4_line_91 | NAYY 4x150 SE | 89 | 90 | 0.002598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
92 | LV_444-12_0_4_line_92 | NAYY 4x150 SE | 92 | 93 | 0.037844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_444-12_0_4_trafo_66 | 0.25 MVA 20/0.4 kV | 94 | 79 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26
0 | 2580439.3634 | 1227404.0626 | 2580435.3566 | 1227402.5003
1 | 2580439.3634 | 1227404.0626 | 2580468.7167 | 1227415.508
2 | 2580435.3566 | 1227402.5003 | 2580424.1984 | 1227398.1495 | 2580421.324 | 1227397.4141 | 2580418.1696 | 1227396.8019 | 2580401.718 | 1227395.1732
3 | 2580473.1099 | 1227417.221 | 2580468.7167 | 1227415.508
4 | 2580303.2078 | 1227385.4208 | 2580401.718 | 1227395.1732
5 | 2580475.8012 | 1227418.2704 | 2580473.1099 | 1227417.221
6 | 2580250.5221 | 1227306.6606 | 2580251.9658 | 1227310.1022 | 2580252.5571 | 1227312.435 | 2580252.8131 | 1227314.2352 | 2580252.8186 | 1227315.8806 | 2580252.6972 | 1227318.0823 | 2580252.0514 | 1227319.8522 | 2580250.1461 | 1227323.4162 | 2580241.9308 | 1227336.7627 | 2580239.382 | 1227340.529 | 2580237.7778 | 1227343.4805 | 2580237.1566 | 1227345.7951 | 2580237.0832 | 1227348.7749 | 2580237.9877 | 1227351.8737 | 2580239.071 | 1227354.0491 | 2580240.6387 | 1227356.0451 | 2580242.2037 | 1227357.2295 | 2580244.7537 | 1227358.3883 | 2580251.0637 | 1227359.9793 | 2580272.5115 | 1227365.311 | 2580285.3181 | 1227369.9267 | 2580291.6556 | 1227372.9518 | 2580295.9307 | 1227375.5725 | 2580299.2895 | 1227378.4297 | 2580301.3821 | 1227381.0243 | 2580302.5641 | 1227383.2884 | 2580303.2078 | 1227385.4208
7 | 2580250.5221 | 1227306.6606 | 2580256.3313 | 1227303.4838 | 2580259.4153 | 1227301.1499 | 2580262.3914 | 1227298.2716 | 2580265.4332 | 1227294.6593 | 2580268.2399 | 1227290.9811 | 2580271.3971 | 1227285.6118 | 2580291.9869 | 1227247.1204
8 | 2580458.1523 | 1227478.0957 | 2580476.3637 | 1227484.7415
9 | 2580458.1523 | 1227478.0957 | 2580444.8381 | 1227473.237 | 2580440.1737 | 1227472.8856
10 | 2580476.3637 | 1227484.7415 | 2580479.0713 | 1227485.7296
11 | 2580440.1737 | 1227472.8856 | 2580433.7069 | 1227472.3983
12 | 2580500.0205 | 1227493.3744 | 2580479.0713 | 1227485.7296
13 | 2580529.9138 | 1227505.2213 | 2580515.6503 | 1227500.5977 | 2580504.2576 | 1227494.9207 | 2580500.0205 | 1227493.3744
14 | 2580547.9729 | 1227511.0754 | 2580529.9138 | 1227505.2213
15 | 2580300.8039 | 1227232.3379 | 2580291.9869 | 1227247.1204
16 | 2580300.8039 | 1227232.3379 | 2580314.6369 | 1227240.1409 | 2580324.2093 | 1227245.102
17 | 2580300.8039 | 1227232.3379 | 2580291.3211 | 1227226.9662 | 2580286.155 | 1227223.9841
18 | 2580300.8039 | 1227232.3379 | 2580306.4261 | 1227220.7678 | 2580324.7093 | 1227183.5628 | 2580333.5945 | 1227166.4342 | 2580340.6587 | 1227153.1918 | 2580342.8536 | 1227147.8146 | 2580345.1758 | 1227139.6799 | 2580345.9296 | 1227135.7167
19 | 2580547.9729 | 1227511.0754 | 2580554.8232 | 1227492.6531
20 | 2580545.1038 | 1227530.363 | 2580547.9729 | 1227511.0754
21 | 2580554.8232 | 1227492.6531 | 2580555.0715 | 1227471.3618
22 | 2580554.8232 | 1227492.6531 | 2580565.6097 | 1227498.3655 | 2580570.113 | 1227502.219
23 | 2580545.1038 | 1227530.363 | 2580526.8493 | 1227532.7333
24 | 2580545.1038 | 1227530.363 | 2580556.8169 | 1227543.6658 | 2580563.2724 | 1227548.7544
25 | 2580591.925 | 1227519.8924 | 2580586.6056 | 1227516.3296 | 2580580.2459 | 1227510.8892
26 | 2580577.996 | 1227508.9645 | 2580580.2459 | 1227510.8892
27 | 2580591.925 | 1227519.8924 | 2580614.6286 | 1227535.0987
28 | 2580577.996 | 1227508.9645 | 2580570.113 | 1227502.219
29 | 2580555.0715 | 1227471.3618 | 2580555.1373 | 1227466.014 | 2580556.6461 | 1227458.3702
30 | 2580563.2724 | 1227548.7544 | 2580578.826 | 1227561.015 | 2580581.5088 | 1227562.9695
31 | 2580603.0921 | 1227578.941 | 2580601.6434 | 1227577.639 | 2580581.5088 | 1227562.9695
32 | 2580616.6777 | 1227598.6244 | 2580613.9932 | 1227588.7385 | 2580603.0921 | 1227578.941
33 | 2580616.6777 | 1227598.6244 | 2580631.8361 | 1227601.9879 | 2580636.7867 | 1227602.3294
34 | 2580521.3657 | 1227533.4453 | 2580526.8493 | 1227532.7333
35 | 2580502.7685 | 1227536.3244 | 2580519.1011 | 1227533.7394 | 2580521.3657 | 1227533.4453
36 | 2580494.9839 | 1227537.5565 | 2580502.7685 | 1227536.3244
37 | 2580494.9839 | 1227537.5565 | 2580480.5248 | 1227539.845
38 | 2580660.8752 | 1227381.9753 | 2580657.8938 | 1227385.1863
39 | 2580657.8938 | 1227385.1863 | 2580640.1851 | 1227404.258
40 | 2580638.4446 | 1227406.1326 | 2580640.1851 | 1227404.258
41 | 2580622.8326 | 1227423.3112 | 2580628.8194 | 1227416.4987 | 2580638.4446 | 1227406.1326
42 | 2580622.8326 | 1227423.3112 | 2580618.4232 | 1227418.9341 | 2580615.2182 | 1227415.9139
43 | 2580606.301 | 1227449.6587 | 2580618.8849 | 1227444.2477 | 2580630.7011 | 1227431.1345 | 2580622.8326 | 1227423.3112
44 | 2580681.5912 | 1227472.4151 | 2580678.8323 | 1227469.9004 | 2580675.4174 | 1227468.3661 | 2580671.6955 | 1227467.9781 | 2580668.3105 | 1227468.6562 | 2580665.2696 | 1227470.2782 | 2580656.2843 | 1227459.2454 | 2580643.9186 | 1227445.6444 | 2580630.7011 | 1227431.1345 | 2580622.8326 | 1227423.3112
45 | 2580626.3532 | 1227345.9871 | 2580630.834 | 1227349.0187 | 2580635.7293 | 1227353.661 | 2580637.6853 | 1227355.4724
46 | 2580626.3532 | 1227345.9871 | 2580623.3175 | 1227349.2434 | 2580618.4561 | 1227354.9293 | 2580606.6409 | 1227368.2573
47 | 2580626.3532 | 1227345.9871 | 2580621.0529 | 1227340.3344 | 2580617.183 | 1227334.4032
48 | 2580606.2324 | 1227368.7182 | 2580606.6409 | 1227368.2573
49 | 2580587.2888 | 1227389.6409 | 2580590.7103 | 1227386.2277 | 2580606.2324 | 1227368.7182
50 | 2580587.2888 | 1227389.6409 | 2580575.6369 | 1227378.9172 | 2580575.3956 | 1227378.7082
51 | 2580587.2888 | 1227389.6409 | 2580589.5238 | 1227391.705
52 | 2580557.7088 | 1227452.9867 | 2580556.6461 | 1227458.3702
53 | 2580557.7088 | 1227452.9867 | 2580558.9386 | 1227446.7567 | 2580562.5049 | 1227441.1385
54 | 2580557.7088 | 1227452.9867 | 2580555.2903 | 1227454.9403 | 2580553.8744 | 1227457.5798 | 2580552.4558 | 1227459.4078 | 2580548.3949 | 1227459.6212 | 2580541.2608 | 1227458.7481
55 | 2580596.5816 | 1227295.6324 | 2580608.6641 | 1227289.7338 | 2580618.2111 | 1227287.0676 | 2580630.1939 | 1227285.4052 | 2580636.15 | 1227284.8606
56 | 2580596.5816 | 1227295.6324 | 2580595.7403 | 1227297.8921 | 2580594.3674 | 1227299.7977
57 | 2580602.9565 | 1227215.2638 | 2580602.4765 | 1227237.6008 | 2580602.4586 | 1227243.7156 | 2580601.5011 | 1227249.8224 | 2580597.1138 | 1227268.4256 | 2580595.718 | 1227277.2132 | 2580595.2717 | 1227282.0953 | 2580595.4467 | 1227286.9309 | 2580596.5816 | 1227295.6324
58 | 2580594.3674 | 1227299.7977 | 2580584.6338 | 1227308.4652
59 | 2580584.6338 | 1227308.4652 | 2580581.0465 | 1227311.6595 | 2580577.2298 | 1227314.7808
60 | 2580569.3734 | 1227320.6082 | 2580569.6631 | 1227320.4243 | 2580574.7813 | 1227316.7831 | 2580577.2298 | 1227314.7808
61 | 2580615.2182 | 1227415.9139 | 2580606.5957 | 1227407.7884 | 2580591.8722 | 1227393.9173 | 2580589.8198 | 1227391.9785 | 2580589.5238 | 1227391.705
62 | 2580606.301 | 1227449.6587 | 2580610.1658 | 1227454.36 | 2580612.6171 | 1227457.7985 | 2580613.8401 | 1227461.0297 | 2580612.2292 | 1227464.2814
63 | 2580606.301 | 1227449.6587 | 2580597.7024 | 1227447.9859 | 2580581.2042 | 1227440.7025
64 | 2580681.5912 | 1227472.4151 | 2580678.8323 | 1227469.9004 | 2580675.4174 | 1227468.3661 | 2580671.6955 | 1227467.9781 | 2580673.9497 | 1227459.8103 | 2580685.6241 | 1227447.3759 | 2580711.6865 | 1227420.3305 | 2580714.9118 | 1227417.1403
65 | 2580681.5912 | 1227472.4151 | 2580690.6738 | 1227469.1724 | 2580705.2251 | 1227460.5754 | 2580724.3819 | 1227446.7493 | 2580732.4469 | 1227438.6239
66 | 2580681.5912 | 1227472.4151 | 2580683.3515 | 1227475.4445 | 2580684.1432 | 1227478.8661 | 2580683.8894 | 1227482.3579 | 2580682.6194 | 1227485.6307 | 2580680.4461 | 1227488.3839 | 2580677.5504 | 1227490.3834 | 2580679.6133 | 1227493.2673 | 2580703.5154 | 1227514.88
67 | 2580703.5154 | 1227514.88 | 2580701.79 | 1227499.343 | 2580704.3698 | 1227493.4088
68 | 2580580.1546 | 1227440.2391 | 2580581.2042 | 1227440.7025
69 | 2580700.9352 | 1227404.5117 | 2580714.9118 | 1227417.1403
70 | 2580580.1546 | 1227440.2391 | 2580579.8539 | 1227440.1064 | 2580572.3217 | 1227437.8186 | 2580568.7731 | 1227438.5195
71 | 2580565.3571 | 1227370.0144 | 2580575.3956 | 1227378.7082
72 | 2580565.3571 | 1227370.0144 | 2580560.9949 | 1227366.2365
73 | 2580551.7313 | 1227358.5152 | 2580556.4409 | 1227362.2925 | 2580560.9949 | 1227366.2365
74 | 2580568.7731 | 1227438.5195 | 2580563.507 | 1227439.5597 | 2580562.5049 | 1227441.1385
75 | 2580530.7015 | 1227457.4559 | 2580541.2608 | 1227458.7481
76 | 2580381.5641 | 1227274.1057 | 2580400.0081 | 1227284.5806
77 | 2580407.4686 | 1227288.8176 | 2580400.0081 | 1227284.5806
78 | 2580381.5641 | 1227274.1057 | 2580402.4809 | 1227231.0015
79 | 2580381.5641 | 1227274.1057 | 2580376.0911 | 1227271.2888 | 2580366.5384 | 1227266.52
80 | 2580407.4686 | 1227288.8176 | 2580428.8014 | 1227300.6096 | 2580444.7545 | 1227307.9947 | 2580478.5442 | 1227321.8136 | 2580504.6667 | 1227332.2421
81 | 2580339.2773 | 1227252.9111 | 2580366.5384 | 1227266.52
82 | 2580504.6667 | 1227332.2421 | 2580508.7892 | 1227333.8878 | 2580513.4639 | 1227335.9939
83 | 2580339.2773 | 1227252.9111 | 2580324.2093 | 1227245.102
84 | 2580525.6445 | 1227341.4814 | 2580513.4639 | 1227335.9939
85 | 2580525.6445 | 1227341.4814 | 2580528.2022 | 1227338.0932 | 2580531.1203 | 1227335.9712 | 2580537.2645 | 1227333.2271 | 2580549.052 | 1227329.8308 | 2580558.2334 | 1227326.6321 | 2580564.1881 | 1227323.8999 | 2580569.3734 | 1227320.6082
86 | 2580525.6445 | 1227341.4814 | 2580532.6961 | 1227345.4078
87 | 2580345.9296 | 1227135.7167 | 2580347.0229 | 1227129.968 | 2580347.6672 | 1227124.3951
88 | 2580348.1536 | 1227118.5744 | 2580348.0027 | 1227121.493 | 2580347.6672 | 1227124.3951
89 | 2580348.8572 | 1227104.9693 | 2580348.1536 | 1227118.5744
90 | 2580551.7313 | 1227358.5152 | 2580544.7479 | 1227352.9142 | 2580534.9218 | 1227346.7462
91 | 2580534.9218 | 1227346.7462 | 2580533.5247 | 1227345.8692 | 2580532.6961 | 1227345.4078
92 | 2580348.8572 | 1227104.9693 | 2580357.1912 | 1227099.8275 | 2580369.2195 | 1227095.8185 | 2580378.4927 | 1227092.786 | 2580382.8587 | 1227090.7926 | 2580383.5652 | 1227090.3835

## bus_geodata
| x | y | coords
0 | 2580439.3634 | 1227404.0626
1 | 2580435.3566 | 1227402.5003
2 | 2580468.7167 | 1227415.508
3 | 2580401.718 | 1227395.1732
4 | 2580473.1099 | 1227417.221
5 | 2580303.2078 | 1227385.4208
6 | 2580475.8012 | 1227418.2704
7 | 2580250.5221 | 1227306.6606
8 | 2580458.1523 | 1227478.0957
9 | 2580476.3637 | 1227484.7415
10 | 2580440.1737 | 1227472.8855
11 | 2580479.0713 | 1227485.7296
12 | 2580433.7069 | 1227472.3983
13 | 2580500.0205 | 1227493.3744
14 | 2580529.9138 | 1227505.2213
15 | 2580291.9869 | 1227247.1204
16 | 2580300.8039 | 1227232.3379
17 | 2580547.9729 | 1227511.0754
18 | 2580554.8232 | 1227492.6531
19 | 2580545.1038 | 1227530.363
20 | 2580580.2459 | 1227510.8892
21 | 2580591.925 | 1227519.8924
22 | 2580577.996 | 1227508.9645
23 | 2580614.6286 | 1227535.0987
24 | 2580570.113 | 1227502.219
25 | 2580555.0715 | 1227471.3618
26 | 2580581.5088 | 1227562.9695
27 | 2580563.2724 | 1227548.7544
28 | 2580603.0921 | 1227578.941
29 | 2580616.6777 | 1227598.6244
30 | 2580526.8493 | 1227532.7333
31 | 2580636.7867 | 1227602.3294
32 | 2580521.3657 | 1227533.4453
33 | 2580502.7685 | 1227536.3244
34 | 2580494.9839 | 1227537.5565
35 | 2580480.5248 | 1227539.845
36 | 2580660.8752 | 1227381.9753
37 | 2580657.8938 | 1227385.1863
38 | 2580640.1851 | 1227404.258
39 | 2580638.4446 | 1227406.1326
40 | 2580622.8326 | 1227423.3112
41 | 2580637.6853 | 1227355.4724
42 | 2580626.3532 | 1227345.9871
43 | 2580606.6409 | 1227368.2573
44 | 2580617.183 | 1227334.4032
45 | 2580606.2324 | 1227368.7182
46 | 2580587.2888 | 1227389.6409
47 | 2580556.6461 | 1227458.3702
48 | 2580557.7088 | 1227452.9867
49 | 2580636.15 | 1227284.8606
50 | 2580596.5816 | 1227295.6324
51 | 2580594.3674 | 1227299.7977
52 | 2580602.9565 | 1227215.2638
53 | 2580584.6338 | 1227308.4652
54 | 2580577.2298 | 1227314.7808
55 | 2580615.2182 | 1227415.9139
56 | 2580606.301 | 1227449.6587
57 | 2580681.5912 | 1227472.4151
58 | 2580589.5238 | 1227391.705
59 | 2580703.5154 | 1227514.88
60 | 2580704.3698 | 1227493.4088
61 | 2580612.2292 | 1227464.2814
62 | 2580581.2042 | 1227440.7025
63 | 2580714.9118 | 1227417.1403
64 | 2580732.4469 | 1227438.6239
65 | 2580700.9352 | 1227404.5117
66 | 2580580.1546 | 1227440.2391
67 | 2580575.3956 | 1227378.7082
68 | 2580565.3571 | 1227370.0144
69 | 2580560.9949 | 1227366.2365
70 | 2580562.5049 | 1227441.1385
71 | 2580541.2608 | 1227458.7481
72 | 2580568.7731 | 1227438.5195
73 | 2580530.7015 | 1227457.4559
74 | 2580400.0081 | 1227284.5806
75 | 2580381.5641 | 1227274.1057
76 | 2580407.4686 | 1227288.8176
77 | 2580402.4809 | 1227231.0015
78 | 2580366.5384 | 1227266.52
79 | 2580504.6667 | 1227332.2421
80 | 2580339.2773 | 1227252.9111
81 | 2580513.4639 | 1227335.9939
82 | 2580324.2093 | 1227245.102
83 | 2580525.6445 | 1227341.4814
84 | 2580286.155 | 1227223.9841
85 | 2580345.9296 | 1227135.7167
86 | 2580347.6672 | 1227124.3951
87 | 2580348.1536 | 1227118.5744
88 | 2580551.7313 | 1227358.5152
89 | 2580534.9218 | 1227346.7462
90 | 2580532.6961 | 1227345.4078
91 | 2580569.3733 | 1227320.6082
92 | 2580383.5652 | 1227090.3835
93 | 2580348.8572 | 1227104.9693
94 | 2580525.6445 | 1227341.4814

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1