## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_444-1_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_444-1_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_444-1_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_444-1_0_4_node_78 | 0.4 | n |  | TRUE
4 | bus_LV_444-1_0_4_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_444-1_0_4_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_444-1_0_4_node_46 | 0.4 | n |  | TRUE
7 | bus_LV_444-1_0_4_node_32 | 0.4 | n |  | TRUE
8 | bus_LV_444-1_0_4_node_82 | 0.4 | n |  | TRUE
9 | bus_LV_444-1_0_4_node_37 | 0.4 | n |  | TRUE
10 | bus_LV_444-1_0_4_node_39 | 0.4 | n |  | TRUE
11 | bus_LV_444-1_0_4_node_40 | 0.4 | n |  | TRUE
12 | bus_LV_444-1_0_4_node_35 | 0.4 | n |  | TRUE
13 | bus_LV_444-1_0_4_node_5 | 0.4 | n |  | TRUE
14 | bus_LV_444-1_0_4_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_444-1_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_444-1_0_4_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_444-1_0_4_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_444-1_0_4_node_27 | 0.4 | n |  | TRUE
19 | bus_LV_444-1_0_4_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_444-1_0_4_node_19 | 0.4 | n |  | TRUE
21 | bus_LV_444-1_0_4_node_25 | 0.4 | n |  | TRUE
22 | bus_LV_444-1_0_4_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_444-1_0_4_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_444-1_0_4_node_24 | 0.4 | n |  | TRUE
25 | bus_LV_444-1_0_4_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_444-1_0_4_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_444-1_0_4_node_12 | 0.4 | n |  | TRUE
28 | bus_LV_444-1_0_4_node_13 | 0.4 | n |  | TRUE
29 | bus_LV_444-1_0_4_node_14 | 0.4 | n |  | TRUE
30 | bus_LV_444-1_0_4_node_15 | 0.4 | n |  | TRUE
31 | bus_LV_444-1_0_4_node_16 | 0.4 | n |  | TRUE
32 | bus_LV_444-1_0_4_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_444-1_0_4_node_33 | 0.4 | n |  | TRUE
34 | bus_LV_444-1_0_4_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_444-1_0_4_node_34 | 0.4 | n |  | TRUE
36 | bus_LV_444-1_0_4_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_444-1_0_4_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_444-1_0_4_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_444-1_0_4_node_41 | 0.4 | n |  | TRUE
40 | bus_LV_444-1_0_4_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_444-1_0_4_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_444-1_0_4_node_42 | 0.4 | n |  | TRUE
43 | bus_LV_444-1_0_4_node_54 | 0.4 | n |  | TRUE
44 | bus_LV_444-1_0_4_node_52 | 0.4 | n |  | TRUE
45 | bus_LV_444-1_0_4_node_87 | 0.4 | n |  | TRUE
46 | bus_LV_444-1_0_4_node_70 | 0.4 | n |  | TRUE
47 | bus_LV_444-1_0_4_node_53 | 0.4 | n |  | TRUE
48 | bus_LV_444-1_0_4_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_444-1_0_4_node_38 | 0.4 | n |  | TRUE
50 | bus_LV_444-1_0_4_node_51 | 0.4 | n |  | TRUE
51 | bus_LV_444-1_0_4_node_44 | 0.4 | n |  | TRUE
52 | bus_LV_444-1_0_4_node_49 | 0.4 | n |  | TRUE
53 | bus_LV_444-1_0_4_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_444-1_0_4_node_43 | 0.4 | n |  | TRUE
55 | bus_LV_444-1_0_4_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_444-1_0_4_node_48 | 0.4 | n |  | TRUE
57 | bus_LV_444-1_0_4_node_50 | 0.4 | n |  | TRUE
58 | bus_LV_444-1_0_4_node_85 | 0.4 | n |  | TRUE
59 | bus_LV_444-1_0_4_node_72 | 0.4 | n |  | TRUE
60 | bus_LV_444-1_0_4_node_69 | 0.4 | n |  | TRUE
61 | bus_LV_444-1_0_4_node_55 | 0.4 | n |  | TRUE
62 | bus_LV_444-1_0_4_node_56 | 0.4 | n |  | TRUE
63 | bus_LV_444-1_0_4_node_57 | 0.4 | n |  | TRUE
64 | bus_LV_444-1_0_4_node_58 | 0.4 | n |  | TRUE
65 | bus_LV_444-1_0_4_node_59 | 0.4 | n |  | TRUE
66 | bus_LV_444-1_0_4_node_60 | 0.4 | n |  | TRUE
67 | bus_LV_444-1_0_4_node_61 | 0.4 | n |  | TRUE
68 | bus_LV_444-1_0_4_node_67 | 0.4 | n |  | TRUE
69 | bus_LV_444-1_0_4_node_77 | 0.4 | n |  | TRUE
70 | bus_LV_444-1_0_4_node_68 | 0.4 | n |  | TRUE
71 | bus_LV_444-1_0_4_node_75 | 0.4 | n |  | TRUE
72 | bus_LV_444-1_0_4_node_62 | 0.4 | n |  | TRUE
73 | bus_LV_444-1_0_4_node_63 | 0.4 | n |  | TRUE
74 | bus_LV_444-1_0_4_node_64 | 0.4 | n |  | TRUE
75 | bus_LV_444-1_0_4_node_65 | 0.4 | n |  | TRUE
76 | bus_LV_444-1_0_4_node_66 | 0.4 | n |  | TRUE
77 | bus_LV_444-1_0_4_node_79 | 0.4 | n |  | TRUE
78 | bus_LV_444-1_0_4_node_84 | 0.4 | n |  | TRUE
79 | bus_LV_444-1_0_4_node_80 | 0.4 | n |  | TRUE
80 | bus_LV_444-1_0_4_node_86 | 0.4 | n |  | TRUE
81 | bus_LV_444-1_0_4_node_76 | 0.4 | n |  | TRUE
82 | bus_LV_444-1_0_4_node_83 | 0.4 | n |  | TRUE
83 | bus_LV_444-1_0_4_node_71 | 0.4 | n |  | TRUE
84 | bus_LV_444-1_0_4_node_73 | 0.4 | n |  | TRUE
85 | bus_LV_444-1_0_4_node_74 | 0.4 | n |  | TRUE
86 | bus_LV_444-1_0_4_node_81 | 0.4 | n |  | TRUE
87 | bus_MV_308_0_node_249 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_444-1_0_4_load_0 | 0 | 0.00084656 | 0.00021217 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_444-1_0_4_load_1 | 1 | 0.00089548 | 0.00022443 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_444-1_0_4_load_78 | 3 | 0.00050455 | 0.00012645 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_444-1_0_4_load_3 | 4 | 0.00044516 | 0.00011157 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_444-1_0_4_load_4 | 5 | 0.0013753 | 0.00034467 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_444-1_0_4_load_32 | 7 | 0.00069984 | 0.0001754 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_444-1_0_4_load_82 | 8 | 0.0018478 | 0.00046311 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_444-1_0_4_load_40 | 11 | 0.002202 | 0.00055187 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_444-1_0_4_load_35 | 12 | 0.0011865 | 0.00029736 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_444-1_0_4_load_5 | 13 | 0.00076712 | 0.00019226 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_444-1_0_4_load_6 | 14 | 0.0072514 | 0.0018174 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_444-1_0_4_load_9 | 15 | 0.0021841 | 0.00054738 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_444-1_0_4_load_8 | 16 | 0.00062403 | 0.0001564 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_444-1_0_4_load_10 | 17 | 0.0022489 | 0.00056363 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_444-1_0_4_load_19 | 20 | 0.00082577 | 0.00020696 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_444-1_0_4_load_25 | 21 | 0.0050698 | 0.0012706 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_444-1_0_4_load_18 | 23 | 0.0028991 | 0.00072658 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_444-1_0_4_load_24 | 24 | 0.003941 | 0.00098771 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_444-1_0_4_load_22 | 25 | 0.002035 | 0.00051002 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_444-1_0_4_load_20 | 26 | 0.0024448 | 0.00061273 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_444-1_0_4_load_12 | 27 | 0.0072589 | 0.0018193 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_444-1_0_4_load_13 | 28 | 0.011076 | 0.002776 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_444-1_0_4_load_14 | 29 | 0.0081167 | 0.0020342 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_444-1_0_4_load_16 | 31 | 0.006649 | 0.0016664 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_444-1_0_4_load_33 | 33 | 0.0066359 | 0.0016631 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_444-1_0_4_load_34 | 35 | 0.0033814 | 0.00084745 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_444-1_0_4_load_23 | 36 | 0.0037075 | 0.00092919 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_444-1_0_4_load_26 | 37 | 0.0036189 | 0.00090699 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_444-1_0_4_load_41 | 39 | 0.0023856 | 0.00059789 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_444-1_0_4_load_29 | 41 | 0.0032111 | 0.00080479 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_444-1_0_4_load_42 | 42 | 0.0018299 | 0.00045863 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_444-1_0_4_load_52 | 44 | 0.0021297 | 0.00053374 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_444-1_0_4_load_87 | 45 | 0.0032629 | 0.00081776 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_444-1_0_4_load_53 | 47 | 0.0015566 | 0.00039011 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_444-1_0_4_load_36 | 48 | 0.000933 | 0.00023383 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_444-1_0_4_load_38 | 49 | 0.0025495 | 0.00063895 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_444-1_0_4_load_51 | 50 | 0.0025097 | 0.000629 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_444-1_0_4_load_44 | 51 | 0.0018483 | 0.00046323 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_444-1_0_4_load_45 | 53 | 0.0015989 | 0.00040073 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_444-1_0_4_load_43 | 54 | 0.0020266 | 0.00050792 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_444-1_0_4_load_47 | 55 | 0.0044081 | 0.0011048 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_444-1_0_4_load_48 | 56 | 0.0012863 | 0.00032237 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_444-1_0_4_load_50 | 57 | 0.016428 | 0.0041172 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_444-1_0_4_load_85 | 58 | 0.0014696 | 0.00036833 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_444-1_0_4_load_69 | 60 | 0.0014875 | 0.00037279 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_444-1_0_4_load_55 | 61 | 0.0036955 | 0.00092618 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_444-1_0_4_load_56 | 62 | 0.0024146 | 0.00060515 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_444-1_0_4_load_58 | 64 | 0.0039964 | 0.0010016 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_444-1_0_4_load_59 | 65 | 0.0032867 | 0.00082373 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_444-1_0_4_load_60 | 66 | 0.0030448 | 0.00076309 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_444-1_0_4_load_61 | 67 | 0.0039207 | 0.00098261 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_444-1_0_4_load_67 | 68 | 0.0031256 | 0.00078336 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_444-1_0_4_load_77 | 69 | 0.0027727 | 0.00069491 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_444-1_0_4_load_68 | 70 | 0.0024329 | 0.00060973 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_444-1_0_4_load_75 | 71 | 0.0022817 | 0.00057186 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_444-1_0_4_load_62 | 72 | 0.0028864 | 0.00072341 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_444-1_0_4_load_64 | 74 | 0.0024893 | 0.00062388 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_444-1_0_4_load_65 | 75 | 0.0019938 | 0.00049968 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_444-1_0_4_load_79 | 77 | 0.0038214 | 0.00095773 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_444-1_0_4_load_84 | 78 | 0.0016733 | 0.00041937 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_444-1_0_4_load_80 | 79 | 0.0016645 | 0.00041716 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_444-1_0_4_load_86 | 80 | 0.002729 | 0.00068396 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_444-1_0_4_load_76 | 81 | 0.0011887 | 0.00029792 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_444-1_0_4_load_83 | 82 | 0.0055851 | 0.0013998 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_444-1_0_4_load_71 | 83 | 0.0019881 | 0.00049827 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_444-1_0_4_load_73 | 84 | 0.0021787 | 0.00054603 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_444-1_0_4_load_74 | 85 | 0.0016621 | 0.00041657 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_444-1_0_4_load_81 | 86 | 0.0017003 | 0.00042613 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 34 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_444-1_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.03981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_444-1_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.013238 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_444-1_0_4_line_2 | NAYY 4x150 SE | 0 | 3 | 0.063583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_444-1_0_4_line_3 | NAYY 4x150 SE | 1 | 4 | 0.011215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_444-1_0_4_line_4 | NAYY 4x150 SE | 2 | 5 | 0.029416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_444-1_0_4_line_5 | NAYY 4x150 SE | 3 | 6 | 0.040943 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_444-1_0_4_line_6 | NAYY 4x150 SE | 4 | 7 | 0.0094844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_444-1_0_4_line_7 | NAYY 4x150 SE | 5 | 8 | 0.006902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_444-1_0_4_line_8 | NAYY 4x150 SE | 6 | 10 | 0.008031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_444-1_0_4_line_9 | NAYY 4x150 SE | 9 | 10 | 0.03356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_444-1_0_4_line_10 | NAYY 4x150 SE | 9 | 11 | 0.025197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_444-1_0_4_line_11 | NAYY 4x150 SE | 9 | 12 | 0.029554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_444-1_0_4_line_12 | NAYY 4x150 SE | 10 | 51 | 0.018364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_444-1_0_4_line_13 | NAYY 4x150 SE | 12 | 48 | 0.014561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_444-1_0_4_line_14 | NAYY 4x150 SE | 13 | 14 | 0.039352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_444-1_0_4_line_15 | NAYY 4x150 SE | 13 | 15 | 0.039877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_444-1_0_4_line_16 | NAYY 4x150 SE | 14 | 16 | 0.022383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_444-1_0_4_line_17 | NAYY 4x150 SE | 15 | 17 | 0.022232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_444-1_0_4_line_18 | NAYY 4x150 SE | 16 | 18 | 0.032433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_444-1_0_4_line_19 | NAYY 4x150 SE | 17 | 19 | 0.017766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_444-1_0_4_line_20 | NAYY 4x150 SE | 18 | 20 | 0.026468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_444-1_0_4_line_21 | NAYY 4x150 SE | 18 | 21 | 0.018836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_444-1_0_4_line_22 | NAYY 4x150 SE | 19 | 22 | 0.034113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_444-1_0_4_line_23 | NAYY 4x150 SE | 19 | 23 | 0.019725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_444-1_0_4_line_24 | NAYY 4x150 SE | 20 | 30 | 0.028627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_444-1_0_4_line_25 | NAYY 4x150 SE | 21 | 37 | 0.01281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_444-1_0_4_line_26 | NAYY 4x150 SE | 22 | 24 | 0.012311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_444-1_0_4_line_27 | NAYY 4x150 SE | 22 | 25 | 0.014094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_444-1_0_4_line_28 | NAYY 4x150 SE | 23 | 26 | 0.024629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_444-1_0_4_line_29 | NAYY 4x150 SE | 24 | 35 | 0.026133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_444-1_0_4_line_30 | NAYY 4x150 SE | 25 | 36 | 0.023531 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_444-1_0_4_line_31 | NAYY 4x150 SE | 26 | 32 | 0.025694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
32 | LV_444-1_0_4_line_32 | NAYY 4x150 SE | 27 | 28 | 0.012572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_444-1_0_4_line_33 | NAYY 4x150 SE | 27 | 29 | 0.025844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_444-1_0_4_line_34 | NAYY 4x150 SE | 28 | 30 | 0.031667 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_444-1_0_4_line_35 | NAYY 4x150 SE | 29 | 31 | 0.013575 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_444-1_0_4_line_36 | NAYY 4x150 SE | 31 | 33 | 0.012284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_444-1_0_4_line_37 | NAYY 4x150 SE | 32 | 34 | 0.022707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
38 | LV_444-1_0_4_line_38 | NAYY 4x150 SE | 34 | 38 | 0.03134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_444-1_0_4_line_39 | NAYY 4x150 SE | 34 | 39 | 0.024964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_444-1_0_4_line_40 | NAYY 4x150 SE | 38 | 40 | 0.028451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_444-1_0_4_line_41 | NAYY 4x150 SE | 38 | 41 | 0.026084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_444-1_0_4_line_42 | NAYY 4x150 SE | 39 | 42 | 0.019659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_444-1_0_4_line_43 | NAYY 4x150 SE | 40 | 43 | 0.023688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_444-1_0_4_line_44 | NAYY 4x150 SE | 40 | 44 | 0.018645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_444-1_0_4_line_45 | NAYY 4x150 SE | 42 | 54 | 0.0011109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_444-1_0_4_line_46 | NAYY 4x150 SE | 43 | 45 | 0.031152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_444-1_0_4_line_47 | NAYY 4x150 SE | 43 | 46 | 0.002444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_444-1_0_4_line_48 | NAYY 4x150 SE | 44 | 47 | 0.0023168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_444-1_0_4_line_49 | NAYY 4x150 SE | 46 | 59 | 0.002857 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_444-1_0_4_line_50 | NAYY 4x150 SE | 46 | 60 | 0.02154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_444-1_0_4_line_51 | NAYY 4x150 SE | 48 | 49 | 0.016622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_444-1_0_4_line_52 | NAYY 4x150 SE | 49 | 50 | 0.016138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_444-1_0_4_line_53 | NAYY 4x150 SE | 50 | 52 | 0.033143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_444-1_0_4_line_54 | NAYY 4x150 SE | 51 | 53 | 0.00794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_444-1_0_4_line_55 | NAYY 4x150 SE | 52 | 55 | 0.038282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_444-1_0_4_line_56 | NAYY 4x150 SE | 52 | 54 | 0.026206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_444-1_0_4_line_57 | NAYY 4x150 SE | 55 | 56 | 0.019362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_444-1_0_4_line_58 | NAYY 4x150 SE | 56 | 57 | 0.015334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_444-1_0_4_line_59 | NAYY 4x150 SE | 57 | 58 | 0.01866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_444-1_0_4_line_60 | NAYY 4x150 SE | 59 | 80 | 0.021287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_444-1_0_4_line_61 | NAYY 4x150 SE | 59 | 76 | 0.023116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_444-1_0_4_line_62 | NAYY 4x150 SE | 60 | 83 | 0.0023244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_444-1_0_4_line_63 | NAYY 4x150 SE | 61 | 62 | 0.0057475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_444-1_0_4_line_64 | NAYY 4x150 SE | 61 | 63 | 0.01878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_444-1_0_4_line_65 | NAYY 4x150 SE | 62 | 64 | 0.0045395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_444-1_0_4_line_66 | NAYY 4x150 SE | 63 | 65 | 0.020535 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_444-1_0_4_line_67 | NAYY 4x150 SE | 63 | 66 | 0.014708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_444-1_0_4_line_68 | NAYY 4x150 SE | 63 | 67 | 0.010457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_444-1_0_4_line_69 | NAYY 4x150 SE | 65 | 68 | 0.010527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_444-1_0_4_line_70 | NAYY 4x150 SE | 66 | 69 | 0.0070518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_444-1_0_4_line_71 | NAYY 4x150 SE | 68 | 70 | 0.0022782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_444-1_0_4_line_72 | NAYY 4x150 SE | 69 | 71 | 0.0071706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_444-1_0_4_line_73 | NAYY 4x150 SE | 70 | 82 | 0.0020179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_444-1_0_4_line_74 | NAYY 4x150 SE | 71 | 84 | 0.0090874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_444-1_0_4_line_75 | NAYY 4x150 SE | 72 | 73 | 0.029396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_444-1_0_4_line_76 | NAYY 4x150 SE | 72 | 74 | 0.024454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_444-1_0_4_line_77 | NAYY 4x150 SE | 73 | 75 | 0.016383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_444-1_0_4_line_78 | NAYY 4x150 SE | 73 | 76 | 0.005873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_444-1_0_4_line_79 | NAYY 4x150 SE | 75 | 77 | 0.0099451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_444-1_0_4_line_80 | NAYY 4x150 SE | 76 | 78 | 0.033184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_444-1_0_4_line_81 | NAYY 4x150 SE | 77 | 79 | 0.0038488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_444-1_0_4_line_82 | NAYY 4x150 SE | 78 | 81 | 0.00013908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_444-1_0_4_line_83 | NAYY 4x150 SE | 79 | 86 | 0.0071661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_444-1_0_4_line_84 | NAYY 4x150 SE | 81 | 85 | 0.00067106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_444-1_0_4_line_85 | NAYY 4x150 SE | 84 | 85 | 0.029904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_444-1_0_4_trafo_28 | 0.25 MVA 20/0.4 kV | 87 | 34 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2579512.317 | 1227176.8993 | 2579491.3864 | 1227172.9053 | 2579473.1593 | 1227169.7281
1 | 2579525.3205 | 1227179.3806 | 2579512.317 | 1227176.8993
2 | 2579526.7405 | 1227114.9737 | 2579512.317 | 1227176.8993
3 | 2579473.1593 | 1227169.7281 | 2579462.1113 | 1227167.8023
4 | 2579525.3205 | 1227179.3806 | 2579524.7134 | 1227183.5074 | 2579523.499 | 1227185.1348 | 2579521.0616 | 1227185.9437 | 2579515.9783 | 1227186.3726 | 2579507.4477 | 1227187.0136 | 2579505.2164 | 1227188.2332 | 2579504.21 | 1227190.8716 | 2579504.2157 | 1227192.4947
5 | 2579496.5749 | 1227089.0264 | 2579504.3137 | 1227093.858 | 2579511.672 | 1227104.7835 | 2579522.2756 | 1227114.0634 | 2579526.7405 | 1227114.9737
6 | 2579452.7677 | 1227166.1736 | 2579462.1113 | 1227167.8023
7 | 2579508.2181 | 1227198.1123 | 2579505.648 | 1227194.7133 | 2579504.2157 | 1227192.4947
8 | 2579496.5749 | 1227089.0264 | 2579488.5546 | 1227088.287
9 | 2579488.5546 | 1227088.287 | 2579455.0409 | 1227085.1791
10 | 2579465.7075 | 1227062.3396 | 2579456.2219 | 1227082.6401 | 2579455.0409 | 1227085.1791
11 | 2579455.0409 | 1227085.1791 | 2579445.5286 | 1227084.6896 | 2579431.2186 | 1227083.961 | 2579425.5524 | 1227084.5834
12 | 2579488.5546 | 1227088.287 | 2579490.3852 | 1227085.1455 | 2579497.2037 | 1227072.0906
13 | 2579425.5524 | 1227084.5834 | 2579417.7346 | 1227085.4421 | 2579411.217 | 1227086.9759
14 | 2579130.2204 | 1227114.3407 | 2579168.0775 | 1227125.0848
15 | 2579149.1982 | 1227079.2691 | 2579130.2204 | 1227114.3407
16 | 2579189.6099 | 1227131.1958 | 2579168.0775 | 1227125.0848
17 | 2579149.1982 | 1227079.2691 | 2579171.2002 | 1227082.4591
18 | 2579220.8112 | 1227140.0509 | 2579189.6099 | 1227131.1958
19 | 2579188.7822 | 1227085.0084 | 2579171.2002 | 1227082.4591
20 | 2579220.8112 | 1227140.0509 | 2579202.7746 | 1227159.4223
21 | 2579220.8112 | 1227140.0509 | 2579236.765 | 1227136.3038 | 2579239.2002 | 1227136.0587
22 | 2579188.7822 | 1227085.0084 | 2579193.1799 | 1227051.1839
23 | 2579188.7822 | 1227085.0084 | 2579199.3994 | 1227087.2279 | 2579208.2144 | 1227088.2826
24 | 2579183.2672 | 1227180.3733 | 2579202.7746 | 1227159.4223
25 | 2579251.9465 | 1227134.7859 | 2579251.8704 | 1227134.7833 | 2579239.2002 | 1227136.0587
26 | 2579193.1799 | 1227051.1839 | 2579180.9526 | 1227049.7543
27 | 2579193.1799 | 1227051.1839 | 2579207.241 | 1227050.2227
28 | 2579208.2144 | 1227088.2826 | 2579232.6689 | 1227091.2084
29 | 2579154.9963 | 1227046.7196 | 2579180.9526 | 1227049.7543
30 | 2579230.717 | 1227048.618 | 2579207.241 | 1227050.2227
31 | 2579258.3419 | 1227091.4571 | 2579235.6002 | 1227091.5591 | 2579232.6689 | 1227091.2084
32 | 2579225.7614 | 1227192.6757 | 2579213.685 | 1227189.1795
33 | 2579225.7614 | 1227192.6757 | 2579250.5857 | 1227199.8625
34 | 2579183.2672 | 1227180.3733 | 2579213.685 | 1227189.1795
35 | 2579263.6253 | 1227203.6376 | 2579250.5857 | 1227199.8625
36 | 2579263.6253 | 1227203.6376 | 2579275.4245 | 1227207.0535
37 | 2579258.3419 | 1227091.4571 | 2579275.4843 | 1227076.5105
38 | 2579285.68 | 1227047.0462 | 2579285.5039 | 1227048.7034 | 2579283.1978 | 1227058.8841 | 2579275.4843 | 1227076.5105
39 | 2579275.4843 | 1227076.5105 | 2579283.9112 | 1227076.5032 | 2579296.6822 | 1227079.1713 | 2579300.1146 | 1227079.8036
40 | 2579285.68 | 1227047.0462 | 2579286.2526 | 1227041.7855 | 2579286.5336 | 1227033.2906 | 2579286.7628 | 1227018.6366
41 | 2579285.68 | 1227047.0462 | 2579278.8713 | 1227048.2263 | 2579274.0014 | 1227049.0549 | 2579270.5522 | 1227050.8903 | 2579260.2789 | 1227051.9392
42 | 2579300.1146 | 1227079.8036 | 2579319.4487 | 1227083.3655
43 | 2579282.4981 | 1226995.3377 | 2579286.7628 | 1227018.6366
44 | 2579286.7628 | 1227018.6366 | 2579289.7456 | 1227017.7924 | 2579304.4087 | 1227012.6324
45 | 2579319.4487 | 1227083.3655 | 2579320.5412 | 1227083.5667
46 | 2579282.4981 | 1226995.3377 | 2579288.0348 | 1226994.4956 | 2579313.6533 | 1226995.629
47 | 2579282.4981 | 1226995.3377 | 2579282.2773 | 1226992.9037
48 | 2579306.594 | 1227011.8633 | 2579304.4087 | 1227012.6324
49 | 2579282.2773 | 1226992.9037 | 2579282.0249 | 1226990.0585
50 | 2579282.2773 | 1226992.9037 | 2579275.2242 | 1226993.5287 | 2579270.1468 | 1226993.5465 | 2579261.3577 | 1226996.8295
51 | 2579411.217 | 1227086.9759 | 2579398.6988 | 1227089.922 | 2579395.0103 | 1227090.6592
52 | 2579395.0103 | 1227090.6592 | 2579384.8858 | 1227092.6828 | 2579379.0751 | 1227092.8556
53 | 2579346.3131 | 1227088.3146 | 2579367.2798 | 1227092.0882 | 2579375.99 | 1227092.9473 | 2579379.0751 | 1227092.8556
54 | 2579500.8796 | 1227065.0528 | 2579497.2037 | 1227072.0906
55 | 2579346.3131 | 1227088.3146 | 2579358.6847 | 1227065.5913 | 2579366.3459 | 1227055.829
56 | 2579346.3131 | 1227088.3146 | 2579320.5412 | 1227083.5667
57 | 2579366.3459 | 1227055.829 | 2579369.2095 | 1227052.18 | 2579381.3759 | 1227044.4441 | 2579381.6688 | 1227044.3543
58 | 2579381.6688 | 1227044.3543 | 2579396.3288 | 1227039.8597
59 | 2579396.3288 | 1227039.8597 | 2579414.1692 | 1227034.39
60 | 2579282.0249 | 1226990.0585 | 2579297.3551 | 1226985.5466 | 2579302.0217 | 1226982.9065
61 | 2579277.6492 | 1226967.5493 | 2579280.7558 | 1226976.0657 | 2579282.0249 | 1226990.0585
62 | 2579259.1802 | 1226997.6429 | 2579261.3577 | 1226996.8295
63 | 2579176.7148 | 1226997.0244 | 2579176.5459 | 1227002.7694
64 | 2579177.2669 | 1226978.2521 | 2579176.7148 | 1226997.0244
65 | 2579176.4125 | 1227007.3069 | 2579176.5459 | 1227002.7694
66 | 2579177.2669 | 1226978.2521 | 2579177.9205 | 1226957.7277
67 | 2579177.2669 | 1226978.2521 | 2579191.9223 | 1226979.4942
68 | 2579177.2669 | 1226978.2521 | 2579166.8264 | 1226977.6698
69 | 2579177.9205 | 1226957.7277 | 2579178.1882 | 1226949.3205 | 2579177.7759 | 1226947.2459
70 | 2579198.9489 | 1226980.0897 | 2579191.9223 | 1226979.4942
71 | 2579177.7759 | 1226947.2459 | 2579177.3318 | 1226945.0114
72 | 2579198.9489 | 1226980.0897 | 2579206.0939 | 1226980.6953
73 | 2579176.9384 | 1226943.0323 | 2579177.3318 | 1226945.0114
74 | 2579215.1207 | 1226980.1575 | 2579209.0066 | 1226980.9422 | 2579206.0939 | 1226980.6953
75 | 2579275.6368 | 1226962.0308 | 2579304.9308 | 1226964.4835
76 | 2579329.2993 | 1226966.5238 | 2579304.9308 | 1226964.4835
77 | 2579275.6368 | 1226962.0308 | 2579273.0239 | 1226953.8351 | 2579269.9652 | 1226946.6807
78 | 2579277.6492 | 1226967.5493 | 2579275.6368 | 1226962.0308
79 | 2579266.0556 | 1226937.5364 | 2579269.9652 | 1226946.6807
80 | 2579277.6492 | 1226967.5493 | 2579245.4791 | 1226975.6888
81 | 2579266.0556 | 1226937.5364 | 2579264.5425 | 1226933.9974 | 2579264.5425 | 1226933.9974
82 | 2579245.4791 | 1226975.6888 | 2579245.3443 | 1226975.723
83 | 2579261.9079 | 1226927.3332 | 2579264.5425 | 1226933.9974
84 | 2579245.3443 | 1226975.723 | 2579244.6938 | 1226975.8876
85 | 2579215.1207 | 1226980.1575 | 2579240.8892 | 1226976.8502 | 2579244.6938 | 1226975.8876

## bus_geodata
| x | y | coords
0 | 2579512.317 | 1227176.8993
1 | 2579473.1593 | 1227169.7281
2 | 2579525.3205 | 1227179.3806
3 | 2579526.7405 | 1227114.9737
4 | 2579462.1113 | 1227167.8023
5 | 2579504.2157 | 1227192.4947
6 | 2579496.5749 | 1227089.0264
7 | 2579452.7677 | 1227166.1736
8 | 2579508.2181 | 1227198.1123
9 | 2579455.0409 | 1227085.1791
10 | 2579488.5546 | 1227088.287
11 | 2579465.7075 | 1227062.3396
12 | 2579425.5524 | 1227084.5834
13 | 2579130.2204 | 1227114.3407
14 | 2579168.0775 | 1227125.0848
15 | 2579149.1982 | 1227079.2691
16 | 2579189.6099 | 1227131.1958
17 | 2579171.2002 | 1227082.4591
18 | 2579220.8112 | 1227140.0509
19 | 2579188.7822 | 1227085.0084
20 | 2579202.7746 | 1227159.4223
21 | 2579239.2002 | 1227136.0587
22 | 2579193.1799 | 1227051.1839
23 | 2579208.2144 | 1227088.2826
24 | 2579180.9526 | 1227049.7543
25 | 2579207.241 | 1227050.2227
26 | 2579232.6689 | 1227091.2084
27 | 2579225.7614 | 1227192.6757
28 | 2579213.685 | 1227189.1795
29 | 2579250.5857 | 1227199.8625
30 | 2579183.2672 | 1227180.3733
31 | 2579263.6253 | 1227203.6376
32 | 2579258.3419 | 1227091.4571
33 | 2579275.4245 | 1227207.0535
34 | 2579275.4843 | 1227076.5105
35 | 2579154.9963 | 1227046.7196
36 | 2579230.717 | 1227048.618
37 | 2579251.9465 | 1227134.7859
38 | 2579285.68 | 1227047.0462
39 | 2579300.1146 | 1227079.8036
40 | 2579286.7628 | 1227018.6366
41 | 2579260.2789 | 1227051.9392
42 | 2579319.4487 | 1227083.3655
43 | 2579282.4981 | 1226995.3377
44 | 2579304.4087 | 1227012.6324
45 | 2579313.6533 | 1226995.629
46 | 2579282.2773 | 1226992.9037
47 | 2579306.594 | 1227011.8633
48 | 2579411.217 | 1227086.9759
49 | 2579395.0103 | 1227090.6592
50 | 2579379.0751 | 1227092.8556
51 | 2579497.2037 | 1227072.0906
52 | 2579346.3131 | 1227088.3146
53 | 2579500.8796 | 1227065.0528
54 | 2579320.5412 | 1227083.5667
55 | 2579366.3459 | 1227055.829
56 | 2579381.6688 | 1227044.3543
57 | 2579396.3288 | 1227039.8597
58 | 2579414.1692 | 1227034.39
59 | 2579282.0249 | 1226990.0585
60 | 2579261.3577 | 1226996.8295
61 | 2579176.7148 | 1226997.0244
62 | 2579176.5459 | 1227002.7694
63 | 2579177.2669 | 1226978.2521
64 | 2579176.4125 | 1227007.3069
65 | 2579177.9205 | 1226957.7277
66 | 2579191.9223 | 1226979.4942
67 | 2579166.8264 | 1226977.6698
68 | 2579177.7759 | 1226947.2459
69 | 2579198.9489 | 1226980.0897
70 | 2579177.3318 | 1226945.0114
71 | 2579206.0939 | 1226980.6953
72 | 2579304.9308 | 1226964.4835
73 | 2579275.6368 | 1226962.0308
74 | 2579329.2993 | 1226966.5238
75 | 2579269.9652 | 1226946.6807
76 | 2579277.6492 | 1226967.5493
77 | 2579266.0556 | 1226937.5364
78 | 2579245.4791 | 1226975.6888
79 | 2579264.5425 | 1226933.9974
80 | 2579302.0217 | 1226982.9065
81 | 2579245.3443 | 1226975.723
82 | 2579176.9384 | 1226943.0323
83 | 2579259.1802 | 1226997.6429
84 | 2579215.1207 | 1226980.1575
85 | 2579244.6938 | 1226975.8876
86 | 2579261.9079 | 1226927.3332
87 | 2579258.3419 | 1227091.4571

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1