## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_445-4_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_445-4_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_445-4_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_445-4_0_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_445-4_0_3_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_445-4_0_3_node_16 | 0.4 | n |  | TRUE
6 | bus_LV_445-4_0_3_node_13 | 0.4 | n |  | TRUE
7 | bus_LV_445-4_0_3_node_21 | 0.4 | n |  | TRUE
8 | bus_LV_445-4_0_3_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_445-4_0_3_node_76 | 0.4 | n |  | TRUE
10 | bus_LV_445-4_0_3_node_12 | 0.4 | n |  | TRUE
11 | bus_LV_445-4_0_3_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_445-4_0_3_node_15 | 0.4 | n |  | TRUE
13 | bus_LV_445-4_0_3_node_20 | 0.4 | n |  | TRUE
14 | bus_LV_445-4_0_3_node_22 | 0.4 | n |  | TRUE
15 | bus_LV_445-4_0_3_node_6 | 0.4 | n |  | TRUE
16 | bus_LV_445-4_0_3_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_445-4_0_3_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_445-4_0_3_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_445-4_0_3_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_445-4_0_3_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_445-4_0_3_node_23 | 0.4 | n |  | TRUE
22 | bus_LV_445-4_0_3_node_27 | 0.4 | n |  | TRUE
23 | bus_LV_445-4_0_3_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_445-4_0_3_node_25 | 0.4 | n |  | TRUE
25 | bus_LV_445-4_0_3_node_26 | 0.4 | n |  | TRUE
26 | bus_LV_445-4_0_3_node_28 | 0.4 | n |  | TRUE
27 | bus_LV_445-4_0_3_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_445-4_0_3_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_445-4_0_3_node_74 | 0.4 | n |  | TRUE
30 | bus_LV_445-4_0_3_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_445-4_0_3_node_32 | 0.4 | n |  | TRUE
32 | bus_LV_445-4_0_3_node_73 | 0.4 | n |  | TRUE
33 | bus_LV_445-4_0_3_node_31 | 0.4 | n |  | TRUE
34 | bus_LV_445-4_0_3_node_43 | 0.4 | n |  | TRUE
35 | bus_LV_445-4_0_3_node_54 | 0.4 | n |  | TRUE
36 | bus_LV_445-4_0_3_node_42 | 0.4 | n |  | TRUE
37 | bus_LV_445-4_0_3_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_445-4_0_3_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_445-4_0_3_node_60 | 0.4 | n |  | TRUE
40 | bus_LV_445-4_0_3_node_52 | 0.4 | n |  | TRUE
41 | bus_LV_445-4_0_3_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_445-4_0_3_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_445-4_0_3_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_445-4_0_3_node_40 | 0.4 | n |  | TRUE
45 | bus_LV_445-4_0_3_node_75 | 0.4 | n |  | TRUE
46 | bus_LV_445-4_0_3_node_53 | 0.4 | n |  | TRUE
47 | bus_LV_445-4_0_3_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_445-4_0_3_node_37 | 0.4 | n |  | TRUE
49 | bus_LV_445-4_0_3_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_445-4_0_3_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_445-4_0_3_node_64 | 0.4 | n |  | TRUE
52 | bus_LV_445-4_0_3_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_445-4_0_3_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_445-4_0_3_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_445-4_0_3_node_48 | 0.4 | n |  | TRUE
56 | bus_LV_445-4_0_3_node_49 | 0.4 | n |  | TRUE
57 | bus_LV_445-4_0_3_node_47 | 0.4 | n |  | TRUE
58 | bus_LV_445-4_0_3_node_57 | 0.4 | n |  | TRUE
59 | bus_LV_445-4_0_3_node_70 | 0.4 | n |  | TRUE
60 | bus_LV_445-4_0_3_node_50 | 0.4 | n |  | TRUE
61 | bus_LV_445-4_0_3_node_62 | 0.4 | n |  | TRUE
62 | bus_LV_445-4_0_3_node_55 | 0.4 | n |  | TRUE
63 | bus_LV_445-4_0_3_node_69 | 0.4 | n |  | TRUE
64 | bus_LV_445-4_0_3_node_71 | 0.4 | n |  | TRUE
65 | bus_LV_445-4_0_3_node_51 | 0.4 | n |  | TRUE
66 | bus_LV_445-4_0_3_node_63 | 0.4 | n |  | TRUE
67 | bus_LV_445-4_0_3_node_59 | 0.4 | n |  | TRUE
68 | bus_LV_445-4_0_3_node_56 | 0.4 | n |  | TRUE
69 | bus_LV_445-4_0_3_node_58 | 0.4 | n |  | TRUE
70 | bus_LV_445-4_0_3_node_61 | 0.4 | n |  | TRUE
71 | bus_LV_445-4_0_3_node_67 | 0.4 | n |  | TRUE
72 | bus_LV_445-4_0_3_node_68 | 0.4 | n |  | TRUE
73 | bus_MV_329_0_node_96 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_445-4_0_3_load_0 | 0 | 0.0029981 | 0.0007514 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_445-4_0_3_load_2 | 2 | 0.0035682 | 0.00089427 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_445-4_0_3_load_4 | 3 | 0.0032332 | 0.00081033 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_445-4_0_3_load_13 | 6 | 0.0081787 | 0.0020498 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_445-4_0_3_load_21 | 7 | 0.0047654 | 0.0011943 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_445-4_0_3_load_5 | 8 | 0.0041431 | 0.0010384 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_445-4_0_3_load_76 | 9 | 0.053422 | 0.013389 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_445-4_0_3_load_12 | 10 | 0.0045606 | 0.001143 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_445-4_0_3_load_15 | 12 | 0.0075186 | 0.0018843 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_445-4_0_3_load_22 | 14 | 0.0047465 | 0.0011896 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_445-4_0_3_load_6 | 15 | 0.0039697 | 0.0009949 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_445-4_0_3_load_7 | 16 | 0.0032735 | 0.0008204 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_445-4_0_3_load_8 | 17 | 0.0070501 | 0.0017669 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_445-4_0_3_load_9 | 18 | 0.0058056 | 0.001455 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_445-4_0_3_load_10 | 19 | 0.0068599 | 0.0017192 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_445-4_0_3_load_27 | 22 | 0.0059121 | 0.0014817 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_445-4_0_3_load_18 | 23 | 0.0014625 | 0.00036654 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_445-4_0_3_load_25 | 24 | 0.0027835 | 0.00069762 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_445-4_0_3_load_26 | 25 | 0.0024322 | 0.00060957 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_445-4_0_3_load_28 | 26 | 0.0029996 | 0.00075178 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_445-4_0_3_load_17 | 27 | 0.0045702 | 0.0011454 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_445-4_0_3_load_74 | 29 | 0.0068021 | 0.0017048 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_445-4_0_3_load_19 | 30 | 0.003397 | 0.00085136 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_445-4_0_3_load_32 | 31 | 0.0025053 | 0.00062788 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_445-4_0_3_load_73 | 32 | 0.0065729 | 0.0016473 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_445-4_0_3_load_31 | 33 | 0.0041152 | 0.0010314 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_445-4_0_3_load_42 | 36 | 0.0013022 | 0.00032636 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_445-4_0_3_load_29 | 37 | 0.0025149 | 0.0006303 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_445-4_0_3_load_30 | 38 | 0.002127 | 0.00053308 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_445-4_0_3_load_60 | 39 | 0.00044731 | 0.00011211 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_445-4_0_3_load_52 | 40 | 0.0049745 | 0.0012467 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_445-4_0_3_load_35 | 42 | 0.0037424 | 0.00093794 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_445-4_0_3_load_36 | 43 | 0.0013121 | 0.00032884 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_445-4_0_3_load_75 | 45 | 0.0073165 | 0.0018337 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_445-4_0_3_load_38 | 47 | 0.0012388 | 0.00031047 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_445-4_0_3_load_37 | 48 | 0.0016997 | 0.00042598 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_445-4_0_3_load_39 | 49 | 0.0026618 | 0.0006671 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_445-4_0_3_load_41 | 50 | 0.0052294 | 0.0013106 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_445-4_0_3_load_64 | 51 | 0.004481 | 0.001123 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_445-4_0_3_load_44 | 52 | 0.0010568 | 0.00026486 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_445-4_0_3_load_45 | 53 | 0.0014183 | 0.00035546 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_445-4_0_3_load_49 | 56 | 0.0016347 | 0.00040968 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_445-4_0_3_load_57 | 58 | 0.0010258 | 0.0002571 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_445-4_0_3_load_50 | 60 | 0.00079837 | 0.00020009 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_445-4_0_3_load_62 | 61 | 0.0026323 | 0.00065971 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_445-4_0_3_load_55 | 62 | 0.00065146 | 0.00016327 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_445-4_0_3_load_69 | 63 | 0.0023 | 0.00057642 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_445-4_0_3_load_71 | 64 | 0.0009599 | 0.00024057 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_445-4_0_3_load_51 | 65 | 0.00050138 | 0.00012566 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_445-4_0_3_load_63 | 66 | 0.0055829 | 0.0013992 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_445-4_0_3_load_59 | 67 | 0.00094595 | 0.00023708 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_445-4_0_3_load_56 | 68 | 0.0061268 | 0.0015355 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_445-4_0_3_load_61 | 70 | 0.0018177 | 0.00045556 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_445-4_0_3_load_67 | 71 | 0.0015427 | 0.00038664 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_445-4_0_3_load_68 | 72 | 0.0018993 | 0.00047601 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 15 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_445-4_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.033534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_445-4_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.011601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_445-4_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.028513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_445-4_0_3_line_3 | NAYY 4x150 SE | 3 | 8 | 0.0038199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_445-4_0_3_line_4 | NAYY 4x150 SE | 4 | 5 | 0.045989 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_445-4_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.020187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_445-4_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.022315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_445-4_0_3_line_7 | NAYY 4x150 SE | 5 | 9 | 0.023598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_445-4_0_3_line_8 | NAYY 4x150 SE | 6 | 10 | 0.020765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_445-4_0_3_line_9 | NAYY 4x150 SE | 7 | 13 | 0.011428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_445-4_0_3_line_10 | NAYY 4x150 SE | 8 | 14 | 0.012952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_445-4_0_3_line_11 | NAYY 4x150 SE | 10 | 11 | 0.032579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_445-4_0_3_line_12 | NAYY 4x150 SE | 11 | 12 | 0.005067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_445-4_0_3_line_13 | NAYY 4x150 SE | 12 | 28 | 0.045102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_445-4_0_3_line_14 | NAYY 4x150 SE | 13 | 14 | 0.021256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_445-4_0_3_line_15 | NAYY 4x150 SE | 13 | 30 | 0.016582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
16 | LV_445-4_0_3_line_16 | NAYY 4x150 SE | 15 | 16 | 0.011223 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_445-4_0_3_line_17 | NAYY 4x150 SE | 15 | 17 | 0.01766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_445-4_0_3_line_18 | NAYY 4x150 SE | 16 | 18 | 0.0087425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
19 | LV_445-4_0_3_line_19 | NAYY 4x150 SE | 17 | 19 | 0.00546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_445-4_0_3_line_20 | NAYY 4x150 SE | 18 | 20 | 0.025637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_445-4_0_3_line_21 | NAYY 4x150 SE | 19 | 21 | 0.018479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_445-4_0_3_line_22 | NAYY 4x150 SE | 20 | 22 | 0.02068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_445-4_0_3_line_23 | NAYY 4x150 SE | 20 | 23 | 0.0021682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
24 | LV_445-4_0_3_line_24 | NAYY 4x150 SE | 21 | 24 | 0.017022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_445-4_0_3_line_25 | NAYY 4x150 SE | 21 | 25 | 0.013167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_445-4_0_3_line_26 | NAYY 4x150 SE | 22 | 26 | 0.029884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_445-4_0_3_line_27 | NAYY 4x150 SE | 23 | 27 | 0.0087117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
28 | LV_445-4_0_3_line_28 | NAYY 4x150 SE | 24 | 31 | 0.020918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_445-4_0_3_line_29 | NAYY 4x150 SE | 27 | 30 | 0.0015592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
30 | LV_445-4_0_3_line_30 | NAYY 4x150 SE | 28 | 29 | 0.01376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_445-4_0_3_line_31 | NAYY 4x150 SE | 29 | 32 | 0.016181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_445-4_0_3_line_32 | NAYY 4x150 SE | 31 | 33 | 0.024609 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_445-4_0_3_line_33 | NAYY 4x150 SE | 32 | 45 | 0.014402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_445-4_0_3_line_34 | NAYY 4x150 SE | 33 | 41 | 0.015294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_445-4_0_3_line_35 | NAYY 4x150 SE | 34 | 35 | 0.029735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_445-4_0_3_line_36 | NAYY 4x150 SE | 34 | 36 | 0.011413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_445-4_0_3_line_37 | NAYY 4x150 SE | 35 | 39 | 0.010834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_445-4_0_3_line_38 | NAYY 4x150 SE | 35 | 40 | 0.015463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_445-4_0_3_line_39 | NAYY 4x150 SE | 35 | 38 | 0.014087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_445-4_0_3_line_40 | NAYY 4x150 SE | 36 | 50 | 0.016559 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_445-4_0_3_line_41 | NAYY 4x150 SE | 37 | 38 | 0.012984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_445-4_0_3_line_42 | NAYY 4x150 SE | 39 | 67 | 0.0086383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_445-4_0_3_line_43 | NAYY 4x150 SE | 40 | 65 | 0.02001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_445-4_0_3_line_44 | NAYY 4x150 SE | 41 | 42 | 0.017972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_445-4_0_3_line_45 | NAYY 4x150 SE | 41 | 43 | 0.010434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_445-4_0_3_line_46 | NAYY 4x150 SE | 42 | 44 | 0.026732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_445-4_0_3_line_47 | NAYY 4x150 SE | 44 | 46 | 0.02245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_445-4_0_3_line_48 | NAYY 4x150 SE | 44 | 47 | 0.015283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_445-4_0_3_line_49 | NAYY 4x150 SE | 46 | 51 | 0.027279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_445-4_0_3_line_50 | NAYY 4x150 SE | 47 | 48 | 0.01087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_445-4_0_3_line_51 | NAYY 4x150 SE | 48 | 49 | 0.0051604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_445-4_0_3_line_52 | NAYY 4x150 SE | 49 | 50 | 0.01713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_445-4_0_3_line_53 | NAYY 4x150 SE | 52 | 53 | 0.032276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_445-4_0_3_line_54 | NAYY 4x150 SE | 52 | 54 | 0.0113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_445-4_0_3_line_55 | NAYY 4x150 SE | 54 | 55 | 0.027105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_445-4_0_3_line_56 | NAYY 4x150 SE | 54 | 56 | 0.0069652 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_445-4_0_3_line_57 | NAYY 4x150 SE | 55 | 60 | 0.0026376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_445-4_0_3_line_58 | NAYY 4x150 SE | 56 | 61 | 0.010277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_445-4_0_3_line_59 | NAYY 4x150 SE | 57 | 58 | 0.02381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_445-4_0_3_line_60 | NAYY 4x150 SE | 57 | 59 | 0.18862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_445-4_0_3_line_61 | NAYY 4x150 SE | 58 | 62 | 0.014085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_445-4_0_3_line_62 | NAYY 4x150 SE | 59 | 64 | 0.27235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_445-4_0_3_line_63 | NAYY 4x150 SE | 59 | 63 | 0.045955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_445-4_0_3_line_64 | NAYY 4x150 SE | 60 | 65 | 0.0081332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_445-4_0_3_line_65 | NAYY 4x150 SE | 61 | 66 | 0.041837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_445-4_0_3_line_66 | NAYY 4x150 SE | 62 | 68 | 0.011561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_445-4_0_3_line_67 | NAYY 4x150 SE | 67 | 69 | 0.018744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_445-4_0_3_line_68 | NAYY 4x150 SE | 68 | 69 | 0.078583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_445-4_0_3_line_69 | NAYY 4x150 SE | 69 | 70 | 0.041812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_445-4_0_3_line_70 | NAYY 4x150 SE | 70 | 71 | 0.0054978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_445-4_0_3_line_71 | NAYY 4x150 SE | 71 | 72 | 0.0084734 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_445-4_0_3_trafo_6 | 0.25 MVA 20/0.4 kV | 73 | 15 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2564134.3602 | 1220941.5706 | 2564134.2664 | 1220929.7975 | 2564135.2651 | 1220926.8453 | 2564137.6863 | 1220923.2841 | 2564144.9733 | 1220916.4472 | 2564148.6487 | 1220914.1294
1 | 2564134.3602 | 1220941.5706 | 2564122.8259 | 1220942.8123
2 | 2564122.8259 | 1220942.8123 | 2564094.4766 | 1220945.8641
3 | 2564090.6786 | 1220946.2729 | 2564094.4766 | 1220945.8641
4 | 2564038.2831 | 1221015.7178 | 2564045.5404 | 1221005.2788 | 2564051.8207 | 1221008.8651 | 2564056.4167 | 1220993.6505 | 2564058.1237 | 1220983.6453
5 | 2564058.1237 | 1220983.6453 | 2564038.456 | 1220979.0974
6 | 2564058.1237 | 1220983.6453 | 2564057.1609 | 1220961.3514
7 | 2564038.2831 | 1221015.7178 | 2564025.4327 | 1221018.286 | 2564019.5312 | 1221026.963
8 | 2564038.456 | 1220979.0974 | 2564019.4714 | 1220974.7074 | 2564018.2004 | 1220974.5639
9 | 2564056.6679 | 1220949.9342 | 2564057.1609 | 1220961.3514
10 | 2564090.6786 | 1220946.2729 | 2564077.8014 | 1220947.6592
11 | 2563985.8266 | 1220970.9091 | 2564018.2004 | 1220974.5639
12 | 2563985.8266 | 1220970.9091 | 2563981.4115 | 1220968.401
13 | 2563942.1912 | 1220945.9368 | 2563950.3987 | 1220950.801 | 2563981.4115 | 1220968.401
14 | 2564056.6679 | 1220949.9342 | 2564077.8014 | 1220947.6592
15 | 2564056.6679 | 1220949.9342 | 2564056.4383 | 1220947.1005 | 2564055.0698 | 1220939.093 | 2564054.0949 | 1220933.5627
16 | 2564007.7508 | 1220910.6218 | 2564018.2945 | 1220914.4677
17 | 2563991.3328 | 1220904.1279 | 2564000.8456 | 1220908.103 | 2564007.7508 | 1220910.6218
18 | 2564026.7748 | 1220916.5929 | 2564018.2945 | 1220914.4677 | 2564018.2945 | 1220914.4677
19 | 2563991.3328 | 1220904.1279 | 2563986.295 | 1220902.0227
20 | 2564051.9352 | 1220921.3125 | 2564037.8739 | 1220919.3743 | 2564026.7748 | 1220916.5929
21 | 2563969.2447 | 1220894.8979 | 2563986.295 | 1220902.0227
22 | 2564051.9352 | 1220921.3125 | 2564051.6788 | 1220900.6346
23 | 2564051.9352 | 1220921.3125 | 2564052.3117 | 1220923.4478
24 | 2563969.2447 | 1220894.8979 | 2563954.2417 | 1220886.8559
25 | 2563969.2447 | 1220894.8979 | 2563975.0592 | 1220883.0848
26 | 2564051.6788 | 1220900.6346 | 2564051.535 | 1220889.0402 | 2564047.9719 | 1220880.6791 | 2564042.9139 | 1220872.9944
27 | 2564052.3117 | 1220923.4478 | 2564053.8242 | 1220932.0272
28 | 2563935.8203 | 1220876.9466 | 2563936.6772 | 1220877.4408 | 2563954.2417 | 1220886.8559
29 | 2564054.0949 | 1220933.5627 | 2564053.8242 | 1220932.0272
30 | 2563942.1912 | 1220945.9368 | 2563929.8562 | 1220939.8384
31 | 2563915.3509 | 1220932.6669 | 2563929.8562 | 1220939.8384
32 | 2563914.5023 | 1220864.6514 | 2563935.8203 | 1220876.9466
33 | 2563915.3509 | 1220932.6669 | 2563902.4408 | 1220926.2841
34 | 2563901.2541 | 1220857.0105 | 2563914.5023 | 1220864.6514
35 | 2563990.7821 | 1220851.1413 | 2563998.7004 | 1220837.0961 | 2564000.5986 | 1220823.61
36 | 2563990.7821 | 1220851.1413 | 2563980.533 | 1220846.121
37 | 2564000.5986 | 1220823.61 | 2564008.0102 | 1220815.7083
38 | 2564000.5986 | 1220823.61 | 2563988.7882 | 1220813.6296
39 | 2564000.5986 | 1220823.61 | 2564002.2624 | 1220825.2564 | 2564009.8198 | 1220834.2485
40 | 2563965.6618 | 1220838.8367 | 2563980.533 | 1220846.121
41 | 2564018.0406 | 1220844.2968 | 2564013.8087 | 1220838.9946 | 2564009.8198 | 1220834.2485
42 | 2564013.456 | 1220809.0207 | 2564010.3523 | 1220813.2113 | 2564008.0102 | 1220815.7083
43 | 2563973.5044 | 1220800.714 | 2563988.7882 | 1220813.6296
44 | 2563901.2541 | 1220857.0105 | 2563909.8067 | 1220842.5055 | 2563910.3088 | 1220841.49
45 | 2563901.2541 | 1220857.0105 | 2563892.198 | 1220851.8289
46 | 2563922.1571 | 1220817.5268 | 2563910.3088 | 1220841.49
47 | 2563934.6978 | 1220798.884 | 2563922.1571 | 1220817.5268
48 | 2563922.1571 | 1220817.5268 | 2563935.8821 | 1220824.2497
49 | 2563934.6978 | 1220798.884 | 2563908.8322 | 1220790.2182
50 | 2563945.644 | 1220829.0314 | 2563935.8821 | 1220824.2497
51 | 2563945.644 | 1220829.0314 | 2563950.2783 | 1220831.3014
52 | 2563965.6618 | 1220838.8367 | 2563950.2783 | 1220831.3014
53 | 2563951.3123 | 1220766.0649 | 2563959.038 | 1220751.9306 | 2563967.8912 | 1220738.4019
54 | 2563945.8927 | 1220775.9802 | 2563951.3123 | 1220766.0649
55 | 2563965.2776 | 1220793.762 | 2563953.7249 | 1220778.99 | 2563945.8927 | 1220775.9802
56 | 2563945.8927 | 1220775.9802 | 2563939.3435 | 1220773.6093
57 | 2563965.2776 | 1220793.762 | 2563967.2922 | 1220795.4644
58 | 2563939.3435 | 1220773.6093 | 2563933.7809 | 1220771.5956 | 2563929.9344 | 1220769.5409
59 | 2564013.7456 | 1220668.4161 | 2564012.238 | 1220676.2854 | 2564011.4959 | 1220684.0167 | 2564011.0445 | 1220692.0352
60 | 2564013.7456 | 1220668.4161 | 2564078.9655 | 1220491.4276
61 | 2564011.8801 | 1220706.0668 | 2564011.7062 | 1220704.939 | 2564011.0052 | 1220698.1837 | 2564010.9412 | 1220693.8704 | 2564011.0445 | 1220692.0352
62 | 2564078.9655 | 1220491.4276 | 2563944.2984 | 1220254.7057
63 | 2564078.9655 | 1220491.4276 | 2564094.4856 | 1220492.2898 | 2564124.2031 | 1220493.5888 | 2564124.8324 | 1220493.8028
64 | 2563967.2922 | 1220795.4644 | 2563973.5044 | 1220800.714
65 | 2563894.6412 | 1220747.2437 | 2563895.6377 | 1220748.0801 | 2563908.897 | 1220757.7719 | 2563917.1735 | 1220762.7246 | 2563929.9344 | 1220769.5409
66 | 2564011.8801 | 1220706.0668 | 2564013.0724 | 1220713.8026 | 2564013.7532 | 1220717.474
67 | 2564024.6117 | 1220793.958 | 2564013.456 | 1220809.0207
68 | 2564024.6117 | 1220793.958 | 2564027.594 | 1220785.3459 | 2564027.5143 | 1220777.186 | 2564026.4679 | 1220771.022 | 2564024.5609 | 1220763.04 | 2564019.5018 | 1220744.4485 | 2564014.7116 | 1220722.6424 | 2564013.7532 | 1220717.474
69 | 2564024.6117 | 1220793.958 | 2564048.5208 | 1220798.4603 | 2564065.7856 | 1220795.7102
70 | 2564065.7856 | 1220795.7102 | 2564071.2149 | 1220794.8454
71 | 2564079.5829 | 1220793.5125 | 2564071.2149 | 1220794.8454

## bus_geodata
| x | y | coords
0 | 2564148.6487 | 1220914.1294
1 | 2564134.3602 | 1220941.5706
2 | 2564122.8259 | 1220942.8123
3 | 2564094.4766 | 1220945.8641
4 | 2564058.1237 | 1220983.6453
5 | 2564038.2831 | 1221015.7178
6 | 2564038.456 | 1220979.0974
7 | 2564057.1609 | 1220961.3514
8 | 2564090.6786 | 1220946.2729
9 | 2564019.5312 | 1221026.963
10 | 2564018.2004 | 1220974.5639
11 | 2563985.8266 | 1220970.9091
12 | 2563981.4115 | 1220968.401
13 | 2564056.6679 | 1220949.9342
14 | 2564077.8014 | 1220947.6592
15 | 2564007.7508 | 1220910.6218
16 | 2564018.2945 | 1220914.4677
17 | 2563991.3328 | 1220904.1279
18 | 2564026.7748 | 1220916.5929
19 | 2563986.295 | 1220902.0227
20 | 2564051.9352 | 1220921.3125
21 | 2563969.2447 | 1220894.8979
22 | 2564051.6788 | 1220900.6346
23 | 2564052.3117 | 1220923.4478
24 | 2563954.2417 | 1220886.8559
25 | 2563975.0592 | 1220883.0848
26 | 2564042.9139 | 1220872.9944
27 | 2564053.8242 | 1220932.0272
28 | 2563942.1912 | 1220945.9368
29 | 2563929.8562 | 1220939.8384
30 | 2564054.0949 | 1220933.5627
31 | 2563935.8203 | 1220876.9466
32 | 2563915.3509 | 1220932.6669
33 | 2563914.5023 | 1220864.6514
34 | 2563990.7821 | 1220851.1413
35 | 2564000.5986 | 1220823.61
36 | 2563980.533 | 1220846.121
37 | 2564018.0406 | 1220844.2968
38 | 2564009.8198 | 1220834.2485
39 | 2564008.0102 | 1220815.7083
40 | 2563988.7882 | 1220813.6296
41 | 2563901.2541 | 1220857.0105
42 | 2563910.3088 | 1220841.49
43 | 2563892.198 | 1220851.8289
44 | 2563922.1571 | 1220817.5268
45 | 2563902.4408 | 1220926.2841
46 | 2563934.6978 | 1220798.884
47 | 2563935.8821 | 1220824.2497
48 | 2563945.644 | 1220829.0314
49 | 2563950.2783 | 1220831.3014
50 | 2563965.6618 | 1220838.8367
51 | 2563908.8322 | 1220790.2182
52 | 2563951.3123 | 1220766.0649
53 | 2563967.8912 | 1220738.4019
54 | 2563945.8927 | 1220775.9802
55 | 2563965.2776 | 1220793.762
56 | 2563939.3435 | 1220773.6093
57 | 2564013.7456 | 1220668.4161
58 | 2564011.0445 | 1220692.0352
59 | 2564078.9655 | 1220491.4276
60 | 2563967.2922 | 1220795.4644
61 | 2563929.9344 | 1220769.5409
62 | 2564011.8801 | 1220706.0668
63 | 2564124.8324 | 1220493.8028
64 | 2563944.2984 | 1220254.7057
65 | 2563973.5044 | 1220800.714
66 | 2563894.6412 | 1220747.2437
67 | 2564013.456 | 1220809.0207
68 | 2564013.7532 | 1220717.474
69 | 2564024.6117 | 1220793.958
70 | 2564065.7856 | 1220795.7102
71 | 2564071.2149 | 1220794.8454
72 | 2564079.5829 | 1220793.5125
73 | 2563969.2447 | 1220894.8979

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1