## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_446-27_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_446-27_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_446-27_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_446-27_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_446-27_0_3_node_78 | 0.4 | n |  | TRUE
5 | bus_LV_446-27_0_3_node_79 | 0.4 | n |  | TRUE
6 | bus_LV_446-27_0_3_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_446-27_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_446-27_0_3_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_446-27_0_3_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_446-27_0_3_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_446-27_0_3_node_74 | 0.4 | n |  | TRUE
12 | bus_LV_446-27_0_3_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_446-27_0_3_node_70 | 0.4 | n |  | TRUE
14 | bus_LV_446-27_0_3_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_446-27_0_3_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_446-27_0_3_node_94 | 0.4 | n |  | TRUE
17 | bus_LV_446-27_0_3_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_446-27_0_3_node_81 | 0.4 | n |  | TRUE
19 | bus_LV_446-27_0_3_node_25 | 0.4 | n |  | TRUE
20 | bus_LV_446-27_0_3_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_446-27_0_3_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_446-27_0_3_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_446-27_0_3_node_84 | 0.4 | n |  | TRUE
24 | bus_LV_446-27_0_3_node_93 | 0.4 | n |  | TRUE
25 | bus_LV_446-27_0_3_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_446-27_0_3_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_446-27_0_3_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_446-27_0_3_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_446-27_0_3_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_446-27_0_3_node_68 | 0.4 | n |  | TRUE
31 | bus_LV_446-27_0_3_node_66 | 0.4 | n |  | TRUE
32 | bus_LV_446-27_0_3_node_34 | 0.4 | n |  | TRUE
33 | bus_LV_446-27_0_3_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_446-27_0_3_node_67 | 0.4 | n |  | TRUE
35 | bus_LV_446-27_0_3_node_32 | 0.4 | n |  | TRUE
36 | bus_LV_446-27_0_3_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_446-27_0_3_node_22 | 0.4 | n |  | TRUE
38 | bus_LV_446-27_0_3_node_23 | 0.4 | n |  | TRUE
39 | bus_LV_446-27_0_3_node_24 | 0.4 | n |  | TRUE
40 | bus_LV_446-27_0_3_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_446-27_0_3_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_446-27_0_3_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_446-27_0_3_node_30 | 0.4 | n |  | TRUE
44 | bus_LV_446-27_0_3_node_31 | 0.4 | n |  | TRUE
45 | bus_LV_446-27_0_3_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_446-27_0_3_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_446-27_0_3_node_89 | 0.4 | n |  | TRUE
48 | bus_LV_446-27_0_3_node_87 | 0.4 | n |  | TRUE
49 | bus_LV_446-27_0_3_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_446-27_0_3_node_37 | 0.4 | n |  | TRUE
51 | bus_LV_446-27_0_3_node_38 | 0.4 | n |  | TRUE
52 | bus_LV_446-27_0_3_node_39 | 0.4 | n |  | TRUE
53 | bus_LV_446-27_0_3_node_40 | 0.4 | n |  | TRUE
54 | bus_LV_446-27_0_3_node_41 | 0.4 | n |  | TRUE
55 | bus_LV_446-27_0_3_node_45 | 0.4 | n |  | TRUE
56 | bus_LV_446-27_0_3_node_90 | 0.4 | n |  | TRUE
57 | bus_LV_446-27_0_3_node_52 | 0.4 | n |  | TRUE
58 | bus_LV_446-27_0_3_node_44 | 0.4 | n |  | TRUE
59 | bus_LV_446-27_0_3_node_88 | 0.4 | n |  | TRUE
60 | bus_LV_446-27_0_3_node_49 | 0.4 | n |  | TRUE
61 | bus_LV_446-27_0_3_node_42 | 0.4 | n |  | TRUE
62 | bus_LV_446-27_0_3_node_43 | 0.4 | n |  | TRUE
63 | bus_LV_446-27_0_3_node_46 | 0.4 | n |  | TRUE
64 | bus_LV_446-27_0_3_node_47 | 0.4 | n |  | TRUE
65 | bus_LV_446-27_0_3_node_48 | 0.4 | n |  | TRUE
66 | bus_LV_446-27_0_3_node_50 | 0.4 | n |  | TRUE
67 | bus_LV_446-27_0_3_node_51 | 0.4 | n |  | TRUE
68 | bus_LV_446-27_0_3_node_53 | 0.4 | n |  | TRUE
69 | bus_LV_446-27_0_3_node_92 | 0.4 | n |  | TRUE
70 | bus_LV_446-27_0_3_node_85 | 0.4 | n |  | TRUE
71 | bus_LV_446-27_0_3_node_102 | 0.4 | n |  | TRUE
72 | bus_LV_446-27_0_3_node_91 | 0.4 | n |  | TRUE
73 | bus_LV_446-27_0_3_node_86 | 0.4 | n |  | TRUE
74 | bus_LV_446-27_0_3_node_54 | 0.4 | n |  | TRUE
75 | bus_LV_446-27_0_3_node_55 | 0.4 | n |  | TRUE
76 | bus_LV_446-27_0_3_node_56 | 0.4 | n |  | TRUE
77 | bus_LV_446-27_0_3_node_57 | 0.4 | n |  | TRUE
78 | bus_LV_446-27_0_3_node_62 | 0.4 | n |  | TRUE
79 | bus_LV_446-27_0_3_node_60 | 0.4 | n |  | TRUE
80 | bus_LV_446-27_0_3_node_58 | 0.4 | n |  | TRUE
81 | bus_LV_446-27_0_3_node_59 | 0.4 | n |  | TRUE
82 | bus_LV_446-27_0_3_node_64 | 0.4 | n |  | TRUE
83 | bus_LV_446-27_0_3_node_96 | 0.4 | n |  | TRUE
84 | bus_LV_446-27_0_3_node_61 | 0.4 | n |  | TRUE
85 | bus_LV_446-27_0_3_node_63 | 0.4 | n |  | TRUE
86 | bus_LV_446-27_0_3_node_103 | 0.4 | n |  | TRUE
87 | bus_LV_446-27_0_3_node_104 | 0.4 | n |  | TRUE
88 | bus_LV_446-27_0_3_node_97 | 0.4 | n |  | TRUE
89 | bus_LV_446-27_0_3_node_69 | 0.4 | n |  | TRUE
90 | bus_LV_446-27_0_3_node_73 | 0.4 | n |  | TRUE
91 | bus_LV_446-27_0_3_node_75 | 0.4 | n |  | TRUE
92 | bus_LV_446-27_0_3_node_95 | 0.4 | n |  | TRUE
93 | bus_LV_446-27_0_3_node_83 | 0.4 | n |  | TRUE
94 | bus_LV_446-27_0_3_node_76 | 0.4 | n |  | TRUE
95 | bus_LV_446-27_0_3_node_77 | 0.4 | n |  | TRUE
96 | bus_LV_446-27_0_3_node_80 | 0.4 | n |  | TRUE
97 | bus_LV_446-27_0_3_node_82 | 0.4 | n |  | TRUE
98 | bus_LV_446-27_0_3_node_98 | 0.4 | n |  | TRUE
99 | bus_LV_446-27_0_3_node_99 | 0.4 | n |  | TRUE
100 | bus_LV_446-27_0_3_node_100 | 0.4 | n |  | TRUE
101 | bus_LV_446-27_0_3_node_101 | 0.4 | n |  | TRUE
102 | bus_MV_308_1_node_141 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_446-27_0_3_load_0 | 0 | 0.0029421 | 0.00073735 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_446-27_0_3_load_1 | 1 | 0.0032319 | 0.00080999 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_446-27_0_3_load_2 | 2 | 0.0026556 | 0.00066556 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_446-27_0_3_load_3 | 3 | 0.0020047 | 0.00050243 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_446-27_0_3_load_78 | 4 | 0.0020661 | 0.00051782 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_446-27_0_3_load_4 | 6 | 0.0018384 | 0.00046074 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_446-27_0_3_load_5 | 7 | 0.0018445 | 0.00046226 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_446-27_0_3_load_6 | 8 | 0.0035236 | 0.00088309 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_446-27_0_3_load_8 | 10 | 0.0025529 | 0.00063982 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_446-27_0_3_load_74 | 11 | 0.004025 | 0.0010088 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_446-27_0_3_load_11 | 15 | 0.0019069 | 0.0004779 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_446-27_0_3_load_94 | 16 | 0.0016807 | 0.00042124 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_446-27_0_3_load_13 | 17 | 0.0010705 | 0.00026829 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_446-27_0_3_load_81 | 18 | 0.0021944 | 0.00054997 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_446-27_0_3_load_12 | 20 | 0.001053 | 0.00026391 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_446-27_0_3_load_14 | 21 | 0.0014331 | 0.00035917 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_446-27_0_3_load_15 | 22 | 0.00095766 | 0.00024001 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_446-27_0_3_load_84 | 23 | 0.0010439 | 0.00026164 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_446-27_0_3_load_16 | 25 | 0.0043311 | 0.0010855 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_446-27_0_3_load_17 | 26 | 0.0015065 | 0.00037755 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_446-27_0_3_load_18 | 27 | 0.004534 | 0.0011363 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_446-27_0_3_load_19 | 28 | 0.0035285 | 0.00088432 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_446-27_0_3_load_20 | 29 | 0.0014013 | 0.0003512 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_446-27_0_3_load_68 | 30 | 0.0029826 | 0.00074751 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_446-27_0_3_load_66 | 31 | 0.0036662 | 0.00091884 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_446-27_0_3_load_34 | 32 | 0.0011124 | 0.0002788 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_446-27_0_3_load_27 | 33 | 0.0012119 | 0.00030374 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_446-27_0_3_load_67 | 34 | 0.0028655 | 0.00071816 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_446-27_0_3_load_32 | 35 | 0.0059577 | 0.0014931 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_446-27_0_3_load_21 | 36 | 0.0010505 | 0.00026327 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_446-27_0_3_load_22 | 37 | 0.0009763 | 0.00024468 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_446-27_0_3_load_28 | 41 | 0.0018833 | 0.000472 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_446-27_0_3_load_29 | 42 | 0.0059829 | 0.0014995 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_446-27_0_3_load_30 | 43 | 0.0012258 | 0.00030723 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_446-27_0_3_load_31 | 44 | 0.0044965 | 0.0011269 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_446-27_0_3_load_33 | 45 | 0.00077146 | 0.00019335 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_446-27_0_3_load_35 | 46 | 0.001447 | 0.00036266 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_446-27_0_3_load_89 | 47 | 0.0054579 | 0.0013679 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_446-27_0_3_load_87 | 48 | 0.0017861 | 0.00044763 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_446-27_0_3_load_36 | 49 | 0.0040575 | 0.0010169 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_446-27_0_3_load_37 | 50 | 0.00094255 | 0.00023622 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_446-27_0_3_load_39 | 52 | 0.0019321 | 0.00048423 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_446-27_0_3_load_40 | 53 | 0.0025234 | 0.00063242 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_446-27_0_3_load_41 | 54 | 0.0027446 | 0.00068787 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_446-27_0_3_load_90 | 56 | 0.008205 | 0.0020564 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_446-27_0_3_load_52 | 57 | 0.0013708 | 0.00034354 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_446-27_0_3_load_88 | 59 | 0.0033096 | 0.00082946 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_446-27_0_3_load_42 | 61 | 0.00099612 | 0.00024965 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_446-27_0_3_load_43 | 62 | 0.00067453 | 0.00016905 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_446-27_0_3_load_46 | 63 | 0.0017151 | 0.00042984 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_446-27_0_3_load_47 | 64 | 0.0073319 | 0.0018376 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_446-27_0_3_load_51 | 67 | 0.00080916 | 0.0002028 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_446-27_0_3_load_53 | 68 | 0.0015512 | 0.00038877 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_446-27_0_3_load_92 | 69 | 0.0021697 | 0.00054377 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_446-27_0_3_load_85 | 70 | 0.0022997 | 0.00057636 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_446-27_0_3_load_102 | 71 | 0.00058062 | 0.00014552 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_446-27_0_3_load_91 | 72 | 0.0031126 | 0.00078008 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_446-27_0_3_load_86 | 73 | 0.0016259 | 0.00040749 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_446-27_0_3_load_54 | 74 | 0.0073968 | 0.0018538 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_446-27_0_3_load_55 | 75 | 0.0008275 | 0.00020739 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_446-27_0_3_load_56 | 76 | 0.0028152 | 0.00070556 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_446-27_0_3_load_62 | 78 | 0.000915 | 0.00022932 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_446-27_0_3_load_58 | 80 | 0.0017295 | 0.00043344 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_446-27_0_3_load_64 | 82 | 0.00031758 | 7.9594e-05 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_446-27_0_3_load_61 | 84 | 0.0036013 | 0.00090258 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_446-27_0_3_load_63 | 85 | 0.0026757 | 0.0006706 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_446-27_0_3_load_103 | 86 | 0.0011096 | 0.00027809 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_446-27_0_3_load_104 | 87 | 0.00387 | 0.00096992 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_446-27_0_3_load_97 | 88 | 0.00035744 | 8.9582e-05 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_446-27_0_3_load_69 | 89 | 0.0023894 | 0.00059885 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_446-27_0_3_load_73 | 90 | 0.0021584 | 0.00054095 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_446-27_0_3_load_95 | 92 | 0.0013097 | 0.00032825 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_446-27_0_3_load_83 | 93 | 0.001581 | 0.00039622 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_446-27_0_3_load_76 | 94 | 0.0022794 | 0.00057127 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_446-27_0_3_load_77 | 95 | 0.001514 | 0.00037944 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_446-27_0_3_load_80 | 96 | 0.001953 | 0.00048947 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_446-27_0_3_load_82 | 97 | 0.0018638 | 0.00046712 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_446-27_0_3_load_98 | 98 | 0.0015486 | 0.00038811 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_446-27_0_3_load_99 | 99 | 0.00040509 | 0.00010153 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_446-27_0_3_load_100 | 100 | 0.0020357 | 0.00051019 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_446-27_0_3_load_101 | 101 | 0.0013471 | 0.00033762 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 21 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_446-27_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.056156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_446-27_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.025921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_446-27_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.0071321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_446-27_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.019371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_446-27_0_3_line_4 | NAYY 4x150 SE | 4 | 5 | 0.024538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_446-27_0_3_line_5 | NAYY 4x150 SE | 5 | 9 | 0.045194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_446-27_0_3_line_6 | NAYY 4x150 SE | 6 | 7 | 0.022343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_446-27_0_3_line_7 | NAYY 4x150 SE | 6 | 8 | 0.0062118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_446-27_0_3_line_8 | NAYY 4x150 SE | 7 | 9 | 0.023319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_446-27_0_3_line_9 | NAYY 4x150 SE | 8 | 10 | 0.012591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_446-27_0_3_line_10 | NAYY 4x150 SE | 9 | 11 | 0.0092126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_446-27_0_3_line_11 | NAYY 4x150 SE | 10 | 12 | 0.024471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_446-27_0_3_line_12 | NAYY 4x150 SE | 11 | 13 | 0.01436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_446-27_0_3_line_13 | NAYY 4x150 SE | 12 | 14 | 0.043343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_446-27_0_3_line_14 | NAYY 4x150 SE | 12 | 15 | 0.005495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_446-27_0_3_line_15 | NAYY 4x150 SE | 13 | 90 | 0.032318 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_446-27_0_3_line_16 | NAYY 4x150 SE | 13 | 89 | 0.015552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_446-27_0_3_line_17 | NAYY 4x150 SE | 14 | 16 | 0.0039592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_446-27_0_3_line_18 | NAYY 4x150 SE | 14 | 17 | 0.012735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_446-27_0_3_line_19 | NAYY 4x150 SE | 15 | 18 | 0.023462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_446-27_0_3_line_20 | NAYY 4x150 SE | 16 | 19 | 0.010226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_446-27_0_3_line_21 | NAYY 4x150 SE | 17 | 20 | 0.010204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_446-27_0_3_line_22 | NAYY 4x150 SE | 19 | 41 | 0.015556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_446-27_0_3_line_23 | NAYY 4x150 SE | 20 | 21 | 0.032096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_446-27_0_3_line_24 | NAYY 4x150 SE | 21 | 22 | 0.023075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
25 | LV_446-27_0_3_line_25 | NAYY 4x150 SE | 22 | 23 | 0.035035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_446-27_0_3_line_26 | NAYY 4x150 SE | 23 | 24 | 0.020418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_446-27_0_3_line_27 | NAYY 4x150 SE | 24 | 73 | 0.0065264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
28 | LV_446-27_0_3_line_28 | NAYY 4x150 SE | 25 | 26 | 0.0236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_446-27_0_3_line_29 | NAYY 4x150 SE | 25 | 27 | 0.012302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
30 | LV_446-27_0_3_line_30 | NAYY 4x150 SE | 26 | 28 | 0.0017031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_446-27_0_3_line_31 | NAYY 4x150 SE | 27 | 29 | 0.0095841 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
32 | LV_446-27_0_3_line_32 | NAYY 4x150 SE | 28 | 30 | 0.026688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_446-27_0_3_line_33 | NAYY 4x150 SE | 28 | 31 | 0.021754 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_446-27_0_3_line_34 | NAYY 4x150 SE | 29 | 32 | 0.010515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
35 | LV_446-27_0_3_line_35 | NAYY 4x150 SE | 30 | 33 | 0.0060391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_446-27_0_3_line_36 | NAYY 4x150 SE | 31 | 34 | 0.0098737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_446-27_0_3_line_37 | NAYY 4x150 SE | 32 | 35 | 0.013635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
38 | LV_446-27_0_3_line_38 | NAYY 4x150 SE | 34 | 84 | 0.0046255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_446-27_0_3_line_39 | NAYY 4x150 SE | 35 | 44 | 0.0010213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
40 | LV_446-27_0_3_line_40 | NAYY 4x150 SE | 36 | 37 | 0.0098341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_446-27_0_3_line_41 | NAYY 4x150 SE | 36 | 38 | 0.0015816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_446-27_0_3_line_42 | NAYY 4x150 SE | 37 | 39 | 0.025853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_446-27_0_3_line_43 | NAYY 4x150 SE | 38 | 40 | 0.05828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_446-27_0_3_line_44 | NAYY 4x150 SE | 39 | 41 | 0.016979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_446-27_0_3_line_45 | NAYY 4x150 SE | 40 | 42 | 0.043835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_446-27_0_3_line_46 | NAYY 4x150 SE | 42 | 43 | 0.0088395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_446-27_0_3_line_47 | NAYY 4x150 SE | 44 | 45 | 0.015928 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
48 | LV_446-27_0_3_line_48 | NAYY 4x150 SE | 45 | 46 | 0.0075065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
49 | LV_446-27_0_3_line_49 | NAYY 4x150 SE | 46 | 47 | 0.0091518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
50 | LV_446-27_0_3_line_50 | NAYY 4x150 SE | 47 | 48 | 0.010245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
51 | LV_446-27_0_3_line_51 | NAYY 4x150 SE | 48 | 59 | 0.009105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
52 | LV_446-27_0_3_line_52 | NAYY 4x150 SE | 49 | 50 | 0.018062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_446-27_0_3_line_53 | NAYY 4x150 SE | 49 | 51 | 0.023463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_446-27_0_3_line_54 | NAYY 4x150 SE | 50 | 52 | 0.028534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_446-27_0_3_line_55 | NAYY 4x150 SE | 51 | 53 | 0.015035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
56 | LV_446-27_0_3_line_56 | NAYY 4x150 SE | 51 | 54 | 0.012483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
57 | LV_446-27_0_3_line_57 | NAYY 4x150 SE | 52 | 55 | 0.0050948 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_446-27_0_3_line_58 | NAYY 4x150 SE | 53 | 56 | 0.012651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
59 | LV_446-27_0_3_line_59 | NAYY 4x150 SE | 54 | 57 | 0.016889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
60 | LV_446-27_0_3_line_60 | NAYY 4x150 SE | 55 | 58 | 0.01221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_446-27_0_3_line_61 | NAYY 4x150 SE | 56 | 59 | 0.0084721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
62 | LV_446-27_0_3_line_62 | NAYY 4x150 SE | 57 | 60 | 0.013683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
63 | LV_446-27_0_3_line_63 | NAYY 4x150 SE | 58 | 63 | 0.036521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_446-27_0_3_line_64 | NAYY 4x150 SE | 58 | 61 | 0.017338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_446-27_0_3_line_65 | NAYY 4x150 SE | 60 | 67 | 0.027082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
66 | LV_446-27_0_3_line_66 | NAYY 4x150 SE | 60 | 68 | 0.01394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_446-27_0_3_line_67 | NAYY 4x150 SE | 60 | 64 | 0.033161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_446-27_0_3_line_68 | NAYY 4x150 SE | 61 | 62 | 0.013421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_446-27_0_3_line_69 | NAYY 4x150 SE | 64 | 65 | 0.044318 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_446-27_0_3_line_70 | NAYY 4x150 SE | 65 | 66 | 0.029253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_446-27_0_3_line_71 | NAYY 4x150 SE | 66 | 69 | 0.020006 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_446-27_0_3_line_72 | NAYY 4x150 SE | 67 | 70 | 0.0048334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
73 | LV_446-27_0_3_line_73 | NAYY 4x150 SE | 68 | 71 | 0.016977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_446-27_0_3_line_74 | NAYY 4x150 SE | 69 | 72 | 0.013788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_446-27_0_3_line_75 | NAYY 4x150 SE | 70 | 73 | 0.033586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
76 | LV_446-27_0_3_line_76 | NAYY 4x150 SE | 74 | 75 | 0.018826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_446-27_0_3_line_77 | NAYY 4x150 SE | 74 | 76 | 0.0088079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_446-27_0_3_line_78 | NAYY 4x150 SE | 75 | 77 | 0.018747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_446-27_0_3_line_79 | NAYY 4x150 SE | 77 | 78 | 0.015583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_446-27_0_3_line_80 | NAYY 4x150 SE | 78 | 79 | 0.028589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_446-27_0_3_line_81 | NAYY 4x150 SE | 79 | 84 | 0.024106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_446-27_0_3_line_82 | NAYY 4x150 SE | 79 | 85 | 0.0098447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_446-27_0_3_line_83 | NAYY 4x150 SE | 80 | 81 | 0.062555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_446-27_0_3_line_84 | NAYY 4x150 SE | 81 | 82 | 0.062402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_446-27_0_3_line_85 | NAYY 4x150 SE | 82 | 83 | 0.0043774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_446-27_0_3_line_86 | NAYY 4x150 SE | 83 | 88 | 0.0055374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_446-27_0_3_line_87 | NAYY 4x150 SE | 85 | 86 | 0.0033557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_446-27_0_3_line_88 | NAYY 4x150 SE | 86 | 87 | 0.0021748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_446-27_0_3_line_89 | NAYY 4x150 SE | 87 | 101 | 0.01679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_446-27_0_3_line_90 | NAYY 4x150 SE | 88 | 98 | 0.015004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_446-27_0_3_line_91 | NAYY 4x150 SE | 90 | 91 | 0.016864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_446-27_0_3_line_92 | NAYY 4x150 SE | 91 | 94 | 0.024705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_446-27_0_3_line_93 | NAYY 4x150 SE | 91 | 95 | 0.012747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_446-27_0_3_line_94 | NAYY 4x150 SE | 92 | 93 | 0.011352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_446-27_0_3_line_95 | NAYY 4x150 SE | 93 | 97 | 0.010536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_446-27_0_3_line_96 | NAYY 4x150 SE | 94 | 96 | 0.010742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_446-27_0_3_line_97 | NAYY 4x150 SE | 95 | 97 | 0.026832 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_446-27_0_3_line_98 | NAYY 4x150 SE | 98 | 99 | 0.0023656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_446-27_0_3_line_99 | NAYY 4x150 SE | 99 | 100 | 0.02021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_446-27_0_3_line_100 | NAYY 4x150 SE | 100 | 101 | 0.010839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_446-27_0_3_trafo_14 | 0.25 MVA 20/0.4 kV | 102 | 21 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2575454.339 | 1230506.4661 | 2575428.5655 | 1230556.358
1 | 2575454.339 | 1230506.4661 | 2575430.378 | 1230496.579
2 | 2575423.7851 | 1230493.8585 | 2575430.378 | 1230496.579
3 | 2575405.8785 | 1230486.4696 | 2575423.7851 | 1230493.8585
4 | 2575383.196 | 1230477.11 | 2575405.8785 | 1230486.4696
5 | 2575383.196 | 1230477.11 | 2575384.7416 | 1230475.4248 | 2575395.9258 | 1230463.9158 | 2575420.8095 | 1230453.8064
6 | 2575465.5449 | 1230444.6811 | 2575455.9238 | 1230446.9344 | 2575443.6939 | 1230449.3279
7 | 2575465.5449 | 1230444.6811 | 2575471.593 | 1230443.2646
8 | 2575420.8095 | 1230453.8064 | 2575443.6939 | 1230449.3279
9 | 2575483.8527 | 1230440.3932 | 2575471.593 | 1230443.2646
10 | 2575420.8095 | 1230453.8064 | 2575415.835 | 1230446.0523
11 | 2575507.6791 | 1230434.8129 | 2575483.8527 | 1230440.3932
12 | 2575403.6037 | 1230439.7137 | 2575414.0019 | 1230443.1949 | 2575415.835 | 1230446.0523
13 | 2575550.9388 | 1230430.5539 | 2575529.9832 | 1230432.7083 | 2575507.6791 | 1230434.8129
14 | 2575507.6791 | 1230434.8129 | 2575503.8911 | 1230430.8322
15 | 2575403.6037 | 1230439.7137 | 2575411.5794 | 1230408.3951
16 | 2575403.6037 | 1230439.7137 | 2575388.855 | 1230434.7805
17 | 2575550.9388 | 1230430.5539 | 2575554.1195 | 1230432.9115
18 | 2575550.9388 | 1230430.5539 | 2575541.3786 | 1230422.1407
19 | 2575503.8911 | 1230430.8322 | 2575496.1926 | 1230422.742 | 2575484.4553 | 1230419.0847
20 | 2575562.3346 | 1230439.0008 | 2575554.1195 | 1230432.9115
21 | 2575533.7185 | 1230415.3998 | 2575541.3786 | 1230422.1407
22 | 2575562.3346 | 1230439.0008 | 2575577.4619 | 1230442.6281
23 | 2575503.9194 | 1230403.8734 | 2575532.0642 | 1230413.944 | 2575533.7185 | 1230415.3998
24 | 2575503.9194 | 1230403.8734 | 2575488.6618 | 1230398.414 | 2575482.6338 | 1230395.1191
25 | 2575451.8917 | 1230378.3156 | 2575482.6338 | 1230395.1191
26 | 2575433.975 | 1230368.5225 | 2575451.8917 | 1230378.3156
27 | 2575433.975 | 1230368.5225 | 2575432.8216 | 1230366.1703 | 2575429.5234 | 1230364.0766
28 | 2575583.6488 | 1230349.86 | 2575606.005 | 1230357.4197
29 | 2575571.9937 | 1230345.9227 | 2575582.574 | 1230349.4966 | 2575583.6488 | 1230349.86
30 | 2575607.6183 | 1230357.9652 | 2575606.005 | 1230357.4197
31 | 2575571.9937 | 1230345.9227 | 2575562.9136 | 1230342.8555
32 | 2575607.6183 | 1230357.9652 | 2575605.3696 | 1230384.5583
33 | 2575607.6183 | 1230357.9652 | 2575628.4695 | 1230364.1668
34 | 2575552.8501 | 1230339.8171 | 2575559.8127 | 1230341.8081 | 2575562.9136 | 1230342.8555
35 | 2575605.3696 | 1230384.5583 | 2575604.8608 | 1230390.576
36 | 2575628.4695 | 1230364.1668 | 2575637.9334 | 1230366.9816
37 | 2575539.7402 | 1230336.0681 | 2575552.8501 | 1230339.8171
38 | 2575637.9334 | 1230366.9816 | 2575642.367 | 1230368.3002
39 | 2575538.7583 | 1230335.7873 | 2575539.7402 | 1230336.0681
40 | 2575615.8207 | 1230472.0975 | 2575608.4897 | 1230465.5426
41 | 2575616.9998 | 1230473.1518 | 2575615.8207 | 1230472.0975
42 | 2575594.2359 | 1230444.5282 | 2575598.7569 | 1230455.3939 | 2575604.7836 | 1230462.2288 | 2575608.4897 | 1230465.5426
43 | 2575669.2679 | 1230499.1859 | 2575634.094 | 1230482.3648 | 2575629.905 | 1230480.3586 | 2575616.9998 | 1230473.1518
44 | 2575594.2359 | 1230444.5282 | 2575584.6239 | 1230444.3455 | 2575577.4619 | 1230442.6281
45 | 2575669.2679 | 1230499.1859 | 2575697.0051 | 1230533.1299
46 | 2575697.0051 | 1230533.1299 | 2575702.5984 | 1230539.9747
47 | 2575538.7583 | 1230335.7873 | 2575523.4442 | 1230331.4081
48 | 2575516.2269 | 1230329.3443 | 2575523.4442 | 1230331.4081
49 | 2575516.2269 | 1230329.3443 | 2575507.4278 | 1230326.8281
50 | 2575497.5173 | 1230324.2336 | 2575505.2378 | 1230326.2018 | 2575507.4278 | 1230326.8281
51 | 2575497.5173 | 1230324.2336 | 2575488.6945 | 1230321.9843
52 | 2575449.2973 | 1230290.0115 | 2575449.2973 | 1230290.0115 | 2575443.8467 | 1230277.8824 | 2575441.7967 | 1230273.5813
53 | 2575453.6571 | 1230313.0518 | 2575450.7698 | 1230299.9003 | 2575449.2973 | 1230290.0115
54 | 2575441.7967 | 1230273.5813 | 2575432.5768 | 1230254.237 | 2575425.8188 | 1230252.0442
55 | 2575453.6571 | 1230313.0518 | 2575468.2264 | 1230316.7661
56 | 2575453.6571 | 1230313.0518 | 2575441.3495 | 1230310.966
57 | 2575420.9727 | 1230250.4718 | 2575425.8188 | 1230252.0442
58 | 2575468.2264 | 1230316.7661 | 2575480.485 | 1230319.8913
59 | 2575441.3495 | 1230310.966 | 2575424.6977 | 1230308.1439
60 | 2575424.8556 | 1230238.8931 | 2575421.8406 | 1230247.8888 | 2575420.9727 | 1230250.4718
61 | 2575488.6945 | 1230321.9843 | 2575480.485 | 1230319.8913
62 | 2575411.1387 | 1230306.3352 | 2575420.808 | 1230307.4847 | 2575424.6977 | 1230308.1439
63 | 2575424.8556 | 1230238.8931 | 2575428.5931 | 1230226.9482 | 2575432.3576 | 1230203.2405
64 | 2575424.8556 | 1230238.8931 | 2575437.8191 | 1230243.5199 | 2575441.3714 | 1230243.9131
65 | 2575411.1387 | 1230306.3352 | 2575411.4341 | 1230333.4153
66 | 2575411.1387 | 1230306.3352 | 2575410.7595 | 1230300.7556 | 2575409.4613 | 1230298.1928 | 2575405.9021 | 1230294.0331
67 | 2575411.1387 | 1230306.3352 | 2575389.4206 | 1230303.746 | 2575378.1702 | 1230302.811
68 | 2575441.3714 | 1230243.9131 | 2575454.7105 | 1230245.3894
69 | 2575334.0046 | 1230299.1404 | 2575378.1702 | 1230302.811
70 | 2575334.0046 | 1230299.1404 | 2575356.9316 | 1230317.3893
71 | 2575356.9316 | 1230317.3893 | 2575372.5838 | 1230329.8495
72 | 2575411.4341 | 1230333.4153 | 2575411.4868 | 1230338.2485
73 | 2575405.9021 | 1230294.0331 | 2575398.0295 | 1230284.8322 | 2575395.3443 | 1230280.7721
74 | 2575383.3712 | 1230338.437 | 2575372.5838 | 1230329.8495
75 | 2575411.4868 | 1230338.2485 | 2575411.5545 | 1230344.4565 | 2575413.028 | 1230349.0976 | 2575416.4175 | 1230353.6863 | 2575419.8328 | 1230357.2076 | 2575423.8606 | 1230360.4818 | 2575429.5234 | 1230364.0766
76 | 2575710.3174 | 1230340.2659 | 2575708.6329 | 1230337.6712 | 2575708.0633 | 1230335.4389 | 2575707.3088 | 1230332.4735 | 2575704.695 | 1230330.4386 | 2575698.5413 | 1230329.5522 | 2575697.703 | 1230329.5184
77 | 2575718.5291 | 1230342.4558 | 2575713.4993 | 1230342.2985 | 2575710.3174 | 1230340.2659
78 | 2575678.9677 | 1230328.9988 | 2575683.5043 | 1230328.9468 | 2575697.703 | 1230329.5184
79 | 2575678.9677 | 1230328.9988 | 2575674.4787 | 1230343.9213
80 | 2575666.2429 | 1230371.2989 | 2575674.4787 | 1230343.9213
81 | 2575666.2429 | 1230371.2989 | 2575645.0418 | 1230369.0958 | 2575642.367 | 1230368.3002
82 | 2575666.2429 | 1230371.2989 | 2575670.4528 | 1230380.1981
83 | 2575801.1685 | 1230368.2221 | 2575738.6294 | 1230369.6482
84 | 2575801.1685 | 1230368.2221 | 2575793.1535 | 1230375.2146 | 2575783.2539 | 1230380.6695 | 2575764.1797 | 1230391.0537 | 2575752.404 | 1230397.0389 | 2575747.1027 | 1230398.6313
85 | 2575742.9104 | 1230399.8906 | 2575747.1027 | 1230398.6313
86 | 2575742.9104 | 1230399.8906 | 2575737.3743 | 1230400.0133
87 | 2575672.8064 | 1230382.5899 | 2575670.4528 | 1230380.1981 | 2575670.4528 | 1230380.1981
88 | 2575672.8064 | 1230382.5899 | 2575674.3317 | 1230384.1401
89 | 2575674.3317 | 1230384.1401 | 2575674.3317 | 1230384.1401 | 2575688.5527 | 1230388.9735 | 2575690.2484 | 1230389.4813
90 | 2575737.3743 | 1230400.0133 | 2575727.766 | 1230398.9076 | 2575722.5132 | 1230397.9886
91 | 2575415.4859 | 1230391.9911 | 2575413.0533 | 1230402.6076 | 2575411.5794 | 1230408.3951
92 | 2575415.4859 | 1230391.9911 | 2575439.0191 | 1230399.5085
93 | 2575415.4859 | 1230391.9911 | 2575403.343 | 1230388.1126
94 | 2575369.7313 | 1230372.9671 | 2575358.9901 | 1230369.2924
95 | 2575369.7313 | 1230372.9671 | 2575379.7001 | 1230376.3774
96 | 2575439.0191 | 1230399.5085 | 2575449.2517 | 1230402.7772
97 | 2575403.343 | 1230388.1126 | 2575389.1314 | 1230383.5732 | 2575380.5592 | 1230376.6714 | 2575379.7001 | 1230376.3774
98 | 2575720.183 | 1230397.5809 | 2575722.5132 | 1230397.9886
99 | 2575720.183 | 1230397.5809 | 2575713.2363 | 1230396.3656 | 2575700.6314 | 1230392.5907
100 | 2575690.2484 | 1230389.4813 | 2575700.6314 | 1230392.5907

## bus_geodata
| x | y | coords
0 | 2575428.5655 | 1230556.358
1 | 2575454.339 | 1230506.4661
2 | 2575430.378 | 1230496.579
3 | 2575423.7851 | 1230493.8585
4 | 2575405.8785 | 1230486.4696
5 | 2575383.196 | 1230477.11
6 | 2575465.5449 | 1230444.6811
7 | 2575443.6939 | 1230449.3279
8 | 2575471.593 | 1230443.2646
9 | 2575420.8095 | 1230453.8064
10 | 2575483.8527 | 1230440.3932
11 | 2575415.835 | 1230446.0523
12 | 2575507.6791 | 1230434.8129
13 | 2575403.6037 | 1230439.7137
14 | 2575550.9388 | 1230430.5539
15 | 2575503.8911 | 1230430.8322
16 | 2575554.1195 | 1230432.9115
17 | 2575541.3786 | 1230422.1407
18 | 2575484.4553 | 1230419.0847
19 | 2575562.3346 | 1230439.0008
20 | 2575533.7185 | 1230415.3998
21 | 2575503.9194 | 1230403.8734
22 | 2575482.6338 | 1230395.1191
23 | 2575451.8917 | 1230378.3156
24 | 2575433.975 | 1230368.5225
25 | 2575583.6488 | 1230349.86
26 | 2575606.005 | 1230357.4197
27 | 2575571.9937 | 1230345.9227
28 | 2575607.6183 | 1230357.9652
29 | 2575562.9136 | 1230342.8555
30 | 2575605.3696 | 1230384.5583
31 | 2575628.4695 | 1230364.1668
32 | 2575552.8501 | 1230339.8171
33 | 2575604.8608 | 1230390.576
34 | 2575637.9334 | 1230366.9816
35 | 2575539.7402 | 1230336.0681
36 | 2575615.8207 | 1230472.0975
37 | 2575608.4897 | 1230465.5426
38 | 2575616.9998 | 1230473.1518
39 | 2575594.2359 | 1230444.5282
40 | 2575669.2679 | 1230499.1859
41 | 2575577.4619 | 1230442.6281
42 | 2575697.0051 | 1230533.1299
43 | 2575702.5984 | 1230539.9747
44 | 2575538.7583 | 1230335.7873
45 | 2575523.4442 | 1230331.4081
46 | 2575516.2269 | 1230329.3443
47 | 2575507.4278 | 1230326.8281
48 | 2575497.5173 | 1230324.2336
49 | 2575449.2973 | 1230290.0115
50 | 2575441.7967 | 1230273.5813
51 | 2575453.6571 | 1230313.0518
52 | 2575425.8188 | 1230252.0442
53 | 2575468.2264 | 1230316.7661
54 | 2575441.3495 | 1230310.966
55 | 2575420.9727 | 1230250.4718
56 | 2575480.485 | 1230319.8913
57 | 2575424.6977 | 1230308.1439
58 | 2575424.8556 | 1230238.8931
59 | 2575488.6945 | 1230321.9843
60 | 2575411.1387 | 1230306.3352
61 | 2575441.3714 | 1230243.9131
62 | 2575454.7105 | 1230245.3894
63 | 2575432.3576 | 1230203.2405
64 | 2575378.1702 | 1230302.811
65 | 2575334.0046 | 1230299.1404
66 | 2575356.9316 | 1230317.3893
67 | 2575411.4341 | 1230333.4153
68 | 2575405.9021 | 1230294.0331
69 | 2575372.5838 | 1230329.8495
70 | 2575411.4868 | 1230338.2485
71 | 2575395.3443 | 1230280.7721
72 | 2575383.3712 | 1230338.437
73 | 2575429.5234 | 1230364.0766
74 | 2575710.3174 | 1230340.2659
75 | 2575697.703 | 1230329.5184
76 | 2575718.5291 | 1230342.4558
77 | 2575678.9677 | 1230328.9988
78 | 2575674.4787 | 1230343.9213
79 | 2575666.2429 | 1230371.2989
80 | 2575738.6294 | 1230369.6482
81 | 2575801.1685 | 1230368.2221
82 | 2575747.1027 | 1230398.6313
83 | 2575742.9104 | 1230399.8906
84 | 2575642.367 | 1230368.3002
85 | 2575670.4528 | 1230380.1981
86 | 2575672.8064 | 1230382.5899
87 | 2575674.3317 | 1230384.1401
88 | 2575737.3743 | 1230400.0133
89 | 2575388.855 | 1230434.7805
90 | 2575411.5794 | 1230408.3951
91 | 2575415.4859 | 1230391.9911
92 | 2575358.9901 | 1230369.2924
93 | 2575369.7313 | 1230372.9671
94 | 2575439.0191 | 1230399.5085
95 | 2575403.343 | 1230388.1126
96 | 2575449.2517 | 1230402.7772
97 | 2575379.7001 | 1230376.3774
98 | 2575722.5132 | 1230397.9886
99 | 2575720.183 | 1230397.5809
100 | 2575700.6314 | 1230392.5907
101 | 2575690.2484 | 1230389.4813
102 | 2575550.9388 | 1230430.5539

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1