## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_446-9_1_4_node_91 | 0.4 | n |  | TRUE
1 | bus_LV_446-9_1_4_node_30 | 0.4 | n |  | TRUE
2 | bus_LV_446-9_1_4_node_7 | 0.4 | n |  | TRUE
3 | bus_LV_446-9_1_4_node_8 | 0.4 | n |  | TRUE
4 | bus_LV_446-9_1_4_node_9 | 0.4 | n |  | TRUE
5 | bus_LV_446-9_1_4_node_10 | 0.4 | n |  | TRUE
6 | bus_LV_446-9_1_4_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_446-9_1_4_node_13 | 0.4 | n |  | TRUE
8 | bus_LV_446-9_1_4_node_14 | 0.4 | n |  | TRUE
9 | bus_LV_446-9_1_4_node_15 | 0.4 | n |  | TRUE
10 | bus_LV_446-9_1_4_node_12 | 0.4 | n |  | TRUE
11 | bus_LV_446-9_1_4_node_16 | 0.4 | n |  | TRUE
12 | bus_LV_446-9_1_4_node_69 | 0.4 | n |  | TRUE
13 | bus_LV_446-9_1_4_node_85 | 0.4 | n |  | TRUE
14 | bus_LV_446-9_1_4_node_17 | 0.4 | n |  | TRUE
15 | bus_LV_446-9_1_4_node_67 | 0.4 | n |  | TRUE
16 | bus_LV_446-9_1_4_node_87 | 0.4 | n |  | TRUE
17 | bus_LV_446-9_1_4_node_18 | 0.4 | n |  | TRUE
18 | bus_LV_446-9_1_4_node_19 | 0.4 | n |  | TRUE
19 | bus_LV_446-9_1_4_node_25 | 0.4 | n |  | TRUE
20 | bus_LV_446-9_1_4_node_22 | 0.4 | n |  | TRUE
21 | bus_LV_446-9_1_4_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_446-9_1_4_node_21 | 0.4 | n |  | TRUE
23 | bus_LV_446-9_1_4_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_446-9_1_4_node_24 | 0.4 | n |  | TRUE
25 | bus_LV_446-9_1_4_node_26 | 0.4 | n |  | TRUE
26 | bus_LV_446-9_1_4_node_27 | 0.4 | n |  | TRUE
27 | bus_LV_446-9_1_4_node_36 | 0.4 | n |  | TRUE
28 | bus_LV_446-9_1_4_node_33 | 0.4 | n |  | TRUE
29 | bus_LV_446-9_1_4_node_37 | 0.4 | n |  | TRUE
30 | bus_LV_446-9_1_4_node_34 | 0.4 | n |  | TRUE
31 | bus_LV_446-9_1_4_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_446-9_1_4_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_446-9_1_4_node_31 | 0.4 | n |  | TRUE
34 | bus_LV_446-9_1_4_node_32 | 0.4 | n |  | TRUE
35 | bus_LV_446-9_1_4_node_75 | 0.4 | n |  | TRUE
36 | bus_LV_446-9_1_4_node_38 | 0.4 | n |  | TRUE
37 | bus_LV_446-9_1_4_node_35 | 0.4 | n |  | TRUE
38 | bus_LV_446-9_1_4_node_82 | 0.4 | n |  | TRUE
39 | bus_LV_446-9_1_4_node_68 | 0.4 | n |  | TRUE
40 | bus_LV_446-9_1_4_node_74 | 0.4 | n |  | TRUE
41 | bus_LV_446-9_1_4_node_78 | 0.4 | n |  | TRUE
42 | bus_LV_446-9_1_4_node_73 | 0.4 | n |  | TRUE
43 | bus_LV_446-9_1_4_node_39 | 0.4 | n |  | TRUE
44 | bus_LV_446-9_1_4_node_40 | 0.4 | n |  | TRUE
45 | bus_LV_446-9_1_4_node_41 | 0.4 | n |  | TRUE
46 | bus_LV_446-9_1_4_node_42 | 0.4 | n |  | TRUE
47 | bus_LV_446-9_1_4_node_43 | 0.4 | n |  | TRUE
48 | bus_LV_446-9_1_4_node_44 | 0.4 | n |  | TRUE
49 | bus_LV_446-9_1_4_node_45 | 0.4 | n |  | TRUE
50 | bus_LV_446-9_1_4_node_64 | 0.4 | n |  | TRUE
51 | bus_LV_446-9_1_4_node_77 | 0.4 | n |  | TRUE
52 | bus_LV_446-9_1_4_node_76 | 0.4 | n |  | TRUE
53 | bus_LV_446-9_1_4_node_53 | 0.4 | n |  | TRUE
54 | bus_LV_446-9_1_4_node_62 | 0.4 | n |  | TRUE
55 | bus_LV_446-9_1_4_node_46 | 0.4 | n |  | TRUE
56 | bus_LV_446-9_1_4_node_47 | 0.4 | n |  | TRUE
57 | bus_LV_446-9_1_4_node_48 | 0.4 | n |  | TRUE
58 | bus_LV_446-9_1_4_node_49 | 0.4 | n |  | TRUE
59 | bus_LV_446-9_1_4_node_50 | 0.4 | n |  | TRUE
60 | bus_LV_446-9_1_4_node_51 | 0.4 | n |  | TRUE
61 | bus_LV_446-9_1_4_node_52 | 0.4 | n |  | TRUE
62 | bus_LV_446-9_1_4_node_54 | 0.4 | n |  | TRUE
63 | bus_LV_446-9_1_4_node_56 | 0.4 | n |  | TRUE
64 | bus_LV_446-9_1_4_node_57 | 0.4 | n |  | TRUE
65 | bus_LV_446-9_1_4_node_63 | 0.4 | n |  | TRUE
66 | bus_LV_446-9_1_4_node_66 | 0.4 | n |  | TRUE
67 | bus_LV_446-9_1_4_node_61 | 0.4 | n |  | TRUE
68 | bus_LV_446-9_1_4_node_58 | 0.4 | n |  | TRUE
69 | bus_LV_446-9_1_4_node_59 | 0.4 | n |  | TRUE
70 | bus_LV_446-9_1_4_node_83 | 0.4 | n |  | TRUE
71 | bus_LV_446-9_1_4_node_60 | 0.4 | n |  | TRUE
72 | bus_LV_446-9_1_4_node_65 | 0.4 | n |  | TRUE
73 | bus_LV_446-9_1_4_node_81 | 0.4 | n |  | TRUE
74 | bus_LV_446-9_1_4_node_79 | 0.4 | n |  | TRUE
75 | bus_LV_446-9_1_4_node_80 | 0.4 | n |  | TRUE
76 | bus_LV_446-9_1_4_node_70 | 0.4 | n |  | TRUE
77 | bus_LV_446-9_1_4_node_71 | 0.4 | n |  | TRUE
78 | bus_LV_446-9_1_4_node_86 | 0.4 | n |  | TRUE
79 | bus_MV_308_1_node_166 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_446-9_1_4_load_91 | 0 | 0.001503 | 0.00037669 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_446-9_1_4_load_7 | 2 | 0.005147 | 0.00129 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_446-9_1_4_load_8 | 3 | 0.00033812 | 8.4742e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_446-9_1_4_load_10 | 5 | 0.00053047 | 0.00013295 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_446-9_1_4_load_13 | 7 | 0.00047263 | 0.00011845 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_446-9_1_4_load_14 | 8 | 0.0032647 | 0.00081822 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_446-9_1_4_load_15 | 9 | 0.0038218 | 0.00095783 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_446-9_1_4_load_12 | 10 | 0.0044416 | 0.0011132 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_446-9_1_4_load_16 | 11 | 0.0031062 | 0.0007785 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_446-9_1_4_load_69 | 12 | 0.00053543 | 0.00013419 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_446-9_1_4_load_85 | 13 | 0.0036583 | 0.00091686 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_446-9_1_4_load_17 | 14 | 0.0011038 | 0.00027665 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_446-9_1_4_load_18 | 17 | 0.0030177 | 0.00075631 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_446-9_1_4_load_19 | 18 | 0.0016444 | 0.00041212 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_446-9_1_4_load_25 | 19 | 0.0011534 | 0.00028907 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_446-9_1_4_load_20 | 21 | 0.0022797 | 0.00057134 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_446-9_1_4_load_21 | 22 | 0.0016856 | 0.00042246 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_446-9_1_4_load_23 | 23 | 0.0014726 | 0.00036907 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_446-9_1_4_load_24 | 24 | 0.0022042 | 0.00055242 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_446-9_1_4_load_26 | 25 | 0.0012056 | 0.00030216 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_446-9_1_4_load_27 | 26 | 0.015039 | 0.0037693 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_446-9_1_4_load_36 | 27 | 0.0016397 | 0.00041095 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_446-9_1_4_load_33 | 28 | 0.0015837 | 0.00039691 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_446-9_1_4_load_37 | 29 | 0.0018787 | 0.00047086 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_446-9_1_4_load_34 | 30 | 0.0021291 | 0.00053361 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_446-9_1_4_load_28 | 31 | 0.0072409 | 0.0018148 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_446-9_1_4_load_29 | 32 | 0.0055909 | 0.0014012 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_446-9_1_4_load_31 | 33 | 0.0021126 | 0.00052947 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_446-9_1_4_load_32 | 34 | 0.0029654 | 0.00074319 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_446-9_1_4_load_75 | 35 | 0.0022052 | 0.00055268 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_446-9_1_4_load_35 | 37 | 0.001394 | 0.00034936 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_446-9_1_4_load_82 | 38 | 0.0020256 | 0.00050765 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_446-9_1_4_load_68 | 39 | 0.0005942 | 0.00014892 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_446-9_1_4_load_78 | 41 | 0.0031246 | 0.00078309 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_446-9_1_4_load_73 | 42 | 0.001953 | 0.00048947 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_446-9_1_4_load_39 | 43 | 0.0047902 | 0.0012005 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_446-9_1_4_load_40 | 44 | 0.0022321 | 0.00055942 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_446-9_1_4_load_41 | 45 | 0.0011802 | 0.00029579 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_446-9_1_4_load_42 | 46 | 0.00086492 | 0.00021677 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_446-9_1_4_load_43 | 47 | 0.0037052 | 0.00092861 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_446-9_1_4_load_44 | 48 | 0.0061936 | 0.0015523 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_446-9_1_4_load_77 | 51 | 0.00094262 | 0.00023624 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_446-9_1_4_load_76 | 52 | 0.0027391 | 0.00068649 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_446-9_1_4_load_53 | 53 | 0.0024276 | 0.00060841 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_446-9_1_4_load_46 | 55 | 0.0033016 | 0.00082745 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_446-9_1_4_load_47 | 56 | 0.0018612 | 0.00046646 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_446-9_1_4_load_49 | 58 | 0.0022408 | 0.00056161 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_446-9_1_4_load_50 | 59 | 0.0040051 | 0.0010038 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_446-9_1_4_load_52 | 61 | 0.0025645 | 0.00064273 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_446-9_1_4_load_54 | 62 | 0.0093607 | 0.002346 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_446-9_1_4_load_56 | 63 | 0.0042407 | 0.0010628 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_446-9_1_4_load_57 | 64 | 0.0066569 | 0.0016684 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_446-9_1_4_load_61 | 67 | 0.0034846 | 0.00087331 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_446-9_1_4_load_58 | 68 | 0.0021656 | 0.00054275 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_446-9_1_4_load_83 | 70 | 0.0050969 | 0.0012774 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_446-9_1_4_load_60 | 71 | 0.0065753 | 0.0016479 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_446-9_1_4_load_81 | 73 | 0.0014512 | 0.00036371 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_446-9_1_4_load_79 | 74 | 0.0013659 | 0.00034233 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_446-9_1_4_load_80 | 75 | 0.00078509 | 0.00019676 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_446-9_1_4_load_70 | 76 | 0.0022802 | 0.00057146 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_446-9_1_4_load_71 | 77 | 0.0050834 | 0.001274 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_446-9_1_4_load_86 | 78 | 0.0060797 | 0.0015237 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 26 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_446-9_1_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.057983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_446-9_1_4_line_1 | NAYY 4x150 SE | 1 | 31 | 0.062286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_446-9_1_4_line_2 | NAYY 4x150 SE | 2 | 3 | 0.07283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
3 | LV_446-9_1_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.041108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
4 | LV_446-9_1_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.052473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
5 | LV_446-9_1_4_line_5 | NAYY 4x150 SE | 4 | 6 | 0.17106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
6 | LV_446-9_1_4_line_6 | NAYY 4x150 SE | 5 | 7 | 0.017528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
7 | LV_446-9_1_4_line_7 | NAYY 4x150 SE | 6 | 8 | 0.14426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_446-9_1_4_line_8 | NAYY 4x150 SE | 6 | 9 | 0.13323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_446-9_1_4_line_9 | NAYY 4x150 SE | 7 | 12 | 0.023852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
10 | LV_446-9_1_4_line_10 | NAYY 4x150 SE | 8 | 13 | 0.045833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_446-9_1_4_line_11 | NAYY 4x150 SE | 10 | 11 | 0.01473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_446-9_1_4_line_12 | NAYY 4x150 SE | 11 | 14 | 0.0090114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_446-9_1_4_line_13 | NAYY 4x150 SE | 12 | 15 | 0.011336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
14 | LV_446-9_1_4_line_14 | NAYY 4x150 SE | 13 | 16 | 0.11893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_446-9_1_4_line_15 | NAYY 4x150 SE | 14 | 17 | 0.0071688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_446-9_1_4_line_16 | NAYY 4x150 SE | 15 | 73 | 0.014451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_446-9_1_4_line_17 | NAYY 4x150 SE | 15 | 72 | 0.047177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
18 | LV_446-9_1_4_line_18 | NAYY 4x150 SE | 16 | 78 | 0.21499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_446-9_1_4_line_19 | NAYY 4x150 SE | 17 | 18 | 0.02293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_446-9_1_4_line_20 | NAYY 4x150 SE | 18 | 19 | 0.0092947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_446-9_1_4_line_21 | NAYY 4x150 SE | 19 | 20 | 0.050655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_446-9_1_4_line_22 | NAYY 4x150 SE | 20 | 24 | 0.026254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
23 | LV_446-9_1_4_line_23 | NAYY 4x150 SE | 20 | 21 | 0.023379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
24 | LV_446-9_1_4_line_24 | NAYY 4x150 SE | 21 | 22 | 0.011096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
25 | LV_446-9_1_4_line_25 | NAYY 4x150 SE | 22 | 23 | 0.0071041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
26 | LV_446-9_1_4_line_26 | NAYY 4x150 SE | 23 | 25 | 0.017093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
27 | LV_446-9_1_4_line_27 | NAYY 4x150 SE | 24 | 26 | 0.0045225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
28 | LV_446-9_1_4_line_28 | NAYY 4x150 SE | 25 | 27 | 0.0049865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
29 | LV_446-9_1_4_line_29 | NAYY 4x150 SE | 26 | 28 | 0.024312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_446-9_1_4_line_30 | NAYY 4x150 SE | 27 | 29 | 0.019395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
31 | LV_446-9_1_4_line_31 | NAYY 4x150 SE | 28 | 30 | 0.0088338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_446-9_1_4_line_32 | NAYY 4x150 SE | 29 | 36 | 0.0086865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
33 | LV_446-9_1_4_line_33 | NAYY 4x150 SE | 31 | 32 | 0.0060435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_446-9_1_4_line_34 | NAYY 4x150 SE | 32 | 33 | 0.012727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_446-9_1_4_line_35 | NAYY 4x150 SE | 33 | 34 | 0.015198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_446-9_1_4_line_36 | NAYY 4x150 SE | 34 | 35 | 0.014986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_446-9_1_4_line_37 | NAYY 4x150 SE | 35 | 36 | 0.024405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_446-9_1_4_line_38 | NAYY 4x150 SE | 36 | 40 | 0.028555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
39 | LV_446-9_1_4_line_39 | NAYY 4x150 SE | 37 | 38 | 0.019405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_446-9_1_4_line_40 | NAYY 4x150 SE | 38 | 39 | 0.017607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_446-9_1_4_line_41 | NAYY 4x150 SE | 39 | 72 | 0.015799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_446-9_1_4_line_42 | NAYY 4x150 SE | 40 | 41 | 0.018693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
43 | LV_446-9_1_4_line_43 | NAYY 4x150 SE | 40 | 42 | 0.016074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_446-9_1_4_line_44 | NAYY 4x150 SE | 41 | 51 | 0.022699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
45 | LV_446-9_1_4_line_45 | NAYY 4x150 SE | 42 | 77 | 0.0074634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_446-9_1_4_line_46 | NAYY 4x150 SE | 43 | 44 | 0.022852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
47 | LV_446-9_1_4_line_47 | NAYY 4x150 SE | 43 | 45 | 0.0049559 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
48 | LV_446-9_1_4_line_48 | NAYY 4x150 SE | 44 | 46 | 0.018363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
49 | LV_446-9_1_4_line_49 | NAYY 4x150 SE | 45 | 47 | 0.011994 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
50 | LV_446-9_1_4_line_50 | NAYY 4x150 SE | 46 | 48 | 0.0035022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
51 | LV_446-9_1_4_line_51 | NAYY 4x150 SE | 47 | 49 | 0.0075256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
52 | LV_446-9_1_4_line_52 | NAYY 4x150 SE | 48 | 50 | 0.023954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
53 | LV_446-9_1_4_line_53 | NAYY 4x150 SE | 49 | 51 | 0.0037979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
54 | LV_446-9_1_4_line_54 | NAYY 4x150 SE | 49 | 52 | 0.024444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_446-9_1_4_line_55 | NAYY 4x150 SE | 50 | 53 | 0.0058878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_446-9_1_4_line_56 | NAYY 4x150 SE | 50 | 54 | 0.022517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
57 | LV_446-9_1_4_line_57 | NAYY 4x150 SE | 53 | 59 | 0.0082141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_446-9_1_4_line_58 | NAYY 4x150 SE | 54 | 72 | 0.025972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
59 | LV_446-9_1_4_line_59 | NAYY 4x150 SE | 55 | 56 | 0.013526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_446-9_1_4_line_60 | NAYY 4x150 SE | 55 | 57 | 0.0010913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_446-9_1_4_line_61 | NAYY 4x150 SE | 56 | 58 | 0.011625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_446-9_1_4_line_62 | NAYY 4x150 SE | 57 | 59 | 0.030774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_446-9_1_4_line_63 | NAYY 4x150 SE | 57 | 60 | 0.01598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_446-9_1_4_line_64 | NAYY 4x150 SE | 58 | 61 | 0.019104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_446-9_1_4_line_65 | NAYY 4x150 SE | 60 | 62 | 0.0096292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_446-9_1_4_line_66 | NAYY 4x150 SE | 61 | 63 | 0.011009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_446-9_1_4_line_67 | NAYY 4x150 SE | 63 | 64 | 0.016545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_446-9_1_4_line_68 | NAYY 4x150 SE | 64 | 68 | 0.038766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_446-9_1_4_line_69 | NAYY 4x150 SE | 65 | 66 | 0.01221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_446-9_1_4_line_70 | NAYY 4x150 SE | 65 | 67 | 0.022667 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_446-9_1_4_line_71 | NAYY 4x150 SE | 66 | 73 | 0.071898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_446-9_1_4_line_72 | NAYY 4x150 SE | 66 | 74 | 0.026416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_446-9_1_4_line_73 | NAYY 4x150 SE | 67 | 71 | 0.022079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_446-9_1_4_line_74 | NAYY 4x150 SE | 68 | 69 | 0.039851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_446-9_1_4_line_75 | NAYY 4x150 SE | 69 | 70 | 0.020726 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_446-9_1_4_line_76 | NAYY 4x150 SE | 74 | 75 | 0.038953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_446-9_1_4_line_77 | NAYY 4x150 SE | 76 | 77 | 0.0041058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_446-9_1_4_trafo_27 | 0.25 MVA 20/0.4 kV | 79 | 26 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2575029.9271 | 1230207.381 | 2575015.776 | 1230151.1511
1 | 2575029.9271 | 1230207.381 | 2575048.0847 | 1230193.5406 | 2575065.7838 | 1230184.1048 | 2575084.1708 | 1230177.9237 | 2575084.1708 | 1230177.9237
2 | 2575329.943 | 1230057.1737 | 2575323.1486 | 1230076.8736 | 2575313.5154 | 1230104.4526 | 2575304.1395 | 1230125.2122
3 | 2575330.0114 | 1230016.9867 | 2575333.9482 | 1230034.6921 | 2575332.3838 | 1230050.0968 | 2575329.943 | 1230057.1737
4 | 2575318.116 | 1230173.1265 | 2575315.8759 | 1230171.0274 | 2575304.9743 | 1230150.5049 | 2575302.2181 | 1230141.6333 | 2575302.0402 | 1230129.8602 | 2575304.1395 | 1230125.2122
5 | 2575330.0114 | 1230016.9867 | 2575327.6711 | 1230007.9354 | 2575320.8244 | 1229997.1685 | 2575308.0583 | 1229990.9735 | 2575292.5828 | 1229992.5946 | 2575267.3184 | 1229997.1917 | 2575233.0352 | 1230005.9735 | 2575228.556 | 1230007.1263 | 2575215.3353 | 1230006.3589 | 2575204.2264 | 1229999.8014 | 2575196.1434 | 1229988.7063 | 2575192.3603 | 1229975.2363
6 | 2575318.116 | 1230173.1265 | 2575330.9066 | 1230185.1116
7 | 2575192.3603 | 1229975.2363 | 2575195.827 | 1229960.1793 | 2575203.6084 | 1229946.2717 | 2575211.8115 | 1229939.0108 | 2575221.2009 | 1229934.6689 | 2575232.3683 | 1229933.4548 | 2575261.3985 | 1229939.9707 | 2575285.7111 | 1229943.1934 | 2575295.7044 | 1229941.9844 | 2575303.3193 | 1229935.3042 | 2575303.4918 | 1229929.4443
8 | 2575192.3603 | 1229975.2363 | 2575176.4271 | 1229961.6281 | 2575156.1832 | 1229947.838 | 2575098.3871 | 1229914.8496 | 2575078.7025 | 1229906.8951
9 | 2575330.9066 | 1230185.1116 | 2575340.505 | 1230194.1055 | 2575349.3386 | 1230200.1411
10 | 2575303.4918 | 1229929.4443 | 2575303.4918 | 1229929.4443 | 2575300.3331 | 1229923.9876 | 2575280.379 | 1229905.1817 | 2575271.1598 | 1229897.332
11 | 2575265.4642 | 1230039.5493 | 2575256.7653 | 1230051.4361
12 | 2575256.7653 | 1230051.4361 | 2575254.2361 | 1230054.8922 | 2575251.8926 | 1230058.9993
13 | 2575358.23 | 1230207.1507 | 2575352.5216 | 1230202.316 | 2575349.3386 | 1230200.1411
14 | 2575194.8437 | 1229806.8131 | 2575214.7149 | 1229836.4256 | 2575236.5214 | 1229863.3507 | 2575254.4954 | 1229883.1431 | 2575271.1598 | 1229897.332
15 | 2575248.3398 | 1230065.2259 | 2575251.8926 | 1230058.9993
16 | 2575358.23 | 1230207.1507 | 2575372.5135 | 1230204.9586
17 | 2575358.23 | 1230207.1507 | 2575351.1316 | 1230212.2833 | 2575341.2035 | 1230216.3382 | 2575325.5631 | 1230216.4034 | 2575313.8621 | 1230213.039
18 | 2575194.8437 | 1229806.8131 | 2575200.4541 | 1229788.1562 | 2575215.9714 | 1229758.3844 | 2575225.6165 | 1229733.6292 | 2575246.0353 | 1229709.3848 | 2575262.118 | 1229667.9926 | 2575264.4336 | 1229638.4207 | 2575255.0055 | 1229610.3609
19 | 2575248.3398 | 1230065.2259 | 2575236.9761 | 1230085.1414
20 | 2575232.3697 | 1230093.2144 | 2575236.9761 | 1230085.1414
21 | 2575202.2863 | 1230133.379 | 2575218.6324 | 1230117.2898 | 2575232.3697 | 1230093.2144
22 | 2575202.2863 | 1230133.379 | 2575210.4475 | 1230137.8921 | 2575226.8156 | 1230142.2098
23 | 2575202.2863 | 1230133.379 | 2575183.6178 | 1230147.4528
24 | 2575183.6178 | 1230147.4528 | 2575179.1366 | 1230150.831 | 2575177.2174 | 1230155.9681
25 | 2575174.7311 | 1230162.6229 | 2575177.2174 | 1230155.9681
26 | 2575174.7311 | 1230162.6229 | 2575168.7489 | 1230178.6349
27 | 2575226.8156 | 1230142.2098 | 2575229.3663 | 1230142.8826 | 2575231.2413 | 1230143.0721
28 | 2575167.0038 | 1230183.306 | 2575168.7489 | 1230178.6349
29 | 2575254.9625 | 1230147.171 | 2575250.4999 | 1230145.0178 | 2575231.2413 | 1230143.0721
30 | 2575167.0038 | 1230183.306 | 2575161.9092 | 1230196.9421 | 2575158.2131 | 1230200.0637
31 | 2575260.8993 | 1230152.8366 | 2575259.6605 | 1230149.4378 | 2575254.9625 | 1230147.171
32 | 2575151.5768 | 1230205.6685 | 2575158.2131 | 1230200.0637
33 | 2575089.9865 | 1230179.5673 | 2575084.1708 | 1230177.9237
34 | 2575102.2341 | 1230183.0286 | 2575089.9865 | 1230179.5673
35 | 2575102.2341 | 1230183.0286 | 2575102.2341 | 1230183.0286 | 2575115.4944 | 1230190.4536
36 | 2575128.5705 | 1230197.7754 | 2575115.4944 | 1230190.4536
37 | 2575151.5768 | 1230205.6685 | 2575132.2684 | 1230199.846 | 2575128.5705 | 1230197.7754
38 | 2575168.1105 | 1230228.9577 | 2575154.6902 | 1230209.391 | 2575151.5768 | 1230205.6685
39 | 2575291.682 | 1230189.306 | 2575288.6634 | 1230185.9721 | 2575275.8242 | 1230178.3966
40 | 2575302.8308 | 1230202.8893 | 2575299.0729 | 1230197.469 | 2575291.682 | 1230189.306
41 | 2575313.8621 | 1230213.039 | 2575308.8799 | 1230211.6144 | 2575302.8308 | 1230202.8893
42 | 2575168.1105 | 1230228.9577 | 2575177.9225 | 1230229.7949 | 2575186.3265 | 1230232.5545
43 | 2575168.1105 | 1230228.9577 | 2575153.8453 | 1230236.3667
44 | 2575186.3265 | 1230232.5545 | 2575204.1653 | 1230238.4124 | 2575207.9338 | 1230239.5039
45 | 2575147.2219 | 1230239.8067 | 2575153.8453 | 1230236.3667
46 | 2575257.6084 | 1230251.3061 | 2575235.1239 | 1230247.227
47 | 2575230.329 | 1230245.996 | 2575233.6569 | 1230246.9609 | 2575235.1239 | 1230247.227
48 | 2575257.6084 | 1230251.3061 | 2575268.8201 | 1230253.34 | 2575275.7604 | 1230253.9608
49 | 2575230.329 | 1230245.996 | 2575218.8097 | 1230242.6561
50 | 2575275.7604 | 1230253.9608 | 2575279.2487 | 1230254.2728
51 | 2575211.5818 | 1230240.5604 | 2575218.8097 | 1230242.6561
52 | 2575302.1651 | 1230259.6714 | 2575294.2332 | 1230255.6132 | 2575279.2487 | 1230254.2728
53 | 2575211.5818 | 1230240.5604 | 2575207.9338 | 1230239.5039
54 | 2575211.5818 | 1230240.5604 | 2575208.4067 | 1230243.809 | 2575204.3907 | 1230247.0166 | 2575197.7118 | 1230252.8036 | 2575193.2074 | 1230256.652
55 | 2575302.1651 | 1230259.6714 | 2575306.1193 | 1230264.0338
56 | 2575306.5418 | 1230237.5843 | 2575302.1651 | 1230259.6714
57 | 2575311.6358 | 1230270.1198 | 2575306.1193 | 1230264.0338
58 | 2575306.5418 | 1230237.5843 | 2575310.2721 | 1230218.535 | 2575313.8621 | 1230213.039
59 | 2575316.8876 | 1230299.3999 | 2575303.3625 | 1230299.5835
60 | 2575317.9789 | 1230299.3851 | 2575316.8876 | 1230299.3999
61 | 2575291.7388 | 1230299.7413 | 2575303.3625 | 1230299.5835
62 | 2575317.9789 | 1230299.3851 | 2575318.14 | 1230288.9781 | 2575314.4235 | 1230273.1952 | 2575311.6358 | 1230270.1198
63 | 2575334.0046 | 1230299.1404 | 2575329.4605 | 1230299.2149 | 2575317.9789 | 1230299.3851
64 | 2575291.7388 | 1230299.7413 | 2575272.6361 | 1230300.0006
65 | 2575334.0046 | 1230299.1404 | 2575343.6007 | 1230299.9379
66 | 2575261.6282 | 1230300.1501 | 2575272.6361 | 1230300.0006
67 | 2575261.6282 | 1230300.1501 | 2575251.7548 | 1230300.2841 | 2575245.1074 | 1230300.8348
68 | 2575206.4739 | 1230304.0355 | 2575245.1074 | 1230300.8348
69 | 2575424.8556 | 1230238.8931 | 2575421.8406 | 1230247.8888 | 2575420.9727 | 1230250.4718
70 | 2575420.9727 | 1230250.4718 | 2575398.8205 | 1230245.6682
71 | 2575424.8556 | 1230238.8931 | 2575421.3031 | 1230227.8901 | 2575417.2251 | 1230219.8466 | 2575404.9453 | 1230206.5896 | 2575391.1199 | 1230202.3555 | 2575374.6858 | 1230204.6252 | 2575372.5135 | 1230204.9586
72 | 2575424.8556 | 1230238.8931 | 2575428.5931 | 1230226.9482 | 2575430.7729 | 1230213.2203
73 | 2575377.2428 | 1230240.9892 | 2575398.8205 | 1230245.6682
74 | 2575166.9532 | 1230308.7997 | 2575182.0747 | 1230306.0569 | 2575206.4739 | 1230304.0355
75 | 2575166.9532 | 1230308.7997 | 2575165.8509 | 1230304.2126 | 2575164.712 | 1230299.9482 | 2575164.306 | 1230295.2248 | 2575166.1491 | 1230288.6242
76 | 2575430.0039 | 1230174.4884 | 2575432.3576 | 1230203.2405 | 2575430.7729 | 1230213.2203
77 | 2575143.5782 | 1230241.6991 | 2575147.2219 | 1230239.8067

## bus_geodata
| x | y | coords
0 | 2575015.776 | 1230151.1511
1 | 2575029.9271 | 1230207.381
2 | 2575329.943 | 1230057.1737
3 | 2575304.1395 | 1230125.2122
4 | 2575330.0114 | 1230016.9867
5 | 2575318.116 | 1230173.1265
6 | 2575192.3603 | 1229975.2363
7 | 2575330.9066 | 1230185.1116
8 | 2575303.4918 | 1229929.4443
9 | 2575078.7025 | 1229906.8951
10 | 2575265.4642 | 1230039.5493
11 | 2575256.7653 | 1230051.4361
12 | 2575349.3386 | 1230200.1411
13 | 2575271.1598 | 1229897.332
14 | 2575251.8926 | 1230058.9993
15 | 2575358.23 | 1230207.1507
16 | 2575194.8437 | 1229806.8131
17 | 2575248.3398 | 1230065.2259
18 | 2575236.9761 | 1230085.1414
19 | 2575232.3697 | 1230093.2144
20 | 2575202.2863 | 1230133.379
21 | 2575183.6178 | 1230147.4528
22 | 2575177.2174 | 1230155.9681
23 | 2575174.7311 | 1230162.6229
24 | 2575226.8156 | 1230142.2098
25 | 2575168.7489 | 1230178.6349
26 | 2575231.2414 | 1230143.0721
27 | 2575167.0038 | 1230183.306
28 | 2575254.9625 | 1230147.171
29 | 2575158.2131 | 1230200.0637
30 | 2575260.8993 | 1230152.8366
31 | 2575084.1708 | 1230177.9237
32 | 2575089.9865 | 1230179.5673
33 | 2575102.2341 | 1230183.0286
34 | 2575115.4944 | 1230190.4536
35 | 2575128.5705 | 1230197.7754
36 | 2575151.5768 | 1230205.6685
37 | 2575275.8242 | 1230178.3966
38 | 2575291.682 | 1230189.306
39 | 2575302.8308 | 1230202.8893
40 | 2575168.1105 | 1230228.9577
41 | 2575186.3265 | 1230232.5545
42 | 2575153.8453 | 1230236.3667
43 | 2575235.1239 | 1230247.227
44 | 2575257.6084 | 1230251.3061
45 | 2575230.329 | 1230245.996
46 | 2575275.7604 | 1230253.9608
47 | 2575218.8097 | 1230242.6561
48 | 2575279.2487 | 1230254.2728
49 | 2575211.5818 | 1230240.5604
50 | 2575302.1651 | 1230259.6714
51 | 2575207.9338 | 1230239.5039
52 | 2575193.2074 | 1230256.652
53 | 2575306.1193 | 1230264.0338
54 | 2575306.5418 | 1230237.5843
55 | 2575316.8876 | 1230299.3999
56 | 2575303.3625 | 1230299.5835
57 | 2575317.9789 | 1230299.3851
58 | 2575291.7388 | 1230299.7413
59 | 2575311.6358 | 1230270.1198
60 | 2575334.0046 | 1230299.1404
61 | 2575272.6361 | 1230300.0006
62 | 2575343.6007 | 1230299.9379
63 | 2575261.6282 | 1230300.1501
64 | 2575245.1074 | 1230300.8348
65 | 2575420.9727 | 1230250.4718
66 | 2575424.8556 | 1230238.8931
67 | 2575398.8205 | 1230245.6682
68 | 2575206.4739 | 1230304.0355
69 | 2575166.9532 | 1230308.7997
70 | 2575166.1491 | 1230288.6242
71 | 2575377.2428 | 1230240.9892
72 | 2575313.8621 | 1230213.039
73 | 2575372.5135 | 1230204.9586
74 | 2575430.7729 | 1230213.2203
75 | 2575430.0039 | 1230174.4884
76 | 2575143.5782 | 1230241.6991
77 | 2575147.2219 | 1230239.8067
78 | 2575255.0055 | 1229610.3609
79 | 2575202.2863 | 1230133.379

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1