## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5425-4_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5425-4_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5425-4_0_2_node_106 | 0.4 | n |  | TRUE
3 | bus_LV_5425-4_0_2_node_85 | 0.4 | n |  | TRUE
4 | bus_LV_5425-4_0_2_node_83 | 0.4 | n |  | TRUE
5 | bus_LV_5425-4_0_2_node_87 | 0.4 | n |  | TRUE
6 | bus_LV_5425-4_0_2_node_2 | 0.4 | n |  | TRUE
7 | bus_LV_5425-4_0_2_node_3 | 0.4 | n |  | TRUE
8 | bus_LV_5425-4_0_2_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_5425-4_0_2_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_5425-4_0_2_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_5425-4_0_2_node_94 | 0.4 | n |  | TRUE
12 | bus_LV_5425-4_0_2_node_93 | 0.4 | n |  | TRUE
13 | bus_LV_5425-4_0_2_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_5425-4_0_2_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_5425-4_0_2_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_5425-4_0_2_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_5425-4_0_2_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_5425-4_0_2_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_5425-4_0_2_node_29 | 0.4 | n |  | TRUE
20 | bus_LV_5425-4_0_2_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_5425-4_0_2_node_30 | 0.4 | n |  | TRUE
22 | bus_LV_5425-4_0_2_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_5425-4_0_2_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_5425-4_0_2_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_5425-4_0_2_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_5425-4_0_2_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_5425-4_0_2_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_5425-4_0_2_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_5425-4_0_2_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_5425-4_0_2_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_5425-4_0_2_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_5425-4_0_2_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_5425-4_0_2_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_5425-4_0_2_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_5425-4_0_2_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_5425-4_0_2_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_5425-4_0_2_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_5425-4_0_2_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_5425-4_0_2_node_37 | 0.4 | n |  | TRUE
40 | bus_LV_5425-4_0_2_node_41 | 0.4 | n |  | TRUE
41 | bus_LV_5425-4_0_2_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_5425-4_0_2_node_33 | 0.4 | n |  | TRUE
43 | bus_LV_5425-4_0_2_node_34 | 0.4 | n |  | TRUE
44 | bus_LV_5425-4_0_2_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_5425-4_0_2_node_38 | 0.4 | n |  | TRUE
46 | bus_LV_5425-4_0_2_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_5425-4_0_2_node_44 | 0.4 | n |  | TRUE
48 | bus_LV_5425-4_0_2_node_103 | 0.4 | n |  | TRUE
49 | bus_LV_5425-4_0_2_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_5425-4_0_2_node_45 | 0.4 | n |  | TRUE
51 | bus_LV_5425-4_0_2_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_5425-4_0_2_node_102 | 0.4 | n |  | TRUE
53 | bus_LV_5425-4_0_2_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_5425-4_0_2_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_5425-4_0_2_node_46 | 0.4 | n |  | TRUE
56 | bus_LV_5425-4_0_2_node_48 | 0.4 | n |  | TRUE
57 | bus_LV_5425-4_0_2_node_49 | 0.4 | n |  | TRUE
58 | bus_LV_5425-4_0_2_node_50 | 0.4 | n |  | TRUE
59 | bus_LV_5425-4_0_2_node_63 | 0.4 | n |  | TRUE
60 | bus_LV_5425-4_0_2_node_61 | 0.4 | n |  | TRUE
61 | bus_LV_5425-4_0_2_node_51 | 0.4 | n |  | TRUE
62 | bus_LV_5425-4_0_2_node_64 | 0.4 | n |  | TRUE
63 | bus_LV_5425-4_0_2_node_52 | 0.4 | n |  | TRUE
64 | bus_LV_5425-4_0_2_node_80 | 0.4 | n |  | TRUE
65 | bus_LV_5425-4_0_2_node_65 | 0.4 | n |  | TRUE
66 | bus_LV_5425-4_0_2_node_78 | 0.4 | n |  | TRUE
67 | bus_LV_5425-4_0_2_node_62 | 0.4 | n |  | TRUE
68 | bus_LV_5425-4_0_2_node_91 | 0.4 | n |  | TRUE
69 | bus_LV_5425-4_0_2_node_92 | 0.4 | n |  | TRUE
70 | bus_LV_5425-4_0_2_node_66 | 0.4 | n |  | TRUE
71 | bus_LV_5425-4_0_2_node_53 | 0.4 | n |  | TRUE
72 | bus_LV_5425-4_0_2_node_54 | 0.4 | n |  | TRUE
73 | bus_LV_5425-4_0_2_node_55 | 0.4 | n |  | TRUE
74 | bus_LV_5425-4_0_2_node_56 | 0.4 | n |  | TRUE
75 | bus_LV_5425-4_0_2_node_57 | 0.4 | n |  | TRUE
76 | bus_LV_5425-4_0_2_node_58 | 0.4 | n |  | TRUE
77 | bus_LV_5425-4_0_2_node_59 | 0.4 | n |  | TRUE
78 | bus_LV_5425-4_0_2_node_60 | 0.4 | n |  | TRUE
79 | bus_LV_5425-4_0_2_node_67 | 0.4 | n |  | TRUE
80 | bus_LV_5425-4_0_2_node_68 | 0.4 | n |  | TRUE
81 | bus_LV_5425-4_0_2_node_69 | 0.4 | n |  | TRUE
82 | bus_LV_5425-4_0_2_node_70 | 0.4 | n |  | TRUE
83 | bus_LV_5425-4_0_2_node_71 | 0.4 | n |  | TRUE
84 | bus_LV_5425-4_0_2_node_72 | 0.4 | n |  | TRUE
85 | bus_LV_5425-4_0_2_node_73 | 0.4 | n |  | TRUE
86 | bus_LV_5425-4_0_2_node_77 | 0.4 | n |  | TRUE
87 | bus_LV_5425-4_0_2_node_74 | 0.4 | n |  | TRUE
88 | bus_LV_5425-4_0_2_node_75 | 0.4 | n |  | TRUE
89 | bus_LV_5425-4_0_2_node_76 | 0.4 | n |  | TRUE
90 | bus_LV_5425-4_0_2_node_79 | 0.4 | n |  | TRUE
91 | bus_LV_5425-4_0_2_node_81 | 0.4 | n |  | TRUE
92 | bus_LV_5425-4_0_2_node_82 | 0.4 | n |  | TRUE
93 | bus_LV_5425-4_0_2_node_86 | 0.4 | n |  | TRUE
94 | bus_LV_5425-4_0_2_node_89 | 0.4 | n |  | TRUE
95 | bus_LV_5425-4_0_2_node_90 | 0.4 | n |  | TRUE
96 | bus_LV_5425-4_0_2_node_84 | 0.4 | n |  | TRUE
97 | bus_LV_5425-4_0_2_node_88 | 0.4 | n |  | TRUE
98 | bus_LV_5425-4_0_2_node_95 | 0.4 | n |  | TRUE
99 | bus_LV_5425-4_0_2_node_96 | 0.4 | n |  | TRUE
100 | bus_LV_5425-4_0_2_node_98 | 0.4 | n |  | TRUE
101 | bus_LV_5425-4_0_2_node_100 | 0.4 | n |  | TRUE
102 | bus_LV_5425-4_0_2_node_101 | 0.4 | n |  | TRUE
103 | bus_LV_5425-4_0_2_node_104 | 0.4 | n |  | TRUE
104 | bus_LV_5425-4_0_2_node_105 | 0.4 | n |  | TRUE
105 | bus_MV_336_0_node_10 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5425-4_0_2_load_0 | 0 | 0.004177 | 0.0010469 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5425-4_0_2_load_85 | 3 | 0.0004396 | 0.00011017 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5425-4_0_2_load_83 | 4 | 0.0016071 | 0.00040278 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5425-4_0_2_load_87 | 5 | 0.0025428 | 0.00063729 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5425-4_0_2_load_2 | 6 | 0.0017229 | 0.00043181 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5425-4_0_2_load_3 | 7 | 0.00043428 | 0.00010884 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5425-4_0_2_load_4 | 8 | 0.0010213 | 0.00025597 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5425-4_0_2_load_5 | 9 | 0.00042559 | 0.00010666 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5425-4_0_2_load_6 | 10 | 0.001013 | 0.00025387 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5425-4_0_2_load_94 | 11 | 0.0004765 | 0.00011942 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5425-4_0_2_load_93 | 12 | 0.0023058 | 0.00057788 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5425-4_0_2_load_7 | 13 | 0.0035062 | 0.00087873 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5425-4_0_2_load_8 | 14 | 0.0040572 | 0.0010168 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5425-4_0_2_load_9 | 15 | 0.0053632 | 0.0013441 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5425-4_0_2_load_10 | 16 | 0.0038465 | 0.00096402 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5425-4_0_2_load_12 | 18 | 0.00070334 | 0.00017627 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5425-4_0_2_load_29 | 19 | 0.003682 | 0.00092279 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5425-4_0_2_load_13 | 20 | 0.00058562 | 0.00014677 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5425-4_0_2_load_30 | 21 | 0.0031399 | 0.00078694 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5425-4_0_2_load_14 | 22 | 0.00072441 | 0.00018155 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5425-4_0_2_load_15 | 23 | 0.0030448 | 0.00076311 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5425-4_0_2_load_16 | 24 | 0.00055562 | 0.00013925 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5425-4_0_2_load_17 | 25 | 0.00062072 | 0.00015557 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5425-4_0_2_load_20 | 28 | 0.00054497 | 0.00013658 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5425-4_0_2_load_23 | 29 | 0.0047232 | 0.0011837 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5425-4_0_2_load_21 | 30 | 0.00093569 | 0.00023451 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5425-4_0_2_load_22 | 32 | 0.0022616 | 0.00056682 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5425-4_0_2_load_25 | 33 | 0.00035379 | 8.8669e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5425-4_0_2_load_28 | 35 | 0.0021785 | 0.00054599 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5425-4_0_2_load_26 | 36 | 0.0011461 | 0.00028724 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5425-4_0_2_load_31 | 37 | 0.0051032 | 0.001279 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5425-4_0_2_load_32 | 38 | 0.0015034 | 0.0003768 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5425-4_0_2_load_35 | 41 | 0.0037662 | 0.00094391 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5425-4_0_2_load_33 | 42 | 0.0024052 | 0.00060281 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5425-4_0_2_load_34 | 43 | 0.0045357 | 0.0011367 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5425-4_0_2_load_36 | 44 | 0.0012096 | 0.00030316 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5425-4_0_2_load_38 | 45 | 0.0032742 | 0.0008206 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5425-4_0_2_load_39 | 46 | 0.00062489 | 0.00015661 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5425-4_0_2_load_103 | 48 | 0.0028871 | 0.00072358 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5425-4_0_2_load_40 | 49 | 0.00023306 | 5.8409e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5425-4_0_2_load_45 | 50 | 0.0024046 | 0.00060264 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5425-4_0_2_load_43 | 51 | 0.0027791 | 0.0006965 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5425-4_0_2_load_42 | 53 | 0.0012615 | 0.00031616 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5425-4_0_2_load_47 | 54 | 0.0010722 | 0.00026872 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5425-4_0_2_load_46 | 55 | 0.0013144 | 0.00032941 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5425-4_0_2_load_49 | 57 | 0.00044105 | 0.00011054 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5425-4_0_2_load_61 | 60 | 0.0025265 | 0.00063321 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5425-4_0_2_load_64 | 62 | 0.0012835 | 0.00032166 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5425-4_0_2_load_78 | 66 | 0.0033181 | 0.00083159 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5425-4_0_2_load_62 | 67 | 0.00057681 | 0.00014456 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5425-4_0_2_load_91 | 68 | 0.00087765 | 0.00021996 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5425-4_0_2_load_92 | 69 | 0.0031891 | 0.00079925 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5425-4_0_2_load_53 | 71 | 0.0012705 | 0.00031842 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5425-4_0_2_load_54 | 72 | 0.00055337 | 0.00013869 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5425-4_0_2_load_55 | 73 | 0.0013748 | 0.00034455 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5425-4_0_2_load_56 | 74 | 0.0016309 | 0.00040874 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5425-4_0_2_load_57 | 75 | 0.0013748 | 0.00034456 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5425-4_0_2_load_58 | 76 | 0.0030044 | 0.00075297 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5425-4_0_2_load_59 | 77 | 0.0011466 | 0.00028738 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5425-4_0_2_load_60 | 78 | 0.0023888 | 0.00059868 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5425-4_0_2_load_67 | 79 | 0.0010875 | 0.00027255 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5425-4_0_2_load_68 | 80 | 0.0035378 | 0.00088667 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5425-4_0_2_load_69 | 81 | 0.0041785 | 0.0010472 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5425-4_0_2_load_71 | 83 | 0.00092903 | 0.00023284 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5425-4_0_2_load_72 | 84 | 0.0025104 | 0.00062916 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5425-4_0_2_load_73 | 85 | 0.0017633 | 0.00044193 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5425-4_0_2_load_77 | 86 | 0.0052467 | 0.0013149 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5425-4_0_2_load_74 | 87 | 0.0018472 | 0.00046295 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5425-4_0_2_load_75 | 88 | 0.0015089 | 0.00037817 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5425-4_0_2_load_76 | 89 | 0.00090009 | 0.00022558 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5425-4_0_2_load_82 | 92 | 0.0022654 | 0.00056776 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5425-4_0_2_load_89 | 94 | 0.0004356 | 0.00010917 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5425-4_0_2_load_84 | 96 | 0.00037994 | 9.5223e-05 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5425-4_0_2_load_88 | 97 | 0.00038429 | 9.6312e-05 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5425-4_0_2_load_95 | 98 | 0.0021011 | 0.00052659 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5425-4_0_2_load_100 | 101 | 0.0025064 | 0.00062815 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5425-4_0_2_load_101 | 102 | 0.0047292 | 0.0011853 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5425-4_0_2_load_104 | 103 | 0.0029149 | 0.00073055 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5425-4_0_2_load_105 | 104 | 0.0028329 | 0.00070999 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 53 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5425-4_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.07512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5425-4_0_2_line_1 | NAYY 4x150 SE | 1 | 2 | 0.080801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5425-4_0_2_line_2 | NAYY 4x150 SE | 2 | 5 | 0.044923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5425-4_0_2_line_3 | NAYY 4x150 SE | 3 | 4 | 0.011348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5425-4_0_2_line_4 | NAYY 4x150 SE | 4 | 96 | 0.019404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5425-4_0_2_line_5 | NAYY 4x150 SE | 5 | 93 | 0.025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5425-4_0_2_line_6 | NAYY 4x150 SE | 6 | 7 | 0.0034144 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5425-4_0_2_line_7 | NAYY 4x150 SE | 6 | 8 | 0.016776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5425-4_0_2_line_8 | NAYY 4x150 SE | 7 | 9 | 0.019874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5425-4_0_2_line_9 | NAYY 4x150 SE | 8 | 10 | 0.01979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5425-4_0_2_line_10 | NAYY 4x150 SE | 9 | 11 | 0.018856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5425-4_0_2_line_11 | NAYY 4x150 SE | 11 | 12 | 0.039351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5425-4_0_2_line_12 | NAYY 4x150 SE | 12 | 57 | 0.0044126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5425-4_0_2_line_13 | NAYY 4x150 SE | 13 | 14 | 0.011089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5425-4_0_2_line_14 | NAYY 4x150 SE | 13 | 15 | 0.0029711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5425-4_0_2_line_15 | NAYY 4x150 SE | 14 | 16 | 0.0015938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5425-4_0_2_line_16 | NAYY 4x150 SE | 15 | 17 | 0.032491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5425-4_0_2_line_17 | NAYY 4x150 SE | 16 | 18 | 0.0094602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5425-4_0_2_line_18 | NAYY 4x150 SE | 17 | 19 | 0.011027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5425-4_0_2_line_19 | NAYY 4x150 SE | 18 | 20 | 0.0085699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5425-4_0_2_line_20 | NAYY 4x150 SE | 19 | 21 | 0.026772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5425-4_0_2_line_21 | NAYY 4x150 SE | 20 | 22 | 0.0058231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5425-4_0_2_line_22 | NAYY 4x150 SE | 21 | 37 | 0.0011326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5425-4_0_2_line_23 | NAYY 4x150 SE | 22 | 23 | 0.016236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5425-4_0_2_line_24 | NAYY 4x150 SE | 23 | 24 | 0.022256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5425-4_0_2_line_25 | NAYY 4x150 SE | 24 | 25 | 0.0021971 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5425-4_0_2_line_26 | NAYY 4x150 SE | 25 | 26 | 0.011735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5425-4_0_2_line_27 | NAYY 4x150 SE | 26 | 27 | 0.009381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5425-4_0_2_line_28 | NAYY 4x150 SE | 26 | 28 | 0.015632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5425-4_0_2_line_29 | NAYY 4x150 SE | 27 | 29 | 0.052759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5425-4_0_2_line_30 | NAYY 4x150 SE | 27 | 30 | 0.041291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5425-4_0_2_line_31 | NAYY 4x150 SE | 28 | 31 | 0.025369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5425-4_0_2_line_32 | NAYY 4x150 SE | 30 | 32 | 0.015309 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5425-4_0_2_line_33 | NAYY 4x150 SE | 31 | 33 | 0.0030855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5425-4_0_2_line_34 | NAYY 4x150 SE | 33 | 34 | 0.029617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5425-4_0_2_line_35 | NAYY 4x150 SE | 34 | 35 | 0.016082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5425-4_0_2_line_36 | NAYY 4x150 SE | 34 | 36 | 0.046029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5425-4_0_2_line_37 | NAYY 4x150 SE | 37 | 38 | 0.032498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5425-4_0_2_line_38 | NAYY 4x150 SE | 38 | 39 | 0.0025923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5425-4_0_2_line_39 | NAYY 4x150 SE | 39 | 40 | 0.0262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5425-4_0_2_line_40 | NAYY 4x150 SE | 39 | 41 | 0.022822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5425-4_0_2_line_41 | NAYY 4x150 SE | 40 | 47 | 0.002819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5425-4_0_2_line_42 | NAYY 4x150 SE | 40 | 48 | 0.016916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5425-4_0_2_line_43 | NAYY 4x150 SE | 41 | 42 | 0.0037333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5425-4_0_2_line_44 | NAYY 4x150 SE | 42 | 43 | 0.022917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5425-4_0_2_line_45 | NAYY 4x150 SE | 43 | 44 | 0.0057167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5425-4_0_2_line_46 | NAYY 4x150 SE | 44 | 45 | 0.015864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5425-4_0_2_line_47 | NAYY 4x150 SE | 45 | 46 | 0.00029779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5425-4_0_2_line_48 | NAYY 4x150 SE | 46 | 49 | 0.01388 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5425-4_0_2_line_49 | NAYY 4x150 SE | 47 | 50 | 0.017607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5425-4_0_2_line_50 | NAYY 4x150 SE | 47 | 51 | 0.03545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
51 | LV_5425-4_0_2_line_51 | NAYY 4x150 SE | 48 | 52 | 0.03254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5425-4_0_2_line_52 | NAYY 4x150 SE | 50 | 54 | 0.025199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5425-4_0_2_line_53 | NAYY 4x150 SE | 51 | 53 | 0.01221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
54 | LV_5425-4_0_2_line_54 | NAYY 4x150 SE | 52 | 103 | 0.016361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5425-4_0_2_line_55 | NAYY 4x150 SE | 52 | 102 | 0.012748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5425-4_0_2_line_56 | NAYY 4x150 SE | 54 | 55 | 0.0018587 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5425-4_0_2_line_57 | NAYY 4x150 SE | 55 | 56 | 0.039119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5425-4_0_2_line_58 | NAYY 4x150 SE | 56 | 57 | 0.029134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5425-4_0_2_line_59 | NAYY 4x150 SE | 56 | 58 | 0.026172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5425-4_0_2_line_60 | NAYY 4x150 SE | 58 | 59 | 0.014695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5425-4_0_2_line_61 | NAYY 4x150 SE | 58 | 60 | 0.018333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5425-4_0_2_line_62 | NAYY 4x150 SE | 59 | 67 | 0.013458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5425-4_0_2_line_63 | NAYY 4x150 SE | 59 | 61 | 0.011824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5425-4_0_2_line_64 | NAYY 4x150 SE | 61 | 62 | 0.0084401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5425-4_0_2_line_65 | NAYY 4x150 SE | 62 | 65 | 0.026821 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5425-4_0_2_line_66 | NAYY 4x150 SE | 63 | 64 | 0.006655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_5425-4_0_2_line_67 | NAYY 4x150 SE | 63 | 65 | 0.032125 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_5425-4_0_2_line_68 | NAYY 4x150 SE | 63 | 66 | 0.016927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_5425-4_0_2_line_69 | NAYY 4x150 SE | 64 | 68 | 0.055366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_5425-4_0_2_line_70 | NAYY 4x150 SE | 64 | 69 | 0.032587 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_5425-4_0_2_line_71 | NAYY 4x150 SE | 65 | 70 | 0.035311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_5425-4_0_2_line_72 | NAYY 4x150 SE | 68 | 95 | 0.012497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_5425-4_0_2_line_73 | NAYY 4x150 SE | 70 | 79 | 0.0015628 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_5425-4_0_2_line_74 | NAYY 4x150 SE | 70 | 78 | 0.016813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_5425-4_0_2_line_75 | NAYY 4x150 SE | 71 | 72 | 0.016538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_5425-4_0_2_line_76 | NAYY 4x150 SE | 72 | 73 | 0.0094728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_5425-4_0_2_line_77 | NAYY 4x150 SE | 73 | 74 | 0.001154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_5425-4_0_2_line_78 | NAYY 4x150 SE | 74 | 75 | 0.026493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_5425-4_0_2_line_79 | NAYY 4x150 SE | 75 | 76 | 0.0061745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_5425-4_0_2_line_80 | NAYY 4x150 SE | 76 | 77 | 0.023742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_5425-4_0_2_line_81 | NAYY 4x150 SE | 77 | 78 | 0.0094743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_5425-4_0_2_line_82 | NAYY 4x150 SE | 79 | 80 | 0.053278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_5425-4_0_2_line_83 | NAYY 4x150 SE | 80 | 81 | 0.037469 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_5425-4_0_2_line_84 | NAYY 4x150 SE | 81 | 82 | 0.018791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_5425-4_0_2_line_85 | NAYY 4x150 SE | 82 | 83 | 0.0030167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_5425-4_0_2_line_86 | NAYY 4x150 SE | 82 | 84 | 0.02287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_5425-4_0_2_line_87 | NAYY 4x150 SE | 83 | 85 | 0.0024437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_5425-4_0_2_line_88 | NAYY 4x150 SE | 84 | 86 | 0.0025294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_5425-4_0_2_line_89 | NAYY 4x150 SE | 85 | 87 | 0.020087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_5425-4_0_2_line_90 | NAYY 4x150 SE | 87 | 88 | 0.0063102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_5425-4_0_2_line_91 | NAYY 4x150 SE | 88 | 89 | 0.0047969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_5425-4_0_2_line_92 | NAYY 4x150 SE | 90 | 91 | 0.014487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_5425-4_0_2_line_93 | NAYY 4x150 SE | 90 | 92 | 0.038033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_5425-4_0_2_line_94 | NAYY 4x150 SE | 91 | 93 | 0.026004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_5425-4_0_2_line_95 | NAYY 4x150 SE | 92 | 94 | 0.014364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_5425-4_0_2_line_96 | NAYY 4x150 SE | 93 | 96 | 0.043823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_5425-4_0_2_line_97 | NAYY 4x150 SE | 94 | 95 | 0.015073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_5425-4_0_2_line_98 | NAYY 4x150 SE | 94 | 97 | 0.059119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_5425-4_0_2_line_99 | NAYY 4x150 SE | 98 | 99 | 0.036744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_5425-4_0_2_line_100 | NAYY 4x150 SE | 99 | 100 | 0.0382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_5425-4_0_2_line_101 | NAYY 4x150 SE | 100 | 101 | 0.012804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_5425-4_0_2_line_102 | NAYY 4x150 SE | 101 | 102 | 0.0085395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_5425-4_0_2_line_103 | NAYY 4x150 SE | 103 | 104 | 0.023368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5425-4_0_2_trafo_42 | 0.25 MVA 20/0.4 kV | 105 | 53 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2515222.336 | 1154039.4087 | 2515166.8352 | 1154086.9639 | 2515168.1336 | 1154088.5266
1 | 2515265.5829 | 1154107.6615 | 2515222.336 | 1154039.4087
2 | 2515265.5829 | 1154107.6615 | 2515261.1342 | 1154117.0186 | 2515256.6007 | 1154128.5114 | 2515253.6355 | 1154140.7716 | 2515251.1831 | 1154150.0467
3 | 2515185.9875 | 1154183.0394 | 2515183.0718 | 1154172.0727
4 | 2515185.9875 | 1154183.0394 | 2515186.9239 | 1154186.5614 | 2515201.998 | 1154181.9634
5 | 2515244.7926 | 1154174.2159 | 2515251.1831 | 1154150.0467
6 | 2515294.9544 | 1154410.3523 | 2515292.3279 | 1154408.1707
7 | 2515294.9544 | 1154410.3523 | 2515303.0438 | 1154417.0714 | 2515307.8824 | 1154421.0441
8 | 2515277.0396 | 1154395.4721 | 2515292.3279 | 1154408.1707
9 | 2515307.8824 | 1154421.0441 | 2515323.1777 | 1154433.6026
10 | 2515262.5344 | 1154383.4241 | 2515277.0396 | 1154395.4721
11 | 2515231.6284 | 1154360.8395 | 2515240.323 | 1154362.6676 | 2515249.4234 | 1154372.534 | 2515262.5344 | 1154383.4241
12 | 2515231.6284 | 1154360.8395 | 2515227.3102 | 1154359.9315
13 | 2515122.1316 | 1154524.7009 | 2515112.6095 | 1154519.0173
14 | 2515124.6828 | 1154526.2238 | 2515122.1316 | 1154524.7009
15 | 2515111.2409 | 1154518.2004 | 2515112.6095 | 1154519.0173
16 | 2515154.5284 | 1154535.2794 | 2515148.4377 | 1154536.4327 | 2515143.7912 | 1154536.0869 | 2515138.7375 | 1154534.6129 | 2515124.6828 | 1154526.2238
17 | 2515111.2409 | 1154518.2004 | 2515103.1177 | 1154513.3517
18 | 2515154.5284 | 1154535.2794 | 2515154.9618 | 1154527.3908 | 2515155.6196 | 1154524.334
19 | 2515103.1177 | 1154513.3517 | 2515095.759 | 1154508.9593
20 | 2515155.6196 | 1154524.334 | 2515157.2801 | 1154516.6184 | 2515162.1432 | 1154498.3762
21 | 2515091.176 | 1154505.3699 | 2515095.5784 | 1154508.8515 | 2515095.759 | 1154508.9593
22 | 2515162.1432 | 1154498.3762 | 2515162.4349 | 1154497.2818
23 | 2515091.176 | 1154505.3699 | 2515078.4414 | 1154495.2988
24 | 2515060.9848 | 1154481.4933 | 2515078.4414 | 1154495.2988
25 | 2515060.9848 | 1154481.4933 | 2515059.2615 | 1154480.1304
26 | 2515050.057 | 1154472.8511 | 2515059.2615 | 1154480.1304
27 | 2515050.057 | 1154472.8511 | 2515045.2299 | 1154480.9018
28 | 2515050.057 | 1154472.8511 | 2515038.729 | 1154463.8948 | 2515037.826 | 1154463.1174
29 | 2515045.2299 | 1154480.9018 | 2515038.1999 | 1154481.8239 | 2515016.4444 | 1154485.8226 | 2515005.4042 | 1154490.7038 | 2514997.0164 | 1154498.5379
30 | 2515045.2299 | 1154480.9018 | 2515042.3742 | 1154485.6672 | 2515034.6581 | 1154507.5224 | 2515036.6575 | 1154518.156 | 2515035.4857 | 1154519.4403
31 | 2515015.9429 | 1154451.4428 | 2515021.4879 | 1154452.3872 | 2515029.6962 | 1154456.1178 | 2515037.826 | 1154463.1174
32 | 2515023.0039 | 1154527.5767 | 2515030.7797 | 1154524.5984 | 2515035.4857 | 1154519.4403
33 | 2515015.9429 | 1154451.4428 | 2515013.9257 | 1154449.108
34 | 2514994.5632 | 1154426.6971 | 2515013.9257 | 1154449.108
35 | 2514994.5632 | 1154426.6971 | 2514984.0483 | 1154414.5286
36 | 2514994.5632 | 1154426.6971 | 2515009.6425 | 1154412.2865 | 2515010.595 | 1154406.9366 | 2514997.4322 | 1154392.2294
37 | 2515170.8061 | 1154465.8805 | 2515162.4349 | 1154497.2818
38 | 2515171.4738 | 1154463.3757 | 2515170.8061 | 1154465.8805
39 | 2515177.7435 | 1154437.9389 | 2515171.4738 | 1154463.3757
40 | 2515171.4738 | 1154463.3757 | 2515150.2664 | 1154454.9438
41 | 2515178.3876 | 1154435.1949 | 2515177.7435 | 1154437.9389
42 | 2515177.7435 | 1154437.9389 | 2515194.1441 | 1154442.0809
43 | 2515146.7973 | 1154453.5645 | 2515150.2664 | 1154454.9438
44 | 2515146.7973 | 1154453.5645 | 2515125.5018 | 1154445.0975
45 | 2515125.5018 | 1154445.0975 | 2515120.1896 | 1154442.9854
46 | 2515105.4485 | 1154437.1244 | 2515120.1896 | 1154442.9854
47 | 2515105.1717 | 1154437.0144 | 2515105.4485 | 1154437.1244
48 | 2515092.2737 | 1154431.8862 | 2515105.1717 | 1154437.0144
49 | 2515178.3876 | 1154435.1949 | 2515180.2263 | 1154427.9425 | 2515182.6909 | 1154418.1223
50 | 2515178.3876 | 1154435.1949 | 2515146.084 | 1154420.5933
51 | 2515221.5336 | 1154458.3889 | 2515204.9788 | 1154444.9255 | 2515195.3373 | 1154442.3822 | 2515194.1441 | 1154442.0809
52 | 2515188.8249 | 1154393.6816 | 2515182.6909 | 1154418.1223
53 | 2515139.978 | 1154413.3784 | 2515138.6758 | 1154417.2447 | 2515146.084 | 1154420.5933
54 | 2515221.5336 | 1154458.3889 | 2515231.7493 | 1154445.6091
55 | 2515221.5336 | 1154458.3889 | 2515231.4218 | 1154466.4354
56 | 2515189.2774 | 1154391.8788 | 2515188.8249 | 1154393.6816
57 | 2515198.7999 | 1154353.9369 | 2515189.2774 | 1154391.8788
58 | 2515198.7999 | 1154353.9369 | 2515227.3102 | 1154359.9315
59 | 2515185.6365 | 1154339.9699 | 2515201.3197 | 1154344.3846 | 2515198.7999 | 1154353.9369
60 | 2515185.6365 | 1154339.9699 | 2515185.8785 | 1154334.8301 | 2515184.3987 | 1154332.1827 | 2515178.4901 | 1154329.3978
61 | 2515185.6365 | 1154339.9699 | 2515183.5229 | 1154342.9681 | 2515177.4766 | 1154345.1102 | 2515169.3405 | 1154343.7443
62 | 2515178.4901 | 1154329.3978 | 2515165.3674 | 1154326.4113
63 | 2515178.4901 | 1154329.3978 | 2515178.3527 | 1154326.7315 | 2515178.9303 | 1154324.1663 | 2515182.3008 | 1154322.162 | 2515184.6476 | 1154321.006
64 | 2515184.6476 | 1154321.006 | 2515183.6996 | 1154319.0738 | 2515184.3177 | 1154312.8164
65 | 2515190.0502 | 1154286.843 | 2515186.6488 | 1154294.8179 | 2515184.7268 | 1154308.6754 | 2515184.3177 | 1154312.8164
66 | 2515223.1172 | 1154286.7655 | 2515216.4425 | 1154286.7819
67 | 2515190.0502 | 1154286.843 | 2515214.8441 | 1154293.1304 | 2515216.4425 | 1154286.7819
68 | 2515216.4425 | 1154286.7819 | 2515220.5764 | 1154270.3677
69 | 2515223.1172 | 1154286.7655 | 2515272.5679 | 1154261.8649
70 | 2515223.1172 | 1154286.7655 | 2515243.9227 | 1154304.5605 | 2515248.084 | 1154307.6941
71 | 2515190.0502 | 1154286.843 | 2515182.6505 | 1154284.9685 | 2515154.9999 | 1154282.3126
72 | 2515281.4981 | 1154253.1228 | 2515272.5679 | 1154261.8649
73 | 2515154.9999 | 1154282.3126 | 2515153.446 | 1154282.1466
74 | 2515154.9999 | 1154282.3126 | 2515146.1427 | 1154296.6033
75 | 2515095.6682 | 1154374.7599 | 2515104.8142 | 1154360.9809
76 | 2515104.8142 | 1154360.9809 | 2515110.0528 | 1154353.0885
77 | 2515110.691 | 1154352.1271 | 2515110.0528 | 1154353.0885
78 | 2515110.691 | 1154352.1271 | 2515125.3423 | 1154330.054
79 | 2515125.3423 | 1154330.054 | 2515126.3668 | 1154328.5106 | 2515128.6437 | 1154324.8369
80 | 2515128.6437 | 1154324.8369 | 2515141.1515 | 1154304.6563
81 | 2515146.1427 | 1154296.6033 | 2515141.1515 | 1154304.6563
82 | 2515100.4692 | 1154276.4872 | 2515153.446 | 1154282.1466
83 | 2515100.4692 | 1154276.4872 | 2515079.8116 | 1154274.2804 | 2515063.3693 | 1154271.3956
84 | 2515044.8613 | 1154268.1483 | 2515063.3693 | 1154271.3956
85 | 2515044.8613 | 1154268.1483 | 2515041.8899 | 1154267.6276
86 | 2515044.8613 | 1154268.1483 | 2515047.2327 | 1154245.4019
87 | 2515041.8899 | 1154267.6276 | 2515039.4829 | 1154267.2058
88 | 2515047.2327 | 1154245.4019 | 2515047.495 | 1154242.8861
89 | 2515039.4829 | 1154267.2058 | 2515019.6977 | 1154263.7387
90 | 2515019.6977 | 1154263.7387 | 2515013.4823 | 1154262.6495
91 | 2515008.7573 | 1154261.8215 | 2515013.4823 | 1154262.6495
92 | 2515238.4425 | 1154199.4314 | 2515234.9041 | 1154213.4784
93 | 2515234.9041 | 1154213.4784 | 2515252.8388 | 1154220.2963 | 2515267.9467 | 1154231.5631
94 | 2515244.7926 | 1154174.2159 | 2515238.4425 | 1154199.4314
95 | 2515279.461 | 1154240.15 | 2515267.9467 | 1154231.5631
96 | 2515244.7926 | 1154174.2159 | 2515238.1874 | 1154173.7309 | 2515218.682 | 1154176.8745 | 2515201.998 | 1154181.9634
97 | 2515281.4981 | 1154253.1228 | 2515284.107 | 1154248.7835 | 2515280.9162 | 1154241.2352 | 2515279.461 | 1154240.15
98 | 2515279.461 | 1154240.15 | 2515321.8243 | 1154198.9134
99 | 2515277.0889 | 1154497.0841 | 2515300.2484 | 1154468.5573
100 | 2515247.9763 | 1154479.9066 | 2515273.6892 | 1154500.8231 | 2515277.0889 | 1154497.0841
101 | 2515247.9763 | 1154479.9066 | 2515238.0454 | 1154471.8253
102 | 2515238.0454 | 1154471.8253 | 2515231.4218 | 1154466.4354
103 | 2515241.3436 | 1154425.2345 | 2515240.0498 | 1154435.2253 | 2515231.7493 | 1154445.6091

## bus_geodata
| x | y | coords
0 | 2515168.1336 | 1154088.5266
1 | 2515222.336 | 1154039.4087
2 | 2515265.5829 | 1154107.6615
3 | 2515183.0718 | 1154172.0727
4 | 2515185.9875 | 1154183.0394
5 | 2515251.1831 | 1154150.0467
6 | 2515294.9544 | 1154410.3523
7 | 2515292.3279 | 1154408.1707
8 | 2515307.8824 | 1154421.0441
9 | 2515277.0396 | 1154395.4721
10 | 2515323.1777 | 1154433.6026
11 | 2515262.5344 | 1154383.4241
12 | 2515231.6284 | 1154360.8395
13 | 2515122.1316 | 1154524.7009
14 | 2515112.6095 | 1154519.0173
15 | 2515124.6828 | 1154526.2238
16 | 2515111.2409 | 1154518.2004
17 | 2515154.5284 | 1154535.2794
18 | 2515103.1177 | 1154513.3517
19 | 2515155.6196 | 1154524.334
20 | 2515095.759 | 1154508.9593
21 | 2515162.1432 | 1154498.3762
22 | 2515091.176 | 1154505.3699
23 | 2515078.4414 | 1154495.2988
24 | 2515060.9848 | 1154481.4933
25 | 2515059.2615 | 1154480.1304
26 | 2515050.057 | 1154472.8511
27 | 2515045.2299 | 1154480.9018
28 | 2515037.826 | 1154463.1174
29 | 2514997.0164 | 1154498.5379
30 | 2515035.4857 | 1154519.4403
31 | 2515015.9429 | 1154451.4428
32 | 2515023.0039 | 1154527.5767
33 | 2515013.9257 | 1154449.108
34 | 2514994.5632 | 1154426.6971
35 | 2514984.0483 | 1154414.5286
36 | 2514997.4322 | 1154392.2294
37 | 2515162.4349 | 1154497.2818
38 | 2515170.8061 | 1154465.8805
39 | 2515171.4738 | 1154463.3757
40 | 2515177.7435 | 1154437.9389
41 | 2515150.2664 | 1154454.9438
42 | 2515146.7973 | 1154453.5645
43 | 2515125.5018 | 1154445.0975
44 | 2515120.1896 | 1154442.9854
45 | 2515105.4485 | 1154437.1244
46 | 2515105.1717 | 1154437.0144
47 | 2515178.3876 | 1154435.1949
48 | 2515194.1441 | 1154442.0809
49 | 2515092.2737 | 1154431.8862
50 | 2515182.6909 | 1154418.1223
51 | 2515146.084 | 1154420.5933
52 | 2515221.5336 | 1154458.3889
53 | 2515139.978 | 1154413.3784
54 | 2515188.8249 | 1154393.6816
55 | 2515189.2774 | 1154391.8788
56 | 2515198.7999 | 1154353.9369
57 | 2515227.3102 | 1154359.9315
58 | 2515185.6365 | 1154339.9699
59 | 2515178.4901 | 1154329.3978
60 | 2515169.3405 | 1154343.7443
61 | 2515184.6476 | 1154321.006
62 | 2515184.3177 | 1154312.8164
63 | 2515216.4425 | 1154286.7819
64 | 2515223.1172 | 1154286.7655
65 | 2515190.0502 | 1154286.843
66 | 2515220.5764 | 1154270.3677
67 | 2515165.3674 | 1154326.4113
68 | 2515272.5679 | 1154261.8649
69 | 2515248.084 | 1154307.6941
70 | 2515154.9999 | 1154282.3126
71 | 2515095.6682 | 1154374.7599
72 | 2515104.8142 | 1154360.9809
73 | 2515110.0528 | 1154353.0885
74 | 2515110.691 | 1154352.1271
75 | 2515125.3423 | 1154330.054
76 | 2515128.6437 | 1154324.8369
77 | 2515141.1515 | 1154304.6563
78 | 2515146.1427 | 1154296.6033
79 | 2515153.446 | 1154282.1466
80 | 2515100.4692 | 1154276.4872
81 | 2515063.3693 | 1154271.3956
82 | 2515044.8613 | 1154268.1483
83 | 2515041.8899 | 1154267.6276
84 | 2515047.2327 | 1154245.4019
85 | 2515039.4829 | 1154267.2058
86 | 2515047.495 | 1154242.8861
87 | 2515019.6977 | 1154263.7387
88 | 2515013.4823 | 1154262.6495
89 | 2515008.7573 | 1154261.8215
90 | 2515234.9041 | 1154213.4784
91 | 2515238.4425 | 1154199.4314
92 | 2515267.9467 | 1154231.5631
93 | 2515244.7926 | 1154174.2159
94 | 2515279.461 | 1154240.15
95 | 2515281.4981 | 1154253.1228
96 | 2515201.998 | 1154181.9634
97 | 2515321.8243 | 1154198.9134
98 | 2515300.2484 | 1154468.5573
99 | 2515277.0889 | 1154497.0841
100 | 2515247.9763 | 1154479.9066
101 | 2515238.0454 | 1154471.8253
102 | 2515231.4218 | 1154466.4354
103 | 2515231.7493 | 1154445.6091
104 | 2515241.3436 | 1154425.2345
105 | 2515141.9378 | 1154407.5596

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1