## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5552-1_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5552-1_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5552-1_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5552-1_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5552-1_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5552-1_0_6_node_18 | 0.4 | n |  | TRUE
6 | bus_LV_5552-1_0_6_node_23 | 0.4 | n |  | TRUE
7 | bus_LV_5552-1_0_6_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_5552-1_0_6_node_45 | 0.4 | n |  | TRUE
9 | bus_LV_5552-1_0_6_node_20 | 0.4 | n |  | TRUE
10 | bus_LV_5552-1_0_6_node_16 | 0.4 | n |  | TRUE
11 | bus_LV_5552-1_0_6_node_26 | 0.4 | n |  | TRUE
12 | bus_LV_5552-1_0_6_node_21 | 0.4 | n |  | TRUE
13 | bus_LV_5552-1_0_6_node_46 | 0.4 | n |  | TRUE
14 | bus_LV_5552-1_0_6_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_5552-1_0_6_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_5552-1_0_6_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_5552-1_0_6_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_5552-1_0_6_node_43 | 0.4 | n |  | TRUE
19 | bus_LV_5552-1_0_6_node_42 | 0.4 | n |  | TRUE
20 | bus_LV_5552-1_0_6_node_77 | 0.4 | n |  | TRUE
21 | bus_LV_5552-1_0_6_node_44 | 0.4 | n |  | TRUE
22 | bus_LV_5552-1_0_6_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_5552-1_0_6_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_5552-1_0_6_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_5552-1_0_6_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_5552-1_0_6_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_5552-1_0_6_node_27 | 0.4 | n |  | TRUE
28 | bus_LV_5552-1_0_6_node_85 | 0.4 | n |  | TRUE
29 | bus_LV_5552-1_0_6_node_91 | 0.4 | n |  | TRUE
30 | bus_LV_5552-1_0_6_node_86 | 0.4 | n |  | TRUE
31 | bus_LV_5552-1_0_6_node_84 | 0.4 | n |  | TRUE
32 | bus_LV_5552-1_0_6_node_92 | 0.4 | n |  | TRUE
33 | bus_LV_5552-1_0_6_node_17 | 0.4 | n |  | TRUE
34 | bus_LV_5552-1_0_6_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_5552-1_0_6_node_83 | 0.4 | n |  | TRUE
36 | bus_LV_5552-1_0_6_node_102 | 0.4 | n |  | TRUE
37 | bus_LV_5552-1_0_6_node_90 | 0.4 | n |  | TRUE
38 | bus_LV_5552-1_0_6_node_81 | 0.4 | n |  | TRUE
39 | bus_LV_5552-1_0_6_node_101 | 0.4 | n |  | TRUE
40 | bus_LV_5552-1_0_6_node_22 | 0.4 | n |  | TRUE
41 | bus_LV_5552-1_0_6_node_24 | 0.4 | n |  | TRUE
42 | bus_LV_5552-1_0_6_node_25 | 0.4 | n |  | TRUE
43 | bus_LV_5552-1_0_6_node_28 | 0.4 | n |  | TRUE
44 | bus_LV_5552-1_0_6_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_5552-1_0_6_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_5552-1_0_6_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_5552-1_0_6_node_33 | 0.4 | n |  | TRUE
48 | bus_LV_5552-1_0_6_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_5552-1_0_6_node_38 | 0.4 | n |  | TRUE
50 | bus_LV_5552-1_0_6_node_31 | 0.4 | n |  | TRUE
51 | bus_LV_5552-1_0_6_node_32 | 0.4 | n |  | TRUE
52 | bus_LV_5552-1_0_6_node_30 | 0.4 | n |  | TRUE
53 | bus_LV_5552-1_0_6_node_47 | 0.4 | n |  | TRUE
54 | bus_LV_5552-1_0_6_node_50 | 0.4 | n |  | TRUE
55 | bus_LV_5552-1_0_6_node_37 | 0.4 | n |  | TRUE
56 | bus_LV_5552-1_0_6_node_35 | 0.4 | n |  | TRUE
57 | bus_LV_5552-1_0_6_node_36 | 0.4 | n |  | TRUE
58 | bus_LV_5552-1_0_6_node_55 | 0.4 | n |  | TRUE
59 | bus_LV_5552-1_0_6_node_56 | 0.4 | n |  | TRUE
60 | bus_LV_5552-1_0_6_node_57 | 0.4 | n |  | TRUE
61 | bus_LV_5552-1_0_6_node_40 | 0.4 | n |  | TRUE
62 | bus_LV_5552-1_0_6_node_52 | 0.4 | n |  | TRUE
63 | bus_LV_5552-1_0_6_node_48 | 0.4 | n |  | TRUE
64 | bus_LV_5552-1_0_6_node_49 | 0.4 | n |  | TRUE
65 | bus_LV_5552-1_0_6_node_51 | 0.4 | n |  | TRUE
66 | bus_LV_5552-1_0_6_node_53 | 0.4 | n |  | TRUE
67 | bus_LV_5552-1_0_6_node_54 | 0.4 | n |  | TRUE
68 | bus_LV_5552-1_0_6_node_71 | 0.4 | n |  | TRUE
69 | bus_LV_5552-1_0_6_node_72 | 0.4 | n |  | TRUE
70 | bus_LV_5552-1_0_6_node_61 | 0.4 | n |  | TRUE
71 | bus_LV_5552-1_0_6_node_73 | 0.4 | n |  | TRUE
72 | bus_LV_5552-1_0_6_node_74 | 0.4 | n |  | TRUE
73 | bus_LV_5552-1_0_6_node_58 | 0.4 | n |  | TRUE
74 | bus_LV_5552-1_0_6_node_59 | 0.4 | n |  | TRUE
75 | bus_LV_5552-1_0_6_node_62 | 0.4 | n |  | TRUE
76 | bus_LV_5552-1_0_6_node_63 | 0.4 | n |  | TRUE
77 | bus_LV_5552-1_0_6_node_66 | 0.4 | n |  | TRUE
78 | bus_LV_5552-1_0_6_node_65 | 0.4 | n |  | TRUE
79 | bus_LV_5552-1_0_6_node_64 | 0.4 | n |  | TRUE
80 | bus_LV_5552-1_0_6_node_67 | 0.4 | n |  | TRUE
81 | bus_LV_5552-1_0_6_node_68 | 0.4 | n |  | TRUE
82 | bus_LV_5552-1_0_6_node_69 | 0.4 | n |  | TRUE
83 | bus_LV_5552-1_0_6_node_70 | 0.4 | n |  | TRUE
84 | bus_LV_5552-1_0_6_node_111 | 0.4 | n |  | TRUE
85 | bus_LV_5552-1_0_6_node_113 | 0.4 | n |  | TRUE
86 | bus_LV_5552-1_0_6_node_105 | 0.4 | n |  | TRUE
87 | bus_LV_5552-1_0_6_node_106 | 0.4 | n |  | TRUE
88 | bus_LV_5552-1_0_6_node_107 | 0.4 | n |  | TRUE
89 | bus_LV_5552-1_0_6_node_108 | 0.4 | n |  | TRUE
90 | bus_LV_5552-1_0_6_node_117 | 0.4 | n |  | TRUE
91 | bus_LV_5552-1_0_6_node_109 | 0.4 | n |  | TRUE
92 | bus_LV_5552-1_0_6_node_110 | 0.4 | n |  | TRUE
93 | bus_LV_5552-1_0_6_node_114 | 0.4 | n |  | TRUE
94 | bus_LV_5552-1_0_6_node_115 | 0.4 | n |  | TRUE
95 | bus_LV_5552-1_0_6_node_116 | 0.4 | n |  | TRUE
96 | bus_LV_5552-1_0_6_node_112 | 0.4 | n |  | TRUE
97 | bus_LV_5552-1_0_6_node_75 | 0.4 | n |  | TRUE
98 | bus_LV_5552-1_0_6_node_76 | 0.4 | n |  | TRUE
99 | bus_LV_5552-1_0_6_node_79 | 0.4 | n |  | TRUE
100 | bus_LV_5552-1_0_6_node_80 | 0.4 | n |  | TRUE
101 | bus_LV_5552-1_0_6_node_82 | 0.4 | n |  | TRUE
102 | bus_LV_5552-1_0_6_node_97 | 0.4 | n |  | TRUE
103 | bus_LV_5552-1_0_6_node_88 | 0.4 | n |  | TRUE
104 | bus_LV_5552-1_0_6_node_94 | 0.4 | n |  | TRUE
105 | bus_LV_5552-1_0_6_node_103 | 0.4 | n |  | TRUE
106 | bus_LV_5552-1_0_6_node_96 | 0.4 | n |  | TRUE
107 | bus_LV_5552-1_0_6_node_93 | 0.4 | n |  | TRUE
108 | bus_LV_5552-1_0_6_node_104 | 0.4 | n |  | TRUE
109 | bus_LV_5552-1_0_6_node_87 | 0.4 | n |  | TRUE
110 | bus_LV_5552-1_0_6_node_89 | 0.4 | n |  | TRUE
111 | bus_LV_5552-1_0_6_node_98 | 0.4 | n |  | TRUE
112 | bus_LV_5552-1_0_6_node_99 | 0.4 | n |  | TRUE
113 | bus_LV_5552-1_0_6_node_100 | 0.4 | n |  | TRUE
114 | bus_MV_318_0_node_10 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5552-1_0_6_load_0 | 0 | 0.0024226 | 0.00060717 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5552-1_0_6_load_1 | 1 | 0.0015332 | 0.00038426 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5552-1_0_6_load_3 | 3 | 0.00054953 | 0.00013772 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5552-1_0_6_load_4 | 4 | 0.0025123 | 0.00062964 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5552-1_0_6_load_5 | 7 | 0.0082321 | 0.0020632 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5552-1_0_6_load_45 | 8 | 0.00094434 | 0.00023667 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5552-1_0_6_load_16 | 10 | 0.00078729 | 0.00019731 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5552-1_0_6_load_26 | 11 | 0.0045713 | 0.0011457 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5552-1_0_6_load_21 | 12 | 0.00085975 | 0.00021547 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5552-1_0_6_load_46 | 13 | 0.004198 | 0.0010521 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5552-1_0_6_load_6 | 14 | 0.0023599 | 0.00059144 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5552-1_0_6_load_7 | 15 | 0.00087436 | 0.00021913 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5552-1_0_6_load_9 | 17 | 0.0013291 | 0.00033311 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5552-1_0_6_load_77 | 20 | 0.0027371 | 0.00068598 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5552-1_0_6_load_11 | 22 | 0.0060253 | 0.0015101 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5552-1_0_6_load_12 | 23 | 0.0019012 | 0.00047648 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5552-1_0_6_load_14 | 25 | 0.0060451 | 0.001515 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5552-1_0_6_load_27 | 27 | 0.0029554 | 0.00074071 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5552-1_0_6_load_91 | 29 | 0.0017153 | 0.0004299 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5552-1_0_6_load_84 | 31 | 0.0013646 | 0.000342 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5552-1_0_6_load_92 | 32 | 0.0013041 | 0.00032683 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5552-1_0_6_load_17 | 33 | 0.0021287 | 0.0005335 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5552-1_0_6_load_19 | 34 | 0.00048687 | 0.00012202 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5552-1_0_6_load_102 | 36 | 0.0015228 | 0.00038165 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5552-1_0_6_load_90 | 37 | 0.0010656 | 0.00026707 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5552-1_0_6_load_81 | 38 | 0.0014373 | 0.00036021 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5552-1_0_6_load_101 | 39 | 0.0019079 | 0.00047817 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5552-1_0_6_load_24 | 41 | 0.002744 | 0.0006877 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5552-1_0_6_load_28 | 43 | 0.0019277 | 0.00048312 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5552-1_0_6_load_29 | 45 | 0.0049439 | 0.0012391 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5552-1_0_6_load_34 | 46 | 0.0049069 | 0.0012298 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5552-1_0_6_load_33 | 47 | 0.0025005 | 0.00062669 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5552-1_0_6_load_41 | 48 | 0.010291 | 0.0025791 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5552-1_0_6_load_38 | 49 | 0.0067818 | 0.0016997 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5552-1_0_6_load_31 | 50 | 0.012568 | 0.0031498 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5552-1_0_6_load_32 | 51 | 0.0077874 | 0.0019517 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5552-1_0_6_load_37 | 55 | 0.0028675 | 0.00071866 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5552-1_0_6_load_36 | 57 | 0.0031452 | 0.00078825 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5552-1_0_6_load_56 | 59 | 0.00090867 | 0.00022773 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5552-1_0_6_load_57 | 60 | 0.0037691 | 0.00094464 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5552-1_0_6_load_40 | 61 | 0.0060378 | 0.0015132 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5552-1_0_6_load_52 | 62 | 0.0011137 | 0.00027911 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5552-1_0_6_load_48 | 63 | 0.002518 | 0.00063106 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5552-1_0_6_load_49 | 64 | 0.0010351 | 0.00025941 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5552-1_0_6_load_51 | 65 | 0.003054 | 0.0007654 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5552-1_0_6_load_53 | 66 | 0.0014918 | 0.00037388 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5552-1_0_6_load_54 | 67 | 0.0011917 | 0.00029868 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5552-1_0_6_load_72 | 69 | 0.0011144 | 0.00027929 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5552-1_0_6_load_61 | 70 | 0.0020507 | 0.00051395 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5552-1_0_6_load_73 | 71 | 0.0032543 | 0.0008156 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5552-1_0_6_load_74 | 72 | 0.0031452 | 0.00078825 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5552-1_0_6_load_58 | 73 | 0.00060484 | 0.00015159 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5552-1_0_6_load_62 | 75 | 0.0014916 | 0.00037382 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5552-1_0_6_load_65 | 78 | 0.0020245 | 0.00050738 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5552-1_0_6_load_64 | 79 | 0.0018467 | 0.00046282 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5552-1_0_6_load_68 | 81 | 0.00058905 | 0.00014763 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5552-1_0_6_load_69 | 82 | 0.00079135 | 0.00019833 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5552-1_0_6_load_70 | 83 | 0.00089424 | 0.00022412 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5552-1_0_6_load_111 | 84 | 0.00078555 | 0.00019688 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5552-1_0_6_load_113 | 85 | 0.00048489 | 0.00012153 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5552-1_0_6_load_105 | 86 | 0.0082533 | 0.0020685 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5552-1_0_6_load_108 | 89 | 0.0003907 | 9.7919e-05 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5552-1_0_6_load_109 | 91 | 0.0015481 | 0.00038799 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5552-1_0_6_load_110 | 92 | 0.00085632 | 0.00021461 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5552-1_0_6_load_114 | 93 | 0.00049357 | 0.0001237 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5552-1_0_6_load_115 | 94 | 0.0050002 | 0.0012532 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5552-1_0_6_load_116 | 95 | 0.020394 | 0.0051113 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5552-1_0_6_load_75 | 97 | 0.0014052 | 0.00035218 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5552-1_0_6_load_76 | 98 | 0.002374 | 0.00059497 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5552-1_0_6_load_79 | 99 | 0.00090755 | 0.00022745 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5552-1_0_6_load_80 | 100 | 0.00097804 | 0.00024512 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5552-1_0_6_load_82 | 101 | 0.0012507 | 0.00031347 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5552-1_0_6_load_97 | 102 | 0.0011789 | 0.00029546 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5552-1_0_6_load_88 | 103 | 0.0018077 | 0.00045306 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5552-1_0_6_load_103 | 105 | 0.0013096 | 0.00032822 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5552-1_0_6_load_96 | 106 | 0.0010306 | 0.00025829 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5552-1_0_6_load_93 | 107 | 0.0012794 | 0.00032065 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5552-1_0_6_load_104 | 108 | 0.001558 | 0.00039048 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5552-1_0_6_load_87 | 109 | 0.0012593 | 0.0003156 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5552-1_0_6_load_89 | 110 | 0.00090642 | 0.00022717 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_5552-1_0_6_load_98 | 111 | 0.0013329 | 0.00033406 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_5552-1_0_6_load_99 | 112 | 0.0020484 | 0.00051337 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_5552-1_0_6_load_100 | 113 | 0.00084871 | 0.00021271 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 3 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5552-1_0_6_line_0 | NAYY 4x150 SE | 0 | 1 | 0.048516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
1 | LV_5552-1_0_6_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0023206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
2 | LV_5552-1_0_6_line_2 | NAYY 4x150 SE | 1 | 3 | 0.012406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
3 | LV_5552-1_0_6_line_3 | NAYY 4x150 SE | 2 | 4 | 0.016042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
4 | LV_5552-1_0_6_line_4 | NAYY 4x150 SE | 3 | 5 | 0.047172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
5 | LV_5552-1_0_6_line_5 | NAYY 4x150 SE | 4 | 6 | 0.025309 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
6 | LV_5552-1_0_6_line_6 | NAYY 4x150 SE | 5 | 9 | 0.049576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
7 | LV_5552-1_0_6_line_7 | NAYY 4x150 SE | 5 | 10 | 0.0463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5552-1_0_6_line_8 | NAYY 4x150 SE | 6 | 11 | 0.01192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5552-1_0_6_line_9 | NAYY 4x150 SE | 6 | 12 | 0.0024112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
10 | LV_5552-1_0_6_line_10 | NAYY 4x150 SE | 7 | 8 | 0.0119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5552-1_0_6_line_11 | NAYY 4x150 SE | 8 | 13 | 0.016925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5552-1_0_6_line_12 | NAYY 4x150 SE | 9 | 35 | 0.019953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
13 | LV_5552-1_0_6_line_13 | NAYY 4x150 SE | 9 | 36 | 0.032937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5552-1_0_6_line_14 | NAYY 4x150 SE | 10 | 33 | 0.052653 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5552-1_0_6_line_15 | NAYY 4x150 SE | 12 | 40 | 0.0188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
16 | LV_5552-1_0_6_line_16 | NAYY 4x150 SE | 13 | 52 | 0.01811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5552-1_0_6_line_17 | NAYY 4x150 SE | 14 | 15 | 0.051521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5552-1_0_6_line_18 | NAYY 4x150 SE | 14 | 16 | 0.0087169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5552-1_0_6_line_19 | NAYY 4x150 SE | 16 | 17 | 0.03052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5552-1_0_6_line_20 | NAYY 4x150 SE | 17 | 18 | 0.022487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5552-1_0_6_line_21 | NAYY 4x150 SE | 18 | 19 | 0.011277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5552-1_0_6_line_22 | NAYY 4x150 SE | 19 | 21 | 0.019801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5552-1_0_6_line_23 | NAYY 4x150 SE | 19 | 61 | 0.0025566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5552-1_0_6_line_24 | NAYY 4x150 SE | 20 | 21 | 0.010763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5552-1_0_6_line_25 | NAYY 4x150 SE | 21 | 27 | 0.0075749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5552-1_0_6_line_26 | NAYY 4x150 SE | 22 | 23 | 0.010668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5552-1_0_6_line_27 | NAYY 4x150 SE | 22 | 24 | 0.047672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5552-1_0_6_line_28 | NAYY 4x150 SE | 23 | 25 | 6.8042e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5552-1_0_6_line_29 | NAYY 4x150 SE | 24 | 26 | 0.050327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5552-1_0_6_line_30 | NAYY 4x150 SE | 25 | 27 | 0.0064691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5552-1_0_6_line_31 | NAYY 4x150 SE | 26 | 28 | 0.041094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5552-1_0_6_line_32 | NAYY 4x150 SE | 26 | 29 | 0.051063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5552-1_0_6_line_33 | NAYY 4x150 SE | 28 | 30 | 0.049052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5552-1_0_6_line_34 | NAYY 4x150 SE | 28 | 31 | 0.078767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5552-1_0_6_line_35 | NAYY 4x150 SE | 29 | 32 | 0.030839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5552-1_0_6_line_36 | NAYY 4x150 SE | 30 | 104 | 0.065165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5552-1_0_6_line_37 | NAYY 4x150 SE | 30 | 105 | 0.036569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5552-1_0_6_line_38 | NAYY 4x150 SE | 33 | 34 | 0.011442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5552-1_0_6_line_39 | NAYY 4x150 SE | 35 | 37 | 0.025078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5552-1_0_6_line_40 | NAYY 4x150 SE | 35 | 38 | 0.055687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
41 | LV_5552-1_0_6_line_41 | NAYY 4x150 SE | 36 | 39 | 0.047054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5552-1_0_6_line_42 | NAYY 4x150 SE | 37 | 103 | 0.012533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5552-1_0_6_line_43 | NAYY 4x150 SE | 38 | 96 | 0.38747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
44 | LV_5552-1_0_6_line_44 | NAYY 4x150 SE | 38 | 99 | 0.052312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5552-1_0_6_line_45 | NAYY 4x150 SE | 39 | 113 | 0.031496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5552-1_0_6_line_46 | NAYY 4x150 SE | 40 | 41 | 0.012955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5552-1_0_6_line_47 | NAYY 4x150 SE | 40 | 42 | 0.02264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5552-1_0_6_line_48 | NAYY 4x150 SE | 41 | 43 | 0.01081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5552-1_0_6_line_49 | NAYY 4x150 SE | 42 | 44 | 0.019804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5552-1_0_6_line_50 | NAYY 4x150 SE | 43 | 45 | 0.007842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5552-1_0_6_line_51 | NAYY 4x150 SE | 44 | 48 | 0.0026111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5552-1_0_6_line_52 | NAYY 4x150 SE | 44 | 49 | 0.014842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5552-1_0_6_line_53 | NAYY 4x150 SE | 45 | 52 | 0.007134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5552-1_0_6_line_54 | NAYY 4x150 SE | 46 | 47 | 0.013639 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5552-1_0_6_line_55 | NAYY 4x150 SE | 47 | 56 | 0.039176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5552-1_0_6_line_56 | NAYY 4x150 SE | 48 | 61 | 0.0336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5552-1_0_6_line_57 | NAYY 4x150 SE | 49 | 51 | 0.014186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5552-1_0_6_line_58 | NAYY 4x150 SE | 50 | 51 | 0.011192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5552-1_0_6_line_59 | NAYY 4x150 SE | 52 | 53 | 0.00879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5552-1_0_6_line_60 | NAYY 4x150 SE | 53 | 54 | 0.02799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5552-1_0_6_line_61 | NAYY 4x150 SE | 53 | 55 | 0.029928 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5552-1_0_6_line_62 | NAYY 4x150 SE | 54 | 62 | 0.037507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5552-1_0_6_line_63 | NAYY 4x150 SE | 54 | 63 | 0.011929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5552-1_0_6_line_64 | NAYY 4x150 SE | 55 | 56 | 0.030183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5552-1_0_6_line_65 | NAYY 4x150 SE | 56 | 57 | 0.015231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5552-1_0_6_line_66 | NAYY 4x150 SE | 57 | 58 | 0.016404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_5552-1_0_6_line_67 | NAYY 4x150 SE | 58 | 59 | 0.030915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_5552-1_0_6_line_68 | NAYY 4x150 SE | 58 | 60 | 0.013104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_5552-1_0_6_line_69 | NAYY 4x150 SE | 60 | 71 | 0.01444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_5552-1_0_6_line_70 | NAYY 4x150 SE | 62 | 66 | 0.0091499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_5552-1_0_6_line_71 | NAYY 4x150 SE | 63 | 64 | 0.021211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_5552-1_0_6_line_72 | NAYY 4x150 SE | 64 | 65 | 0.0032956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_5552-1_0_6_line_73 | NAYY 4x150 SE | 66 | 67 | 0.029823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_5552-1_0_6_line_74 | NAYY 4x150 SE | 67 | 68 | 0.010468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_5552-1_0_6_line_75 | NAYY 4x150 SE | 68 | 69 | 0.013927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_5552-1_0_6_line_76 | NAYY 4x150 SE | 68 | 70 | 0.032292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_5552-1_0_6_line_77 | NAYY 4x150 SE | 69 | 97 | 0.039004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_5552-1_0_6_line_78 | NAYY 4x150 SE | 70 | 74 | 0.013277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_5552-1_0_6_line_79 | NAYY 4x150 SE | 71 | 72 | 0.00012137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_5552-1_0_6_line_80 | NAYY 4x150 SE | 72 | 98 | 0.018145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_5552-1_0_6_line_81 | NAYY 4x150 SE | 73 | 74 | 0.027701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_5552-1_0_6_line_82 | NAYY 4x150 SE | 74 | 75 | 0.018086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_5552-1_0_6_line_83 | NAYY 4x150 SE | 75 | 76 | 0.036554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_5552-1_0_6_line_84 | NAYY 4x150 SE | 76 | 77 | 0.016339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_5552-1_0_6_line_85 | NAYY 4x150 SE | 77 | 78 | 0.0018383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_5552-1_0_6_line_86 | NAYY 4x150 SE | 78 | 79 | 0.028158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_5552-1_0_6_line_87 | NAYY 4x150 SE | 80 | 81 | 0.025998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
88 | LV_5552-1_0_6_line_88 | NAYY 4x150 SE | 80 | 82 | 0.025115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
89 | LV_5552-1_0_6_line_89 | NAYY 4x150 SE | 80 | 83 | 0.039477 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_5552-1_0_6_line_90 | NAYY 4x150 SE | 81 | 84 | 0.038254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
91 | LV_5552-1_0_6_line_91 | NAYY 4x150 SE | 82 | 85 | 0.022897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
92 | LV_5552-1_0_6_line_92 | NAYY 4x150 SE | 84 | 96 | 0.02356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
93 | LV_5552-1_0_6_line_93 | NAYY 4x150 SE | 85 | 93 | 0.030665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
94 | LV_5552-1_0_6_line_94 | NAYY 4x150 SE | 86 | 87 | 0.021864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_5552-1_0_6_line_95 | NAYY 4x150 SE | 87 | 88 | 0.009698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_5552-1_0_6_line_96 | NAYY 4x150 SE | 87 | 89 | 0.54771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
97 | LV_5552-1_0_6_line_97 | NAYY 4x150 SE | 88 | 90 | 0.041012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_5552-1_0_6_line_98 | NAYY 4x150 SE | 89 | 91 | 0.035989 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
99 | LV_5552-1_0_6_line_99 | NAYY 4x150 SE | 90 | 94 | 0.021812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_5552-1_0_6_line_100 | NAYY 4x150 SE | 91 | 92 | 0.0397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
101 | LV_5552-1_0_6_line_101 | NAYY 4x150 SE | 92 | 93 | 0.020629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
102 | LV_5552-1_0_6_line_102 | NAYY 4x150 SE | 94 | 95 | 0.037369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_5552-1_0_6_line_103 | NAYY 4x150 SE | 99 | 100 | 0.027426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_5552-1_0_6_line_104 | NAYY 4x150 SE | 100 | 101 | 0.025005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_5552-1_0_6_line_105 | NAYY 4x150 SE | 101 | 102 | 0.014655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
106 | LV_5552-1_0_6_line_106 | NAYY 4x150 SE | 103 | 109 | 0.029606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
107 | LV_5552-1_0_6_line_107 | NAYY 4x150 SE | 104 | 106 | 0.019816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
108 | LV_5552-1_0_6_line_108 | NAYY 4x150 SE | 104 | 107 | 0.047189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
109 | LV_5552-1_0_6_line_109 | NAYY 4x150 SE | 105 | 108 | 0.03615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
110 | LV_5552-1_0_6_line_110 | NAYY 4x150 SE | 106 | 111 | 0.026859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
111 | LV_5552-1_0_6_line_111 | NAYY 4x150 SE | 109 | 110 | 0.034668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
112 | LV_5552-1_0_6_line_112 | NAYY 4x150 SE | 111 | 112 | 0.019022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5552-1_0_6_trafo_3 | 0.25 MVA 20/0.4 kV | 114 | 3 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2532581.6458 | 1187147.7778 | 2532581.5126 | 1187151.0871 | 2532580.8493 | 1187168.7159 | 2532584.2252 | 1187196.0715 | 2532584.2252 | 1187196.0715
1 | 2532581.7391 | 1187145.459 | 2532581.6458 | 1187147.7778
2 | 2532584.2252 | 1187196.0715 | 2532584.0275 | 1187202.2107 | 2532582.5932 | 1187208.3081
3 | 2532581.7391 | 1187145.459 | 2532583.3945 | 1187129.5023
4 | 2532547.7106 | 1187238.8305 | 2532570.7268 | 1187224.3624 | 2532578.8064 | 1187214.1876 | 2532582.5932 | 1187208.3081
5 | 2532588.2993 | 1187104.7503 | 2532587.0893 | 1187107.7323 | 2532583.776 | 1187125.8246 | 2532583.3945 | 1187129.5023
6 | 2532547.7106 | 1187238.8305 | 2532536.4779 | 1187246.8063 | 2532527.5465 | 1187254.5116 | 2532509.9162 | 1187270.9201
7 | 2532547.7106 | 1187238.8305 | 2532546.6216 | 1187234.2846 | 2532547.5505 | 1187230.0605 | 2532550.9763 | 1187223.2957 | 2532552.3867 | 1187219.144 | 2532552.5493 | 1187215.9737 | 2532552.2057 | 1187210.5411 | 2532549.127 | 1187204.7947 | 2532542.0333 | 1187197.4705
8 | 2532588.2993 | 1187104.7503 | 2532577.1021 | 1187100.6613
9 | 2532588.2993 | 1187104.7503 | 2532589.2083 | 1187102.5169
10 | 2532616.3898 | 1187147.3775 | 2532616.5839 | 1187147.3784 | 2532620.0484 | 1187146.0719 | 2532623.3308 | 1187143.5001 | 2532624.633 | 1187139.8945
11 | 2532626.0217 | 1187123.0338 | 2532625.7922 | 1187124.2834 | 2532624.633 | 1187139.8945 | 2532624.633 | 1187139.8945
12 | 2532509.9162 | 1187270.9201 | 2532502.7507 | 1187276.2263 | 2532493.8293 | 1187282.7864
13 | 2532509.9162 | 1187270.9201 | 2532508.4075 | 1187250.1584 | 2532499.9493 | 1187241.4771
14 | 2532542.0333 | 1187197.4705 | 2532533.0542 | 1187188.1997 | 2532519.7555 | 1187175.3868 | 2532515.0408 | 1187173.4167 | 2532511.07 | 1187173.8062 | 2532508.4822 | 1187175.7143 | 2532507.2609 | 1187179.0522 | 2532506.1606 | 1187184.3498
15 | 2532596.2952 | 1187085.1042 | 2532589.2083 | 1187102.5169
16 | 2532629.2931 | 1187105.2218 | 2532626.0217 | 1187123.0338
17 | 2532563.0594 | 1186957.5109 | 2532569.914 | 1186952.2134 | 2532592.863 | 1186937.7684 | 2532606.2814 | 1186929.5384
18 | 2532556.1623 | 1186962.8413 | 2532563.0594 | 1186957.5109
19 | 2532556.1623 | 1186962.8413 | 2532554.798 | 1186972.4401 | 2532552.8637 | 1186993.1752
20 | 2532549.5679 | 1187015.4018 | 2532551.0147 | 1187008.3814 | 2532552.6811 | 1186995.1327 | 2532552.8637 | 1186993.1752
21 | 2532542.6181 | 1187024.2965 | 2532549.5679 | 1187015.4018
22 | 2532542.6181 | 1187024.2965 | 2532529.963 | 1187009.0416
23 | 2532542.6181 | 1187024.2965 | 2532544.3415 | 1187026.185
24 | 2532529.963 | 1187009.0416 | 2532524.6343 | 1186999.6905
25 | 2532529.963 | 1187009.0416 | 2532523.0121 | 1187012.0523
26 | 2532507.2244 | 1187018.8907 | 2532517.0135 | 1187014.6506
27 | 2532464.4317 | 1187039.7771 | 2532484.2381 | 1187028.847 | 2532507.2244 | 1187018.8907
28 | 2532517.0759 | 1187014.6235 | 2532517.0135 | 1187014.6506
29 | 2532464.4317 | 1187039.7771 | 2532447.9061 | 1187055.4062 | 2532441.8712 | 1187058.8208 | 2532435.7595 | 1187060.1685 | 2532429.9118 | 1187059.9011 | 2532421.9018 | 1187056.6675
30 | 2532517.0759 | 1187014.6235 | 2532523.0121 | 1187012.0523
31 | 2532394.5997 | 1187082.1465 | 2532395.7818 | 1187076.6967 | 2532400.918 | 1187066.0102 | 2532405.2758 | 1187061.3804 | 2532411.7082 | 1187058.7061 | 2532421.9018 | 1187056.6675
32 | 2532421.9018 | 1187056.6675 | 2532422.2398 | 1187063.6122 | 2532418.8765 | 1187071.8439 | 2532421.4363 | 1187083.644 | 2532429.3449 | 1187093.4381 | 2532435.9974 | 1187101.6319
33 | 2532355.2591 | 1187111.1195 | 2532382.2036 | 1187093.8491 | 2532394.5997 | 1187082.1465
34 | 2532394.5997 | 1187082.1465 | 2532450.6642 | 1187137.4731
35 | 2532457.9099 | 1187122.9658 | 2532446.6699 | 1187114.7769 | 2532435.9974 | 1187101.6319
36 | 2532314.6644 | 1187153.9594 | 2532313.527 | 1187139.097 | 2532318.0043 | 1187135.5998 | 2532327.6683 | 1187129.2534 | 2532355.2591 | 1187111.1195
37 | 2532355.2591 | 1187111.1195 | 2532359.7866 | 1187113.4029 | 2532370.6139 | 1187115.4483 | 2532377.9109 | 1187121.0802 | 2532385.4963 | 1187129.4045
38 | 2532500.6243 | 1187194.0359 | 2532505.3722 | 1187188.1455 | 2532506.1606 | 1187184.3498
39 | 2532493.8293 | 1187282.7864 | 2532485.1844 | 1187272.6337 | 2532476.4626 | 1187264.7695
40 | 2532493.8293 | 1187282.7864 | 2532472.3215 | 1187303.0967 | 2532465.1123 | 1187309.2484 | 2532456.4906 | 1187313.2926 | 2532449.5967 | 1187315.011
41 | 2532499.9493 | 1187241.4771 | 2532499.7078 | 1187241.2292 | 2532469.5717 | 1187219.7904 | 2532461.9513 | 1187213.7505
42 | 2532476.4626 | 1187264.7695 | 2532467.1549 | 1187256.3771
43 | 2532449.5967 | 1187315.011 | 2532690.5529 | 1187618.4413
44 | 2532406.5084 | 1187295.8049 | 2532423.4524 | 1187313.177 | 2532429.7912 | 1187317.7636 | 2532436.5872 | 1187318.2537 | 2532449.5967 | 1187315.011
45 | 2532437.2682 | 1187194.1868 | 2532461.9513 | 1187213.7505
46 | 2532596.2952 | 1187085.1042 | 2532606.8004 | 1187092.6854
47 | 2532580.4252 | 1187068.9182 | 2532586.7926 | 1187075.3502 | 2532596.2952 | 1187085.1042
48 | 2532616.045 | 1187098.2384 | 2532610.2959 | 1187095.2078 | 2532606.8004 | 1187092.6854
49 | 2532580.4252 | 1187068.9182 | 2532570.1216 | 1187058.5061 | 2532567.1439 | 1187054.2706
50 | 2532622.9822 | 1187101.8951 | 2532616.045 | 1187098.2384
51 | 2532567.1439 | 1187054.2706 | 2532565.6395 | 1187052.1364
52 | 2532567.1439 | 1187054.2706 | 2532556.4488 | 1187064.5608
53 | 2532629.2931 | 1187105.2218 | 2532622.9822 | 1187101.8951
54 | 2532615.022 | 1187052.8633 | 2532621.425 | 1187049.6003 | 2532625.2505 | 1187044.4046
55 | 2532656.2963 | 1187050.4413 | 2532650.6175 | 1187044.1683 | 2532636.847 | 1187037.564 | 2532631.176 | 1187036.7163 | 2532626.9636 | 1187042.078 | 2532625.2505 | 1187044.4046
56 | 2532544.3415 | 1187026.185 | 2532552.3988 | 1187035.0146 | 2532564.2438 | 1187050.1565 | 2532565.6395 | 1187052.1364
57 | 2532552.8794 | 1187077.4121 | 2532552.0479 | 1187071.5176 | 2532556.4105 | 1187064.5977 | 2532556.4488 | 1187064.5608
58 | 2532552.8794 | 1187077.4121 | 2532553.2505 | 1187080.0423 | 2532557.3408 | 1187087.5339
59 | 2532637.7815 | 1187107.5942 | 2532629.2931 | 1187105.2218
60 | 2532637.7815 | 1187107.5942 | 2532652.3001 | 1187112.2111 | 2532664.8146 | 1187115.0384
61 | 2532637.7815 | 1187107.5942 | 2532646.6564 | 1187079.0126
62 | 2532664.8146 | 1187115.0384 | 2532697.4241 | 1187122.3866 | 2532701.3882 | 1187123.3535
63 | 2532664.8146 | 1187115.0384 | 2532668.3874 | 1187103.657
64 | 2532656.2963 | 1187050.4413 | 2532653.5231 | 1187056.8985 | 2532646.6564 | 1187079.0126
65 | 2532656.2963 | 1187050.4413 | 2532663.6437 | 1187038.8962 | 2532664.4414 | 1187037.571
66 | 2532672.9012 | 1187023.5164 | 2532664.4414 | 1187037.571
67 | 2532672.9012 | 1187023.5164 | 2532683.5329 | 1187014.9695 | 2532687.2971 | 1187012.4923 | 2532698.6076 | 1187006.5696
68 | 2532672.9012 | 1187023.5164 | 2532660.5413 | 1187019.164
69 | 2532660.5413 | 1187019.164 | 2532646.9212 | 1187014.3678
70 | 2532701.3882 | 1187123.3535 | 2532710.2775 | 1187125.5215
71 | 2532668.3874 | 1187103.657 | 2532671.1048 | 1187095.0004 | 2532674.1092 | 1187089.4189 | 2532675.3117 | 1187083.7456
72 | 2532675.3117 | 1187083.7456 | 2532675.995 | 1187080.5216
73 | 2532739.2895 | 1187132.4282 | 2532724.6999 | 1187129.039 | 2532710.2775 | 1187125.5215
74 | 2532749.4858 | 1187134.7969 | 2532739.2895 | 1187132.4282
75 | 2532749.4858 | 1187134.7969 | 2532754.1325 | 1187121.6674
76 | 2532749.4858 | 1187134.7969 | 2532776.501 | 1187142.0306 | 2532780.6238 | 1187143.3393
77 | 2532767.6657 | 1187085.1011 | 2532764.209 | 1187093.196 | 2532754.1325 | 1187121.6674
78 | 2532793.2782 | 1187147.3562 | 2532780.6238 | 1187143.3393
79 | 2532646.9212 | 1187014.3678 | 2532646.8067 | 1187014.3275
80 | 2532629.6919 | 1187008.3008 | 2532646.8067 | 1187014.3275
81 | 2532793.2782 | 1187147.3562 | 2532799.675 | 1187144.2269 | 2532819.4667 | 1187149.8657
82 | 2532793.2782 | 1187147.3562 | 2532810.4303 | 1187153.0917
83 | 2532845.0972 | 1187164.6839 | 2532810.4303 | 1187153.0917
84 | 2532845.0972 | 1187164.6839 | 2532844.2 | 1187171.7537 | 2532843.2501 | 1187180.9141
85 | 2532843.2501 | 1187180.9141 | 2532843.0179 | 1187182.7377
86 | 2532837.5713 | 1187210.3247 | 2532841.7006 | 1187193.083 | 2532843.0179 | 1187182.7377
87 | 2532774.821 | 1187601.6611 | 2532762.5641 | 1187610.782 | 2532752.0251 | 1187612.741
88 | 2532774.821 | 1187601.6611 | 2532788.5532 | 1187608.3773 | 2532796.8511 | 1187613.6435
89 | 2532774.821 | 1187601.6611 | 2532776.2741 | 1187622.9905 | 2532779.6327 | 1187640.7742
90 | 2532752.0251 | 1187612.741 | 2532741.2998 | 1187614.7347 | 2532714.0733 | 1187617.2831
91 | 2532816.1838 | 1187625.9129 | 2532796.8511 | 1187613.6435
92 | 2532690.5529 | 1187618.4413 | 2532706.5999 | 1187617.9826 | 2532714.0733 | 1187617.2831
93 | 2532816.1838 | 1187625.9129 | 2532823.0476 | 1187630.269 | 2532833.0157 | 1187634.7151 | 2532844.3802 | 1187637.1444 | 2532844.3802 | 1187637.1444
94 | 2532951.3678 | 1188237.5149 | 2532954.749 | 1188237.666 | 2532958.0872 | 1188238.7514 | 2532961.2002 | 1188240.8399 | 2532968.1237 | 1188249.6693
95 | 2532951.3678 | 1188237.5149 | 2532948.7891 | 1188238.8446 | 2532947.4335 | 1188241.0945 | 2532945.8981 | 1188244.9807
96 | 2532923.9198 | 1187690.4935 | 2532951.3678 | 1188237.5149
97 | 2532945.8981 | 1188244.9807 | 2532946.084 | 1188247.9581 | 2532947.7943 | 1188261.6802 | 2532949.7736 | 1188272.8645 | 2532950.4107 | 1188277.2933 | 2532951.4973 | 1188280.9944 | 2532953.5714 | 1188284.9956
98 | 2532923.9198 | 1187690.4935 | 2532918.2471 | 1187684.6871 | 2532908.54 | 1187676.9805 | 2532901.031 | 1187672.7401 | 2532895.5505 | 1187668.6247
99 | 2532953.5714 | 1188284.9956 | 2532943.6136 | 1188284.7628 | 2532932.8689 | 1188279.7611
100 | 2532860.9775 | 1187649.3885 | 2532863.543 | 1187651.2151 | 2532877.9617 | 1187657.946 | 2532889.2589 | 1187663.9004 | 2532895.5505 | 1187668.6247
101 | 2532844.3802 | 1187637.1444 | 2532851.4452 | 1187642.6015 | 2532860.9775 | 1187649.3885
102 | 2532932.8689 | 1188279.7611 | 2532932.2564 | 1188279.476 | 2532924.7241 | 1188275.1358 | 2532913.749 | 1188267.8658 | 2532906.9847 | 1188262.6276 | 2532902.2146 | 1188258.5434
103 | 2532406.5084 | 1187295.8049 | 2532401.9696 | 1187291.1515 | 2532386.4684 | 1187277.0951
104 | 2532386.4684 | 1187277.0951 | 2532376.6613 | 1187268.2021 | 2532366.915 | 1187261.6108
105 | 2532352.6963 | 1187258.1621 | 2532366.6045 | 1187261.4008 | 2532366.915 | 1187261.6108
106 | 2532444.9902 | 1187236.7571 | 2532449.6873 | 1187240.6272 | 2532467.1549 | 1187256.3771
107 | 2532314.6644 | 1187153.9594 | 2532330.2638 | 1187166.1804
108 | 2532314.6644 | 1187153.9594 | 2532314.2933 | 1187161.6125 | 2532310.2468 | 1187172.8315 | 2532309.8558 | 1187185.4655 | 2532312.2258 | 1187196.6563 | 2532313.3615 | 1187199.9891
109 | 2532413.036 | 1187152.479 | 2532395.3483 | 1187140.2163 | 2532385.4963 | 1187129.4045
110 | 2532351.4067 | 1187182.7442 | 2532330.2638 | 1187166.1804
111 | 2532418.2339 | 1187214.712 | 2532444.9902 | 1187236.7571
112 | 2532366.3811 | 1187194.4755 | 2532351.4067 | 1187182.7442

## bus_geodata
| x | y | coords
0 | 2532581.6458 | 1187147.7778
1 | 2532584.2252 | 1187196.0715
2 | 2532581.7391 | 1187145.459
3 | 2532582.5932 | 1187208.3081
4 | 2532583.3945 | 1187129.5023
5 | 2532547.7106 | 1187238.8305
6 | 2532588.2993 | 1187104.7503
7 | 2532616.3898 | 1187147.3775
8 | 2532624.633 | 1187139.8945
9 | 2532509.9162 | 1187270.9201
10 | 2532542.0333 | 1187197.4705
11 | 2532577.1021 | 1187100.6613
12 | 2532589.2083 | 1187102.5169
13 | 2532626.0217 | 1187123.0338
14 | 2532563.0594 | 1186957.5109
15 | 2532606.2814 | 1186929.5384
16 | 2532556.1623 | 1186962.8413
17 | 2532552.8637 | 1186993.1752
18 | 2532549.5679 | 1187015.4018
19 | 2532542.6181 | 1187024.2965
20 | 2532524.6343 | 1186999.6905
21 | 2532529.963 | 1187009.0416
22 | 2532507.2244 | 1187018.8907
23 | 2532517.0135 | 1187014.6506
24 | 2532464.4317 | 1187039.7771
25 | 2532517.0759 | 1187014.6235
26 | 2532421.9018 | 1187056.6675
27 | 2532523.0121 | 1187012.0523
28 | 2532394.5997 | 1187082.1465
29 | 2532435.9974 | 1187101.6319
30 | 2532355.2591 | 1187111.1195
31 | 2532450.6642 | 1187137.4731
32 | 2532457.9099 | 1187122.9658
33 | 2532506.1606 | 1187184.3498
34 | 2532500.6243 | 1187194.0359
35 | 2532493.8293 | 1187282.7864
36 | 2532499.9493 | 1187241.4771
37 | 2532476.4626 | 1187264.7695
38 | 2532449.5967 | 1187315.011
39 | 2532461.9513 | 1187213.7505
40 | 2532596.2952 | 1187085.1042
41 | 2532606.8004 | 1187092.6854
42 | 2532580.4252 | 1187068.9182
43 | 2532616.045 | 1187098.2384
44 | 2532567.1439 | 1187054.2706
45 | 2532622.9822 | 1187101.8951
46 | 2532615.022 | 1187052.8633
47 | 2532625.2505 | 1187044.4046
48 | 2532565.6395 | 1187052.1364
49 | 2532556.4488 | 1187064.5608
50 | 2532557.3408 | 1187087.5339
51 | 2532552.8794 | 1187077.4121
52 | 2532629.2931 | 1187105.2218
53 | 2532637.7815 | 1187107.5942
54 | 2532664.8146 | 1187115.0384
55 | 2532646.6564 | 1187079.0126
56 | 2532656.2963 | 1187050.4413
57 | 2532664.4414 | 1187037.571
58 | 2532672.9012 | 1187023.5164
59 | 2532698.6076 | 1187006.5696
60 | 2532660.5413 | 1187019.164
61 | 2532544.3415 | 1187026.185
62 | 2532701.3882 | 1187123.3535
63 | 2532668.3874 | 1187103.657
64 | 2532675.3117 | 1187083.7456
65 | 2532675.995 | 1187080.5216
66 | 2532710.2775 | 1187125.5215
67 | 2532739.2895 | 1187132.4282
68 | 2532749.4858 | 1187134.7969
69 | 2532754.1325 | 1187121.6674
70 | 2532780.6238 | 1187143.3393
71 | 2532646.9212 | 1187014.3678
72 | 2532646.8067 | 1187014.3275
73 | 2532819.4667 | 1187149.8657
74 | 2532793.2782 | 1187147.3562
75 | 2532810.4303 | 1187153.0917
76 | 2532845.0972 | 1187164.6839
77 | 2532843.2501 | 1187180.9141
78 | 2532843.0179 | 1187182.7377
79 | 2532837.5713 | 1187210.3247
80 | 2532774.821 | 1187601.6611
81 | 2532752.0251 | 1187612.741
82 | 2532796.8511 | 1187613.6435
83 | 2532779.6327 | 1187640.7742
84 | 2532714.0733 | 1187617.2831
85 | 2532816.1838 | 1187625.9129
86 | 2532968.1237 | 1188249.6693
87 | 2532951.3678 | 1188237.5149
88 | 2532945.8981 | 1188244.9806
89 | 2532923.9198 | 1187690.4935
90 | 2532953.5714 | 1188284.9956
91 | 2532895.5505 | 1187668.6247
92 | 2532860.9775 | 1187649.3885
93 | 2532844.3802 | 1187637.1444
94 | 2532932.8689 | 1188279.7611
95 | 2532902.2146 | 1188258.5434
96 | 2532690.5529 | 1187618.4413
97 | 2532767.6657 | 1187085.1011
98 | 2532629.6919 | 1187008.3008
99 | 2532406.5084 | 1187295.8049
100 | 2532386.4684 | 1187277.0951
101 | 2532366.915 | 1187261.6108
102 | 2532352.6963 | 1187258.1621
103 | 2532467.1549 | 1187256.3771
104 | 2532314.6644 | 1187153.9594
105 | 2532385.4963 | 1187129.4045
106 | 2532330.2638 | 1187166.1804
107 | 2532313.3615 | 1187199.9891
108 | 2532413.036 | 1187152.479
109 | 2532444.9902 | 1187236.7571
110 | 2532418.2339 | 1187214.712
111 | 2532351.4067 | 1187182.7442
112 | 2532366.3811 | 1187194.4755
113 | 2532437.2682 | 1187194.1868
114 | 2532547.7106 | 1187238.8305

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1