## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5562-1_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5562-1_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5562-1_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5562-1_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5562-1_0_2_node_49 | 0.4 | n |  | TRUE
5 | bus_LV_5562-1_0_2_node_79 | 0.4 | n |  | TRUE
6 | bus_LV_5562-1_0_2_node_80 | 0.4 | n |  | TRUE
7 | bus_LV_5562-1_0_2_node_37 | 0.4 | n |  | TRUE
8 | bus_LV_5562-1_0_2_node_52 | 0.4 | n |  | TRUE
9 | bus_LV_5562-1_0_2_node_47 | 0.4 | n |  | TRUE
10 | bus_LV_5562-1_0_2_node_78 | 0.4 | n |  | TRUE
11 | bus_LV_5562-1_0_2_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_5562-1_0_2_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_5562-1_0_2_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_5562-1_0_2_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_5562-1_0_2_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_5562-1_0_2_node_44 | 0.4 | n |  | TRUE
17 | bus_LV_5562-1_0_2_node_45 | 0.4 | n |  | TRUE
18 | bus_LV_5562-1_0_2_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_5562-1_0_2_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_5562-1_0_2_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_5562-1_0_2_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_5562-1_0_2_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_5562-1_0_2_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_5562-1_0_2_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_5562-1_0_2_node_30 | 0.4 | n |  | TRUE
26 | bus_LV_5562-1_0_2_node_28 | 0.4 | n |  | TRUE
27 | bus_LV_5562-1_0_2_node_83 | 0.4 | n |  | TRUE
28 | bus_LV_5562-1_0_2_node_90 | 0.4 | n |  | TRUE
29 | bus_LV_5562-1_0_2_node_71 | 0.4 | n |  | TRUE
30 | bus_LV_5562-1_0_2_node_29 | 0.4 | n |  | TRUE
31 | bus_LV_5562-1_0_2_node_82 | 0.4 | n |  | TRUE
32 | bus_LV_5562-1_0_2_node_17 | 0.4 | n |  | TRUE
33 | bus_LV_5562-1_0_2_node_18 | 0.4 | n |  | TRUE
34 | bus_LV_5562-1_0_2_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_5562-1_0_2_node_35 | 0.4 | n |  | TRUE
36 | bus_LV_5562-1_0_2_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_5562-1_0_2_node_67 | 0.4 | n |  | TRUE
38 | bus_LV_5562-1_0_2_node_19 | 0.4 | n |  | TRUE
39 | bus_LV_5562-1_0_2_node_20 | 0.4 | n |  | TRUE
40 | bus_LV_5562-1_0_2_node_21 | 0.4 | n |  | TRUE
41 | bus_LV_5562-1_0_2_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_5562-1_0_2_node_24 | 0.4 | n |  | TRUE
43 | bus_LV_5562-1_0_2_node_63 | 0.4 | n |  | TRUE
44 | bus_LV_5562-1_0_2_node_66 | 0.4 | n |  | TRUE
45 | bus_LV_5562-1_0_2_node_25 | 0.4 | n |  | TRUE
46 | bus_LV_5562-1_0_2_node_61 | 0.4 | n |  | TRUE
47 | bus_LV_5562-1_0_2_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_5562-1_0_2_node_68 | 0.4 | n |  | TRUE
49 | bus_LV_5562-1_0_2_node_26 | 0.4 | n |  | TRUE
50 | bus_LV_5562-1_0_2_node_77 | 0.4 | n |  | TRUE
51 | bus_LV_5562-1_0_2_node_75 | 0.4 | n |  | TRUE
52 | bus_LV_5562-1_0_2_node_65 | 0.4 | n |  | TRUE
53 | bus_LV_5562-1_0_2_node_76 | 0.4 | n |  | TRUE
54 | bus_LV_5562-1_0_2_node_53 | 0.4 | n |  | TRUE
55 | bus_LV_5562-1_0_2_node_74 | 0.4 | n |  | TRUE
56 | bus_LV_5562-1_0_2_node_69 | 0.4 | n |  | TRUE
57 | bus_LV_5562-1_0_2_node_31 | 0.4 | n |  | TRUE
58 | bus_LV_5562-1_0_2_node_32 | 0.4 | n |  | TRUE
59 | bus_LV_5562-1_0_2_node_33 | 0.4 | n |  | TRUE
60 | bus_LV_5562-1_0_2_node_34 | 0.4 | n |  | TRUE
61 | bus_LV_5562-1_0_2_node_43 | 0.4 | n |  | TRUE
62 | bus_LV_5562-1_0_2_node_41 | 0.4 | n |  | TRUE
63 | bus_LV_5562-1_0_2_node_89 | 0.4 | n |  | TRUE
64 | bus_LV_5562-1_0_2_node_64 | 0.4 | n |  | TRUE
65 | bus_LV_5562-1_0_2_node_38 | 0.4 | n |  | TRUE
66 | bus_LV_5562-1_0_2_node_39 | 0.4 | n |  | TRUE
67 | bus_LV_5562-1_0_2_node_40 | 0.4 | n |  | TRUE
68 | bus_LV_5562-1_0_2_node_42 | 0.4 | n |  | TRUE
69 | bus_LV_5562-1_0_2_node_88 | 0.4 | n |  | TRUE
70 | bus_LV_5562-1_0_2_node_46 | 0.4 | n |  | TRUE
71 | bus_LV_5562-1_0_2_node_48 | 0.4 | n |  | TRUE
72 | bus_LV_5562-1_0_2_node_50 | 0.4 | n |  | TRUE
73 | bus_LV_5562-1_0_2_node_51 | 0.4 | n |  | TRUE
74 | bus_LV_5562-1_0_2_node_54 | 0.4 | n |  | TRUE
75 | bus_LV_5562-1_0_2_node_55 | 0.4 | n |  | TRUE
76 | bus_LV_5562-1_0_2_node_56 | 0.4 | n |  | TRUE
77 | bus_LV_5562-1_0_2_node_57 | 0.4 | n |  | TRUE
78 | bus_LV_5562-1_0_2_node_58 | 0.4 | n |  | TRUE
79 | bus_LV_5562-1_0_2_node_81 | 0.4 | n |  | TRUE
80 | bus_LV_5562-1_0_2_node_72 | 0.4 | n |  | TRUE
81 | bus_LV_5562-1_0_2_node_59 | 0.4 | n |  | TRUE
82 | bus_LV_5562-1_0_2_node_60 | 0.4 | n |  | TRUE
83 | bus_LV_5562-1_0_2_node_85 | 0.4 | n |  | TRUE
84 | bus_LV_5562-1_0_2_node_62 | 0.4 | n |  | TRUE
85 | bus_LV_5562-1_0_2_node_84 | 0.4 | n |  | TRUE
86 | bus_LV_5562-1_0_2_node_87 | 0.4 | n |  | TRUE
87 | bus_LV_5562-1_0_2_node_70 | 0.4 | n |  | TRUE
88 | bus_LV_5562-1_0_2_node_73 | 0.4 | n |  | TRUE
89 | bus_LV_5562-1_0_2_node_86 | 0.4 | n |  | TRUE
90 | bus_MV_316_0_node_8 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5562-1_0_2_load_0 | 0 | 0.0075758 | 0.0018987 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5562-1_0_2_load_1 | 1 | 0.0025489 | 0.00063883 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5562-1_0_2_load_2 | 2 | 0.0011589 | 0.00029044 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5562-1_0_2_load_37 | 7 | 0.001805 | 0.00045237 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5562-1_0_2_load_52 | 8 | 0.0013574 | 0.0003402 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5562-1_0_2_load_47 | 9 | 0.00087041 | 0.00021815 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5562-1_0_2_load_78 | 10 | 0.0004818 | 0.00012075 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5562-1_0_2_load_5 | 11 | 0.00071716 | 0.00017974 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5562-1_0_2_load_6 | 12 | 0.0010139 | 0.00025411 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5562-1_0_2_load_8 | 14 | 0.00089516 | 0.00022435 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5562-1_0_2_load_9 | 15 | 0.00086979 | 0.00021799 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5562-1_0_2_load_44 | 16 | 0.0012013 | 0.00030108 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5562-1_0_2_load_45 | 17 | 0.00068094 | 0.00017066 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5562-1_0_2_load_10 | 18 | 0.0009228 | 0.00023128 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5562-1_0_2_load_14 | 22 | 0.0006713 | 0.00016824 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5562-1_0_2_load_15 | 23 | 0.00061324 | 0.00015369 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5562-1_0_2_load_16 | 24 | 0.0017451 | 0.00043737 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5562-1_0_2_load_28 | 26 | 0.00073407 | 0.00018398 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5562-1_0_2_load_90 | 28 | 0.00072891 | 0.00018268 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5562-1_0_2_load_29 | 30 | 0.00072517 | 0.00018174 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5562-1_0_2_load_82 | 31 | 0.0010095 | 0.000253 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5562-1_0_2_load_17 | 32 | 0.00098692 | 0.00024735 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5562-1_0_2_load_22 | 34 | 0.0022763 | 0.00057049 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5562-1_0_2_load_23 | 36 | 0.0012686 | 0.00031795 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5562-1_0_2_load_67 | 37 | 0.00090148 | 0.00022593 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5562-1_0_2_load_27 | 41 | 0.0021877 | 0.00054828 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5562-1_0_2_load_24 | 42 | 0.002241 | 0.00056165 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5562-1_0_2_load_63 | 43 | 0.00097476 | 0.0002443 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5562-1_0_2_load_25 | 45 | 0.0021044 | 0.00052741 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5562-1_0_2_load_61 | 46 | 0.00079119 | 0.00019829 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5562-1_0_2_load_36 | 47 | 0.00058786 | 0.00014733 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5562-1_0_2_load_68 | 48 | 0.0014431 | 0.00036167 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5562-1_0_2_load_77 | 50 | 0.001625 | 0.00040725 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5562-1_0_2_load_75 | 51 | 0.0029319 | 0.00073479 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5562-1_0_2_load_76 | 53 | 0.0013489 | 0.00033807 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5562-1_0_2_load_74 | 55 | 0.00085711 | 0.00021481 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5562-1_0_2_load_69 | 56 | 0.00060438 | 0.00015147 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5562-1_0_2_load_31 | 57 | 0.0012468 | 0.00031247 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5562-1_0_2_load_33 | 59 | 0.0015809 | 0.00039621 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5562-1_0_2_load_34 | 60 | 0.0013915 | 0.00034873 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5562-1_0_2_load_41 | 62 | 0.0047534 | 0.0011913 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5562-1_0_2_load_38 | 65 | 0.0026898 | 0.00067413 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5562-1_0_2_load_39 | 66 | 0.0023168 | 0.00058064 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5562-1_0_2_load_42 | 68 | 0.0011793 | 0.00029557 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5562-1_0_2_load_88 | 69 | 0.0020059 | 0.00050273 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5562-1_0_2_load_46 | 70 | 0.00079636 | 0.00019959 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5562-1_0_2_load_48 | 71 | 0.0037374 | 0.00093667 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5562-1_0_2_load_50 | 72 | 0.0030958 | 0.00077587 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5562-1_0_2_load_51 | 73 | 0.00073292 | 0.00018369 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5562-1_0_2_load_54 | 74 | 0.00083338 | 0.00020886 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5562-1_0_2_load_55 | 75 | 0.0011088 | 0.00027788 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5562-1_0_2_load_56 | 76 | 0.00080542 | 0.00020186 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5562-1_0_2_load_57 | 77 | 0.00047615 | 0.00011934 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5562-1_0_2_load_58 | 78 | 0.0021408 | 0.00053653 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5562-1_0_2_load_81 | 79 | 0.00061936 | 0.00015523 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5562-1_0_2_load_59 | 81 | 0.00035738 | 8.9567e-05 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5562-1_0_2_load_60 | 82 | 0.00055674 | 0.00013953 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5562-1_0_2_load_62 | 84 | 0.0050829 | 0.0012739 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5562-1_0_2_load_84 | 85 | 0.0010124 | 0.00025374 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5562-1_0_2_load_87 | 86 | 0.0027699 | 0.0006942 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5562-1_0_2_load_73 | 88 | 0.0031517 | 0.00078989 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5562-1_0_2_load_86 | 89 | 0.0061478 | 0.0015408 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 51 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5562-1_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0017138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5562-1_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.015695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5562-1_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.044945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5562-1_0_2_line_3 | NAYY 4x150 SE | 3 | 4 | 0.036724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5562-1_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.035779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5562-1_0_2_line_5 | NAYY 4x150 SE | 4 | 8 | 0.018583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5562-1_0_2_line_6 | NAYY 4x150 SE | 4 | 9 | 0.0097224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5562-1_0_2_line_7 | NAYY 4x150 SE | 5 | 10 | 0.0080261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5562-1_0_2_line_8 | NAYY 4x150 SE | 5 | 6 | 0.035143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5562-1_0_2_line_9 | NAYY 4x150 SE | 6 | 7 | 0.013763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5562-1_0_2_line_10 | NAYY 4x150 SE | 7 | 35 | 0.014104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5562-1_0_2_line_11 | NAYY 4x150 SE | 8 | 72 | 0.022354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5562-1_0_2_line_12 | NAYY 4x150 SE | 9 | 70 | 0.0063851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5562-1_0_2_line_13 | NAYY 4x150 SE | 11 | 12 | 0.018257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5562-1_0_2_line_14 | NAYY 4x150 SE | 11 | 13 | 0.0151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5562-1_0_2_line_15 | NAYY 4x150 SE | 13 | 14 | 0.028863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5562-1_0_2_line_16 | NAYY 4x150 SE | 13 | 15 | 0.010479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5562-1_0_2_line_17 | NAYY 4x150 SE | 15 | 16 | 0.025888 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5562-1_0_2_line_18 | NAYY 4x150 SE | 16 | 17 | 0.0034137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5562-1_0_2_line_19 | NAYY 4x150 SE | 17 | 23 | 0.029652 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5562-1_0_2_line_20 | NAYY 4x150 SE | 18 | 19 | 0.056493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5562-1_0_2_line_21 | NAYY 4x150 SE | 18 | 20 | 0.061823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5562-1_0_2_line_22 | NAYY 4x150 SE | 19 | 21 | 0.047929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5562-1_0_2_line_23 | NAYY 4x150 SE | 19 | 22 | 0.036938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5562-1_0_2_line_24 | NAYY 4x150 SE | 20 | 23 | 0.031098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5562-1_0_2_line_25 | NAYY 4x150 SE | 20 | 24 | 0.0035878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5562-1_0_2_line_26 | NAYY 4x150 SE | 21 | 25 | 0.030828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5562-1_0_2_line_27 | NAYY 4x150 SE | 21 | 26 | 0.03448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5562-1_0_2_line_28 | NAYY 4x150 SE | 22 | 27 | 0.054537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5562-1_0_2_line_29 | NAYY 4x150 SE | 25 | 28 | 0.046275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5562-1_0_2_line_30 | NAYY 4x150 SE | 25 | 29 | 0.014632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5562-1_0_2_line_31 | NAYY 4x150 SE | 26 | 30 | 0.0023967 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5562-1_0_2_line_32 | NAYY 4x150 SE | 27 | 31 | 0.018653 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5562-1_0_2_line_33 | NAYY 4x150 SE | 29 | 55 | 0.02178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5562-1_0_2_line_34 | NAYY 4x150 SE | 29 | 56 | 0.06532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5562-1_0_2_line_35 | NAYY 4x150 SE | 32 | 33 | 0.016532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5562-1_0_2_line_36 | NAYY 4x150 SE | 33 | 34 | 0.047165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5562-1_0_2_line_37 | NAYY 4x150 SE | 34 | 35 | 0.0059408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5562-1_0_2_line_38 | NAYY 4x150 SE | 35 | 47 | 0.025134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5562-1_0_2_line_39 | NAYY 4x150 SE | 36 | 37 | 0.0092816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5562-1_0_2_line_40 | NAYY 4x150 SE | 37 | 48 | 0.0022074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5562-1_0_2_line_41 | NAYY 4x150 SE | 38 | 39 | 0.035352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5562-1_0_2_line_42 | NAYY 4x150 SE | 38 | 40 | 0.00666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5562-1_0_2_line_43 | NAYY 4x150 SE | 39 | 41 | 0.0074864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5562-1_0_2_line_44 | NAYY 4x150 SE | 39 | 42 | 0.015209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5562-1_0_2_line_45 | NAYY 4x150 SE | 40 | 43 | 0.070252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5562-1_0_2_line_46 | NAYY 4x150 SE | 41 | 44 | 0.0069506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5562-1_0_2_line_47 | NAYY 4x150 SE | 42 | 45 | 0.018263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5562-1_0_2_line_48 | NAYY 4x150 SE | 43 | 46 | 0.018791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5562-1_0_2_line_49 | NAYY 4x150 SE | 44 | 48 | 0.0074976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5562-1_0_2_line_50 | NAYY 4x150 SE | 44 | 54 | 0.018499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5562-1_0_2_line_51 | NAYY 4x150 SE | 45 | 49 | 0.033025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5562-1_0_2_line_52 | NAYY 4x150 SE | 46 | 81 | 0.0094374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5562-1_0_2_line_53 | NAYY 4x150 SE | 49 | 50 | 0.027799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5562-1_0_2_line_54 | NAYY 4x150 SE | 49 | 51 | 0.017201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5562-1_0_2_line_55 | NAYY 4x150 SE | 50 | 52 | 0.017101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5562-1_0_2_line_56 | NAYY 4x150 SE | 51 | 53 | 0.038846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5562-1_0_2_line_57 | NAYY 4x150 SE | 52 | 63 | 0.009167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5562-1_0_2_line_58 | NAYY 4x150 SE | 53 | 80 | 0.038928 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5562-1_0_2_line_59 | NAYY 4x150 SE | 54 | 73 | 0.03472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5562-1_0_2_line_60 | NAYY 4x150 SE | 56 | 87 | 0.013571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5562-1_0_2_line_61 | NAYY 4x150 SE | 57 | 58 | 0.024135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5562-1_0_2_line_62 | NAYY 4x150 SE | 58 | 59 | 0.023661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5562-1_0_2_line_63 | NAYY 4x150 SE | 58 | 60 | 0.027497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5562-1_0_2_line_64 | NAYY 4x150 SE | 59 | 61 | 0.0019466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5562-1_0_2_line_65 | NAYY 4x150 SE | 61 | 62 | 0.033121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5562-1_0_2_line_66 | NAYY 4x150 SE | 62 | 68 | 0.0046549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_5562-1_0_2_line_67 | NAYY 4x150 SE | 63 | 64 | 0.01186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_5562-1_0_2_line_68 | NAYY 4x150 SE | 64 | 69 | 0.015074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_5562-1_0_2_line_69 | NAYY 4x150 SE | 64 | 67 | 0.020303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_5562-1_0_2_line_70 | NAYY 4x150 SE | 65 | 66 | 0.00040211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_5562-1_0_2_line_71 | NAYY 4x150 SE | 66 | 67 | 0.010629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_5562-1_0_2_line_72 | NAYY 4x150 SE | 67 | 68 | 0.023426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_5562-1_0_2_line_73 | NAYY 4x150 SE | 69 | 86 | 0.024285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_5562-1_0_2_line_74 | NAYY 4x150 SE | 70 | 71 | 0.019045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_5562-1_0_2_line_75 | NAYY 4x150 SE | 72 | 73 | 0.00016144 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_5562-1_0_2_line_76 | NAYY 4x150 SE | 74 | 75 | 0.050356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_5562-1_0_2_line_77 | NAYY 4x150 SE | 74 | 76 | 0.029966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_5562-1_0_2_line_78 | NAYY 4x150 SE | 75 | 77 | 0.025002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_5562-1_0_2_line_79 | NAYY 4x150 SE | 76 | 78 | 0.041721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_5562-1_0_2_line_80 | NAYY 4x150 SE | 77 | 79 | 0.0003107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_5562-1_0_2_line_81 | NAYY 4x150 SE | 79 | 80 | 0.018668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_5562-1_0_2_line_82 | NAYY 4x150 SE | 81 | 82 | 0.046171 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_5562-1_0_2_line_83 | NAYY 4x150 SE | 81 | 83 | 0.03221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_5562-1_0_2_line_84 | NAYY 4x150 SE | 82 | 84 | 0.06658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_5562-1_0_2_line_85 | NAYY 4x150 SE | 83 | 85 | 0.0039244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_5562-1_0_2_line_86 | NAYY 4x150 SE | 86 | 89 | 0.028071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_5562-1_0_2_line_87 | NAYY 4x150 SE | 87 | 88 | 0.012449 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_5562-1_0_2_line_88 | NAYY 4x150 SE | 88 | 89 | 0.026797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5562-1_0_2_trafo_75 | 0.25 MVA 20/0.4 kV | 90 | 51 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17
0 | 2537149.5653 | 1189670.2725 | 2537148.5712 | 1189671.6686
1 | 2537149.5653 | 1189670.2725 | 2537154.3161 | 1189663.6002 | 2537158.5994 | 1189657.4382
2 | 2537149.4141 | 1189710.1675 | 2537146.5989 | 1189704.2715 | 2537139.9782 | 1189695.5028 | 2537138.0669 | 1189691.4316 | 2537138.073 | 1189687.6627 | 2537141.2917 | 1189681.8922 | 2537148.5712 | 1189671.6686
3 | 2537149.4141 | 1189710.1675 | 2537164.4399 | 1189715.3792 | 2537184.2036 | 1189722.2197
4 | 2537115.8046 | 1189697.9252 | 2537119.0917 | 1189699.3803 | 2537149.4141 | 1189710.1675
5 | 2537184.2036 | 1189722.2197 | 2537201.8547 | 1189728.0296
6 | 2537184.2036 | 1189722.2197 | 2537188.7985 | 1189713.6516
7 | 2537115.8046 | 1189697.9252 | 2537112.8153 | 1189690.4765
8 | 2537107.3173 | 1189727.7206 | 2537107.2968 | 1189721.4283 | 2537108.6322 | 1189716.4335 | 2537111.9915 | 1189709.5275 | 2537115.8319 | 1189703.4169 | 2537119.0917 | 1189699.3803 | 2537115.8046 | 1189697.9252
9 | 2537107.3173 | 1189727.7206 | 2537108.4733 | 1189731.0325 | 2537110.3151 | 1189735.0154 | 2537113.9495 | 1189738.3124 | 2537114.7223 | 1189738.8826
10 | 2537126.0707 | 1189747.2567 | 2537114.7223 | 1189738.8826
11 | 2537223.1136 | 1189734.941 | 2537205.2495 | 1189729.147 | 2537201.8547 | 1189728.0296
12 | 2537190.9759 | 1189707.7069 | 2537190.9759 | 1189707.7069 | 2537190.1875 | 1189711.0615 | 2537188.7985 | 1189713.6516
13 | 2537662.5645 | 1189958.3128 | 2537659.5799 | 1189957.3211 | 2537657.9906 | 1189957.0264 | 2537656.1035 | 1189957.4241 | 2537653.923 | 1189958.214 | 2537651.8358 | 1189959.9034 | 2537650.1458 | 1189962.3892 | 2537648.7629 | 1189965.6666
14 | 2537643.1417 | 1189979.6055 | 2537645.4716 | 1189975.6011 | 2537646.6677 | 1189971.8309 | 2537648.5532 | 1189966.1635 | 2537648.7629 | 1189965.6666
15 | 2537643.1417 | 1189979.6055 | 2537648.9001 | 1189982.5916 | 2537654.2702 | 1189986.3599 | 2537661.917 | 1189992.7171 | 2537666.045 | 1189996.8926
16 | 2537643.1417 | 1189979.6055 | 2537636.5862 | 1189976.9724 | 2537633.3313 | 1189975.9405
17 | 2537633.3313 | 1189975.9405 | 2537608.6542 | 1189968.1168
18 | 2537605.4001 | 1189967.0852 | 2537608.6542 | 1189968.1168
19 | 2537605.4001 | 1189967.0852 | 2537592.5897 | 1189963.0237 | 2537580.8219 | 1189960.056 | 2537576.8437 | 1189959.1644
20 | 2537569.7956 | 1189839.0793 | 2537570.9227 | 1189841.8469 | 2537572.1031 | 1189844.6028 | 2537572.5972 | 1189847.3659 | 2537572.4642 | 1189850.6915 | 2537572.1036 | 1189854.8643 | 2537571.1612 | 1189860.2884 | 2537562.8349 | 1189892.5384 | 2537562.451 | 1189893.8537
21 | 2537546.2752 | 1189953.5133 | 2537554.5741 | 1189920.841 | 2537562.451 | 1189893.8537
22 | 2537524.199 | 1189823.9249 | 2537548.0043 | 1189831.536 | 2537569.7956 | 1189839.0793
23 | 2537569.7956 | 1189839.0793 | 2537595.9449 | 1189849.1453 | 2537604.1279 | 1189852.6911
24 | 2537546.2752 | 1189953.5133 | 2537552.3797 | 1189954.5723 | 2537566.8407 | 1189956.9225 | 2537576.8437 | 1189959.1644
25 | 2537546.2752 | 1189953.5133 | 2537542.7004 | 1189953.2084
26 | 2537524.199 | 1189823.9249 | 2537494.7394 | 1189814.5721
27 | 2537524.199 | 1189823.9249 | 2537524.2936 | 1189825.6805 | 2537524.7795 | 1189826.9317 | 2537525.8248 | 1189827.699 | 2537527.6396 | 1189828.4027 | 2537529.7983 | 1189829.1694 | 2537532.5209 | 1189830.6307 | 2537535.5211 | 1189832.3781 | 2537537.1241 | 1189833.9734 | 2537538.1712 | 1189835.6523 | 2537538.9376 | 1189837.4676 | 2537539.2129 | 1189838.9989 | 2537539.4251 | 1189841.7872 | 2537539.0061 | 1189844.0151 | 2537538.1655 | 1189846.0472 | 2537537.0565 | 1189847.9266 | 2537535.7952 | 1189849.1071 | 2537535.515 | 1189849.3088
28 | 2537654.1687 | 1189874.3743 | 2537604.1279 | 1189852.6911
29 | 2537494.7394 | 1189814.5721 | 2537495.0772 | 1189816.9699 | 2537495.9847 | 1189818.428 | 2537498.5618 | 1189819.824 | 2537502.256 | 1189821.5642 | 2537505.4675 | 1189823.0981 | 2537508.9485 | 1189825.6076 | 2537510.6962 | 1189827.9129 | 2537511.8817 | 1189830.4242 | 2537512.3009 | 1189832.5877 | 2537512.4416 | 1189835.0988 | 2537512.23 | 1189837.469 | 2537511.3889 | 1189840.1794 | 2537509.9952 | 1189842.5509 | 2537508.0427 | 1189844.717 | 2537506.2313 | 1189846.5259 | 2537503.0976 | 1189848.0595
30 | 2537480.7594 | 1189810.1269 | 2537494.7394 | 1189814.5721
31 | 2537533.5698 | 1189850.7091 | 2537535.515 | 1189849.3088
32 | 2537654.1687 | 1189874.3743 | 2537653.3246 | 1189878.9857 | 2537648.754 | 1189892.181
33 | 2537480.7594 | 1189810.1269 | 2537480.3658 | 1189816.9683 | 2537477.1552 | 1189831.5436
34 | 2537480.7594 | 1189810.1269 | 2537467.3763 | 1189805.8756 | 2537439.1099 | 1189796.8774 | 2537418.5729 | 1189790.139
35 | 2537175.3772 | 1189766.9272 | 2537190.6179 | 1189773.3313
36 | 2537175.3772 | 1189766.9272 | 2537172.0832 | 1189765.5388 | 2537152.9829 | 1189758.6802 | 2537131.5393 | 1189749.5779
37 | 2537126.0707 | 1189747.2567 | 2537131.5393 | 1189749.5779
38 | 2537126.0707 | 1189747.2567 | 2537121.7212 | 1189754.2732 | 2537120.4063 | 1189753.9757 | 2537113.298 | 1189764.8012 | 2537111.8876 | 1189766.962
39 | 2537232.4203 | 1189758.8019 | 2537238.8405 | 1189759.9785 | 2537241.5381 | 1189760.5353
40 | 2537243.7 | 1189760.9815 | 2537241.5381 | 1189760.5353
41 | 2537256.3406 | 1189775.6927 | 2537259.5538 | 1189786.0872 | 2537260.4698 | 1189789.0681 | 2537262.5458 | 1189792.8485 | 2537266.1773 | 1189798.7805 | 2537271.7643 | 1189807.1933
42 | 2537277.6544 | 1189810.3333 | 2537271.7643 | 1189807.1933
43 | 2537256.3406 | 1189775.6927 | 2537254.6032 | 1189770.7414 | 2537253.4776 | 1189768.8057
44 | 2537256.3406 | 1189775.6927 | 2537264.4145 | 1189776.8975 | 2537268.8524 | 1189778.285 | 2537270.8846 | 1189779.5545
45 | 2537277.6544 | 1189810.3333 | 2537284.8759 | 1189813.8929 | 2537301.3915 | 1189824.4812 | 2537324.5682 | 1189839.7469 | 2537336.4215 | 1189848.659
46 | 2537251.0608 | 1189762.4071 | 2537251.1385 | 1189763.9961 | 2537252.2964 | 1189766.7744 | 2537253.4776 | 1189768.8057
47 | 2537283.6578 | 1189792.4766 | 2537282.8494 | 1189791.5902 | 2537276.6412 | 1189784.2956 | 2537272.7906 | 1189780.7451 | 2537270.8846 | 1189779.5545
48 | 2537351.4405 | 1189859.9514 | 2537336.4215 | 1189848.659
49 | 2537251.0608 | 1189762.4071 | 2537244.0684 | 1189761.0576 | 2537243.7 | 1189760.9815
50 | 2537256.5278 | 1189744.8729 | 2537251.8779 | 1189757.429 | 2537250.9721 | 1189760.4958 | 2537251.0608 | 1189762.4071
51 | 2537305.2364 | 1189783.9175 | 2537304.938 | 1189787.456 | 2537304.3527 | 1189789.8191 | 2537302.7746 | 1189792.7818 | 2537300.8014 | 1189795.1483 | 2537298.0394 | 1189797.2118 | 2537295.7716 | 1189798.403 | 2537293.2056 | 1189798.7968 | 2537290.9405 | 1189798.7983 | 2537289.4613 | 1189798.1023 | 2537287.7842 | 1189796.7192 | 2537285.9124 | 1189794.9489 | 2537283.6578 | 1189792.4766
52 | 2537358.9836 | 1189865.6229 | 2537351.4405 | 1189859.9514
53 | 2537305.2364 | 1189783.9175 | 2537297.7935 | 1189757.1334
54 | 2537305.2364 | 1189783.9175 | 2537306.7683 | 1189787.4479 | 2537308.7246 | 1189790.7293 | 2537310.3946 | 1189792.8908 | 2537312.3814 | 1189794.7155 | 2537315.6858 | 1189797.1479
55 | 2537293.152 | 1189740.675 | 2537295.1943 | 1189747.7798 | 2537297.7935 | 1189757.1334
56 | 2537315.6858 | 1189797.1479 | 2537319.5139 | 1189799.9659 | 2537330.6737 | 1189806.7305 | 2537348.6014 | 1189817.7472
57 | 2537293.152 | 1189740.675 | 2537302.0112 | 1189738.225
58 | 2537382.0269 | 1189837.6989 | 2537351.8592 | 1189819.7492 | 2537348.6014 | 1189817.7472
59 | 2537256.5278 | 1189744.8729 | 2537248.776 | 1189743.1089 | 2537241.0408 | 1189740.7554 | 2537223.2672 | 1189734.9908
60 | 2537405.5572 | 1189786.3116 | 2537413.2359 | 1189788.3879 | 2537418.5729 | 1189790.139
61 | 2537265.7572 | 1189678.2043 | 2537245.8448 | 1189664.5666
62 | 2537265.7572 | 1189678.2043 | 2537285.4846 | 1189691.269
63 | 2537265.7572 | 1189678.2043 | 2537259.8934 | 1189690.6508 | 2537255.6076 | 1189701.5688 | 2537254.9647 | 1189703.4729
64 | 2537287.1076 | 1189692.3439 | 2537285.4846 | 1189691.269
65 | 2537287.1076 | 1189692.3439 | 2537313.6375 | 1189709.4976 | 2537314.8956 | 1189710.3657
66 | 2537314.8956 | 1189710.3657 | 2537318.727 | 1189713.0093
67 | 2537313.6865 | 1189735.9568 | 2537302.0112 | 1189738.225
68 | 2537313.6865 | 1189735.9568 | 2537323.6683 | 1189740.9216 | 2537327.0217 | 1189742.9625
69 | 2537333.3614 | 1189730.7252 | 2537313.6865 | 1189735.9568
70 | 2537344.2082 | 1189728.8457 | 2537343.8078 | 1189728.8826
71 | 2537333.3614 | 1189730.7252 | 2537339.8742 | 1189729.2449 | 2537343.8078 | 1189728.8826
72 | 2537333.3614 | 1189730.7252 | 2537330.5791 | 1189725.04 | 2537327.1629 | 1189720.0062 | 2537323.7473 | 1189716.4734 | 2537318.727 | 1189713.0093
73 | 2537344.4381 | 1189759.7723 | 2537339.4279 | 1189754.3085 | 2537332.1575 | 1189746.8137 | 2537328.4809 | 1189743.8506 | 2537327.0217 | 1189742.9625
74 | 2537190.9759 | 1189707.7069 | 2537191.2005 | 1189704.4026 | 2537189.8677 | 1189701.6817 | 2537180.7513 | 1189692.8345
75 | 2537223.1136 | 1189734.941 | 2537223.2672 | 1189734.9908
76 | 2537456.4687 | 1189886.4488 | 2537455.1364 | 1189886.0277 | 2537445.2079 | 1189883.2078 | 2537430.1463 | 1189879.6078 | 2537426.4007 | 1189878.0573 | 2537424.1931 | 1189876.2571 | 2537423.1248 | 1189874.0115 | 2537422.2896 | 1189870.7294 | 2537421.5197 | 1189866.4017 | 2537420.6215 | 1189863.6539 | 2537419.3641 | 1189860.8321
77 | 2537456.4687 | 1189886.4488 | 2537466.5067 | 1189889.6218 | 2537484.8529 | 1189896.0473
78 | 2537398.3465 | 1189847.3864 | 2537413.3681 | 1189856.3034 | 2537417.2006 | 1189858.8759 | 2537419.3641 | 1189860.8321 | 2537419.3641 | 1189860.8321
79 | 2537524.5611 | 1189908.8367 | 2537494.2156 | 1189899.3264 | 2537484.8529 | 1189896.0473
80 | 2537398.3465 | 1189847.3864 | 2537398.0793 | 1189847.2278
81 | 2537382.0269 | 1189837.6989 | 2537398.0793 | 1189847.2278
82 | 2537358.9836 | 1189865.6229 | 2537395.8875 | 1189893.3699
83 | 2537358.9836 | 1189865.6229 | 2537348.9628 | 1189896.2347
84 | 2537395.8875 | 1189893.3699 | 2537408.3332 | 1189902.7274 | 2537416.6849 | 1189910.0886 | 2537438.3258 | 1189924.4036 | 2537444.8448 | 1189928.6377 | 2537450.5139 | 1189931.0355
85 | 2537348.9628 | 1189896.2347 | 2537351.5662 | 1189899.1712
86 | 2537368.4149 | 1189773.6336 | 2537362.9484 | 1189771.7942 | 2537357.3474 | 1189769.307 | 2537351.3483 | 1189765.9569 | 2537346.9807 | 1189762.5451 | 2537344.4381 | 1189759.7723
87 | 2537405.5572 | 1189786.3116 | 2537393.7907 | 1189782.2451
88 | 2537368.4149 | 1189773.6336 | 2537385.7941 | 1189779.4814 | 2537393.7907 | 1189782.2451

## bus_geodata
| x | y | coords
0 | 2537149.5653 | 1189670.2725
1 | 2537148.5712 | 1189671.6686
2 | 2537158.5994 | 1189657.4382
3 | 2537149.4141 | 1189710.1675
4 | 2537184.2036 | 1189722.2197
5 | 2537115.8046 | 1189697.9252
6 | 2537107.3173 | 1189727.7206
7 | 2537114.7222 | 1189738.8826
8 | 2537201.8547 | 1189728.0296
9 | 2537188.7985 | 1189713.6516
10 | 2537112.8153 | 1189690.4765
11 | 2537648.7629 | 1189965.6666
12 | 2537662.5645 | 1189958.3128
13 | 2537643.1417 | 1189979.6055
14 | 2537666.045 | 1189996.8926
15 | 2537633.3313 | 1189975.9405
16 | 2537608.6542 | 1189968.1168
17 | 2537605.4001 | 1189967.0852
18 | 2537562.451 | 1189893.8537
19 | 2537569.7956 | 1189839.0793
20 | 2537546.2752 | 1189953.5133
21 | 2537524.199 | 1189823.9249
22 | 2537604.1279 | 1189852.6911
23 | 2537576.8437 | 1189959.1644
24 | 2537542.7004 | 1189953.2084
25 | 2537494.7394 | 1189814.5721
26 | 2537535.515 | 1189849.3088
27 | 2537654.1687 | 1189874.3743
28 | 2537503.0976 | 1189848.0595
29 | 2537480.7594 | 1189810.1269
30 | 2537533.5698 | 1189850.7091
31 | 2537648.754 | 1189892.181
32 | 2537190.6179 | 1189773.3313
33 | 2537175.3772 | 1189766.9272
34 | 2537131.5393 | 1189749.5779
35 | 2537126.0707 | 1189747.2567
36 | 2537232.4203 | 1189758.8019
37 | 2537241.5381 | 1189760.5353
38 | 2537271.7643 | 1189807.1933
39 | 2537256.3406 | 1189775.6927
40 | 2537277.6544 | 1189810.3333
41 | 2537253.4776 | 1189768.8057
42 | 2537270.8846 | 1189779.5545
43 | 2537336.4215 | 1189848.659
44 | 2537251.0608 | 1189762.4071
45 | 2537283.6578 | 1189792.4766
46 | 2537351.4405 | 1189859.9514
47 | 2537111.8876 | 1189766.962
48 | 2537243.7 | 1189760.9815
49 | 2537305.2364 | 1189783.9175
50 | 2537297.7935 | 1189757.1334
51 | 2537315.6858 | 1189797.1479
52 | 2537293.152 | 1189740.675
53 | 2537348.6014 | 1189817.7472
54 | 2537256.5278 | 1189744.8729
55 | 2537477.1552 | 1189831.5436
56 | 2537418.5729 | 1189790.139
57 | 2537245.8448 | 1189664.5666
58 | 2537265.7572 | 1189678.2043
59 | 2537285.4846 | 1189691.269
60 | 2537254.9647 | 1189703.4729
61 | 2537287.1076 | 1189692.3439
62 | 2537314.8956 | 1189710.3657
63 | 2537302.0112 | 1189738.225
64 | 2537313.6865 | 1189735.9568
65 | 2537344.2082 | 1189728.8457
66 | 2537343.8078 | 1189728.8826
67 | 2537333.3614 | 1189730.7252
68 | 2537318.727 | 1189713.0093
69 | 2537327.0217 | 1189742.9625
70 | 2537190.9759 | 1189707.7069
71 | 2537180.7513 | 1189692.8345
72 | 2537223.1136 | 1189734.941
73 | 2537223.2671 | 1189734.9908
74 | 2537456.4687 | 1189886.4488
75 | 2537419.3641 | 1189860.8321
76 | 2537484.8529 | 1189896.0473
77 | 2537398.3465 | 1189847.3864
78 | 2537524.5611 | 1189908.8367
79 | 2537398.0793 | 1189847.2278
80 | 2537382.0269 | 1189837.6989
81 | 2537358.9836 | 1189865.6229
82 | 2537395.8875 | 1189893.3699
83 | 2537348.9628 | 1189896.2347
84 | 2537450.5139 | 1189931.0355
85 | 2537351.5662 | 1189899.1712
86 | 2537344.4381 | 1189759.7723
87 | 2537405.5572 | 1189786.3116
88 | 2537393.7907 | 1189782.2451
89 | 2537368.4149 | 1189773.6336
90 | 2537305.2364 | 1189783.9175

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1