## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5568-16_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5568-16_0_4_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_5568-16_0_4_node_6 | 0.4 | n |  | TRUE
3 | bus_LV_5568-16_0_4_node_7 | 0.4 | n |  | TRUE
4 | bus_LV_5568-16_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5568-16_0_4_node_46 | 0.4 | n |  | TRUE
6 | bus_LV_5568-16_0_4_node_50 | 0.4 | n |  | TRUE
7 | bus_LV_5568-16_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_5568-16_0_4_node_84 | 0.4 | n |  | TRUE
9 | bus_LV_5568-16_0_4_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_5568-16_0_4_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_5568-16_0_4_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_5568-16_0_4_node_15 | 0.4 | n |  | TRUE
13 | bus_LV_5568-16_0_4_node_45 | 0.4 | n |  | TRUE
14 | bus_LV_5568-16_0_4_node_51 | 0.4 | n |  | TRUE
15 | bus_LV_5568-16_0_4_node_48 | 0.4 | n |  | TRUE
16 | bus_LV_5568-16_0_4_node_27 | 0.4 | n |  | TRUE
17 | bus_LV_5568-16_0_4_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_5568-16_0_4_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_5568-16_0_4_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_5568-16_0_4_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_5568-16_0_4_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_5568-16_0_4_node_67 | 0.4 | n |  | TRUE
23 | bus_LV_5568-16_0_4_node_68 | 0.4 | n |  | TRUE
24 | bus_LV_5568-16_0_4_node_66 | 0.4 | n |  | TRUE
25 | bus_LV_5568-16_0_4_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_5568-16_0_4_node_69 | 0.4 | n |  | TRUE
27 | bus_LV_5568-16_0_4_node_72 | 0.4 | n |  | TRUE
28 | bus_LV_5568-16_0_4_node_65 | 0.4 | n |  | TRUE
29 | bus_LV_5568-16_0_4_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_5568-16_0_4_node_30 | 0.4 | n |  | TRUE
31 | bus_LV_5568-16_0_4_node_29 | 0.4 | n |  | TRUE
32 | bus_LV_5568-16_0_4_node_16 | 0.4 | n |  | TRUE
33 | bus_LV_5568-16_0_4_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_5568-16_0_4_node_35 | 0.4 | n |  | TRUE
35 | bus_LV_5568-16_0_4_node_32 | 0.4 | n |  | TRUE
36 | bus_LV_5568-16_0_4_node_19 | 0.4 | n |  | TRUE
37 | bus_LV_5568-16_0_4_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_5568-16_0_4_node_21 | 0.4 | n |  | TRUE
39 | bus_LV_5568-16_0_4_node_22 | 0.4 | n |  | TRUE
40 | bus_LV_5568-16_0_4_node_23 | 0.4 | n |  | TRUE
41 | bus_LV_5568-16_0_4_node_24 | 0.4 | n |  | TRUE
42 | bus_LV_5568-16_0_4_node_25 | 0.4 | n |  | TRUE
43 | bus_LV_5568-16_0_4_node_28 | 0.4 | n |  | TRUE
44 | bus_LV_5568-16_0_4_node_31 | 0.4 | n |  | TRUE
45 | bus_LV_5568-16_0_4_node_76 | 0.4 | n |  | TRUE
46 | bus_LV_5568-16_0_4_node_75 | 0.4 | n |  | TRUE
47 | bus_LV_5568-16_0_4_node_79 | 0.4 | n |  | TRUE
48 | bus_LV_5568-16_0_4_node_77 | 0.4 | n |  | TRUE
49 | bus_LV_5568-16_0_4_node_55 | 0.4 | n |  | TRUE
50 | bus_LV_5568-16_0_4_node_34 | 0.4 | n |  | TRUE
51 | bus_LV_5568-16_0_4_node_36 | 0.4 | n |  | TRUE
52 | bus_LV_5568-16_0_4_node_38 | 0.4 | n |  | TRUE
53 | bus_LV_5568-16_0_4_node_40 | 0.4 | n |  | TRUE
54 | bus_LV_5568-16_0_4_node_37 | 0.4 | n |  | TRUE
55 | bus_LV_5568-16_0_4_node_44 | 0.4 | n |  | TRUE
56 | bus_LV_5568-16_0_4_node_41 | 0.4 | n |  | TRUE
57 | bus_LV_5568-16_0_4_node_59 | 0.4 | n |  | TRUE
58 | bus_LV_5568-16_0_4_node_58 | 0.4 | n |  | TRUE
59 | bus_LV_5568-16_0_4_node_42 | 0.4 | n |  | TRUE
60 | bus_LV_5568-16_0_4_node_43 | 0.4 | n |  | TRUE
61 | bus_LV_5568-16_0_4_node_63 | 0.4 | n |  | TRUE
62 | bus_LV_5568-16_0_4_node_64 | 0.4 | n |  | TRUE
63 | bus_LV_5568-16_0_4_node_60 | 0.4 | n |  | TRUE
64 | bus_LV_5568-16_0_4_node_57 | 0.4 | n |  | TRUE
65 | bus_LV_5568-16_0_4_node_47 | 0.4 | n |  | TRUE
66 | bus_LV_5568-16_0_4_node_49 | 0.4 | n |  | TRUE
67 | bus_LV_5568-16_0_4_node_83 | 0.4 | n |  | TRUE
68 | bus_LV_5568-16_0_4_node_54 | 0.4 | n |  | TRUE
69 | bus_LV_5568-16_0_4_node_52 | 0.4 | n |  | TRUE
70 | bus_LV_5568-16_0_4_node_53 | 0.4 | n |  | TRUE
71 | bus_LV_5568-16_0_4_node_81 | 0.4 | n |  | TRUE
72 | bus_LV_5568-16_0_4_node_80 | 0.4 | n |  | TRUE
73 | bus_LV_5568-16_0_4_node_61 | 0.4 | n |  | TRUE
74 | bus_LV_5568-16_0_4_node_62 | 0.4 | n |  | TRUE
75 | bus_LV_5568-16_0_4_node_74 | 0.4 | n |  | TRUE
76 | bus_LV_5568-16_0_4_node_71 | 0.4 | n |  | TRUE
77 | bus_LV_5568-16_0_4_node_73 | 0.4 | n |  | TRUE
78 | bus_LV_5568-16_0_4_node_78 | 0.4 | n |  | TRUE
79 | bus_MV_318_0_node_104 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5568-16_0_4_load_0 | 0 | 0.0013321 | 0.00033385 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5568-16_0_4_load_7 | 3 | 0.033059 | 0.0082854 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5568-16_0_4_load_46 | 5 | 0.00062647 | 0.00015701 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5568-16_0_4_load_84 | 8 | 0.013365 | 0.0033495 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5568-16_0_4_load_8 | 10 | 0.010894 | 0.0027303 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5568-16_0_4_load_14 | 11 | 0.011696 | 0.0029313 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5568-16_0_4_load_15 | 12 | 0.0075831 | 0.0019005 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5568-16_0_4_load_45 | 13 | 0.0016924 | 0.00042417 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5568-16_0_4_load_48 | 15 | 0.00038248 | 9.5857e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5568-16_0_4_load_27 | 16 | 0.0080823 | 0.0020256 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5568-16_0_4_load_10 | 19 | 0.0039495 | 0.00098984 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5568-16_0_4_load_17 | 20 | 0.014408 | 0.0036111 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5568-16_0_4_load_67 | 22 | 0.00062925 | 0.0001577 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5568-16_0_4_load_66 | 24 | 0.0015671 | 0.00039276 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5568-16_0_4_load_18 | 25 | 0.0031878 | 0.00079894 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5568-16_0_4_load_69 | 26 | 0.0031502 | 0.00078951 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5568-16_0_4_load_72 | 27 | 0.0030288 | 0.00075908 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5568-16_0_4_load_65 | 28 | 0.0010048 | 0.00025182 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5568-16_0_4_load_30 | 30 | 0.0045444 | 0.0011389 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5568-16_0_4_load_35 | 34 | 0.0022922 | 0.00057448 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5568-16_0_4_load_32 | 35 | 0.0059588 | 0.0014934 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5568-16_0_4_load_19 | 36 | 0.0021448 | 0.00053754 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5568-16_0_4_load_33 | 37 | 0.0023992 | 0.00060129 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5568-16_0_4_load_21 | 38 | 0.0066896 | 0.0016766 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5568-16_0_4_load_22 | 39 | 0.0045582 | 0.0011424 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5568-16_0_4_load_25 | 42 | 0.015311 | 0.0038374 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5568-16_0_4_load_28 | 43 | 0.0044099 | 0.0011052 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5568-16_0_4_load_75 | 46 | 0.00099841 | 0.00025023 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5568-16_0_4_load_79 | 47 | 0.003261 | 0.00081728 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5568-16_0_4_load_77 | 48 | 0.0061839 | 0.0015498 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5568-16_0_4_load_55 | 49 | 0.0068879 | 0.0017263 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5568-16_0_4_load_34 | 50 | 0.00091898 | 0.00023032 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5568-16_0_4_load_36 | 51 | 0.0015113 | 0.00037876 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5568-16_0_4_load_37 | 54 | 0.00099735 | 0.00024996 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5568-16_0_4_load_41 | 56 | 0.0010532 | 0.00026396 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5568-16_0_4_load_59 | 57 | 0.0020464 | 0.00051287 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5568-16_0_4_load_58 | 58 | 0.0026298 | 0.00065909 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5568-16_0_4_load_42 | 59 | 0.0014298 | 0.00035834 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5568-16_0_4_load_43 | 60 | 0.0016238 | 0.00040696 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5568-16_0_4_load_63 | 61 | 0.0063746 | 0.0015976 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5568-16_0_4_load_64 | 62 | 0.0011525 | 0.00028884 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5568-16_0_4_load_60 | 63 | 0.001129 | 0.00028295 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5568-16_0_4_load_57 | 64 | 0.0012608 | 0.000316 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5568-16_0_4_load_47 | 65 | 0.0024287 | 0.0006087 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5568-16_0_4_load_49 | 66 | 0.0011866 | 0.00029738 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5568-16_0_4_load_83 | 67 | 0.0022014 | 0.00055172 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5568-16_0_4_load_52 | 69 | 0.00067083 | 0.00016813 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5568-16_0_4_load_53 | 70 | 0.0010356 | 0.00025955 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5568-16_0_4_load_81 | 71 | 0.00444 | 0.0011128 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5568-16_0_4_load_80 | 72 | 0.006169 | 0.0015461 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5568-16_0_4_load_61 | 73 | 0.0012941 | 0.00032434 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5568-16_0_4_load_62 | 74 | 0.0012295 | 0.00030815 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5568-16_0_4_load_74 | 75 | 0.0018401 | 0.00046116 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5568-16_0_4_load_71 | 76 | 0.0021696 | 0.00054375 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5568-16_0_4_load_73 | 77 | 0.0031736 | 0.00079539 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 17 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5568-16_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.061247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5568-16_0_4_line_1 | NAYY 4x150 SE | 1 | 2 | 0.008643 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5568-16_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.036419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5568-16_0_4_line_3 | NAYY 4x150 SE | 2 | 10 | 0.01263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_5568-16_0_4_line_4 | NAYY 4x150 SE | 2 | 7 | 0.005501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5568-16_0_4_line_5 | NAYY 4x150 SE | 4 | 5 | 0.012669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5568-16_0_4_line_6 | NAYY 4x150 SE | 4 | 6 | 0.045189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5568-16_0_4_line_7 | NAYY 4x150 SE | 5 | 13 | 0.0093542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5568-16_0_4_line_8 | NAYY 4x150 SE | 6 | 14 | 0.016424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5568-16_0_4_line_9 | NAYY 4x150 SE | 6 | 15 | 0.029573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5568-16_0_4_line_10 | NAYY 4x150 SE | 7 | 8 | 0.005388 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5568-16_0_4_line_11 | NAYY 4x150 SE | 7 | 9 | 0.009283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5568-16_0_4_line_12 | NAYY 4x150 SE | 9 | 16 | 0.020143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5568-16_0_4_line_13 | NAYY 4x150 SE | 10 | 17 | 0.018593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_5568-16_0_4_line_14 | NAYY 4x150 SE | 11 | 12 | 0.027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5568-16_0_4_line_15 | NAYY 4x150 SE | 12 | 32 | 0.017317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5568-16_0_4_line_16 | NAYY 4x150 SE | 13 | 65 | 0.039752 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5568-16_0_4_line_17 | NAYY 4x150 SE | 14 | 67 | 0.016215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5568-16_0_4_line_18 | NAYY 4x150 SE | 14 | 68 | 0.050238 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5568-16_0_4_line_19 | NAYY 4x150 SE | 15 | 66 | 0.065851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5568-16_0_4_line_20 | NAYY 4x150 SE | 16 | 29 | 0.0090896 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5568-16_0_4_line_21 | NAYY 4x150 SE | 17 | 18 | 0.036355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
22 | LV_5568-16_0_4_line_22 | NAYY 4x150 SE | 18 | 21 | 0.043002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
23 | LV_5568-16_0_4_line_23 | NAYY 4x150 SE | 19 | 20 | 0.026352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5568-16_0_4_line_24 | NAYY 4x150 SE | 20 | 25 | 0.0059013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5568-16_0_4_line_25 | NAYY 4x150 SE | 21 | 22 | 0.01702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5568-16_0_4_line_26 | NAYY 4x150 SE | 21 | 23 | 0.030853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5568-16_0_4_line_27 | NAYY 4x150 SE | 21 | 24 | 0.01411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5568-16_0_4_line_28 | NAYY 4x150 SE | 22 | 26 | 0.010387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5568-16_0_4_line_29 | NAYY 4x150 SE | 23 | 27 | 0.026708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5568-16_0_4_line_30 | NAYY 4x150 SE | 24 | 28 | 0.022277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5568-16_0_4_line_31 | NAYY 4x150 SE | 25 | 36 | 0.021898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5568-16_0_4_line_32 | NAYY 4x150 SE | 27 | 77 | 0.038464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5568-16_0_4_line_33 | NAYY 4x150 SE | 28 | 62 | 0.029189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5568-16_0_4_line_34 | NAYY 4x150 SE | 29 | 40 | 0.00953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5568-16_0_4_line_35 | NAYY 4x150 SE | 30 | 31 | 0.0024364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5568-16_0_4_line_36 | NAYY 4x150 SE | 31 | 44 | 0.014444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5568-16_0_4_line_37 | NAYY 4x150 SE | 31 | 43 | 0.017834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5568-16_0_4_line_38 | NAYY 4x150 SE | 32 | 33 | 0.007149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5568-16_0_4_line_39 | NAYY 4x150 SE | 33 | 34 | 0.019086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5568-16_0_4_line_40 | NAYY 4x150 SE | 33 | 35 | 0.016894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5568-16_0_4_line_41 | NAYY 4x150 SE | 34 | 36 | 0.0017145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5568-16_0_4_line_42 | NAYY 4x150 SE | 35 | 37 | 0.032497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5568-16_0_4_line_43 | NAYY 4x150 SE | 37 | 50 | 0.014254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5568-16_0_4_line_44 | NAYY 4x150 SE | 38 | 39 | 0.0010067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5568-16_0_4_line_45 | NAYY 4x150 SE | 38 | 40 | 0.012487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5568-16_0_4_line_46 | NAYY 4x150 SE | 39 | 41 | 0.018069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5568-16_0_4_line_47 | NAYY 4x150 SE | 40 | 42 | 0.024486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5568-16_0_4_line_48 | NAYY 4x150 SE | 41 | 43 | 0.038295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5568-16_0_4_line_49 | NAYY 4x150 SE | 44 | 45 | 0.00945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5568-16_0_4_line_50 | NAYY 4x150 SE | 44 | 46 | 0.031394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5568-16_0_4_line_51 | NAYY 4x150 SE | 45 | 47 | 0.020293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5568-16_0_4_line_52 | NAYY 4x150 SE | 45 | 48 | 0.10104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5568-16_0_4_line_53 | NAYY 4x150 SE | 46 | 49 | 0.018771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5568-16_0_4_line_54 | NAYY 4x150 SE | 48 | 78 | 0.035518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5568-16_0_4_line_55 | NAYY 4x150 SE | 49 | 70 | 0.016492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5568-16_0_4_line_56 | NAYY 4x150 SE | 50 | 51 | 0.015702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5568-16_0_4_line_57 | NAYY 4x150 SE | 51 | 52 | 0.017496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5568-16_0_4_line_58 | NAYY 4x150 SE | 52 | 53 | 0.005432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5568-16_0_4_line_59 | NAYY 4x150 SE | 52 | 54 | 0.022002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5568-16_0_4_line_60 | NAYY 4x150 SE | 53 | 55 | 0.024852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5568-16_0_4_line_61 | NAYY 4x150 SE | 53 | 56 | 0.011432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5568-16_0_4_line_62 | NAYY 4x150 SE | 55 | 57 | 0.023203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5568-16_0_4_line_63 | NAYY 4x150 SE | 55 | 58 | 0.021582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5568-16_0_4_line_64 | NAYY 4x150 SE | 56 | 59 | 0.019829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5568-16_0_4_line_65 | NAYY 4x150 SE | 57 | 63 | 0.007832 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5568-16_0_4_line_66 | NAYY 4x150 SE | 58 | 64 | 0.026303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_5568-16_0_4_line_67 | NAYY 4x150 SE | 59 | 60 | 0.011494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_5568-16_0_4_line_68 | NAYY 4x150 SE | 60 | 61 | 0.010841 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_5568-16_0_4_line_69 | NAYY 4x150 SE | 61 | 62 | 0.0014182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_5568-16_0_4_line_70 | NAYY 4x150 SE | 63 | 73 | 0.017998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_5568-16_0_4_line_71 | NAYY 4x150 SE | 68 | 69 | 0.0613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_5568-16_0_4_line_72 | NAYY 4x150 SE | 69 | 70 | 0.058453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_5568-16_0_4_line_73 | NAYY 4x150 SE | 71 | 72 | 0.014303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_5568-16_0_4_line_74 | NAYY 4x150 SE | 72 | 78 | 0.060463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_5568-16_0_4_line_75 | NAYY 4x150 SE | 73 | 74 | 0.00072443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_5568-16_0_4_line_76 | NAYY 4x150 SE | 74 | 75 | 0.029362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_5568-16_0_4_line_77 | NAYY 4x150 SE | 75 | 76 | 0.0061157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5568-16_0_4_trafo_9 | 0.25 MVA 20/0.4 kV | 79 | 17 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2528819.8787 | 1185959.4988 | 2528813.2291 | 1185961.8571 | 2528762.099 | 1185979.8148
1 | 2528828.0482 | 1185956.6109 | 2528819.8787 | 1185959.4988
2 | 2528819.8787 | 1185959.4988 | 2528826.5624 | 1185978.5971 | 2528825.7786 | 1185994.763
3 | 2528828.0482 | 1185956.6109 | 2528839.8653 | 1185952.154
4 | 2528828.0482 | 1185956.6109 | 2528826.444 | 1185951.3492
5 | 2528691.293 | 1185933.193 | 2528703.9416 | 1185933.9154
6 | 2528697.4061 | 1185888.4272 | 2528691.293 | 1185933.193
7 | 2528713.2806 | 1185934.4488 | 2528703.9416 | 1185933.9154
8 | 2528697.4061 | 1185888.4272 | 2528699.4784 | 1185872.1373
9 | 2528697.4061 | 1185888.4272 | 2528712.2816 | 1185890.4621 | 2528726.6686 | 1185892.694
10 | 2528826.444 | 1185951.3492 | 2528824.94 | 1185946.1751
11 | 2528835.0877 | 1185947.8998 | 2528826.444 | 1185951.3492
12 | 2528835.0877 | 1185947.8998 | 2528829.6139 | 1185928.5143
13 | 2528857.2526 | 1185945.5681 | 2528852.0335 | 1185947.5647 | 2528839.8653 | 1185952.154
14 | 2528839.5523 | 1186069.049 | 2528862.4885 | 1186066.1544 | 2528866.3318 | 1186065.6099
15 | 2528883.4777 | 1186063.1807 | 2528866.3318 | 1186065.6099
16 | 2528752.968 | 1185936.7155 | 2528713.2806 | 1185934.4488
17 | 2528715.5921 | 1185874.3243 | 2528699.4784 | 1185872.1373
18 | 2528705.8212 | 1185822.3102 | 2528699.4784 | 1185872.1373
19 | 2528726.6686 | 1185892.694 | 2528743.7595 | 1185895.3454 | 2528748.1616 | 1185895.871 | 2528752.3663 | 1185895.8431 | 2528754.8366 | 1185895.0021 | 2528757.2129 | 1185891.405 | 2528759.5287 | 1185882.7279 | 2528760.7721 | 1185874.3526 | 2528761.9146 | 1185868.4022 | 2528771.287 | 1185869.891
20 | 2528827.1439 | 1185919.7667 | 2528829.6139 | 1185928.5143
21 | 2528857.2526 | 1185945.5681 | 2528854.8236 | 1185940.2605 | 2528883.3829 | 1185929.5034
22 | 2528883.3829 | 1185929.5034 | 2528918.2819 | 1185916.6365 | 2528920.8318 | 1185921.8537
23 | 2528891.2172 | 1186013.6561 | 2528891.4546 | 1185995.3572 | 2528890.7381 | 1185987.3374
24 | 2528891.2172 | 1186013.6561 | 2528891.1407 | 1186019.557
25 | 2528920.8318 | 1185921.8537 | 2528923.763 | 1185920.6181 | 2528936.7304 | 1185915.783
26 | 2528941.7284 | 1185907.8304 | 2528918.2819 | 1185916.6365 | 2528920.8318 | 1185921.8537
27 | 2528920.8318 | 1185921.8537 | 2528928.3834 | 1185933.7727
28 | 2528946.4633 | 1185912.1538 | 2528936.7304 | 1185915.783
29 | 2528941.7284 | 1185907.8304 | 2528934.9026 | 1185892.8027 | 2528933.8196 | 1185889.6582 | 2528933.3473 | 1185886.5175 | 2528933.3965 | 1185882.8174
30 | 2528928.3834 | 1185933.7727 | 2528939.708 | 1185951.6468 | 2528940.2489 | 1185952.6246
31 | 2528890.8566 | 1186041.4527 | 2528891.1407 | 1186019.557
32 | 2528937.3512 | 1185844.5675 | 2528933.4279 | 1185880.4575 | 2528933.3965 | 1185882.8174
33 | 2528954.9683 | 1185977.8215 | 2528947.4059 | 1185965.5635 | 2528940.2489 | 1185952.6246
34 | 2528827.1439 | 1185919.7667 | 2528827.0763 | 1185910.2397
35 | 2528883.1695 | 1185880.1436 | 2528883.18 | 1185882.58
36 | 2528883.5624 | 1185865.7083 | 2528883.1695 | 1185880.1436
37 | 2528883.1695 | 1185880.1436 | 2528865.3415 | 1185879.6776
38 | 2528890.5868 | 1186062.2512 | 2528883.4777 | 1186063.1807
39 | 2528890.5868 | 1186062.2512 | 2528890.8344 | 1186043.1671
40 | 2528890.5868 | 1186062.2512 | 2528907.2568 | 1186059.511
41 | 2528890.8566 | 1186041.4527 | 2528890.8344 | 1186043.1671
42 | 2528907.2568 | 1186059.511 | 2528921.2816 | 1186057.2056 | 2528938.4678 | 1186050.9644
43 | 2528938.4678 | 1186050.9644 | 2528940.6201 | 1186050.1827 | 2528951.7018 | 1186045.6732
44 | 2528827.0689 | 1185896.7463 | 2528827.0695 | 1185897.7531
45 | 2528827.0763 | 1185910.2397 | 2528827.0695 | 1185897.7531
46 | 2528827.0591 | 1185878.677 | 2528827.0689 | 1185896.7463
47 | 2528827.0763 | 1185910.2397 | 2528851.6336 | 1185910.1252
48 | 2528827.0591 | 1185878.677 | 2528865.3415 | 1185879.6776
49 | 2528885.7273 | 1185856.5104 | 2528883.5624 | 1185865.7083
50 | 2528883.5624 | 1185865.7083 | 2528878.6252 | 1185859.9747 | 2528873.312 | 1185855.3574 | 2528866.5797 | 1185852.0578 | 2528858.2703 | 1185847.9022
51 | 2528895.1895 | 1185839.0988 | 2528892.8608 | 1185847.9984 | 2528885.7273 | 1185856.5104
52 | 2528885.7273 | 1185856.5104 | 2528888.882 | 1185820.8298 | 2528891.4428 | 1185800.6542 | 2528898.8863 | 1185756.3951
53 | 2528840.6368 | 1185841.8615 | 2528846.5431 | 1185842.8018 | 2528857.3514 | 1185847.4426 | 2528858.2703 | 1185847.9022
54 | 2528901.6082 | 1185721.0866 | 2528900.2707 | 1185729.9077 | 2528900.1884 | 1185748.653 | 2528898.8863 | 1185756.3951
55 | 2528840.6368 | 1185841.8615 | 2528824.3497 | 1185839.2684
56 | 2528951.7018 | 1186045.6732 | 2528956.7741 | 1186043.6091 | 2528965.6374 | 1186038.5084
57 | 2528979.8919 | 1186028.37 | 2528966.3017 | 1186038.1261 | 2528965.6374 | 1186038.5084
58 | 2528979.8919 | 1186028.37 | 2528983.8542 | 1186024.643
59 | 2528979.8919 | 1186028.37 | 2528988.7585 | 1186048.5066
60 | 2528999.7624 | 1186005.7208 | 2528997.3501 | 1186010.152 | 2528993.4709 | 1186015.0899 | 2528983.8542 | 1186024.643
61 | 2528983.8542 | 1186024.643 | 2528977.8515 | 1186014.9132
62 | 2528999.7624 | 1186005.7208 | 2529004.3164 | 1185997.8399 | 2529007.8085 | 1185988.5819 | 2529008.9258 | 1185984.5272
63 | 2528999.7624 | 1186005.7208 | 2529020.9886 | 1186009.6249
64 | 2528977.8515 | 1186014.9132 | 2528967.4402 | 1185998.0374
65 | 2529011.0066 | 1185976.9767 | 2529008.9258 | 1185984.5272
66 | 2529046.8577 | 1186014.383 | 2529020.9886 | 1186009.6249
67 | 2528967.4402 | 1185998.0374 | 2528961.405 | 1185988.2548
68 | 2528961.405 | 1185988.2548 | 2528955.7129 | 1185979.0285
69 | 2528954.9683 | 1185977.8215 | 2528955.7129 | 1185979.0285
70 | 2529011.0066 | 1185976.9767 | 2529015.1979 | 1185961.7673 | 2529015.7491 | 1185959.6155
71 | 2528705.8212 | 1185822.3102 | 2528735.9833 | 1185826.8979 | 2528759.6671 | 1185830.9514 | 2528766.3792 | 1185831.7818
72 | 2528766.3792 | 1185831.7818 | 2528787.289 | 1185834.3689 | 2528823.6732 | 1185839.1607 | 2528824.3497 | 1185839.2684
73 | 2528844.739 | 1185740.3338 | 2528830.656 | 1185742.8343
74 | 2528901.6082 | 1185721.0866 | 2528890.5965 | 1185723.1076 | 2528880.4355 | 1185726.0635 | 2528853.5546 | 1185738.7685 | 2528844.739 | 1185740.3338
75 | 2529015.7491 | 1185959.6155 | 2529015.9289 | 1185958.9137
76 | 2529023.5466 | 1185930.5632 | 2529021.3171 | 1185937.8807 | 2529015.9289 | 1185958.9137
77 | 2529023.5466 | 1185930.5632 | 2529025.329 | 1185924.713

## bus_geodata
| x | y | coords
0 | 2528762.099 | 1185979.8148
1 | 2528819.8787 | 1185959.4988
2 | 2528828.0482 | 1185956.6109
3 | 2528825.7786 | 1185994.763
4 | 2528691.293 | 1185933.193
5 | 2528703.9416 | 1185933.9154
6 | 2528697.4061 | 1185888.4272
7 | 2528826.444 | 1185951.3492
8 | 2528824.94 | 1185946.1751
9 | 2528835.0877 | 1185947.8998
10 | 2528839.8653 | 1185952.154
11 | 2528839.5523 | 1186069.049
12 | 2528866.3318 | 1186065.6099
13 | 2528713.2806 | 1185934.4488
14 | 2528699.4784 | 1185872.1373
15 | 2528726.6686 | 1185892.694
16 | 2528829.6139 | 1185928.5143
17 | 2528857.2526 | 1185945.5681
18 | 2528883.3829 | 1185929.5034
19 | 2528890.7381 | 1185987.3374
20 | 2528891.2172 | 1186013.6561
21 | 2528920.8318 | 1185921.8537
22 | 2528936.7304 | 1185915.783
23 | 2528941.7284 | 1185907.8304
24 | 2528928.3834 | 1185933.7727
25 | 2528891.1407 | 1186019.557
26 | 2528946.4633 | 1185912.1538
27 | 2528933.3965 | 1185882.8174
28 | 2528940.2489 | 1185952.6246
29 | 2528827.1439 | 1185919.7667
30 | 2528883.18 | 1185882.58
31 | 2528883.1695 | 1185880.1436
32 | 2528883.4777 | 1186063.1807
33 | 2528890.5868 | 1186062.2512
34 | 2528890.8344 | 1186043.1671
35 | 2528907.2568 | 1186059.511
36 | 2528890.8566 | 1186041.4527
37 | 2528938.4678 | 1186050.9644
38 | 2528827.0695 | 1185897.7531
39 | 2528827.0689 | 1185896.7463
40 | 2528827.0763 | 1185910.2397
41 | 2528827.0591 | 1185878.677
42 | 2528851.6336 | 1185910.1252
43 | 2528865.3415 | 1185879.6776
44 | 2528883.5624 | 1185865.7083
45 | 2528885.7273 | 1185856.5104
46 | 2528858.2703 | 1185847.9022
47 | 2528895.1895 | 1185839.0988
48 | 2528898.8863 | 1185756.3951
49 | 2528840.6368 | 1185841.8615
50 | 2528951.7018 | 1186045.6732
51 | 2528965.6374 | 1186038.5084
52 | 2528979.8919 | 1186028.37
53 | 2528983.8542 | 1186024.643
54 | 2528988.7585 | 1186048.5066
55 | 2528999.7624 | 1186005.7208
56 | 2528977.8515 | 1186014.9132
57 | 2529008.9258 | 1185984.5272
58 | 2529020.9886 | 1186009.6249
59 | 2528967.4402 | 1185998.0374
60 | 2528961.405 | 1185988.2548
61 | 2528955.7129 | 1185979.0285
62 | 2528954.9683 | 1185977.8215
63 | 2529011.0066 | 1185976.9767
64 | 2529046.8576 | 1186014.383
65 | 2528752.968 | 1185936.7155
66 | 2528771.287 | 1185869.891
67 | 2528715.5921 | 1185874.3243
68 | 2528705.8212 | 1185822.3102
69 | 2528766.3792 | 1185831.7818
70 | 2528824.3497 | 1185839.2684
71 | 2528830.656 | 1185742.8343
72 | 2528844.739 | 1185740.3338
73 | 2529015.7491 | 1185959.6155
74 | 2529015.9289 | 1185958.9137
75 | 2529023.5466 | 1185930.5632
76 | 2529025.329 | 1185924.713
77 | 2528937.3512 | 1185844.5675
78 | 2528901.6082 | 1185721.0866
79 | 2528854.8236 | 1185940.2605

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1