## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5568-19_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5568-19_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5568-19_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5568-19_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5568-19_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5568-19_0_3_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_5568-19_0_3_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_5568-19_0_3_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_5568-19_0_3_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_5568-19_0_3_node_39 | 0.4 | n |  | TRUE
10 | bus_LV_5568-19_0_3_node_139 | 0.4 | n |  | TRUE
11 | bus_LV_5568-19_0_3_node_140 | 0.4 | n |  | TRUE
12 | bus_LV_5568-19_0_3_node_17 | 0.4 | n |  | TRUE
13 | bus_LV_5568-19_0_3_node_18 | 0.4 | n |  | TRUE
14 | bus_LV_5568-19_0_3_node_19 | 0.4 | n |  | TRUE
15 | bus_LV_5568-19_0_3_node_20 | 0.4 | n |  | TRUE
16 | bus_LV_5568-19_0_3_node_21 | 0.4 | n |  | TRUE
17 | bus_LV_5568-19_0_3_node_33 | 0.4 | n |  | TRUE
18 | bus_LV_5568-19_0_3_node_31 | 0.4 | n |  | TRUE
19 | bus_LV_5568-19_0_3_node_28 | 0.4 | n |  | TRUE
20 | bus_LV_5568-19_0_3_node_22 | 0.4 | n |  | TRUE
21 | bus_LV_5568-19_0_3_node_23 | 0.4 | n |  | TRUE
22 | bus_LV_5568-19_0_3_node_24 | 0.4 | n |  | TRUE
23 | bus_LV_5568-19_0_3_node_25 | 0.4 | n |  | TRUE
24 | bus_LV_5568-19_0_3_node_26 | 0.4 | n |  | TRUE
25 | bus_LV_5568-19_0_3_node_35 | 0.4 | n |  | TRUE
26 | bus_LV_5568-19_0_3_node_32 | 0.4 | n |  | TRUE
27 | bus_LV_5568-19_0_3_node_36 | 0.4 | n |  | TRUE
28 | bus_LV_5568-19_0_3_node_27 | 0.4 | n |  | TRUE
29 | bus_LV_5568-19_0_3_node_29 | 0.4 | n |  | TRUE
30 | bus_LV_5568-19_0_3_node_30 | 0.4 | n |  | TRUE
31 | bus_LV_5568-19_0_3_node_47 | 0.4 | n |  | TRUE
32 | bus_LV_5568-19_0_3_node_41 | 0.4 | n |  | TRUE
33 | bus_LV_5568-19_0_3_node_37 | 0.4 | n |  | TRUE
34 | bus_LV_5568-19_0_3_node_38 | 0.4 | n |  | TRUE
35 | bus_LV_5568-19_0_3_node_40 | 0.4 | n |  | TRUE
36 | bus_LV_5568-19_0_3_node_42 | 0.4 | n |  | TRUE
37 | bus_LV_5568-19_0_3_node_43 | 0.4 | n |  | TRUE
38 | bus_LV_5568-19_0_3_node_44 | 0.4 | n |  | TRUE
39 | bus_LV_5568-19_0_3_node_45 | 0.4 | n |  | TRUE
40 | bus_LV_5568-19_0_3_node_46 | 0.4 | n |  | TRUE
41 | bus_LV_5568-19_0_3_node_48 | 0.4 | n |  | TRUE
42 | bus_LV_5568-19_0_3_node_51 | 0.4 | n |  | TRUE
43 | bus_LV_5568-19_0_3_node_49 | 0.4 | n |  | TRUE
44 | bus_LV_5568-19_0_3_node_50 | 0.4 | n |  | TRUE
45 | bus_LV_5568-19_0_3_node_66 | 0.4 | n |  | TRUE
46 | bus_LV_5568-19_0_3_node_52 | 0.4 | n |  | TRUE
47 | bus_LV_5568-19_0_3_node_53 | 0.4 | n |  | TRUE
48 | bus_LV_5568-19_0_3_node_54 | 0.4 | n |  | TRUE
49 | bus_LV_5568-19_0_3_node_55 | 0.4 | n |  | TRUE
50 | bus_LV_5568-19_0_3_node_57 | 0.4 | n |  | TRUE
51 | bus_LV_5568-19_0_3_node_65 | 0.4 | n |  | TRUE
52 | bus_LV_5568-19_0_3_node_59 | 0.4 | n |  | TRUE
53 | bus_LV_5568-19_0_3_node_60 | 0.4 | n |  | TRUE
54 | bus_LV_5568-19_0_3_node_61 | 0.4 | n |  | TRUE
55 | bus_LV_5568-19_0_3_node_62 | 0.4 | n |  | TRUE
56 | bus_LV_5568-19_0_3_node_63 | 0.4 | n |  | TRUE
57 | bus_LV_5568-19_0_3_node_64 | 0.4 | n |  | TRUE
58 | bus_MV_318_0_node_32 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5568-19_0_3_load_0 | 0 | 0.0013138 | 0.00032926 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5568-19_0_3_load_1 | 1 | 0.010118 | 0.0025358 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5568-19_0_3_load_2 | 2 | 0.0042743 | 0.0010712 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5568-19_0_3_load_3 | 3 | 0.0095244 | 0.002387 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5568-19_0_3_load_4 | 4 | 0.0010601 | 0.00026568 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5568-19_0_3_load_5 | 6 | 0.010283 | 0.0025773 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5568-19_0_3_load_139 | 10 | 0.0081043 | 0.0020311 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5568-19_0_3_load_140 | 11 | 0.007359 | 0.0018443 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5568-19_0_3_load_17 | 12 | 0.0012837 | 0.00032172 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5568-19_0_3_load_18 | 13 | 0.002516 | 0.00063058 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5568-19_0_3_load_19 | 14 | 0.0031729 | 0.00079519 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5568-19_0_3_load_21 | 16 | 0.002714 | 0.00068018 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5568-19_0_3_load_33 | 17 | 0.0020462 | 0.00051283 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5568-19_0_3_load_31 | 18 | 0.00096277 | 0.00024129 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5568-19_0_3_load_28 | 19 | 0.0029507 | 0.00073952 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5568-19_0_3_load_22 | 20 | 0.0012576 | 0.00031518 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5568-19_0_3_load_23 | 21 | 0.00058581 | 0.00014682 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5568-19_0_3_load_24 | 22 | 0.0030951 | 0.0007757 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5568-19_0_3_load_26 | 24 | 0.00311 | 0.00077943 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5568-19_0_3_load_32 | 26 | 0.001186 | 0.00029724 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5568-19_0_3_load_36 | 27 | 0.0079195 | 0.0019848 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5568-19_0_3_load_27 | 28 | 0.0023264 | 0.00058306 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5568-19_0_3_load_29 | 29 | 0.0028925 | 0.00072493 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5568-19_0_3_load_30 | 30 | 0.00239 | 0.000599 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5568-19_0_3_load_41 | 32 | 0.0087495 | 0.0021928 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5568-19_0_3_load_37 | 33 | 0.0029606 | 0.00074201 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5568-19_0_3_load_38 | 34 | 0.0095189 | 0.0023857 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5568-19_0_3_load_40 | 35 | 0.0054028 | 0.0013541 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5568-19_0_3_load_42 | 36 | 0.0021218 | 0.00053177 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5568-19_0_3_load_43 | 37 | 0.0018848 | 0.00047237 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5568-19_0_3_load_44 | 38 | 0.001633 | 0.00040926 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5568-19_0_3_load_45 | 39 | 0.0016757 | 0.00041997 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5568-19_0_3_load_46 | 40 | 0.0018826 | 0.00047183 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5568-19_0_3_load_48 | 41 | 0.0019374 | 0.00048555 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5568-19_0_3_load_51 | 42 | 0.0038717 | 0.00097034 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5568-19_0_3_load_50 | 44 | 0.00095256 | 0.00023873 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5568-19_0_3_load_52 | 46 | 0.001918 | 0.0004807 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5568-19_0_3_load_53 | 47 | 0.0020689 | 0.00051852 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5568-19_0_3_load_54 | 48 | 0.0017605 | 0.00044123 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5568-19_0_3_load_65 | 51 | 0.0035362 | 0.00088626 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5568-19_0_3_load_59 | 52 | 0.0019352 | 0.00048502 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5568-19_0_3_load_60 | 53 | 0.0016868 | 0.00042274 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5568-19_0_3_load_61 | 54 | 0.0019919 | 0.00049922 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5568-19_0_3_load_62 | 55 | 0.0016955 | 0.00042494 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5568-19_0_3_load_63 | 56 | 0.0025248 | 0.00063277 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5568-19_0_3_load_64 | 57 | 0.0020653 | 0.00051761 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 34 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5568-19_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5568-19_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0022315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5568-19_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.029135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5568-19_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.011137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5568-19_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.005227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5568-19_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.017798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5568-19_0_3_line_6 | NAYY 4x150 SE | 5 | 9 | 0.044845 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5568-19_0_3_line_7 | NAYY 4x150 SE | 6 | 7 | 0.019808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5568-19_0_3_line_8 | NAYY 4x150 SE | 7 | 8 | 0.03032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5568-19_0_3_line_9 | NAYY 4x150 SE | 8 | 10 | 0.021501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5568-19_0_3_line_10 | NAYY 4x150 SE | 9 | 25 | 0.030333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
11 | LV_5568-19_0_3_line_11 | NAYY 4x150 SE | 9 | 33 | 0.012849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
12 | LV_5568-19_0_3_line_12 | NAYY 4x150 SE | 10 | 11 | 0.026993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5568-19_0_3_line_13 | NAYY 4x150 SE | 12 | 13 | 0.0062933 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5568-19_0_3_line_14 | NAYY 4x150 SE | 12 | 14 | 0.020213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5568-19_0_3_line_15 | NAYY 4x150 SE | 13 | 15 | 0.017746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5568-19_0_3_line_16 | NAYY 4x150 SE | 14 | 16 | 0.0007615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5568-19_0_3_line_17 | NAYY 4x150 SE | 15 | 17 | 0.041973 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5568-19_0_3_line_18 | NAYY 4x150 SE | 15 | 18 | 0.064505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5568-19_0_3_line_19 | NAYY 4x150 SE | 16 | 19 | 0.022839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5568-19_0_3_line_20 | NAYY 4x150 SE | 18 | 26 | 0.0084529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_5568-19_0_3_line_21 | NAYY 4x150 SE | 19 | 28 | 0.001361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5568-19_0_3_line_22 | NAYY 4x150 SE | 20 | 21 | 0.011817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5568-19_0_3_line_23 | NAYY 4x150 SE | 20 | 22 | 0.0011608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5568-19_0_3_line_24 | NAYY 4x150 SE | 21 | 23 | 0.0096863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5568-19_0_3_line_25 | NAYY 4x150 SE | 22 | 24 | 0.018106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5568-19_0_3_line_26 | NAYY 4x150 SE | 23 | 25 | 0.019399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_5568-19_0_3_line_27 | NAYY 4x150 SE | 23 | 26 | 0.010446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
28 | LV_5568-19_0_3_line_28 | NAYY 4x150 SE | 24 | 27 | 0.0070205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5568-19_0_3_line_29 | NAYY 4x150 SE | 25 | 32 | 0.019872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5568-19_0_3_line_30 | NAYY 4x150 SE | 28 | 29 | 0.02719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5568-19_0_3_line_31 | NAYY 4x150 SE | 29 | 30 | 0.0026795 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5568-19_0_3_line_32 | NAYY 4x150 SE | 30 | 31 | 0.032484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5568-19_0_3_line_33 | NAYY 4x150 SE | 31 | 42 | 0.037583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5568-19_0_3_line_34 | NAYY 4x150 SE | 31 | 39 | 0.036701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5568-19_0_3_line_35 | NAYY 4x150 SE | 33 | 34 | 0.017129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
36 | LV_5568-19_0_3_line_36 | NAYY 4x150 SE | 34 | 35 | 0.058149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5568-19_0_3_line_37 | NAYY 4x150 SE | 36 | 37 | 0.0071456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5568-19_0_3_line_38 | NAYY 4x150 SE | 36 | 38 | 0.015299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5568-19_0_3_line_39 | NAYY 4x150 SE | 37 | 39 | 0.01941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5568-19_0_3_line_40 | NAYY 4x150 SE | 38 | 40 | 0.0067076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5568-19_0_3_line_41 | NAYY 4x150 SE | 40 | 41 | 0.015534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5568-19_0_3_line_42 | NAYY 4x150 SE | 41 | 43 | 0.03036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5568-19_0_3_line_43 | NAYY 4x150 SE | 42 | 46 | 0.026427 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5568-19_0_3_line_44 | NAYY 4x150 SE | 43 | 44 | 0.034353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5568-19_0_3_line_45 | NAYY 4x150 SE | 44 | 45 | 0.027267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5568-19_0_3_line_46 | NAYY 4x150 SE | 45 | 56 | 0.011103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5568-19_0_3_line_47 | NAYY 4x150 SE | 45 | 57 | 0.020555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5568-19_0_3_line_48 | NAYY 4x150 SE | 47 | 48 | 0.12709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5568-19_0_3_line_49 | NAYY 4x150 SE | 47 | 49 | 0.00045513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5568-19_0_3_line_50 | NAYY 4x150 SE | 49 | 50 | 0.092166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5568-19_0_3_line_51 | NAYY 4x150 SE | 50 | 51 | 0.047673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5568-19_0_3_line_52 | NAYY 4x150 SE | 51 | 57 | 0.031275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5568-19_0_3_line_53 | NAYY 4x150 SE | 52 | 53 | 0.0020947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5568-19_0_3_line_54 | NAYY 4x150 SE | 53 | 54 | 0.022644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5568-19_0_3_line_55 | NAYY 4x150 SE | 54 | 55 | 0.0099249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5568-19_0_3_line_56 | NAYY 4x150 SE | 55 | 56 | 0.024126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5568-19_0_3_trafo_38 | 0.25 MVA 20/0.4 kV | 58 | 34 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2529000.4339 | 1186075.022 | 2529004.7624 | 1186084.8523 | 2529010.8107 | 1186100.052
1 | 2529000.4339 | 1186075.022 | 2528999.5346 | 1186072.9797
2 | 2529021.5828 | 1186127.123 | 2529010.8107 | 1186100.052
3 | 2528995.0466 | 1186062.7872 | 2528999.5346 | 1186072.9797
4 | 2529023.5154 | 1186131.9796 | 2529021.5828 | 1186127.123
5 | 2528995.0466 | 1186062.7872 | 2528987.8741 | 1186046.498
6 | 2529040.363 | 1186173.5485 | 2529023.5154 | 1186131.9796
7 | 2528979.8919 | 1186028.37 | 2528987.8741 | 1186046.498
8 | 2528979.8919 | 1186028.37 | 2528983.8542 | 1186024.643 | 2528993.4709 | 1186015.0899 | 2528997.3501 | 1186010.152 | 2528999.7624 | 1186005.7208
9 | 2528999.7624 | 1186005.7208 | 2529020.9086 | 1186009.6102
10 | 2529051.3214 | 1186201.8239 | 2529046.9449 | 1186189.2907 | 2529040.363 | 1186173.5485
11 | 2529040.363 | 1186173.5485 | 2529051.9661 | 1186168.0291
12 | 2529047.4567 | 1186014.4932 | 2529020.9086 | 1186009.6102
13 | 2529099.939 | 1186280.6715 | 2529102.8177 | 1186275.0752
14 | 2529112.0636 | 1186257.1009 | 2529102.8177 | 1186275.0752
15 | 2529091.2913 | 1186296.1385 | 2529093.4076 | 1186293.1339 | 2529096.7744 | 1186286.8236 | 2529099.939 | 1186280.6715
16 | 2529112.4119 | 1186256.4238 | 2529112.0636 | 1186257.1009
17 | 2529091.2913 | 1186296.1385 | 2529126.6218 | 1186318.7995
18 | 2529091.2913 | 1186296.1385 | 2529087.3537 | 1186291.6493 | 2529084.2638 | 1186285.9159 | 2529078.3811 | 1186271.2103 | 2529066.3052 | 1186240.0575 | 2529065.3385 | 1186237.4608
19 | 2529112.4119 | 1186256.4238 | 2529122.8591 | 1186236.1142
20 | 2529065.3385 | 1186237.4608 | 2529062.3895 | 1186229.539
21 | 2529123.4816 | 1186234.9039 | 2529122.8591 | 1186236.1142
22 | 2529074.9361 | 1186207.0854 | 2529072.1067 | 1186211.9166 | 2529070.0877 | 1186214.7645 | 2529067.7792 | 1186216.2173
23 | 2529075.5227 | 1186206.0837 | 2529074.9361 | 1186207.0854
24 | 2529058.7837 | 1186219.7348 | 2529066.6488 | 1186216.9288 | 2529067.7792 | 1186216.2173
25 | 2529075.5227 | 1186206.0837 | 2529079.9155 | 1186198.5829 | 2529082.9716 | 1186189.6792
26 | 2529051.3214 | 1186201.8239 | 2529058.7837 | 1186219.7348
27 | 2529058.7837 | 1186219.7348 | 2529060.5036 | 1186224.4728 | 2529062.3895 | 1186229.539
28 | 2529084.4063 | 1186182.8092 | 2529083.0651 | 1186189.4068 | 2529082.9716 | 1186189.6792
29 | 2529051.3214 | 1186201.8239 | 2529032.8586 | 1186209.1732
30 | 2529123.4816 | 1186234.9039 | 2529124.4107 | 1186233.0978 | 2529129.1268 | 1186222.8025 | 2529131.2827 | 1186217.3404 | 2529132.1912 | 1186211.5818 | 2529132.2201 | 1186209.449
31 | 2529132.2201 | 1186209.449 | 2529132.2565 | 1186206.7698
32 | 2529129.4614 | 1186174.4368 | 2529131.3471 | 1186191.8803 | 2529132.3256 | 1186201.6744 | 2529132.2565 | 1186206.7698
33 | 2529129.4614 | 1186174.4368 | 2529128.1738 | 1186162.3895 | 2529125.2712 | 1186137.0882
34 | 2529129.4614 | 1186174.4368 | 2529133.1287 | 1186173.5151 | 2529134.3752 | 1186167.2966 | 2529135.0805 | 1186152.7686 | 2529136.6299 | 1186143.1335 | 2529137.3845 | 1186140.9892
35 | 2529051.9661 | 1186168.0291 | 2529053.4986 | 1186167.3001 | 2529058.0525 | 1186164.5667 | 2529064.0389 | 1186160.3487 | 2529066.0308 | 1186158.3844
36 | 2529079.56 | 1186103.6758 | 2529077.7348 | 1186131.8584 | 2529076.6912 | 1186139.7421 | 2529075.8522 | 1186142.9873 | 2529073.9891 | 1186148.6905 | 2529070.2468 | 1186154.2271 | 2529066.0308 | 1186158.3844
37 | 2529147.8975 | 1186116.6345 | 2529144.9898 | 1186123.1617
38 | 2529147.8975 | 1186116.6345 | 2529154.1233 | 1186102.6594
39 | 2529144.9898 | 1186123.1617 | 2529141.5667 | 1186130.8456 | 2529139.6863 | 1186134.4478 | 2529137.3845 | 1186140.9892
40 | 2529156.8528 | 1186096.5323 | 2529154.1233 | 1186102.6594
41 | 2529156.8528 | 1186096.5323 | 2529163.1741 | 1186082.3427
42 | 2529175.976 | 1186054.8156 | 2529166.4321 | 1186075.0294 | 2529163.1741 | 1186082.3427
43 | 2529125.2712 | 1186137.0882 | 2529125.0672 | 1186135.3104 | 2529124.3066 | 1186124.5798 | 2529124.1144 | 1186116.0993 | 2529124.5693 | 1186110.7213
44 | 2529175.976 | 1186054.8156 | 2529179.6754 | 1186060.4528 | 2529190.8991 | 1186078.3082 | 2529194.4775 | 1186083.7585
45 | 2529209.7829 | 1186106.3233 | 2529198.6708 | 1186090.1453 | 2529194.4775 | 1186083.7585
46 | 2529209.7829 | 1186106.3233 | 2529204.3891 | 1186116.0283
47 | 2529209.7829 | 1186106.3233 | 2529216.4704 | 1186116.1832 | 2529221.4743 | 1186123.2285
48 | 2529207.3959 | 1186207.0224 | 2529202.5101 | 1186214.5395 | 2529197.2971 | 1186222.8394 | 2529193.0518 | 1186237.4538 | 2529190.8474 | 1186249.1312 | 2529188.8321 | 1186262.6075 | 2529186.2789 | 1186284.7729 | 2529184.0618 | 1186301.1755 | 2529180.7782 | 1186315.1559 | 2529176.971 | 1186326.163 | 2529175.9334 | 1186328.6765
49 | 2529207.644 | 1186206.6408 | 2529207.3959 | 1186207.0224
50 | 2529207.644 | 1186206.6408 | 2529214.4757 | 1186198.4106 | 2529221.3394 | 1186190.9472 | 2529228.4812 | 1186184.4144 | 2529235.7129 | 1186179.0257 | 2529242.4178 | 1186174.8995 | 2529250.4783 | 1186170.546 | 2529260.4284 | 1186166.5815 | 2529271.8791 | 1186163.6777 | 2529284.9232 | 1186161.2776
51 | 2529284.9232 | 1186161.2776 | 2529280.7376 | 1186156.4576 | 2529269.42 | 1186154.4903 | 2529258.4825 | 1186153.697 | 2529249.6007 | 1186151.8565 | 2529241.8122 | 1186148.2466 | 2529240.8603 | 1186147.5477
52 | 2529221.4743 | 1186123.2285 | 2529234.7857 | 1186141.9705 | 2529237.863 | 1186145.3471 | 2529240.8603 | 1186147.5477
53 | 2529180.9085 | 1186169.7534 | 2529181.5404 | 1186167.7563
54 | 2529181.5404 | 1186167.7563 | 2529185.4481 | 1186155.4068 | 2529187.7966 | 1186149.4533 | 2529189.1754 | 1186146.4652
55 | 2529193.3335 | 1186137.4534 | 2529189.1754 | 1186146.4652
56 | 2529193.3335 | 1186137.4534 | 2529197.4988 | 1186128.4261 | 2529204.3891 | 1186116.0283

## bus_geodata
| x | y | coords
0 | 2529000.4339 | 1186075.022
1 | 2529010.8107 | 1186100.052
2 | 2528999.5346 | 1186072.9797
3 | 2529021.5828 | 1186127.123
4 | 2528995.0466 | 1186062.7872
5 | 2529023.5154 | 1186131.9796
6 | 2528987.8741 | 1186046.498
7 | 2528979.8919 | 1186028.37
8 | 2528999.7624 | 1186005.7208
9 | 2529040.363 | 1186173.5485
10 | 2529020.9086 | 1186009.6102
11 | 2529047.4567 | 1186014.4932
12 | 2529102.8177 | 1186275.0752
13 | 2529099.939 | 1186280.6715
14 | 2529112.0636 | 1186257.1009
15 | 2529091.2913 | 1186296.1385
16 | 2529112.4119 | 1186256.4238
17 | 2529126.6218 | 1186318.7995
18 | 2529065.3385 | 1186237.4608
19 | 2529122.8591 | 1186236.1142
20 | 2529074.9361 | 1186207.0854
21 | 2529067.7792 | 1186216.2173
22 | 2529075.5227 | 1186206.0837
23 | 2529058.7837 | 1186219.7348
24 | 2529082.9716 | 1186189.6792
25 | 2529051.3214 | 1186201.8239
26 | 2529062.3895 | 1186229.539
27 | 2529084.4063 | 1186182.8092
28 | 2529123.4816 | 1186234.9039
29 | 2529132.2202 | 1186209.449
30 | 2529132.2565 | 1186206.7698
31 | 2529129.4614 | 1186174.4368
32 | 2529032.8586 | 1186209.1732
33 | 2529051.9661 | 1186168.0291
34 | 2529066.0308 | 1186158.3844
35 | 2529079.56 | 1186103.6758
36 | 2529147.8975 | 1186116.6345
37 | 2529144.9898 | 1186123.1617
38 | 2529154.1233 | 1186102.6594
39 | 2529137.3845 | 1186140.9892
40 | 2529156.8528 | 1186096.5323
41 | 2529163.1741 | 1186082.3427
42 | 2529125.2712 | 1186137.0882
43 | 2529175.976 | 1186054.8156
44 | 2529194.4775 | 1186083.7585
45 | 2529209.7829 | 1186106.3233
46 | 2529124.5693 | 1186110.7213
47 | 2529207.3959 | 1186207.0224
48 | 2529175.9334 | 1186328.6765
49 | 2529207.644 | 1186206.6408
50 | 2529284.9232 | 1186161.2776
51 | 2529240.8603 | 1186147.5477
52 | 2529180.9085 | 1186169.7534
53 | 2529181.5404 | 1186167.7563
54 | 2529189.1754 | 1186146.4652
55 | 2529193.3335 | 1186137.4534
56 | 2529204.3891 | 1186116.0283
57 | 2529221.4743 | 1186123.2285
58 | 2529040.363 | 1186173.5485

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1