## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5568-19_1_2_node_9 | 0.4 | n |  | TRUE
1 | bus_LV_5568-19_1_2_node_10 | 0.4 | n |  | TRUE
2 | bus_LV_5568-19_1_2_node_136 | 0.4 | n |  | TRUE
3 | bus_LV_5568-19_1_2_node_12 | 0.4 | n |  | TRUE
4 | bus_LV_5568-19_1_2_node_13 | 0.4 | n |  | TRUE
5 | bus_LV_5568-19_1_2_node_15 | 0.4 | n |  | TRUE
6 | bus_LV_5568-19_1_2_node_141 | 0.4 | n |  | TRUE
7 | bus_LV_5568-19_1_2_node_16 | 0.4 | n |  | TRUE
8 | bus_LV_5568-19_1_2_node_88 | 0.4 | n |  | TRUE
9 | bus_LV_5568-19_1_2_node_137 | 0.4 | n |  | TRUE
10 | bus_LV_5568-19_1_2_node_118 | 0.4 | n |  | TRUE
11 | bus_LV_5568-19_1_2_node_108 | 0.4 | n |  | TRUE
12 | bus_LV_5568-19_1_2_node_110 | 0.4 | n |  | TRUE
13 | bus_LV_5568-19_1_2_node_111 | 0.4 | n |  | TRUE
14 | bus_LV_5568-19_1_2_node_112 | 0.4 | n |  | TRUE
15 | bus_LV_5568-19_1_2_node_113 | 0.4 | n |  | TRUE
16 | bus_LV_5568-19_1_2_node_114 | 0.4 | n |  | TRUE
17 | bus_LV_5568-19_1_2_node_115 | 0.4 | n |  | TRUE
18 | bus_LV_5568-19_1_2_node_146 | 0.4 | n |  | TRUE
19 | bus_LV_5568-19_1_2_node_123 | 0.4 | n |  | TRUE
20 | bus_LV_5568-19_1_2_node_145 | 0.4 | n |  | TRUE
21 | bus_LV_5568-19_1_2_node_116 | 0.4 | n |  | TRUE
22 | bus_LV_5568-19_1_2_node_117 | 0.4 | n |  | TRUE
23 | bus_LV_5568-19_1_2_node_119 | 0.4 | n |  | TRUE
24 | bus_LV_5568-19_1_2_node_120 | 0.4 | n |  | TRUE
25 | bus_LV_5568-19_1_2_node_134 | 0.4 | n |  | TRUE
26 | bus_LV_5568-19_1_2_node_104 | 0.4 | n |  | TRUE
27 | bus_LV_5568-19_1_2_node_102 | 0.4 | n |  | TRUE
28 | bus_LV_5568-19_1_2_node_67 | 0.4 | n |  | TRUE
29 | bus_LV_5568-19_1_2_node_68 | 0.4 | n |  | TRUE
30 | bus_LV_5568-19_1_2_node_69 | 0.4 | n |  | TRUE
31 | bus_LV_5568-19_1_2_node_70 | 0.4 | n |  | TRUE
32 | bus_LV_5568-19_1_2_node_71 | 0.4 | n |  | TRUE
33 | bus_LV_5568-19_1_2_node_72 | 0.4 | n |  | TRUE
34 | bus_LV_5568-19_1_2_node_74 | 0.4 | n |  | TRUE
35 | bus_LV_5568-19_1_2_node_73 | 0.4 | n |  | TRUE
36 | bus_LV_5568-19_1_2_node_81 | 0.4 | n |  | TRUE
37 | bus_LV_5568-19_1_2_node_79 | 0.4 | n |  | TRUE
38 | bus_LV_5568-19_1_2_node_80 | 0.4 | n |  | TRUE
39 | bus_LV_5568-19_1_2_node_76 | 0.4 | n |  | TRUE
40 | bus_LV_5568-19_1_2_node_75 | 0.4 | n |  | TRUE
41 | bus_LV_5568-19_1_2_node_86 | 0.4 | n |  | TRUE
42 | bus_LV_5568-19_1_2_node_85 | 0.4 | n |  | TRUE
43 | bus_LV_5568-19_1_2_node_82 | 0.4 | n |  | TRUE
44 | bus_LV_5568-19_1_2_node_142 | 0.4 | n |  | TRUE
45 | bus_LV_5568-19_1_2_node_92 | 0.4 | n |  | TRUE
46 | bus_LV_5568-19_1_2_node_89 | 0.4 | n |  | TRUE
47 | bus_LV_5568-19_1_2_node_77 | 0.4 | n |  | TRUE
48 | bus_LV_5568-19_1_2_node_87 | 0.4 | n |  | TRUE
49 | bus_LV_5568-19_1_2_node_84 | 0.4 | n |  | TRUE
50 | bus_LV_5568-19_1_2_node_78 | 0.4 | n |  | TRUE
51 | bus_LV_5568-19_1_2_node_94 | 0.4 | n |  | TRUE
52 | bus_LV_5568-19_1_2_node_93 | 0.4 | n |  | TRUE
53 | bus_LV_5568-19_1_2_node_97 | 0.4 | n |  | TRUE
54 | bus_LV_5568-19_1_2_node_127 | 0.4 | n |  | TRUE
55 | bus_LV_5568-19_1_2_node_90 | 0.4 | n |  | TRUE
56 | bus_LV_5568-19_1_2_node_83 | 0.4 | n |  | TRUE
57 | bus_LV_5568-19_1_2_node_138 | 0.4 | n |  | TRUE
58 | bus_LV_5568-19_1_2_node_91 | 0.4 | n |  | TRUE
59 | bus_LV_5568-19_1_2_node_95 | 0.4 | n |  | TRUE
60 | bus_LV_5568-19_1_2_node_125 | 0.4 | n |  | TRUE
61 | bus_LV_5568-19_1_2_node_98 | 0.4 | n |  | TRUE
62 | bus_LV_5568-19_1_2_node_99 | 0.4 | n |  | TRUE
63 | bus_LV_5568-19_1_2_node_100 | 0.4 | n |  | TRUE
64 | bus_LV_5568-19_1_2_node_101 | 0.4 | n |  | TRUE
65 | bus_LV_5568-19_1_2_node_103 | 0.4 | n |  | TRUE
66 | bus_LV_5568-19_1_2_node_105 | 0.4 | n |  | TRUE
67 | bus_LV_5568-19_1_2_node_133 | 0.4 | n |  | TRUE
68 | bus_LV_5568-19_1_2_node_131 | 0.4 | n |  | TRUE
69 | bus_LV_5568-19_1_2_node_132 | 0.4 | n |  | TRUE
70 | bus_LV_5568-19_1_2_node_121 | 0.4 | n |  | TRUE
71 | bus_LV_5568-19_1_2_node_128 | 0.4 | n |  | TRUE
72 | bus_LV_5568-19_1_2_node_124 | 0.4 | n |  | TRUE
73 | bus_LV_5568-19_1_2_node_129 | 0.4 | n |  | TRUE
74 | bus_LV_5568-19_1_2_node_130 | 0.4 | n |  | TRUE
75 | bus_LV_5568-19_1_2_node_143 | 0.4 | n |  | TRUE
76 | bus_LV_5568-19_1_2_node_144 | 0.4 | n |  | TRUE
77 | bus_LV_5568-19_1_2_node_135 | 0.4 | n |  | TRUE
78 | bus_MV_0_node_87 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5568-19_1_2_load_9 | 0 | 0.00084915 | 0.00021282 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5568-19_1_2_load_12 | 3 | 0.00081021 | 0.00020306 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5568-19_1_2_load_13 | 4 | 0.0010464 | 0.00026226 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5568-19_1_2_load_15 | 5 | 0.0017911 | 0.0004489 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5568-19_1_2_load_141 | 6 | 0.0011295 | 0.00028309 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5568-19_1_2_load_16 | 7 | 0.00081566 | 0.00020442 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5568-19_1_2_load_118 | 10 | 0.0010879 | 0.00027266 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5568-19_1_2_load_108 | 11 | 0.00087513 | 0.00021933 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5568-19_1_2_load_111 | 13 | 0.0012122 | 0.0003038 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5568-19_1_2_load_112 | 14 | 0.00095723 | 0.0002399 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5568-19_1_2_load_115 | 17 | 0.0010161 | 0.00025467 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5568-19_1_2_load_146 | 18 | 0.0010576 | 0.00026506 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5568-19_1_2_load_123 | 19 | 0.00076996 | 0.00019297 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5568-19_1_2_load_145 | 20 | 0.0010311 | 0.00025842 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5568-19_1_2_load_117 | 22 | 0.001084 | 0.00027167 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5568-19_1_2_load_119 | 23 | 0.00054335 | 0.00013618 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5568-19_1_2_load_134 | 25 | 0.00099753 | 0.00025 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5568-19_1_2_load_104 | 26 | 0.0016222 | 0.00040655 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5568-19_1_2_load_102 | 27 | 0.0014947 | 0.00037461 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5568-19_1_2_load_67 | 28 | 0.00094339 | 0.00023643 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5568-19_1_2_load_68 | 29 | 0.00051545 | 0.00012918 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5568-19_1_2_load_74 | 34 | 0.0013183 | 0.00033039 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5568-19_1_2_load_81 | 36 | 0.00063814 | 0.00015993 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5568-19_1_2_load_76 | 39 | 0.0014356 | 0.00035979 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5568-19_1_2_load_86 | 41 | 0.0010543 | 0.00026422 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5568-19_1_2_load_85 | 42 | 0.00020214 | 5.0662e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5568-19_1_2_load_82 | 43 | 0.0005033 | 0.00012614 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5568-19_1_2_load_142 | 44 | 0.002161 | 0.00054159 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5568-19_1_2_load_92 | 45 | 0.0016558 | 0.00041499 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5568-19_1_2_load_89 | 46 | 0.00061293 | 0.00015361 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5568-19_1_2_load_77 | 47 | 0.00040563 | 0.00010166 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5568-19_1_2_load_87 | 48 | 0.00076994 | 0.00019297 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5568-19_1_2_load_84 | 49 | 0.00046685 | 0.000117 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5568-19_1_2_load_94 | 51 | 0.0011212 | 0.00028099 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5568-19_1_2_load_93 | 52 | 0.0023412 | 0.00058677 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5568-19_1_2_load_97 | 53 | 0.00079645 | 0.00019961 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5568-19_1_2_load_127 | 54 | 0.0014125 | 0.00035401 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5568-19_1_2_load_90 | 55 | 0.00075124 | 0.00018828 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5568-19_1_2_load_83 | 56 | 0.00042692 | 0.000107 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5568-19_1_2_load_138 | 57 | 0.00018859 | 4.7266e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5568-19_1_2_load_91 | 58 | 0.00077168 | 0.0001934 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5568-19_1_2_load_95 | 59 | 0.0012342 | 0.00030931 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5568-19_1_2_load_125 | 60 | 0.00096456 | 0.00024174 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5568-19_1_2_load_98 | 61 | 0.00096079 | 0.0002408 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5568-19_1_2_load_99 | 62 | 0.0014699 | 0.0003684 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5568-19_1_2_load_100 | 63 | 0.00098517 | 0.00024691 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5568-19_1_2_load_103 | 65 | 0.0010933 | 0.00027401 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5568-19_1_2_load_105 | 66 | 0.0024622 | 0.0006171 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5568-19_1_2_load_133 | 67 | 0.00041867 | 0.00010493 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5568-19_1_2_load_131 | 68 | 0.0004337 | 0.00010869 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5568-19_1_2_load_132 | 69 | 0.00084979 | 0.00021298 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5568-19_1_2_load_121 | 70 | 0.0005306 | 0.00013298 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5568-19_1_2_load_128 | 71 | 0.00049148 | 0.00012318 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5568-19_1_2_load_143 | 75 | 0.00050041 | 0.00012541 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5568-19_1_2_load_144 | 76 | 0.0013538 | 0.00033929 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5568-19_1_2_load_135 | 77 | 0.0041629 | 0.0010433 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 48 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5568-19_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.014604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5568-19_1_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.17031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5568-19_1_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.02983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5568-19_1_2_line_3 | NAYY 4x150 SE | 1 | 4 | 0.0042463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5568-19_1_2_line_4 | NAYY 4x150 SE | 2 | 25 | 0.088717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5568-19_1_2_line_5 | NAYY 4x150 SE | 3 | 5 | 0.12532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5568-19_1_2_line_6 | NAYY 4x150 SE | 4 | 6 | 0.020751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5568-19_1_2_line_7 | NAYY 4x150 SE | 5 | 7 | 0.032145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5568-19_1_2_line_8 | NAYY 4x150 SE | 5 | 8 | 0.16553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5568-19_1_2_line_9 | NAYY 4x150 SE | 7 | 9 | 0.066255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5568-19_1_2_line_10 | NAYY 4x150 SE | 7 | 10 | 0.16753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5568-19_1_2_line_11 | NAYY 4x150 SE | 8 | 57 | 0.079338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5568-19_1_2_line_12 | NAYY 4x150 SE | 8 | 48 | 0.035863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5568-19_1_2_line_13 | NAYY 4x150 SE | 9 | 19 | 0.11782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5568-19_1_2_line_14 | NAYY 4x150 SE | 10 | 23 | 0.017004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5568-19_1_2_line_15 | NAYY 4x150 SE | 10 | 21 | 0.041083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5568-19_1_2_line_16 | NAYY 4x150 SE | 11 | 12 | 0.0054165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5568-19_1_2_line_17 | NAYY 4x150 SE | 12 | 13 | 0.022021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5568-19_1_2_line_18 | NAYY 4x150 SE | 12 | 14 | 0.007059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5568-19_1_2_line_19 | NAYY 4x150 SE | 13 | 15 | 0.0059545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5568-19_1_2_line_20 | NAYY 4x150 SE | 15 | 16 | 0.004222 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5568-19_1_2_line_21 | NAYY 4x150 SE | 15 | 17 | 0.014852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5568-19_1_2_line_22 | NAYY 4x150 SE | 16 | 20 | 0.011377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5568-19_1_2_line_23 | NAYY 4x150 SE | 16 | 18 | 0.008529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5568-19_1_2_line_24 | NAYY 4x150 SE | 17 | 21 | 0.01056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5568-19_1_2_line_25 | NAYY 4x150 SE | 21 | 22 | 0.011877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5568-19_1_2_line_26 | NAYY 4x150 SE | 23 | 24 | 0.034192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5568-19_1_2_line_27 | NAYY 4x150 SE | 24 | 70 | 0.055425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5568-19_1_2_line_28 | NAYY 4x150 SE | 25 | 77 | 0.035116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5568-19_1_2_line_29 | NAYY 4x150 SE | 26 | 27 | 0.030206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5568-19_1_2_line_30 | NAYY 4x150 SE | 27 | 64 | 0.021033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5568-19_1_2_line_31 | NAYY 4x150 SE | 28 | 29 | 0.072651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5568-19_1_2_line_32 | NAYY 4x150 SE | 28 | 30 | 0.009746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5568-19_1_2_line_33 | NAYY 4x150 SE | 29 | 31 | 0.0068314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5568-19_1_2_line_34 | NAYY 4x150 SE | 30 | 32 | 0.058307 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5568-19_1_2_line_35 | NAYY 4x150 SE | 31 | 33 | 0.046774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5568-19_1_2_line_36 | NAYY 4x150 SE | 32 | 34 | 0.035485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5568-19_1_2_line_37 | NAYY 4x150 SE | 33 | 35 | 0.017421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5568-19_1_2_line_38 | NAYY 4x150 SE | 33 | 36 | 0.021029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5568-19_1_2_line_39 | NAYY 4x150 SE | 35 | 37 | 0.085094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5568-19_1_2_line_40 | NAYY 4x150 SE | 35 | 38 | 0.037772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5568-19_1_2_line_41 | NAYY 4x150 SE | 35 | 39 | 0.028838 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5568-19_1_2_line_42 | NAYY 4x150 SE | 36 | 43 | 0.044489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5568-19_1_2_line_43 | NAYY 4x150 SE | 37 | 44 | 0.084616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5568-19_1_2_line_44 | NAYY 4x150 SE | 38 | 45 | 0.096648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5568-19_1_2_line_45 | NAYY 4x150 SE | 38 | 46 | 0.090482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5568-19_1_2_line_46 | NAYY 4x150 SE | 39 | 47 | 0.13392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5568-19_1_2_line_47 | NAYY 4x150 SE | 40 | 41 | 0.02798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5568-19_1_2_line_48 | NAYY 4x150 SE | 40 | 42 | 0.048648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5568-19_1_2_line_49 | NAYY 4x150 SE | 41 | 48 | 0.059104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5568-19_1_2_line_50 | NAYY 4x150 SE | 42 | 49 | 0.00035176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5568-19_1_2_line_51 | NAYY 4x150 SE | 43 | 56 | 0.0066633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5568-19_1_2_line_52 | NAYY 4x150 SE | 45 | 54 | 0.022985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5568-19_1_2_line_53 | NAYY 4x150 SE | 46 | 55 | 0.065612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5568-19_1_2_line_54 | NAYY 4x150 SE | 47 | 50 | 0.002337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5568-19_1_2_line_55 | NAYY 4x150 SE | 49 | 56 | 0.01879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5568-19_1_2_line_56 | NAYY 4x150 SE | 50 | 51 | 0.047217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5568-19_1_2_line_57 | NAYY 4x150 SE | 50 | 52 | 0.044952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5568-19_1_2_line_58 | NAYY 4x150 SE | 51 | 53 | 0.04694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5568-19_1_2_line_59 | NAYY 4x150 SE | 53 | 61 | 0.02516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5568-19_1_2_line_60 | NAYY 4x150 SE | 55 | 58 | 0.025254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5568-19_1_2_line_61 | NAYY 4x150 SE | 58 | 59 | 0.043581 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5568-19_1_2_line_62 | NAYY 4x150 SE | 59 | 60 | 0.21969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5568-19_1_2_line_63 | NAYY 4x150 SE | 61 | 62 | 0.027365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5568-19_1_2_line_64 | NAYY 4x150 SE | 62 | 63 | 0.026349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5568-19_1_2_line_65 | NAYY 4x150 SE | 63 | 64 | 0.0021987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5568-19_1_2_line_66 | NAYY 4x150 SE | 64 | 65 | 0.093347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_5568-19_1_2_line_67 | NAYY 4x150 SE | 66 | 67 | 0.18698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_5568-19_1_2_line_68 | NAYY 4x150 SE | 67 | 68 | 0.044312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_5568-19_1_2_line_69 | NAYY 4x150 SE | 68 | 69 | 0.049205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_5568-19_1_2_line_70 | NAYY 4x150 SE | 69 | 73 | 0.055373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_5568-19_1_2_line_71 | NAYY 4x150 SE | 70 | 71 | 0.0075602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_5568-19_1_2_line_72 | NAYY 4x150 SE | 71 | 72 | 0.029139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_5568-19_1_2_line_73 | NAYY 4x150 SE | 72 | 73 | 0.047135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_5568-19_1_2_line_74 | NAYY 4x150 SE | 73 | 74 | 0.004086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_5568-19_1_2_line_75 | NAYY 4x150 SE | 74 | 75 | 0.069178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_5568-19_1_2_line_76 | NAYY 4x150 SE | 74 | 76 | 0.035859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5568-19_1_2_trafo_87 | 0.25 MVA 20/0.4 kV | 78 | 48 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2529545.2998 | 1186043.146 | 2529534.8163 | 1186040.7348 | 2529531.0034 | 1186040.2266
1 | 2529428.3228 | 1186176.1033 | 2529531.0034 | 1186040.2266
2 | 2529545.2998 | 1186043.146 | 2529555.4007 | 1186045.4617 | 2529572.4552 | 1186050.4971 | 2529574.0094 | 1186051.1469
3 | 2529545.2998 | 1186043.146 | 2529546.6719 | 1186039.1275
4 | 2529428.3228 | 1186176.1033 | 2529437.3985 | 1186182.0997 | 2529445.4428 | 1186187.3523 | 2529450.4687 | 1186189.6722 | 2529456.0644 | 1186193.0748 | 2529461.1256 | 1186197.7401 | 2529463.5144 | 1186202.2812 | 2529464.5424 | 1186207.272 | 2529464.6303 | 1186212.1294 | 2529461.9453 | 1186221.9335 | 2529457.3544 | 1186229.9479 | 2529453.9303 | 1186234.024 | 2529446.8646 | 1186239.266 | 2529446.2818 | 1186239.5675
5 | 2529574.0094 | 1186051.1469 | 2529584.7644 | 1186055.6441 | 2529592.0714 | 1186060.4942 | 2529599.72 | 1186063.895 | 2529606.8771 | 1186065.0892 | 2529612.4829 | 1186065.4568 | 2529624.2296 | 1186062.3834 | 2529637.1078 | 1186060.7754 | 2529677.0964 | 1186057.5253 | 2529695.472 | 1186056.5358
6 | 2529567.0771 | 1186042.9004 | 2529546.6719 | 1186039.1275
7 | 2529695.472 | 1186056.5358 | 2529704.3081 | 1186056.0601 | 2529727.6016 | 1186055.7112
8 | 2529651.4747 | 1186216.1084 | 2529695.472 | 1186056.5358
9 | 2529786.9856 | 1186077.3679 | 2529779.607 | 1186070.3059 | 2529770.6788 | 1186062.5618 | 2529760.5374 | 1186058.0783 | 2529750.3644 | 1186056.1077 | 2529735.4313 | 1186055.594 | 2529727.6016 | 1186055.7112
10 | 2529727.6016 | 1186055.7112 | 2529771.1724 | 1185893.9436
11 | 2529720.9407 | 1186243.2631 | 2529711.8734 | 1186240.5458 | 2529693.5972 | 1186236.7029 | 2529672.833 | 1186232.1889 | 2529658.3556 | 1186228.2124 | 2529655.3295 | 1186226.5692 | 2529652.5359 | 1186222.6331 | 2529651.1751 | 1186219.8253 | 2529651.4747 | 1186216.1084
12 | 2529651.4747 | 1186216.1084 | 2529670.9567 | 1186219.9482 | 2529686.6478 | 1186223.1093
13 | 2529786.9856 | 1186077.3679 | 2529807.2823 | 1185961.3078
14 | 2529771.1724 | 1185893.9436 | 2529778.0068 | 1185895.7892 | 2529787.3427 | 1185897.9475 | 2529787.6799 | 1185898.0071
15 | 2529731.2352 | 1185884.3431 | 2529757.374 | 1185890.2172 | 2529771.1724 | 1185893.9436
16 | 2529678.6446 | 1185877.7796 | 2529673.2903 | 1185878.5985
17 | 2529678.6446 | 1185877.7796 | 2529691.4016 | 1185876.8624 | 2529700.5759 | 1185877.8831
18 | 2529674.5969 | 1185872.9911 | 2529677.0067 | 1185873.4853 | 2529677.9306 | 1185875.4756 | 2529678.6446 | 1185877.7796
19 | 2529706.4939 | 1185878.5415 | 2529700.5759 | 1185877.8831
20 | 2529706.4939 | 1185878.5415 | 2529710.2408 | 1185876.5741
21 | 2529706.4939 | 1185878.5415 | 2529720.9594 | 1185881.9088
22 | 2529710.2408 | 1185876.5741 | 2529717.6125 | 1185877.1879 | 2529721.616 | 1185876.9184
23 | 2529710.2408 | 1185876.5741 | 2529702.3862 | 1185873.1978
24 | 2529731.2352 | 1185884.3431 | 2529727.3166 | 1185883.3885 | 2529720.9594 | 1185881.9088
25 | 2529731.2352 | 1185884.3431 | 2529734.6038 | 1185883.3029 | 2529740.0665 | 1185881.2152 | 2529742.5669 | 1185881.6306
26 | 2529816.8961 | 1185905.405 | 2529815.944 | 1185901.6695 | 2529814.1779 | 1185898.7997 | 2529810.192 | 1185897.3123 | 2529803.4355 | 1185898.3922 | 2529797.1928 | 1185899.0437 | 2529792.7725 | 1185898.9066 | 2529787.6799 | 1185898.0071
27 | 2529816.8961 | 1185905.405 | 2529871.6816 | 1185897.0095
28 | 2529412.1796 | 1186240.4649 | 2529423.6536 | 1186242.7641 | 2529432.2686 | 1186243.3517 | 2529440.5085 | 1186242.554 | 2529446.2818 | 1186239.5675
29 | 2529505.3523 | 1186327.4279 | 2529486.8255 | 1186321.7319 | 2529476.5066 | 1186318.4645
30 | 2529525.2206 | 1186334.2866 | 2529515.5404 | 1186331.3545 | 2529505.3523 | 1186327.4279 | 2529505.3523 | 1186327.4279
31 | 2529969.9156 | 1186306.2833 | 2529961.5294 | 1186308.3784 | 2529913.9914 | 1186321.065 | 2529899.8612 | 1186325.4833
32 | 2529978.0977 | 1186301.3136 | 2529975.1466 | 1186304.1053 | 2529971.1013 | 1186305.9871 | 2529969.9156 | 1186306.2833
33 | 2529893.3411 | 1186327.522 | 2529899.8612 | 1186325.4833
34 | 2529978.0977 | 1186301.3136 | 2529935.003 | 1186297.2604 | 2529919.8439 | 1186296.2931
35 | 2529849.2732 | 1186342.6143 | 2529859.5929 | 1186340.8812 | 2529870.92 | 1186336.5458 | 2529877.2732 | 1186333.6473 | 2529884.0026 | 1186330.9446 | 2529893.3411 | 1186327.522
36 | 2529919.8439 | 1186296.2931 | 2529920.7431 | 1186292.2802 | 2529924.1661 | 1186290.0387 | 2529928.6473 | 1186287.5848 | 2529936.0702 | 1186285.441 | 2529946.2078 | 1186284.4328 | 2529949.9467 | 1186282.3955
37 | 2529849.2732 | 1186342.6143 | 2529849.9801 | 1186350.1771 | 2529852.3508 | 1186359.7105
38 | 2529849.2732 | 1186342.6143 | 2529834.9328 | 1186341.8266 | 2529828.74 | 1186339.356
39 | 2529852.3508 | 1186359.7105 | 2529856.1138 | 1186366.2924 | 2529865.2016 | 1186373.3788 | 2529878.5561 | 1186380.5486 | 2529909.0429 | 1186398.1904 | 2529921.9087 | 1186407.3005
40 | 2529825.985 | 1186386.3132 | 2529845.0803 | 1186369.6238 | 2529848.0108 | 1186367.0435 | 2529849.9725 | 1186364.4856 | 2529852.3508 | 1186359.7105
41 | 2529852.3508 | 1186359.7105 | 2529827.085 | 1186372.1142 | 2529826.4509 | 1186372.3905
42 | 2529828.74 | 1186339.356 | 2529818.7171 | 1186335.3575 | 2529804.5167 | 1186327.653 | 2529790.1915 | 1186317.5279
43 | 2529876.9164 | 1186468.4305 | 2529878.8193 | 1186462.16 | 2529884.9621 | 1186450.4478 | 2529893.498 | 1186441.0756 | 2529904.453 | 1186430.4075 | 2529909.4527 | 1186428.5812 | 2529921.6718 | 1186424.8358 | 2529923.4854 | 1186422.0129 | 2529923.2252 | 1186418.7029 | 2529921.2532 | 1186414.5235 | 2529920.542 | 1186410.4851 | 2529921.9087 | 1186407.3005
44 | 2529825.985 | 1186386.3132 | 2529825.3036 | 1186390.0234 | 2529822.2368 | 1186398.5421 | 2529818.099 | 1186405.5392 | 2529812.3195 | 1186413.7452 | 2529806.8302 | 1186419.3685 | 2529799.9551 | 1186422.6511 | 2529774.8353 | 1186428.6051 | 2529759.7555 | 1186432.4178 | 2529755.3621 | 1186435.1822 | 2529753.106 | 1186438.0103
45 | 2529825.985 | 1186386.3132 | 2529812.454 | 1186399.8577 | 2529805.6535 | 1186404.2957 | 2529800.2745 | 1186406.9604 | 2529794.985 | 1186408.1565 | 2529784.0295 | 1186409.0301 | 2529762.4736 | 1186407.8715 | 2529753.0805 | 1186407.9263 | 2529748.0713 | 1186408.9413 | 2529743.5779 | 1186410.3505
46 | 2529826.4509 | 1186372.3905 | 2529800.3378 | 1186383.7683 | 2529791.1376 | 1186387.2561 | 2529784.676 | 1186388.7106 | 2529774.9752 | 1186388.5578 | 2529759.8397 | 1186386.3454 | 2529733.6835 | 1186382.0502 | 2529720.5867 | 1186380.581 | 2529708.2463 | 1186379.8479 | 2529696.3194 | 1186379.7465
47 | 2529769.1038 | 1186249.9789 | 2529751.4879 | 1186241.2807 | 2529743.6327 | 1186238.4975
48 | 2529769.1038 | 1186249.9789 | 2529768.8345 | 1186277.0646 | 2529773.5155 | 1186298.1109
49 | 2529743.6327 | 1186238.4975 | 2529726.828 | 1186232.5432 | 2529707.9096 | 1186227.9517 | 2529690.2483 | 1186223.8347 | 2529686.6478 | 1186223.1093
50 | 2529773.5155 | 1186298.1109 | 2529773.687 | 1186298.4179
51 | 2529790.1915 | 1186317.5279 | 2529788.5958 | 1186316.4 | 2529785.3475 | 1186312.9904
52 | 2529769.3698 | 1186447.2914 | 2529757.7057 | 1186446.2945 | 2529754.4412 | 1186445.1321 | 2529753.587 | 1186444.5196 | 2529752.7528 | 1186443.0174 | 2529752.6471 | 1186441.162 | 2529753.106 | 1186438.0103
53 | 2529743.5779 | 1186410.3505 | 2529743.5779 | 1186410.3505 | 2529716.6269 | 1186420.8734 | 2529709.1066 | 1186422.4961 | 2529701.6905 | 1186422.5944 | 2529693.2274 | 1186421.9157 | 2529680.2111 | 1186420.6372
54 | 2529693.9825 | 1186379.7266 | 2529696.3194 | 1186379.7465
55 | 2529785.3475 | 1186312.9904 | 2529781.0857 | 1186308.5169 | 2529776.7115 | 1186303.8322 | 2529773.687 | 1186298.4179
56 | 2529693.9825 | 1186379.7266 | 2529687.4162 | 1186379.4147 | 2529676.9023 | 1186378.2599 | 2529663.131 | 1186375.2535 | 2529647.93 | 1186370.3556
57 | 2529693.9825 | 1186379.7266 | 2529705.0791 | 1186387.6007 | 2529723.2196 | 1186394.2247 | 2529721.612 | 1186406.1508
58 | 2529603.5091 | 1186355.2435 | 2529609.5755 | 1186357.0285 | 2529625.6541 | 1186362.209 | 2529642.625 | 1186368.6464 | 2529647.93 | 1186370.3556
59 | 2529603.5091 | 1186355.2435 | 2529591.4116 | 1186351.6837 | 2529579.256 | 1186348.5652
60 | 2529680.2111 | 1186420.6372 | 2529676.5497 | 1186420.2776 | 2529654.9761 | 1186420.5315
61 | 2529654.9761 | 1186420.5315 | 2529648.4106 | 1186420.6088 | 2529621.2755 | 1186421.9622 | 2529611.435 | 1186422.2897
62 | 2529611.435 | 1186422.2897 | 2529623.9464 | 1186641.6262
63 | 2529579.256 | 1186348.5652 | 2529574.9627 | 1186347.4638 | 2529555.4334 | 1186342.8133 | 2529553.903 | 1186342.4534 | 2529552.6531 | 1186342.1558
64 | 2529552.6531 | 1186342.1558 | 2529546.5182 | 1186340.6949 | 2529527.3128 | 1186334.9621
65 | 2529525.2206 | 1186334.2866 | 2529526.6686 | 1186334.7698 | 2529527.3128 | 1186334.9621
66 | 2529601.019 | 1186385.357 | 2529589.7101 | 1186382.7886 | 2529579.7793 | 1186379.9595 | 2529573.7514 | 1186376.1282 | 2529567.1864 | 1186370.102 | 2529559.2253 | 1186362.8137 | 2529542.3165 | 1186348.071 | 2529526.698 | 1186337.2598 | 2529525.2206 | 1186334.2866
67 | 2530098.7164 | 1185880.1882 | 2530146.5335 | 1185699.4236
68 | 2530057.223 | 1185865.9612 | 2530061.5158 | 1185866.5608 | 2530075.8338 | 1185869.2505 | 2530084.1938 | 1185872.7993 | 2530091.1196 | 1185875.7423 | 2530098.7164 | 1185880.1882
69 | 2530057.223 | 1185865.9612 | 2530054.3915 | 1185865.5658 | 2530041.067 | 1185865.5994 | 2530028.5559 | 1185866.6687 | 2530010.4038 | 1185869.5828 | 2530008.3667 | 1185870.0044
70 | 2529954.1422 | 1185881.2261 | 2530008.3667 | 1185870.0044
71 | 2529879.1546 | 1185895.8644 | 2529871.6816 | 1185897.0095
72 | 2529907.7486 | 1185890.275 | 2529882.814 | 1185895.3036 | 2529879.1546 | 1185895.8644
73 | 2529954.1422 | 1185881.2261 | 2529907.7486 | 1185890.275
74 | 2529954.1422 | 1185881.2261 | 2529956.312 | 1185884.6916
75 | 2530022.4159 | 1185904.118 | 2530006.2721 | 1185901.9167 | 2529991.8943 | 1185898.672 | 2529982.8464 | 1185895.6873 | 2529958.3287 | 1185886.1577 | 2529956.312 | 1185884.6916
76 | 2529991.6364 | 1185877.9629 | 2529960.47 | 1185883.9314 | 2529956.312 | 1185884.6916

## bus_geodata
| x | y | coords
0 | 2529531.0034 | 1186040.2266
1 | 2529545.2998 | 1186043.146
2 | 2529428.3228 | 1186176.1033
3 | 2529574.0094 | 1186051.1469
4 | 2529546.6719 | 1186039.1275
5 | 2529695.472 | 1186056.5358
6 | 2529567.0771 | 1186042.9004
7 | 2529727.6016 | 1186055.7112
8 | 2529651.4747 | 1186216.1084
9 | 2529786.9856 | 1186077.3679
10 | 2529771.1724 | 1185893.9436
11 | 2529673.2903 | 1185878.5985
12 | 2529678.6446 | 1185877.7796
13 | 2529700.5759 | 1185877.8831
14 | 2529674.5969 | 1185872.9911
15 | 2529706.4939 | 1185878.5415
16 | 2529710.2408 | 1185876.5741
17 | 2529720.9594 | 1185881.9088
18 | 2529702.3862 | 1185873.1978
19 | 2529807.2823 | 1185961.3078
20 | 2529721.616 | 1185876.9184
21 | 2529731.2352 | 1185884.3431
22 | 2529742.5669 | 1185881.6306
23 | 2529787.6799 | 1185898.0071
24 | 2529816.8961 | 1185905.405
25 | 2529446.2818 | 1186239.5675
26 | 2529476.5066 | 1186318.4645
27 | 2529505.3523 | 1186327.4279
28 | 2529969.9156 | 1186306.2833
29 | 2529899.8612 | 1186325.4833
30 | 2529978.0977 | 1186301.3136
31 | 2529893.3411 | 1186327.522
32 | 2529919.8439 | 1186296.2931
33 | 2529849.2732 | 1186342.6143
34 | 2529949.9467 | 1186282.3955
35 | 2529852.3508 | 1186359.7105
36 | 2529828.74 | 1186339.356
37 | 2529921.9087 | 1186407.3005
38 | 2529825.985 | 1186386.3132
39 | 2529826.4509 | 1186372.3905
40 | 2529769.1038 | 1186249.9789
41 | 2529743.6327 | 1186238.4975
42 | 2529773.5155 | 1186298.1109
43 | 2529790.1915 | 1186317.5279
44 | 2529876.9165 | 1186468.4305
45 | 2529753.106 | 1186438.0103
46 | 2529743.5779 | 1186410.3505
47 | 2529696.3194 | 1186379.7465
48 | 2529686.6478 | 1186223.1093
49 | 2529773.687 | 1186298.4179
50 | 2529693.9825 | 1186379.7266
51 | 2529647.93 | 1186370.3556
52 | 2529721.612 | 1186406.1508
53 | 2529603.5091 | 1186355.2435
54 | 2529769.3698 | 1186447.2914
55 | 2529680.2111 | 1186420.6372
56 | 2529785.3475 | 1186312.9904
57 | 2529720.9407 | 1186243.2631
58 | 2529654.9761 | 1186420.5315
59 | 2529611.435 | 1186422.2897
60 | 2529623.9464 | 1186641.6262
61 | 2529579.256 | 1186348.5652
62 | 2529552.6531 | 1186342.1558
63 | 2529527.3128 | 1186334.9621
64 | 2529525.2206 | 1186334.2866
65 | 2529601.019 | 1186385.357
66 | 2530146.5335 | 1185699.4236
67 | 2530098.7164 | 1185880.1882
68 | 2530057.223 | 1185865.9612
69 | 2530008.3667 | 1185870.0044
70 | 2529871.6816 | 1185897.0095
71 | 2529879.1546 | 1185895.8644
72 | 2529907.7486 | 1185890.275
73 | 2529954.1422 | 1185881.2261
74 | 2529956.312 | 1185884.6916
75 | 2530022.4159 | 1185904.118
76 | 2529991.6364 | 1185877.9629
77 | 2529412.1796 | 1186240.4649
78 | 2529686.6478 | 1186223.1093

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1