## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5568-8_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5568-8_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5568-8_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5568-8_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_5568-8_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_5568-8_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_5568-8_0_4_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_5568-8_0_4_node_18 | 0.4 | n |  | TRUE
8 | bus_LV_5568-8_0_4_node_16 | 0.4 | n |  | TRUE
9 | bus_LV_5568-8_0_4_node_34 | 0.4 | n |  | TRUE
10 | bus_LV_5568-8_0_4_node_35 | 0.4 | n |  | TRUE
11 | bus_LV_5568-8_0_4_node_32 | 0.4 | n |  | TRUE
12 | bus_LV_5568-8_0_4_node_37 | 0.4 | n |  | TRUE
13 | bus_LV_5568-8_0_4_node_69 | 0.4 | n |  | TRUE
14 | bus_LV_5568-8_0_4_node_68 | 0.4 | n |  | TRUE
15 | bus_LV_5568-8_0_4_node_38 | 0.4 | n |  | TRUE
16 | bus_LV_5568-8_0_4_node_39 | 0.4 | n |  | TRUE
17 | bus_LV_5568-8_0_4_node_51 | 0.4 | n |  | TRUE
18 | bus_LV_5568-8_0_4_node_64 | 0.4 | n |  | TRUE
19 | bus_LV_5568-8_0_4_node_40 | 0.4 | n |  | TRUE
20 | bus_LV_5568-8_0_4_node_42 | 0.4 | n |  | TRUE
21 | bus_LV_5568-8_0_4_node_49 | 0.4 | n |  | TRUE
22 | bus_LV_5568-8_0_4_node_9 | 0.4 | n |  | TRUE
23 | bus_LV_5568-8_0_4_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_5568-8_0_4_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_5568-8_0_4_node_10 | 0.4 | n |  | TRUE
26 | bus_LV_5568-8_0_4_node_65 | 0.4 | n |  | TRUE
27 | bus_LV_5568-8_0_4_node_11 | 0.4 | n |  | TRUE
28 | bus_LV_5568-8_0_4_node_73 | 0.4 | n |  | TRUE
29 | bus_LV_5568-8_0_4_node_71 | 0.4 | n |  | TRUE
30 | bus_LV_5568-8_0_4_node_8 | 0.4 | n |  | TRUE
31 | bus_LV_5568-8_0_4_node_95 | 0.4 | n |  | TRUE
32 | bus_LV_5568-8_0_4_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_5568-8_0_4_node_17 | 0.4 | n |  | TRUE
34 | bus_LV_5568-8_0_4_node_33 | 0.4 | n |  | TRUE
35 | bus_LV_5568-8_0_4_node_13 | 0.4 | n |  | TRUE
36 | bus_LV_5568-8_0_4_node_66 | 0.4 | n |  | TRUE
37 | bus_LV_5568-8_0_4_node_94 | 0.4 | n |  | TRUE
38 | bus_LV_5568-8_0_4_node_72 | 0.4 | n |  | TRUE
39 | bus_LV_5568-8_0_4_node_14 | 0.4 | n |  | TRUE
40 | bus_LV_5568-8_0_4_node_61 | 0.4 | n |  | TRUE
41 | bus_LV_5568-8_0_4_node_62 | 0.4 | n |  | TRUE
42 | bus_LV_5568-8_0_4_node_20 | 0.4 | n |  | TRUE
43 | bus_LV_5568-8_0_4_node_21 | 0.4 | n |  | TRUE
44 | bus_LV_5568-8_0_4_node_24 | 0.4 | n |  | TRUE
45 | bus_LV_5568-8_0_4_node_30 | 0.4 | n |  | TRUE
46 | bus_LV_5568-8_0_4_node_31 | 0.4 | n |  | TRUE
47 | bus_LV_5568-8_0_4_node_26 | 0.4 | n |  | TRUE
48 | bus_LV_5568-8_0_4_node_45 | 0.4 | n |  | TRUE
49 | bus_LV_5568-8_0_4_node_52 | 0.4 | n |  | TRUE
50 | bus_LV_5568-8_0_4_node_44 | 0.4 | n |  | TRUE
51 | bus_LV_5568-8_0_4_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_5568-8_0_4_node_22 | 0.4 | n |  | TRUE
53 | bus_LV_5568-8_0_4_node_23 | 0.4 | n |  | TRUE
54 | bus_LV_5568-8_0_4_node_25 | 0.4 | n |  | TRUE
55 | bus_LV_5568-8_0_4_node_87 | 0.4 | n |  | TRUE
56 | bus_LV_5568-8_0_4_node_85 | 0.4 | n |  | TRUE
57 | bus_LV_5568-8_0_4_node_27 | 0.4 | n |  | TRUE
58 | bus_LV_5568-8_0_4_node_29 | 0.4 | n |  | TRUE
59 | bus_LV_5568-8_0_4_node_41 | 0.4 | n |  | TRUE
60 | bus_LV_5568-8_0_4_node_70 | 0.4 | n |  | TRUE
61 | bus_LV_5568-8_0_4_node_60 | 0.4 | n |  | TRUE
62 | bus_LV_5568-8_0_4_node_48 | 0.4 | n |  | TRUE
63 | bus_LV_5568-8_0_4_node_74 | 0.4 | n |  | TRUE
64 | bus_LV_5568-8_0_4_node_59 | 0.4 | n |  | TRUE
65 | bus_LV_5568-8_0_4_node_58 | 0.4 | n |  | TRUE
66 | bus_LV_5568-8_0_4_node_47 | 0.4 | n |  | TRUE
67 | bus_LV_5568-8_0_4_node_53 | 0.4 | n |  | TRUE
68 | bus_LV_5568-8_0_4_node_54 | 0.4 | n |  | TRUE
69 | bus_LV_5568-8_0_4_node_46 | 0.4 | n |  | TRUE
70 | bus_LV_5568-8_0_4_node_50 | 0.4 | n |  | TRUE
71 | bus_LV_5568-8_0_4_node_55 | 0.4 | n |  | TRUE
72 | bus_LV_5568-8_0_4_node_56 | 0.4 | n |  | TRUE
73 | bus_LV_5568-8_0_4_node_57 | 0.4 | n |  | TRUE
74 | bus_LV_5568-8_0_4_node_63 | 0.4 | n |  | TRUE
75 | bus_LV_5568-8_0_4_node_75 | 0.4 | n |  | TRUE
76 | bus_LV_5568-8_0_4_node_67 | 0.4 | n |  | TRUE
77 | bus_LV_5568-8_0_4_node_89 | 0.4 | n |  | TRUE
78 | bus_LV_5568-8_0_4_node_90 | 0.4 | n |  | TRUE
79 | bus_LV_5568-8_0_4_node_93 | 0.4 | n |  | TRUE
80 | bus_LV_5568-8_0_4_node_76 | 0.4 | n |  | TRUE
81 | bus_LV_5568-8_0_4_node_77 | 0.4 | n |  | TRUE
82 | bus_LV_5568-8_0_4_node_78 | 0.4 | n |  | TRUE
83 | bus_LV_5568-8_0_4_node_79 | 0.4 | n |  | TRUE
84 | bus_LV_5568-8_0_4_node_80 | 0.4 | n |  | TRUE
85 | bus_LV_5568-8_0_4_node_83 | 0.4 | n |  | TRUE
86 | bus_LV_5568-8_0_4_node_82 | 0.4 | n |  | TRUE
87 | bus_LV_5568-8_0_4_node_81 | 0.4 | n |  | TRUE
88 | bus_LV_5568-8_0_4_node_84 | 0.4 | n |  | TRUE
89 | bus_LV_5568-8_0_4_node_86 | 0.4 | n |  | TRUE
90 | bus_LV_5568-8_0_4_node_88 | 0.4 | n |  | TRUE
91 | bus_LV_5568-8_0_4_node_91 | 0.4 | n |  | TRUE
92 | bus_LV_5568-8_0_4_node_92 | 0.4 | n |  | TRUE
93 | bus_MV_318_0_node_106 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5568-8_0_4_load_0 | 0 | 0.0095809 | 0.0024012 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5568-8_0_4_load_6 | 5 | 0.0050615 | 0.0012685 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5568-8_0_4_load_7 | 6 | 0.0015754 | 0.00039484 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5568-8_0_4_load_16 | 8 | 0.0044339 | 0.0011113 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5568-8_0_4_load_35 | 10 | 0.0048752 | 0.0012218 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5568-8_0_4_load_69 | 13 | 0.0036074 | 0.00090411 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5568-8_0_4_load_68 | 14 | 0.00098639 | 0.00024721 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5568-8_0_4_load_51 | 17 | 0.0034247 | 0.00085832 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5568-8_0_4_load_49 | 21 | 0.0080485 | 0.0020171 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5568-8_0_4_load_15 | 23 | 0.0020915 | 0.00052418 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5568-8_0_4_load_12 | 24 | 0.0021075 | 0.00052819 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5568-8_0_4_load_65 | 26 | 0.00085921 | 0.00021534 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5568-8_0_4_load_73 | 28 | 0.0023226 | 0.00058209 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5568-8_0_4_load_71 | 29 | 0.00063996 | 0.00016039 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5568-8_0_4_load_8 | 30 | 0.0057991 | 0.0014534 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5568-8_0_4_load_95 | 31 | 0.0063518 | 0.0015919 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5568-8_0_4_load_33 | 34 | 0.0079336 | 0.0019883 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5568-8_0_4_load_13 | 35 | 0.0035606 | 0.00089237 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5568-8_0_4_load_66 | 36 | 0.0022088 | 0.00055358 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5568-8_0_4_load_94 | 37 | 0.0021098 | 0.00052876 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5568-8_0_4_load_72 | 38 | 0.00027708 | 6.9443e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5568-8_0_4_load_14 | 39 | 0.0055992 | 0.0014033 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5568-8_0_4_load_61 | 40 | 0.0057134 | 0.0014319 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5568-8_0_4_load_62 | 41 | 0.0011747 | 0.00029441 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5568-8_0_4_load_20 | 42 | 0.0042017 | 0.0010531 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5568-8_0_4_load_21 | 43 | 0.0109 | 0.0027318 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5568-8_0_4_load_24 | 44 | 0.0020402 | 0.00051133 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5568-8_0_4_load_30 | 45 | 0.001407 | 0.00035262 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5568-8_0_4_load_31 | 46 | 0.0033877 | 0.00084903 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5568-8_0_4_load_26 | 47 | 0.002735 | 0.00068545 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5568-8_0_4_load_45 | 48 | 0.0071857 | 0.0018009 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5568-8_0_4_load_44 | 50 | 0.0023541 | 0.00059 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5568-8_0_4_load_22 | 52 | 0.0021591 | 0.00054112 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5568-8_0_4_load_23 | 53 | 0.0016824 | 0.00042166 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5568-8_0_4_load_25 | 54 | 0.0021354 | 0.00053519 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5568-8_0_4_load_87 | 55 | 0.0022618 | 0.00056685 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5568-8_0_4_load_85 | 56 | 0.0023847 | 0.00059767 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5568-8_0_4_load_27 | 57 | 0.0026463 | 0.00066324 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5568-8_0_4_load_29 | 58 | 0.0015495 | 0.00038834 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5568-8_0_4_load_41 | 59 | 0.0057721 | 0.0014466 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5568-8_0_4_load_60 | 61 | 0.0010034 | 0.00025146 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5568-8_0_4_load_74 | 63 | 0.00038366 | 9.6155e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5568-8_0_4_load_59 | 64 | 0.0022114 | 0.00055424 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5568-8_0_4_load_47 | 66 | 0.0039756 | 0.00099639 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5568-8_0_4_load_53 | 67 | 0.0064148 | 0.0016077 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5568-8_0_4_load_54 | 68 | 0.0021594 | 0.0005412 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5568-8_0_4_load_46 | 69 | 0.0020166 | 0.00050541 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5568-8_0_4_load_50 | 70 | 0.0016245 | 0.00040713 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5568-8_0_4_load_55 | 71 | 0.011433 | 0.0028653 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5568-8_0_4_load_56 | 72 | 0.0020143 | 0.00050483 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5568-8_0_4_load_57 | 73 | 0.0046595 | 0.0011678 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5568-8_0_4_load_63 | 74 | 0.0005597 | 0.00014027 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5568-8_0_4_load_67 | 76 | 0.0022507 | 0.00056407 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5568-8_0_4_load_89 | 77 | 0.0023433 | 0.00058728 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5568-8_0_4_load_90 | 78 | 0.0021348 | 0.00053503 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5568-8_0_4_load_93 | 79 | 0.0021857 | 0.00054778 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5568-8_0_4_load_76 | 80 | 0.00030921 | 7.7495e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5568-8_0_4_load_77 | 81 | 0.0014874 | 0.00037279 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5568-8_0_4_load_78 | 82 | 0.00038935 | 9.758e-05 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5568-8_0_4_load_79 | 83 | 0.00046942 | 0.00011765 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5568-8_0_4_load_80 | 84 | 0.0018534 | 0.00046451 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5568-8_0_4_load_81 | 87 | 0.00016276 | 4.0791e-05 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5568-8_0_4_load_84 | 88 | 0.0022779 | 0.0005709 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5568-8_0_4_load_86 | 89 | 0.0034517 | 0.00086507 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5568-8_0_4_load_88 | 90 | 0.0047749 | 0.0011967 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5568-8_0_4_load_91 | 91 | 0.0021465 | 0.00053797 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5568-8_0_4_load_92 | 92 | 0.0021059 | 0.00052778 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 49 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5568-8_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.008148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5568-8_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.029159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5568-8_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.067344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5568-8_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.010142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5568-8_0_4_line_4 | NAYY 4x150 SE | 2 | 5 | 0.030493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5568-8_0_4_line_5 | NAYY 4x150 SE | 3 | 6 | 0.085037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5568-8_0_4_line_6 | NAYY 4x150 SE | 4 | 7 | 0.017843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5568-8_0_4_line_7 | NAYY 4x150 SE | 4 | 8 | 0.01731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5568-8_0_4_line_8 | NAYY 4x150 SE | 6 | 30 | 0.0031113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5568-8_0_4_line_9 | NAYY 4x150 SE | 7 | 31 | 0.00633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5568-8_0_4_line_10 | NAYY 4x150 SE | 7 | 32 | 0.007173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5568-8_0_4_line_11 | NAYY 4x150 SE | 8 | 33 | 0.0069528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5568-8_0_4_line_12 | NAYY 4x150 SE | 9 | 10 | 0.027862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5568-8_0_4_line_13 | NAYY 4x150 SE | 9 | 11 | 0.008759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5568-8_0_4_line_14 | NAYY 4x150 SE | 11 | 34 | 0.016379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5568-8_0_4_line_15 | NAYY 4x150 SE | 12 | 13 | 0.0035328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5568-8_0_4_line_16 | NAYY 4x150 SE | 12 | 14 | 0.018831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5568-8_0_4_line_17 | NAYY 4x150 SE | 13 | 60 | 0.029145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5568-8_0_4_line_18 | NAYY 4x150 SE | 14 | 61 | 0.0023586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5568-8_0_4_line_19 | NAYY 4x150 SE | 15 | 16 | 0.056413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5568-8_0_4_line_20 | NAYY 4x150 SE | 15 | 17 | 0.025337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5568-8_0_4_line_21 | NAYY 4x150 SE | 16 | 18 | 0.70541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5568-8_0_4_line_22 | NAYY 4x150 SE | 17 | 62 | 0.0098094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5568-8_0_4_line_23 | NAYY 4x150 SE | 18 | 63 | 0.31734 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5568-8_0_4_line_24 | NAYY 4x150 SE | 19 | 20 | 0.004859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5568-8_0_4_line_25 | NAYY 4x150 SE | 19 | 21 | 0.014666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_5568-8_0_4_line_26 | NAYY 4x150 SE | 20 | 51 | 0.022497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5568-8_0_4_line_27 | NAYY 4x150 SE | 20 | 59 | 0.022548 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5568-8_0_4_line_28 | NAYY 4x150 SE | 21 | 66 | 0.0026025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_5568-8_0_4_line_29 | NAYY 4x150 SE | 22 | 23 | 0.040978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5568-8_0_4_line_30 | NAYY 4x150 SE | 22 | 24 | 0.0079711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5568-8_0_4_line_31 | NAYY 4x150 SE | 23 | 25 | 0.021398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5568-8_0_4_line_32 | NAYY 4x150 SE | 24 | 35 | 0.013789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5568-8_0_4_line_33 | NAYY 4x150 SE | 25 | 26 | 0.0071778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5568-8_0_4_line_34 | NAYY 4x150 SE | 26 | 36 | 0.0061323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5568-8_0_4_line_35 | NAYY 4x150 SE | 27 | 28 | 0.015357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5568-8_0_4_line_36 | NAYY 4x150 SE | 27 | 29 | 0.046471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5568-8_0_4_line_37 | NAYY 4x150 SE | 28 | 37 | 0.011818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5568-8_0_4_line_38 | NAYY 4x150 SE | 29 | 38 | 0.01909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5568-8_0_4_line_39 | NAYY 4x150 SE | 32 | 45 | 0.042031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5568-8_0_4_line_40 | NAYY 4x150 SE | 32 | 46 | 0.021931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5568-8_0_4_line_41 | NAYY 4x150 SE | 32 | 47 | 0.024046 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5568-8_0_4_line_42 | NAYY 4x150 SE | 33 | 42 | 0.0064983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5568-8_0_4_line_43 | NAYY 4x150 SE | 33 | 43 | 0.016094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5568-8_0_4_line_44 | NAYY 4x150 SE | 34 | 45 | 0.0064632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5568-8_0_4_line_45 | NAYY 4x150 SE | 35 | 39 | 0.088547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5568-8_0_4_line_46 | NAYY 4x150 SE | 36 | 76 | 0.0060375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5568-8_0_4_line_47 | NAYY 4x150 SE | 37 | 79 | 0.0060402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5568-8_0_4_line_48 | NAYY 4x150 SE | 39 | 40 | 0.002285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5568-8_0_4_line_49 | NAYY 4x150 SE | 40 | 41 | 0.040724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5568-8_0_4_line_50 | NAYY 4x150 SE | 41 | 74 | 0.022478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5568-8_0_4_line_51 | NAYY 4x150 SE | 42 | 44 | 0.01258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5568-8_0_4_line_52 | NAYY 4x150 SE | 44 | 52 | 0.00012748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5568-8_0_4_line_53 | NAYY 4x150 SE | 46 | 51 | 0.0038495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5568-8_0_4_line_54 | NAYY 4x150 SE | 47 | 57 | 0.023177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5568-8_0_4_line_55 | NAYY 4x150 SE | 48 | 49 | 0.0078271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5568-8_0_4_line_56 | NAYY 4x150 SE | 49 | 67 | 0.015716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5568-8_0_4_line_57 | NAYY 4x150 SE | 49 | 68 | 0.012121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
58 | LV_5568-8_0_4_line_58 | NAYY 4x150 SE | 50 | 51 | 0.0099919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5568-8_0_4_line_59 | NAYY 4x150 SE | 52 | 53 | 0.0038008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5568-8_0_4_line_60 | NAYY 4x150 SE | 53 | 54 | 0.0053452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5568-8_0_4_line_61 | NAYY 4x150 SE | 54 | 55 | 0.00012619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5568-8_0_4_line_62 | NAYY 4x150 SE | 55 | 56 | 0.001235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5568-8_0_4_line_63 | NAYY 4x150 SE | 56 | 88 | 0.010462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5568-8_0_4_line_64 | NAYY 4x150 SE | 57 | 58 | 0.0092109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5568-8_0_4_line_65 | NAYY 4x150 SE | 60 | 74 | 0.050278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5568-8_0_4_line_66 | NAYY 4x150 SE | 61 | 65 | 0.015996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_5568-8_0_4_line_67 | NAYY 4x150 SE | 62 | 70 | 0.012275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
68 | LV_5568-8_0_4_line_68 | NAYY 4x150 SE | 62 | 69 | 0.0091462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
69 | LV_5568-8_0_4_line_69 | NAYY 4x150 SE | 63 | 75 | 0.24586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_5568-8_0_4_line_70 | NAYY 4x150 SE | 64 | 65 | 0.01586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_5568-8_0_4_line_71 | NAYY 4x150 SE | 65 | 73 | 0.0077423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_5568-8_0_4_line_72 | NAYY 4x150 SE | 66 | 69 | 0.0054772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
73 | LV_5568-8_0_4_line_73 | NAYY 4x150 SE | 67 | 71 | 0.0086525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_5568-8_0_4_line_74 | NAYY 4x150 SE | 68 | 70 | 0.0035089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
75 | LV_5568-8_0_4_line_75 | NAYY 4x150 SE | 71 | 72 | 0.01051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_5568-8_0_4_line_76 | NAYY 4x150 SE | 72 | 73 | 0.034404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_5568-8_0_4_line_77 | NAYY 4x150 SE | 75 | 80 | 0.10092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_5568-8_0_4_line_78 | NAYY 4x150 SE | 75 | 81 | 0.12883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_5568-8_0_4_line_79 | NAYY 4x150 SE | 76 | 77 | 0.006217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_5568-8_0_4_line_80 | NAYY 4x150 SE | 77 | 78 | 0.033284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_5568-8_0_4_line_81 | NAYY 4x150 SE | 78 | 91 | 0.0060153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_5568-8_0_4_line_82 | NAYY 4x150 SE | 79 | 92 | 0.0060365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_5568-8_0_4_line_83 | NAYY 4x150 SE | 81 | 82 | 0.028338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_5568-8_0_4_line_84 | NAYY 4x150 SE | 82 | 83 | 0.1433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_5568-8_0_4_line_85 | NAYY 4x150 SE | 83 | 84 | 0.045316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_5568-8_0_4_line_86 | NAYY 4x150 SE | 84 | 85 | 0.39601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_5568-8_0_4_line_87 | NAYY 4x150 SE | 85 | 86 | 0.21337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_5568-8_0_4_line_88 | NAYY 4x150 SE | 86 | 87 | 0.59484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_5568-8_0_4_line_89 | NAYY 4x150 SE | 88 | 89 | 0.0023915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_5568-8_0_4_line_90 | NAYY 4x150 SE | 89 | 90 | 0.0027305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_5568-8_0_4_line_91 | NAYY 4x150 SE | 91 | 92 | 0.0062037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5568-8_0_4_trafo_52 | 0.25 MVA 20/0.4 kV | 93 | 49 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39 | x40 | y40 | x41 | y41 | x42 | y42 | x43 | y43 | x44 | y44 | x45 | y45 | x46 | y46 | x47 | y47 | x48 | y48 | x49 | y49 | x50 | y50
0 | 2528466.2402 | 1186292.481 | 2528465.2976 | 1186300.5743
1 | 2528459.2129 | 1186328.8976 | 2528462.2673 | 1186321.4122 | 2528463.6729 | 1186314.5247 | 2528465.2976 | 1186300.5743
2 | 2528466.2402 | 1186292.481 | 2528472.7575 | 1186293.1368 | 2528478.5837 | 1186294.0787 | 2528483.4518 | 1186292.7531 | 2528485.5728 | 1186290.8043 | 2528488.1612 | 1186288.3719 | 2528505.1266 | 1186261.053 | 2528511.233 | 1186251.5967
3 | 2528453.4599 | 1186337.2602 | 2528459.2129 | 1186328.8976
4 | 2528459.2129 | 1186328.8976 | 2528445.4794 | 1186316.9994 | 2528435.9544 | 1186309.1816
5 | 2528511.233 | 1186251.5967 | 2528522.1646 | 1186257.0136 | 2528519.993 | 1186286.6348 | 2528517.8242 | 1186292.8866 | 2528515.5705 | 1186294.5923 | 2528513.5266 | 1186295.3394 | 2528502.6915 | 1186324.9348
6 | 2528438.0697 | 1186345.6938 | 2528440.9563 | 1186345.2257 | 2528443.4696 | 1186344.1727 | 2528450.6364 | 1186339.8066 | 2528453.4599 | 1186337.2602
7 | 2528453.4599 | 1186337.2602 | 2528469.4001 | 1186344.0097
8 | 2528501.6219 | 1186327.8564 | 2528502.6915 | 1186324.9348
9 | 2528438.0697 | 1186345.6938 | 2528437.788 | 1186339.3712
10 | 2528430.8974 | 1186345.1349 | 2528438.0697 | 1186345.6938
11 | 2528475.8026 | 1186346.7207 | 2528469.4001 | 1186344.0097
12 | 2528394.0059 | 1186281.8504 | 2528407.604 | 1186275.4282 | 2528409.2997 | 1186274.285 | 2528410.2031 | 1186272.6177 | 2528410.6222 | 1186270.656 | 2528409.7119 | 1186267.9208 | 2528408.2789 | 1186264.193
13 | 2528394.0059 | 1186281.8504 | 2528397.7637 | 1186289.7656
14 | 2528397.7637 | 1186289.7656 | 2528401.055 | 1186297.5975 | 2528404.7331 | 1186304.571
15 | 2528456.9221 | 1186525.7408 | 2528456.5797 | 1186529.257
16 | 2528456.9221 | 1186525.7408 | 2528456.7764 | 1186514.2136 | 2528456.4596 | 1186506.9178
17 | 2528453.7554 | 1186558.2645 | 2528456.5797 | 1186529.257
18 | 2528456.4596 | 1186506.9178 | 2528456.3572 | 1186504.5614
19 | 2528358.9354 | 1186481.9438 | 2528371.5978 | 1186466.8832 | 2528363.9212 | 1186462.4392 | 2528370.486 | 1186453.711 | 2528379.7786 | 1186442.7266 | 2528381.5564 | 1186440.793
20 | 2528381.5564 | 1186440.793 | 2528383.1004 | 1186439.7295 | 2528390.7096 | 1186431.5446 | 2528398.8253 | 1186422.3198
21 | 2527975.5903 | 1186988.67 | 2527984.7252 | 1186981.1888 | 2528007.2199 | 1186958.4379 | 2528023.2222 | 1186942.7248 | 2528036.668 | 1186929.5107 | 2528055.6522 | 1186911.7496 | 2528064.4999 | 1186901.9485 | 2528070.5587 | 1186896.2611 | 2528082.0979 | 1186882.4808 | 2528086.2215 | 1186875.138 | 2528089.7258 | 1186863.2444 | 2528091.8737 | 1186850.878 | 2528092.6054 | 1186830.5127 | 2528097.8843 | 1186826.5914 | 2528100.5035 | 1186818.5107 | 2528107.7122 | 1186784.0815 | 2528111.3083 | 1186765.8608 | 2528121.9346 | 1186733.8809 | 2528128.9111 | 1186718.8326 | 2528132.6488 | 1186713.0176 | 2528139.1659 | 1186705.4459 | 2528144.9733 | 1186701.0402 | 2528149.2985 | 1186698.3866 | 2528161.7977 | 1186693.3223 | 2528160.9273 | 1186689.475 | 2528161.199 | 1186686.0475 | 2528163.6694 | 1186680.1699 | 2528172.222 | 1186669.2607 | 2528195.8248 | 1186640.1379 | 2528211.3075 | 1186621.7078 | 2528216.7801 | 1186613.5595 | 2528220.3127 | 1186605.9014 | 2528225.6363 | 1186592.3407 | 2528227.1982 | 1186586.4184 | 2528229.4577 | 1186568.0583 | 2528230.2026 | 1186565.2699 | 2528232.6237 | 1186563.5398 | 2528234.8288 | 1186562.8908 | 2528238.9423 | 1186550.8565 | 2528242.8727 | 1186543.9053 | 2528251.0315 | 1186531.3111 | 2528257.032 | 1186523.9014 | 2528262.9524 | 1186517.4488 | 2528294.7651 | 1186487.5162 | 2528307.7129 | 1186475.9097 | 2528314.574 | 1186468.99 | 2528326.8078 | 1186478.6491 | 2528337.3944 | 1186487.1272 | 2528345.7642 | 1186495.2872 | 2528349.5675 | 1186492.3622 | 2528358.9354 | 1186481.9438
22 | 2528402.8855 | 1186413.4437 | 2528401.2781 | 1186418.1324 | 2528398.8253 | 1186422.3198
23 | 2527975.5903 | 1186988.67 | 2527976.4958 | 1187011.2501 | 2527978.0672 | 1187040.971 | 2527980.9329 | 1187095.7799 | 2527981.9879 | 1187123.1723 | 2527980.7346 | 1187155.2952 | 2527982.0369 | 1187165.8524 | 2527987.0942 | 1187249.9412 | 2527988.5985 | 1187264.5984 | 2527990.4651 | 1187275.1377 | 2527994.7957 | 1187286.2699 | 2528003.4827 | 1187302.3476
24 | 2528400.2657 | 1186380.767 | 2528396.5334 | 1186383.8913
25 | 2528396.5334 | 1186383.8913 | 2528399.66 | 1186387.5338 | 2528402.4208 | 1186391.8588 | 2528403.9745 | 1186396.3314
26 | 2528416.632 | 1186365.2841 | 2528400.2657 | 1186380.767
27 | 2528400.2657 | 1186380.767 | 2528390.6602 | 1186366.9183 | 2528387.3479 | 1186362.2866
28 | 2528404.1688 | 1186398.9051 | 2528404.1438 | 1186396.8189 | 2528403.9745 | 1186396.3314
29 | 2528523.7902 | 1186354.6516 | 2528540.1756 | 1186361.1485 | 2528547.0456 | 1186365.1465 | 2528551.1263 | 1186369.4559 | 2528552.8716 | 1186373.1038 | 2528554.9802 | 1186377.7703 | 2528555.1241 | 1186378.0372
30 | 2528523.7902 | 1186354.6516 | 2528521.715 | 1186362.3479
31 | 2528570.7263 | 1186391.4457 | 2528567.1383 | 1186390.6882 | 2528562.945 | 1186387.8143 | 2528557.4229 | 1186382.2993 | 2528555.1241 | 1186378.0372
32 | 2528521.715 | 1186362.3479 | 2528520.524 | 1186366.7644 | 2528518.3648 | 1186375.7225
33 | 2528570.7263 | 1186391.4457 | 2528569.5454 | 1186397.3522 | 2528569.3367 | 1186398.4876
34 | 2528569.3367 | 1186398.4876 | 2528568.2282 | 1186404.5189
35 | 2528563.6673 | 1186491.0109 | 2528561.8496 | 1186492.8003 | 2528559.6591 | 1186493.4046 | 2528557.0341 | 1186492.7689 | 2528555.8409 | 1186490.6152 | 2528556.5639 | 1186485.2927
36 | 2528563.6673 | 1186491.0109 | 2528559.8674 | 1186503.1634 | 2528559.9559 | 1186523.9746 | 2528559.4969 | 1186530.8953 | 2528555.3871 | 1186535.2543
37 | 2528558.1546 | 1186473.582 | 2528556.5639 | 1186485.2927
38 | 2528552.5962 | 1186553.0352 | 2528551.3465 | 1186543.6112 | 2528552.7226 | 1186538.0804 | 2528555.3871 | 1186535.2543
39 | 2528430.8974 | 1186345.1349 | 2528427.9045 | 1186337.9998 | 2528416.081 | 1186321.8318 | 2528408.8166 | 1186312.3132 | 2528407.7484 | 1186310.2878
40 | 2528430.8974 | 1186345.1349 | 2528429.9003 | 1186351.7173 | 2528427.1888 | 1186355.9745 | 2528423.2929 | 1186359.4565 | 2528419.5293 | 1186362.7493
41 | 2528430.8974 | 1186345.1349 | 2528415.0026 | 1186342.0122 | 2528407.3166 | 1186340.4312
42 | 2528475.8026 | 1186346.7207 | 2528476.8693 | 1186350.4102 | 2528476.9698 | 1186353.0661
43 | 2528485.3927 | 1186333.7873 | 2528478.9087 | 1186342.9147 | 2528475.8026 | 1186346.7207
44 | 2528404.7331 | 1186304.571 | 2528407.7484 | 1186310.2878
45 | 2528501.9564 | 1186462.666 | 2528503.9607 | 1186450.634 | 2528509.887 | 1186411.4735 | 2528512.3377 | 1186400.7267 | 2528518.3648 | 1186375.7225
46 | 2528568.2282 | 1186404.5189 | 2528567.1369 | 1186410.457
47 | 2528558.9677 | 1186467.5968 | 2528558.1546 | 1186473.582
48 | 2528501.5809 | 1186464.9199 | 2528501.9564 | 1186462.666
49 | 2528501.5809 | 1186464.9199 | 2528499.2973 | 1186478.6285 | 2528494.7183 | 1186505.0618
50 | 2528494.7183 | 1186505.0618 | 2528493.4014 | 1186512.6635 | 2528492.1633 | 1186516.9697 | 2528490.3017 | 1186521.4613 | 2528487.7201 | 1186526.2269
51 | 2528472.8935 | 1186364.9676 | 2528476.9698 | 1186353.0661 | 2528476.9698 | 1186353.0661
52 | 2528472.8522 | 1186365.0882 | 2528472.8935 | 1186364.9676
53 | 2528416.632 | 1186365.2841 | 2528419.5293 | 1186362.7493
54 | 2528384.6144 | 1186335.7616 | 2528407.3166 | 1186340.4312
55 | 2528430.6364 | 1186416.3688 | 2528431.6249 | 1186408.6044
56 | 2528430.6364 | 1186416.3688 | 2528431.749 | 1186423.8932 | 2528434.8415 | 1186431.3902
57 | 2528430.6364 | 1186416.3688 | 2528418.5826 | 1186415.0983
58 | 2528416.632 | 1186365.2841 | 2528425.2072 | 1186370.413
59 | 2528471.6206 | 1186368.6839 | 2528472.8522 | 1186365.0882
60 | 2528471.6206 | 1186368.6839 | 2528469.8887 | 1186373.7407
61 | 2528469.8478 | 1186373.8601 | 2528469.8887 | 1186373.7407
62 | 2528469.4476 | 1186375.0285 | 2528469.8478 | 1186373.8601
63 | 2528466.0577 | 1186384.9258 | 2528469.4476 | 1186375.0285
64 | 2528384.6144 | 1186335.7616 | 2528375.5923 | 1186333.9059
65 | 2528453.7554 | 1186558.2645 | 2528459.0663 | 1186558.2454 | 2528463.9364 | 1186557.1087 | 2528468.8623 | 1186554.8929 | 2528473.8502 | 1186550.2083 | 2528480.4036 | 1186539.8794 | 2528487.6588 | 1186526.3402 | 2528487.7201 | 1186526.2269
66 | 2528454.6089 | 1186488.6912 | 2528456.039 | 1186497.2346 | 2528456.3572 | 1186504.5614
67 | 2528402.8855 | 1186413.4437 | 2528415.093 | 1186414.7305
68 | 2528402.8855 | 1186413.4437 | 2528403.3633 | 1186410.0138 | 2528404.0447 | 1186404.3717
69 | 2528158.8766 | 1187489.9273 | 2528138.811 | 1187463.3195 | 2528115.4395 | 1187436.5402 | 2528103.4824 | 1187425.6442 | 2528083.3655 | 1187406.2191 | 2528071.9835 | 1187397.4842 | 2528061.835 | 1187389.8018 | 2528045.9233 | 1187373.6615 | 2528027.2387 | 1187346.4926 | 2528008.4448 | 1187311.5315 | 2528003.4827 | 1187302.3476
70 | 2528454.6089 | 1186488.6912 | 2528438.7887 | 1186487.5754
71 | 2528454.6089 | 1186488.6912 | 2528453.868 | 1186480.9844 | 2528453.868 | 1186480.9844
72 | 2528404.0447 | 1186404.3717 | 2528404.2172 | 1186402.9438 | 2528404.1688 | 1186398.9051
73 | 2528434.8415 | 1186431.3902 | 2528435.2857 | 1186432.4671 | 2528438.9353 | 1186439.005 | 2528438.9353 | 1186439.005
74 | 2528415.093 | 1186414.7305 | 2528418.5826 | 1186415.0983
75 | 2528438.9353 | 1186439.005 | 2528444.1155 | 1186447.826 | 2528444.2194 | 1186448.0861
76 | 2528453.868 | 1186480.9844 | 2528452.759 | 1186474.3938 | 2528449.3623 | 1186460.9376 | 2528446.7115 | 1186454.321 | 2528444.2194 | 1186448.0861
77 | 2528158.8766 | 1187489.9273 | 2528155.758 | 1187490.7208 | 2528116.1342 | 1187489.2073 | 2528102.3357 | 1187490.1405 | 2528082.3034 | 1187489.7701 | 2528074.9288 | 1187489.403 | 2528064.3576 | 1187484.6274 | 2528060.0066 | 1187481.7783
78 | 2528158.8766 | 1187489.9273 | 2528184.2285 | 1187522.82 | 2528197.6712 | 1187543.0816 | 2528207.8301 | 1187556.1006 | 2528216.9614 | 1187564.885 | 2528229.0527 | 1187574.2899 | 2528244.2994 | 1187584.7385
79 | 2528567.1369 | 1186410.457 | 2528566.0131 | 1186416.5716
80 | 2528566.0131 | 1186416.5716 | 2528562.8103 | 1186433.9987 | 2528561.2095 | 1186449.4817
81 | 2528561.2095 | 1186449.4817 | 2528560.5909 | 1186455.4651
82 | 2528559.7802 | 1186461.6152 | 2528558.9677 | 1186467.5968
83 | 2528267.7117 | 1187600.7018 | 2528266.6477 | 1187600.0539 | 2528244.2994 | 1187584.7385
84 | 2528267.7117 | 1187600.7018 | 2528342.4588 | 1187646.2164 | 2528389.7832 | 1187675.7588
85 | 2528424.8975 | 1187704.3514 | 2528418.4911 | 1187698.8366 | 2528392.9237 | 1187677.7192 | 2528389.7832 | 1187675.7588
86 | 2528688.1491 | 1187894.2403 | 2528679.3515 | 1187894.7789 | 2528673.7469 | 1187893.0893 | 2528665.4429 | 1187887.6852 | 2528641.6497 | 1187866.1453 | 2528625.4663 | 1187855.1209 | 2528605.8357 | 1187843.5707 | 2528592.6557 | 1187839.3701 | 2528581.7374 | 1187836.7434 | 2528551.9132 | 1187832.1415 | 2528541.0475 | 1187831.9935 | 2528533.5495 | 1187834.0399 | 2528523.718 | 1187839.3494 | 2528518.8699 | 1187842.8761 | 2528513.3708 | 1187844.2872 | 2528507.6384 | 1187842.1322 | 2528502.6138 | 1187838.5569 | 2528497.4488 | 1187832.1816 | 2528494.2822 | 1187825.7712 | 2528492.6047 | 1187816.9194 | 2528493.4413 | 1187811.6062 | 2528496.5958 | 1187804.2531 | 2528500.754 | 1187798.5444 | 2528507.879 | 1187791.4661 | 2528511.0899 | 1187786.9139 | 2528513.3584 | 1187781.3947 | 2528512.6989 | 1187774.0982 | 2528511.1557 | 1187768.191 | 2528508.238 | 1187763.4453 | 2528504.1462 | 1187759.4141 | 2528495.6313 | 1187752.9899 | 2528480.7764 | 1187743.373 | 2528449.4575 | 1187725.4928 | 2528424.8975 | 1187704.3514
87 | 2528688.1491 | 1187894.2403 | 2528695.0067 | 1187889.6781 | 2528699.5018 | 1187885.9778 | 2528703.4433 | 1187880.6277 | 2528714.714 | 1187859.0917 | 2528718.4701 | 1187850.9977 | 2528724.9661 | 1187840.4251 | 2528727.9997 | 1187837.6317 | 2528732.459 | 1187835.3884 | 2528739.3701 | 1187833.3937 | 2528765.4891 | 1187830.5474 | 2528784.3849 | 1187826.5644 | 2528794.8823 | 1187820.7692 | 2528799.7477 | 1187815.4748 | 2528804.693 | 1187806.6441 | 2528806.4912 | 1187798.1287 | 2528806.9069 | 1187766.4273 | 2528807.5214 | 1187750.7663
88 | 2528807.5214 | 1187750.7663 | 2528797.3416 | 1187753.7782 | 2528789.527 | 1187757.429 | 2528783.0894 | 1187762.0418 | 2528779.2085 | 1187766.0793 | 2528776.0925 | 1187770.9303 | 2528768.9552 | 1187776.363 | 2528760.4337 | 1187777.6765 | 2528746.856 | 1187775.3147 | 2528739.485 | 1187772.0228 | 2528708.6237 | 1187743.8185 | 2528688.1518 | 1187722.5168 | 2528677.237 | 1187713.1637 | 2528662.1575 | 1187702.6152 | 2528636.3269 | 1187687.4923 | 2528593.6755 | 1187660.419 | 2528567.96 | 1187641.5484 | 2528513.2516 | 1187590.739 | 2528460.1126 | 1187539.1664 | 2528450.2038 | 1187526.5998 | 2528438.0655 | 1187510.0687 | 2528414.6632 | 1187465.3002 | 2528403.119 | 1187443.6146 | 2528395.4997 | 1187431.1095 | 2528390.6825 | 1187408.5873 | 2528390.6536 | 1187406.1807
89 | 2528466.0577 | 1186384.9258 | 2528465.2829 | 1186387.1882
90 | 2528464.3981 | 1186389.7714 | 2528465.2829 | 1186387.1882
91 | 2528560.5909 | 1186455.4651 | 2528560.512 | 1186456.2281 | 2528559.7802 | 1186461.6152

## bus_geodata
| x | y | coords
0 | 2528465.2976 | 1186300.5743
1 | 2528466.2402 | 1186292.481
2 | 2528459.2129 | 1186328.8976
3 | 2528511.233 | 1186251.5967
4 | 2528453.4599 | 1186337.2602
5 | 2528435.9544 | 1186309.1816
6 | 2528502.6915 | 1186324.9348
7 | 2528438.0697 | 1186345.6938
8 | 2528469.4001 | 1186344.0097
9 | 2528394.0059 | 1186281.8504
10 | 2528408.2789 | 1186264.193
11 | 2528397.7637 | 1186289.7656
12 | 2528456.9221 | 1186525.7408
13 | 2528456.5797 | 1186529.257
14 | 2528456.4596 | 1186506.9178
15 | 2528381.5564 | 1186440.793
16 | 2528358.9354 | 1186481.9438
17 | 2528398.8253 | 1186422.3198
18 | 2527975.5903 | 1186988.67
19 | 2528396.5334 | 1186383.8913
20 | 2528400.2657 | 1186380.767
21 | 2528403.9745 | 1186396.3314
22 | 2528523.7902 | 1186354.6516
23 | 2528555.1241 | 1186378.0372
24 | 2528521.715 | 1186362.3479
25 | 2528570.7263 | 1186391.4457
26 | 2528569.3367 | 1186398.4876
27 | 2528563.6673 | 1186491.0109
28 | 2528556.5639 | 1186485.2927
29 | 2528555.3871 | 1186535.2543
30 | 2528501.6219 | 1186327.8564
31 | 2528437.788 | 1186339.3712
32 | 2528430.8974 | 1186345.1349
33 | 2528475.8026 | 1186346.7207
34 | 2528404.7331 | 1186304.571
35 | 2528518.3648 | 1186375.7225
36 | 2528568.2282 | 1186404.5189
37 | 2528558.1546 | 1186473.582
38 | 2528552.5962 | 1186553.0352
39 | 2528501.9564 | 1186462.666
40 | 2528501.5809 | 1186464.9199
41 | 2528494.7183 | 1186505.0618
42 | 2528476.9698 | 1186353.0661
43 | 2528485.3927 | 1186333.7873
44 | 2528472.8935 | 1186364.9676
45 | 2528407.7484 | 1186310.2878
46 | 2528419.5293 | 1186362.7494
47 | 2528407.3166 | 1186340.4312
48 | 2528431.6249 | 1186408.6044
49 | 2528430.6364 | 1186416.3688
50 | 2528425.2072 | 1186370.413
51 | 2528416.632 | 1186365.2841
52 | 2528472.8522 | 1186365.0882
53 | 2528471.6206 | 1186368.6839
54 | 2528469.8887 | 1186373.7407
55 | 2528469.8478 | 1186373.8601
56 | 2528469.4476 | 1186375.0285
57 | 2528384.6144 | 1186335.7616
58 | 2528375.5923 | 1186333.9059
59 | 2528387.3479 | 1186362.2866
60 | 2528453.7554 | 1186558.2645
61 | 2528456.3572 | 1186504.5614
62 | 2528402.8855 | 1186413.4437
63 | 2528003.4827 | 1187302.3476
64 | 2528438.7887 | 1186487.5754
65 | 2528454.6089 | 1186488.6912
66 | 2528404.1688 | 1186398.9051
67 | 2528434.8415 | 1186431.3902
68 | 2528418.5826 | 1186415.0983
69 | 2528404.0447 | 1186404.3717
70 | 2528415.093 | 1186414.7305
71 | 2528438.9353 | 1186439.005
72 | 2528444.2194 | 1186448.0861
73 | 2528453.868 | 1186480.9844
74 | 2528487.7201 | 1186526.2269
75 | 2528158.8766 | 1187489.9273
76 | 2528567.1369 | 1186410.457
77 | 2528566.0131 | 1186416.5716
78 | 2528561.2095 | 1186449.4817
79 | 2528558.9677 | 1186467.5968
80 | 2528060.0066 | 1187481.7783
81 | 2528244.2994 | 1187584.7385
82 | 2528267.7117 | 1187600.7018
83 | 2528389.7832 | 1187675.7588
84 | 2528424.8975 | 1187704.3514
85 | 2528688.1491 | 1187894.2403
86 | 2528807.5214 | 1187750.7663
87 | 2528390.6536 | 1187406.1807
88 | 2528466.0577 | 1186384.9258
89 | 2528465.2829 | 1186387.1882
90 | 2528464.3981 | 1186389.7714
91 | 2528560.5909 | 1186455.4651
92 | 2528559.7802 | 1186461.6152
93 | 2528402.8855 | 1186413.4437

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1