## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5758-1_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5758-1_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5758-1_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5758-1_0_2_node_7 | 0.4 | n |  | TRUE
4 | bus_LV_5758-1_0_2_node_8 | 0.4 | n |  | TRUE
5 | bus_LV_5758-1_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5758-1_0_2_node_3 | 0.4 | n |  | TRUE
7 | bus_LV_5758-1_0_2_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_5758-1_0_2_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_5758-1_0_2_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_5758-1_0_2_node_33 | 0.4 | n |  | TRUE
11 | bus_LV_5758-1_0_2_node_13 | 0.4 | n |  | TRUE
12 | bus_LV_5758-1_0_2_node_32 | 0.4 | n |  | TRUE
13 | bus_LV_5758-1_0_2_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_5758-1_0_2_node_31 | 0.4 | n |  | TRUE
15 | bus_LV_5758-1_0_2_node_75 | 0.4 | n |  | TRUE
16 | bus_LV_5758-1_0_2_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_5758-1_0_2_node_83 | 0.4 | n |  | TRUE
18 | bus_LV_5758-1_0_2_node_76 | 0.4 | n |  | TRUE
19 | bus_LV_5758-1_0_2_node_28 | 0.4 | n |  | TRUE
20 | bus_LV_5758-1_0_2_node_85 | 0.4 | n |  | TRUE
21 | bus_LV_5758-1_0_2_node_27 | 0.4 | n |  | TRUE
22 | bus_LV_5758-1_0_2_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_5758-1_0_2_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_5758-1_0_2_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_5758-1_0_2_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_5758-1_0_2_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_5758-1_0_2_node_34 | 0.4 | n |  | TRUE
28 | bus_LV_5758-1_0_2_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_5758-1_0_2_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_5758-1_0_2_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_5758-1_0_2_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_5758-1_0_2_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_5758-1_0_2_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_5758-1_0_2_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_5758-1_0_2_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_5758-1_0_2_node_59 | 0.4 | n |  | TRUE
37 | bus_LV_5758-1_0_2_node_35 | 0.4 | n |  | TRUE
38 | bus_LV_5758-1_0_2_node_40 | 0.4 | n |  | TRUE
39 | bus_LV_5758-1_0_2_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_5758-1_0_2_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_5758-1_0_2_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_5758-1_0_2_node_55 | 0.4 | n |  | TRUE
43 | bus_LV_5758-1_0_2_node_53 | 0.4 | n |  | TRUE
44 | bus_LV_5758-1_0_2_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_5758-1_0_2_node_38 | 0.4 | n |  | TRUE
46 | bus_LV_5758-1_0_2_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_5758-1_0_2_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_5758-1_0_2_node_70 | 0.4 | n |  | TRUE
49 | bus_LV_5758-1_0_2_node_84 | 0.4 | n |  | TRUE
50 | bus_LV_5758-1_0_2_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_5758-1_0_2_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_5758-1_0_2_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_5758-1_0_2_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_5758-1_0_2_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_5758-1_0_2_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_5758-1_0_2_node_67 | 0.4 | n |  | TRUE
57 | bus_LV_5758-1_0_2_node_49 | 0.4 | n |  | TRUE
58 | bus_LV_5758-1_0_2_node_50 | 0.4 | n |  | TRUE
59 | bus_LV_5758-1_0_2_node_81 | 0.4 | n |  | TRUE
60 | bus_LV_5758-1_0_2_node_65 | 0.4 | n |  | TRUE
61 | bus_LV_5758-1_0_2_node_72 | 0.4 | n |  | TRUE
62 | bus_LV_5758-1_0_2_node_51 | 0.4 | n |  | TRUE
63 | bus_LV_5758-1_0_2_node_52 | 0.4 | n |  | TRUE
64 | bus_LV_5758-1_0_2_node_54 | 0.4 | n |  | TRUE
65 | bus_LV_5758-1_0_2_node_56 | 0.4 | n |  | TRUE
66 | bus_LV_5758-1_0_2_node_57 | 0.4 | n |  | TRUE
67 | bus_LV_5758-1_0_2_node_58 | 0.4 | n |  | TRUE
68 | bus_LV_5758-1_0_2_node_60 | 0.4 | n |  | TRUE
69 | bus_LV_5758-1_0_2_node_61 | 0.4 | n |  | TRUE
70 | bus_LV_5758-1_0_2_node_62 | 0.4 | n |  | TRUE
71 | bus_LV_5758-1_0_2_node_63 | 0.4 | n |  | TRUE
72 | bus_LV_5758-1_0_2_node_64 | 0.4 | n |  | TRUE
73 | bus_LV_5758-1_0_2_node_66 | 0.4 | n |  | TRUE
74 | bus_LV_5758-1_0_2_node_68 | 0.4 | n |  | TRUE
75 | bus_LV_5758-1_0_2_node_69 | 0.4 | n |  | TRUE
76 | bus_LV_5758-1_0_2_node_79 | 0.4 | n |  | TRUE
77 | bus_LV_5758-1_0_2_node_80 | 0.4 | n |  | TRUE
78 | bus_LV_5758-1_0_2_node_78 | 0.4 | n |  | TRUE
79 | bus_LV_5758-1_0_2_node_71 | 0.4 | n |  | TRUE
80 | bus_LV_5758-1_0_2_node_73 | 0.4 | n |  | TRUE
81 | bus_LV_5758-1_0_2_node_74 | 0.4 | n |  | TRUE
82 | bus_LV_5758-1_0_2_node_77 | 0.4 | n |  | TRUE
83 | bus_MV_339_0_node_20 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5758-1_0_2_load_0 | 0 | 0.00075989 | 0.00019045 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5758-1_0_2_load_1 | 1 | 0.0021011 | 0.0005266 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5758-1_0_2_load_7 | 3 | 0.00162 | 0.000406 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5758-1_0_2_load_8 | 4 | 0.0010559 | 0.00026463 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5758-1_0_2_load_5 | 5 | 0.0014996 | 0.00037583 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5758-1_0_2_load_3 | 6 | 0.0013598 | 0.00034079 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5758-1_0_2_load_4 | 7 | 0.001944 | 0.00048722 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5758-1_0_2_load_12 | 9 | 0.00096719 | 0.0002424 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5758-1_0_2_load_33 | 10 | 0.001242 | 0.00031127 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5758-1_0_2_load_13 | 11 | 0.0012526 | 0.00031393 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5758-1_0_2_load_75 | 15 | 0.0046051 | 0.0011542 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5758-1_0_2_load_76 | 18 | 0.00050719 | 0.00012711 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5758-1_0_2_load_28 | 19 | 0.0010123 | 0.00025371 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5758-1_0_2_load_85 | 20 | 0.0060477 | 0.0015157 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5758-1_0_2_load_14 | 22 | 0.0060738 | 0.0015222 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5758-1_0_2_load_15 | 23 | 0.0060969 | 0.001528 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5758-1_0_2_load_16 | 24 | 0.0014825 | 0.00037155 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5758-1_0_2_load_17 | 25 | 0.0024311 | 0.00060929 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5758-1_0_2_load_18 | 26 | 0.0050769 | 0.0012724 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5758-1_0_2_load_34 | 27 | 0.0010793 | 0.00027051 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5758-1_0_2_load_25 | 28 | 0.0022697 | 0.00056883 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5758-1_0_2_load_19 | 31 | 0.001155 | 0.00028947 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5758-1_0_2_load_20 | 32 | 0.001456 | 0.00036492 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5758-1_0_2_load_22 | 34 | 0.0014421 | 0.00036142 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5758-1_0_2_load_24 | 35 | 0.0013877 | 0.00034778 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5758-1_0_2_load_59 | 36 | 0.0028549 | 0.00071552 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5758-1_0_2_load_35 | 37 | 0.0014012 | 0.00035117 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5758-1_0_2_load_40 | 38 | 0.00045115 | 0.00011307 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5758-1_0_2_load_36 | 39 | 0.0010791 | 0.00027045 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5758-1_0_2_load_30 | 40 | 0.0017621 | 0.00044163 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5758-1_0_2_load_29 | 41 | 0.0021679 | 0.00054334 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5758-1_0_2_load_55 | 42 | 0.0027375 | 0.00068607 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5758-1_0_2_load_53 | 43 | 0.0011534 | 0.00028907 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5758-1_0_2_load_37 | 44 | 0.0043298 | 0.0010852 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5758-1_0_2_load_38 | 45 | 0.0015475 | 0.00038785 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5758-1_0_2_load_39 | 46 | 0.00038571 | 9.6669e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5758-1_0_2_load_41 | 47 | 0.0016955 | 0.00042492 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5758-1_0_2_load_70 | 48 | 0.001737 | 0.00043532 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5758-1_0_2_load_84 | 49 | 0.0010296 | 0.00025803 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5758-1_0_2_load_42 | 50 | 0.00064944 | 0.00016276 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5758-1_0_2_load_43 | 51 | 0.0018956 | 0.00047509 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5758-1_0_2_load_45 | 53 | 0.00083832 | 0.0002101 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5758-1_0_2_load_46 | 54 | 0.0025758 | 0.00064556 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5758-1_0_2_load_47 | 55 | 0.00044608 | 0.0001118 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5758-1_0_2_load_67 | 56 | 0.0010517 | 0.00026357 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5758-1_0_2_load_81 | 59 | 0.0012742 | 0.00031935 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5758-1_0_2_load_72 | 61 | 0.0011903 | 0.00029833 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5758-1_0_2_load_51 | 62 | 0.00043638 | 0.00010937 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5758-1_0_2_load_52 | 63 | 0.0006448 | 0.0001616 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5758-1_0_2_load_54 | 64 | 0.00077943 | 0.00019534 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5758-1_0_2_load_56 | 65 | 0.0013919 | 0.00034884 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5758-1_0_2_load_57 | 66 | 0.0021898 | 0.00054881 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5758-1_0_2_load_58 | 67 | 0.0029503 | 0.00073942 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5758-1_0_2_load_60 | 68 | 0.0018461 | 0.00046267 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5758-1_0_2_load_61 | 69 | 0.00073319 | 0.00018376 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5758-1_0_2_load_62 | 70 | 0.0027686 | 0.00069389 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5758-1_0_2_load_63 | 71 | 0.0011031 | 0.00027645 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5758-1_0_2_load_64 | 72 | 0.0022123 | 0.00055446 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5758-1_0_2_load_66 | 73 | 0.0015112 | 0.00037875 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5758-1_0_2_load_68 | 74 | 0.0010374 | 0.00026 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5758-1_0_2_load_69 | 75 | 0.00084964 | 0.00021294 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5758-1_0_2_load_80 | 77 | 0.0042598 | 0.0010676 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5758-1_0_2_load_71 | 79 | 0.002503 | 0.0006273 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5758-1_0_2_load_73 | 80 | 0.0019337 | 0.00048464 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5758-1_0_2_load_74 | 81 | 0.0006451 | 0.00016168 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5758-1_0_2_load_77 | 82 | 0.002897 | 0.00072605 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 37 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5758-1_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0011188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5758-1_0_2_line_1 | NAYY 4x150 SE | 1 | 2 | 0.027303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5758-1_0_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.0026422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5758-1_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.022651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5758-1_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.012705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5758-1_0_2_line_5 | NAYY 4x150 SE | 5 | 6 | 0.017721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5758-1_0_2_line_6 | NAYY 4x150 SE | 6 | 7 | 0.0055526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5758-1_0_2_line_7 | NAYY 4x150 SE | 7 | 8 | 0.0055465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5758-1_0_2_line_8 | NAYY 4x150 SE | 8 | 9 | 0.022734 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5758-1_0_2_line_9 | NAYY 4x150 SE | 9 | 10 | 0.015132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5758-1_0_2_line_10 | NAYY 4x150 SE | 10 | 12 | 0.015035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5758-1_0_2_line_11 | NAYY 4x150 SE | 11 | 12 | 0.019999 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5758-1_0_2_line_12 | NAYY 4x150 SE | 12 | 21 | 0.003693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5758-1_0_2_line_13 | NAYY 4x150 SE | 13 | 14 | 0.009414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5758-1_0_2_line_14 | NAYY 4x150 SE | 13 | 15 | 0.023231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5758-1_0_2_line_15 | NAYY 4x150 SE | 14 | 19 | 0.028295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5758-1_0_2_line_16 | NAYY 4x150 SE | 15 | 18 | 0.014039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5758-1_0_2_line_17 | NAYY 4x150 SE | 16 | 17 | 0.025412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5758-1_0_2_line_18 | NAYY 4x150 SE | 16 | 18 | 0.012789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5758-1_0_2_line_19 | NAYY 4x150 SE | 17 | 20 | 0.030948 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5758-1_0_2_line_20 | NAYY 4x150 SE | 19 | 30 | 0.037829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5758-1_0_2_line_21 | NAYY 4x150 SE | 21 | 40 | 0.013491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5758-1_0_2_line_22 | NAYY 4x150 SE | 21 | 30 | 0.000849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5758-1_0_2_line_23 | NAYY 4x150 SE | 22 | 23 | 0.028205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5758-1_0_2_line_24 | NAYY 4x150 SE | 22 | 24 | 0.01967 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5758-1_0_2_line_25 | NAYY 4x150 SE | 23 | 25 | 0.022551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5758-1_0_2_line_26 | NAYY 4x150 SE | 24 | 26 | 0.017778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5758-1_0_2_line_27 | NAYY 4x150 SE | 25 | 27 | 0.0085136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5758-1_0_2_line_28 | NAYY 4x150 SE | 26 | 28 | 0.0016215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5758-1_0_2_line_29 | NAYY 4x150 SE | 27 | 29 | 0.017672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5758-1_0_2_line_30 | NAYY 4x150 SE | 28 | 30 | 0.024572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5758-1_0_2_line_31 | NAYY 4x150 SE | 29 | 36 | 0.020521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5758-1_0_2_line_32 | NAYY 4x150 SE | 29 | 33 | 0.014751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5758-1_0_2_line_33 | NAYY 4x150 SE | 31 | 32 | 0.011803 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5758-1_0_2_line_34 | NAYY 4x150 SE | 31 | 33 | 0.018891 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5758-1_0_2_line_35 | NAYY 4x150 SE | 32 | 34 | 0.040619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5758-1_0_2_line_36 | NAYY 4x150 SE | 33 | 35 | 0.011265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5758-1_0_2_line_37 | NAYY 4x150 SE | 35 | 37 | 0.0092457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5758-1_0_2_line_38 | NAYY 4x150 SE | 36 | 38 | 0.011389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5758-1_0_2_line_39 | NAYY 4x150 SE | 37 | 39 | 0.022678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5758-1_0_2_line_40 | NAYY 4x150 SE | 38 | 45 | 0.032182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5758-1_0_2_line_41 | NAYY 4x150 SE | 39 | 42 | 0.0049973 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5758-1_0_2_line_42 | NAYY 4x150 SE | 40 | 41 | 0.011336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5758-1_0_2_line_43 | NAYY 4x150 SE | 42 | 43 | 0.010743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5758-1_0_2_line_44 | NAYY 4x150 SE | 43 | 62 | 0.0056327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5758-1_0_2_line_45 | NAYY 4x150 SE | 44 | 45 | 0.00068397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5758-1_0_2_line_46 | NAYY 4x150 SE | 44 | 46 | 0.0077586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5758-1_0_2_line_47 | NAYY 4x150 SE | 46 | 47 | 0.022996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5758-1_0_2_line_48 | NAYY 4x150 SE | 48 | 49 | 0.01871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5758-1_0_2_line_49 | NAYY 4x150 SE | 49 | 55 | 0.0096953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5758-1_0_2_line_50 | NAYY 4x150 SE | 50 | 51 | 0.019287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5758-1_0_2_line_51 | NAYY 4x150 SE | 50 | 52 | 0.0086079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5758-1_0_2_line_52 | NAYY 4x150 SE | 51 | 53 | 0.008262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5758-1_0_2_line_53 | NAYY 4x150 SE | 52 | 54 | 0.02967 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5758-1_0_2_line_54 | NAYY 4x150 SE | 52 | 55 | 0.017199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5758-1_0_2_line_55 | NAYY 4x150 SE | 53 | 56 | 0.02054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5758-1_0_2_line_56 | NAYY 4x150 SE | 54 | 57 | 0.010949 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5758-1_0_2_line_57 | NAYY 4x150 SE | 56 | 60 | 0.015199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5758-1_0_2_line_58 | NAYY 4x150 SE | 57 | 58 | 0.046681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5758-1_0_2_line_59 | NAYY 4x150 SE | 58 | 59 | 0.11843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5758-1_0_2_line_60 | NAYY 4x150 SE | 59 | 61 | 0.075786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5758-1_0_2_line_61 | NAYY 4x150 SE | 60 | 73 | 0.0099008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5758-1_0_2_line_62 | NAYY 4x150 SE | 60 | 72 | 0.0024517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5758-1_0_2_line_63 | NAYY 4x150 SE | 61 | 79 | 0.023107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5758-1_0_2_line_64 | NAYY 4x150 SE | 62 | 63 | 0.0052747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5758-1_0_2_line_65 | NAYY 4x150 SE | 63 | 64 | 0.00078326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5758-1_0_2_line_66 | NAYY 4x150 SE | 64 | 65 | 0.016641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_5758-1_0_2_line_67 | NAYY 4x150 SE | 65 | 66 | 0.00039751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_5758-1_0_2_line_68 | NAYY 4x150 SE | 66 | 67 | 0.021629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_5758-1_0_2_line_69 | NAYY 4x150 SE | 67 | 68 | 0.0036949 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_5758-1_0_2_line_70 | NAYY 4x150 SE | 68 | 69 | 0.014881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_5758-1_0_2_line_71 | NAYY 4x150 SE | 69 | 70 | 0.023419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_5758-1_0_2_line_72 | NAYY 4x150 SE | 70 | 71 | 0.00098559 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_5758-1_0_2_line_73 | NAYY 4x150 SE | 71 | 72 | 0.024454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_5758-1_0_2_line_74 | NAYY 4x150 SE | 73 | 74 | 0.0088565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_5758-1_0_2_line_75 | NAYY 4x150 SE | 74 | 75 | 0.010023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_5758-1_0_2_line_76 | NAYY 4x150 SE | 75 | 76 | 0.015466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_5758-1_0_2_line_77 | NAYY 4x150 SE | 76 | 77 | 0.003942 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_5758-1_0_2_line_78 | NAYY 4x150 SE | 76 | 78 | 0.068084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_5758-1_0_2_line_79 | NAYY 4x150 SE | 78 | 82 | 0.0031241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_5758-1_0_2_line_80 | NAYY 4x150 SE | 79 | 80 | 0.018189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_5758-1_0_2_line_81 | NAYY 4x150 SE | 80 | 81 | 0.00084731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5758-1_0_2_trafo_35 | 0.25 MVA 20/0.4 kV | 83 | 37 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2522773.9912 | 1169174.7945 | 2522773.3443 | 1169173.8818
1 | 2522757.5548 | 1169151.607 | 2522773.3443 | 1169173.8818
2 | 2522757.5548 | 1169151.607 | 2522756.2546 | 1169149.3069
3 | 2522757.5548 | 1169151.607 | 2522772.9784 | 1169135.7547 | 2522773.3309 | 1169135.3546
4 | 2522756.2546 | 1169149.3069 | 2522750.0023 | 1169138.2464
5 | 2522741.1921 | 1169122.8719 | 2522743.0738 | 1169125.9897 | 2522750.0023 | 1169138.2464
6 | 2522741.1921 | 1169122.8719 | 2522738.3229 | 1169118.118
7 | 2522735.4569 | 1169113.3694 | 2522738.3229 | 1169118.118
8 | 2522735.4569 | 1169113.3694 | 2522719.5877 | 1169097.0904
9 | 2522719.5877 | 1169097.0904 | 2522715.4313 | 1169092.8266 | 2522707.9547 | 1169087.5043
10 | 2522695.5535 | 1169079.0081 | 2522702.3619 | 1169083.5229 | 2522707.9547 | 1169087.5043
11 | 2522695.5535 | 1169079.0081 | 2522699.8447 | 1169077.0516 | 2522714.6631 | 1169080.7916
12 | 2522692.4734 | 1169076.9577 | 2522695.5535 | 1169079.0081
13 | 2522732.396 | 1169026.1247 | 2522741.1138 | 1169029.7368
14 | 2522741.1138 | 1169029.7368 | 2522756.0873 | 1169025.8527 | 2522761.3124 | 1169020.1125
15 | 2522732.396 | 1169026.1247 | 2522721.3389 | 1169036.9735 | 2522711.3914 | 1169045.0355
16 | 2522761.3124 | 1169020.1125 | 2522770.7628 | 1169009.7303
17 | 2522779.7797 | 1169000.7108 | 2522764.3274 | 1168980.5091
18 | 2522779.7797 | 1169000.7108 | 2522776.946 | 1169002.9375 | 2522770.7628 | 1169009.7303
19 | 2522745.5119 | 1168955.9038 | 2522764.3274 | 1168980.5091
20 | 2522691.7632 | 1169076.4888 | 2522695.5365 | 1169064.6333 | 2522706.5768 | 1169048.9374 | 2522711.3914 | 1169045.0355
21 | 2522692.4734 | 1169076.9577 | 2522689.3996 | 1169083.7012 | 2522687.6768 | 1169089.532
22 | 2522691.7632 | 1169076.4888 | 2522692.4734 | 1169076.9577
23 | 2522618.3008 | 1169022.3016 | 2522634.6917 | 1169038.4804 | 2522638.6953 | 1169041.758
24 | 2522653.9154 | 1169054.2184 | 2522638.6953 | 1169041.758
25 | 2522618.3008 | 1169022.3016 | 2522613.4121 | 1169017.476 | 2522604.8252 | 1169004.3537
26 | 2522653.9154 | 1169054.2184 | 2522656.6439 | 1169056.4522 | 2522669.0842 | 1169063.4062
27 | 2522604.8252 | 1169004.3537 | 2522602.5909 | 1169000.9394 | 2522601.5266 | 1168996.6358
28 | 2522669.0842 | 1169063.4062 | 2522670.4996 | 1169064.1974
29 | 2522597.2703 | 1168979.4844 | 2522598.9814 | 1168986.3441 | 2522601.5266 | 1168996.6358
30 | 2522691.7632 | 1169076.4888 | 2522687.9421 | 1169073.9477 | 2522670.4996 | 1169064.1974
31 | 2522597.2703 | 1168979.4844 | 2522580.7575 | 1168967.3016
32 | 2522596.6285 | 1168964.7508 | 2522597.2703 | 1168979.4844
33 | 2522626.712 | 1168970.6471 | 2522615.2421 | 1168967.8611
34 | 2522596.6285 | 1168964.7508 | 2522610.0536 | 1168966.6009 | 2522615.2421 | 1168967.8611
35 | 2522626.712 | 1168970.6471 | 2522650.1686 | 1168976.3446 | 2522662.755 | 1168982.0078 | 2522665.0276 | 1168983.4247
36 | 2522596.6285 | 1168964.7508 | 2522594.9616 | 1168953.6103
37 | 2522594.9616 | 1168953.6103 | 2522591.8758 | 1168944.8947
38 | 2522572.4229 | 1168959.5397 | 2522580.7575 | 1168967.3016
39 | 2522591.8758 | 1168944.8947 | 2522585.3264 | 1168926.3966 | 2522583.6723 | 1168923.8289
40 | 2522548.8722 | 1168937.6071 | 2522572.4229 | 1168959.5397
41 | 2522583.6723 | 1168923.8289 | 2522580.9658 | 1168919.6279
42 | 2522684.4648 | 1169100.4033 | 2522687.6768 | 1169089.532
43 | 2522580.9658 | 1168919.6279 | 2522575.1479 | 1168910.5972
44 | 2522572.0974 | 1168905.8621 | 2522575.1479 | 1168910.5972
45 | 2522548.8722 | 1168937.6071 | 2522548.8722 | 1168937.6071 | 2522548.4421 | 1168937.0753
46 | 2522548.4421 | 1168937.0753 | 2522543.5627 | 1168931.0431
47 | 2522543.5627 | 1168931.0431 | 2522532.6478 | 1168917.5494 | 2522528.6227 | 1168913.5987
48 | 2522484.2278 | 1168870.0239 | 2522470.9812 | 1168857.0221 | 2522470.8429 | 1168856.9684
49 | 2522470.8429 | 1168856.9684 | 2522461.8054 | 1168853.4581
50 | 2522452.2536 | 1168841.5649 | 2522453.4779 | 1168840.4943 | 2522468.8897 | 1168831.8697
51 | 2522445.7737 | 1168847.2312 | 2522452.2536 | 1168841.5649
52 | 2522468.8897 | 1168831.8697 | 2522476.0996 | 1168827.8349
53 | 2522445.7737 | 1168847.2312 | 2522427.3907 | 1168860.9102 | 2522420.9996 | 1168863.1014
54 | 2522445.7737 | 1168847.2312 | 2522461.8054 | 1168853.4581
55 | 2522494.0591 | 1168817.8721 | 2522492.6869 | 1168818.5525 | 2522476.0996 | 1168827.8349
56 | 2522410.6424 | 1168866.6524 | 2522420.9996 | 1168863.1014
57 | 2522507.6761 | 1168811.1211 | 2522494.0591 | 1168817.8721
58 | 2522410.6424 | 1168866.6524 | 2522393.9025 | 1168870.0821 | 2522381.7368 | 1168874.4866 | 2522372.9963 | 1168888.6635
59 | 2522372.9963 | 1168888.6635 | 2522365.5767 | 1168891.3611 | 2522360.8427 | 1168891.0444 | 2522347.4582 | 1168884.0803 | 2522339.8778 | 1168880.8655 | 2522315.0437 | 1168878.6414 | 2522286.8918 | 1168876.7049 | 2522267.1573 | 1168872.8918 | 2522257.9402 | 1168872.6989
60 | 2522257.9402 | 1168872.6989 | 2522203.9052 | 1168819.5606
61 | 2522507.6761 | 1168811.1211 | 2522501.7219 | 1168803.2108
62 | 2522507.6761 | 1168811.1211 | 2522509.1167 | 1168813.105
63 | 2522181.3436 | 1168814.5698 | 2522203.9052 | 1168819.5606
64 | 2522572.0974 | 1168905.8621 | 2522569.2407 | 1168901.4279
65 | 2522569.2407 | 1168901.4279 | 2522568.8165 | 1168900.7695
66 | 2522559.8039 | 1168886.7799 | 2522568.8165 | 1168900.7695
67 | 2522559.8039 | 1168886.7799 | 2522559.5886 | 1168886.4457
68 | 2522547.8749 | 1168868.2634 | 2522559.5886 | 1168886.4457
69 | 2522545.8739 | 1168865.1573 | 2522547.8749 | 1168868.2634
70 | 2522545.8739 | 1168865.1573 | 2522537.8147 | 1168852.6476
71 | 2522524.0644 | 1168833.6902 | 2522537.6922 | 1168852.4575 | 2522537.8147 | 1168852.6476
72 | 2522524.0644 | 1168833.6902 | 2522523.4853 | 1168832.8926
73 | 2522523.4853 | 1168832.8926 | 2522509.1167 | 1168813.105
74 | 2522501.7219 | 1168803.2108 | 2522496.3958 | 1168796.1349
75 | 2522490.149 | 1168788.3285 | 2522491.2914 | 1168789.3535 | 2522496.3958 | 1168796.1349
76 | 2522478.6384 | 1168777.9993 | 2522490.149 | 1168788.3285
77 | 2522478.6384 | 1168777.9993 | 2522475.0394 | 1168776.3911
78 | 2522455.0561 | 1168714.6006 | 2522476.1524 | 1168765.0906 | 2522478.4033 | 1168770.4758 | 2522478.6384 | 1168777.9993
79 | 2522455.0561 | 1168714.6006 | 2522453.8515 | 1168711.7181
80 | 2522181.3436 | 1168814.5698 | 2522180.5399 | 1168814.392 | 2522163.1751 | 1168814.6175
81 | 2522163.1751 | 1168814.6175 | 2522162.3278 | 1168814.6285

## bus_geodata
| x | y | coords
0 | 2522773.9912 | 1169174.7945
1 | 2522773.3443 | 1169173.8818
2 | 2522757.5548 | 1169151.607
3 | 2522756.2546 | 1169149.3069
4 | 2522773.3309 | 1169135.3546
5 | 2522750.0023 | 1169138.2464
6 | 2522741.1921 | 1169122.8719
7 | 2522738.3229 | 1169118.118
8 | 2522735.4569 | 1169113.3694
9 | 2522719.5877 | 1169097.0904
10 | 2522707.9547 | 1169087.5043
11 | 2522714.6631 | 1169080.7916
12 | 2522695.5535 | 1169079.0081
13 | 2522741.1138 | 1169029.7368
14 | 2522732.396 | 1169026.1247
15 | 2522761.3124 | 1169020.1125
16 | 2522779.7797 | 1169000.7108
17 | 2522764.3274 | 1168980.5091
18 | 2522770.7628 | 1169009.7303
19 | 2522711.3914 | 1169045.0355
20 | 2522745.5119 | 1168955.9038
21 | 2522692.4734 | 1169076.9577
22 | 2522638.6953 | 1169041.758
23 | 2522618.3008 | 1169022.3016
24 | 2522653.9154 | 1169054.2184
25 | 2522604.8252 | 1169004.3537
26 | 2522669.0842 | 1169063.4062
27 | 2522601.5266 | 1168996.6358
28 | 2522670.4996 | 1169064.1974
29 | 2522597.2703 | 1168979.4844
30 | 2522691.7632 | 1169076.4888
31 | 2522615.2421 | 1168967.8611
32 | 2522626.712 | 1168970.6471
33 | 2522596.6285 | 1168964.7508
34 | 2522665.0276 | 1168983.4247
35 | 2522594.9616 | 1168953.6103
36 | 2522580.7575 | 1168967.3016
37 | 2522591.8758 | 1168944.8947
38 | 2522572.4229 | 1168959.5397
39 | 2522583.6723 | 1168923.8289
40 | 2522687.6768 | 1169089.532
41 | 2522684.4648 | 1169100.4033
42 | 2522580.9658 | 1168919.6279
43 | 2522575.1479 | 1168910.5972
44 | 2522548.4421 | 1168937.0753
45 | 2522548.8722 | 1168937.6071
46 | 2522543.5627 | 1168931.0431
47 | 2522528.6227 | 1168913.5987
48 | 2522484.2278 | 1168870.0239
49 | 2522470.8429 | 1168856.9684
50 | 2522452.2536 | 1168841.5649
51 | 2522468.8897 | 1168831.8697
52 | 2522445.7737 | 1168847.2312
53 | 2522476.0996 | 1168827.8349
54 | 2522420.9996 | 1168863.1014
55 | 2522461.8054 | 1168853.4581
56 | 2522494.0591 | 1168817.8721
57 | 2522410.6424 | 1168866.6524
58 | 2522372.9963 | 1168888.6635
59 | 2522257.9402 | 1168872.6989
60 | 2522507.6761 | 1168811.1211
61 | 2522203.9052 | 1168819.5606
62 | 2522572.0974 | 1168905.8621
63 | 2522569.2407 | 1168901.4279
64 | 2522568.8165 | 1168900.7695
65 | 2522559.8039 | 1168886.7799
66 | 2522559.5886 | 1168886.4457
67 | 2522547.8749 | 1168868.2634
68 | 2522545.8739 | 1168865.1573
69 | 2522537.8147 | 1168852.6476
70 | 2522524.0644 | 1168833.6902
71 | 2522523.4853 | 1168832.8926
72 | 2522509.1167 | 1168813.105
73 | 2522501.7219 | 1168803.2108
74 | 2522496.3958 | 1168796.1349
75 | 2522490.149 | 1168788.3285
76 | 2522478.6384 | 1168777.9993
77 | 2522475.0394 | 1168776.3911
78 | 2522455.0561 | 1168714.6006
79 | 2522181.3436 | 1168814.5698
80 | 2522163.1751 | 1168814.6175
81 | 2522162.3278 | 1168814.6285
82 | 2522453.8515 | 1168711.7181
83 | 2522596.6285 | 1168964.7508

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1