## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5759-1_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5759-1_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5759-1_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5759-1_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5759-1_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5759-1_0_3_node_22 | 0.4 | n |  | TRUE
6 | bus_LV_5759-1_0_3_node_23 | 0.4 | n |  | TRUE
7 | bus_LV_5759-1_0_3_node_15 | 0.4 | n |  | TRUE
8 | bus_LV_5759-1_0_3_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_5759-1_0_3_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_5759-1_0_3_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_5759-1_0_3_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_5759-1_0_3_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_5759-1_0_3_node_18 | 0.4 | n |  | TRUE
14 | bus_LV_5759-1_0_3_node_17 | 0.4 | n |  | TRUE
15 | bus_LV_5759-1_0_3_node_25 | 0.4 | n |  | TRUE
16 | bus_LV_5759-1_0_3_node_24 | 0.4 | n |  | TRUE
17 | bus_LV_5759-1_0_3_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_5759-1_0_3_node_19 | 0.4 | n |  | TRUE
19 | bus_LV_5759-1_0_3_node_30 | 0.4 | n |  | TRUE
20 | bus_LV_5759-1_0_3_node_31 | 0.4 | n |  | TRUE
21 | bus_LV_5759-1_0_3_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_5759-1_0_3_node_89 | 0.4 | n |  | TRUE
23 | bus_LV_5759-1_0_3_node_90 | 0.4 | n |  | TRUE
24 | bus_LV_5759-1_0_3_node_11 | 0.4 | n |  | TRUE
25 | bus_LV_5759-1_0_3_node_84 | 0.4 | n |  | TRUE
26 | bus_LV_5759-1_0_3_node_86 | 0.4 | n |  | TRUE
27 | bus_LV_5759-1_0_3_node_82 | 0.4 | n |  | TRUE
28 | bus_LV_5759-1_0_3_node_12 | 0.4 | n |  | TRUE
29 | bus_LV_5759-1_0_3_node_13 | 0.4 | n |  | TRUE
30 | bus_LV_5759-1_0_3_node_14 | 0.4 | n |  | TRUE
31 | bus_LV_5759-1_0_3_node_16 | 0.4 | n |  | TRUE
32 | bus_LV_5759-1_0_3_node_50 | 0.4 | n |  | TRUE
33 | bus_LV_5759-1_0_3_node_59 | 0.4 | n |  | TRUE
34 | bus_LV_5759-1_0_3_node_49 | 0.4 | n |  | TRUE
35 | bus_LV_5759-1_0_3_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_5759-1_0_3_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_5759-1_0_3_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_5759-1_0_3_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_5759-1_0_3_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_5759-1_0_3_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_5759-1_0_3_node_94 | 0.4 | n |  | TRUE
42 | bus_LV_5759-1_0_3_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_5759-1_0_3_node_91 | 0.4 | n |  | TRUE
44 | bus_LV_5759-1_0_3_node_116 | 0.4 | n |  | TRUE
45 | bus_LV_5759-1_0_3_node_114 | 0.4 | n |  | TRUE
46 | bus_LV_5759-1_0_3_node_115 | 0.4 | n |  | TRUE
47 | bus_LV_5759-1_0_3_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_5759-1_0_3_node_37 | 0.4 | n |  | TRUE
49 | bus_LV_5759-1_0_3_node_38 | 0.4 | n |  | TRUE
50 | bus_LV_5759-1_0_3_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_5759-1_0_3_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_5759-1_0_3_node_41 | 0.4 | n |  | TRUE
53 | bus_LV_5759-1_0_3_node_51 | 0.4 | n |  | TRUE
54 | bus_LV_5759-1_0_3_node_75 | 0.4 | n |  | TRUE
55 | bus_LV_5759-1_0_3_node_87 | 0.4 | n |  | TRUE
56 | bus_LV_5759-1_0_3_node_64 | 0.4 | n |  | TRUE
57 | bus_LV_5759-1_0_3_node_65 | 0.4 | n |  | TRUE
58 | bus_LV_5759-1_0_3_node_66 | 0.4 | n |  | TRUE
59 | bus_LV_5759-1_0_3_node_62 | 0.4 | n |  | TRUE
60 | bus_LV_5759-1_0_3_node_71 | 0.4 | n |  | TRUE
61 | bus_LV_5759-1_0_3_node_88 | 0.4 | n |  | TRUE
62 | bus_LV_5759-1_0_3_node_42 | 0.4 | n |  | TRUE
63 | bus_LV_5759-1_0_3_node_43 | 0.4 | n |  | TRUE
64 | bus_LV_5759-1_0_3_node_44 | 0.4 | n |  | TRUE
65 | bus_LV_5759-1_0_3_node_45 | 0.4 | n |  | TRUE
66 | bus_LV_5759-1_0_3_node_46 | 0.4 | n |  | TRUE
67 | bus_LV_5759-1_0_3_node_55 | 0.4 | n |  | TRUE
68 | bus_LV_5759-1_0_3_node_72 | 0.4 | n |  | TRUE
69 | bus_LV_5759-1_0_3_node_56 | 0.4 | n |  | TRUE
70 | bus_LV_5759-1_0_3_node_73 | 0.4 | n |  | TRUE
71 | bus_LV_5759-1_0_3_node_47 | 0.4 | n |  | TRUE
72 | bus_LV_5759-1_0_3_node_48 | 0.4 | n |  | TRUE
73 | bus_LV_5759-1_0_3_node_52 | 0.4 | n |  | TRUE
74 | bus_LV_5759-1_0_3_node_53 | 0.4 | n |  | TRUE
75 | bus_LV_5759-1_0_3_node_54 | 0.4 | n |  | TRUE
76 | bus_LV_5759-1_0_3_node_57 | 0.4 | n |  | TRUE
77 | bus_LV_5759-1_0_3_node_58 | 0.4 | n |  | TRUE
78 | bus_LV_5759-1_0_3_node_63 | 0.4 | n |  | TRUE
79 | bus_LV_5759-1_0_3_node_60 | 0.4 | n |  | TRUE
80 | bus_LV_5759-1_0_3_node_61 | 0.4 | n |  | TRUE
81 | bus_LV_5759-1_0_3_node_111 | 0.4 | n |  | TRUE
82 | bus_LV_5759-1_0_3_node_110 | 0.4 | n |  | TRUE
83 | bus_LV_5759-1_0_3_node_106 | 0.4 | n |  | TRUE
84 | bus_LV_5759-1_0_3_node_69 | 0.4 | n |  | TRUE
85 | bus_LV_5759-1_0_3_node_67 | 0.4 | n |  | TRUE
86 | bus_LV_5759-1_0_3_node_68 | 0.4 | n |  | TRUE
87 | bus_LV_5759-1_0_3_node_70 | 0.4 | n |  | TRUE
88 | bus_LV_5759-1_0_3_node_74 | 0.4 | n |  | TRUE
89 | bus_LV_5759-1_0_3_node_76 | 0.4 | n |  | TRUE
90 | bus_LV_5759-1_0_3_node_77 | 0.4 | n |  | TRUE
91 | bus_LV_5759-1_0_3_node_78 | 0.4 | n |  | TRUE
92 | bus_LV_5759-1_0_3_node_79 | 0.4 | n |  | TRUE
93 | bus_LV_5759-1_0_3_node_80 | 0.4 | n |  | TRUE
94 | bus_LV_5759-1_0_3_node_81 | 0.4 | n |  | TRUE
95 | bus_LV_5759-1_0_3_node_95 | 0.4 | n |  | TRUE
96 | bus_LV_5759-1_0_3_node_109 | 0.4 | n |  | TRUE
97 | bus_LV_5759-1_0_3_node_107 | 0.4 | n |  | TRUE
98 | bus_LV_5759-1_0_3_node_96 | 0.4 | n |  | TRUE
99 | bus_LV_5759-1_0_3_node_104 | 0.4 | n |  | TRUE
100 | bus_LV_5759-1_0_3_node_108 | 0.4 | n |  | TRUE
101 | bus_LV_5759-1_0_3_node_83 | 0.4 | n |  | TRUE
102 | bus_LV_5759-1_0_3_node_92 | 0.4 | n |  | TRUE
103 | bus_LV_5759-1_0_3_node_93 | 0.4 | n |  | TRUE
104 | bus_LV_5759-1_0_3_node_97 | 0.4 | n |  | TRUE
105 | bus_LV_5759-1_0_3_node_98 | 0.4 | n |  | TRUE
106 | bus_LV_5759-1_0_3_node_105 | 0.4 | n |  | TRUE
107 | bus_LV_5759-1_0_3_node_99 | 0.4 | n |  | TRUE
108 | bus_LV_5759-1_0_3_node_100 | 0.4 | n |  | TRUE
109 | bus_LV_5759-1_0_3_node_101 | 0.4 | n |  | TRUE
110 | bus_LV_5759-1_0_3_node_102 | 0.4 | n |  | TRUE
111 | bus_LV_5759-1_0_3_node_103 | 0.4 | n |  | TRUE
112 | bus_LV_5759-1_0_3_node_112 | 0.4 | n |  | TRUE
113 | bus_LV_5759-1_0_3_node_113 | 0.4 | n |  | TRUE
114 | bus_MV_339_0_node_98 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5759-1_0_3_load_0 | 0 | 0.0011228 | 0.00028139 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5759-1_0_3_load_1 | 1 | 0.0011236 | 0.00028159 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5759-1_0_3_load_2 | 2 | 0.0012241 | 0.00030678 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5759-1_0_3_load_3 | 3 | 0.0011581 | 0.00029025 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5759-1_0_3_load_4 | 4 | 0.0014471 | 0.00036268 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5759-1_0_3_load_23 | 6 | 0.0018502 | 0.00046371 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5759-1_0_3_load_15 | 7 | 0.0032672 | 0.00081884 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5759-1_0_3_load_5 | 8 | 0.0016478 | 0.00041299 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5759-1_0_3_load_6 | 9 | 0.0016347 | 0.00040969 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5759-1_0_3_load_7 | 10 | 0.001845 | 0.00046239 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5759-1_0_3_load_8 | 11 | 0.00081952 | 0.00020539 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5759-1_0_3_load_9 | 12 | 0.0014021 | 0.0003514 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5759-1_0_3_load_18 | 13 | 0.0010526 | 0.0002638 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5759-1_0_3_load_17 | 14 | 0.00082462 | 0.00020667 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5759-1_0_3_load_25 | 15 | 0.0011422 | 0.00028625 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5759-1_0_3_load_24 | 16 | 0.0025475 | 0.00063847 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5759-1_0_3_load_19 | 18 | 0.001243 | 0.00031151 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5759-1_0_3_load_30 | 19 | 0.0011802 | 0.00029578 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5759-1_0_3_load_31 | 20 | 0.0014021 | 0.00035139 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5759-1_0_3_load_20 | 21 | 0.0014888 | 0.00037312 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5759-1_0_3_load_89 | 22 | 0.008346 | 0.0020917 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5759-1_0_3_load_90 | 23 | 0.0013443 | 0.00033691 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5759-1_0_3_load_84 | 25 | 0.00072401 | 0.00018145 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5759-1_0_3_load_86 | 26 | 0.00099748 | 0.00024999 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5759-1_0_3_load_82 | 27 | 0.0017186 | 0.00043071 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5759-1_0_3_load_12 | 28 | 0.002242 | 0.00056191 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5759-1_0_3_load_13 | 29 | 0.0053281 | 0.0013354 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5759-1_0_3_load_14 | 30 | 0.0023287 | 0.00058363 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5759-1_0_3_load_16 | 31 | 0.0007044 | 0.00017654 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5759-1_0_3_load_59 | 33 | 0.0015734 | 0.00039433 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5759-1_0_3_load_27 | 38 | 0.0045684 | 0.0011449 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5759-1_0_3_load_28 | 39 | 0.00225 | 0.00056389 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5759-1_0_3_load_94 | 41 | 0.0018968 | 0.00047538 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5759-1_0_3_load_35 | 42 | 0.0028309 | 0.0007095 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5759-1_0_3_load_116 | 44 | 0.00095211 | 0.00023862 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5759-1_0_3_load_115 | 46 | 0.0014326 | 0.00035905 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5759-1_0_3_load_36 | 47 | 0.0081439 | 0.002041 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5759-1_0_3_load_37 | 48 | 0.008426 | 0.0021118 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5759-1_0_3_load_39 | 50 | 0.0034831 | 0.00087294 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5759-1_0_3_load_41 | 52 | 0.0041564 | 0.0010417 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5759-1_0_3_load_75 | 54 | 0.0071789 | 0.0017992 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5759-1_0_3_load_87 | 55 | 0.0012175 | 0.00030513 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5759-1_0_3_load_65 | 57 | 0.0033601 | 0.00084213 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5759-1_0_3_load_66 | 58 | 0.0094659 | 0.0023724 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5759-1_0_3_load_62 | 59 | 0.0011212 | 0.000281 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5759-1_0_3_load_71 | 60 | 0.0038315 | 0.00096026 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5759-1_0_3_load_88 | 61 | 0.0012871 | 0.00032257 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5759-1_0_3_load_42 | 62 | 0.0030904 | 0.00077452 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5759-1_0_3_load_43 | 63 | 0.0010171 | 0.0002549 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5759-1_0_3_load_45 | 65 | 0.00091712 | 0.00022985 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5759-1_0_3_load_46 | 66 | 0.0020796 | 0.00052119 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5759-1_0_3_load_72 | 68 | 0.0014476 | 0.00036279 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5759-1_0_3_load_56 | 69 | 0.00058978 | 0.00014781 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5759-1_0_3_load_73 | 70 | 0.0013713 | 0.00034368 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5759-1_0_3_load_47 | 71 | 0.015004 | 0.0037605 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5759-1_0_3_load_48 | 72 | 0.0029961 | 0.0007509 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5759-1_0_3_load_52 | 73 | 0.001326 | 0.00033232 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5759-1_0_3_load_53 | 74 | 0.0011365 | 0.00028484 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5759-1_0_3_load_54 | 75 | 0.00040583 | 0.00010171 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5759-1_0_3_load_58 | 77 | 0.0021882 | 0.00054841 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5759-1_0_3_load_63 | 78 | 0.0013351 | 0.0003346 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5759-1_0_3_load_60 | 79 | 0.0021774 | 0.00054571 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5759-1_0_3_load_61 | 80 | 0.0015368 | 0.00038516 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5759-1_0_3_load_110 | 82 | 0.0028064 | 0.00070334 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5759-1_0_3_load_67 | 85 | 0.0006376 | 0.0001598 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5759-1_0_3_load_68 | 86 | 0.0019567 | 0.0004904 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5759-1_0_3_load_70 | 87 | 0.0019335 | 0.00048458 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5759-1_0_3_load_74 | 88 | 0.0013367 | 0.000335 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5759-1_0_3_load_76 | 89 | 0.0028706 | 0.00071943 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5759-1_0_3_load_79 | 92 | 0.0018897 | 0.0004736 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5759-1_0_3_load_80 | 93 | 0.00067794 | 0.00016991 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5759-1_0_3_load_95 | 95 | 0.0018344 | 0.00045975 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5759-1_0_3_load_109 | 96 | 0.0013555 | 0.00033972 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5759-1_0_3_load_107 | 97 | 0.00089669 | 0.00022473 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5759-1_0_3_load_96 | 98 | 0.0017014 | 0.00042642 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5759-1_0_3_load_104 | 99 | 0.0018911 | 0.00047395 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5759-1_0_3_load_108 | 100 | 0.0020562 | 0.00051532 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5759-1_0_3_load_83 | 101 | 0.0023198 | 0.00058139 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5759-1_0_3_load_92 | 102 | 0.0025149 | 0.00063028 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5759-1_0_3_load_93 | 103 | 0.0011006 | 0.00027585 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_5759-1_0_3_load_97 | 104 | 0.0053037 | 0.0013292 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_5759-1_0_3_load_98 | 105 | 0.0014812 | 0.00037123 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_5759-1_0_3_load_105 | 106 | 0.0012573 | 0.00031511 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_5759-1_0_3_load_99 | 107 | 0.00113 | 0.00028322 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_5759-1_0_3_load_100 | 108 | 0.0023978 | 0.00060095 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_5759-1_0_3_load_101 | 109 | 0.0055991 | 0.0014033 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_5759-1_0_3_load_102 | 110 | 0.0012398 | 0.00031072 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_5759-1_0_3_load_112 | 112 | 0.0013718 | 0.0003438 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_5759-1_0_3_load_113 | 113 | 0.0023413 | 0.00058678 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 113 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5759-1_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.020286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5759-1_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.013448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5759-1_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.029044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5759-1_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.023436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5759-1_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.055643 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5759-1_0_3_line_5 | NAYY 4x150 SE | 5 | 6 | 0.012938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5759-1_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.010596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5759-1_0_3_line_7 | NAYY 4x150 SE | 7 | 29 | 0.023472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5759-1_0_3_line_8 | NAYY 4x150 SE | 8 | 9 | 0.038186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5759-1_0_3_line_9 | NAYY 4x150 SE | 8 | 10 | 0.044392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5759-1_0_3_line_10 | NAYY 4x150 SE | 9 | 11 | 0.033988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5759-1_0_3_line_11 | NAYY 4x150 SE | 10 | 12 | 0.018027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5759-1_0_3_line_12 | NAYY 4x150 SE | 10 | 13 | 0.039241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5759-1_0_3_line_13 | NAYY 4x150 SE | 11 | 17 | 0.030837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5759-1_0_3_line_14 | NAYY 4x150 SE | 11 | 15 | 0.072987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5759-1_0_3_line_15 | NAYY 4x150 SE | 13 | 21 | 0.02371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5759-1_0_3_line_16 | NAYY 4x150 SE | 13 | 14 | 0.025101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5759-1_0_3_line_17 | NAYY 4x150 SE | 15 | 16 | 0.018972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5759-1_0_3_line_18 | NAYY 4x150 SE | 16 | 37 | 0.010341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5759-1_0_3_line_19 | NAYY 4x150 SE | 17 | 24 | 0.001445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5759-1_0_3_line_20 | NAYY 4x150 SE | 18 | 19 | 0.043994 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5759-1_0_3_line_21 | NAYY 4x150 SE | 18 | 20 | 0.032564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5759-1_0_3_line_22 | NAYY 4x150 SE | 19 | 24 | 0.042664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5759-1_0_3_line_23 | NAYY 4x150 SE | 21 | 35 | 0.029179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5759-1_0_3_line_24 | NAYY 4x150 SE | 22 | 23 | 0.025857 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5759-1_0_3_line_25 | NAYY 4x150 SE | 23 | 102 | 0.0064765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5759-1_0_3_line_26 | NAYY 4x150 SE | 25 | 26 | 0.0071165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5759-1_0_3_line_27 | NAYY 4x150 SE | 25 | 27 | 0.0035382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5759-1_0_3_line_28 | NAYY 4x150 SE | 26 | 92 | 0.0020107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5759-1_0_3_line_29 | NAYY 4x150 SE | 27 | 101 | 0.019234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5759-1_0_3_line_30 | NAYY 4x150 SE | 28 | 29 | 0.01383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5759-1_0_3_line_31 | NAYY 4x150 SE | 28 | 30 | 0.026297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5759-1_0_3_line_32 | NAYY 4x150 SE | 30 | 31 | 0.015231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5759-1_0_3_line_33 | NAYY 4x150 SE | 31 | 32 | 0.007151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5759-1_0_3_line_34 | NAYY 4x150 SE | 32 | 33 | 0.0099724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5759-1_0_3_line_35 | NAYY 4x150 SE | 32 | 34 | 0.028162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5759-1_0_3_line_36 | NAYY 4x150 SE | 34 | 53 | 0.01573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5759-1_0_3_line_37 | NAYY 4x150 SE | 34 | 71 | 0.019014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5759-1_0_3_line_38 | NAYY 4x150 SE | 35 | 36 | 0.055977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5759-1_0_3_line_39 | NAYY 4x150 SE | 36 | 44 | 0.031273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5759-1_0_3_line_40 | NAYY 4x150 SE | 36 | 45 | 0.024729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5759-1_0_3_line_41 | NAYY 4x150 SE | 37 | 38 | 0.043568 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5759-1_0_3_line_42 | NAYY 4x150 SE | 37 | 39 | 0.027796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5759-1_0_3_line_43 | NAYY 4x150 SE | 38 | 40 | 0.0064765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5759-1_0_3_line_44 | NAYY 4x150 SE | 39 | 41 | 0.0073703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5759-1_0_3_line_45 | NAYY 4x150 SE | 40 | 42 | 0.025291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5759-1_0_3_line_46 | NAYY 4x150 SE | 41 | 43 | 0.0061014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5759-1_0_3_line_47 | NAYY 4x150 SE | 43 | 103 | 0.020856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5759-1_0_3_line_48 | NAYY 4x150 SE | 45 | 46 | 0.032027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5759-1_0_3_line_49 | NAYY 4x150 SE | 47 | 48 | 0.019384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5759-1_0_3_line_50 | NAYY 4x150 SE | 47 | 49 | 0.016712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5759-1_0_3_line_51 | NAYY 4x150 SE | 48 | 50 | 0.01218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5759-1_0_3_line_52 | NAYY 4x150 SE | 49 | 51 | 0.010248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5759-1_0_3_line_53 | NAYY 4x150 SE | 49 | 52 | 0.0033291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
54 | LV_5759-1_0_3_line_54 | NAYY 4x150 SE | 50 | 53 | 0.014529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5759-1_0_3_line_55 | NAYY 4x150 SE | 51 | 54 | 0.017094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5759-1_0_3_line_56 | NAYY 4x150 SE | 52 | 55 | 0.012855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
57 | LV_5759-1_0_3_line_57 | NAYY 4x150 SE | 54 | 60 | 0.0040083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5759-1_0_3_line_58 | NAYY 4x150 SE | 55 | 61 | 0.0092553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
59 | LV_5759-1_0_3_line_59 | NAYY 4x150 SE | 56 | 57 | 0.014508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5759-1_0_3_line_60 | NAYY 4x150 SE | 56 | 58 | 0.011082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5759-1_0_3_line_61 | NAYY 4x150 SE | 56 | 59 | 0.04525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5759-1_0_3_line_62 | NAYY 4x150 SE | 58 | 84 | 0.021221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5759-1_0_3_line_63 | NAYY 4x150 SE | 59 | 78 | 0.020272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5759-1_0_3_line_64 | NAYY 4x150 SE | 60 | 84 | 0.0027097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5759-1_0_3_line_65 | NAYY 4x150 SE | 61 | 82 | 0.010849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
66 | LV_5759-1_0_3_line_66 | NAYY 4x150 SE | 62 | 63 | 0.025153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_5759-1_0_3_line_67 | NAYY 4x150 SE | 62 | 64 | 0.050626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_5759-1_0_3_line_68 | NAYY 4x150 SE | 63 | 65 | 0.019492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_5759-1_0_3_line_69 | NAYY 4x150 SE | 64 | 66 | 0.025925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_5759-1_0_3_line_70 | NAYY 4x150 SE | 65 | 67 | 0.011147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_5759-1_0_3_line_71 | NAYY 4x150 SE | 66 | 68 | 0.022859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_5759-1_0_3_line_72 | NAYY 4x150 SE | 67 | 69 | 0.0043266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_5759-1_0_3_line_73 | NAYY 4x150 SE | 68 | 70 | 0.01033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_5759-1_0_3_line_74 | NAYY 4x150 SE | 70 | 88 | 0.0087839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_5759-1_0_3_line_75 | NAYY 4x150 SE | 71 | 72 | 0.032786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_5759-1_0_3_line_76 | NAYY 4x150 SE | 73 | 74 | 0.035022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_5759-1_0_3_line_77 | NAYY 4x150 SE | 74 | 75 | 0.016956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_5759-1_0_3_line_78 | NAYY 4x150 SE | 75 | 76 | 0.012713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_5759-1_0_3_line_79 | NAYY 4x150 SE | 76 | 77 | 0.020976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_5759-1_0_3_line_80 | NAYY 4x150 SE | 77 | 78 | 0.007332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_5759-1_0_3_line_81 | NAYY 4x150 SE | 79 | 80 | 0.033751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_5759-1_0_3_line_82 | NAYY 4x150 SE | 80 | 81 | 0.014334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_5759-1_0_3_line_83 | NAYY 4x150 SE | 81 | 82 | 0.0021776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
84 | LV_5759-1_0_3_line_84 | NAYY 4x150 SE | 81 | 83 | 0.02306 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
85 | LV_5759-1_0_3_line_85 | NAYY 4x150 SE | 83 | 112 | 0.035019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
86 | LV_5759-1_0_3_line_86 | NAYY 4x150 SE | 83 | 106 | 0.0082412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_5759-1_0_3_line_87 | NAYY 4x150 SE | 83 | 111 | 0.014574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_5759-1_0_3_line_88 | NAYY 4x150 SE | 84 | 85 | 0.042613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_5759-1_0_3_line_89 | NAYY 4x150 SE | 85 | 86 | 0.0013416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_5759-1_0_3_line_90 | NAYY 4x150 SE | 86 | 87 | 0.00075694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_5759-1_0_3_line_91 | NAYY 4x150 SE | 87 | 88 | 0.012094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_5759-1_0_3_line_92 | NAYY 4x150 SE | 89 | 90 | 0.0073749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_5759-1_0_3_line_93 | NAYY 4x150 SE | 89 | 91 | 0.019871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_5759-1_0_3_line_94 | NAYY 4x150 SE | 90 | 92 | 0.0070413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_5759-1_0_3_line_95 | NAYY 4x150 SE | 91 | 93 | 0.008683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_5759-1_0_3_line_96 | NAYY 4x150 SE | 91 | 94 | 0.006324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_5759-1_0_3_line_97 | NAYY 4x150 SE | 93 | 95 | 0.00068232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_5759-1_0_3_line_98 | NAYY 4x150 SE | 94 | 96 | 0.022877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_5759-1_0_3_line_99 | NAYY 4x150 SE | 94 | 97 | 0.020655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_5759-1_0_3_line_100 | NAYY 4x150 SE | 95 | 98 | 0.0445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_5759-1_0_3_line_101 | NAYY 4x150 SE | 96 | 99 | 0.004086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_5759-1_0_3_line_102 | NAYY 4x150 SE | 97 | 100 | 0.016305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_5759-1_0_3_line_103 | NAYY 4x150 SE | 99 | 102 | 0.024765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_5759-1_0_3_line_104 | NAYY 4x150 SE | 100 | 110 | 0.0078905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_5759-1_0_3_line_105 | NAYY 4x150 SE | 103 | 104 | 0.0032333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
106 | LV_5759-1_0_3_line_106 | NAYY 4x150 SE | 104 | 105 | 0.021963 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
107 | LV_5759-1_0_3_line_107 | NAYY 4x150 SE | 105 | 106 | 0.0081941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
108 | LV_5759-1_0_3_line_108 | NAYY 4x150 SE | 107 | 108 | 0.00023771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
109 | LV_5759-1_0_3_line_109 | NAYY 4x150 SE | 107 | 109 | 0.016168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
110 | LV_5759-1_0_3_line_110 | NAYY 4x150 SE | 108 | 110 | 0.0088312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
111 | LV_5759-1_0_3_line_111 | NAYY 4x150 SE | 109 | 111 | 0.0097022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
112 | LV_5759-1_0_3_line_112 | NAYY 4x150 SE | 112 | 113 | 0.0012345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5759-1_0_3_trafo_113 | 0.25 MVA 20/0.4 kV | 114 | 113 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2524135.7287 | 1173313.8951 | 2524132.8056 | 1173308.7667 | 2524125.2928 | 1173296.5016
1 | 2524135.7287 | 1173313.8951 | 2524140.6194 | 1173322.4758 | 2524142.2324 | 1173325.6617
2 | 2524125.2928 | 1173296.5016 | 2524124.5277 | 1173295.2525 | 2524111.1692 | 1173274.9209 | 2524109.2784 | 1173272.2751
3 | 2524152.718 | 1173346.6198 | 2524150.5579 | 1173342.1059 | 2524142.2324 | 1173325.6617
4 | 2524079.5521 | 1173225.3925 | 2524080.6863 | 1173228.5911 | 2524085.4905 | 1173237.1352 | 2524097.2168 | 1173255.3973 | 2524109.2784 | 1173272.2751
5 | 2524079.5521 | 1173225.3925 | 2524078.3216 | 1173229.0769 | 2524070.7441 | 1173234.0313
6 | 2524079.5521 | 1173225.3925 | 2524076.262 | 1173216.2288 | 2524075.9254 | 1173215.4384
7 | 2524075.9254 | 1173215.4384 | 2524069.6406 | 1173200.6814 | 2524067.1171 | 1173193.6903
8 | 2523839.7294 | 1173248.5688 | 2523848.198 | 1173247.4294 | 2523858.4701 | 1173245.6979 | 2523871.376 | 1173246.0008 | 2523877.6822 | 1173246.332
9 | 2523796.5958 | 1173239.554 | 2523806.6788 | 1173240.9422 | 2523825.8595 | 1173246.9241 | 2523831.7317 | 1173248.6172 | 2523838.4329 | 1173248.7432 | 2523839.7294 | 1173248.5688
10 | 2523877.6822 | 1173246.332 | 2523877.6822 | 1173246.332 | 2523883.7709 | 1173247.611 | 2523895.5501 | 1173251.3302 | 2523908.9229 | 1173258.9965
11 | 2523778.7377 | 1173237.0953 | 2523796.5958 | 1173239.554
12 | 2523784.0419 | 1173276.733 | 2523796.5958 | 1173239.554
13 | 2523932.2471 | 1173277.3906 | 2523929.3785 | 1173270.7232 | 2523908.9229 | 1173258.9965
14 | 2523954.2941 | 1173201.8255 | 2523908.9229 | 1173258.9965
15 | 2523784.0419 | 1173276.733 | 2523760.6238 | 1173273.0271
16 | 2523784.0419 | 1173276.733 | 2523787.5932 | 1173277.295 | 2523808.0112 | 1173284.0463
17 | 2523954.2941 | 1173201.8255 | 2523955.3651 | 1173188.7122 | 2523954.2329 | 1173183.0087
18 | 2523952.2194 | 1173172.8651 | 2523954.2329 | 1173183.0087
19 | 2523932.2471 | 1173277.3906 | 2523931.798 | 1173278.7638
20 | 2523851.7042 | 1173303.3615 | 2523889.9935 | 1173281.6963
21 | 2523851.7042 | 1173303.3615 | 2523842.455 | 1173272.139
22 | 2523931.798 | 1173278.7638 | 2523919.215 | 1173277.3894 | 2523904.8812 | 1173277.2602 | 2523899.0775 | 1173277.9454 | 2523889.9935 | 1173281.6963
23 | 2523731.8039 | 1173268.4662 | 2523760.6238 | 1173273.0271
24 | 2523897.8152 | 1173125.0532 | 2523892.6734 | 1173113.4085 | 2523891.0247 | 1173107.048 | 2523896.7942 | 1173103.9326
25 | 2523896.7942 | 1173103.9326 | 2523902.493 | 1173100.8553
26 | 2523841.8992 | 1173091.8887 | 2523835.0013 | 1173090.1387 | 2523835.0013 | 1173090.1387
27 | 2523832.536 | 1173087.6008 | 2523835.0013 | 1173090.1387
28 | 2523843.8481 | 1173092.3832 | 2523841.8992 | 1173091.8887
29 | 2523832.536 | 1173087.6008 | 2523822.9041 | 1173077.6852 | 2523818.4053 | 1173074.6803
30 | 2524063.2434 | 1173180.4274 | 2524065.622 | 1173189.5481 | 2524067.1171 | 1173193.6903
31 | 2524056.6072 | 1173154.9811 | 2524063.2434 | 1173180.4274
32 | 2524052.7636 | 1173140.2429 | 2524056.6072 | 1173154.9811
33 | 2524050.9591 | 1173133.3233 | 2524052.7636 | 1173140.2429
34 | 2524050.9591 | 1173133.3233 | 2524047.1867 | 1173124.0919
35 | 2524056.997 | 1173106.4645 | 2524056.6842 | 1173116.1741 | 2524054.6595 | 1173127.7954 | 2524050.9591 | 1173133.3233
36 | 2524057.2642 | 1173090.7408 | 2524056.997 | 1173106.4645
37 | 2524056.997 | 1173106.4645 | 2524070.5721 | 1173119.7777
38 | 2523706.9318 | 1173221.5554 | 2523707.3319 | 1173231.9453 | 2523708.7802 | 1173240.5763 | 2523713.048 | 1173250.2054 | 2523716.1554 | 1173254.5906 | 2523720.6987 | 1173259.4245 | 2523731.8039 | 1173268.4662
39 | 2523706.9318 | 1173221.5554 | 2523710.6091 | 1173231.0475 | 2523716.3764 | 1173238.3117 | 2523724.8713 | 1173246.5639
40 | 2523708.6846 | 1173197.041 | 2523707.7725 | 1173200.488 | 2523706.4742 | 1173210.8439 | 2523706.9318 | 1173221.5554
41 | 2523952.2194 | 1173172.8651 | 2523973.8605 | 1173179.8724 | 2523989.2832 | 1173182.6117 | 2523994.3692 | 1173183.4639
42 | 2523952.2194 | 1173172.8651 | 2523947.2453 | 1173166.0131 | 2523944.3528 | 1173160.4688 | 2523941.5269 | 1173152.3444 | 2523941.153 | 1173147.8866
43 | 2524000.7566 | 1173184.534 | 2523994.3692 | 1173183.4639
44 | 2523941.153 | 1173147.8866 | 2523940.5371 | 1173140.5421
45 | 2524000.7566 | 1173184.534 | 2523996.3525 | 1173187.0358 | 2523979.681 | 1173198.5762
46 | 2523940.2825 | 1173134.4498 | 2523940.3282 | 1173138.0513 | 2523940.5371 | 1173140.5421
47 | 2523940.2825 | 1173134.4498 | 2523942.4604 | 1173121.6591 | 2523944.9694 | 1173114.1875
48 | 2523708.6846 | 1173197.041 | 2523713.6896 | 1173204.5039 | 2523721.2988 | 1173214.0682 | 2523730.0308 | 1173220.5164
49 | 2524019.1158 | 1173066.6659 | 2524019.1158 | 1173066.6659 | 2524022.4212 | 1173072.205 | 2524030.0473 | 1173077.1 | 2524033.7585 | 1173078.2046
50 | 2524015.5664 | 1173050.3347 | 2524017.2075 | 1173057.9183 | 2524019.1158 | 1173066.6659
51 | 2524044.8194 | 1173083.2532 | 2524035.5288 | 1173078.7315 | 2524033.7585 | 1173078.2046
52 | 2524015.5664 | 1173050.3347 | 2524025.7099 | 1173048.6829
53 | 2524015.5664 | 1173050.3347 | 2524012.471 | 1173051.5603
54 | 2524057.2642 | 1173090.7408 | 2524045.9257 | 1173083.7916 | 2524044.8194 | 1173083.2532
55 | 2524025.7099 | 1173048.6829 | 2524031.3914 | 1173041.9625 | 2524037.9869 | 1173036.9344
56 | 2524012.471 | 1173051.5603 | 2524000.5192 | 1173056.2928
57 | 2524037.9869 | 1173036.9344 | 2524041.1746 | 1173034.5043
58 | 2524000.5192 | 1173056.2928 | 2523995.6967 | 1173058.2023 | 2523991.8036 | 1173059.3842
59 | 2524061.9484 | 1173051.8032 | 2524060.2155 | 1173066.2076
60 | 2524061.9484 | 1173051.8032 | 2524064.6019 | 1173046.9446 | 2524062.5861 | 1173041.7782
61 | 2524061.9484 | 1173051.8032 | 2524070.9008 | 1173053.9355 | 2524081.6342 | 1173058.391 | 2524101.0212 | 1173070.3747 | 2524102.2142 | 1173071.4909
62 | 2524043.3295 | 1173032.8615 | 2524062.5861 | 1173041.7782
63 | 2524102.2142 | 1173071.4909 | 2524117.0165 | 1173085.3416
64 | 2524043.3295 | 1173032.8615 | 2524041.1746 | 1173034.5043
65 | 2523981.4228 | 1173062.5357 | 2523991.8036 | 1173059.3842
66 | 2524144.8782 | 1172997.5153 | 2524149.2641 | 1173022.2827
67 | 2524134.6523 | 1172947.9553 | 2524140.2492 | 1172971.3759 | 2524144.8782 | 1172997.5153
68 | 2524152.6631 | 1173041.4762 | 2524149.2641 | 1173022.2827
69 | 2524134.6523 | 1172947.9553 | 2524130.7884 | 1172951.4618 | 2524115.4535 | 1172965.3774
70 | 2524154.6068 | 1173052.4525 | 2524152.6631 | 1173041.4762
71 | 2524098.525 | 1172980.7389 | 2524115.4535 | 1172965.3774
72 | 2524154.6068 | 1173052.4525 | 2524155.3482 | 1173056.7152
73 | 2524098.525 | 1172980.7389 | 2524090.8748 | 1172987.681
74 | 2524090.8748 | 1172987.681 | 2524088.1953 | 1172990.1126 | 2524084.4555 | 1172993.6759
75 | 2524070.5721 | 1173119.7777 | 2524089.6318 | 1173138.4697 | 2524095.589 | 1173137.2046
76 | 2524178.7268 | 1173151.8863 | 2524165.9241 | 1173141.0943 | 2524153.9229 | 1173127.3084
77 | 2524143.3747 | 1173114.0779 | 2524146.2423 | 1173118.4857 | 2524153.9229 | 1173127.3084
78 | 2524139.2937 | 1173102.4644 | 2524139.7215 | 1173108.4624 | 2524143.3747 | 1173114.0779
79 | 2524139.2937 | 1173102.4644 | 2524134.015 | 1173099.9297 | 2524128.7456 | 1173096.3165 | 2524122.3702 | 1173090.3511
80 | 2524117.0165 | 1173085.3416 | 2524122.3702 | 1173090.3511
81 | 2523983.9822 | 1173076.7298 | 2523984.5653 | 1173078.4331 | 2523991.1226 | 1173088.3001 | 2524000.1189 | 1173094.4896 | 2524009.2847 | 1173095.0608
82 | 2523979.3391 | 1173063.1682 | 2523983.9822 | 1173076.7298
83 | 2523979.3391 | 1173063.1682 | 2523981.4228 | 1173062.5357
84 | 2523963.3119 | 1173077.2909 | 2523972.3752 | 1173064.0571 | 2523979.3391 | 1173063.1682
85 | 2523963.3119 | 1173077.2909 | 2523966.2257 | 1173080.9005 | 2523973.0031 | 1173110.5145
86 | 2523963.3119 | 1173077.2909 | 2523958.5835 | 1173084.0407
87 | 2523954.1278 | 1173065.9564 | 2523963.3119 | 1173077.2909
88 | 2524043.3295 | 1173032.8615 | 2524074.1804 | 1173003.4662
89 | 2524074.1804 | 1173003.4662 | 2524075.1517 | 1173002.5407
90 | 2524075.1517 | 1173002.5407 | 2524075.6997 | 1173002.0186
91 | 2524075.6997 | 1173002.0186 | 2524084.4555 | 1172993.6759
92 | 2523850.0309 | 1173089.0138 | 2523857.3187 | 1173090.144
93 | 2523874.8822 | 1173081.9828 | 2523871.7878 | 1173084.6348 | 2523866.3057 | 1173088.3733 | 2523857.3187 | 1173090.144
94 | 2523850.0309 | 1173089.0138 | 2523843.8481 | 1173092.3832
95 | 2523874.8822 | 1173081.9828 | 2523866.2925 | 1173080.7134
96 | 2523879.6941 | 1173077.8638 | 2523874.8822 | 1173081.9828
97 | 2523866.2925 | 1173080.7134 | 2523865.6108 | 1173080.6835
98 | 2523879.6941 | 1173077.8638 | 2523888.5609 | 1173084.6885 | 2523893.9252 | 1173083.7198 | 2523900.1444 | 1173083.2492
99 | 2523879.6941 | 1173077.8638 | 2523886.0039 | 1173072.4583 | 2523897.2338 | 1173067.3281
100 | 2523842.0461 | 1173054.7174 | 2523850.6486 | 1173066.0147 | 2523847.2802 | 1173069.9709 | 2523846.5511 | 1173073.3822 | 2523850.3698 | 1173077.7696 | 2523855.6938 | 1173080.2478 | 2523865.6108 | 1173080.6835
101 | 2523900.1444 | 1173083.2492 | 2523903.461 | 1173082.9983 | 2523904.0745 | 1173083.4467
102 | 2523897.2338 | 1173067.3281 | 2523909.4092 | 1173061.7659 | 2523912.2553 | 1173061.1173
103 | 2523902.493 | 1173100.8553 | 2523907.5765 | 1173098.1104 | 2523911.2654 | 1173094.0946 | 2523909.1273 | 1173087.1399 | 2523904.0745 | 1173083.4467
104 | 2523912.2553 | 1173061.1173 | 2523919.9485 | 1173059.3641
105 | 2523944.9694 | 1173114.1875 | 2523945.9986 | 1173111.1224
106 | 2523953.8822 | 1173090.752 | 2523951.8786 | 1173093.6121 | 2523945.9986 | 1173111.1224
107 | 2523953.8822 | 1173090.752 | 2523958.5835 | 1173084.0407
108 | 2523928.7035 | 1173060.5218 | 2523928.9392 | 1173060.5529
109 | 2523928.9392 | 1173060.5529 | 2523931.9151 | 1173060.9464 | 2523944.5504 | 1173064.6468
110 | 2523928.7035 | 1173060.5218 | 2523919.9485 | 1173059.3641 | 2523919.9485 | 1173059.3641
111 | 2523954.1278 | 1173065.9564 | 2523946.8693 | 1173065.3259 | 2523944.5504 | 1173064.6468
112 | 2523973.2785 | 1173111.7178 | 2523973.0031 | 1173110.5145

## bus_geodata
| x | y | coords
0 | 2524135.7287 | 1173313.8951
1 | 2524125.2928 | 1173296.5016
2 | 2524142.2324 | 1173325.6617
3 | 2524109.2784 | 1173272.2751
4 | 2524152.718 | 1173346.6198
5 | 2524079.5521 | 1173225.3925
6 | 2524070.7441 | 1173234.0313
7 | 2524075.9254 | 1173215.4384
8 | 2523839.7294 | 1173248.5688
9 | 2523877.6822 | 1173246.332
10 | 2523796.5958 | 1173239.554
11 | 2523908.9229 | 1173258.9965
12 | 2523778.7377 | 1173237.0953
13 | 2523784.0419 | 1173276.733
14 | 2523808.0112 | 1173284.0463
15 | 2523954.2941 | 1173201.8255
16 | 2523954.2329 | 1173183.0087
17 | 2523932.2471 | 1173277.3906
18 | 2523851.7042 | 1173303.3615
19 | 2523889.9935 | 1173281.6963
20 | 2523842.455 | 1173272.139
21 | 2523760.6238 | 1173273.0271
22 | 2523897.8152 | 1173125.0532
23 | 2523896.7942 | 1173103.9326
24 | 2523931.798 | 1173278.7638
25 | 2523835.0013 | 1173090.1387
26 | 2523841.8992 | 1173091.8887
27 | 2523832.536 | 1173087.6008
28 | 2524063.2434 | 1173180.4274
29 | 2524067.1171 | 1173193.6903
30 | 2524056.6072 | 1173154.9811
31 | 2524052.7636 | 1173140.2429
32 | 2524050.959 | 1173133.3233
33 | 2524047.1867 | 1173124.0919
34 | 2524056.997 | 1173106.4645
35 | 2523731.8039 | 1173268.4662
36 | 2523706.9318 | 1173221.5554
37 | 2523952.2194 | 1173172.8651
38 | 2523994.3692 | 1173183.4639
39 | 2523941.153 | 1173147.8866
40 | 2524000.7566 | 1173184.534
41 | 2523940.5371 | 1173140.5421
42 | 2523979.681 | 1173198.5762
43 | 2523940.2825 | 1173134.4498
44 | 2523724.8713 | 1173246.5639
45 | 2523708.6846 | 1173197.041
46 | 2523730.0308 | 1173220.5164
47 | 2524019.1158 | 1173066.6659
48 | 2524033.7585 | 1173078.2046
49 | 2524015.5664 | 1173050.3347
50 | 2524044.8194 | 1173083.2532
51 | 2524025.7099 | 1173048.6829
52 | 2524012.471 | 1173051.5603
53 | 2524057.2642 | 1173090.7408
54 | 2524037.9869 | 1173036.9344
55 | 2524000.5192 | 1173056.2928
56 | 2524061.9484 | 1173051.8032
57 | 2524060.2155 | 1173066.2076
58 | 2524062.5861 | 1173041.7782
59 | 2524102.2142 | 1173071.4909
60 | 2524041.1746 | 1173034.5043
61 | 2523991.8036 | 1173059.3842
62 | 2524144.8782 | 1172997.5153
63 | 2524149.2641 | 1173022.2827
64 | 2524134.6523 | 1172947.9553
65 | 2524152.6631 | 1173041.4762
66 | 2524115.4535 | 1172965.3774
67 | 2524154.6068 | 1173052.4525
68 | 2524098.525 | 1172980.739
69 | 2524155.3482 | 1173056.7152
70 | 2524090.8748 | 1172987.681
71 | 2524070.5721 | 1173119.7777
72 | 2524095.589 | 1173137.2046
73 | 2524178.7268 | 1173151.8863
74 | 2524153.9229 | 1173127.3084
75 | 2524143.3747 | 1173114.0779
76 | 2524139.2937 | 1173102.4644
77 | 2524122.3702 | 1173090.3511
78 | 2524117.0165 | 1173085.3416
79 | 2524009.2847 | 1173095.0608
80 | 2523983.9822 | 1173076.7298
81 | 2523979.3391 | 1173063.1682
82 | 2523981.4228 | 1173062.5357
83 | 2523963.3119 | 1173077.2909
84 | 2524043.3295 | 1173032.8615
85 | 2524074.1804 | 1173003.4662
86 | 2524075.1517 | 1173002.5407
87 | 2524075.6997 | 1173002.0186
88 | 2524084.4555 | 1172993.6759
89 | 2523857.3187 | 1173090.144
90 | 2523850.0309 | 1173089.0138
91 | 2523874.8822 | 1173081.9828
92 | 2523843.8481 | 1173092.3832
93 | 2523866.2925 | 1173080.7134
94 | 2523879.6941 | 1173077.8638
95 | 2523865.6108 | 1173080.6835
96 | 2523900.1444 | 1173083.2492
97 | 2523897.2338 | 1173067.3281
98 | 2523842.0461 | 1173054.7174
99 | 2523904.0745 | 1173083.4467
100 | 2523912.2553 | 1173061.1173
101 | 2523818.4053 | 1173074.6803
102 | 2523902.493 | 1173100.8553
103 | 2523944.9694 | 1173114.1875
104 | 2523945.9986 | 1173111.1224
105 | 2523953.8822 | 1173090.752
106 | 2523958.5835 | 1173084.0407
107 | 2523928.9392 | 1173060.5529
108 | 2523928.7035 | 1173060.5218
109 | 2523944.5504 | 1173064.6468
110 | 2523919.9485 | 1173059.3641
111 | 2523954.1278 | 1173065.9564
112 | 2523973.0031 | 1173110.5145
113 | 2523973.2785 | 1173111.7178
114 | 2523963.3119 | 1173077.2909

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1