## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5761-2_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5761-2_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5761-2_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5761-2_0_4_node_12 | 0.4 | n |  | TRUE
4 | bus_LV_5761-2_0_4_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_5761-2_0_4_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_5761-2_0_4_node_60 | 0.4 | n |  | TRUE
7 | bus_LV_5761-2_0_4_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_5761-2_0_4_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_5761-2_0_4_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_5761-2_0_4_node_79 | 0.4 | n |  | TRUE
11 | bus_LV_5761-2_0_4_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_5761-2_0_4_node_77 | 0.4 | n |  | TRUE
13 | bus_LV_5761-2_0_4_node_30 | 0.4 | n |  | TRUE
14 | bus_LV_5761-2_0_4_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_5761-2_0_4_node_28 | 0.4 | n |  | TRUE
16 | bus_LV_5761-2_0_4_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_5761-2_0_4_node_72 | 0.4 | n |  | TRUE
18 | bus_LV_5761-2_0_4_node_23 | 0.4 | n |  | TRUE
19 | bus_LV_5761-2_0_4_node_78 | 0.4 | n |  | TRUE
20 | bus_LV_5761-2_0_4_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_5761-2_0_4_node_38 | 0.4 | n |  | TRUE
22 | bus_LV_5761-2_0_4_node_49 | 0.4 | n |  | TRUE
23 | bus_LV_5761-2_0_4_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_5761-2_0_4_node_57 | 0.4 | n |  | TRUE
25 | bus_LV_5761-2_0_4_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_5761-2_0_4_node_76 | 0.4 | n |  | TRUE
27 | bus_LV_5761-2_0_4_node_26 | 0.4 | n |  | TRUE
28 | bus_LV_5761-2_0_4_node_35 | 0.4 | n |  | TRUE
29 | bus_LV_5761-2_0_4_node_36 | 0.4 | n |  | TRUE
30 | bus_LV_5761-2_0_4_node_37 | 0.4 | n |  | TRUE
31 | bus_LV_5761-2_0_4_node_48 | 0.4 | n |  | TRUE
32 | bus_LV_5761-2_0_4_node_14 | 0.4 | n |  | TRUE
33 | bus_LV_5761-2_0_4_node_15 | 0.4 | n |  | TRUE
34 | bus_LV_5761-2_0_4_node_34 | 0.4 | n |  | TRUE
35 | bus_LV_5761-2_0_4_node_32 | 0.4 | n |  | TRUE
36 | bus_LV_5761-2_0_4_node_16 | 0.4 | n |  | TRUE
37 | bus_LV_5761-2_0_4_node_17 | 0.4 | n |  | TRUE
38 | bus_LV_5761-2_0_4_node_18 | 0.4 | n |  | TRUE
39 | bus_LV_5761-2_0_4_node_19 | 0.4 | n |  | TRUE
40 | bus_LV_5761-2_0_4_node_22 | 0.4 | n |  | TRUE
41 | bus_LV_5761-2_0_4_node_20 | 0.4 | n |  | TRUE
42 | bus_LV_5761-2_0_4_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_5761-2_0_4_node_27 | 0.4 | n |  | TRUE
44 | bus_LV_5761-2_0_4_node_25 | 0.4 | n |  | TRUE
45 | bus_LV_5761-2_0_4_node_31 | 0.4 | n |  | TRUE
46 | bus_LV_5761-2_0_4_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_5761-2_0_4_node_69 | 0.4 | n |  | TRUE
48 | bus_LV_5761-2_0_4_node_68 | 0.4 | n |  | TRUE
49 | bus_LV_5761-2_0_4_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_5761-2_0_4_node_40 | 0.4 | n |  | TRUE
51 | bus_LV_5761-2_0_4_node_53 | 0.4 | n |  | TRUE
52 | bus_LV_5761-2_0_4_node_50 | 0.4 | n |  | TRUE
53 | bus_LV_5761-2_0_4_node_41 | 0.4 | n |  | TRUE
54 | bus_LV_5761-2_0_4_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_5761-2_0_4_node_51 | 0.4 | n |  | TRUE
56 | bus_LV_5761-2_0_4_node_61 | 0.4 | n |  | TRUE
57 | bus_LV_5761-2_0_4_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_5761-2_0_4_node_42 | 0.4 | n |  | TRUE
59 | bus_LV_5761-2_0_4_node_43 | 0.4 | n |  | TRUE
60 | bus_LV_5761-2_0_4_node_45 | 0.4 | n |  | TRUE
61 | bus_LV_5761-2_0_4_node_46 | 0.4 | n |  | TRUE
62 | bus_LV_5761-2_0_4_node_64 | 0.4 | n |  | TRUE
63 | bus_LV_5761-2_0_4_node_63 | 0.4 | n |  | TRUE
64 | bus_LV_5761-2_0_4_node_52 | 0.4 | n |  | TRUE
65 | bus_LV_5761-2_0_4_node_58 | 0.4 | n |  | TRUE
66 | bus_LV_5761-2_0_4_node_59 | 0.4 | n |  | TRUE
67 | bus_LV_5761-2_0_4_node_54 | 0.4 | n |  | TRUE
68 | bus_LV_5761-2_0_4_node_62 | 0.4 | n |  | TRUE
69 | bus_LV_5761-2_0_4_node_67 | 0.4 | n |  | TRUE
70 | bus_LV_5761-2_0_4_node_55 | 0.4 | n |  | TRUE
71 | bus_LV_5761-2_0_4_node_56 | 0.4 | n |  | TRUE
72 | bus_LV_5761-2_0_4_node_65 | 0.4 | n |  | TRUE
73 | bus_LV_5761-2_0_4_node_66 | 0.4 | n |  | TRUE
74 | bus_LV_5761-2_0_4_node_70 | 0.4 | n |  | TRUE
75 | bus_LV_5761-2_0_4_node_71 | 0.4 | n |  | TRUE
76 | bus_LV_5761-2_0_4_node_73 | 0.4 | n |  | TRUE
77 | bus_LV_5761-2_0_4_node_74 | 0.4 | n |  | TRUE
78 | bus_LV_5761-2_0_4_node_75 | 0.4 | n |  | TRUE
79 | bus_MV_339_0_node_26 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5761-2_0_4_load_0 | 0 | 0.0071005 | 0.0017796 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5761-2_0_4_load_2 | 2 | 0.00054852 | 0.00013747 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5761-2_0_4_load_12 | 3 | 0.00056351 | 0.00014123 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5761-2_0_4_load_60 | 6 | 0.00050578 | 0.00012676 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5761-2_0_4_load_79 | 10 | 0.011024 | 0.0027628 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5761-2_0_4_load_77 | 12 | 0.0080055 | 0.0020064 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5761-2_0_4_load_30 | 13 | 0.0063657 | 0.0015954 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5761-2_0_4_load_28 | 15 | 0.0030678 | 0.00076886 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5761-2_0_4_load_72 | 17 | 0.00045515 | 0.00011407 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5761-2_0_4_load_23 | 18 | 0.0010842 | 0.00027173 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5761-2_0_4_load_78 | 19 | 0.0064677 | 0.001621 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5761-2_0_4_load_38 | 21 | 0.00058324 | 0.00014617 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5761-2_0_4_load_57 | 24 | 0.00032545 | 8.1566e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5761-2_0_4_load_76 | 26 | 0.0060565 | 0.0015179 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5761-2_0_4_load_26 | 27 | 0.0044697 | 0.0011202 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5761-2_0_4_load_36 | 29 | 0.009312 | 0.0023338 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5761-2_0_4_load_37 | 30 | 0.001388 | 0.00034785 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5761-2_0_4_load_48 | 31 | 0.007991 | 0.0020027 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5761-2_0_4_load_15 | 33 | 0.0013449 | 0.00033707 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5761-2_0_4_load_34 | 34 | 0.010819 | 0.0027114 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5761-2_0_4_load_32 | 35 | 0.00067977 | 0.00017037 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5761-2_0_4_load_16 | 36 | 0.00041257 | 0.0001034 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5761-2_0_4_load_22 | 40 | 0.00078574 | 0.00019692 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5761-2_0_4_load_20 | 41 | 0.00076589 | 0.00019195 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5761-2_0_4_load_29 | 42 | 0.00036737 | 9.2071e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5761-2_0_4_load_27 | 43 | 0.0087126 | 0.0021836 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5761-2_0_4_load_25 | 44 | 0.0068673 | 0.0017211 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5761-2_0_4_load_31 | 45 | 0.0012959 | 0.00032479 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5761-2_0_4_load_33 | 46 | 0.066167 | 0.016583 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5761-2_0_4_load_69 | 47 | 0.00078646 | 0.00019711 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5761-2_0_4_load_68 | 48 | 0.00036834 | 9.2314e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5761-2_0_4_load_53 | 51 | 0.0055818 | 0.0013989 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5761-2_0_4_load_50 | 52 | 0.0042581 | 0.0010672 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5761-2_0_4_load_41 | 53 | 0.0014055 | 0.00035226 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5761-2_0_4_load_51 | 55 | 0.00060195 | 0.00015086 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5761-2_0_4_load_42 | 58 | 0.00051373 | 0.00012875 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5761-2_0_4_load_43 | 59 | 0.0012651 | 0.00031705 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5761-2_0_4_load_45 | 60 | 0.00037402 | 9.3738e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5761-2_0_4_load_46 | 61 | 0.0039935 | 0.0010009 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5761-2_0_4_load_64 | 62 | 0.0013062 | 0.00032736 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5761-2_0_4_load_63 | 63 | 0.0015564 | 0.00039007 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5761-2_0_4_load_58 | 65 | 0.0012623 | 0.00031636 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5761-2_0_4_load_59 | 66 | 0.00049723 | 0.00012462 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5761-2_0_4_load_54 | 67 | 0.00052538 | 0.00013167 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5761-2_0_4_load_62 | 68 | 0.00071548 | 0.00017932 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5761-2_0_4_load_67 | 69 | 0.001003 | 0.00025139 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5761-2_0_4_load_55 | 70 | 0.0011897 | 0.00029818 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5761-2_0_4_load_56 | 71 | 0.0011914 | 0.0002986 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5761-2_0_4_load_65 | 72 | 0.00086172 | 0.00021597 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5761-2_0_4_load_66 | 73 | 0.0013658 | 0.0003423 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5761-2_0_4_load_70 | 74 | 0.0015322 | 0.00038401 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5761-2_0_4_load_71 | 75 | 0.0025378 | 0.00063602 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5761-2_0_4_load_73 | 76 | 0.0057902 | 0.0014511 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5761-2_0_4_load_74 | 77 | 0.0099566 | 0.0024954 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5761-2_0_4_load_75 | 78 | 0.0043711 | 0.0010955 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 74 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5761-2_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.037585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5761-2_0_4_line_1 | NAYY 4x150 SE | 1 | 2 | 0.037682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5761-2_0_4_line_2 | NAYY 4x150 SE | 2 | 3 | 0.035359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5761-2_0_4_line_3 | NAYY 4x150 SE | 3 | 23 | 0.053457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5761-2_0_4_line_4 | NAYY 4x150 SE | 4 | 5 | 0.23308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_5761-2_0_4_line_5 | NAYY 4x150 SE | 4 | 6 | 0.061742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_5761-2_0_4_line_6 | NAYY 4x150 SE | 5 | 18 | 0.020641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5761-2_0_4_line_7 | NAYY 4x150 SE | 5 | 16 | 0.23571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
8 | LV_5761-2_0_4_line_8 | NAYY 4x150 SE | 6 | 24 | 0.016937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5761-2_0_4_line_9 | NAYY 4x150 SE | 7 | 8 | 0.015996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5761-2_0_4_line_10 | NAYY 4x150 SE | 7 | 9 | 0.039034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5761-2_0_4_line_11 | NAYY 4x150 SE | 7 | 10 | 0.010258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5761-2_0_4_line_12 | NAYY 4x150 SE | 8 | 11 | 0.060934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5761-2_0_4_line_13 | NAYY 4x150 SE | 8 | 12 | 0.0098769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5761-2_0_4_line_14 | NAYY 4x150 SE | 9 | 19 | 0.011542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_5761-2_0_4_line_15 | NAYY 4x150 SE | 9 | 16 | 0.039695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
16 | LV_5761-2_0_4_line_16 | NAYY 4x150 SE | 10 | 25 | 0.039594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5761-2_0_4_line_17 | NAYY 4x150 SE | 11 | 13 | 0.05631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5761-2_0_4_line_18 | NAYY 4x150 SE | 12 | 26 | 0.011505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5761-2_0_4_line_19 | NAYY 4x150 SE | 13 | 14 | 0.0028302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5761-2_0_4_line_20 | NAYY 4x150 SE | 14 | 15 | 0.012924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5761-2_0_4_line_21 | NAYY 4x150 SE | 15 | 27 | 0.013574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5761-2_0_4_line_22 | NAYY 4x150 SE | 16 | 17 | 0.033314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
23 | LV_5761-2_0_4_line_23 | NAYY 4x150 SE | 17 | 28 | 0.0018123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
24 | LV_5761-2_0_4_line_24 | NAYY 4x150 SE | 19 | 29 | 0.049471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5761-2_0_4_line_25 | NAYY 4x150 SE | 20 | 21 | 0.12578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5761-2_0_4_line_26 | NAYY 4x150 SE | 20 | 22 | 0.077211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5761-2_0_4_line_27 | NAYY 4x150 SE | 21 | 30 | 0.019379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5761-2_0_4_line_28 | NAYY 4x150 SE | 22 | 31 | 0.061228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5761-2_0_4_line_29 | NAYY 4x150 SE | 23 | 32 | 0.000676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5761-2_0_4_line_30 | NAYY 4x150 SE | 23 | 33 | 0.013085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5761-2_0_4_line_31 | NAYY 4x150 SE | 24 | 64 | 0.012905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5761-2_0_4_line_32 | NAYY 4x150 SE | 25 | 38 | 0.018771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5761-2_0_4_line_33 | NAYY 4x150 SE | 26 | 77 | 0.011162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5761-2_0_4_line_34 | NAYY 4x150 SE | 27 | 44 | 0.013087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5761-2_0_4_line_35 | NAYY 4x150 SE | 28 | 47 | 0.0097531 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
36 | LV_5761-2_0_4_line_36 | NAYY 4x150 SE | 29 | 32 | 0.0092707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5761-2_0_4_line_37 | NAYY 4x150 SE | 30 | 49 | 0.0010234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5761-2_0_4_line_38 | NAYY 4x150 SE | 32 | 34 | 0.020788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5761-2_0_4_line_39 | NAYY 4x150 SE | 34 | 35 | 0.015784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5761-2_0_4_line_40 | NAYY 4x150 SE | 35 | 45 | 0.00042191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5761-2_0_4_line_41 | NAYY 4x150 SE | 36 | 37 | 0.041965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5761-2_0_4_line_42 | NAYY 4x150 SE | 36 | 38 | 0.029539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5761-2_0_4_line_43 | NAYY 4x150 SE | 37 | 39 | 0.013104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5761-2_0_4_line_44 | NAYY 4x150 SE | 39 | 40 | 0.02382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5761-2_0_4_line_45 | NAYY 4x150 SE | 41 | 42 | 0.0014601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5761-2_0_4_line_46 | NAYY 4x150 SE | 42 | 43 | 0.015619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5761-2_0_4_line_47 | NAYY 4x150 SE | 43 | 44 | 0.0064743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5761-2_0_4_line_48 | NAYY 4x150 SE | 45 | 46 | 0.014433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5761-2_0_4_line_49 | NAYY 4x150 SE | 47 | 48 | 0.00949 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
50 | LV_5761-2_0_4_line_50 | NAYY 4x150 SE | 48 | 74 | 0.0074557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
51 | LV_5761-2_0_4_line_51 | NAYY 4x150 SE | 49 | 50 | 0.19661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5761-2_0_4_line_52 | NAYY 4x150 SE | 50 | 51 | 0.045288 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5761-2_0_4_line_53 | NAYY 4x150 SE | 50 | 52 | 0.0040998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5761-2_0_4_line_54 | NAYY 4x150 SE | 52 | 55 | 0.012728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5761-2_0_4_line_55 | NAYY 4x150 SE | 53 | 54 | 0.065403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5761-2_0_4_line_56 | NAYY 4x150 SE | 54 | 56 | 0.018901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5761-2_0_4_line_57 | NAYY 4x150 SE | 54 | 57 | 0.004938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5761-2_0_4_line_58 | NAYY 4x150 SE | 55 | 64 | 0.013005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5761-2_0_4_line_59 | NAYY 4x150 SE | 56 | 62 | 0.012552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5761-2_0_4_line_60 | NAYY 4x150 SE | 56 | 63 | 0.017703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5761-2_0_4_line_61 | NAYY 4x150 SE | 57 | 61 | 0.030543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5761-2_0_4_line_62 | NAYY 4x150 SE | 57 | 58 | 0.01704 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5761-2_0_4_line_63 | NAYY 4x150 SE | 58 | 59 | 0.028818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5761-2_0_4_line_64 | NAYY 4x150 SE | 59 | 60 | 0.0028374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5761-2_0_4_line_65 | NAYY 4x150 SE | 62 | 72 | 0.013099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5761-2_0_4_line_66 | NAYY 4x150 SE | 63 | 68 | 0.026027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_5761-2_0_4_line_67 | NAYY 4x150 SE | 64 | 65 | 0.010136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_5761-2_0_4_line_68 | NAYY 4x150 SE | 64 | 66 | 0.036055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_5761-2_0_4_line_69 | NAYY 4x150 SE | 64 | 67 | 0.029194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_5761-2_0_4_line_70 | NAYY 4x150 SE | 65 | 68 | 0.0098129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_5761-2_0_4_line_71 | NAYY 4x150 SE | 66 | 69 | 0.034752 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_5761-2_0_4_line_72 | NAYY 4x150 SE | 67 | 70 | 0.031527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_5761-2_0_4_line_73 | NAYY 4x150 SE | 70 | 71 | 0.0066791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_5761-2_0_4_line_74 | NAYY 4x150 SE | 72 | 73 | 0.0088642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_5761-2_0_4_line_75 | NAYY 4x150 SE | 74 | 75 | 0.0019914 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_5761-2_0_4_line_76 | NAYY 4x150 SE | 76 | 77 | 0.0124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_5761-2_0_4_line_77 | NAYY 4x150 SE | 76 | 78 | 0.002812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5761-2_0_4_trafo_70 | 0.25 MVA 20/0.4 kV | 79 | 74 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24
0 | 2525383.136 | 1171744.7181 | 2525416.877 | 1171731.624 | 2525418.189 | 1171731.1589
1 | 2525383.136 | 1171744.7181 | 2525358.6094 | 1171754.4402 | 2525347.9894 | 1171758.2977
2 | 2525315.308 | 1171771.3685 | 2525316.2531 | 1171770.4548 | 2525321.7932 | 1171767.5174 | 2525331.6054 | 1171764.2489 | 2525347.9894 | 1171758.2977
3 | 2525292.7327 | 1171819.1316 | 2525298.1129 | 1171810.126 | 2525300.1789 | 1171805.2641 | 2525301.4013 | 1171800.8464 | 2525307.9752 | 1171780.8195 | 2525312.4435 | 1171774.1377 | 2525315.308 | 1171771.3685
4 | 2525131.3643 | 1171556.1259 | 2525137.7817 | 1171560.326 | 2525191.766 | 1171595.6836 | 2525208.38 | 1171606.5715 | 2525240.0561 | 1171627.822 | 2525249.2177 | 1171640.4484 | 2525249.4561 | 1171641.1681 | 2525252.9083 | 1171651.7534 | 2525246.5983 | 1171643.8831 | 2525241.7388 | 1171640.6752 | 2525232.9362 | 1171637.194 | 2525221.3525 | 1171635.8377 | 2525211.1635 | 1171636.5097 | 2525202.7524 | 1171639.2718 | 2525196.7635 | 1171642.415 | 2525187.97 | 1171650.6962 | 2525187.6834 | 1171651.0222
5 | 2525131.3643 | 1171556.1259 | 2525101.6286 | 1171537.7756 | 2525088.0674 | 1171533.0757 | 2525076.4512 | 1171528.6028
6 | 2525187.6834 | 1171651.0222 | 2525190.0188 | 1171653.0387 | 2525193.6377 | 1171656.7512 | 2525199.084 | 1171662.8423 | 2525201.9391 | 1171665.9224
7 | 2525187.6834 | 1171651.0222 | 2525187.97 | 1171650.6962 | 2525194.2892 | 1171653.7858 | 2525205.6175 | 1171660.4261 | 2525212.3982 | 1171668.0125 | 2525216.5527 | 1171676.0209 | 2525213.9302 | 1171685.3257 | 2525210.3712 | 1171694.3753 | 2525196.9403 | 1171710.4967 | 2525179.3322 | 1171733.3074 | 2525176.1575 | 1171738.2054 | 2525167.196 | 1171752.0142 | 2525159.5 | 1171759.9482 | 2525155.8145 | 1171765.5975 | 2525153.2767 | 1171772.4887 | 2525153.2054 | 1171774.1239 | 2525153.0234 | 1171776.0939 | 2525153.1087 | 1171782.9191 | 2525155.7645 | 1171793.4364 | 2525158.8384 | 1171801.2915 | 2525165.1684 | 1171812.6079 | 2525170.2779 | 1171819.915 | 2525187.118 | 1171821.9949 | 2525195.8846 | 1171822.6081 | 2525197.7984 | 1171822.7176
8 | 2525060.4815 | 1171522.9681 | 2525072.8546 | 1171527.218 | 2525076.4512 | 1171528.6028
9 | 2525231.8507 | 1171870.7984 | 2525232.2054 | 1171873.4733 | 2525231.8074 | 1171880.2044 | 2525229.6433 | 1171886.3905
10 | 2525231.8507 | 1171870.7984 | 2525227.4178 | 1171868.6636 | 2525223.3453 | 1171865.9795 | 2525224.7846 | 1171856.8785 | 2525226.3401 | 1171850.3442 | 2525226.5832 | 1171843.4705 | 2525228.6186 | 1171841.6774 | 2525232.1379 | 1171840.4884
11 | 2525231.8507 | 1171870.7984 | 2525236.6546 | 1171871.4055 | 2525242.0535 | 1171871.8297
12 | 2525205.7532 | 1171939.0635 | 2525205.9667 | 1171926.7537 | 2525206.23 | 1171922.7259 | 2525206.464 | 1171919.4099 | 2525206.7503 | 1171916.6047 | 2525206.8982 | 1171914.3571 | 2525209.6556 | 1171909.1308 | 2525218.7941 | 1171898.4884 | 2525227.6795 | 1171888.4051 | 2525229.6433 | 1171886.3905
13 | 2525229.6433 | 1171886.3905 | 2525234.1973 | 1171887.2009 | 2525239.2965 | 1171888.4562
14 | 2525232.1379 | 1171840.4884 | 2525241.0974 | 1171841.8441 | 2525243.56 | 1171842.1382
15 | 2525232.1379 | 1171840.4884 | 2525221.8331 | 1171838.5936 | 2525214.6936 | 1171836.5704 | 2525209.1894 | 1171832.5701 | 2525205.4982 | 1171829.7923 | 2525197.7984 | 1171822.7176
16 | 2525281.532 | 1171869.3114 | 2525268.107 | 1171870.5461 | 2525254.6736 | 1171871.7254 | 2525243.615 | 1171871.9523 | 2525242.0535 | 1171871.8297
17 | 2525205.7532 | 1171939.0635 | 2525255.0433 | 1171911.8364
18 | 2525250.7693 | 1171888.5616 | 2525247.5808 | 1171888.7682 | 2525240.1287 | 1171888.6611 | 2525239.2965 | 1171888.4562
19 | 2525257.5207 | 1171910.4679 | 2525255.0433 | 1171911.8364
20 | 2525257.5207 | 1171910.4679 | 2525268.7876 | 1171904.1359
21 | 2525268.7876 | 1171904.1359 | 2525280.6207 | 1171897.4857
22 | 2525197.7984 | 1171822.7176 | 2525197.9749 | 1171819.0911 | 2525195.636 | 1171818.6311 | 2525200.2852 | 1171808.6784 | 2525203.797 | 1171807.5006 | 2525204.251 | 1171800.3575 | 2525205.9835 | 1171795.1875
23 | 2525206.5594 | 1171793.4691 | 2525205.9835 | 1171795.1875
24 | 2525243.56 | 1171842.1382 | 2525252.3056 | 1171843.1829 | 2525261.0436 | 1171843.3518 | 2525266.2191 | 1171842.4645 | 2525270.4575 | 1171841.2777 | 2525277.351 | 1171838.3011 | 2525283.3048 | 1171832.3568 | 2525285.3934 | 1171829.9182 | 2525287.4368 | 1171827.5358 | 2525287.4368 | 1171827.5358
25 | 2525394.1309 | 1171504.0754 | 2525364.9153 | 1171520.0594 | 2525344.135 | 1171527.2223 | 2525321.67 | 1171529.3256 | 2525304.8053 | 1171528.4018 | 2525296.8993 | 1171526.8994 | 2525289.165 | 1171524.4389 | 2525281.9111 | 1171521.2496 | 2525277.6214 | 1171518.9573 | 2525275.8576 | 1171517.8254
26 | 2525394.1309 | 1171504.0754 | 2525398.6247 | 1171498.1827 | 2525405.8508 | 1171488.7095 | 2525410.3792 | 1171476.3794 | 2525417.448 | 1171441.349 | 2525418.0858 | 1171432.358
27 | 2525260.472 | 1171506.0899 | 2525270.7733 | 1171514.5624 | 2525275.8576 | 1171517.8254
28 | 2525418.0858 | 1171432.358 | 2525394.5806 | 1171429.6045 | 2525357.2732 | 1171425.236
29 | 2525292.7327 | 1171819.1316 | 2525292.388 | 1171819.714
30 | 2525292.7327 | 1171819.1316 | 2525294.7961 | 1171820.1954 | 2525302.8488 | 1171824.2974 | 2525303.5932 | 1171822.7398
31 | 2525048.2763 | 1171518.7759 | 2525060.4815 | 1171522.9681
32 | 2525300.1275 | 1171866.7893 | 2525293.5321 | 1171867.9055 | 2525286.5429 | 1171868.7264 | 2525281.532 | 1171869.3114
33 | 2525261.8845 | 1171887.5545 | 2525253.107 | 1171888.4102 | 2525250.7693 | 1171888.5616
34 | 2525280.6207 | 1171897.4857 | 2525283.2951 | 1171895.9826 | 2525291.7372 | 1171890.5874
35 | 2525206.5594 | 1171793.4691 | 2525210.4455 | 1171784.5236
36 | 2525292.388 | 1171819.714 | 2525288.9272 | 1171825.5939 | 2525287.4368 | 1171827.5358
37 | 2525259.6816 | 1171505.4398 | 2525260.472 | 1171506.0899
38 | 2525292.388 | 1171819.714 | 2525285.3317 | 1171817.6119 | 2525272.1934 | 1171814.853
39 | 2525256.6319 | 1171812.2854 | 2525261.9639 | 1171812.8782 | 2525268.09 | 1171813.9914 | 2525272.1934 | 1171814.853
40 | 2525256.6319 | 1171812.2854 | 2525256.2125 | 1171812.2388
41 | 2525368.6185 | 1171853.5619 | 2525363.4985 | 1171850.913 | 2525360.0893 | 1171850.5107 | 2525351.7309 | 1171853.183 | 2525345.3887 | 1171855.5856 | 2525329.0486 | 1171860.9894
42 | 2525300.1275 | 1171866.7893 | 2525310.5169 | 1171865.0366 | 2525324.5679 | 1171862.4712 | 2525329.0486 | 1171860.9894
43 | 2525380.0664 | 1171847.1267 | 2525368.6185 | 1171853.5619
44 | 2525380.0664 | 1171847.1267 | 2525375.8074 | 1171839.9089 | 2525375.4901 | 1171839.0012 | 2525367.7618 | 1171841.2876 | 2525365.3771 | 1171842.0622 | 2525361.7955 | 1171843.6337
45 | 2525312.0533 | 1171882.1093 | 2525313.4079 | 1171881.5645
46 | 2525312.0533 | 1171882.1093 | 2525306.6718 | 1171884.2734 | 2525297.4249 | 1171887.5749
47 | 2525297.4249 | 1171887.5749 | 2525295.2177 | 1171888.363 | 2525291.7372 | 1171890.5874
48 | 2525246.2045 | 1171815.9727 | 2525248.8225 | 1171816.0106 | 2525249.0179 | 1171811.4388 | 2525256.2125 | 1171812.2388
49 | 2525213.6494 | 1171775.5925 | 2525210.7161 | 1171783.9006 | 2525210.4455 | 1171784.5236
50 | 2525213.6494 | 1171775.5925 | 2525213.6494 | 1171775.5925 | 2525219.6684 | 1171771.1927
51 | 2525259.6816 | 1171505.4398 | 2525251.6485 | 1171505.4066 | 2525233.3632 | 1171493.0275 | 2525223.9536 | 1171489.3538 | 2525213.9472 | 1171486.288 | 2525200.9654 | 1171484.4934 | 2525187.5572 | 1171484.0827 | 2525174.4911 | 1171484.1124 | 2525160.9976 | 1171486.0598 | 2525143.7822 | 1171490.7552 | 2525126.3342 | 1171494.5864 | 2525107.2559 | 1171496.5148 | 2525089.6733 | 1171496.3121 | 2525079.0748 | 1171500.3469 | 2525070.5178 | 1171504.3006
52 | 2525070.5178 | 1171504.3006 | 2525075.9018 | 1171508.4468 | 2525112.131 | 1171521.7685
53 | 2525070.5178 | 1171504.3006 | 2525066.4193 | 1171504.4022
54 | 2525066.4193 | 1171504.4022 | 2525058.7632 | 1171504.5921 | 2525055.2943 | 1171508.2884
55 | 2524995.0399 | 1171457.1171 | 2524995.4001 | 1171452.8879 | 2524998.5702 | 1171448.2345 | 2525004.6938 | 1171444.8448 | 2525011.3781 | 1171444.0718 | 2525019.0803 | 1171445.7765 | 2525045.3592 | 1171459.8782 | 2525049.1657 | 1171461.3678
56 | 2525004.328 | 1171473.0657 | 2524995.868 | 1171462.1541 | 2524995.0399 | 1171457.1171
57 | 2524995.0399 | 1171457.1171 | 2524990.973 | 1171454.2997
58 | 2525048.2763 | 1171518.7759 | 2525049.198 | 1171514.7843 | 2525055.2943 | 1171508.2884
59 | 2525004.328 | 1171473.0657 | 2524994.2174 | 1171480.5035
60 | 2525004.328 | 1171473.0657 | 2525015.7053 | 1171486.628
61 | 2524990.973 | 1171454.2997 | 2524985.2908 | 1171447.7337 | 2524973.9388 | 1171429.0531
62 | 2524990.973 | 1171454.2997 | 2524986.8211 | 1171456.3084 | 2524977.2661 | 1171464.2551
63 | 2524977.2661 | 1171464.2551 | 2524968.6347 | 1171471.4336 | 2524953.3956 | 1171480.2214
64 | 2524950.9376 | 1171481.6388 | 2524953.3956 | 1171480.2214
65 | 2524994.2174 | 1171480.5035 | 2524986.3246 | 1171486.3097 | 2524983.6655 | 1171488.2644
66 | 2525032.7904 | 1171506.2582 | 2525026.5969 | 1171499.2912 | 2525021.9103 | 1171494.0246 | 2525015.7053 | 1171486.628
67 | 2525048.2763 | 1171518.7759 | 2525040.2526 | 1171512.5821
68 | 2525048.2763 | 1171518.7759 | 2525052.2222 | 1171532.7124 | 2525063.224 | 1171546.2494 | 2525066.8455 | 1171548.228
69 | 2525048.2763 | 1171518.7759 | 2525046.4317 | 1171533.3741 | 2525042.4816 | 1171542.3398 | 2525042.5402 | 1171547.0214
70 | 2525032.7904 | 1171506.2582 | 2525034.3873 | 1171508.0544 | 2525040.2526 | 1171512.5821
71 | 2525066.8455 | 1171548.228 | 2525077.189 | 1171553.8792 | 2525097.34 | 1171564.8953
72 | 2525042.5402 | 1171547.0214 | 2525042.5761 | 1171549.8874 | 2525047.3057 | 1171559.8229 | 2525055.2479 | 1171567.2724 | 2525061.7441 | 1171569.172
73 | 2525068.1548 | 1171571.0465 | 2525061.7441 | 1171569.172
74 | 2524976.5232 | 1171493.5143 | 2524983.6655 | 1171488.2644
75 | 2525219.72 | 1171769.202 | 2525219.6684 | 1171771.1927
76 | 2525274.1919 | 1171886.1239 | 2525272.0704 | 1171886.5616 | 2525261.8845 | 1171887.5545
77 | 2525276.9459 | 1171885.5558 | 2525274.1919 | 1171886.1239

## bus_geodata
| x | y | coords
0 | 2525418.189 | 1171731.1589
1 | 2525383.136 | 1171744.7181
2 | 2525347.9894 | 1171758.2977
3 | 2525315.308 | 1171771.3685
4 | 2525131.3643 | 1171556.1259
5 | 2525187.6834 | 1171651.0222
6 | 2525076.4512 | 1171528.6028
7 | 2525231.8507 | 1171870.7984
8 | 2525229.6433 | 1171886.3905
9 | 2525232.1379 | 1171840.4884
10 | 2525242.0535 | 1171871.8297
11 | 2525205.7532 | 1171939.0635
12 | 2525239.2965 | 1171888.4562
13 | 2525255.0433 | 1171911.8364
14 | 2525257.5207 | 1171910.4679
15 | 2525268.7876 | 1171904.1359
16 | 2525197.7984 | 1171822.7176
17 | 2525205.9835 | 1171795.1875
18 | 2525201.9391 | 1171665.9224
19 | 2525243.56 | 1171842.1382
20 | 2525394.1309 | 1171504.0754
21 | 2525275.8576 | 1171517.8254
22 | 2525418.0858 | 1171432.358
23 | 2525292.7327 | 1171819.1316
24 | 2525060.4815 | 1171522.9681
25 | 2525281.532 | 1171869.3114
26 | 2525250.7693 | 1171888.5616
27 | 2525280.6207 | 1171897.4857
28 | 2525206.5594 | 1171793.4691
29 | 2525287.4368 | 1171827.5358
30 | 2525260.472 | 1171506.0899
31 | 2525357.2732 | 1171425.236
32 | 2525292.388 | 1171819.714
33 | 2525303.5932 | 1171822.7398
34 | 2525272.1934 | 1171814.853
35 | 2525256.6319 | 1171812.2854
36 | 2525329.0486 | 1171860.9894
37 | 2525368.6185 | 1171853.5619
38 | 2525300.1275 | 1171866.7893
39 | 2525380.0664 | 1171847.1267
40 | 2525361.7955 | 1171843.6337
41 | 2525313.4079 | 1171881.5645
42 | 2525312.0533 | 1171882.1093
43 | 2525297.4249 | 1171887.5749
44 | 2525291.7372 | 1171890.5874
45 | 2525256.2125 | 1171812.2388
46 | 2525246.2045 | 1171815.9727
47 | 2525210.4455 | 1171784.5236
48 | 2525213.6494 | 1171775.5925
49 | 2525259.6816 | 1171505.4398
50 | 2525070.5178 | 1171504.3006
51 | 2525112.131 | 1171521.7685
52 | 2525066.4193 | 1171504.4022
53 | 2525049.1657 | 1171461.3678
54 | 2524995.0399 | 1171457.1171
55 | 2525055.2943 | 1171508.2884
56 | 2525004.328 | 1171473.0657
57 | 2524990.973 | 1171454.2997
58 | 2524977.2661 | 1171464.2551
59 | 2524953.3956 | 1171480.2214
60 | 2524950.9376 | 1171481.6388
61 | 2524973.9388 | 1171429.0531
62 | 2524994.2174 | 1171480.5035
63 | 2525015.7053 | 1171486.628
64 | 2525048.2763 | 1171518.7759
65 | 2525040.2526 | 1171512.5821
66 | 2525066.8455 | 1171548.228
67 | 2525042.5402 | 1171547.0214
68 | 2525032.7904 | 1171506.2582
69 | 2525097.34 | 1171564.8953
70 | 2525061.7441 | 1171569.172
71 | 2525068.1548 | 1171571.0465
72 | 2524983.6655 | 1171488.2644
73 | 2524976.5232 | 1171493.5143
74 | 2525219.6684 | 1171771.1927
75 | 2525219.72 | 1171769.202
76 | 2525274.1919 | 1171886.1239
77 | 2525261.8845 | 1171887.5545
78 | 2525276.9459 | 1171885.5558
79 | 2525219.72 | 1171769.202

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1