## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5761-3_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5761-3_0_2_node_71 | 0.4 | n |  | TRUE
2 | bus_LV_5761-3_0_2_node_43 | 0.4 | n |  | TRUE
3 | bus_LV_5761-3_0_2_node_37 | 0.4 | n |  | TRUE
4 | bus_LV_5761-3_0_2_node_90 | 0.4 | n |  | TRUE
5 | bus_LV_5761-3_0_2_node_78 | 0.4 | n |  | TRUE
6 | bus_LV_5761-3_0_2_node_74 | 0.4 | n |  | TRUE
7 | bus_LV_5761-3_0_2_node_52 | 0.4 | n |  | TRUE
8 | bus_LV_5761-3_0_2_node_1 | 0.4 | n |  | TRUE
9 | bus_LV_5761-3_0_2_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_5761-3_0_2_node_33 | 0.4 | n |  | TRUE
11 | bus_LV_5761-3_0_2_node_20 | 0.4 | n |  | TRUE
12 | bus_LV_5761-3_0_2_node_69 | 0.4 | n |  | TRUE
13 | bus_LV_5761-3_0_2_node_2 | 0.4 | n |  | TRUE
14 | bus_LV_5761-3_0_2_node_26 | 0.4 | n |  | TRUE
15 | bus_LV_5761-3_0_2_node_96 | 0.4 | n |  | TRUE
16 | bus_LV_5761-3_0_2_node_3 | 0.4 | n |  | TRUE
17 | bus_LV_5761-3_0_2_node_93 | 0.4 | n |  | TRUE
18 | bus_LV_5761-3_0_2_node_7 | 0.4 | n |  | TRUE
19 | bus_LV_5761-3_0_2_node_40 | 0.4 | n |  | TRUE
20 | bus_LV_5761-3_0_2_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_5761-3_0_2_node_5 | 0.4 | n |  | TRUE
22 | bus_LV_5761-3_0_2_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_5761-3_0_2_node_87 | 0.4 | n |  | TRUE
24 | bus_LV_5761-3_0_2_node_81 | 0.4 | n |  | TRUE
25 | bus_LV_5761-3_0_2_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_5761-3_0_2_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_5761-3_0_2_node_97 | 0.4 | n |  | TRUE
28 | bus_LV_5761-3_0_2_node_49 | 0.4 | n |  | TRUE
29 | bus_LV_5761-3_0_2_node_34 | 0.4 | n |  | TRUE
30 | bus_LV_5761-3_0_2_node_8 | 0.4 | n |  | TRUE
31 | bus_LV_5761-3_0_2_node_41 | 0.4 | n |  | TRUE
32 | bus_LV_5761-3_0_2_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_5761-3_0_2_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_5761-3_0_2_node_13 | 0.4 | n |  | TRUE
35 | bus_LV_5761-3_0_2_node_59 | 0.4 | n |  | TRUE
36 | bus_LV_5761-3_0_2_node_72 | 0.4 | n |  | TRUE
37 | bus_LV_5761-3_0_2_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_5761-3_0_2_node_91 | 0.4 | n |  | TRUE
39 | bus_LV_5761-3_0_2_node_44 | 0.4 | n |  | TRUE
40 | bus_LV_5761-3_0_2_node_17 | 0.4 | n |  | TRUE
41 | bus_LV_5761-3_0_2_node_53 | 0.4 | n |  | TRUE
42 | bus_LV_5761-3_0_2_node_76 | 0.4 | n |  | TRUE
43 | bus_LV_5761-3_0_2_node_55 | 0.4 | n |  | TRUE
44 | bus_LV_5761-3_0_2_node_22 | 0.4 | n |  | TRUE
45 | bus_LV_5761-3_0_2_node_83 | 0.4 | n |  | TRUE
46 | bus_LV_5761-3_0_2_node_31 | 0.4 | n |  | TRUE
47 | bus_LV_5761-3_0_2_node_48 | 0.4 | n |  | TRUE
48 | bus_LV_5761-3_0_2_node_73 | 0.4 | n |  | TRUE
49 | bus_LV_5761-3_0_2_node_25 | 0.4 | n |  | TRUE
50 | bus_LV_5761-3_0_2_node_60 | 0.4 | n |  | TRUE
51 | bus_LV_5761-3_0_2_node_61 | 0.4 | n |  | TRUE
52 | bus_LV_5761-3_0_2_node_68 | 0.4 | n |  | TRUE
53 | bus_LV_5761-3_0_2_node_27 | 0.4 | n |  | TRUE
54 | bus_LV_5761-3_0_2_node_38 | 0.4 | n |  | TRUE
55 | bus_LV_5761-3_0_2_node_35 | 0.4 | n |  | TRUE
56 | bus_LV_5761-3_0_2_node_36 | 0.4 | n |  | TRUE
57 | bus_LV_5761-3_0_2_node_39 | 0.4 | n |  | TRUE
58 | bus_LV_5761-3_0_2_node_45 | 0.4 | n |  | TRUE
59 | bus_LV_5761-3_0_2_node_77 | 0.4 | n |  | TRUE
60 | bus_LV_5761-3_0_2_node_67 | 0.4 | n |  | TRUE
61 | bus_LV_5761-3_0_2_node_62 | 0.4 | n |  | TRUE
62 | bus_LV_5761-3_0_2_node_82 | 0.4 | n |  | TRUE
63 | bus_LV_5761-3_0_2_node_84 | 0.4 | n |  | TRUE
64 | bus_MV_339_0_node_96 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5761-3_0_2_load_0 | 0 | 0.0019382 | 0.00048577 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5761-3_0_2_load_71 | 1 | 0.0020752 | 0.0005201 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5761-3_0_2_load_43 | 2 | 0.0037619 | 0.00094281 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5761-3_0_2_load_37 | 3 | 0.001522 | 0.00038146 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5761-3_0_2_load_90 | 4 | 0.0018805 | 0.00047131 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5761-3_0_2_load_78 | 5 | 0.0042014 | 0.001053 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5761-3_0_2_load_52 | 7 | 0.0012934 | 0.00032416 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5761-3_0_2_load_1 | 8 | 0.00029642 | 7.4289e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5761-3_0_2_load_11 | 9 | 0.00037983 | 9.5194e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5761-3_0_2_load_33 | 10 | 0.01102 | 0.0027619 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5761-3_0_2_load_20 | 11 | 0.0047699 | 0.0011954 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5761-3_0_2_load_69 | 12 | 0.00040408 | 0.00010127 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5761-3_0_2_load_2 | 13 | 0.015756 | 0.0039489 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5761-3_0_2_load_26 | 14 | 0.0014352 | 0.00035971 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5761-3_0_2_load_96 | 15 | 0.00034935 | 8.7554e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5761-3_0_2_load_3 | 16 | 0.00067405 | 0.00016893 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5761-3_0_2_load_93 | 17 | 0.00077026 | 0.00019305 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5761-3_0_2_load_40 | 19 | 0.0030851 | 0.0007732 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5761-3_0_2_load_5 | 21 | 0.0015341 | 0.00038448 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5761-3_0_2_load_14 | 22 | 0.00095336 | 0.00023894 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5761-3_0_2_load_87 | 23 | 0.0018442 | 0.00046221 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5761-3_0_2_load_21 | 26 | 0.00029474 | 7.387e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5761-3_0_2_load_49 | 28 | 0.0084275 | 0.0021121 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5761-3_0_2_load_8 | 30 | 0.00077868 | 0.00019516 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5761-3_0_2_load_30 | 32 | 0.0079292 | 0.0019873 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5761-3_0_2_load_29 | 33 | 0.0022727 | 0.00056959 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5761-3_0_2_load_13 | 34 | 0.0056817 | 0.001424 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5761-3_0_2_load_59 | 35 | 0.0052578 | 0.0013177 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5761-3_0_2_load_72 | 36 | 0.0036601 | 0.00091732 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5761-3_0_2_load_44 | 39 | 0.0018113 | 0.00045396 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5761-3_0_2_load_17 | 40 | 0.0011786 | 0.00029539 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5761-3_0_2_load_76 | 42 | 0.0016403 | 0.00041111 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5761-3_0_2_load_22 | 44 | 0.0020631 | 0.00051707 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5761-3_0_2_load_83 | 45 | 0.0021015 | 0.0005267 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5761-3_0_2_load_48 | 47 | 0.0029741 | 0.00074539 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5761-3_0_2_load_25 | 49 | 0.0010867 | 0.00027236 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5761-3_0_2_load_38 | 54 | 0.00088748 | 0.00022242 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5761-3_0_2_load_35 | 55 | 0.0063684 | 0.0015961 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5761-3_0_2_load_39 | 57 | 0.0041211 | 0.0010329 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5761-3_0_2_load_45 | 58 | 0.0027949 | 0.00070046 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5761-3_0_2_load_77 | 59 | 0.0089883 | 0.0022527 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5761-3_0_2_load_67 | 60 | 0.00076574 | 0.00019191 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5761-3_0_2_load_62 | 61 | 0.0031809 | 0.0007972 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5761-3_0_2_load_82 | 62 | 0.002156 | 0.00054033 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5761-3_0_2_load_84 | 63 | 0.0025011 | 0.00062683 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 60 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5761-3_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0095765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5761-3_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0071324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5761-3_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.022879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5761-3_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0055451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5761-3_0_2_line_4 | NAYY 4x150 SE | 3 | 30 | 0.067909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5761-3_0_2_line_5 | NAYY 4x150 SE | 4 | 59 | 0.013845 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5761-3_0_2_line_6 | NAYY 4x150 SE | 5 | 6 | 0.021748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_5761-3_0_2_line_7 | NAYY 4x150 SE | 5 | 7 | 0.099471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_5761-3_0_2_line_8 | NAYY 4x150 SE | 6 | 39 | 0.0071609 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_5761-3_0_2_line_9 | NAYY 4x150 SE | 6 | 25 | 0.022976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5761-3_0_2_line_10 | NAYY 4x150 SE | 7 | 31 | 0.11342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5761-3_0_2_line_11 | NAYY 4x150 SE | 8 | 9 | 0.0060755 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5761-3_0_2_line_12 | NAYY 4x150 SE | 8 | 10 | 0.00083325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5761-3_0_2_line_13 | NAYY 4x150 SE | 9 | 11 | 0.00066203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5761-3_0_2_line_14 | NAYY 4x150 SE | 10 | 12 | 0.005075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5761-3_0_2_line_15 | NAYY 4x150 SE | 11 | 13 | 0.040169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5761-3_0_2_line_16 | NAYY 4x150 SE | 12 | 32 | 0.0028386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5761-3_0_2_line_17 | NAYY 4x150 SE | 13 | 14 | 0.0079695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5761-3_0_2_line_18 | NAYY 4x150 SE | 14 | 15 | 0.0045043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5761-3_0_2_line_19 | NAYY 4x150 SE | 15 | 34 | 0.0061044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5761-3_0_2_line_20 | NAYY 4x150 SE | 16 | 17 | 0.024039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5761-3_0_2_line_21 | NAYY 4x150 SE | 17 | 18 | 0.029036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5761-3_0_2_line_22 | NAYY 4x150 SE | 18 | 26 | 0.02297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5761-3_0_2_line_23 | NAYY 4x150 SE | 19 | 20 | 0.11164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5761-3_0_2_line_24 | NAYY 4x150 SE | 20 | 28 | 0.072338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5761-3_0_2_line_25 | NAYY 4x150 SE | 20 | 29 | 0.28647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5761-3_0_2_line_26 | NAYY 4x150 SE | 20 | 27 | 0.18079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5761-3_0_2_line_27 | NAYY 4x150 SE | 21 | 22 | 0.028337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5761-3_0_2_line_28 | NAYY 4x150 SE | 21 | 23 | 0.034544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5761-3_0_2_line_29 | NAYY 4x150 SE | 22 | 24 | 0.015474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5761-3_0_2_line_30 | NAYY 4x150 SE | 23 | 25 | 0.084525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5761-3_0_2_line_31 | NAYY 4x150 SE | 24 | 33 | 0.043738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5761-3_0_2_line_32 | NAYY 4x150 SE | 24 | 36 | 0.032872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5761-3_0_2_line_33 | NAYY 4x150 SE | 25 | 37 | 0.02815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5761-3_0_2_line_34 | NAYY 4x150 SE | 26 | 27 | 0.081737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5761-3_0_2_line_35 | NAYY 4x150 SE | 29 | 33 | 0.023389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5761-3_0_2_line_36 | NAYY 4x150 SE | 30 | 31 | 0.024617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5761-3_0_2_line_37 | NAYY 4x150 SE | 31 | 32 | 0.058661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5761-3_0_2_line_38 | NAYY 4x150 SE | 34 | 35 | 0.038407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5761-3_0_2_line_39 | NAYY 4x150 SE | 36 | 61 | 0.022694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5761-3_0_2_line_40 | NAYY 4x150 SE | 37 | 38 | 0.04981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5761-3_0_2_line_41 | NAYY 4x150 SE | 38 | 46 | 0.018403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5761-3_0_2_line_42 | NAYY 4x150 SE | 38 | 45 | 0.0086087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5761-3_0_2_line_43 | NAYY 4x150 SE | 39 | 60 | 0.0071565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
44 | LV_5761-3_0_2_line_44 | NAYY 4x150 SE | 40 | 41 | 0.015105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5761-3_0_2_line_45 | NAYY 4x150 SE | 41 | 42 | 0.012627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5761-3_0_2_line_46 | NAYY 4x150 SE | 41 | 43 | 0.042797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5761-3_0_2_line_47 | NAYY 4x150 SE | 43 | 62 | 0.006316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5761-3_0_2_line_48 | NAYY 4x150 SE | 43 | 52 | 0.024181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5761-3_0_2_line_49 | NAYY 4x150 SE | 44 | 45 | 0.027377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5761-3_0_2_line_50 | NAYY 4x150 SE | 46 | 54 | 0.013016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5761-3_0_2_line_51 | NAYY 4x150 SE | 47 | 48 | 0.078266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5761-3_0_2_line_52 | NAYY 4x150 SE | 48 | 61 | 0.061999 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5761-3_0_2_line_53 | NAYY 4x150 SE | 49 | 50 | 0.010925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5761-3_0_2_line_54 | NAYY 4x150 SE | 50 | 51 | 0.016795 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5761-3_0_2_line_55 | NAYY 4x150 SE | 50 | 52 | 0.029849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5761-3_0_2_line_56 | NAYY 4x150 SE | 51 | 58 | 0.011796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5761-3_0_2_line_57 | NAYY 4x150 SE | 51 | 56 | 0.019137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5761-3_0_2_line_58 | NAYY 4x150 SE | 52 | 63 | 0.008259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5761-3_0_2_line_59 | NAYY 4x150 SE | 53 | 54 | 0.17051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5761-3_0_2_line_60 | NAYY 4x150 SE | 53 | 55 | 0.010076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5761-3_0_2_line_61 | NAYY 4x150 SE | 53 | 56 | 0.05278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5761-3_0_2_line_62 | NAYY 4x150 SE | 56 | 57 | 0.01019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5761-3_0_2_trafo_67 | 0.25 MVA 20/0.4 kV | 64 | 60 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16
0 | 2526253.7806 | 1171984.3488 | 2526252.9956 | 1171991.4181 | 2526252.7274 | 1171993.8673 | 2526252.7274 | 1171993.8673
1 | 2526259.4 | 1171979.9565 | 2526253.7806 | 1171984.3488 | 2526253.7806 | 1171984.3488
2 | 2526230.6483 | 1171999.8647 | 2526230.6483 | 1171999.8647 | 2526252.7274 | 1171993.8673
3 | 2526259.4 | 1171979.9565 | 2526263.7689 | 1171976.5416
4 | 2526229.0947 | 1172056.9501 | 2526229.689 | 1172038.7433 | 2526231.8721 | 1172032.7797 | 2526228.8503 | 1172020.9545 | 2526225.058 | 1172012.4074 | 2526234.6823 | 1172011.266 | 2526230.6483 | 1171999.8647
5 | 2526274.6769 | 1171968.0157 | 2526263.7689 | 1171976.5416
6 | 2526083.5098 | 1171917.9522 | 2526067.8102 | 1171902.8593
7 | 2526083.5098 | 1171917.9522 | 2526128.9608 | 1172006.4319
8 | 2526067.8102 | 1171902.8593 | 2526064.6104 | 1171909.2655
9 | 2526059.4116 | 1171886.1755 | 2526071.1995 | 1171896.0803 | 2526067.8102 | 1171902.8593
10 | 2526214.7666 | 1172076.7601 | 2526204.5128 | 1172060.3213 | 2526195.9687 | 1172049.787 | 2526169.9817 | 1172038.4561 | 2526146.1776 | 1172021.773 | 2526128.9608 | 1172006.4319
11 | 2526207.8361 | 1172149.4271 | 2526209.3754 | 1172143.5498
12 | 2526209.3754 | 1172143.5498 | 2526209.5865 | 1172142.7438
13 | 2526207.6684 | 1172150.0676 | 2526207.8361 | 1172149.4271
14 | 2526209.5865 | 1172142.7438 | 2526210.8723 | 1172137.8343
15 | 2526207.6684 | 1172150.0676 | 2526207.6684 | 1172150.0676 | 2526201.7032 | 1172165.0719 | 2526198.3693 | 1172177.5868 | 2526196.2467 | 1172188.4526 | 2526196.2467 | 1172188.4526
16 | 2526211.5915 | 1172135.0884 | 2526210.8723 | 1172137.8343
17 | 2526192.7253 | 1172195.6019 | 2526196.2467 | 1172188.4526
18 | 2526192.7253 | 1172195.6019 | 2526190.7351 | 1172199.6426
19 | 2526188.0379 | 1172205.1188 | 2526190.7351 | 1172199.6426
20 | 2525571.5679 | 1171473.0748 | 2525570.2804 | 1171473.1012 | 2525557.6991 | 1171473.3575 | 2525547.6801 | 1171475.0848
21 | 2525600.5979 | 1171472.48 | 2525571.5679 | 1171473.0748
22 | 2525600.5979 | 1171472.48 | 2525607.1522 | 1171476.023 | 2525613.934 | 1171485.5665 | 2525616.7379 | 1171488.1486
23 | 2525674.3642 | 1171689.2014 | 2525669.4396 | 1171687.5059 | 2525657.8709 | 1171684.87 | 2525650.0184 | 1171683.9558 | 2525641.5307 | 1171684.2501 | 2525622.7812 | 1171687.3623 | 2525604.9378 | 1171692.5979 | 2525568.3872 | 1171701.8792 | 2525565.5682 | 1171702.3281
24 | 2525674.3642 | 1171689.2014 | 2525670.4656 | 1171702.3795 | 2525671.0506 | 1171708.8316 | 2525665.5969 | 1171717.5153 | 2525662.9573 | 1171719.338 | 2525645.8865 | 1171728.2549 | 2525632.437 | 1171742.341
25 | 2525923.2968 | 1171716.2468 | 2525925.7366 | 1171710.0241 | 2525926.4855 | 1171708.1027 | 2525929.0588 | 1171701.5337 | 2525932.0476 | 1171693.9257 | 2525928.152 | 1171693.1623 | 2525918.3599 | 1171690.0482 | 2525905.0385 | 1171688.5675 | 2525876.4492 | 1171686.5754 | 2525839.1618 | 1171680.244 | 2525761.7442 | 1171671.5417 | 2525748.0206 | 1171671.5673 | 2525736.837 | 1171673.4624 | 2525706.0948 | 1171685.4058 | 2525690.5636 | 1171689.5674 | 2525680.8044 | 1171690.3555 | 2525674.3642 | 1171689.2014
26 | 2525674.3642 | 1171689.2014 | 2525693.899 | 1171509.4664
27 | 2525984.8771 | 1171793.6881 | 2525977.2659 | 1171785.5534 | 2525963.684 | 1171775.0053
28 | 2525984.8771 | 1171793.6881 | 2525991.3437 | 1171800.5994 | 2526005.1615 | 1171821.5285
29 | 2525951.4604 | 1171765.5161 | 2525956.6509 | 1171769.5432 | 2525963.684 | 1171775.0053
30 | 2526059.4116 | 1171886.1755 | 2526027.3198 | 1171851.3513 | 2526009.5308 | 1171828.1464 | 2526005.1615 | 1171821.5285
31 | 2525951.4604 | 1171765.5161 | 2525922.4956 | 1171747.9639 | 2525918.4969 | 1171738.8636
32 | 2525951.4604 | 1171765.5161 | 2525942.6526 | 1171773.3183 | 2525923.8806 | 1171782.9635
33 | 2526059.4116 | 1171886.1755 | 2526037.0162 | 1171869.0419
34 | 2525693.899 | 1171509.4664 | 2525669.4855 | 1171503.7547 | 2525641.7641 | 1171499.6516 | 2525626.0372 | 1171496.7117 | 2525616.7379 | 1171488.1486
35 | 2525923.2968 | 1171716.2468 | 2525920.5348 | 1171721.7841 | 2525918.4969 | 1171738.8636
36 | 2526214.7666 | 1172076.7601 | 2526221.7997 | 1172064.6109 | 2526229.0947 | 1172056.9501
37 | 2526214.7666 | 1172076.7601 | 2526216.2121 | 1172094.1301 | 2526213.5757 | 1172112.9734 | 2526211.5915 | 1172135.0884 | 2526211.5915 | 1172135.0884
38 | 2526171.6356 | 1172239.6852 | 2526180.7909 | 1172216.6592 | 2526188.0379 | 1172205.1188
39 | 2525903.8802 | 1171793.6658 | 2525905.6887 | 1171792.4751 | 2525922.6987 | 1171783.5708 | 2525923.8806 | 1171782.9635
40 | 2525989.0133 | 1171863.3644 | 2526019.9531 | 1171871.7874 | 2526029.1659 | 1171872.6186 | 2526037.0162 | 1171869.0419
41 | 2525989.0133 | 1171863.3644 | 2525971.2064 | 1171858.526
42 | 2525989.0133 | 1171863.3644 | 2525994.6334 | 1171869.8856
43 | 2526061.4126 | 1171915.6678 | 2526064.6104 | 1171909.2655
44 | 2525609.0284 | 1171801.4767 | 2525593.9238 | 1171801.4052
45 | 2525609.0284 | 1171801.4767 | 2525607.8003 | 1171812.2315 | 2525607.4213 | 1171813.9932
46 | 2525651.9444 | 1171802.1669 | 2525609.0284 | 1171801.4767
47 | 2525650.5291 | 1171808.3214 | 2525651.9444 | 1171802.1669
48 | 2525676.1494 | 1171803.5009 | 2525672.9886 | 1171803.3844 | 2525658.1955 | 1171802.2672 | 2525651.9444 | 1171802.1669
49 | 2526012.5055 | 1171890.6235 | 2525994.6334 | 1171869.8856
50 | 2525971.2064 | 1171858.526 | 2525958.9784 | 1171854.0665
51 | 2525843.77 | 1171802.8467 | 2525893.9169 | 1171817.3127 | 2525918.5852 | 1171825.7599
52 | 2525843.77 | 1171802.8467 | 2525880.4345 | 1171800.3252 | 2525894.8303 | 1171799.6245 | 2525903.8802 | 1171793.6658
53 | 2525705.847 | 1171815.3284 | 2525706.0711 | 1171804.4082
54 | 2525722.9144 | 1171804.2883 | 2525706.0711 | 1171804.4082
55 | 2525706.0711 | 1171804.4082 | 2525676.1494 | 1171803.5009
56 | 2525721.1542 | 1171815.9502 | 2525722.9144 | 1171804.2883
57 | 2525742.0422 | 1171805.8078 | 2525726.4195 | 1171804.4116 | 2525722.9144 | 1171804.2883
58 | 2525674.2602 | 1171811.54 | 2525676.1494 | 1171803.5009
59 | 2525794.6999 | 1171811.1143 | 2525822.3043 | 1171813.9298 | 2525829.6267 | 1171814.673 | 2525839.8427 | 1171816.8256 | 2525863.7954 | 1171821.8878 | 2525896.4571 | 1171832.8125 | 2525948.7682 | 1171850.3428 | 2525958.9784 | 1171854.0665
60 | 2525794.6999 | 1171811.1143 | 2525791.7363 | 1171820.7455
61 | 2525794.6999 | 1171811.1143 | 2525777.4154 | 1171808.9604 | 2525742.0422 | 1171805.8078
62 | 2525741.5947 | 1171815.9859 | 2525742.0422 | 1171805.8078

## bus_geodata
| x | y | coords
0 | 2526253.7806 | 1171984.3488
1 | 2526252.7274 | 1171993.8673
2 | 2526259.4 | 1171979.9565
3 | 2526230.6483 | 1171999.8647
4 | 2526263.7689 | 1171976.5416
5 | 2526083.5098 | 1171917.9522
6 | 2526067.8102 | 1171902.8593
7 | 2526128.9608 | 1172006.4319
8 | 2526209.3754 | 1172143.5498
9 | 2526207.8361 | 1172149.4271
10 | 2526209.5865 | 1172142.7438
11 | 2526207.6684 | 1172150.0676
12 | 2526210.8723 | 1172137.8343
13 | 2526196.2467 | 1172188.4526
14 | 2526192.7253 | 1172195.6019
15 | 2526190.7351 | 1172199.6426
16 | 2525547.6801 | 1171475.0848
17 | 2525571.5679 | 1171473.0748
18 | 2525600.5979 | 1171472.48
19 | 2525565.5682 | 1171702.3281
20 | 2525674.3642 | 1171689.2014
21 | 2525984.8771 | 1171793.6881
22 | 2525963.684 | 1171775.0053
23 | 2526005.1615 | 1171821.5285
24 | 2525951.4604 | 1171765.5161
25 | 2526059.4116 | 1171886.1755
26 | 2525616.7379 | 1171488.1486
27 | 2525693.899 | 1171509.4664
28 | 2525632.437 | 1171742.341
29 | 2525923.2968 | 1171716.2468
30 | 2526229.0947 | 1172056.9501
31 | 2526214.7666 | 1172076.7601
32 | 2526211.5915 | 1172135.0884
33 | 2525918.4969 | 1171738.8636
34 | 2526188.0379 | 1172205.1188
35 | 2526171.6356 | 1172239.6852
36 | 2525923.8806 | 1171782.9635
37 | 2526037.0161 | 1171869.0419
38 | 2525989.0133 | 1171863.3644
39 | 2526064.6104 | 1171909.2655
40 | 2525593.9238 | 1171801.4052
41 | 2525609.0284 | 1171801.4767
42 | 2525607.4213 | 1171813.9932
43 | 2525651.9444 | 1171802.1669
44 | 2526012.5055 | 1171890.6235
45 | 2525994.6334 | 1171869.8856
46 | 2525971.2064 | 1171858.526
47 | 2525918.5852 | 1171825.7599
48 | 2525843.77 | 1171802.8467
49 | 2525705.847 | 1171815.3284
50 | 2525706.0711 | 1171804.4082
51 | 2525722.9144 | 1171804.2883
52 | 2525676.1494 | 1171803.5009
53 | 2525794.6999 | 1171811.1143
54 | 2525958.9784 | 1171854.0665
55 | 2525791.7363 | 1171820.7455
56 | 2525742.0422 | 1171805.8078
57 | 2525741.5947 | 1171815.9859
58 | 2525721.1542 | 1171815.9502
59 | 2526274.6769 | 1171968.0157
60 | 2526061.4126 | 1171915.6678
61 | 2525903.8802 | 1171793.6658
62 | 2525650.5291 | 1171808.3214
63 | 2525674.2602 | 1171811.54
64 | 2526067.8102 | 1171902.8593

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1