## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5764-14_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5764-14_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5764-14_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5764-14_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5764-14_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5764-14_0_6_node_23 | 0.4 | n |  | TRUE
6 | bus_LV_5764-14_0_6_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_5764-14_0_6_node_22 | 0.4 | n |  | TRUE
8 | bus_LV_5764-14_0_6_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_5764-14_0_6_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_5764-14_0_6_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_5764-14_0_6_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_5764-14_0_6_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_5764-14_0_6_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_5764-14_0_6_node_19 | 0.4 | n |  | TRUE
15 | bus_LV_5764-14_0_6_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_5764-14_0_6_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_5764-14_0_6_node_33 | 0.4 | n |  | TRUE
18 | bus_LV_5764-14_0_6_node_60 | 0.4 | n |  | TRUE
19 | bus_LV_5764-14_0_6_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_5764-14_0_6_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_5764-14_0_6_node_35 | 0.4 | n |  | TRUE
22 | bus_LV_5764-14_0_6_node_32 | 0.4 | n |  | TRUE
23 | bus_LV_5764-14_0_6_node_34 | 0.4 | n |  | TRUE
24 | bus_LV_5764-14_0_6_node_77 | 0.4 | n |  | TRUE
25 | bus_LV_5764-14_0_6_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_5764-14_0_6_node_61 | 0.4 | n |  | TRUE
27 | bus_LV_5764-14_0_6_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_5764-14_0_6_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_5764-14_0_6_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_5764-14_0_6_node_82 | 0.4 | n |  | TRUE
31 | bus_LV_5764-14_0_6_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_5764-14_0_6_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_5764-14_0_6_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_5764-14_0_6_node_45 | 0.4 | n |  | TRUE
35 | bus_LV_5764-14_0_6_node_44 | 0.4 | n |  | TRUE
36 | bus_LV_5764-14_0_6_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_5764-14_0_6_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_5764-14_0_6_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_5764-14_0_6_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_5764-14_0_6_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_5764-14_0_6_node_42 | 0.4 | n |  | TRUE
42 | bus_LV_5764-14_0_6_node_41 | 0.4 | n |  | TRUE
43 | bus_LV_5764-14_0_6_node_39 | 0.4 | n |  | TRUE
44 | bus_LV_5764-14_0_6_node_43 | 0.4 | n |  | TRUE
45 | bus_LV_5764-14_0_6_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_5764-14_0_6_node_46 | 0.4 | n |  | TRUE
47 | bus_LV_5764-14_0_6_node_47 | 0.4 | n |  | TRUE
48 | bus_LV_5764-14_0_6_node_48 | 0.4 | n |  | TRUE
49 | bus_LV_5764-14_0_6_node_49 | 0.4 | n |  | TRUE
50 | bus_LV_5764-14_0_6_node_50 | 0.4 | n |  | TRUE
51 | bus_LV_5764-14_0_6_node_56 | 0.4 | n |  | TRUE
52 | bus_LV_5764-14_0_6_node_55 | 0.4 | n |  | TRUE
53 | bus_LV_5764-14_0_6_node_53 | 0.4 | n |  | TRUE
54 | bus_LV_5764-14_0_6_node_51 | 0.4 | n |  | TRUE
55 | bus_LV_5764-14_0_6_node_73 | 0.4 | n |  | TRUE
56 | bus_LV_5764-14_0_6_node_52 | 0.4 | n |  | TRUE
57 | bus_LV_5764-14_0_6_node_79 | 0.4 | n |  | TRUE
58 | bus_LV_5764-14_0_6_node_78 | 0.4 | n |  | TRUE
59 | bus_LV_5764-14_0_6_node_83 | 0.4 | n |  | TRUE
60 | bus_LV_5764-14_0_6_node_54 | 0.4 | n |  | TRUE
61 | bus_LV_5764-14_0_6_node_57 | 0.4 | n |  | TRUE
62 | bus_LV_5764-14_0_6_node_58 | 0.4 | n |  | TRUE
63 | bus_LV_5764-14_0_6_node_62 | 0.4 | n |  | TRUE
64 | bus_LV_5764-14_0_6_node_63 | 0.4 | n |  | TRUE
65 | bus_LV_5764-14_0_6_node_64 | 0.4 | n |  | TRUE
66 | bus_LV_5764-14_0_6_node_65 | 0.4 | n |  | TRUE
67 | bus_LV_5764-14_0_6_node_66 | 0.4 | n |  | TRUE
68 | bus_LV_5764-14_0_6_node_67 | 0.4 | n |  | TRUE
69 | bus_LV_5764-14_0_6_node_76 | 0.4 | n |  | TRUE
70 | bus_LV_5764-14_0_6_node_80 | 0.4 | n |  | TRUE
71 | bus_LV_5764-14_0_6_node_68 | 0.4 | n |  | TRUE
72 | bus_LV_5764-14_0_6_node_71 | 0.4 | n |  | TRUE
73 | bus_LV_5764-14_0_6_node_69 | 0.4 | n |  | TRUE
74 | bus_LV_5764-14_0_6_node_70 | 0.4 | n |  | TRUE
75 | bus_LV_5764-14_0_6_node_72 | 0.4 | n |  | TRUE
76 | bus_LV_5764-14_0_6_node_74 | 0.4 | n |  | TRUE
77 | bus_LV_5764-14_0_6_node_75 | 0.4 | n |  | TRUE
78 | bus_LV_5764-14_0_6_node_81 | 0.4 | n |  | TRUE
79 | bus_LV_5764-14_0_6_node_36 | 0.4 | n |  | TRUE
80 | bus_LV_5764-14_0_6_node_37 | 0.4 | n |  | TRUE
81 | bus_LV_5764-14_0_6_node_38 | 0.4 | n |  | TRUE
82 | bus_MV_339_0_node_100 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5764-14_0_6_load_0 | 0 | 0.0034446 | 0.0008633 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5764-14_0_6_load_1 | 1 | 0.00085703 | 0.00021479 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5764-14_0_6_load_2 | 2 | 0.0042399 | 0.0010626 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5764-14_0_6_load_3 | 3 | 0.0034105 | 0.00085474 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5764-14_0_6_load_4 | 4 | 0.0051294 | 0.0012855 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5764-14_0_6_load_23 | 5 | 0.006226 | 0.0015604 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5764-14_0_6_load_9 | 6 | 0.0073532 | 0.0018429 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5764-14_0_6_load_22 | 7 | 0.0059942 | 0.0015023 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5764-14_0_6_load_7 | 8 | 0.016469 | 0.0041275 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5764-14_0_6_load_5 | 9 | 0.0037045 | 0.00092844 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5764-14_0_6_load_6 | 10 | 0.0035616 | 0.00089262 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5764-14_0_6_load_19 | 14 | 0.0041046 | 0.0010287 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5764-14_0_6_load_13 | 15 | 0.0075842 | 0.0019008 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5764-14_0_6_load_60 | 18 | 0.003893 | 0.00097569 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5764-14_0_6_load_18 | 19 | 0.0076702 | 0.0019223 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5764-14_0_6_load_14 | 20 | 0.0076691 | 0.0019221 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5764-14_0_6_load_35 | 21 | 0.0020711 | 0.00051906 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5764-14_0_6_load_32 | 22 | 0.003786 | 0.00094885 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5764-14_0_6_load_61 | 26 | 0.001898 | 0.00047568 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5764-14_0_6_load_17 | 27 | 0.0022632 | 0.00056722 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5764-14_0_6_load_82 | 30 | 0.0025452 | 0.00063788 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5764-14_0_6_load_25 | 32 | 0.0027848 | 0.00069795 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5764-14_0_6_load_26 | 33 | 0.0017183 | 0.00043065 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5764-14_0_6_load_45 | 34 | 0.0019715 | 0.0004941 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5764-14_0_6_load_27 | 36 | 0.0008099 | 0.00020298 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5764-14_0_6_load_28 | 37 | 0.0063425 | 0.0015896 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5764-14_0_6_load_42 | 41 | 0.0014899 | 0.0003734 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5764-14_0_6_load_41 | 42 | 0.0012494 | 0.00031313 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5764-14_0_6_load_39 | 43 | 0.0030187 | 0.00075656 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5764-14_0_6_load_43 | 44 | 0.0014167 | 0.00035507 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5764-14_0_6_load_40 | 45 | 0.0023597 | 0.0005914 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5764-14_0_6_load_46 | 46 | 0.00029894 | 7.4921e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5764-14_0_6_load_48 | 48 | 0.00054937 | 0.00013768 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5764-14_0_6_load_56 | 51 | 0.0012499 | 0.00031325 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5764-14_0_6_load_55 | 52 | 0.0012345 | 0.0003094 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5764-14_0_6_load_51 | 54 | 0.00026665 | 6.6829e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5764-14_0_6_load_73 | 55 | 0.00048788 | 0.00012227 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5764-14_0_6_load_78 | 58 | 0.00047195 | 0.00011828 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5764-14_0_6_load_83 | 59 | 0.00075347 | 0.00018884 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5764-14_0_6_load_57 | 61 | 0.00028922 | 7.2485e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5764-14_0_6_load_58 | 62 | 0.00032496 | 8.1442e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5764-14_0_6_load_62 | 63 | 0.0060447 | 0.0015149 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5764-14_0_6_load_63 | 64 | 0.0011159 | 0.00027966 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5764-14_0_6_load_65 | 66 | 0.00058566 | 0.00014678 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5764-14_0_6_load_67 | 68 | 0.0010969 | 0.00027491 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5764-14_0_6_load_80 | 70 | 0.0010647 | 0.00026685 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5764-14_0_6_load_68 | 71 | 0.0011644 | 0.00029182 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5764-14_0_6_load_71 | 72 | 0.0010974 | 0.00027504 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5764-14_0_6_load_69 | 73 | 0.0011648 | 0.00029193 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5764-14_0_6_load_70 | 74 | 0.0010969 | 0.00027491 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5764-14_0_6_load_72 | 75 | 0.0025395 | 0.00063645 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5764-14_0_6_load_75 | 77 | 0.0021044 | 0.00052742 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5764-14_0_6_load_81 | 78 | 0.00030467 | 7.6357e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5764-14_0_6_load_36 | 79 | 0.0012973 | 0.00032513 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5764-14_0_6_load_37 | 80 | 0.0024326 | 0.00060966 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5764-14_0_6_load_38 | 81 | 0.0013154 | 0.00032966 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 23 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5764-14_0_6_line_0 | NAYY 4x150 SE | 0 | 1 | 0.01734 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
1 | LV_5764-14_0_6_line_1 | NAYY 4x150 SE | 0 | 2 | 0.013079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
2 | LV_5764-14_0_6_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0044752 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
3 | LV_5764-14_0_6_line_3 | NAYY 4x150 SE | 2 | 4 | 0.021247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
4 | LV_5764-14_0_6_line_4 | NAYY 4x150 SE | 3 | 5 | 0.01796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
5 | LV_5764-14_0_6_line_5 | NAYY 4x150 SE | 4 | 6 | 0.015225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_5764-14_0_6_line_6 | NAYY 4x150 SE | 5 | 7 | 0.0031229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
7 | LV_5764-14_0_6_line_7 | NAYY 4x150 SE | 6 | 8 | 0.0022036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5764-14_0_6_line_8 | NAYY 4x150 SE | 7 | 31 | 0.009914 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
9 | LV_5764-14_0_6_line_9 | NAYY 4x150 SE | 8 | 9 | 0.015584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5764-14_0_6_line_10 | NAYY 4x150 SE | 9 | 10 | 0.012039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5764-14_0_6_line_11 | NAYY 4x150 SE | 10 | 11 | 0.0091994 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5764-14_0_6_line_12 | NAYY 4x150 SE | 11 | 12 | 0.038407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5764-14_0_6_line_13 | NAYY 4x150 SE | 11 | 13 | 0.081702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5764-14_0_6_line_14 | NAYY 4x150 SE | 12 | 14 | 0.012005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5764-14_0_6_line_15 | NAYY 4x150 SE | 13 | 15 | 0.009592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5764-14_0_6_line_16 | NAYY 4x150 SE | 14 | 19 | 0.021336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5764-14_0_6_line_17 | NAYY 4x150 SE | 15 | 20 | 0.017516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5764-14_0_6_line_18 | NAYY 4x150 SE | 16 | 17 | 0.07431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5764-14_0_6_line_19 | NAYY 4x150 SE | 16 | 18 | 0.032513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5764-14_0_6_line_20 | NAYY 4x150 SE | 17 | 21 | 0.023489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
21 | LV_5764-14_0_6_line_21 | NAYY 4x150 SE | 17 | 22 | 0.011914 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
22 | LV_5764-14_0_6_line_22 | NAYY 4x150 SE | 18 | 25 | 0.012434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5764-14_0_6_line_23 | NAYY 4x150 SE | 19 | 28 | 0.024944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5764-14_0_6_line_24 | NAYY 4x150 SE | 21 | 32 | 0.029255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
25 | LV_5764-14_0_6_line_25 | NAYY 4x150 SE | 22 | 23 | 0.25615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
26 | LV_5764-14_0_6_line_26 | NAYY 4x150 SE | 23 | 24 | 1.0771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
27 | LV_5764-14_0_6_line_27 | NAYY 4x150 SE | 24 | 70 | 0.29535 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
28 | LV_5764-14_0_6_line_28 | NAYY 4x150 SE | 25 | 26 | 0.014749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5764-14_0_6_line_29 | NAYY 4x150 SE | 26 | 27 | 0.026395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5764-14_0_6_line_30 | NAYY 4x150 SE | 28 | 29 | 0.051444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5764-14_0_6_line_31 | NAYY 4x150 SE | 29 | 30 | 0.033786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5764-14_0_6_line_32 | NAYY 4x150 SE | 31 | 32 | 0.022545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
33 | LV_5764-14_0_6_line_33 | NAYY 4x150 SE | 31 | 33 | 0.018777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5764-14_0_6_line_34 | NAYY 4x150 SE | 33 | 34 | 0.020324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5764-14_0_6_line_35 | NAYY 4x150 SE | 34 | 35 | 0.044125 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5764-14_0_6_line_36 | NAYY 4x150 SE | 35 | 43 | 0.015657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5764-14_0_6_line_37 | NAYY 4x150 SE | 35 | 39 | 0.009133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5764-14_0_6_line_38 | NAYY 4x150 SE | 36 | 37 | 0.025168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5764-14_0_6_line_39 | NAYY 4x150 SE | 36 | 38 | 0.019084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5764-14_0_6_line_40 | NAYY 4x150 SE | 38 | 39 | 0.021158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5764-14_0_6_line_41 | NAYY 4x150 SE | 38 | 40 | 0.009945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5764-14_0_6_line_42 | NAYY 4x150 SE | 39 | 41 | 0.015931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5764-14_0_6_line_43 | NAYY 4x150 SE | 40 | 42 | 0.018224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5764-14_0_6_line_44 | NAYY 4x150 SE | 41 | 44 | 0.022353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5764-14_0_6_line_45 | NAYY 4x150 SE | 42 | 45 | 0.028804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5764-14_0_6_line_46 | NAYY 4x150 SE | 43 | 81 | 0.050498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5764-14_0_6_line_47 | NAYY 4x150 SE | 46 | 47 | 0.038563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5764-14_0_6_line_48 | NAYY 4x150 SE | 47 | 48 | 0.077414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5764-14_0_6_line_49 | NAYY 4x150 SE | 47 | 49 | 0.17563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5764-14_0_6_line_50 | NAYY 4x150 SE | 47 | 50 | 0.21857 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5764-14_0_6_line_51 | NAYY 4x150 SE | 49 | 51 | 0.013348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5764-14_0_6_line_52 | NAYY 4x150 SE | 49 | 52 | 0.025579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5764-14_0_6_line_53 | NAYY 4x150 SE | 50 | 53 | 0.097589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5764-14_0_6_line_54 | NAYY 4x150 SE | 50 | 54 | 0.11949 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5764-14_0_6_line_55 | NAYY 4x150 SE | 51 | 62 | 0.025094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5764-14_0_6_line_56 | NAYY 4x150 SE | 52 | 60 | 0.19288 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5764-14_0_6_line_57 | NAYY 4x150 SE | 53 | 59 | 0.037218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5764-14_0_6_line_58 | NAYY 4x150 SE | 53 | 56 | 0.12425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5764-14_0_6_line_59 | NAYY 4x150 SE | 54 | 55 | 0.24631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5764-14_0_6_line_60 | NAYY 4x150 SE | 55 | 75 | 0.020467 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5764-14_0_6_line_61 | NAYY 4x150 SE | 56 | 57 | 0.095309 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5764-14_0_6_line_62 | NAYY 4x150 SE | 56 | 58 | 0.18519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5764-14_0_6_line_63 | NAYY 4x150 SE | 57 | 78 | 0.017285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5764-14_0_6_line_64 | NAYY 4x150 SE | 60 | 61 | 0.13422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5764-14_0_6_line_65 | NAYY 4x150 SE | 63 | 64 | 0.060257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5764-14_0_6_line_66 | NAYY 4x150 SE | 64 | 65 | 0.023328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_5764-14_0_6_line_67 | NAYY 4x150 SE | 65 | 66 | 0.012953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_5764-14_0_6_line_68 | NAYY 4x150 SE | 65 | 67 | 0.013459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_5764-14_0_6_line_69 | NAYY 4x150 SE | 66 | 68 | 0.040407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_5764-14_0_6_line_70 | NAYY 4x150 SE | 67 | 69 | 0.11542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_5764-14_0_6_line_71 | NAYY 4x150 SE | 67 | 70 | 0.021197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_5764-14_0_6_line_72 | NAYY 4x150 SE | 68 | 71 | 0.014927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_5764-14_0_6_line_73 | NAYY 4x150 SE | 69 | 77 | 0.011909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_5764-14_0_6_line_74 | NAYY 4x150 SE | 71 | 72 | 0.0012575 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_5764-14_0_6_line_75 | NAYY 4x150 SE | 72 | 73 | 0.015903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_5764-14_0_6_line_76 | NAYY 4x150 SE | 73 | 74 | 0.00028363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_5764-14_0_6_line_77 | NAYY 4x150 SE | 75 | 76 | 0.042401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_5764-14_0_6_line_78 | NAYY 4x150 SE | 76 | 77 | 0.044998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_5764-14_0_6_line_79 | NAYY 4x150 SE | 79 | 80 | 0.031908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_5764-14_0_6_line_80 | NAYY 4x150 SE | 79 | 81 | 0.000236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5764-14_0_6_trafo_34 | 0.25 MVA 20/0.4 kV | 82 | 23 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2519002.3932 | 1173755.3806 | 2519002.1946 | 1173754.5632 | 2518999.3571 | 1173744.9291 | 2518997.2361 | 1173739.6435 | 2518996.8419 | 1173738.9934
1 | 2519002.3932 | 1173755.3806 | 2519005.1585 | 1173766.7637 | 2519005.4133 | 1173768.1047
2 | 2518994.5219 | 1173735.1665 | 2518996.8419 | 1173738.9934
3 | 2519005.4133 | 1173768.1047 | 2519009.3783 | 1173788.9785
4 | 2518994.5219 | 1173735.1665 | 2518994.5219 | 1173735.1665 | 2518984.7217 | 1173723.5809 | 2518982.4583 | 1173721.9578
5 | 2519012.2195 | 1173803.9357 | 2519009.3783 | 1173788.9785
6 | 2518979.9204 | 1173720.1379 | 2518982.4583 | 1173721.9578
7 | 2519012.6307 | 1173806.1005 | 2519012.2195 | 1173803.9357
8 | 2518971.8638 | 1173714.3604 | 2518979.9204 | 1173720.1379
9 | 2519015.4583 | 1173821.4252 | 2519014.4542 | 1173815.7005 | 2519012.6307 | 1173806.1005
10 | 2519015.4583 | 1173821.4252 | 2519017.538 | 1173833.283
11 | 2519018.6848 | 1173842.4036 | 2519018.1581 | 1173836.8186 | 2519017.538 | 1173833.283
12 | 2519050.5036 | 1173820.7609 | 2519018.6848 | 1173842.4036
13 | 2519018.6848 | 1173842.4036 | 2519018.8832 | 1173846.3255 | 2519018.8269 | 1173852.908 | 2519019.2966 | 1173859.3721 | 2519021.3202 | 1173874.4204 | 2519023.0559 | 1173888.5498 | 2519017.4828 | 1173887.5467 | 2519014.7514 | 1173886.8832 | 2519012.5973 | 1173885.934 | 2519010.2877 | 1173884.2309 | 2519006.0535 | 1173879.8855 | 2519000.9922 | 1173873.7503 | 2518995.8317 | 1173868.2056
14 | 2519050.5036 | 1173820.7609 | 2519060.3631 | 1173813.9118
15 | 2518995.8317 | 1173868.2056 | 2518990.2189 | 1173860.4273
16 | 2519060.3631 | 1173813.9118 | 2519077.8858 | 1173801.7392
17 | 2518990.2189 | 1173860.4273 | 2518989.3008 | 1173859.1552 | 2518985.4902 | 1173851.6355 | 2518982.6003 | 1173844.6962
18 | 2518903.4821 | 1173682.9111 | 2518901.225 | 1173685.6544 | 2518891.0718 | 1173685.8585 | 2518897.574 | 1173693.3305 | 2518883.627 | 1173691.2292 | 2518890.4696 | 1173697.8627 | 2518880.0025 | 1173695.7809 | 2518881.4777 | 1173701.9313 | 2518876.6184 | 1173702.8309 | 2518873.6874 | 1173707.2065
19 | 2518873.6874 | 1173707.2065 | 2518878.1232 | 1173708.9142 | 2518888.1948 | 1173714.5479 | 2518901.9516 | 1173723.1407
20 | 2518903.4821 | 1173682.9111 | 2518924.9882 | 1173692.3578
21 | 2518903.4821 | 1173682.9111 | 2518892.5169 | 1173678.2522
22 | 2518912.4977 | 1173729.728 | 2518901.9516 | 1173723.1407
23 | 2519098.238 | 1173787.3187 | 2519082.233 | 1173798.7193 | 2519077.8858 | 1173801.7392
24 | 2518924.9882 | 1173692.3578 | 2518949.4957 | 1173703.1228 | 2518951.7183 | 1173704.2395
25 | 2518661.5734 | 1173574.725 | 2518698.9985 | 1173602.1224 | 2518742.0568 | 1173629.8883 | 2518749.3053 | 1173633.1586 | 2518780.4456 | 1173647.2004 | 2518812.0485 | 1173657.0114 | 2518871.2788 | 1173671.0954 | 2518885.1987 | 1173675.1428 | 2518892.5169 | 1173678.2522
26 | 2518661.5734 | 1173574.725 | 2517584.4491 | 1173570.6264
27 | 2517584.4491 | 1173570.6264 | 2517574.4797 | 1173564.193 | 2517536.9896 | 1173567.4773 | 2517500.0453 | 1173569.2868 | 2517471.5762 | 1173568.9897 | 2517461.2739 | 1173567.2639 | 2517450.355 | 1173564.0902 | 2517438.6197 | 1173557.1699 | 2517431.2795 | 1173550.6338 | 2517422.6299 | 1173540.0911 | 2517410.5415 | 1173520.8795 | 2517400.995 | 1173507.4252 | 2517392.9569 | 1173496.8742 | 2517386.7183 | 1173489.2556 | 2517355.5171 | 1173451.163 | 2517349.1666 | 1173443.5174
28 | 2518912.4977 | 1173729.728 | 2518917.1298 | 1173731.8222 | 2518926.029 | 1173735.5929
29 | 2518943.797 | 1173754.6061 | 2518940.8941 | 1173750.1671 | 2518935.9326 | 1173743.5081 | 2518932.9515 | 1173740.2242 | 2518929.8132 | 1173737.7541 | 2518926.029 | 1173735.5929 | 2518926.029 | 1173735.5929
30 | 2519140.8715 | 1173758.3595 | 2519109.8498 | 1173779.0459 | 2519098.238 | 1173787.3187
31 | 2519140.8715 | 1173758.3595 | 2519109.7198 | 1173745.0719
32 | 2518971.8638 | 1173714.3604 | 2518951.7183 | 1173704.2395
33 | 2518971.8638 | 1173714.3604 | 2518966.9602 | 1173696.2351
34 | 2518966.9602 | 1173696.2351 | 2518964.4497 | 1173686.9555 | 2518961.5842 | 1173676.6356
35 | 2518954.6676 | 1173633.2002 | 2518955.1213 | 1173644.1228 | 2518958.7016 | 1173666.2542 | 2518961.5842 | 1173676.6356
36 | 2518954.6676 | 1173633.2002 | 2518940.1139 | 1173627.4259
37 | 2518954.2842 | 1173624.0778 | 2518954.6676 | 1173633.2002
38 | 2518936.1505 | 1173594.7507 | 2518913.4196 | 1173583.9452
39 | 2518953.3864 | 1173602.944 | 2518936.1505 | 1173594.7507
40 | 2518954.2842 | 1173624.0778 | 2518953.3864 | 1173602.944
41 | 2518952.969 | 1173593.0104 | 2518953.3864 | 1173602.944
42 | 2518954.2842 | 1173624.0778 | 2518969.1933 | 1173629.6915
43 | 2518952.969 | 1173593.0104 | 2518969.8718 | 1173599.8232
44 | 2518990.1122 | 1173637.5681 | 2518969.1933 | 1173629.6915
45 | 2518996.5874 | 1173610.591 | 2518969.8718 | 1173599.8232
46 | 2518940.1139 | 1173627.4259 | 2518895.1091 | 1173609.5697 | 2518893.2598 | 1173608.6167
47 | 2517522.1306 | 1173103.7159 | 2517517.6352 | 1173117.1858 | 2517516.1118 | 1173124.2999 | 2517520.2433 | 1173140.8806
48 | 2517522.1306 | 1173103.7159 | 2517534.028 | 1173127.3552 | 2517534.2151 | 1173134.8349 | 2517529.9395 | 1173145.3778 | 2517526.5888 | 1173152.5504 | 2517526.9367 | 1173159.4831 | 2517534.6824 | 1173174.8968
49 | 2517522.1306 | 1173103.7159 | 2517519.5656 | 1173098.5148 | 2517516.8078 | 1173087.0904 | 2517519.3374 | 1173080.8296 | 2517526.4987 | 1173073.2265 | 2517551.6284 | 1173060.7956 | 2517558.579 | 1173055.6636 | 2517595.2122 | 1173074.9269 | 2517607.0428 | 1173070.3727 | 2517617.722 | 1173061.6207 | 2517618.7501 | 1173056.8481 | 2517626.6289 | 1173034.1152 | 2517630.2498 | 1173027.6727
50 | 2517429.1663 | 1172985.6365 | 2517558.579 | 1173055.6636 | 2517551.6284 | 1173060.7956 | 2517526.4987 | 1173073.2265 | 2517519.3374 | 1173080.8296 | 2517516.8078 | 1173087.0904 | 2517519.5656 | 1173098.5148 | 2517522.1306 | 1173103.7159
51 | 2517630.2498 | 1173027.6727 | 2517637.6944 | 1173016.5934
52 | 2517630.2498 | 1173027.6727 | 2517618.6825 | 1173021.906 | 2517607.9786 | 1173015.1568
53 | 2517429.1663 | 1172985.6365 | 2517397.1557 | 1172968.3228 | 2517391.5373 | 1172965.2317 | 2517371.087 | 1172964.2574 | 2517350.3213 | 1172966.4784 | 2517338.4139 | 1172972.6796
54 | 2517429.1663 | 1172985.6365 | 2517421.4294 | 1173009.7352 | 2517411.4008 | 1173034.5994 | 2517394.0982 | 1173066.6347 | 2517363.1368 | 1173066.6762
55 | 2517637.6944 | 1173016.5934 | 2517651.6901 | 1172995.7644
56 | 2517460.6725 | 1172899.7402 | 2517487.8094 | 1172918.5889 | 2517501.4659 | 1172927.195 | 2517526.4181 | 1172936.2681 | 2517538.3882 | 1172941.829 | 2517555.1207 | 1172949.9814 | 2517572.3023 | 1172976.3275 | 2517580.2824 | 1172989.3033 | 2517590.7452 | 1173004.2906 | 2517607.9786 | 1173015.1568
57 | 2517338.4139 | 1172972.6796 | 2517334.0672 | 1172980.8222 | 2517334.3658 | 1172994.1483 | 2517340.1504 | 1173007.621
58 | 2517279.2977 | 1172878.4611 | 2517282.4906 | 1172879.8178 | 2517287.5853 | 1172882.6381 | 2517295.0586 | 1172888.2161 | 2517309.2911 | 1172906.942 | 2517320.5775 | 1172920.0275 | 2517342.1736 | 1172938.0626 | 2517344.1851 | 1172939.1689 | 2517344.1105 | 1172954.8237 | 2517338.4139 | 1172972.6796
59 | 2517363.1368 | 1173066.6762 | 2517219.1198 | 1173266.4914
60 | 2517211.7754 | 1173285.5949 | 2517216.8007 | 1173272.5261 | 2517219.1198 | 1173266.4914
61 | 2517209.3944 | 1172938.0618 | 2517221.6134 | 1172930.0661 | 2517227.6582 | 1172925.2575 | 2517230.945 | 1172921.7878 | 2517247.061 | 1172895.7942 | 2517252.0805 | 1172889.2988 | 2517259.4891 | 1172885.2052 | 2517272.0159 | 1172882.3195 | 2517279.2977 | 1172878.4611
62 | 2517279.2977 | 1172878.4611 | 2517276.1354 | 1172877.1039 | 2517267.6994 | 1172875.4749 | 2517261.0929 | 1172875.6218 | 2517237.0353 | 1172877.644 | 2517217.4119 | 1172878.9713 | 2517196.1691 | 1172877.6862 | 2517171.1278 | 1172873.841 | 2517149.9112 | 1172868.3643 | 2517130.1499 | 1172859.7212 | 2517102.4845 | 1172842.4012
63 | 2517196.4124 | 1172949.5147 | 2517209.3944 | 1172938.0618
64 | 2517385.9706 | 1172793.4058 | 2517404.7336 | 1172800.1068 | 2517413.126 | 1172814.0995 | 2517434.6153 | 1172854.9056 | 2517456.6478 | 1172890.1899 | 2517460.6725 | 1172899.7402
65 | 2517411.9455 | 1173486.0152 | 2517366.3717 | 1173446.5955
66 | 2517348.0916 | 1173432.3653 | 2517351.5991 | 1173433.8178 | 2517366.3717 | 1173446.5955
67 | 2517348.0916 | 1173432.3653 | 2517356.2266 | 1173422.2854
68 | 2517335.6232 | 1173427.2119 | 2517348.0916 | 1173432.3653
69 | 2517356.2266 | 1173422.2854 | 2517379.8311 | 1173393.0375 | 2517377.6584 | 1173391.237
70 | 2517243.3745 | 1173357.5211 | 2517335.6232 | 1173427.2119
71 | 2517335.6232 | 1173427.2119 | 2517349.1666 | 1173443.5174
72 | 2517366.1648 | 1173381.7131 | 2517377.6584 | 1173391.237
73 | 2517243.3745 | 1173357.5211 | 2517233.5769 | 1173350.751
74 | 2517366.1648 | 1173381.7131 | 2517365.1965 | 1173380.9107
75 | 2517352.9511 | 1173370.7638 | 2517365.1965 | 1173380.9107
76 | 2517352.7327 | 1173370.5828 | 2517352.9511 | 1173370.7638
77 | 2517196.5572 | 1173325.1705 | 2517211.7754 | 1173285.5949
78 | 2517196.5572 | 1173325.1705 | 2517233.5769 | 1173350.751
79 | 2518893.0501 | 1173608.5086 | 2518864.6866 | 1173593.8922
80 | 2518893.2598 | 1173608.6167 | 2518893.0501 | 1173608.5086

## bus_geodata
| x | y | coords
0 | 2519002.3932 | 1173755.3806
1 | 2518996.8419 | 1173738.9934
2 | 2519005.4133 | 1173768.1047
3 | 2518994.5219 | 1173735.1665
4 | 2519009.3783 | 1173788.9785
5 | 2518982.4583 | 1173721.9578
6 | 2519012.2195 | 1173803.9357
7 | 2518979.9204 | 1173720.1379
8 | 2519012.6307 | 1173806.1005
9 | 2519015.4583 | 1173821.4252
10 | 2519017.538 | 1173833.283
11 | 2519018.6848 | 1173842.4036
12 | 2519050.5036 | 1173820.7609
13 | 2518995.8317 | 1173868.2056
14 | 2519060.3631 | 1173813.9118
15 | 2518990.2189 | 1173860.4273
16 | 2518873.6874 | 1173707.2065
17 | 2518903.4821 | 1173682.9111
18 | 2518901.9516 | 1173723.1407
19 | 2519077.8858 | 1173801.7392
20 | 2518982.6003 | 1173844.6962
21 | 2518924.9882 | 1173692.3578
22 | 2518892.5169 | 1173678.2522
23 | 2518661.5734 | 1173574.725
24 | 2517584.4491 | 1173570.6264
25 | 2518912.4977 | 1173729.728
26 | 2518926.029 | 1173735.5929
27 | 2518943.797 | 1173754.6061
28 | 2519098.238 | 1173787.3187
29 | 2519140.8715 | 1173758.3594
30 | 2519109.7198 | 1173745.0719
31 | 2518971.8638 | 1173714.3604
32 | 2518951.7183 | 1173704.2395
33 | 2518966.9602 | 1173696.2351
34 | 2518961.5842 | 1173676.6356
35 | 2518954.6676 | 1173633.2002
36 | 2518936.1505 | 1173594.7507
37 | 2518913.4196 | 1173583.9452
38 | 2518953.3864 | 1173602.944
39 | 2518954.2842 | 1173624.0778
40 | 2518952.969 | 1173593.0104
41 | 2518969.1933 | 1173629.6915
42 | 2518969.8718 | 1173599.8232
43 | 2518940.1139 | 1173627.4259
44 | 2518990.1122 | 1173637.5681
45 | 2518996.5874 | 1173610.591
46 | 2517520.2433 | 1173140.8806
47 | 2517522.1306 | 1173103.7159
48 | 2517534.6824 | 1173174.8968
49 | 2517630.2498 | 1173027.6727
50 | 2517429.1663 | 1172985.6365
51 | 2517637.6944 | 1173016.5934
52 | 2517607.9786 | 1173015.1568
53 | 2517338.4139 | 1172972.6796
54 | 2517363.1368 | 1173066.6762
55 | 2517219.1198 | 1173266.4914
56 | 2517279.2977 | 1172878.4611
57 | 2517209.3944 | 1172938.0618
58 | 2517102.4845 | 1172842.4012
59 | 2517340.1504 | 1173007.621
60 | 2517460.6725 | 1172899.7402
61 | 2517385.9706 | 1172793.4058
62 | 2517651.6901 | 1172995.7644
63 | 2517411.9455 | 1173486.0152
64 | 2517366.3717 | 1173446.5955
65 | 2517348.0916 | 1173432.3653
66 | 2517356.2266 | 1173422.2854
67 | 2517335.6232 | 1173427.2119
68 | 2517377.6584 | 1173391.237
69 | 2517243.3745 | 1173357.521
70 | 2517349.1666 | 1173443.5174
71 | 2517366.1648 | 1173381.7131
72 | 2517365.1965 | 1173380.9107
73 | 2517352.9511 | 1173370.7638
74 | 2517352.7327 | 1173370.5828
75 | 2517211.7754 | 1173285.5949
76 | 2517196.5572 | 1173325.1705
77 | 2517233.5769 | 1173350.751
78 | 2517196.4124 | 1172949.5146
79 | 2518893.05 | 1173608.5086
80 | 2518864.6866 | 1173593.8922
81 | 2518893.2598 | 1173608.6167
82 | 2518625.4404 | 1173550.1342

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1