## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5871-10_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5871-10_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5871-10_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5871-10_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5871-10_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5871-10_0_2_node_35 | 0.4 | n |  | TRUE
6 | bus_LV_5871-10_0_2_node_50 | 0.4 | n |  | TRUE
7 | bus_LV_5871-10_0_2_node_36 | 0.4 | n |  | TRUE
8 | bus_LV_5871-10_0_2_node_26 | 0.4 | n |  | TRUE
9 | bus_LV_5871-10_0_2_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_5871-10_0_2_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_5871-10_0_2_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_5871-10_0_2_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_5871-10_0_2_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_5871-10_0_2_node_32 | 0.4 | n |  | TRUE
15 | bus_LV_5871-10_0_2_node_30 | 0.4 | n |  | TRUE
16 | bus_LV_5871-10_0_2_node_25 | 0.4 | n |  | TRUE
17 | bus_LV_5871-10_0_2_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_5871-10_0_2_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_5871-10_0_2_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_5871-10_0_2_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_5871-10_0_2_node_100 | 0.4 | n |  | TRUE
22 | bus_LV_5871-10_0_2_node_103 | 0.4 | n |  | TRUE
23 | bus_LV_5871-10_0_2_node_93 | 0.4 | n |  | TRUE
24 | bus_LV_5871-10_0_2_node_94 | 0.4 | n |  | TRUE
25 | bus_LV_5871-10_0_2_node_95 | 0.4 | n |  | TRUE
26 | bus_LV_5871-10_0_2_node_96 | 0.4 | n |  | TRUE
27 | bus_LV_5871-10_0_2_node_97 | 0.4 | n |  | TRUE
28 | bus_LV_5871-10_0_2_node_101 | 0.4 | n |  | TRUE
29 | bus_LV_5871-10_0_2_node_98 | 0.4 | n |  | TRUE
30 | bus_LV_5871-10_0_2_node_99 | 0.4 | n |  | TRUE
31 | bus_LV_5871-10_0_2_node_104 | 0.4 | n |  | TRUE
32 | bus_LV_5871-10_0_2_node_14 | 0.4 | n |  | TRUE
33 | bus_LV_5871-10_0_2_node_15 | 0.4 | n |  | TRUE
34 | bus_LV_5871-10_0_2_node_16 | 0.4 | n |  | TRUE
35 | bus_LV_5871-10_0_2_node_17 | 0.4 | n |  | TRUE
36 | bus_LV_5871-10_0_2_node_19 | 0.4 | n |  | TRUE
37 | bus_LV_5871-10_0_2_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_5871-10_0_2_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_5871-10_0_2_node_18 | 0.4 | n |  | TRUE
40 | bus_LV_5871-10_0_2_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_5871-10_0_2_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_5871-10_0_2_node_45 | 0.4 | n |  | TRUE
43 | bus_LV_5871-10_0_2_node_22 | 0.4 | n |  | TRUE
44 | bus_LV_5871-10_0_2_node_47 | 0.4 | n |  | TRUE
45 | bus_LV_5871-10_0_2_node_46 | 0.4 | n |  | TRUE
46 | bus_LV_5871-10_0_2_node_43 | 0.4 | n |  | TRUE
47 | bus_LV_5871-10_0_2_node_20 | 0.4 | n |  | TRUE
48 | bus_LV_5871-10_0_2_node_21 | 0.4 | n |  | TRUE
49 | bus_LV_5871-10_0_2_node_48 | 0.4 | n |  | TRUE
50 | bus_LV_5871-10_0_2_node_49 | 0.4 | n |  | TRUE
51 | bus_LV_5871-10_0_2_node_29 | 0.4 | n |  | TRUE
52 | bus_LV_5871-10_0_2_node_31 | 0.4 | n |  | TRUE
53 | bus_LV_5871-10_0_2_node_33 | 0.4 | n |  | TRUE
54 | bus_LV_5871-10_0_2_node_39 | 0.4 | n |  | TRUE
55 | bus_LV_5871-10_0_2_node_34 | 0.4 | n |  | TRUE
56 | bus_LV_5871-10_0_2_node_42 | 0.4 | n |  | TRUE
57 | bus_LV_5871-10_0_2_node_40 | 0.4 | n |  | TRUE
58 | bus_LV_5871-10_0_2_node_41 | 0.4 | n |  | TRUE
59 | bus_LV_5871-10_0_2_node_37 | 0.4 | n |  | TRUE
60 | bus_LV_5871-10_0_2_node_38 | 0.4 | n |  | TRUE
61 | bus_LV_5871-10_0_2_node_88 | 0.4 | n |  | TRUE
62 | bus_LV_5871-10_0_2_node_91 | 0.4 | n |  | TRUE
63 | bus_LV_5871-10_0_2_node_81 | 0.4 | n |  | TRUE
64 | bus_LV_5871-10_0_2_node_87 | 0.4 | n |  | TRUE
65 | bus_LV_5871-10_0_2_node_82 | 0.4 | n |  | TRUE
66 | bus_LV_5871-10_0_2_node_80 | 0.4 | n |  | TRUE
67 | bus_LV_5871-10_0_2_node_44 | 0.4 | n |  | TRUE
68 | bus_LV_5871-10_0_2_node_107 | 0.4 | n |  | TRUE
69 | bus_LV_5871-10_0_2_node_105 | 0.4 | n |  | TRUE
70 | bus_LV_5871-10_0_2_node_108 | 0.4 | n |  | TRUE
71 | bus_LV_5871-10_0_2_node_60 | 0.4 | n |  | TRUE
72 | bus_LV_5871-10_0_2_node_61 | 0.4 | n |  | TRUE
73 | bus_LV_5871-10_0_2_node_62 | 0.4 | n |  | TRUE
74 | bus_LV_5871-10_0_2_node_63 | 0.4 | n |  | TRUE
75 | bus_LV_5871-10_0_2_node_64 | 0.4 | n |  | TRUE
76 | bus_LV_5871-10_0_2_node_75 | 0.4 | n |  | TRUE
77 | bus_LV_5871-10_0_2_node_67 | 0.4 | n |  | TRUE
78 | bus_LV_5871-10_0_2_node_83 | 0.4 | n |  | TRUE
79 | bus_LV_5871-10_0_2_node_71 | 0.4 | n |  | TRUE
80 | bus_LV_5871-10_0_2_node_68 | 0.4 | n |  | TRUE
81 | bus_LV_5871-10_0_2_node_65 | 0.4 | n |  | TRUE
82 | bus_LV_5871-10_0_2_node_74 | 0.4 | n |  | TRUE
83 | bus_LV_5871-10_0_2_node_72 | 0.4 | n |  | TRUE
84 | bus_LV_5871-10_0_2_node_69 | 0.4 | n |  | TRUE
85 | bus_LV_5871-10_0_2_node_109 | 0.4 | n |  | TRUE
86 | bus_LV_5871-10_0_2_node_73 | 0.4 | n |  | TRUE
87 | bus_LV_5871-10_0_2_node_86 | 0.4 | n |  | TRUE
88 | bus_LV_5871-10_0_2_node_84 | 0.4 | n |  | TRUE
89 | bus_LV_5871-10_0_2_node_76 | 0.4 | n |  | TRUE
90 | bus_LV_5871-10_0_2_node_77 | 0.4 | n |  | TRUE
91 | bus_LV_5871-10_0_2_node_92 | 0.4 | n |  | TRUE
92 | bus_LV_5871-10_0_2_node_78 | 0.4 | n |  | TRUE
93 | bus_LV_5871-10_0_2_node_79 | 0.4 | n |  | TRUE
94 | bus_LV_5871-10_0_2_node_102 | 0.4 | n |  | TRUE
95 | bus_LV_5871-10_0_2_node_85 | 0.4 | n |  | TRUE
96 | bus_LV_5871-10_0_2_node_89 | 0.4 | n |  | TRUE
97 | bus_LV_5871-10_0_2_node_90 | 0.4 | n |  | TRUE
98 | bus_LV_5871-10_0_2_node_106 | 0.4 | n |  | TRUE
99 | bus_MV_337_0_node_3 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5871-10_0_2_load_0 | 0 | 0.0017936 | 0.00044951 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5871-10_0_2_load_1 | 1 | 0.0014482 | 0.00036295 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5871-10_0_2_load_2 | 2 | 0.0017546 | 0.00043975 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5871-10_0_2_load_3 | 3 | 0.0012403 | 0.00031085 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5871-10_0_2_load_4 | 4 | 0.0011756 | 0.00029463 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5871-10_0_2_load_35 | 5 | 0.0019537 | 0.00048966 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5871-10_0_2_load_50 | 6 | 0.0020352 | 0.00051007 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5871-10_0_2_load_5 | 9 | 0.0011209 | 0.00028092 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5871-10_0_2_load_6 | 10 | 0.00040176 | 0.00010069 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5871-10_0_2_load_7 | 11 | 0.0015564 | 0.00039008 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5871-10_0_2_load_8 | 12 | 0.0010699 | 0.00026814 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5871-10_0_2_load_9 | 13 | 0.0018107 | 0.00045381 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5871-10_0_2_load_30 | 15 | 0.0017346 | 0.00043472 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5871-10_0_2_load_25 | 16 | 0.001174 | 0.00029423 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5871-10_0_2_load_10 | 17 | 0.00028798 | 7.2174e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5871-10_0_2_load_12 | 19 | 0.0002023 | 5.0701e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5871-10_0_2_load_13 | 20 | 0.0004235 | 0.00010614 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5871-10_0_2_load_103 | 22 | 0.00021632 | 5.4214e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5871-10_0_2_load_93 | 23 | 0.00047895 | 0.00012004 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5871-10_0_2_load_94 | 24 | 0.00029277 | 7.3374e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5871-10_0_2_load_97 | 27 | 0.00026731 | 6.6994e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5871-10_0_2_load_101 | 28 | 0.0002509 | 6.2883e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5871-10_0_2_load_98 | 29 | 0.00032297 | 8.0944e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5871-10_0_2_load_99 | 30 | 0.0016051 | 0.00040227 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5871-10_0_2_load_14 | 32 | 0.00074206 | 0.00018598 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5871-10_0_2_load_19 | 36 | 0.0013438 | 0.00033679 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5871-10_0_2_load_23 | 37 | 0.00037063 | 9.2889e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5871-10_0_2_load_24 | 38 | 0.0022106 | 0.00055403 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5871-10_0_2_load_28 | 40 | 0.0023545 | 0.00059009 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5871-10_0_2_load_27 | 41 | 0.00067145 | 0.00016828 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5871-10_0_2_load_46 | 45 | 0.0011526 | 0.00028888 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5871-10_0_2_load_43 | 46 | 0.00094822 | 0.00023765 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5871-10_0_2_load_20 | 47 | 0.0014745 | 0.00036954 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5871-10_0_2_load_21 | 48 | 0.0012598 | 0.00031574 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5871-10_0_2_load_49 | 50 | 0.00013478 | 3.378e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5871-10_0_2_load_29 | 51 | 0.0012168 | 0.00030496 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5871-10_0_2_load_31 | 52 | 0.0013231 | 0.0003316 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5871-10_0_2_load_33 | 53 | 0.0022792 | 0.00057122 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5871-10_0_2_load_39 | 54 | 0.0026096 | 0.00065404 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5871-10_0_2_load_34 | 55 | 0.0021556 | 0.00054024 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5871-10_0_2_load_42 | 56 | 0.0020692 | 0.00051859 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5871-10_0_2_load_41 | 58 | 0.00089239 | 0.00022365 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5871-10_0_2_load_38 | 60 | 0.0023351 | 0.00058522 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5871-10_0_2_load_88 | 61 | 0.00075758 | 0.00018987 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5871-10_0_2_load_91 | 62 | 0.00091547 | 0.00022944 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5871-10_0_2_load_87 | 64 | 0.00093849 | 0.00023521 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5871-10_0_2_load_82 | 65 | 0.0037579 | 0.00094182 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5871-10_0_2_load_44 | 67 | 0.00063871 | 0.00016008 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5871-10_0_2_load_107 | 68 | 0.00059138 | 0.00014821 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5871-10_0_2_load_105 | 69 | 0.00044945 | 0.00011264 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5871-10_0_2_load_108 | 70 | 0.00040741 | 0.00010211 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5871-10_0_2_load_60 | 71 | 0.0033898 | 0.00084956 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5871-10_0_2_load_61 | 72 | 0.0026875 | 0.00067355 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5871-10_0_2_load_62 | 73 | 0.0034352 | 0.00086095 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5871-10_0_2_load_63 | 74 | 0.0007121 | 0.00017847 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5871-10_0_2_load_68 | 80 | 0.0020064 | 0.00050286 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5871-10_0_2_load_65 | 81 | 0.00092738 | 0.00023242 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5871-10_0_2_load_74 | 82 | 0.0025421 | 0.00063712 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5871-10_0_2_load_72 | 83 | 0.0031283 | 0.00078403 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5871-10_0_2_load_69 | 84 | 0.0011025 | 0.00027631 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5871-10_0_2_load_109 | 85 | 0.00078902 | 0.00019775 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5871-10_0_2_load_73 | 86 | 0.0033286 | 0.00083422 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5871-10_0_2_load_86 | 87 | 0.00093246 | 0.0002337 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5871-10_0_2_load_84 | 88 | 0.00077468 | 0.00019415 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5871-10_0_2_load_76 | 89 | 0.003186 | 0.00079849 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5871-10_0_2_load_77 | 90 | 0.0020622 | 0.00051684 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5871-10_0_2_load_92 | 91 | 0.0032771 | 0.00082133 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5871-10_0_2_load_79 | 93 | 0.00080392 | 0.00020148 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5871-10_0_2_load_102 | 94 | 0.0017982 | 0.00045067 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5871-10_0_2_load_85 | 95 | 0.00032705 | 8.1967e-05 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5871-10_0_2_load_89 | 96 | 0.002315 | 0.0005802 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5871-10_0_2_load_90 | 97 | 0.0019118 | 0.00047913 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5871-10_0_2_load_106 | 98 | 0.0003344 | 8.381e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 5 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5871-10_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5871-10_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.015151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5871-10_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.02625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5871-10_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0026889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5871-10_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.022645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5871-10_0_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.035879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5871-10_0_2_line_6 | NAYY 4x150 SE | 5 | 7 | 0.027736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5871-10_0_2_line_7 | NAYY 4x150 SE | 6 | 8 | 0.0090291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5871-10_0_2_line_8 | NAYY 4x150 SE | 7 | 59 | 0.039574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5871-10_0_2_line_9 | NAYY 4x150 SE | 7 | 60 | 0.087796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5871-10_0_2_line_10 | NAYY 4x150 SE | 8 | 16 | 0.027453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5871-10_0_2_line_11 | NAYY 4x150 SE | 8 | 13 | 0.044535 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5871-10_0_2_line_12 | NAYY 4x150 SE | 9 | 10 | 0.025721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5871-10_0_2_line_13 | NAYY 4x150 SE | 9 | 11 | 0.0040088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5871-10_0_2_line_14 | NAYY 4x150 SE | 10 | 12 | 0.023099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5871-10_0_2_line_15 | NAYY 4x150 SE | 11 | 13 | 0.0010204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5871-10_0_2_line_16 | NAYY 4x150 SE | 12 | 14 | 0.0091325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5871-10_0_2_line_17 | NAYY 4x150 SE | 14 | 15 | 0.030907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5871-10_0_2_line_18 | NAYY 4x150 SE | 15 | 51 | 0.004786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5871-10_0_2_line_19 | NAYY 4x150 SE | 16 | 38 | 0.032114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5871-10_0_2_line_20 | NAYY 4x150 SE | 17 | 18 | 0.076825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5871-10_0_2_line_21 | NAYY 4x150 SE | 17 | 19 | 0.0052781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5871-10_0_2_line_22 | NAYY 4x150 SE | 18 | 20 | 0.026743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5871-10_0_2_line_23 | NAYY 4x150 SE | 18 | 21 | 0.55353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5871-10_0_2_line_24 | NAYY 4x150 SE | 20 | 22 | 0.062328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5871-10_0_2_line_25 | NAYY 4x150 SE | 21 | 26 | 0.090905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5871-10_0_2_line_26 | NAYY 4x150 SE | 21 | 29 | 0.0996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5871-10_0_2_line_27 | NAYY 4x150 SE | 22 | 31 | 0.065126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5871-10_0_2_line_28 | NAYY 4x150 SE | 23 | 24 | 0.063122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5871-10_0_2_line_29 | NAYY 4x150 SE | 23 | 25 | 0.07244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5871-10_0_2_line_30 | NAYY 4x150 SE | 25 | 26 | 0.064437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5871-10_0_2_line_31 | NAYY 4x150 SE | 25 | 27 | 0.079498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5871-10_0_2_line_32 | NAYY 4x150 SE | 26 | 28 | 0.045447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5871-10_0_2_line_33 | NAYY 4x150 SE | 29 | 30 | 0.0076302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5871-10_0_2_line_34 | NAYY 4x150 SE | 31 | 69 | 0.039277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5871-10_0_2_line_35 | NAYY 4x150 SE | 31 | 49 | 0.022013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5871-10_0_2_line_36 | NAYY 4x150 SE | 32 | 33 | 0.030793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5871-10_0_2_line_37 | NAYY 4x150 SE | 32 | 34 | 0.0063023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5871-10_0_2_line_38 | NAYY 4x150 SE | 33 | 35 | 0.078695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5871-10_0_2_line_39 | NAYY 4x150 SE | 34 | 36 | 0.015054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5871-10_0_2_line_40 | NAYY 4x150 SE | 35 | 37 | 0.029215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5871-10_0_2_line_41 | NAYY 4x150 SE | 35 | 38 | 0.061048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5871-10_0_2_line_42 | NAYY 4x150 SE | 36 | 42 | 0.0069481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5871-10_0_2_line_43 | NAYY 4x150 SE | 37 | 43 | 0.018467 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5871-10_0_2_line_44 | NAYY 4x150 SE | 39 | 40 | 0.033492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5871-10_0_2_line_45 | NAYY 4x150 SE | 39 | 41 | 0.04246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5871-10_0_2_line_46 | NAYY 4x150 SE | 40 | 44 | 0.015811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5871-10_0_2_line_47 | NAYY 4x150 SE | 42 | 45 | 0.030805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5871-10_0_2_line_48 | NAYY 4x150 SE | 42 | 46 | 0.026005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5871-10_0_2_line_49 | NAYY 4x150 SE | 43 | 47 | 0.035834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5871-10_0_2_line_50 | NAYY 4x150 SE | 43 | 48 | 0.015402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5871-10_0_2_line_51 | NAYY 4x150 SE | 44 | 49 | 0.042375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5871-10_0_2_line_52 | NAYY 4x150 SE | 44 | 50 | 0.0053944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5871-10_0_2_line_53 | NAYY 4x150 SE | 45 | 50 | 0.052415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5871-10_0_2_line_54 | NAYY 4x150 SE | 46 | 67 | 0.0051179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5871-10_0_2_line_55 | NAYY 4x150 SE | 49 | 68 | 0.0401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5871-10_0_2_line_56 | NAYY 4x150 SE | 51 | 52 | 0.010549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5871-10_0_2_line_57 | NAYY 4x150 SE | 52 | 53 | 0.0064874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5871-10_0_2_line_58 | NAYY 4x150 SE | 53 | 54 | 0.0094953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5871-10_0_2_line_59 | NAYY 4x150 SE | 54 | 57 | 0.010073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5871-10_0_2_line_60 | NAYY 4x150 SE | 55 | 56 | 0.020056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5871-10_0_2_line_61 | NAYY 4x150 SE | 56 | 58 | 0.0098906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5871-10_0_2_line_62 | NAYY 4x150 SE | 57 | 58 | 0.049987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5871-10_0_2_line_63 | NAYY 4x150 SE | 59 | 61 | 0.015178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5871-10_0_2_line_64 | NAYY 4x150 SE | 59 | 62 | 0.02062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5871-10_0_2_line_65 | NAYY 4x150 SE | 60 | 63 | 0.053941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5871-10_0_2_line_66 | NAYY 4x150 SE | 61 | 64 | 0.0071746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_5871-10_0_2_line_67 | NAYY 4x150 SE | 63 | 65 | 0.10181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_5871-10_0_2_line_68 | NAYY 4x150 SE | 63 | 66 | 0.015605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_5871-10_0_2_line_69 | NAYY 4x150 SE | 64 | 96 | 0.016636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_5871-10_0_2_line_70 | NAYY 4x150 SE | 65 | 75 | 0.028581 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_5871-10_0_2_line_71 | NAYY 4x150 SE | 66 | 94 | 0.042047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_5871-10_0_2_line_72 | NAYY 4x150 SE | 66 | 93 | 0.0072811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_5871-10_0_2_line_73 | NAYY 4x150 SE | 68 | 70 | 0.0014709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_5871-10_0_2_line_74 | NAYY 4x150 SE | 69 | 98 | 0.034495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_5871-10_0_2_line_75 | NAYY 4x150 SE | 71 | 72 | 0.024635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_5871-10_0_2_line_76 | NAYY 4x150 SE | 71 | 73 | 0.029883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_5871-10_0_2_line_77 | NAYY 4x150 SE | 72 | 74 | 0.091447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_5871-10_0_2_line_78 | NAYY 4x150 SE | 73 | 75 | 0.015244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_5871-10_0_2_line_79 | NAYY 4x150 SE | 74 | 76 | 0.041536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_5871-10_0_2_line_80 | NAYY 4x150 SE | 75 | 77 | 0.013932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_5871-10_0_2_line_81 | NAYY 4x150 SE | 76 | 78 | 0.0172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_5871-10_0_2_line_82 | NAYY 4x150 SE | 76 | 79 | 0.051626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_5871-10_0_2_line_83 | NAYY 4x150 SE | 77 | 80 | 0.019019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_5871-10_0_2_line_84 | NAYY 4x150 SE | 77 | 81 | 0.032917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_5871-10_0_2_line_85 | NAYY 4x150 SE | 78 | 87 | 0.0196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_5871-10_0_2_line_86 | NAYY 4x150 SE | 78 | 88 | 0.0075412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_5871-10_0_2_line_87 | NAYY 4x150 SE | 79 | 85 | 0.039481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_5871-10_0_2_line_88 | NAYY 4x150 SE | 79 | 84 | 0.030935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_5871-10_0_2_line_89 | NAYY 4x150 SE | 80 | 82 | 0.0018937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_5871-10_0_2_line_90 | NAYY 4x150 SE | 82 | 83 | 0.056084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_5871-10_0_2_line_91 | NAYY 4x150 SE | 83 | 86 | 0.00043784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_5871-10_0_2_line_92 | NAYY 4x150 SE | 88 | 95 | 0.013504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_5871-10_0_2_line_93 | NAYY 4x150 SE | 89 | 90 | 0.033259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_5871-10_0_2_line_94 | NAYY 4x150 SE | 89 | 91 | 0.16094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_5871-10_0_2_line_95 | NAYY 4x150 SE | 90 | 92 | 0.02415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_5871-10_0_2_line_96 | NAYY 4x150 SE | 92 | 93 | 0.0093125 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_5871-10_0_2_line_97 | NAYY 4x150 SE | 96 | 97 | 0.0079898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5871-10_0_2_trafo_35 | 0.25 MVA 20/0.4 kV | 99 | 5 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2511475.5499 | 1164697.1515 | 2511460.3788 | 1164684.2733
1 | 2511475.5499 | 1164697.1515 | 2511487.1006 | 1164706.9565
2 | 2511441.0055 | 1164666.5767 | 2511452.8236 | 1164677.8599 | 2511460.3788 | 1164684.2733
3 | 2511487.1006 | 1164706.9565 | 2511489.1506 | 1164708.6966
4 | 2511424.6263 | 1164650.9389 | 2511441.0055 | 1164666.5767
5 | 2511517.1498 | 1164731.1295 | 2511514.3835 | 1164728.883 | 2511491.7145 | 1164710.873 | 2511489.1506 | 1164708.6966
6 | 2511404.6843 | 1164631.6646 | 2511408.4557 | 1164635.5001 | 2511424.6263 | 1164650.9389
7 | 2511524.1589 | 1164736.8215 | 2511517.1498 | 1164731.1295
8 | 2511404.6843 | 1164631.6646 | 2511411.6298 | 1164621.1891 | 2511418.7909 | 1164608.7092 | 2511426.8559 | 1164603.4981 | 2511429.8326 | 1164602.7871
9 | 2511404.6843 | 1164631.6646 | 2511354.2704 | 1164580.3556 | 2511343.4423 | 1164568.7615
10 | 2511524.1589 | 1164736.8215 | 2511546.0144 | 1164753.4349
11 | 2511524.1589 | 1164736.8215 | 2511516.9747 | 1164743.587 | 2511492.4806 | 1164761.7591 | 2511489.6817 | 1164764.8473
12 | 2511486.3043 | 1164768.5737 | 2511480.9196 | 1164774.5151 | 2511473.3605 | 1164790.5224
13 | 2511486.3043 | 1164768.5737 | 2511488.9964 | 1164765.6034
14 | 2511459.8509 | 1164808.4168 | 2511464.1529 | 1164806.1259 | 2511468.8283 | 1164800.12 | 2511473.3605 | 1164790.5224
15 | 2511488.9964 | 1164765.6034 | 2511489.6817 | 1164764.8473
16 | 2511451.2502 | 1164810.4744 | 2511452.5104 | 1164810.756 | 2511456.2723 | 1164810.3224 | 2511459.8509 | 1164808.4168
17 | 2511451.2502 | 1164810.4744 | 2511446.9004 | 1164809.4824 | 2511422.9993 | 1164798.164
18 | 2511422.9993 | 1164798.164 | 2511418.6737 | 1164796.1156
19 | 2511546.0144 | 1164753.4349 | 2511561.3476 | 1164765.0905 | 2511572.0745 | 1164772.1722
20 | 2511973.527 | 1165006.7442 | 2511980.5587 | 1165004.1951 | 2511985.8974 | 1164999.5251 | 2511988.3575 | 1164995.4644 | 2511987.9919 | 1164989.8552 | 2511983.8778 | 1164979.854 | 2511974.7471 | 1164962.0216 | 2511961.6541 | 1164945.5581
21 | 2511958.3688 | 1164941.4271 | 2511961.6541 | 1164945.5581
22 | 2511973.527 | 1165006.7442 | 2511953.1792 | 1164989.3899
23 | 2511973.527 | 1165006.7442 | 2512399.8067 | 1165359.8537
24 | 2511953.1792 | 1164989.3899 | 2511952.1515 | 1164988.5134 | 2511940.2615 | 1164978.3706 | 2511905.7064 | 1164949.0027
25 | 2512399.8067 | 1165359.8537 | 2512432.326 | 1165388.8188 | 2512468.7046 | 1165419.351
26 | 2512399.8067 | 1165359.8537 | 2512407.7268 | 1165355.2242 | 2512423.2139 | 1165343.2799 | 2512436.3212 | 1165334.6168 | 2512452.0745 | 1165332.5079 | 2512472.9639 | 1165332.3143 | 2512479.4587 | 1165333.398 | 2512488.0317 | 1165341.489
27 | 2511857.4892 | 1164905.2303 | 2511865.8891 | 1164912.9116 | 2511900.4747 | 1164944.5562 | 2511905.7064 | 1164949.0027
28 | 2512574.3695 | 1165506.47 | 2512626.8349 | 1165541.5659
29 | 2512518.2069 | 1165460.7542 | 2512570.2121 | 1165503.6889 | 2512574.3695 | 1165506.47
30 | 2512518.2069 | 1165460.7542 | 2512500.4124 | 1165446.2827 | 2512468.7046 | 1165419.351
31 | 2512497.7658 | 1165386.1295 | 2512495.6339 | 1165403.7823 | 2512502.8596 | 1165431.8717 | 2512511.9768 | 1165449.983 | 2512518.2069 | 1165460.7542
32 | 2512468.7046 | 1165419.351 | 2512461.9464 | 1165418.5825 | 2512443.8977 | 1165416.6223 | 2512434.7599 | 1165427.0175 | 2512439.727 | 1165431.4383
33 | 2512488.6252 | 1165349.096 | 2512488.0317 | 1165341.489
34 | 2511857.4892 | 1164905.2303 | 2511896.1864 | 1164911.9538
35 | 2511840.562 | 1164891.1037 | 2511857.4892 | 1164905.2303
36 | 2511689.7914 | 1164847.7494 | 2511706.8858 | 1164822.1365
37 | 2511710.3845 | 1164816.8945 | 2511706.8858 | 1164822.1365
38 | 2511689.7914 | 1164847.7494 | 2511675.5749 | 1164838.8198 | 2511623.0219 | 1164805.8067
39 | 2511710.3845 | 1164816.8945 | 2511725.1916 | 1164819.6092
40 | 2511623.0219 | 1164805.8067 | 2511604.6234 | 1164828.5011
41 | 2511623.0219 | 1164805.8067 | 2511572.0745 | 1164772.1722
42 | 2511731.8962 | 1164821.3919 | 2511727.4491 | 1164820.0231 | 2511725.1916 | 1164819.6092
43 | 2511593.3951 | 1164843.1433 | 2511596.5581 | 1164838.4495 | 2511604.6234 | 1164828.5011
44 | 2511779.6195 | 1164904.1514 | 2511798.9151 | 1164876.7769
45 | 2511779.6195 | 1164904.1514 | 2511793.658 | 1164912.9726 | 2511815.241 | 1164926.5192 | 2511815.5782 | 1164926.731
46 | 2511808.0241 | 1164863.8541 | 2511798.9151 | 1164876.7769
47 | 2511731.8962 | 1164821.3919 | 2511759.8023 | 1164829.9868 | 2511761.2283 | 1164830.7237
48 | 2511731.8962 | 1164821.3919 | 2511741.6897 | 1164817.5789 | 2511753.2015 | 1164808.7377 | 2511754.1601 | 1164808.5323
49 | 2511593.3951 | 1164843.1433 | 2511624.082 | 1164861.6471
50 | 2511593.3951 | 1164843.1433 | 2511591.3863 | 1164846.1192 | 2511584.2612 | 1164842.3329 | 2511582.0256 | 1164845.3352
51 | 2511808.0241 | 1164863.8541 | 2511840.562 | 1164891.1037
52 | 2511808.0241 | 1164863.8541 | 2511804.0185 | 1164860.2409
53 | 2511804.0185 | 1164860.2409 | 2511784.8001 | 1164842.9049 | 2511761.2283 | 1164830.7237
54 | 2511759.1645 | 1164807.4604 | 2511754.1601 | 1164808.5323
55 | 2511840.562 | 1164891.1037 | 2511851.9535 | 1164890.2358 | 2511860.2013 | 1164889.6477 | 2511864.8931 | 1164887.3441 | 2511867.5571 | 1164884.1253 | 2511867.861 | 1164880.8299 | 2511864.391 | 1164873.9651
56 | 2511409.3396 | 1164791.2113 | 2511415.2305 | 1164794.4851 | 2511418.6737 | 1164796.1156
57 | 2511403.6691 | 1164788.0599 | 2511409.3396 | 1164791.2113
58 | 2511395.3693 | 1164783.4474 | 2511403.6691 | 1164788.0599
59 | 2511386.5644 | 1164778.5541 | 2511395.3693 | 1164783.4474
60 | 2511405.7388 | 1164833.0242 | 2511386.6559 | 1164826.8518
61 | 2511377.2453 | 1164823.8079 | 2511386.6559 | 1164826.8518
62 | 2511386.5644 | 1164778.5541 | 2511381.2289 | 1164796.3881 | 2511372.1581 | 1164819.0357 | 2511377.2453 | 1164823.8079
63 | 2511429.8326 | 1164602.7871 | 2511419.3708 | 1164591.7903
64 | 2511429.8326 | 1164602.7871 | 2511446.6698 | 1164598.7585 | 2511448.9781 | 1164596.3893
65 | 2511306.625 | 1164529.3397 | 2511343.4423 | 1164568.7615
66 | 2511414.4257 | 1164586.5922 | 2511419.3708 | 1164591.7903
67 | 2511306.625 | 1164529.3397 | 2511300.1782 | 1164528.9903 | 2511295.7735 | 1164527.9214 | 2511250.2445 | 1164493.1733 | 2511231.778 | 1164479.7605 | 2511224.0505 | 1164472.3323
68 | 2511312.2257 | 1164523.231 | 2511302.6401 | 1164525.0626 | 2511306.625 | 1164529.3397
69 | 2511414.4257 | 1164586.5922 | 2511411.7359 | 1164583.7649 | 2511405.557 | 1164577.1743 | 2511404.105 | 1164573.7715
70 | 2511205.5277 | 1164450.7201 | 2511214.3962 | 1164463.0519 | 2511224.0505 | 1164472.3323
71 | 2511312.2257 | 1164523.231 | 2511314.3186 | 1164522.8332 | 2511329.1214 | 1164526.261 | 2511345.9024 | 1164528.7814 | 2511351.4654 | 1164523.2292
72 | 2511312.2257 | 1164523.231 | 2511307.3431 | 1164517.8296
73 | 2511863.7275 | 1164872.6523 | 2511864.391 | 1164873.9651
74 | 2511930.2436 | 1164914.2011 | 2511918.3191 | 1164915.7992 | 2511896.1864 | 1164911.9538
75 | 2511178.1749 | 1164414.8285 | 2511177.5943 | 1164414.0667 | 2511161.1115 | 1164397.0685
76 | 2511178.1749 | 1164414.8285 | 2511196.2879 | 1164438.5959
77 | 2511161.1115 | 1164397.0685 | 2511146.5815 | 1164382.0841 | 2511113.4191 | 1164357.0266 | 2511095.0412 | 1164342.9235 | 2511090.7256 | 1164338.9829
78 | 2511205.5277 | 1164450.7201 | 2511196.2879 | 1164438.5959
79 | 2511061.5092 | 1164309.5 | 2511079.7289 | 1164328.9419 | 2511090.7256 | 1164338.9829
80 | 2511205.5277 | 1164450.7201 | 2511198.5081 | 1164457.2167 | 2511197.7447 | 1164461.5306
81 | 2511061.5092 | 1164309.5 | 2511049.9172 | 1164322.235
82 | 2511018.1924 | 1164282.6034 | 2511046.4217 | 1164295.1927 | 2511055.6642 | 1164303.2606 | 2511061.5092 | 1164309.5
83 | 2511197.7447 | 1164461.5306 | 2511179.1494 | 1164457.5367
84 | 2511197.7447 | 1164461.5306 | 2511198.5116 | 1164471.4253 | 2511199.1295 | 1164483.1565 | 2511200.7384 | 1164494.2864
85 | 2511049.9172 | 1164322.235 | 2511037.3116 | 1164333.7621 | 2511035.5527 | 1164331.9589
86 | 2511049.9172 | 1164322.235 | 2511043.2901 | 1164318.6362
87 | 2511018.1924 | 1164282.6034 | 2510992.6113 | 1164312.7342
88 | 2511018.1924 | 1164282.6034 | 2511031.7539 | 1164254.7994
89 | 2511179.1494 | 1164457.5367 | 2511177.9088 | 1164456.1059
90 | 2511137.8431 | 1164436.4664 | 2511148.5061 | 1164426.6937 | 2511171.497 | 1164448.7112 | 2511177.9088 | 1164456.1059
91 | 2511137.8431 | 1164436.4664 | 2511137.5203 | 1164436.7622
92 | 2511031.4231 | 1164312.1919 | 2511043.2901 | 1164318.6362
93 | 2511270.3522 | 1164464.2161 | 2511289.5932 | 1164491.3438
94 | 2511270.3522 | 1164464.2161 | 2511352.2998 | 1164325.6975
95 | 2511301.0983 | 1164510.9213 | 2511302.4087 | 1164509.4121 | 2511289.5932 | 1164491.3438
96 | 2511301.0983 | 1164510.9213 | 2511307.3431 | 1164517.8296
97 | 2511406.0142 | 1164566.1276 | 2511404.3562 | 1164570.0322 | 2511404.105 | 1164573.7715

## bus_geodata
| x | y | coords
0 | 2511475.5499 | 1164697.1515
1 | 2511460.3788 | 1164684.2733
2 | 2511487.1006 | 1164706.9565
3 | 2511441.0055 | 1164666.5767
4 | 2511489.1506 | 1164708.6966
5 | 2511424.6263 | 1164650.9389
6 | 2511517.1498 | 1164731.1295
7 | 2511404.6843 | 1164631.6646
8 | 2511524.1589 | 1164736.8215
9 | 2511486.3043 | 1164768.5737
10 | 2511473.3605 | 1164790.5224
11 | 2511488.9964 | 1164765.6034
12 | 2511459.8509 | 1164808.4168
13 | 2511489.6817 | 1164764.8473
14 | 2511451.2502 | 1164810.4744
15 | 2511422.9993 | 1164798.164
16 | 2511546.0144 | 1164753.4349
17 | 2511961.6541 | 1164945.5581
18 | 2511973.527 | 1165006.7442
19 | 2511958.3688 | 1164941.4271
20 | 2511953.1792 | 1164989.3899
21 | 2512399.8067 | 1165359.8537
22 | 2511905.7064 | 1164949.0027
23 | 2512574.3695 | 1165506.47
24 | 2512626.8349 | 1165541.5659
25 | 2512518.2069 | 1165460.7542
26 | 2512468.7046 | 1165419.351
27 | 2512497.7658 | 1165386.1295
28 | 2512439.727 | 1165431.4383
29 | 2512488.0317 | 1165341.489
30 | 2512488.6252 | 1165349.096
31 | 2511857.4892 | 1164905.2303
32 | 2511706.8858 | 1164822.1365
33 | 2511689.7914 | 1164847.7494
34 | 2511710.3845 | 1164816.8945
35 | 2511623.0219 | 1164805.8067
36 | 2511725.1916 | 1164819.6092
37 | 2511604.6234 | 1164828.5011
38 | 2511572.0745 | 1164772.1722
39 | 2511779.6195 | 1164904.1514
40 | 2511798.9151 | 1164876.7769
41 | 2511815.5782 | 1164926.731
42 | 2511731.8962 | 1164821.3919
43 | 2511593.3951 | 1164843.1433
44 | 2511808.0241 | 1164863.8541
45 | 2511761.2283 | 1164830.7237
46 | 2511754.1601 | 1164808.5323
47 | 2511624.082 | 1164861.6471
48 | 2511582.0256 | 1164845.3352
49 | 2511840.562 | 1164891.1037
50 | 2511804.0185 | 1164860.2409
51 | 2511418.6737 | 1164796.1156
52 | 2511409.3396 | 1164791.2113
53 | 2511403.6691 | 1164788.0599
54 | 2511395.3693 | 1164783.4474
55 | 2511405.7388 | 1164833.0242
56 | 2511386.6559 | 1164826.8518
57 | 2511386.5644 | 1164778.5541
58 | 2511377.2453 | 1164823.8079
59 | 2511429.8326 | 1164602.7871
60 | 2511343.4423 | 1164568.7615
61 | 2511419.3708 | 1164591.7903
62 | 2511448.9781 | 1164596.3893
63 | 2511306.625 | 1164529.3397
64 | 2511414.4257 | 1164586.5922
65 | 2511224.0505 | 1164472.3323
66 | 2511312.2257 | 1164523.231
67 | 2511759.1645 | 1164807.4604
68 | 2511864.391 | 1164873.9651
69 | 2511896.1864 | 1164911.9538
70 | 2511863.7275 | 1164872.6523
71 | 2511178.1749 | 1164414.8285
72 | 2511161.1115 | 1164397.0685
73 | 2511196.2879 | 1164438.5959
74 | 2511090.7256 | 1164338.9829
75 | 2511205.5277 | 1164450.7201
76 | 2511061.5092 | 1164309.5
77 | 2511197.7447 | 1164461.5306
78 | 2511049.9172 | 1164322.235
79 | 2511018.1924 | 1164282.6034
80 | 2511179.1494 | 1164457.5367
81 | 2511200.7384 | 1164494.2864
82 | 2511177.9088 | 1164456.1059
83 | 2511137.8431 | 1164436.4664
84 | 2511031.7539 | 1164254.7994
85 | 2510992.6113 | 1164312.7342
86 | 2511137.5203 | 1164436.7622
87 | 2511035.5527 | 1164331.9589
88 | 2511043.2901 | 1164318.6362
89 | 2511270.3522 | 1164464.2161
90 | 2511289.5932 | 1164491.3438
91 | 2511352.2998 | 1164325.6975
92 | 2511301.0983 | 1164510.9213
93 | 2511307.3431 | 1164517.8296
94 | 2511351.4654 | 1164523.2292
95 | 2511031.4231 | 1164312.1919
96 | 2511404.105 | 1164573.7715
97 | 2511406.0142 | 1164566.1276
98 | 2511930.2436 | 1164914.2011
99 | 2511404.6843 | 1164631.6646

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1