## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5871-2_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5871-2_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5871-2_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5871-2_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5871-2_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5871-2_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5871-2_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_5871-2_0_3_node_64 | 0.4 | n |  | TRUE
8 | bus_LV_5871-2_0_3_node_63 | 0.4 | n |  | TRUE
9 | bus_LV_5871-2_0_3_node_37 | 0.4 | n |  | TRUE
10 | bus_LV_5871-2_0_3_node_74 | 0.4 | n |  | TRUE
11 | bus_LV_5871-2_0_3_node_55 | 0.4 | n |  | TRUE
12 | bus_LV_5871-2_0_3_node_68 | 0.4 | n |  | TRUE
13 | bus_LV_5871-2_0_3_node_65 | 0.4 | n |  | TRUE
14 | bus_LV_5871-2_0_3_node_82 | 0.4 | n |  | TRUE
15 | bus_LV_5871-2_0_3_node_35 | 0.4 | n |  | TRUE
16 | bus_LV_5871-2_0_3_node_18 | 0.4 | n |  | TRUE
17 | bus_LV_5871-2_0_3_node_20 | 0.4 | n |  | TRUE
18 | bus_LV_5871-2_0_3_node_21 | 0.4 | n |  | TRUE
19 | bus_LV_5871-2_0_3_node_58 | 0.4 | n |  | TRUE
20 | bus_LV_5871-2_0_3_node_53 | 0.4 | n |  | TRUE
21 | bus_LV_5871-2_0_3_node_67 | 0.4 | n |  | TRUE
22 | bus_LV_5871-2_0_3_node_7 | 0.4 | n |  | TRUE
23 | bus_LV_5871-2_0_3_node_8 | 0.4 | n |  | TRUE
24 | bus_LV_5871-2_0_3_node_9 | 0.4 | n |  | TRUE
25 | bus_LV_5871-2_0_3_node_10 | 0.4 | n |  | TRUE
26 | bus_LV_5871-2_0_3_node_11 | 0.4 | n |  | TRUE
27 | bus_LV_5871-2_0_3_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_5871-2_0_3_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_5871-2_0_3_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_5871-2_0_3_node_76 | 0.4 | n |  | TRUE
31 | bus_LV_5871-2_0_3_node_40 | 0.4 | n |  | TRUE
32 | bus_LV_5871-2_0_3_node_46 | 0.4 | n |  | TRUE
33 | bus_LV_5871-2_0_3_node_12 | 0.4 | n |  | TRUE
34 | bus_LV_5871-2_0_3_node_13 | 0.4 | n |  | TRUE
35 | bus_LV_5871-2_0_3_node_14 | 0.4 | n |  | TRUE
36 | bus_LV_5871-2_0_3_node_75 | 0.4 | n |  | TRUE
37 | bus_LV_5871-2_0_3_node_49 | 0.4 | n |  | TRUE
38 | bus_LV_5871-2_0_3_node_47 | 0.4 | n |  | TRUE
39 | bus_LV_5871-2_0_3_node_38 | 0.4 | n |  | TRUE
40 | bus_LV_5871-2_0_3_node_22 | 0.4 | n |  | TRUE
41 | bus_LV_5871-2_0_3_node_23 | 0.4 | n |  | TRUE
42 | bus_LV_5871-2_0_3_node_24 | 0.4 | n |  | TRUE
43 | bus_LV_5871-2_0_3_node_25 | 0.4 | n |  | TRUE
44 | bus_LV_5871-2_0_3_node_26 | 0.4 | n |  | TRUE
45 | bus_LV_5871-2_0_3_node_27 | 0.4 | n |  | TRUE
46 | bus_LV_5871-2_0_3_node_62 | 0.4 | n |  | TRUE
47 | bus_LV_5871-2_0_3_node_87 | 0.4 | n |  | TRUE
48 | bus_LV_5871-2_0_3_node_28 | 0.4 | n |  | TRUE
49 | bus_LV_5871-2_0_3_node_71 | 0.4 | n |  | TRUE
50 | bus_LV_5871-2_0_3_node_60 | 0.4 | n |  | TRUE
51 | bus_LV_5871-2_0_3_node_88 | 0.4 | n |  | TRUE
52 | bus_LV_5871-2_0_3_node_29 | 0.4 | n |  | TRUE
53 | bus_LV_5871-2_0_3_node_30 | 0.4 | n |  | TRUE
54 | bus_LV_5871-2_0_3_node_31 | 0.4 | n |  | TRUE
55 | bus_LV_5871-2_0_3_node_32 | 0.4 | n |  | TRUE
56 | bus_LV_5871-2_0_3_node_33 | 0.4 | n |  | TRUE
57 | bus_LV_5871-2_0_3_node_34 | 0.4 | n |  | TRUE
58 | bus_LV_5871-2_0_3_node_36 | 0.4 | n |  | TRUE
59 | bus_LV_5871-2_0_3_node_69 | 0.4 | n |  | TRUE
60 | bus_LV_5871-2_0_3_node_66 | 0.4 | n |  | TRUE
61 | bus_LV_5871-2_0_3_node_85 | 0.4 | n |  | TRUE
62 | bus_LV_5871-2_0_3_node_86 | 0.4 | n |  | TRUE
63 | bus_LV_5871-2_0_3_node_39 | 0.4 | n |  | TRUE
64 | bus_LV_5871-2_0_3_node_50 | 0.4 | n |  | TRUE
65 | bus_LV_5871-2_0_3_node_51 | 0.4 | n |  | TRUE
66 | bus_LV_5871-2_0_3_node_41 | 0.4 | n |  | TRUE
67 | bus_LV_5871-2_0_3_node_42 | 0.4 | n |  | TRUE
68 | bus_LV_5871-2_0_3_node_43 | 0.4 | n |  | TRUE
69 | bus_LV_5871-2_0_3_node_44 | 0.4 | n |  | TRUE
70 | bus_LV_5871-2_0_3_node_45 | 0.4 | n |  | TRUE
71 | bus_LV_5871-2_0_3_node_72 | 0.4 | n |  | TRUE
72 | bus_LV_5871-2_0_3_node_70 | 0.4 | n |  | TRUE
73 | bus_LV_5871-2_0_3_node_84 | 0.4 | n |  | TRUE
74 | bus_LV_5871-2_0_3_node_48 | 0.4 | n |  | TRUE
75 | bus_LV_5871-2_0_3_node_89 | 0.4 | n |  | TRUE
76 | bus_LV_5871-2_0_3_node_52 | 0.4 | n |  | TRUE
77 | bus_LV_5871-2_0_3_node_73 | 0.4 | n |  | TRUE
78 | bus_LV_5871-2_0_3_node_56 | 0.4 | n |  | TRUE
79 | bus_LV_5871-2_0_3_node_54 | 0.4 | n |  | TRUE
80 | bus_LV_5871-2_0_3_node_77 | 0.4 | n |  | TRUE
81 | bus_LV_5871-2_0_3_node_83 | 0.4 | n |  | TRUE
82 | bus_LV_5871-2_0_3_node_59 | 0.4 | n |  | TRUE
83 | bus_LV_5871-2_0_3_node_61 | 0.4 | n |  | TRUE
84 | bus_LV_5871-2_0_3_node_81 | 0.4 | n |  | TRUE
85 | bus_LV_5871-2_0_3_node_78 | 0.4 | n |  | TRUE
86 | bus_LV_5871-2_0_3_node_79 | 0.4 | n |  | TRUE
87 | bus_LV_5871-2_0_3_node_80 | 0.4 | n |  | TRUE
88 | bus_MV_337_0_node_9 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5871-2_0_3_load_0 | 0 | 0.0023553 | 0.0005903 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5871-2_0_3_load_3 | 3 | 0.00060183 | 0.00015083 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5871-2_0_3_load_4 | 4 | 0.0011627 | 0.00029139 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5871-2_0_3_load_5 | 5 | 0.0009842 | 0.00024666 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5871-2_0_3_load_63 | 8 | 0.00059931 | 0.0001502 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5871-2_0_3_load_37 | 9 | 0.0010825 | 0.0002713 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5871-2_0_3_load_74 | 10 | 0.0018955 | 0.00047506 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5871-2_0_3_load_68 | 12 | 0.001383 | 0.00034661 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5871-2_0_3_load_65 | 13 | 0.00080995 | 0.00020299 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5871-2_0_3_load_82 | 14 | 0.00058641 | 0.00014697 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5871-2_0_3_load_18 | 16 | 0.0039522 | 0.00099052 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5871-2_0_3_load_58 | 19 | 0.00080478 | 0.0002017 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5871-2_0_3_load_53 | 20 | 0.00069477 | 0.00017413 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5871-2_0_3_load_67 | 21 | 0.00041287 | 0.00010347 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5871-2_0_3_load_7 | 22 | 0.01666 | 0.0041753 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5871-2_0_3_load_8 | 23 | 0.0013208 | 0.00033103 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5871-2_0_3_load_9 | 24 | 0.0030175 | 0.00075626 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5871-2_0_3_load_15 | 27 | 0.0022 | 0.00055136 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5871-2_0_3_load_17 | 29 | 0.0035971 | 0.00090151 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5871-2_0_3_load_76 | 30 | 0.0040765 | 0.0010217 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5871-2_0_3_load_40 | 31 | 0.0032026 | 0.00080264 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5871-2_0_3_load_46 | 32 | 0.00338 | 0.00084712 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5871-2_0_3_load_12 | 33 | 0.002024 | 0.00050725 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5871-2_0_3_load_13 | 34 | 0.0020675 | 0.00051817 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5871-2_0_3_load_75 | 36 | 0.0026738 | 0.00067011 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5871-2_0_3_load_49 | 37 | 0.0014631 | 0.00036668 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5871-2_0_3_load_22 | 40 | 0.0025119 | 0.00062955 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5871-2_0_3_load_23 | 41 | 0.0054494 | 0.0013657 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5871-2_0_3_load_25 | 43 | 0.00092595 | 0.00023207 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5871-2_0_3_load_27 | 45 | 0.0054343 | 0.001362 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5871-2_0_3_load_87 | 47 | 0.0047244 | 0.001184 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5871-2_0_3_load_28 | 48 | 0.0059043 | 0.0014798 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5871-2_0_3_load_71 | 49 | 0.0056162 | 0.0014075 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5871-2_0_3_load_60 | 50 | 0.0029677 | 0.00074377 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5871-2_0_3_load_88 | 51 | 0.0064763 | 0.0016231 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5871-2_0_3_load_29 | 52 | 0.0011838 | 0.0002967 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5871-2_0_3_load_30 | 53 | 0.0043519 | 0.0010907 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5871-2_0_3_load_33 | 56 | 0.00057499 | 0.00014411 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5871-2_0_3_load_36 | 58 | 0.0070002 | 0.0017544 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5871-2_0_3_load_69 | 59 | 0.00050519 | 0.00012661 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5871-2_0_3_load_66 | 60 | 0.0009733 | 0.00024393 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5871-2_0_3_load_86 | 62 | 0.00050487 | 0.00012653 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5871-2_0_3_load_39 | 63 | 0.0014245 | 0.00035702 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5871-2_0_3_load_50 | 64 | 0.00078665 | 0.00019715 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5871-2_0_3_load_51 | 65 | 0.001992 | 0.00049925 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5871-2_0_3_load_41 | 66 | 0.0051669 | 0.0012949 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5871-2_0_3_load_42 | 67 | 0.0042544 | 0.0010662 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5871-2_0_3_load_43 | 68 | 0.0054617 | 0.0013688 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5871-2_0_3_load_44 | 69 | 0.0052847 | 0.0013245 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5871-2_0_3_load_72 | 71 | 0.0083531 | 0.0020935 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5871-2_0_3_load_70 | 72 | 0.005635 | 0.0014123 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5871-2_0_3_load_84 | 73 | 0.0024344 | 0.00061012 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5871-2_0_3_load_48 | 74 | 0.0026307 | 0.00065932 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5871-2_0_3_load_89 | 75 | 0.0067445 | 0.0016903 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5871-2_0_3_load_52 | 76 | 0.0031486 | 0.00078911 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5871-2_0_3_load_73 | 77 | 0.0008777 | 0.00021997 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5871-2_0_3_load_77 | 80 | 0.0016131 | 0.00040427 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5871-2_0_3_load_59 | 82 | 0.0082015 | 0.0020555 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5871-2_0_3_load_61 | 83 | 0.0024666 | 0.0006182 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5871-2_0_3_load_81 | 84 | 0.001157 | 0.00028998 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5871-2_0_3_load_78 | 85 | 0.0046422 | 0.0011635 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5871-2_0_3_load_79 | 86 | 0.0030871 | 0.00077371 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5871-2_0_3_load_80 | 87 | 0.0062959 | 0.0015779 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 71 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5871-2_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.070278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5871-2_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.02386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5871-2_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.019288 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5871-2_0_3_line_3 | NAYY 4x150 SE | 1 | 4 | 0.04701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5871-2_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.048357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5871-2_0_3_line_5 | NAYY 4x150 SE | 2 | 6 | 0.003529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5871-2_0_3_line_6 | NAYY 4x150 SE | 3 | 7 | 0.088939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5871-2_0_3_line_7 | NAYY 4x150 SE | 4 | 8 | 0.05092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5871-2_0_3_line_8 | NAYY 4x150 SE | 5 | 9 | 0.016912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5871-2_0_3_line_9 | NAYY 4x150 SE | 6 | 10 | 0.033575 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5871-2_0_3_line_10 | NAYY 4x150 SE | 6 | 11 | 0.019852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5871-2_0_3_line_11 | NAYY 4x150 SE | 6 | 12 | 0.049415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5871-2_0_3_line_12 | NAYY 4x150 SE | 7 | 13 | 0.029727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5871-2_0_3_line_13 | NAYY 4x150 SE | 8 | 18 | 0.029421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5871-2_0_3_line_14 | NAYY 4x150 SE | 11 | 19 | 0.022803 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5871-2_0_3_line_15 | NAYY 4x150 SE | 11 | 20 | 0.018528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5871-2_0_3_line_16 | NAYY 4x150 SE | 12 | 21 | 0.029378 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5871-2_0_3_line_17 | NAYY 4x150 SE | 14 | 15 | 0.021221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5871-2_0_3_line_18 | NAYY 4x150 SE | 15 | 57 | 0.06638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5871-2_0_3_line_19 | NAYY 4x150 SE | 16 | 17 | 0.018776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5871-2_0_3_line_20 | NAYY 4x150 SE | 17 | 18 | 0.009549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5871-2_0_3_line_21 | NAYY 4x150 SE | 20 | 79 | 0.023499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5871-2_0_3_line_22 | NAYY 4x150 SE | 21 | 60 | 0.019677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5871-2_0_3_line_23 | NAYY 4x150 SE | 22 | 23 | 0.012113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5871-2_0_3_line_24 | NAYY 4x150 SE | 22 | 24 | 0.0075309 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5871-2_0_3_line_25 | NAYY 4x150 SE | 23 | 25 | 0.019836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5871-2_0_3_line_26 | NAYY 4x150 SE | 24 | 26 | 0.019441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5871-2_0_3_line_27 | NAYY 4x150 SE | 25 | 27 | 0.024628 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5871-2_0_3_line_28 | NAYY 4x150 SE | 25 | 28 | 0.05923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5871-2_0_3_line_29 | NAYY 4x150 SE | 26 | 29 | 0.012662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5871-2_0_3_line_30 | NAYY 4x150 SE | 28 | 30 | 0.020422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5871-2_0_3_line_31 | NAYY 4x150 SE | 28 | 31 | 0.010093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5871-2_0_3_line_32 | NAYY 4x150 SE | 29 | 32 | 0.023448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5871-2_0_3_line_33 | NAYY 4x150 SE | 31 | 39 | 0.00811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5871-2_0_3_line_34 | NAYY 4x150 SE | 32 | 38 | 0.0064633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5871-2_0_3_line_35 | NAYY 4x150 SE | 33 | 34 | 0.030608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5871-2_0_3_line_36 | NAYY 4x150 SE | 34 | 35 | 0.019704 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5871-2_0_3_line_37 | NAYY 4x150 SE | 35 | 36 | 0.052317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5871-2_0_3_line_38 | NAYY 4x150 SE | 35 | 37 | 0.019348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5871-2_0_3_line_39 | NAYY 4x150 SE | 37 | 38 | 0.039267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5871-2_0_3_line_40 | NAYY 4x150 SE | 38 | 74 | 0.039847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5871-2_0_3_line_41 | NAYY 4x150 SE | 39 | 63 | 0.041088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5871-2_0_3_line_42 | NAYY 4x150 SE | 40 | 41 | 0.00078436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5871-2_0_3_line_43 | NAYY 4x150 SE | 40 | 42 | 0.0092475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5871-2_0_3_line_44 | NAYY 4x150 SE | 41 | 43 | 0.0094925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5871-2_0_3_line_45 | NAYY 4x150 SE | 42 | 44 | 0.050361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5871-2_0_3_line_46 | NAYY 4x150 SE | 43 | 45 | 0.0061317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5871-2_0_3_line_47 | NAYY 4x150 SE | 44 | 46 | 0.003581 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5871-2_0_3_line_48 | NAYY 4x150 SE | 44 | 47 | 0.032045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5871-2_0_3_line_49 | NAYY 4x150 SE | 45 | 48 | 0.0058889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5871-2_0_3_line_50 | NAYY 4x150 SE | 46 | 49 | 0.022089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5871-2_0_3_line_51 | NAYY 4x150 SE | 46 | 50 | 0.017836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5871-2_0_3_line_52 | NAYY 4x150 SE | 47 | 51 | 0.0065592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5871-2_0_3_line_53 | NAYY 4x150 SE | 48 | 52 | 0.030771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5871-2_0_3_line_54 | NAYY 4x150 SE | 49 | 72 | 0.017064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5871-2_0_3_line_55 | NAYY 4x150 SE | 50 | 82 | 0.018663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5871-2_0_3_line_56 | NAYY 4x150 SE | 53 | 54 | 0.021289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5871-2_0_3_line_57 | NAYY 4x150 SE | 53 | 55 | 0.068936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5871-2_0_3_line_58 | NAYY 4x150 SE | 54 | 56 | 0.017554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5871-2_0_3_line_59 | NAYY 4x150 SE | 54 | 57 | 0.036527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5871-2_0_3_line_60 | NAYY 4x150 SE | 55 | 58 | 0.039391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5871-2_0_3_line_61 | NAYY 4x150 SE | 57 | 59 | 0.038505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5871-2_0_3_line_62 | NAYY 4x150 SE | 57 | 60 | 0.022626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5871-2_0_3_line_63 | NAYY 4x150 SE | 58 | 61 | 0.015897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5871-2_0_3_line_64 | NAYY 4x150 SE | 61 | 62 | 0.022983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5871-2_0_3_line_65 | NAYY 4x150 SE | 63 | 64 | 0.0052093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5871-2_0_3_line_66 | NAYY 4x150 SE | 64 | 65 | 0.0029555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_5871-2_0_3_line_67 | NAYY 4x150 SE | 65 | 76 | 0.00048349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_5871-2_0_3_line_68 | NAYY 4x150 SE | 66 | 67 | 0.013544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_5871-2_0_3_line_69 | NAYY 4x150 SE | 66 | 68 | 0.001381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_5871-2_0_3_line_70 | NAYY 4x150 SE | 67 | 69 | 0.00887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_5871-2_0_3_line_71 | NAYY 4x150 SE | 68 | 70 | 0.016447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_5871-2_0_3_line_72 | NAYY 4x150 SE | 70 | 71 | 0.029997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_5871-2_0_3_line_73 | NAYY 4x150 SE | 70 | 72 | 0.01839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_5871-2_0_3_line_74 | NAYY 4x150 SE | 71 | 73 | 0.022092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
75 | LV_5871-2_0_3_line_75 | NAYY 4x150 SE | 73 | 81 | 0.024709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
76 | LV_5871-2_0_3_line_76 | NAYY 4x150 SE | 74 | 75 | 0.1256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_5871-2_0_3_line_77 | NAYY 4x150 SE | 76 | 77 | 0.012054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_5871-2_0_3_line_78 | NAYY 4x150 SE | 77 | 78 | 0.014683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_5871-2_0_3_line_79 | NAYY 4x150 SE | 78 | 80 | 0.015274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_5871-2_0_3_line_80 | NAYY 4x150 SE | 78 | 79 | 0.03451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_5871-2_0_3_line_81 | NAYY 4x150 SE | 80 | 81 | 0.034187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_5871-2_0_3_line_82 | NAYY 4x150 SE | 81 | 84 | 0.016798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_5871-2_0_3_line_83 | NAYY 4x150 SE | 82 | 83 | 0.0052126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_5871-2_0_3_line_84 | NAYY 4x150 SE | 84 | 86 | 0.0050983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_5871-2_0_3_line_85 | NAYY 4x150 SE | 85 | 86 | 0.0011483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_5871-2_0_3_line_86 | NAYY 4x150 SE | 85 | 87 | 0.0093279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5871-2_0_3_trafo_72 | 0.25 MVA 20/0.4 kV | 88 | 71 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2515282.0934 | 1168712.3224 | 2515274.808 | 1168737.8628 | 2515264.9114 | 1168737.3245 | 2515257.0864 | 1168738.2245 | 2515254.2634 | 1168739.3984 | 2515252.4803 | 1168741.5805 | 2515252.2319 | 1168748.3769 | 2515252.698 | 1168761.6239
1 | 2515253.537 | 1168785.4696 | 2515252.698 | 1168761.6239
2 | 2515282.0934 | 1168712.3224 | 2515290.0907 | 1168729.8738
3 | 2515282.0934 | 1168712.3224 | 2515284.0051 | 1168705.6915 | 2515290.2743 | 1168691.1053 | 2515298.1517 | 1168685.7909 | 2515289.145 | 1168674.135
4 | 2515253.537 | 1168785.4696 | 2515257.4267 | 1168786.115 | 2515265.118 | 1168790.3867 | 2515271.442 | 1168797.0124 | 2515275.8148 | 1168806.3896 | 2515280.2308 | 1168821.8829
5 | 2515250.0462 | 1168784.8852 | 2515253.537 | 1168785.4696
6 | 2515327.3016 | 1168810.654 | 2515296.509 | 1168743.96 | 2515290.0907 | 1168729.8738
7 | 2515289.145 | 1168674.135 | 2515339.7065 | 1168668.104
8 | 2515284.8666 | 1168838.1474 | 2515284.8666 | 1168838.1474 | 2515280.2308 | 1168821.8829
9 | 2515250.0462 | 1168784.8852 | 2515245.4843 | 1168783.7935 | 2515234.8072 | 1168773.516 | 2515228.1285 | 1168761.1389
10 | 2515250.0462 | 1168784.8852 | 2515253.0043 | 1168803.5546 | 2515253.0559 | 1168804.4989
11 | 2515250.0462 | 1168784.8852 | 2515240.698 | 1168749.5072 | 2515237.5062 | 1168737.5896 | 2515237.4177 | 1168737.1126
12 | 2515327.3016 | 1168810.654 | 2515338.8457 | 1168838.0477
13 | 2515353.9498 | 1168642.4217 | 2515341.667 | 1168663.163 | 2515339.7065 | 1168668.104
14 | 2515253.0559 | 1168804.4989 | 2515261.2285 | 1168803.8274 | 2515265.6307 | 1168800.6634 | 2515268.4412 | 1168809.44
15 | 2515253.0559 | 1168804.4989 | 2515253.7862 | 1168817.1739 | 2515253.735 | 1168822.7557 | 2515253.7137 | 1168823.0051
16 | 2515232.7413 | 1168708.1216 | 2515234.2087 | 1168719.8256 | 2515237.4177 | 1168737.1126
17 | 2515225.3079 | 1168599.724 | 2515232.6329 | 1168604.5901 | 2515241.0409 | 1168613.7405
18 | 2515225.3079 | 1168599.724 | 2515227.5958 | 1168641.3499 | 2515228.1561 | 1168654.4498 | 2515228.97 | 1168666.0008
19 | 2515358.8243 | 1168634.2036 | 2515363.377 | 1168626.5125 | 2515370.053 | 1168619.2855
20 | 2515353.9498 | 1168642.4217 | 2515358.8243 | 1168634.2036
21 | 2515244.2658 | 1168843.2351 | 2515248.5763 | 1168838.4603 | 2515252.2961 | 1168834.6721 | 2515253.3475 | 1168827.2862 | 2515253.7137 | 1168823.0051
22 | 2515230.5686 | 1168688.5701 | 2515230.9305 | 1168693.6785 | 2515232.7413 | 1168708.1216
23 | 2515263.5306 | 1168997.381 | 2515270.6904 | 1168987.6105
24 | 2515263.5306 | 1168997.381 | 2515259.0792 | 1169003.4556
25 | 2515280.3901 | 1168970.3675 | 2515273.8154 | 1168983.346 | 2515270.6904 | 1168987.6105
26 | 2515247.6644 | 1169019.1924 | 2515253.3088 | 1169011.3302 | 2515259.0792 | 1169003.4556
27 | 2515280.3901 | 1168970.3675 | 2515295.7649 | 1168981.0902 | 2515301.0067 | 1168978.3145
28 | 2515304.6313 | 1168916.3262 | 2515286.4139 | 1168958.4753 | 2515280.3901 | 1168970.3675
29 | 2515247.6644 | 1169019.1924 | 2515240.2844 | 1169029.4811
30 | 2515304.6313 | 1168916.3262 | 2515310.9064 | 1168935.7603
31 | 2515304.6313 | 1168916.3262 | 2515306.3953 | 1168912.2544 | 2515306.2054 | 1168906.6026
32 | 2515226.6179 | 1169048.5341 | 2515240.2844 | 1169029.4811
33 | 2515305.9331 | 1168898.4971 | 2515306.2054 | 1168906.6026
34 | 2515222.8507 | 1169053.786 | 2515226.6179 | 1169048.5341
35 | 2515156.9734 | 1169140.4069 | 2515177.1007 | 1169117.3471
36 | 2515188.6777 | 1169101.4087 | 2515177.9148 | 1169116.4144 | 2515177.1007 | 1169117.3471
37 | 2515188.6777 | 1169101.4087 | 2515190.4024 | 1169106.4652 | 2515190.0034 | 1169111.8073 | 2515182.2158 | 1169143.9812 | 2515175.8907 | 1169149.6963
38 | 2515188.6777 | 1169101.4087 | 2515199.9574 | 1169085.6895
39 | 2515222.8507 | 1169053.786 | 2515199.9574 | 1169085.6895
40 | 2515222.8507 | 1169053.786 | 2515219.9091 | 1169067.6692 | 2515214.9842 | 1169092.8428
41 | 2515305.9331 | 1168898.4971 | 2515290.3439 | 1168892.1135 | 2515270.7897 | 1168886.2417 | 2515267.106 | 1168885.2079
42 | 2515095.7096 | 1169068.1359 | 2515095.1592 | 1169067.577
43 | 2515088.6703 | 1169060.9884 | 2515095.1592 | 1169067.577
44 | 2515095.7096 | 1169068.1359 | 2515102.3704 | 1169074.899
45 | 2515088.6703 | 1169060.9884 | 2515095.3861 | 1169049.353 | 2515097.6034 | 1169040.0049 | 2515118.1821 | 1169022.0362
46 | 2515102.3704 | 1169074.899 | 2515106.6729 | 1169079.2678
47 | 2515120.881 | 1169019.6744 | 2515118.1821 | 1169022.0362
48 | 2515118.1821 | 1169022.0362 | 2515127.1209 | 1169043.0779 | 2515127.3625 | 1169052.2578
49 | 2515106.6729 | 1169079.2678 | 2515110.8051 | 1169083.4635
50 | 2515120.881 | 1169019.6744 | 2515132.9168 | 1169009.1644 | 2515137.22 | 1169004.8262
51 | 2515120.881 | 1169019.6744 | 2515136.1966 | 1169028.8146
52 | 2515127.5351 | 1169058.8148 | 2515127.3625 | 1169052.2578
53 | 2515119.2042 | 1169107.269 | 2515124.0445 | 1169103.1018 | 2515121.5095 | 1169094.3324 | 2515110.8051 | 1169083.4635
54 | 2515149.2371 | 1168992.7111 | 2515137.22 | 1169004.8262
55 | 2515150.7987 | 1169040.0194 | 2515146.537 | 1169034.8871 | 2515137.1678 | 1169029.3942 | 2515136.1966 | 1169028.8146
56 | 2515213.0424 | 1168634.6516 | 2515202.4566 | 1168625.4401 | 2515196.72 | 1168620.9966
57 | 2515134.8755 | 1168624.1729 | 2515140.9122 | 1168618.5953 | 2515151.2271 | 1168611.9009 | 2515161.401 | 1168609.8447 | 2515170.6982 | 1168609.6575 | 2515177.2455 | 1168610.9546 | 2515185.0382 | 1168613.7127 | 2515193.224 | 1168618.2886 | 2515196.72 | 1168620.9966
58 | 2515213.0424 | 1168634.6516 | 2515210.7185 | 1168627.8248 | 2515206.216 | 1168618.5136
59 | 2515228.97 | 1168666.0008 | 2515228.1561 | 1168654.4498 | 2515221.0662 | 1168644.0104 | 2515213.0424 | 1168634.6516
60 | 2515134.8755 | 1168624.1729 | 2515153.2679 | 1168643.0685 | 2515161.7819 | 1168652.9223
61 | 2515228.97 | 1168666.0008 | 2515243.3418 | 1168683.686 | 2515251.1054 | 1168697.3846
62 | 2515228.97 | 1168666.0008 | 2515230.5686 | 1168688.5701
63 | 2515171.7306 | 1168665.3096 | 2515166.6678 | 1168658.5771 | 2515161.7819 | 1168652.9223
64 | 2515192.9934 | 1168656.637 | 2515187.2429 | 1168658.097 | 2515171.7306 | 1168665.3096
65 | 2515262.0905 | 1168883.8003 | 2515267.106 | 1168885.2079
66 | 2515262.0905 | 1168883.8003 | 2515259.2449 | 1168883.0017
67 | 2515258.7794 | 1168882.8711 | 2515259.2449 | 1168883.0017
68 | 2515175.6036 | 1168990.9843 | 2515182.0514 | 1168998.2184 | 2515184.8844 | 1168995.6057
69 | 2515175.6036 | 1168990.9843 | 2515174.6847 | 1168989.9534
70 | 2515191.4046 | 1168989.5921 | 2515184.8844 | 1168995.6057
71 | 2515162.1877 | 1168979.6549 | 2515168.4881 | 1168983.0011 | 2515174.6847 | 1168989.9534
72 | 2515162.1877 | 1168979.6549 | 2515164.8589 | 1168976.96 | 2515173.4863 | 1168967.3433 | 2515181.3463 | 1168956.6358
73 | 2515162.1877 | 1168979.6549 | 2515149.2371 | 1168992.7111
74 | 2515181.3463 | 1168956.6358 | 2515194.4189 | 1168938.8271
75 | 2515208.7016 | 1168918.6829 | 2515206.3908 | 1168922.5179 | 2515194.4189 | 1168938.8271
76 | 2515214.9842 | 1169092.8428 | 2515338.9369 | 1169113.1485
77 | 2515247.1734 | 1168879.6139 | 2515258.7794 | 1168882.8711
78 | 2515233.0367 | 1168875.6465 | 2515247.1734 | 1168879.6139
79 | 2515233.0367 | 1168875.6465 | 2515225.9085 | 1168889.1551
80 | 2515244.2658 | 1168843.2351 | 2515241.5734 | 1168855.2693 | 2515238.6764 | 1168864.7381 | 2515233.0367 | 1168875.6465
81 | 2515208.7016 | 1168918.6829 | 2515221.6171 | 1168897.2876 | 2515225.9085 | 1168889.1551
82 | 2515208.7016 | 1168918.6829 | 2515220.4012 | 1168930.736
83 | 2515154.1287 | 1169044.0297 | 2515150.7987 | 1169040.0194
84 | 2515220.4012 | 1168930.736 | 2515223.9522 | 1168934.3943
85 | 2515224.752 | 1168935.2182 | 2515223.9522 | 1168934.3943
86 | 2515231.249 | 1168941.9115 | 2515224.752 | 1168935.2182

## bus_geodata
| x | y | coords
0 | 2515252.698 | 1168761.6239
1 | 2515282.0934 | 1168712.3224
2 | 2515253.537 | 1168785.4696
3 | 2515290.0907 | 1168729.8738
4 | 2515289.145 | 1168674.135
5 | 2515280.2308 | 1168821.8829
6 | 2515250.0462 | 1168784.8852
7 | 2515327.3016 | 1168810.654
8 | 2515339.7065 | 1168668.104
9 | 2515284.8666 | 1168838.1474
10 | 2515228.1285 | 1168761.1389
11 | 2515253.0559 | 1168804.4989
12 | 2515237.4177 | 1168737.1126
13 | 2515338.8457 | 1168838.0477
14 | 2515241.0409 | 1168613.7405
15 | 2515225.3079 | 1168599.724
16 | 2515370.053 | 1168619.2855
17 | 2515358.8243 | 1168634.2036
18 | 2515353.9498 | 1168642.4217
19 | 2515268.4412 | 1168809.44
20 | 2515253.7137 | 1168823.0051
21 | 2515232.7413 | 1168708.1216
22 | 2515263.5306 | 1168997.381
23 | 2515270.6904 | 1168987.6105
24 | 2515259.0792 | 1169003.4556
25 | 2515280.3901 | 1168970.3675
26 | 2515247.6644 | 1169019.1924
27 | 2515301.0067 | 1168978.3145
28 | 2515304.6313 | 1168916.3262
29 | 2515240.2844 | 1169029.4811
30 | 2515310.9064 | 1168935.7603
31 | 2515306.2054 | 1168906.6026
32 | 2515226.6179 | 1169048.5341
33 | 2515156.9734 | 1169140.4069
34 | 2515177.1007 | 1169117.3471
35 | 2515188.6777 | 1169101.4087
36 | 2515175.8907 | 1169149.6963
37 | 2515199.9574 | 1169085.6895
38 | 2515222.8507 | 1169053.786
39 | 2515305.9331 | 1168898.4971
40 | 2515095.1592 | 1169067.577
41 | 2515095.7096 | 1169068.1359
42 | 2515088.6703 | 1169060.9884
43 | 2515102.3704 | 1169074.899
44 | 2515118.1821 | 1169022.0362
45 | 2515106.6729 | 1169079.2678
46 | 2515120.881 | 1169019.6744
47 | 2515127.3625 | 1169052.2578
48 | 2515110.8051 | 1169083.4635
49 | 2515137.22 | 1169004.8262
50 | 2515136.1966 | 1169028.8146
51 | 2515127.5351 | 1169058.8148
52 | 2515119.2042 | 1169107.269
53 | 2515196.72 | 1168620.9966
54 | 2515213.0424 | 1168634.6516
55 | 2515134.8755 | 1168624.1729
56 | 2515206.216 | 1168618.5136
57 | 2515228.97 | 1168666.0008
58 | 2515161.7819 | 1168652.9223
59 | 2515251.1054 | 1168697.3846
60 | 2515230.5686 | 1168688.5701
61 | 2515171.7306 | 1168665.3096
62 | 2515192.9934 | 1168656.637
63 | 2515267.106 | 1168885.2079
64 | 2515262.0905 | 1168883.8003
65 | 2515259.2449 | 1168883.0017
66 | 2515175.6036 | 1168990.9843
67 | 2515184.8844 | 1168995.6057
68 | 2515174.6847 | 1168989.9534
69 | 2515191.4046 | 1168989.5921
70 | 2515162.1877 | 1168979.6549
71 | 2515181.3463 | 1168956.6358
72 | 2515149.2371 | 1168992.7111
73 | 2515194.4189 | 1168938.8271
74 | 2515214.9842 | 1169092.8428
75 | 2515338.9369 | 1169113.1485
76 | 2515258.7794 | 1168882.8711
77 | 2515247.1734 | 1168879.6139
78 | 2515233.0367 | 1168875.6465
79 | 2515244.2658 | 1168843.2351
80 | 2515225.9085 | 1168889.1551
81 | 2515208.7016 | 1168918.6829
82 | 2515150.7987 | 1169040.0194
83 | 2515154.1287 | 1169044.0297
84 | 2515220.4012 | 1168930.736
85 | 2515224.752 | 1168935.2182
86 | 2515223.9522 | 1168934.3943
87 | 2515231.249 | 1168941.9115
88 | 2515162.1877 | 1168979.6549

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1