## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5872-5_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5872-5_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5872-5_0_4_node_44 | 0.4 | n |  | TRUE
3 | bus_LV_5872-5_0_4_node_85 | 0.4 | n |  | TRUE
4 | bus_LV_5872-5_0_4_node_55 | 0.4 | n |  | TRUE
5 | bus_LV_5872-5_0_4_node_45 | 0.4 | n |  | TRUE
6 | bus_LV_5872-5_0_4_node_43 | 0.4 | n |  | TRUE
7 | bus_LV_5872-5_0_4_node_2 | 0.4 | n |  | TRUE
8 | bus_LV_5872-5_0_4_node_3 | 0.4 | n |  | TRUE
9 | bus_LV_5872-5_0_4_node_74 | 0.4 | n |  | TRUE
10 | bus_LV_5872-5_0_4_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_5872-5_0_4_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_5872-5_0_4_node_4 | 0.4 | n |  | TRUE
13 | bus_LV_5872-5_0_4_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_5872-5_0_4_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_5872-5_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_5872-5_0_4_node_20 | 0.4 | n |  | TRUE
17 | bus_LV_5872-5_0_4_node_23 | 0.4 | n |  | TRUE
18 | bus_LV_5872-5_0_4_node_18 | 0.4 | n |  | TRUE
19 | bus_LV_5872-5_0_4_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_5872-5_0_4_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_5872-5_0_4_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_5872-5_0_4_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_5872-5_0_4_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_5872-5_0_4_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_5872-5_0_4_node_33 | 0.4 | n |  | TRUE
26 | bus_LV_5872-5_0_4_node_34 | 0.4 | n |  | TRUE
27 | bus_LV_5872-5_0_4_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_5872-5_0_4_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_5872-5_0_4_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_5872-5_0_4_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_5872-5_0_4_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_5872-5_0_4_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_5872-5_0_4_node_67 | 0.4 | n |  | TRUE
34 | bus_LV_5872-5_0_4_node_37 | 0.4 | n |  | TRUE
35 | bus_LV_5872-5_0_4_node_72 | 0.4 | n |  | TRUE
36 | bus_LV_5872-5_0_4_node_66 | 0.4 | n |  | TRUE
37 | bus_LV_5872-5_0_4_node_75 | 0.4 | n |  | TRUE
38 | bus_LV_5872-5_0_4_node_76 | 0.4 | n |  | TRUE
39 | bus_LV_5872-5_0_4_node_68 | 0.4 | n |  | TRUE
40 | bus_LV_5872-5_0_4_node_69 | 0.4 | n |  | TRUE
41 | bus_LV_5872-5_0_4_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_5872-5_0_4_node_71 | 0.4 | n |  | TRUE
43 | bus_LV_5872-5_0_4_node_26 | 0.4 | n |  | TRUE
44 | bus_LV_5872-5_0_4_node_27 | 0.4 | n |  | TRUE
45 | bus_LV_5872-5_0_4_node_28 | 0.4 | n |  | TRUE
46 | bus_LV_5872-5_0_4_node_29 | 0.4 | n |  | TRUE
47 | bus_LV_5872-5_0_4_node_30 | 0.4 | n |  | TRUE
48 | bus_LV_5872-5_0_4_node_31 | 0.4 | n |  | TRUE
49 | bus_LV_5872-5_0_4_node_32 | 0.4 | n |  | TRUE
50 | bus_LV_5872-5_0_4_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_5872-5_0_4_node_42 | 0.4 | n |  | TRUE
52 | bus_LV_5872-5_0_4_node_40 | 0.4 | n |  | TRUE
53 | bus_LV_5872-5_0_4_node_41 | 0.4 | n |  | TRUE
54 | bus_LV_5872-5_0_4_node_36 | 0.4 | n |  | TRUE
55 | bus_LV_5872-5_0_4_node_38 | 0.4 | n |  | TRUE
56 | bus_LV_5872-5_0_4_node_46 | 0.4 | n |  | TRUE
57 | bus_LV_5872-5_0_4_node_47 | 0.4 | n |  | TRUE
58 | bus_LV_5872-5_0_4_node_48 | 0.4 | n |  | TRUE
59 | bus_LV_5872-5_0_4_node_73 | 0.4 | n |  | TRUE
60 | bus_LV_5872-5_0_4_node_65 | 0.4 | n |  | TRUE
61 | bus_LV_5872-5_0_4_node_70 | 0.4 | n |  | TRUE
62 | bus_LV_5872-5_0_4_node_58 | 0.4 | n |  | TRUE
63 | bus_LV_5872-5_0_4_node_64 | 0.4 | n |  | TRUE
64 | bus_LV_5872-5_0_4_node_49 | 0.4 | n |  | TRUE
65 | bus_LV_5872-5_0_4_node_50 | 0.4 | n |  | TRUE
66 | bus_LV_5872-5_0_4_node_51 | 0.4 | n |  | TRUE
67 | bus_LV_5872-5_0_4_node_60 | 0.4 | n |  | TRUE
68 | bus_LV_5872-5_0_4_node_77 | 0.4 | n |  | TRUE
69 | bus_LV_5872-5_0_4_node_57 | 0.4 | n |  | TRUE
70 | bus_LV_5872-5_0_4_node_52 | 0.4 | n |  | TRUE
71 | bus_LV_5872-5_0_4_node_53 | 0.4 | n |  | TRUE
72 | bus_LV_5872-5_0_4_node_54 | 0.4 | n |  | TRUE
73 | bus_LV_5872-5_0_4_node_56 | 0.4 | n |  | TRUE
74 | bus_LV_5872-5_0_4_node_59 | 0.4 | n |  | TRUE
75 | bus_LV_5872-5_0_4_node_83 | 0.4 | n |  | TRUE
76 | bus_LV_5872-5_0_4_node_82 | 0.4 | n |  | TRUE
77 | bus_LV_5872-5_0_4_node_61 | 0.4 | n |  | TRUE
78 | bus_LV_5872-5_0_4_node_62 | 0.4 | n |  | TRUE
79 | bus_LV_5872-5_0_4_node_63 | 0.4 | n |  | TRUE
80 | bus_LV_5872-5_0_4_node_84 | 0.4 | n |  | TRUE
81 | bus_LV_5872-5_0_4_node_78 | 0.4 | n |  | TRUE
82 | bus_LV_5872-5_0_4_node_79 | 0.4 | n |  | TRUE
83 | bus_LV_5872-5_0_4_node_80 | 0.4 | n |  | TRUE
84 | bus_LV_5872-5_0_4_node_81 | 0.4 | n |  | TRUE
85 | bus_MV_337_0_node_174 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5872-5_0_4_load_0 | 0 | 0.0052227 | 0.0013089 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5872-5_0_4_load_1 | 1 | 0.00625 | 0.0015664 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5872-5_0_4_load_85 | 3 | 0.0028684 | 0.0007189 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5872-5_0_4_load_45 | 5 | 0.00080907 | 0.00020277 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5872-5_0_4_load_43 | 6 | 0.00075168 | 0.00018839 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5872-5_0_4_load_2 | 7 | 0.0018964 | 0.00047529 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5872-5_0_4_load_3 | 8 | 0.0011476 | 0.00028762 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5872-5_0_4_load_74 | 9 | 0.0013188 | 0.00033053 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5872-5_0_4_load_10 | 10 | 0.0026398 | 0.0006616 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5872-5_0_4_load_4 | 12 | 0.0013016 | 0.00032621 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5872-5_0_4_load_6 | 13 | 0.0029959 | 0.00075084 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5872-5_0_4_load_9 | 15 | 0.0025515 | 0.00063947 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5872-5_0_4_load_20 | 16 | 0.017273 | 0.0043291 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5872-5_0_4_load_18 | 18 | 0.00044605 | 0.00011179 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5872-5_0_4_load_11 | 19 | 0.0020846 | 0.00052246 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5872-5_0_4_load_12 | 20 | 0.0016284 | 0.00040812 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5872-5_0_4_load_13 | 21 | 0.00048837 | 0.0001224 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5872-5_0_4_load_14 | 22 | 0.0019254 | 0.00048254 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5872-5_0_4_load_15 | 23 | 0.0011977 | 0.00030018 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5872-5_0_4_load_16 | 24 | 0.0021681 | 0.00054337 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5872-5_0_4_load_33 | 25 | 0.00014557 | 3.6483e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5872-5_0_4_load_34 | 26 | 0.00044223 | 0.00011083 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5872-5_0_4_load_17 | 27 | 0.0027764 | 0.00069583 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5872-5_0_4_load_21 | 29 | 0.00062347 | 0.00015626 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5872-5_0_4_load_22 | 31 | 0.0036561 | 0.0009163 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5872-5_0_4_load_25 | 32 | 0.0042929 | 0.0010759 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5872-5_0_4_load_37 | 34 | 0.00055487 | 0.00013906 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5872-5_0_4_load_72 | 35 | 0.0061206 | 0.001534 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5872-5_0_4_load_76 | 38 | 0.00052526 | 0.00013164 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5872-5_0_4_load_68 | 39 | 0.0016052 | 0.00040231 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5872-5_0_4_load_69 | 40 | 0.00038201 | 9.574e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5872-5_0_4_load_71 | 42 | 0.0064804 | 0.0016242 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5872-5_0_4_load_26 | 43 | 0.0016132 | 0.0004043 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5872-5_0_4_load_27 | 44 | 0.0008209 | 0.00020574 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5872-5_0_4_load_29 | 46 | 0.0019629 | 0.00049194 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5872-5_0_4_load_30 | 47 | 0.0018553 | 0.00046499 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5872-5_0_4_load_31 | 48 | 0.0015407 | 0.00038613 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5872-5_0_4_load_32 | 49 | 0.00052089 | 0.00013055 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5872-5_0_4_load_42 | 51 | 0.00054534 | 0.00013668 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5872-5_0_4_load_41 | 53 | 0.0015244 | 0.00038205 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5872-5_0_4_load_36 | 54 | 0.00015448 | 3.8718e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5872-5_0_4_load_38 | 55 | 0.00056695 | 0.00014209 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5872-5_0_4_load_47 | 57 | 0.0014244 | 0.00035698 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5872-5_0_4_load_73 | 59 | 0.0018485 | 0.00046329 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5872-5_0_4_load_65 | 60 | 0.0016743 | 0.00041961 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5872-5_0_4_load_70 | 61 | 0.010441 | 0.0026168 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5872-5_0_4_load_64 | 63 | 0.001329 | 0.00033308 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5872-5_0_4_load_49 | 64 | 0.0011694 | 0.00029307 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5872-5_0_4_load_51 | 66 | 0.001231 | 0.00030853 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5872-5_0_4_load_60 | 67 | 0.00082595 | 0.000207 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5872-5_0_4_load_77 | 68 | 0.0039668 | 0.00099419 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5872-5_0_4_load_52 | 70 | 0.0034794 | 0.00087201 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5872-5_0_4_load_56 | 73 | 0.0030687 | 0.00076908 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5872-5_0_4_load_59 | 74 | 0.0023386 | 0.0005861 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5872-5_0_4_load_83 | 75 | 0.0018023 | 0.00045169 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5872-5_0_4_load_82 | 76 | 0.001855 | 0.00046491 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5872-5_0_4_load_61 | 77 | 0.0016013 | 0.00040132 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5872-5_0_4_load_62 | 78 | 0.0023763 | 0.00059556 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5872-5_0_4_load_63 | 79 | 0.0016771 | 0.00042033 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5872-5_0_4_load_84 | 80 | 0.0064903 | 0.0016266 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5872-5_0_4_load_78 | 81 | 0.0038158 | 0.00095633 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5872-5_0_4_load_80 | 83 | 0.019454 | 0.0048756 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 50 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5872-5_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.042297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5872-5_0_4_line_1 | NAYY 4x150 SE | 1 | 2 | 0.088641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5872-5_0_4_line_2 | NAYY 4x150 SE | 2 | 5 | 0.019656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5872-5_0_4_line_3 | NAYY 4x150 SE | 2 | 6 | 0.02084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5872-5_0_4_line_4 | NAYY 4x150 SE | 3 | 4 | 0.003798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5872-5_0_4_line_5 | NAYY 4x150 SE | 4 | 71 | 0.034675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5872-5_0_4_line_6 | NAYY 4x150 SE | 5 | 9 | 0.045543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5872-5_0_4_line_7 | NAYY 4x150 SE | 6 | 51 | 0.018491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5872-5_0_4_line_8 | NAYY 4x150 SE | 7 | 8 | 0.0065138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5872-5_0_4_line_9 | NAYY 4x150 SE | 7 | 9 | 0.091631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5872-5_0_4_line_10 | NAYY 4x150 SE | 8 | 10 | 0.021109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5872-5_0_4_line_11 | NAYY 4x150 SE | 10 | 11 | 0.12079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5872-5_0_4_line_12 | NAYY 4x150 SE | 11 | 12 | 0.021091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5872-5_0_4_line_13 | NAYY 4x150 SE | 13 | 14 | 0.028709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5872-5_0_4_line_14 | NAYY 4x150 SE | 14 | 15 | 0.0003605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5872-5_0_4_line_15 | NAYY 4x150 SE | 15 | 17 | 0.18081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5872-5_0_4_line_16 | NAYY 4x150 SE | 16 | 17 | 0.030671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5872-5_0_4_line_17 | NAYY 4x150 SE | 16 | 18 | 0.06266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5872-5_0_4_line_18 | NAYY 4x150 SE | 18 | 27 | 0.02328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5872-5_0_4_line_19 | NAYY 4x150 SE | 19 | 20 | 0.00084718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5872-5_0_4_line_20 | NAYY 4x150 SE | 19 | 21 | 0.026455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5872-5_0_4_line_21 | NAYY 4x150 SE | 20 | 22 | 0.014392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5872-5_0_4_line_22 | NAYY 4x150 SE | 21 | 23 | 0.0065714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5872-5_0_4_line_23 | NAYY 4x150 SE | 23 | 24 | 0.025008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5872-5_0_4_line_24 | NAYY 4x150 SE | 24 | 25 | 0.00085384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5872-5_0_4_line_25 | NAYY 4x150 SE | 25 | 26 | 0.014681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5872-5_0_4_line_26 | NAYY 4x150 SE | 26 | 41 | 0.017884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5872-5_0_4_line_27 | NAYY 4x150 SE | 27 | 28 | 0.01668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5872-5_0_4_line_28 | NAYY 4x150 SE | 28 | 29 | 0.023911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5872-5_0_4_line_29 | NAYY 4x150 SE | 29 | 30 | 0.031861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5872-5_0_4_line_30 | NAYY 4x150 SE | 30 | 33 | 0.007018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5872-5_0_4_line_31 | NAYY 4x150 SE | 30 | 34 | 0.040542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5872-5_0_4_line_32 | NAYY 4x150 SE | 31 | 32 | 0.012637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5872-5_0_4_line_33 | NAYY 4x150 SE | 32 | 35 | 0.016221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5872-5_0_4_line_34 | NAYY 4x150 SE | 33 | 39 | 0.0089195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5872-5_0_4_line_35 | NAYY 4x150 SE | 33 | 40 | 0.058044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5872-5_0_4_line_36 | NAYY 4x150 SE | 34 | 41 | 0.061844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5872-5_0_4_line_37 | NAYY 4x150 SE | 35 | 42 | 0.015959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5872-5_0_4_line_38 | NAYY 4x150 SE | 36 | 37 | 0.028389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5872-5_0_4_line_39 | NAYY 4x150 SE | 36 | 38 | 0.025304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5872-5_0_4_line_40 | NAYY 4x150 SE | 37 | 80 | 0.076638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5872-5_0_4_line_41 | NAYY 4x150 SE | 38 | 39 | 0.02094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5872-5_0_4_line_42 | NAYY 4x150 SE | 41 | 54 | 0.00056328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5872-5_0_4_line_43 | NAYY 4x150 SE | 42 | 61 | 0.010358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5872-5_0_4_line_44 | NAYY 4x150 SE | 43 | 44 | 0.031744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5872-5_0_4_line_45 | NAYY 4x150 SE | 43 | 45 | 0.019844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5872-5_0_4_line_46 | NAYY 4x150 SE | 45 | 46 | 0.0068466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5872-5_0_4_line_47 | NAYY 4x150 SE | 45 | 47 | 0.021946 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5872-5_0_4_line_48 | NAYY 4x150 SE | 46 | 48 | 0.025808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5872-5_0_4_line_49 | NAYY 4x150 SE | 47 | 49 | 0.019778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5872-5_0_4_line_50 | NAYY 4x150 SE | 48 | 50 | 0.015786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5872-5_0_4_line_51 | NAYY 4x150 SE | 49 | 51 | 0.007039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5872-5_0_4_line_52 | NAYY 4x150 SE | 50 | 52 | 0.026362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
53 | LV_5872-5_0_4_line_53 | NAYY 4x150 SE | 50 | 53 | 0.0092936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5872-5_0_4_line_54 | NAYY 4x150 SE | 52 | 59 | 0.047113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
55 | LV_5872-5_0_4_line_55 | NAYY 4x150 SE | 52 | 60 | 0.014414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5872-5_0_4_line_56 | NAYY 4x150 SE | 53 | 61 | 0.021771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5872-5_0_4_line_57 | NAYY 4x150 SE | 54 | 55 | 0.011309 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5872-5_0_4_line_58 | NAYY 4x150 SE | 55 | 56 | 0.039613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5872-5_0_4_line_59 | NAYY 4x150 SE | 56 | 57 | 0.05539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5872-5_0_4_line_60 | NAYY 4x150 SE | 56 | 58 | 0.020454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5872-5_0_4_line_61 | NAYY 4x150 SE | 57 | 64 | 0.012109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5872-5_0_4_line_62 | NAYY 4x150 SE | 58 | 65 | 0.02903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5872-5_0_4_line_63 | NAYY 4x150 SE | 58 | 66 | 0.040761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5872-5_0_4_line_64 | NAYY 4x150 SE | 59 | 62 | 0.012079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5872-5_0_4_line_65 | NAYY 4x150 SE | 60 | 63 | 0.0023903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5872-5_0_4_line_66 | NAYY 4x150 SE | 62 | 69 | 0.053429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_5872-5_0_4_line_67 | NAYY 4x150 SE | 62 | 65 | 0.001841 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_5872-5_0_4_line_68 | NAYY 4x150 SE | 63 | 79 | 0.023785 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_5872-5_0_4_line_69 | NAYY 4x150 SE | 64 | 67 | 0.0021252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_5872-5_0_4_line_70 | NAYY 4x150 SE | 65 | 68 | 0.059295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_5872-5_0_4_line_71 | NAYY 4x150 SE | 69 | 74 | 0.024004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_5872-5_0_4_line_72 | NAYY 4x150 SE | 69 | 72 | 0.009205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_5872-5_0_4_line_73 | NAYY 4x150 SE | 70 | 71 | 0.033989 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_5872-5_0_4_line_74 | NAYY 4x150 SE | 70 | 72 | 0.037331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_5872-5_0_4_line_75 | NAYY 4x150 SE | 72 | 73 | 0.034064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_5872-5_0_4_line_76 | NAYY 4x150 SE | 74 | 75 | 0.019535 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_5872-5_0_4_line_77 | NAYY 4x150 SE | 75 | 76 | 0.031082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_5872-5_0_4_line_78 | NAYY 4x150 SE | 76 | 84 | 0.0095171 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_5872-5_0_4_line_79 | NAYY 4x150 SE | 77 | 78 | 0.031407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_5872-5_0_4_line_80 | NAYY 4x150 SE | 77 | 79 | 0.025707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_5872-5_0_4_line_81 | NAYY 4x150 SE | 81 | 82 | 0.038097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_5872-5_0_4_line_82 | NAYY 4x150 SE | 82 | 83 | 0.018563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_5872-5_0_4_line_83 | NAYY 4x150 SE | 82 | 84 | 0.038696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5872-5_0_4_trafo_39 | 0.25 MVA 20/0.4 kV | 85 | 50 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2505911.2078 | 1160100.4369 | 2505908.0289 | 1160114.3423 | 2505900.1764 | 1160141.2533
1 | 2505957.1163 | 1160209.1876 | 2505900.1764 | 1160141.2533
2 | 2505957.1163 | 1160209.1876 | 2505944.1994 | 1160224.0037
3 | 2505957.1163 | 1160209.1876 | 2505973.4077 | 1160222.1839
4 | 2506027.7756 | 1160115.2352 | 2506031.4622 | 1160116.1892
5 | 2506055.3668 | 1160140.9417 | 2506032.604 | 1160119.1065 | 2506031.4622 | 1160116.1892
6 | 2505934.5082 | 1160259.8504 | 2505926.4018 | 1160251.261 | 2505925.8241 | 1160247.1675 | 2505934.632 | 1160234.9777 | 2505944.1994 | 1160224.0037
7 | 2505987.8626 | 1160233.7152 | 2505973.4077 | 1160222.1839
8 | 2505848.8346 | 1160303.9076 | 2505851.1063 | 1160297.8028
9 | 2505934.5082 | 1160259.8504 | 2505851.1063 | 1160297.8028
10 | 2505848.8346 | 1160303.9076 | 2505845.1139 | 1160313.9063 | 2505840.4678 | 1160323.2562
11 | 2505840.4678 | 1160323.2562 | 2505785.6135 | 1160430.8778
12 | 2505785.6135 | 1160430.8778 | 2505802.4561 | 1160443.573
13 | 2506002.9157 | 1160592.9845 | 2505979.8733 | 1160575.8599
14 | 2506003.2049 | 1160593.1998 | 2506002.9157 | 1160592.9845
15 | 2506119.8455 | 1160455.0379 | 2506003.2049 | 1160593.1998
16 | 2506119.8455 | 1160455.0379 | 2506097.1792 | 1160434.3751
17 | 2506112.1509 | 1160389.4178 | 2506112.1509 | 1160389.4178 | 2506082.8794 | 1160421.3394 | 2506097.1792 | 1160434.3751
18 | 2506112.1509 | 1160389.4178 | 2506129.2079 | 1160405.261
19 | 2506222.7569 | 1160266.8308 | 2506222.1456 | 1160267.4174
20 | 2506203.0572 | 1160285.7345 | 2506222.1456 | 1160267.4174
21 | 2506233.1414 | 1160256.8659 | 2506222.7569 | 1160266.8308
22 | 2506203.0572 | 1160285.7345 | 2506198.3157 | 1160290.2844
23 | 2506180.2713 | 1160307.5997 | 2506198.3157 | 1160290.2844
24 | 2506180.2713 | 1160307.5997 | 2506179.6552 | 1160308.1909
25 | 2506179.6552 | 1160308.1909 | 2506169.0621 | 1160318.356
26 | 2506156.1581 | 1160330.7386 | 2506169.0621 | 1160318.356
27 | 2506140.4437 | 1160392.9334 | 2506129.2079 | 1160405.261
28 | 2506140.4437 | 1160392.9334 | 2506158.419 | 1160408.7014
29 | 2506182.371 | 1160429.7122 | 2506158.419 | 1160408.7014
30 | 2506183.6057 | 1160436.6193 | 2506182.371 | 1160429.7122
31 | 2506182.371 | 1160429.7122 | 2506171.9915 | 1160390.5218
32 | 2506088.8942 | 1160347.7121 | 2506079.3944 | 1160339.3785
33 | 2506067.2005 | 1160328.6815 | 2506079.3944 | 1160339.3785
34 | 2506183.6057 | 1160436.6193 | 2506183.8733 | 1160445.5349
35 | 2506183.6057 | 1160436.6193 | 2506239.5645 | 1160452.0391
36 | 2506156.1581 | 1160330.7386 | 2506171.9915 | 1160390.5218
37 | 2506055.2034 | 1160318.1571 | 2506067.2005 | 1160328.6815
38 | 2506180.3766 | 1160491.4146 | 2506178.0388 | 1160501.2238 | 2506172.255 | 1160518.5914
39 | 2506180.3766 | 1160491.4146 | 2506182.4768 | 1160482.5874 | 2506184.2736 | 1160466.4564
40 | 2506172.255 | 1160518.5914 | 2506225.4361 | 1160573.775
41 | 2506183.8733 | 1160445.5349 | 2506184.453 | 1160464.8457 | 2506184.2736 | 1160466.4564
42 | 2506156.1581 | 1160330.7386 | 2506156.0262 | 1160330.1909
43 | 2506047.4167 | 1160311.3263 | 2506055.2034 | 1160318.1571
44 | 2505993.1824 | 1160302.5925 | 2506013.7438 | 1160278.4078
45 | 2506026.5976 | 1160263.2891 | 2506013.7438 | 1160278.4078
46 | 2506026.5976 | 1160263.2891 | 2506032.262 | 1160267.1349
47 | 2506026.5976 | 1160263.2891 | 2506015.3713 | 1160255.66 | 2506008.8263 | 1160250.4388
48 | 2506032.262 | 1160267.1349 | 2506045.5014 | 1160276.1235 | 2506054.1583 | 1160280.7294
49 | 2506008.8263 | 1160250.4388 | 2505993.3652 | 1160238.1048
50 | 2506068.0947 | 1160288.1443 | 2506054.1583 | 1160280.7294
51 | 2505987.8626 | 1160233.7152 | 2505993.3652 | 1160238.1048
52 | 2506088.4898 | 1160271.3706 | 2506068.0947 | 1160288.1443
53 | 2506068.0947 | 1160288.1443 | 2506061.9083 | 1160295.0797
54 | 2506088.4898 | 1160271.3706 | 2506122.8654 | 1160239.1529
55 | 2506088.4898 | 1160271.3706 | 2506077.5794 | 1160261.9507
56 | 2506061.9083 | 1160295.0797 | 2506047.4167 | 1160311.3263 | 2506047.4167 | 1160311.3263
57 | 2506153.3777 | 1160319.1966 | 2506156.0262 | 1160330.1909
58 | 2506144.1004 | 1160280.6851 | 2506153.3777 | 1160319.1966
59 | 2506144.1004 | 1160280.6851 | 2506163.1715 | 1160283.1553 | 2506166.3403 | 1160280.4152 | 2506156.2631 | 1160269.288 | 2506168.212 | 1160257.2546
60 | 2506139.3054 | 1160260.8033 | 2506144.1004 | 1160280.6851
61 | 2506176.4965 | 1160265.1493 | 2506168.6768 | 1160256.7865 | 2506168.212 | 1160257.2546
62 | 2506132.1357 | 1160232.6758 | 2506139.3054 | 1160260.8033
63 | 2506139.3054 | 1160260.8033 | 2506131.4177 | 1160264.7067 | 2506130.481 | 1160287.1574 | 2506123.2684 | 1160293.3251
64 | 2506131.6785 | 1160230.893 | 2506122.8654 | 1160239.1529
65 | 2506075.7702 | 1160260.3887 | 2506077.5794 | 1160261.9507
66 | 2506131.6785 | 1160230.893 | 2506118.9173 | 1160179.0161
67 | 2506131.6785 | 1160230.893 | 2506132.1357 | 1160232.6758
68 | 2506057.7672 | 1160244.8451 | 2506075.7702 | 1160260.3887
69 | 2506176.4965 | 1160265.1493 | 2506177.948 | 1160266.7017
70 | 2506132.1357 | 1160232.6758 | 2506175.4824 | 1160192.2159
71 | 2506118.9173 | 1160179.0161 | 2506113.1709 | 1160155.71
72 | 2506109.8952 | 1160180.9694 | 2506118.9173 | 1160179.0161
73 | 2506055.3668 | 1160140.9417 | 2506079.4483 | 1160164.9278
74 | 2506109.8952 | 1160180.9694 | 2506102.5768 | 1160182.5625 | 2506095.0941 | 1160180.5116 | 2506079.4483 | 1160164.9278
75 | 2506109.8952 | 1160180.9694 | 2506107.1457 | 1160195.8215 | 2506095.7704 | 1160211.0086
76 | 2506108.4945 | 1160136.7433 | 2506113.1709 | 1160155.71
77 | 2506101.0538 | 1160106.5655 | 2506108.4945 | 1160136.7433
78 | 2506098.7754 | 1160097.3251 | 2506101.0538 | 1160106.5655
79 | 2506038.3093 | 1160228.0453 | 2506014.5367 | 1160207.5201
80 | 2506038.3093 | 1160228.0453 | 2506057.7672 | 1160244.8451
81 | 2506127.2191 | 1160123.6412 | 2506155.1798 | 1160149.5174
82 | 2506139.9387 | 1160110.0897 | 2506137.8639 | 1160112.2123 | 2506127.2191 | 1160123.6412
83 | 2506098.7754 | 1160097.3251 | 2506127.2191 | 1160123.6412

## bus_geodata
| x | y | coords
0 | 2505911.2078 | 1160100.4369
1 | 2505900.1764 | 1160141.2533
2 | 2505957.1163 | 1160209.1876
3 | 2506027.7756 | 1160115.2352
4 | 2506031.4622 | 1160116.1892
5 | 2505944.1994 | 1160224.0037
6 | 2505973.4077 | 1160222.1839
7 | 2505851.1063 | 1160297.8028
8 | 2505848.8346 | 1160303.9076
9 | 2505934.5082 | 1160259.8504
10 | 2505840.4678 | 1160323.2562
11 | 2505785.6135 | 1160430.8778
12 | 2505802.4561 | 1160443.573
13 | 2505979.8733 | 1160575.8599
14 | 2506002.9157 | 1160592.9845
15 | 2506003.2049 | 1160593.1998
16 | 2506097.1792 | 1160434.3751
17 | 2506119.8455 | 1160455.0379
18 | 2506112.1509 | 1160389.4178
19 | 2506222.1456 | 1160267.4174
20 | 2506222.7568 | 1160266.8308
21 | 2506203.0572 | 1160285.7345
22 | 2506233.1414 | 1160256.8659
23 | 2506198.3157 | 1160290.2844
24 | 2506180.2713 | 1160307.5997
25 | 2506179.6552 | 1160308.1909
26 | 2506169.0621 | 1160318.356
27 | 2506129.2079 | 1160405.261
28 | 2506140.4437 | 1160392.9334
29 | 2506158.419 | 1160408.7014
30 | 2506182.371 | 1160429.7122
31 | 2506088.8942 | 1160347.7121
32 | 2506079.3944 | 1160339.3785
33 | 2506183.6057 | 1160436.6193
34 | 2506171.9915 | 1160390.5218
35 | 2506067.2005 | 1160328.6815
36 | 2506180.3766 | 1160491.4145
37 | 2506172.255 | 1160518.5914
38 | 2506184.2736 | 1160466.4564
39 | 2506183.8733 | 1160445.5349
40 | 2506239.5645 | 1160452.0391
41 | 2506156.1581 | 1160330.7386
42 | 2506055.2034 | 1160318.1571
43 | 2506013.7438 | 1160278.4078
44 | 2505993.1824 | 1160302.5925
45 | 2506026.5976 | 1160263.2891
46 | 2506032.262 | 1160267.1349
47 | 2506008.8263 | 1160250.4388
48 | 2506054.1583 | 1160280.7294
49 | 2505993.3652 | 1160238.1048
50 | 2506068.0947 | 1160288.1443
51 | 2505987.8626 | 1160233.7152
52 | 2506088.4898 | 1160271.3706
53 | 2506061.9083 | 1160295.0797
54 | 2506156.0262 | 1160330.1909
55 | 2506153.3777 | 1160319.1966
56 | 2506144.1004 | 1160280.6851
57 | 2506168.212 | 1160257.2546
58 | 2506139.3054 | 1160260.8033
59 | 2506122.8654 | 1160239.1529
60 | 2506077.5794 | 1160261.9507
61 | 2506047.4167 | 1160311.3263
62 | 2506131.6785 | 1160230.893
63 | 2506075.7702 | 1160260.3887
64 | 2506176.4965 | 1160265.1493
65 | 2506132.1357 | 1160232.6758
66 | 2506123.2684 | 1160293.3251
67 | 2506177.948 | 1160266.7017
68 | 2506175.4824 | 1160192.2159
69 | 2506118.9173 | 1160179.0161
70 | 2506079.4483 | 1160164.9278
71 | 2506055.3668 | 1160140.9417
72 | 2506109.8952 | 1160180.9694
73 | 2506095.7704 | 1160211.0086
74 | 2506113.1709 | 1160155.71
75 | 2506108.4945 | 1160136.7433
76 | 2506101.0538 | 1160106.5655
77 | 2506038.3093 | 1160228.0453
78 | 2506014.5367 | 1160207.5201
79 | 2506057.7672 | 1160244.8451
80 | 2506225.4361 | 1160573.775
81 | 2506155.1798 | 1160149.5174
82 | 2506127.2191 | 1160123.6412
83 | 2506139.9387 | 1160110.0897
84 | 2506098.7754 | 1160097.3251
85 | 2506088.4898 | 1160271.3706

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1