## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5872-9_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5872-9_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5872-9_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5872-9_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5872-9_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5872-9_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5872-9_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_5872-9_0_4_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_5872-9_0_4_node_28 | 0.4 | n |  | TRUE
9 | bus_LV_5872-9_0_4_node_52 | 0.4 | n |  | TRUE
10 | bus_LV_5872-9_0_4_node_48 | 0.4 | n |  | TRUE
11 | bus_LV_5872-9_0_4_node_68 | 0.4 | n |  | TRUE
12 | bus_LV_5872-9_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_5872-9_0_4_node_26 | 0.4 | n |  | TRUE
14 | bus_LV_5872-9_0_4_node_50 | 0.4 | n |  | TRUE
15 | bus_LV_5872-9_0_4_node_51 | 0.4 | n |  | TRUE
16 | bus_LV_5872-9_0_4_node_74 | 0.4 | n |  | TRUE
17 | bus_LV_5872-9_0_4_node_72 | 0.4 | n |  | TRUE
18 | bus_LV_5872-9_0_4_node_65 | 0.4 | n |  | TRUE
19 | bus_LV_5872-9_0_4_node_47 | 0.4 | n |  | TRUE
20 | bus_LV_5872-9_0_4_node_67 | 0.4 | n |  | TRUE
21 | bus_LV_5872-9_0_4_node_9 | 0.4 | n |  | TRUE
22 | bus_LV_5872-9_0_4_node_34 | 0.4 | n |  | TRUE
23 | bus_LV_5872-9_0_4_node_33 | 0.4 | n |  | TRUE
24 | bus_LV_5872-9_0_4_node_10 | 0.4 | n |  | TRUE
25 | bus_LV_5872-9_0_4_node_11 | 0.4 | n |  | TRUE
26 | bus_LV_5872-9_0_4_node_12 | 0.4 | n |  | TRUE
27 | bus_LV_5872-9_0_4_node_13 | 0.4 | n |  | TRUE
28 | bus_LV_5872-9_0_4_node_14 | 0.4 | n |  | TRUE
29 | bus_LV_5872-9_0_4_node_49 | 0.4 | n |  | TRUE
30 | bus_LV_5872-9_0_4_node_15 | 0.4 | n |  | TRUE
31 | bus_LV_5872-9_0_4_node_16 | 0.4 | n |  | TRUE
32 | bus_LV_5872-9_0_4_node_17 | 0.4 | n |  | TRUE
33 | bus_LV_5872-9_0_4_node_18 | 0.4 | n |  | TRUE
34 | bus_LV_5872-9_0_4_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_5872-9_0_4_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_5872-9_0_4_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_5872-9_0_4_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_5872-9_0_4_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_5872-9_0_4_node_44 | 0.4 | n |  | TRUE
40 | bus_LV_5872-9_0_4_node_37 | 0.4 | n |  | TRUE
41 | bus_LV_5872-9_0_4_node_45 | 0.4 | n |  | TRUE
42 | bus_LV_5872-9_0_4_node_38 | 0.4 | n |  | TRUE
43 | bus_LV_5872-9_0_4_node_39 | 0.4 | n |  | TRUE
44 | bus_LV_5872-9_0_4_node_22 | 0.4 | n |  | TRUE
45 | bus_LV_5872-9_0_4_node_23 | 0.4 | n |  | TRUE
46 | bus_LV_5872-9_0_4_node_24 | 0.4 | n |  | TRUE
47 | bus_LV_5872-9_0_4_node_25 | 0.4 | n |  | TRUE
48 | bus_LV_5872-9_0_4_node_27 | 0.4 | n |  | TRUE
49 | bus_LV_5872-9_0_4_node_29 | 0.4 | n |  | TRUE
50 | bus_LV_5872-9_0_4_node_30 | 0.4 | n |  | TRUE
51 | bus_LV_5872-9_0_4_node_46 | 0.4 | n |  | TRUE
52 | bus_LV_5872-9_0_4_node_41 | 0.4 | n |  | TRUE
53 | bus_LV_5872-9_0_4_node_99 | 0.4 | n |  | TRUE
54 | bus_LV_5872-9_0_4_node_40 | 0.4 | n |  | TRUE
55 | bus_LV_5872-9_0_4_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_5872-9_0_4_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_5872-9_0_4_node_58 | 0.4 | n |  | TRUE
58 | bus_LV_5872-9_0_4_node_56 | 0.4 | n |  | TRUE
59 | bus_LV_5872-9_0_4_node_70 | 0.4 | n |  | TRUE
60 | bus_LV_5872-9_0_4_node_64 | 0.4 | n |  | TRUE
61 | bus_LV_5872-9_0_4_node_71 | 0.4 | n |  | TRUE
62 | bus_LV_5872-9_0_4_node_54 | 0.4 | n |  | TRUE
63 | bus_LV_5872-9_0_4_node_55 | 0.4 | n |  | TRUE
64 | bus_LV_5872-9_0_4_node_57 | 0.4 | n |  | TRUE
65 | bus_LV_5872-9_0_4_node_59 | 0.4 | n |  | TRUE
66 | bus_LV_5872-9_0_4_node_60 | 0.4 | n |  | TRUE
67 | bus_LV_5872-9_0_4_node_96 | 0.4 | n |  | TRUE
68 | bus_LV_5872-9_0_4_node_63 | 0.4 | n |  | TRUE
69 | bus_LV_5872-9_0_4_node_95 | 0.4 | n |  | TRUE
70 | bus_LV_5872-9_0_4_node_62 | 0.4 | n |  | TRUE
71 | bus_LV_5872-9_0_4_node_93 | 0.4 | n |  | TRUE
72 | bus_LV_5872-9_0_4_node_94 | 0.4 | n |  | TRUE
73 | bus_LV_5872-9_0_4_node_61 | 0.4 | n |  | TRUE
74 | bus_LV_5872-9_0_4_node_66 | 0.4 | n |  | TRUE
75 | bus_MV_337_0_node_107 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5872-9_0_4_load_0 | 0 | 0.011162 | 0.0027975 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5872-9_0_4_load_3 | 3 | 0.0021715 | 0.00054423 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5872-9_0_4_load_4 | 4 | 0.0010744 | 0.00026927 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5872-9_0_4_load_6 | 6 | 0.0018206 | 0.00045628 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5872-9_0_4_load_7 | 7 | 0.0046432 | 0.0011637 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5872-9_0_4_load_28 | 8 | 0.0015291 | 0.00038323 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5872-9_0_4_load_48 | 10 | 0.0017024 | 0.00042666 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5872-9_0_4_load_68 | 11 | 0.0016926 | 0.0004242 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5872-9_0_4_load_8 | 12 | 0.0035567 | 0.0008914 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5872-9_0_4_load_74 | 16 | 0.0072133 | 0.0018078 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5872-9_0_4_load_72 | 17 | 0.0064572 | 0.0016183 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5872-9_0_4_load_65 | 18 | 0.00086645 | 0.00021715 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5872-9_0_4_load_47 | 19 | 0.0020139 | 0.00050473 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5872-9_0_4_load_67 | 20 | 0.0013811 | 0.00034613 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5872-9_0_4_load_9 | 21 | 0.0048078 | 0.0012049 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5872-9_0_4_load_34 | 22 | 0.0023955 | 0.00060036 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5872-9_0_4_load_33 | 23 | 0.0023718 | 0.00059443 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5872-9_0_4_load_10 | 24 | 0.0027818 | 0.00069717 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5872-9_0_4_load_11 | 25 | 0.0049051 | 0.0012293 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5872-9_0_4_load_12 | 26 | 0.0053624 | 0.0013439 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5872-9_0_4_load_13 | 27 | 0.0033727 | 0.00084529 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5872-9_0_4_load_49 | 29 | 0.0072009 | 0.0018047 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5872-9_0_4_load_15 | 30 | 0.0027679 | 0.00069369 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5872-9_0_4_load_19 | 34 | 0.0016449 | 0.00041226 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5872-9_0_4_load_20 | 35 | 0.0028337 | 0.0007102 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5872-9_0_4_load_21 | 36 | 0.0028987 | 0.00072649 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5872-9_0_4_load_31 | 38 | 0.0033715 | 0.00084497 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5872-9_0_4_load_44 | 39 | 0.0026676 | 0.00066857 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5872-9_0_4_load_45 | 41 | 0.0033753 | 0.00084592 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5872-9_0_4_load_39 | 43 | 0.0016622 | 0.00041658 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5872-9_0_4_load_22 | 44 | 0.0011433 | 0.00028655 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5872-9_0_4_load_23 | 45 | 0.0022467 | 0.00056308 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5872-9_0_4_load_25 | 47 | 0.0019679 | 0.0004932 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5872-9_0_4_load_27 | 48 | 0.0018517 | 0.00046408 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5872-9_0_4_load_29 | 49 | 0.0023852 | 0.00059778 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5872-9_0_4_load_30 | 50 | 0.0018865 | 0.00047281 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5872-9_0_4_load_46 | 51 | 0.0015469 | 0.0003877 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5872-9_0_4_load_41 | 52 | 0.0029818 | 0.00074732 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5872-9_0_4_load_99 | 53 | 0.00084649 | 0.00021215 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5872-9_0_4_load_40 | 54 | 0.0028353 | 0.0007106 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5872-9_0_4_load_42 | 55 | 0.0032111 | 0.00080479 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5872-9_0_4_load_43 | 56 | 0.0028782 | 0.00072134 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5872-9_0_4_load_58 | 57 | 0.0024136 | 0.0006049 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5872-9_0_4_load_56 | 58 | 0.004622 | 0.0011584 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5872-9_0_4_load_64 | 60 | 0.0019011 | 0.00047647 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5872-9_0_4_load_71 | 61 | 0.020024 | 0.0050184 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5872-9_0_4_load_54 | 62 | 0.0015787 | 0.00039567 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5872-9_0_4_load_55 | 63 | 0.0014024 | 0.00035147 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5872-9_0_4_load_57 | 64 | 0.0017044 | 0.00042718 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5872-9_0_4_load_59 | 65 | 0.0028228 | 0.00070747 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5872-9_0_4_load_60 | 66 | 0.0029939 | 0.00075033 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5872-9_0_4_load_63 | 68 | 0.0025915 | 0.00064949 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5872-9_0_4_load_95 | 69 | 0.001107 | 0.00027744 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5872-9_0_4_load_62 | 70 | 0.0013109 | 0.00032855 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5872-9_0_4_load_93 | 71 | 0.0017242 | 0.00043214 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5872-9_0_4_load_94 | 72 | 0.0005079 | 0.00012729 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5872-9_0_4_load_61 | 73 | 0.0015173 | 0.00038026 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5872-9_0_4_load_66 | 74 | 0.0020334 | 0.00050962 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 7 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5872-9_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.023913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
1 | LV_5872-9_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.033778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
2 | LV_5872-9_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.032494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
3 | LV_5872-9_0_4_line_3 | NAYY 4x150 SE | 1 | 4 | 0.011102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5872-9_0_4_line_4 | NAYY 4x150 SE | 2 | 5 | 0.048772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5872-9_0_4_line_5 | NAYY 4x150 SE | 2 | 6 | 0.013642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5872-9_0_4_line_6 | NAYY 4x150 SE | 3 | 7 | 0.032922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_5872-9_0_4_line_7 | NAYY 4x150 SE | 4 | 8 | 0.014275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5872-9_0_4_line_8 | NAYY 4x150 SE | 5 | 9 | 0.067962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5872-9_0_4_line_9 | NAYY 4x150 SE | 5 | 10 | 0.061071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5872-9_0_4_line_10 | NAYY 4x150 SE | 6 | 11 | 0.03611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5872-9_0_4_line_11 | NAYY 4x150 SE | 7 | 12 | 0.032257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
12 | LV_5872-9_0_4_line_12 | NAYY 4x150 SE | 8 | 13 | 0.0039341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5872-9_0_4_line_13 | NAYY 4x150 SE | 9 | 18 | 0.01557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5872-9_0_4_line_14 | NAYY 4x150 SE | 10 | 19 | 0.027018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5872-9_0_4_line_15 | NAYY 4x150 SE | 11 | 20 | 0.028196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5872-9_0_4_line_16 | NAYY 4x150 SE | 12 | 21 | 0.0076229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_5872-9_0_4_line_17 | NAYY 4x150 SE | 13 | 49 | 0.034997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5872-9_0_4_line_18 | NAYY 4x150 SE | 13 | 46 | 0.020353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5872-9_0_4_line_19 | NAYY 4x150 SE | 14 | 15 | 0.08648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5872-9_0_4_line_20 | NAYY 4x150 SE | 14 | 16 | 0.014713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5872-9_0_4_line_21 | NAYY 4x150 SE | 15 | 17 | 0.012444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5872-9_0_4_line_22 | NAYY 4x150 SE | 16 | 29 | 0.053615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5872-9_0_4_line_23 | NAYY 4x150 SE | 17 | 59 | 0.019873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5872-9_0_4_line_24 | NAYY 4x150 SE | 18 | 60 | 0.011633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5872-9_0_4_line_25 | NAYY 4x150 SE | 19 | 28 | 0.0058796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5872-9_0_4_line_26 | NAYY 4x150 SE | 21 | 22 | 0.017317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_5872-9_0_4_line_27 | NAYY 4x150 SE | 22 | 23 | 0.063429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
28 | LV_5872-9_0_4_line_28 | NAYY 4x150 SE | 23 | 37 | 0.081663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_5872-9_0_4_line_29 | NAYY 4x150 SE | 24 | 25 | 0.012644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5872-9_0_4_line_30 | NAYY 4x150 SE | 24 | 26 | 0.018153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5872-9_0_4_line_31 | NAYY 4x150 SE | 25 | 27 | 0.026728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5872-9_0_4_line_32 | NAYY 4x150 SE | 26 | 28 | 0.02421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5872-9_0_4_line_33 | NAYY 4x150 SE | 28 | 29 | 0.0043766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5872-9_0_4_line_34 | NAYY 4x150 SE | 30 | 31 | 0.037088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
35 | LV_5872-9_0_4_line_35 | NAYY 4x150 SE | 30 | 32 | 0.017529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
36 | LV_5872-9_0_4_line_36 | NAYY 4x150 SE | 31 | 33 | 0.047035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
37 | LV_5872-9_0_4_line_37 | NAYY 4x150 SE | 31 | 34 | 0.040617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5872-9_0_4_line_38 | NAYY 4x150 SE | 32 | 35 | 0.0023285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
39 | LV_5872-9_0_4_line_39 | NAYY 4x150 SE | 32 | 36 | 0.054314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5872-9_0_4_line_40 | NAYY 4x150 SE | 33 | 37 | 0.069105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
41 | LV_5872-9_0_4_line_41 | NAYY 4x150 SE | 33 | 38 | 0.039301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5872-9_0_4_line_42 | NAYY 4x150 SE | 34 | 39 | 0.018643 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5872-9_0_4_line_43 | NAYY 4x150 SE | 35 | 40 | 0.14071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
44 | LV_5872-9_0_4_line_44 | NAYY 4x150 SE | 39 | 41 | 0.0044677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5872-9_0_4_line_45 | NAYY 4x150 SE | 40 | 42 | 0.017487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
46 | LV_5872-9_0_4_line_46 | NAYY 4x150 SE | 40 | 43 | 0.025013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5872-9_0_4_line_47 | NAYY 4x150 SE | 41 | 51 | 0.026109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5872-9_0_4_line_48 | NAYY 4x150 SE | 42 | 52 | 0.048019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
49 | LV_5872-9_0_4_line_49 | NAYY 4x150 SE | 43 | 53 | 0.036533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5872-9_0_4_line_50 | NAYY 4x150 SE | 44 | 45 | 0.0037716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5872-9_0_4_line_51 | NAYY 4x150 SE | 44 | 46 | 0.012122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5872-9_0_4_line_52 | NAYY 4x150 SE | 45 | 47 | 0.014317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5872-9_0_4_line_53 | NAYY 4x150 SE | 46 | 48 | 0.0084651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5872-9_0_4_line_54 | NAYY 4x150 SE | 49 | 50 | 0.0082423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5872-9_0_4_line_55 | NAYY 4x150 SE | 52 | 54 | 0.047502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
56 | LV_5872-9_0_4_line_56 | NAYY 4x150 SE | 54 | 55 | 0.031129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
57 | LV_5872-9_0_4_line_57 | NAYY 4x150 SE | 55 | 56 | 0.015647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
58 | LV_5872-9_0_4_line_58 | NAYY 4x150 SE | 56 | 57 | 0.01853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
59 | LV_5872-9_0_4_line_59 | NAYY 4x150 SE | 57 | 58 | 0.019701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
60 | LV_5872-9_0_4_line_60 | NAYY 4x150 SE | 58 | 62 | 0.022887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
61 | LV_5872-9_0_4_line_61 | NAYY 4x150 SE | 59 | 61 | 0.011349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5872-9_0_4_line_62 | NAYY 4x150 SE | 60 | 74 | 0.011447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5872-9_0_4_line_63 | NAYY 4x150 SE | 62 | 63 | 0.017096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5872-9_0_4_line_64 | NAYY 4x150 SE | 63 | 64 | 0.019383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5872-9_0_4_line_65 | NAYY 4x150 SE | 64 | 65 | 0.02259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5872-9_0_4_line_66 | NAYY 4x150 SE | 65 | 66 | 0.041226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_5872-9_0_4_line_67 | NAYY 4x150 SE | 65 | 67 | 0.45051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_5872-9_0_4_line_68 | NAYY 4x150 SE | 66 | 68 | 0.030799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_5872-9_0_4_line_69 | NAYY 4x150 SE | 67 | 69 | 0.031493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_5872-9_0_4_line_70 | NAYY 4x150 SE | 68 | 70 | 0.0012757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_5872-9_0_4_line_71 | NAYY 4x150 SE | 69 | 71 | 0.011608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_5872-9_0_4_line_72 | NAYY 4x150 SE | 70 | 73 | 0.0010872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_5872-9_0_4_line_73 | NAYY 4x150 SE | 71 | 72 | 0.010181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5872-9_0_4_trafo_7 | 0.25 MVA 20/0.4 kV | 75 | 7 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2507140.0141 | 1162220.3182 | 2507123.682 | 1162202.8518
1 | 2507100.612 | 1162178.1796 | 2507123.682 | 1162202.8518
2 | 2507140.0141 | 1162220.3182 | 2507159.8085 | 1162246.0867
3 | 2507140.0141 | 1162220.3182 | 2507132.8812 | 1162228.8255
4 | 2507139.5976 | 1162160.7103 | 2507127.5768 | 1162158.8618 | 2507116.983 | 1162160.5822 | 2507105.2846 | 1162166.6891 | 2507101.7545 | 1162171.3021 | 2507100.612 | 1162178.1796
5 | 2507100.612 | 1162178.1796 | 2507091.3361 | 1162168.1766
6 | 2507180.2326 | 1162271.8844 | 2507176.526 | 1162267.8496 | 2507159.8085 | 1162246.0867
7 | 2507123.7098 | 1162239.7641 | 2507132.8812 | 1162228.8255
8 | 2507100.2634 | 1162113.5787 | 2507116.0267 | 1162120.0833 | 2507114.5745 | 1162124.2861 | 2507119.706 | 1162128.576 | 2507123.1947 | 1162133.6696 | 2507124.3395 | 1162138.3215 | 2507127.2505 | 1162143.7131 | 2507130.7046 | 1162146.5725 | 2507135.809 | 1162149.1174 | 2507137.5028 | 1162151.6149 | 2507139.6384 | 1162157.4077 | 2507139.5976 | 1162160.7103
9 | 2507139.5976 | 1162160.7103 | 2507175.0081 | 1162188.5355 | 2507189.171 | 1162196.0563
10 | 2507066.6219 | 1162141.8561 | 2507069.7136 | 1162144.8594 | 2507091.3361 | 1162168.1766
11 | 2507180.2326 | 1162271.8844 | 2507202.0553 | 1162295.6396
12 | 2507121.1821 | 1162242.7788 | 2507123.7098 | 1162239.7641
13 | 2507100.2634 | 1162113.5787 | 2507094.1634 | 1162127.904 | 2507094.1634 | 1162127.904
14 | 2507211.4156 | 1162210.9867 | 2507203.7955 | 1162203.8222 | 2507189.171 | 1162196.0563
15 | 2507046.3976 | 1162122.2099 | 2507066.6219 | 1162141.8561
16 | 2507202.0553 | 1162295.6396 | 2507207.2122 | 1162301.2532
17 | 2507121.1821 | 1162242.7788 | 2507096.5439 | 1162224.76 | 2507092.1997 | 1162223.695
18 | 2507109.7888 | 1162258.1867 | 2507109.2603 | 1162254.7372 | 2507121.1821 | 1162242.7788
19 | 2507140.8798 | 1162079.6519 | 2507143.6767 | 1162084.1114 | 2507146.4125 | 1162086.1037 | 2507156.9059 | 1162089.7659 | 2507157.1695 | 1162105.8161 | 2507158.1723 | 1162122.0995 | 2507158.5564 | 1162125.6291 | 2507168.3566 | 1162154.8288
20 | 2507168.3566 | 1162154.8288 | 2507178.7975 | 1162165.1956
21 | 2507140.8798 | 1162079.6519 | 2507128.9036 | 1162076.271
22 | 2507178.7975 | 1162165.1956 | 2507186.2401 | 1162172.5855 | 2507213.572 | 1162204.7495 | 2507214.149 | 1162205.4634
23 | 2507109.7785 | 1162070.872 | 2507128.9036 | 1162076.271
24 | 2507083.2927 | 1162123.7631 | 2507094.1634 | 1162127.904
25 | 2507216.9 | 1162208.8673 | 2507211.4156 | 1162210.9867
26 | 2507219.2834 | 1162313.6482 | 2507215.136 | 1162309.8787 | 2507207.2122 | 1162301.2532
27 | 2507219.2834 | 1162313.6482 | 2507266.2217 | 1162356.3099
28 | 2507317.1104 | 1162420.1493 | 2507267.4935 | 1162357.4658 | 2507266.2217 | 1162356.3099
29 | 2507243.5173 | 1162241.8238 | 2507251.4618 | 1162251.6604
30 | 2507243.5173 | 1162241.8238 | 2507232.1116 | 1162227.7017
31 | 2507268.2558 | 1162272.4539 | 2507251.4618 | 1162251.6604
32 | 2507216.9 | 1162208.8673 | 2507232.1116 | 1162227.7017
33 | 2507216.9 | 1162208.8673 | 2507214.149 | 1162205.4634
34 | 2507213.8722 | 1162366.9109 | 2507180.8617 | 1162350.0043
35 | 2507165.2598 | 1162342.0136 | 2507180.8617 | 1162350.0043
36 | 2507256.6957 | 1162386.6282 | 2507213.8722 | 1162366.9109
37 | 2507213.8722 | 1162366.9109 | 2507221.1741 | 1162380.7622 | 2507230.6169 | 1162390.3555 | 2507238.0967 | 1162394.8983 | 2507240.0373 | 1162396.8424
38 | 2507165.2598 | 1162342.0136 | 2507163.1687 | 1162340.9894
39 | 2507165.2598 | 1162342.0136 | 2507153.4888 | 1162329.5324 | 2507126.5397 | 1162303.9509
40 | 2507256.6957 | 1162386.6282 | 2507284.2979 | 1162401.1553 | 2507317.1104 | 1162420.1493
41 | 2507256.6957 | 1162386.6282 | 2507245.653 | 1162375.1473 | 2507228.1792 | 1162359.6268
42 | 2507253.2077 | 1162410.0365 | 2507240.0373 | 1162396.8424
43 | 2507038.8338 | 1162275.5286 | 2507049.2849 | 1162282.9047 | 2507069.1254 | 1162294.9272 | 2507163.1687 | 1162340.9894
44 | 2507253.2077 | 1162410.0365 | 2507256.364 | 1162413.1985
45 | 2507029.7401 | 1162290.4785 | 2507038.8338 | 1162275.5286
46 | 2507038.8338 | 1162275.5286 | 2507028.4436 | 1162264.1602 | 2507024.7467 | 1162255.2874
47 | 2507274.4261 | 1162432.0451 | 2507265.1032 | 1162421.9533 | 2507256.364 | 1162413.1985
48 | 2507029.7401 | 1162290.4785 | 2507037.1513 | 1162288.1068 | 2507047.3716 | 1162290.9726 | 2507055.9798 | 1162295.6311 | 2507062.9323 | 1162301.7383 | 2507069.8739 | 1162309.7248
49 | 2507010.6961 | 1162221.5644 | 2507024.7467 | 1162255.2874
50 | 2507099.1765 | 1162256.7783 | 2507096.265 | 1162254.3808
51 | 2507109.7888 | 1162258.1867 | 2507103.2909 | 1162260.1662 | 2507099.1765 | 1162256.7783
52 | 2507096.265 | 1162254.3808 | 2507085.2125 | 1162245.28
53 | 2507109.7888 | 1162258.1867 | 2507116.1598 | 1162263.7605
54 | 2507084.1945 | 1162221.7324 | 2507092.1997 | 1162223.695
55 | 2507101.0358 | 1162345.5771 | 2507069.8739 | 1162309.7248
56 | 2507101.0358 | 1162345.5771 | 2507121.457 | 1162369.0721
57 | 2507131.7213 | 1162380.8813 | 2507121.457 | 1162369.0721
58 | 2507143.8892 | 1162394.8559 | 2507141.4923 | 1162392.123 | 2507131.7213 | 1162380.8813
59 | 2507143.8892 | 1162394.8559 | 2507156.88 | 1162409.6673
60 | 2507171.9715 | 1162426.8738 | 2507156.88 | 1162409.6673
61 | 2507109.7785 | 1162070.872 | 2507101.0955 | 1162078.1798
62 | 2507072.5958 | 1162119.6883 | 2507083.2927 | 1162123.7631
63 | 2507171.9715 | 1162426.8738 | 2507183.2446 | 1162439.7268
64 | 2507183.2446 | 1162439.7268 | 2507196.0254 | 1162454.2988
65 | 2507196.0254 | 1162454.2988 | 2507210.9208 | 1162471.2818
66 | 2507210.9208 | 1162471.2818 | 2507227.127 | 1162489.7593 | 2507238.0746 | 1162502.3022
67 | 2507210.9208 | 1162471.2818 | 2506880.834 | 1162777.8738
68 | 2507238.0746 | 1162502.3022 | 2507258.327 | 1162525.506
69 | 2506880.834 | 1162777.8738 | 2506891.1749 | 1162801.4057 | 2506894.4316 | 1162806.192
70 | 2507259.1659 | 1162526.467 | 2507258.327 | 1162525.506
71 | 2506900.9617 | 1162815.7893 | 2506894.4316 | 1162806.192
72 | 2507259.8808 | 1162527.2861 | 2507259.1659 | 1162526.467
73 | 2506900.9617 | 1162815.7893 | 2506905.7272 | 1162822.7932 | 2506906.9353 | 1162824.0023

## bus_geodata
| x | y | coords
0 | 2507123.682 | 1162202.8518
1 | 2507140.0141 | 1162220.3182
2 | 2507100.612 | 1162178.1796
3 | 2507159.8085 | 1162246.0867
4 | 2507132.8812 | 1162228.8255
5 | 2507139.5976 | 1162160.7103
6 | 2507091.3361 | 1162168.1766
7 | 2507180.2326 | 1162271.8844
8 | 2507123.7098 | 1162239.7641
9 | 2507100.2634 | 1162113.5787
10 | 2507189.171 | 1162196.0563
11 | 2507066.6219 | 1162141.8561
12 | 2507202.0553 | 1162295.6396
13 | 2507121.1821 | 1162242.7788
14 | 2507168.3566 | 1162154.8288
15 | 2507140.8798 | 1162079.6519
16 | 2507178.7975 | 1162165.1956
17 | 2507128.9036 | 1162076.271
18 | 2507094.1634 | 1162127.904
19 | 2507211.4156 | 1162210.9867
20 | 2507046.3976 | 1162122.2099
21 | 2507207.2123 | 1162301.2532
22 | 2507219.2834 | 1162313.6482
23 | 2507266.2217 | 1162356.3099
24 | 2507243.5173 | 1162241.8238
25 | 2507251.4618 | 1162251.6604
26 | 2507232.1116 | 1162227.7017
27 | 2507268.2558 | 1162272.4539
28 | 2507216.9 | 1162208.8673
29 | 2507214.149 | 1162205.4634
30 | 2507180.8617 | 1162350.0043
31 | 2507213.8722 | 1162366.9109
32 | 2507165.2598 | 1162342.0136
33 | 2507256.6957 | 1162386.6282
34 | 2507240.0373 | 1162396.8424
35 | 2507163.1687 | 1162340.9894
36 | 2507126.5397 | 1162303.9509
37 | 2507317.1104 | 1162420.1493
38 | 2507228.1792 | 1162359.6268
39 | 2507253.2077 | 1162410.0365
40 | 2507038.8338 | 1162275.5286
41 | 2507256.364 | 1162413.1985
42 | 2507029.7401 | 1162290.4785
43 | 2507024.7467 | 1162255.2874
44 | 2507099.1765 | 1162256.7783
45 | 2507096.265 | 1162254.3808
46 | 2507109.7888 | 1162258.1867
47 | 2507085.2125 | 1162245.28
48 | 2507116.1598 | 1162263.7605
49 | 2507092.1997 | 1162223.695
50 | 2507084.1945 | 1162221.7324
51 | 2507274.4261 | 1162432.0451
52 | 2507069.8739 | 1162309.7248
53 | 2507010.6961 | 1162221.5644
54 | 2507101.0358 | 1162345.5771
55 | 2507121.457 | 1162369.0721
56 | 2507131.7213 | 1162380.8813
57 | 2507143.8892 | 1162394.8559
58 | 2507156.88 | 1162409.6673
59 | 2507109.7785 | 1162070.872
60 | 2507083.2927 | 1162123.7631
61 | 2507101.0955 | 1162078.1798
62 | 2507171.9715 | 1162426.8738
63 | 2507183.2446 | 1162439.7268
64 | 2507196.0254 | 1162454.2988
65 | 2507210.9208 | 1162471.2818
66 | 2507238.0745 | 1162502.3022
67 | 2506880.834 | 1162777.8738
68 | 2507258.327 | 1162525.506
69 | 2506894.4316 | 1162806.192
70 | 2507259.1659 | 1162526.467
71 | 2506900.9617 | 1162815.7893
72 | 2506906.9353 | 1162824.0023
73 | 2507259.8808 | 1162527.2861
74 | 2507072.5958 | 1162119.6883
75 | 2507140.0141 | 1162220.3182

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1