## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5873-2_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5873-2_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5873-2_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5873-2_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5873-2_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5873-2_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5873-2_0_3_node_22 | 0.4 | n |  | TRUE
7 | bus_LV_5873-2_0_3_node_83 | 0.4 | n |  | TRUE
8 | bus_LV_5873-2_0_3_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_5873-2_0_3_node_88 | 0.4 | n |  | TRUE
10 | bus_LV_5873-2_0_3_node_20 | 0.4 | n |  | TRUE
11 | bus_LV_5873-2_0_3_node_82 | 0.4 | n |  | TRUE
12 | bus_LV_5873-2_0_3_node_75 | 0.4 | n |  | TRUE
13 | bus_LV_5873-2_0_3_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_5873-2_0_3_node_32 | 0.4 | n |  | TRUE
15 | bus_LV_5873-2_0_3_node_6 | 0.4 | n |  | TRUE
16 | bus_LV_5873-2_0_3_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_5873-2_0_3_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_5873-2_0_3_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_5873-2_0_3_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_5873-2_0_3_node_91 | 0.4 | n |  | TRUE
21 | bus_LV_5873-2_0_3_node_70 | 0.4 | n |  | TRUE
22 | bus_LV_5873-2_0_3_node_71 | 0.4 | n |  | TRUE
23 | bus_LV_5873-2_0_3_node_92 | 0.4 | n |  | TRUE
24 | bus_LV_5873-2_0_3_node_69 | 0.4 | n |  | TRUE
25 | bus_LV_5873-2_0_3_node_72 | 0.4 | n |  | TRUE
26 | bus_LV_5873-2_0_3_node_13 | 0.4 | n |  | TRUE
27 | bus_LV_5873-2_0_3_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_5873-2_0_3_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_5873-2_0_3_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_5873-2_0_3_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_5873-2_0_3_node_93 | 0.4 | n |  | TRUE
32 | bus_LV_5873-2_0_3_node_53 | 0.4 | n |  | TRUE
33 | bus_LV_5873-2_0_3_node_56 | 0.4 | n |  | TRUE
34 | bus_LV_5873-2_0_3_node_51 | 0.4 | n |  | TRUE
35 | bus_LV_5873-2_0_3_node_55 | 0.4 | n |  | TRUE
36 | bus_LV_5873-2_0_3_node_18 | 0.4 | n |  | TRUE
37 | bus_LV_5873-2_0_3_node_19 | 0.4 | n |  | TRUE
38 | bus_LV_5873-2_0_3_node_21 | 0.4 | n |  | TRUE
39 | bus_LV_5873-2_0_3_node_89 | 0.4 | n |  | TRUE
40 | bus_LV_5873-2_0_3_node_23 | 0.4 | n |  | TRUE
41 | bus_LV_5873-2_0_3_node_44 | 0.4 | n |  | TRUE
42 | bus_LV_5873-2_0_3_node_47 | 0.4 | n |  | TRUE
43 | bus_LV_5873-2_0_3_node_80 | 0.4 | n |  | TRUE
44 | bus_LV_5873-2_0_3_node_73 | 0.4 | n |  | TRUE
45 | bus_LV_5873-2_0_3_node_24 | 0.4 | n |  | TRUE
46 | bus_LV_5873-2_0_3_node_25 | 0.4 | n |  | TRUE
47 | bus_LV_5873-2_0_3_node_26 | 0.4 | n |  | TRUE
48 | bus_LV_5873-2_0_3_node_27 | 0.4 | n |  | TRUE
49 | bus_LV_5873-2_0_3_node_28 | 0.4 | n |  | TRUE
50 | bus_LV_5873-2_0_3_node_29 | 0.4 | n |  | TRUE
51 | bus_LV_5873-2_0_3_node_38 | 0.4 | n |  | TRUE
52 | bus_LV_5873-2_0_3_node_33 | 0.4 | n |  | TRUE
53 | bus_LV_5873-2_0_3_node_58 | 0.4 | n |  | TRUE
54 | bus_LV_5873-2_0_3_node_30 | 0.4 | n |  | TRUE
55 | bus_LV_5873-2_0_3_node_39 | 0.4 | n |  | TRUE
56 | bus_LV_5873-2_0_3_node_76 | 0.4 | n |  | TRUE
57 | bus_LV_5873-2_0_3_node_40 | 0.4 | n |  | TRUE
58 | bus_LV_5873-2_0_3_node_41 | 0.4 | n |  | TRUE
59 | bus_LV_5873-2_0_3_node_42 | 0.4 | n |  | TRUE
60 | bus_LV_5873-2_0_3_node_43 | 0.4 | n |  | TRUE
61 | bus_LV_5873-2_0_3_node_45 | 0.4 | n |  | TRUE
62 | bus_LV_5873-2_0_3_node_46 | 0.4 | n |  | TRUE
63 | bus_LV_5873-2_0_3_node_79 | 0.4 | n |  | TRUE
64 | bus_LV_5873-2_0_3_node_77 | 0.4 | n |  | TRUE
65 | bus_LV_5873-2_0_3_node_78 | 0.4 | n |  | TRUE
66 | bus_LV_5873-2_0_3_node_31 | 0.4 | n |  | TRUE
67 | bus_LV_5873-2_0_3_node_48 | 0.4 | n |  | TRUE
68 | bus_LV_5873-2_0_3_node_59 | 0.4 | n |  | TRUE
69 | bus_LV_5873-2_0_3_node_60 | 0.4 | n |  | TRUE
70 | bus_LV_5873-2_0_3_node_34 | 0.4 | n |  | TRUE
71 | bus_LV_5873-2_0_3_node_35 | 0.4 | n |  | TRUE
72 | bus_LV_5873-2_0_3_node_36 | 0.4 | n |  | TRUE
73 | bus_LV_5873-2_0_3_node_37 | 0.4 | n |  | TRUE
74 | bus_LV_5873-2_0_3_node_50 | 0.4 | n |  | TRUE
75 | bus_LV_5873-2_0_3_node_57 | 0.4 | n |  | TRUE
76 | bus_LV_5873-2_0_3_node_49 | 0.4 | n |  | TRUE
77 | bus_LV_5873-2_0_3_node_54 | 0.4 | n |  | TRUE
78 | bus_LV_5873-2_0_3_node_52 | 0.4 | n |  | TRUE
79 | bus_LV_5873-2_0_3_node_84 | 0.4 | n |  | TRUE
80 | bus_LV_5873-2_0_3_node_81 | 0.4 | n |  | TRUE
81 | bus_LV_5873-2_0_3_node_85 | 0.4 | n |  | TRUE
82 | bus_LV_5873-2_0_3_node_86 | 0.4 | n |  | TRUE
83 | bus_LV_5873-2_0_3_node_61 | 0.4 | n |  | TRUE
84 | bus_LV_5873-2_0_3_node_62 | 0.4 | n |  | TRUE
85 | bus_LV_5873-2_0_3_node_63 | 0.4 | n |  | TRUE
86 | bus_LV_5873-2_0_3_node_64 | 0.4 | n |  | TRUE
87 | bus_LV_5873-2_0_3_node_65 | 0.4 | n |  | TRUE
88 | bus_LV_5873-2_0_3_node_66 | 0.4 | n |  | TRUE
89 | bus_LV_5873-2_0_3_node_68 | 0.4 | n |  | TRUE
90 | bus_LV_5873-2_0_3_node_94 | 0.4 | n |  | TRUE
91 | bus_LV_5873-2_0_3_node_67 | 0.4 | n |  | TRUE
92 | bus_LV_5873-2_0_3_node_74 | 0.4 | n |  | TRUE
93 | bus_LV_5873-2_0_3_node_90 | 0.4 | n |  | TRUE
94 | bus_LV_5873-2_0_3_node_87 | 0.4 | n |  | TRUE
95 | bus_MV_337_0_node_173 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5873-2_0_3_load_0 | 0 | 0.0023864 | 0.00059809 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5873-2_0_3_load_4 | 4 | 0.004203 | 0.0010534 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5873-2_0_3_load_5 | 5 | 0.0027451 | 0.000688 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5873-2_0_3_load_83 | 7 | 0.0030725 | 0.00077003 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5873-2_0_3_load_11 | 8 | 0.0015137 | 0.00037938 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5873-2_0_3_load_88 | 9 | 0.00098792 | 0.0002476 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5873-2_0_3_load_82 | 11 | 0.002994 | 0.00075038 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5873-2_0_3_load_12 | 13 | 0.001201 | 0.000301 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5873-2_0_3_load_6 | 15 | 0.0019477 | 0.00048813 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5873-2_0_3_load_7 | 16 | 0.0015754 | 0.00039483 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5873-2_0_3_load_8 | 17 | 0.001073 | 0.00026891 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5873-2_0_3_load_10 | 19 | 0.0017345 | 0.00043471 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5873-2_0_3_load_91 | 20 | 0.0019214 | 0.00048156 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5873-2_0_3_load_70 | 21 | 0.00055893 | 0.00014008 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5873-2_0_3_load_71 | 22 | 0.0016927 | 0.00042423 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5873-2_0_3_load_92 | 23 | 0.0020937 | 0.00052472 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5873-2_0_3_load_69 | 24 | 0.0026822 | 0.00067222 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5873-2_0_3_load_13 | 26 | 0.0015608 | 0.00039118 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5873-2_0_3_load_14 | 27 | 0.0021372 | 0.00053563 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5873-2_0_3_load_15 | 28 | 0.0017482 | 0.00043815 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5873-2_0_3_load_16 | 29 | 0.0016558 | 0.00041499 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5873-2_0_3_load_93 | 31 | 0.0014083 | 0.00035295 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5873-2_0_3_load_56 | 33 | 0.0023363 | 0.00058554 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5873-2_0_3_load_51 | 34 | 0.0027727 | 0.00069491 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5873-2_0_3_load_55 | 35 | 0.0022325 | 0.00055952 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5873-2_0_3_load_18 | 36 | 0.0024877 | 0.00062348 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5873-2_0_3_load_19 | 37 | 0.0043965 | 0.0011019 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5873-2_0_3_load_21 | 38 | 0.0025063 | 0.00062814 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5873-2_0_3_load_23 | 40 | 0.0008874 | 0.0002224 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5873-2_0_3_load_44 | 41 | 0.00050898 | 0.00012756 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5873-2_0_3_load_47 | 42 | 0.0024081 | 0.00060354 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5873-2_0_3_load_80 | 43 | 0.0060457 | 0.0015152 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5873-2_0_3_load_73 | 44 | 0.0038331 | 0.00096066 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5873-2_0_3_load_24 | 45 | 0.0051765 | 0.0012974 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5873-2_0_3_load_25 | 46 | 0.0036736 | 0.0009207 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5873-2_0_3_load_26 | 47 | 0.0034482 | 0.00086419 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5873-2_0_3_load_28 | 49 | 0.0067608 | 0.0016944 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5873-2_0_3_load_29 | 50 | 0.0035478 | 0.00088916 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5873-2_0_3_load_38 | 51 | 0.00085728 | 0.00021486 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5873-2_0_3_load_33 | 52 | 0.0018343 | 0.00045971 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5873-2_0_3_load_39 | 55 | 0.00089836 | 0.00022515 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5873-2_0_3_load_76 | 56 | 0.00063771 | 0.00015982 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5873-2_0_3_load_40 | 57 | 0.0011303 | 0.00028327 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5873-2_0_3_load_42 | 59 | 0.0017808 | 0.00044632 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5873-2_0_3_load_43 | 60 | 0.00093416 | 0.00023412 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5873-2_0_3_load_46 | 62 | 0.00075516 | 0.00018926 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5873-2_0_3_load_79 | 63 | 0.0014322 | 0.00035895 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5873-2_0_3_load_77 | 64 | 0.00048591 | 0.00012178 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5873-2_0_3_load_78 | 65 | 0.0010215 | 0.000256 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5873-2_0_3_load_31 | 66 | 0.004994 | 0.0012516 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5873-2_0_3_load_48 | 67 | 0.0017586 | 0.00044074 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5873-2_0_3_load_34 | 70 | 0.0018158 | 0.00045507 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5873-2_0_3_load_35 | 71 | 0.00096002 | 0.0002406 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5873-2_0_3_load_36 | 72 | 0.00090417 | 0.00022661 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5873-2_0_3_load_49 | 76 | 0.0045006 | 0.001128 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5873-2_0_3_load_54 | 77 | 0.0026274 | 0.00065849 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5873-2_0_3_load_52 | 78 | 0.002428 | 0.00060852 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5873-2_0_3_load_84 | 79 | 0.0011019 | 0.00027615 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5873-2_0_3_load_81 | 80 | 0.0037586 | 0.000942 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5873-2_0_3_load_85 | 81 | 0.00061424 | 0.00015394 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5873-2_0_3_load_86 | 82 | 0.00098963 | 0.00024802 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5873-2_0_3_load_61 | 83 | 0.0011598 | 0.00029067 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5873-2_0_3_load_62 | 84 | 0.0010963 | 0.00027476 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5873-2_0_3_load_63 | 85 | 0.0011653 | 0.00029206 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5873-2_0_3_load_64 | 86 | 0.0036086 | 0.00090441 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5873-2_0_3_load_66 | 88 | 0.00055318 | 0.00013864 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5873-2_0_3_load_68 | 89 | 0.001098 | 0.00027519 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5873-2_0_3_load_94 | 90 | 0.015759 | 0.0039496 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5873-2_0_3_load_67 | 91 | 0.0024448 | 0.00061273 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5873-2_0_3_load_74 | 92 | 0.0015317 | 0.00038388 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5873-2_0_3_load_90 | 93 | 0.0010539 | 0.00026413 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5873-2_0_3_load_87 | 94 | 0.0012673 | 0.00031763 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 6 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5873-2_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0095156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5873-2_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.02 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5873-2_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.024483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5873-2_0_3_line_3 | NAYY 4x150 SE | 1 | 4 | 0.0097556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5873-2_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.01543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5873-2_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.014827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5873-2_0_3_line_6 | NAYY 4x150 SE | 3 | 7 | 0.025327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5873-2_0_3_line_7 | NAYY 4x150 SE | 5 | 8 | 0.037603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5873-2_0_3_line_8 | NAYY 4x150 SE | 6 | 9 | 0.029947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5873-2_0_3_line_9 | NAYY 4x150 SE | 6 | 10 | 0.013859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5873-2_0_3_line_10 | NAYY 4x150 SE | 7 | 11 | 0.02103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5873-2_0_3_line_11 | NAYY 4x150 SE | 8 | 13 | 0.0002488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5873-2_0_3_line_12 | NAYY 4x150 SE | 9 | 39 | 0.0011354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5873-2_0_3_line_13 | NAYY 4x150 SE | 10 | 36 | 0.020976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5873-2_0_3_line_14 | NAYY 4x150 SE | 11 | 80 | 0.0047054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5873-2_0_3_line_15 | NAYY 4x150 SE | 12 | 13 | 0.022216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5873-2_0_3_line_16 | NAYY 4x150 SE | 12 | 14 | 0.017355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5873-2_0_3_line_17 | NAYY 4x150 SE | 14 | 67 | 0.022129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5873-2_0_3_line_18 | NAYY 4x150 SE | 14 | 54 | 0.019243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5873-2_0_3_line_19 | NAYY 4x150 SE | 15 | 16 | 0.0055875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5873-2_0_3_line_20 | NAYY 4x150 SE | 15 | 17 | 0.00879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5873-2_0_3_line_21 | NAYY 4x150 SE | 16 | 18 | 0.0084064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5873-2_0_3_line_22 | NAYY 4x150 SE | 17 | 19 | 0.016459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5873-2_0_3_line_23 | NAYY 4x150 SE | 18 | 20 | 0.014799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5873-2_0_3_line_24 | NAYY 4x150 SE | 18 | 21 | 0.017175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5873-2_0_3_line_25 | NAYY 4x150 SE | 19 | 22 | 0.028524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5873-2_0_3_line_26 | NAYY 4x150 SE | 20 | 23 | 0.011017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5873-2_0_3_line_27 | NAYY 4x150 SE | 21 | 24 | 0.00051311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5873-2_0_3_line_28 | NAYY 4x150 SE | 22 | 25 | 0.0088541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5873-2_0_3_line_29 | NAYY 4x150 SE | 23 | 31 | 0.024684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5873-2_0_3_line_30 | NAYY 4x150 SE | 24 | 89 | 0.027572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5873-2_0_3_line_31 | NAYY 4x150 SE | 25 | 44 | 0.020984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5873-2_0_3_line_32 | NAYY 4x150 SE | 25 | 92 | 0.031263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5873-2_0_3_line_33 | NAYY 4x150 SE | 26 | 27 | 0.010597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5873-2_0_3_line_34 | NAYY 4x150 SE | 26 | 28 | 0.026864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5873-2_0_3_line_35 | NAYY 4x150 SE | 27 | 29 | 0.008188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5873-2_0_3_line_36 | NAYY 4x150 SE | 28 | 30 | 0.02058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5873-2_0_3_line_37 | NAYY 4x150 SE | 29 | 31 | 0.0011405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5873-2_0_3_line_38 | NAYY 4x150 SE | 30 | 32 | 0.024018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5873-2_0_3_line_39 | NAYY 4x150 SE | 30 | 33 | 0.024682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5873-2_0_3_line_40 | NAYY 4x150 SE | 32 | 34 | 0.003298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5873-2_0_3_line_41 | NAYY 4x150 SE | 33 | 35 | 0.0095659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5873-2_0_3_line_42 | NAYY 4x150 SE | 34 | 78 | 0.0040808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5873-2_0_3_line_43 | NAYY 4x150 SE | 36 | 37 | 0.001874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5873-2_0_3_line_44 | NAYY 4x150 SE | 37 | 38 | 0.016611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5873-2_0_3_line_45 | NAYY 4x150 SE | 39 | 93 | 0.025615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5873-2_0_3_line_46 | NAYY 4x150 SE | 40 | 41 | 0.29193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5873-2_0_3_line_47 | NAYY 4x150 SE | 41 | 42 | 0.18627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5873-2_0_3_line_48 | NAYY 4x150 SE | 42 | 59 | 0.091814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5873-2_0_3_line_49 | NAYY 4x150 SE | 43 | 44 | 0.014105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5873-2_0_3_line_50 | NAYY 4x150 SE | 45 | 46 | 0.021419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5873-2_0_3_line_51 | NAYY 4x150 SE | 45 | 47 | 0.010152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5873-2_0_3_line_52 | NAYY 4x150 SE | 46 | 48 | 0.0053935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5873-2_0_3_line_53 | NAYY 4x150 SE | 47 | 49 | 0.038062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5873-2_0_3_line_54 | NAYY 4x150 SE | 48 | 50 | 0.017445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5873-2_0_3_line_55 | NAYY 4x150 SE | 49 | 51 | 0.084691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5873-2_0_3_line_56 | NAYY 4x150 SE | 50 | 54 | 0.026844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5873-2_0_3_line_57 | NAYY 4x150 SE | 51 | 55 | 0.01293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5873-2_0_3_line_58 | NAYY 4x150 SE | 52 | 53 | 0.017953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5873-2_0_3_line_59 | NAYY 4x150 SE | 53 | 68 | 0.008283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5873-2_0_3_line_60 | NAYY 4x150 SE | 53 | 69 | 0.044776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5873-2_0_3_line_61 | NAYY 4x150 SE | 54 | 66 | 0.011211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5873-2_0_3_line_62 | NAYY 4x150 SE | 55 | 56 | 0.015154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5873-2_0_3_line_63 | NAYY 4x150 SE | 56 | 64 | 0.0018377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5873-2_0_3_line_64 | NAYY 4x150 SE | 57 | 58 | 0.029944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5873-2_0_3_line_65 | NAYY 4x150 SE | 58 | 59 | 0.052109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5873-2_0_3_line_66 | NAYY 4x150 SE | 58 | 60 | 0.018458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_5873-2_0_3_line_67 | NAYY 4x150 SE | 60 | 61 | 0.057773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_5873-2_0_3_line_68 | NAYY 4x150 SE | 61 | 62 | 0.050827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_5873-2_0_3_line_69 | NAYY 4x150 SE | 62 | 63 | 0.012841 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_5873-2_0_3_line_70 | NAYY 4x150 SE | 63 | 65 | 0.024461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_5873-2_0_3_line_71 | NAYY 4x150 SE | 64 | 65 | 0.01213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_5873-2_0_3_line_72 | NAYY 4x150 SE | 68 | 79 | 0.013216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_5873-2_0_3_line_73 | NAYY 4x150 SE | 68 | 80 | 0.03989 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_5873-2_0_3_line_74 | NAYY 4x150 SE | 69 | 81 | 0.014427 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_5873-2_0_3_line_75 | NAYY 4x150 SE | 70 | 71 | 0.0044792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_5873-2_0_3_line_76 | NAYY 4x150 SE | 70 | 72 | 0.0021402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_5873-2_0_3_line_77 | NAYY 4x150 SE | 71 | 73 | 0.021614 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_5873-2_0_3_line_78 | NAYY 4x150 SE | 73 | 74 | 0.008298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_5873-2_0_3_line_79 | NAYY 4x150 SE | 73 | 75 | 0.021567 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_5873-2_0_3_line_80 | NAYY 4x150 SE | 74 | 76 | 0.018316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_5873-2_0_3_line_81 | NAYY 4x150 SE | 75 | 77 | 0.044629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_5873-2_0_3_line_82 | NAYY 4x150 SE | 77 | 78 | 0.012012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_5873-2_0_3_line_83 | NAYY 4x150 SE | 81 | 82 | 0.0041566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_5873-2_0_3_line_84 | NAYY 4x150 SE | 82 | 94 | 0.00099604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_5873-2_0_3_line_85 | NAYY 4x150 SE | 83 | 84 | 0.01214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_5873-2_0_3_line_86 | NAYY 4x150 SE | 83 | 85 | 0.0023579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_5873-2_0_3_line_87 | NAYY 4x150 SE | 84 | 86 | 0.017287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_5873-2_0_3_line_88 | NAYY 4x150 SE | 85 | 87 | 0.012636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_5873-2_0_3_line_89 | NAYY 4x150 SE | 86 | 88 | 0.018871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_5873-2_0_3_line_90 | NAYY 4x150 SE | 87 | 89 | 0.0093236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_5873-2_0_3_line_91 | NAYY 4x150 SE | 87 | 90 | 0.10296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_5873-2_0_3_line_92 | NAYY 4x150 SE | 88 | 91 | 0.0014266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_5873-2_0_3_line_93 | NAYY 4x150 SE | 92 | 93 | 0.003586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5873-2_0_3_trafo_22 | 0.25 MVA 20/0.4 kV | 95 | 6 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2513890.9508 | 1168983.8836 | 2513881.795 | 1168986.4754
1 | 2513868.7077 | 1168999.7681 | 2513875.187 | 1168988.346 | 2513881.795 | 1168986.4754
2 | 2513890.9508 | 1168983.8836 | 2513906.4846 | 1169002.8387
3 | 2513890.9508 | 1168983.8836 | 2513884.7685 | 1168976.337
4 | 2513868.7077 | 1168999.7681 | 2513854.7188 | 1168993.257
5 | 2513915.8875 | 1169014.3218 | 2513906.4846 | 1169002.8387
6 | 2513906.4846 | 1169002.8387 | 2513920.2052 | 1168981.55
7 | 2513854.7188 | 1168993.257 | 2513842.8257 | 1168987.7214 | 2513841.0619 | 1168982.6882 | 2513849.4758 | 1168965.4837
8 | 2513915.8875 | 1169014.3218 | 2513906.5978 | 1169020.3143 | 2513893.2968 | 1169033.73
9 | 2513915.8875 | 1169014.3218 | 2513924.728 | 1169025.0124
10 | 2513920.2052 | 1168981.55 | 2513925.8457 | 1168972.7983 | 2513928.0658 | 1168962.4154
11 | 2513849.4758 | 1168965.4837 | 2513849.5851 | 1168965.2602
12 | 2513892.4973 | 1169034.5363 | 2513893.2968 | 1169033.73
13 | 2513924.728 | 1169025.0124 | 2513940.9844 | 1169011.7563
14 | 2513929.0497 | 1168957.8139 | 2513928.0658 | 1168962.4154
15 | 2513859.3452 | 1168945.3031 | 2513849.5851 | 1168965.2602
16 | 2513848.3373 | 1168931.8642 | 2513859.3452 | 1168945.3031
17 | 2513848.3373 | 1168931.8642 | 2513826.9371 | 1168937.4978
18 | 2513848.3373 | 1168931.8642 | 2513843.5932 | 1168926.6292 | 2513834.6566 | 1168918.3192
19 | 2513958.7057 | 1169116.8537 | 2513961.3127 | 1169121.7958
20 | 2513958.7057 | 1169116.8537 | 2513958.673 | 1169116.7917 | 2513953.5882 | 1169109.7078
21 | 2513964.466 | 1169129.5385 | 2513963.3935 | 1169125.7405 | 2513961.3127 | 1169121.7958
22 | 2513941.7425 | 1169098.432 | 2513943.8605 | 1169100.072 | 2513951.0584 | 1169106.1835 | 2513953.5882 | 1169109.7078
23 | 2513964.466 | 1169129.5385 | 2513977.486 | 1169122.5043
24 | 2513964.466 | 1169129.5385 | 2513968.4383 | 1169146.248
25 | 2513917.5714 | 1169083.4563 | 2513918.255 | 1169083.7851 | 2513933.5127 | 1169092.0601 | 2513941.7425 | 1169098.432
26 | 2513977.486 | 1169122.5043 | 2513987.179 | 1169117.2674
27 | 2513968.557 | 1169146.7472 | 2513968.4383 | 1169146.248
28 | 2513909.5925 | 1169079.6181 | 2513917.5714 | 1169083.4563
29 | 2514008.4765 | 1169104.8383 | 2514001.3761 | 1169109.5972 | 2513987.179 | 1169117.2674
30 | 2513974.9339 | 1169173.5716 | 2513968.557 | 1169146.7472
31 | 2513909.5925 | 1169079.6181 | 2513907.8876 | 1169088.27 | 2513904.6271 | 1169099.9905
32 | 2513909.5925 | 1169079.6181 | 2513895.9823 | 1169073.0762 | 2513890.7997 | 1169069.2705 | 2513886.405 | 1169063.3078 | 2513885.6243 | 1169061.1177
33 | 2514021.3857 | 1169090.3793 | 2514018.9484 | 1169096.2373 | 2514015.785 | 1169099.0783
34 | 2514026.8122 | 1169064.109 | 2514022.1594 | 1169088.5199 | 2514021.3857 | 1169090.3793
35 | 2514009.4239 | 1169104.2033 | 2514012.0042 | 1169102.4739 | 2514015.785 | 1169099.0783
36 | 2514030.6654 | 1169043.8934 | 2514026.8122 | 1169064.109
37 | 2514009.4239 | 1169104.2033 | 2514008.4765 | 1169104.8383
38 | 2514030.6654 | 1169043.8934 | 2514035.1642 | 1169020.3036
39 | 2514030.6654 | 1169043.8934 | 2514023.5707 | 1169040.7043 | 2514018.6993 | 1169036.1825 | 2514014.8195 | 1169033.5588 | 2514009.3332 | 1169032.5813
40 | 2514035.1642 | 1169020.3036 | 2514035.1235 | 1169017.0058
41 | 2513999.8058 | 1169031.7231 | 2514009.3332 | 1169032.5813 | 2514009.3332 | 1169032.5813
42 | 2514035.1235 | 1169017.0058 | 2514035.073 | 1169012.9254
43 | 2513940.9844 | 1169011.7563 | 2513942.4368 | 1169010.572
44 | 2513942.4368 | 1169010.572 | 2513955.3105 | 1169000.0742
45 | 2513892.4973 | 1169034.5363 | 2513889.0722 | 1169037.9876 | 2513885.759 | 1169044.9727 | 2513883.9237 | 1169051.4807 | 2513884.5637 | 1169057.7075
46 | 2513419.1406 | 1169060.7495 | 2513448.2112 | 1169351.2258
47 | 2513583.4137 | 1168972.9304 | 2513419.1406 | 1169060.7495
48 | 2513608.152 | 1168884.5124 | 2513583.4137 | 1168972.9304
49 | 2513892.8698 | 1169105.7516 | 2513895.6101 | 1169105.779 | 2513902.186 | 1169103.75 | 2513904.6271 | 1169099.9905
50 | 2513863.2844 | 1168887.3473 | 2513843.6024 | 1168878.897
51 | 2513833.988 | 1168875.6698 | 2513841.3549 | 1168877.932 | 2513843.6024 | 1168878.897
52 | 2513868.2404 | 1168889.4751 | 2513863.2844 | 1168887.3473
53 | 2513833.988 | 1168875.6698 | 2513827.9013 | 1168873.8006 | 2513814.862 | 1168871.342 | 2513798.9906 | 1168869.9359 | 2513796.6188 | 1168869.171
54 | 2513868.2404 | 1168889.4751 | 2513854.7341 | 1168900.5164
55 | 2513796.6188 | 1168869.171 | 2513718.1473 | 1168837.3164
56 | 2513834.6566 | 1168918.3192 | 2513848.0571 | 1168905.9749 | 2513854.7341 | 1168900.5164
57 | 2513707.0304 | 1168830.7138 | 2513718.1473 | 1168837.3164
58 | 2513927.6058 | 1168915.7387 | 2513911.1881 | 1168908.4754
59 | 2513927.6058 | 1168915.7387 | 2513935.1932 | 1168919.1097
60 | 2513945.046 | 1168874.4859 | 2513927.6058 | 1168915.7387
61 | 2513834.6566 | 1168918.3192 | 2513830.7546 | 1168914.6953 | 2513825.5804 | 1168911.8895
62 | 2513707.0304 | 1168830.7138 | 2513694.0009 | 1168822.9753
63 | 2513692.4208 | 1168822.0369 | 2513694.0009 | 1168822.9753
64 | 2513649.4352 | 1168855.167 | 2513665.3742 | 1168873.4819 | 2513669.5249 | 1168877.3364
65 | 2513649.4352 | 1168855.167 | 2513628.9168 | 1168874.941 | 2513616.1092 | 1168877.4158 | 2513608.152 | 1168884.5124
66 | 2513649.4352 | 1168855.167 | 2513637.3146 | 1168841.2467
67 | 2513599.3767 | 1168797.6754 | 2513637.3146 | 1168841.2467
68 | 2513599.3767 | 1168797.6754 | 2513603.386 | 1168794.9271 | 2513606.1379 | 1168793.0864 | 2513612.8779 | 1168792.867 | 2513647.6031 | 1168802.0213
69 | 2513647.6031 | 1168802.0213 | 2513660.0201 | 1168805.2947
70 | 2513660.0201 | 1168805.2947 | 2513661.1435 | 1168805.5908 | 2513672.376 | 1168810.1319 | 2513681.9917 | 1168815.8428
71 | 2513692.4208 | 1168822.0369 | 2513681.9917 | 1168815.8428
72 | 2513935.1932 | 1168919.1097 | 2513939.0061 | 1168920.8004 | 2513947.3526 | 1168924.286
73 | 2513935.1932 | 1168919.1097 | 2513936.3795 | 1168934.035 | 2513930.4287 | 1168951.3641 | 2513929.0497 | 1168957.8139
74 | 2513945.046 | 1168874.4859 | 2513955.4925 | 1168884.4368
75 | 2514031.8508 | 1168928.2671 | 2514034.9343 | 1168925.0182
76 | 2514036.4076 | 1168923.4659 | 2514034.9343 | 1168925.0182
77 | 2514018.5358 | 1168945.2746 | 2514029.9618 | 1168930.2574 | 2514031.8508 | 1168928.2671
78 | 2514014.4915 | 1168952.5258 | 2514018.5358 | 1168945.2746
79 | 2514033.9983 | 1168960.3509 | 2514018.5358 | 1168945.2746
80 | 2514014.4915 | 1168952.5258 | 2514005.3101 | 1168968.3741
81 | 2514033.9983 | 1168960.3509 | 2514043.4612 | 1168975.4911 | 2514043.0089 | 1168985.5814 | 2514037.5581 | 1169001.3399
82 | 2514037.5581 | 1169001.3399 | 2514035.0205 | 1169008.6765 | 2514035.073 | 1169012.9254
83 | 2513955.4925 | 1168884.4368 | 2513958.5022 | 1168887.3037
84 | 2513959.2234 | 1168887.9907 | 2513958.5022 | 1168887.3037
85 | 2513962.4827 | 1169182.8337 | 2513954.9827 | 1169175.3577 | 2513954.2887 | 1169173.9718
86 | 2513962.4827 | 1169182.8337 | 2513964.1527 | 1169184.4983
87 | 2513946.5479 | 1169158.5148 | 2513954.2887 | 1169173.9718
88 | 2513976.6637 | 1169182.7289 | 2513964.1527 | 1169184.4983 | 2513964.1527 | 1169184.4983
89 | 2513938.0978 | 1169141.6414 | 2513946.5479 | 1169158.5148
90 | 2513976.6637 | 1169182.7289 | 2513975.5842 | 1169176.3072 | 2513974.9339 | 1169173.5716
91 | 2513976.6637 | 1169182.7289 | 2514079.6022 | 1169180.6912
92 | 2513937.459 | 1169140.3658 | 2513938.0978 | 1169141.6414
93 | 2513885.6243 | 1169061.1177 | 2513884.6266 | 1169058.3192 | 2513884.5637 | 1169057.7075

## bus_geodata
| x | y | coords
0 | 2513881.795 | 1168986.4754
1 | 2513890.9508 | 1168983.8836
2 | 2513868.7077 | 1168999.7681
3 | 2513906.4846 | 1169002.8387
4 | 2513884.7685 | 1168976.337
5 | 2513854.7188 | 1168993.257
6 | 2513915.8875 | 1169014.3218
7 | 2513920.2052 | 1168981.55
8 | 2513849.4758 | 1168965.4837
9 | 2513893.2968 | 1169033.73
10 | 2513924.728 | 1169025.0124
11 | 2513928.0658 | 1168962.4154
12 | 2513859.3452 | 1168945.3031
13 | 2513849.5851 | 1168965.2602
14 | 2513848.3373 | 1168931.8642
15 | 2513958.7057 | 1169116.8537
16 | 2513961.3127 | 1169121.7958
17 | 2513953.5882 | 1169109.7078
18 | 2513964.466 | 1169129.5385
19 | 2513941.7425 | 1169098.432
20 | 2513977.486 | 1169122.5043
21 | 2513968.4383 | 1169146.248
22 | 2513917.5714 | 1169083.4563
23 | 2513987.179 | 1169117.2674
24 | 2513968.557 | 1169146.7472
25 | 2513909.5925 | 1169079.6181
26 | 2514021.3857 | 1169090.3793
27 | 2514015.785 | 1169099.0783
28 | 2514026.8122 | 1169064.109
29 | 2514009.4239 | 1169104.2033
30 | 2514030.6654 | 1169043.8934
31 | 2514008.4765 | 1169104.8383
32 | 2514035.1642 | 1169020.3036
33 | 2514009.3332 | 1169032.5813
34 | 2514035.1235 | 1169017.0058
35 | 2513999.8058 | 1169031.7231
36 | 2513940.9844 | 1169011.7563
37 | 2513942.4368 | 1169010.572
38 | 2513955.3105 | 1169000.0742
39 | 2513892.4973 | 1169034.5363
40 | 2513448.2112 | 1169351.2258
41 | 2513419.1406 | 1169060.7495
42 | 2513583.4137 | 1168972.9304
43 | 2513892.8698 | 1169105.7516
44 | 2513904.6271 | 1169099.9905
45 | 2513843.6024 | 1168878.897
46 | 2513863.2844 | 1168887.3473
47 | 2513833.988 | 1168875.6698
48 | 2513868.2404 | 1168889.4751
49 | 2513796.6188 | 1168869.171
50 | 2513854.7341 | 1168900.5164
51 | 2513718.1473 | 1168837.3164
52 | 2513911.1881 | 1168908.4754
53 | 2513927.6058 | 1168915.7387
54 | 2513834.6566 | 1168918.3192
55 | 2513707.0304 | 1168830.7138
56 | 2513694.0009 | 1168822.9753
57 | 2513669.5249 | 1168877.3364
58 | 2513649.4352 | 1168855.167
59 | 2513608.152 | 1168884.5124
60 | 2513637.3146 | 1168841.2467
61 | 2513599.3767 | 1168797.6754
62 | 2513647.6031 | 1168802.0213
63 | 2513660.0201 | 1168805.2947
64 | 2513692.4208 | 1168822.0369
65 | 2513681.9917 | 1168815.8428
66 | 2513825.5804 | 1168911.8895
67 | 2513826.9371 | 1168937.4978
68 | 2513935.1932 | 1168919.1097
69 | 2513945.046 | 1168874.4859
70 | 2514034.9343 | 1168925.0182
71 | 2514031.8508 | 1168928.2671
72 | 2514036.4076 | 1168923.4659
73 | 2514018.5358 | 1168945.2746
74 | 2514014.4915 | 1168952.5258
75 | 2514033.9983 | 1168960.3509
76 | 2514005.3101 | 1168968.3741
77 | 2514037.5581 | 1169001.3399
78 | 2514035.073 | 1169012.9254
79 | 2513947.3526 | 1168924.286
80 | 2513929.0497 | 1168957.8139
81 | 2513955.4925 | 1168884.4368
82 | 2513958.5022 | 1168887.3037
83 | 2513962.4827 | 1169182.8337
84 | 2513954.2887 | 1169173.9718
85 | 2513964.1527 | 1169184.4983
86 | 2513946.5479 | 1169158.5148
87 | 2513976.6637 | 1169182.7289
88 | 2513938.0978 | 1169141.6414
89 | 2513974.9339 | 1169173.5716
90 | 2514079.6022 | 1169180.6912
91 | 2513937.459 | 1169140.3658
92 | 2513885.6243 | 1169061.1177
93 | 2513884.5637 | 1169057.7075
94 | 2513959.2234 | 1168887.9907
95 | 2513924.728 | 1169025.0124

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1