## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6504-2_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6504-2_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6504-2_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6504-2_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6504-2_0_4_node_11 | 0.4 | n |  | TRUE
5 | bus_LV_6504-2_0_4_node_12 | 0.4 | n |  | TRUE
6 | bus_LV_6504-2_0_4_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_6504-2_0_4_node_13 | 0.4 | n |  | TRUE
8 | bus_LV_6504-2_0_4_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_6504-2_0_4_node_21 | 0.4 | n |  | TRUE
10 | bus_LV_6504-2_0_4_node_22 | 0.4 | n |  | TRUE
11 | bus_LV_6504-2_0_4_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_6504-2_0_4_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_6504-2_0_4_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_6504-2_0_4_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_6504-2_0_4_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_6504-2_0_4_node_16 | 0.4 | n |  | TRUE
17 | bus_LV_6504-2_0_4_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_6504-2_0_4_node_29 | 0.4 | n |  | TRUE
19 | bus_LV_6504-2_0_4_node_48 | 0.4 | n |  | TRUE
20 | bus_LV_6504-2_0_4_node_49 | 0.4 | n |  | TRUE
21 | bus_LV_6504-2_0_4_node_50 | 0.4 | n |  | TRUE
22 | bus_LV_6504-2_0_4_node_51 | 0.4 | n |  | TRUE
23 | bus_LV_6504-2_0_4_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_6504-2_0_4_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_6504-2_0_4_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_6504-2_0_4_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_6504-2_0_4_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_6504-2_0_4_node_26 | 0.4 | n |  | TRUE
29 | bus_LV_6504-2_0_4_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_6504-2_0_4_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_6504-2_0_4_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_6504-2_0_4_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_6504-2_0_4_node_44 | 0.4 | n |  | TRUE
34 | bus_LV_6504-2_0_4_node_46 | 0.4 | n |  | TRUE
35 | bus_LV_6504-2_0_4_node_47 | 0.4 | n |  | TRUE
36 | bus_LV_6504-2_0_4_node_45 | 0.4 | n |  | TRUE
37 | bus_LV_6504-2_0_4_node_43 | 0.4 | n |  | TRUE
38 | bus_LV_6504-2_0_4_node_56 | 0.4 | n |  | TRUE
39 | bus_LV_6504-2_0_4_node_58 | 0.4 | n |  | TRUE
40 | bus_LV_6504-2_0_4_node_55 | 0.4 | n |  | TRUE
41 | bus_LV_6504-2_0_4_node_52 | 0.4 | n |  | TRUE
42 | bus_LV_6504-2_0_4_node_57 | 0.4 | n |  | TRUE
43 | bus_LV_6504-2_0_4_node_60 | 0.4 | n |  | TRUE
44 | bus_LV_6504-2_0_4_node_53 | 0.4 | n |  | TRUE
45 | bus_LV_6504-2_0_4_node_54 | 0.4 | n |  | TRUE
46 | bus_LV_6504-2_0_4_node_59 | 0.4 | n |  | TRUE
47 | bus_LV_6504-2_0_4_node_61 | 0.4 | n |  | TRUE
48 | bus_LV_6504-2_0_4_node_62 | 0.4 | n |  | TRUE
49 | bus_LV_6504-2_0_4_node_63 | 0.4 | n |  | TRUE
50 | bus_LV_6504-2_0_4_node_64 | 0.4 | n |  | TRUE
51 | bus_LV_6504-2_0_4_node_65 | 0.4 | n |  | TRUE
52 | bus_LV_6504-2_0_4_node_66 | 0.4 | n |  | TRUE
53 | bus_LV_6504-2_0_4_node_67 | 0.4 | n |  | TRUE
54 | bus_LV_6504-2_0_4_node_68 | 0.4 | n |  | TRUE
55 | bus_LV_6504-2_0_4_node_69 | 0.4 | n |  | TRUE
56 | bus_LV_6504-2_0_4_node_70 | 0.4 | n |  | TRUE
57 | bus_LV_6504-2_0_4_node_85 | 0.4 | n |  | TRUE
58 | bus_LV_6504-2_0_4_node_74 | 0.4 | n |  | TRUE
59 | bus_LV_6504-2_0_4_node_71 | 0.4 | n |  | TRUE
60 | bus_LV_6504-2_0_4_node_72 | 0.4 | n |  | TRUE
61 | bus_LV_6504-2_0_4_node_73 | 0.4 | n |  | TRUE
62 | bus_LV_6504-2_0_4_node_75 | 0.4 | n |  | TRUE
63 | bus_LV_6504-2_0_4_node_76 | 0.4 | n |  | TRUE
64 | bus_LV_6504-2_0_4_node_79 | 0.4 | n |  | TRUE
65 | bus_LV_6504-2_0_4_node_83 | 0.4 | n |  | TRUE
66 | bus_LV_6504-2_0_4_node_77 | 0.4 | n |  | TRUE
67 | bus_LV_6504-2_0_4_node_80 | 0.4 | n |  | TRUE
68 | bus_LV_6504-2_0_4_node_81 | 0.4 | n |  | TRUE
69 | bus_LV_6504-2_0_4_node_82 | 0.4 | n |  | TRUE
70 | bus_LV_6504-2_0_4_node_84 | 0.4 | n |  | TRUE
71 | bus_MV_318_0_node_73 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6504-2_0_4_load_0 | 0 | 0.0027107 | 0.00067937 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6504-2_0_4_load_1 | 1 | 0.0025495 | 0.00063896 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6504-2_0_4_load_2 | 2 | 0.0029011 | 0.00072708 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6504-2_0_4_load_11 | 4 | 0.0022674 | 0.00056826 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6504-2_0_4_load_12 | 5 | 0.0037937 | 0.00095079 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6504-2_0_4_load_9 | 6 | 0.0030172 | 0.00075619 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6504-2_0_4_load_13 | 7 | 0.0011198 | 0.00028064 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6504-2_0_4_load_4 | 8 | 0.00092883 | 0.00023279 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6504-2_0_4_load_21 | 9 | 0.00082664 | 0.00020717 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6504-2_0_4_load_22 | 10 | 0.00025787 | 6.4629e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6504-2_0_4_load_6 | 11 | 0.0068197 | 0.0017092 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6504-2_0_4_load_7 | 12 | 0.0047383 | 0.0011875 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6504-2_0_4_load_8 | 13 | 0.003973 | 0.00099573 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6504-2_0_4_load_10 | 14 | 0.0017513 | 0.00043893 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6504-2_0_4_load_29 | 18 | 0.015622 | 0.0039152 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6504-2_0_4_load_48 | 19 | 0.0069826 | 0.00175 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6504-2_0_4_load_49 | 20 | 0.0053018 | 0.0013288 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6504-2_0_4_load_50 | 21 | 0.0063848 | 0.0016002 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6504-2_0_4_load_51 | 22 | 0.0070587 | 0.0017691 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6504-2_0_4_load_17 | 23 | 0.00084879 | 0.00021273 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6504-2_0_4_load_18 | 24 | 0.0027391 | 0.00068649 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6504-2_0_4_load_19 | 25 | 0.00048771 | 0.00012223 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6504-2_0_4_load_20 | 26 | 0.00065234 | 0.00016349 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6504-2_0_4_load_25 | 27 | 0.0019092 | 0.00047849 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6504-2_0_4_load_26 | 28 | 0.00070451 | 0.00017657 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6504-2_0_4_load_23 | 29 | 0.0010129 | 0.00025385 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6504-2_0_4_load_27 | 32 | 0.00037494 | 9.3969e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6504-2_0_4_load_46 | 34 | 0.00045128 | 0.0001131 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6504-2_0_4_load_47 | 35 | 0.0011377 | 0.00028513 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6504-2_0_4_load_43 | 37 | 0.00024184 | 6.061e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6504-2_0_4_load_58 | 39 | 0.00042719 | 0.00010706 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6504-2_0_4_load_55 | 40 | 0.00027402 | 6.8675e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6504-2_0_4_load_60 | 43 | 0.00052718 | 0.00013212 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6504-2_0_4_load_53 | 44 | 0.0016071 | 0.00040278 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6504-2_0_4_load_54 | 45 | 0.0013267 | 0.00033249 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6504-2_0_4_load_61 | 47 | 0.00076254 | 0.00019111 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6504-2_0_4_load_62 | 48 | 0.00059425 | 0.00014893 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6504-2_0_4_load_63 | 49 | 0.00041676 | 0.00010445 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6504-2_0_4_load_65 | 51 | 0.00038799 | 9.7239e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6504-2_0_4_load_66 | 52 | 0.00048377 | 0.00012125 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6504-2_0_4_load_67 | 53 | 0.0021932 | 0.00054968 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6504-2_0_4_load_68 | 54 | 0.00011719 | 2.937e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6504-2_0_4_load_70 | 56 | 0.0011118 | 0.00027864 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6504-2_0_4_load_85 | 57 | 0.0014444 | 0.000362 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6504-2_0_4_load_71 | 59 | 0.00022507 | 5.6407e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6504-2_0_4_load_72 | 60 | 0.00069169 | 0.00017335 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6504-2_0_4_load_73 | 61 | 0.00035715 | 8.9509e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6504-2_0_4_load_76 | 63 | 0.0012183 | 0.00030532 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6504-2_0_4_load_79 | 64 | 0.00054304 | 0.0001361 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6504-2_0_4_load_83 | 65 | 0.0009084 | 0.00022767 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6504-2_0_4_load_77 | 66 | 0.00016598 | 4.1598e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6504-2_0_4_load_80 | 67 | 0.00015211 | 3.8123e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6504-2_0_4_load_81 | 68 | 0.00025359 | 6.3556e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6504-2_0_4_load_84 | 70 | 0.0055127 | 0.0013816 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 22 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6504-2_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.027914 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_6504-2_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.030695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_6504-2_0_4_line_2 | NAYY 4x150 SE | 2 | 3 | 0.018229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_6504-2_0_4_line_3 | NAYY 4x150 SE | 3 | 4 | 0.012405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_6504-2_0_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.069406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_6504-2_0_4_line_5 | NAYY 4x150 SE | 4 | 6 | 0.080122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_6504-2_0_4_line_6 | NAYY 4x150 SE | 5 | 7 | 0.027173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_6504-2_0_4_line_7 | NAYY 4x150 SE | 6 | 12 | 0.0051129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_6504-2_0_4_line_8 | NAYY 4x150 SE | 7 | 17 | 0.024524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_6504-2_0_4_line_9 | NAYY 4x150 SE | 8 | 9 | 0.33543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_6504-2_0_4_line_10 | NAYY 4x150 SE | 9 | 10 | 0.10499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_6504-2_0_4_line_11 | NAYY 4x150 SE | 10 | 29 | 0.056389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_6504-2_0_4_line_12 | NAYY 4x150 SE | 11 | 12 | 0.0085211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_6504-2_0_4_line_13 | NAYY 4x150 SE | 11 | 13 | 0.023426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_6504-2_0_4_line_14 | NAYY 4x150 SE | 13 | 14 | 0.040532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_6504-2_0_4_line_15 | NAYY 4x150 SE | 14 | 15 | 0.046554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
16 | LV_6504-2_0_4_line_16 | NAYY 4x150 SE | 15 | 16 | 0.11634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_6504-2_0_4_line_17 | NAYY 4x150 SE | 16 | 19 | 0.18333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_6504-2_0_4_line_18 | NAYY 4x150 SE | 17 | 18 | 0.0088487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_6504-2_0_4_line_19 | NAYY 4x150 SE | 19 | 20 | 0.068487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
20 | LV_6504-2_0_4_line_20 | NAYY 4x150 SE | 20 | 21 | 0.057553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_6504-2_0_4_line_21 | NAYY 4x150 SE | 21 | 22 | 0.053987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
22 | LV_6504-2_0_4_line_22 | NAYY 4x150 SE | 22 | 41 | 0.14738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
23 | LV_6504-2_0_4_line_23 | NAYY 4x150 SE | 23 | 24 | 0.045783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_6504-2_0_4_line_24 | NAYY 4x150 SE | 23 | 25 | 0.033119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_6504-2_0_4_line_25 | NAYY 4x150 SE | 24 | 26 | 0.024234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_6504-2_0_4_line_26 | NAYY 4x150 SE | 26 | 27 | 0.03275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_6504-2_0_4_line_27 | NAYY 4x150 SE | 27 | 28 | 0.025903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_6504-2_0_4_line_28 | NAYY 4x150 SE | 28 | 32 | 0.024964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_6504-2_0_4_line_29 | NAYY 4x150 SE | 29 | 30 | 0.015718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_6504-2_0_4_line_30 | NAYY 4x150 SE | 30 | 31 | 0.031523 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_6504-2_0_4_line_31 | NAYY 4x150 SE | 30 | 32 | 0.02441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_6504-2_0_4_line_32 | NAYY 4x150 SE | 31 | 33 | 0.17155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_6504-2_0_4_line_33 | NAYY 4x150 SE | 33 | 37 | 0.14557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_6504-2_0_4_line_34 | NAYY 4x150 SE | 34 | 35 | 0.026235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_6504-2_0_4_line_35 | NAYY 4x150 SE | 34 | 36 | 0.020884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_6504-2_0_4_line_36 | NAYY 4x150 SE | 36 | 37 | 0.047456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_6504-2_0_4_line_37 | NAYY 4x150 SE | 37 | 38 | 0.26596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_6504-2_0_4_line_38 | NAYY 4x150 SE | 38 | 39 | 0.03823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_6504-2_0_4_line_39 | NAYY 4x150 SE | 38 | 40 | 0.096401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_6504-2_0_4_line_40 | NAYY 4x150 SE | 39 | 46 | 0.053096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_6504-2_0_4_line_41 | NAYY 4x150 SE | 40 | 45 | 0.029556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_6504-2_0_4_line_42 | NAYY 4x150 SE | 41 | 42 | 0.19706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
43 | LV_6504-2_0_4_line_43 | NAYY 4x150 SE | 42 | 43 | 0.06563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_6504-2_0_4_line_44 | NAYY 4x150 SE | 43 | 46 | 0.027158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_6504-2_0_4_line_45 | NAYY 4x150 SE | 44 | 45 | 0.071573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_6504-2_0_4_line_46 | NAYY 4x150 SE | 46 | 47 | 0.0086791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_6504-2_0_4_line_47 | NAYY 4x150 SE | 47 | 48 | 0.055583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_6504-2_0_4_line_48 | NAYY 4x150 SE | 48 | 49 | 0.00021508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_6504-2_0_4_line_49 | NAYY 4x150 SE | 49 | 50 | 0.13062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_6504-2_0_4_line_50 | NAYY 4x150 SE | 50 | 51 | 0.17467 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_6504-2_0_4_line_51 | NAYY 4x150 SE | 51 | 52 | 0.015784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_6504-2_0_4_line_52 | NAYY 4x150 SE | 52 | 53 | 0.023827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_6504-2_0_4_line_53 | NAYY 4x150 SE | 53 | 54 | 0.02592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_6504-2_0_4_line_54 | NAYY 4x150 SE | 54 | 55 | 0.035044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_6504-2_0_4_line_55 | NAYY 4x150 SE | 55 | 56 | 0.13218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_6504-2_0_4_line_56 | NAYY 4x150 SE | 55 | 57 | 0.23843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_6504-2_0_4_line_57 | NAYY 4x150 SE | 56 | 58 | 0.055882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_6504-2_0_4_line_58 | NAYY 4x150 SE | 58 | 62 | 0.025236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_6504-2_0_4_line_59 | NAYY 4x150 SE | 58 | 63 | 0.035722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_6504-2_0_4_line_60 | NAYY 4x150 SE | 58 | 61 | 0.038043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_6504-2_0_4_line_61 | NAYY 4x150 SE | 59 | 60 | 0.001254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_6504-2_0_4_line_62 | NAYY 4x150 SE | 60 | 61 | 0.02216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_6504-2_0_4_line_63 | NAYY 4x150 SE | 62 | 64 | 0.040907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_6504-2_0_4_line_64 | NAYY 4x150 SE | 62 | 65 | 0.0076587 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_6504-2_0_4_line_65 | NAYY 4x150 SE | 63 | 66 | 0.021314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_6504-2_0_4_line_66 | NAYY 4x150 SE | 65 | 68 | 0.016694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_6504-2_0_4_line_67 | NAYY 4x150 SE | 67 | 68 | 0.0052124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_6504-2_0_4_line_68 | NAYY 4x150 SE | 67 | 69 | 0.072889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_6504-2_0_4_line_69 | NAYY 4x150 SE | 69 | 70 | 0.060293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6504-2_0_4_trafo_51 | 0.25 MVA 20/0.4 kV | 71 | 22 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2527301.9548 | 1190745.3265 | 2527322.4583 | 1190764.2689
1 | 2527301.9548 | 1190745.3265 | 2527279.4087 | 1190724.497
2 | 2527266.0189 | 1190712.1267 | 2527279.4087 | 1190724.497
3 | 2527266.0189 | 1190712.1267 | 2527258.0286 | 1190721.616
4 | 2527266.0189 | 1190712.1267 | 2527217.6401 | 1190662.3596
5 | 2527258.0286 | 1190721.616 | 2527230.72 | 1190754.0481 | 2527222.4475 | 1190763.5323 | 2527219.0864 | 1190767.4311 | 2527233.9807 | 1190780.7657
6 | 2527198.6991 | 1190642.8758 | 2527211.1821 | 1190655.7163 | 2527217.6401 | 1190662.3596
7 | 2527233.9807 | 1190780.7657 | 2527237.79 | 1190784.1761
8 | 2527181.6049 | 1190625.2918 | 2527198.6991 | 1190642.8758
9 | 2527049.9618 | 1190322.5846 | 2527313.0502 | 1190114.5008
10 | 2527049.9618 | 1190322.5846 | 2527040.5791 | 1190318.4734 | 2527007.4706 | 1190300.0779 | 2526985.5851 | 1190302.6912 | 2526954.4856 | 1190318.3732
11 | 2526954.4856 | 1190318.3732 | 2526934.9702 | 1190328.214 | 2526915.1712 | 1190343.0316 | 2526910.2629 | 1190351.5175
12 | 2527244.1386 | 1190789.8598 | 2527237.79 | 1190784.1761
13 | 2527261.5921 | 1190805.4856 | 2527244.1386 | 1190789.8598
14 | 2527261.5921 | 1190805.4856 | 2527265.4826 | 1190808.9687 | 2527280.2555 | 1190814.8035 | 2527294.8679 | 1190827.6047
15 | 2527329.8848 | 1190858.2812 | 2527294.8679 | 1190827.6047
16 | 2527294.3609 | 1190964.3544 | 2527297.9825 | 1190936.7606 | 2527304.318 | 1190906.6099 | 2527305.1004 | 1190886.3105 | 2527329.8848 | 1190858.2812
17 | 2527294.3609 | 1190964.3544 | 2527112.7914 | 1190989.7296
18 | 2527181.6049 | 1190625.2918 | 2527175.3428 | 1190619.04
19 | 2527112.7914 | 1190989.7296 | 2527100.9263 | 1190990.827 | 2527045.8982 | 1190981.7265 | 2527045.1248 | 1190981.5409
20 | 2527045.1248 | 1190981.5409 | 2526989.1609 | 1190968.1075
21 | 2526989.1609 | 1190968.1075 | 2526975.8225 | 1190964.9058 | 2526937.6191 | 1190952.1708
22 | 2526809.11 | 1190889.5116 | 2526849.679 | 1190896.5301 | 2526875.0469 | 1190904.491 | 2526906.0917 | 1190934.5625 | 2526926.8898 | 1190948.5943 | 2526937.6191 | 1190952.1708
23 | 2527036.3711 | 1190482.2751 | 2527021.5434 | 1190468.1729 | 2527002.7957 | 1190451.1544
24 | 2527036.3711 | 1190482.2751 | 2527060.3696 | 1190505.0994
25 | 2527002.7957 | 1190451.1544 | 2526984.8525 | 1190434.8662
26 | 2526960.601 | 1190412.8569 | 2526960.661 | 1190412.906 | 2526984.8525 | 1190434.8662
27 | 2526960.601 | 1190412.8569 | 2526940.5513 | 1190396.4566
28 | 2526921.2284 | 1190380.6507 | 2526940.5513 | 1190396.4566
29 | 2526902.3934 | 1190365.1233 | 2526910.2629 | 1190351.5175
30 | 2526882.7423 | 1190340.927 | 2526885.8117 | 1190347.46 | 2526888.7248 | 1190351.8159 | 2526894.6828 | 1190358.2135 | 2526902.3934 | 1190365.1233
31 | 2526902.3934 | 1190365.1233 | 2526909.6666 | 1190371.1935 | 2526921.2284 | 1190380.6507
32 | 2526882.7423 | 1190340.927 | 2526752.9963 | 1190453.1607
33 | 2526752.9963 | 1190453.1607 | 2526739.7421 | 1190468.6769 | 2526720.0807 | 1190494.0108 | 2526712.0852 | 1190511.1191 | 2526708.2224 | 1190525.0748 | 2526705.5003 | 1190538.7719 | 2526703.1864 | 1190555.2769 | 2526702.9189 | 1190570.7672 | 2526704.4818 | 1190580.6761 | 2526705.5467 | 1190584.0876
34 | 2526740.753 | 1190593.3612 | 2526740.753 | 1190593.3612 | 2526746.8895 | 1190588.2051 | 2526751.5303 | 1190585.4465 | 2526754.9862 | 1190582.458 | 2526759.1407 | 1190575.3273
35 | 2526740.93 | 1190613.3821 | 2526738.0052 | 1190599.9877 | 2526740.753 | 1190593.3612
36 | 2526740.93 | 1190613.3821 | 2526721.2853 | 1190602.7499 | 2526707.5379 | 1190590.4667 | 2526705.5467 | 1190584.0876
37 | 2526537.7935 | 1190790.4706 | 2526705.5467 | 1190584.0876
38 | 2526537.7935 | 1190790.4706 | 2526534.3478 | 1190801.7086 | 2526522.8078 | 1190825.5371
39 | 2526537.7935 | 1190790.4706 | 2526526.8871 | 1190782.2554 | 2526495.5156 | 1190746.9312 | 2526474.8043 | 1190718.0948
40 | 2526526.1068 | 1190872.5412 | 2526515.4748 | 1190860.587 | 2526513.5136 | 1190847.4588 | 2526519.5118 | 1190832.3427 | 2526522.8078 | 1190825.5371
41 | 2526474.8043 | 1190718.0948 | 2526474.3425 | 1190717.4518 | 2526460.8727 | 1190692.0363
42 | 2526615.1075 | 1190854.937 | 2526809.11 | 1190889.5116
43 | 2526615.1075 | 1190854.937 | 2526582.6693 | 1190853.101 | 2526561.3525 | 1190857.132 | 2526550.6291 | 1190861.1328
44 | 2526526.1068 | 1190872.5412 | 2526536.0531 | 1190866.5709 | 2526550.6291 | 1190861.1328
45 | 2526412.8505 | 1190639.8821 | 2526425.8136 | 1190650.0088 | 2526436.7654 | 1190660.0244 | 2526455.3403 | 1190681.5975 | 2526460.8727 | 1190692.0363
46 | 2526526.1068 | 1190872.5412 | 2526518.6639 | 1190877.0055
47 | 2526518.6639 | 1190877.0055 | 2526512.2924 | 1190880.8271 | 2526490.4673 | 1190903.6426 | 2526480.8939 | 1190917.1789
48 | 2526480.8939 | 1190917.1789 | 2526480.7697 | 1190917.3545
49 | 2526405.3493 | 1191023.9957 | 2526480.7697 | 1190917.3545
50 | 2526405.3493 | 1191023.9957 | 2526251.292 | 1191106.3111
51 | 2526251.292 | 1191106.3111 | 2526253.4462 | 1191117.1243 | 2526251.6765 | 1191121.5408
52 | 2526251.6765 | 1191121.5408 | 2526246.3006 | 1191134.9565 | 2526245.9054 | 1191144.3226 | 2526245.9054 | 1191144.3226
53 | 2526268.3757 | 1191157.2426 | 2526245.9054 | 1191144.3226
54 | 2526298.7561 | 1191174.7109 | 2526268.3757 | 1191157.2426
55 | 2526298.7561 | 1191174.7109 | 2526236.609 | 1191255.3149 | 2526219.5053 | 1191280.4415
56 | 2526298.7561 | 1191174.7109 | 2526492.8647 | 1191313.166
57 | 2526195.9276 | 1191330.996 | 2526205.9296 | 1191306.1687 | 2526217.4372 | 1191283.4796 | 2526219.5053 | 1191280.4415
58 | 2526195.9276 | 1191330.996 | 2526191.0793 | 1191355.7596
59 | 2526195.9276 | 1191330.996 | 2526188.8827 | 1191327.3253 | 2526161.1137 | 1191328.0556
60 | 2526195.9276 | 1191330.996 | 2526233.4399 | 1191337.3295
61 | 2526250.04 | 1191327.433 | 2526249.6678 | 1191328.6306
62 | 2526249.6678 | 1191328.6306 | 2526247.8572 | 1191334.4569 | 2526242.3146 | 1191338.8279 | 2526233.4399 | 1191337.3295
63 | 2526191.0793 | 1191355.7596 | 2526180.1313 | 1191364.489 | 2526153.2638 | 1191365.8996
64 | 2526191.0793 | 1191355.7596 | 2526193.5831 | 1191362.9975
65 | 2526139.9946 | 1191330.3557 | 2526150.588 | 1191328.3324 | 2526161.1137 | 1191328.0556
66 | 2526199.048 | 1191378.7715 | 2526197.1838 | 1191373.4059 | 2526193.5831 | 1191362.9975
67 | 2526200.7586 | 1191383.6952 | 2526199.048 | 1191378.7715
68 | 2526224.6805 | 1191452.5471 | 2526200.7586 | 1191383.6952
69 | 2526224.6805 | 1191452.5471 | 2526233.6875 | 1191495.9397 | 2526235.3807 | 1191511.825

## bus_geodata
| x | y | coords
0 | 2527301.9548 | 1190745.3265
1 | 2527322.4583 | 1190764.2689
2 | 2527279.4087 | 1190724.497
3 | 2527266.0189 | 1190712.1267
4 | 2527258.0286 | 1190721.616
5 | 2527217.6401 | 1190662.3596
6 | 2527233.9807 | 1190780.7657
7 | 2527198.6991 | 1190642.8758
8 | 2527313.0502 | 1190114.5008
9 | 2527049.9618 | 1190322.5846
10 | 2526954.4856 | 1190318.3732
11 | 2527244.1386 | 1190789.8598
12 | 2527237.79 | 1190784.1761
13 | 2527261.5921 | 1190805.4856
14 | 2527294.8679 | 1190827.6047
15 | 2527329.8848 | 1190858.2812
16 | 2527294.3609 | 1190964.3544
17 | 2527181.6049 | 1190625.2918
18 | 2527175.3428 | 1190619.04
19 | 2527112.7914 | 1190989.7296
20 | 2527045.1248 | 1190981.5409
21 | 2526989.1609 | 1190968.1075
22 | 2526937.6191 | 1190952.1708
23 | 2527036.3711 | 1190482.2751
24 | 2527002.7957 | 1190451.1544
25 | 2527060.3696 | 1190505.0994
26 | 2526984.8525 | 1190434.8662
27 | 2526960.601 | 1190412.8569
28 | 2526940.5513 | 1190396.4566
29 | 2526910.2629 | 1190351.5175
30 | 2526902.3934 | 1190365.1233
31 | 2526882.7423 | 1190340.927
32 | 2526921.2284 | 1190380.6507
33 | 2526752.9963 | 1190453.1607
34 | 2526740.753 | 1190593.3612
35 | 2526759.1407 | 1190575.3273
36 | 2526740.93 | 1190613.3821
37 | 2526705.5467 | 1190584.0876
38 | 2526537.7935 | 1190790.4706
39 | 2526522.8078 | 1190825.5371
40 | 2526474.8043 | 1190718.0948
41 | 2526809.11 | 1190889.5116
42 | 2526615.1075 | 1190854.937
43 | 2526550.6291 | 1190861.1328
44 | 2526412.8505 | 1190639.8821
45 | 2526460.8727 | 1190692.0363
46 | 2526526.1068 | 1190872.5412
47 | 2526518.6639 | 1190877.0055
48 | 2526480.8939 | 1190917.1789
49 | 2526480.7697 | 1190917.3545
50 | 2526405.3493 | 1191023.9957
51 | 2526251.292 | 1191106.3111
52 | 2526251.6765 | 1191121.5408
53 | 2526245.9054 | 1191144.3226
54 | 2526268.3757 | 1191157.2426
55 | 2526298.7561 | 1191174.7109
56 | 2526219.5053 | 1191280.4415
57 | 2526492.8647 | 1191313.166
58 | 2526195.9276 | 1191330.996
59 | 2526250.04 | 1191327.433
60 | 2526249.6678 | 1191328.6306
61 | 2526233.4399 | 1191337.3295
62 | 2526191.0793 | 1191355.7596
63 | 2526161.1137 | 1191328.0556
64 | 2526153.2638 | 1191365.8996
65 | 2526193.5831 | 1191362.9975
66 | 2526139.9946 | 1191330.3557
67 | 2526200.7586 | 1191383.6952
68 | 2526199.048 | 1191378.7715
69 | 2526224.6805 | 1191452.5471
70 | 2526235.3807 | 1191511.825
71 | 2526937.6191 | 1190952.1708

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1