## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6512-1_2_4_node_20 | 0.4 | n |  | TRUE
1 | bus_LV_6512-1_2_4_node_21 | 0.4 | n |  | TRUE
2 | bus_LV_6512-1_2_4_node_22 | 0.4 | n |  | TRUE
3 | bus_LV_6512-1_2_4_node_23 | 0.4 | n |  | TRUE
4 | bus_LV_6512-1_2_4_node_24 | 0.4 | n |  | TRUE
5 | bus_LV_6512-1_2_4_node_84 | 0.4 | n |  | TRUE
6 | bus_LV_6512-1_2_4_node_39 | 0.4 | n |  | TRUE
7 | bus_LV_6512-1_2_4_node_40 | 0.4 | n |  | TRUE
8 | bus_LV_6512-1_2_4_node_41 | 0.4 | n |  | TRUE
9 | bus_LV_6512-1_2_4_node_42 | 0.4 | n |  | TRUE
10 | bus_LV_6512-1_2_4_node_43 | 0.4 | n |  | TRUE
11 | bus_LV_6512-1_2_4_node_46 | 0.4 | n |  | TRUE
12 | bus_LV_6512-1_2_4_node_44 | 0.4 | n |  | TRUE
13 | bus_LV_6512-1_2_4_node_47 | 0.4 | n |  | TRUE
14 | bus_LV_6512-1_2_4_node_45 | 0.4 | n |  | TRUE
15 | bus_LV_6512-1_2_4_node_111 | 0.4 | n |  | TRUE
16 | bus_LV_6512-1_2_4_node_168 | 0.4 | n |  | TRUE
17 | bus_LV_6512-1_2_4_node_165 | 0.4 | n |  | TRUE
18 | bus_LV_6512-1_2_4_node_159 | 0.4 | n |  | TRUE
19 | bus_LV_6512-1_2_4_node_53 | 0.4 | n |  | TRUE
20 | bus_LV_6512-1_2_4_node_134 | 0.4 | n |  | TRUE
21 | bus_LV_6512-1_2_4_node_59 | 0.4 | n |  | TRUE
22 | bus_LV_6512-1_2_4_node_119 | 0.4 | n |  | TRUE
23 | bus_LV_6512-1_2_4_node_57 | 0.4 | n |  | TRUE
24 | bus_LV_6512-1_2_4_node_127 | 0.4 | n |  | TRUE
25 | bus_LV_6512-1_2_4_node_126 | 0.4 | n |  | TRUE
26 | bus_LV_6512-1_2_4_node_118 | 0.4 | n |  | TRUE
27 | bus_LV_6512-1_2_4_node_117 | 0.4 | n |  | TRUE
28 | bus_LV_6512-1_2_4_node_62 | 0.4 | n |  | TRUE
29 | bus_LV_6512-1_2_4_node_63 | 0.4 | n |  | TRUE
30 | bus_LV_6512-1_2_4_node_64 | 0.4 | n |  | TRUE
31 | bus_LV_6512-1_2_4_node_65 | 0.4 | n |  | TRUE
32 | bus_LV_6512-1_2_4_node_66 | 0.4 | n |  | TRUE
33 | bus_LV_6512-1_2_4_node_67 | 0.4 | n |  | TRUE
34 | bus_LV_6512-1_2_4_node_68 | 0.4 | n |  | TRUE
35 | bus_LV_6512-1_2_4_node_164 | 0.4 | n |  | TRUE
36 | bus_LV_6512-1_2_4_node_194 | 0.4 | n |  | TRUE
37 | bus_LV_6512-1_2_4_node_237 | 0.4 | n |  | TRUE
38 | bus_LV_6512-1_2_4_node_69 | 0.4 | n |  | TRUE
39 | bus_LV_6512-1_2_4_node_70 | 0.4 | n |  | TRUE
40 | bus_LV_6512-1_2_4_node_71 | 0.4 | n |  | TRUE
41 | bus_LV_6512-1_2_4_node_73 | 0.4 | n |  | TRUE
42 | bus_LV_6512-1_2_4_node_163 | 0.4 | n |  | TRUE
43 | bus_LV_6512-1_2_4_node_92 | 0.4 | n |  | TRUE
44 | bus_LV_6512-1_2_4_node_93 | 0.4 | n |  | TRUE
45 | bus_LV_6512-1_2_4_node_94 | 0.4 | n |  | TRUE
46 | bus_LV_6512-1_2_4_node_95 | 0.4 | n |  | TRUE
47 | bus_LV_6512-1_2_4_node_96 | 0.4 | n |  | TRUE
48 | bus_LV_6512-1_2_4_node_100 | 0.4 | n |  | TRUE
49 | bus_LV_6512-1_2_4_node_97 | 0.4 | n |  | TRUE
50 | bus_LV_6512-1_2_4_node_98 | 0.4 | n |  | TRUE
51 | bus_LV_6512-1_2_4_node_99 | 0.4 | n |  | TRUE
52 | bus_LV_6512-1_2_4_node_101 | 0.4 | n |  | TRUE
53 | bus_LV_6512-1_2_4_node_102 | 0.4 | n |  | TRUE
54 | bus_LV_6512-1_2_4_node_236 | 0.4 | n |  | TRUE
55 | bus_LV_6512-1_2_4_node_124 | 0.4 | n |  | TRUE
56 | bus_LV_6512-1_2_4_node_103 | 0.4 | n |  | TRUE
57 | bus_LV_6512-1_2_4_node_108 | 0.4 | n |  | TRUE
58 | bus_LV_6512-1_2_4_node_109 | 0.4 | n |  | TRUE
59 | bus_LV_6512-1_2_4_node_110 | 0.4 | n |  | TRUE
60 | bus_LV_6512-1_2_4_node_112 | 0.4 | n |  | TRUE
61 | bus_LV_6512-1_2_4_node_113 | 0.4 | n |  | TRUE
62 | bus_LV_6512-1_2_4_node_114 | 0.4 | n |  | TRUE
63 | bus_LV_6512-1_2_4_node_115 | 0.4 | n |  | TRUE
64 | bus_LV_6512-1_2_4_node_116 | 0.4 | n |  | TRUE
65 | bus_LV_6512-1_2_4_node_125 | 0.4 | n |  | TRUE
66 | bus_LV_6512-1_2_4_node_120 | 0.4 | n |  | TRUE
67 | bus_LV_6512-1_2_4_node_121 | 0.4 | n |  | TRUE
68 | bus_LV_6512-1_2_4_node_122 | 0.4 | n |  | TRUE
69 | bus_LV_6512-1_2_4_node_123 | 0.4 | n |  | TRUE
70 | bus_LV_6512-1_2_4_node_133 | 0.4 | n |  | TRUE
71 | bus_LV_6512-1_2_4_node_166 | 0.4 | n |  | TRUE
72 | bus_LV_6512-1_2_4_node_167 | 0.4 | n |  | TRUE
73 | bus_LV_6512-1_2_4_node_172 | 0.4 | n |  | TRUE
74 | bus_LV_6512-1_2_4_node_169 | 0.4 | n |  | TRUE
75 | bus_LV_6512-1_2_4_node_170 | 0.4 | n |  | TRUE
76 | bus_LV_6512-1_2_4_node_171 | 0.4 | n |  | TRUE
77 | bus_LV_6512-1_2_4_node_180 | 0.4 | n |  | TRUE
78 | bus_LV_6512-1_2_4_node_188 | 0.4 | n |  | TRUE
79 | bus_LV_6512-1_2_4_node_173 | 0.4 | n |  | TRUE
80 | bus_LV_6512-1_2_4_node_174 | 0.4 | n |  | TRUE
81 | bus_LV_6512-1_2_4_node_175 | 0.4 | n |  | TRUE
82 | bus_LV_6512-1_2_4_node_176 | 0.4 | n |  | TRUE
83 | bus_LV_6512-1_2_4_node_177 | 0.4 | n |  | TRUE
84 | bus_LV_6512-1_2_4_node_178 | 0.4 | n |  | TRUE
85 | bus_LV_6512-1_2_4_node_182 | 0.4 | n |  | TRUE
86 | bus_LV_6512-1_2_4_node_181 | 0.4 | n |  | TRUE
87 | bus_LV_6512-1_2_4_node_187 | 0.4 | n |  | TRUE
88 | bus_LV_6512-1_2_4_node_179 | 0.4 | n |  | TRUE
89 | bus_LV_6512-1_2_4_node_183 | 0.4 | n |  | TRUE
90 | bus_LV_6512-1_2_4_node_184 | 0.4 | n |  | TRUE
91 | bus_LV_6512-1_2_4_node_185 | 0.4 | n |  | TRUE
92 | bus_LV_6512-1_2_4_node_186 | 0.4 | n |  | TRUE
93 | bus_LV_6512-1_2_4_node_189 | 0.4 | n |  | TRUE
94 | bus_LV_6512-1_2_4_node_190 | 0.4 | n |  | TRUE
95 | bus_LV_6512-1_2_4_node_191 | 0.4 | n |  | TRUE
96 | bus_LV_6512-1_2_4_node_192 | 0.4 | n |  | TRUE
97 | bus_LV_6512-1_2_4_node_195 | 0.4 | n |  | TRUE
98 | bus_LV_6512-1_2_4_node_193 | 0.4 | n |  | TRUE
99 | bus_LV_6512-1_2_4_node_225 | 0.4 | n |  | TRUE
100 | bus_LV_6512-1_2_4_node_226 | 0.4 | n |  | TRUE
101 | bus_LV_6512-1_2_4_node_227 | 0.4 | n |  | TRUE
102 | bus_LV_6512-1_2_4_node_228 | 0.4 | n |  | TRUE
103 | bus_LV_6512-1_2_4_node_230 | 0.4 | n |  | TRUE
104 | bus_LV_6512-1_2_4_node_229 | 0.4 | n |  | TRUE
105 | bus_LV_6512-1_2_4_node_231 | 0.4 | n |  | TRUE
106 | bus_LV_6512-1_2_4_node_232 | 0.4 | n |  | TRUE
107 | bus_MV_340_0_node_43 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6512-1_2_4_load_20 | 0 | 0.0031887 | 0.00079917 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6512-1_2_4_load_21 | 1 | 0.0015657 | 0.0003924 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6512-1_2_4_load_23 | 3 | 0.0021098 | 0.00052876 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6512-1_2_4_load_24 | 4 | 0.003574 | 0.00089572 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6512-1_2_4_load_84 | 5 | 0.0011769 | 0.00029496 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6512-1_2_4_load_39 | 6 | 0.0018258 | 0.00045758 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6512-1_2_4_load_40 | 7 | 0.0017218 | 0.00043152 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6512-1_2_4_load_41 | 8 | 0.0020205 | 0.00050638 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6512-1_2_4_load_43 | 10 | 0.0018157 | 0.00045505 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6512-1_2_4_load_44 | 12 | 0.0020766 | 0.00052044 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6512-1_2_4_load_47 | 13 | 0.0032703 | 0.00081961 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6512-1_2_4_load_45 | 14 | 0.0027565 | 0.00069085 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6512-1_2_4_load_111 | 15 | 0.0027922 | 0.0006998 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6512-1_2_4_load_168 | 16 | 0.0021957 | 0.0005503 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6512-1_2_4_load_165 | 17 | 0.0012747 | 0.00031947 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6512-1_2_4_load_159 | 18 | 0.0034198 | 0.00085707 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6512-1_2_4_load_134 | 20 | 0.001065 | 0.00026691 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6512-1_2_4_load_119 | 22 | 0.0023989 | 0.00060122 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6512-1_2_4_load_126 | 25 | 0.0016096 | 0.0004034 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6512-1_2_4_load_118 | 26 | 0.0013379 | 0.00033531 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6512-1_2_4_load_117 | 27 | 0.0012464 | 0.00031237 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6512-1_2_4_load_62 | 28 | 0.00071415 | 0.00017898 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6512-1_2_4_load_63 | 29 | 0.0019125 | 0.00047932 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6512-1_2_4_load_65 | 31 | 0.0019257 | 0.00048262 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6512-1_2_4_load_67 | 33 | 0.00074239 | 0.00018606 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6512-1_2_4_load_68 | 34 | 0.001658 | 0.00041554 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6512-1_2_4_load_164 | 35 | 0.00020851 | 5.2258e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6512-1_2_4_load_194 | 36 | 0.002862 | 0.00071729 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6512-1_2_4_load_237 | 37 | 0.00086511 | 0.00021682 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6512-1_2_4_load_69 | 38 | 8.0247e-05 | 2.0112e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6512-1_2_4_load_70 | 39 | 0.00023459 | 5.8795e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6512-1_2_4_load_71 | 40 | 0.00029786 | 7.4651e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6512-1_2_4_load_73 | 41 | 0.00031677 | 7.939e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6512-1_2_4_load_163 | 42 | 0.00030006 | 7.5201e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6512-1_2_4_load_92 | 43 | 0.0014403 | 0.00036097 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6512-1_2_4_load_95 | 46 | 0.00010768 | 2.6988e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6512-1_2_4_load_96 | 47 | 0.00019712 | 4.9402e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6512-1_2_4_load_97 | 49 | 0.00040815 | 0.00010229 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6512-1_2_4_load_98 | 50 | 0.0004553 | 0.00011411 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6512-1_2_4_load_102 | 53 | 0.00024651 | 6.1781e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6512-1_2_4_load_236 | 54 | 0.0015161 | 0.00037996 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6512-1_2_4_load_103 | 56 | 0.00034689 | 8.6939e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6512-1_2_4_load_108 | 57 | 0.004423 | 0.0011085 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6512-1_2_4_load_109 | 58 | 0.0034542 | 0.00086571 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6512-1_2_4_load_110 | 59 | 0.002041 | 0.00051153 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6512-1_2_4_load_112 | 60 | 0.00094 | 0.00023559 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6512-1_2_4_load_113 | 61 | 0.0011079 | 0.00027767 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6512-1_2_4_load_114 | 62 | 0.001535 | 0.00038471 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6512-1_2_4_load_115 | 63 | 0.00096808 | 0.00024262 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6512-1_2_4_load_116 | 64 | 0.0012603 | 0.00031587 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6512-1_2_4_load_125 | 65 | 0.0051753 | 0.0012971 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6512-1_2_4_load_120 | 66 | 0.00058073 | 0.00014554 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6512-1_2_4_load_122 | 68 | 0.003284 | 0.00082305 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6512-1_2_4_load_123 | 69 | 0.001967 | 0.00049297 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6512-1_2_4_load_133 | 70 | 0.013444 | 0.0033693 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6512-1_2_4_load_166 | 71 | 0.0025027 | 0.00062723 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6512-1_2_4_load_172 | 73 | 0.0012908 | 0.00032351 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6512-1_2_4_load_169 | 74 | 0.0022111 | 0.00055416 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6512-1_2_4_load_170 | 75 | 0.0020434 | 0.00051212 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6512-1_2_4_load_171 | 76 | 0.0018069 | 0.00045284 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6512-1_2_4_load_180 | 77 | 0.0021253 | 0.00053265 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6512-1_2_4_load_188 | 78 | 0.0016616 | 0.00041645 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6512-1_2_4_load_173 | 79 | 0.0012685 | 0.0003179 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6512-1_2_4_load_174 | 80 | 0.00090893 | 0.0002278 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6512-1_2_4_load_175 | 81 | 0.002199 | 0.00055113 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6512-1_2_4_load_178 | 84 | 0.0023719 | 0.00059446 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6512-1_2_4_load_182 | 85 | 0.00074356 | 0.00018635 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6512-1_2_4_load_181 | 86 | 0.00036313 | 9.1009e-05 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6512-1_2_4_load_187 | 87 | 0.0026021 | 0.00065214 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6512-1_2_4_load_179 | 88 | 0.0020424 | 0.00051189 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6512-1_2_4_load_183 | 89 | 0.0017469 | 0.00043781 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_6512-1_2_4_load_184 | 90 | 0.0006552 | 0.00016421 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_6512-1_2_4_load_185 | 91 | 0.0025305 | 0.0006342 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_6512-1_2_4_load_186 | 92 | 0.00050844 | 0.00012743 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_6512-1_2_4_load_190 | 94 | 0.0023379 | 0.00058593 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_6512-1_2_4_load_192 | 96 | 0.0014383 | 0.00036047 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_6512-1_2_4_load_195 | 97 | 0.0014355 | 0.00035976 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_6512-1_2_4_load_193 | 98 | 0.0019385 | 0.00048584 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_6512-1_2_4_load_225 | 99 | 0.00065504 | 0.00016417 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_6512-1_2_4_load_226 | 100 | 0.00078187 | 0.00019595 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_6512-1_2_4_load_227 | 101 | 0.00050607 | 0.00012683 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_6512-1_2_4_load_228 | 102 | 0.00069739 | 0.00017478 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_6512-1_2_4_load_230 | 103 | 0.00060499 | 0.00015163 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_6512-1_2_4_load_229 | 104 | 0.00054164 | 0.00013575 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_6512-1_2_4_load_231 | 105 | 0.00073952 | 0.00018534 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_6512-1_2_4_load_232 | 106 | 0.00063289 | 0.00015862 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 81 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6512-1_2_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.029912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_6512-1_2_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.023716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_6512-1_2_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.018186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_6512-1_2_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.037406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_6512-1_2_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.04022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_6512-1_2_4_line_5 | NAYY 4x150 SE | 5 | 14 | 0.053738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_6512-1_2_4_line_6 | NAYY 4x150 SE | 6 | 7 | 0.018704 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_6512-1_2_4_line_7 | NAYY 4x150 SE | 6 | 8 | 0.050205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_6512-1_2_4_line_8 | NAYY 4x150 SE | 7 | 9 | 0.036923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_6512-1_2_4_line_9 | NAYY 4x150 SE | 8 | 10 | 0.01553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_6512-1_2_4_line_10 | NAYY 4x150 SE | 9 | 11 | 0.019359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
11 | LV_6512-1_2_4_line_11 | NAYY 4x150 SE | 9 | 12 | 0.033897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
12 | LV_6512-1_2_4_line_12 | NAYY 4x150 SE | 10 | 13 | 0.013471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_6512-1_2_4_line_13 | NAYY 4x150 SE | 11 | 16 | 0.023771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_6512-1_2_4_line_14 | NAYY 4x150 SE | 11 | 17 | 0.035818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
15 | LV_6512-1_2_4_line_15 | NAYY 4x150 SE | 12 | 14 | 0.023482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
16 | LV_6512-1_2_4_line_16 | NAYY 4x150 SE | 13 | 18 | 0.23371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_6512-1_2_4_line_17 | NAYY 4x150 SE | 14 | 15 | 0.13989 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
18 | LV_6512-1_2_4_line_18 | NAYY 4x150 SE | 15 | 60 | 0.024677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
19 | LV_6512-1_2_4_line_19 | NAYY 4x150 SE | 15 | 59 | 0.029982 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_6512-1_2_4_line_20 | NAYY 4x150 SE | 17 | 71 | 0.011454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
21 | LV_6512-1_2_4_line_21 | NAYY 4x150 SE | 19 | 20 | 0.01944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_6512-1_2_4_line_22 | NAYY 4x150 SE | 19 | 21 | 0.016452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_6512-1_2_4_line_23 | NAYY 4x150 SE | 19 | 22 | 0.020326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_6512-1_2_4_line_24 | NAYY 4x150 SE | 20 | 24 | 0.024031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_6512-1_2_4_line_25 | NAYY 4x150 SE | 21 | 26 | 0.018354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_6512-1_2_4_line_26 | NAYY 4x150 SE | 21 | 27 | 0.0094852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_6512-1_2_4_line_27 | NAYY 4x150 SE | 22 | 60 | 0.031423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
28 | LV_6512-1_2_4_line_28 | NAYY 4x150 SE | 23 | 24 | 0.010712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_6512-1_2_4_line_29 | NAYY 4x150 SE | 23 | 25 | 0.051514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_6512-1_2_4_line_30 | NAYY 4x150 SE | 24 | 70 | 0.009419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_6512-1_2_4_line_31 | NAYY 4x150 SE | 26 | 65 | 0.011791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_6512-1_2_4_line_32 | NAYY 4x150 SE | 27 | 64 | 0.023542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_6512-1_2_4_line_33 | NAYY 4x150 SE | 28 | 29 | 0.030268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_6512-1_2_4_line_34 | NAYY 4x150 SE | 28 | 30 | 0.16675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_6512-1_2_4_line_35 | NAYY 4x150 SE | 29 | 31 | 0.066638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_6512-1_2_4_line_36 | NAYY 4x150 SE | 30 | 32 | 0.36377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_6512-1_2_4_line_37 | NAYY 4x150 SE | 30 | 33 | 0.13337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_6512-1_2_4_line_38 | NAYY 4x150 SE | 31 | 34 | 0.024292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_6512-1_2_4_line_39 | NAYY 4x150 SE | 32 | 35 | 0.31901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_6512-1_2_4_line_40 | NAYY 4x150 SE | 33 | 36 | 0.029086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_6512-1_2_4_line_41 | NAYY 4x150 SE | 34 | 37 | 0.54893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_6512-1_2_4_line_42 | NAYY 4x150 SE | 35 | 42 | 0.028641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_6512-1_2_4_line_43 | NAYY 4x150 SE | 36 | 95 | 0.045169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_6512-1_2_4_line_44 | NAYY 4x150 SE | 38 | 39 | 0.026357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_6512-1_2_4_line_45 | NAYY 4x150 SE | 38 | 40 | 0.082281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_6512-1_2_4_line_46 | NAYY 4x150 SE | 40 | 41 | 0.041825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_6512-1_2_4_line_47 | NAYY 4x150 SE | 41 | 42 | 0.059132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_6512-1_2_4_line_48 | NAYY 4x150 SE | 43 | 44 | 0.05775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_6512-1_2_4_line_49 | NAYY 4x150 SE | 44 | 45 | 0.008022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_6512-1_2_4_line_50 | NAYY 4x150 SE | 44 | 46 | 0.026992 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_6512-1_2_4_line_51 | NAYY 4x150 SE | 44 | 47 | 0.031473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_6512-1_2_4_line_52 | NAYY 4x150 SE | 45 | 48 | 0.04839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_6512-1_2_4_line_53 | NAYY 4x150 SE | 45 | 49 | 0.065998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_6512-1_2_4_line_54 | NAYY 4x150 SE | 48 | 53 | 0.032761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_6512-1_2_4_line_55 | NAYY 4x150 SE | 49 | 50 | 0.028554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_6512-1_2_4_line_56 | NAYY 4x150 SE | 50 | 51 | 0.19088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_6512-1_2_4_line_57 | NAYY 4x150 SE | 51 | 52 | 0.2119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_6512-1_2_4_line_58 | NAYY 4x150 SE | 52 | 54 | 0.1166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_6512-1_2_4_line_59 | NAYY 4x150 SE | 52 | 55 | 0.1461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_6512-1_2_4_line_60 | NAYY 4x150 SE | 53 | 56 | 0.017279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_6512-1_2_4_line_61 | NAYY 4x150 SE | 55 | 65 | 0.054018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_6512-1_2_4_line_62 | NAYY 4x150 SE | 55 | 68 | 0.0155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_6512-1_2_4_line_63 | NAYY 4x150 SE | 57 | 58 | 0.0014358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_6512-1_2_4_line_64 | NAYY 4x150 SE | 58 | 59 | 0.027796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_6512-1_2_4_line_65 | NAYY 4x150 SE | 61 | 62 | 0.042548 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_6512-1_2_4_line_66 | NAYY 4x150 SE | 62 | 63 | 0.034164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_6512-1_2_4_line_67 | NAYY 4x150 SE | 63 | 64 | 0.028699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_6512-1_2_4_line_68 | NAYY 4x150 SE | 66 | 67 | 0.014777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_6512-1_2_4_line_69 | NAYY 4x150 SE | 67 | 68 | 0.031464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_6512-1_2_4_line_70 | NAYY 4x150 SE | 67 | 69 | 0.020875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_6512-1_2_4_line_71 | NAYY 4x150 SE | 71 | 72 | 0.013001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
72 | LV_6512-1_2_4_line_72 | NAYY 4x150 SE | 72 | 73 | 0.029519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_6512-1_2_4_line_73 | NAYY 4x150 SE | 72 | 74 | 0.015744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
74 | LV_6512-1_2_4_line_74 | NAYY 4x150 SE | 73 | 78 | 0.020143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_6512-1_2_4_line_75 | NAYY 4x150 SE | 74 | 75 | 0.016172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
76 | LV_6512-1_2_4_line_76 | NAYY 4x150 SE | 75 | 76 | 0.020791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
77 | LV_6512-1_2_4_line_77 | NAYY 4x150 SE | 76 | 77 | 0.012028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
78 | LV_6512-1_2_4_line_78 | NAYY 4x150 SE | 77 | 88 | 0.024573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
79 | LV_6512-1_2_4_line_79 | NAYY 4x150 SE | 78 | 93 | 0.0033015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_6512-1_2_4_line_80 | NAYY 4x150 SE | 79 | 80 | 0.0037735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_6512-1_2_4_line_81 | NAYY 4x150 SE | 80 | 81 | 0.028724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_6512-1_2_4_line_82 | NAYY 4x150 SE | 81 | 82 | 0.051507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
83 | LV_6512-1_2_4_line_83 | NAYY 4x150 SE | 82 | 83 | 0.035216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
84 | LV_6512-1_2_4_line_84 | NAYY 4x150 SE | 82 | 84 | 0.02092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_6512-1_2_4_line_85 | NAYY 4x150 SE | 83 | 85 | 0.0057436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_6512-1_2_4_line_86 | NAYY 4x150 SE | 83 | 86 | 0.01426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
87 | LV_6512-1_2_4_line_87 | NAYY 4x150 SE | 84 | 87 | 0.035324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_6512-1_2_4_line_88 | NAYY 4x150 SE | 85 | 89 | 0.019166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_6512-1_2_4_line_89 | NAYY 4x150 SE | 86 | 88 | 0.0022951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
90 | LV_6512-1_2_4_line_90 | NAYY 4x150 SE | 89 | 90 | 0.019268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_6512-1_2_4_line_91 | NAYY 4x150 SE | 90 | 91 | 0.011239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_6512-1_2_4_line_92 | NAYY 4x150 SE | 91 | 92 | 0.0085849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_6512-1_2_4_line_93 | NAYY 4x150 SE | 93 | 94 | 0.022267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_6512-1_2_4_line_94 | NAYY 4x150 SE | 93 | 95 | 0.022328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_6512-1_2_4_line_95 | NAYY 4x150 SE | 94 | 96 | 0.0042309 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_6512-1_2_4_line_96 | NAYY 4x150 SE | 95 | 97 | 0.049295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_6512-1_2_4_line_97 | NAYY 4x150 SE | 96 | 98 | 0.0050983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_6512-1_2_4_line_98 | NAYY 4x150 SE | 97 | 99 | 0.0049561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_6512-1_2_4_line_99 | NAYY 4x150 SE | 99 | 100 | 0.023862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_6512-1_2_4_line_100 | NAYY 4x150 SE | 100 | 101 | 0.017221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_6512-1_2_4_line_101 | NAYY 4x150 SE | 101 | 102 | 0.0040937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_6512-1_2_4_line_102 | NAYY 4x150 SE | 102 | 103 | 0.018411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_6512-1_2_4_line_103 | NAYY 4x150 SE | 103 | 104 | 0.0021191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_6512-1_2_4_line_104 | NAYY 4x150 SE | 104 | 105 | 0.018879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_6512-1_2_4_line_105 | NAYY 4x150 SE | 105 | 106 | 0.0030197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6512-1_2_4_trafo_175 | 0.25 MVA 20/0.4 kV | 107 | 81 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2541987.6816 | 1199303.3309 | 2541998.7488 | 1199307.4914 | 2542016.5842 | 1199310.5062
1 | 2541965.4824 | 1199294.9855 | 2541987.6816 | 1199303.3309
2 | 2542016.5842 | 1199310.5062 | 2542022.0713 | 1199311.4337 | 2542034.5468 | 1199313.3469
3 | 2541965.4824 | 1199294.9855 | 2541978.61 | 1199259.9588
4 | 2542062.5186 | 1199340.491 | 2542058.1347 | 1199331.2837 | 2542052.9455 | 1199325.3863 | 2542050.7728 | 1199322.7614 | 2542034.5468 | 1199313.3469
5 | 2542037.0295 | 1199387.7995 | 2542062.5186 | 1199340.491
6 | 2541967.6205 | 1199362.7337 | 2541969.5431 | 1199375.793 | 2541969.2137 | 1199381.2866
7 | 2541967.6205 | 1199362.7337 | 2541966.7139 | 1199356.576 | 2541964.8447 | 1199352.2806 | 2541961.3144 | 1199349.4244 | 2541929.4503 | 1199335.5469
8 | 2541987.9609 | 1199405.4534 | 2541971.6858 | 1199399.5861 | 2541969.5301 | 1199397.9283 | 2541968.3771 | 1199395.2379 | 2541969.2137 | 1199381.2866
9 | 2541929.4503 | 1199335.5469 | 2541915.2121 | 1199329.3458
10 | 2542006.2225 | 1199412.0241 | 2541987.9609 | 1199405.4534
11 | 2541987.9609 | 1199405.4534 | 2542005.8828 | 1199388.0579 | 2542011.523 | 1199384.7456 | 2542013.8956 | 1199384.5595
12 | 2541902.8619 | 1199323.9671 | 2541915.2121 | 1199329.3458
13 | 2542006.2225 | 1199412.0241 | 2542028.3155 | 1199403.2522
14 | 2542006.2225 | 1199412.0241 | 2542009.733 | 1199415.9812 | 2542010.9543 | 1199418.6486 | 2542012.5832 | 1199427.9827 | 2542014.8556 | 1199441.6463 | 2542016.7755 | 1199445.4586
15 | 2542037.0295 | 1199387.7995 | 2542018.1575 | 1199384.2252 | 2542013.8956 | 1199384.5595
16 | 2541902.8619 | 1199323.9671 | 2541771.8331 | 1199517.4911
17 | 2542037.0295 | 1199387.7995 | 2542123.5041 | 1199277.8426
18 | 2542123.5041 | 1199277.8426 | 2542132.0682 | 1199282.6377 | 2542145.2317 | 1199289.5363
19 | 2542098.349 | 1199261.6296 | 2542100.7727 | 1199263.7082 | 2542113.4875 | 1199272.2342 | 2542123.5041 | 1199277.8426
20 | 2542016.7755 | 1199445.4586 | 2542018.427 | 1199448.738 | 2542024.3407 | 1199453.7966
21 | 2542193.7322 | 1199307.3876 | 2542194.0328 | 1199310.909 | 2542195.1599 | 1199313.2772 | 2542197.845 | 1199315.3524 | 2542207.3827 | 1199317.967
22 | 2542193.7322 | 1199307.3876 | 2542193.2936 | 1199302.1999 | 2542198.1872 | 1199303.5311 | 2542201.6631 | 1199298.4278
23 | 2542193.7322 | 1199307.3876 | 2542175.869 | 1199301.8575 | 2542174.3328 | 1199301.3246
24 | 2542230.8281 | 1199321.4809 | 2542227.1347 | 1199322.2171 | 2542223.3711 | 1199321.9867 | 2542218.2137 | 1199320.9361 | 2542207.3827 | 1199317.967
25 | 2542201.6631 | 1199298.4278 | 2542212.003 | 1199283.2634
26 | 2542201.6631 | 1199298.4278 | 2542192.5441 | 1199295.8176
27 | 2542174.3328 | 1199301.3246 | 2542163.1485 | 1199297.4449 | 2542145.2317 | 1199289.5363 | 2542145.2317 | 1199289.5363
28 | 2542235.4399 | 1199311.8084 | 2542230.8281 | 1199321.4809
29 | 2542235.4399 | 1199311.8084 | 2542285.8189 | 1199322.5611
30 | 2542230.8281 | 1199321.4809 | 2542231.385 | 1199323.9547 | 2542232.9239 | 1199328.7537 | 2542233.9346 | 1199330.1225 | 2542234.0434 | 1199330.2139
31 | 2542218.6456 | 1199273.5215 | 2542212.003 | 1199283.2634
32 | 2542169.9114 | 1199289.3394 | 2542192.5441 | 1199295.8176
33 | 2542228.7504 | 1199846.8648 | 2542253.7112 | 1199863.9856
34 | 2542154.6798 | 1199703.7415 | 2542156.3237 | 1199709.1731 | 2542190.6811 | 1199810.9104 | 2542197.9228 | 1199825.1708 | 2542209.0724 | 1199833.3675 | 2542228.7504 | 1199846.8648
35 | 2542253.7112 | 1199863.9856 | 2542308.6649 | 1199901.6787
36 | 2541944.9998 | 1199951.6898 | 2541983.1026 | 1199942.8695 | 2542017.7907 | 1199939.886 | 2542047.1869 | 1199939.1999 | 2542053.2894 | 1199936.4946 | 2542059.1369 | 1199928.6999 | 2542154.6798 | 1199703.7415
37 | 2542154.6798 | 1199703.7415 | 2542136.9034 | 1199645.0797 | 2542111.0066 | 1199600.9275 | 2542096.6014 | 1199585.805
38 | 2542328.697 | 1199915.4188 | 2542308.6649 | 1199901.6787
39 | 2541944.9998 | 1199951.6898 | 2541937.4876 | 1199955.832 | 2541845.2405 | 1199982.7909 | 2541835.7062 | 1199988.7874 | 2541829.2539 | 1199996.9884 | 2541822.8777 | 1200013.7493 | 2541816.8655 | 1200045.9712 | 2541815.2884 | 1200052.0901 | 2541810.4158 | 1200055.195 | 2541769.1342 | 1200072.0855 | 2541758.9341 | 1200073.8084 | 2541740.29 | 1200066.8753 | 2541729.2574 | 1200066.7719 | 2541720.8993 | 1200067.6763 | 2541704.7868 | 1200076.7168 | 2541690.1306 | 1200085.4562
40 | 2542076.5399 | 1199564.7446 | 2542096.6014 | 1199585.805
41 | 2542328.697 | 1199915.4188 | 2542804.6766 | 1199641.9819
42 | 2541690.1306 | 1200085.4562 | 2541689.414 | 1200085.8835 | 2541678.6018 | 1200090.4141 | 2541662.6464 | 1200088.3874
43 | 2542042.8535 | 1199536.5295 | 2542045.0683 | 1199542.7005 | 2542071.2375 | 1199559.1781 | 2542076.5399 | 1199564.7446
44 | 2541540.0647 | 1199990.2211 | 2541537.2367 | 1199966.6813 | 2541537.3686 | 1199964.0368
45 | 2541540.0647 | 1199990.2211 | 2541544.3993 | 1200026.3015 | 2541555.725 | 1200057.8423 | 2541565.6439 | 1200065.3316
46 | 2541565.6439 | 1200065.3316 | 2541571.8013 | 1200069.9808 | 2541585.8112 | 1200072.4672 | 2541604.5861 | 1200079.0061
47 | 2541604.5861 | 1200079.0061 | 2541612.3883 | 1200081.7235 | 2541633.6139 | 1200082.494 | 2541660.6428 | 1200088.1329 | 2541662.6464 | 1200088.3874
48 | 2542694.5225 | 1198964.8901 | 2542701.1417 | 1198931.029 | 2542679.246 | 1198923.2156
49 | 2542688.0348 | 1198969.6329 | 2542694.5225 | 1198964.8901
50 | 2542694.5225 | 1198964.8901 | 2542715.1648 | 1198947.4989
51 | 2542694.5225 | 1198964.8901 | 2542719.1474 | 1198955.2924 | 2542720.2991 | 1198960.2026
52 | 2542688.0348 | 1198969.6329 | 2542711.805 | 1199000.2668 | 2542718.6325 | 1199007.1052
53 | 2542688.0348 | 1198969.6329 | 2542678.6855 | 1198966.621 | 2542635.8938 | 1198951.8348 | 2542625.241 | 1198949.5217
54 | 2542718.6325 | 1199007.1052 | 2542731.7206 | 1198999.0416 | 2542741.4138 | 1198998.2369 | 2542748.4371 | 1199001.2978
55 | 2542625.241 | 1198949.5217 | 2542597.3374 | 1198943.4629
56 | 2542409.9803 | 1198909.031 | 2542422.2939 | 1198912.2474 | 2542463.713 | 1198919.641 | 2542515.9706 | 1198924.1731 | 2542578.5804 | 1198939.3901 | 2542597.3374 | 1198943.4629
57 | 2542315.3793 | 1199098.3329 | 2542317.3252 | 1199088.5417 | 2542365.6451 | 1198995.4316 | 2542393.7081 | 1198940.5954 | 2542409.9803 | 1198909.031
58 | 2542315.3793 | 1199098.3329 | 2542324.2096 | 1199093.3557 | 2542329.7118 | 1199091.4681 | 2542336.6556 | 1199091.4009 | 2542343.2059 | 1199093.172 | 2542378.3332 | 1199114.6228 | 2542419.1837 | 1199135.8073
59 | 2542246.1621 | 1199227.0664 | 2542300.5497 | 1199127.7934 | 2542315.3793 | 1199098.3329
60 | 2542764.2771 | 1199008.2011 | 2542748.4371 | 1199001.2978
61 | 2542246.1621 | 1199227.0664 | 2542224.3883 | 1199265.0993 | 2542218.6456 | 1199273.5215
62 | 2542246.1621 | 1199227.0664 | 2542232.691 | 1199219.3998
63 | 2542077.9462 | 1199240.7805 | 2542078.8791 | 1199241.8719
64 | 2542098.349 | 1199261.6296 | 2542091.5434 | 1199255.7931 | 2542085.4216 | 1199249.5267 | 2542078.8791 | 1199241.8719
65 | 2542082.2489 | 1199233.0629 | 2542086.9545 | 1199238.8056 | 2542100.4389 | 1199251.2931 | 2542113.8244 | 1199261.3542
66 | 2542113.8244 | 1199261.3542 | 2542114.3987 | 1199261.7859 | 2542128.07 | 1199270.0136 | 2542140.4668 | 1199277.1531 | 2542143.3979 | 1199278.396
67 | 2542169.9114 | 1199289.3394 | 2542167.739 | 1199288.7176 | 2542143.3979 | 1199278.396
68 | 2542205.3451 | 1199203.837 | 2542192.6719 | 1199196.2375
69 | 2542205.3451 | 1199203.837 | 2542232.691 | 1199219.3998
70 | 2542196.7427 | 1199222.8648 | 2542205.3451 | 1199203.837
71 | 2542034.2204 | 1199462.2479 | 2542024.3407 | 1199453.7966
72 | 2542034.2204 | 1199462.2479 | 2542035.8862 | 1199491.72
73 | 2542034.2204 | 1199462.2479 | 2542046.2933 | 1199467.4225 | 2542048.7775 | 1199468.2198
74 | 2542035.8862 | 1199491.72 | 2542037.0228 | 1199511.8312
75 | 2542048.7775 | 1199468.2198 | 2542064.176 | 1199473.1619
76 | 2542083.9724 | 1199479.5154 | 2542064.176 | 1199473.1619
77 | 2542083.9724 | 1199479.5154 | 2542095.4253 | 1199483.1912
78 | 2542118.823 | 1199490.7005 | 2542095.4253 | 1199483.1912
79 | 2542037.2091 | 1199515.1274 | 2542037.0228 | 1199511.8312
80 | 2542079.0626 | 1199416.0989 | 2542082.6372 | 1199417.3075
81 | 2542109.8479 | 1199426.5077 | 2542082.6372 | 1199417.3075
82 | 2542145.5146 | 1199462.2786 | 2542117.508 | 1199429.0976 | 2542109.8479 | 1199426.5077
83 | 2542145.5146 | 1199462.2786 | 2542134.5861 | 1199495.7596
84 | 2542145.5146 | 1199462.2786 | 2542165.4973 | 1199468.4709
85 | 2542134.5861 | 1199495.7596 | 2542140.0551 | 1199497.5144
86 | 2542134.5861 | 1199495.7596 | 2542121.0083 | 1199491.4019
87 | 2542199.2383 | 1199478.9267 | 2542165.4973 | 1199468.4709
88 | 2542140.0551 | 1199497.5144 | 2542158.3047 | 1199503.37
89 | 2542118.823 | 1199490.7005 | 2542121.0083 | 1199491.4019
90 | 2542158.3047 | 1199503.37 | 2542176.6515 | 1199509.2569
91 | 2542187.353 | 1199512.6906 | 2542176.6515 | 1199509.2569
92 | 2542195.5275 | 1199515.3135 | 2542187.353 | 1199512.6906
93 | 2542037.2091 | 1199515.1274 | 2542020.2322 | 1199529.5366
94 | 2542042.8535 | 1199536.5295 | 2542037.5945 | 1199521.8721 | 2542037.2091 | 1199515.1274
95 | 2542020.2322 | 1199529.5366 | 2542017.0065 | 1199532.2744
96 | 2542042.8535 | 1199536.5295 | 2542059.9431 | 1199541.6331 | 2542080.9783 | 1199541.4287 | 2542090.7082 | 1199545.1668
97 | 2542013.1195 | 1199535.5735 | 2542017.0065 | 1199532.2744
98 | 2542090.7082 | 1199545.1668 | 2542095.3346 | 1199546.9442
99 | 2542095.3346 | 1199546.9442 | 2542117.6091 | 1199555.5018
100 | 2542117.6091 | 1199555.5018 | 2542133.6843 | 1199561.6777
101 | 2542137.5058 | 1199563.1459 | 2542133.6843 | 1199561.6777
102 | 2542137.5058 | 1199563.1459 | 2542154.692 | 1199569.7486
103 | 2542156.6702 | 1199570.5086 | 2542154.692 | 1199569.7486
104 | 2542156.6702 | 1199570.5086 | 2542174.293 | 1199577.2791
105 | 2542177.1118 | 1199578.362 | 2542174.293 | 1199577.2791

## bus_geodata
| x | y | coords
0 | 2541987.6816 | 1199303.3309
1 | 2542016.5842 | 1199310.5062
2 | 2541965.4824 | 1199294.9855
3 | 2542034.5468 | 1199313.3469
4 | 2541978.61 | 1199259.9588
5 | 2542062.5186 | 1199340.491
6 | 2541967.6205 | 1199362.7337
7 | 2541969.2137 | 1199381.2866
8 | 2541929.4503 | 1199335.5469
9 | 2541987.9609 | 1199405.4534
10 | 2541915.2121 | 1199329.3458
11 | 2542006.2225 | 1199412.0241
12 | 2542013.8956 | 1199384.5595
13 | 2541902.8619 | 1199323.9671
14 | 2542037.0295 | 1199387.7995
15 | 2542123.5041 | 1199277.8426
16 | 2542028.3155 | 1199403.2522
17 | 2542016.7755 | 1199445.4586
18 | 2541771.8331 | 1199517.4911
19 | 2542193.7322 | 1199307.3876
20 | 2542207.3827 | 1199317.967
21 | 2542201.6631 | 1199298.4278
22 | 2542174.3328 | 1199301.3246
23 | 2542235.4399 | 1199311.8084
24 | 2542230.8281 | 1199321.4809
25 | 2542285.8189 | 1199322.5611
26 | 2542212.003 | 1199283.2634
27 | 2542192.5441 | 1199295.8176
28 | 2542228.7504 | 1199846.8648
29 | 2542253.7112 | 1199863.9856
30 | 2542154.6797 | 1199703.7415
31 | 2542308.6649 | 1199901.6787
32 | 2541944.9998 | 1199951.6898
33 | 2542096.6014 | 1199585.805
34 | 2542328.697 | 1199915.4188
35 | 2541690.1306 | 1200085.4562
36 | 2542076.5399 | 1199564.7446
37 | 2542804.6766 | 1199641.9819
38 | 2541540.0647 | 1199990.2211
39 | 2541537.3686 | 1199964.0368
40 | 2541565.6439 | 1200065.3316
41 | 2541604.5861 | 1200079.0061
42 | 2541662.6464 | 1200088.3874
43 | 2542679.246 | 1198923.2156
44 | 2542694.5225 | 1198964.8901
45 | 2542688.0348 | 1198969.6329
46 | 2542715.1648 | 1198947.4989
47 | 2542720.2991 | 1198960.2026
48 | 2542718.6325 | 1199007.1052
49 | 2542625.241 | 1198949.5217
50 | 2542597.3374 | 1198943.4629
51 | 2542409.9803 | 1198909.031
52 | 2542315.3793 | 1199098.3329
53 | 2542748.4371 | 1199001.2978
54 | 2542419.1837 | 1199135.8073
55 | 2542246.1621 | 1199227.0664
56 | 2542764.2771 | 1199008.2011
57 | 2542077.9462 | 1199240.7805
58 | 2542078.8791 | 1199241.8719
59 | 2542098.349 | 1199261.6296
60 | 2542145.2317 | 1199289.5363
61 | 2542082.2489 | 1199233.0629
62 | 2542113.8244 | 1199261.3542
63 | 2542143.3979 | 1199278.396
64 | 2542169.9114 | 1199289.3394
65 | 2542218.6456 | 1199273.5215
66 | 2542192.6719 | 1199196.2375
67 | 2542205.3451 | 1199203.837
68 | 2542232.691 | 1199219.3998
69 | 2542196.7427 | 1199222.8648
70 | 2542234.0434 | 1199330.2139
71 | 2542024.3407 | 1199453.7966
72 | 2542034.2204 | 1199462.2479
73 | 2542035.8862 | 1199491.72
74 | 2542048.7775 | 1199468.2198
75 | 2542064.176 | 1199473.1619
76 | 2542083.9724 | 1199479.5154
77 | 2542095.4253 | 1199483.1912
78 | 2542037.0228 | 1199511.8312
79 | 2542079.0626 | 1199416.0989
80 | 2542082.6372 | 1199417.3075
81 | 2542109.8479 | 1199426.5077
82 | 2542145.5146 | 1199462.2786
83 | 2542134.5861 | 1199495.7596
84 | 2542165.4973 | 1199468.4709
85 | 2542140.0551 | 1199497.5144
86 | 2542121.0083 | 1199491.4019
87 | 2542199.2383 | 1199478.9267
88 | 2542118.823 | 1199490.7005
89 | 2542158.3047 | 1199503.37
90 | 2542176.6515 | 1199509.2569
91 | 2542187.353 | 1199512.6906
92 | 2542195.5275 | 1199515.3135
93 | 2542037.2091 | 1199515.1274
94 | 2542020.2322 | 1199529.5366
95 | 2542042.8535 | 1199536.5295
96 | 2542017.0065 | 1199532.2744
97 | 2542090.7082 | 1199545.1668
98 | 2542013.1195 | 1199535.5735
99 | 2542095.3346 | 1199546.9442
100 | 2542117.6091 | 1199555.5018
101 | 2542133.6843 | 1199561.6777
102 | 2542137.5058 | 1199563.1459
103 | 2542154.692 | 1199569.7486
104 | 2542156.6702 | 1199570.5086
105 | 2542174.293 | 1199577.2791
106 | 2542177.1118 | 1199578.362
107 | 2542145.5146 | 1199462.2786

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1