## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6512-27_1_1_node_83 | 0.4 | n |  | TRUE
1 | bus_LV_6512-27_1_1_node_55 | 0.4 | n |  | TRUE
2 | bus_LV_6512-27_1_1_node_78 | 0.4 | n |  | TRUE
3 | bus_LV_6512-27_1_1_node_43 | 0.4 | n |  | TRUE
4 | bus_LV_6512-27_1_1_node_46 | 0.4 | n |  | TRUE
5 | bus_LV_6512-27_1_1_node_129 | 0.4 | n |  | TRUE
6 | bus_LV_6512-27_1_1_node_48 | 0.4 | n |  | TRUE
7 | bus_LV_6512-27_1_1_node_47 | 0.4 | n |  | TRUE
8 | bus_LV_6512-27_1_1_node_130 | 0.4 | n |  | TRUE
9 | bus_LV_6512-27_1_1_node_128 | 0.4 | n |  | TRUE
10 | bus_LV_6512-27_1_1_node_44 | 0.4 | n |  | TRUE
11 | bus_LV_6512-27_1_1_node_45 | 0.4 | n |  | TRUE
12 | bus_LV_6512-27_1_1_node_50 | 0.4 | n |  | TRUE
13 | bus_LV_6512-27_1_1_node_49 | 0.4 | n |  | TRUE
14 | bus_LV_6512-27_1_1_node_133 | 0.4 | n |  | TRUE
15 | bus_LV_6512-27_1_1_node_127 | 0.4 | n |  | TRUE
16 | bus_LV_6512-27_1_1_node_126 | 0.4 | n |  | TRUE
17 | bus_LV_6512-27_1_1_node_132 | 0.4 | n |  | TRUE
18 | bus_LV_6512-27_1_1_node_51 | 0.4 | n |  | TRUE
19 | bus_LV_6512-27_1_1_node_52 | 0.4 | n |  | TRUE
20 | bus_LV_6512-27_1_1_node_53 | 0.4 | n |  | TRUE
21 | bus_LV_6512-27_1_1_node_54 | 0.4 | n |  | TRUE
22 | bus_LV_6512-27_1_1_node_73 | 0.4 | n |  | TRUE
23 | bus_LV_6512-27_1_1_node_71 | 0.4 | n |  | TRUE
24 | bus_LV_6512-27_1_1_node_56 | 0.4 | n |  | TRUE
25 | bus_LV_6512-27_1_1_node_57 | 0.4 | n |  | TRUE
26 | bus_LV_6512-27_1_1_node_58 | 0.4 | n |  | TRUE
27 | bus_LV_6512-27_1_1_node_59 | 0.4 | n |  | TRUE
28 | bus_LV_6512-27_1_1_node_60 | 0.4 | n |  | TRUE
29 | bus_LV_6512-27_1_1_node_66 | 0.4 | n |  | TRUE
30 | bus_LV_6512-27_1_1_node_63 | 0.4 | n |  | TRUE
31 | bus_LV_6512-27_1_1_node_67 | 0.4 | n |  | TRUE
32 | bus_LV_6512-27_1_1_node_65 | 0.4 | n |  | TRUE
33 | bus_LV_6512-27_1_1_node_61 | 0.4 | n |  | TRUE
34 | bus_LV_6512-27_1_1_node_62 | 0.4 | n |  | TRUE
35 | bus_LV_6512-27_1_1_node_64 | 0.4 | n |  | TRUE
36 | bus_LV_6512-27_1_1_node_81 | 0.4 | n |  | TRUE
37 | bus_LV_6512-27_1_1_node_79 | 0.4 | n |  | TRUE
38 | bus_LV_6512-27_1_1_node_82 | 0.4 | n |  | TRUE
39 | bus_LV_6512-27_1_1_node_80 | 0.4 | n |  | TRUE
40 | bus_LV_6512-27_1_1_node_68 | 0.4 | n |  | TRUE
41 | bus_LV_6512-27_1_1_node_69 | 0.4 | n |  | TRUE
42 | bus_LV_6512-27_1_1_node_72 | 0.4 | n |  | TRUE
43 | bus_LV_6512-27_1_1_node_77 | 0.4 | n |  | TRUE
44 | bus_LV_6512-27_1_1_node_70 | 0.4 | n |  | TRUE
45 | bus_LV_6512-27_1_1_node_75 | 0.4 | n |  | TRUE
46 | bus_LV_6512-27_1_1_node_74 | 0.4 | n |  | TRUE
47 | bus_LV_6512-27_1_1_node_76 | 0.4 | n |  | TRUE
48 | bus_LV_6512-27_1_1_node_104 | 0.4 | n |  | TRUE
49 | bus_LV_6512-27_1_1_node_99 | 0.4 | n |  | TRUE
50 | bus_LV_6512-27_1_1_node_84 | 0.4 | n |  | TRUE
51 | bus_LV_6512-27_1_1_node_85 | 0.4 | n |  | TRUE
52 | bus_LV_6512-27_1_1_node_86 | 0.4 | n |  | TRUE
53 | bus_LV_6512-27_1_1_node_87 | 0.4 | n |  | TRUE
54 | bus_LV_6512-27_1_1_node_88 | 0.4 | n |  | TRUE
55 | bus_LV_6512-27_1_1_node_94 | 0.4 | n |  | TRUE
56 | bus_LV_6512-27_1_1_node_95 | 0.4 | n |  | TRUE
57 | bus_LV_6512-27_1_1_node_93 | 0.4 | n |  | TRUE
58 | bus_LV_6512-27_1_1_node_89 | 0.4 | n |  | TRUE
59 | bus_LV_6512-27_1_1_node_90 | 0.4 | n |  | TRUE
60 | bus_LV_6512-27_1_1_node_91 | 0.4 | n |  | TRUE
61 | bus_LV_6512-27_1_1_node_100 | 0.4 | n |  | TRUE
62 | bus_LV_6512-27_1_1_node_98 | 0.4 | n |  | TRUE
63 | bus_LV_6512-27_1_1_node_101 | 0.4 | n |  | TRUE
64 | bus_LV_6512-27_1_1_node_134 | 0.4 | n |  | TRUE
65 | bus_LV_6512-27_1_1_node_113 | 0.4 | n |  | TRUE
66 | bus_LV_6512-27_1_1_node_96 | 0.4 | n |  | TRUE
67 | bus_LV_6512-27_1_1_node_97 | 0.4 | n |  | TRUE
68 | bus_LV_6512-27_1_1_node_105 | 0.4 | n |  | TRUE
69 | bus_LV_6512-27_1_1_node_102 | 0.4 | n |  | TRUE
70 | bus_LV_6512-27_1_1_node_114 | 0.4 | n |  | TRUE
71 | bus_LV_6512-27_1_1_node_103 | 0.4 | n |  | TRUE
72 | bus_LV_6512-27_1_1_node_112 | 0.4 | n |  | TRUE
73 | bus_LV_6512-27_1_1_node_106 | 0.4 | n |  | TRUE
74 | bus_LV_6512-27_1_1_node_107 | 0.4 | n |  | TRUE
75 | bus_LV_6512-27_1_1_node_116 | 0.4 | n |  | TRUE
76 | bus_LV_6512-27_1_1_node_111 | 0.4 | n |  | TRUE
77 | bus_LV_6512-27_1_1_node_115 | 0.4 | n |  | TRUE
78 | bus_LV_6512-27_1_1_node_117 | 0.4 | n |  | TRUE
79 | bus_LV_6512-27_1_1_node_110 | 0.4 | n |  | TRUE
80 | bus_LV_6512-27_1_1_node_108 | 0.4 | n |  | TRUE
81 | bus_LV_6512-27_1_1_node_109 | 0.4 | n |  | TRUE
82 | bus_LV_6512-27_1_1_node_118 | 0.4 | n |  | TRUE
83 | bus_LV_6512-27_1_1_node_131 | 0.4 | n |  | TRUE
84 | bus_MV_0_node_96 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6512-27_1_1_load_78 | 2 | 0.0018391 | 0.00046092 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6512-27_1_1_load_43 | 3 | 4.1536e-05 | 1.041e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6512-27_1_1_load_46 | 4 | 6.7932e-05 | 1.7025e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6512-27_1_1_load_48 | 6 | 0.00023207 | 5.8162e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6512-27_1_1_load_47 | 7 | 0.00010305 | 2.5827e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6512-27_1_1_load_130 | 8 | 0.00011261 | 2.8222e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6512-27_1_1_load_128 | 9 | 0.00031369 | 7.8617e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6512-27_1_1_load_44 | 10 | 0.00014321 | 3.5891e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6512-27_1_1_load_49 | 13 | 4.916e-05 | 1.2321e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6512-27_1_1_load_133 | 14 | 6.1777e-05 | 1.5483e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6512-27_1_1_load_127 | 15 | 8.8105e-05 | 2.2081e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6512-27_1_1_load_126 | 16 | 5.3127e-05 | 1.3315e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6512-27_1_1_load_132 | 17 | 0.00014794 | 3.7077e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6512-27_1_1_load_51 | 18 | 0.0022543 | 0.00056497 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6512-27_1_1_load_52 | 19 | 0.0013437 | 0.00033677 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6512-27_1_1_load_53 | 20 | 0.0021636 | 0.00054225 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6512-27_1_1_load_54 | 21 | 0.0019391 | 0.00048597 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6512-27_1_1_load_73 | 22 | 0.00059062 | 0.00014802 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6512-27_1_1_load_71 | 23 | 0.0015016 | 0.00037634 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6512-27_1_1_load_56 | 24 | 0.001676 | 0.00042003 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6512-27_1_1_load_57 | 25 | 0.0023209 | 0.00058168 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6512-27_1_1_load_58 | 26 | 0.00084093 | 0.00021076 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6512-27_1_1_load_59 | 27 | 0.001076 | 0.00026966 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6512-27_1_1_load_60 | 28 | 0.0011788 | 0.00029544 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6512-27_1_1_load_66 | 29 | 0.001127 | 0.00028246 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6512-27_1_1_load_65 | 32 | 0.0020858 | 0.00052274 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6512-27_1_1_load_61 | 33 | 0.0013309 | 0.00033355 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6512-27_1_1_load_62 | 34 | 0.00041576 | 0.0001042 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6512-27_1_1_load_79 | 37 | 0.0009879 | 0.00024759 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6512-27_1_1_load_82 | 38 | 0.00056498 | 0.0001416 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6512-27_1_1_load_80 | 39 | 0.0021564 | 0.00054045 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6512-27_1_1_load_68 | 40 | 0.0010194 | 0.0002555 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6512-27_1_1_load_69 | 41 | 0.0014052 | 0.00035218 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6512-27_1_1_load_72 | 42 | 0.0015859 | 0.00039746 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6512-27_1_1_load_77 | 43 | 0.0018982 | 0.00047573 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6512-27_1_1_load_70 | 44 | 0.0011158 | 0.00027964 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6512-27_1_1_load_74 | 46 | 0.00043344 | 0.00010863 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6512-27_1_1_load_104 | 48 | 0.00094306 | 0.00023635 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6512-27_1_1_load_84 | 50 | 0.00076631 | 0.00019205 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6512-27_1_1_load_85 | 51 | 0.00082919 | 0.00020782 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6512-27_1_1_load_86 | 52 | 0.0005493 | 0.00013767 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6512-27_1_1_load_87 | 53 | 0.00092929 | 0.0002329 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6512-27_1_1_load_88 | 54 | 0.00081177 | 0.00020345 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6512-27_1_1_load_94 | 55 | 0.0015474 | 0.00038781 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6512-27_1_1_load_95 | 56 | 0.00038554 | 9.6625e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6512-27_1_1_load_93 | 57 | 0.0017653 | 0.00044242 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6512-27_1_1_load_90 | 59 | 0.00073811 | 0.00018499 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6512-27_1_1_load_91 | 60 | 0.0017703 | 0.00044368 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6512-27_1_1_load_100 | 61 | 0.0011218 | 0.00028114 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6512-27_1_1_load_98 | 62 | 0.0011154 | 0.00027954 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6512-27_1_1_load_101 | 63 | 0.00083678 | 0.00020972 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6512-27_1_1_load_134 | 64 | 0.00073799 | 0.00018496 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6512-27_1_1_load_96 | 66 | 0.001347 | 0.00033759 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6512-27_1_1_load_97 | 67 | 0.0005401 | 0.00013536 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6512-27_1_1_load_105 | 68 | 0.0014465 | 0.00036252 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6512-27_1_1_load_102 | 69 | 0.0009315 | 0.00023346 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6512-27_1_1_load_114 | 70 | 0.001184 | 0.00029674 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6512-27_1_1_load_112 | 72 | 0.0011531 | 0.00028901 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6512-27_1_1_load_106 | 73 | 0.0014501 | 0.00036344 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6512-27_1_1_load_107 | 74 | 0.0017071 | 0.00042785 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6512-27_1_1_load_111 | 76 | 0.00087269 | 0.00021872 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6512-27_1_1_load_115 | 77 | 0.00098903 | 0.00024787 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6512-27_1_1_load_117 | 78 | 0.0014394 | 0.00036075 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6512-27_1_1_load_110 | 79 | 0.00087326 | 0.00021886 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6512-27_1_1_load_108 | 80 | 0.00089787 | 0.00022503 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6512-27_1_1_load_109 | 81 | 0.0015167 | 0.00038011 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6512-27_1_1_load_118 | 82 | 0.0017815 | 0.0004465 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6512-27_1_1_load_131 | 83 | 9.7014e-05 | 2.4314e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 66 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6512-27_1_1_line_0 | NAYY 4x150 SE | 0 | 1 | 0.10722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_6512-27_1_1_line_1 | NAYY 4x150 SE | 0 | 2 | 0.081764 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_6512-27_1_1_line_2 | NAYY 4x150 SE | 1 | 20 | 0.064771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_6512-27_1_1_line_3 | NAYY 4x150 SE | 3 | 4 | 0.24052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_6512-27_1_1_line_4 | NAYY 4x150 SE | 3 | 5 | 0.36686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_6512-27_1_1_line_5 | NAYY 4x150 SE | 3 | 6 | 0.31286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_6512-27_1_1_line_6 | NAYY 4x150 SE | 4 | 7 | 0.020603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_6512-27_1_1_line_7 | NAYY 4x150 SE | 5 | 8 | 0.029918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_6512-27_1_1_line_8 | NAYY 4x150 SE | 5 | 9 | 0.057494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_6512-27_1_1_line_9 | NAYY 4x150 SE | 6 | 13 | 0.030676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_6512-27_1_1_line_10 | NAYY 4x150 SE | 6 | 12 | 0.196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_6512-27_1_1_line_11 | NAYY 4x150 SE | 7 | 14 | 0.0068377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_6512-27_1_1_line_12 | NAYY 4x150 SE | 9 | 15 | 0.030822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_6512-27_1_1_line_13 | NAYY 4x150 SE | 10 | 11 | 0.027641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_6512-27_1_1_line_14 | NAYY 4x150 SE | 11 | 12 | 0.15907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_6512-27_1_1_line_15 | NAYY 4x150 SE | 14 | 17 | 0.011734 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_6512-27_1_1_line_16 | NAYY 4x150 SE | 15 | 16 | 0.44599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_6512-27_1_1_line_17 | NAYY 4x150 SE | 16 | 64 | 0.70715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_6512-27_1_1_line_18 | NAYY 4x150 SE | 17 | 83 | 0.011537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_6512-27_1_1_line_19 | NAYY 4x150 SE | 18 | 19 | 0.024896 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_6512-27_1_1_line_20 | NAYY 4x150 SE | 18 | 20 | 0.0058521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_6512-27_1_1_line_21 | NAYY 4x150 SE | 19 | 21 | 0.0073003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_6512-27_1_1_line_22 | NAYY 4x150 SE | 21 | 22 | 0.025016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_6512-27_1_1_line_23 | NAYY 4x150 SE | 22 | 23 | 0.0033636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_6512-27_1_1_line_24 | NAYY 4x150 SE | 23 | 44 | 0.0092885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_6512-27_1_1_line_25 | NAYY 4x150 SE | 24 | 25 | 0.017988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_6512-27_1_1_line_26 | NAYY 4x150 SE | 24 | 26 | 0.01556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_6512-27_1_1_line_27 | NAYY 4x150 SE | 25 | 27 | 0.0085999 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_6512-27_1_1_line_28 | NAYY 4x150 SE | 26 | 28 | 0.020042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_6512-27_1_1_line_29 | NAYY 4x150 SE | 27 | 29 | 0.017468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_6512-27_1_1_line_30 | NAYY 4x150 SE | 28 | 30 | 0.0018513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_6512-27_1_1_line_31 | NAYY 4x150 SE | 29 | 31 | 0.012422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_6512-27_1_1_line_32 | NAYY 4x150 SE | 30 | 32 | 0.026171 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_6512-27_1_1_line_33 | NAYY 4x150 SE | 30 | 33 | 0.023151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_6512-27_1_1_line_34 | NAYY 4x150 SE | 31 | 40 | 0.009552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_6512-27_1_1_line_35 | NAYY 4x150 SE | 31 | 41 | 0.024149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_6512-27_1_1_line_36 | NAYY 4x150 SE | 33 | 34 | 0.0034443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_6512-27_1_1_line_37 | NAYY 4x150 SE | 34 | 35 | 0.012105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_6512-27_1_1_line_38 | NAYY 4x150 SE | 35 | 36 | 0.049239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_6512-27_1_1_line_39 | NAYY 4x150 SE | 35 | 37 | 0.016037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_6512-27_1_1_line_40 | NAYY 4x150 SE | 36 | 38 | 0.012266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_6512-27_1_1_line_41 | NAYY 4x150 SE | 37 | 39 | 0.010172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_6512-27_1_1_line_42 | NAYY 4x150 SE | 38 | 46 | 0.026047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_6512-27_1_1_line_43 | NAYY 4x150 SE | 40 | 42 | 0.021983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_6512-27_1_1_line_44 | NAYY 4x150 SE | 41 | 43 | 0.014937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_6512-27_1_1_line_45 | NAYY 4x150 SE | 42 | 44 | 0.015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_6512-27_1_1_line_46 | NAYY 4x150 SE | 43 | 45 | 0.042037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_6512-27_1_1_line_47 | NAYY 4x150 SE | 45 | 47 | 0.012987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_6512-27_1_1_line_48 | NAYY 4x150 SE | 47 | 48 | 0.085674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_6512-27_1_1_line_49 | NAYY 4x150 SE | 48 | 49 | 0.013521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_6512-27_1_1_line_50 | NAYY 4x150 SE | 49 | 68 | 0.014201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_6512-27_1_1_line_51 | NAYY 4x150 SE | 49 | 69 | 0.04002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_6512-27_1_1_line_52 | NAYY 4x150 SE | 49 | 67 | 0.024694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_6512-27_1_1_line_53 | NAYY 4x150 SE | 50 | 51 | 0.039816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_6512-27_1_1_line_54 | NAYY 4x150 SE | 50 | 52 | 0.039603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_6512-27_1_1_line_55 | NAYY 4x150 SE | 51 | 53 | 0.049221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_6512-27_1_1_line_56 | NAYY 4x150 SE | 52 | 54 | 0.025371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_6512-27_1_1_line_57 | NAYY 4x150 SE | 54 | 58 | 0.0053511 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_6512-27_1_1_line_58 | NAYY 4x150 SE | 55 | 56 | 0.099677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_6512-27_1_1_line_59 | NAYY 4x150 SE | 55 | 57 | 0.014561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_6512-27_1_1_line_60 | NAYY 4x150 SE | 56 | 64 | 0.16503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_6512-27_1_1_line_61 | NAYY 4x150 SE | 58 | 59 | 0.034387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_6512-27_1_1_line_62 | NAYY 4x150 SE | 58 | 60 | 0.0086416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_6512-27_1_1_line_63 | NAYY 4x150 SE | 59 | 61 | 0.02726 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_6512-27_1_1_line_64 | NAYY 4x150 SE | 60 | 62 | 0.035166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_6512-27_1_1_line_65 | NAYY 4x150 SE | 61 | 63 | 0.011089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_6512-27_1_1_line_66 | NAYY 4x150 SE | 63 | 72 | 0.03459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_6512-27_1_1_line_67 | NAYY 4x150 SE | 64 | 65 | 0.16291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_6512-27_1_1_line_68 | NAYY 4x150 SE | 65 | 72 | 0.03095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_6512-27_1_1_line_69 | NAYY 4x150 SE | 65 | 75 | 0.008223 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_6512-27_1_1_line_70 | NAYY 4x150 SE | 66 | 67 | 0.026779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_6512-27_1_1_line_71 | NAYY 4x150 SE | 68 | 70 | 0.027589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_6512-27_1_1_line_72 | NAYY 4x150 SE | 69 | 71 | 0.016671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_6512-27_1_1_line_73 | NAYY 4x150 SE | 70 | 77 | 0.033688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_6512-27_1_1_line_74 | NAYY 4x150 SE | 71 | 73 | 0.014892 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_6512-27_1_1_line_75 | NAYY 4x150 SE | 71 | 74 | 0.039778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_6512-27_1_1_line_76 | NAYY 4x150 SE | 73 | 75 | 0.032622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_6512-27_1_1_line_77 | NAYY 4x150 SE | 74 | 76 | 0.0085674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_6512-27_1_1_line_78 | NAYY 4x150 SE | 75 | 78 | 0.014837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_6512-27_1_1_line_79 | NAYY 4x150 SE | 76 | 79 | 0.016931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_6512-27_1_1_line_80 | NAYY 4x150 SE | 78 | 82 | 0.028233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_6512-27_1_1_line_81 | NAYY 4x150 SE | 79 | 80 | 0.010694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_6512-27_1_1_line_82 | NAYY 4x150 SE | 80 | 81 | 0.0084031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6512-27_1_1_trafo_96 | 0.25 MVA 20/0.4 kV | 84 | 66 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2535768.6215 | 1196145.5827 | 2535777.2885 | 1196141.0868 | 2535782.8618 | 1196140.7711 | 2535789.0797 | 1196141.5936 | 2535797.4891 | 1196146.4282 | 2535838.3735 | 1196178.6853 | 2535845.9146 | 1196185.675 | 2535852.4571 | 1196193.3092 | 2535854.3725 | 1196196.446
1 | 2535768.6215 | 1196145.5827 | 2535782.3112 | 1196171.7174 | 2535795.6495 | 1196198.4786 | 2535805.4934 | 1196218.5545
2 | 2535854.3725 | 1196196.446 | 2535859.0645 | 1196204.1557 | 2535864.8666 | 1196215.9114 | 2535868.0117 | 1196225.7167 | 2535875.3872 | 1196252.0307 | 2535876.9121 | 1196256.8039
3 | 2535003.4968 | 1197242.5097 | 2535232.342 | 1197316.5397
4 | 2535232.342 | 1197316.5397 | 2535230.8234 | 1196949.679
5 | 2535232.342 | 1197316.5397 | 2535544.0706 | 1197343.0988
6 | 2535003.4968 | 1197242.5097 | 2534982.9544 | 1197240.926
7 | 2535230.8234 | 1196949.679 | 2535210.1505 | 1196928.0017
8 | 2535230.8234 | 1196949.679 | 2535227.8534 | 1196939.9277 | 2535222.6586 | 1196913.3017 | 2535218.6935 | 1196905.2067 | 2535210.8548 | 1196897.2647
9 | 2535544.0706 | 1197343.0988 | 2535552.6441 | 1197330.5089 | 2535555.4253 | 1197323.5526 | 2535554.9402 | 1197316.02 | 2535554.8124 | 1197315.636
10 | 2535640.3503 | 1197513.8262 | 2535544.0706 | 1197343.0988
11 | 2534976.137 | 1197240.4004 | 2534982.9544 | 1197240.926
12 | 2535210.8548 | 1196897.2647 | 2535189.2034 | 1196875.3281
13 | 2535490.6278 | 1197563.65 | 2535463.5218 | 1197568.0123 | 2535463.3422 | 1197567.9626
14 | 2535640.3503 | 1197513.8262 | 2535633.0786 | 1197515.439 | 2535616.713 | 1197524.8544 | 2535591.2241 | 1197540.0384 | 2535527.9984 | 1197557.6426 | 2535490.6278 | 1197563.65
15 | 2534964.427 | 1197239.7038 | 2534968.5282 | 1197239.8138 | 2534976.137 | 1197240.4004
16 | 2535189.2034 | 1196875.3281 | 2534961.4479 | 1196491.8825
17 | 2535648.7248 | 1196658.3459 | 2534961.4479 | 1196491.8825
18 | 2534964.427 | 1197239.7038 | 2534952.8943 | 1197239.3947
19 | 2535878.693 | 1196262.3784 | 2535879.4471 | 1196264.739 | 2535884.2417 | 1196274.9157 | 2535889.1454 | 1196283.1901 | 2535890.0315 | 1196284.4623
20 | 2535878.693 | 1196262.3784 | 2535876.9121 | 1196256.8039
21 | 2535890.0315 | 1196284.4623 | 2535894.204 | 1196290.4527
22 | 2535909.7916 | 1196309.991 | 2535898.4073 | 1196296.4874 | 2535894.204 | 1196290.4527
23 | 2535912.0331 | 1196312.497 | 2535910.854 | 1196311.2513 | 2535909.7916 | 1196309.991
24 | 2535918.4181 | 1196319.243 | 2535912.0331 | 1196312.497
25 | 2535991.9674 | 1196391.2238 | 2535990.6328 | 1196390.1639 | 2535978.2886 | 1196379.5441
26 | 2535991.9674 | 1196391.2238 | 2536004.1527 | 1196400.9006
27 | 2535971.7692 | 1196373.9355 | 2535978.2886 | 1196379.5441
28 | 2536019.8479 | 1196413.3648 | 2536004.1527 | 1196400.9006
29 | 2535959.1853 | 1196361.8275 | 2535969.6493 | 1196372.1116 | 2535971.7692 | 1196373.9355
30 | 2536021.2977 | 1196414.5161 | 2536019.8479 | 1196413.3648
31 | 2535950.4068 | 1196353.0402 | 2535952.6183 | 1196355.3734 | 2535959.1853 | 1196361.8275
32 | 2536021.2977 | 1196414.5161 | 2536034.5542 | 1196424.5688 | 2536042.4691 | 1196429.8837
33 | 2536021.2977 | 1196414.5161 | 2536006.6013 | 1196432.4044
34 | 2535950.4068 | 1196353.0402 | 2535943.8407 | 1196346.1029
35 | 2535950.4068 | 1196353.0402 | 2535926.3573 | 1196350.8468
36 | 2536006.6013 | 1196432.4044 | 2536004.4149 | 1196435.0657
37 | 2535996.7304 | 1196444.4193 | 2536004.4149 | 1196435.0657
38 | 2535965.433 | 1196482.4996 | 2535996.7304 | 1196444.4193
39 | 2535996.7304 | 1196444.4193 | 2536009.1757 | 1196454.5342
40 | 2535965.433 | 1196482.4996 | 2535972.6202 | 1196492.439
41 | 2536009.1757 | 1196454.5342 | 2536014.1599 | 1196458.5852 | 2536016.7411 | 1196461.3036
42 | 2535972.6202 | 1196492.439 | 2535978.3702 | 1196517.8432
43 | 2535943.8407 | 1196346.1029 | 2535928.7295 | 1196330.1374
44 | 2535911.4826 | 1196349.4902 | 2535926.3573 | 1196350.8468
45 | 2535918.4181 | 1196319.243 | 2535928.7295 | 1196330.1374
46 | 2535870.3559 | 1196352.366 | 2535878.3413 | 1196348.9671 | 2535891.107 | 1196347.3401 | 2535908.4203 | 1196349.2109 | 2535911.4826 | 1196349.4902
47 | 2535870.3559 | 1196352.366 | 2535859.8225 | 1196356.8485 | 2535858.4597 | 1196357.6302
48 | 2535858.4597 | 1196357.6302 | 2535857.1295 | 1196357.9114 | 2535851.789 | 1196361.4375 | 2535843.2222 | 1196368.1446 | 2535828.9139 | 1196379.3384 | 2535802.02 | 1196400.3844 | 2535790.9033 | 1196410.0301
49 | 2535780.6906 | 1196418.8914 | 2535790.9033 | 1196410.0301
50 | 2535780.6906 | 1196418.8914 | 2535770.612 | 1196408.8862
51 | 2535780.6906 | 1196418.8914 | 2535763.6031 | 1196436.5634 | 2535755.0392 | 1196449.4077
52 | 2535780.6906 | 1196418.8914 | 2535789.4082 | 1196441.9959
53 | 2535920.7462 | 1196567.9893 | 2535934.3529 | 1196569.8623 | 2535955.7028 | 1196578.1047 | 2535958.6059 | 1196579.4396
54 | 2535920.7462 | 1196567.9893 | 2535909.3294 | 1196566.4178 | 2535882.9149 | 1196556.8959 | 2535882.9149 | 1196556.8959
55 | 2535958.6059 | 1196579.4396 | 2535978.9989 | 1196588.8166 | 2536001.9482 | 1196602.609
56 | 2535859.4239 | 1196547.3493 | 2535864.2345 | 1196549.6812 | 2535882.9149 | 1196556.8959
57 | 2535854.6087 | 1196545.0152 | 2535859.4239 | 1196547.3493
58 | 2535860.273 | 1196811.1374 | 2535809.4565 | 1196776.4147 | 2535777.0472 | 1196756.3265
59 | 2535860.273 | 1196811.1374 | 2535872.2955 | 1196819.3524
60 | 2535777.0472 | 1196756.3265 | 2535758.0987 | 1196744.5818 | 2535720.8017 | 1196729.6412 | 2535710.7389 | 1196724.7022 | 2535699.5072 | 1196716.6296 | 2535683.2598 | 1196701.896 | 2535651.6626 | 1196662.4355 | 2535648.7248 | 1196658.3459
61 | 2535854.6087 | 1196545.0152 | 2535830.3563 | 1196538.9168 | 2535821.0891 | 1196537.4722
62 | 2535854.6087 | 1196545.0152 | 2535847.9831 | 1196539.4674
63 | 2535821.0891 | 1196537.4722 | 2535794.1539 | 1196533.2736
64 | 2535821.4554 | 1196516.4406 | 2535823.79 | 1196519.1201 | 2535835.1679 | 1196528.7368 | 2535847.9831 | 1196539.4674
65 | 2535783.1972 | 1196531.5657 | 2535794.1539 | 1196533.2736
66 | 2535783.1972 | 1196531.5657 | 2535776.3157 | 1196530.493 | 2535749.0962 | 1196525.7726
67 | 2535721.9007 | 1196512.7906 | 2535648.7248 | 1196658.3459
68 | 2535721.9007 | 1196512.7906 | 2535729.6891 | 1196520.1332 | 2535744.6269 | 1196524.9975 | 2535749.0962 | 1196525.7726
69 | 2535722.3454 | 1196504.5809 | 2535721.9007 | 1196512.7906
70 | 2535798.3971 | 1196467.2178 | 2535793.1824 | 1196451.9987 | 2535789.4082 | 1196441.9959
71 | 2535751.0323 | 1196389.4491 | 2535770.612 | 1196408.8862
72 | 2535746.0513 | 1196463.4459 | 2535750.7909 | 1196455.7793 | 2535755.0392 | 1196449.4077
73 | 2535751.0323 | 1196389.4491 | 2535727.1241 | 1196365.715
74 | 2535746.0513 | 1196463.4459 | 2535738.2214 | 1196476.1129
75 | 2535746.0513 | 1196463.4459 | 2535717.5716 | 1196435.6748
76 | 2535722.3454 | 1196504.5809 | 2535730.6719 | 1196488.3262 | 2535738.2214 | 1196476.1129
77 | 2535711.4377 | 1196429.6935 | 2535717.5716 | 1196435.6748
78 | 2535722.3454 | 1196504.5809 | 2535708.3957 | 1196499.527
79 | 2535699.3156 | 1196417.8729 | 2535711.4377 | 1196429.6935
80 | 2535687.5761 | 1196481.1639 | 2535699.4666 | 1196494.4881 | 2535703.8989 | 1196497.8979 | 2535708.3957 | 1196499.527
81 | 2535691.6595 | 1196410.4073 | 2535699.3156 | 1196417.8729
82 | 2535691.6595 | 1196410.4073 | 2535685.6432 | 1196404.5407

## bus_geodata
| x | y | coords
0 | 2535768.6215 | 1196145.5827
1 | 2535854.3725 | 1196196.446
2 | 2535805.4934 | 1196218.5545
3 | 2535232.342 | 1197316.5397
4 | 2535003.4968 | 1197242.5097
5 | 2535230.8234 | 1196949.679
6 | 2535544.0706 | 1197343.0988
7 | 2534982.9544 | 1197240.926
8 | 2535210.1505 | 1196928.0017
9 | 2535210.8548 | 1196897.2647
10 | 2535463.3422 | 1197567.9626
11 | 2535490.6278 | 1197563.65
12 | 2535640.3503 | 1197513.8262
13 | 2535554.8124 | 1197315.636
14 | 2534976.137 | 1197240.4004
15 | 2535189.2034 | 1196875.3281
16 | 2534961.4479 | 1196491.8825
17 | 2534964.427 | 1197239.7038
18 | 2535878.693 | 1196262.3784
19 | 2535890.0315 | 1196284.4623
20 | 2535876.9121 | 1196256.8039
21 | 2535894.204 | 1196290.4527
22 | 2535909.7916 | 1196309.991
23 | 2535912.0331 | 1196312.4971
24 | 2535991.9674 | 1196391.2238
25 | 2535978.2886 | 1196379.5441
26 | 2536004.1527 | 1196400.9006
27 | 2535971.7692 | 1196373.9355
28 | 2536019.8479 | 1196413.3648
29 | 2535959.1853 | 1196361.8275
30 | 2536021.2977 | 1196414.5161
31 | 2535950.4068 | 1196353.0402
32 | 2536042.4691 | 1196429.8837
33 | 2536006.6013 | 1196432.4044
34 | 2536004.4149 | 1196435.0657
35 | 2535996.7304 | 1196444.4193
36 | 2535965.433 | 1196482.4996
37 | 2536009.1757 | 1196454.5342
38 | 2535972.6202 | 1196492.439
39 | 2536016.7411 | 1196461.3036
40 | 2535943.8407 | 1196346.1029
41 | 2535926.3573 | 1196350.8468
42 | 2535928.7295 | 1196330.1374
43 | 2535911.4826 | 1196349.4902
44 | 2535918.4181 | 1196319.243
45 | 2535870.3559 | 1196352.366
46 | 2535978.3702 | 1196517.8432
47 | 2535858.4597 | 1196357.6302
48 | 2535790.9033 | 1196410.0301
49 | 2535780.6906 | 1196418.8914
50 | 2535920.7462 | 1196567.9893
51 | 2535958.6059 | 1196579.4396
52 | 2535882.9149 | 1196556.8959
53 | 2536001.9482 | 1196602.609
54 | 2535859.4239 | 1196547.3493
55 | 2535860.273 | 1196811.1374
56 | 2535777.0472 | 1196756.3265
57 | 2535872.2955 | 1196819.3524
58 | 2535854.6087 | 1196545.0152
59 | 2535821.0891 | 1196537.4722
60 | 2535847.9831 | 1196539.4674
61 | 2535794.1539 | 1196533.2736
62 | 2535821.4554 | 1196516.4406
63 | 2535783.1972 | 1196531.5657
64 | 2535648.7248 | 1196658.3459
65 | 2535721.9007 | 1196512.7906
66 | 2535798.3971 | 1196467.2178
67 | 2535789.4082 | 1196441.9959
68 | 2535770.612 | 1196408.8862
69 | 2535755.0392 | 1196449.4077
70 | 2535751.0323 | 1196389.4491
71 | 2535746.0513 | 1196463.4459
72 | 2535749.0962 | 1196525.7726
73 | 2535738.2214 | 1196476.1129
74 | 2535717.5716 | 1196435.6748
75 | 2535722.3454 | 1196504.5809
76 | 2535711.4377 | 1196429.6935
77 | 2535727.1241 | 1196365.715
78 | 2535708.3957 | 1196499.527
79 | 2535699.3156 | 1196417.8729
80 | 2535691.6595 | 1196410.4073
81 | 2535685.6432 | 1196404.5407
82 | 2535687.5761 | 1196481.1639
83 | 2534952.8943 | 1197239.3947
84 | 2535798.3971 | 1196467.2178

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1