## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6512-7_2_4_node_131 | 0.4 | n |  | TRUE
1 | bus_LV_6512-7_2_4_node_22 | 0.4 | n |  | TRUE
2 | bus_LV_6512-7_2_4_node_132 | 0.4 | n |  | TRUE
3 | bus_LV_6512-7_2_4_node_133 | 0.4 | n |  | TRUE
4 | bus_LV_6512-7_2_4_node_134 | 0.4 | n |  | TRUE
5 | bus_LV_6512-7_2_4_node_135 | 0.4 | n |  | TRUE
6 | bus_LV_6512-7_2_4_node_136 | 0.4 | n |  | TRUE
7 | bus_LV_6512-7_2_4_node_137 | 0.4 | n |  | TRUE
8 | bus_LV_6512-7_2_4_node_138 | 0.4 | n |  | TRUE
9 | bus_LV_6512-7_2_4_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_6512-7_2_4_node_11 | 0.4 | n |  | TRUE
11 | bus_LV_6512-7_2_4_node_12 | 0.4 | n |  | TRUE
12 | bus_LV_6512-7_2_4_node_13 | 0.4 | n |  | TRUE
13 | bus_LV_6512-7_2_4_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_6512-7_2_4_node_15 | 0.4 | n |  | TRUE
15 | bus_LV_6512-7_2_4_node_16 | 0.4 | n |  | TRUE
16 | bus_LV_6512-7_2_4_node_20 | 0.4 | n |  | TRUE
17 | bus_LV_6512-7_2_4_node_17 | 0.4 | n |  | TRUE
18 | bus_LV_6512-7_2_4_node_18 | 0.4 | n |  | TRUE
19 | bus_LV_6512-7_2_4_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_6512-7_2_4_node_147 | 0.4 | n |  | TRUE
21 | bus_LV_6512-7_2_4_node_154 | 0.4 | n |  | TRUE
22 | bus_LV_6512-7_2_4_node_123 | 0.4 | n |  | TRUE
23 | bus_LV_6512-7_2_4_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_6512-7_2_4_node_23 | 0.4 | n |  | TRUE
25 | bus_LV_6512-7_2_4_node_117 | 0.4 | n |  | TRUE
26 | bus_LV_6512-7_2_4_node_24 | 0.4 | n |  | TRUE
27 | bus_LV_6512-7_2_4_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_6512-7_2_4_node_26 | 0.4 | n |  | TRUE
29 | bus_LV_6512-7_2_4_node_27 | 0.4 | n |  | TRUE
30 | bus_LV_6512-7_2_4_node_31 | 0.4 | n |  | TRUE
31 | bus_LV_6512-7_2_4_node_141 | 0.4 | n |  | TRUE
32 | bus_LV_6512-7_2_4_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_6512-7_2_4_node_139 | 0.4 | n |  | TRUE
34 | bus_LV_6512-7_2_4_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_6512-7_2_4_node_111 | 0.4 | n |  | TRUE
36 | bus_LV_6512-7_2_4_node_112 | 0.4 | n |  | TRUE
37 | bus_LV_6512-7_2_4_node_108 | 0.4 | n |  | TRUE
38 | bus_LV_6512-7_2_4_node_148 | 0.4 | n |  | TRUE
39 | bus_LV_6512-7_2_4_node_155 | 0.4 | n |  | TRUE
40 | bus_LV_6512-7_2_4_node_144 | 0.4 | n |  | TRUE
41 | bus_LV_6512-7_2_4_node_140 | 0.4 | n |  | TRUE
42 | bus_LV_6512-7_2_4_node_142 | 0.4 | n |  | TRUE
43 | bus_LV_6512-7_2_4_node_143 | 0.4 | n |  | TRUE
44 | bus_LV_6512-7_2_4_node_145 | 0.4 | n |  | TRUE
45 | bus_LV_6512-7_2_4_node_116 | 0.4 | n |  | TRUE
46 | bus_LV_6512-7_2_4_node_146 | 0.4 | n |  | TRUE
47 | bus_LV_6512-7_2_4_node_110 | 0.4 | n |  | TRUE
48 | bus_LV_6512-7_2_4_node_109 | 0.4 | n |  | TRUE
49 | bus_LV_6512-7_2_4_node_122 | 0.4 | n |  | TRUE
50 | bus_LV_6512-7_2_4_node_120 | 0.4 | n |  | TRUE
51 | bus_LV_6512-7_2_4_node_113 | 0.4 | n |  | TRUE
52 | bus_LV_6512-7_2_4_node_114 | 0.4 | n |  | TRUE
53 | bus_LV_6512-7_2_4_node_115 | 0.4 | n |  | TRUE
54 | bus_LV_6512-7_2_4_node_121 | 0.4 | n |  | TRUE
55 | bus_LV_6512-7_2_4_node_118 | 0.4 | n |  | TRUE
56 | bus_MV_0_node_123 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6512-7_2_4_load_131 | 0 | 0.00043944 | 0.00011014 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6512-7_2_4_load_132 | 2 | 0.00085282 | 0.00021374 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6512-7_2_4_load_133 | 3 | 8.7479e-05 | 2.1924e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6512-7_2_4_load_134 | 4 | 0.00015691 | 3.9326e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6512-7_2_4_load_135 | 5 | 0.00022836 | 5.7231e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6512-7_2_4_load_136 | 6 | 0.00034997 | 8.7712e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6512-7_2_4_load_138 | 8 | 0.00018441 | 4.6217e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6512-7_2_4_load_10 | 9 | 0.0011042 | 0.00027674 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6512-7_2_4_load_13 | 12 | 0.0011027 | 0.00027635 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6512-7_2_4_load_15 | 14 | 0.00046785 | 0.00011726 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6512-7_2_4_load_16 | 15 | 0.00066445 | 0.00016653 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6512-7_2_4_load_20 | 16 | 0.00084042 | 0.00021063 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6512-7_2_4_load_18 | 18 | 0.00049689 | 0.00012453 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6512-7_2_4_load_147 | 20 | 0.00055927 | 0.00014017 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6512-7_2_4_load_154 | 21 | 0.00090097 | 0.0002258 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6512-7_2_4_load_117 | 25 | 0.00034253 | 8.5846e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6512-7_2_4_load_24 | 26 | 8.7473e-05 | 2.1923e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6512-7_2_4_load_31 | 30 | 0.00066155 | 0.0001658 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6512-7_2_4_load_139 | 33 | 0.00017061 | 4.276e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6512-7_2_4_load_111 | 35 | 0.00087073 | 0.00021823 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6512-7_2_4_load_108 | 37 | 0.0075263 | 0.0018863 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6512-7_2_4_load_148 | 38 | 0.0007884 | 0.00019759 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6512-7_2_4_load_155 | 39 | 0.00036616 | 9.1769e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6512-7_2_4_load_140 | 41 | 0.00027768 | 6.9593e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6512-7_2_4_load_142 | 42 | 0.00027456 | 6.8812e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6512-7_2_4_load_143 | 43 | 0.00044158 | 0.00011067 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6512-7_2_4_load_145 | 44 | 0.0019537 | 0.00048965 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6512-7_2_4_load_146 | 46 | 0.0013858 | 0.00034731 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6512-7_2_4_load_110 | 47 | 0.00059579 | 0.00014932 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6512-7_2_4_load_109 | 48 | 0.00040399 | 0.00010125 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6512-7_2_4_load_122 | 49 | 0.0010751 | 0.00026943 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6512-7_2_4_load_120 | 50 | 0.00056963 | 0.00014276 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6512-7_2_4_load_113 | 51 | 0.00097758 | 0.000245 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6512-7_2_4_load_114 | 52 | 0.00084363 | 0.00021143 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6512-7_2_4_load_118 | 55 | 0.0011851 | 0.00029702 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 22 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6512-7_2_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.28358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_6512-7_2_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.013242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_6512-7_2_4_line_2 | NAYY 4x150 SE | 1 | 23 | 0.55093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_6512-7_2_4_line_3 | NAYY 4x150 SE | 3 | 4 | 0.36206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_6512-7_2_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.0038235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_6512-7_2_4_line_5 | NAYY 4x150 SE | 4 | 6 | 0.014623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_6512-7_2_4_line_6 | NAYY 4x150 SE | 6 | 7 | 0.1308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_6512-7_2_4_line_7 | NAYY 4x150 SE | 7 | 8 | 0.011865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_6512-7_2_4_line_8 | NAYY 4x150 SE | 8 | 32 | 0.34911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_6512-7_2_4_line_9 | NAYY 4x150 SE | 9 | 10 | 0.19143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_6512-7_2_4_line_10 | NAYY 4x150 SE | 9 | 11 | 0.040747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_6512-7_2_4_line_11 | NAYY 4x150 SE | 10 | 12 | 0.023565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_6512-7_2_4_line_12 | NAYY 4x150 SE | 10 | 13 | 1.2588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_6512-7_2_4_line_13 | NAYY 4x150 SE | 11 | 14 | 0.23532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_6512-7_2_4_line_14 | NAYY 4x150 SE | 12 | 15 | 0.018864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_6512-7_2_4_line_15 | NAYY 4x150 SE | 13 | 16 | 0.011414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_6512-7_2_4_line_16 | NAYY 4x150 SE | 15 | 17 | 0.2688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_6512-7_2_4_line_17 | NAYY 4x150 SE | 16 | 23 | 0.073328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_6512-7_2_4_line_18 | NAYY 4x150 SE | 17 | 18 | 0.64468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_6512-7_2_4_line_19 | NAYY 4x150 SE | 17 | 19 | 0.069055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_6512-7_2_4_line_20 | NAYY 4x150 SE | 18 | 20 | 0.017376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_6512-7_2_4_line_21 | NAYY 4x150 SE | 19 | 21 | 0.016142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_6512-7_2_4_line_22 | NAYY 4x150 SE | 19 | 22 | 1.6533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
23 | LV_6512-7_2_4_line_23 | NAYY 4x150 SE | 22 | 49 | 0.79622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
24 | LV_6512-7_2_4_line_24 | NAYY 4x150 SE | 23 | 24 | 1.2788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_6512-7_2_4_line_25 | NAYY 4x150 SE | 24 | 25 | 0.10969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_6512-7_2_4_line_26 | NAYY 4x150 SE | 25 | 55 | 0.0013079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_6512-7_2_4_line_27 | NAYY 4x150 SE | 26 | 27 | 0.041428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_6512-7_2_4_line_28 | NAYY 4x150 SE | 26 | 28 | 0.050911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_6512-7_2_4_line_29 | NAYY 4x150 SE | 27 | 29 | 1.3035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_6512-7_2_4_line_30 | NAYY 4x150 SE | 28 | 30 | 0.010572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_6512-7_2_4_line_31 | NAYY 4x150 SE | 29 | 31 | 0.24542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_6512-7_2_4_line_32 | NAYY 4x150 SE | 29 | 32 | 0.60062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_6512-7_2_4_line_33 | NAYY 4x150 SE | 29 | 33 | 0.015232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_6512-7_2_4_line_34 | NAYY 4x150 SE | 30 | 38 | 0.24719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_6512-7_2_4_line_35 | NAYY 4x150 SE | 31 | 40 | 0.020864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_6512-7_2_4_line_36 | NAYY 4x150 SE | 31 | 42 | 0.040378 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_6512-7_2_4_line_37 | NAYY 4x150 SE | 33 | 41 | 0.022601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_6512-7_2_4_line_38 | NAYY 4x150 SE | 34 | 35 | 0.053792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_6512-7_2_4_line_39 | NAYY 4x150 SE | 34 | 36 | 0.35475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_6512-7_2_4_line_40 | NAYY 4x150 SE | 34 | 37 | 0.051928 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_6512-7_2_4_line_41 | NAYY 4x150 SE | 36 | 49 | 0.012673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_6512-7_2_4_line_42 | NAYY 4x150 SE | 36 | 50 | 0.048335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_6512-7_2_4_line_43 | NAYY 4x150 SE | 37 | 48 | 0.027886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_6512-7_2_4_line_44 | NAYY 4x150 SE | 38 | 47 | 0.0073259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_6512-7_2_4_line_45 | NAYY 4x150 SE | 39 | 40 | 0.023933 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_6512-7_2_4_line_46 | NAYY 4x150 SE | 42 | 43 | 0.2333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_6512-7_2_4_line_47 | NAYY 4x150 SE | 44 | 45 | 0.060132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_6512-7_2_4_line_48 | NAYY 4x150 SE | 44 | 46 | 0.062736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_6512-7_2_4_line_49 | NAYY 4x150 SE | 45 | 54 | 0.42739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_6512-7_2_4_line_50 | NAYY 4x150 SE | 45 | 53 | 0.076221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_6512-7_2_4_line_51 | NAYY 4x150 SE | 47 | 48 | 0.039662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_6512-7_2_4_line_52 | NAYY 4x150 SE | 50 | 54 | 0.26866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_6512-7_2_4_line_53 | NAYY 4x150 SE | 51 | 52 | 0.0070341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_6512-7_2_4_line_54 | NAYY 4x150 SE | 51 | 53 | 0.0045512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6512-7_2_4_trafo_123 | 0.25 MVA 20/0.4 kV | 56 | 22 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39 | x40 | y40 | x41 | y41 | x42 | y42 | x43 | y43 | x44 | y44 | x45 | y45 | x46 | y46 | x47 | y47 | x48 | y48 | x49 | y49 | x50 | y50
0 | 2542326.0639 | 1197567.1076 | 2542270 | 1197537.2658 | 2542246.0795 | 1197529.6929 | 2542226.8352 | 1197529.946 | 2542200.1111 | 1197516.019 | 2542190.9346 | 1197513.8066 | 2542180.168 | 1197514.9116 | 2542156.817 | 1197518.162 | 2542144.7078 | 1197515.1332 | 2542124.1144 | 1197502.7368 | 2542097.1633 | 1197478.0173 | 2542071.4587 | 1197465.3234
1 | 2542059.5859 | 1197459.4602 | 2542071.4587 | 1197465.3234
2 | 2541874.8196 | 1197258.2294 | 2541887.6123 | 1197268.8109 | 2541909.2693 | 1197280.7848 | 2541977.5916 | 1197309.7257 | 2541993.9226 | 1197313.7137 | 2542004.4134 | 1197318.6701 | 2542050.0466 | 1197353.3024 | 2542070.7614 | 1197371.0671 | 2542103.4916 | 1197401.0224 | 2542141.6843 | 1197440.5749 | 2542163.9095 | 1197458.6365 | 2542196.8802 | 1197475.7825 | 2542265.9384 | 1197523.6862 | 2542314.7218 | 1197557.534 | 2542326.0639 | 1197567.1076
3 | 2540614.397 | 1198332.2571 | 2540595.6374 | 1198338.244 | 2540594.093 | 1198346.8088 | 2540593.9889 | 1198356.9936 | 2540615.4006 | 1198414.8141 | 2540644.6865 | 1198484.152 | 2540655.2857 | 1198502.3795 | 2540664.1563 | 1198511.4521 | 2540678.3338 | 1198519.6603 | 2540690.6179 | 1198522.7956 | 2540739.8925 | 1198527.7978 | 2540807.8652 | 1198543.8213 | 2540812.2196 | 1198543.7047
4 | 2540618.0395 | 1198331.0946 | 2540614.397 | 1198332.2571
5 | 2540826.8369 | 1198543.3133 | 2540812.2196 | 1198543.7047
6 | 2540950.7367 | 1198575.6129 | 2540928.8015 | 1198566.0356 | 2540880.5858 | 1198544.1226 | 2540867.9028 | 1198542.2139 | 2540826.8369 | 1198543.3133
7 | 2540950.7367 | 1198575.6129 | 2540953.4212 | 1198576.787 | 2540961.9018 | 1198579.6004
8 | 2541246.219 | 1198742.4374 | 2541247.5454 | 1198721.7122 | 2541244.8439 | 1198717.2585 | 2541226.7681 | 1198701.2494 | 2541172.5247 | 1198653.2227 | 2541121.9341 | 1198618.9018 | 2541082.5534 | 1198604.7267 | 2541009.8045 | 1198588.4027 | 2540979.6502 | 1198585.4881 | 2540961.9018 | 1198579.6004
9 | 2540791.7778 | 1196636.2602 | 2540791.248 | 1196631.9963 | 2540779.2818 | 1196620.5973 | 2540739.1732 | 1196591.3007 | 2540676.7585 | 1196550.4192 | 2540646.8886 | 1196541.9224 | 2540634.5867 | 1196532.8706
10 | 2540607.898 | 1196502.6208 | 2540624.542 | 1196525.4796 | 2540634.5867 | 1196532.8706
11 | 2540791.7778 | 1196636.2602 | 2540792.572 | 1196642.5893 | 2540781.1511 | 1196655.4323
12 | 2541853.8304 | 1197176.4865 | 2541839.0762 | 1197159.2759 | 2541819.4926 | 1197134.2523 | 2541802.8142 | 1197102.5299 | 2541799.996 | 1197080.678 | 2541787.8093 | 1197051.8691 | 2541763.0663 | 1197032.0879 | 2541698.7665 | 1196998.9744 | 2541646.679 | 1196970.8005 | 2541608.3864 | 1196938.8009 | 2541595.8474 | 1196931.6973 | 2541547.4462 | 1196933.9058 | 2541534.0879 | 1196932.5915 | 2541518.927 | 1196923.7793 | 2541506.0616 | 1196912.9214 | 2541498.4334 | 1196904.0354 | 2541493.7609 | 1196900.6126 | 2541469.4022 | 1196899.9844 | 2541456.9254 | 1196899.2397 | 2541441.2715 | 1196899.9715 | 2541414.3004 | 1196899.3692 | 2541363.2633 | 1196893.8228 | 2541344.4506 | 1196889.3828 | 2541324.2983 | 1196881.1762 | 2541222.7934 | 1196813.5025 | 2541190.9159 | 1196787.368 | 2541161.326 | 1196767.6816 | 2541141.1812 | 1196757.2186 | 2541073.6757 | 1196717.1838 | 2541052.7063 | 1196709.6421 | 2541001.5118 | 1196701.4765 | 2540962.1652 | 1196681.265 | 2540946.5811 | 1196681.4193 | 2540917.7992 | 1196666.5289 | 2540871.5557 | 1196645.3079 | 2540863.6524 | 1196652.6126 | 2540854.9181 | 1196649.086 | 2540830.5782 | 1196643.5463 | 2540815.9718 | 1196633.2185 | 2540791.7778 | 1196636.2602
13 | 2540607.898 | 1196502.6208 | 2540599.555 | 1196501.7033 | 2540572.7004 | 1196490.8199 | 2540561.2024 | 1196483.6636 | 2540550.7537 | 1196484.7349 | 2540535.5567 | 1196497.0157 | 2540512.2039 | 1196520.273 | 2540492.598 | 1196529.6739 | 2540474.7591 | 1196545.1274 | 2540471.2706 | 1196560.4378 | 2540458.9669 | 1196570.2551 | 2540449.2835 | 1196574.7099 | 2540426.8979 | 1196573.477 | 2540417.1009 | 1196566.5485
14 | 2540791.5912 | 1196671.1442 | 2540781.1511 | 1196655.4323 | 2540781.1511 | 1196655.4323
15 | 2541853.8304 | 1197176.4865 | 2541856.6942 | 1197187.5355
16 | 2540560.3949 | 1196738.2194 | 2540583.881 | 1196716.1727 | 2540612.8527 | 1196694.972 | 2540640.7146 | 1196684.7 | 2540668.3592 | 1196683.2131 | 2540737.42 | 1196690.0976 | 2540778.7941 | 1196694.2338 | 2540788.8013 | 1196691.7108 | 2540793.8603 | 1196681.0544 | 2540791.9466 | 1196671.6791 | 2540791.5912 | 1196671.1442
17 | 2541874.8196 | 1197258.2294 | 2541869.992 | 1197249.0044 | 2541866.5539 | 1197229.9491 | 2541860.9298 | 1197203.8776 | 2541856.6942 | 1197187.5355
18 | 2540560.3949 | 1196738.2194 | 2540568.3629 | 1196745.8778 | 2540674.1695 | 1196784.114 | 2540766.1691 | 1196818.231 | 2540823.8893 | 1196844.6404 | 2540996.1916 | 1196883.6459 | 2541005.7502 | 1196881.2278 | 2541012.335 | 1196875.4149 | 2541019.8207 | 1196862.867 | 2541029.2943 | 1196854.9243 | 2541038.3891 | 1196854.89 | 2541042.7174 | 1196858.9162 | 2541044.0498 | 1196865.0177 | 2541043.2244 | 1196873.9866 | 2541027.3301 | 1196911.2764 | 2541023.1731 | 1196921.4901 | 2541021.2339 | 1196933.3717 | 2541022.7036 | 1196942.5736 | 2541025.3329 | 1196949.6406 | 2541029.658 | 1196954.1116 | 2541034.182 | 1196956.3571 | 2541039.7013 | 1196956.8139 | 2541044.7882 | 1196955.1294 | 2541048.2694 | 1196952.4969
19 | 2540560.3949 | 1196738.2194 | 2540542.3144 | 1196753.853 | 2540519.4772 | 1196779.829 | 2540513.0863 | 1196788.242
20 | 2541048.2694 | 1196952.4969 | 2541053.3092 | 1196948.6859 | 2541058.4026 | 1196947.6683 | 2541064.2357 | 1196948.2666
21 | 2540513.0863 | 1196788.242 | 2540498.6171 | 1196781.0043
22 | 2540513.0863 | 1196788.242 | 2540505.9372 | 1196797.0184 | 2540494.177 | 1196797.8917 | 2540473.3635 | 1196788.4716 | 2540443.6693 | 1196798.2513 | 2540435.4139 | 1196816.7444 | 2540429.5406 | 1196839.6052 | 2540400.6049 | 1196842.9294 | 2540374.5716 | 1196831.0269 | 2540348.6674 | 1196832.8091 | 2540327.2496 | 1196825.43 | 2540307.5376 | 1196836.2668 | 2540327.5081 | 1196851.2647 | 2540345.9247 | 1196863.2319 | 2540364.3717 | 1196878.2452 | 2540382.612 | 1196901.5432 | 2540404.6415 | 1196915.2867 | 2540423.6282 | 1196974.4537 | 2540445.8502 | 1197008.2738 | 2540513.2132 | 1197089.6604 | 2540543.9482 | 1197098.0812 | 2540595.9671 | 1197134.2286 | 2540641.8445 | 1197168.681 | 2540706.1936 | 1197211.6885 | 2540778.1991 | 1197231.9186 | 2540854.9653 | 1197291.3918 | 2540877.8248 | 1197300.7596 | 2540896.2965 | 1197309.315 | 2540918.9656 | 1197299.4848 | 2540938.1056 | 1197287.077 | 2540953.0814 | 1197295.656 | 2540967.1997 | 1197306.8673 | 2540983.8849 | 1197311.9385 | 2541009.4666 | 1197330.8855 | 2541027.2089 | 1197354.2792 | 2541037.0501 | 1197375.1274 | 2541026.6351 | 1197384.836 | 2540997.6615 | 1197376.3953 | 2540985.9447 | 1197378.4679 | 2540979.6279 | 1197389.748 | 2540990.0121 | 1197400.0291 | 2541010.304 | 1197415.5486 | 2541026.1735 | 1197426.7316 | 2541124.7009 | 1197472.8966 | 2541156.594 | 1197510.9819 | 2541160.6114 | 1197526.7737 | 2541164.7949 | 1197543.1975 | 2541137.8247 | 1197560.9182 | 2541110.3967 | 1197569.2826 | 2541078.4899 | 1197562.1935 | 2541055.6991 | 1197566.5767
23 | 2541055.6991 | 1197566.5767 | 2541029.2993 | 1197564.1472 | 2541017.8771 | 1197569.0185 | 2541013.3842 | 1197581.4145 | 2541014.2613 | 1197600.7949 | 2541015.7825 | 1197616.7558 | 2541019.1583 | 1197636.1782 | 2541025.7116 | 1197653.4568 | 2540993.7898 | 1197761.046 | 2540986.3854 | 1197777.829 | 2540945.7441 | 1197824.6028 | 2540940.4652 | 1197837.5848 | 2540939.3631 | 1197842.4207 | 2540934.0278 | 1197865.8538 | 2540930.6192 | 1197880.8074 | 2540931.9088 | 1197901.818 | 2540988.5511 | 1197996.6794 | 2540995.1299 | 1198005.7752 | 2541006.5481 | 1198012.1326 | 2541085.5025 | 1198012.9641 | 2541099.0726 | 1198018.2221 | 2541101.8824 | 1198028.9784 | 2541100.6142 | 1198119.5547 | 2541106.9874 | 1198162.6169 | 2541119.9673 | 1198184.015
24 | 2541805.6817 | 1197880.2973 | 2541798.5905 | 1197806.8683 | 2541805.6479 | 1197794.8814 | 2541819.1452 | 1197789.5801 | 2541896.3177 | 1197774.5304 | 2541906.1471 | 1197773.4341 | 2542016.9407 | 1197761.0381 | 2542103.3833 | 1197757.0186 | 2542152.7506 | 1197756.1504 | 2542193.3301 | 1197776.6357 | 2542207.8243 | 1197785.3448 | 2542212.1091 | 1197777.9546 | 2542191.3406 | 1197744.2473 | 2542153.7754 | 1197671.7916 | 2542084.2348 | 1197631.3983 | 2542045.7116 | 1197594.5843 | 2541968.2018 | 1197558.0165 | 2541942.0518 | 1197522.528 | 2541929.6567 | 1197488.5734 | 2541917.507 | 1197462.6322 | 2541920.3016 | 1197457.0907 | 2541930.9955 | 1197453.9848 | 2541958.5955 | 1197449.0356 | 2541993.8873 | 1197425.9791 | 2542010.4619 | 1197407.2738 | 2542010.1873 | 1197396.259 | 2541992.7706 | 1197362.8534 | 2541979.7468 | 1197349.6167 | 2541919.334 | 1197306.1126 | 2541879.9279 | 1197268.908 | 2541874.8196 | 1197258.2294
25 | 2541805.6817 | 1197880.2973 | 2541796.9708 | 1197885.9411 | 2541776.2379 | 1197884.9539 | 2541746.6428 | 1197874.1143 | 2541711.4024 | 1197856.8707 | 2541705.126 | 1197852.2254
26 | 2541705.126 | 1197852.2254 | 2541704.0748 | 1197851.4473
27 | 2540370.2123 | 1198074.7946 | 2540410.1677 | 1198063.8489
28 | 2540459.7438 | 1198052.6765 | 2540441.2259 | 1198055.3406 | 2540410.1677 | 1198063.8489
29 | 2540370.2123 | 1198074.7946 | 2540343.104 | 1198072.1529 | 2540270.9951 | 1198072.6746 | 2540227.634 | 1198073.7761 | 2540211.3133 | 1198072.261 | 2540192.837 | 1198069.1888 | 2540151.8566 | 1198058.6046 | 2540121.3703 | 1198050.25 | 2540091.9225 | 1198037.6272 | 2540087.4135 | 1198044.4097 | 2540067.4368 | 1198089.092 | 2540061.2349 | 1198110.8003 | 2540058.1913 | 1198123.9496 | 2540056.9976 | 1198134.7568 | 2540057.391 | 1198145.8593 | 2540058.3991 | 1198177.2008 | 2540058.4997 | 1198180.3906 | 2540058.0612 | 1198193.5916 | 2540055.921 | 1198201.1508 | 2540048.0584 | 1198225.066 | 2540046.3132 | 1198233.2772 | 2540045.5717 | 1198245.8809 | 2540046.4931 | 1198267.0841 | 2540045.6371 | 1198281.1676 | 2540042.8226 | 1198298.1502 | 2540034.1442 | 1198332.5575 | 2540058.4681 | 1198338.6277 | 2540114.2228 | 1198354.7217 | 2540157.5487 | 1198368.5284 | 2540188.1266 | 1198379.3503 | 2540190.2591 | 1198380.1294 | 2540215.3523 | 1198389.2722 | 2540244.7968 | 1198401.0063 | 2540462.2108 | 1198494.2427 | 2540545.6957 | 1198529.2418 | 2540601.8776 | 1198551.0838 | 2540651.7227 | 1198569.8098 | 2540685.1226 | 1198582.0292 | 2540684.1699 | 1198588.8427 | 2540682.7903 | 1198598.6621
30 | 2540459.7438 | 1198052.6765 | 2540470.0189 | 1198055.1628
31 | 2540587.2598 | 1198809.7359 | 2540598.9349 | 1198792.3094 | 2540624.092 | 1198733.936 | 2540635.1151 | 1198712.9474 | 2540654.1302 | 1198694.6365 | 2540678.8497 | 1198674.8457 | 2540685.6867 | 1198663.9937 | 2540688.8595 | 1198653.7784 | 2540687.0938 | 1198620.1986 | 2540682.7903 | 1198598.6621
32 | 2540682.7903 | 1198598.6621 | 2540684.1699 | 1198588.8427 | 2540685.1226 | 1198582.0292 | 2540709.2668 | 1198590.8722 | 2540765.4582 | 1198609.9585 | 2540816.2323 | 1198626.4753 | 2540887.8994 | 1198647.3548 | 2540995.8858 | 1198677.0809 | 2541154.851 | 1198718.1237 | 2541205.4767 | 1198731.3879 | 2541222.38 | 1198735.8239 | 2541246.219 | 1198742.4374
33 | 2540682.7903 | 1198598.6621 | 2540668.5921 | 1198593.1456
34 | 2540692.6174 | 1198149.8364 | 2540662.3984 | 1198149.5808 | 2540626.114 | 1198139.3247 | 2540602.5922 | 1198128.9416 | 2540507.0458 | 1198064.1224 | 2540470.0189 | 1198055.1628
35 | 2540591.757 | 1198830.0474 | 2540588.7967 | 1198820.3045 | 2540587.2598 | 1198809.7359
36 | 2540587.2598 | 1198809.7359 | 2540573.7486 | 1198827.0694 | 2540558.7483 | 1198837.7264
37 | 2540647.5253 | 1198584.9604 | 2540668.5921 | 1198593.1456
38 | 2540788.5568 | 1198099.3872 | 2540734.7437 | 1198103.2125
39 | 2541123.3415 | 1198196.1083 | 2541115.42 | 1198198.2989 | 2541085.7522 | 1198197.8026 | 2541060.7964 | 1198191.7121 | 2541008.8229 | 1198185.8891 | 2540974.5361 | 1198178.8463 | 2540954.62 | 1198173.3512 | 2540920.7675 | 1198158.6667 | 2540862.7938 | 1198126.0998 | 2540826.054 | 1198105.9968 | 2540798.2962 | 1198097.734 | 2540788.5568 | 1198099.3872
40 | 2540788.5568 | 1198099.3872 | 2540783.1461 | 1198108.2349 | 2540777.7379 | 1198134.9708 | 2540767.0096 | 1198144.3939 | 2540767.0096 | 1198144.3939
41 | 2541123.3415 | 1198196.1083 | 2541121.2863 | 1198186.1895 | 2541119.9673 | 1198184.015
42 | 2541123.3415 | 1198196.1083 | 2541138.7346 | 1198199.3917 | 2541170.0405 | 1198208.47
43 | 2540739.5061 | 1198148.997 | 2540767.0096 | 1198144.3939
44 | 2540692.6174 | 1198149.8364 | 2540699.943 | 1198149.8984
45 | 2540591.757 | 1198830.0474 | 2540600.1649 | 1198833.9882 | 2540614.6941 | 1198836.2893
46 | 2540558.7483 | 1198837.7264 | 2540540.8949 | 1198850.4104 | 2540513.4238 | 1198860.6569 | 2540484.7433 | 1198872.5499 | 2540421.8232 | 1198912.2678 | 2540409.4276 | 1198939.0628 | 2540392.5717 | 1198983.0444
47 | 2541357.8353 | 1197895.7021 | 2541331.5387 | 1197878.8285 | 2541321.0789 | 1197874.6512 | 2541303.8913 | 1197870.7507
48 | 2541302.5168 | 1197836.5561 | 2541290.2938 | 1197839.7337 | 2541285.6231 | 1197842.6258 | 2541282.1966 | 1197847.34 | 2541281.0327 | 1197853.6663 | 2541281.5042 | 1197859.7763 | 2541285.0308 | 1197865.2337 | 2541290.9816 | 1197867.8211 | 2541303.8913 | 1197870.7507
49 | 2541425.6423 | 1198288.1753 | 2541359.1793 | 1198216.6866 | 2541345.0191 | 1198186.2081 | 2541337.0853 | 1198141.4823 | 2541332.1774 | 1198099.3394 | 2541333.6319 | 1198056.7559 | 2541330.6398 | 1197980.9857 | 2541354.3871 | 1197919.8945 | 2541357.8353 | 1197895.7021
50 | 2541357.8353 | 1197895.7021 | 2541359.2962 | 1197885.4929 | 2541377.9169 | 1197855.2257 | 2541380.9912 | 1197841.0205 | 2541380.5993 | 1197825.1707
51 | 2540739.5061 | 1198148.997 | 2540732.4764 | 1198150.1735 | 2540699.943 | 1198149.8984
52 | 2541425.6423 | 1198288.1753 | 2541383.7315 | 1198280.9383 | 2541348.9294 | 1198270.1852 | 2541307.6754 | 1198250.0013 | 2541261.9802 | 1198235.1312 | 2541170.0405 | 1198208.47
53 | 2541380.3103 | 1197813.5891 | 2541380.4858 | 1197820.621
54 | 2541380.5993 | 1197825.1707 | 2541380.4858 | 1197820.621

## bus_geodata
| x | y | coords
0 | 2542071.4587 | 1197465.3234
1 | 2542326.0639 | 1197567.1076
2 | 2542059.5859 | 1197459.4602
3 | 2540614.397 | 1198332.2571
4 | 2540812.2196 | 1198543.7047
5 | 2540618.0395 | 1198331.0946
6 | 2540826.8369 | 1198543.3133
7 | 2540950.7367 | 1198575.6129
8 | 2540961.9018 | 1198579.6004
9 | 2540634.5867 | 1196532.8706
10 | 2540791.7778 | 1196636.2602
11 | 2540607.898 | 1196502.6208
12 | 2540781.1511 | 1196655.4323
13 | 2541853.8304 | 1197176.4865
14 | 2540417.1009 | 1196566.5485
15 | 2540791.5912 | 1196671.1442
16 | 2541856.6942 | 1197187.5355
17 | 2540560.3949 | 1196738.2194
18 | 2541048.2694 | 1196952.4969
19 | 2540513.0863 | 1196788.242
20 | 2541064.2357 | 1196948.2666
21 | 2540498.6171 | 1196781.0043
22 | 2541055.6991 | 1197566.5767
23 | 2541874.8196 | 1197258.2294
24 | 2541805.6817 | 1197880.2973
25 | 2541705.126 | 1197852.2254
26 | 2540410.1677 | 1198063.8489
27 | 2540370.2123 | 1198074.7946
28 | 2540459.7438 | 1198052.6765
29 | 2540682.7903 | 1198598.6621
30 | 2540470.0189 | 1198055.1628
31 | 2540587.2598 | 1198809.7359
32 | 2541246.219 | 1198742.4374
33 | 2540668.5921 | 1198593.1456
34 | 2540788.5568 | 1198099.3872
35 | 2540734.7437 | 1198103.2125
36 | 2541123.3415 | 1198196.1083
37 | 2540767.0096 | 1198144.3939
38 | 2540692.6174 | 1198149.8364
39 | 2540614.6941 | 1198836.2893
40 | 2540591.757 | 1198830.0474
41 | 2540647.5253 | 1198584.9604
42 | 2540558.7483 | 1198837.7264
43 | 2540392.5717 | 1198983.0444
44 | 2541303.8913 | 1197870.7507
45 | 2541357.8353 | 1197895.7021
46 | 2541302.5168 | 1197836.5561
47 | 2540699.943 | 1198149.8984
48 | 2540739.5061 | 1198148.997
49 | 2541119.9673 | 1198184.015
50 | 2541170.0405 | 1198208.47
51 | 2541380.4858 | 1197820.621
52 | 2541380.3103 | 1197813.5891
53 | 2541380.5993 | 1197825.1707
54 | 2541425.6423 | 1198288.1753
55 | 2541704.0748 | 1197851.4473
56 | 2541055.6991 | 1197566.5767

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1