## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6729-19_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6729-19_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6729-19_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6729-19_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6729-19_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6729-19_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6729-19_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_6729-19_0_3_node_13 | 0.4 | n |  | TRUE
8 | bus_LV_6729-19_0_3_node_28 | 0.4 | n |  | TRUE
9 | bus_LV_6729-19_0_3_node_97 | 0.4 | n |  | TRUE
10 | bus_LV_6729-19_0_3_node_14 | 0.4 | n |  | TRUE
11 | bus_LV_6729-19_0_3_node_29 | 0.4 | n |  | TRUE
12 | bus_LV_6729-19_0_3_node_18 | 0.4 | n |  | TRUE
13 | bus_LV_6729-19_0_3_node_96 | 0.4 | n |  | TRUE
14 | bus_LV_6729-19_0_3_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_6729-19_0_3_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_6729-19_0_3_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_6729-19_0_3_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_6729-19_0_3_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_6729-19_0_3_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_6729-19_0_3_node_20 | 0.4 | n |  | TRUE
21 | bus_LV_6729-19_0_3_node_37 | 0.4 | n |  | TRUE
22 | bus_LV_6729-19_0_3_node_34 | 0.4 | n |  | TRUE
23 | bus_LV_6729-19_0_3_node_87 | 0.4 | n |  | TRUE
24 | bus_LV_6729-19_0_3_node_32 | 0.4 | n |  | TRUE
25 | bus_LV_6729-19_0_3_node_48 | 0.4 | n |  | TRUE
26 | bus_LV_6729-19_0_3_node_54 | 0.4 | n |  | TRUE
27 | bus_LV_6729-19_0_3_node_33 | 0.4 | n |  | TRUE
28 | bus_LV_6729-19_0_3_node_45 | 0.4 | n |  | TRUE
29 | bus_LV_6729-19_0_3_node_15 | 0.4 | n |  | TRUE
30 | bus_LV_6729-19_0_3_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_6729-19_0_3_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_6729-19_0_3_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_6729-19_0_3_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_6729-19_0_3_node_83 | 0.4 | n |  | TRUE
35 | bus_LV_6729-19_0_3_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_6729-19_0_3_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_6729-19_0_3_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_6729-19_0_3_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_6729-19_0_3_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_6729-19_0_3_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_6729-19_0_3_node_98 | 0.4 | n |  | TRUE
42 | bus_LV_6729-19_0_3_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_6729-19_0_3_node_84 | 0.4 | n |  | TRUE
44 | bus_LV_6729-19_0_3_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_6729-19_0_3_node_36 | 0.4 | n |  | TRUE
46 | bus_LV_6729-19_0_3_node_86 | 0.4 | n |  | TRUE
47 | bus_LV_6729-19_0_3_node_49 | 0.4 | n |  | TRUE
48 | bus_LV_6729-19_0_3_node_47 | 0.4 | n |  | TRUE
49 | bus_LV_6729-19_0_3_node_53 | 0.4 | n |  | TRUE
50 | bus_LV_6729-19_0_3_node_38 | 0.4 | n |  | TRUE
51 | bus_LV_6729-19_0_3_node_39 | 0.4 | n |  | TRUE
52 | bus_LV_6729-19_0_3_node_40 | 0.4 | n |  | TRUE
53 | bus_LV_6729-19_0_3_node_46 | 0.4 | n |  | TRUE
54 | bus_LV_6729-19_0_3_node_41 | 0.4 | n |  | TRUE
55 | bus_LV_6729-19_0_3_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_6729-19_0_3_node_44 | 0.4 | n |  | TRUE
57 | bus_LV_6729-19_0_3_node_58 | 0.4 | n |  | TRUE
58 | bus_LV_6729-19_0_3_node_59 | 0.4 | n |  | TRUE
59 | bus_LV_6729-19_0_3_node_57 | 0.4 | n |  | TRUE
60 | bus_LV_6729-19_0_3_node_50 | 0.4 | n |  | TRUE
61 | bus_LV_6729-19_0_3_node_51 | 0.4 | n |  | TRUE
62 | bus_LV_6729-19_0_3_node_52 | 0.4 | n |  | TRUE
63 | bus_LV_6729-19_0_3_node_100 | 0.4 | n |  | TRUE
64 | bus_LV_6729-19_0_3_node_99 | 0.4 | n |  | TRUE
65 | bus_LV_6729-19_0_3_node_101 | 0.4 | n |  | TRUE
66 | bus_LV_6729-19_0_3_node_55 | 0.4 | n |  | TRUE
67 | bus_LV_6729-19_0_3_node_56 | 0.4 | n |  | TRUE
68 | bus_LV_6729-19_0_3_node_62 | 0.4 | n |  | TRUE
69 | bus_LV_6729-19_0_3_node_64 | 0.4 | n |  | TRUE
70 | bus_LV_6729-19_0_3_node_60 | 0.4 | n |  | TRUE
71 | bus_LV_6729-19_0_3_node_61 | 0.4 | n |  | TRUE
72 | bus_LV_6729-19_0_3_node_63 | 0.4 | n |  | TRUE
73 | bus_LV_6729-19_0_3_node_65 | 0.4 | n |  | TRUE
74 | bus_LV_6729-19_0_3_node_82 | 0.4 | n |  | TRUE
75 | bus_LV_6729-19_0_3_node_81 | 0.4 | n |  | TRUE
76 | bus_LV_6729-19_0_3_node_66 | 0.4 | n |  | TRUE
77 | bus_LV_6729-19_0_3_node_67 | 0.4 | n |  | TRUE
78 | bus_LV_6729-19_0_3_node_68 | 0.4 | n |  | TRUE
79 | bus_LV_6729-19_0_3_node_69 | 0.4 | n |  | TRUE
80 | bus_LV_6729-19_0_3_node_70 | 0.4 | n |  | TRUE
81 | bus_LV_6729-19_0_3_node_80 | 0.4 | n |  | TRUE
82 | bus_LV_6729-19_0_3_node_79 | 0.4 | n |  | TRUE
83 | bus_LV_6729-19_0_3_node_71 | 0.4 | n |  | TRUE
84 | bus_LV_6729-19_0_3_node_72 | 0.4 | n |  | TRUE
85 | bus_LV_6729-19_0_3_node_73 | 0.4 | n |  | TRUE
86 | bus_LV_6729-19_0_3_node_74 | 0.4 | n |  | TRUE
87 | bus_LV_6729-19_0_3_node_75 | 0.4 | n |  | TRUE
88 | bus_LV_6729-19_0_3_node_76 | 0.4 | n |  | TRUE
89 | bus_LV_6729-19_0_3_node_78 | 0.4 | n |  | TRUE
90 | bus_LV_6729-19_0_3_node_77 | 0.4 | n |  | TRUE
91 | bus_LV_6729-19_0_3_node_85 | 0.4 | n |  | TRUE
92 | bus_LV_6729-19_0_3_node_89 | 0.4 | n |  | TRUE
93 | bus_LV_6729-19_0_3_node_90 | 0.4 | n |  | TRUE
94 | bus_LV_6729-19_0_3_node_92 | 0.4 | n |  | TRUE
95 | bus_LV_6729-19_0_3_node_93 | 0.4 | n |  | TRUE
96 | bus_LV_6729-19_0_3_node_94 | 0.4 | n |  | TRUE
97 | bus_LV_6729-19_0_3_node_95 | 0.4 | n |  | TRUE
98 | bus_MV_330_1_node_29 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6729-19_0_3_load_0 | 0 | 0.0011031 | 0.00027645 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6729-19_0_3_load_1 | 1 | 0.0020224 | 0.00050686 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6729-19_0_3_load_3 | 3 | 0.001297 | 0.00032506 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6729-19_0_3_load_4 | 4 | 0.0014745 | 0.00036955 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6729-19_0_3_load_5 | 5 | 0.0014739 | 0.00036941 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6729-19_0_3_load_13 | 7 | 0.00087975 | 0.00022049 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6729-19_0_3_load_97 | 9 | 0.0006006 | 0.00015052 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6729-19_0_3_load_14 | 10 | 0.0055453 | 0.0013898 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6729-19_0_3_load_18 | 12 | 0.0016752 | 0.00041984 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6729-19_0_3_load_96 | 13 | 0.0020172 | 0.00050556 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6729-19_0_3_load_7 | 14 | 0.0032177 | 0.00080643 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6729-19_0_3_load_8 | 15 | 0.0020883 | 0.00052337 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6729-19_0_3_load_10 | 17 | 0.0073973 | 0.0018539 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6729-19_0_3_load_12 | 19 | 0.0015947 | 0.00039967 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6729-19_0_3_load_34 | 22 | 0.003311 | 0.0008298 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6729-19_0_3_load_87 | 23 | 0.0019324 | 0.00048429 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6729-19_0_3_load_32 | 24 | 0.000947 | 0.00023734 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6729-19_0_3_load_54 | 26 | 0.001414 | 0.00035438 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6729-19_0_3_load_33 | 27 | 0.0019099 | 0.00047868 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6729-19_0_3_load_15 | 29 | 0.0013384 | 0.00033543 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6729-19_0_3_load_16 | 30 | 0.0010143 | 0.00025421 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6729-19_0_3_load_17 | 31 | 0.00097382 | 0.00024406 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6729-19_0_3_load_19 | 32 | 0.0028798 | 0.00072174 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6729-19_0_3_load_27 | 33 | 0.0052902 | 0.0013259 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6729-19_0_3_load_83 | 34 | 0.002144 | 0.00053733 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6729-19_0_3_load_21 | 35 | 0.0023785 | 0.00059612 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6729-19_0_3_load_22 | 36 | 0.0033878 | 0.00084906 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6729-19_0_3_load_24 | 38 | 0.002623 | 0.0006574 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6729-19_0_3_load_25 | 39 | 0.0013792 | 0.00034567 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6729-19_0_3_load_26 | 40 | 0.0011747 | 0.00029441 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6729-19_0_3_load_98 | 41 | 0.0027601 | 0.00069175 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6729-19_0_3_load_31 | 42 | 0.0011187 | 0.00028038 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6729-19_0_3_load_84 | 43 | 0.0046737 | 0.0011713 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6729-19_0_3_load_35 | 44 | 0.0025198 | 0.00063152 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6729-19_0_3_load_36 | 45 | 0.002389 | 0.00059875 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6729-19_0_3_load_86 | 46 | 0.0064994 | 0.0016289 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6729-19_0_3_load_49 | 47 | 0.014904 | 0.0037352 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6729-19_0_3_load_47 | 48 | 0.0018502 | 0.00046371 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6729-19_0_3_load_53 | 49 | 0.0033749 | 0.00084584 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6729-19_0_3_load_38 | 50 | 0.0031727 | 0.00079514 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6729-19_0_3_load_39 | 51 | 0.0048306 | 0.0012107 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6729-19_0_3_load_40 | 52 | 0.0044071 | 0.0011045 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6729-19_0_3_load_46 | 53 | 0.0063968 | 0.0016032 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6729-19_0_3_load_41 | 54 | 0.00011864 | 2.9734e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6729-19_0_3_load_44 | 56 | 0.00089387 | 0.00022403 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6729-19_0_3_load_59 | 58 | 0.00077735 | 0.00019482 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6729-19_0_3_load_57 | 59 | 0.00034769 | 8.714e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6729-19_0_3_load_99 | 64 | 0.0019138 | 0.00047964 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6729-19_0_3_load_101 | 65 | 0.0025488 | 0.00063879 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6729-19_0_3_load_55 | 66 | 0.001883 | 0.00047193 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6729-19_0_3_load_56 | 67 | 0.0012303 | 0.00030834 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6729-19_0_3_load_64 | 69 | 0.0024798 | 0.00062149 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6729-19_0_3_load_60 | 70 | 0.0025428 | 0.00063728 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6729-19_0_3_load_61 | 71 | 0.0033557 | 0.00084103 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6729-19_0_3_load_63 | 72 | 0.0026794 | 0.00067152 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6729-19_0_3_load_65 | 73 | 0.002504 | 0.00062756 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6729-19_0_3_load_82 | 74 | 0.0022222 | 0.00055693 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6729-19_0_3_load_81 | 75 | 0.0031834 | 0.00079782 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6729-19_0_3_load_66 | 76 | 0.002866 | 0.00071828 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6729-19_0_3_load_67 | 77 | 0.0029179 | 0.0007313 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6729-19_0_3_load_68 | 78 | 0.0028675 | 0.00071866 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6729-19_0_3_load_69 | 79 | 0.002866 | 0.00071828 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6729-19_0_3_load_70 | 80 | 0.0036737 | 0.00092072 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6729-19_0_3_load_80 | 81 | 0.0036398 | 0.00091221 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6729-19_0_3_load_71 | 83 | 0.0018457 | 0.00046258 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6729-19_0_3_load_72 | 84 | 0.0024635 | 0.00061742 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6729-19_0_3_load_73 | 85 | 0.0018803 | 0.00047126 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6729-19_0_3_load_74 | 86 | 0.0020393 | 0.00051109 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6729-19_0_3_load_75 | 87 | 0.0022547 | 0.00056508 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6729-19_0_3_load_76 | 88 | 0.0039392 | 0.00098726 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6729-19_0_3_load_78 | 89 | 0.00677 | 0.0016967 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_6729-19_0_3_load_77 | 90 | 0.0030011 | 0.00075214 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_6729-19_0_3_load_85 | 91 | 0.0021582 | 0.00054088 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_6729-19_0_3_load_90 | 93 | 0.0022831 | 0.00057221 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_6729-19_0_3_load_92 | 94 | 0.0019323 | 0.00048428 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_6729-19_0_3_load_93 | 95 | 0.0022994 | 0.00057629 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_6729-19_0_3_load_94 | 96 | 0.0023003 | 0.0005765 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_6729-19_0_3_load_95 | 97 | 0.0022978 | 0.00057589 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 27 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6729-19_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0030049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_6729-19_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.01635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_6729-19_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.017564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_6729-19_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.04162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_6729-19_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.020111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_6729-19_0_3_line_5 | NAYY 4x150 SE | 2 | 6 | 0.055831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_6729-19_0_3_line_6 | NAYY 4x150 SE | 3 | 7 | 0.0093283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_6729-19_0_3_line_7 | NAYY 4x150 SE | 4 | 8 | 0.010443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_6729-19_0_3_line_8 | NAYY 4x150 SE | 6 | 9 | 0.010018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_6729-19_0_3_line_9 | NAYY 4x150 SE | 7 | 10 | 0.017647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_6729-19_0_3_line_10 | NAYY 4x150 SE | 8 | 11 | 0.038045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_6729-19_0_3_line_11 | NAYY 4x150 SE | 8 | 12 | 0.011469 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_6729-19_0_3_line_12 | NAYY 4x150 SE | 9 | 13 | 0.0075995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_6729-19_0_3_line_13 | NAYY 4x150 SE | 10 | 20 | 0.023154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_6729-19_0_3_line_14 | NAYY 4x150 SE | 11 | 42 | 0.00014561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_6729-19_0_3_line_15 | NAYY 4x150 SE | 12 | 30 | 0.0050924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_6729-19_0_3_line_16 | NAYY 4x150 SE | 13 | 97 | 0.012935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_6729-19_0_3_line_17 | NAYY 4x150 SE | 14 | 15 | 0.041887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_6729-19_0_3_line_18 | NAYY 4x150 SE | 14 | 16 | 0.026603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
19 | LV_6729-19_0_3_line_19 | NAYY 4x150 SE | 15 | 17 | 0.021635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
20 | LV_6729-19_0_3_line_20 | NAYY 4x150 SE | 16 | 18 | 0.067055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_6729-19_0_3_line_21 | NAYY 4x150 SE | 16 | 19 | 0.023788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_6729-19_0_3_line_22 | NAYY 4x150 SE | 17 | 20 | 0.0064006 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_6729-19_0_3_line_23 | NAYY 4x150 SE | 18 | 21 | 0.056922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
24 | LV_6729-19_0_3_line_24 | NAYY 4x150 SE | 18 | 22 | 0.019275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
25 | LV_6729-19_0_3_line_25 | NAYY 4x150 SE | 19 | 23 | 0.048576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_6729-19_0_3_line_26 | NAYY 4x150 SE | 20 | 24 | 0.020527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_6729-19_0_3_line_27 | NAYY 4x150 SE | 21 | 25 | 0.013919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_6729-19_0_3_line_28 | NAYY 4x150 SE | 21 | 26 | 0.016625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_6729-19_0_3_line_29 | NAYY 4x150 SE | 22 | 27 | 0.047076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
30 | LV_6729-19_0_3_line_30 | NAYY 4x150 SE | 23 | 28 | 0.09782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_6729-19_0_3_line_31 | NAYY 4x150 SE | 24 | 34 | 0.0035901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_6729-19_0_3_line_32 | NAYY 4x150 SE | 25 | 47 | 0.079971 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_6729-19_0_3_line_33 | NAYY 4x150 SE | 25 | 48 | 0.0089377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_6729-19_0_3_line_34 | NAYY 4x150 SE | 26 | 49 | 0.022972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_6729-19_0_3_line_35 | NAYY 4x150 SE | 27 | 44 | 0.026744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_6729-19_0_3_line_36 | NAYY 4x150 SE | 28 | 55 | 0.041137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_6729-19_0_3_line_37 | NAYY 4x150 SE | 29 | 30 | 0.021204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_6729-19_0_3_line_38 | NAYY 4x150 SE | 29 | 31 | 0.001783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_6729-19_0_3_line_39 | NAYY 4x150 SE | 31 | 32 | 0.012413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_6729-19_0_3_line_40 | NAYY 4x150 SE | 32 | 33 | 0.0022807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_6729-19_0_3_line_41 | NAYY 4x150 SE | 34 | 43 | 0.025484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_6729-19_0_3_line_42 | NAYY 4x150 SE | 35 | 36 | 0.023232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_6729-19_0_3_line_43 | NAYY 4x150 SE | 35 | 37 | 0.015639 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_6729-19_0_3_line_44 | NAYY 4x150 SE | 36 | 38 | 0.0034265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_6729-19_0_3_line_45 | NAYY 4x150 SE | 37 | 39 | 0.014196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_6729-19_0_3_line_46 | NAYY 4x150 SE | 37 | 40 | 0.032652 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_6729-19_0_3_line_47 | NAYY 4x150 SE | 38 | 41 | 0.015351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_6729-19_0_3_line_48 | NAYY 4x150 SE | 39 | 42 | 0.026349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_6729-19_0_3_line_49 | NAYY 4x150 SE | 43 | 91 | 0.044532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_6729-19_0_3_line_50 | NAYY 4x150 SE | 44 | 45 | 0.0269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_6729-19_0_3_line_51 | NAYY 4x150 SE | 45 | 46 | 0.0095188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_6729-19_0_3_line_52 | NAYY 4x150 SE | 47 | 60 | 0.036507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_6729-19_0_3_line_53 | NAYY 4x150 SE | 48 | 53 | 0.016854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_6729-19_0_3_line_54 | NAYY 4x150 SE | 49 | 66 | 0.02225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_6729-19_0_3_line_55 | NAYY 4x150 SE | 50 | 51 | 0.0042527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_6729-19_0_3_line_56 | NAYY 4x150 SE | 51 | 52 | 0.019717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_6729-19_0_3_line_57 | NAYY 4x150 SE | 52 | 53 | 0.0076251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_6729-19_0_3_line_58 | NAYY 4x150 SE | 54 | 55 | 0.0042353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_6729-19_0_3_line_59 | NAYY 4x150 SE | 56 | 57 | 0.052802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_6729-19_0_3_line_60 | NAYY 4x150 SE | 57 | 58 | 0.053765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_6729-19_0_3_line_61 | NAYY 4x150 SE | 57 | 59 | 0.062207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_6729-19_0_3_line_62 | NAYY 4x150 SE | 59 | 61 | 0.048123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_6729-19_0_3_line_63 | NAYY 4x150 SE | 60 | 61 | 0.072749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_6729-19_0_3_line_64 | NAYY 4x150 SE | 60 | 62 | 0.025565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_6729-19_0_3_line_65 | NAYY 4x150 SE | 62 | 63 | 0.025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_6729-19_0_3_line_66 | NAYY 4x150 SE | 62 | 64 | 0.020472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_6729-19_0_3_line_67 | NAYY 4x150 SE | 63 | 65 | 0.017492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_6729-19_0_3_line_68 | NAYY 4x150 SE | 66 | 67 | 0.0018497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_6729-19_0_3_line_69 | NAYY 4x150 SE | 67 | 68 | 0.011698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_6729-19_0_3_line_70 | NAYY 4x150 SE | 68 | 69 | 0.0098801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_6729-19_0_3_line_71 | NAYY 4x150 SE | 68 | 70 | 0.031904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_6729-19_0_3_line_72 | NAYY 4x150 SE | 69 | 74 | 0.007866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_6729-19_0_3_line_73 | NAYY 4x150 SE | 70 | 71 | 0.01451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_6729-19_0_3_line_74 | NAYY 4x150 SE | 71 | 72 | 0.0098396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_6729-19_0_3_line_75 | NAYY 4x150 SE | 72 | 73 | 0.045793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_6729-19_0_3_line_76 | NAYY 4x150 SE | 74 | 75 | 0.01595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_6729-19_0_3_line_77 | NAYY 4x150 SE | 75 | 87 | 0.0074061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_6729-19_0_3_line_78 | NAYY 4x150 SE | 76 | 77 | 0.011365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_6729-19_0_3_line_79 | NAYY 4x150 SE | 76 | 78 | 0.014103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_6729-19_0_3_line_80 | NAYY 4x150 SE | 77 | 79 | 0.01054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_6729-19_0_3_line_81 | NAYY 4x150 SE | 78 | 80 | 0.0035167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_6729-19_0_3_line_82 | NAYY 4x150 SE | 80 | 81 | 0.0041792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_6729-19_0_3_line_83 | NAYY 4x150 SE | 81 | 82 | 0.017559 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_6729-19_0_3_line_84 | NAYY 4x150 SE | 82 | 90 | 0.020374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_6729-19_0_3_line_85 | NAYY 4x150 SE | 83 | 84 | 0.0061753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_6729-19_0_3_line_86 | NAYY 4x150 SE | 83 | 85 | 0.0087381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_6729-19_0_3_line_87 | NAYY 4x150 SE | 84 | 86 | 0.0025952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_6729-19_0_3_line_88 | NAYY 4x150 SE | 85 | 87 | 0.010639 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_6729-19_0_3_line_89 | NAYY 4x150 SE | 86 | 88 | 0.01778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_6729-19_0_3_line_90 | NAYY 4x150 SE | 88 | 89 | 0.011451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_6729-19_0_3_line_91 | NAYY 4x150 SE | 89 | 90 | 0.013737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_6729-19_0_3_line_92 | NAYY 4x150 SE | 91 | 92 | 0.035303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_6729-19_0_3_line_93 | NAYY 4x150 SE | 92 | 93 | 0.021949 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_6729-19_0_3_line_94 | NAYY 4x150 SE | 94 | 95 | 0.0005313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_6729-19_0_3_line_95 | NAYY 4x150 SE | 95 | 96 | 0.018601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_6729-19_0_3_line_96 | NAYY 4x150 SE | 96 | 97 | 0.018447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6729-19_0_3_trafo_33 | 0.25 MVA 20/0.4 kV | 98 | 27 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2584756.0373 | 1242950.9975 | 2584756.9819 | 1242948.145
1 | 2584750.8974 | 1242966.5183 | 2584756.0373 | 1242950.9975
2 | 2584756.9819 | 1242948.145 | 2584762.5036 | 1242931.4716
3 | 2584750.8974 | 1242966.5183 | 2584712.9522 | 1242949.4182
4 | 2584750.8974 | 1242966.5183 | 2584744.5794 | 1242985.6112
5 | 2584802.7156 | 1242987.6758 | 2584750.8974 | 1242966.5183
6 | 2584762.5036 | 1242931.4716 | 2584765.4361 | 1242922.6162
7 | 2584703.4315 | 1242945.1277 | 2584712.9522 | 1242949.4182
8 | 2584802.7156 | 1242987.6758 | 2584805.9506 | 1242978.1941
9 | 2584770.9838 | 1242905.8642 | 2584765.4361 | 1242922.6162
10 | 2584703.4315 | 1242945.1277 | 2584668.4219 | 1242929.9979
11 | 2584703.4315 | 1242945.1277 | 2584706.5623 | 1242934.0941
12 | 2584808.4045 | 1242971.0018 | 2584805.9506 | 1242978.1941
13 | 2584778.2627 | 1242883.8845 | 2584770.9838 | 1242905.8642
14 | 2584668.2882 | 1242929.9402 | 2584668.4219 | 1242929.9979
15 | 2584706.5623 | 1242934.0941 | 2584707.9524 | 1242929.1951
16 | 2584812.5814 | 1242958.7592 | 2584808.4045 | 1242971.0018
17 | 2584752.4074 | 1242873.0457 | 2584731.8972 | 1242864.4476 | 2584713.5133 | 1242857.5165
18 | 2584688.5932 | 1242848.2051 | 2584701.1742 | 1242852.8643 | 2584713.5133 | 1242857.5165
19 | 2584772.3597 | 1242881.4099 | 2584752.4074 | 1242873.0457
20 | 2584688.5932 | 1242848.2051 | 2584696.7958 | 1242828.6715 | 2584703.9617 | 1242811.5199 | 2584714.5003 | 1242786.3323
21 | 2584688.5932 | 1242848.2051 | 2584667.2903 | 1242837.6202
22 | 2584778.2627 | 1242883.8845 | 2584772.3597 | 1242881.4099
23 | 2584714.5003 | 1242786.3323 | 2584717.9242 | 1242777.5846 | 2584733.733 | 1242732.7488
24 | 2584714.5003 | 1242786.3323 | 2584733.5789 | 1242789.0761
25 | 2584623.7887 | 1242816.005 | 2584628.6259 | 1242818.4089 | 2584667.2903 | 1242837.6202
26 | 2584778.2627 | 1242883.8845 | 2584797.1934 | 1242891.8207
27 | 2584739.0282 | 1242719.8715 | 2584733.733 | 1242732.7488
28 | 2584733.733 | 1242732.7488 | 2584750.2948 | 1242734.2016
29 | 2584780.1751 | 1242795.7774 | 2584733.5789 | 1242789.0761
30 | 2584536.2367 | 1242772.3769 | 2584608.3063 | 1242808.3111 | 2584623.7887 | 1242816.005
31 | 2584800.5043 | 1242893.2087 | 2584797.1934 | 1242891.8207
32 | 2584739.0282 | 1242719.8715 | 2584664.126 | 1242691.8528
33 | 2584739.0282 | 1242719.8715 | 2584742.2459 | 1242711.5331
34 | 2584773.179 | 1242736.2089 | 2584750.2948 | 1242734.2016
35 | 2584780.1751 | 1242795.7774 | 2584806.6469 | 1242799.5845
36 | 2584500.9528 | 1242751.2116 | 2584507.6928 | 1242756.2416 | 2584528.2226 | 1242768.5177 | 2584536.2367 | 1242772.3769
37 | 2584713.7406 | 1242908.7961 | 2584707.9524 | 1242929.1951
38 | 2584714.2273 | 1242907.0809 | 2584713.7406 | 1242908.7961
39 | 2584714.2273 | 1242907.0809 | 2584717.6156 | 1242895.1394
40 | 2584718.2382 | 1242892.9454 | 2584717.6156 | 1242895.1394
41 | 2584800.5043 | 1242893.2087 | 2584824.0067 | 1242903.0615
42 | 2584636.2462 | 1242899.1064 | 2584643.9406 | 1242877.1858
43 | 2584631.0665 | 1242913.8627 | 2584636.2462 | 1242899.1064
44 | 2584645.0754 | 1242873.9527 | 2584643.9406 | 1242877.1858
45 | 2584631.0665 | 1242913.8627 | 2584644.0992 | 1242919.492
46 | 2584631.0665 | 1242913.8627 | 2584601.0486 | 1242901.0147
47 | 2584650.1598 | 1242859.4676 | 2584645.0754 | 1242873.9527
48 | 2584668.2882 | 1242929.9402 | 2584644.0992 | 1242919.492
49 | 2584824.0067 | 1242903.0615 | 2584827.0262 | 1242904.3274 | 2584860.3733 | 1242919.6402 | 2584864.362 | 1242921.8571
50 | 2584806.6469 | 1242799.5845 | 2584833.273 | 1242803.4138
51 | 2584842.6949 | 1242804.7688 | 2584833.273 | 1242803.4138
52 | 2584629.9331 | 1242679.0622 | 2584664.126 | 1242691.8528
53 | 2584748.3139 | 1242695.8091 | 2584742.2459 | 1242711.5331
54 | 2584773.179 | 1242736.2089 | 2584795.3444 | 1242738.1531
55 | 2584759.6889 | 1242666.333 | 2584758.1578 | 1242670.3005
56 | 2584751.0591 | 1242688.6953 | 2584758.1578 | 1242670.3005
57 | 2584748.3139 | 1242695.8091 | 2584751.0591 | 1242688.6953
58 | 2584500.9528 | 1242751.2116 | 2584497.5585 | 1242748.6788
59 | 2584486.6395 | 1242717.3835 | 2584471.8904 | 1242710.4624 | 2584465.6018 | 1242707.5104 | 2584460.924 | 1242704.9322 | 2584439.7229 | 1242693.2187
60 | 2584486.6395 | 1242717.3835 | 2584492.1836 | 1242716.0236 | 2584495.6828 | 1242713.057 | 2584498.6509 | 1242709.3358 | 2584511.3281 | 1242672.7239
61 | 2584486.6395 | 1242717.3835 | 2584489.9238 | 1242718.9203 | 2584493.1475 | 1242720.435 | 2584509.5682 | 1242724.9614 | 2584515.8975 | 1242726.1455 | 2584521.7315 | 1242725.8078 | 2584528.2106 | 1242723.6116 | 2584533.7687 | 1242718.9386 | 2584538.873 | 1242711.2648 | 2584539.8058 | 1242709.0704
62 | 2584561.6806 | 1242666.7993 | 2584560.0657 | 1242667.782 | 2584554.4311 | 1242675.0124 | 2584547.5643 | 1242690.8181 | 2584539.8058 | 1242709.0704
63 | 2584629.9331 | 1242679.0622 | 2584624.9959 | 1242681.321 | 2584581.6343 | 1242663.9231 | 2584572.6757 | 1242663.1016 | 2584565.6348 | 1242664.3875 | 2584561.6806 | 1242666.7993
64 | 2584638.6229 | 1242655.0134 | 2584629.9331 | 1242679.0622
65 | 2584638.6229 | 1242655.0134 | 2584647.7758 | 1242631.7416
66 | 2584638.6229 | 1242655.0134 | 2584619.4625 | 1242647.8037
67 | 2584647.7758 | 1242631.7416 | 2584664.1082 | 1242638.0041
68 | 2584797.187 | 1242738.3148 | 2584795.3444 | 1242738.1531
69 | 2584808.8401 | 1242739.3369 | 2584797.187 | 1242738.3148
70 | 2584808.8401 | 1242739.3369 | 2584818.6839 | 1242740.1831
71 | 2584808.8401 | 1242739.3369 | 2584818.8263 | 1242709.0366
72 | 2584826.5211 | 1242740.8568 | 2584818.6839 | 1242740.1831
73 | 2584818.8263 | 1242709.0366 | 2584823.3681 | 1242695.2557
74 | 2584826.448 | 1242685.9106 | 2584823.3681 | 1242695.2557
75 | 2584826.448 | 1242685.9106 | 2584827.5216 | 1242682.6532 | 2584831.1452 | 1242678.0298 | 2584836.089 | 1242675.3821 | 2584841.7081 | 1242676.6907 | 2584866.1092 | 1242682.6191
76 | 2584842.4121 | 1242742.2229 | 2584826.5211 | 1242740.8568
77 | 2584849.7909 | 1242742.8572 | 2584842.4121 | 1242742.2229
78 | 2584971.5654 | 1242773.3341 | 2584982.8154 | 1242774.9479
79 | 2584971.5654 | 1242773.3341 | 2584957.6054 | 1242771.3315 | 2584957.6054 | 1242771.3315
80 | 2584982.8154 | 1242774.9479 | 2584993.2485 | 1242776.4445
81 | 2584957.6054 | 1242771.3315 | 2584954.5694 | 1242769.5567
82 | 2584951.2296 | 1242767.1325 | 2584951.9813 | 1242768.0438 | 2584954.5694 | 1242769.5567
83 | 2584940.0555 | 1242753.5873 | 2584951.2296 | 1242767.1325
84 | 2584940.0555 | 1242753.5873 | 2584936.0276 | 1242750.8626 | 2584927.7708 | 1242749.5606 | 2584920.6448 | 1242748.948
85 | 2584869.0966 | 1242744.5168 | 2584875.2492 | 1242745.0457
86 | 2584869.0966 | 1242744.5168 | 2584860.3906 | 1242743.7684
87 | 2584875.2492 | 1242745.0457 | 2584877.8349 | 1242745.2679
88 | 2584860.3906 | 1242743.7684 | 2584849.7909 | 1242742.8572
89 | 2584877.8349 | 1242745.2679 | 2584895.5496 | 1242746.7908
90 | 2584895.5496 | 1242746.7908 | 2584906.9587 | 1242747.7715
91 | 2584920.6448 | 1242748.948 | 2584906.9587 | 1242747.7715
92 | 2584895.2195 | 1242939.0076 | 2584864.362 | 1242921.8571
93 | 2584895.2195 | 1242939.0076 | 2584887.2216 | 1242959.4472
94 | 2584824.716 | 1242923.1931 | 2584824.5445 | 1242923.6959
95 | 2584818.538 | 1242941.3007 | 2584824.5445 | 1242923.6959
96 | 2584818.538 | 1242941.3007 | 2584812.5814 | 1242958.7592

## bus_geodata
| x | y | coords
0 | 2584756.0373 | 1242950.9975
1 | 2584756.9819 | 1242948.145
2 | 2584750.8974 | 1242966.5183
3 | 2584762.5036 | 1242931.4716
4 | 2584712.9522 | 1242949.4182
5 | 2584744.5794 | 1242985.6112
6 | 2584802.7156 | 1242987.6758
7 | 2584765.4361 | 1242922.6162
8 | 2584703.4315 | 1242945.1277
9 | 2584805.9506 | 1242978.1941
10 | 2584770.9838 | 1242905.8642
11 | 2584668.4219 | 1242929.9979
12 | 2584706.5623 | 1242934.0941
13 | 2584808.4045 | 1242971.0018
14 | 2584713.5133 | 1242857.5165
15 | 2584752.4074 | 1242873.0457
16 | 2584688.5932 | 1242848.2051
17 | 2584772.3597 | 1242881.4099
18 | 2584714.5003 | 1242786.3323
19 | 2584667.2903 | 1242837.6202
20 | 2584778.2627 | 1242883.8845
21 | 2584733.733 | 1242732.7488
22 | 2584733.5789 | 1242789.0761
23 | 2584623.7887 | 1242816.005
24 | 2584797.1934 | 1242891.8207
25 | 2584739.0282 | 1242719.8715
26 | 2584750.2948 | 1242734.2016
27 | 2584780.1751 | 1242795.7774
28 | 2584536.2367 | 1242772.3769
29 | 2584713.7406 | 1242908.7961
30 | 2584707.9524 | 1242929.1951
31 | 2584714.2273 | 1242907.0809
32 | 2584717.6156 | 1242895.1394
33 | 2584718.2382 | 1242892.9454
34 | 2584800.5043 | 1242893.2087
35 | 2584636.2462 | 1242899.1064
36 | 2584643.9406 | 1242877.1858
37 | 2584631.0665 | 1242913.8627
38 | 2584645.0754 | 1242873.9527
39 | 2584644.0992 | 1242919.492
40 | 2584601.0486 | 1242901.0147
41 | 2584650.1598 | 1242859.4676
42 | 2584668.2882 | 1242929.9402
43 | 2584824.0067 | 1242903.0615
44 | 2584806.6469 | 1242799.5845
45 | 2584833.273 | 1242803.4138
46 | 2584842.6949 | 1242804.7688
47 | 2584664.126 | 1242691.8528
48 | 2584742.2459 | 1242711.5331
49 | 2584773.179 | 1242736.2089
50 | 2584759.6889 | 1242666.333
51 | 2584758.1578 | 1242670.3005
52 | 2584751.0591 | 1242688.6953
53 | 2584748.3139 | 1242695.8091
54 | 2584497.5585 | 1242748.6788
55 | 2584500.9528 | 1242751.2116
56 | 2584439.7229 | 1242693.2187
57 | 2584486.6395 | 1242717.3835
58 | 2584511.3281 | 1242672.7239
59 | 2584539.8058 | 1242709.0704
60 | 2584629.9331 | 1242679.0622
61 | 2584561.6806 | 1242666.7993
62 | 2584638.6229 | 1242655.0134
63 | 2584647.7758 | 1242631.7416
64 | 2584619.4625 | 1242647.8037
65 | 2584664.1082 | 1242638.0041
66 | 2584795.3444 | 1242738.1531
67 | 2584797.187 | 1242738.3148
68 | 2584808.8401 | 1242739.3369
69 | 2584818.6839 | 1242740.1831
70 | 2584818.8263 | 1242709.0366
71 | 2584823.3681 | 1242695.2557
72 | 2584826.448 | 1242685.9106
73 | 2584866.1092 | 1242682.6191
74 | 2584826.5211 | 1242740.8568
75 | 2584842.4121 | 1242742.2229
76 | 2584971.5654 | 1242773.3341
77 | 2584982.8154 | 1242774.9479
78 | 2584957.6054 | 1242771.3315
79 | 2584993.2485 | 1242776.4445
80 | 2584954.5694 | 1242769.5567
81 | 2584951.2296 | 1242767.1325
82 | 2584940.0555 | 1242753.5873
83 | 2584869.0966 | 1242744.5168
84 | 2584875.2492 | 1242745.0457
85 | 2584860.3906 | 1242743.7684
86 | 2584877.8349 | 1242745.2679
87 | 2584849.7909 | 1242742.8572
88 | 2584895.5496 | 1242746.7908
89 | 2584906.9587 | 1242747.7715
90 | 2584920.6448 | 1242748.948
91 | 2584864.362 | 1242921.8571
92 | 2584895.2195 | 1242939.0076
93 | 2584887.2216 | 1242959.4472
94 | 2584824.716 | 1242923.1931
95 | 2584824.5445 | 1242923.6959
96 | 2584818.538 | 1242941.3007
97 | 2584812.5814 | 1242958.7592
98 | 2584842.6949 | 1242804.7688

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1