## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6729-35_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6729-35_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6729-35_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6729-35_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6729-35_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6729-35_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6729-35_0_5_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_6729-35_0_5_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_6729-35_0_5_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_6729-35_0_5_node_15 | 0.4 | n |  | TRUE
10 | bus_LV_6729-35_0_5_node_18 | 0.4 | n |  | TRUE
11 | bus_LV_6729-35_0_5_node_12 | 0.4 | n |  | TRUE
12 | bus_LV_6729-35_0_5_node_13 | 0.4 | n |  | TRUE
13 | bus_LV_6729-35_0_5_node_20 | 0.4 | n |  | TRUE
14 | bus_LV_6729-35_0_5_node_16 | 0.4 | n |  | TRUE
15 | bus_LV_6729-35_0_5_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_6729-35_0_5_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_6729-35_0_5_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_6729-35_0_5_node_50 | 0.4 | n |  | TRUE
19 | bus_LV_6729-35_0_5_node_70 | 0.4 | n |  | TRUE
20 | bus_LV_6729-35_0_5_node_75 | 0.4 | n |  | TRUE
21 | bus_LV_6729-35_0_5_node_76 | 0.4 | n |  | TRUE
22 | bus_LV_6729-35_0_5_node_66 | 0.4 | n |  | TRUE
23 | bus_LV_6729-35_0_5_node_56 | 0.4 | n |  | TRUE
24 | bus_LV_6729-35_0_5_node_73 | 0.4 | n |  | TRUE
25 | bus_LV_6729-35_0_5_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_6729-35_0_5_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_6729-35_0_5_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_6729-35_0_5_node_35 | 0.4 | n |  | TRUE
29 | bus_LV_6729-35_0_5_node_38 | 0.4 | n |  | TRUE
30 | bus_LV_6729-35_0_5_node_36 | 0.4 | n |  | TRUE
31 | bus_LV_6729-35_0_5_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_6729-35_0_5_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_6729-35_0_5_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_6729-35_0_5_node_78 | 0.4 | n |  | TRUE
35 | bus_LV_6729-35_0_5_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_6729-35_0_5_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_6729-35_0_5_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_6729-35_0_5_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_6729-35_0_5_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_6729-35_0_5_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_6729-35_0_5_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_6729-35_0_5_node_33 | 0.4 | n |  | TRUE
43 | bus_LV_6729-35_0_5_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_6729-35_0_5_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_6729-35_0_5_node_51 | 0.4 | n |  | TRUE
46 | bus_LV_6729-35_0_5_node_52 | 0.4 | n |  | TRUE
47 | bus_LV_6729-35_0_5_node_53 | 0.4 | n |  | TRUE
48 | bus_LV_6729-35_0_5_node_67 | 0.4 | n |  | TRUE
49 | bus_LV_6729-35_0_5_node_65 | 0.4 | n |  | TRUE
50 | bus_LV_6729-35_0_5_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_6729-35_0_5_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_6729-35_0_5_node_41 | 0.4 | n |  | TRUE
53 | bus_LV_6729-35_0_5_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_6729-35_0_5_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_6729-35_0_5_node_57 | 0.4 | n |  | TRUE
56 | bus_LV_6729-35_0_5_node_48 | 0.4 | n |  | TRUE
57 | bus_LV_6729-35_0_5_node_58 | 0.4 | n |  | TRUE
58 | bus_LV_6729-35_0_5_node_59 | 0.4 | n |  | TRUE
59 | bus_LV_6729-35_0_5_node_60 | 0.4 | n |  | TRUE
60 | bus_LV_6729-35_0_5_node_43 | 0.4 | n |  | TRUE
61 | bus_LV_6729-35_0_5_node_44 | 0.4 | n |  | TRUE
62 | bus_LV_6729-35_0_5_node_45 | 0.4 | n |  | TRUE
63 | bus_LV_6729-35_0_5_node_55 | 0.4 | n |  | TRUE
64 | bus_LV_6729-35_0_5_node_46 | 0.4 | n |  | TRUE
65 | bus_LV_6729-35_0_5_node_54 | 0.4 | n |  | TRUE
66 | bus_LV_6729-35_0_5_node_61 | 0.4 | n |  | TRUE
67 | bus_LV_6729-35_0_5_node_63 | 0.4 | n |  | TRUE
68 | bus_LV_6729-35_0_5_node_64 | 0.4 | n |  | TRUE
69 | bus_LV_6729-35_0_5_node_62 | 0.4 | n |  | TRUE
70 | bus_LV_6729-35_0_5_node_49 | 0.4 | n |  | TRUE
71 | bus_LV_6729-35_0_5_node_74 | 0.4 | n |  | TRUE
72 | bus_LV_6729-35_0_5_node_68 | 0.4 | n |  | TRUE
73 | bus_LV_6729-35_0_5_node_81 | 0.4 | n |  | TRUE
74 | bus_LV_6729-35_0_5_node_80 | 0.4 | n |  | TRUE
75 | bus_LV_6729-35_0_5_node_79 | 0.4 | n |  | TRUE
76 | bus_LV_6729-35_0_5_node_69 | 0.4 | n |  | TRUE
77 | bus_LV_6729-35_0_5_node_72 | 0.4 | n |  | TRUE
78 | bus_LV_6729-35_0_5_node_71 | 0.4 | n |  | TRUE
79 | bus_MV_330_1_node_162 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6729-35_0_5_load_0 | 0 | 0.012316 | 0.0030867 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6729-35_0_5_load_5 | 5 | 0.0051902 | 0.0013008 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6729-35_0_5_load_6 | 6 | 0.020527 | 0.0051446 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6729-35_0_5_load_8 | 7 | 0.020846 | 0.0052246 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6729-35_0_5_load_7 | 8 | 0.0089579 | 0.0022451 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6729-35_0_5_load_15 | 9 | 0.0020587 | 0.00051596 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6729-35_0_5_load_12 | 11 | 0.013791 | 0.0034563 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6729-35_0_5_load_13 | 12 | 0.014514 | 0.0036374 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6729-35_0_5_load_20 | 13 | 0.00045603 | 0.00011429 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6729-35_0_5_load_16 | 14 | 0.00048933 | 0.00012264 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6729-35_0_5_load_10 | 16 | 0.0099901 | 0.0025038 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6729-35_0_5_load_70 | 19 | 0.0030106 | 0.00075454 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6729-35_0_5_load_75 | 20 | 0.0045337 | 0.0011363 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6729-35_0_5_load_76 | 21 | 0.0012605 | 0.00031592 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6729-35_0_5_load_66 | 22 | 0.00033991 | 8.5191e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6729-35_0_5_load_56 | 23 | 0.0026991 | 0.00067645 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6729-35_0_5_load_73 | 24 | 0.0019184 | 0.00048079 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6729-35_0_5_load_14 | 25 | 0.0068619 | 0.0017197 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6729-35_0_5_load_17 | 26 | 0.0048958 | 0.001227 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6729-35_0_5_load_19 | 27 | 0.00033591 | 8.4187e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6729-35_0_5_load_35 | 28 | 0.0051047 | 0.0012794 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6729-35_0_5_load_38 | 29 | 0.00031953 | 8.0083e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6729-35_0_5_load_36 | 30 | 0.0018721 | 0.0004692 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6729-35_0_5_load_21 | 31 | 0.010722 | 0.0026873 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6729-35_0_5_load_22 | 32 | 0.0056095 | 0.0014059 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6729-35_0_5_load_23 | 33 | 0.0081215 | 0.0020354 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6729-35_0_5_load_78 | 34 | 0.0067645 | 0.0016953 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6729-35_0_5_load_24 | 35 | 0.0021896 | 0.00054876 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6729-35_0_5_load_27 | 36 | 0.0024099 | 0.00060398 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6729-35_0_5_load_26 | 37 | 0.0033258 | 0.00083351 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6729-35_0_5_load_29 | 39 | 0.0020299 | 0.00050873 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6729-35_0_5_load_30 | 40 | 0.0017701 | 0.00044362 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6729-35_0_5_load_31 | 41 | 0.0013681 | 0.00034287 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6729-35_0_5_load_33 | 42 | 0.0020899 | 0.00052377 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6729-35_0_5_load_32 | 43 | 0.0025644 | 0.0006427 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6729-35_0_5_load_34 | 44 | 0.00097096 | 0.00024335 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6729-35_0_5_load_52 | 46 | 0.00068343 | 0.00017128 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6729-35_0_5_load_53 | 47 | 0.00070092 | 0.00017567 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6729-35_0_5_load_65 | 49 | 0.00063509 | 0.00015917 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6729-35_0_5_load_39 | 50 | 0.00095765 | 0.00024001 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6729-35_0_5_load_42 | 53 | 0.0003919 | 9.8219e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6729-35_0_5_load_47 | 54 | 0.00048569 | 0.00012173 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6729-35_0_5_load_48 | 56 | 0.00068116 | 0.00017072 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6729-35_0_5_load_58 | 57 | 0.00040004 | 0.00010026 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6729-35_0_5_load_43 | 60 | 0.003666 | 0.00091878 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6729-35_0_5_load_44 | 61 | 0.0021048 | 0.00052752 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6729-35_0_5_load_45 | 62 | 0.002241 | 0.00056165 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6729-35_0_5_load_55 | 63 | 0.0035914 | 0.00090009 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6729-35_0_5_load_46 | 64 | 0.0012433 | 0.0003116 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6729-35_0_5_load_61 | 66 | 0.000566 | 0.00014185 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6729-35_0_5_load_63 | 67 | 0.0019332 | 0.0004845 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6729-35_0_5_load_64 | 68 | 0.003323 | 0.00083282 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6729-35_0_5_load_62 | 69 | 0.0019911 | 0.00049902 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6729-35_0_5_load_49 | 70 | 0.0034576 | 0.00086656 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6729-35_0_5_load_74 | 71 | 0.0035496 | 0.00088962 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6729-35_0_5_load_68 | 72 | 0.00084513 | 0.00021181 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6729-35_0_5_load_81 | 73 | 0.0007091 | 0.00017772 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6729-35_0_5_load_80 | 74 | 0.00077038 | 0.00019308 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6729-35_0_5_load_79 | 75 | 0.00079694 | 0.00019973 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6729-35_0_5_load_69 | 76 | 0.00043807 | 0.00010979 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6729-35_0_5_load_72 | 77 | 0.0023632 | 0.00059228 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6729-35_0_5_load_71 | 78 | 0.00043816 | 0.00010981 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 10 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6729-35_0_5_line_0 | NAYY 4x150 SE | 0 | 1 | 0.034474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_6729-35_0_5_line_1 | NAYY 4x150 SE | 0 | 2 | 0.023618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_6729-35_0_5_line_2 | NAYY 4x150 SE | 1 | 3 | 0.036758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_6729-35_0_5_line_3 | NAYY 4x150 SE | 1 | 4 | 0.061126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_6729-35_0_5_line_4 | NAYY 4x150 SE | 2 | 5 | 0.0038885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_6729-35_0_5_line_5 | NAYY 4x150 SE | 2 | 6 | 0.030533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_6729-35_0_5_line_6 | NAYY 4x150 SE | 3 | 7 | 0.036831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_6729-35_0_5_line_7 | NAYY 4x150 SE | 3 | 8 | 0.019668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_6729-35_0_5_line_8 | NAYY 4x150 SE | 4 | 9 | 0.02378 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_6729-35_0_5_line_9 | NAYY 4x150 SE | 4 | 10 | 0.013857 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_6729-35_0_5_line_10 | NAYY 4x150 SE | 6 | 11 | 0.049208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_6729-35_0_5_line_11 | NAYY 4x150 SE | 9 | 12 | 0.0071492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_6729-35_0_5_line_12 | NAYY 4x150 SE | 10 | 13 | 0.026076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_6729-35_0_5_line_13 | NAYY 4x150 SE | 10 | 14 | 0.047485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_6729-35_0_5_line_14 | NAYY 4x150 SE | 12 | 25 | 0.011034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_6729-35_0_5_line_15 | NAYY 4x150 SE | 13 | 29 | 0.015803 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_6729-35_0_5_line_16 | NAYY 4x150 SE | 14 | 26 | 0.0065559 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_6729-35_0_5_line_17 | NAYY 4x150 SE | 15 | 16 | 0.023474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_6729-35_0_5_line_18 | NAYY 4x150 SE | 15 | 17 | 0.026416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_6729-35_0_5_line_19 | NAYY 4x150 SE | 17 | 18 | 0.037496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_6729-35_0_5_line_20 | NAYY 4x150 SE | 18 | 23 | 0.04478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_6729-35_0_5_line_21 | NAYY 4x150 SE | 18 | 24 | 0.019893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_6729-35_0_5_line_22 | NAYY 4x150 SE | 19 | 20 | 0.046184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_6729-35_0_5_line_23 | NAYY 4x150 SE | 19 | 21 | 0.059533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_6729-35_0_5_line_24 | NAYY 4x150 SE | 19 | 22 | 0.026461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_6729-35_0_5_line_25 | NAYY 4x150 SE | 20 | 71 | 0.017912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_6729-35_0_5_line_26 | NAYY 4x150 SE | 22 | 68 | 0.0017033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_6729-35_0_5_line_27 | NAYY 4x150 SE | 23 | 65 | 0.020515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_6729-35_0_5_line_28 | NAYY 4x150 SE | 24 | 71 | 0.0012183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_6729-35_0_5_line_29 | NAYY 4x150 SE | 26 | 27 | 0.025332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
30 | LV_6729-35_0_5_line_30 | NAYY 4x150 SE | 27 | 28 | 0.010325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
31 | LV_6729-35_0_5_line_31 | NAYY 4x150 SE | 28 | 30 | 0.022246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
32 | LV_6729-35_0_5_line_32 | NAYY 4x150 SE | 30 | 48 | 0.012135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
33 | LV_6729-35_0_5_line_33 | NAYY 4x150 SE | 31 | 32 | 0.037254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_6729-35_0_5_line_34 | NAYY 4x150 SE | 31 | 33 | 0.0065438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_6729-35_0_5_line_35 | NAYY 4x150 SE | 31 | 34 | 0.029528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_6729-35_0_5_line_36 | NAYY 4x150 SE | 32 | 35 | 0.037511 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_6729-35_0_5_line_37 | NAYY 4x150 SE | 35 | 36 | 0.019281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_6729-35_0_5_line_38 | NAYY 4x150 SE | 36 | 37 | 0.0051776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_6729-35_0_5_line_39 | NAYY 4x150 SE | 37 | 38 | 0.023627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_6729-35_0_5_line_40 | NAYY 4x150 SE | 38 | 39 | 0.025224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_6729-35_0_5_line_41 | NAYY 4x150 SE | 38 | 40 | 0.0065187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_6729-35_0_5_line_42 | NAYY 4x150 SE | 39 | 41 | 0.011245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_6729-35_0_5_line_43 | NAYY 4x150 SE | 40 | 42 | 0.014657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_6729-35_0_5_line_44 | NAYY 4x150 SE | 41 | 43 | 0.00087648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_6729-35_0_5_line_45 | NAYY 4x150 SE | 42 | 44 | 0.019308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_6729-35_0_5_line_46 | NAYY 4x150 SE | 44 | 45 | 0.018015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_6729-35_0_5_line_47 | NAYY 4x150 SE | 45 | 46 | 0.0038542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_6729-35_0_5_line_48 | NAYY 4x150 SE | 45 | 47 | 0.018809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_6729-35_0_5_line_49 | NAYY 4x150 SE | 47 | 48 | 0.030898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_6729-35_0_5_line_50 | NAYY 4x150 SE | 48 | 49 | 0.019895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_6729-35_0_5_line_51 | NAYY 4x150 SE | 49 | 67 | 0.007014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_6729-35_0_5_line_52 | NAYY 4x150 SE | 50 | 51 | 0.027238 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_6729-35_0_5_line_53 | NAYY 4x150 SE | 51 | 52 | 0.018785 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_6729-35_0_5_line_54 | NAYY 4x150 SE | 51 | 53 | 0.0057109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_6729-35_0_5_line_55 | NAYY 4x150 SE | 52 | 54 | 0.0056374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_6729-35_0_5_line_56 | NAYY 4x150 SE | 53 | 55 | 0.014449 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_6729-35_0_5_line_57 | NAYY 4x150 SE | 54 | 56 | 0.015669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_6729-35_0_5_line_58 | NAYY 4x150 SE | 55 | 57 | 0.020186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_6729-35_0_5_line_59 | NAYY 4x150 SE | 55 | 58 | 0.054332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_6729-35_0_5_line_60 | NAYY 4x150 SE | 55 | 59 | 0.050358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_6729-35_0_5_line_61 | NAYY 4x150 SE | 56 | 70 | 0.035202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_6729-35_0_5_line_62 | NAYY 4x150 SE | 57 | 72 | 0.018938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_6729-35_0_5_line_63 | NAYY 4x150 SE | 58 | 73 | 0.041546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_6729-35_0_5_line_64 | NAYY 4x150 SE | 59 | 74 | 0.015987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_6729-35_0_5_line_65 | NAYY 4x150 SE | 59 | 75 | 0.010048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_6729-35_0_5_line_66 | NAYY 4x150 SE | 60 | 61 | 0.0039031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_6729-35_0_5_line_67 | NAYY 4x150 SE | 60 | 62 | 0.028897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_6729-35_0_5_line_68 | NAYY 4x150 SE | 60 | 63 | 0.10045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_6729-35_0_5_line_69 | NAYY 4x150 SE | 62 | 64 | 0.02988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_6729-35_0_5_line_70 | NAYY 4x150 SE | 63 | 65 | 0.0065257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_6729-35_0_5_line_71 | NAYY 4x150 SE | 64 | 66 | 0.023985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_6729-35_0_5_line_72 | NAYY 4x150 SE | 65 | 70 | 0.048568 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_6729-35_0_5_line_73 | NAYY 4x150 SE | 66 | 69 | 0.022198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_6729-35_0_5_line_74 | NAYY 4x150 SE | 67 | 68 | 0.021123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_6729-35_0_5_line_75 | NAYY 4x150 SE | 69 | 77 | 0.048618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_6729-35_0_5_line_76 | NAYY 4x150 SE | 72 | 76 | 0.024791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_6729-35_0_5_line_77 | NAYY 4x150 SE | 76 | 78 | 0.01236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6729-35_0_5_trafo_18 | 0.25 MVA 20/0.4 kV | 79 | 10 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2585514.1663 | 1243465.7431 | 2585479.8106 | 1243462.885
1 | 2585456.2738 | 1243460.9269 | 2585479.8106 | 1243462.885
2 | 2585504.4215 | 1243501.1894 | 2585514.1663 | 1243465.7431
3 | 2585575.1826 | 1243471.6862 | 2585514.1663 | 1243465.7431
4 | 2585456.2738 | 1243460.9269 | 2585452.3988 | 1243460.604
5 | 2585456.2738 | 1243460.9269 | 2585453.9926 | 1243491.3742
6 | 2585504.4215 | 1243501.1894 | 2585518.6686 | 1243504.9901 | 2585536.5058 | 1243505.9581 | 2585540.5136 | 1243507.2878
7 | 2585504.4215 | 1243501.1894 | 2585502.473 | 1243507.8095 | 2585497.6192 | 1243519.6177
8 | 2585575.1826 | 1243471.6862 | 2585578.813 | 1243448.1847 | 2585578.813 | 1243448.1847
9 | 2585589.0156 | 1243473.031 | 2585575.1826 | 1243471.6862
10 | 2585441.1016 | 1243538.5022 | 2585442.6914 | 1243524.356 | 2585453.7643 | 1243494.4209 | 2585453.9926 | 1243491.3742
11 | 2585578.813 | 1243448.1847 | 2585571.8383 | 1243446.615
12 | 2585589.0156 | 1243473.031 | 2585584.1706 | 1243498.6531
13 | 2585589.0156 | 1243473.031 | 2585628.7524 | 1243476.5696 | 2585636.3433 | 1243476.5547
14 | 2585571.8383 | 1243446.615 | 2585561.0735 | 1243444.1923
15 | 2585584.1706 | 1243498.6531 | 2585581.2344 | 1243514.1814
16 | 2585642.8992 | 1243476.5418 | 2585636.3433 | 1243476.5547
17 | 2585755.9633 | 1243658.2647 | 2585753.4566 | 1243681.6045
18 | 2585758.6052 | 1243631.9861 | 2585757.7532 | 1243642.1946 | 2585756.6211 | 1243652.1592 | 2585755.9633 | 1243658.2647
19 | 2585763.6088 | 1243594.8284 | 2585758.6052 | 1243631.9861
20 | 2585763.6088 | 1243594.8284 | 2585768.3731 | 1243550.3025
21 | 2585763.6088 | 1243594.8284 | 2585744.381 | 1243589.7286
22 | 2585704.646 | 1243543.8166 | 2585725.8901 | 1243584.8243
23 | 2585704.646 | 1243543.8166 | 2585698.9784 | 1243603.0788
24 | 2585704.646 | 1243543.8166 | 2585707.431 | 1243517.5021
25 | 2585725.8901 | 1243584.8243 | 2585743.2034 | 1243589.4163
26 | 2585707.431 | 1243517.5021 | 2585707.6103 | 1243515.8082
27 | 2585770.5557 | 1243529.904 | 2585768.3731 | 1243550.3025
28 | 2585744.381 | 1243589.7286 | 2585743.2034 | 1243589.4163
29 | 2585668.2197 | 1243475.9245 | 2585652.4818 | 1243476.523 | 2585642.8992 | 1243476.5418
30 | 2585668.2197 | 1243475.9245 | 2585675.5971 | 1243475.644 | 2585678.4774 | 1243475.0427
31 | 2585700.2541 | 1243470.4969 | 2585678.4774 | 1243475.0427
32 | 2585712.1328 | 1243468.0173 | 2585700.2541 | 1243470.4969
33 | 2585586.5986 | 1243368.2254 | 2585582.3897 | 1243365.6128 | 2585555.2838 | 1243348.0458 | 2585555.2838 | 1243348.0458
34 | 2585549.8726 | 1243344.366 | 2585555.2838 | 1243348.0458
35 | 2585555.2838 | 1243348.0458 | 2585576.0227 | 1243327.0262
36 | 2585586.5986 | 1243368.2254 | 2585602.8709 | 1243378.3263 | 2585618.4667 | 1243388.0112
37 | 2585635.4727 | 1243397.0312 | 2585625.1988 | 1243392.1917 | 2585618.4667 | 1243388.0112
38 | 2585635.4727 | 1243397.0312 | 2585640.1567 | 1243399.2375
39 | 2585662.5066 | 1243406.699 | 2585646.1111 | 1243402.047 | 2585640.1567 | 1243399.2375 | 2585640.1567 | 1243399.2375
40 | 2585662.5066 | 1243406.699 | 2585658.5928 | 1243431.6176
41 | 2585662.5066 | 1243406.699 | 2585668.8914 | 1243408.0138
42 | 2585658.5928 | 1243431.6176 | 2585658.2424 | 1243433.8487 | 2585666.931 | 1243436.1431
43 | 2585668.8914 | 1243408.0138 | 2585677.5002 | 1243409.7867 | 2585683.2703 | 1243410.8526
44 | 2585667.7784 | 1243436.3669 | 2585666.931 | 1243436.1431
45 | 2585702.2219 | 1243414.524 | 2585699.6 | 1243413.869 | 2585683.2703 | 1243410.8526
46 | 2585719.6994 | 1243418.8902 | 2585702.2219 | 1243414.524
47 | 2585719.6994 | 1243418.8902 | 2585723.23 | 1243420.4362
48 | 2585719.6994 | 1243418.8902 | 2585716.8311 | 1243437.4787
49 | 2585712.1328 | 1243468.0173 | 2585712.7277 | 1243464.0244 | 2585715.7932 | 1243444.2045 | 2585716.8311 | 1243437.4787
50 | 2585712.1328 | 1243468.0173 | 2585712.1669 | 1243472.7535 | 2585710.5715 | 1243487.8279
51 | 2585709.8333 | 1243494.8029 | 2585710.5715 | 1243487.8279
52 | 2585817.32 | 1243637.0479 | 2585790.2044 | 1243634.4651
53 | 2585806.4464 | 1243621.7088 | 2585817.32 | 1243637.0479
54 | 2585817.32 | 1243637.0479 | 2585820.8544 | 1243641.5336
55 | 2585806.4464 | 1243621.7088 | 2585806.0701 | 1243616.0839
56 | 2585829.7969 | 1243652.8834 | 2585820.8544 | 1243641.5336
57 | 2585806.0701 | 1243616.0839 | 2585798.9355 | 1243602.1334
58 | 2585829.7969 | 1243652.8834 | 2585849.9182 | 1243654.4966
59 | 2585829.7969 | 1243652.8834 | 2585832.1493 | 1243656.9359 | 2585835.0354 | 1243662.955 | 2585843.199 | 1243673.2419 | 2585854.0495 | 1243675.8619 | 2585870.9056 | 1243683.9044
60 | 2585829.7969 | 1243652.8834 | 2585832.1493 | 1243656.9359 | 2585835.0354 | 1243662.955 | 2585843.199 | 1243673.2419 | 2585849.9774 | 1243682.6093 | 2585851.977 | 1243684.5502 | 2585849.5556 | 1243695.8075
61 | 2585787.1664 | 1243569.1504 | 2585787.8026 | 1243574.4016 | 2585796.3362 | 1243597.0509 | 2585798.9355 | 1243602.1334
62 | 2585849.9182 | 1243654.4966 | 2585856.5915 | 1243655.0316 | 2585868.5923 | 1243657.4548
63 | 2585898.7348 | 1243711.0994 | 2585874.5265 | 1243697.0151 | 2585870.9056 | 1243683.9044
64 | 2585849.5556 | 1243695.8075 | 2585846.1925 | 1243711.4366
65 | 2585839.6665 | 1243693.8745 | 2585849.5556 | 1243695.8075
66 | 2585863.0582 | 1243482.418 | 2585861.9887 | 1243478.6643
67 | 2585863.0582 | 1243482.418 | 2585869.38 | 1243504.606 | 2585872.8035 | 1243509.3206
68 | 2585771.366 | 1243523.4288 | 2585863.0582 | 1243482.418
69 | 2585891.5073 | 1243532.5774 | 2585881.4205 | 1243521.1876 | 2585872.8035 | 1243509.3206
70 | 2585770.5557 | 1243529.904 | 2585771.366 | 1243523.4288
71 | 2585891.5073 | 1243532.5774 | 2585896.0604 | 1243537.7186 | 2585910.6874 | 1243546.6107
72 | 2585770.5557 | 1243529.904 | 2585782.0496 | 1243532.8337 | 2585783.5463 | 1243539.2674 | 2585787.1664 | 1243569.1504
73 | 2585929.651 | 1243558.1481 | 2585929.2162 | 1243557.8743 | 2585916.6457 | 1243550.2328 | 2585910.6874 | 1243546.6107
74 | 2585709.8333 | 1243494.8029 | 2585707.6103 | 1243515.8082
75 | 2585929.651 | 1243558.1481 | 2585970.7896 | 1243584.0585 | 2585970.7896 | 1243584.0585
76 | 2585868.5923 | 1243657.4548 | 2585880.3167 | 1243659.8222 | 2585891.7925 | 1243665.5593
77 | 2585902.8483 | 1243671.0865 | 2585891.7925 | 1243665.5593

## bus_geodata
| x | y | coords
0 | 2585479.8106 | 1243462.885
1 | 2585514.1663 | 1243465.7431
2 | 2585456.2738 | 1243460.9269
3 | 2585504.4215 | 1243501.1894
4 | 2585575.1826 | 1243471.6862
5 | 2585452.3988 | 1243460.604
6 | 2585453.9926 | 1243491.3742
7 | 2585540.5136 | 1243507.2878
8 | 2585497.6192 | 1243519.6177
9 | 2585578.813 | 1243448.1847
10 | 2585589.0156 | 1243473.031
11 | 2585441.1016 | 1243538.5022
12 | 2585571.8383 | 1243446.615
13 | 2585584.1706 | 1243498.6531
14 | 2585636.3433 | 1243476.5547
15 | 2585755.9633 | 1243658.2647
16 | 2585753.4566 | 1243681.6045
17 | 2585758.6052 | 1243631.9861
18 | 2585763.6088 | 1243594.8284
19 | 2585704.646 | 1243543.8166
20 | 2585725.8901 | 1243584.8243
21 | 2585698.9784 | 1243603.0788
22 | 2585707.431 | 1243517.5021
23 | 2585768.3731 | 1243550.3025
24 | 2585744.381 | 1243589.7286
25 | 2585561.0735 | 1243444.1923
26 | 2585642.8992 | 1243476.5418
27 | 2585668.2197 | 1243475.9245
28 | 2585678.4774 | 1243475.0427
29 | 2585581.2344 | 1243514.1814
30 | 2585700.2541 | 1243470.4969
31 | 2585555.2838 | 1243348.0458
32 | 2585586.5986 | 1243368.2254
33 | 2585549.8726 | 1243344.366
34 | 2585576.0227 | 1243327.0262
35 | 2585618.4667 | 1243388.0112
36 | 2585635.4727 | 1243397.0312
37 | 2585640.1567 | 1243399.2375
38 | 2585662.5066 | 1243406.699
39 | 2585658.5928 | 1243431.6176
40 | 2585668.8914 | 1243408.0138
41 | 2585666.931 | 1243436.1431
42 | 2585683.2703 | 1243410.8526
43 | 2585667.7784 | 1243436.3669
44 | 2585702.2219 | 1243414.524
45 | 2585719.6994 | 1243418.8902
46 | 2585723.23 | 1243420.4362
47 | 2585716.8311 | 1243437.4787
48 | 2585712.1328 | 1243468.0172
49 | 2585710.5715 | 1243487.8279
50 | 2585790.2044 | 1243634.4651
51 | 2585817.32 | 1243637.0479
52 | 2585806.4464 | 1243621.7088
53 | 2585820.8544 | 1243641.5336
54 | 2585806.0701 | 1243616.0839
55 | 2585829.7969 | 1243652.8834
56 | 2585798.9355 | 1243602.1334
57 | 2585849.9182 | 1243654.4966
58 | 2585870.9056 | 1243683.9044
59 | 2585849.5556 | 1243695.8075
60 | 2585863.0582 | 1243482.418
61 | 2585861.9887 | 1243478.6643
62 | 2585872.8035 | 1243509.3206
63 | 2585771.366 | 1243523.4288
64 | 2585891.5073 | 1243532.5774
65 | 2585770.5557 | 1243529.904
66 | 2585910.6874 | 1243546.6107
67 | 2585709.8333 | 1243494.8029
68 | 2585707.6103 | 1243515.8082
69 | 2585929.651 | 1243558.1481
70 | 2585787.1664 | 1243569.1504
71 | 2585743.2034 | 1243589.4163
72 | 2585868.5923 | 1243657.4548
73 | 2585898.7348 | 1243711.0994
74 | 2585846.1925 | 1243711.4366
75 | 2585839.6665 | 1243693.8745
76 | 2585891.7925 | 1243665.5593
77 | 2585970.7896 | 1243584.0585
78 | 2585902.8483 | 1243671.0865
79 | 2585575.1826 | 1243471.6862

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1