## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6729-3_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6729-3_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6729-3_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6729-3_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6729-3_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6729-3_0_3_node_101 | 0.4 | n |  | TRUE
6 | bus_LV_6729-3_0_3_node_26 | 0.4 | n |  | TRUE
7 | bus_LV_6729-3_0_3_node_27 | 0.4 | n |  | TRUE
8 | bus_LV_6729-3_0_3_node_28 | 0.4 | n |  | TRUE
9 | bus_LV_6729-3_0_3_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_6729-3_0_3_node_73 | 0.4 | n |  | TRUE
11 | bus_LV_6729-3_0_3_node_17 | 0.4 | n |  | TRUE
12 | bus_LV_6729-3_0_3_node_97 | 0.4 | n |  | TRUE
13 | bus_LV_6729-3_0_3_node_95 | 0.4 | n |  | TRUE
14 | bus_LV_6729-3_0_3_node_94 | 0.4 | n |  | TRUE
15 | bus_LV_6729-3_0_3_node_23 | 0.4 | n |  | TRUE
16 | bus_LV_6729-3_0_3_node_6 | 0.4 | n |  | TRUE
17 | bus_LV_6729-3_0_3_node_7 | 0.4 | n |  | TRUE
18 | bus_LV_6729-3_0_3_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_6729-3_0_3_node_74 | 0.4 | n |  | TRUE
20 | bus_LV_6729-3_0_3_node_75 | 0.4 | n |  | TRUE
21 | bus_LV_6729-3_0_3_node_9 | 0.4 | n |  | TRUE
22 | bus_LV_6729-3_0_3_node_10 | 0.4 | n |  | TRUE
23 | bus_LV_6729-3_0_3_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_6729-3_0_3_node_24 | 0.4 | n |  | TRUE
25 | bus_LV_6729-3_0_3_node_25 | 0.4 | n |  | TRUE
26 | bus_LV_6729-3_0_3_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_6729-3_0_3_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_6729-3_0_3_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_6729-3_0_3_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_6729-3_0_3_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_6729-3_0_3_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_6729-3_0_3_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_6729-3_0_3_node_56 | 0.4 | n |  | TRUE
34 | bus_LV_6729-3_0_3_node_45 | 0.4 | n |  | TRUE
35 | bus_LV_6729-3_0_3_node_42 | 0.4 | n |  | TRUE
36 | bus_LV_6729-3_0_3_node_71 | 0.4 | n |  | TRUE
37 | bus_LV_6729-3_0_3_node_61 | 0.4 | n |  | TRUE
38 | bus_LV_6729-3_0_3_node_36 | 0.4 | n |  | TRUE
39 | bus_LV_6729-3_0_3_node_96 | 0.4 | n |  | TRUE
40 | bus_LV_6729-3_0_3_node_93 | 0.4 | n |  | TRUE
41 | bus_LV_6729-3_0_3_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_6729-3_0_3_node_30 | 0.4 | n |  | TRUE
43 | bus_LV_6729-3_0_3_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_6729-3_0_3_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_6729-3_0_3_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_6729-3_0_3_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_6729-3_0_3_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_6729-3_0_3_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_6729-3_0_3_node_38 | 0.4 | n |  | TRUE
50 | bus_LV_6729-3_0_3_node_57 | 0.4 | n |  | TRUE
51 | bus_LV_6729-3_0_3_node_59 | 0.4 | n |  | TRUE
52 | bus_LV_6729-3_0_3_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_6729-3_0_3_node_39 | 0.4 | n |  | TRUE
54 | bus_LV_6729-3_0_3_node_40 | 0.4 | n |  | TRUE
55 | bus_LV_6729-3_0_3_node_82 | 0.4 | n |  | TRUE
56 | bus_LV_6729-3_0_3_node_55 | 0.4 | n |  | TRUE
57 | bus_LV_6729-3_0_3_node_66 | 0.4 | n |  | TRUE
58 | bus_LV_6729-3_0_3_node_53 | 0.4 | n |  | TRUE
59 | bus_LV_6729-3_0_3_node_81 | 0.4 | n |  | TRUE
60 | bus_LV_6729-3_0_3_node_67 | 0.4 | n |  | TRUE
61 | bus_LV_6729-3_0_3_node_68 | 0.4 | n |  | TRUE
62 | bus_LV_6729-3_0_3_node_70 | 0.4 | n |  | TRUE
63 | bus_LV_6729-3_0_3_node_46 | 0.4 | n |  | TRUE
64 | bus_LV_6729-3_0_3_node_47 | 0.4 | n |  | TRUE
65 | bus_LV_6729-3_0_3_node_48 | 0.4 | n |  | TRUE
66 | bus_LV_6729-3_0_3_node_49 | 0.4 | n |  | TRUE
67 | bus_LV_6729-3_0_3_node_102 | 0.4 | n |  | TRUE
68 | bus_LV_6729-3_0_3_node_52 | 0.4 | n |  | TRUE
69 | bus_LV_6729-3_0_3_node_69 | 0.4 | n |  | TRUE
70 | bus_LV_6729-3_0_3_node_60 | 0.4 | n |  | TRUE
71 | bus_LV_6729-3_0_3_node_65 | 0.4 | n |  | TRUE
72 | bus_LV_6729-3_0_3_node_54 | 0.4 | n |  | TRUE
73 | bus_LV_6729-3_0_3_node_51 | 0.4 | n |  | TRUE
74 | bus_LV_6729-3_0_3_node_62 | 0.4 | n |  | TRUE
75 | bus_LV_6729-3_0_3_node_63 | 0.4 | n |  | TRUE
76 | bus_LV_6729-3_0_3_node_64 | 0.4 | n |  | TRUE
77 | bus_LV_6729-3_0_3_node_100 | 0.4 | n |  | TRUE
78 | bus_LV_6729-3_0_3_node_72 | 0.4 | n |  | TRUE
79 | bus_LV_6729-3_0_3_node_98 | 0.4 | n |  | TRUE
80 | bus_LV_6729-3_0_3_node_76 | 0.4 | n |  | TRUE
81 | bus_LV_6729-3_0_3_node_77 | 0.4 | n |  | TRUE
82 | bus_LV_6729-3_0_3_node_78 | 0.4 | n |  | TRUE
83 | bus_LV_6729-3_0_3_node_79 | 0.4 | n |  | TRUE
84 | bus_LV_6729-3_0_3_node_80 | 0.4 | n |  | TRUE
85 | bus_LV_6729-3_0_3_node_83 | 0.4 | n |  | TRUE
86 | bus_LV_6729-3_0_3_node_84 | 0.4 | n |  | TRUE
87 | bus_LV_6729-3_0_3_node_85 | 0.4 | n |  | TRUE
88 | bus_LV_6729-3_0_3_node_86 | 0.4 | n |  | TRUE
89 | bus_LV_6729-3_0_3_node_89 | 0.4 | n |  | TRUE
90 | bus_LV_6729-3_0_3_node_91 | 0.4 | n |  | TRUE
91 | bus_LV_6729-3_0_3_node_90 | 0.4 | n |  | TRUE
92 | bus_LV_6729-3_0_3_node_87 | 0.4 | n |  | TRUE
93 | bus_LV_6729-3_0_3_node_88 | 0.4 | n |  | TRUE
94 | bus_LV_6729-3_0_3_node_92 | 0.4 | n |  | TRUE
95 | bus_MV_330_0_node_82 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6729-3_0_3_load_0 | 0 | 0.0055758 | 0.0013974 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6729-3_0_3_load_1 | 1 | 0.0054597 | 0.0013683 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6729-3_0_3_load_4 | 4 | 0.0055763 | 0.0013976 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6729-3_0_3_load_101 | 5 | 0.003927 | 0.00098419 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6729-3_0_3_load_5 | 9 | 0.0031278 | 0.00078389 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6729-3_0_3_load_73 | 10 | 0.0030536 | 0.00076529 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6729-3_0_3_load_17 | 11 | 0.0017064 | 0.00042766 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6729-3_0_3_load_97 | 12 | 0.0077577 | 0.0019443 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6729-3_0_3_load_95 | 13 | 0.0032874 | 0.00082391 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6729-3_0_3_load_94 | 14 | 0.0047176 | 0.0011823 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6729-3_0_3_load_23 | 15 | 0.0035317 | 0.00088513 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6729-3_0_3_load_7 | 17 | 0.0057879 | 0.0014506 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6729-3_0_3_load_8 | 18 | 0.001797 | 0.00045037 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6729-3_0_3_load_74 | 19 | 0.0047068 | 0.0011796 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6729-3_0_3_load_75 | 20 | 0.0017937 | 0.00044954 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6729-3_0_3_load_9 | 21 | 0.00072464 | 0.00018161 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6729-3_0_3_load_10 | 22 | 0.0011542 | 0.00028928 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6729-3_0_3_load_12 | 23 | 0.01016 | 0.0025463 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6729-3_0_3_load_24 | 24 | 0.0011507 | 0.00028839 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6729-3_0_3_load_25 | 25 | 0.0021148 | 0.00053002 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6729-3_0_3_load_15 | 26 | 0.0028325 | 0.00070988 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6729-3_0_3_load_18 | 28 | 0.0024822 | 0.0006221 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6729-3_0_3_load_19 | 29 | 0.0019369 | 0.00048544 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6729-3_0_3_load_21 | 31 | 0.0015564 | 0.00039007 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6729-3_0_3_load_22 | 32 | 0.007085 | 0.0017757 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6729-3_0_3_load_56 | 33 | 0.0016262 | 0.00040756 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6729-3_0_3_load_45 | 34 | 0.0015332 | 0.00038425 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6729-3_0_3_load_42 | 35 | 0.00086891 | 0.00021777 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6729-3_0_3_load_61 | 37 | 0.002611 | 0.00065437 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6729-3_0_3_load_36 | 38 | 0.0019253 | 0.00048252 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6729-3_0_3_load_96 | 39 | 0.0028998 | 0.00072675 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6729-3_0_3_load_93 | 40 | 0.0023579 | 0.00059094 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6729-3_0_3_load_29 | 41 | 0.0015222 | 0.0003815 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6729-3_0_3_load_30 | 42 | 0.0020963 | 0.00052537 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6729-3_0_3_load_31 | 43 | 0.001189 | 0.00029799 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6729-3_0_3_load_32 | 44 | 0.0015222 | 0.0003815 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6729-3_0_3_load_33 | 45 | 0.0016166 | 0.00040516 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6729-3_0_3_load_34 | 46 | 0.0032689 | 0.00081925 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6729-3_0_3_load_37 | 47 | 0.0050896 | 0.0012756 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6729-3_0_3_load_35 | 48 | 0.001807 | 0.00045287 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6729-3_0_3_load_57 | 50 | 0.0032187 | 0.00080668 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6729-3_0_3_load_59 | 51 | 0.0031742 | 0.00079554 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6729-3_0_3_load_39 | 53 | 0.00087873 | 0.00022023 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6729-3_0_3_load_40 | 54 | 0.0012565 | 0.00031492 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6729-3_0_3_load_82 | 55 | 0.0014972 | 0.00037525 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6729-3_0_3_load_66 | 57 | 0.0055736 | 0.0013969 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6729-3_0_3_load_53 | 58 | 0.0036081 | 0.00090428 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6729-3_0_3_load_67 | 60 | 0.0018917 | 0.00047412 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6729-3_0_3_load_46 | 63 | 0.0027694 | 0.00069409 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6729-3_0_3_load_47 | 64 | 0.0040961 | 0.0010266 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6729-3_0_3_load_48 | 65 | 0.0030566 | 0.00076605 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6729-3_0_3_load_102 | 67 | 0.0016705 | 0.00041866 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6729-3_0_3_load_52 | 68 | 0.0014519 | 0.00036388 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6729-3_0_3_load_69 | 69 | 0.001045 | 0.00026191 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6729-3_0_3_load_60 | 70 | 0.0016798 | 0.000421 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6729-3_0_3_load_54 | 72 | 0.0023017 | 0.00057686 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6729-3_0_3_load_51 | 73 | 0.0034844 | 0.00087328 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6729-3_0_3_load_62 | 74 | 0.0022604 | 0.00056651 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6729-3_0_3_load_63 | 75 | 0.0014014 | 0.00035123 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6729-3_0_3_load_64 | 76 | 0.0015771 | 0.00039525 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6729-3_0_3_load_100 | 77 | 0.0040178 | 0.001007 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6729-3_0_3_load_72 | 78 | 0.0020679 | 0.00051827 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6729-3_0_3_load_98 | 79 | 0.007066 | 0.0017709 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6729-3_0_3_load_76 | 80 | 0.0020481 | 0.00051331 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6729-3_0_3_load_77 | 81 | 0.001642 | 0.00041153 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6729-3_0_3_load_78 | 82 | 0.0052147 | 0.0013069 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6729-3_0_3_load_79 | 83 | 0.0020949 | 0.00052504 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6729-3_0_3_load_80 | 84 | 0.0015491 | 0.00038825 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6729-3_0_3_load_83 | 85 | 0.0019913 | 0.00049907 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6729-3_0_3_load_84 | 86 | 0.0014842 | 0.00037198 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6729-3_0_3_load_86 | 88 | 0.0056826 | 0.0014242 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_6729-3_0_3_load_91 | 90 | 0.0015637 | 0.00039191 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_6729-3_0_3_load_90 | 91 | 0.0021873 | 0.00054819 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_6729-3_0_3_load_87 | 92 | 0.0012884 | 0.00032291 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_6729-3_0_3_load_88 | 93 | 0.0059852 | 0.0015 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_6729-3_0_3_load_92 | 94 | 0.0017404 | 0.00043618 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 40 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6729-3_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.027355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_6729-3_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.014496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_6729-3_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.018946 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_6729-3_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.029298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_6729-3_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.058948 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_6729-3_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.006021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_6729-3_0_3_line_6 | NAYY 4x150 SE | 3 | 7 | 0.047676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_6729-3_0_3_line_7 | NAYY 4x150 SE | 3 | 8 | 0.043628 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_6729-3_0_3_line_8 | NAYY 4x150 SE | 4 | 9 | 0.0027598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_6729-3_0_3_line_9 | NAYY 4x150 SE | 6 | 10 | 0.007715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_6729-3_0_3_line_10 | NAYY 4x150 SE | 6 | 11 | 0.0076743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_6729-3_0_3_line_11 | NAYY 4x150 SE | 7 | 12 | 0.00657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_6729-3_0_3_line_12 | NAYY 4x150 SE | 7 | 13 | 0.014907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_6729-3_0_3_line_13 | NAYY 4x150 SE | 8 | 14 | 0.06432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_6729-3_0_3_line_14 | NAYY 4x150 SE | 8 | 15 | 0.031737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_6729-3_0_3_line_15 | NAYY 4x150 SE | 9 | 16 | 0.02538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_6729-3_0_3_line_16 | NAYY 4x150 SE | 11 | 27 | 0.011241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_6729-3_0_3_line_17 | NAYY 4x150 SE | 13 | 39 | 0.0044198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_6729-3_0_3_line_18 | NAYY 4x150 SE | 14 | 40 | 0.02972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
19 | LV_6729-3_0_3_line_19 | NAYY 4x150 SE | 15 | 30 | 0.011997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
20 | LV_6729-3_0_3_line_20 | NAYY 4x150 SE | 16 | 17 | 0.017817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_6729-3_0_3_line_21 | NAYY 4x150 SE | 16 | 18 | 0.04506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_6729-3_0_3_line_22 | NAYY 4x150 SE | 18 | 19 | 0.015775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_6729-3_0_3_line_23 | NAYY 4x150 SE | 19 | 20 | 0.004737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_6729-3_0_3_line_24 | NAYY 4x150 SE | 20 | 80 | 0.026852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_6729-3_0_3_line_25 | NAYY 4x150 SE | 21 | 22 | 1.0037e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_6729-3_0_3_line_26 | NAYY 4x150 SE | 22 | 23 | 0.003836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_6729-3_0_3_line_27 | NAYY 4x150 SE | 23 | 24 | 0.024201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_6729-3_0_3_line_28 | NAYY 4x150 SE | 24 | 25 | 0.01666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_6729-3_0_3_line_29 | NAYY 4x150 SE | 25 | 37 | 0.016091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_6729-3_0_3_line_30 | NAYY 4x150 SE | 26 | 27 | 0.0041227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_6729-3_0_3_line_31 | NAYY 4x150 SE | 28 | 29 | 0.017822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_6729-3_0_3_line_32 | NAYY 4x150 SE | 28 | 30 | 0.013418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_6729-3_0_3_line_33 | NAYY 4x150 SE | 29 | 31 | 0.028922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_6729-3_0_3_line_34 | NAYY 4x150 SE | 30 | 32 | 0.045717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
35 | LV_6729-3_0_3_line_35 | NAYY 4x150 SE | 31 | 33 | 0.015509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_6729-3_0_3_line_36 | NAYY 4x150 SE | 32 | 34 | 0.037966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
37 | LV_6729-3_0_3_line_37 | NAYY 4x150 SE | 33 | 35 | 0.0080489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_6729-3_0_3_line_38 | NAYY 4x150 SE | 34 | 36 | 0.063935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
39 | LV_6729-3_0_3_line_39 | NAYY 4x150 SE | 35 | 54 | 0.025115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_6729-3_0_3_line_40 | NAYY 4x150 SE | 36 | 61 | 0.079742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
41 | LV_6729-3_0_3_line_41 | NAYY 4x150 SE | 37 | 38 | 0.010303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_6729-3_0_3_line_42 | NAYY 4x150 SE | 38 | 48 | 0.016355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_6729-3_0_3_line_43 | NAYY 4x150 SE | 40 | 94 | 0.020535 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_6729-3_0_3_line_44 | NAYY 4x150 SE | 41 | 42 | 0.0032492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_6729-3_0_3_line_45 | NAYY 4x150 SE | 41 | 43 | 0.0207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_6729-3_0_3_line_46 | NAYY 4x150 SE | 42 | 44 | 0.013308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_6729-3_0_3_line_47 | NAYY 4x150 SE | 43 | 45 | 0.017776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_6729-3_0_3_line_48 | NAYY 4x150 SE | 44 | 46 | 0.025963 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_6729-3_0_3_line_49 | NAYY 4x150 SE | 45 | 47 | 0.00048936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_6729-3_0_3_line_50 | NAYY 4x150 SE | 46 | 48 | 0.0042464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_6729-3_0_3_line_51 | NAYY 4x150 SE | 47 | 49 | 0.05066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_6729-3_0_3_line_52 | NAYY 4x150 SE | 47 | 50 | 0.13052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_6729-3_0_3_line_53 | NAYY 4x150 SE | 49 | 51 | 0.037666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_6729-3_0_3_line_54 | NAYY 4x150 SE | 51 | 52 | 0.0015745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_6729-3_0_3_line_55 | NAYY 4x150 SE | 52 | 55 | 0.021662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_6729-3_0_3_line_56 | NAYY 4x150 SE | 53 | 54 | 0.0084682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_6729-3_0_3_line_57 | NAYY 4x150 SE | 55 | 59 | 0.016113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_6729-3_0_3_line_58 | NAYY 4x150 SE | 56 | 57 | 0.015321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
59 | LV_6729-3_0_3_line_59 | NAYY 4x150 SE | 56 | 58 | 0.020415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
60 | LV_6729-3_0_3_line_60 | NAYY 4x150 SE | 57 | 60 | 0.031246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
61 | LV_6729-3_0_3_line_61 | NAYY 4x150 SE | 58 | 73 | 0.031137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_6729-3_0_3_line_62 | NAYY 4x150 SE | 59 | 85 | 0.01369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_6729-3_0_3_line_63 | NAYY 4x150 SE | 59 | 84 | 0.030714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_6729-3_0_3_line_64 | NAYY 4x150 SE | 60 | 61 | 0.041045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
65 | LV_6729-3_0_3_line_65 | NAYY 4x150 SE | 61 | 62 | 0.078017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_6729-3_0_3_line_66 | NAYY 4x150 SE | 62 | 79 | 0.044222 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_6729-3_0_3_line_67 | NAYY 4x150 SE | 63 | 64 | 0.0021498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_6729-3_0_3_line_68 | NAYY 4x150 SE | 63 | 65 | 0.025109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_6729-3_0_3_line_69 | NAYY 4x150 SE | 64 | 66 | 0.016085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_6729-3_0_3_line_70 | NAYY 4x150 SE | 66 | 69 | 0.026085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_6729-3_0_3_line_71 | NAYY 4x150 SE | 66 | 70 | 0.011479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_6729-3_0_3_line_72 | NAYY 4x150 SE | 67 | 68 | 0.050674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_6729-3_0_3_line_73 | NAYY 4x150 SE | 68 | 72 | 0.0067588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_6729-3_0_3_line_74 | NAYY 4x150 SE | 68 | 73 | 0.01757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_6729-3_0_3_line_75 | NAYY 4x150 SE | 69 | 71 | 0.0028607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_6729-3_0_3_line_76 | NAYY 4x150 SE | 70 | 72 | 0.02849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_6729-3_0_3_line_77 | NAYY 4x150 SE | 71 | 78 | 0.040538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_6729-3_0_3_line_78 | NAYY 4x150 SE | 71 | 75 | 0.024988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_6729-3_0_3_line_79 | NAYY 4x150 SE | 74 | 75 | 0.0070022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_6729-3_0_3_line_80 | NAYY 4x150 SE | 74 | 76 | 0.023095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_6729-3_0_3_line_81 | NAYY 4x150 SE | 76 | 77 | 0.090965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_6729-3_0_3_line_82 | NAYY 4x150 SE | 80 | 81 | 0.0013709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_6729-3_0_3_line_83 | NAYY 4x150 SE | 81 | 82 | 0.01943 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_6729-3_0_3_line_84 | NAYY 4x150 SE | 83 | 84 | 0.0047404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_6729-3_0_3_line_85 | NAYY 4x150 SE | 85 | 86 | 0.009836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_6729-3_0_3_line_86 | NAYY 4x150 SE | 86 | 87 | 0.0011223 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_6729-3_0_3_line_87 | NAYY 4x150 SE | 87 | 88 | 0.024288 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_6729-3_0_3_line_88 | NAYY 4x150 SE | 88 | 92 | 0.014289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_6729-3_0_3_line_89 | NAYY 4x150 SE | 89 | 90 | 0.010524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_6729-3_0_3_line_90 | NAYY 4x150 SE | 89 | 91 | 0.012834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_6729-3_0_3_line_91 | NAYY 4x150 SE | 90 | 94 | 0.0021185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_6729-3_0_3_line_92 | NAYY 4x150 SE | 91 | 93 | 0.014882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_6729-3_0_3_line_93 | NAYY 4x150 SE | 92 | 93 | 0.0058042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6729-3_0_3_trafo_93 | 0.25 MVA 20/0.4 kV | 95 | 40 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2582684.7124 | 1242698.4912 | 2582660.639 | 1242711.4827
1 | 2582697.4691 | 1242691.6069 | 2582684.7124 | 1242698.4912
2 | 2582643.9663 | 1242720.4822 | 2582652.5387 | 1242715.8541 | 2582660.639 | 1242711.4827
3 | 2582697.4691 | 1242691.6069 | 2582694.3222 | 1242680.4091 | 2582694.4515 | 1242672.9596 | 2582695.7446 | 1242662.8383 | 2582695.7468 | 1242662.8266
4 | 2582697.4691 | 1242691.6069 | 2582726.1246 | 1242743.1214
5 | 2582646.7332 | 1242725.833 | 2582644.9088 | 1242722.3028 | 2582643.9663 | 1242720.4822
6 | 2582618.0423 | 1242702.725 | 2582615.9062 | 1242703.6986 | 2582628.0267 | 1242728.4118 | 2582643.9663 | 1242720.4822
7 | 2582605.0621 | 1242740.2202 | 2582616.5778 | 1242734.1047 | 2582628.0267 | 1242728.4118 | 2582643.9663 | 1242720.4822
8 | 2582696.2734 | 1242660.1175 | 2582695.7468 | 1242662.8266
9 | 2582646.7332 | 1242725.833 | 2582653.6235 | 1242722.3216
10 | 2582646.7332 | 1242725.833 | 2582648.124 | 1242728.4305 | 2582650.2689 | 1242732.6438
11 | 2582624.0355 | 1242699.9945 | 2582618.0423 | 1242702.725
12 | 2582618.0423 | 1242702.725 | 2582610.1175 | 1242690.0995
13 | 2582605.0621 | 1242740.2202 | 2582602.4635 | 1242735.5805 | 2582547.4678 | 1242714.2104
14 | 2582605.0621 | 1242740.2202 | 2582577.0296 | 1242755.0999
15 | 2582698.7018 | 1242635.1566 | 2582699.7728 | 1242642.1134 | 2582696.2734 | 1242660.1175
16 | 2582646.6574 | 1242741.1984 | 2582651.1569 | 1242736.8491 | 2582652.001 | 1242736.0462 | 2582650.2689 | 1242732.6438
17 | 2582607.7678 | 1242686.3561 | 2582610.1175 | 1242690.0995
18 | 2582529.8714 | 1242698.5328 | 2582527.4683 | 1242706.4391 | 2582547.4678 | 1242714.2104
19 | 2582566.4325 | 1242760.7248 | 2582577.0296 | 1242755.0999
20 | 2582698.7018 | 1242635.1566 | 2582702.8646 | 1242617.8323
21 | 2582698.7018 | 1242635.1566 | 2582694.1961 | 1242637.4157 | 2582681.3245 | 1242637.4535 | 2582656.504 | 1242635.1805 | 2582654.3197 | 1242635.5984
22 | 2582654.3197 | 1242635.5984 | 2582638.8254 | 1242638.5631
23 | 2582634.1728 | 1242639.4534 | 2582638.8254 | 1242638.5631
24 | 2582634.1728 | 1242639.4534 | 2582612.8342 | 1242643.5364 | 2582607.7109 | 1242643.3492
25 | 2582630.981 | 1242546.9213 | 2582630.9711 | 1242546.9228
26 | 2582630.9711 | 1242546.9228 | 2582627.179 | 1242547.5011
27 | 2582603.2499 | 1242551.1175 | 2582625.3257 | 1242547.7837 | 2582627.179 | 1242547.5011
28 | 2582603.2499 | 1242551.1175 | 2582586.7766 | 1242553.605
29 | 2582586.7766 | 1242553.605 | 2582570.8664 | 1242556.0075
30 | 2582646.6574 | 1242741.1984 | 2582642.7165 | 1242742.4091
31 | 2582559.498 | 1242749.2381 | 2582559.498 | 1242749.2381 | 2582554.6553 | 1242744.8496 | 2582544.0293 | 1242741.0435
32 | 2582566.4325 | 1242760.7248 | 2582559.498 | 1242749.2381
33 | 2582516.8011 | 1242731.2904 | 2582544.0293 | 1242741.0435
34 | 2582566.4325 | 1242760.7248 | 2582525.2668 | 1242780.6093
35 | 2582516.8011 | 1242731.2904 | 2582502.2004 | 1242726.0606
36 | 2582525.2668 | 1242780.6093 | 2582518.7711 | 1242783.7469 | 2582503.3378 | 1242791.4864 | 2582494.6895 | 1242793.4355 | 2582490.0767 | 1242793.1504
37 | 2582494.623 | 1242723.3464 | 2582502.2004 | 1242726.0606
38 | 2582490.0767 | 1242793.1504 | 2582495.8148 | 1242856.8277
39 | 2582470.9788 | 1242714.8772 | 2582494.623 | 1242723.3464
40 | 2582431.5258 | 1242899.768 | 2582450.6616 | 1242896.9426 | 2582495.8148 | 1242856.8277
41 | 2582570.8664 | 1242556.0075 | 2582560.6788 | 1242557.5459
42 | 2582544.5507 | 1242560.2425 | 2582550.7577 | 1242559.044 | 2582560.6788 | 1242557.5459
43 | 2582535.8432 | 1242678.8856 | 2582529.8714 | 1242698.5328
44 | 2582498.8502 | 1242570.1254 | 2582502.0124 | 1242569.3784
45 | 2582498.8502 | 1242570.1254 | 2582494.6498 | 1242571.1177 | 2582478.9287 | 1242575.7314
46 | 2582502.0124 | 1242569.3784 | 2582514.9643 | 1242566.3186
47 | 2582462.1395 | 1242581.5512 | 2582474.9397 | 1242576.902 | 2582478.9287 | 1242575.7314
48 | 2582540.3813 | 1242561.0475 | 2582523.3893 | 1242564.3283 | 2582514.9643 | 1242566.3186
49 | 2582462.1395 | 1242581.5512 | 2582461.6796 | 1242581.7183
50 | 2582540.3813 | 1242561.0475 | 2582544.5507 | 1242560.2425
51 | 2582415.334 | 1242602.1285 | 2582441.1551 | 1242590.0551 | 2582458.3972 | 1242582.9105 | 2582461.6796 | 1242581.7183
52 | 2582461.6796 | 1242581.7183 | 2582395.014 | 1242469.5049
53 | 2582415.334 | 1242602.1285 | 2582425.4565 | 1242623.0671 | 2582429.4175 | 1242625.7459 | 2582438.4373 | 1242629.1112
54 | 2582439.9125 | 1242629.6616 | 2582438.4373 | 1242629.1112
55 | 2582439.9125 | 1242629.6616 | 2582460.211 | 1242637.2266
56 | 2582463.0065 | 1242712.0216 | 2582470.9788 | 1242714.8772
57 | 2582475.3094 | 1242642.8536 | 2582460.211 | 1242637.2266
58 | 2582396.6103 | 1242819.4324 | 2582400.6923 | 1242829.8156 | 2582402.3255 | 1242833.6457
59 | 2582396.6103 | 1242819.4324 | 2582381.787 | 1242823.846 | 2582377.8324 | 1242826.8209
60 | 2582402.3255 | 1242833.6457 | 2582413.4335 | 1242859.6965 | 2582414.6177 | 1242862.3715
61 | 2582357.6888 | 1242850.1565 | 2582365.4296 | 1242843.4739 | 2582375.362 | 1242828.6794 | 2582377.8324 | 1242826.8209
62 | 2582475.3094 | 1242642.8536 | 2582488.1355 | 1242647.6383
63 | 2582475.3094 | 1242642.8536 | 2582464.3188 | 1242671.5342
64 | 2582431.5258 | 1242899.768 | 2582429.2133 | 1242894.7939 | 2582424.4583 | 1242884.2903 | 2582422.2454 | 1242879.7496 | 2582421.1267 | 1242877.1513 | 2582418.1817 | 1242870.4225 | 2582414.6177 | 1242862.3715
65 | 2582431.5258 | 1242899.768 | 2582412.3825 | 1242910.2649 | 2582389.8082 | 1242936.004 | 2582376.4832 | 1242953.5882
66 | 2582376.4832 | 1242953.5882 | 2582363.1357 | 1242971.1947 | 2582355.3507 | 1242986.2052 | 2582353.6726 | 1242991.147
67 | 2582294.857 | 1242880.6858 | 2582296.5265 | 1242882.0401
68 | 2582275.3569 | 1242864.8682 | 2582294.857 | 1242880.6858
69 | 2582309.0189 | 1242892.1734 | 2582296.5265 | 1242882.0401
70 | 2582309.0189 | 1242892.1734 | 2582289.2705 | 1242909.2154
71 | 2582309.0189 | 1242892.1734 | 2582317.708 | 1242884.672
72 | 2582311.7211 | 1242822.8993 | 2582344.3894 | 1242861.6379
73 | 2582339.2734 | 1242866.0546 | 2582344.3894 | 1242861.6379
74 | 2582357.6888 | 1242850.1565 | 2582344.3894 | 1242861.6379
75 | 2582287.1047 | 1242911.0843 | 2582289.2705 | 1242909.2154
76 | 2582339.2734 | 1242866.0546 | 2582317.708 | 1242884.672
77 | 2582256.5657 | 1242884.3258 | 2582287.1047 | 1242911.0843
78 | 2582287.1047 | 1242911.0843 | 2582271.0798 | 1242930.2579
79 | 2582266.5894 | 1242935.6307 | 2582271.0798 | 1242930.2579
80 | 2582266.5894 | 1242935.6307 | 2582251.7786 | 1242953.3517
81 | 2582251.7786 | 1242953.3517 | 2582240.6217 | 1243043.6298
82 | 2582607.7109 | 1242643.3492 | 2582606.3409 | 1242643.2991
83 | 2582587.5826 | 1242638.6188 | 2582602.6974 | 1242643.166 | 2582606.3409 | 1242643.2991
84 | 2582462.6225 | 1242675.9607 | 2582464.3188 | 1242671.5342
85 | 2582488.1355 | 1242647.6383 | 2582497.3512 | 1242651.0761
86 | 2582498.4028 | 1242651.4683 | 2582497.3512 | 1242651.0761
87 | 2582498.4028 | 1242651.4683 | 2582503.6826 | 1242647.7615 | 2582521.2308 | 1242644.5675
88 | 2582521.2308 | 1242644.5675 | 2582535.2893 | 1242642.0087 | 2582535.2893 | 1242642.0087
89 | 2582539.5197 | 1242666.7896 | 2582536.4592 | 1242676.8586
90 | 2582539.5197 | 1242666.7896 | 2582545.4883 | 1242663.4031 | 2582544.6475 | 1242657.4908
91 | 2582535.8432 | 1242678.8856 | 2582536.4592 | 1242676.8586
92 | 2582544.6475 | 1242657.4908 | 2582543.4196 | 1242648.8556 | 2582540.9691 | 1242643.2038
93 | 2582540.9691 | 1242643.2038 | 2582540.9691 | 1242643.2038 | 2582535.2893 | 1242642.0087

## bus_geodata
| x | y | coords
0 | 2582684.7124 | 1242698.4912
1 | 2582660.639 | 1242711.4827
2 | 2582697.4691 | 1242691.6069
3 | 2582643.9663 | 1242720.4822
4 | 2582695.7468 | 1242662.8266
5 | 2582726.1246 | 1242743.1214
6 | 2582646.7332 | 1242725.833
7 | 2582618.0423 | 1242702.725
8 | 2582605.0621 | 1242740.2202
9 | 2582696.2734 | 1242660.1175
10 | 2582653.6235 | 1242722.3216
11 | 2582650.2689 | 1242732.6438
12 | 2582624.0355 | 1242699.9945
13 | 2582610.1175 | 1242690.0995
14 | 2582547.4678 | 1242714.2105
15 | 2582577.0296 | 1242755.0999
16 | 2582698.7018 | 1242635.1566
17 | 2582702.8646 | 1242617.8323
18 | 2582654.3197 | 1242635.5984
19 | 2582638.8254 | 1242638.5631
20 | 2582634.1728 | 1242639.4534
21 | 2582630.981 | 1242546.9213
22 | 2582630.9711 | 1242546.9228
23 | 2582627.179 | 1242547.5011
24 | 2582603.2499 | 1242551.1175
25 | 2582586.7766 | 1242553.605
26 | 2582642.7165 | 1242742.4091
27 | 2582646.6574 | 1242741.1984
28 | 2582559.4979 | 1242749.2381
29 | 2582544.0293 | 1242741.0435
30 | 2582566.4325 | 1242760.7248
31 | 2582516.8011 | 1242731.2904
32 | 2582525.2668 | 1242780.6093
33 | 2582502.2004 | 1242726.0606
34 | 2582490.0767 | 1242793.1504
35 | 2582494.623 | 1242723.3464
36 | 2582495.8148 | 1242856.8277
37 | 2582570.8664 | 1242556.0075
38 | 2582560.6788 | 1242557.5459
39 | 2582607.7678 | 1242686.3561
40 | 2582529.8714 | 1242698.5328
41 | 2582498.8502 | 1242570.1254
42 | 2582502.0124 | 1242569.3784
43 | 2582478.9287 | 1242575.7314
44 | 2582514.9643 | 1242566.3186
45 | 2582462.1395 | 1242581.5512
46 | 2582540.3813 | 1242561.0475
47 | 2582461.6796 | 1242581.7183
48 | 2582544.5508 | 1242560.2425
49 | 2582415.334 | 1242602.1285
50 | 2582395.014 | 1242469.5049
51 | 2582438.4373 | 1242629.1112
52 | 2582439.9125 | 1242629.6616
53 | 2582463.0065 | 1242712.0216
54 | 2582470.9788 | 1242714.8772
55 | 2582460.211 | 1242637.2266
56 | 2582396.6103 | 1242819.4324
57 | 2582402.3255 | 1242833.6457
58 | 2582377.8324 | 1242826.8209
59 | 2582475.3094 | 1242642.8536
60 | 2582414.6177 | 1242862.3715
61 | 2582431.5258 | 1242899.768
62 | 2582376.4832 | 1242953.5882
63 | 2582294.857 | 1242880.6858
64 | 2582296.5265 | 1242882.0401
65 | 2582275.3569 | 1242864.8682
66 | 2582309.0189 | 1242892.1734
67 | 2582311.7211 | 1242822.8993
68 | 2582344.3894 | 1242861.6379
69 | 2582289.2705 | 1242909.2154
70 | 2582317.708 | 1242884.672
71 | 2582287.1047 | 1242911.0843
72 | 2582339.2734 | 1242866.0546
73 | 2582357.6888 | 1242850.1565
74 | 2582266.5894 | 1242935.6307
75 | 2582271.0798 | 1242930.2579
76 | 2582251.7786 | 1242953.3517
77 | 2582240.6217 | 1243043.6298
78 | 2582256.5657 | 1242884.3258
79 | 2582353.6726 | 1242991.147
80 | 2582607.7109 | 1242643.3492
81 | 2582606.3409 | 1242643.2991
82 | 2582587.5826 | 1242638.6188
83 | 2582462.6225 | 1242675.9607
84 | 2582464.3187 | 1242671.5342
85 | 2582488.1355 | 1242647.6383
86 | 2582497.3512 | 1242651.0761
87 | 2582498.4028 | 1242651.4683
88 | 2582521.2309 | 1242644.5675
89 | 2582539.5197 | 1242666.7896
90 | 2582536.4592 | 1242676.8586
91 | 2582544.6475 | 1242657.4908
92 | 2582535.2893 | 1242642.0087
93 | 2582540.9691 | 1242643.2038
94 | 2582535.8432 | 1242678.8856
95 | 2582539.5197 | 1242666.7896

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1