## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6729-41_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6729-41_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6729-41_0_4_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_6729-41_0_4_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_6729-41_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_6729-41_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_6729-41_0_4_node_39 | 0.4 | n |  | TRUE
7 | bus_LV_6729-41_0_4_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_6729-41_0_4_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_6729-41_0_4_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_6729-41_0_4_node_25 | 0.4 | n |  | TRUE
11 | bus_LV_6729-41_0_4_node_17 | 0.4 | n |  | TRUE
12 | bus_LV_6729-41_0_4_node_54 | 0.4 | n |  | TRUE
13 | bus_LV_6729-41_0_4_node_21 | 0.4 | n |  | TRUE
14 | bus_LV_6729-41_0_4_node_15 | 0.4 | n |  | TRUE
15 | bus_LV_6729-41_0_4_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_6729-41_0_4_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_6729-41_0_4_node_26 | 0.4 | n |  | TRUE
18 | bus_LV_6729-41_0_4_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_6729-41_0_4_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_6729-41_0_4_node_23 | 0.4 | n |  | TRUE
21 | bus_LV_6729-41_0_4_node_27 | 0.4 | n |  | TRUE
22 | bus_LV_6729-41_0_4_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_6729-41_0_4_node_28 | 0.4 | n |  | TRUE
24 | bus_LV_6729-41_0_4_node_29 | 0.4 | n |  | TRUE
25 | bus_LV_6729-41_0_4_node_32 | 0.4 | n |  | TRUE
26 | bus_LV_6729-41_0_4_node_33 | 0.4 | n |  | TRUE
27 | bus_LV_6729-41_0_4_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_6729-41_0_4_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_6729-41_0_4_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_6729-41_0_4_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_6729-41_0_4_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_6729-41_0_4_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_6729-41_0_4_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_6729-41_0_4_node_75 | 0.4 | n |  | TRUE
35 | bus_LV_6729-41_0_4_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_6729-41_0_4_node_74 | 0.4 | n |  | TRUE
37 | bus_LV_6729-41_0_4_node_55 | 0.4 | n |  | TRUE
38 | bus_LV_6729-41_0_4_node_85 | 0.4 | n |  | TRUE
39 | bus_LV_6729-41_0_4_node_89 | 0.4 | n |  | TRUE
40 | bus_LV_6729-41_0_4_node_83 | 0.4 | n |  | TRUE
41 | bus_LV_6729-41_0_4_node_90 | 0.4 | n |  | TRUE
42 | bus_LV_6729-41_0_4_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_6729-41_0_4_node_35 | 0.4 | n |  | TRUE
44 | bus_LV_6729-41_0_4_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_6729-41_0_4_node_94 | 0.4 | n |  | TRUE
46 | bus_LV_6729-41_0_4_node_37 | 0.4 | n |  | TRUE
47 | bus_LV_6729-41_0_4_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_6729-41_0_4_node_40 | 0.4 | n |  | TRUE
49 | bus_LV_6729-41_0_4_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_6729-41_0_4_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_6729-41_0_4_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_6729-41_0_4_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_6729-41_0_4_node_63 | 0.4 | n |  | TRUE
54 | bus_LV_6729-41_0_4_node_65 | 0.4 | n |  | TRUE
55 | bus_LV_6729-41_0_4_node_62 | 0.4 | n |  | TRUE
56 | bus_LV_6729-41_0_4_node_45 | 0.4 | n |  | TRUE
57 | bus_LV_6729-41_0_4_node_46 | 0.4 | n |  | TRUE
58 | bus_LV_6729-41_0_4_node_47 | 0.4 | n |  | TRUE
59 | bus_LV_6729-41_0_4_node_48 | 0.4 | n |  | TRUE
60 | bus_LV_6729-41_0_4_node_49 | 0.4 | n |  | TRUE
61 | bus_LV_6729-41_0_4_node_50 | 0.4 | n |  | TRUE
62 | bus_LV_6729-41_0_4_node_51 | 0.4 | n |  | TRUE
63 | bus_LV_6729-41_0_4_node_52 | 0.4 | n |  | TRUE
64 | bus_LV_6729-41_0_4_node_53 | 0.4 | n |  | TRUE
65 | bus_LV_6729-41_0_4_node_73 | 0.4 | n |  | TRUE
66 | bus_LV_6729-41_0_4_node_71 | 0.4 | n |  | TRUE
67 | bus_LV_6729-41_0_4_node_56 | 0.4 | n |  | TRUE
68 | bus_LV_6729-41_0_4_node_57 | 0.4 | n |  | TRUE
69 | bus_LV_6729-41_0_4_node_58 | 0.4 | n |  | TRUE
70 | bus_LV_6729-41_0_4_node_59 | 0.4 | n |  | TRUE
71 | bus_LV_6729-41_0_4_node_60 | 0.4 | n |  | TRUE
72 | bus_LV_6729-41_0_4_node_61 | 0.4 | n |  | TRUE
73 | bus_LV_6729-41_0_4_node_69 | 0.4 | n |  | TRUE
74 | bus_LV_6729-41_0_4_node_66 | 0.4 | n |  | TRUE
75 | bus_LV_6729-41_0_4_node_64 | 0.4 | n |  | TRUE
76 | bus_LV_6729-41_0_4_node_67 | 0.4 | n |  | TRUE
77 | bus_LV_6729-41_0_4_node_68 | 0.4 | n |  | TRUE
78 | bus_LV_6729-41_0_4_node_70 | 0.4 | n |  | TRUE
79 | bus_LV_6729-41_0_4_node_72 | 0.4 | n |  | TRUE
80 | bus_LV_6729-41_0_4_node_77 | 0.4 | n |  | TRUE
81 | bus_LV_6729-41_0_4_node_79 | 0.4 | n |  | TRUE
82 | bus_LV_6729-41_0_4_node_76 | 0.4 | n |  | TRUE
83 | bus_LV_6729-41_0_4_node_78 | 0.4 | n |  | TRUE
84 | bus_LV_6729-41_0_4_node_80 | 0.4 | n |  | TRUE
85 | bus_LV_6729-41_0_4_node_81 | 0.4 | n |  | TRUE
86 | bus_LV_6729-41_0_4_node_92 | 0.4 | n |  | TRUE
87 | bus_LV_6729-41_0_4_node_82 | 0.4 | n |  | TRUE
88 | bus_LV_6729-41_0_4_node_84 | 0.4 | n |  | TRUE
89 | bus_LV_6729-41_0_4_node_86 | 0.4 | n |  | TRUE
90 | bus_LV_6729-41_0_4_node_87 | 0.4 | n |  | TRUE
91 | bus_MV_330_1_node_86 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6729-41_0_4_load_0 | 0 | 0.00062508 | 0.00015666 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6729-41_0_4_load_1 | 1 | 0.0012688 | 0.000318 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6729-41_0_4_load_2 | 3 | 0.0010515 | 0.00026354 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6729-41_0_4_load_5 | 4 | 0.0020646 | 0.00051744 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6729-41_0_4_load_8 | 8 | 0.00055864 | 0.00014001 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6729-41_0_4_load_25 | 10 | 0.0023533 | 0.00058979 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6729-41_0_4_load_54 | 12 | 0.0024781 | 0.00062108 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6729-41_0_4_load_21 | 13 | 0.0015562 | 0.00039003 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6729-41_0_4_load_15 | 14 | 0.0010319 | 0.00025861 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6729-41_0_4_load_10 | 15 | 0.00087845 | 0.00022016 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6729-41_0_4_load_26 | 17 | 0.00057052 | 0.00014299 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6729-41_0_4_load_23 | 20 | 0.00076535 | 0.00019181 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6729-41_0_4_load_14 | 22 | 0.0012393 | 0.00031061 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6729-41_0_4_load_29 | 24 | 0.00050559 | 0.00012671 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6729-41_0_4_load_32 | 25 | 0.0026746 | 0.00067032 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6729-41_0_4_load_33 | 26 | 0.0030794 | 0.00077177 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6729-41_0_4_load_18 | 28 | 0.001437 | 0.00036015 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6729-41_0_4_load_19 | 29 | 0.00373 | 0.00093482 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6729-41_0_4_load_20 | 30 | 0.0042212 | 0.0010579 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6729-41_0_4_load_22 | 31 | 0.00035826 | 8.9787e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6729-41_0_4_load_24 | 32 | 0.0046257 | 0.0011593 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6729-41_0_4_load_30 | 33 | 0.00035012 | 8.7748e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6729-41_0_4_load_75 | 34 | 0.0058859 | 0.0014751 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6729-41_0_4_load_31 | 35 | 0.00085374 | 0.00021397 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6729-41_0_4_load_74 | 36 | 0.0020996 | 0.00052622 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6729-41_0_4_load_85 | 38 | 0.00071732 | 0.00017978 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6729-41_0_4_load_89 | 39 | 0.00067316 | 0.00016871 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6729-41_0_4_load_83 | 40 | 0.0067057 | 0.0016806 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6729-41_0_4_load_90 | 41 | 0.0026409 | 0.00066187 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6729-41_0_4_load_34 | 42 | 0.00044013 | 0.00011031 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6729-41_0_4_load_38 | 44 | 0.00099387 | 0.00024909 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6729-41_0_4_load_94 | 45 | 0.0051673 | 0.001295 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6729-41_0_4_load_37 | 46 | 0.00047166 | 0.00011821 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6729-41_0_4_load_36 | 47 | 0.0044679 | 0.0011198 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6729-41_0_4_load_40 | 48 | 0.0033277 | 0.00083401 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6729-41_0_4_load_41 | 49 | 0.00187 | 0.00046867 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6729-41_0_4_load_42 | 50 | 0.00089832 | 0.00022514 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6729-41_0_4_load_43 | 51 | 0.00096342 | 0.00024146 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6729-41_0_4_load_65 | 54 | 0.0014116 | 0.00035377 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6729-41_0_4_load_62 | 55 | 0.0011766 | 0.00029488 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6729-41_0_4_load_45 | 56 | 0.0029916 | 0.00074978 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6729-41_0_4_load_46 | 57 | 0.0039921 | 0.0010005 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6729-41_0_4_load_48 | 59 | 0.0010535 | 0.00026403 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6729-41_0_4_load_49 | 60 | 0.0017455 | 0.00043747 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6729-41_0_4_load_50 | 61 | 0.001615 | 0.00040476 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6729-41_0_4_load_51 | 62 | 0.0027077 | 0.00067861 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6729-41_0_4_load_52 | 63 | 0.0011069 | 0.00027742 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6729-41_0_4_load_53 | 64 | 0.0056353 | 0.0014123 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6729-41_0_4_load_73 | 65 | 0.0014351 | 0.00035967 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6729-41_0_4_load_71 | 66 | 0.011733 | 0.0029405 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6729-41_0_4_load_56 | 67 | 0.019773 | 0.0049555 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6729-41_0_4_load_57 | 68 | 0.0042156 | 0.0010565 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6729-41_0_4_load_58 | 69 | 0.0011372 | 0.000285 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6729-41_0_4_load_59 | 70 | 0.0017616 | 0.00044151 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6729-41_0_4_load_60 | 71 | 0.0018792 | 0.00047098 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6729-41_0_4_load_61 | 72 | 0.00056736 | 0.00014219 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6729-41_0_4_load_69 | 73 | 0.0012861 | 0.00032233 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6729-41_0_4_load_64 | 75 | 0.0039312 | 0.00098525 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6729-41_0_4_load_67 | 76 | 0.0054645 | 0.0013695 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6729-41_0_4_load_70 | 78 | 0.0038557 | 0.00096634 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6729-41_0_4_load_72 | 79 | 0.0018929 | 0.00047441 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6729-41_0_4_load_79 | 81 | 0.0022669 | 0.00056814 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6729-41_0_4_load_78 | 83 | 0.0019947 | 0.00049993 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6729-41_0_4_load_80 | 84 | 0.0024018 | 0.00060195 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6729-41_0_4_load_81 | 85 | 0.0024739 | 0.00062002 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6729-41_0_4_load_92 | 86 | 0.0068797 | 0.0017242 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6729-41_0_4_load_82 | 87 | 0.0011885 | 0.00029786 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6729-41_0_4_load_86 | 89 | 0.00057615 | 0.0001444 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6729-41_0_4_load_87 | 90 | 0.0033178 | 0.00083152 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 70 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6729-41_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.010023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_6729-41_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.28901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_6729-41_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.01555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_6729-41_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.072774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_6729-41_0_4_line_4 | NAYY 4x150 SE | 4 | 5 | 0.056009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
5 | LV_6729-41_0_4_line_5 | NAYY 4x150 SE | 4 | 6 | 0.39038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
6 | LV_6729-41_0_4_line_6 | NAYY 4x150 SE | 5 | 7 | 0.26105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
7 | LV_6729-41_0_4_line_7 | NAYY 4x150 SE | 6 | 44 | 0.081071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
8 | LV_6729-41_0_4_line_8 | NAYY 4x150 SE | 7 | 8 | 0.072346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_6729-41_0_4_line_9 | NAYY 4x150 SE | 7 | 9 | 0.088472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
10 | LV_6729-41_0_4_line_10 | NAYY 4x150 SE | 9 | 10 | 0.074602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_6729-41_0_4_line_11 | NAYY 4x150 SE | 9 | 11 | 0.032642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
12 | LV_6729-41_0_4_line_12 | NAYY 4x150 SE | 10 | 12 | 0.022879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_6729-41_0_4_line_13 | NAYY 4x150 SE | 11 | 13 | 0.050485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_6729-41_0_4_line_14 | NAYY 4x150 SE | 11 | 14 | 0.012495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
15 | LV_6729-41_0_4_line_15 | NAYY 4x150 SE | 12 | 37 | 0.014665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_6729-41_0_4_line_16 | NAYY 4x150 SE | 14 | 27 | 0.027795 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
17 | LV_6729-41_0_4_line_17 | NAYY 4x150 SE | 15 | 16 | 0.059776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_6729-41_0_4_line_18 | NAYY 4x150 SE | 15 | 17 | 0.17019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
19 | LV_6729-41_0_4_line_19 | NAYY 4x150 SE | 16 | 18 | 0.023662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_6729-41_0_4_line_20 | NAYY 4x150 SE | 16 | 19 | 0.097721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_6729-41_0_4_line_21 | NAYY 4x150 SE | 17 | 20 | 0.037849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
22 | LV_6729-41_0_4_line_22 | NAYY 4x150 SE | 18 | 21 | 0.12894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_6729-41_0_4_line_23 | NAYY 4x150 SE | 19 | 22 | 0.047529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_6729-41_0_4_line_24 | NAYY 4x150 SE | 20 | 29 | 0.012899 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
25 | LV_6729-41_0_4_line_25 | NAYY 4x150 SE | 21 | 23 | 0.034122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_6729-41_0_4_line_26 | NAYY 4x150 SE | 21 | 24 | 0.006603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_6729-41_0_4_line_27 | NAYY 4x150 SE | 22 | 25 | 0.029079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_6729-41_0_4_line_28 | NAYY 4x150 SE | 23 | 38 | 0.03224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_6729-41_0_4_line_29 | NAYY 4x150 SE | 23 | 39 | 0.015455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_6729-41_0_4_line_30 | NAYY 4x150 SE | 25 | 26 | 0.028465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_6729-41_0_4_line_31 | NAYY 4x150 SE | 27 | 28 | 0.041869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_6729-41_0_4_line_32 | NAYY 4x150 SE | 27 | 29 | 0.029972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
33 | LV_6729-41_0_4_line_33 | NAYY 4x150 SE | 27 | 30 | 0.030847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
34 | LV_6729-41_0_4_line_34 | NAYY 4x150 SE | 28 | 31 | 0.014515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_6729-41_0_4_line_35 | NAYY 4x150 SE | 30 | 32 | 0.013853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
36 | LV_6729-41_0_4_line_36 | NAYY 4x150 SE | 31 | 33 | 0.0091594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_6729-41_0_4_line_37 | NAYY 4x150 SE | 32 | 34 | 0.044251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
38 | LV_6729-41_0_4_line_38 | NAYY 4x150 SE | 33 | 35 | 0.0094211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_6729-41_0_4_line_39 | NAYY 4x150 SE | 34 | 36 | 0.043673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
40 | LV_6729-41_0_4_line_40 | NAYY 4x150 SE | 36 | 82 | 0.00091902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
41 | LV_6729-41_0_4_line_41 | NAYY 4x150 SE | 37 | 67 | 0.066197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_6729-41_0_4_line_42 | NAYY 4x150 SE | 38 | 40 | 0.020465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_6729-41_0_4_line_43 | NAYY 4x150 SE | 39 | 41 | 0.020692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_6729-41_0_4_line_44 | NAYY 4x150 SE | 40 | 87 | 0.0048314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_6729-41_0_4_line_45 | NAYY 4x150 SE | 42 | 43 | 0.044843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_6729-41_0_4_line_46 | NAYY 4x150 SE | 43 | 44 | 0.26559 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
47 | LV_6729-41_0_4_line_47 | NAYY 4x150 SE | 43 | 45 | 0.3223 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_6729-41_0_4_line_48 | NAYY 4x150 SE | 44 | 46 | 0.026345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_6729-41_0_4_line_49 | NAYY 4x150 SE | 46 | 47 | 0.011403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_6729-41_0_4_line_50 | NAYY 4x150 SE | 48 | 49 | 0.0019801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_6729-41_0_4_line_51 | NAYY 4x150 SE | 48 | 50 | 0.030035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_6729-41_0_4_line_52 | NAYY 4x150 SE | 50 | 51 | 0.007778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_6729-41_0_4_line_53 | NAYY 4x150 SE | 51 | 52 | 0.014865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_6729-41_0_4_line_54 | NAYY 4x150 SE | 52 | 53 | 0.054407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_6729-41_0_4_line_55 | NAYY 4x150 SE | 53 | 54 | 0.018769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_6729-41_0_4_line_56 | NAYY 4x150 SE | 53 | 55 | 0.0225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_6729-41_0_4_line_57 | NAYY 4x150 SE | 54 | 74 | 0.019264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_6729-41_0_4_line_58 | NAYY 4x150 SE | 55 | 75 | 0.018579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_6729-41_0_4_line_59 | NAYY 4x150 SE | 56 | 57 | 0.0071621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_6729-41_0_4_line_60 | NAYY 4x150 SE | 56 | 58 | 0.015961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_6729-41_0_4_line_61 | NAYY 4x150 SE | 57 | 59 | 0.023694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_6729-41_0_4_line_62 | NAYY 4x150 SE | 58 | 60 | 0.031579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_6729-41_0_4_line_63 | NAYY 4x150 SE | 58 | 61 | 0.032813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_6729-41_0_4_line_64 | NAYY 4x150 SE | 59 | 62 | 0.0037313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_6729-41_0_4_line_65 | NAYY 4x150 SE | 60 | 63 | 0.0069788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_6729-41_0_4_line_66 | NAYY 4x150 SE | 61 | 64 | 0.04551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_6729-41_0_4_line_67 | NAYY 4x150 SE | 63 | 65 | 0.017351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_6729-41_0_4_line_68 | NAYY 4x150 SE | 65 | 66 | 0.019614 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_6729-41_0_4_line_69 | NAYY 4x150 SE | 66 | 77 | 0.022924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_6729-41_0_4_line_70 | NAYY 4x150 SE | 67 | 68 | 0.092183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_6729-41_0_4_line_71 | NAYY 4x150 SE | 69 | 70 | 0.0029977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_6729-41_0_4_line_72 | NAYY 4x150 SE | 70 | 71 | 0.013556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
73 | LV_6729-41_0_4_line_73 | NAYY 4x150 SE | 71 | 72 | 0.021154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
74 | LV_6729-41_0_4_line_74 | NAYY 4x150 SE | 72 | 73 | 0.02211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
75 | LV_6729-41_0_4_line_75 | NAYY 4x150 SE | 73 | 74 | 0.017943 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
76 | LV_6729-41_0_4_line_76 | NAYY 4x150 SE | 74 | 76 | 0.012077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
77 | LV_6729-41_0_4_line_77 | NAYY 4x150 SE | 76 | 77 | 0.026952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
78 | LV_6729-41_0_4_line_78 | NAYY 4x150 SE | 77 | 78 | 0.0010907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
79 | LV_6729-41_0_4_line_79 | NAYY 4x150 SE | 78 | 79 | 0.019299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
80 | LV_6729-41_0_4_line_80 | NAYY 4x150 SE | 79 | 80 | 0.012134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
81 | LV_6729-41_0_4_line_81 | NAYY 4x150 SE | 80 | 81 | 0.026038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_6729-41_0_4_line_82 | NAYY 4x150 SE | 80 | 82 | 0.006798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
83 | LV_6729-41_0_4_line_83 | NAYY 4x150 SE | 81 | 85 | 0.072441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_6729-41_0_4_line_84 | NAYY 4x150 SE | 82 | 83 | 0.02958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_6729-41_0_4_line_85 | NAYY 4x150 SE | 83 | 84 | 0.013391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_6729-41_0_4_line_86 | NAYY 4x150 SE | 84 | 86 | 0.036936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_6729-41_0_4_line_87 | NAYY 4x150 SE | 87 | 88 | 0.0017806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_6729-41_0_4_line_88 | NAYY 4x150 SE | 88 | 89 | 0.030815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_6729-41_0_4_line_89 | NAYY 4x150 SE | 88 | 90 | 0.035386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6729-41_0_4_trafo_59 | 0.25 MVA 20/0.4 kV | 91 | 70 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2586623.8575 | 1242359.6628 | 2586625.9013 | 1242369.4757
1 | 2586623.8575 | 1242359.6628 | 2586901.7998 | 1242280.4635
2 | 2586625.9013 | 1242369.4757 | 2586628.2127 | 1242380.5737 | 2586629.1471 | 1242384.6831
3 | 2586901.7998 | 1242280.4635 | 2586928.4423 | 1242296.6146 | 2586966.0965 | 1242314.3408
4 | 2587016.5182 | 1242338.7242 | 2586979.3577 | 1242320.5836 | 2586966.0965 | 1242314.3408
5 | 2586966.0965 | 1242314.3408 | 2587130.7041 | 1241960.3588
6 | 2587200.4819 | 1242523.9382 | 2587016.5182 | 1242338.7242
7 | 2587130.7041 | 1241960.3588 | 2587109.5894 | 1241931.7871 | 2587088.6521 | 1241904.8716 | 2587079.2873 | 1241898.295
8 | 2587200.4819 | 1242523.9382 | 2587197.795 | 1242525.7341 | 2587194.5099 | 1242530.5109 | 2587193.3358 | 1242539.7637 | 2587206.412 | 1242571.1884 | 2587217.038 | 1242588.1204
9 | 2587200.4819 | 1242523.9382 | 2587224.0816 | 1242545.9675 | 2587229.0795 | 1242550.2816 | 2587258.5441 | 1242575.7005 | 2587268.7105 | 1242579.4142
10 | 2587268.7105 | 1242579.4142 | 2587268.69 | 1242569.9528 | 2587269.025 | 1242553.5751 | 2587273.4215 | 1242541.9472 | 2587282.3647 | 1242528.6751 | 2587296.9205 | 1242514.49
11 | 2587268.7105 | 1242579.4142 | 2587279.2606 | 1242610.3109
12 | 2587296.9205 | 1242514.49 | 2587313.3055 | 1242498.5224
13 | 2587279.2606 | 1242610.3109 | 2587329.7455 | 1242610.5296
14 | 2587279.2606 | 1242610.3109 | 2587282.6017 | 1242622.3509
15 | 2587323.3188 | 1242487.8168 | 2587316.4722 | 1242495.4363 | 2587313.3055 | 1242498.5224
16 | 2587292.2445 | 1242648.3179 | 2587286.223 | 1242635.4005 | 2587282.6017 | 1242622.3509
17 | 2587320.3174 | 1242901.9168 | 2587311.7871 | 1242899.5893 | 2587284.8214 | 1242896.5121 | 2587261.029 | 1242896.65
18 | 2587289.0174 | 1242728.7801 | 2587261.029 | 1242896.65
19 | 2587320.3174 | 1242901.9168 | 2587323.2743 | 1242892.171 | 2587324.3715 | 1242878.738
20 | 2587262.7196 | 1242979.3008 | 2587265.3055 | 1242969.3445 | 2587276.1126 | 1242951.5766 | 2587290.8357 | 1242934.2451 | 2587315.2832 | 1242905.1074 | 2587320.3174 | 1242901.9168
21 | 2587291.7868 | 1242691.0322 | 2587289.0174 | 1242728.7801
22 | 2587452.293 | 1242862.543 | 2587324.3715 | 1242878.738
23 | 2587262.7196 | 1242979.3008 | 2587266.1689 | 1243026.7048
24 | 2587291.7868 | 1242691.0322 | 2587292.7306 | 1242678.1678
25 | 2587449.5451 | 1242828.5942 | 2587451.9631 | 1242846.0444 | 2587452.293 | 1242862.543
26 | 2587458.1705 | 1242864.9098 | 2587455.7931 | 1242862.9247 | 2587452.293 | 1242862.543
27 | 2587266.1689 | 1243026.7048 | 2587267.9773 | 1243051.5571 | 2587268.4419 | 1243055.6918
28 | 2587449.5451 | 1242828.5942 | 2587452.9382 | 1242821.2712 | 2587474.9918 | 1242811.3827
29 | 2587449.5451 | 1242828.5942 | 2587450.5399 | 1242813.1709
30 | 2587271.6208 | 1243083.9787 | 2587268.4419 | 1243055.6918
31 | 2587292.2445 | 1242648.3179 | 2587262.0124 | 1242652.2078 | 2587250.8102 | 1242654.2542
32 | 2587292.2445 | 1242648.3179 | 2587293.8188 | 1242663.335 | 2587292.7306 | 1242678.1678
33 | 2587292.2445 | 1242648.3179 | 2587311.5875 | 1242645.4522 | 2587322.8038 | 1242644.1359
34 | 2587236.531 | 1242656.8627 | 2587250.8102 | 1242654.2542
35 | 2587336.5621 | 1242642.5213 | 2587322.8038 | 1242644.1359
36 | 2587236.531 | 1242656.8627 | 2587227.5207 | 1242658.5086
37 | 2587336.5621 | 1242642.5213 | 2587343.7246 | 1242641.6807 | 2587380.7503 | 1242640.6783
38 | 2587227.5207 | 1242658.5086 | 2587218.253 | 1242660.2017
39 | 2587424.4075 | 1242639.4963 | 2587380.7503 | 1242640.6783
40 | 2587424.4075 | 1242639.4963 | 2587425.3262 | 1242639.4714
41 | 2587323.3188 | 1242487.8168 | 2587360.1086 | 1242446.8566 | 2587362.3527 | 1242435.9449
42 | 2587493.6659 | 1242803.0095 | 2587474.9918 | 1242811.3827
43 | 2587451.8717 | 1242792.5221 | 2587450.5399 | 1242813.1709
44 | 2587498.0562 | 1242800.9951 | 2587497.3597 | 1242801.3532 | 2587493.6659 | 1242803.0095
45 | 2587183.284 | 1241653.908 | 2587187.9823 | 1241641.768 | 2587186.9474 | 1241628.2062 | 2587185.1544 | 1241613.6454 | 2587184.3442 | 1241610.185
46 | 2587079.2873 | 1241898.295 | 2587183.284 | 1241653.908
47 | 2587183.284 | 1241653.908 | 2587504.0475 | 1241685.3392
48 | 2587055.5511 | 1241887.9891 | 2587055.5511 | 1241887.9891 | 2587069.2556 | 1241891.25 | 2587079.2873 | 1241898.295
49 | 2587048.795 | 1241897.1751 | 2587055.5511 | 1241887.9891
50 | 2587511.9431 | 1242507.329 | 2587513.9221 | 1242507.2622
51 | 2587511.9431 | 1242507.329 | 2587481.925 | 1242508.3422
52 | 2587474.1514 | 1242508.6046 | 2587481.925 | 1242508.3422
53 | 2587459.2951 | 1242509.106 | 2587474.1514 | 1242508.6046
54 | 2587459.2951 | 1242509.106 | 2587460.8893 | 1242554.9537 | 2587461.1871 | 1242563.4806
55 | 2587461.1871 | 1242563.4806 | 2587461.8424 | 1242582.2379
56 | 2587461.1871 | 1242563.4806 | 2587483.6774 | 1242562.8239
57 | 2587462.5151 | 1242601.4905 | 2587461.8424 | 1242582.2379
58 | 2587502.249 | 1242562.2815 | 2587483.6774 | 1242562.8239
59 | 2587578.0721 | 1242653.7694 | 2587585.1332 | 1242654.9676
60 | 2587562.3364 | 1242651.0991 | 2587578.0721 | 1242653.7694
61 | 2587585.1332 | 1242654.9676 | 2587608.4936 | 1242658.9317
62 | 2587562.3364 | 1242651.0991 | 2587531.2029 | 1242645.8141
63 | 2587562.3364 | 1242651.0991 | 2587563.8545 | 1242683.8775
64 | 2587612.1723 | 1242659.5559 | 2587608.4936 | 1242658.9317
65 | 2587531.2029 | 1242645.8141 | 2587524.3225 | 1242644.6461
66 | 2587561.5828 | 1242727.3264 | 2587565.025 | 1242725.2956 | 2587565.6228 | 1242722.059 | 2587563.8545 | 1242683.8775
67 | 2587507.1481 | 1242642.3742 | 2587512.3963 | 1242642.6216 | 2587524.3225 | 1242644.6461
68 | 2587507.1481 | 1242642.3742 | 2587487.5563 | 1242641.4505
69 | 2587464.6539 | 1242640.4549 | 2587473.8076 | 1242640.8023 | 2587487.5563 | 1242641.4505
70 | 2587319.7571 | 1242360.6113 | 2587318.5643 | 1242368.3076 | 2587318.8311 | 1242379.8587 | 2587331.1667 | 1242390.4166 | 2587353.6296 | 1242414.5391 | 2587360.4389 | 1242424.6753 | 2587362.3527 | 1242435.9449
71 | 2587387.4019 | 1242609.0941 | 2587390.3993 | 1242609.0485
72 | 2587390.3993 | 1242609.0485 | 2587403.954 | 1242608.8422 | 2587403.954 | 1242608.8422
73 | 2587403.954 | 1242608.8422 | 2587408.0393 | 1242603.5413 | 2587422.4907 | 1242602.9972
74 | 2587422.4907 | 1242602.9972 | 2587444.5847 | 1242602.1655
75 | 2587462.5151 | 1242601.4905 | 2587444.5847 | 1242602.1655
76 | 2587462.5151 | 1242601.4905 | 2587462.9402 | 1242613.5602
77 | 2587464.6539 | 1242640.4549 | 2587463.1506 | 1242619.5339 | 2587462.9402 | 1242613.5602
78 | 2587464.6539 | 1242640.4549 | 2587463.5637 | 1242640.4181
79 | 2587444.2752 | 1242639.7819 | 2587445.4319 | 1242639.8065 | 2587463.5637 | 1242640.4181
80 | 2587432.1439 | 1242639.5235 | 2587444.2752 | 1242639.7819
81 | 2587432.1439 | 1242639.5235 | 2587431.0709 | 1242665.5396
82 | 2587432.1439 | 1242639.5235 | 2587425.3262 | 1242639.4714
83 | 2587438.7183 | 1242734.6582 | 2587431.4182 | 1242728.0696 | 2587429.7148 | 1242698.4213 | 2587431.0709 | 1242665.5396
84 | 2587425.3262 | 1242639.4714 | 2587425.8673 | 1242659.2716 | 2587425.9963 | 1242669.0436
85 | 2587426.173 | 1242682.4331 | 2587425.9963 | 1242669.0436
86 | 2587421.3611 | 1242718.7408 | 2587426.3902 | 1242698.8953 | 2587426.173 | 1242682.4331
87 | 2587499.6398 | 1242800.181 | 2587498.0562 | 1242800.9951
88 | 2587499.6398 | 1242800.181 | 2587499.1802 | 1242830.9928
89 | 2587499.6398 | 1242800.181 | 2587505.3097 | 1242797.2783 | 2587525.9415 | 1242782.214 | 2587528.701 | 1242780.1097

## bus_geodata
| x | y | coords
0 | 2586623.8575 | 1242359.6628
1 | 2586625.9013 | 1242369.4757
2 | 2586901.7998 | 1242280.4635
3 | 2586629.1471 | 1242384.6831
4 | 2586966.0965 | 1242314.3408
5 | 2587016.5182 | 1242338.7242
6 | 2587130.7041 | 1241960.3588
7 | 2587200.4819 | 1242523.9382
8 | 2587217.038 | 1242588.1204
9 | 2587268.7105 | 1242579.4142
10 | 2587296.9205 | 1242514.49
11 | 2587279.2606 | 1242610.3109
12 | 2587313.3055 | 1242498.5224
13 | 2587329.7455 | 1242610.5296
14 | 2587282.6017 | 1242622.3509
15 | 2587261.029 | 1242896.65
16 | 2587320.3174 | 1242901.9168
17 | 2587289.0174 | 1242728.7801
18 | 2587324.3715 | 1242878.738
19 | 2587262.7196 | 1242979.3008
20 | 2587291.7868 | 1242691.0322
21 | 2587452.293 | 1242862.543
22 | 2587266.1689 | 1243026.7048
23 | 2587449.5451 | 1242828.5942
24 | 2587458.1705 | 1242864.9098
25 | 2587268.4419 | 1243055.6918
26 | 2587271.6208 | 1243083.9787
27 | 2587292.2445 | 1242648.3179
28 | 2587250.8102 | 1242654.2542
29 | 2587292.7306 | 1242678.1678
30 | 2587322.8038 | 1242644.1359
31 | 2587236.531 | 1242656.8627
32 | 2587336.5621 | 1242642.5213
33 | 2587227.5207 | 1242658.5086
34 | 2587380.7503 | 1242640.6783
35 | 2587218.253 | 1242660.2017
36 | 2587424.4075 | 1242639.4963
37 | 2587323.3188 | 1242487.8168
38 | 2587474.9918 | 1242811.3827
39 | 2587450.5399 | 1242813.1709
40 | 2587493.6659 | 1242803.0095
41 | 2587451.8717 | 1242792.5221
42 | 2587184.3442 | 1241610.185
43 | 2587183.284 | 1241653.908
44 | 2587079.2873 | 1241898.295
45 | 2587504.0475 | 1241685.3392
46 | 2587055.5511 | 1241887.9891
47 | 2587048.795 | 1241897.1751
48 | 2587511.9431 | 1242507.329
49 | 2587513.9221 | 1242507.2622
50 | 2587481.925 | 1242508.3422
51 | 2587474.1514 | 1242508.6046
52 | 2587459.2951 | 1242509.106
53 | 2587461.1871 | 1242563.4806
54 | 2587461.8424 | 1242582.2379
55 | 2587483.6774 | 1242562.8239
56 | 2587578.0721 | 1242653.7694
57 | 2587585.1332 | 1242654.9676
58 | 2587562.3364 | 1242651.0991
59 | 2587608.4936 | 1242658.9317
60 | 2587531.2029 | 1242645.8141
61 | 2587563.8545 | 1242683.8775
62 | 2587612.1723 | 1242659.5559
63 | 2587524.3225 | 1242644.6461
64 | 2587561.5828 | 1242727.3264
65 | 2587507.1481 | 1242642.3742
66 | 2587487.5563 | 1242641.4505
67 | 2587362.3527 | 1242435.9449
68 | 2587319.7571 | 1242360.6113
69 | 2587387.4019 | 1242609.0941
70 | 2587390.3993 | 1242609.0485
71 | 2587403.954 | 1242608.8422
72 | 2587422.4907 | 1242602.9972
73 | 2587444.5847 | 1242602.1655
74 | 2587462.5151 | 1242601.4905
75 | 2587502.249 | 1242562.2815
76 | 2587462.9402 | 1242613.5602
77 | 2587464.6539 | 1242640.4549
78 | 2587463.5637 | 1242640.4181
79 | 2587444.2752 | 1242639.7819
80 | 2587432.1439 | 1242639.5235
81 | 2587431.0709 | 1242665.5396
82 | 2587425.3262 | 1242639.4714
83 | 2587425.9963 | 1242669.0436
84 | 2587426.173 | 1242682.4331
85 | 2587438.7183 | 1242734.6582
86 | 2587421.3611 | 1242718.7408
87 | 2587498.0562 | 1242800.9951
88 | 2587499.6398 | 1242800.181
89 | 2587499.1802 | 1242830.9928
90 | 2587528.701 | 1242780.1097
91 | 2587366.5493 | 1242609.4115

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1