## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6743-12_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6743-12_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6743-12_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6743-12_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6743-12_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6743-12_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6743-12_0_3_node_24 | 0.4 | n |  | TRUE
7 | bus_LV_6743-12_0_3_node_25 | 0.4 | n |  | TRUE
8 | bus_LV_6743-12_0_3_node_53 | 0.4 | n |  | TRUE
9 | bus_LV_6743-12_0_3_node_55 | 0.4 | n |  | TRUE
10 | bus_LV_6743-12_0_3_node_56 | 0.4 | n |  | TRUE
11 | bus_LV_6743-12_0_3_node_52 | 0.4 | n |  | TRUE
12 | bus_LV_6743-12_0_3_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_6743-12_0_3_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_6743-12_0_3_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_6743-12_0_3_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_6743-12_0_3_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_6743-12_0_3_node_30 | 0.4 | n |  | TRUE
18 | bus_LV_6743-12_0_3_node_36 | 0.4 | n |  | TRUE
19 | bus_LV_6743-12_0_3_node_28 | 0.4 | n |  | TRUE
20 | bus_LV_6743-12_0_3_node_67 | 0.4 | n |  | TRUE
21 | bus_LV_6743-12_0_3_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_6743-12_0_3_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_6743-12_0_3_node_66 | 0.4 | n |  | TRUE
24 | bus_LV_6743-12_0_3_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_6743-12_0_3_node_51 | 0.4 | n |  | TRUE
26 | bus_LV_6743-12_0_3_node_65 | 0.4 | n |  | TRUE
27 | bus_LV_6743-12_0_3_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_6743-12_0_3_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_6743-12_0_3_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_6743-12_0_3_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_6743-12_0_3_node_74 | 0.4 | n |  | TRUE
32 | bus_LV_6743-12_0_3_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_6743-12_0_3_node_49 | 0.4 | n |  | TRUE
34 | bus_LV_6743-12_0_3_node_60 | 0.4 | n |  | TRUE
35 | bus_LV_6743-12_0_3_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_6743-12_0_3_node_47 | 0.4 | n |  | TRUE
37 | bus_LV_6743-12_0_3_node_40 | 0.4 | n |  | TRUE
38 | bus_LV_6743-12_0_3_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_6743-12_0_3_node_19 | 0.4 | n |  | TRUE
40 | bus_LV_6743-12_0_3_node_20 | 0.4 | n |  | TRUE
41 | bus_LV_6743-12_0_3_node_22 | 0.4 | n |  | TRUE
42 | bus_LV_6743-12_0_3_node_23 | 0.4 | n |  | TRUE
43 | bus_LV_6743-12_0_3_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_6743-12_0_3_node_26 | 0.4 | n |  | TRUE
45 | bus_LV_6743-12_0_3_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_6743-12_0_3_node_37 | 0.4 | n |  | TRUE
47 | bus_LV_6743-12_0_3_node_42 | 0.4 | n |  | TRUE
48 | bus_LV_6743-12_0_3_node_43 | 0.4 | n |  | TRUE
49 | bus_LV_6743-12_0_3_node_31 | 0.4 | n |  | TRUE
50 | bus_LV_6743-12_0_3_node_32 | 0.4 | n |  | TRUE
51 | bus_LV_6743-12_0_3_node_33 | 0.4 | n |  | TRUE
52 | bus_LV_6743-12_0_3_node_34 | 0.4 | n |  | TRUE
53 | bus_LV_6743-12_0_3_node_35 | 0.4 | n |  | TRUE
54 | bus_LV_6743-12_0_3_node_41 | 0.4 | n |  | TRUE
55 | bus_LV_6743-12_0_3_node_54 | 0.4 | n |  | TRUE
56 | bus_LV_6743-12_0_3_node_68 | 0.4 | n |  | TRUE
57 | bus_LV_6743-12_0_3_node_45 | 0.4 | n |  | TRUE
58 | bus_LV_6743-12_0_3_node_44 | 0.4 | n |  | TRUE
59 | bus_LV_6743-12_0_3_node_46 | 0.4 | n |  | TRUE
60 | bus_LV_6743-12_0_3_node_48 | 0.4 | n |  | TRUE
61 | bus_LV_6743-12_0_3_node_50 | 0.4 | n |  | TRUE
62 | bus_LV_6743-12_0_3_node_57 | 0.4 | n |  | TRUE
63 | bus_LV_6743-12_0_3_node_69 | 0.4 | n |  | TRUE
64 | bus_LV_6743-12_0_3_node_63 | 0.4 | n |  | TRUE
65 | bus_LV_6743-12_0_3_node_64 | 0.4 | n |  | TRUE
66 | bus_LV_6743-12_0_3_node_61 | 0.4 | n |  | TRUE
67 | bus_LV_6743-12_0_3_node_62 | 0.4 | n |  | TRUE
68 | bus_LV_6743-12_0_3_node_70 | 0.4 | n |  | TRUE
69 | bus_LV_6743-12_0_3_node_73 | 0.4 | n |  | TRUE
70 | bus_LV_6743-12_0_3_node_71 | 0.4 | n |  | TRUE
71 | bus_LV_6743-12_0_3_node_72 | 0.4 | n |  | TRUE
72 | bus_MV_329_1_node_118 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6743-12_0_3_load_0 | 0 | 0.0042604 | 0.0010678 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6743-12_0_3_load_1 | 1 | 0.0027088 | 0.00067889 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6743-12_0_3_load_3 | 3 | 0.0038589 | 0.00096714 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6743-12_0_3_load_4 | 4 | 0.0029191 | 0.0007316 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6743-12_0_3_load_5 | 5 | 0.0054689 | 0.0013706 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6743-12_0_3_load_24 | 6 | 0.0026874 | 0.00067353 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6743-12_0_3_load_55 | 9 | 0.0013766 | 0.00034501 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6743-12_0_3_load_56 | 10 | 0.0036557 | 0.00091621 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6743-12_0_3_load_52 | 11 | 0.003801 | 0.00095262 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6743-12_0_3_load_6 | 12 | 0.0025227 | 0.00063225 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6743-12_0_3_load_7 | 13 | 0.0012082 | 0.00030279 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6743-12_0_3_load_8 | 14 | 0.0010222 | 0.00025619 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6743-12_0_3_load_10 | 15 | 0.0014454 | 0.00036224 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6743-12_0_3_load_9 | 16 | 0.010423 | 0.0026123 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6743-12_0_3_load_30 | 17 | 0.0051405 | 0.0012883 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6743-12_0_3_load_36 | 18 | 0.00098675 | 0.0002473 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6743-12_0_3_load_28 | 19 | 0.003736 | 0.00093634 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6743-12_0_3_load_67 | 20 | 0.0013556 | 0.00033973 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6743-12_0_3_load_11 | 21 | 0.0039879 | 0.00099947 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6743-12_0_3_load_12 | 22 | 0.0015953 | 0.00039983 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6743-12_0_3_load_66 | 23 | 0.00079706 | 0.00019976 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6743-12_0_3_load_13 | 24 | 0.0020148 | 0.00050496 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6743-12_0_3_load_51 | 25 | 0.0044587 | 0.0011174 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6743-12_0_3_load_65 | 26 | 0.0015812 | 0.00039628 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6743-12_0_3_load_14 | 27 | 0.018034 | 0.0045196 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6743-12_0_3_load_15 | 28 | 0.0013131 | 0.0003291 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6743-12_0_3_load_16 | 29 | 0.0036446 | 0.00091343 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6743-12_0_3_load_74 | 31 | 0.0073354 | 0.0018384 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6743-12_0_3_load_49 | 33 | 0.0033193 | 0.0008319 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6743-12_0_3_load_60 | 34 | 0.0107 | 0.0026815 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6743-12_0_3_load_29 | 35 | 0.0073537 | 0.001843 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6743-12_0_3_load_47 | 36 | 0.0023631 | 0.00059225 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6743-12_0_3_load_40 | 37 | 0.0025363 | 0.00063566 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6743-12_0_3_load_27 | 38 | 0.013526 | 0.0033899 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6743-12_0_3_load_19 | 39 | 0.0010693 | 0.00026799 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6743-12_0_3_load_20 | 40 | 0.00065498 | 0.00016415 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6743-12_0_3_load_22 | 41 | 0.0055974 | 0.0014028 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6743-12_0_3_load_23 | 42 | 0.0020434 | 0.00051212 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6743-12_0_3_load_26 | 44 | 0.001899 | 0.00047595 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6743-12_0_3_load_39 | 45 | 0.039317 | 0.0098537 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6743-12_0_3_load_37 | 46 | 0.0014173 | 0.00035522 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6743-12_0_3_load_42 | 47 | 0.0024077 | 0.00060342 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6743-12_0_3_load_43 | 48 | 0.0042845 | 0.0010738 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6743-12_0_3_load_31 | 49 | 0.0015676 | 0.00039287 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6743-12_0_3_load_32 | 50 | 0.002336 | 0.00058546 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6743-12_0_3_load_33 | 51 | 0.0041359 | 0.0010366 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6743-12_0_3_load_54 | 55 | 0.0016634 | 0.00041689 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6743-12_0_3_load_45 | 57 | 0.0020378 | 0.00051073 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6743-12_0_3_load_44 | 58 | 0.0012681 | 0.00031781 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6743-12_0_3_load_46 | 59 | 0.0032146 | 0.00080565 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6743-12_0_3_load_48 | 60 | 0.0016675 | 0.0004179 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6743-12_0_3_load_50 | 61 | 0.0061904 | 0.0015515 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6743-12_0_3_load_57 | 62 | 0.0024222 | 0.00060706 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6743-12_0_3_load_69 | 63 | 0.001033 | 0.00025888 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6743-12_0_3_load_64 | 65 | 0.0029953 | 0.00075069 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6743-12_0_3_load_61 | 66 | 0.0034079 | 0.00085409 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6743-12_0_3_load_62 | 67 | 0.0014117 | 0.0003538 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6743-12_0_3_load_70 | 68 | 0.0006964 | 0.00017453 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6743-12_0_3_load_71 | 70 | 0.0015209 | 0.00038117 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6743-12_0_3_load_72 | 71 | 0.0016724 | 0.00041915 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 51 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6743-12_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0041857 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_6743-12_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.016965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_6743-12_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0093058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_6743-12_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.006339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_6743-12_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.03676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_6743-12_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.023484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_6743-12_0_3_line_6 | NAYY 4x150 SE | 6 | 7 | 0.037984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_6743-12_0_3_line_7 | NAYY 4x150 SE | 7 | 44 | 0.004652 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_6743-12_0_3_line_8 | NAYY 4x150 SE | 7 | 41 | 0.012474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_6743-12_0_3_line_9 | NAYY 4x150 SE | 8 | 9 | 0.039772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_6743-12_0_3_line_10 | NAYY 4x150 SE | 8 | 10 | 0.028889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_6743-12_0_3_line_11 | NAYY 4x150 SE | 8 | 11 | 0.023045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_6743-12_0_3_line_12 | NAYY 4x150 SE | 9 | 54 | 0.022022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_6743-12_0_3_line_13 | NAYY 4x150 SE | 10 | 64 | 0.02369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_6743-12_0_3_line_14 | NAYY 4x150 SE | 11 | 25 | 0.0077821 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_6743-12_0_3_line_15 | NAYY 4x150 SE | 12 | 13 | 0.0083526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_6743-12_0_3_line_16 | NAYY 4x150 SE | 12 | 14 | 0.013413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_6743-12_0_3_line_17 | NAYY 4x150 SE | 14 | 15 | 0.017803 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_6743-12_0_3_line_18 | NAYY 4x150 SE | 15 | 18 | 0.0037876 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_6743-12_0_3_line_19 | NAYY 4x150 SE | 16 | 17 | 0.008109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_6743-12_0_3_line_20 | NAYY 4x150 SE | 17 | 19 | 0.019503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_6743-12_0_3_line_21 | NAYY 4x150 SE | 18 | 20 | 0.023601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_6743-12_0_3_line_22 | NAYY 4x150 SE | 19 | 38 | 0.021821 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_6743-12_0_3_line_23 | NAYY 4x150 SE | 20 | 56 | 0.010487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_6743-12_0_3_line_24 | NAYY 4x150 SE | 21 | 22 | 0.0068891 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_6743-12_0_3_line_25 | NAYY 4x150 SE | 21 | 23 | 0.027905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_6743-12_0_3_line_26 | NAYY 4x150 SE | 22 | 24 | 0.018787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_6743-12_0_3_line_27 | NAYY 4x150 SE | 24 | 25 | 0.019511 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_6743-12_0_3_line_28 | NAYY 4x150 SE | 24 | 26 | 0.047919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_6743-12_0_3_line_29 | NAYY 4x150 SE | 27 | 28 | 0.0221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_6743-12_0_3_line_30 | NAYY 4x150 SE | 27 | 29 | 0.010712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_6743-12_0_3_line_31 | NAYY 4x150 SE | 28 | 30 | 0.01768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_6743-12_0_3_line_32 | NAYY 4x150 SE | 28 | 31 | 0.044283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_6743-12_0_3_line_33 | NAYY 4x150 SE | 29 | 32 | 0.01797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_6743-12_0_3_line_34 | NAYY 4x150 SE | 30 | 33 | 0.0085452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_6743-12_0_3_line_35 | NAYY 4x150 SE | 30 | 34 | 0.020526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_6743-12_0_3_line_36 | NAYY 4x150 SE | 32 | 35 | 0.016683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_6743-12_0_3_line_37 | NAYY 4x150 SE | 33 | 36 | 0.0371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_6743-12_0_3_line_38 | NAYY 4x150 SE | 34 | 37 | 0.011753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
39 | LV_6743-12_0_3_line_39 | NAYY 4x150 SE | 35 | 38 | 0.0073687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_6743-12_0_3_line_40 | NAYY 4x150 SE | 36 | 59 | 0.029813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_6743-12_0_3_line_41 | NAYY 4x150 SE | 37 | 53 | 0.032345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
42 | LV_6743-12_0_3_line_42 | NAYY 4x150 SE | 39 | 40 | 0.010347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_6743-12_0_3_line_43 | NAYY 4x150 SE | 40 | 41 | 0.019023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_6743-12_0_3_line_44 | NAYY 4x150 SE | 42 | 43 | 0.0096471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_6743-12_0_3_line_45 | NAYY 4x150 SE | 43 | 45 | 0.03041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_6743-12_0_3_line_46 | NAYY 4x150 SE | 43 | 46 | 0.01976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_6743-12_0_3_line_47 | NAYY 4x150 SE | 44 | 47 | 0.020085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_6743-12_0_3_line_48 | NAYY 4x150 SE | 46 | 53 | 0.049475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_6743-12_0_3_line_49 | NAYY 4x150 SE | 47 | 48 | 0.010468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_6743-12_0_3_line_50 | NAYY 4x150 SE | 48 | 58 | 0.018849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_6743-12_0_3_line_51 | NAYY 4x150 SE | 49 | 50 | 0.027651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_6743-12_0_3_line_52 | NAYY 4x150 SE | 49 | 51 | 0.054169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_6743-12_0_3_line_53 | NAYY 4x150 SE | 50 | 52 | 0.024048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_6743-12_0_3_line_54 | NAYY 4x150 SE | 51 | 53 | 0.022095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
55 | LV_6743-12_0_3_line_55 | NAYY 4x150 SE | 52 | 54 | 0.029914 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_6743-12_0_3_line_56 | NAYY 4x150 SE | 54 | 55 | 0.0098062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_6743-12_0_3_line_57 | NAYY 4x150 SE | 55 | 57 | 0.017267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_6743-12_0_3_line_58 | NAYY 4x150 SE | 56 | 68 | 0.012692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_6743-12_0_3_line_59 | NAYY 4x150 SE | 56 | 63 | 0.0211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_6743-12_0_3_line_60 | NAYY 4x150 SE | 57 | 58 | 0.010481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_6743-12_0_3_line_61 | NAYY 4x150 SE | 59 | 60 | 0.027486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_6743-12_0_3_line_62 | NAYY 4x150 SE | 60 | 61 | 0.030837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_6743-12_0_3_line_63 | NAYY 4x150 SE | 61 | 62 | 0.0073538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_6743-12_0_3_line_64 | NAYY 4x150 SE | 62 | 63 | 0.037591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_6743-12_0_3_line_65 | NAYY 4x150 SE | 64 | 65 | 0.0097202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_6743-12_0_3_line_66 | NAYY 4x150 SE | 64 | 66 | 0.018949 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_6743-12_0_3_line_67 | NAYY 4x150 SE | 66 | 67 | 0.016384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_6743-12_0_3_line_68 | NAYY 4x150 SE | 68 | 69 | 0.01476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_6743-12_0_3_line_69 | NAYY 4x150 SE | 69 | 70 | 0.015856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_6743-12_0_3_line_70 | NAYY 4x150 SE | 70 | 71 | 0.041373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6743-12_0_3_trafo_33 | 0.25 MVA 20/0.4 kV | 72 | 51 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2567088.7725 | 1229571.1409 | 2567090.3504 | 1229575.0178
1 | 2567082.3771 | 1229555.428 | 2567088.7725 | 1229571.1409
2 | 2567093.8586 | 1229583.637 | 2567090.3504 | 1229575.0178
3 | 2567082.3771 | 1229555.428 | 2567078.3729 | 1229550.5139
4 | 2567082.3771 | 1229555.428 | 2567116.7915 | 1229542.5069
5 | 2567072.4921 | 1229527.7779 | 2567078.3729 | 1229550.5139 | 2567078.3729 | 1229550.5139
6 | 2567082.0719 | 1229499.1287 | 2567069.8022 | 1229503.5885 | 2567068.1386 | 1229510.9466 | 2567072.4921 | 1229527.7779
7 | 2567082.0719 | 1229499.1287 | 2567086.4447 | 1229497.5411
8 | 2567082.0719 | 1229499.1287 | 2567083.152 | 1229486.7012
9 | 2567154.8718 | 1229528.2094 | 2567163.4374 | 1229489.3712
10 | 2567154.8718 | 1229528.2094 | 2567149.0227 | 1229556.5004
11 | 2567154.8718 | 1229528.2094 | 2567177.3622 | 1229533.2338
12 | 2567168.1803 | 1229467.8656 | 2567163.4374 | 1229489.3712
13 | 2567144.2263 | 1229579.6997 | 2567149.0227 | 1229556.5004
14 | 2567184.9571 | 1229534.9305 | 2567177.3622 | 1229533.2338
15 | 2567204.6002 | 1229235.7634 | 2567197.1958 | 1229231.898
16 | 2567204.6002 | 1229235.7634 | 2567216.4909 | 1229241.9708
17 | 2567232.2727 | 1229250.2094 | 2567216.4909 | 1229241.9708
18 | 2567235.6303 | 1229251.9622 | 2567232.2727 | 1229250.2094
19 | 2567163.6911 | 1229214.4074 | 2567161.3224 | 1229213.1708 | 2567156.4635 | 1229210.7314
20 | 2567139.034 | 1229201.9806 | 2567156.4635 | 1229210.7314
21 | 2567256.552 | 1229262.8841 | 2567235.6303 | 1229251.9622
22 | 2567139.034 | 1229201.9806 | 2567119.5328 | 1229192.1896
23 | 2567265.8485 | 1229267.7372 | 2567256.552 | 1229262.8841
24 | 2567229.0566 | 1229544.7825 | 2567222.3332 | 1229543.2805
25 | 2567229.0566 | 1229544.7825 | 2567255.2444 | 1229554.4203
26 | 2567203.9984 | 1229539.1844 | 2567222.3332 | 1229543.2805
27 | 2567184.9571 | 1229534.9305 | 2567203.9984 | 1229539.1844
28 | 2567203.9984 | 1229539.1844 | 2567218.0186 | 1229493.362
29 | 2567107.9154 | 1229224.1391 | 2567114.3505 | 1229243.9721 | 2567114.5773 | 1229245.2007
30 | 2567103.8319 | 1229214.2466 | 2567107.1595 | 1229221.8096 | 2567107.9154 | 1229224.1391
31 | 2567117.787 | 1229262.5866 | 2567114.5773 | 1229245.2007
32 | 2567114.5773 | 1229245.2007 | 2567071.4291 | 1229255.1615
33 | 2567096.5947 | 1229197.7981 | 2567103.8319 | 1229214.2466
34 | 2567117.787 | 1229262.5866 | 2567125.3013 | 1229266.6555
35 | 2567117.787 | 1229262.5866 | 2567118.9572 | 1229283.0789
36 | 2567096.5947 | 1229197.7981 | 2567112.3133 | 1229192.2075
37 | 2567157.9255 | 1229284.321 | 2567125.3013 | 1229266.6555
38 | 2567118.5734 | 1229294.7934 | 2567119.2303 | 1229287.8606 | 2567118.9572 | 1229283.0789
39 | 2567112.3133 | 1229192.2075 | 2567116.2485 | 1229191.463 | 2567119.5328 | 1229192.1896
40 | 2567184.1416 | 1229298.5167 | 2567157.9255 | 1229284.321
41 | 2567114.7956 | 1229326.909 | 2567117.0476 | 1229310.8979 | 2567118.5734 | 1229294.7934
42 | 2567076.2257 | 1229461.9573 | 2567084.799 | 1229467.75 | 2567084.799 | 1229467.75
43 | 2567084.799 | 1229467.75 | 2567083.152 | 1229486.7012
44 | 2567090.761 | 1229391.426 | 2567085.5468 | 1229399.5426
45 | 2567090.761 | 1229391.426 | 2567067.7682 | 1229371.5244
46 | 2567090.761 | 1229391.426 | 2567099.5359 | 1229373.7217
47 | 2567086.4447 | 1229497.5411 | 2567105.3236 | 1229490.6868
48 | 2567114.7956 | 1229326.909 | 2567111.8489 | 1229341.9456 | 2567108.6305 | 1229353.0813 | 2567101.6686 | 1229369.4188 | 2567099.5359 | 1229373.7217
49 | 2567115.1632 | 1229487.1144 | 2567105.3236 | 1229490.6868
50 | 2567115.1632 | 1229487.1144 | 2567132.8809 | 1229480.6817
51 | 2567159.7139 | 1229418.5627 | 2567158.6644 | 1229417.0318 | 2567147.7849 | 1229393.6434
52 | 2567128.0491 | 1229343.2621 | 2567131.3562 | 1229354.3561 | 2567144.1437 | 1229385.8155 | 2567147.7849 | 1229393.6434
53 | 2567173.3122 | 1229438.397 | 2567159.7139 | 1229418.5627
54 | 2567114.7956 | 1229326.909 | 2567125.6055 | 1229335.0651 | 2567128.0491 | 1229343.2621
55 | 2567173.3122 | 1229438.397 | 2567168.1803 | 1229467.8656
56 | 2567168.1803 | 1229467.8656 | 2567158.9629 | 1229471.2122
57 | 2567142.7323 | 1229477.105 | 2567158.9629 | 1229471.2122
58 | 2567265.8485 | 1229267.7372 | 2567277.0993 | 1229273.6121
59 | 2567265.8485 | 1229267.7372 | 2567256.1185 | 1229286.4602
60 | 2567142.7323 | 1229477.105 | 2567132.8809 | 1229480.6817
61 | 2567184.1416 | 1229298.5167 | 2567185.0395 | 1229299.0029 | 2567208.4414 | 1229311.3616
62 | 2567208.4414 | 1229311.3616 | 2567215.5821 | 1229315.1326 | 2567235.3932 | 1229326.341 | 2567235.3932 | 1229326.341
63 | 2567235.3932 | 1229326.341 | 2567238.7843 | 1229319.8157
64 | 2567256.1185 | 1229286.4602 | 2567238.7843 | 1229319.8157
65 | 2567144.2263 | 1229579.6997 | 2567142.2577 | 1229589.2185
66 | 2567144.2263 | 1229579.6997 | 2567162.7489 | 1229583.6992
67 | 2567162.7489 | 1229583.6992 | 2567178.7643 | 1229587.1573
68 | 2567290.1829 | 1229280.444 | 2567277.0993 | 1229273.6121
69 | 2567290.1829 | 1229280.444 | 2567304.2386 | 1229287.7812
70 | 2567304.2386 | 1229287.7812 | 2567312.1013 | 1229291.8856 | 2567340.1444 | 1229308.3198

## bus_geodata
| x | y | coords
0 | 2567088.7725 | 1229571.1409
1 | 2567090.3504 | 1229575.0178
2 | 2567082.3771 | 1229555.428
3 | 2567093.8586 | 1229583.637
4 | 2567078.3729 | 1229550.5139
5 | 2567116.7915 | 1229542.5069
6 | 2567072.4921 | 1229527.7779
7 | 2567082.0719 | 1229499.1287
8 | 2567154.8718 | 1229528.2094
9 | 2567163.4374 | 1229489.3712
10 | 2567149.0227 | 1229556.5004
11 | 2567177.3622 | 1229533.2338
12 | 2567204.6002 | 1229235.7634
13 | 2567197.1958 | 1229231.898
14 | 2567216.4909 | 1229241.9708
15 | 2567232.2727 | 1229250.2094
16 | 2567163.6911 | 1229214.4074
17 | 2567156.4635 | 1229210.7314
18 | 2567235.6303 | 1229251.9622
19 | 2567139.034 | 1229201.9806
20 | 2567256.552 | 1229262.8841
21 | 2567229.0566 | 1229544.7825
22 | 2567222.3332 | 1229543.2805
23 | 2567255.2444 | 1229554.4203
24 | 2567203.9984 | 1229539.1844
25 | 2567184.9571 | 1229534.9305
26 | 2567218.0186 | 1229493.362
27 | 2567107.9154 | 1229224.1391
28 | 2567114.5773 | 1229245.2007
29 | 2567103.8319 | 1229214.2466
30 | 2567117.787 | 1229262.5866
31 | 2567071.4291 | 1229255.1615
32 | 2567096.5947 | 1229197.7981
33 | 2567125.3013 | 1229266.6555
34 | 2567118.9572 | 1229283.0789
35 | 2567112.3133 | 1229192.2075
36 | 2567157.9255 | 1229284.321
37 | 2567118.5734 | 1229294.7934
38 | 2567119.5328 | 1229192.1896
39 | 2567076.2257 | 1229461.9573
40 | 2567084.799 | 1229467.75
41 | 2567083.152 | 1229486.7012
42 | 2567085.5468 | 1229399.5426
43 | 2567090.761 | 1229391.426
44 | 2567086.4447 | 1229497.5411
45 | 2567067.7682 | 1229371.5244
46 | 2567099.5359 | 1229373.7217
47 | 2567105.3236 | 1229490.6868
48 | 2567115.1632 | 1229487.1144
49 | 2567147.7849 | 1229393.6434
50 | 2567159.7139 | 1229418.5627
51 | 2567128.0491 | 1229343.2621
52 | 2567173.3122 | 1229438.397
53 | 2567114.7956 | 1229326.909
54 | 2567168.1803 | 1229467.8656
55 | 2567158.9629 | 1229471.2122
56 | 2567265.8485 | 1229267.7372
57 | 2567142.7323 | 1229477.105
58 | 2567132.8809 | 1229480.6817
59 | 2567184.1416 | 1229298.5167
60 | 2567208.4414 | 1229311.3615
61 | 2567235.3932 | 1229326.341
62 | 2567238.7843 | 1229319.8157
63 | 2567256.1185 | 1229286.4602
64 | 2567144.2263 | 1229579.6997
65 | 2567142.2577 | 1229589.2185
66 | 2567162.7489 | 1229583.6992
67 | 2567178.7643 | 1229587.1573
68 | 2567277.0993 | 1229273.6121
69 | 2567290.1829 | 1229280.444
70 | 2567304.2386 | 1229287.7812
71 | 2567340.1444 | 1229308.3198
72 | 2567114.7956 | 1229326.909

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1