## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6743-9_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6743-9_0_4_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_6743-9_0_4_node_1 | 0.4 | n |  | TRUE
3 | bus_LV_6743-9_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6743-9_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6743-9_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6743-9_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_6743-9_0_4_node_14 | 0.4 | n |  | TRUE
8 | bus_LV_6743-9_0_4_node_37 | 0.4 | n |  | TRUE
9 | bus_LV_6743-9_0_4_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_6743-9_0_4_node_15 | 0.4 | n |  | TRUE
11 | bus_LV_6743-9_0_4_node_38 | 0.4 | n |  | TRUE
12 | bus_LV_6743-9_0_4_node_36 | 0.4 | n |  | TRUE
13 | bus_LV_6743-9_0_4_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_6743-9_0_4_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_6743-9_0_4_node_18 | 0.4 | n |  | TRUE
16 | bus_LV_6743-9_0_4_node_19 | 0.4 | n |  | TRUE
17 | bus_LV_6743-9_0_4_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_6743-9_0_4_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_6743-9_0_4_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_6743-9_0_4_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_6743-9_0_4_node_49 | 0.4 | n |  | TRUE
22 | bus_LV_6743-9_0_4_node_48 | 0.4 | n |  | TRUE
23 | bus_LV_6743-9_0_4_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_6743-9_0_4_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_6743-9_0_4_node_23 | 0.4 | n |  | TRUE
26 | bus_LV_6743-9_0_4_node_42 | 0.4 | n |  | TRUE
27 | bus_LV_6743-9_0_4_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_6743-9_0_4_node_43 | 0.4 | n |  | TRUE
29 | bus_LV_6743-9_0_4_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_6743-9_0_4_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_6743-9_0_4_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_6743-9_0_4_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_6743-9_0_4_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_6743-9_0_4_node_46 | 0.4 | n |  | TRUE
35 | bus_LV_6743-9_0_4_node_50 | 0.4 | n |  | TRUE
36 | bus_LV_6743-9_0_4_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_6743-9_0_4_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_6743-9_0_4_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_6743-9_0_4_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_6743-9_0_4_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_6743-9_0_4_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_6743-9_0_4_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_6743-9_0_4_node_35 | 0.4 | n |  | TRUE
44 | bus_LV_6743-9_0_4_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_6743-9_0_4_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_6743-9_0_4_node_41 | 0.4 | n |  | TRUE
47 | bus_LV_6743-9_0_4_node_60 | 0.4 | n |  | TRUE
48 | bus_LV_6743-9_0_4_node_58 | 0.4 | n |  | TRUE
49 | bus_LV_6743-9_0_4_node_44 | 0.4 | n |  | TRUE
50 | bus_LV_6743-9_0_4_node_45 | 0.4 | n |  | TRUE
51 | bus_LV_6743-9_0_4_node_47 | 0.4 | n |  | TRUE
52 | bus_LV_6743-9_0_4_node_51 | 0.4 | n |  | TRUE
53 | bus_LV_6743-9_0_4_node_52 | 0.4 | n |  | TRUE
54 | bus_LV_6743-9_0_4_node_53 | 0.4 | n |  | TRUE
55 | bus_LV_6743-9_0_4_node_54 | 0.4 | n |  | TRUE
56 | bus_LV_6743-9_0_4_node_55 | 0.4 | n |  | TRUE
57 | bus_LV_6743-9_0_4_node_56 | 0.4 | n |  | TRUE
58 | bus_LV_6743-9_0_4_node_59 | 0.4 | n |  | TRUE
59 | bus_LV_6743-9_0_4_node_61 | 0.4 | n |  | TRUE
60 | bus_MV_329_1_node_242 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6743-9_0_4_load_0 | 0 | 0.012146 | 0.0030442 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6743-9_0_4_load_1 | 2 | 0.0054882 | 0.0013755 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6743-9_0_4_load_3 | 3 | 0.0015327 | 0.00038412 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6743-9_0_4_load_4 | 4 | 0.0037284 | 0.00093442 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6743-9_0_4_load_5 | 5 | 0.011784 | 0.0029534 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6743-9_0_4_load_14 | 7 | 0.0035181 | 0.00088171 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6743-9_0_4_load_7 | 9 | 0.0016601 | 0.00041606 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6743-9_0_4_load_38 | 11 | 0.0016581 | 0.00041555 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6743-9_0_4_load_36 | 12 | 0.0086633 | 0.0021712 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6743-9_0_4_load_9 | 14 | 0.0022915 | 0.0005743 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6743-9_0_4_load_18 | 15 | 0.0023739 | 0.00059496 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6743-9_0_4_load_19 | 16 | 0.0040362 | 0.0010116 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6743-9_0_4_load_10 | 17 | 0.0092819 | 0.0023263 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6743-9_0_4_load_11 | 18 | 0.0048558 | 0.001217 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6743-9_0_4_load_49 | 21 | 0.0078825 | 0.0019755 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6743-9_0_4_load_48 | 22 | 0.0065856 | 0.0016505 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6743-9_0_4_load_16 | 23 | 0.00075139 | 0.00018832 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6743-9_0_4_load_17 | 24 | 0.00049992 | 0.00012529 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6743-9_0_4_load_23 | 25 | 0.002599 | 0.00065137 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6743-9_0_4_load_42 | 26 | 0.00044122 | 0.00011058 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6743-9_0_4_load_24 | 27 | 0.0015542 | 0.00038952 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6743-9_0_4_load_43 | 28 | 0.0023984 | 0.0006011 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6743-9_0_4_load_20 | 29 | 0.0031988 | 0.0008017 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6743-9_0_4_load_21 | 30 | 0.015402 | 0.0038602 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6743-9_0_4_load_22 | 31 | 0.001726 | 0.00043258 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6743-9_0_4_load_28 | 32 | 0.007767 | 0.0019466 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6743-9_0_4_load_50 | 35 | 0.0033495 | 0.00083946 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6743-9_0_4_load_25 | 36 | 0.0047159 | 0.0011819 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6743-9_0_4_load_29 | 37 | 0.0066975 | 0.0016785 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6743-9_0_4_load_30 | 38 | 0.0018534 | 0.0004645 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6743-9_0_4_load_31 | 39 | 0.0026377 | 0.00066108 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6743-9_0_4_load_32 | 40 | 0.00092378 | 0.00023152 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6743-9_0_4_load_33 | 41 | 0.0023005 | 0.00057655 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6743-9_0_4_load_34 | 42 | 0.00099295 | 0.00024886 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6743-9_0_4_load_35 | 43 | 0.011153 | 0.0027951 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6743-9_0_4_load_39 | 44 | 0.00092055 | 0.00023071 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6743-9_0_4_load_40 | 45 | 0.00082545 | 0.00020688 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6743-9_0_4_load_41 | 46 | 0.0010535 | 0.00026404 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6743-9_0_4_load_60 | 47 | 0.00067495 | 0.00016916 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6743-9_0_4_load_58 | 48 | 0.00084211 | 0.00021105 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6743-9_0_4_load_45 | 50 | 0.0018379 | 0.00046063 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6743-9_0_4_load_47 | 51 | 0.0011 | 0.00027568 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6743-9_0_4_load_51 | 52 | 0.0011222 | 0.00028125 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6743-9_0_4_load_52 | 53 | 0.023693 | 0.005938 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6743-9_0_4_load_53 | 54 | 0.0038703 | 0.00097 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6743-9_0_4_load_54 | 55 | 0.001681 | 0.0004213 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6743-9_0_4_load_55 | 56 | 0.0019051 | 0.00047747 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6743-9_0_4_load_59 | 58 | 0.0012549 | 0.00031451 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6743-9_0_4_load_61 | 59 | 0.0017157 | 0.00042998 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 1 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6743-9_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.029584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_6743-9_0_4_line_1 | NAYY 4x150 SE | 1 | 4 | 0.0066635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_6743-9_0_4_line_2 | NAYY 4x150 SE | 1 | 5 | 0.028546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
3 | LV_6743-9_0_4_line_3 | NAYY 4x150 SE | 2 | 3 | 0.043907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_6743-9_0_4_line_4 | NAYY 4x150 SE | 3 | 6 | 0.025293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_6743-9_0_4_line_5 | NAYY 4x150 SE | 4 | 7 | 0.012258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_6743-9_0_4_line_6 | NAYY 4x150 SE | 5 | 8 | 0.0090445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_6743-9_0_4_line_7 | NAYY 4x150 SE | 6 | 9 | 0.023208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_6743-9_0_4_line_8 | NAYY 4x150 SE | 7 | 10 | 0.015291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_6743-9_0_4_line_9 | NAYY 4x150 SE | 8 | 11 | 0.029374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_6743-9_0_4_line_10 | NAYY 4x150 SE | 8 | 12 | 0.019888 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_6743-9_0_4_line_11 | NAYY 4x150 SE | 9 | 13 | 0.033842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_6743-9_0_4_line_12 | NAYY 4x150 SE | 10 | 23 | 0.0072086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_6743-9_0_4_line_13 | NAYY 4x150 SE | 10 | 24 | 0.01444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_6743-9_0_4_line_14 | NAYY 4x150 SE | 11 | 37 | 0.011557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_6743-9_0_4_line_15 | NAYY 4x150 SE | 12 | 43 | 0.002874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_6743-9_0_4_line_16 | NAYY 4x150 SE | 13 | 14 | 0.012764 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_6743-9_0_4_line_17 | NAYY 4x150 SE | 14 | 15 | 0.019245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_6743-9_0_4_line_18 | NAYY 4x150 SE | 15 | 16 | 0.020096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_6743-9_0_4_line_19 | NAYY 4x150 SE | 16 | 29 | 0.017263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_6743-9_0_4_line_20 | NAYY 4x150 SE | 17 | 18 | 0.020169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_6743-9_0_4_line_21 | NAYY 4x150 SE | 17 | 19 | 0.025865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_6743-9_0_4_line_22 | NAYY 4x150 SE | 19 | 20 | 0.073093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_6743-9_0_4_line_23 | NAYY 4x150 SE | 20 | 21 | 0.013617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_6743-9_0_4_line_24 | NAYY 4x150 SE | 21 | 22 | 0.0052121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_6743-9_0_4_line_25 | NAYY 4x150 SE | 22 | 34 | 0.012417 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_6743-9_0_4_line_26 | NAYY 4x150 SE | 23 | 25 | 0.01503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_6743-9_0_4_line_27 | NAYY 4x150 SE | 24 | 26 | 0.015027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_6743-9_0_4_line_28 | NAYY 4x150 SE | 25 | 27 | 0.0058929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_6743-9_0_4_line_29 | NAYY 4x150 SE | 26 | 28 | 0.051458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_6743-9_0_4_line_30 | NAYY 4x150 SE | 27 | 34 | 0.030492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_6743-9_0_4_line_31 | NAYY 4x150 SE | 28 | 49 | 0.090068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_6743-9_0_4_line_32 | NAYY 4x150 SE | 29 | 30 | 0.028921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_6743-9_0_4_line_33 | NAYY 4x150 SE | 30 | 31 | 0.017859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_6743-9_0_4_line_34 | NAYY 4x150 SE | 31 | 32 | 0.016475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_6743-9_0_4_line_35 | NAYY 4x150 SE | 32 | 33 | 0.012917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_6743-9_0_4_line_36 | NAYY 4x150 SE | 33 | 37 | 0.0055923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_6743-9_0_4_line_37 | NAYY 4x150 SE | 33 | 36 | 0.016943 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_6743-9_0_4_line_38 | NAYY 4x150 SE | 34 | 35 | 0.023103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_6743-9_0_4_line_39 | NAYY 4x150 SE | 35 | 52 | 0.018049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_6743-9_0_4_line_40 | NAYY 4x150 SE | 38 | 39 | 0.0087649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_6743-9_0_4_line_41 | NAYY 4x150 SE | 38 | 40 | 0.0089797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_6743-9_0_4_line_42 | NAYY 4x150 SE | 39 | 41 | 0.010437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_6743-9_0_4_line_43 | NAYY 4x150 SE | 40 | 42 | 0.078624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_6743-9_0_4_line_44 | NAYY 4x150 SE | 41 | 43 | 0.01315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_6743-9_0_4_line_45 | NAYY 4x150 SE | 42 | 44 | 0.0014961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_6743-9_0_4_line_46 | NAYY 4x150 SE | 44 | 45 | 0.015648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_6743-9_0_4_line_47 | NAYY 4x150 SE | 45 | 46 | 0.0080834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_6743-9_0_4_line_48 | NAYY 4x150 SE | 46 | 47 | 0.027938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_6743-9_0_4_line_49 | NAYY 4x150 SE | 47 | 48 | 0.00084922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_6743-9_0_4_line_50 | NAYY 4x150 SE | 48 | 57 | 0.053227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_6743-9_0_4_line_51 | NAYY 4x150 SE | 49 | 50 | 0.018439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_6743-9_0_4_line_52 | NAYY 4x150 SE | 50 | 51 | 0.067142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_6743-9_0_4_line_53 | NAYY 4x150 SE | 52 | 53 | 0.041809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_6743-9_0_4_line_54 | NAYY 4x150 SE | 53 | 54 | 0.0086033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_6743-9_0_4_line_55 | NAYY 4x150 SE | 55 | 56 | 0.0060203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_6743-9_0_4_line_56 | NAYY 4x150 SE | 55 | 57 | 0.010967 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_6743-9_0_4_line_57 | NAYY 4x150 SE | 57 | 58 | 0.023584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_6743-9_0_4_line_58 | NAYY 4x150 SE | 58 | 59 | 0.057642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6743-9_0_4_trafo_2 | 0.25 MVA 20/0.4 kV | 60 | 1 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2567194.6031 | 1229049.1758 | 2567172.1657 | 1229029.8938
1 | 2567194.6031 | 1229049.1758 | 2567198.7692 | 1229043.9753
2 | 2567194.6031 | 1229049.1758 | 2567191.486 | 1229052.6507 | 2567185.177 | 1229059.79 | 2567180.2694 | 1229065.5206 | 2567174.9557 | 1229069.7727
3 | 2567101.136 | 1228985.3526 | 2567061.6463 | 1228966.1603
4 | 2567038.8976 | 1228955.1043 | 2567061.6463 | 1228966.1603
5 | 2567198.7692 | 1229043.9753 | 2567206.4331 | 1229034.4086
6 | 2567167.694 | 1229075.1627 | 2567174.0017 | 1229070.5361 | 2567174.9557 | 1229069.7727
7 | 2567038.8976 | 1228955.1043 | 2567028.0249 | 1228975.6075
8 | 2567215.9934 | 1229022.4746 | 2567206.4331 | 1229034.4086
9 | 2567167.694 | 1229075.1627 | 2567159.9774 | 1229079.8194 | 2567150.8772 | 1229083.6166 | 2567140.8553 | 1229086.7493
10 | 2567167.694 | 1229075.1627 | 2567179.2914 | 1229088.6512 | 2567180.8029 | 1229090.1086
11 | 2567012.1701 | 1229005.5058 | 2567028.0249 | 1228975.6075
12 | 2567215.9934 | 1229022.4746 | 2567220.5849 | 1229016.9175
13 | 2567215.9934 | 1229022.4746 | 2567227.4202 | 1229031.3039
14 | 2567129.6948 | 1229089.7323 | 2567137.5519 | 1229087.7818 | 2567140.8553 | 1229086.7493
15 | 2567182.8719 | 1229092.1035 | 2567180.8029 | 1229090.1086
16 | 2567012.1701 | 1229005.5058 | 2567023.7415 | 1229010.8933
17 | 2567023.7415 | 1229010.8933 | 2567035.8377 | 1229016.5253 | 2567041.0571 | 1229019.2814
18 | 2567058.8275 | 1229028.6651 | 2567041.0571 | 1229019.2814
19 | 2567058.8275 | 1229028.6651 | 2567063.7152 | 1229031.246 | 2567074.1809 | 1229036.5568
20 | 2567200.0291 | 1228952.3876 | 2567197.0674 | 1228957.8622 | 2567184.9457 | 1228950.9696
21 | 2567212.3358 | 1228929.6384 | 2567200.0291 | 1228952.3876
22 | 2567212.3358 | 1228929.6384 | 2567216.188 | 1228930.3064 | 2567264.9079 | 1228941.0994 | 2567272.601 | 1228944.4923 | 2567271.5568 | 1228946.0879 | 2567270.9626 | 1228948.2481 | 2567271.207 | 1228949.9811 | 2567271.5615 | 1228951.0687 | 2567272.7764 | 1228952.9298 | 2567274.0169 | 1228953.9569
23 | 2567274.0169 | 1228953.9569 | 2567269.3773 | 1228960.2308 | 2567265.474 | 1228964.5402
24 | 2567261.9751 | 1228968.4032 | 2567265.474 | 1228964.5402
25 | 2567253.6396 | 1228977.606 | 2567261.9751 | 1228968.4032
26 | 2567230.1584 | 1229005.3306 | 2567220.5849 | 1229016.9175
27 | 2567239.3484 | 1229040.4427 | 2567235.5087 | 1229037.5537 | 2567227.4202 | 1229031.3039
28 | 2567230.1584 | 1229005.3306 | 2567233.9119 | 1229000.7877
29 | 2567239.3484 | 1229040.4427 | 2567270.0539 | 1229063.5454 | 2567281.3929 | 1229069.9682
30 | 2567253.6396 | 1228977.606 | 2567250.202 | 1228980.6713 | 2567241.6477 | 1228991.4251 | 2567233.9119 | 1229000.7877
31 | 2567362.1851 | 1229109.3654 | 2567344.8492 | 1229102.0119 | 2567327.3509 | 1229095.4266 | 2567302.3214 | 1229081.8229 | 2567281.3929 | 1229069.9682
32 | 2567098.4073 | 1229052.1661 | 2567084.4556 | 1229041.7706 | 2567074.1809 | 1229036.5568
33 | 2567098.4073 | 1229052.1661 | 2567098.4073 | 1229052.1661 | 2567109.9081 | 1229065.8286
34 | 2567119.9119 | 1229078.9187 | 2567110.0142 | 1229065.9546 | 2567109.9081 | 1229065.8286
35 | 2567124.2672 | 1229091.0797 | 2567119.9119 | 1229078.9187
36 | 2567124.2672 | 1229091.0797 | 2567129.6948 | 1229089.7323
37 | 2567124.2672 | 1229091.0797 | 2567117.028 | 1229093.021 | 2567109.3387 | 1229095.7542 | 2567108.1707 | 1229096.2964
38 | 2567253.6396 | 1228977.606 | 2567269.1166 | 1228994.7582
39 | 2567281.5603 | 1229007.8258 | 2567273.664 | 1228999.7978 | 2567269.1166 | 1228994.7582
40 | 2567208.8384 | 1229110.9466 | 2567202.9897 | 1229106.6977 | 2567201.6234 | 1229105.9965
41 | 2567208.8384 | 1229110.9466 | 2567216.1034 | 1229116.2244
42 | 2567201.6234 | 1229105.9965 | 2567192.3383 | 1229101.2311
43 | 2567216.1034 | 1229116.2244 | 2567217.3275 | 1229117.1136 | 2567257.5402 | 1229135.1135 | 2567252.714 | 1229162.4346 | 2567250.8427 | 1229167.403
44 | 2567182.8719 | 1229092.1035 | 2567192.3383 | 1229101.2311 | 2567192.3383 | 1229101.2311
45 | 2567250.3153 | 1229168.8031 | 2567250.8427 | 1229167.403
46 | 2567250.3153 | 1229168.8031 | 2567244.8 | 1229183.4466 | 2567244.8 | 1229183.4466
47 | 2567252.1897 | 1229186.7227 | 2567244.8 | 1229183.4466
48 | 2567252.1897 | 1229186.7227 | 2567277.7303 | 1229198.0459
49 | 2567278.5067 | 1229198.3901 | 2567277.7303 | 1229198.0459
50 | 2567310.9612 | 1229228.0197 | 2567314.2031 | 1229214.2157 | 2567278.5067 | 1229198.3901
51 | 2567362.1851 | 1229109.3654 | 2567357.9828 | 1229115.2699 | 2567353.9832 | 1229125.7228
52 | 2567345.2344 | 1229188.4179 | 2567338.351 | 1229176.5597 | 2567339.0328 | 1229168.2954 | 2567345.974 | 1229146.6551 | 2567353.9832 | 1229125.7228
53 | 2567281.5603 | 1229007.8258 | 2567304.7706 | 1229031.4232 | 2567311.6423 | 1229036.7746
54 | 2567318.4301 | 1229042.0607 | 2567311.6423 | 1229036.7746
55 | 2567307.2587 | 1229238.3429 | 2567305.2262 | 1229244.0098
56 | 2567310.9612 | 1229228.0197 | 2567307.2587 | 1229238.3429
57 | 2567310.9612 | 1229228.0197 | 2567334.148 | 1229232.3292
58 | 2567334.148 | 1229232.3292 | 2567341.1125 | 1229233.6236 | 2567372.1357 | 1229244.893 | 2567379.2788 | 1229228.8608

## bus_geodata
| x | y | coords
0 | 2567172.1657 | 1229029.8938
1 | 2567194.6031 | 1229049.1758
2 | 2567101.136 | 1228985.3526
3 | 2567061.6463 | 1228966.1603
4 | 2567198.7692 | 1229043.9753
5 | 2567174.9557 | 1229069.7727
6 | 2567038.8976 | 1228955.1043
7 | 2567206.4331 | 1229034.4086
8 | 2567167.694 | 1229075.1627
9 | 2567028.0249 | 1228975.6075
10 | 2567215.9934 | 1229022.4746
11 | 2567140.8553 | 1229086.7493
12 | 2567180.8029 | 1229090.1086
13 | 2567012.1701 | 1229005.5058
14 | 2567023.7415 | 1229010.8933
15 | 2567041.0571 | 1229019.2814
16 | 2567058.8275 | 1229028.6651
17 | 2567200.0291 | 1228952.3876
18 | 2567184.9457 | 1228950.9696
19 | 2567212.3358 | 1228929.6384
20 | 2567274.0169 | 1228953.9569
21 | 2567265.474 | 1228964.5402
22 | 2567261.9751 | 1228968.4032
23 | 2567220.5849 | 1229016.9175
24 | 2567227.4202 | 1229031.3039
25 | 2567230.1584 | 1229005.3306
26 | 2567239.3484 | 1229040.4427
27 | 2567233.9119 | 1229000.7877
28 | 2567281.3929 | 1229069.9682
29 | 2567074.1809 | 1229036.5568
30 | 2567098.4073 | 1229052.1661
31 | 2567109.9081 | 1229065.8286
32 | 2567119.9119 | 1229078.9187
33 | 2567124.2672 | 1229091.0797
34 | 2567253.6396 | 1228977.606
35 | 2567269.1166 | 1228994.7582
36 | 2567108.1707 | 1229096.2964
37 | 2567129.6948 | 1229089.7323
38 | 2567208.8384 | 1229110.9466
39 | 2567201.6234 | 1229105.9965
40 | 2567216.1034 | 1229116.2244
41 | 2567192.3383 | 1229101.2311
42 | 2567250.8427 | 1229167.403
43 | 2567182.8719 | 1229092.1035
44 | 2567250.3153 | 1229168.8031
45 | 2567244.8 | 1229183.4466
46 | 2567252.1897 | 1229186.7227
47 | 2567277.7303 | 1229198.0459
48 | 2567278.5067 | 1229198.3901
49 | 2567362.1851 | 1229109.3654
50 | 2567353.9832 | 1229125.7228
51 | 2567345.2344 | 1229188.4179
52 | 2567281.5603 | 1229007.8258
53 | 2567311.6423 | 1229036.7746
54 | 2567318.4301 | 1229042.0607
55 | 2567307.2587 | 1229238.3429
56 | 2567305.2262 | 1229244.0098
57 | 2567310.9612 | 1229228.0197
58 | 2567334.148 | 1229232.3292
59 | 2567379.2788 | 1229228.8608
60 | 2567215.9934 | 1229022.4746

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1