## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6754-1_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6754-1_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6754-1_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6754-1_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_6754-1_0_4_node_13 | 0.4 | n |  | TRUE
5 | bus_LV_6754-1_0_4_node_39 | 0.4 | n |  | TRUE
6 | bus_LV_6754-1_0_4_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_6754-1_0_4_node_11 | 0.4 | n |  | TRUE
8 | bus_LV_6754-1_0_4_node_27 | 0.4 | n |  | TRUE
9 | bus_LV_6754-1_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_6754-1_0_4_node_65 | 0.4 | n |  | TRUE
11 | bus_LV_6754-1_0_4_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_6754-1_0_4_node_45 | 0.4 | n |  | TRUE
13 | bus_LV_6754-1_0_4_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_6754-1_0_4_node_29 | 0.4 | n |  | TRUE
15 | bus_LV_6754-1_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_6754-1_0_4_node_62 | 0.4 | n |  | TRUE
17 | bus_LV_6754-1_0_4_node_64 | 0.4 | n |  | TRUE
18 | bus_LV_6754-1_0_4_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_6754-1_0_4_node_63 | 0.4 | n |  | TRUE
20 | bus_LV_6754-1_0_4_node_57 | 0.4 | n |  | TRUE
21 | bus_LV_6754-1_0_4_node_28 | 0.4 | n |  | TRUE
22 | bus_LV_6754-1_0_4_node_60 | 0.4 | n |  | TRUE
23 | bus_LV_6754-1_0_4_node_58 | 0.4 | n |  | TRUE
24 | bus_LV_6754-1_0_4_node_37 | 0.4 | n |  | TRUE
25 | bus_LV_6754-1_0_4_node_52 | 0.4 | n |  | TRUE
26 | bus_LV_6754-1_0_4_node_43 | 0.4 | n |  | TRUE
27 | bus_LV_6754-1_0_4_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_6754-1_0_4_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_6754-1_0_4_node_15 | 0.4 | n |  | TRUE
30 | bus_LV_6754-1_0_4_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_6754-1_0_4_node_14 | 0.4 | n |  | TRUE
32 | bus_LV_6754-1_0_4_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_6754-1_0_4_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_6754-1_0_4_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_6754-1_0_4_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_6754-1_0_4_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_6754-1_0_4_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_6754-1_0_4_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_6754-1_0_4_node_24 | 0.4 | n |  | TRUE
40 | bus_LV_6754-1_0_4_node_40 | 0.4 | n |  | TRUE
41 | bus_LV_6754-1_0_4_node_38 | 0.4 | n |  | TRUE
42 | bus_LV_6754-1_0_4_node_48 | 0.4 | n |  | TRUE
43 | bus_LV_6754-1_0_4_node_44 | 0.4 | n |  | TRUE
44 | bus_LV_6754-1_0_4_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_6754-1_0_4_node_36 | 0.4 | n |  | TRUE
46 | bus_LV_6754-1_0_4_node_31 | 0.4 | n |  | TRUE
47 | bus_LV_6754-1_0_4_node_32 | 0.4 | n |  | TRUE
48 | bus_LV_6754-1_0_4_node_33 | 0.4 | n |  | TRUE
49 | bus_LV_6754-1_0_4_node_34 | 0.4 | n |  | TRUE
50 | bus_LV_6754-1_0_4_node_46 | 0.4 | n |  | TRUE
51 | bus_LV_6754-1_0_4_node_47 | 0.4 | n |  | TRUE
52 | bus_LV_6754-1_0_4_node_49 | 0.4 | n |  | TRUE
53 | bus_LV_6754-1_0_4_node_50 | 0.4 | n |  | TRUE
54 | bus_LV_6754-1_0_4_node_41 | 0.4 | n |  | TRUE
55 | bus_LV_6754-1_0_4_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_6754-1_0_4_node_56 | 0.4 | n |  | TRUE
57 | bus_LV_6754-1_0_4_node_51 | 0.4 | n |  | TRUE
58 | bus_LV_6754-1_0_4_node_59 | 0.4 | n |  | TRUE
59 | bus_LV_6754-1_0_4_node_53 | 0.4 | n |  | TRUE
60 | bus_LV_6754-1_0_4_node_54 | 0.4 | n |  | TRUE
61 | bus_LV_6754-1_0_4_node_61 | 0.4 | n |  | TRUE
62 | bus_LV_6754-1_0_4_node_55 | 0.4 | n |  | TRUE
63 | bus_MV_329_1_node_162 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6754-1_0_4_load_0 | 0 | 0.031431 | 0.0078774 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6754-1_0_4_load_39 | 5 | 0.0015178 | 0.00038039 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6754-1_0_4_load_27 | 8 | 0.002708 | 0.0006787 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6754-1_0_4_load_65 | 10 | 0.0036757 | 0.00092121 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6754-1_0_4_load_62 | 16 | 0.002729 | 0.00068395 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6754-1_0_4_load_64 | 17 | 0.013272 | 0.0033263 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6754-1_0_4_load_17 | 18 | 0.0027847 | 0.00069792 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6754-1_0_4_load_63 | 19 | 0.013392 | 0.0033563 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6754-1_0_4_load_57 | 20 | 0.0044132 | 0.0011061 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6754-1_0_4_load_60 | 22 | 0.0015998 | 0.00040094 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6754-1_0_4_load_58 | 23 | 0.002842 | 0.00071227 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6754-1_0_4_load_37 | 24 | 0.0017019 | 0.00042654 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6754-1_0_4_load_43 | 26 | 0.0036009 | 0.00090247 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6754-1_0_4_load_25 | 27 | 0.0055544 | 0.0013921 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6754-1_0_4_load_23 | 28 | 0.0020301 | 0.00050879 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6754-1_0_4_load_15 | 29 | 0.0015947 | 0.00039966 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6754-1_0_4_load_16 | 30 | 0.0021017 | 0.00052673 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6754-1_0_4_load_14 | 31 | 0.001207 | 0.0003025 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6754-1_0_4_load_18 | 32 | 0.0019001 | 0.00047621 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6754-1_0_4_load_19 | 33 | 0.0031094 | 0.00077929 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6754-1_0_4_load_20 | 34 | 0.0018395 | 0.00046103 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6754-1_0_4_load_22 | 36 | 0.0031291 | 0.00078423 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6754-1_0_4_load_24 | 39 | 0.0015915 | 0.00039887 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6754-1_0_4_load_40 | 40 | 0.0034576 | 0.00086656 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6754-1_0_4_load_38 | 41 | 0.0059362 | 0.0014877 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6754-1_0_4_load_44 | 43 | 0.0038994 | 0.00097727 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6754-1_0_4_load_36 | 45 | 0.0030185 | 0.00075651 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6754-1_0_4_load_31 | 46 | 0.0012279 | 0.00030775 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6754-1_0_4_load_32 | 47 | 0.0046149 | 0.0011566 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6754-1_0_4_load_33 | 48 | 0.0019444 | 0.0004873 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6754-1_0_4_load_34 | 49 | 0.0024832 | 0.00062234 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6754-1_0_4_load_49 | 52 | 0.0024027 | 0.00060218 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6754-1_0_4_load_50 | 53 | 0.0025797 | 0.00064654 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6754-1_0_4_load_41 | 54 | 0.0043854 | 0.0010991 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6754-1_0_4_load_42 | 55 | 0.0076326 | 0.0019129 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6754-1_0_4_load_56 | 56 | 0.0025109 | 0.00062928 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6754-1_0_4_load_51 | 57 | 0.0018916 | 0.00047408 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6754-1_0_4_load_59 | 58 | 0.0021871 | 0.00054815 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6754-1_0_4_load_53 | 59 | 0.0044505 | 0.0011154 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6754-1_0_4_load_61 | 61 | 0.0029674 | 0.0007437 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6754-1_0_4_load_55 | 62 | 0.0017976 | 0.00045053 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 41 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6754-1_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.046683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_6754-1_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.03404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_6754-1_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.23638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_6754-1_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.031835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_6754-1_0_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.029134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_6754-1_0_4_line_5 | NAYY 4x150 SE | 4 | 19 | 0.031222 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_6754-1_0_4_line_6 | NAYY 4x150 SE | 5 | 24 | 0.02875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_6754-1_0_4_line_7 | NAYY 4x150 SE | 6 | 7 | 1.1624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_6754-1_0_4_line_8 | NAYY 4x150 SE | 6 | 8 | 0.021066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_6754-1_0_4_line_9 | NAYY 4x150 SE | 7 | 18 | 0.20555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_6754-1_0_4_line_10 | NAYY 4x150 SE | 8 | 13 | 0.039865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_6754-1_0_4_line_11 | NAYY 4x150 SE | 9 | 10 | 0.024401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_6754-1_0_4_line_12 | NAYY 4x150 SE | 9 | 11 | 0.030877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_6754-1_0_4_line_13 | NAYY 4x150 SE | 9 | 12 | 0.022971 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_6754-1_0_4_line_14 | NAYY 4x150 SE | 11 | 15 | 0.13366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_6754-1_0_4_line_15 | NAYY 4x150 SE | 11 | 16 | 0.01823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_6754-1_0_4_line_16 | NAYY 4x150 SE | 12 | 25 | 0.011347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_6754-1_0_4_line_17 | NAYY 4x150 SE | 12 | 26 | 0.043147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_6754-1_0_4_line_18 | NAYY 4x150 SE | 13 | 14 | 0.040303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_6754-1_0_4_line_19 | NAYY 4x150 SE | 14 | 20 | 0.014646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_6754-1_0_4_line_20 | NAYY 4x150 SE | 15 | 17 | 0.020075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_6754-1_0_4_line_21 | NAYY 4x150 SE | 18 | 29 | 0.03827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_6754-1_0_4_line_22 | NAYY 4x150 SE | 20 | 43 | 0.010585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_6754-1_0_4_line_23 | NAYY 4x150 SE | 21 | 22 | 0.013424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_6754-1_0_4_line_24 | NAYY 4x150 SE | 21 | 23 | 0.017094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_6754-1_0_4_line_25 | NAYY 4x150 SE | 23 | 42 | 0.013041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_6754-1_0_4_line_26 | NAYY 4x150 SE | 24 | 45 | 0.074556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_6754-1_0_4_line_27 | NAYY 4x150 SE | 25 | 56 | 0.017906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_6754-1_0_4_line_28 | NAYY 4x150 SE | 25 | 57 | 0.015191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_6754-1_0_4_line_29 | NAYY 4x150 SE | 26 | 54 | 0.035983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_6754-1_0_4_line_30 | NAYY 4x150 SE | 27 | 28 | 0.021341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_6754-1_0_4_line_31 | NAYY 4x150 SE | 28 | 39 | 0.045224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_6754-1_0_4_line_32 | NAYY 4x150 SE | 29 | 31 | 0.016675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_6754-1_0_4_line_33 | NAYY 4x150 SE | 30 | 31 | 0.011868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_6754-1_0_4_line_34 | NAYY 4x150 SE | 32 | 33 | 0.033633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_6754-1_0_4_line_35 | NAYY 4x150 SE | 32 | 34 | 0.028088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_6754-1_0_4_line_36 | NAYY 4x150 SE | 33 | 35 | 0.075176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_6754-1_0_4_line_37 | NAYY 4x150 SE | 34 | 36 | 0.071815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_6754-1_0_4_line_38 | NAYY 4x150 SE | 35 | 37 | 0.018322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_6754-1_0_4_line_39 | NAYY 4x150 SE | 36 | 38 | 0.03522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_6754-1_0_4_line_40 | NAYY 4x150 SE | 37 | 39 | 0.091345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_6754-1_0_4_line_41 | NAYY 4x150 SE | 38 | 40 | 0.018086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
42 | LV_6754-1_0_4_line_42 | NAYY 4x150 SE | 38 | 41 | 0.021019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
43 | LV_6754-1_0_4_line_43 | NAYY 4x150 SE | 40 | 44 | 0.016864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
44 | LV_6754-1_0_4_line_44 | NAYY 4x150 SE | 41 | 45 | 0.029727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
45 | LV_6754-1_0_4_line_45 | NAYY 4x150 SE | 42 | 58 | 0.021944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_6754-1_0_4_line_46 | NAYY 4x150 SE | 42 | 50 | 0.006417 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_6754-1_0_4_line_47 | NAYY 4x150 SE | 43 | 55 | 0.017923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_6754-1_0_4_line_48 | NAYY 4x150 SE | 44 | 51 | 0.008401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
49 | LV_6754-1_0_4_line_49 | NAYY 4x150 SE | 44 | 48 | 0.020881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_6754-1_0_4_line_50 | NAYY 4x150 SE | 46 | 47 | 0.0046169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_6754-1_0_4_line_51 | NAYY 4x150 SE | 46 | 48 | 0.018391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_6754-1_0_4_line_52 | NAYY 4x150 SE | 47 | 49 | 0.036743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_6754-1_0_4_line_53 | NAYY 4x150 SE | 49 | 50 | 0.0071411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_6754-1_0_4_line_54 | NAYY 4x150 SE | 50 | 52 | 0.015813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_6754-1_0_4_line_55 | NAYY 4x150 SE | 51 | 53 | 0.034005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
56 | LV_6754-1_0_4_line_56 | NAYY 4x150 SE | 53 | 57 | 0.015793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
57 | LV_6754-1_0_4_line_57 | NAYY 4x150 SE | 54 | 55 | 0.021044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_6754-1_0_4_line_58 | NAYY 4x150 SE | 56 | 61 | 0.033243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_6754-1_0_4_line_59 | NAYY 4x150 SE | 59 | 60 | 0.029865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_6754-1_0_4_line_60 | NAYY 4x150 SE | 60 | 62 | 0.01243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_6754-1_0_4_line_61 | NAYY 4x150 SE | 61 | 62 | 0.023721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6754-1_0_4_trafo_38 | 0.25 MVA 20/0.4 kV | 63 | 41 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39 | x40 | y40 | x41 | y41 | x42 | y42 | x43 | y43 | x44 | y44 | x45 | y45 | x46 | y46 | x47 | y47 | x48 | y48 | x49 | y49 | x50 | y50 | x51 | y51 | x52 | y52 | x53 | y53 | x54 | y54 | x55 | y55 | x56 | y56 | x57 | y57 | x58 | y58 | x59 | y59 | x60 | y60 | x61 | y61 | x62 | y62 | x63 | y63 | x64 | y64 | x65 | y65 | x66 | y66 | x67 | y67 | x68 | y68 | x69 | y69 | x70 | y70 | x71 | y71 | x72 | y72 | x73 | y73 | x74 | y74 | x75 | y75 | x76 | y76 | x77 | y77 | x78 | y78 | x79 | y79 | x80 | y80 | x81 | y81 | x82 | y82 | x83 | y83 | x84 | y84 | x85 | y85 | x86 | y86 | x87 | y87 | x88 | y88 | x89 | y89 | x90 | y90 | x91 | y91 | x92 | y92 | x93 | y93 | x94 | y94 | x95 | y95 | x96 | y96 | x97 | y97 | x98 | y98 | x99 | y99 | x100 | y100 | x101 | y101 | x102 | y102 | x103 | y103 | x104 | y104 | x105 | y105 | x106 | y106 | x107 | y107 | x108 | y108 | x109 | y109 | x110 | y110 | x111 | y111 | x112 | y112 | x113 | y113 | x114 | y114 | x115 | y115 | x116 | y116 | x117 | y117 | x118 | y118 | x119 | y119 | x120 | y120 | x121 | y121 | x122 | y122 | x123 | y123 | x124 | y124 | x125 | y125 | x126 | y126 | x127 | y127 | x128 | y128 | x129 | y129 | x130 | y130 | x131 | y131 | x132 | y132 | x133 | y133 | x134 | y134 | x135 | y135 | x136 | y136 | x137 | y137 | x138 | y138 | x139 | y139 | x140 | y140 | x141 | y141 | x142 | y142 | x143 | y143 | x144 | y144 | x145 | y145 | x146 | y146 | x147 | y147 | x148 | y148 | x149 | y149 | x150 | y150 | x151 | y151 | x152 | y152 | x153 | y153 | x154 | y154 | x155 | y155 | x156 | y156 | x157 | y157 | x158 | y158 | x159 | y159 | x160 | y160 | x161 | y161 | x162 | y162 | x163 | y163 | x164 | y164 | x165 | y165 | x166 | y166 | x167 | y167 | x168 | y168
0 | 2563688.7728 | 1231204.3385 | 2563701.1685 | 1231205.341 | 2563714.5191 | 1231203.9918 | 2563734.8758 | 1231208.3996
1 | 2563766.7396 | 1231219.5153 | 2563752.6699 | 1231212.2524 | 2563734.8758 | 1231208.3996
2 | 2563496.0918 | 1231111.0753 | 2563493.5377 | 1231113.2146 | 2563489.8747 | 1231119.7523 | 2563488.6011 | 1231125.686 | 2563489.3546 | 1231131.2181 | 2563492.8619 | 1231136.2774 | 2563498.3896 | 1231139.8567 | 2563525.271 | 1231151.6207 | 2563593.5289 | 1231175.2158 | 2563688.7728 | 1231204.3385
3 | 2563766.7396 | 1231219.5153 | 2563761.2328 | 1231232.935 | 2563757.4252 | 1231241.8749 | 2563753.9832 | 1231248.6779
4 | 2563496.0918 | 1231111.0753 | 2563503.0308 | 1231105.2401 | 2563519.8974 | 1231094.366
5 | 2563753.9832 | 1231248.6779 | 2563751.9255 | 1231252.7375 | 2563725.8813 | 1231246.9886
6 | 2563544.0605 | 1231078.7876 | 2563519.8974 | 1231094.366
7 | 2563083.993 | 1231226.131 | 2563097.1716 | 1231226.3714 | 2563103.8825 | 1231226.552 | 2563111.9537 | 1231222.6326 | 2563114.11 | 1231216.2264 | 2563122.9698 | 1231212.4578 | 2563130.99 | 1231211.2961 | 2563137.7878 | 1231213.2773 | 2563143.2808 | 1231214.8886 | 2563158.8759 | 1231214.0134 | 2563166.1025 | 1231219.1939 | 2563172.3916 | 1231231.9405 | 2563178.5725 | 1231239.4623 | 2563202.9674 | 1231253.2082 | 2563208.0791 | 1231259.2913 | 2563214.154 | 1231272.9287 | 2563216.8098 | 1231270.1105 | 2563218.8783 | 1231266.6177 | 2563220.7812 | 1231263.3039 | 2563222.0708 | 1231261.2057 | 2563225.3698 | 1231258.3168 | 2563229.3558 | 1231253.856 | 2563232.4818 | 1231251.146 | 2563234.8294 | 1231249.9085 | 2563237.4339 | 1231248.5915 | 2563239.9529 | 1231246.9193 | 2563242.3832 | 1231244.3805 | 2563244.9781 | 1231241.4959 | 2563247.6616 | 1231237.0432 | 2563248.8609 | 1231233.8227 | 2563249.879 | 1231229.4693 | 2563250.2928 | 1231225.3753 | 2563250.6824 | 1231218.5909 | 2563250.5527 | 1231211.1093 | 2563250.787 | 1231207.3722 | 2563251.3809 | 1231204.2333 | 2563252.3201 | 1231200.5808 | 2563254.2009 | 1231194.9101 | 2563255.5647 | 1231190.1209 | 2563255.7178 | 1231186.7289 | 2563255.6129 | 1231183.2497 | 2563254.3565 | 1231177.2649 | 2563253.1839 | 1231171.3574 | 2563252.5419 | 1231166.7474 | 2563252.5988 | 1231161.2659 | 2563253.0906 | 1231156.3042 | 2563253.7598 | 1231151.864 | 2563254.7784 | 1231147.5995 | 2563256.3251 | 1231142.9871 | 2563257.3463 | 1231139.1451 | 2563257.4076 | 1231135.5869 | 2563257.4715 | 1231131.2394 | 2563258.4917 | 1231127.2306 | 2563260.1292 | 1231123.8295 | 2563262.6353 | 1231120.0672 | 2563264.3582 | 1231117.0213 | 2563265.3958 | 1231114.5801 | 2563266.6617 | 1231108.6574 | 2563267.8648 | 1231104.8254 | 2563270.7891 | 1231098.8925 | 2563271.9965 | 1231095.7498 | 2563272.9324 | 1231092.7866 | 2563274.3242 | 1231091.2993 | 2563276.0606 | 1231090.4213 | 2563279.1044 | 1231089.1017 | 2563281.1924 | 1231087.5211 | 2563281.9627 | 1231085.9487 | 2563282.2143 | 1231083.768 | 2563282.025 | 1231081.3343 | 2563282.0126 | 1231079.3332 | 2563282.6056 | 1231077.2504 | 2563284.4188 | 1231074.1039 | 2563286.9239 | 1231070.1749 | 2563287.789 | 1231068.0015 | 2563288.3818 | 1231065.9077 | 2563288.6361 | 1231064.1606 | 2563288.4458 | 1231061.5602 | 2563287.9898 | 1231058.8613 | 2563287.4533 | 1231056.6077 | 2563287.6162 | 1231054.7833 | 2563287.8677 | 1231052.6027 | 2563288.9821 | 1231050.3388 | 2563290.1067 | 1231048.4974 | 2563291.9243 | 1231046.0513 | 2563293.3903 | 1231043.0848 | 2563294.1536 | 1231040.3896 | 2563294.3224 | 1231038.2983 | 2563293.5209 | 1231036.0464 | 2563293.0698 | 1231034.1369 | 2563293.41 | 1231032.8228 | 2563294.3632 | 1231031.4272 | 2563296.4534 | 1231030.2024 | 2563298.536 | 1231028.9665 | 2563299.8381 | 1231027.6576 | 2563301.6535 | 1231024.8669 | 2563304.5763 | 1231018.6672 | 2563307.5798 | 1231010.8216 | 2563308.8603 | 1231006.0329 | 2563309.5166 | 1230999.5026 | 2563310.1413 | 1230986.6353 | 2563310.6121 | 1230978.2828 | 2563310.6265 | 1230967.1425 | 2563310.5001 | 1230960.1945 | 2563310.9844 | 1230954.01 | 2563311.8192 | 1230948.179 | 2563313.0041 | 1230942.6127 | 2563313.8847 | 1230938.0488 | 2563314.9593 | 1230930.582 | 2563316.2966 | 1230901.9228 | 2563319.3388 | 1230908.886 | 2563323.3893 | 1230912.352 | 2563324.8486 | 1230916.868 | 2563327.1222 | 1230920.7785 | 2563329.9621 | 1230925.6529 | 2563332.6478 | 1230928.8605 | 2563334.785 | 1230932.7719 | 2563335.9309 | 1230936.8228 | 2563336.6569 | 1230940.3205 | 2563336.5329 | 1230943.5455 | 2563335.8613 | 1230947.6077 | 2563337.3976 | 1230946.1973 | 2563337.9459 | 1230944.2372 | 2563339.8811 | 1230938.7663 | 2563341.8113 | 1230933.7068 | 2563342.9241 | 1230931.1761 | 2563343.7587 | 1230930.1926 | 2563345.0251 | 1230930.4627 | 2563346.0192 | 1230932.0019 | 2563348.4402 | 1230937.7238 | 2563350.1663 | 1230943.7391 | 2563353.3488 | 1230958.7064 | 2563355.6526 | 1230967.5198 | 2563356.9667 | 1230975.4944 | 2563358.1342 | 1230983.0474 | 2563359.6104 | 1230993.9672 | 2563361.439 | 1231006.7749 | 2563361.377 | 1231008.9878 | 2563360.9859 | 1231011.8809 | 2563360.6077 | 1231019.31 | 2563360.1443 | 1231035.0003 | 2563360.7905 | 1231048.8604 | 2563360.6933 | 1231056.4212 | 2563360.1711 | 1231062.5949 | 2563360.4946 | 1231069.5972 | 2563361.955 | 1231077.9823 | 2563362.989 | 1231085.9697 | 2563363.1521 | 1231090.3047 | 2563362.3452 | 1231095.7686 | 2563362.9039 | 1231095.4872 | 2563361.816 | 1231100.8194 | 2563362.1274 | 1231105.8539 | 2563350.1605 | 1231133.8229 | 2563344.1121 | 1231148.9363 | 2563342.9562 | 1231157.949 | 2563342.997 | 1231164.5528 | 2563358.1878 | 1231175.4212 | 2563366.6136 | 1231178.5933 | 2563398.7519 | 1231183.1754 | 2563407.5302 | 1231182.1206 | 2563431.6354 | 1231173.5221 | 2563441.8464 | 1231171.4579 | 2563455.2532 | 1231173.0651 | 2563436.6075 | 1231132.4661 | 2563433.9676 | 1231121.9204 | 2563433.4329 | 1231108.9156 | 2563437.1774 | 1231077.5399 | 2563436.6428 | 1231064.5352 | 2563443.007 | 1231041.6485 | 2563450.7909 | 1231019.3201
8 | 2563450.7909 | 1231019.3201 | 2563452.0434 | 1231001.368 | 2563453.1452 | 1230998.5023
9 | 2563083.993 | 1231226.131 | 2563078.3319 | 1231216.9718 | 2563076.2408 | 1231198.5957 | 2563076.5354 | 1231140.1356 | 2563077.3452 | 1231110.8903 | 2563080.8546 | 1231093.1352 | 2563099.6708 | 1231046.3893 | 2563107.5435 | 1231027.9105
10 | 2563467.7619 | 1230961.4465 | 2563466.7871 | 1230963.0202 | 2563453.1452 | 1230998.5023
11 | 2563613.7598 | 1230920.4124 | 2563636.1086 | 1230910.4692
12 | 2563636.1086 | 1230910.4692 | 2563639.2377 | 1230900.8107 | 2563643.3431 | 1230893.4922 | 2563648.7292 | 1230890.0014 | 2563651.5505 | 1230888.183 | 2563654.0385 | 1230887.5896
13 | 2563631.7095 | 1230932.8544 | 2563632.6522 | 1230921.108 | 2563636.1086 | 1230910.4692
14 | 2563585.9851 | 1230905.1624 | 2563584.3841 | 1230899.7356 | 2563577.9903 | 1230871.1128 | 2563598.7661 | 1230862.7467 | 2563623.1535 | 1230856.6933 | 2563622.4857 | 1230865.1026 | 2563625.9386 | 1230871.174 | 2563637.6572 | 1230878.9736 | 2563644.6901 | 1230884.6673 | 2563648.7292 | 1230890.0014 | 2563651.5505 | 1230888.183 | 2563654.0385 | 1230887.5896
15 | 2563654.0385 | 1230887.5896 | 2563668.2893 | 1230898.9586
16 | 2563631.7095 | 1230932.8544 | 2563642.5307 | 1230936.368
17 | 2563631.7095 | 1230932.8544 | 2563607.9785 | 1230938.4701 | 2563589.9737 | 1230943.7429
18 | 2563467.7619 | 1230961.4465 | 2563471.2674 | 1230963.7374 | 2563473.3263 | 1230963.5691 | 2563488.0715 | 1230974.6073 | 2563499.1798 | 1230982.9107 | 2563500.5874 | 1230983.9693
19 | 2563500.5874 | 1230983.9693 | 2563512.7053 | 1230975.7437
20 | 2563585.9851 | 1230905.1624 | 2563566.778 | 1230911.1841
21 | 2563122.5433 | 1230992.7028 | 2563107.5435 | 1231027.9105
22 | 2563521.4633 | 1230969.7988 | 2563512.7053 | 1230975.7437
23 | 2563516.7242 | 1231029.1423 | 2563526.1062 | 1231038.7683
24 | 2563526.1062 | 1231038.7683 | 2563541.1003 | 1231030.5592
25 | 2563552.5388 | 1231024.2968 | 2563541.1003 | 1231030.5592
26 | 2563611.14 | 1231046.6974 | 2563593.4318 | 1231053.408 | 2563557.3878 | 1231070.1953 | 2563544.0605 | 1231078.7876
27 | 2563642.5307 | 1230936.368 | 2563659.5618 | 1230941.898
28 | 2563642.5307 | 1230936.368 | 2563640.9075 | 1230942.1259 | 2563641.3383 | 1230951.3244
29 | 2563555.646 | 1230954.4598 | 2563562.7633 | 1230951.7115 | 2563589.9737 | 1230943.7429
30 | 2563764.2527 | 1230886.0558 | 2563772.3361 | 1230897.4495 | 2563777.5902 | 1230902.6198
31 | 2563777.5902 | 1230902.6198 | 2563778.523 | 1230903.5377 | 2563801.482 | 1230920.2967 | 2563814.7866 | 1230928.2302
32 | 2563129.056 | 1230977.3522 | 2563126.7512 | 1230982.8261 | 2563122.5433 | 1230992.7028
33 | 2563129.056 | 1230977.3522 | 2563133.6617 | 1230966.4139
34 | 2563791.297 | 1231004.6719 | 2563805.0521 | 1231002.6144 | 2563824.7769 | 1231002.4863
35 | 2563763.5178 | 1231008.827 | 2563791.297 | 1231004.6719
36 | 2563892.3908 | 1230981.9692 | 2563885.2122 | 1230992.0747 | 2563872.3754 | 1230999.5241 | 2563861.6076 | 1231002.247 | 2563824.7769 | 1231002.4863
37 | 2563763.5178 | 1231008.827 | 2563713.2943 | 1231016.3393 | 2563692.6009 | 1231020.0999
38 | 2563898.4274 | 1230964.6662 | 2563892.3908 | 1230981.9692
39 | 2563658.5923 | 1231028.7153 | 2563670.9384 | 1231024.0367 | 2563692.6009 | 1231020.0999
40 | 2563898.4274 | 1230964.6662 | 2563825.1975 | 1230934.4384 | 2563814.7866 | 1230928.2302
41 | 2563658.5923 | 1231028.7153 | 2563650.3498 | 1231012.6162
42 | 2563658.5923 | 1231028.7153 | 2563638.9375 | 1231036.1635
43 | 2563642.6641 | 1230997.6049 | 2563650.3498 | 1231012.6162
44 | 2563611.14 | 1231046.6974 | 2563638.9375 | 1231036.1635
45 | 2563552.5388 | 1231024.2968 | 2563562.5044 | 1231043.8587
46 | 2563552.5388 | 1231024.2968 | 2563556.6826 | 1231022.0255 | 2563558.2923 | 1231021.4597
47 | 2563521.4633 | 1230969.7988 | 2563521.4633 | 1230969.7988 | 2563521.2159 | 1230967.7546 | 2563536.0149 | 1230962.0401
48 | 2563642.6641 | 1230997.6049 | 2563649.3427 | 1230992.483
49 | 2563642.6641 | 1230997.6049 | 2563622.3908 | 1231002.6046
50 | 2563604.5348 | 1231007.0082 | 2563600.0522 | 1231008.1136
51 | 2563604.5348 | 1231007.0082 | 2563622.3908 | 1231002.6046
52 | 2563600.0522 | 1231008.1136 | 2563587.0918 | 1231011.3099 | 2563565.0273 | 1231019.0861
53 | 2563558.2923 | 1231021.4597 | 2563565.0273 | 1231019.0861
54 | 2563565.9205 | 1231035.3214 | 2563558.2923 | 1231021.4597
55 | 2563649.3427 | 1230992.483 | 2563648.817 | 1230987.0384 | 2563647.7395 | 1230982.9981 | 2563640.9731 | 1230982.4392 | 2563638 | 1230970.628 | 2563642.068 | 1230967.1008
56 | 2563642.068 | 1230967.1008 | 2563641.5094 | 1230955.0524 | 2563641.3781 | 1230952.1737 | 2563641.3383 | 1230951.3244
57 | 2563555.646 | 1230954.4598 | 2563536.0149 | 1230962.0401
58 | 2563659.5618 | 1230941.898 | 2563691.1801 | 1230952.1647
59 | 2563717.394 | 1230970.9974 | 2563717.4697 | 1230972.2199 | 2563714.0498 | 1230977.7109 | 2563707.6541 | 1230979.5623 | 2563692.1922 | 1230980.816
60 | 2563717.394 | 1230970.9974 | 2563717.0237 | 1230964.9404 | 2563713.7414 | 1230959.4904
61 | 2563713.7414 | 1230959.4904 | 2563691.1801 | 1230952.1647

## bus_geodata
| x | y | coords
0 | 2563734.8758 | 1231208.3996
1 | 2563688.7728 | 1231204.3385
2 | 2563766.7396 | 1231219.5153
3 | 2563496.0918 | 1231111.0753
4 | 2563753.9832 | 1231248.678
5 | 2563519.8974 | 1231094.366
6 | 2563450.7909 | 1231019.3201
7 | 2563083.993 | 1231226.131
8 | 2563453.1452 | 1230998.5023
9 | 2563636.1086 | 1230910.4692
10 | 2563613.7598 | 1230920.4124
11 | 2563654.0385 | 1230887.5896
12 | 2563631.7095 | 1230932.8544
13 | 2563467.7619 | 1230961.4465
14 | 2563500.5874 | 1230983.9693
15 | 2563585.9851 | 1230905.1624
16 | 2563668.2893 | 1230898.9586
17 | 2563566.778 | 1230911.1841
18 | 2563107.5435 | 1231027.9105
19 | 2563725.8813 | 1231246.9886
20 | 2563512.7053 | 1230975.7437
21 | 2563526.1062 | 1231038.7683
22 | 2563516.7242 | 1231029.1423
23 | 2563541.1003 | 1231030.5592
24 | 2563544.0605 | 1231078.7876
25 | 2563642.5307 | 1230936.368
26 | 2563589.9737 | 1230943.7429
27 | 2563764.2527 | 1230886.0558
28 | 2563777.5902 | 1230902.6198
29 | 2563122.5433 | 1230992.7028
30 | 2563133.6617 | 1230966.4139
31 | 2563129.056 | 1230977.3522
32 | 2563791.297 | 1231004.6719
33 | 2563824.7769 | 1231002.4863
34 | 2563763.5178 | 1231008.827
35 | 2563892.3908 | 1230981.9692
36 | 2563692.6009 | 1231020.0999
37 | 2563898.4274 | 1230964.6662
38 | 2563658.5923 | 1231028.7153
39 | 2563814.7866 | 1230928.2302
40 | 2563650.3498 | 1231012.6162
41 | 2563638.9375 | 1231036.1635
42 | 2563552.5388 | 1231024.2968
43 | 2563521.4633 | 1230969.7988
44 | 2563642.6641 | 1230997.6049
45 | 2563611.14 | 1231046.6974
46 | 2563604.5348 | 1231007.0082
47 | 2563600.0522 | 1231008.1136
48 | 2563622.3908 | 1231002.6046
49 | 2563565.0273 | 1231019.0861
50 | 2563558.2923 | 1231021.4597
51 | 2563649.3427 | 1230992.483
52 | 2563565.9205 | 1231035.3214
53 | 2563642.068 | 1230967.1008
54 | 2563555.646 | 1230954.4598
55 | 2563536.0149 | 1230962.0401
56 | 2563659.5618 | 1230941.898
57 | 2563641.3383 | 1230951.3244
58 | 2563562.5044 | 1231043.8587
59 | 2563692.1922 | 1230980.816
60 | 2563717.394 | 1230970.9974
61 | 2563691.1801 | 1230952.1647
62 | 2563713.7414 | 1230959.4904
63 | 2563658.5923 | 1231028.7153

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1