## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6754-2_1_5_node_152 | 0.4 | n |  | TRUE
1 | bus_LV_6754-2_1_5_node_46 | 0.4 | n |  | TRUE
2 | bus_LV_6754-2_1_5_node_47 | 0.4 | n |  | TRUE
3 | bus_LV_6754-2_1_5_node_102 | 0.4 | n |  | TRUE
4 | bus_LV_6754-2_1_5_node_101 | 0.4 | n |  | TRUE
5 | bus_LV_6754-2_1_5_node_48 | 0.4 | n |  | TRUE
6 | bus_LV_6754-2_1_5_node_73 | 0.4 | n |  | TRUE
7 | bus_LV_6754-2_1_5_node_74 | 0.4 | n |  | TRUE
8 | bus_LV_6754-2_1_5_node_50 | 0.4 | n |  | TRUE
9 | bus_LV_6754-2_1_5_node_51 | 0.4 | n |  | TRUE
10 | bus_LV_6754-2_1_5_node_52 | 0.4 | n |  | TRUE
11 | bus_LV_6754-2_1_5_node_53 | 0.4 | n |  | TRUE
12 | bus_LV_6754-2_1_5_node_54 | 0.4 | n |  | TRUE
13 | bus_LV_6754-2_1_5_node_55 | 0.4 | n |  | TRUE
14 | bus_LV_6754-2_1_5_node_56 | 0.4 | n |  | TRUE
15 | bus_LV_6754-2_1_5_node_62 | 0.4 | n |  | TRUE
16 | bus_LV_6754-2_1_5_node_66 | 0.4 | n |  | TRUE
17 | bus_LV_6754-2_1_5_node_58 | 0.4 | n |  | TRUE
18 | bus_LV_6754-2_1_5_node_63 | 0.4 | n |  | TRUE
19 | bus_LV_6754-2_1_5_node_67 | 0.4 | n |  | TRUE
20 | bus_LV_6754-2_1_5_node_61 | 0.4 | n |  | TRUE
21 | bus_LV_6754-2_1_5_node_92 | 0.4 | n |  | TRUE
22 | bus_LV_6754-2_1_5_node_57 | 0.4 | n |  | TRUE
23 | bus_LV_6754-2_1_5_node_64 | 0.4 | n |  | TRUE
24 | bus_LV_6754-2_1_5_node_59 | 0.4 | n |  | TRUE
25 | bus_LV_6754-2_1_5_node_60 | 0.4 | n |  | TRUE
26 | bus_LV_6754-2_1_5_node_85 | 0.4 | n |  | TRUE
27 | bus_LV_6754-2_1_5_node_65 | 0.4 | n |  | TRUE
28 | bus_LV_6754-2_1_5_node_144 | 0.4 | n |  | TRUE
29 | bus_LV_6754-2_1_5_node_147 | 0.4 | n |  | TRUE
30 | bus_LV_6754-2_1_5_node_96 | 0.4 | n |  | TRUE
31 | bus_LV_6754-2_1_5_node_146 | 0.4 | n |  | TRUE
32 | bus_LV_6754-2_1_5_node_143 | 0.4 | n |  | TRUE
33 | bus_LV_6754-2_1_5_node_68 | 0.4 | n |  | TRUE
34 | bus_LV_6754-2_1_5_node_69 | 0.4 | n |  | TRUE
35 | bus_LV_6754-2_1_5_node_70 | 0.4 | n |  | TRUE
36 | bus_LV_6754-2_1_5_node_71 | 0.4 | n |  | TRUE
37 | bus_LV_6754-2_1_5_node_72 | 0.4 | n |  | TRUE
38 | bus_LV_6754-2_1_5_node_93 | 0.4 | n |  | TRUE
39 | bus_LV_6754-2_1_5_node_153 | 0.4 | n |  | TRUE
40 | bus_LV_6754-2_1_5_node_94 | 0.4 | n |  | TRUE
41 | bus_LV_6754-2_1_5_node_75 | 0.4 | n |  | TRUE
42 | bus_LV_6754-2_1_5_node_84 | 0.4 | n |  | TRUE
43 | bus_LV_6754-2_1_5_node_83 | 0.4 | n |  | TRUE
44 | bus_LV_6754-2_1_5_node_154 | 0.4 | n |  | TRUE
45 | bus_LV_6754-2_1_5_node_76 | 0.4 | n |  | TRUE
46 | bus_LV_6754-2_1_5_node_77 | 0.4 | n |  | TRUE
47 | bus_LV_6754-2_1_5_node_78 | 0.4 | n |  | TRUE
48 | bus_LV_6754-2_1_5_node_79 | 0.4 | n |  | TRUE
49 | bus_LV_6754-2_1_5_node_80 | 0.4 | n |  | TRUE
50 | bus_LV_6754-2_1_5_node_81 | 0.4 | n |  | TRUE
51 | bus_LV_6754-2_1_5_node_82 | 0.4 | n |  | TRUE
52 | bus_LV_6754-2_1_5_node_90 | 0.4 | n |  | TRUE
53 | bus_LV_6754-2_1_5_node_109 | 0.4 | n |  | TRUE
54 | bus_LV_6754-2_1_5_node_141 | 0.4 | n |  | TRUE
55 | bus_LV_6754-2_1_5_node_91 | 0.4 | n |  | TRUE
56 | bus_LV_6754-2_1_5_node_110 | 0.4 | n |  | TRUE
57 | bus_LV_6754-2_1_5_node_142 | 0.4 | n |  | TRUE
58 | bus_LV_6754-2_1_5_node_136 | 0.4 | n |  | TRUE
59 | bus_LV_6754-2_1_5_node_88 | 0.4 | n |  | TRUE
60 | bus_LV_6754-2_1_5_node_107 | 0.4 | n |  | TRUE
61 | bus_LV_6754-2_1_5_node_89 | 0.4 | n |  | TRUE
62 | bus_LV_6754-2_1_5_node_115 | 0.4 | n |  | TRUE
63 | bus_LV_6754-2_1_5_node_129 | 0.4 | n |  | TRUE
64 | bus_LV_6754-2_1_5_node_111 | 0.4 | n |  | TRUE
65 | bus_LV_6754-2_1_5_node_113 | 0.4 | n |  | TRUE
66 | bus_LV_6754-2_1_5_node_131 | 0.4 | n |  | TRUE
67 | bus_LV_6754-2_1_5_node_130 | 0.4 | n |  | TRUE
68 | bus_LV_6754-2_1_5_node_114 | 0.4 | n |  | TRUE
69 | bus_LV_6754-2_1_5_node_125 | 0.4 | n |  | TRUE
70 | bus_LV_6754-2_1_5_node_128 | 0.4 | n |  | TRUE
71 | bus_LV_6754-2_1_5_node_123 | 0.4 | n |  | TRUE
72 | bus_LV_6754-2_1_5_node_95 | 0.4 | n |  | TRUE
73 | bus_LV_6754-2_1_5_node_106 | 0.4 | n |  | TRUE
74 | bus_LV_6754-2_1_5_node_108 | 0.4 | n |  | TRUE
75 | bus_LV_6754-2_1_5_node_104 | 0.4 | n |  | TRUE
76 | bus_LV_6754-2_1_5_node_103 | 0.4 | n |  | TRUE
77 | bus_LV_6754-2_1_5_node_105 | 0.4 | n |  | TRUE
78 | bus_LV_6754-2_1_5_node_112 | 0.4 | n |  | TRUE
79 | bus_LV_6754-2_1_5_node_120 | 0.4 | n |  | TRUE
80 | bus_LV_6754-2_1_5_node_116 | 0.4 | n |  | TRUE
81 | bus_LV_6754-2_1_5_node_117 | 0.4 | n |  | TRUE
82 | bus_LV_6754-2_1_5_node_118 | 0.4 | n |  | TRUE
83 | bus_LV_6754-2_1_5_node_119 | 0.4 | n |  | TRUE
84 | bus_LV_6754-2_1_5_node_127 | 0.4 | n |  | TRUE
85 | bus_LV_6754-2_1_5_node_121 | 0.4 | n |  | TRUE
86 | bus_LV_6754-2_1_5_node_122 | 0.4 | n |  | TRUE
87 | bus_LV_6754-2_1_5_node_124 | 0.4 | n |  | TRUE
88 | bus_LV_6754-2_1_5_node_132 | 0.4 | n |  | TRUE
89 | bus_LV_6754-2_1_5_node_133 | 0.4 | n |  | TRUE
90 | bus_LV_6754-2_1_5_node_134 | 0.4 | n |  | TRUE
91 | bus_LV_6754-2_1_5_node_135 | 0.4 | n |  | TRUE
92 | bus_LV_6754-2_1_5_node_137 | 0.4 | n |  | TRUE
93 | bus_LV_6754-2_1_5_node_138 | 0.4 | n |  | TRUE
94 | bus_LV_6754-2_1_5_node_145 | 0.4 | n |  | TRUE
95 | bus_LV_6754-2_1_5_node_148 | 0.4 | n |  | TRUE
96 | bus_LV_6754-2_1_5_node_139 | 0.4 | n |  | TRUE
97 | bus_LV_6754-2_1_5_node_140 | 0.4 | n |  | TRUE
98 | bus_MV_329_1_node_243 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6754-2_1_5_load_152 | 0 | 0.011973 | 0.0030008 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6754-2_1_5_load_46 | 1 | 0.00038552 | 9.662e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6754-2_1_5_load_101 | 4 | 0.00082397 | 0.00020651 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6754-2_1_5_load_48 | 5 | 0.00075614 | 0.00018951 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6754-2_1_5_load_73 | 6 | 0.0034199 | 0.00085711 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6754-2_1_5_load_74 | 7 | 0.0006391 | 0.00016017 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6754-2_1_5_load_50 | 8 | 0.0024964 | 0.00062566 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6754-2_1_5_load_53 | 11 | 0.0013546 | 0.0003395 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6754-2_1_5_load_54 | 12 | 0.0013574 | 0.00034019 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6754-2_1_5_load_56 | 14 | 0.0055114 | 0.0013813 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6754-2_1_5_load_66 | 16 | 0.0021948 | 0.00055008 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6754-2_1_5_load_58 | 17 | 0.0030024 | 0.00075248 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6754-2_1_5_load_63 | 18 | 0.0030005 | 0.00075199 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6754-2_1_5_load_67 | 19 | 0.0019245 | 0.00048233 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6754-2_1_5_load_92 | 21 | 0.0021304 | 0.00053393 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6754-2_1_5_load_57 | 22 | 0.0030025 | 0.00075249 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6754-2_1_5_load_64 | 23 | 0.0025036 | 0.00062747 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6754-2_1_5_load_60 | 25 | 0.0025947 | 0.00065029 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6754-2_1_5_load_85 | 26 | 0.0038186 | 0.00095704 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6754-2_1_5_load_144 | 28 | 0.01518 | 0.0038044 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6754-2_1_5_load_146 | 31 | 0.0017325 | 0.00043421 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6754-2_1_5_load_143 | 32 | 0.0044391 | 0.0011125 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6754-2_1_5_load_68 | 33 | 0.0010068 | 0.00025234 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6754-2_1_5_load_69 | 34 | 0.00093758 | 0.00023498 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6754-2_1_5_load_71 | 36 | 0.0014409 | 0.00036111 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6754-2_1_5_load_72 | 37 | 0.0016495 | 0.0004134 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6754-2_1_5_load_93 | 38 | 0.001572 | 0.00039397 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6754-2_1_5_load_153 | 39 | 0.00078006 | 0.0001955 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6754-2_1_5_load_83 | 43 | 0.0014957 | 0.00037487 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6754-2_1_5_load_154 | 44 | 0.0012508 | 0.00031349 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6754-2_1_5_load_76 | 45 | 0.0015457 | 0.00038739 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6754-2_1_5_load_77 | 46 | 0.0018175 | 0.00045551 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6754-2_1_5_load_79 | 48 | 0.001588 | 0.00039799 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6754-2_1_5_load_80 | 49 | 0.0032617 | 0.00081745 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6754-2_1_5_load_81 | 50 | 0.0014278 | 0.00035783 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6754-2_1_5_load_82 | 51 | 0.0031549 | 0.00079068 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6754-2_1_5_load_90 | 52 | 0.0036368 | 0.00091147 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6754-2_1_5_load_109 | 53 | 0.0024734 | 0.00061989 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6754-2_1_5_load_91 | 55 | 0.0026048 | 0.00065283 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6754-2_1_5_load_110 | 56 | 0.0025881 | 0.00064863 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6754-2_1_5_load_142 | 57 | 0.0018139 | 0.00045461 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6754-2_1_5_load_129 | 63 | 0.00069846 | 0.00017505 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6754-2_1_5_load_113 | 65 | 0.0018522 | 0.00046422 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6754-2_1_5_load_131 | 66 | 0.0017662 | 0.00044265 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6754-2_1_5_load_130 | 67 | 0.0048795 | 0.0012229 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6754-2_1_5_load_114 | 68 | 0.0014529 | 0.00036414 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6754-2_1_5_load_128 | 70 | 0.00071877 | 0.00018014 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6754-2_1_5_load_106 | 73 | 0.0035805 | 0.00089736 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6754-2_1_5_load_108 | 74 | 0.0029547 | 0.00074051 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6754-2_1_5_load_104 | 75 | 0.0047983 | 0.0012026 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6754-2_1_5_load_103 | 76 | 0.00087854 | 0.00022018 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6754-2_1_5_load_105 | 77 | 0.0031672 | 0.00079377 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6754-2_1_5_load_112 | 78 | 0.0014377 | 0.00036032 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6754-2_1_5_load_120 | 79 | 0.001118 | 0.0002802 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6754-2_1_5_load_116 | 80 | 0.0026289 | 0.00065886 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6754-2_1_5_load_117 | 81 | 0.0015823 | 0.00039655 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6754-2_1_5_load_127 | 84 | 0.0016567 | 0.00041522 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6754-2_1_5_load_121 | 85 | 0.00051182 | 0.00012827 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6754-2_1_5_load_122 | 86 | 0.00097123 | 0.00024341 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6754-2_1_5_load_124 | 87 | 0.00035927 | 9.0041e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6754-2_1_5_load_132 | 88 | 0.0040717 | 0.0010205 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6754-2_1_5_load_135 | 91 | 0.0028571 | 0.00071606 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6754-2_1_5_load_137 | 92 | 0.0027193 | 0.00068152 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6754-2_1_5_load_138 | 93 | 0.0027782 | 0.00069627 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6754-2_1_5_load_145 | 94 | 0.0024498 | 0.00061398 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6754-2_1_5_load_148 | 95 | 0.0019435 | 0.00048709 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6754-2_1_5_load_139 | 96 | 0.0029054 | 0.00072817 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6754-2_1_5_load_140 | 97 | 0.0014375 | 0.00036028 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 30 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6754-2_1_5_line_0 | NAYY 4x150 SE | 0 | 1 | 1.4561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
1 | LV_6754-2_1_5_line_1 | NAYY 4x150 SE | 1 | 2 | 0.37243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
2 | LV_6754-2_1_5_line_2 | NAYY 4x150 SE | 1 | 3 | 0.42083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_6754-2_1_5_line_3 | NAYY 4x150 SE | 2 | 5 | 0.02495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_6754-2_1_5_line_4 | NAYY 4x150 SE | 3 | 4 | 0.046133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_6754-2_1_5_line_5 | NAYY 4x150 SE | 5 | 6 | 0.022111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_6754-2_1_5_line_6 | NAYY 4x150 SE | 6 | 7 | 0.14243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_6754-2_1_5_line_7 | NAYY 4x150 SE | 7 | 41 | 0.033139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_6754-2_1_5_line_8 | NAYY 4x150 SE | 8 | 9 | 0.02035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_6754-2_1_5_line_9 | NAYY 4x150 SE | 8 | 10 | 0.027115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_6754-2_1_5_line_10 | NAYY 4x150 SE | 9 | 11 | 0.0084212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_6754-2_1_5_line_11 | NAYY 4x150 SE | 9 | 12 | 0.013157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_6754-2_1_5_line_12 | NAYY 4x150 SE | 10 | 13 | 0.011983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_6754-2_1_5_line_13 | NAYY 4x150 SE | 10 | 14 | 0.01453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_6754-2_1_5_line_14 | NAYY 4x150 SE | 11 | 15 | 0.016168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_6754-2_1_5_line_15 | NAYY 4x150 SE | 13 | 16 | 0.015364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_6754-2_1_5_line_16 | NAYY 4x150 SE | 13 | 17 | 0.018137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_6754-2_1_5_line_17 | NAYY 4x150 SE | 13 | 18 | 0.036606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_6754-2_1_5_line_18 | NAYY 4x150 SE | 15 | 19 | 0.01808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_6754-2_1_5_line_19 | NAYY 4x150 SE | 15 | 20 | 0.026685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_6754-2_1_5_line_20 | NAYY 4x150 SE | 16 | 21 | 0.0066775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_6754-2_1_5_line_21 | NAYY 4x150 SE | 17 | 22 | 0.017957 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_6754-2_1_5_line_22 | NAYY 4x150 SE | 18 | 23 | 0.0039215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_6754-2_1_5_line_23 | NAYY 4x150 SE | 20 | 26 | 0.011186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_6754-2_1_5_line_24 | NAYY 4x150 SE | 22 | 24 | 0.026227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_6754-2_1_5_line_25 | NAYY 4x150 SE | 23 | 27 | 0.039928 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_6754-2_1_5_line_26 | NAYY 4x150 SE | 24 | 25 | 0.022702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_6754-2_1_5_line_27 | NAYY 4x150 SE | 27 | 28 | 0.010681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_6754-2_1_5_line_28 | NAYY 4x150 SE | 28 | 32 | 0.0074861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_6754-2_1_5_line_29 | NAYY 4x150 SE | 29 | 30 | 0.083812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
30 | LV_6754-2_1_5_line_30 | NAYY 4x150 SE | 29 | 31 | 0.021475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
31 | LV_6754-2_1_5_line_31 | NAYY 4x150 SE | 30 | 39 | 0.070438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
32 | LV_6754-2_1_5_line_32 | NAYY 4x150 SE | 30 | 72 | 0.11708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_6754-2_1_5_line_33 | NAYY 4x150 SE | 31 | 94 | 0.023175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
34 | LV_6754-2_1_5_line_34 | NAYY 4x150 SE | 32 | 93 | 0.022987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_6754-2_1_5_line_35 | NAYY 4x150 SE | 33 | 34 | 0.041887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_6754-2_1_5_line_36 | NAYY 4x150 SE | 33 | 35 | 0.010285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_6754-2_1_5_line_37 | NAYY 4x150 SE | 35 | 36 | 0.095457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
38 | LV_6754-2_1_5_line_38 | NAYY 4x150 SE | 35 | 37 | 0.10691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
39 | LV_6754-2_1_5_line_39 | NAYY 4x150 SE | 36 | 38 | 0.095034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
40 | LV_6754-2_1_5_line_40 | NAYY 4x150 SE | 37 | 39 | 0.029483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
41 | LV_6754-2_1_5_line_41 | NAYY 4x150 SE | 38 | 40 | 0.045751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
42 | LV_6754-2_1_5_line_42 | NAYY 4x150 SE | 40 | 42 | 0.10086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
43 | LV_6754-2_1_5_line_43 | NAYY 4x150 SE | 41 | 42 | 0.034425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
44 | LV_6754-2_1_5_line_44 | NAYY 4x150 SE | 41 | 43 | 0.039927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_6754-2_1_5_line_45 | NAYY 4x150 SE | 42 | 44 | 0.018791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_6754-2_1_5_line_46 | NAYY 4x150 SE | 45 | 46 | 0.029814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_6754-2_1_5_line_47 | NAYY 4x150 SE | 45 | 47 | 0.018782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_6754-2_1_5_line_48 | NAYY 4x150 SE | 46 | 48 | 0.0046292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_6754-2_1_5_line_49 | NAYY 4x150 SE | 47 | 49 | 0.038237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
50 | LV_6754-2_1_5_line_50 | NAYY 4x150 SE | 47 | 50 | 0.035414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
51 | LV_6754-2_1_5_line_51 | NAYY 4x150 SE | 47 | 51 | 0.025485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_6754-2_1_5_line_52 | NAYY 4x150 SE | 48 | 52 | 0.059342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_6754-2_1_5_line_53 | NAYY 4x150 SE | 49 | 53 | 0.0041735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
54 | LV_6754-2_1_5_line_54 | NAYY 4x150 SE | 50 | 54 | 0.011866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
55 | LV_6754-2_1_5_line_55 | NAYY 4x150 SE | 52 | 55 | 0.0060522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_6754-2_1_5_line_56 | NAYY 4x150 SE | 53 | 56 | 0.030704 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
57 | LV_6754-2_1_5_line_57 | NAYY 4x150 SE | 54 | 57 | 0.010757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_6754-2_1_5_line_58 | NAYY 4x150 SE | 54 | 58 | 0.015115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
59 | LV_6754-2_1_5_line_59 | NAYY 4x150 SE | 56 | 59 | 0.11163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_6754-2_1_5_line_60 | NAYY 4x150 SE | 58 | 95 | 0.017169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_6754-2_1_5_line_61 | NAYY 4x150 SE | 58 | 89 | 0.012778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
62 | LV_6754-2_1_5_line_62 | NAYY 4x150 SE | 59 | 60 | 0.039192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_6754-2_1_5_line_63 | NAYY 4x150 SE | 60 | 64 | 0.046406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_6754-2_1_5_line_64 | NAYY 4x150 SE | 61 | 62 | 0.087652 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_6754-2_1_5_line_65 | NAYY 4x150 SE | 61 | 63 | 0.024468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_6754-2_1_5_line_66 | NAYY 4x150 SE | 62 | 66 | 0.032791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_6754-2_1_5_line_67 | NAYY 4x150 SE | 62 | 67 | 0.038172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_6754-2_1_5_line_68 | NAYY 4x150 SE | 62 | 68 | 0.01653 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_6754-2_1_5_line_69 | NAYY 4x150 SE | 63 | 70 | 0.020865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_6754-2_1_5_line_70 | NAYY 4x150 SE | 64 | 65 | 0.09192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_6754-2_1_5_line_71 | NAYY 4x150 SE | 65 | 78 | 0.02595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_6754-2_1_5_line_72 | NAYY 4x150 SE | 67 | 79 | 0.00078539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_6754-2_1_5_line_73 | NAYY 4x150 SE | 68 | 78 | 0.0060405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_6754-2_1_5_line_74 | NAYY 4x150 SE | 69 | 70 | 0.12897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_6754-2_1_5_line_75 | NAYY 4x150 SE | 69 | 71 | 0.14424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_6754-2_1_5_line_76 | NAYY 4x150 SE | 71 | 85 | 0.013803 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_6754-2_1_5_line_77 | NAYY 4x150 SE | 72 | 73 | 0.029409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_6754-2_1_5_line_78 | NAYY 4x150 SE | 72 | 74 | 0.044502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_6754-2_1_5_line_79 | NAYY 4x150 SE | 73 | 75 | 0.025948 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_6754-2_1_5_line_80 | NAYY 4x150 SE | 75 | 76 | 0.020978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_6754-2_1_5_line_81 | NAYY 4x150 SE | 76 | 77 | 0.0084517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_6754-2_1_5_line_82 | NAYY 4x150 SE | 79 | 82 | 0.013399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_6754-2_1_5_line_83 | NAYY 4x150 SE | 80 | 81 | 0.0046108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_6754-2_1_5_line_84 | NAYY 4x150 SE | 80 | 82 | 0.03152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_6754-2_1_5_line_85 | NAYY 4x150 SE | 82 | 83 | 0.02879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_6754-2_1_5_line_86 | NAYY 4x150 SE | 83 | 84 | 0.053983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_6754-2_1_5_line_87 | NAYY 4x150 SE | 85 | 86 | 0.027442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_6754-2_1_5_line_88 | NAYY 4x150 SE | 86 | 87 | 0.030188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_6754-2_1_5_line_89 | NAYY 4x150 SE | 88 | 89 | 0.039033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_6754-2_1_5_line_90 | NAYY 4x150 SE | 88 | 90 | 0.02085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_6754-2_1_5_line_91 | NAYY 4x150 SE | 89 | 91 | 0.013971 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
92 | LV_6754-2_1_5_line_92 | NAYY 4x150 SE | 90 | 92 | 0.0089059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_6754-2_1_5_line_93 | NAYY 4x150 SE | 90 | 93 | 0.017595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_6754-2_1_5_line_94 | NAYY 4x150 SE | 91 | 94 | 0.010676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
95 | LV_6754-2_1_5_line_95 | NAYY 4x150 SE | 92 | 96 | 0.01922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_6754-2_1_5_line_96 | NAYY 4x150 SE | 96 | 97 | 0.0030018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6754-2_1_5_trafo_96 | 0.25 MVA 20/0.4 kV | 98 | 30 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2562381.9268 | 1229632.9869 | 2561138.8239 | 1230391.1419
1 | 2562596.6523 | 1229926.7072 | 2562595.2769 | 1229902.0007 | 2562565.748 | 1229858.4381 | 2562523.2183 | 1229815.7693 | 2562464.1712 | 1229731.8801 | 2562455.451 | 1229719.7056 | 2562403.4963 | 1229647.2013 | 2562391.2906 | 1229645.6555 | 2562381.9268 | 1229632.9869
2 | 2562381.9268 | 1229632.9869 | 2562736.4672 | 1229406.2744
3 | 2562596.6523 | 1229926.7072 | 2562604.4652 | 1229941.6449 | 2562608.9486 | 1229948.3818
4 | 2562736.4672 | 1229406.2744 | 2562733.5542 | 1229403.2242 | 2562715.7905 | 1229368.3923 | 2562714.4217 | 1229365.9322
5 | 2562621.1988 | 1229966.7896 | 2562608.9486 | 1229948.3818
6 | 2562621.1988 | 1229966.7896 | 2562654.9285 | 1230017.4735 | 2562671.6621 | 1230039.3149 | 2562689.2306 | 1230061.4624 | 2562704.0749 | 1230080.4363 | 2562705.137 | 1230081.7317
7 | 2562726.4436 | 1230107.112 | 2562712.4179 | 1230090.6123 | 2562705.137 | 1230081.7317
8 | 2563098.0381 | 1230083.5737 | 2563083.9144 | 1230068.923
9 | 2563065.0957 | 1230049.4022 | 2563083.9144 | 1230068.923
10 | 2563098.0381 | 1230083.5737 | 2563104.1263 | 1230089.3919
11 | 2563089.4046 | 1230093.5224 | 2563098.0381 | 1230083.5737
12 | 2563065.0957 | 1230049.4022 | 2563062.7233 | 1230046.7265 | 2563059.0639 | 1230044.1477 | 2563055.6055 | 1230042.2347
13 | 2563053.4245 | 1230058.1025 | 2563065.0957 | 1230049.4022
14 | 2563115.8152 | 1230100.5624 | 2563104.1263 | 1230089.3919
15 | 2563055.6055 | 1230042.2347 | 2563044.4781 | 1230031.6404
16 | 2563055.6055 | 1230042.2347 | 2563069.8886 | 1230031.0575
17 | 2563055.6055 | 1230042.2347 | 2563048.0234 | 1230039.8138 | 2563041.5505 | 1230039.1315 | 2563035.4844 | 1230039.3139 | 2563030.3517 | 1230039.7795 | 2563025.724 | 1230041.0535 | 2563020.1957 | 1230043.6674
18 | 2563102.7363 | 1230113.0848 | 2563115.8152 | 1230100.5624
19 | 2563115.8152 | 1230100.5624 | 2563123.7593 | 1230110.0411 | 2563128.73 | 1230114.0015 | 2563132.5352 | 1230115.6566 | 2563136.2076 | 1230116.6788
20 | 2563039.642 | 1230027.036 | 2563044.4781 | 1230031.6404
21 | 2563084.0302 | 1230019.9909 | 2563069.8886 | 1230031.0575
22 | 2563020.1957 | 1230043.6674 | 2563016.8347 | 1230045.6878
23 | 2563136.2076 | 1230116.6788 | 2563137.9538 | 1230120.9929 | 2563139.3243 | 1230124.5643 | 2563140.7197 | 1230126.8836
24 | 2563104.6845 | 1230003.8278 | 2563084.0302 | 1230019.9909
25 | 2562986.6185 | 1230071.6941 | 2563007.5786 | 1230052.4959 | 2563014.5889 | 1230047.0378 | 2563016.8347 | 1230045.6878
26 | 2563090.6435 | 1229985.9598 | 2563104.6845 | 1230003.8278
27 | 2562986.6185 | 1230071.6941 | 2562993.6669 | 1230079.7191
28 | 2562993.6669 | 1230079.7191 | 2562998.6071 | 1230085.3437
29 | 2562882.7774 | 1230156.0838 | 2562924.6004 | 1230108.3818 | 2562929.9659 | 1230102.767 | 2562933.1975 | 1230099.9117 | 2562939.9989 | 1230094.9773
30 | 2562939.9989 | 1230094.9773 | 2562951.8521 | 1230112.8849
31 | 2562882.7774 | 1230156.0838 | 2562878.8105 | 1230139.4874 | 2562873.8331 | 1230123.6199 | 2562855.5349 | 1230091.7558
32 | 2562882.7774 | 1230156.0838 | 2562890.6747 | 1230206.432 | 2562896.0153 | 1230210.1676 | 2562899.8942 | 1230213.9345 | 2562903.2807 | 1230217.6934 | 2562915.3574 | 1230233.939 | 2562920.7699 | 1230240.6871 | 2562925.1882 | 1230245.9293 | 2562929.479 | 1230250.1607 | 2562935.0308 | 1230254.9845
33 | 2562951.8521 | 1230112.8849 | 2562964.6436 | 1230132.2102
34 | 2562998.6071 | 1230085.3437 | 2563013.7762 | 1230102.6146
35 | 2562774.7893 | 1229975.2577 | 2562758.0446 | 1229936.863
36 | 2562778.9008 | 1229984.6851 | 2562774.7893 | 1229975.2577
37 | 2562778.9008 | 1229984.6851 | 2562767.4962 | 1229992.3725 | 2562763.8983 | 1229995.9974 | 2562758.942 | 1230006.446 | 2562754.4047 | 1230020.9056 | 2562754.2557 | 1230028.5223 | 2562756.2956 | 1230033.7127 | 2562761.3602 | 1230039.2955 | 2562779.7476 | 1230055.6012 | 2562782.3262 | 1230059.3723
38 | 2562778.9008 | 1229984.6851 | 2562791.3356 | 1229986.6527 | 2562798.0401 | 1229991.636 | 2562840.8525 | 1230066.1883
39 | 2562782.3262 | 1230059.3723 | 2562794.3491 | 1230076.956 | 2562809.6254 | 1230109.3134 | 2562824.6835 | 1230141.9168 | 2562825.2268 | 1230143.8806
40 | 2562855.5349 | 1230091.7558 | 2562840.8525 | 1230066.1883
41 | 2562829.7676 | 1230189.2807 | 2562828.6313 | 1230165.1063 | 2562828.1357 | 1230158.5387 | 2562827.3421 | 1230152.7735 | 2562826.1328 | 1230147.1554 | 2562825.2268 | 1230143.8806
42 | 2562749.3668 | 1230132.8505 | 2562764.191 | 1230149.879 | 2562770.6372 | 1230157.1763 | 2562774.931 | 1230161.8634 | 2562779.2301 | 1230166.1724 | 2562784.074 | 1230170.4112 | 2562788.868 | 1230173.9278 | 2562793.5139 | 1230176.7781 | 2562798.3083 | 1230179.1606 | 2562804.0043 | 1230181.582 | 2562810.5178 | 1230183.9203 | 2562818.0008 | 1230186.2526 | 2562829.7676 | 1230189.2807
43 | 2562749.3668 | 1230132.8505 | 2562726.4436 | 1230107.112
44 | 2562726.4436 | 1230107.112 | 2562729.5536 | 1230101.7892 | 2562731.1153 | 1230099.6003 | 2562733.2373 | 1230097.3745 | 2562756.7994 | 1230082.2509
45 | 2562749.3668 | 1230132.8505 | 2562753.6602 | 1230114.5567
46 | 2563043.605 | 1230185.5009 | 2563058.6892 | 1230173.6073 | 2563067.2596 | 1230167.3608
47 | 2563028.8564 | 1230197.1299 | 2563043.605 | 1230185.5009
48 | 2563071.0007 | 1230164.6342 | 2563067.2596 | 1230167.3608
49 | 2563028.8564 | 1230197.1299 | 2563050.7153 | 1230228.5024
50 | 2563028.8564 | 1230197.1299 | 2563013.3468 | 1230175.7134 | 2563011.6785 | 1230174.2007 | 2563009.9391 | 1230173.4222 | 2563008.1051 | 1230173.2557 | 2563005.1848 | 1230173.8076
51 | 2563014.3993 | 1230218.1441 | 2563028.8564 | 1230197.1299
52 | 2563071.0007 | 1230164.6342 | 2563084.1373 | 1230155.0597 | 2563107.9529 | 1230190.9663
53 | 2563050.7153 | 1230228.5024 | 2563052.3732 | 1230230.8819 | 2563053.041 | 1230231.966
54 | 2562993.8354 | 1230175.7685 | 2562995.8542 | 1230176.4008 | 2562998.5114 | 1230176.1841 | 2563000.907 | 1230175.3019 | 2563005.1848 | 1230173.8076
55 | 2563111.2981 | 1230196.01 | 2563107.9529 | 1230190.9663
56 | 2563069.1441 | 1230258.1083 | 2563053.041 | 1230231.966
57 | 2562988.8049 | 1230185.2836 | 2562993.8354 | 1230175.7685
58 | 2562984.8979 | 1230163.6836 | 2562992.3746 | 1230174.7215 | 2562993.8354 | 1230175.7685
59 | 2563119.0828 | 1230355.4209 | 2563120.2622 | 1230352.6341 | 2563120.903 | 1230349.7172 | 2563120.7576 | 1230347.0498 | 2563119.9287 | 1230344.0754 | 2563117.7504 | 1230339.7084 | 2563073.14 | 1230264.5954 | 2563069.1441 | 1230258.1083
60 | 2562984.8979 | 1230163.6836 | 2562970.6488 | 1230173.2615
61 | 2562984.8979 | 1230163.6836 | 2562978.2475 | 1230152.7628
62 | 2563091.512 | 1230383.2651 | 2563106.8258 | 1230367.2711 | 2563119.0828 | 1230355.4209
63 | 2563107.1061 | 1230426.8949 | 2563105.5287 | 1230424.1475 | 2563096.0182 | 1230395.3668 | 2563093.9331 | 1230388.9313 | 2563091.512 | 1230383.2651
64 | 2563227.311 | 1230497.1582 | 2563243.2492 | 1230475.5794 | 2563264.2622 | 1230451.5678 | 2563272.5661 | 1230438.575 | 2563277.4795 | 1230426.0035
65 | 2563277.4795 | 1230426.0035 | 2563295.0441 | 1230443.0377
66 | 2563227.311 | 1230497.1582 | 2563224.1899 | 1230499.4901 | 2563220.6146 | 1230503.0922 | 2563217.4656 | 1230509.4824 | 2563213.9694 | 1230525.8252
67 | 2563227.311 | 1230497.1582 | 2563256.9034 | 1230510.7164 | 2563261.998 | 1230513.0926
68 | 2563227.311 | 1230497.1582 | 2563212.1625 | 1230490.5438
69 | 2563310.0223 | 1230457.5635 | 2563295.0441 | 1230443.0377
70 | 2563107.1061 | 1230426.8949 | 2563112.2415 | 1230433.0112 | 2563123.6816 | 1230443.2686 | 2563136.3955 | 1230452.5397 | 2563148.6264 | 1230459.6458 | 2563164.8743 | 1230468.428 | 2563183.1228 | 1230477.1334
71 | 2563206.6267 | 1230488.1267 | 2563201.2009 | 1230485.7576 | 2563183.1228 | 1230477.1334
72 | 2563262.7097 | 1230513.4246 | 2563261.998 | 1230513.0926
73 | 2563206.6267 | 1230488.1267 | 2563212.1625 | 1230490.5438
74 | 2563402.7384 | 1230547.2148 | 2563357.0147 | 1230503.1367 | 2563310.0223 | 1230457.5635
75 | 2563282.8864 | 1230617.7546 | 2563289.5622 | 1230617.0684 | 2563297.2935 | 1230615.5752 | 2563308.1738 | 1230612.5949 | 2563332.385 | 1230606.0967 | 2563338.9538 | 1230604.0215 | 2563345.2703 | 1230601.5476 | 2563350.8502 | 1230598.767 | 2563355.4604 | 1230595.9479 | 2563359.4486 | 1230592.9881 | 2563363.6365 | 1230589.2376 | 2563390.1151 | 1230561.0901 | 2563402.7384 | 1230547.2148
76 | 2563282.8864 | 1230617.7546 | 2563275.4476 | 1230617.5561 | 2563269.1094 | 1230617.0111
77 | 2562935.0308 | 1230254.9845 | 2562958.1941 | 1230273.1052
78 | 2562935.0308 | 1230254.9845 | 2562943.4401 | 1230232.2513 | 2562952.415 | 1230214.0842
79 | 2562958.1941 | 1230273.1052 | 2562976.1862 | 1230287.1805 | 2562978.6687 | 1230289.0442
80 | 2562995.4448 | 1230301.6389 | 2562978.6687 | 1230289.0442
81 | 2562995.4448 | 1230301.6389 | 2563000.9337 | 1230305.7597 | 2563002.1926 | 1230306.7278
82 | 2563274.8526 | 1230519.0881 | 2563262.7097 | 1230513.4246
83 | 2563248.618 | 1230536.4503 | 2563246.358 | 1230540.4692
84 | 2563274.8526 | 1230519.0881 | 2563263.8783 | 1230525.271 | 2563253.8261 | 1230532.3377 | 2563248.618 | 1230536.4503
85 | 2563299.92 | 1230533.3751 | 2563282.4386 | 1230523.4772 | 2563274.8526 | 1230519.0881
86 | 2563299.92 | 1230533.3751 | 2563290.2354 | 1230549.6784 | 2563285.3934 | 1230551.7541 | 2563275.8277 | 1230554.2259 | 2563271.7593 | 1230557.6977 | 2563270.5022 | 1230561.3967 | 2563270.4027 | 1230566.1113 | 2563275.0303 | 1230569.7738
87 | 2563269.1094 | 1230617.0111 | 2563268.332 | 1230616.9443 | 2563261.0648 | 1230615.0993 | 2563253.9373 | 1230612.5752 | 2563245.38 | 1230609.0928 | 2563243.238 | 1230608.0914
88 | 2563216.3717 | 1230594.3435 | 2563234.6774 | 1230604.0894 | 2563243.238 | 1230608.0914
89 | 2562978.2475 | 1230152.7628 | 2563008.9746 | 1230128.6923
90 | 2563025.3877 | 1230115.8349 | 2563008.9746 | 1230128.6923
91 | 2562978.2475 | 1230152.7628 | 2562970.5364 | 1230141.1129
92 | 2563025.3877 | 1230115.8349 | 2563031.3409 | 1230122.4586
93 | 2563025.3877 | 1230115.8349 | 2563013.7762 | 1230102.6146
94 | 2562970.5364 | 1230141.1129 | 2562964.6436 | 1230132.2102
95 | 2563044.1886 | 1230136.7535 | 2563031.3409 | 1230122.4586
96 | 2563046.1952 | 1230138.9861 | 2563044.1886 | 1230136.7535

## bus_geodata
| x | y | coords
0 | 2561138.8239 | 1230391.1419
1 | 2562381.9268 | 1229632.9869
2 | 2562596.6523 | 1229926.7072
3 | 2562736.4672 | 1229406.2744
4 | 2562714.4217 | 1229365.9322
5 | 2562608.9486 | 1229948.3818
6 | 2562621.1988 | 1229966.7896
7 | 2562705.137 | 1230081.7317
8 | 2563083.9144 | 1230068.923
9 | 2563098.0381 | 1230083.5737
10 | 2563065.0957 | 1230049.4022
11 | 2563104.1263 | 1230089.3919
12 | 2563089.4046 | 1230093.5224
13 | 2563055.6055 | 1230042.2347
14 | 2563053.4245 | 1230058.1025
15 | 2563115.8152 | 1230100.5624
16 | 2563044.4781 | 1230031.6404
17 | 2563069.8886 | 1230031.0575
18 | 2563020.1957 | 1230043.6674
19 | 2563102.7363 | 1230113.0848
20 | 2563136.2076 | 1230116.6788
21 | 2563039.642 | 1230027.036
22 | 2563084.0302 | 1230019.9909
23 | 2563016.8347 | 1230045.6878
24 | 2563104.6845 | 1230003.8278
25 | 2563090.6435 | 1229985.9598
26 | 2563140.7197 | 1230126.8836
27 | 2562986.6185 | 1230071.6941
28 | 2562993.6669 | 1230079.7191
29 | 2562939.9989 | 1230094.9773
30 | 2562882.7774 | 1230156.0838
31 | 2562951.8521 | 1230112.8849
32 | 2562998.6071 | 1230085.3437
33 | 2562774.7893 | 1229975.2577
34 | 2562758.0446 | 1229936.863
35 | 2562778.9008 | 1229984.6851
36 | 2562782.3262 | 1230059.3723
37 | 2562840.8525 | 1230066.1883
38 | 2562825.2268 | 1230143.8806
39 | 2562855.5349 | 1230091.7558
40 | 2562829.7676 | 1230189.2807
41 | 2562726.4437 | 1230107.112
42 | 2562749.3668 | 1230132.8505
43 | 2562756.7994 | 1230082.2509
44 | 2562753.6602 | 1230114.5567
45 | 2563043.605 | 1230185.5009
46 | 2563067.2596 | 1230167.3608
47 | 2563028.8564 | 1230197.1299
48 | 2563071.0007 | 1230164.6342
49 | 2563050.7153 | 1230228.5024
50 | 2563005.1848 | 1230173.8076
51 | 2563014.3993 | 1230218.1441
52 | 2563107.9528 | 1230190.9663
53 | 2563053.041 | 1230231.966
54 | 2562993.8354 | 1230175.7685
55 | 2563111.2981 | 1230196.01
56 | 2563069.1441 | 1230258.1083
57 | 2562988.8049 | 1230185.2836
58 | 2562984.8979 | 1230163.6836
59 | 2563119.0828 | 1230355.4209
60 | 2563091.512 | 1230383.2651
61 | 2563277.4795 | 1230426.0035
62 | 2563227.311 | 1230497.1582
63 | 2563295.0441 | 1230443.0377
64 | 2563107.1061 | 1230426.8949
65 | 2563183.1228 | 1230477.1334
66 | 2563213.9694 | 1230525.8252
67 | 2563261.998 | 1230513.0926
68 | 2563212.1625 | 1230490.5438
69 | 2563402.7384 | 1230547.2148
70 | 2563310.0223 | 1230457.5635
71 | 2563282.8864 | 1230617.7546
72 | 2562935.0308 | 1230254.9845
73 | 2562958.1941 | 1230273.1052
74 | 2562952.415 | 1230214.0842
75 | 2562978.6687 | 1230289.0442
76 | 2562995.4448 | 1230301.6389
77 | 2563002.1926 | 1230306.7278
78 | 2563206.6267 | 1230488.1267
79 | 2563262.7097 | 1230513.4246
80 | 2563248.618 | 1230536.4503
81 | 2563246.358 | 1230540.4692
82 | 2563274.8526 | 1230519.0881
83 | 2563299.92 | 1230533.3751
84 | 2563275.0303 | 1230569.7738
85 | 2563269.1094 | 1230617.0111
86 | 2563243.238 | 1230608.0914
87 | 2563216.3717 | 1230594.3435
88 | 2563008.9746 | 1230128.6923
89 | 2562978.2475 | 1230152.7628
90 | 2563025.3877 | 1230115.8349
91 | 2562970.5364 | 1230141.1129
92 | 2563031.3409 | 1230122.4586
93 | 2563013.7762 | 1230102.6146
94 | 2562964.6436 | 1230132.2102
95 | 2562970.6488 | 1230173.2615
96 | 2563044.1886 | 1230136.7535
97 | 2563046.1952 | 1230138.9861
98 | 2562890.6747 | 1230206.432

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1