## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6754-4_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6754-4_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6754-4_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6754-4_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6754-4_0_2_node_9 | 0.4 | n |  | TRUE
5 | bus_LV_6754-4_0_2_node_14 | 0.4 | n |  | TRUE
6 | bus_LV_6754-4_0_2_node_17 | 0.4 | n |  | TRUE
7 | bus_LV_6754-4_0_2_node_10 | 0.4 | n |  | TRUE
8 | bus_LV_6754-4_0_2_node_15 | 0.4 | n |  | TRUE
9 | bus_LV_6754-4_0_2_node_13 | 0.4 | n |  | TRUE
10 | bus_LV_6754-4_0_2_node_4 | 0.4 | n |  | TRUE
11 | bus_LV_6754-4_0_2_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_6754-4_0_2_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_6754-4_0_2_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_6754-4_0_2_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_6754-4_0_2_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_6754-4_0_2_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_6754-4_0_2_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_6754-4_0_2_node_24 | 0.4 | n |  | TRUE
19 | bus_LV_6754-4_0_2_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_6754-4_0_2_node_31 | 0.4 | n |  | TRUE
21 | bus_LV_6754-4_0_2_node_25 | 0.4 | n |  | TRUE
22 | bus_LV_6754-4_0_2_node_89 | 0.4 | n |  | TRUE
23 | bus_LV_6754-4_0_2_node_86 | 0.4 | n |  | TRUE
24 | bus_LV_6754-4_0_2_node_88 | 0.4 | n |  | TRUE
25 | bus_LV_6754-4_0_2_node_30 | 0.4 | n |  | TRUE
26 | bus_LV_6754-4_0_2_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_6754-4_0_2_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_6754-4_0_2_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_6754-4_0_2_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_6754-4_0_2_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_6754-4_0_2_node_42 | 0.4 | n |  | TRUE
32 | bus_LV_6754-4_0_2_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_6754-4_0_2_node_43 | 0.4 | n |  | TRUE
34 | bus_LV_6754-4_0_2_node_41 | 0.4 | n |  | TRUE
35 | bus_LV_6754-4_0_2_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_6754-4_0_2_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_6754-4_0_2_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_6754-4_0_2_node_33 | 0.4 | n |  | TRUE
39 | bus_LV_6754-4_0_2_node_39 | 0.4 | n |  | TRUE
40 | bus_LV_6754-4_0_2_node_40 | 0.4 | n |  | TRUE
41 | bus_LV_6754-4_0_2_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_6754-4_0_2_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_6754-4_0_2_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_6754-4_0_2_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_6754-4_0_2_node_38 | 0.4 | n |  | TRUE
46 | bus_LV_6754-4_0_2_node_46 | 0.4 | n |  | TRUE
47 | bus_LV_6754-4_0_2_node_44 | 0.4 | n |  | TRUE
48 | bus_LV_6754-4_0_2_node_73 | 0.4 | n |  | TRUE
49 | bus_LV_6754-4_0_2_node_58 | 0.4 | n |  | TRUE
50 | bus_LV_6754-4_0_2_node_45 | 0.4 | n |  | TRUE
51 | bus_LV_6754-4_0_2_node_74 | 0.4 | n |  | TRUE
52 | bus_LV_6754-4_0_2_node_57 | 0.4 | n |  | TRUE
53 | bus_LV_6754-4_0_2_node_56 | 0.4 | n |  | TRUE
54 | bus_LV_6754-4_0_2_node_90 | 0.4 | n |  | TRUE
55 | bus_LV_6754-4_0_2_node_59 | 0.4 | n |  | TRUE
56 | bus_LV_6754-4_0_2_node_47 | 0.4 | n |  | TRUE
57 | bus_LV_6754-4_0_2_node_48 | 0.4 | n |  | TRUE
58 | bus_LV_6754-4_0_2_node_49 | 0.4 | n |  | TRUE
59 | bus_LV_6754-4_0_2_node_50 | 0.4 | n |  | TRUE
60 | bus_LV_6754-4_0_2_node_67 | 0.4 | n |  | TRUE
61 | bus_LV_6754-4_0_2_node_65 | 0.4 | n |  | TRUE
62 | bus_LV_6754-4_0_2_node_70 | 0.4 | n |  | TRUE
63 | bus_LV_6754-4_0_2_node_66 | 0.4 | n |  | TRUE
64 | bus_LV_6754-4_0_2_node_51 | 0.4 | n |  | TRUE
65 | bus_LV_6754-4_0_2_node_52 | 0.4 | n |  | TRUE
66 | bus_LV_6754-4_0_2_node_53 | 0.4 | n |  | TRUE
67 | bus_LV_6754-4_0_2_node_54 | 0.4 | n |  | TRUE
68 | bus_LV_6754-4_0_2_node_55 | 0.4 | n |  | TRUE
69 | bus_LV_6754-4_0_2_node_75 | 0.4 | n |  | TRUE
70 | bus_LV_6754-4_0_2_node_79 | 0.4 | n |  | TRUE
71 | bus_LV_6754-4_0_2_node_76 | 0.4 | n |  | TRUE
72 | bus_LV_6754-4_0_2_node_72 | 0.4 | n |  | TRUE
73 | bus_LV_6754-4_0_2_node_71 | 0.4 | n |  | TRUE
74 | bus_LV_6754-4_0_2_node_60 | 0.4 | n |  | TRUE
75 | bus_LV_6754-4_0_2_node_61 | 0.4 | n |  | TRUE
76 | bus_LV_6754-4_0_2_node_62 | 0.4 | n |  | TRUE
77 | bus_LV_6754-4_0_2_node_63 | 0.4 | n |  | TRUE
78 | bus_LV_6754-4_0_2_node_64 | 0.4 | n |  | TRUE
79 | bus_LV_6754-4_0_2_node_68 | 0.4 | n |  | TRUE
80 | bus_LV_6754-4_0_2_node_78 | 0.4 | n |  | TRUE
81 | bus_LV_6754-4_0_2_node_69 | 0.4 | n |  | TRUE
82 | bus_LV_6754-4_0_2_node_81 | 0.4 | n |  | TRUE
83 | bus_LV_6754-4_0_2_node_80 | 0.4 | n |  | TRUE
84 | bus_LV_6754-4_0_2_node_77 | 0.4 | n |  | TRUE
85 | bus_LV_6754-4_0_2_node_84 | 0.4 | n |  | TRUE
86 | bus_LV_6754-4_0_2_node_82 | 0.4 | n |  | TRUE
87 | bus_MV_329_1_node_172 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6754-4_0_2_load_0 | 0 | 0.0032705 | 0.00081967 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6754-4_0_2_load_1 | 1 | 0.0042468 | 0.0010643 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6754-4_0_2_load_2 | 2 | 0.0043979 | 0.0011022 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6754-4_0_2_load_17 | 6 | 0.0041081 | 0.0010296 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6754-4_0_2_load_15 | 8 | 0.0023024 | 0.00057704 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6754-4_0_2_load_13 | 9 | 0.0024278 | 0.00060847 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6754-4_0_2_load_4 | 10 | 0.0018459 | 0.00046264 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6754-4_0_2_load_5 | 11 | 0.0023788 | 0.00059619 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6754-4_0_2_load_6 | 12 | 0.0025091 | 0.00062884 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6754-4_0_2_load_7 | 13 | 0.0044876 | 0.0011247 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6754-4_0_2_load_8 | 14 | 0.0019598 | 0.00049117 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6754-4_0_2_load_11 | 15 | 0.002605 | 0.00065287 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6754-4_0_2_load_16 | 17 | 0.0020614 | 0.00051664 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6754-4_0_2_load_24 | 18 | 0.0027143 | 0.00068026 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6754-4_0_2_load_18 | 19 | 0.0015977 | 0.00040042 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6754-4_0_2_load_31 | 20 | 0.0022214 | 0.00055674 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6754-4_0_2_load_25 | 21 | 0.0024794 | 0.00062139 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6754-4_0_2_load_89 | 22 | 0.0011495 | 0.00028809 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6754-4_0_2_load_86 | 23 | 0.001443 | 0.00036165 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6754-4_0_2_load_30 | 25 | 0.0025423 | 0.00063716 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6754-4_0_2_load_19 | 26 | 0.0028416 | 0.00071218 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6754-4_0_2_load_20 | 27 | 0.0024494 | 0.00061387 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6754-4_0_2_load_21 | 28 | 0.0022847 | 0.0005726 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6754-4_0_2_load_22 | 29 | 0.0024303 | 0.0006091 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6754-4_0_2_load_23 | 30 | 0.0033691 | 0.00084439 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6754-4_0_2_load_26 | 32 | 0.0017644 | 0.0004422 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6754-4_0_2_load_43 | 33 | 0.0027327 | 0.00068489 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6754-4_0_2_load_41 | 34 | 0.0029565 | 0.00074096 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6754-4_0_2_load_27 | 35 | 0.0021726 | 0.00054451 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6754-4_0_2_load_28 | 36 | 0.0018778 | 0.00047061 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6754-4_0_2_load_33 | 38 | 0.0030102 | 0.00075444 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6754-4_0_2_load_39 | 39 | 0.0021056 | 0.00052772 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6754-4_0_2_load_40 | 40 | 0.0024571 | 0.0006158 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6754-4_0_2_load_34 | 41 | 0.0026476 | 0.00066354 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6754-4_0_2_load_35 | 42 | 0.0030711 | 0.0007697 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6754-4_0_2_load_36 | 43 | 0.001214 | 0.00030425 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6754-4_0_2_load_38 | 45 | 0.0016534 | 0.00041438 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6754-4_0_2_load_46 | 46 | 0.002476 | 0.00062053 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6754-4_0_2_load_44 | 47 | 0.0027098 | 0.00067915 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6754-4_0_2_load_73 | 48 | 0.002326 | 0.00058294 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6754-4_0_2_load_58 | 49 | 0.0076432 | 0.0019156 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6754-4_0_2_load_74 | 51 | 0.001021 | 0.00025588 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6754-4_0_2_load_57 | 52 | 0.0028559 | 0.00071576 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6754-4_0_2_load_90 | 54 | 0.004092 | 0.0010256 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6754-4_0_2_load_59 | 55 | 0.0036253 | 0.00090859 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6754-4_0_2_load_47 | 56 | 0.0009728 | 0.00024381 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6754-4_0_2_load_50 | 59 | 0.0058957 | 0.0014776 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6754-4_0_2_load_65 | 61 | 0.0038923 | 0.00097549 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6754-4_0_2_load_70 | 62 | 0.0080296 | 0.0020124 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6754-4_0_2_load_51 | 64 | 0.0047174 | 0.0011823 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6754-4_0_2_load_52 | 65 | 0.0013646 | 0.000342 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6754-4_0_2_load_54 | 67 | 0.0038199 | 0.00095736 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6754-4_0_2_load_55 | 68 | 0.0019058 | 0.00047764 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6754-4_0_2_load_75 | 69 | 0.0025301 | 0.0006341 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6754-4_0_2_load_79 | 70 | 0.0017263 | 0.00043266 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6754-4_0_2_load_76 | 71 | 0.0036468 | 0.00091398 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6754-4_0_2_load_72 | 72 | 0.0011603 | 0.0002908 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6754-4_0_2_load_60 | 74 | 0.0018003 | 0.00045119 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6754-4_0_2_load_61 | 75 | 0.0010728 | 0.00026888 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6754-4_0_2_load_62 | 76 | 0.0033336 | 0.00083548 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6754-4_0_2_load_63 | 77 | 0.0013412 | 0.00033614 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6754-4_0_2_load_64 | 78 | 0.0027233 | 0.00068252 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6754-4_0_2_load_78 | 80 | 0.0021372 | 0.00053564 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6754-4_0_2_load_69 | 81 | 0.001341 | 0.00033609 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6754-4_0_2_load_81 | 82 | 0.0015754 | 0.00039484 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6754-4_0_2_load_80 | 83 | 0.0011045 | 0.00027682 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6754-4_0_2_load_77 | 84 | 0.0023336 | 0.00058486 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6754-4_0_2_load_84 | 85 | 0.0030692 | 0.00076921 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6754-4_0_2_load_82 | 86 | 0.004477 | 0.001122 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 33 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6754-4_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.036947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_6754-4_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.017055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_6754-4_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.013429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_6754-4_0_2_line_3 | NAYY 4x150 SE | 3 | 4 | 0.022114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_6754-4_0_2_line_4 | NAYY 4x150 SE | 4 | 5 | 0.042487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_6754-4_0_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.0019081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_6754-4_0_2_line_6 | NAYY 4x150 SE | 5 | 17 | 0.02743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_6754-4_0_2_line_7 | NAYY 4x150 SE | 5 | 9 | 0.018778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_6754-4_0_2_line_8 | NAYY 4x150 SE | 6 | 16 | 0.015141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_6754-4_0_2_line_9 | NAYY 4x150 SE | 7 | 8 | 0.014893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_6754-4_0_2_line_10 | NAYY 4x150 SE | 7 | 9 | 0.023146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_6754-4_0_2_line_11 | NAYY 4x150 SE | 8 | 18 | 0.018894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_6754-4_0_2_line_12 | NAYY 4x150 SE | 10 | 11 | 0.025806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_6754-4_0_2_line_13 | NAYY 4x150 SE | 10 | 12 | 0.0022659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_6754-4_0_2_line_14 | NAYY 4x150 SE | 11 | 13 | 0.0057028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_6754-4_0_2_line_15 | NAYY 4x150 SE | 12 | 14 | 0.030819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_6754-4_0_2_line_16 | NAYY 4x150 SE | 13 | 15 | 0.023515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_6754-4_0_2_line_17 | NAYY 4x150 SE | 15 | 16 | 0.027536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_6754-4_0_2_line_18 | NAYY 4x150 SE | 16 | 19 | 0.016541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_6754-4_0_2_line_19 | NAYY 4x150 SE | 18 | 21 | 0.011241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_6754-4_0_2_line_20 | NAYY 4x150 SE | 19 | 20 | 0.003171 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_6754-4_0_2_line_21 | NAYY 4x150 SE | 20 | 25 | 0.027194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_6754-4_0_2_line_22 | NAYY 4x150 SE | 21 | 35 | 0.027469 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_6754-4_0_2_line_23 | NAYY 4x150 SE | 22 | 23 | 0.016922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_6754-4_0_2_line_24 | NAYY 4x150 SE | 22 | 24 | 0.028305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_6754-4_0_2_line_25 | NAYY 4x150 SE | 24 | 37 | 0.042604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_6754-4_0_2_line_26 | NAYY 4x150 SE | 25 | 37 | 0.028266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_6754-4_0_2_line_27 | NAYY 4x150 SE | 26 | 27 | 0.026016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_6754-4_0_2_line_28 | NAYY 4x150 SE | 26 | 28 | 0.0034586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_6754-4_0_2_line_29 | NAYY 4x150 SE | 27 | 29 | 0.0069206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_6754-4_0_2_line_30 | NAYY 4x150 SE | 28 | 30 | 0.031957 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_6754-4_0_2_line_31 | NAYY 4x150 SE | 29 | 31 | 0.0099581 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_6754-4_0_2_line_32 | NAYY 4x150 SE | 30 | 32 | 0.0036317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_6754-4_0_2_line_33 | NAYY 4x150 SE | 31 | 33 | 0.034491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_6754-4_0_2_line_34 | NAYY 4x150 SE | 31 | 34 | 0.021195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_6754-4_0_2_line_35 | NAYY 4x150 SE | 33 | 52 | 0.012718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_6754-4_0_2_line_36 | NAYY 4x150 SE | 34 | 40 | 0.01443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_6754-4_0_2_line_37 | NAYY 4x150 SE | 35 | 36 | 0.025303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_6754-4_0_2_line_38 | NAYY 4x150 SE | 37 | 38 | 0.015671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_6754-4_0_2_line_39 | NAYY 4x150 SE | 38 | 39 | 0.0044206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_6754-4_0_2_line_40 | NAYY 4x150 SE | 39 | 40 | 0.018986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_6754-4_0_2_line_41 | NAYY 4x150 SE | 41 | 42 | 0.0048164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_6754-4_0_2_line_42 | NAYY 4x150 SE | 41 | 43 | 0.015659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_6754-4_0_2_line_43 | NAYY 4x150 SE | 42 | 44 | 0.014781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_6754-4_0_2_line_44 | NAYY 4x150 SE | 43 | 45 | 0.0043374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_6754-4_0_2_line_45 | NAYY 4x150 SE | 44 | 46 | 0.035563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_6754-4_0_2_line_46 | NAYY 4x150 SE | 44 | 47 | 0.023578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_6754-4_0_2_line_47 | NAYY 4x150 SE | 45 | 48 | 0.0082968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_6754-4_0_2_line_48 | NAYY 4x150 SE | 46 | 49 | 0.011193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_6754-4_0_2_line_49 | NAYY 4x150 SE | 47 | 50 | 0.0082828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_6754-4_0_2_line_50 | NAYY 4x150 SE | 48 | 51 | 0.012768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_6754-4_0_2_line_51 | NAYY 4x150 SE | 49 | 55 | 0.015656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_6754-4_0_2_line_52 | NAYY 4x150 SE | 50 | 54 | 0.037815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_6754-4_0_2_line_53 | NAYY 4x150 SE | 51 | 70 | 0.017211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_6754-4_0_2_line_54 | NAYY 4x150 SE | 52 | 53 | 0.033527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_6754-4_0_2_line_55 | NAYY 4x150 SE | 53 | 70 | 0.021062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_6754-4_0_2_line_56 | NAYY 4x150 SE | 53 | 66 | 0.004386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_6754-4_0_2_line_57 | NAYY 4x150 SE | 55 | 72 | 0.021951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_6754-4_0_2_line_58 | NAYY 4x150 SE | 56 | 57 | 0.002686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_6754-4_0_2_line_59 | NAYY 4x150 SE | 57 | 58 | 0.009393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_6754-4_0_2_line_60 | NAYY 4x150 SE | 57 | 59 | 0.04343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_6754-4_0_2_line_61 | NAYY 4x150 SE | 58 | 60 | 0.005666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_6754-4_0_2_line_62 | NAYY 4x150 SE | 58 | 61 | 0.023184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_6754-4_0_2_line_63 | NAYY 4x150 SE | 60 | 62 | 0.029259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_6754-4_0_2_line_64 | NAYY 4x150 SE | 61 | 63 | 0.0099552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_6754-4_0_2_line_65 | NAYY 4x150 SE | 62 | 73 | 0.010572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_6754-4_0_2_line_66 | NAYY 4x150 SE | 63 | 81 | 0.016283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_6754-4_0_2_line_67 | NAYY 4x150 SE | 63 | 79 | 0.02577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_6754-4_0_2_line_68 | NAYY 4x150 SE | 64 | 65 | 0.028617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_6754-4_0_2_line_69 | NAYY 4x150 SE | 64 | 66 | 0.024524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_6754-4_0_2_line_70 | NAYY 4x150 SE | 65 | 67 | 0.026194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_6754-4_0_2_line_71 | NAYY 4x150 SE | 66 | 68 | 0.036296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_6754-4_0_2_line_72 | NAYY 4x150 SE | 68 | 69 | 0.017488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_6754-4_0_2_line_73 | NAYY 4x150 SE | 69 | 71 | 0.030817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_6754-4_0_2_line_74 | NAYY 4x150 SE | 71 | 84 | 0.0037135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_6754-4_0_2_line_75 | NAYY 4x150 SE | 72 | 73 | 0.028994 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_6754-4_0_2_line_76 | NAYY 4x150 SE | 74 | 75 | 0.014848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_6754-4_0_2_line_77 | NAYY 4x150 SE | 74 | 76 | 0.017423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_6754-4_0_2_line_78 | NAYY 4x150 SE | 75 | 77 | 0.010547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_6754-4_0_2_line_79 | NAYY 4x150 SE | 76 | 78 | 0.022397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_6754-4_0_2_line_80 | NAYY 4x150 SE | 77 | 79 | 0.0037868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_6754-4_0_2_line_81 | NAYY 4x150 SE | 78 | 80 | 0.0092659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_6754-4_0_2_line_82 | NAYY 4x150 SE | 81 | 82 | 0.015655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_6754-4_0_2_line_83 | NAYY 4x150 SE | 82 | 83 | 0.0040589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_6754-4_0_2_line_84 | NAYY 4x150 SE | 83 | 86 | 6.5997e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_6754-4_0_2_line_85 | NAYY 4x150 SE | 84 | 85 | 0.028023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6754-4_0_2_trafo_43 | 0.25 MVA 20/0.4 kV | 87 | 33 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2563055.6457 | 1230348.3141 | 2563070.8499 | 1230360.1907 | 2563077.3932 | 1230366.1425 | 2563082.6542 | 1230371.7354 | 2563083.3904 | 1230372.5924
1 | 2563055.6457 | 1230348.3141 | 2563042.2056 | 1230337.8154
2 | 2563091.512 | 1230383.2651 | 2563087.1098 | 1230376.922 | 2563083.3904 | 1230372.5924
3 | 2563106.8258 | 1230367.2711 | 2563091.512 | 1230383.2651
4 | 2563106.8258 | 1230367.2711 | 2563136.6221 | 1230397.6378
5 | 2563106.8258 | 1230367.2711 | 2563108.1976 | 1230365.9448
6 | 2563136.6221 | 1230397.6378 | 2563148.0067 | 1230396.5331 | 2563155.3292 | 1230395.0422 | 2563163.0836 | 1230391.515
7 | 2563136.6221 | 1230397.6378 | 2563129.1162 | 1230402.5208 | 2563121.6872 | 1230408.9487
8 | 2563119.0828 | 1230355.4209 | 2563108.1976 | 1230365.9448
9 | 2563107.1061 | 1230426.8949 | 2563112.2415 | 1230433.0112 | 2563117.3837 | 1230437.6218
10 | 2563107.1061 | 1230426.8949 | 2563120.6259 | 1230409.867 | 2563121.6872 | 1230408.9487
11 | 2563117.3837 | 1230437.6218 | 2563123.6816 | 1230443.2686 | 2563132.1131 | 1230449.4168
12 | 2563084.0947 | 1230283.0404 | 2563097.2722 | 1230305.2282
13 | 2563084.0947 | 1230283.0404 | 2563082.9376 | 1230281.0922
14 | 2563097.2722 | 1230305.2282 | 2563100.1843 | 1230310.1314
15 | 2563082.9376 | 1230281.0922 | 2563073.14 | 1230264.5954 | 2563067.0392 | 1230254.6912
16 | 2563100.1843 | 1230310.1314 | 2563112.1922 | 1230330.3498
17 | 2563119.0828 | 1230355.4209 | 2563120.2622 | 1230352.6341 | 2563120.903 | 1230349.7172 | 2563120.7576 | 1230347.0498 | 2563119.9287 | 1230344.0754 | 2563117.7504 | 1230339.7084 | 2563112.1922 | 1230330.3498
18 | 2563119.0828 | 1230355.4209 | 2563129.6893 | 1230358.2789 | 2563134.0708 | 1230358.8743 | 2563135.2052 | 1230358.8454
19 | 2563132.1131 | 1230449.4168 | 2563136.3955 | 1230452.5397 | 2563141.5325 | 1230455.5243
20 | 2563135.2052 | 1230358.8454 | 2563138.3752 | 1230358.7648
21 | 2563165.5315 | 1230357.7169 | 2563162.4013 | 1230358.1534 | 2563138.3752 | 1230358.7648
22 | 2563165.5917 | 1230468.7703 | 2563164.8743 | 1230468.428 | 2563148.6264 | 1230459.6458 | 2563141.5325 | 1230455.5243
23 | 2563214.7322 | 1230428.6934 | 2563225.7004 | 1230415.807
24 | 2563218.2749 | 1230388.4918 | 2563225.7004 | 1230415.807
25 | 2563193.5269 | 1230353.813 | 2563218.2749 | 1230388.4918
26 | 2563193.5269 | 1230353.813 | 2563165.5315 | 1230357.7169
27 | 2563157.8797 | 1230270.4609 | 2563144.0943 | 1230248.3972
28 | 2563142.2616 | 1230245.464 | 2563144.0943 | 1230248.3972
29 | 2563157.8797 | 1230270.4609 | 2563157.8797 | 1230270.4609 | 2563161.2431 | 1230276.5092
30 | 2563125.3681 | 1230218.3373 | 2563133.7579 | 1230231.8537 | 2563142.2616 | 1230245.464
31 | 2563167.6951 | 1230283.7192 | 2563163.8315 | 1230281.1638 | 2563161.2431 | 1230276.5092
32 | 2563125.3681 | 1230218.3373 | 2563123.4529 | 1230215.2516
33 | 2563167.6951 | 1230283.7192 | 2563172.0252 | 1230282.1135 | 2563183.6504 | 1230277.0382 | 2563198.785 | 1230268.8918
34 | 2563167.6951 | 1230283.7192 | 2563175.0242 | 1230303.6065
35 | 2563198.785 | 1230268.8918 | 2563209.9839 | 1230262.8639
36 | 2563175.0242 | 1230303.6065 | 2563180.0141 | 1230317.1462
37 | 2563188.429 | 1230479.6648 | 2563165.5917 | 1230468.7703
38 | 2563193.5269 | 1230353.813 | 2563188.108 | 1230339.1089
39 | 2563188.108 | 1230339.1089 | 2563186.5794 | 1230334.961
40 | 2563186.5794 | 1230334.961 | 2563180.0141 | 1230317.1462
41 | 2563267.0272 | 1230321.3238 | 2563268.5955 | 1230325.8777
42 | 2563267.0272 | 1230321.3238 | 2563261.9282 | 1230306.518
43 | 2563273.4086 | 1230339.8536 | 2563268.5955 | 1230325.8777
44 | 2563260.5159 | 1230302.417 | 2563261.9282 | 1230306.518
45 | 2563273.4086 | 1230339.8536 | 2563292.6528 | 1230333.4527 | 2563306.8722 | 1230327.854
46 | 2563273.4086 | 1230339.8536 | 2563276.8906 | 1230348.0704 | 2563284.8737 | 1230360.359
47 | 2563260.5159 | 1230302.417 | 2563257.8143 | 1230294.5724
48 | 2563306.8722 | 1230327.854 | 2563317.2869 | 1230323.7534
49 | 2563289.386 | 1230367.3048 | 2563284.8737 | 1230360.359
50 | 2563257.8143 | 1230294.5724 | 2563253.6569 | 1230282.5003
51 | 2563331.7434 | 1230317.7586 | 2563327.2508 | 1230319.8303 | 2563317.2869 | 1230323.7534
52 | 2563289.386 | 1230367.3048 | 2563326.9863 | 1230371.3302
53 | 2563247.9234 | 1230266.277 | 2563248.7267 | 1230268.1847 | 2563253.6569 | 1230282.5003
54 | 2563239.506 | 1230246.9732 | 2563209.9839 | 1230262.8639
55 | 2563239.506 | 1230246.9732 | 2563243.161 | 1230254.9666 | 2563247.9234 | 1230266.277
56 | 2563239.506 | 1230246.9732 | 2563237.4747 | 1230243.0834
57 | 2563351.6769 | 1230308.5666 | 2563331.7434 | 1230317.7586
58 | 2563332.7484 | 1230273.1009 | 2563330.5537 | 1230274.6494
59 | 2563332.7484 | 1230273.1009 | 2563340.3642 | 1230267.5726
60 | 2563295.7963 | 1230261.3334 | 2563297.4751 | 1230259.6775 | 2563298.3226 | 1230259.5389 | 2563299.3544 | 1230259.8104 | 2563300.6792 | 1230260.9251 | 2563317.1202 | 1230275.1544 | 2563332.7484 | 1230273.1009
61 | 2563340.3642 | 1230267.5726 | 2563342.488 | 1230269.2828 | 2563344.892 | 1230270.9912
62 | 2563340.3642 | 1230267.5726 | 2563324.277 | 1230250.8785
63 | 2563344.892 | 1230270.9912 | 2563346.8985 | 1230274.5476 | 2563349.3256 | 1230277.5345 | 2563352.0915 | 1230280.1968 | 2563357.4408 | 1230284.1773 | 2563365.0656 | 1230288.6774 | 2563366.8445 | 1230289.5156
64 | 2563319.2358 | 1230242.499 | 2563321.4281 | 1230247.9221 | 2563324.277 | 1230250.8785
65 | 2563376.4444 | 1230293.9437 | 2563371.7732 | 1230291.8379 | 2563366.8445 | 1230289.5156
66 | 2563319.2358 | 1230242.499 | 2563307.3613 | 1230231.358
67 | 2563338.4997 | 1230233.0852 | 2563329.0873 | 1230232.2651 | 2563322.9148 | 1230233.593 | 2563320.0638 | 1230236.7681 | 2563319.2358 | 1230242.499
68 | 2563228.0272 | 1230220.4527 | 2563226.9336 | 1230217.8333 | 2563225.0965 | 1230212.2857 | 2563224.4232 | 1230207.5314 | 2563224.2175 | 1230198.794 | 2563224.6329 | 1230192.415
69 | 2563237.4747 | 1230243.0834 | 2563228.0272 | 1230220.4527
70 | 2563226.7838 | 1230166.3107 | 2563224.9367 | 1230187.7494 | 2563224.6329 | 1230192.415
71 | 2563237.4747 | 1230243.0834 | 2563233.4544 | 1230242.13 | 2563230.2815 | 1230241.0268 | 2563227.1547 | 1230238.8114 | 2563219.1115 | 1230231.6013 | 2563215.5805 | 1230227.7209 | 2563211.7446 | 1230222.3191 | 2563210.5313 | 1230220.3654
72 | 2563201.1839 | 1230205.5873 | 2563204.0479 | 1230209.9259 | 2563210.5313 | 1230220.3654
73 | 2563201.1839 | 1230205.5873 | 2563198.4126 | 1230201.389 | 2563193.7784 | 1230195.5141 | 2563183.4419 | 1230184.9385 | 2563180.9205 | 1230182.4889
74 | 2563180.9205 | 1230182.4889 | 2563178.2571 | 1230179.9013
75 | 2563376.4444 | 1230293.9437 | 2563373.4792 | 1230297.0305 | 2563370.7949 | 1230298.9928 | 2563359.1911 | 1230305.1015 | 2563351.6769 | 1230308.5666
76 | 2563330.0525 | 1230205.1807 | 2563334.9 | 1230219.2152
77 | 2563330.0525 | 1230205.1807 | 2563324.3644 | 1230188.7123
78 | 2563334.9 | 1230219.2152 | 2563335.339 | 1230220.4859 | 2563337.5782 | 1230229.4122
79 | 2563324.3644 | 1230188.7123 | 2563320.153 | 1230176.5195 | 2563316.6537 | 1230167.6906
80 | 2563338.4997 | 1230233.0852 | 2563337.5782 | 1230229.4122
81 | 2563313.2396 | 1230159.0766 | 2563316.6537 | 1230167.6906
82 | 2563307.3613 | 1230231.358 | 2563295.9446 | 1230220.6467
83 | 2563292.9846 | 1230217.8695 | 2563295.9446 | 1230220.6467
84 | 2563292.9846 | 1230217.8695 | 2563292.9364 | 1230217.8243
85 | 2563160.3885 | 1230158.4832 | 2563162.897 | 1230162.5078 | 2563166.2604 | 1230167.4344 | 2563171.0816 | 1230172.9301 | 2563178.2571 | 1230179.9013

## bus_geodata
| x | y | coords
0 | 2563055.6457 | 1230348.3141
1 | 2563083.3904 | 1230372.5924
2 | 2563042.2056 | 1230337.8154
3 | 2563091.512 | 1230383.2651
4 | 2563106.8258 | 1230367.2711
5 | 2563136.6221 | 1230397.6378
6 | 2563108.1976 | 1230365.9448
7 | 2563107.1061 | 1230426.8949
8 | 2563117.3837 | 1230437.6218
9 | 2563121.6872 | 1230408.9487
10 | 2563084.0947 | 1230283.0404
11 | 2563097.2722 | 1230305.2282
12 | 2563082.9376 | 1230281.0922
13 | 2563100.1843 | 1230310.1314
14 | 2563067.0392 | 1230254.6912
15 | 2563112.1922 | 1230330.3498
16 | 2563119.0828 | 1230355.4209
17 | 2563163.0836 | 1230391.515
18 | 2563132.1131 | 1230449.4168
19 | 2563135.2052 | 1230358.8454
20 | 2563138.3752 | 1230358.7648
21 | 2563141.5325 | 1230455.5243
22 | 2563225.7004 | 1230415.807
23 | 2563214.7322 | 1230428.6934
24 | 2563218.2749 | 1230388.4918
25 | 2563165.5315 | 1230357.7169
26 | 2563144.0943 | 1230248.3972
27 | 2563157.8797 | 1230270.4609
28 | 2563142.2616 | 1230245.464
29 | 2563161.2431 | 1230276.5092
30 | 2563125.3681 | 1230218.3373
31 | 2563167.6951 | 1230283.7192
32 | 2563123.4529 | 1230215.2516
33 | 2563198.785 | 1230268.8918
34 | 2563175.0242 | 1230303.6065
35 | 2563165.5917 | 1230468.7703
36 | 2563188.429 | 1230479.6648
37 | 2563193.5269 | 1230353.813
38 | 2563188.108 | 1230339.1089
39 | 2563186.5794 | 1230334.961
40 | 2563180.0141 | 1230317.1462
41 | 2563267.0272 | 1230321.3238
42 | 2563268.5955 | 1230325.8777
43 | 2563261.9282 | 1230306.518
44 | 2563273.4086 | 1230339.8536
45 | 2563260.5159 | 1230302.417
46 | 2563306.8722 | 1230327.854
47 | 2563284.8737 | 1230360.359
48 | 2563257.8143 | 1230294.5724
49 | 2563317.2869 | 1230323.7534
50 | 2563289.386 | 1230367.3048
51 | 2563253.6569 | 1230282.5003
52 | 2563209.9839 | 1230262.8639
53 | 2563239.506 | 1230246.9732
54 | 2563326.9863 | 1230371.3302
55 | 2563331.7434 | 1230317.7586
56 | 2563330.5537 | 1230274.6494
57 | 2563332.7484 | 1230273.1009
58 | 2563340.3642 | 1230267.5726
59 | 2563295.7963 | 1230261.3334
60 | 2563344.892 | 1230270.9912
61 | 2563324.277 | 1230250.8785
62 | 2563366.8445 | 1230289.5156
63 | 2563319.2358 | 1230242.499
64 | 2563228.0272 | 1230220.4527
65 | 2563224.6329 | 1230192.415
66 | 2563237.4747 | 1230243.0834
67 | 2563226.7838 | 1230166.3107
68 | 2563210.5313 | 1230220.3654
69 | 2563201.1839 | 1230205.5873
70 | 2563247.9234 | 1230266.277
71 | 2563180.9205 | 1230182.4889
72 | 2563351.6769 | 1230308.5666
73 | 2563376.4444 | 1230293.9437
74 | 2563330.0525 | 1230205.1807
75 | 2563334.9 | 1230219.2152
76 | 2563324.3644 | 1230188.7123
77 | 2563337.5782 | 1230229.4122
78 | 2563316.6537 | 1230167.6906
79 | 2563338.4997 | 1230233.0852
80 | 2563313.2396 | 1230159.0766
81 | 2563307.3613 | 1230231.358
82 | 2563295.9446 | 1230220.6467
83 | 2563292.9846 | 1230217.8695
84 | 2563178.2571 | 1230179.9013
85 | 2563160.3885 | 1230158.4832
86 | 2563292.9364 | 1230217.8243
87 | 2563167.6951 | 1230283.7192

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1