## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6757-10_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6757-10_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6757-10_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6757-10_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6757-10_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6757-10_0_2_node_18 | 0.4 | n |  | TRUE
6 | bus_LV_6757-10_0_2_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_6757-10_0_2_node_17 | 0.4 | n |  | TRUE
8 | bus_LV_6757-10_0_2_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_6757-10_0_2_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_6757-10_0_2_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_6757-10_0_2_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_6757-10_0_2_node_36 | 0.4 | n |  | TRUE
13 | bus_LV_6757-10_0_2_node_37 | 0.4 | n |  | TRUE
14 | bus_LV_6757-10_0_2_node_35 | 0.4 | n |  | TRUE
15 | bus_LV_6757-10_0_2_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_6757-10_0_2_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_6757-10_0_2_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_6757-10_0_2_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_6757-10_0_2_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_6757-10_0_2_node_53 | 0.4 | n |  | TRUE
21 | bus_LV_6757-10_0_2_node_54 | 0.4 | n |  | TRUE
22 | bus_LV_6757-10_0_2_node_52 | 0.4 | n |  | TRUE
23 | bus_LV_6757-10_0_2_node_34 | 0.4 | n |  | TRUE
24 | bus_LV_6757-10_0_2_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_6757-10_0_2_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_6757-10_0_2_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_6757-10_0_2_node_27 | 0.4 | n |  | TRUE
28 | bus_LV_6757-10_0_2_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_6757-10_0_2_node_33 | 0.4 | n |  | TRUE
30 | bus_LV_6757-10_0_2_node_30 | 0.4 | n |  | TRUE
31 | bus_LV_6757-10_0_2_node_26 | 0.4 | n |  | TRUE
32 | bus_LV_6757-10_0_2_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_6757-10_0_2_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_6757-10_0_2_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_6757-10_0_2_node_32 | 0.4 | n |  | TRUE
36 | bus_LV_6757-10_0_2_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_6757-10_0_2_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_6757-10_0_2_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_6757-10_0_2_node_38 | 0.4 | n |  | TRUE
40 | bus_LV_6757-10_0_2_node_40 | 0.4 | n |  | TRUE
41 | bus_LV_6757-10_0_2_node_43 | 0.4 | n |  | TRUE
42 | bus_LV_6757-10_0_2_node_44 | 0.4 | n |  | TRUE
43 | bus_LV_6757-10_0_2_node_41 | 0.4 | n |  | TRUE
44 | bus_LV_6757-10_0_2_node_42 | 0.4 | n |  | TRUE
45 | bus_LV_6757-10_0_2_node_49 | 0.4 | n |  | TRUE
46 | bus_LV_6757-10_0_2_node_45 | 0.4 | n |  | TRUE
47 | bus_LV_6757-10_0_2_node_47 | 0.4 | n |  | TRUE
48 | bus_LV_6757-10_0_2_node_51 | 0.4 | n |  | TRUE
49 | bus_LV_6757-10_0_2_node_48 | 0.4 | n |  | TRUE
50 | bus_LV_6757-10_0_2_node_50 | 0.4 | n |  | TRUE
51 | bus_LV_6757-10_0_2_node_55 | 0.4 | n |  | TRUE
52 | bus_MV_0_node_22 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6757-10_0_2_load_0 | 0 | 0.00046216 | 0.00011583 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6757-10_0_2_load_2 | 2 | 0.00032775 | 8.2141e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6757-10_0_2_load_4 | 4 | 0.00042895 | 0.00010751 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6757-10_0_2_load_18 | 5 | 0.00042008 | 0.00010528 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6757-10_0_2_load_5 | 6 | 0.00038035 | 9.5326e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6757-10_0_2_load_17 | 7 | 0.0022838 | 0.00057236 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6757-10_0_2_load_10 | 8 | 0.0024254 | 0.00060787 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6757-10_0_2_load_7 | 9 | 0.0035473 | 0.00088904 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6757-10_0_2_load_9 | 11 | 0.00077357 | 0.00019387 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6757-10_0_2_load_37 | 13 | 0.00047807 | 0.00011982 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6757-10_0_2_load_11 | 15 | 0.00017956 | 4.5002e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6757-10_0_2_load_12 | 16 | 0.00031685 | 7.9411e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6757-10_0_2_load_13 | 17 | 0.0012434 | 0.00031162 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6757-10_0_2_load_16 | 18 | 0.00026278 | 6.586e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6757-10_0_2_load_15 | 19 | 0.00017857 | 4.4755e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6757-10_0_2_load_52 | 22 | 0.0018066 | 0.00045278 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6757-10_0_2_load_34 | 23 | 0.00032326 | 8.1017e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6757-10_0_2_load_21 | 26 | 0.001651 | 0.00041378 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6757-10_0_2_load_27 | 27 | 0.00031081 | 7.7897e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6757-10_0_2_load_25 | 28 | 0.00033465 | 8.387e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6757-10_0_2_load_33 | 29 | 0.00064139 | 0.00016075 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6757-10_0_2_load_30 | 30 | 0.0011337 | 0.00028413 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6757-10_0_2_load_22 | 32 | 0.00048146 | 0.00012066 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6757-10_0_2_load_23 | 33 | 0.00036057 | 9.0366e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6757-10_0_2_load_24 | 34 | 0.0014145 | 0.0003545 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6757-10_0_2_load_31 | 36 | 0.00059413 | 0.0001489 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6757-10_0_2_load_28 | 37 | 0.00035738 | 8.9567e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6757-10_0_2_load_38 | 39 | 0.00033137 | 8.3048e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6757-10_0_2_load_43 | 41 | 0.0002759 | 6.9148e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6757-10_0_2_load_44 | 42 | 0.00029073 | 7.2864e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6757-10_0_2_load_45 | 46 | 0.0010166 | 0.00025478 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6757-10_0_2_load_47 | 47 | 0.0021465 | 0.00053796 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6757-10_0_2_load_51 | 48 | 0.0019788 | 0.00049592 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6757-10_0_2_load_48 | 49 | 0.00045379 | 0.00011373 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6757-10_0_2_load_50 | 50 | 0.00032024 | 8.0259e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6757-10_0_2_load_55 | 51 | 0.00068453 | 0.00017156 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 32 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6757-10_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.025227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_6757-10_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.02133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_6757-10_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.010087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_6757-10_0_2_line_3 | NAYY 4x150 SE | 1 | 4 | 0.09092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_6757-10_0_2_line_4 | NAYY 4x150 SE | 3 | 6 | 0.020323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_6757-10_0_2_line_5 | NAYY 4x150 SE | 4 | 8 | 0.19062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_6757-10_0_2_line_6 | NAYY 4x150 SE | 5 | 6 | 0.22442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_6757-10_0_2_line_7 | NAYY 4x150 SE | 5 | 7 | 0.011589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_6757-10_0_2_line_8 | NAYY 4x150 SE | 7 | 24 | 0.021299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_6757-10_0_2_line_9 | NAYY 4x150 SE | 8 | 11 | 0.01028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_6757-10_0_2_line_10 | NAYY 4x150 SE | 9 | 10 | 0.040717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_6757-10_0_2_line_11 | NAYY 4x150 SE | 10 | 11 | 0.025949 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_6757-10_0_2_line_12 | NAYY 4x150 SE | 12 | 13 | 0.01674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_6757-10_0_2_line_13 | NAYY 4x150 SE | 12 | 14 | 0.037028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_6757-10_0_2_line_14 | NAYY 4x150 SE | 13 | 38 | 0.0026088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_6757-10_0_2_line_15 | NAYY 4x150 SE | 14 | 23 | 0.011344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_6757-10_0_2_line_16 | NAYY 4x150 SE | 14 | 18 | 1.1032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_6757-10_0_2_line_17 | NAYY 4x150 SE | 15 | 16 | 0.13632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_6757-10_0_2_line_18 | NAYY 4x150 SE | 15 | 17 | 0.050771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
19 | LV_6757-10_0_2_line_19 | NAYY 4x150 SE | 16 | 18 | 0.82314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
20 | LV_6757-10_0_2_line_20 | NAYY 4x150 SE | 16 | 19 | 0.24575 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_6757-10_0_2_line_21 | NAYY 4x150 SE | 17 | 20 | 0.58604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
22 | LV_6757-10_0_2_line_22 | NAYY 4x150 SE | 20 | 21 | 0.011937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_6757-10_0_2_line_23 | NAYY 4x150 SE | 20 | 22 | 0.049613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_6757-10_0_2_line_24 | NAYY 4x150 SE | 21 | 51 | 0.0079002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_6757-10_0_2_line_25 | NAYY 4x150 SE | 22 | 43 | 0.038201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_6757-10_0_2_line_26 | NAYY 4x150 SE | 24 | 25 | 0.012244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_6757-10_0_2_line_27 | NAYY 4x150 SE | 24 | 26 | 0.023168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_6757-10_0_2_line_28 | NAYY 4x150 SE | 25 | 27 | 0.0084582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_6757-10_0_2_line_29 | NAYY 4x150 SE | 25 | 28 | 0.040155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
30 | LV_6757-10_0_2_line_30 | NAYY 4x150 SE | 26 | 29 | 0.022811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_6757-10_0_2_line_31 | NAYY 4x150 SE | 27 | 30 | 0.0017374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
32 | LV_6757-10_0_2_line_32 | NAYY 4x150 SE | 28 | 31 | 0.037682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
33 | LV_6757-10_0_2_line_33 | NAYY 4x150 SE | 30 | 36 | 0.0014867 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
34 | LV_6757-10_0_2_line_34 | NAYY 4x150 SE | 31 | 37 | 0.02699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_6757-10_0_2_line_35 | NAYY 4x150 SE | 31 | 38 | 0.016129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
36 | LV_6757-10_0_2_line_36 | NAYY 4x150 SE | 32 | 33 | 0.016808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
37 | LV_6757-10_0_2_line_37 | NAYY 4x150 SE | 33 | 34 | 0.020311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
38 | LV_6757-10_0_2_line_38 | NAYY 4x150 SE | 34 | 35 | 0.019267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
39 | LV_6757-10_0_2_line_39 | NAYY 4x150 SE | 35 | 36 | 0.02376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
40 | LV_6757-10_0_2_line_40 | NAYY 4x150 SE | 39 | 40 | 0.017415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_6757-10_0_2_line_41 | NAYY 4x150 SE | 40 | 41 | 0.010483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_6757-10_0_2_line_42 | NAYY 4x150 SE | 40 | 42 | 0.011773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_6757-10_0_2_line_43 | NAYY 4x150 SE | 41 | 44 | 0.017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_6757-10_0_2_line_44 | NAYY 4x150 SE | 42 | 47 | 0.0055097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_6757-10_0_2_line_45 | NAYY 4x150 SE | 43 | 44 | 0.050954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_6757-10_0_2_line_46 | NAYY 4x150 SE | 43 | 45 | 0.019547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_6757-10_0_2_line_47 | NAYY 4x150 SE | 44 | 46 | 0.024918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_6757-10_0_2_line_48 | NAYY 4x150 SE | 45 | 48 | 0.006191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_6757-10_0_2_line_49 | NAYY 4x150 SE | 45 | 49 | 0.0010251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_6757-10_0_2_line_50 | NAYY 4x150 SE | 49 | 50 | 0.013588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6757-10_0_2_trafo_22 | 0.25 MVA 20/0.4 kV | 52 | 32 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17
0 | 2563135.7581 | 1234323.0306 | 2563135.1623 | 1234297.8103
1 | 2563134.6585 | 1234276.4861 | 2563135.1623 | 1234297.8103
2 | 2563135.7581 | 1234323.0306 | 2563136.7818 | 1234333.0638
3 | 2563135.7581 | 1234323.0306 | 2563112.1497 | 1234251.2771 | 2563110.2758 | 1234243.2949 | 2563109.453 | 1234236.1588
4 | 2563136.7818 | 1234333.0638 | 2563145.872 | 1234351.2405
5 | 2563109.453 | 1234236.1588 | 2563248.885 | 1234106.1742
6 | 2563168.0579 | 1234574.562 | 2563145.872 | 1234351.2405
7 | 2563173.4932 | 1234584.7748 | 2563172.7752 | 1234582.9627 | 2563169.2453 | 1234576.4139 | 2563168.0579 | 1234574.562
8 | 2563176.2993 | 1234605.6105 | 2563176.7392 | 1234600.8826 | 2563176.4988 | 1234596.3035 | 2563175.7879 | 1234591.5271 | 2563174.4362 | 1234587.155 | 2563173.4932 | 1234584.7748
9 | 2563258.6298 | 1234102.9012 | 2563248.885 | 1234106.1742
10 | 2563278.5235 | 1234086.8969 | 2563285.1236 | 1234095.3724 | 2563286.4487 | 1234096.6761 | 2563287.5727 | 1234097.2807 | 2563292.9562 | 1234097.5475 | 2563294.8359 | 1234097.9361 | 2563296.2106 | 1234098.6947 | 2563297.4364 | 1234099.8434 | 2563298.7698 | 1234102.4701 | 2563299.1362 | 1234104.1911 | 2563299.754 | 1234115.7489
11 | 2563278.5235 | 1234086.8969 | 2563270.4577 | 1234095.9637 | 2563266.0133 | 1234099.4378 | 2563260.4977 | 1234102.2738 | 2563258.6298 | 1234102.9012
12 | 2563279.2345 | 1234582.4351 | 2563276.5411 | 1234585.0645 | 2563273.7623 | 1234587.3276 | 2563270.4235 | 1234589.6164 | 2563265.7913 | 1234592.2825
13 | 2563279.2345 | 1234582.4351 | 2563278.9547 | 1234586.1503 | 2563278.946 | 1234588.4073 | 2563279.0571 | 1234590.4523 | 2563279.3262 | 1234592.3518 | 2563279.768 | 1234594.0168 | 2563280.7972 | 1234596.4342 | 2563282.4248 | 1234597.7138 | 2563283.6522 | 1234599.1293 | 2563284.9199 | 1234600.9559 | 2563285.7862 | 1234602.7294 | 2563286.5316 | 1234604.5481 | 2563287.0294 | 1234606.702 | 2563287.1943 | 1234608.8912 | 2563287.1036 | 1234611.3488 | 2563286.8128 | 1234613.2741 | 2563286.112 | 1234615.0017 | 2563285.0853 | 1234616.6535
14 | 2563263.5303 | 1234593.5838 | 2563265.7913 | 1234592.2825
15 | 2563285.0853 | 1234616.6535 | 2563282.5295 | 1234619.4823 | 2563277.3798 | 1234624.9779
16 | 2563285.0853 | 1234616.6535 | 2564271.756 | 1235110.17
17 | 2563929.1018 | 1235879.3627 | 2563953.4484 | 1235879.4735 | 2563968.8854 | 1235884.4605 | 2563991.8083 | 1235893.5157 | 2564008.3821 | 1235896.3056 | 2564028.181 | 1235896.8635 | 2564061.4394 | 1235905.9919
18 | 2563879.4752 | 1235884.9164 | 2563895.1021 | 1235878.8395 | 2563922.1121 | 1235879.3308 | 2563929.1018 | 1235879.3627
19 | 2564061.4394 | 1235905.9919 | 2564271.756 | 1235110.17
20 | 2564061.4394 | 1235905.9919 | 2564279.9672 | 1236018.4193
21 | 2563400.7046 | 1236222.8781 | 2563879.4752 | 1235884.9164
22 | 2563390.169 | 1236228.5468 | 2563393.6757 | 1236226.635 | 2563400.7046 | 1236222.8781
23 | 2563400.7046 | 1236222.8781 | 2563403.6817 | 1236236.8908 | 2563405.2974 | 1236243.6628 | 2563407.6741 | 1236251.1306 | 2563411.2621 | 1236259.9251 | 2563414.9964 | 1236269.1411 | 2563415.3446 | 1236270.128
24 | 2563390.169 | 1236228.5468 | 2563387.9595 | 1236229.7612 | 2563384.318 | 1236231.9073 | 2563383.3578 | 1236232.5439
25 | 2563427.484 | 1236306.3207 | 2563426.8323 | 1236304.935 | 2563424.7723 | 1236299.7333 | 2563417.8306 | 1236277.1731 | 2563415.3446 | 1236270.128
26 | 2563172.6629 | 1234617.2293 | 2563174.3961 | 1234613.5718 | 2563175.5601 | 1234609.6732 | 2563176.2993 | 1234605.6105
27 | 2563176.2993 | 1234605.6105 | 2563194.2835 | 1234599.6618 | 2563197.5455 | 1234598.4185 | 2563198.2165 | 1234598.1187
28 | 2563172.6629 | 1234617.2293 | 2563169.9095 | 1234621.1377 | 2563167.5626 | 1234623.9687
29 | 2563172.6629 | 1234617.2293 | 2563195.5279 | 1234609.9049 | 2563204.2469 | 1234607.427 | 2563209.1671 | 1234606.2957 | 2563211.1632 | 1234605.9135
30 | 2563217.977 | 1234586.7844 | 2563215.6554 | 1234588.322 | 2563211.7657 | 1234590.8699 | 2563201.0024 | 1234596.8739 | 2563198.2165 | 1234598.1187
31 | 2563166.4538 | 1234625.3063 | 2563167.5626 | 1234623.9687
32 | 2563247.6698 | 1234596.6174 | 2563237.5973 | 1234599.3038 | 2563223.7625 | 1234603.092 | 2563218.2154 | 1234604.4384 | 2563214.0885 | 1234605.3535 | 2563211.1632 | 1234605.9135
33 | 2563166.4538 | 1234625.3063 | 2563166.4538 | 1234625.3063 | 2563165.4364 | 1234626.3903
34 | 2563247.6698 | 1234596.6174 | 2563246.8621 | 1234599.4019 | 2563245.8632 | 1234601.8652 | 2563244.5855 | 1234604.5304 | 2563243.1564 | 1234607.1965 | 2563241.2139 | 1234610.0659 | 2563238.7493 | 1234612.9607 | 2563236.1987 | 1234615.4114 | 2563233.5478 | 1234617.5514 | 2563232.5297 | 1234618.2611
35 | 2563247.6698 | 1234596.6174 | 2563252.2187 | 1234595.3996 | 2563256.7011 | 1234594.4601 | 2563260.2023 | 1234593.9603 | 2563263.5303 | 1234593.5838
36 | 2563155.2175 | 1234694.7635 | 2563155.1445 | 1234691.9627 | 2563154.9541 | 1234685.6822 | 2563154.5704 | 1234679.981 | 2563154.3345 | 1234677.9858
37 | 2563151.1377 | 1234657.9328 | 2563152.5771 | 1234666.1514 | 2563153.2755 | 1234670.1384 | 2563153.9713 | 1234674.9149 | 2563154.3345 | 1234677.9858
38 | 2563145.9547 | 1234639.4203 | 2563146.618 | 1234642.6293 | 2563147.651 | 1234645.6581 | 2563148.6276 | 1234648.1314 | 2563149.3529 | 1234650.3505 | 2563150.1265 | 1234653.0362 | 2563150.7565 | 1234655.7562 | 2563151.1377 | 1234657.9328
39 | 2563145.9547 | 1234639.4203 | 2563150.237 | 1234637.9483 | 2563154.2356 | 1234635.9 | 2563158.1995 | 1234633.1291 | 2563162.8221 | 1234629.1757 | 2563165.4364 | 1234626.3903
40 | 2563445.5875 | 1236375.6304 | 2563445.5248 | 1236377.7321 | 2563445.7655 | 1236379.9542 | 2563446.9298 | 1236387.1516 | 2563446.8894 | 1236389.1753 | 2563446.493 | 1236391.1568 | 2563445.8447 | 1236392.7729
41 | 2563445.5875 | 1236375.6304 | 2563446.0274 | 1236373.3484 | 2563447.0787 | 1236370.8181 | 2563448.2304 | 1236368.6319 | 2563448.9301 | 1236366.7597 | 2563449.1561 | 1236365.8381
42 | 2563445.5875 | 1236375.6304 | 2563443.1387 | 1236377.291 | 2563441.6982 | 1236378.0559 | 2563440.3317 | 1236378.5424 | 2563439.0843 | 1236378.728 | 2563437.1852 | 1236378.7397 | 2563434.6201 | 1236378.5494
43 | 2563454.1364 | 1236349.6947 | 2563451.8526 | 1236354.8008 | 2563451.0483 | 1236356.8849 | 2563450.4543 | 1236358.7119 | 2563450.0562 | 1236360.4266 | 2563449.4763 | 1236364.5327 | 2563449.1561 | 1236365.8381
44 | 2563429.4861 | 1236376.875 | 2563430.7092 | 1236377.6679 | 2563431.8019 | 1236378.1726 | 2563433.1731 | 1236378.4421 | 2563434.6201 | 1236378.5494
45 | 2563427.484 | 1236306.3207 | 2563429.094 | 1236309.7241 | 2563431.3076 | 1236314.0576 | 2563442.762 | 1236332.2205 | 2563454.1364 | 1236349.6947
46 | 2563427.484 | 1236306.3207 | 2563409.7158 | 1236314.5801
47 | 2563454.1364 | 1236349.6947 | 2563455.1295 | 1236351.2228 | 2563458.5541 | 1236355.6267 | 2563461.975 | 1236359.4413 | 2563466.3682 | 1236363.8726 | 2563471.0959 | 1236367.8102
48 | 2563412.3156 | 1236320.2009 | 2563409.7158 | 1236314.5801
49 | 2563409.7158 | 1236314.5801 | 2563408.8066 | 1236315.0536
50 | 2563402.9089 | 1236324.862 | 2563401.8277 | 1236322.545 | 2563401.6178 | 1236321.6346 | 2563401.7625 | 1236320.5663 | 2563402.4151 | 1236319.6506 | 2563407.3173 | 1236315.829 | 2563408.8066 | 1236315.0536

## bus_geodata
| x | y | coords
0 | 2563135.1623 | 1234297.8103
1 | 2563135.7581 | 1234323.0306
2 | 2563134.6585 | 1234276.4861
3 | 2563136.7818 | 1234333.0638
4 | 2563109.453 | 1234236.1588
5 | 2563168.0579 | 1234574.562
6 | 2563145.872 | 1234351.2405
7 | 2563173.4932 | 1234584.7748
8 | 2563248.885 | 1234106.1742
9 | 2563299.754 | 1234115.7489
10 | 2563278.5235 | 1234086.8969
11 | 2563258.6298 | 1234102.9012
12 | 2563279.2345 | 1234582.4351
13 | 2563265.7913 | 1234592.2825
14 | 2563285.0853 | 1234616.6535
15 | 2563929.1018 | 1235879.3627
16 | 2564061.4394 | 1235905.9919
17 | 2563879.4752 | 1235884.9164
18 | 2564271.756 | 1235110.17
19 | 2564279.9672 | 1236018.4193
20 | 2563400.7046 | 1236222.8781
21 | 2563390.169 | 1236228.5468
22 | 2563415.3446 | 1236270.128
23 | 2563277.3798 | 1234624.9779
24 | 2563176.2993 | 1234605.6105
25 | 2563172.6629 | 1234617.2293
26 | 2563198.2165 | 1234598.1187
27 | 2563167.5626 | 1234623.9687
28 | 2563211.1632 | 1234605.9135
29 | 2563217.977 | 1234586.7844
30 | 2563166.4538 | 1234625.3063
31 | 2563247.6698 | 1234596.6174
32 | 2563155.2175 | 1234694.7635
33 | 2563154.3345 | 1234677.9858
34 | 2563151.1377 | 1234657.9328
35 | 2563145.9547 | 1234639.4203
36 | 2563165.4364 | 1234626.3903
37 | 2563232.5297 | 1234618.2611
38 | 2563263.5303 | 1234593.5838
39 | 2563445.8447 | 1236392.7729
40 | 2563445.5875 | 1236375.6304
41 | 2563449.1561 | 1236365.8381
42 | 2563434.6201 | 1236378.5494
43 | 2563427.484 | 1236306.3207
44 | 2563454.1364 | 1236349.6947
45 | 2563409.7158 | 1236314.5801
46 | 2563471.0959 | 1236367.8102
47 | 2563429.4861 | 1236376.875
48 | 2563412.3156 | 1236320.2009
49 | 2563408.8066 | 1236315.0536
50 | 2563402.9089 | 1236324.862
51 | 2563383.3578 | 1236232.5439
52 | 2563155.2175 | 1234694.7635

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1