## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6771-1_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6771-1_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6771-1_0_2_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_6771-1_0_2_node_51 | 0.4 | n |  | TRUE
4 | bus_LV_6771-1_0_2_node_57 | 0.4 | n |  | TRUE
5 | bus_LV_6771-1_0_2_node_63 | 0.4 | n |  | TRUE
6 | bus_LV_6771-1_0_2_node_67 | 0.4 | n |  | TRUE
7 | bus_LV_6771-1_0_2_node_56 | 0.4 | n |  | TRUE
8 | bus_LV_6771-1_0_2_node_58 | 0.4 | n |  | TRUE
9 | bus_LV_6771-1_0_2_node_55 | 0.4 | n |  | TRUE
10 | bus_LV_6771-1_0_2_node_54 | 0.4 | n |  | TRUE
11 | bus_LV_6771-1_0_2_node_62 | 0.4 | n |  | TRUE
12 | bus_LV_6771-1_0_2_node_40 | 0.4 | n |  | TRUE
13 | bus_LV_6771-1_0_2_node_39 | 0.4 | n |  | TRUE
14 | bus_LV_6771-1_0_2_node_35 | 0.4 | n |  | TRUE
15 | bus_LV_6771-1_0_2_node_37 | 0.4 | n |  | TRUE
16 | bus_LV_6771-1_0_2_node_36 | 0.4 | n |  | TRUE
17 | bus_LV_6771-1_0_2_node_4 | 0.4 | n |  | TRUE
18 | bus_LV_6771-1_0_2_node_5 | 0.4 | n |  | TRUE
19 | bus_LV_6771-1_0_2_node_6 | 0.4 | n |  | TRUE
20 | bus_LV_6771-1_0_2_node_23 | 0.4 | n |  | TRUE
21 | bus_LV_6771-1_0_2_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_6771-1_0_2_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_6771-1_0_2_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_6771-1_0_2_node_68 | 0.4 | n |  | TRUE
25 | bus_LV_6771-1_0_2_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_6771-1_0_2_node_7 | 0.4 | n |  | TRUE
27 | bus_LV_6771-1_0_2_node_8 | 0.4 | n |  | TRUE
28 | bus_LV_6771-1_0_2_node_9 | 0.4 | n |  | TRUE
29 | bus_LV_6771-1_0_2_node_11 | 0.4 | n |  | TRUE
30 | bus_LV_6771-1_0_2_node_12 | 0.4 | n |  | TRUE
31 | bus_LV_6771-1_0_2_node_13 | 0.4 | n |  | TRUE
32 | bus_LV_6771-1_0_2_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_6771-1_0_2_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_6771-1_0_2_node_33 | 0.4 | n |  | TRUE
35 | bus_LV_6771-1_0_2_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_6771-1_0_2_node_16 | 0.4 | n |  | TRUE
37 | bus_LV_6771-1_0_2_node_18 | 0.4 | n |  | TRUE
38 | bus_LV_6771-1_0_2_node_19 | 0.4 | n |  | TRUE
39 | bus_LV_6771-1_0_2_node_21 | 0.4 | n |  | TRUE
40 | bus_LV_6771-1_0_2_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_6771-1_0_2_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_6771-1_0_2_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_6771-1_0_2_node_28 | 0.4 | n |  | TRUE
44 | bus_LV_6771-1_0_2_node_52 | 0.4 | n |  | TRUE
45 | bus_LV_6771-1_0_2_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_6771-1_0_2_node_53 | 0.4 | n |  | TRUE
47 | bus_LV_6771-1_0_2_node_30 | 0.4 | n |  | TRUE
48 | bus_LV_6771-1_0_2_node_32 | 0.4 | n |  | TRUE
49 | bus_LV_6771-1_0_2_node_34 | 0.4 | n |  | TRUE
50 | bus_LV_6771-1_0_2_node_59 | 0.4 | n |  | TRUE
51 | bus_LV_6771-1_0_2_node_60 | 0.4 | n |  | TRUE
52 | bus_LV_6771-1_0_2_node_38 | 0.4 | n |  | TRUE
53 | bus_LV_6771-1_0_2_node_41 | 0.4 | n |  | TRUE
54 | bus_LV_6771-1_0_2_node_42 | 0.4 | n |  | TRUE
55 | bus_LV_6771-1_0_2_node_43 | 0.4 | n |  | TRUE
56 | bus_LV_6771-1_0_2_node_44 | 0.4 | n |  | TRUE
57 | bus_LV_6771-1_0_2_node_45 | 0.4 | n |  | TRUE
58 | bus_LV_6771-1_0_2_node_48 | 0.4 | n |  | TRUE
59 | bus_LV_6771-1_0_2_node_50 | 0.4 | n |  | TRUE
60 | bus_LV_6771-1_0_2_node_46 | 0.4 | n |  | TRUE
61 | bus_LV_6771-1_0_2_node_47 | 0.4 | n |  | TRUE
62 | bus_LV_6771-1_0_2_node_49 | 0.4 | n |  | TRUE
63 | bus_LV_6771-1_0_2_node_64 | 0.4 | n |  | TRUE
64 | bus_LV_6771-1_0_2_node_61 | 0.4 | n |  | TRUE
65 | bus_LV_6771-1_0_2_node_65 | 0.4 | n |  | TRUE
66 | bus_LV_6771-1_0_2_node_66 | 0.4 | n |  | TRUE
67 | bus_MV_342_0_node_170 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6771-1_0_2_load_0 | 0 | 0.0058556 | 0.0014676 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6771-1_0_2_load_51 | 3 | 0.0013573 | 0.00034017 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6771-1_0_2_load_67 | 6 | 0.0018096 | 0.00045353 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6771-1_0_2_load_55 | 9 | 0.0056644 | 0.0014196 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6771-1_0_2_load_62 | 11 | 0.0046559 | 0.0011669 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6771-1_0_2_load_40 | 12 | 0.0052289 | 0.0013105 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6771-1_0_2_load_37 | 15 | 0.0094188 | 0.0023606 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6771-1_0_2_load_36 | 16 | 0.0036447 | 0.00091346 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6771-1_0_2_load_4 | 17 | 0.020909 | 0.0052404 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6771-1_0_2_load_23 | 20 | 0.0031351 | 0.00078572 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6771-1_0_2_load_10 | 21 | 0.0017961 | 0.00045014 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6771-1_0_2_load_17 | 22 | 0.018851 | 0.0047244 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6771-1_0_2_load_14 | 23 | 0.0028588 | 0.00071648 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6771-1_0_2_load_68 | 24 | 0.0028965 | 0.00072593 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6771-1_0_2_load_15 | 25 | 0.0025523 | 0.00063967 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6771-1_0_2_load_7 | 26 | 0.001693 | 0.0004243 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6771-1_0_2_load_8 | 27 | 0.0017471 | 0.00043786 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6771-1_0_2_load_9 | 28 | 0.0028783 | 0.00072136 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6771-1_0_2_load_11 | 29 | 0.0014045 | 0.00035201 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6771-1_0_2_load_12 | 30 | 0.0074365 | 0.0018638 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6771-1_0_2_load_24 | 32 | 0.0030969 | 0.00077616 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6771-1_0_2_load_22 | 33 | 0.0045588 | 0.0011425 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6771-1_0_2_load_33 | 34 | 0.002133 | 0.00053458 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6771-1_0_2_load_20 | 35 | 0.0018282 | 0.00045818 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6771-1_0_2_load_18 | 37 | 0.0036722 | 0.00092034 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6771-1_0_2_load_19 | 38 | 0.0010098 | 0.00025307 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6771-1_0_2_load_21 | 39 | 0.01156 | 0.0028972 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6771-1_0_2_load_25 | 41 | 0.0061725 | 0.001547 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6771-1_0_2_load_28 | 43 | 0.0048705 | 0.0012207 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6771-1_0_2_load_53 | 46 | 0.0051045 | 0.0012793 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6771-1_0_2_load_30 | 47 | 0.0043741 | 0.0010962 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6771-1_0_2_load_34 | 49 | 0.0032447 | 0.0008132 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6771-1_0_2_load_59 | 50 | 0.0037846 | 0.0009485 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6771-1_0_2_load_60 | 51 | 0.0048376 | 0.0012124 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6771-1_0_2_load_38 | 52 | 0.0025973 | 0.00065094 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6771-1_0_2_load_41 | 53 | 0.0011266 | 0.00028234 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6771-1_0_2_load_42 | 54 | 0.0053235 | 0.0013342 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6771-1_0_2_load_43 | 55 | 0.0011618 | 0.00029118 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6771-1_0_2_load_44 | 56 | 0.0016675 | 0.0004179 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6771-1_0_2_load_45 | 57 | 0.0052905 | 0.0013259 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6771-1_0_2_load_50 | 59 | 0.0031359 | 0.00078592 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6771-1_0_2_load_46 | 60 | 0.0024872 | 0.00062334 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6771-1_0_2_load_47 | 61 | 0.00057483 | 0.00014407 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6771-1_0_2_load_49 | 62 | 0.0027956 | 0.00070065 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6771-1_0_2_load_64 | 63 | 0.00054413 | 0.00013637 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6771-1_0_2_load_61 | 64 | 0.0048872 | 0.0012248 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6771-1_0_2_load_65 | 65 | 0.0010925 | 0.0002738 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6771-1_0_2_load_66 | 66 | 0.0011873 | 0.00029756 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 39 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6771-1_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.011312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_6771-1_0_2_line_1 | NAYY 4x150 SE | 1 | 2 | 0.024454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_6771-1_0_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.041148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_6771-1_0_2_line_3 | NAYY 4x150 SE | 3 | 16 | 0.014908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_6771-1_0_2_line_4 | NAYY 4x150 SE | 4 | 5 | 0.028991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_6771-1_0_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.01522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_6771-1_0_2_line_6 | NAYY 4x150 SE | 5 | 63 | 0.032867 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_6771-1_0_2_line_7 | NAYY 4x150 SE | 5 | 59 | 0.045701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_6771-1_0_2_line_8 | NAYY 4x150 SE | 6 | 45 | 0.043845 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_6771-1_0_2_line_9 | NAYY 4x150 SE | 7 | 8 | 0.007946 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_6771-1_0_2_line_10 | NAYY 4x150 SE | 7 | 9 | 0.0086414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_6771-1_0_2_line_11 | NAYY 4x150 SE | 8 | 11 | 0.0017151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
12 | LV_6771-1_0_2_line_12 | NAYY 4x150 SE | 8 | 46 | 0.011426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_6771-1_0_2_line_13 | NAYY 4x150 SE | 10 | 11 | 0.0084313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_6771-1_0_2_line_14 | NAYY 4x150 SE | 10 | 12 | 0.0025776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_6771-1_0_2_line_15 | NAYY 4x150 SE | 12 | 52 | 0.0046595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
16 | LV_6771-1_0_2_line_16 | NAYY 4x150 SE | 13 | 14 | 0.004625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_6771-1_0_2_line_17 | NAYY 4x150 SE | 13 | 15 | 0.033372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_6771-1_0_2_line_18 | NAYY 4x150 SE | 14 | 50 | 0.013336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_6771-1_0_2_line_19 | NAYY 4x150 SE | 14 | 48 | 0.008761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
20 | LV_6771-1_0_2_line_20 | NAYY 4x150 SE | 15 | 52 | 0.012011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_6771-1_0_2_line_21 | NAYY 4x150 SE | 16 | 48 | 0.026906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_6771-1_0_2_line_22 | NAYY 4x150 SE | 17 | 18 | 0.029714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_6771-1_0_2_line_23 | NAYY 4x150 SE | 18 | 19 | 0.060367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_6771-1_0_2_line_24 | NAYY 4x150 SE | 19 | 22 | 0.016232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_6771-1_0_2_line_25 | NAYY 4x150 SE | 19 | 23 | 0.045307 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_6771-1_0_2_line_26 | NAYY 4x150 SE | 20 | 21 | 0.034481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_6771-1_0_2_line_27 | NAYY 4x150 SE | 21 | 27 | 0.0041084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_6771-1_0_2_line_28 | NAYY 4x150 SE | 22 | 24 | 0.020156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_6771-1_0_2_line_29 | NAYY 4x150 SE | 23 | 25 | 0.030065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_6771-1_0_2_line_30 | NAYY 4x150 SE | 25 | 36 | 0.050186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_6771-1_0_2_line_31 | NAYY 4x150 SE | 26 | 27 | 0.0075924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_6771-1_0_2_line_32 | NAYY 4x150 SE | 26 | 28 | 0.0048416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_6771-1_0_2_line_33 | NAYY 4x150 SE | 28 | 29 | 0.0029626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_6771-1_0_2_line_34 | NAYY 4x150 SE | 29 | 30 | 0.015479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_6771-1_0_2_line_35 | NAYY 4x150 SE | 30 | 31 | 0.015597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_6771-1_0_2_line_36 | NAYY 4x150 SE | 31 | 32 | 0.011538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
37 | LV_6771-1_0_2_line_37 | NAYY 4x150 SE | 31 | 33 | 0.027595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
38 | LV_6771-1_0_2_line_38 | NAYY 4x150 SE | 32 | 34 | 0.0024954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
39 | LV_6771-1_0_2_line_39 | NAYY 4x150 SE | 33 | 35 | 0.00073681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
40 | LV_6771-1_0_2_line_40 | NAYY 4x150 SE | 34 | 40 | 0.018036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
41 | LV_6771-1_0_2_line_41 | NAYY 4x150 SE | 35 | 37 | 0.015953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
42 | LV_6771-1_0_2_line_42 | NAYY 4x150 SE | 36 | 38 | 0.11769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_6771-1_0_2_line_43 | NAYY 4x150 SE | 37 | 38 | 0.067103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
44 | LV_6771-1_0_2_line_44 | NAYY 4x150 SE | 38 | 39 | 0.004108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
45 | LV_6771-1_0_2_line_45 | NAYY 4x150 SE | 40 | 49 | 0.035221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_6771-1_0_2_line_46 | NAYY 4x150 SE | 40 | 47 | 0.024939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
47 | LV_6771-1_0_2_line_47 | NAYY 4x150 SE | 41 | 42 | 0.025116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_6771-1_0_2_line_48 | NAYY 4x150 SE | 42 | 43 | 0.0083171 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_6771-1_0_2_line_49 | NAYY 4x150 SE | 43 | 44 | 0.0072814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_6771-1_0_2_line_50 | NAYY 4x150 SE | 44 | 46 | 0.027138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
51 | LV_6771-1_0_2_line_51 | NAYY 4x150 SE | 44 | 45 | 0.01339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
52 | LV_6771-1_0_2_line_52 | NAYY 4x150 SE | 47 | 48 | 0.022215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
53 | LV_6771-1_0_2_line_53 | NAYY 4x150 SE | 50 | 51 | 0.01385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_6771-1_0_2_line_54 | NAYY 4x150 SE | 51 | 64 | 0.0022705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_6771-1_0_2_line_55 | NAYY 4x150 SE | 53 | 54 | 0.0099746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_6771-1_0_2_line_56 | NAYY 4x150 SE | 53 | 55 | 0.026264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_6771-1_0_2_line_57 | NAYY 4x150 SE | 54 | 56 | 0.0097422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_6771-1_0_2_line_58 | NAYY 4x150 SE | 55 | 57 | 0.018513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_6771-1_0_2_line_59 | NAYY 4x150 SE | 56 | 58 | 0.05027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_6771-1_0_2_line_60 | NAYY 4x150 SE | 58 | 59 | 0.032831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_6771-1_0_2_line_61 | NAYY 4x150 SE | 58 | 60 | 0.01556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_6771-1_0_2_line_62 | NAYY 4x150 SE | 60 | 61 | 0.010883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_6771-1_0_2_line_63 | NAYY 4x150 SE | 61 | 62 | 0.012883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_6771-1_0_2_line_64 | NAYY 4x150 SE | 63 | 65 | 0.0046468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_6771-1_0_2_line_65 | NAYY 4x150 SE | 65 | 66 | 0.012147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6771-1_0_2_trafo_21 | 0.25 MVA 20/0.4 kV | 67 | 39 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2576579.4772 | 1252645.3677 | 2576583.7099 | 1252647.1632 | 2576586.8094 | 1252648.6296 | 2576589.7654 | 1252650.0633
1 | 2576565.8379 | 1252665.1238 | 2576566.8927 | 1252664.7415 | 2576567.8563 | 1252664.1818 | 2576568.6531 | 1252663.4115 | 2576569.441 | 1252662.3187 | 2576572.4312 | 1252657.1479 | 2576574.6693 | 1252654.515 | 2576579.4772 | 1252645.3677
2 | 2576565.8379 | 1252665.1238 | 2576564.7139 | 1252665.2172 | 2576563.506 | 1252665.0552 | 2576561.9119 | 1252664.5501 | 2576529.2449 | 1252646.9016 | 2576529.2449 | 1252646.9016
3 | 2576523.8553 | 1252660.8012 | 2576529.2449 | 1252646.9016
4 | 2576661.7864 | 1252670.6916 | 2576658.1915 | 1252679.4005 | 2576650.506 | 1252697.4095
5 | 2576650.506 | 1252697.4095 | 2576643.5684 | 1252710.9567
6 | 2576661.7864 | 1252670.6916 | 2576668.6867 | 1252654.4647 | 2576674.5521 | 1252640.4054
7 | 2576661.7864 | 1252670.6916 | 2576621.9759 | 1252648.2487
8 | 2576621.244 | 1252748.6592 | 2576627.627 | 1252739.0276 | 2576640.2704 | 1252717.3966 | 2576643.5684 | 1252710.9567
9 | 2576583.3568 | 1252715.9656 | 2576580.4132 | 1252723.3489
10 | 2576583.3568 | 1252715.9656 | 2576586.6504 | 1252707.9765
11 | 2576580.4132 | 1252723.3489 | 2576578.9125 | 1252722.5185
12 | 2576580.4132 | 1252723.3489 | 2576589.747 | 1252729.9397
13 | 2576571.5353 | 1252718.4364 | 2576578.9125 | 1252722.5185
14 | 2576571.5353 | 1252718.4364 | 2576569.2577 | 1252717.2296
15 | 2576565.1404 | 1252715.0479 | 2576569.2577 | 1252717.2296
16 | 2576521.4363 | 1252690.7505 | 2576525.4297 | 1252693.1029
17 | 2576525.4297 | 1252693.1029 | 2576540.6696 | 1252702.0815 | 2576554.5277 | 1252709.4246
18 | 2576521.4363 | 1252690.7505 | 2576517.6538 | 1252695.8801 | 2576516.2284 | 1252702.695
19 | 2576514.1279 | 1252685.8875 | 2576521.4363 | 1252690.7505
20 | 2576554.5277 | 1252709.4246 | 2576565.1404 | 1252715.0479
21 | 2576514.1279 | 1252685.8875 | 2576523.8553 | 1252660.8012
22 | 2576212.0816 | 1252708.5456 | 2576200.5196 | 1252735.9182
23 | 2576212.0816 | 1252708.5456 | 2576265.8119 | 1252736.3699
24 | 2576265.8119 | 1252736.3699 | 2576269.4405 | 1252720.549
25 | 2576265.8119 | 1252736.3699 | 2576306.034 | 1252757.2235
26 | 2576369.8917 | 1252607.8439 | 2576398.9471 | 1252622.1716 | 2576400.8199 | 1252623.088
27 | 2576404.5101 | 1252624.8938 | 2576400.8199 | 1252623.088
28 | 2576273.9465 | 1252700.9026 | 2576269.4405 | 1252720.549
29 | 2576306.034 | 1252757.2235 | 2576332.7247 | 1252771.0616
30 | 2576377.2785 | 1252794.1609 | 2576332.7247 | 1252771.0616
31 | 2576411.3298 | 1252628.2309 | 2576404.5101 | 1252624.8938
32 | 2576415.6786 | 1252630.359 | 2576411.3298 | 1252628.2309
33 | 2576415.6786 | 1252630.359 | 2576418.3397 | 1252631.6612
34 | 2576418.3397 | 1252631.6612 | 2576432.243 | 1252638.4647
35 | 2576446.2524 | 1252645.3201 | 2576432.243 | 1252638.4647
36 | 2576446.2524 | 1252645.3201 | 2576456.5649 | 1252650.4953
37 | 2576446.2524 | 1252645.3201 | 2576435.4981 | 1252670.7334
38 | 2576456.5649 | 1252650.4953 | 2576458.7952 | 1252651.6146
39 | 2576435.2109 | 1252671.412 | 2576435.4981 | 1252670.7334
40 | 2576474.9151 | 1252659.7042 | 2576458.7952 | 1252651.6146
41 | 2576435.2109 | 1252671.412 | 2576428.9938 | 1252686.1036
42 | 2576457.7999 | 1252708.3221 | 2576377.2785 | 1252794.1609
43 | 2576457.7999 | 1252708.3221 | 2576452.4731 | 1252719.8112 | 2576421.3534 | 1252704.1584 | 2576428.9938 | 1252686.1036
44 | 2576459.5278 | 1252704.5952 | 2576457.7999 | 1252708.3221
45 | 2576474.9151 | 1252659.7042 | 2576476.6405 | 1252655.2833 | 2576477.8206 | 1252652.2543 | 2576487.7133 | 1252626.8908
46 | 2576474.9151 | 1252659.7042 | 2576475.5428 | 1252660.0575 | 2576495.7551 | 1252673.3992
47 | 2576608.9477 | 1252762.695 | 2576601.5177 | 1252770.841 | 2576596.0408 | 1252776.8333 | 2576592.1676 | 1252781.3794
48 | 2576608.9477 | 1252762.695 | 2576606.6189 | 1252759.5577 | 2576605.7888 | 1252755.7474 | 2576605.8938 | 1252755.2482
49 | 2576608.885 | 1252748.7861 | 2576606.5886 | 1252751.9417 | 2576605.8938 | 1252755.2482
50 | 2576608.885 | 1252748.7861 | 2576603.0954 | 1252740.6036 | 2576596.6815 | 1252734.8364 | 2576589.747 | 1252729.9397
51 | 2576621.244 | 1252748.6592 | 2576618.3549 | 1252746.9696 | 2576615.0477 | 1252746.3934 | 2576611.7453 | 1252747.0291 | 2576608.885 | 1252748.7861
52 | 2576514.1279 | 1252685.8875 | 2576497.5431 | 1252674.5794 | 2576495.7551 | 1252673.3992
53 | 2576516.2284 | 1252702.695 | 2576513.393 | 1252716.2514
54 | 2576512.9282 | 1252718.4738 | 2576513.393 | 1252716.2514
55 | 2576573.7049 | 1252586.2533 | 2576572.0469 | 1252590.8055 | 2576568.495 | 1252593.2324 | 2576568.1916 | 1252594.0028
56 | 2576573.7049 | 1252586.2533 | 2576577.757 | 1252575.1281 | 2576564.1993 | 1252570.2058
57 | 2576564.622 | 1252603.0675 | 2576568.1916 | 1252594.0028
58 | 2576546.7978 | 1252563.888 | 2576564.1993 | 1252570.2058
59 | 2576593.3764 | 1252632.126 | 2576589.8303 | 1252630.2944 | 2576560.3268 | 1252615.0459 | 2576559.9789 | 1252614.8582 | 2576564.622 | 1252603.0675
60 | 2576593.3764 | 1252632.126 | 2576621.9759 | 1252648.2487
61 | 2576593.3764 | 1252632.126 | 2576598.4831 | 1252617.4284
62 | 2576598.4831 | 1252617.4284 | 2576602.0549 | 1252607.1484
63 | 2576606.2831 | 1252594.9789 | 2576602.0549 | 1252607.1484
64 | 2576674.5521 | 1252640.4054 | 2576676.3413 | 1252636.1168
65 | 2576676.3413 | 1252636.1168 | 2576681.0181 | 1252624.9066

## bus_geodata
| x | y | coords
0 | 2576589.7654 | 1252650.0633
1 | 2576579.4772 | 1252645.3677
2 | 2576565.8379 | 1252665.1238
3 | 2576529.2449 | 1252646.9016
4 | 2576650.506 | 1252697.4095
5 | 2576661.7864 | 1252670.6917
6 | 2576643.5684 | 1252710.9567
7 | 2576583.3568 | 1252715.9656
8 | 2576580.4132 | 1252723.3489
9 | 2576586.6504 | 1252707.9765
10 | 2576571.5353 | 1252718.4364
11 | 2576578.9125 | 1252722.5185
12 | 2576569.2577 | 1252717.2296
13 | 2576525.4297 | 1252693.1029
14 | 2576521.4363 | 1252690.7505
15 | 2576554.5277 | 1252709.4246
16 | 2576523.8553 | 1252660.8012
17 | 2576200.5196 | 1252735.9182
18 | 2576212.0816 | 1252708.5456
19 | 2576265.8119 | 1252736.3699
20 | 2576369.8917 | 1252607.8439
21 | 2576400.8199 | 1252623.088
22 | 2576269.4405 | 1252720.549
23 | 2576306.034 | 1252757.2235
24 | 2576273.9465 | 1252700.9026
25 | 2576332.7247 | 1252771.0616
26 | 2576411.3298 | 1252628.2309
27 | 2576404.5101 | 1252624.8938
28 | 2576415.6786 | 1252630.359
29 | 2576418.3397 | 1252631.6612
30 | 2576432.243 | 1252638.4647
31 | 2576446.2524 | 1252645.3201
32 | 2576456.5649 | 1252650.4953
33 | 2576435.4981 | 1252670.7334
34 | 2576458.7952 | 1252651.6146
35 | 2576435.2109 | 1252671.412
36 | 2576377.2785 | 1252794.1609
37 | 2576428.9938 | 1252686.1036
38 | 2576457.7999 | 1252708.3221
39 | 2576459.5278 | 1252704.5952
40 | 2576474.9151 | 1252659.7042
41 | 2576592.1676 | 1252781.3794
42 | 2576608.9477 | 1252762.695
43 | 2576605.8938 | 1252755.2482
44 | 2576608.885 | 1252748.7861
45 | 2576621.244 | 1252748.6592
46 | 2576589.747 | 1252729.9397
47 | 2576495.7551 | 1252673.3992
48 | 2576514.1279 | 1252685.8875
49 | 2576487.7133 | 1252626.8908
50 | 2576516.2284 | 1252702.695
51 | 2576513.393 | 1252716.2514
52 | 2576565.1404 | 1252715.0479
53 | 2576573.7049 | 1252586.2533
54 | 2576568.1916 | 1252594.0028
55 | 2576564.1993 | 1252570.2058
56 | 2576564.622 | 1252603.0675
57 | 2576546.7978 | 1252563.888
58 | 2576593.3764 | 1252632.126
59 | 2576621.9759 | 1252648.2487
60 | 2576598.4831 | 1252617.4284
61 | 2576602.0549 | 1252607.1484
62 | 2576606.2831 | 1252594.979
63 | 2576674.5521 | 1252640.4054
64 | 2576512.9282 | 1252718.4738
65 | 2576676.3413 | 1252636.1168
66 | 2576681.0181 | 1252624.9066
67 | 2576446.2524 | 1252645.3201

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1