## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6771-2_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6771-2_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6771-2_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6771-2_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6771-2_0_4_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_6771-2_0_4_node_92 | 0.4 | n |  | TRUE
6 | bus_LV_6771-2_0_4_node_44 | 0.4 | n |  | TRUE
7 | bus_LV_6771-2_0_4_node_93 | 0.4 | n |  | TRUE
8 | bus_LV_6771-2_0_4_node_89 | 0.4 | n |  | TRUE
9 | bus_LV_6771-2_0_4_node_84 | 0.4 | n |  | TRUE
10 | bus_LV_6771-2_0_4_node_47 | 0.4 | n |  | TRUE
11 | bus_LV_6771-2_0_4_node_45 | 0.4 | n |  | TRUE
12 | bus_LV_6771-2_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_6771-2_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_6771-2_0_4_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_6771-2_0_4_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_6771-2_0_4_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_6771-2_0_4_node_18 | 0.4 | n |  | TRUE
18 | bus_LV_6771-2_0_4_node_58 | 0.4 | n |  | TRUE
19 | bus_LV_6771-2_0_4_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_6771-2_0_4_node_20 | 0.4 | n |  | TRUE
21 | bus_LV_6771-2_0_4_node_59 | 0.4 | n |  | TRUE
22 | bus_LV_6771-2_0_4_node_60 | 0.4 | n |  | TRUE
23 | bus_LV_6771-2_0_4_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_6771-2_0_4_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_6771-2_0_4_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_6771-2_0_4_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_6771-2_0_4_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_6771-2_0_4_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_6771-2_0_4_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_6771-2_0_4_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_6771-2_0_4_node_99 | 0.4 | n |  | TRUE
32 | bus_LV_6771-2_0_4_node_100 | 0.4 | n |  | TRUE
33 | bus_LV_6771-2_0_4_node_97 | 0.4 | n |  | TRUE
34 | bus_LV_6771-2_0_4_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_6771-2_0_4_node_49 | 0.4 | n |  | TRUE
36 | bus_LV_6771-2_0_4_node_43 | 0.4 | n |  | TRUE
37 | bus_LV_6771-2_0_4_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_6771-2_0_4_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_6771-2_0_4_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_6771-2_0_4_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_6771-2_0_4_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_6771-2_0_4_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_6771-2_0_4_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_6771-2_0_4_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_6771-2_0_4_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_6771-2_0_4_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_6771-2_0_4_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_6771-2_0_4_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_6771-2_0_4_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_6771-2_0_4_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_6771-2_0_4_node_41 | 0.4 | n |  | TRUE
52 | bus_LV_6771-2_0_4_node_88 | 0.4 | n |  | TRUE
53 | bus_LV_6771-2_0_4_node_91 | 0.4 | n |  | TRUE
54 | bus_LV_6771-2_0_4_node_86 | 0.4 | n |  | TRUE
55 | bus_LV_6771-2_0_4_node_50 | 0.4 | n |  | TRUE
56 | bus_LV_6771-2_0_4_node_81 | 0.4 | n |  | TRUE
57 | bus_LV_6771-2_0_4_node_48 | 0.4 | n |  | TRUE
58 | bus_LV_6771-2_0_4_node_46 | 0.4 | n |  | TRUE
59 | bus_LV_6771-2_0_4_node_51 | 0.4 | n |  | TRUE
60 | bus_LV_6771-2_0_4_node_63 | 0.4 | n |  | TRUE
61 | bus_LV_6771-2_0_4_node_68 | 0.4 | n |  | TRUE
62 | bus_LV_6771-2_0_4_node_66 | 0.4 | n |  | TRUE
63 | bus_LV_6771-2_0_4_node_61 | 0.4 | n |  | TRUE
64 | bus_LV_6771-2_0_4_node_67 | 0.4 | n |  | TRUE
65 | bus_LV_6771-2_0_4_node_52 | 0.4 | n |  | TRUE
66 | bus_LV_6771-2_0_4_node_53 | 0.4 | n |  | TRUE
67 | bus_LV_6771-2_0_4_node_54 | 0.4 | n |  | TRUE
68 | bus_LV_6771-2_0_4_node_55 | 0.4 | n |  | TRUE
69 | bus_LV_6771-2_0_4_node_56 | 0.4 | n |  | TRUE
70 | bus_LV_6771-2_0_4_node_57 | 0.4 | n |  | TRUE
71 | bus_LV_6771-2_0_4_node_102 | 0.4 | n |  | TRUE
72 | bus_LV_6771-2_0_4_node_62 | 0.4 | n |  | TRUE
73 | bus_LV_6771-2_0_4_node_64 | 0.4 | n |  | TRUE
74 | bus_LV_6771-2_0_4_node_65 | 0.4 | n |  | TRUE
75 | bus_LV_6771-2_0_4_node_74 | 0.4 | n |  | TRUE
76 | bus_LV_6771-2_0_4_node_79 | 0.4 | n |  | TRUE
77 | bus_LV_6771-2_0_4_node_75 | 0.4 | n |  | TRUE
78 | bus_LV_6771-2_0_4_node_78 | 0.4 | n |  | TRUE
79 | bus_LV_6771-2_0_4_node_69 | 0.4 | n |  | TRUE
80 | bus_LV_6771-2_0_4_node_70 | 0.4 | n |  | TRUE
81 | bus_LV_6771-2_0_4_node_71 | 0.4 | n |  | TRUE
82 | bus_LV_6771-2_0_4_node_72 | 0.4 | n |  | TRUE
83 | bus_LV_6771-2_0_4_node_73 | 0.4 | n |  | TRUE
84 | bus_LV_6771-2_0_4_node_77 | 0.4 | n |  | TRUE
85 | bus_LV_6771-2_0_4_node_82 | 0.4 | n |  | TRUE
86 | bus_LV_6771-2_0_4_node_83 | 0.4 | n |  | TRUE
87 | bus_LV_6771-2_0_4_node_76 | 0.4 | n |  | TRUE
88 | bus_LV_6771-2_0_4_node_104 | 0.4 | n |  | TRUE
89 | bus_LV_6771-2_0_4_node_90 | 0.4 | n |  | TRUE
90 | bus_LV_6771-2_0_4_node_95 | 0.4 | n |  | TRUE
91 | bus_LV_6771-2_0_4_node_85 | 0.4 | n |  | TRUE
92 | bus_LV_6771-2_0_4_node_94 | 0.4 | n |  | TRUE
93 | bus_LV_6771-2_0_4_node_96 | 0.4 | n |  | TRUE
94 | bus_LV_6771-2_0_4_node_98 | 0.4 | n |  | TRUE
95 | bus_LV_6771-2_0_4_node_101 | 0.4 | n |  | TRUE
96 | bus_MV_342_0_node_168 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6771-2_0_4_load_0 | 0 | 0.012312 | 0.0030858 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6771-2_0_4_load_92 | 5 | 0.000812 | 0.00020351 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6771-2_0_4_load_44 | 6 | 0.0019685 | 0.00049334 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6771-2_0_4_load_89 | 8 | 0.0031198 | 0.0007819 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6771-2_0_4_load_47 | 10 | 0.00096633 | 0.00024219 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6771-2_0_4_load_45 | 11 | 0.002623 | 0.00065738 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6771-2_0_4_load_8 | 12 | 0.0034374 | 0.00086149 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6771-2_0_4_load_9 | 13 | 0.0013552 | 0.00033964 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6771-2_0_4_load_10 | 14 | 0.0044188 | 0.0011075 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6771-2_0_4_load_11 | 15 | 0.0018064 | 0.00045274 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6771-2_0_4_load_12 | 16 | 0.0038185 | 0.00095702 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6771-2_0_4_load_18 | 17 | 0.0022522 | 0.00056446 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6771-2_0_4_load_19 | 19 | 0.0026147 | 0.00065529 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6771-2_0_4_load_20 | 20 | 0.0034461 | 0.00086368 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6771-2_0_4_load_59 | 21 | 0.0070265 | 0.001761 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6771-2_0_4_load_60 | 22 | 0.0034254 | 0.00085849 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6771-2_0_4_load_13 | 23 | 0.0011928 | 0.00029894 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6771-2_0_4_load_14 | 24 | 0.0012011 | 0.00030102 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6771-2_0_4_load_15 | 25 | 0.0065052 | 0.0016304 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6771-2_0_4_load_16 | 26 | 0.0024959 | 0.00062554 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6771-2_0_4_load_17 | 27 | 0.0032718 | 0.00081999 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6771-2_0_4_load_22 | 29 | 0.0027332 | 0.000685 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6771-2_0_4_load_23 | 30 | 0.0018027 | 0.0004518 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6771-2_0_4_load_100 | 32 | 0.0036115 | 0.00090512 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6771-2_0_4_load_97 | 33 | 0.0014924 | 0.00037404 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6771-2_0_4_load_25 | 34 | 0.0022364 | 0.0005605 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6771-2_0_4_load_49 | 35 | 0.0049783 | 0.0012477 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6771-2_0_4_load_27 | 37 | 0.0014422 | 0.00036146 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6771-2_0_4_load_28 | 38 | 0.0023753 | 0.00059531 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6771-2_0_4_load_30 | 40 | 0.0028224 | 0.00070737 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6771-2_0_4_load_32 | 42 | 0.0021903 | 0.00054893 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6771-2_0_4_load_33 | 43 | 0.0025354 | 0.00063542 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6771-2_0_4_load_34 | 44 | 0.0032326 | 0.00081016 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6771-2_0_4_load_35 | 45 | 0.00097574 | 0.00024454 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6771-2_0_4_load_37 | 47 | 0.001777 | 0.00044536 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6771-2_0_4_load_38 | 48 | 0.0020932 | 0.00052461 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6771-2_0_4_load_39 | 49 | 0.0017041 | 0.0004271 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6771-2_0_4_load_42 | 50 | 0.0025563 | 0.00064066 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6771-2_0_4_load_41 | 51 | 0.0020738 | 0.00051974 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6771-2_0_4_load_91 | 53 | 0.0035719 | 0.0008952 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6771-2_0_4_load_81 | 56 | 0.00331 | 0.00082957 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6771-2_0_4_load_46 | 58 | 0.0062237 | 0.0015598 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6771-2_0_4_load_68 | 61 | 0.0025095 | 0.00062894 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6771-2_0_4_load_66 | 62 | 0.0039424 | 0.00098806 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6771-2_0_4_load_61 | 63 | 0.0031262 | 0.0007835 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6771-2_0_4_load_67 | 64 | 0.0035734 | 0.00089558 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6771-2_0_4_load_52 | 65 | 0.0017145 | 0.0004297 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6771-2_0_4_load_53 | 66 | 0.0065515 | 0.001642 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6771-2_0_4_load_55 | 68 | 0.0019032 | 0.00047698 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6771-2_0_4_load_56 | 69 | 0.0034006 | 0.00085228 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6771-2_0_4_load_57 | 70 | 0.0049594 | 0.0012429 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6771-2_0_4_load_102 | 71 | 0.0037794 | 0.0009472 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6771-2_0_4_load_74 | 75 | 0.0025174 | 0.00063091 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6771-2_0_4_load_79 | 76 | 0.003346 | 0.00083859 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6771-2_0_4_load_75 | 77 | 0.0012846 | 0.00032194 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6771-2_0_4_load_78 | 78 | 0.0028074 | 0.0007036 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6771-2_0_4_load_69 | 79 | 0.0036259 | 0.00090875 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6771-2_0_4_load_70 | 80 | 0.0035102 | 0.00087975 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6771-2_0_4_load_71 | 81 | 0.0023982 | 0.00060104 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6771-2_0_4_load_72 | 82 | 0.0084043 | 0.0021063 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6771-2_0_4_load_77 | 84 | 0.0033761 | 0.00084613 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6771-2_0_4_load_82 | 85 | 0.0032151 | 0.00080579 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6771-2_0_4_load_83 | 86 | 0.0025641 | 0.00064264 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6771-2_0_4_load_76 | 87 | 0.0063706 | 0.0015966 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6771-2_0_4_load_104 | 88 | 0.0065429 | 0.0016398 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6771-2_0_4_load_95 | 90 | 0.0018325 | 0.00045928 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6771-2_0_4_load_85 | 91 | 0.0012438 | 0.00031173 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6771-2_0_4_load_94 | 92 | 0.0010059 | 0.00025211 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6771-2_0_4_load_96 | 93 | 0.0015237 | 0.00038187 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6771-2_0_4_load_98 | 94 | 0.0036922 | 0.00092536 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6771-2_0_4_load_101 | 95 | 0.0031409 | 0.00078717 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 55 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6771-2_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.030578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_6771-2_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.017154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_6771-2_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.007839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_6771-2_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.049591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_6771-2_0_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.016709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_6771-2_0_4_line_5 | NAYY 4x150 SE | 4 | 6 | 0.0040641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_6771-2_0_4_line_6 | NAYY 4x150 SE | 5 | 7 | 0.017591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_6771-2_0_4_line_7 | NAYY 4x150 SE | 7 | 92 | 0.014224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_6771-2_0_4_line_8 | NAYY 4x150 SE | 7 | 53 | 0.014112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_6771-2_0_4_line_9 | NAYY 4x150 SE | 8 | 9 | 0.01761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_6771-2_0_4_line_10 | NAYY 4x150 SE | 9 | 89 | 0.044982 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_6771-2_0_4_line_11 | NAYY 4x150 SE | 9 | 86 | 0.028638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_6771-2_0_4_line_12 | NAYY 4x150 SE | 10 | 11 | 0.040062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_6771-2_0_4_line_13 | NAYY 4x150 SE | 11 | 58 | 0.0062946 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_6771-2_0_4_line_14 | NAYY 4x150 SE | 12 | 13 | 0.016136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_6771-2_0_4_line_15 | NAYY 4x150 SE | 12 | 14 | 0.0003998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_6771-2_0_4_line_16 | NAYY 4x150 SE | 13 | 15 | 0.007209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_6771-2_0_4_line_17 | NAYY 4x150 SE | 14 | 16 | 0.021529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_6771-2_0_4_line_18 | NAYY 4x150 SE | 15 | 17 | 0.021222 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_6771-2_0_4_line_19 | NAYY 4x150 SE | 16 | 18 | 0.0040385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_6771-2_0_4_line_20 | NAYY 4x150 SE | 17 | 19 | 0.016381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_6771-2_0_4_line_21 | NAYY 4x150 SE | 17 | 20 | 0.03897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_6771-2_0_4_line_22 | NAYY 4x150 SE | 18 | 21 | 0.035543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_6771-2_0_4_line_23 | NAYY 4x150 SE | 18 | 22 | 0.012071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_6771-2_0_4_line_24 | NAYY 4x150 SE | 20 | 31 | 0.015974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_6771-2_0_4_line_25 | NAYY 4x150 SE | 22 | 69 | 0.010512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_6771-2_0_4_line_26 | NAYY 4x150 SE | 23 | 24 | 0.0071705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_6771-2_0_4_line_27 | NAYY 4x150 SE | 23 | 25 | 0.016774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_6771-2_0_4_line_28 | NAYY 4x150 SE | 24 | 26 | 0.0027418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_6771-2_0_4_line_29 | NAYY 4x150 SE | 25 | 27 | 0.0065191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_6771-2_0_4_line_30 | NAYY 4x150 SE | 26 | 28 | 0.026167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_6771-2_0_4_line_31 | NAYY 4x150 SE | 28 | 29 | 0.014179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_6771-2_0_4_line_32 | NAYY 4x150 SE | 28 | 30 | 0.017225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_6771-2_0_4_line_33 | NAYY 4x150 SE | 29 | 34 | 0.01051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_6771-2_0_4_line_34 | NAYY 4x150 SE | 30 | 35 | 0.0018626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_6771-2_0_4_line_35 | NAYY 4x150 SE | 31 | 32 | 0.016094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_6771-2_0_4_line_36 | NAYY 4x150 SE | 31 | 33 | 0.015295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_6771-2_0_4_line_37 | NAYY 4x150 SE | 32 | 95 | 0.018395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_6771-2_0_4_line_38 | NAYY 4x150 SE | 33 | 93 | 0.0076903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_6771-2_0_4_line_39 | NAYY 4x150 SE | 35 | 36 | 0.025948 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_6771-2_0_4_line_40 | NAYY 4x150 SE | 36 | 55 | 0.025192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_6771-2_0_4_line_41 | NAYY 4x150 SE | 36 | 50 | 0.025944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_6771-2_0_4_line_42 | NAYY 4x150 SE | 37 | 38 | 0.0029058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_6771-2_0_4_line_43 | NAYY 4x150 SE | 37 | 39 | 0.022175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_6771-2_0_4_line_44 | NAYY 4x150 SE | 38 | 40 | 0.046332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_6771-2_0_4_line_45 | NAYY 4x150 SE | 39 | 41 | 0.01637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_6771-2_0_4_line_46 | NAYY 4x150 SE | 40 | 42 | 0.043021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_6771-2_0_4_line_47 | NAYY 4x150 SE | 41 | 43 | 0.015785 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_6771-2_0_4_line_48 | NAYY 4x150 SE | 43 | 44 | 0.011927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_6771-2_0_4_line_49 | NAYY 4x150 SE | 44 | 45 | 0.02106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_6771-2_0_4_line_50 | NAYY 4x150 SE | 45 | 46 | 0.020064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_6771-2_0_4_line_51 | NAYY 4x150 SE | 46 | 47 | 0.015328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_6771-2_0_4_line_52 | NAYY 4x150 SE | 46 | 48 | 0.023369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_6771-2_0_4_line_53 | NAYY 4x150 SE | 47 | 49 | 0.032048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_6771-2_0_4_line_54 | NAYY 4x150 SE | 48 | 50 | 0.0028395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_6771-2_0_4_line_55 | NAYY 4x150 SE | 51 | 52 | 0.020753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_6771-2_0_4_line_56 | NAYY 4x150 SE | 52 | 53 | 0.023535 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_6771-2_0_4_line_57 | NAYY 4x150 SE | 52 | 54 | 0.012578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_6771-2_0_4_line_58 | NAYY 4x150 SE | 54 | 91 | 0.01403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_6771-2_0_4_line_59 | NAYY 4x150 SE | 55 | 56 | 0.030922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_6771-2_0_4_line_60 | NAYY 4x150 SE | 55 | 57 | 0.005639 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
61 | LV_6771-2_0_4_line_61 | NAYY 4x150 SE | 57 | 59 | 0.019936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
62 | LV_6771-2_0_4_line_62 | NAYY 4x150 SE | 57 | 58 | 0.020987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_6771-2_0_4_line_63 | NAYY 4x150 SE | 59 | 60 | 0.028623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_6771-2_0_4_line_64 | NAYY 4x150 SE | 59 | 61 | 0.015579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_6771-2_0_4_line_65 | NAYY 4x150 SE | 60 | 62 | 0.0067312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_6771-2_0_4_line_66 | NAYY 4x150 SE | 60 | 63 | 0.0052491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_6771-2_0_4_line_67 | NAYY 4x150 SE | 61 | 64 | 0.0026369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_6771-2_0_4_line_68 | NAYY 4x150 SE | 62 | 74 | 0.0090418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_6771-2_0_4_line_69 | NAYY 4x150 SE | 64 | 68 | 0.0087677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_6771-2_0_4_line_70 | NAYY 4x150 SE | 65 | 66 | 0.019472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_6771-2_0_4_line_71 | NAYY 4x150 SE | 65 | 67 | 0.0049174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_6771-2_0_4_line_72 | NAYY 4x150 SE | 66 | 68 | 0.0059717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_6771-2_0_4_line_73 | NAYY 4x150 SE | 67 | 69 | 0.0030887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_6771-2_0_4_line_74 | NAYY 4x150 SE | 67 | 70 | 0.016762 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_6771-2_0_4_line_75 | NAYY 4x150 SE | 70 | 71 | 0.010788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_6771-2_0_4_line_76 | NAYY 4x150 SE | 72 | 73 | 0.011262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_6771-2_0_4_line_77 | NAYY 4x150 SE | 72 | 74 | 0.010507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_6771-2_0_4_line_78 | NAYY 4x150 SE | 73 | 75 | 0.0091491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_6771-2_0_4_line_79 | NAYY 4x150 SE | 74 | 76 | 0.014881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_6771-2_0_4_line_80 | NAYY 4x150 SE | 75 | 77 | 0.00655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_6771-2_0_4_line_81 | NAYY 4x150 SE | 76 | 78 | 0.011816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_6771-2_0_4_line_82 | NAYY 4x150 SE | 77 | 87 | 0.012094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_6771-2_0_4_line_83 | NAYY 4x150 SE | 78 | 84 | 0.0085578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_6771-2_0_4_line_84 | NAYY 4x150 SE | 79 | 80 | 0.013231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_6771-2_0_4_line_85 | NAYY 4x150 SE | 79 | 81 | 0.011783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_6771-2_0_4_line_86 | NAYY 4x150 SE | 80 | 82 | 0.019029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_6771-2_0_4_line_87 | NAYY 4x150 SE | 81 | 83 | 0.021659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_6771-2_0_4_line_88 | NAYY 4x150 SE | 82 | 84 | 0.016991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_6771-2_0_4_line_89 | NAYY 4x150 SE | 83 | 85 | 0.0168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_6771-2_0_4_line_90 | NAYY 4x150 SE | 85 | 86 | 0.0066558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_6771-2_0_4_line_91 | NAYY 4x150 SE | 87 | 88 | 0.077516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_6771-2_0_4_line_92 | NAYY 4x150 SE | 89 | 90 | 0.021294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_6771-2_0_4_line_93 | NAYY 4x150 SE | 90 | 92 | 0.014163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_6771-2_0_4_line_94 | NAYY 4x150 SE | 93 | 94 | 0.0067554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6771-2_0_4_trafo_50 | 0.25 MVA 20/0.4 kV | 96 | 55 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2576625.0532 | 1252999.6102 | 2576595.5943 | 1252991.415
1 | 2576579.0677 | 1252986.8174 | 2576595.5943 | 1252991.415
2 | 2576625.0532 | 1252999.6102 | 2576624.2541 | 1253007.4075
3 | 2576533.2984 | 1252969.6212 | 2576572.9945 | 1252981.2823 | 2576579.0677 | 1252986.8174
4 | 2576624.2541 | 1253007.4075 | 2576632.8197 | 1253021.7536
5 | 2576533.2984 | 1252969.6212 | 2576531.9947 | 1252973.4705
6 | 2576641.8377 | 1253036.8573 | 2576632.8197 | 1253021.7536
7 | 2576641.8377 | 1253036.8573 | 2576651.7102 | 1253026.6172
8 | 2576641.8377 | 1253036.8573 | 2576638.0035 | 1253050.4383
9 | 2576640.0577 | 1252962.7486 | 2576633.6483 | 1252967.5439 | 2576632.6615 | 1252967.9591 | 2576631.4703 | 1252968.2085 | 2576630.0817 | 1252968.125 | 2576628.6845 | 1252967.797 | 2576624.4495 | 1252966.3002
10 | 2576640.0577 | 1252962.7486 | 2576640.9708 | 1252964.6685 | 2576642.4579 | 1252966.764 | 2576644.4734 | 1252968.9019 | 2576663.468 | 1252986.9387 | 2576666.1289 | 1252990.0969 | 2576667.2462 | 1252992.1828 | 2576668.2214 | 1252994.5472 | 2576668.7503 | 1252996.6353
11 | 2576640.0577 | 1252962.7486 | 2576639.2857 | 1252960.2278 | 2576638.9054 | 1252957.572 | 2576638.8852 | 1252956.2601 | 2576639.0008 | 1252954.981 | 2576639.1992 | 1252953.6349 | 2576639.5399 | 1252952.0214 | 2576639.8891 | 1252950.6524 | 2576640.3268 | 1252948.7717 | 2576640.5855 | 1252947.4031 | 2576640.7615 | 1252946.1349 | 2576640.9812 | 1252944.444 | 2576641.2529 | 1252942.5528 | 2576641.6751 | 1252940.5831 | 2576642.5072 | 1252937.2999 | 2576643.2648 | 1252934.7309
12 | 2576515.4047 | 1252897.6558 | 2576540.9242 | 1252915.922 | 2576547.085 | 1252922.0348
13 | 2576515.4047 | 1252897.6558 | 2576515.2349 | 1252897.5343 | 2576510.7508 | 1252893.4197
14 | 2576416.8784 | 1252814.6075 | 2576402.5404 | 1252807.2044
15 | 2576417.2337 | 1252814.7909 | 2576416.8784 | 1252814.6075
16 | 2576396.1349 | 1252803.897 | 2576402.5404 | 1252807.2044
17 | 2576436.363 | 1252824.6679 | 2576417.2337 | 1252814.7909
18 | 2576377.2785 | 1252794.1609 | 2576396.1349 | 1252803.897
19 | 2576439.9514 | 1252826.5207 | 2576436.363 | 1252824.6679
20 | 2576377.2785 | 1252794.1609 | 2576362.7362 | 1252786.6213
21 | 2576377.2785 | 1252794.1609 | 2576392.2101 | 1252758.1649
22 | 2576439.9514 | 1252826.5207 | 2576429.9695 | 1252860.6387
23 | 2576439.9514 | 1252826.5207 | 2576450.6704 | 1252832.0718
24 | 2576398.3307 | 1252743.4098 | 2576392.2101 | 1252758.1649
25 | 2576450.6704 | 1252832.0718 | 2576460.005 | 1252836.906
26 | 2576390.7361 | 1252888.7996 | 2576391.4657 | 1252888.8891 | 2576397.8651 | 1252889.569
27 | 2576390.7361 | 1252888.7996 | 2576375.8318 | 1252886.9726 | 2576374.0907 | 1252886.7251
28 | 2576400.5916 | 1252889.8587 | 2576397.8651 | 1252889.569
29 | 2576374.0907 | 1252886.7251 | 2576367.6365 | 1252885.8076
30 | 2576426.6405 | 1252892.3396 | 2576408.0044 | 1252890.6463 | 2576400.5916 | 1252889.8587
31 | 2576426.6405 | 1252892.3396 | 2576425.8872 | 1252896.4342 | 2576425.3433 | 1252898.1486 | 2576424.4754 | 1252899.9978 | 2576423.5231 | 1252901.4803 | 2576422.4869 | 1252902.7409 | 2576420.5924 | 1252904.4718 | 2576420.4125 | 1252904.5891
32 | 2576426.6405 | 1252892.3396 | 2576436.4523 | 1252893.0898 | 2576443.8237 | 1252893.5247
33 | 2576411.0344 | 1252909.2527 | 2576414.0124 | 1252908.1116 | 2576417.7778 | 1252906.3065 | 2576420.4125 | 1252904.5891
34 | 2576445.6831 | 1252893.6344 | 2576443.8237 | 1252893.5247
35 | 2576398.3307 | 1252743.4098 | 2576384.0899 | 1252735.9126
36 | 2576398.3307 | 1252743.4098 | 2576412.0251 | 1252750.2224
37 | 2576367.8129 | 1252727.3435 | 2576384.0899 | 1252735.9126
38 | 2576418.9104 | 1252753.6477 | 2576412.0251 | 1252750.2224
39 | 2576471.4905 | 1252892.5941 | 2576465.4135 | 1252893.7302 | 2576460.0356 | 1252894.1964 | 2576454.135 | 1252894.1422 | 2576447.3955 | 1252893.7354 | 2576445.6831 | 1252893.6344
40 | 2576471.4905 | 1252892.5941 | 2576477.5327 | 1252890.313 | 2576483.9256 | 1252887.052 | 2576488.9004 | 1252883.8968 | 2576493.5198 | 1252880.5206
41 | 2576471.4905 | 1252892.5941 | 2576470.9279 | 1252918.5317
42 | 2576449.8265 | 1253028.4492 | 2576452.3465 | 1253029.8962
43 | 2576430.596 | 1253017.4066 | 2576449.8265 | 1253028.4492
44 | 2576492.5803 | 1253052.8708 | 2576478.3225 | 1253044.8121 | 2576452.3465 | 1253029.8962
45 | 2576436.0653 | 1253002.0746 | 2576434.7473 | 1253008.3396 | 2576430.596 | 1253017.4066
46 | 2576511.3175 | 1253081.2452 | 2576517.011 | 1253068.8073 | 2576511.5881 | 1253063.6143 | 2576492.5803 | 1253052.8708
47 | 2576436.0653 | 1253002.0746 | 2576442.7338 | 1252987.7669
48 | 2576442.7338 | 1252987.7669 | 2576442.9703 | 1252987.2595 | 2576449.2419 | 1252977.7793
49 | 2576461.4234 | 1252960.6029 | 2576451.3776 | 1252974.5508 | 2576449.2419 | 1252977.7793
50 | 2576473.1003 | 1252944.3331 | 2576469.818 | 1252948.0709 | 2576464.9741 | 1252955.673 | 2576461.4234 | 1252960.6029
51 | 2576473.1003 | 1252944.3331 | 2576477.7842 | 1252951.4747 | 2576482.8206 | 1252956.0254
52 | 2576473.1003 | 1252944.3331 | 2576471.632 | 1252941.3036 | 2576470.6046 | 1252933.4358 | 2576470.8663 | 1252921.3705
53 | 2576506.9973 | 1252977.0404 | 2576499.873 | 1252971.4332 | 2576482.8206 | 1252956.0254
54 | 2576470.8663 | 1252921.3705 | 2576470.9279 | 1252918.5317
55 | 2576634.3019 | 1253073.467 | 2576626.7218 | 1253068.427 | 2576617.8075 | 1253060.9259
56 | 2576634.3019 | 1253073.467 | 2576633.8789 | 1253067.6314 | 2576637.2245 | 1253053.1975 | 2576638.0035 | 1253050.4383
57 | 2576638.2048 | 1253085.4261 | 2576634.3019 | 1253073.467
58 | 2576638.2048 | 1253085.4261 | 2576646.1043 | 1253093.0332 | 2576648.4346 | 1253095.0209
59 | 2576493.5198 | 1252880.5206 | 2576479.342 | 1252865.3337 | 2576474.3853 | 1252863.5856 | 2576469.6875 | 1252864.9421
60 | 2576497.9651 | 1252877.0339 | 2576493.5198 | 1252880.5206
61 | 2576497.9651 | 1252877.0339 | 2576513.6705 | 1252864.6965
62 | 2576497.9651 | 1252877.0339 | 2576504.3526 | 1252887.5487 | 2576510.7508 | 1252893.4197
63 | 2576513.6705 | 1252864.6965 | 2576517.4335 | 1252862.2799 | 2576523.2071 | 1252858.8436 | 2576527.6269 | 1252856.5022 | 2576532.3262 | 1252854.2598 | 2576535.4302 | 1252853.0912 | 2576539.2284 | 1252851.9197
64 | 2576513.6705 | 1252864.6965 | 2576499.8361 | 1252857.5325
65 | 2576539.2284 | 1252851.9197 | 2576540.4901 | 1252854.2162 | 2576542.5489 | 1252855.8647 | 2576543.9636 | 1252856.2767
66 | 2576539.2284 | 1252851.9197 | 2576538.9388 | 1252849.308 | 2576539.6758 | 1252846.7923
67 | 2576497.4945 | 1252856.3199 | 2576499.8361 | 1252857.5325
68 | 2576551.6447 | 1252853.0044 | 2576549.9929 | 1252855.0457 | 2576547.6891 | 1252856.3112 | 2576545.072 | 1252856.5996 | 2576543.9636 | 1252856.2767
69 | 2576489.7088 | 1252852.2881 | 2576497.4945 | 1252856.3199
70 | 2576467.1144 | 1252840.5877 | 2576484.4059 | 1252849.542
71 | 2576462.7477 | 1252838.3264 | 2576467.1144 | 1252840.5877
72 | 2576489.7088 | 1252852.2881 | 2576484.4059 | 1252849.542
73 | 2576462.7477 | 1252838.3264 | 2576460.005 | 1252836.906
74 | 2576462.7477 | 1252838.3264 | 2576457.4355 | 1252854.2243
75 | 2576454.0165 | 1252864.4563 | 2576457.4355 | 1252854.2243
76 | 2576548.7791 | 1252843.9209 | 2576549.8182 | 1252841.4818 | 2576551.4551 | 1252837.5728 | 2576553.3559 | 1252833.6293
77 | 2576551.6447 | 1252853.0044 | 2576552.3817 | 1252850.4887 | 2576552.0997 | 1252847.877 | 2576550.8305 | 1252845.5694 | 2576548.7791 | 1252843.9209
78 | 2576553.3559 | 1252833.6293 | 2576555.7515 | 1252828.8499 | 2576557.6905 | 1252825.5784
79 | 2576551.6447 | 1252853.0044 | 2576562.1027 | 1252858.7333 | 2576564.6856 | 1252860.1714
80 | 2576557.6905 | 1252825.5784 | 2576558.3672 | 1252824.4366 | 2576561.2776 | 1252820.0999 | 2576561.2776 | 1252820.0999
81 | 2576574.9548 | 1252866.0133 | 2576572.4929 | 1252864.5181 | 2576564.6856 | 1252860.1714
82 | 2576561.2776 | 1252820.0999 | 2576565.7803 | 1252813.9335 | 2576568.4773 | 1252810.3832
83 | 2576574.9548 | 1252866.0133 | 2576582.2694 | 1252870.4555
84 | 2576624.3657 | 1252896.0207 | 2576613.0567 | 1252889.1528
85 | 2576624.3657 | 1252896.0207 | 2576632.5168 | 1252900.9709 | 2576634.4254 | 1252902.1551
86 | 2576613.0567 | 1252889.1528 | 2576596.7923 | 1252879.2753
87 | 2576652.9156 | 1252913.4318 | 2576646.3888 | 1252909.5773 | 2576634.4254 | 1252902.1551
88 | 2576582.2694 | 1252870.4555 | 2576596.7923 | 1252879.2753
89 | 2576652.9156 | 1252913.4318 | 2576650.4567 | 1252917.4442 | 2576648.9069 | 1252920.5079 | 2576647.3509 | 1252923.8718 | 2576646.0949 | 1252926.8232 | 2576645.4642 | 1252928.4518
90 | 2576645.4642 | 1252928.4518 | 2576644.8701 | 1252929.9857 | 2576643.6463 | 1252933.4372 | 2576643.2648 | 1252934.7309
91 | 2576568.4773 | 1252810.3832 | 2576510.7807 | 1252758.6156
92 | 2576668.7503 | 1252996.6353 | 2576668.8387 | 1252998.0137 | 2576668.7232 | 1252999.3372 | 2576668.2102 | 1253001.2628 | 2576667.7485 | 1253002.7989 | 2576665.9714 | 1253007.498 | 2576661.54 | 1253016.4214
93 | 2576651.7102 | 1253026.6172 | 2576661.54 | 1253016.4214 | 2576661.54 | 1253016.4214
94 | 2576424.9587 | 1252756.6565 | 2576418.9104 | 1252753.6477

## bus_geodata
| x | y | coords
0 | 2576595.5943 | 1252991.415
1 | 2576625.0532 | 1252999.6102
2 | 2576579.0677 | 1252986.8174
3 | 2576624.2541 | 1253007.4075
4 | 2576533.2984 | 1252969.6212
5 | 2576632.8197 | 1253021.7536
6 | 2576531.9947 | 1252973.4705
7 | 2576641.8377 | 1253036.8573
8 | 2576624.4495 | 1252966.3002
9 | 2576640.0577 | 1252962.7486
10 | 2576547.085 | 1252922.0348
11 | 2576515.4047 | 1252897.6558
12 | 2576416.8784 | 1252814.6075
13 | 2576402.5404 | 1252807.2044
14 | 2576417.2337 | 1252814.7909
15 | 2576396.1349 | 1252803.897
16 | 2576436.363 | 1252824.6679
17 | 2576377.2785 | 1252794.1609
18 | 2576439.9514 | 1252826.5207
19 | 2576362.7362 | 1252786.6213
20 | 2576392.2101 | 1252758.1649
21 | 2576429.9695 | 1252860.6387
22 | 2576450.6704 | 1252832.0718
23 | 2576390.7361 | 1252888.7996
24 | 2576397.8651 | 1252889.569
25 | 2576374.0907 | 1252886.7251
26 | 2576400.5916 | 1252889.8587
27 | 2576367.6365 | 1252885.8076
28 | 2576426.6405 | 1252892.3396
29 | 2576420.4125 | 1252904.5891
30 | 2576443.8237 | 1252893.5247
31 | 2576398.3307 | 1252743.4098
32 | 2576384.0899 | 1252735.9126
33 | 2576412.0251 | 1252750.2224
34 | 2576411.0344 | 1252909.2527
35 | 2576445.6831 | 1252893.6344
36 | 2576471.4905 | 1252892.5941
37 | 2576449.8265 | 1253028.4492
38 | 2576452.3465 | 1253029.8962
39 | 2576430.596 | 1253017.4066
40 | 2576492.5803 | 1253052.8708
41 | 2576436.0653 | 1253002.0746
42 | 2576511.3175 | 1253081.2452
43 | 2576442.7338 | 1252987.7669
44 | 2576449.2419 | 1252977.7793
45 | 2576461.4234 | 1252960.6029
46 | 2576473.1003 | 1252944.3331
47 | 2576482.8206 | 1252956.0254
48 | 2576470.8663 | 1252921.3705
49 | 2576506.9973 | 1252977.0404
50 | 2576470.9279 | 1252918.5317
51 | 2576617.8075 | 1253060.9259
52 | 2576634.3019 | 1253073.467
53 | 2576638.0035 | 1253050.4383
54 | 2576638.2047 | 1253085.4261
55 | 2576493.5198 | 1252880.5206
56 | 2576469.6875 | 1252864.9421
57 | 2576497.9651 | 1252877.0339
58 | 2576510.7508 | 1252893.4197
59 | 2576513.6705 | 1252864.6965
60 | 2576539.2284 | 1252851.9197
61 | 2576499.8361 | 1252857.5325
62 | 2576543.9636 | 1252856.2767
63 | 2576539.6758 | 1252846.7923
64 | 2576497.4945 | 1252856.3199
65 | 2576467.1144 | 1252840.5877
66 | 2576484.4059 | 1252849.542
67 | 2576462.7477 | 1252838.3264
68 | 2576489.7088 | 1252852.2881
69 | 2576460.005 | 1252836.906
70 | 2576457.4355 | 1252854.2243
71 | 2576454.0165 | 1252864.4563
72 | 2576548.7791 | 1252843.9209
73 | 2576553.3559 | 1252833.6293
74 | 2576551.6447 | 1252853.0044
75 | 2576557.6905 | 1252825.5784
76 | 2576564.6856 | 1252860.1714
77 | 2576561.2776 | 1252820.0999
78 | 2576574.9548 | 1252866.0133
79 | 2576624.3657 | 1252896.0207
80 | 2576613.0567 | 1252889.1528
81 | 2576634.4254 | 1252902.1551
82 | 2576596.7923 | 1252879.2753
83 | 2576652.9156 | 1252913.4318
84 | 2576582.2694 | 1252870.4555
85 | 2576645.4642 | 1252928.4518
86 | 2576643.2648 | 1252934.7309
87 | 2576568.4773 | 1252810.3832
88 | 2576510.7807 | 1252758.6156
89 | 2576668.7503 | 1252996.6353
90 | 2576661.54 | 1253016.4214
91 | 2576648.4346 | 1253095.0209
92 | 2576651.7102 | 1253026.6172
93 | 2576418.9104 | 1252753.6477
94 | 2576424.9587 | 1252756.6565
95 | 2576367.8129 | 1252727.3435
96 | 2576497.9651 | 1252877.0339

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1