## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6774-2_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6774-2_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6774-2_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6774-2_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6774-2_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6774-2_0_3_node_54 | 0.4 | n |  | TRUE
6 | bus_LV_6774-2_0_3_node_30 | 0.4 | n |  | TRUE
7 | bus_LV_6774-2_0_3_node_40 | 0.4 | n |  | TRUE
8 | bus_LV_6774-2_0_3_node_34 | 0.4 | n |  | TRUE
9 | bus_LV_6774-2_0_3_node_29 | 0.4 | n |  | TRUE
10 | bus_LV_6774-2_0_3_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_6774-2_0_3_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_6774-2_0_3_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_6774-2_0_3_node_32 | 0.4 | n |  | TRUE
14 | bus_LV_6774-2_0_3_node_42 | 0.4 | n |  | TRUE
15 | bus_LV_6774-2_0_3_node_31 | 0.4 | n |  | TRUE
16 | bus_LV_6774-2_0_3_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_6774-2_0_3_node_37 | 0.4 | n |  | TRUE
18 | bus_LV_6774-2_0_3_node_38 | 0.4 | n |  | TRUE
19 | bus_LV_6774-2_0_3_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_6774-2_0_3_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_6774-2_0_3_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_6774-2_0_3_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_6774-2_0_3_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_6774-2_0_3_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_6774-2_0_3_node_47 | 0.4 | n |  | TRUE
26 | bus_LV_6774-2_0_3_node_41 | 0.4 | n |  | TRUE
27 | bus_LV_6774-2_0_3_node_33 | 0.4 | n |  | TRUE
28 | bus_LV_6774-2_0_3_node_48 | 0.4 | n |  | TRUE
29 | bus_LV_6774-2_0_3_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_6774-2_0_3_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_6774-2_0_3_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_6774-2_0_3_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_6774-2_0_3_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_6774-2_0_3_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_6774-2_0_3_node_68 | 0.4 | n |  | TRUE
36 | bus_LV_6774-2_0_3_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_6774-2_0_3_node_69 | 0.4 | n |  | TRUE
38 | bus_LV_6774-2_0_3_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_6774-2_0_3_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_6774-2_0_3_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_6774-2_0_3_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_6774-2_0_3_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_6774-2_0_3_node_35 | 0.4 | n |  | TRUE
44 | bus_LV_6774-2_0_3_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_6774-2_0_3_node_55 | 0.4 | n |  | TRUE
46 | bus_LV_6774-2_0_3_node_50 | 0.4 | n |  | TRUE
47 | bus_LV_6774-2_0_3_node_44 | 0.4 | n |  | TRUE
48 | bus_LV_6774-2_0_3_node_46 | 0.4 | n |  | TRUE
49 | bus_LV_6774-2_0_3_node_45 | 0.4 | n |  | TRUE
50 | bus_LV_6774-2_0_3_node_43 | 0.4 | n |  | TRUE
51 | bus_LV_6774-2_0_3_node_56 | 0.4 | n |  | TRUE
52 | bus_LV_6774-2_0_3_node_49 | 0.4 | n |  | TRUE
53 | bus_LV_6774-2_0_3_node_39 | 0.4 | n |  | TRUE
54 | bus_LV_6774-2_0_3_node_51 | 0.4 | n |  | TRUE
55 | bus_LV_6774-2_0_3_node_52 | 0.4 | n |  | TRUE
56 | bus_LV_6774-2_0_3_node_53 | 0.4 | n |  | TRUE
57 | bus_LV_6774-2_0_3_node_59 | 0.4 | n |  | TRUE
58 | bus_LV_6774-2_0_3_node_60 | 0.4 | n |  | TRUE
59 | bus_LV_6774-2_0_3_node_58 | 0.4 | n |  | TRUE
60 | bus_LV_6774-2_0_3_node_61 | 0.4 | n |  | TRUE
61 | bus_LV_6774-2_0_3_node_57 | 0.4 | n |  | TRUE
62 | bus_LV_6774-2_0_3_node_62 | 0.4 | n |  | TRUE
63 | bus_LV_6774-2_0_3_node_63 | 0.4 | n |  | TRUE
64 | bus_LV_6774-2_0_3_node_64 | 0.4 | n |  | TRUE
65 | bus_LV_6774-2_0_3_node_65 | 0.4 | n |  | TRUE
66 | bus_LV_6774-2_0_3_node_66 | 0.4 | n |  | TRUE
67 | bus_LV_6774-2_0_3_node_67 | 0.4 | n |  | TRUE
68 | bus_LV_6774-2_0_3_node_72 | 0.4 | n |  | TRUE
69 | bus_LV_6774-2_0_3_node_70 | 0.4 | n |  | TRUE
70 | bus_LV_6774-2_0_3_node_71 | 0.4 | n |  | TRUE
71 | bus_LV_6774-2_0_3_node_76 | 0.4 | n |  | TRUE
72 | bus_LV_6774-2_0_3_node_75 | 0.4 | n |  | TRUE
73 | bus_LV_6774-2_0_3_node_77 | 0.4 | n |  | TRUE
74 | bus_LV_6774-2_0_3_node_73 | 0.4 | n |  | TRUE
75 | bus_LV_6774-2_0_3_node_74 | 0.4 | n |  | TRUE
76 | bus_LV_6774-2_0_3_node_78 | 0.4 | n |  | TRUE
77 | bus_LV_6774-2_0_3_node_79 | 0.4 | n |  | TRUE
78 | bus_MV_343_0_node_3 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6774-2_0_3_load_0 | 0 | 0.0019361 | 0.00048522 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6774-2_0_3_load_1 | 1 | 0.001593 | 0.00039924 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6774-2_0_3_load_2 | 2 | 0.002103 | 0.00052706 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6774-2_0_3_load_3 | 3 | 0.0029319 | 0.00073481 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6774-2_0_3_load_4 | 4 | 0.0020641 | 0.00051732 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6774-2_0_3_load_54 | 5 | 0.0024226 | 0.00060717 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6774-2_0_3_load_40 | 7 | 0.0013223 | 0.0003314 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6774-2_0_3_load_34 | 8 | 0.0026121 | 0.00065464 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6774-2_0_3_load_29 | 9 | 0.0011293 | 0.00028304 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6774-2_0_3_load_5 | 10 | 0.0093241 | 0.0023368 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6774-2_0_3_load_7 | 12 | 0.0038263 | 0.00095896 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6774-2_0_3_load_42 | 14 | 0.0028421 | 0.00071229 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6774-2_0_3_load_31 | 15 | 0.0027903 | 0.0006993 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6774-2_0_3_load_37 | 17 | 0.0025003 | 0.00062663 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6774-2_0_3_load_38 | 18 | 0.0025965 | 0.00065074 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6774-2_0_3_load_11 | 19 | 0.0021939 | 0.00054983 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6774-2_0_3_load_12 | 20 | 0.00029615 | 7.4222e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6774-2_0_3_load_15 | 22 | 0.0017429 | 0.0004368 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6774-2_0_3_load_16 | 23 | 0.00046163 | 0.0001157 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6774-2_0_3_load_14 | 24 | 0.0016795 | 0.00042092 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6774-2_0_3_load_41 | 26 | 0.00030934 | 7.7528e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6774-2_0_3_load_48 | 28 | 0.0017547 | 0.00043978 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6774-2_0_3_load_23 | 29 | 0.00025117 | 6.2949e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6774-2_0_3_load_17 | 30 | 0.0046987 | 0.0011776 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6774-2_0_3_load_18 | 31 | 0.00068416 | 0.00017147 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6774-2_0_3_load_19 | 32 | 0.00073527 | 0.00018428 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6774-2_0_3_load_20 | 33 | 0.0056357 | 0.0014124 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6774-2_0_3_load_21 | 34 | 0.010651 | 0.0026695 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6774-2_0_3_load_68 | 35 | 0.00093414 | 0.00023412 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6774-2_0_3_load_22 | 36 | 0.0002448 | 6.1352e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6774-2_0_3_load_69 | 37 | 0.007589 | 0.001902 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6774-2_0_3_load_24 | 38 | 0.0029555 | 0.00074072 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6774-2_0_3_load_25 | 39 | 0.001484 | 0.00037193 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6774-2_0_3_load_26 | 40 | 0.0015027 | 0.00037661 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6774-2_0_3_load_27 | 41 | 0.0016273 | 0.00040784 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6774-2_0_3_load_35 | 43 | 0.0017039 | 0.00042704 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6774-2_0_3_load_55 | 45 | 0.0027177 | 0.00068112 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6774-2_0_3_load_50 | 46 | 0.0054403 | 0.0013635 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6774-2_0_3_load_44 | 47 | 0.0022641 | 0.00056744 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6774-2_0_3_load_46 | 48 | 0.005728 | 0.0014356 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6774-2_0_3_load_45 | 49 | 0.001945 | 0.00048747 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6774-2_0_3_load_43 | 50 | 0.0021888 | 0.00054856 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6774-2_0_3_load_56 | 51 | 0.0027814 | 0.00069709 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6774-2_0_3_load_49 | 52 | 0.0021067 | 0.00052799 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6774-2_0_3_load_39 | 53 | 0.0017998 | 0.00045106 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6774-2_0_3_load_53 | 56 | 0.0013459 | 0.00033732 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6774-2_0_3_load_59 | 57 | 0.0017303 | 0.00043366 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6774-2_0_3_load_60 | 58 | 0.0016447 | 0.00041221 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6774-2_0_3_load_58 | 59 | 0.0011339 | 0.00028418 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6774-2_0_3_load_61 | 60 | 0.0036189 | 0.00090698 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6774-2_0_3_load_57 | 61 | 0.0017656 | 0.0004425 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6774-2_0_3_load_62 | 62 | 0.0049888 | 0.0012503 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6774-2_0_3_load_63 | 63 | 0.0024683 | 0.00061861 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6774-2_0_3_load_65 | 65 | 0.0034271 | 0.0008589 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6774-2_0_3_load_66 | 66 | 0.0026419 | 0.00066212 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6774-2_0_3_load_67 | 67 | 0.0043684 | 0.0010948 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6774-2_0_3_load_72 | 68 | 0.0029939 | 0.00075034 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6774-2_0_3_load_70 | 69 | 0.0029664 | 0.00074346 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6774-2_0_3_load_71 | 70 | 0.0034531 | 0.00086543 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6774-2_0_3_load_76 | 71 | 0.004098 | 0.0010271 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6774-2_0_3_load_75 | 72 | 0.0035922 | 0.0009003 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6774-2_0_3_load_77 | 73 | 0.0045587 | 0.0011425 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6774-2_0_3_load_73 | 74 | 0.0039306 | 0.0009851 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6774-2_0_3_load_74 | 75 | 0.0012766 | 0.00031995 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6774-2_0_3_load_78 | 76 | 0.00058092 | 0.00014559 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6774-2_0_3_load_79 | 77 | 0.0010578 | 0.00026512 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 26 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6774-2_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.011065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_6774-2_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.01219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_6774-2_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.020729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_6774-2_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.011656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_6774-2_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.0076804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_6774-2_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.012326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_6774-2_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.034967 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_6774-2_0_3_line_7 | NAYY 4x150 SE | 6 | 8 | 0.0049912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_6774-2_0_3_line_8 | NAYY 4x150 SE | 6 | 9 | 0.023907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_6774-2_0_3_line_9 | NAYY 4x150 SE | 7 | 16 | 0.032835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_6774-2_0_3_line_10 | NAYY 4x150 SE | 8 | 47 | 0.027655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_6774-2_0_3_line_11 | NAYY 4x150 SE | 9 | 41 | 0.015736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_6774-2_0_3_line_12 | NAYY 4x150 SE | 10 | 11 | 0.032922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_6774-2_0_3_line_13 | NAYY 4x150 SE | 11 | 12 | 0.048905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_6774-2_0_3_line_14 | NAYY 4x150 SE | 12 | 13 | 0.011497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_6774-2_0_3_line_15 | NAYY 4x150 SE | 13 | 14 | 0.017416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_6774-2_0_3_line_16 | NAYY 4x150 SE | 13 | 15 | 0.044514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_6774-2_0_3_line_17 | NAYY 4x150 SE | 15 | 27 | 0.015726 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_6774-2_0_3_line_18 | NAYY 4x150 SE | 15 | 24 | 0.018827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_6774-2_0_3_line_19 | NAYY 4x150 SE | 16 | 17 | 0.022356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_6774-2_0_3_line_20 | NAYY 4x150 SE | 17 | 18 | 0.021969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_6774-2_0_3_line_21 | NAYY 4x150 SE | 18 | 53 | 0.031237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_6774-2_0_3_line_22 | NAYY 4x150 SE | 19 | 20 | 0.0038804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_6774-2_0_3_line_23 | NAYY 4x150 SE | 19 | 21 | 0.017972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_6774-2_0_3_line_24 | NAYY 4x150 SE | 21 | 22 | 0.021495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
25 | LV_6774-2_0_3_line_25 | NAYY 4x150 SE | 21 | 23 | 0.0024663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_6774-2_0_3_line_26 | NAYY 4x150 SE | 22 | 25 | 0.0049598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_6774-2_0_3_line_27 | NAYY 4x150 SE | 23 | 26 | 0.039784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
28 | LV_6774-2_0_3_line_28 | NAYY 4x150 SE | 25 | 28 | 0.017752 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_6774-2_0_3_line_29 | NAYY 4x150 SE | 26 | 29 | 0.020608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_6774-2_0_3_line_30 | NAYY 4x150 SE | 27 | 48 | 0.012508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_6774-2_0_3_line_31 | NAYY 4x150 SE | 28 | 43 | 0.023022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_6774-2_0_3_line_32 | NAYY 4x150 SE | 29 | 36 | 0.018308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_6774-2_0_3_line_33 | NAYY 4x150 SE | 30 | 31 | 0.018599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_6774-2_0_3_line_34 | NAYY 4x150 SE | 30 | 32 | 8.4008e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_6774-2_0_3_line_35 | NAYY 4x150 SE | 31 | 33 | 0.017573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_6774-2_0_3_line_36 | NAYY 4x150 SE | 32 | 34 | 0.02021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_6774-2_0_3_line_37 | NAYY 4x150 SE | 33 | 35 | 0.01911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_6774-2_0_3_line_38 | NAYY 4x150 SE | 34 | 36 | 0.0027677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_6774-2_0_3_line_39 | NAYY 4x150 SE | 35 | 37 | 0.0074457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_6774-2_0_3_line_40 | NAYY 4x150 SE | 37 | 69 | 0.016982 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_6774-2_0_3_line_41 | NAYY 4x150 SE | 38 | 39 | 0.00024958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_6774-2_0_3_line_42 | NAYY 4x150 SE | 38 | 40 | 0.017505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_6774-2_0_3_line_43 | NAYY 4x150 SE | 39 | 41 | 0.02276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_6774-2_0_3_line_44 | NAYY 4x150 SE | 40 | 42 | 0.014376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_6774-2_0_3_line_45 | NAYY 4x150 SE | 42 | 43 | 0.029069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_6774-2_0_3_line_46 | NAYY 4x150 SE | 42 | 44 | 0.041655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_6774-2_0_3_line_47 | NAYY 4x150 SE | 44 | 45 | 0.053657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_6774-2_0_3_line_48 | NAYY 4x150 SE | 44 | 46 | 0.028781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_6774-2_0_3_line_49 | NAYY 4x150 SE | 45 | 51 | 0.020161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_6774-2_0_3_line_50 | NAYY 4x150 SE | 46 | 52 | 0.0014867 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_6774-2_0_3_line_51 | NAYY 4x150 SE | 47 | 50 | 0.018389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_6774-2_0_3_line_52 | NAYY 4x150 SE | 48 | 49 | 0.019188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_6774-2_0_3_line_53 | NAYY 4x150 SE | 49 | 50 | 0.0025018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_6774-2_0_3_line_54 | NAYY 4x150 SE | 52 | 54 | 0.035349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_6774-2_0_3_line_55 | NAYY 4x150 SE | 54 | 55 | 0.042885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_6774-2_0_3_line_56 | NAYY 4x150 SE | 54 | 56 | 0.030594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_6774-2_0_3_line_57 | NAYY 4x150 SE | 55 | 57 | 0.044462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_6774-2_0_3_line_58 | NAYY 4x150 SE | 56 | 58 | 0.033163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_6774-2_0_3_line_59 | NAYY 4x150 SE | 57 | 59 | 0.02968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_6774-2_0_3_line_60 | NAYY 4x150 SE | 58 | 60 | 0.0084041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_6774-2_0_3_line_61 | NAYY 4x150 SE | 59 | 61 | 0.046006 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_6774-2_0_3_line_62 | NAYY 4x150 SE | 62 | 63 | 0.0206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_6774-2_0_3_line_63 | NAYY 4x150 SE | 62 | 64 | 0.01409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_6774-2_0_3_line_64 | NAYY 4x150 SE | 63 | 65 | 0.00098094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_6774-2_0_3_line_65 | NAYY 4x150 SE | 64 | 66 | 0.006198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_6774-2_0_3_line_66 | NAYY 4x150 SE | 64 | 67 | 0.011942 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_6774-2_0_3_line_67 | NAYY 4x150 SE | 65 | 68 | 0.013757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_6774-2_0_3_line_68 | NAYY 4x150 SE | 66 | 69 | 0.022713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_6774-2_0_3_line_69 | NAYY 4x150 SE | 68 | 70 | 0.011883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_6774-2_0_3_line_70 | NAYY 4x150 SE | 70 | 74 | 0.010571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_6774-2_0_3_line_71 | NAYY 4x150 SE | 71 | 72 | 0.031447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_6774-2_0_3_line_72 | NAYY 4x150 SE | 72 | 73 | 0.069386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_6774-2_0_3_line_73 | NAYY 4x150 SE | 73 | 77 | 0.0862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_6774-2_0_3_line_74 | NAYY 4x150 SE | 74 | 75 | 0.018042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_6774-2_0_3_line_75 | NAYY 4x150 SE | 75 | 76 | 0.040043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_6774-2_0_3_line_76 | NAYY 4x150 SE | 75 | 77 | 0.077172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6774-2_0_3_trafo_41 | 0.25 MVA 20/0.4 kV | 78 | 26 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2568365.0909 | 1259774.4282 | 2568374.3829 | 1259768.4207
1 | 2568365.0909 | 1259774.4282 | 2568354.8543 | 1259781.0463
2 | 2568374.3829 | 1259768.4207 | 2568391.7905 | 1259757.1665
3 | 2568354.8543 | 1259781.0463 | 2568345.0658 | 1259787.3748
4 | 2568391.7905 | 1259757.1665 | 2568398.2404 | 1259752.9965
5 | 2568334.7144 | 1259794.0671 | 2568345.0658 | 1259787.3748
6 | 2568398.2404 | 1259752.9965 | 2568399.365 | 1259752.2694 | 2568405.4515 | 1259751.692 | 2568427.6377 | 1259767.9652
7 | 2568334.7144 | 1259794.0671 | 2568331.6761 | 1259798.027
8 | 2568334.7144 | 1259794.0671 | 2568321.3286 | 1259774.2587
9 | 2568456.7816 | 1259782.3717 | 2568438.1379 | 1259775.6669 | 2568427.6377 | 1259767.9652
10 | 2568322.4646 | 1259823.6764 | 2568327.7242 | 1259803.1776 | 2568331.6761 | 1259798.027
11 | 2568321.3286 | 1259774.2587 | 2568315.7438 | 1259772.821 | 2568307.1188 | 1259777.82
12 | 2568424.541 | 1259910.5659 | 2568443.7701 | 1259883.8436
13 | 2568424.541 | 1259910.5659 | 2568378.7336 | 1259893.4368
14 | 2568367.9648 | 1259889.41 | 2568378.7336 | 1259893.4368
15 | 2568367.9648 | 1259889.41 | 2568377.7734 | 1259875.0191
16 | 2568324.6847 | 1259878.4791 | 2568367.9648 | 1259889.41
17 | 2568324.6847 | 1259878.4791 | 2568309.395 | 1259874.6141
18 | 2568324.6847 | 1259878.4791 | 2568321.6731 | 1259897.0632
19 | 2568456.7816 | 1259782.3717 | 2568447.483 | 1259795.3304 | 2568443.1099 | 1259800.0123
20 | 2568443.1099 | 1259800.0123 | 2568428.1142 | 1259816.0669
21 | 2568406.792 | 1259838.8947 | 2568428.1142 | 1259816.0669
22 | 2568288.6652 | 1259901.0358 | 2568284.7853 | 1259901.0956
23 | 2568266.815 | 1259901.3726 | 2568284.7853 | 1259901.0956
24 | 2568266.815 | 1259901.3726 | 2568265.0157 | 1259879.9531
25 | 2568266.815 | 1259901.3726 | 2568267.0212 | 1259903.8303
26 | 2568264.6005 | 1259875.0108 | 2568265.0157 | 1259879.9531
27 | 2568267.0212 | 1259903.8303 | 2568268.0229 | 1259915.7649 | 2568270.3483 | 1259943.4747
28 | 2568264.6005 | 1259875.0108 | 2568263.3367 | 1259857.3039
29 | 2568272.0717 | 1259964.0106 | 2568270.3483 | 1259943.4747
30 | 2568309.395 | 1259874.6141 | 2568312.5036 | 1259862.4986
31 | 2568263.3367 | 1259857.3039 | 2568261.6977 | 1259834.3404
32 | 2568272.0717 | 1259964.0106 | 2568273.6027 | 1259982.2549
33 | 2568275.5312 | 1260005.2353 | 2568277.0866 | 1260023.7695
34 | 2568275.5312 | 1260005.2353 | 2568275.5242 | 1260005.1515
35 | 2568277.0866 | 1260023.7695 | 2568278.5562 | 1260041.2814
36 | 2568275.5242 | 1260005.1515 | 2568273.8342 | 1259985.0128
37 | 2568279.8859 | 1260060.3439 | 2568279.0069 | 1260046.6516 | 2568278.5562 | 1260041.2814
38 | 2568273.6027 | 1259982.2549 | 2568273.8342 | 1259985.0128
39 | 2568279.8859 | 1260060.3439 | 2568280.3628 | 1260067.7742
40 | 2568281.4507 | 1260084.7214 | 2568280.3628 | 1260067.7742
41 | 2568287.4273 | 1259789.233 | 2568287.2113 | 1259789.3582
42 | 2568287.2113 | 1259789.3582 | 2568272.0661 | 1259798.1362
43 | 2568307.1188 | 1259777.82 | 2568287.4273 | 1259789.233
44 | 2568259.6282 | 1259805.3451 | 2568272.0661 | 1259798.1362
45 | 2568259.6282 | 1259805.3451 | 2568261.6977 | 1259834.3404
46 | 2568242.4167 | 1259774.939 | 2568245.7392 | 1259777.5118 | 2568255.8728 | 1259783.9394 | 2568261.4915 | 1259786.0774 | 2568259.5807 | 1259796.5171 | 2568259.6282 | 1259805.3451
47 | 2568242.4167 | 1259774.939 | 2568238.0853 | 1259779.5322 | 2568231.6124 | 1259788.0951 | 2568227.1894 | 1259798.0703 | 2568219.7396 | 1259814.1548 | 2568217.6628 | 1259821.8508
48 | 2568242.4167 | 1259774.939 | 2568234.9016 | 1259769.131 | 2568227.3222 | 1259761.1886 | 2568222.5657 | 1259754.3811
49 | 2568217.6628 | 1259821.8508 | 2568212.4103 | 1259841.3156
50 | 2568221.7141 | 1259753.1624 | 2568222.5657 | 1259754.3811
51 | 2568317.8943 | 1259841.4889 | 2568322.4646 | 1259823.6764
52 | 2568317.2725 | 1259843.9122 | 2568312.5036 | 1259862.4986
53 | 2568317.8943 | 1259841.4889 | 2568317.2725 | 1259843.9122
54 | 2568205.1792 | 1259721.9698 | 2568218.7852 | 1259748.9706 | 2568221.7141 | 1259753.1624
55 | 2568205.1792 | 1259721.9698 | 2568190.6193 | 1259681.6205
56 | 2568205.1792 | 1259721.9698 | 2568197.7845 | 1259728.7254 | 2568187.5067 | 1259746.5525
57 | 2568190.6193 | 1259681.6205 | 2568171.2362 | 1259688.8522 | 2568164.3276 | 1259690.713 | 2568155.2139 | 1259701.5252 | 2568153.8954 | 1259703.6232
58 | 2568187.5067 | 1259746.5525 | 2568170.943 | 1259775.2825
59 | 2568153.8954 | 1259703.6232 | 2568138.1029 | 1259728.7527
60 | 2568166.7455 | 1259782.5632 | 2568170.943 | 1259775.2825
61 | 2568118.5757 | 1259770.0253 | 2568119.2987 | 1259765.0852 | 2568128.9634 | 1259743.2958 | 2568138.1029 | 1259728.7527
62 | 2568281.2317 | 1260127.6588 | 2568281.1739 | 1260128.6521 | 2568279.2888 | 1260148.0534 | 2568279.2718 | 1260148.1643
63 | 2568282.05 | 1260113.5925 | 2568281.2317 | 1260127.6588
64 | 2568279.123 | 1260149.1339 | 2568279.2718 | 1260148.1643
65 | 2568282.05 | 1260113.5925 | 2568282.2561 | 1260107.3979
66 | 2568282.05 | 1260113.5925 | 2568270.1213 | 1260114.1553
67 | 2568279.123 | 1260149.1339 | 2568277.0368 | 1260162.7317
68 | 2568281.4507 | 1260084.7214 | 2568282.4781 | 1260100.7258 | 2568282.2561 | 1260107.3979
69 | 2568275.2347 | 1260174.4775 | 2568277.0368 | 1260162.7317
70 | 2568275.2347 | 1260174.4775 | 2568273.6316 | 1260184.9258
71 | 2568376.1176 | 1260092.0723 | 2568375.2998 | 1260073.82 | 2568375.9454 | 1260060.6597
72 | 2568376.1176 | 1260092.0723 | 2568377.1919 | 1260116.0501 | 2568377.0138 | 1260144.6596 | 2568373.086 | 1260160.9676
73 | 2568338.5231 | 1260239.9346 | 2568373.086 | 1260160.9676
74 | 2568270.8956 | 1260202.7589 | 2568273.6316 | 1260184.9258
75 | 2568270.8956 | 1260202.7589 | 2568230.9431 | 1260205.4436
76 | 2568270.8956 | 1260202.7589 | 2568338.5231 | 1260239.9346

## bus_geodata
| x | y | coords
0 | 2568365.0909 | 1259774.4282
1 | 2568374.3829 | 1259768.4207
2 | 2568354.8543 | 1259781.0463
3 | 2568391.7905 | 1259757.1665
4 | 2568345.0658 | 1259787.3748
5 | 2568398.2404 | 1259752.9965
6 | 2568334.7144 | 1259794.0671
7 | 2568427.6377 | 1259767.9652
8 | 2568331.6761 | 1259798.027
9 | 2568321.3286 | 1259774.2587
10 | 2568443.7701 | 1259883.8436
11 | 2568424.541 | 1259910.5659
12 | 2568378.7336 | 1259893.4368
13 | 2568367.9648 | 1259889.41
14 | 2568377.7734 | 1259875.0191
15 | 2568324.6847 | 1259878.4791
16 | 2568456.7816 | 1259782.3717
17 | 2568443.1099 | 1259800.0123
18 | 2568428.1142 | 1259816.067
19 | 2568284.7853 | 1259901.0956
20 | 2568288.6652 | 1259901.0358
21 | 2568266.815 | 1259901.3726
22 | 2568265.0157 | 1259879.9531
23 | 2568267.0212 | 1259903.8303
24 | 2568321.6731 | 1259897.0632
25 | 2568264.6005 | 1259875.0108
26 | 2568270.3483 | 1259943.4747
27 | 2568309.395 | 1259874.6141
28 | 2568263.3367 | 1259857.3039
29 | 2568272.0717 | 1259964.0106
30 | 2568275.5312 | 1260005.2353
31 | 2568277.0866 | 1260023.7695
32 | 2568275.5242 | 1260005.1515
33 | 2568278.5562 | 1260041.2814
34 | 2568273.8342 | 1259985.0128
35 | 2568279.8859 | 1260060.3439
36 | 2568273.6027 | 1259982.2549
37 | 2568280.3628 | 1260067.7742
38 | 2568287.2113 | 1259789.3582
39 | 2568287.4273 | 1259789.233
40 | 2568272.0661 | 1259798.1362
41 | 2568307.1188 | 1259777.82
42 | 2568259.6282 | 1259805.3451
43 | 2568261.6977 | 1259834.3404
44 | 2568242.4167 | 1259774.939
45 | 2568217.6628 | 1259821.8508
46 | 2568222.5657 | 1259754.3811
47 | 2568322.4646 | 1259823.6764
48 | 2568312.5036 | 1259862.4986
49 | 2568317.2725 | 1259843.9122
50 | 2568317.8943 | 1259841.4889
51 | 2568212.4103 | 1259841.3156
52 | 2568221.7141 | 1259753.1624
53 | 2568406.792 | 1259838.8947
54 | 2568205.1792 | 1259721.9698
55 | 2568190.6193 | 1259681.6205
56 | 2568187.5067 | 1259746.5525
57 | 2568153.8954 | 1259703.6232
58 | 2568170.943 | 1259775.2825
59 | 2568138.1029 | 1259728.7527
60 | 2568166.7455 | 1259782.5632
61 | 2568118.5757 | 1259770.0253
62 | 2568281.2317 | 1260127.6588
63 | 2568279.2718 | 1260148.1643
64 | 2568282.05 | 1260113.5925
65 | 2568279.123 | 1260149.1339
66 | 2568282.2561 | 1260107.3979
67 | 2568270.1213 | 1260114.1553
68 | 2568277.0368 | 1260162.7317
69 | 2568281.4507 | 1260084.7214
70 | 2568275.2347 | 1260174.4775
71 | 2568375.9454 | 1260060.6597
72 | 2568376.1176 | 1260092.0723
73 | 2568373.086 | 1260160.9676
74 | 2568273.6316 | 1260184.9258
75 | 2568270.8956 | 1260202.7589
76 | 2568230.9431 | 1260205.4436
77 | 2568338.5231 | 1260239.9346
78 | 2568266.815 | 1259901.3726

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1