## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6774-4_1_2_node_29 | 0.4 | n |  | TRUE
1 | bus_LV_6774-4_1_2_node_18 | 0.4 | n |  | TRUE
2 | bus_LV_6774-4_1_2_node_26 | 0.4 | n |  | TRUE
3 | bus_LV_6774-4_1_2_node_14 | 0.4 | n |  | TRUE
4 | bus_LV_6774-4_1_2_node_15 | 0.4 | n |  | TRUE
5 | bus_LV_6774-4_1_2_node_16 | 0.4 | n |  | TRUE
6 | bus_LV_6774-4_1_2_node_17 | 0.4 | n |  | TRUE
7 | bus_LV_6774-4_1_2_node_32 | 0.4 | n |  | TRUE
8 | bus_LV_6774-4_1_2_node_19 | 0.4 | n |  | TRUE
9 | bus_LV_6774-4_1_2_node_28 | 0.4 | n |  | TRUE
10 | bus_LV_6774-4_1_2_node_80 | 0.4 | n |  | TRUE
11 | bus_LV_6774-4_1_2_node_59 | 0.4 | n |  | TRUE
12 | bus_LV_6774-4_1_2_node_25 | 0.4 | n |  | TRUE
13 | bus_LV_6774-4_1_2_node_23 | 0.4 | n |  | TRUE
14 | bus_LV_6774-4_1_2_node_24 | 0.4 | n |  | TRUE
15 | bus_LV_6774-4_1_2_node_27 | 0.4 | n |  | TRUE
16 | bus_LV_6774-4_1_2_node_30 | 0.4 | n |  | TRUE
17 | bus_LV_6774-4_1_2_node_31 | 0.4 | n |  | TRUE
18 | bus_LV_6774-4_1_2_node_60 | 0.4 | n |  | TRUE
19 | bus_LV_6774-4_1_2_node_141 | 0.4 | n |  | TRUE
20 | bus_LV_6774-4_1_2_node_96 | 0.4 | n |  | TRUE
21 | bus_LV_6774-4_1_2_node_36 | 0.4 | n |  | TRUE
22 | bus_LV_6774-4_1_2_node_37 | 0.4 | n |  | TRUE
23 | bus_LV_6774-4_1_2_node_38 | 0.4 | n |  | TRUE
24 | bus_LV_6774-4_1_2_node_39 | 0.4 | n |  | TRUE
25 | bus_LV_6774-4_1_2_node_40 | 0.4 | n |  | TRUE
26 | bus_LV_6774-4_1_2_node_67 | 0.4 | n |  | TRUE
27 | bus_LV_6774-4_1_2_node_47 | 0.4 | n |  | TRUE
28 | bus_LV_6774-4_1_2_node_53 | 0.4 | n |  | TRUE
29 | bus_LV_6774-4_1_2_node_66 | 0.4 | n |  | TRUE
30 | bus_LV_6774-4_1_2_node_41 | 0.4 | n |  | TRUE
31 | bus_LV_6774-4_1_2_node_42 | 0.4 | n |  | TRUE
32 | bus_LV_6774-4_1_2_node_43 | 0.4 | n |  | TRUE
33 | bus_LV_6774-4_1_2_node_44 | 0.4 | n |  | TRUE
34 | bus_LV_6774-4_1_2_node_45 | 0.4 | n |  | TRUE
35 | bus_LV_6774-4_1_2_node_65 | 0.4 | n |  | TRUE
36 | bus_LV_6774-4_1_2_node_61 | 0.4 | n |  | TRUE
37 | bus_LV_6774-4_1_2_node_62 | 0.4 | n |  | TRUE
38 | bus_LV_6774-4_1_2_node_57 | 0.4 | n |  | TRUE
39 | bus_LV_6774-4_1_2_node_46 | 0.4 | n |  | TRUE
40 | bus_LV_6774-4_1_2_node_50 | 0.4 | n |  | TRUE
41 | bus_LV_6774-4_1_2_node_48 | 0.4 | n |  | TRUE
42 | bus_LV_6774-4_1_2_node_49 | 0.4 | n |  | TRUE
43 | bus_LV_6774-4_1_2_node_51 | 0.4 | n |  | TRUE
44 | bus_LV_6774-4_1_2_node_52 | 0.4 | n |  | TRUE
45 | bus_LV_6774-4_1_2_node_76 | 0.4 | n |  | TRUE
46 | bus_LV_6774-4_1_2_node_63 | 0.4 | n |  | TRUE
47 | bus_LV_6774-4_1_2_node_72 | 0.4 | n |  | TRUE
48 | bus_LV_6774-4_1_2_node_64 | 0.4 | n |  | TRUE
49 | bus_LV_6774-4_1_2_node_54 | 0.4 | n |  | TRUE
50 | bus_LV_6774-4_1_2_node_55 | 0.4 | n |  | TRUE
51 | bus_LV_6774-4_1_2_node_56 | 0.4 | n |  | TRUE
52 | bus_LV_6774-4_1_2_node_58 | 0.4 | n |  | TRUE
53 | bus_LV_6774-4_1_2_node_77 | 0.4 | n |  | TRUE
54 | bus_LV_6774-4_1_2_node_75 | 0.4 | n |  | TRUE
55 | bus_LV_6774-4_1_2_node_124 | 0.4 | n |  | TRUE
56 | bus_LV_6774-4_1_2_node_68 | 0.4 | n |  | TRUE
57 | bus_LV_6774-4_1_2_node_69 | 0.4 | n |  | TRUE
58 | bus_LV_6774-4_1_2_node_70 | 0.4 | n |  | TRUE
59 | bus_LV_6774-4_1_2_node_71 | 0.4 | n |  | TRUE
60 | bus_LV_6774-4_1_2_node_73 | 0.4 | n |  | TRUE
61 | bus_LV_6774-4_1_2_node_74 | 0.4 | n |  | TRUE
62 | bus_LV_6774-4_1_2_node_78 | 0.4 | n |  | TRUE
63 | bus_LV_6774-4_1_2_node_79 | 0.4 | n |  | TRUE
64 | bus_LV_6774-4_1_2_node_123 | 0.4 | n |  | TRUE
65 | bus_LV_6774-4_1_2_node_81 | 0.4 | n |  | TRUE
66 | bus_LV_6774-4_1_2_node_95 | 0.4 | n |  | TRUE
67 | bus_LV_6774-4_1_2_node_97 | 0.4 | n |  | TRUE
68 | bus_LV_6774-4_1_2_node_98 | 0.4 | n |  | TRUE
69 | bus_LV_6774-4_1_2_node_106 | 0.4 | n |  | TRUE
70 | bus_LV_6774-4_1_2_node_108 | 0.4 | n |  | TRUE
71 | bus_LV_6774-4_1_2_node_117 | 0.4 | n |  | TRUE
72 | bus_LV_6774-4_1_2_node_99 | 0.4 | n |  | TRUE
73 | bus_LV_6774-4_1_2_node_100 | 0.4 | n |  | TRUE
74 | bus_LV_6774-4_1_2_node_101 | 0.4 | n |  | TRUE
75 | bus_LV_6774-4_1_2_node_103 | 0.4 | n |  | TRUE
76 | bus_LV_6774-4_1_2_node_107 | 0.4 | n |  | TRUE
77 | bus_LV_6774-4_1_2_node_118 | 0.4 | n |  | TRUE
78 | bus_LV_6774-4_1_2_node_119 | 0.4 | n |  | TRUE
79 | bus_LV_6774-4_1_2_node_122 | 0.4 | n |  | TRUE
80 | bus_MV_343_0_node_14 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6774-4_1_2_load_18 | 1 | 0.0048763 | 0.0012221 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6774-4_1_2_load_26 | 2 | 0.00022546 | 5.6506e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6774-4_1_2_load_14 | 3 | 0.00065336 | 0.00016375 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6774-4_1_2_load_15 | 4 | 0.0083228 | 0.0020859 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6774-4_1_2_load_17 | 6 | 0.0035815 | 0.00089762 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6774-4_1_2_load_32 | 7 | 0.00030441 | 7.6292e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6774-4_1_2_load_19 | 8 | 0.00038426 | 9.6304e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6774-4_1_2_load_80 | 10 | 0.0033337 | 0.0008355 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6774-4_1_2_load_59 | 11 | 0.00042409 | 0.00010629 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6774-4_1_2_load_23 | 13 | 0.00023305 | 5.8409e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6774-4_1_2_load_24 | 14 | 0.0002506 | 6.2807e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6774-4_1_2_load_27 | 15 | 0.00024854 | 6.229e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6774-4_1_2_load_30 | 16 | 0.00102 | 0.00025564 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6774-4_1_2_load_31 | 17 | 0.0016145 | 0.00040463 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6774-4_1_2_load_60 | 18 | 0.00037483 | 9.3942e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6774-4_1_2_load_141 | 19 | 0.00012212 | 3.0607e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6774-4_1_2_load_96 | 20 | 0.00029923 | 7.4995e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6774-4_1_2_load_36 | 21 | 0.00034408 | 8.6234e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6774-4_1_2_load_37 | 22 | 0.0011058 | 0.00027715 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6774-4_1_2_load_38 | 23 | 0.0014997 | 0.00037585 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6774-4_1_2_load_39 | 24 | 0.0014656 | 0.00036732 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6774-4_1_2_load_40 | 25 | 0.0015377 | 0.00038539 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6774-4_1_2_load_47 | 27 | 0.0015996 | 0.0004009 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6774-4_1_2_load_53 | 28 | 0.00079395 | 0.00019898 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6774-4_1_2_load_66 | 29 | 0.0032744 | 0.00082065 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6774-4_1_2_load_41 | 30 | 0.0018637 | 0.0004671 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6774-4_1_2_load_42 | 31 | 0.0005241 | 0.00013135 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6774-4_1_2_load_43 | 32 | 0.00012874 | 3.2264e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6774-4_1_2_load_44 | 33 | 0.00033269 | 8.338e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6774-4_1_2_load_45 | 34 | 0.00065098 | 0.00016315 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6774-4_1_2_load_65 | 35 | 0.00024335 | 6.0988e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6774-4_1_2_load_62 | 37 | 0.000249 | 6.2405e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6774-4_1_2_load_57 | 38 | 0.00020244 | 5.0737e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6774-4_1_2_load_46 | 39 | 0.0018559 | 0.00046513 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6774-4_1_2_load_48 | 41 | 0.0066207 | 0.0016593 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6774-4_1_2_load_49 | 42 | 0.0007367 | 0.00018463 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6774-4_1_2_load_51 | 43 | 0.00026096 | 6.5403e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6774-4_1_2_load_52 | 44 | 0.0020815 | 0.00052166 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6774-4_1_2_load_76 | 45 | 0.00048807 | 0.00012232 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6774-4_1_2_load_63 | 46 | 0.0040123 | 0.0010056 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6774-4_1_2_load_64 | 48 | 0.00026 | 6.5161e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6774-4_1_2_load_54 | 49 | 0.00090622 | 0.00022712 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6774-4_1_2_load_55 | 50 | 0.00049533 | 0.00012414 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6774-4_1_2_load_56 | 51 | 0.00080988 | 0.00020297 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6774-4_1_2_load_58 | 52 | 0.00020422 | 5.1182e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6774-4_1_2_load_77 | 53 | 0.00012267 | 3.0743e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6774-4_1_2_load_75 | 54 | 0.0019705 | 0.00049386 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6774-4_1_2_load_124 | 55 | 0.00216 | 0.00054135 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6774-4_1_2_load_68 | 56 | 0.00029 | 7.2682e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6774-4_1_2_load_69 | 57 | 0.0003261 | 8.1729e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6774-4_1_2_load_70 | 58 | 0.00025363 | 6.3566e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6774-4_1_2_load_71 | 59 | 0.00049016 | 0.00012285 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6774-4_1_2_load_73 | 60 | 0.00080012 | 0.00020053 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6774-4_1_2_load_74 | 61 | 0.00089534 | 0.00022439 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6774-4_1_2_load_78 | 62 | 0.0023315 | 0.00058433 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6774-4_1_2_load_79 | 63 | 0.00055087 | 0.00013806 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6774-4_1_2_load_81 | 65 | 0.00041689 | 0.00010448 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6774-4_1_2_load_95 | 66 | 0.0009742 | 0.00024416 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6774-4_1_2_load_97 | 67 | 0.00049375 | 0.00012375 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6774-4_1_2_load_98 | 68 | 0.00060932 | 0.00015271 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6774-4_1_2_load_108 | 70 | 0.00096174 | 0.00024103 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6774-4_1_2_load_117 | 71 | 0.0029406 | 0.00073697 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6774-4_1_2_load_99 | 72 | 0.00038977 | 9.7687e-05 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6774-4_1_2_load_100 | 73 | 0.00080526 | 0.00020182 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6774-4_1_2_load_103 | 75 | 0.00038549 | 9.6614e-05 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6774-4_1_2_load_107 | 76 | 0.00038028 | 9.5307e-05 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6774-4_1_2_load_118 | 77 | 0.0027811 | 0.000697 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6774-4_1_2_load_119 | 78 | 0.0014768 | 0.00037012 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 58 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6774-4_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.033814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_6774-4_1_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.016925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_6774-4_1_2_line_2 | NAYY 4x150 SE | 1 | 5 | 0.021945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_6774-4_1_2_line_3 | NAYY 4x150 SE | 2 | 14 | 0.025613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_6774-4_1_2_line_4 | NAYY 4x150 SE | 3 | 4 | 0.046817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_6774-4_1_2_line_5 | NAYY 4x150 SE | 3 | 5 | 0.0080141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_6774-4_1_2_line_6 | NAYY 4x150 SE | 4 | 6 | 0.034822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_6774-4_1_2_line_7 | NAYY 4x150 SE | 6 | 7 | 0.014678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_6774-4_1_2_line_8 | NAYY 4x150 SE | 7 | 10 | 0.028524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_6774-4_1_2_line_9 | NAYY 4x150 SE | 8 | 9 | 0.020577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_6774-4_1_2_line_10 | NAYY 4x150 SE | 9 | 11 | 0.010668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_6774-4_1_2_line_11 | NAYY 4x150 SE | 9 | 12 | 0.030646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_6774-4_1_2_line_12 | NAYY 4x150 SE | 10 | 20 | 0.030443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_6774-4_1_2_line_13 | NAYY 4x150 SE | 11 | 18 | 0.00041054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_6774-4_1_2_line_14 | NAYY 4x150 SE | 12 | 15 | 0.016629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_6774-4_1_2_line_15 | NAYY 4x150 SE | 12 | 13 | 0.013932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_6774-4_1_2_line_16 | NAYY 4x150 SE | 13 | 14 | 0.010537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_6774-4_1_2_line_17 | NAYY 4x150 SE | 15 | 16 | 0.03169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_6774-4_1_2_line_18 | NAYY 4x150 SE | 16 | 17 | 0.0069852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_6774-4_1_2_line_19 | NAYY 4x150 SE | 17 | 19 | 0.070992 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_6774-4_1_2_line_20 | NAYY 4x150 SE | 18 | 52 | 0.0012308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_6774-4_1_2_line_21 | NAYY 4x150 SE | 21 | 22 | 0.019604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_6774-4_1_2_line_22 | NAYY 4x150 SE | 21 | 23 | 0.021998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_6774-4_1_2_line_23 | NAYY 4x150 SE | 22 | 24 | 0.037965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_6774-4_1_2_line_24 | NAYY 4x150 SE | 24 | 25 | 0.0072392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_6774-4_1_2_line_25 | NAYY 4x150 SE | 25 | 26 | 0.011429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_6774-4_1_2_line_26 | NAYY 4x150 SE | 26 | 27 | 0.066124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_6774-4_1_2_line_27 | NAYY 4x150 SE | 26 | 28 | 0.03666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_6774-4_1_2_line_28 | NAYY 4x150 SE | 26 | 29 | 0.024976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_6774-4_1_2_line_29 | NAYY 4x150 SE | 27 | 39 | 0.018366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_6774-4_1_2_line_30 | NAYY 4x150 SE | 28 | 40 | 0.00091424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_6774-4_1_2_line_31 | NAYY 4x150 SE | 29 | 35 | 0.018154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_6774-4_1_2_line_32 | NAYY 4x150 SE | 30 | 31 | 0.00073291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_6774-4_1_2_line_33 | NAYY 4x150 SE | 30 | 32 | 0.00038014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_6774-4_1_2_line_34 | NAYY 4x150 SE | 31 | 33 | 0.01481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_6774-4_1_2_line_35 | NAYY 4x150 SE | 32 | 34 | 0.0013237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_6774-4_1_2_line_36 | NAYY 4x150 SE | 33 | 35 | 0.0039568 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_6774-4_1_2_line_37 | NAYY 4x150 SE | 34 | 36 | 0.017086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_6774-4_1_2_line_38 | NAYY 4x150 SE | 36 | 37 | 0.023532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_6774-4_1_2_line_39 | NAYY 4x150 SE | 36 | 38 | 0.019923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_6774-4_1_2_line_40 | NAYY 4x150 SE | 37 | 53 | 0.0078547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_6774-4_1_2_line_41 | NAYY 4x150 SE | 38 | 50 | 0.012847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_6774-4_1_2_line_42 | NAYY 4x150 SE | 40 | 44 | 0.027129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_6774-4_1_2_line_43 | NAYY 4x150 SE | 41 | 42 | 0.016643 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_6774-4_1_2_line_44 | NAYY 4x150 SE | 42 | 43 | 0.00023699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_6774-4_1_2_line_45 | NAYY 4x150 SE | 43 | 45 | 0.0088012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_6774-4_1_2_line_46 | NAYY 4x150 SE | 44 | 46 | 0.0098581 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_6774-4_1_2_line_47 | NAYY 4x150 SE | 45 | 47 | 0.023856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_6774-4_1_2_line_48 | NAYY 4x150 SE | 46 | 48 | 0.041611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_6774-4_1_2_line_49 | NAYY 4x150 SE | 47 | 53 | 0.003457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_6774-4_1_2_line_50 | NAYY 4x150 SE | 47 | 58 | 0.0078419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_6774-4_1_2_line_51 | NAYY 4x150 SE | 48 | 54 | 0.012638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_6774-4_1_2_line_52 | NAYY 4x150 SE | 49 | 50 | 0.005054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_6774-4_1_2_line_53 | NAYY 4x150 SE | 49 | 51 | 0.016962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_6774-4_1_2_line_54 | NAYY 4x150 SE | 51 | 52 | 0.024349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_6774-4_1_2_line_55 | NAYY 4x150 SE | 54 | 55 | 0.024344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_6774-4_1_2_line_56 | NAYY 4x150 SE | 55 | 64 | 0.030315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_6774-4_1_2_line_57 | NAYY 4x150 SE | 56 | 57 | 0.0052802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_6774-4_1_2_line_58 | NAYY 4x150 SE | 56 | 58 | 0.010518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_6774-4_1_2_line_59 | NAYY 4x150 SE | 57 | 59 | 0.018316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_6774-4_1_2_line_60 | NAYY 4x150 SE | 59 | 60 | 0.001353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_6774-4_1_2_line_61 | NAYY 4x150 SE | 60 | 61 | 0.0027525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_6774-4_1_2_line_62 | NAYY 4x150 SE | 61 | 62 | 0.019157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_6774-4_1_2_line_63 | NAYY 4x150 SE | 62 | 63 | 0.01303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_6774-4_1_2_line_64 | NAYY 4x150 SE | 63 | 65 | 0.0179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_6774-4_1_2_line_65 | NAYY 4x150 SE | 64 | 79 | 0.036828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_6774-4_1_2_line_66 | NAYY 4x150 SE | 65 | 66 | 0.011384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_6774-4_1_2_line_67 | NAYY 4x150 SE | 66 | 67 | 0.00063355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_6774-4_1_2_line_68 | NAYY 4x150 SE | 67 | 68 | 0.028252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_6774-4_1_2_line_69 | NAYY 4x150 SE | 68 | 69 | 0.01662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_6774-4_1_2_line_70 | NAYY 4x150 SE | 69 | 70 | 0.022739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_6774-4_1_2_line_71 | NAYY 4x150 SE | 69 | 71 | 0.0096259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_6774-4_1_2_line_72 | NAYY 4x150 SE | 70 | 76 | 0.0040383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_6774-4_1_2_line_73 | NAYY 4x150 SE | 72 | 73 | 4.2281e-06 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_6774-4_1_2_line_74 | NAYY 4x150 SE | 72 | 74 | 0.022088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_6774-4_1_2_line_75 | NAYY 4x150 SE | 74 | 75 | 0.029706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_6774-4_1_2_line_76 | NAYY 4x150 SE | 75 | 76 | 0.011096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_6774-4_1_2_line_77 | NAYY 4x150 SE | 77 | 78 | 0.011915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_6774-4_1_2_line_78 | NAYY 4x150 SE | 78 | 79 | 0.0096868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6774-4_1_2_trafo_70 | 0.25 MVA 20/0.4 kV | 80 | 58 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2568093.4758 | 1260288.13 | 2568094.6554 | 1260294.4502 | 2568087.0837 | 1260320.7671
1 | 2568093.4758 | 1260288.13 | 2568076.5983 | 1260286.8583
2 | 2568081.0159 | 1260341.8567 | 2568087.0837 | 1260320.7671
3 | 2568051.0035 | 1260286.1359 | 2568070.7608 | 1260286.4184 | 2568076.5983 | 1260286.8583
4 | 2568065.533 | 1260394.4562 | 2568078.7529 | 1260349.5447
5 | 2568081.0159 | 1260341.8567 | 2568078.7529 | 1260349.5447
6 | 2568065.533 | 1260394.4562 | 2568055.7 | 1260427.8614
7 | 2568055.7 | 1260427.8614 | 2568053.0898 | 1260436.729 | 2568052.4605 | 1260442.1266
8 | 2568052.4605 | 1260442.1266 | 2568049.1572 | 1260470.4587
9 | 2568017.9646 | 1260318.4599 | 2568037.4073 | 1260325.1961
10 | 2568017.9646 | 1260318.4599 | 2568009.6869 | 1260325.1895
11 | 2568017.9646 | 1260318.4599 | 2568022.3649 | 1260307.2283 | 2568027.279 | 1260289.3004
12 | 2568048.6008 | 1260500.827 | 2568048.0204 | 1260480.2088 | 2568049.1572 | 1260470.4587
13 | 2568009.6869 | 1260325.1895 | 2568009.3683 | 1260325.4485
14 | 2568027.279 | 1260289.3004 | 2568021.3064 | 1260282.9728 | 2568020.6707 | 1260275.0705
15 | 2568027.279 | 1260289.3004 | 2568034.676 | 1260285.9024 | 2568040.4672 | 1260285.9852
16 | 2568040.4672 | 1260285.9852 | 2568051.0035 | 1260286.1359
17 | 2568018.3214 | 1260243.469 | 2568018.7609 | 1260251.3314 | 2568020.6707 | 1260275.0705
18 | 2568017.9315 | 1260236.4947 | 2568018.3214 | 1260243.469
19 | 2568017.9315 | 1260236.4947 | 2567976.0244 | 1260179.1913
20 | 2568009.3683 | 1260325.4485 | 2568008.4133 | 1260326.2249
21 | 2567869.4026 | 1260255.5443 | 2567869.134 | 1260259.5947 | 2567868.3229 | 1260273.9313 | 2567868.1195 | 1260275.099
22 | 2567869.4026 | 1260255.5443 | 2567870.1576 | 1260244.1563 | 2567870.0999 | 1260233.5715
23 | 2567868.1195 | 1260275.099 | 2567861.6036 | 1260312.5006
24 | 2567860.3611 | 1260319.6324 | 2567861.6036 | 1260312.5006
25 | 2567858.3997 | 1260330.8913 | 2567860.3611 | 1260319.6324
26 | 2567858.3997 | 1260330.8913 | 2567792.3332 | 1260328.1255
27 | 2567858.3997 | 1260330.8913 | 2567855.099 | 1260367.4029
28 | 2567858.3997 | 1260330.8913 | 2567882.8302 | 1260336.0829
29 | 2567790.6761 | 1260346.3994 | 2567792.4038 | 1260330.1063 | 2567792.3332 | 1260328.1255
30 | 2567855.099 | 1260367.4029 | 2567855.0167 | 1260368.3134
31 | 2567900.5876 | 1260339.8564 | 2567882.8302 | 1260336.0829
32 | 2567919.6618 | 1260343.9097 | 2567918.9449 | 1260343.7574
33 | 2567920.0336 | 1260343.9888 | 2567919.6618 | 1260343.9097
34 | 2567904.4579 | 1260340.6789 | 2567918.9449 | 1260343.7574
35 | 2567920.0336 | 1260343.9888 | 2567921.3284 | 1260344.2639
36 | 2567904.4579 | 1260340.6789 | 2567900.5876 | 1260339.8564
37 | 2567935.1353 | 1260352.6665 | 2567929.515 | 1260346.0036 | 2567921.3284 | 1260344.2639
38 | 2567935.1353 | 1260352.6665 | 2567941.7827 | 1260375.2406
39 | 2567935.1353 | 1260352.6665 | 2567954.4198 | 1260347.6618
40 | 2567941.7827 | 1260375.2406 | 2567944.0015 | 1260382.7755
41 | 2567954.4198 | 1260347.6618 | 2567966.8544 | 1260344.4347
42 | 2567855.0167 | 1260368.3134 | 2567852.053 | 1260395.2798
43 | 2567897.0056 | 1260380.9374 | 2567912.9437 | 1260385.7292
44 | 2567913.1707 | 1260385.7974 | 2567912.9437 | 1260385.7292
45 | 2567921.5991 | 1260388.3314 | 2567913.1707 | 1260385.7974
46 | 2567852.053 | 1260395.2798 | 2567850.976 | 1260405.0788
47 | 2567944.9781 | 1260386.0917 | 2567937.4043 | 1260388.8014 | 2567921.5991 | 1260388.3314
48 | 2567850.976 | 1260405.0788 | 2567846.4302 | 1260446.441
49 | 2567944.9781 | 1260386.0917 | 2567944.0015 | 1260382.7755
50 | 2567944.9781 | 1260386.0917 | 2567949.0681 | 1260392.7825
51 | 2567845.0495 | 1260459.0036 | 2567846.4302 | 1260446.441
52 | 2567971.7463 | 1260343.1652 | 2567966.8544 | 1260344.4347
53 | 2567971.7463 | 1260343.1652 | 2567988.164 | 1260338.9044
54 | 2568008.4133 | 1260326.2249 | 2567994.9986 | 1260337.1307 | 2567988.164 | 1260338.9044
55 | 2567845.0495 | 1260459.0036 | 2567842.8763 | 1260478.7782 | 2567842.4278 | 1260483.2054
56 | 2567839.3725 | 1260513.3656 | 2567842.4278 | 1260483.2054
57 | 2567954.4971 | 1260401.7879 | 2567956.9004 | 1260406.4895
58 | 2567954.4971 | 1260401.7879 | 2567954.1098 | 1260401.0302 | 2567949.0681 | 1260392.7825
59 | 2567959.0434 | 1260424.5549 | 2567957.7201 | 1260408.0932 | 2567956.9004 | 1260406.4895
60 | 2567959.0434 | 1260424.5549 | 2567959.0941 | 1260425.1864 | 2567959.1495 | 1260425.9037
61 | 2567959.3615 | 1260428.648 | 2567959.1495 | 1260425.9037
62 | 2567959.3615 | 1260428.648 | 2567960.837 | 1260447.7481
63 | 2567960.837 | 1260447.7481 | 2567960.837 | 1260447.7481 | 2567959.0853 | 1260460.6595
64 | 2567959.0853 | 1260460.6595 | 2567957.6924 | 1260470.9257 | 2567956.6773 | 1260478.3973
65 | 2567875.759 | 1260519.7051 | 2567839.3725 | 1260513.3656
66 | 2567955.1448 | 1260489.6774 | 2567956.6773 | 1260478.3973
67 | 2567955.0595 | 1260490.3052 | 2567955.1448 | 1260489.6774
68 | 2567955.0595 | 1260490.3052 | 2567951.3597 | 1260517.5367 | 2567951.2908 | 1260518.3038
69 | 2567949.8036 | 1260534.8572 | 2567951.2908 | 1260518.3038
70 | 2567949.8036 | 1260534.8572 | 2567951.6089 | 1260535.6479 | 2567971.0007 | 1260543.081 | 2567971.0007 | 1260543.081
71 | 2567949.8036 | 1260534.8572 | 2567940.4929 | 1260532.4139
72 | 2567974.3472 | 1260545.3413 | 2567971.0007 | 1260543.081
73 | 2568020.8138 | 1260553.4011 | 2568020.8112 | 1260553.4045
74 | 2568006.5505 | 1260570.2625 | 2568016.586 | 1260558.8001 | 2568020.8112 | 1260553.4045
75 | 2568006.5505 | 1260570.2625 | 2567991.0057 | 1260556.5929 | 2567983.5427 | 1260551.5522
76 | 2567974.3472 | 1260545.3413 | 2567983.5427 | 1260551.5522
77 | 2567885.3306 | 1260521.1942 | 2567897.1042 | 1260523.026
78 | 2567875.759 | 1260519.7051 | 2567885.3306 | 1260521.1942

## bus_geodata
| x | y | coords
0 | 2568093.4758 | 1260288.13
1 | 2568087.0837 | 1260320.7671
2 | 2568076.5983 | 1260286.8583
3 | 2568078.7529 | 1260349.5447
4 | 2568065.533 | 1260394.4562
5 | 2568081.0159 | 1260341.8567
6 | 2568055.7 | 1260427.8614
7 | 2568052.4605 | 1260442.1266
8 | 2568037.4073 | 1260325.1961
9 | 2568017.9646 | 1260318.4599
10 | 2568049.1572 | 1260470.4587
11 | 2568009.6869 | 1260325.1895
12 | 2568027.279 | 1260289.3004
13 | 2568040.4672 | 1260285.9852
14 | 2568051.0035 | 1260286.1359
15 | 2568020.6707 | 1260275.0705
16 | 2568018.3214 | 1260243.469
17 | 2568017.9315 | 1260236.4947
18 | 2568009.3683 | 1260325.4485
19 | 2567976.0244 | 1260179.1913
20 | 2568048.6008 | 1260500.827
21 | 2567869.4026 | 1260255.5443
22 | 2567868.1195 | 1260275.099
23 | 2567870.0999 | 1260233.5715
24 | 2567861.6036 | 1260312.5006
25 | 2567860.3612 | 1260319.6324
26 | 2567858.3997 | 1260330.8913
27 | 2567792.3332 | 1260328.1255
28 | 2567855.099 | 1260367.4029
29 | 2567882.8302 | 1260336.0829
30 | 2567919.6618 | 1260343.9097
31 | 2567918.9449 | 1260343.7574
32 | 2567920.0336 | 1260343.9888
33 | 2567904.4579 | 1260340.6789
34 | 2567921.3284 | 1260344.2639
35 | 2567900.5876 | 1260339.8564
36 | 2567935.1353 | 1260352.6665
37 | 2567941.7828 | 1260375.2406
38 | 2567954.4198 | 1260347.6618
39 | 2567790.6761 | 1260346.3994
40 | 2567855.0167 | 1260368.3134
41 | 2567897.0056 | 1260380.9374
42 | 2567912.9437 | 1260385.7292
43 | 2567913.1707 | 1260385.7974
44 | 2567852.053 | 1260395.2798
45 | 2567921.5991 | 1260388.3314
46 | 2567850.976 | 1260405.0788
47 | 2567944.9781 | 1260386.0917
48 | 2567846.4302 | 1260446.441
49 | 2567971.7463 | 1260343.1652
50 | 2567966.8544 | 1260344.4347
51 | 2567988.164 | 1260338.9044
52 | 2568008.4133 | 1260326.2249
53 | 2567944.0015 | 1260382.7755
54 | 2567845.0495 | 1260459.0036
55 | 2567842.4278 | 1260483.2054
56 | 2567954.4971 | 1260401.7879
57 | 2567956.9004 | 1260406.4895
58 | 2567949.0681 | 1260392.7825
59 | 2567959.0434 | 1260424.5549
60 | 2567959.1495 | 1260425.9037
61 | 2567959.3615 | 1260428.6481
62 | 2567960.837 | 1260447.7481
63 | 2567959.0853 | 1260460.6595
64 | 2567839.3725 | 1260513.3656
65 | 2567956.6773 | 1260478.3973
66 | 2567955.1448 | 1260489.6774
67 | 2567955.0595 | 1260490.3052
68 | 2567951.2908 | 1260518.3038
69 | 2567949.8036 | 1260534.8572
70 | 2567971.0007 | 1260543.081
71 | 2567940.4929 | 1260532.4139
72 | 2568020.8112 | 1260553.4045
73 | 2568020.8138 | 1260553.4011
74 | 2568006.5505 | 1260570.2625
75 | 2567983.5427 | 1260551.5522
76 | 2567974.3472 | 1260545.3413
77 | 2567897.1042 | 1260523.026
78 | 2567885.3306 | 1260521.1942
79 | 2567875.759 | 1260519.7051
80 | 2567944.9781 | 1260386.0917

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1