## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6775-3_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6775-3_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6775-3_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6775-3_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6775-3_0_3_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_6775-3_0_3_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_6775-3_0_3_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_6775-3_0_3_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_6775-3_0_3_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_6775-3_0_3_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_6775-3_0_3_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_6775-3_0_3_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_6775-3_0_3_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_6775-3_0_3_node_38 | 0.4 | n |  | TRUE
14 | bus_LV_6775-3_0_3_node_39 | 0.4 | n |  | TRUE
15 | bus_LV_6775-3_0_3_node_36 | 0.4 | n |  | TRUE
16 | bus_LV_6775-3_0_3_node_79 | 0.4 | n |  | TRUE
17 | bus_LV_6775-3_0_3_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_6775-3_0_3_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_6775-3_0_3_node_22 | 0.4 | n |  | TRUE
20 | bus_LV_6775-3_0_3_node_35 | 0.4 | n |  | TRUE
21 | bus_LV_6775-3_0_3_node_45 | 0.4 | n |  | TRUE
22 | bus_LV_6775-3_0_3_node_24 | 0.4 | n |  | TRUE
23 | bus_LV_6775-3_0_3_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_6775-3_0_3_node_34 | 0.4 | n |  | TRUE
25 | bus_LV_6775-3_0_3_node_46 | 0.4 | n |  | TRUE
26 | bus_LV_6775-3_0_3_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_6775-3_0_3_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_6775-3_0_3_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_6775-3_0_3_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_6775-3_0_3_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_6775-3_0_3_node_59 | 0.4 | n |  | TRUE
32 | bus_LV_6775-3_0_3_node_32 | 0.4 | n |  | TRUE
33 | bus_LV_6775-3_0_3_node_33 | 0.4 | n |  | TRUE
34 | bus_LV_6775-3_0_3_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_6775-3_0_3_node_60 | 0.4 | n |  | TRUE
36 | bus_LV_6775-3_0_3_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_6775-3_0_3_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_6775-3_0_3_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_6775-3_0_3_node_48 | 0.4 | n |  | TRUE
40 | bus_LV_6775-3_0_3_node_49 | 0.4 | n |  | TRUE
41 | bus_LV_6775-3_0_3_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_6775-3_0_3_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_6775-3_0_3_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_6775-3_0_3_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_6775-3_0_3_node_31 | 0.4 | n |  | TRUE
46 | bus_LV_6775-3_0_3_node_37 | 0.4 | n |  | TRUE
47 | bus_LV_6775-3_0_3_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_6775-3_0_3_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_6775-3_0_3_node_80 | 0.4 | n |  | TRUE
50 | bus_LV_6775-3_0_3_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_6775-3_0_3_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_6775-3_0_3_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_6775-3_0_3_node_74 | 0.4 | n |  | TRUE
54 | bus_LV_6775-3_0_3_node_84 | 0.4 | n |  | TRUE
55 | bus_LV_6775-3_0_3_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_6775-3_0_3_node_76 | 0.4 | n |  | TRUE
57 | bus_LV_6775-3_0_3_node_77 | 0.4 | n |  | TRUE
58 | bus_LV_6775-3_0_3_node_75 | 0.4 | n |  | TRUE
59 | bus_LV_6775-3_0_3_node_50 | 0.4 | n |  | TRUE
60 | bus_LV_6775-3_0_3_node_51 | 0.4 | n |  | TRUE
61 | bus_LV_6775-3_0_3_node_54 | 0.4 | n |  | TRUE
62 | bus_LV_6775-3_0_3_node_61 | 0.4 | n |  | TRUE
63 | bus_LV_6775-3_0_3_node_55 | 0.4 | n |  | TRUE
64 | bus_LV_6775-3_0_3_node_52 | 0.4 | n |  | TRUE
65 | bus_LV_6775-3_0_3_node_53 | 0.4 | n |  | TRUE
66 | bus_LV_6775-3_0_3_node_57 | 0.4 | n |  | TRUE
67 | bus_LV_6775-3_0_3_node_56 | 0.4 | n |  | TRUE
68 | bus_LV_6775-3_0_3_node_58 | 0.4 | n |  | TRUE
69 | bus_LV_6775-3_0_3_node_62 | 0.4 | n |  | TRUE
70 | bus_LV_6775-3_0_3_node_63 | 0.4 | n |  | TRUE
71 | bus_LV_6775-3_0_3_node_64 | 0.4 | n |  | TRUE
72 | bus_LV_6775-3_0_3_node_65 | 0.4 | n |  | TRUE
73 | bus_LV_6775-3_0_3_node_66 | 0.4 | n |  | TRUE
74 | bus_LV_6775-3_0_3_node_67 | 0.4 | n |  | TRUE
75 | bus_LV_6775-3_0_3_node_69 | 0.4 | n |  | TRUE
76 | bus_LV_6775-3_0_3_node_70 | 0.4 | n |  | TRUE
77 | bus_LV_6775-3_0_3_node_68 | 0.4 | n |  | TRUE
78 | bus_LV_6775-3_0_3_node_71 | 0.4 | n |  | TRUE
79 | bus_LV_6775-3_0_3_node_83 | 0.4 | n |  | TRUE
80 | bus_LV_6775-3_0_3_node_73 | 0.4 | n |  | TRUE
81 | bus_LV_6775-3_0_3_node_82 | 0.4 | n |  | TRUE
82 | bus_LV_6775-3_0_3_node_72 | 0.4 | n |  | TRUE
83 | bus_LV_6775-3_0_3_node_78 | 0.4 | n |  | TRUE
84 | bus_LV_6775-3_0_3_node_81 | 0.4 | n |  | TRUE
85 | bus_MV_342_0_node_36 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6775-3_0_3_load_0 | 0 | 0.0015053 | 0.00037726 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6775-3_0_3_load_3 | 3 | 0.0033318 | 0.00083503 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6775-3_0_3_load_6 | 5 | 0.0032162 | 0.00080606 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6775-3_0_3_load_4 | 6 | 0.00074126 | 0.00018578 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6775-3_0_3_load_12 | 7 | 0.0019503 | 0.00048878 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6775-3_0_3_load_11 | 8 | 0.0058294 | 0.001461 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6775-3_0_3_load_7 | 9 | 0.0020211 | 0.00050653 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6775-3_0_3_load_8 | 10 | 0.0030267 | 0.00075855 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6775-3_0_3_load_9 | 11 | 0.012365 | 0.0030989 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6775-3_0_3_load_38 | 13 | 0.0038915 | 0.00097531 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6775-3_0_3_load_39 | 14 | 0.0050514 | 0.001266 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6775-3_0_3_load_36 | 15 | 0.0055045 | 0.0013796 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6775-3_0_3_load_79 | 16 | 0.0078863 | 0.0019765 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6775-3_0_3_load_13 | 17 | 0.0035825 | 0.00089787 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6775-3_0_3_load_35 | 20 | 0.0053825 | 0.001349 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6775-3_0_3_load_45 | 21 | 0.0010534 | 0.00026401 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6775-3_0_3_load_24 | 22 | 0.0028964 | 0.00072592 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6775-3_0_3_load_20 | 23 | 0.0021788 | 0.00054606 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6775-3_0_3_load_34 | 24 | 0.0020534 | 0.00051462 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6775-3_0_3_load_46 | 25 | 0.0034885 | 0.00087431 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6775-3_0_3_load_15 | 26 | 0.003247 | 0.00081379 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6775-3_0_3_load_16 | 27 | 0.0022101 | 0.0005539 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6775-3_0_3_load_17 | 29 | 0.0056372 | 0.0014128 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6775-3_0_3_load_19 | 30 | 0.003136 | 0.00078596 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6775-3_0_3_load_59 | 31 | 0.0017092 | 0.00042836 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6775-3_0_3_load_26 | 34 | 0.0029562 | 0.00074089 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6775-3_0_3_load_60 | 35 | 0.0012699 | 0.00031827 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6775-3_0_3_load_21 | 36 | 0.00091753 | 0.00022995 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6775-3_0_3_load_23 | 37 | 0.00091888 | 0.00023029 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6775-3_0_3_load_25 | 38 | 0.0015315 | 0.00038383 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6775-3_0_3_load_48 | 39 | 0.0037598 | 0.0009423 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6775-3_0_3_load_49 | 40 | 0.00020838 | 5.2225e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6775-3_0_3_load_27 | 41 | 0.0024232 | 0.0006073 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6775-3_0_3_load_28 | 42 | 0.0020888 | 0.00052351 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6775-3_0_3_load_29 | 43 | 0.0043338 | 0.0010861 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6775-3_0_3_load_30 | 44 | 0.0022712 | 0.00056921 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6775-3_0_3_load_37 | 46 | 0.001784 | 0.00044711 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6775-3_0_3_load_41 | 48 | 0.0026919 | 0.00067464 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6775-3_0_3_load_80 | 49 | 0.0059942 | 0.0015023 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6775-3_0_3_load_43 | 51 | 0.0035927 | 0.00090042 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6775-3_0_3_load_74 | 53 | 0.020028 | 0.0050195 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6775-3_0_3_load_84 | 54 | 0.0041256 | 0.001034 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6775-3_0_3_load_47 | 55 | 0.0021825 | 0.00054698 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6775-3_0_3_load_77 | 57 | 0.0022699 | 0.00056888 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6775-3_0_3_load_75 | 58 | 0.0088691 | 0.0022228 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6775-3_0_3_load_50 | 59 | 0.00026853 | 6.7301e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6775-3_0_3_load_51 | 60 | 0.00029546 | 7.4049e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6775-3_0_3_load_55 | 63 | 0.0002772 | 6.9474e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6775-3_0_3_load_52 | 64 | 0.000612 | 0.00015338 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6775-3_0_3_load_53 | 65 | 0.0030734 | 0.00077027 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6775-3_0_3_load_57 | 66 | 0.00080958 | 0.0002029 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6775-3_0_3_load_56 | 67 | 0.0006202 | 0.00015544 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6775-3_0_3_load_58 | 68 | 0.00027973 | 7.0106e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6775-3_0_3_load_62 | 69 | 0.00070729 | 0.00017726 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6775-3_0_3_load_63 | 70 | 0.0020092 | 0.00050356 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6775-3_0_3_load_64 | 71 | 0.0025614 | 0.00064194 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6775-3_0_3_load_66 | 73 | 0.00088494 | 0.00022179 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6775-3_0_3_load_67 | 74 | 0.0024087 | 0.00060367 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6775-3_0_3_load_69 | 75 | 0.0011399 | 0.00028569 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6775-3_0_3_load_70 | 76 | 0.006022 | 0.0015093 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6775-3_0_3_load_68 | 77 | 0.0016119 | 0.00040398 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6775-3_0_3_load_71 | 78 | 0.0049028 | 0.0012288 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6775-3_0_3_load_83 | 79 | 0.0062509 | 0.0015666 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6775-3_0_3_load_73 | 80 | 0.006151 | 0.0015416 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6775-3_0_3_load_82 | 81 | 0.0038394 | 0.00096224 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6775-3_0_3_load_72 | 82 | 0.0059693 | 0.001496 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6775-3_0_3_load_78 | 83 | 0.0040835 | 0.0010234 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 13 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6775-3_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.010226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_6775-3_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.016318 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_6775-3_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.015703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_6775-3_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.038008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_6775-3_0_3_line_4 | NAYY 4x150 SE | 4 | 5 | 0.023107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_6775-3_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.066732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_6775-3_0_3_line_6 | NAYY 4x150 SE | 5 | 9 | 0.032889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_6775-3_0_3_line_7 | NAYY 4x150 SE | 7 | 8 | 0.020673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_6775-3_0_3_line_8 | NAYY 4x150 SE | 8 | 17 | 0.0034369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_6775-3_0_3_line_9 | NAYY 4x150 SE | 9 | 10 | 0.020296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_6775-3_0_3_line_10 | NAYY 4x150 SE | 10 | 11 | 0.033707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_6775-3_0_3_line_11 | NAYY 4x150 SE | 11 | 12 | 0.018869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_6775-3_0_3_line_12 | NAYY 4x150 SE | 12 | 13 | 0.010978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_6775-3_0_3_line_13 | NAYY 4x150 SE | 12 | 14 | 0.0327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_6775-3_0_3_line_14 | NAYY 4x150 SE | 13 | 15 | 0.015673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_6775-3_0_3_line_15 | NAYY 4x150 SE | 14 | 16 | 0.0028384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_6775-3_0_3_line_16 | NAYY 4x150 SE | 15 | 33 | 0.017375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_6775-3_0_3_line_17 | NAYY 4x150 SE | 16 | 49 | 0.018712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_6775-3_0_3_line_18 | NAYY 4x150 SE | 17 | 18 | 0.024818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_6775-3_0_3_line_19 | NAYY 4x150 SE | 18 | 19 | 0.030243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_6775-3_0_3_line_20 | NAYY 4x150 SE | 18 | 20 | 0.022717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_6775-3_0_3_line_21 | NAYY 4x150 SE | 18 | 21 | 0.042729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_6775-3_0_3_line_22 | NAYY 4x150 SE | 19 | 22 | 0.0088512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_6775-3_0_3_line_23 | NAYY 4x150 SE | 19 | 23 | 0.043901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_6775-3_0_3_line_24 | NAYY 4x150 SE | 20 | 24 | 0.046687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_6775-3_0_3_line_25 | NAYY 4x150 SE | 21 | 25 | 0.020227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_6775-3_0_3_line_26 | NAYY 4x150 SE | 22 | 39 | 0.0096162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_6775-3_0_3_line_27 | NAYY 4x150 SE | 23 | 36 | 0.002672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_6775-3_0_3_line_28 | NAYY 4x150 SE | 25 | 55 | 0.010972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_6775-3_0_3_line_29 | NAYY 4x150 SE | 26 | 27 | 0.017261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_6775-3_0_3_line_30 | NAYY 4x150 SE | 26 | 28 | 0.076206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_6775-3_0_3_line_31 | NAYY 4x150 SE | 27 | 29 | 0.019516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_6775-3_0_3_line_32 | NAYY 4x150 SE | 28 | 30 | 0.030654 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_6775-3_0_3_line_33 | NAYY 4x150 SE | 29 | 32 | 0.032864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_6775-3_0_3_line_34 | NAYY 4x150 SE | 30 | 31 | 0.03471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_6775-3_0_3_line_35 | NAYY 4x150 SE | 31 | 35 | 0.0044198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_6775-3_0_3_line_36 | NAYY 4x150 SE | 32 | 33 | 0.020382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_6775-3_0_3_line_37 | NAYY 4x150 SE | 32 | 34 | 0.018922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_6775-3_0_3_line_38 | NAYY 4x150 SE | 33 | 46 | 0.020336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_6775-3_0_3_line_39 | NAYY 4x150 SE | 34 | 38 | 0.0051689 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_6775-3_0_3_line_40 | NAYY 4x150 SE | 35 | 62 | 0.031519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_6775-3_0_3_line_41 | NAYY 4x150 SE | 36 | 37 | 0.012612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_6775-3_0_3_line_42 | NAYY 4x150 SE | 37 | 38 | 0.029427 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_6775-3_0_3_line_43 | NAYY 4x150 SE | 39 | 40 | 0.0081817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_6775-3_0_3_line_44 | NAYY 4x150 SE | 40 | 59 | 0.049183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_6775-3_0_3_line_45 | NAYY 4x150 SE | 41 | 42 | 0.0063399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_6775-3_0_3_line_46 | NAYY 4x150 SE | 41 | 43 | 0.024776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_6775-3_0_3_line_47 | NAYY 4x150 SE | 42 | 44 | 0.016584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_6775-3_0_3_line_48 | NAYY 4x150 SE | 43 | 45 | 0.020711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_6775-3_0_3_line_49 | NAYY 4x150 SE | 44 | 46 | 0.020678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_6775-3_0_3_line_50 | NAYY 4x150 SE | 45 | 47 | 0.03101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_6775-3_0_3_line_51 | NAYY 4x150 SE | 47 | 48 | 0.0064803 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_6775-3_0_3_line_52 | NAYY 4x150 SE | 48 | 50 | 0.030322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_6775-3_0_3_line_53 | NAYY 4x150 SE | 49 | 84 | 0.066565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_6775-3_0_3_line_54 | NAYY 4x150 SE | 50 | 51 | 0.014821 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_6775-3_0_3_line_55 | NAYY 4x150 SE | 50 | 52 | 0.007692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_6775-3_0_3_line_56 | NAYY 4x150 SE | 51 | 53 | 0.078364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_6775-3_0_3_line_57 | NAYY 4x150 SE | 52 | 54 | 0.053596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_6775-3_0_3_line_58 | NAYY 4x150 SE | 55 | 56 | 0.0071832 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_6775-3_0_3_line_59 | NAYY 4x150 SE | 56 | 57 | 0.010141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_6775-3_0_3_line_60 | NAYY 4x150 SE | 56 | 58 | 0.034826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_6775-3_0_3_line_61 | NAYY 4x150 SE | 57 | 83 | 0.039908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_6775-3_0_3_line_62 | NAYY 4x150 SE | 59 | 60 | 0.0024185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_6775-3_0_3_line_63 | NAYY 4x150 SE | 60 | 61 | 0.020109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_6775-3_0_3_line_64 | NAYY 4x150 SE | 61 | 63 | 0.016398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_6775-3_0_3_line_65 | NAYY 4x150 SE | 61 | 64 | 0.023717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_6775-3_0_3_line_66 | NAYY 4x150 SE | 62 | 69 | 0.034364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_6775-3_0_3_line_67 | NAYY 4x150 SE | 63 | 66 | 0.001616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_6775-3_0_3_line_68 | NAYY 4x150 SE | 64 | 65 | 0.018139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_6775-3_0_3_line_69 | NAYY 4x150 SE | 66 | 67 | 0.028809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_6775-3_0_3_line_70 | NAYY 4x150 SE | 67 | 68 | 0.0089274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_6775-3_0_3_line_71 | NAYY 4x150 SE | 70 | 71 | 0.0090362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_6775-3_0_3_line_72 | NAYY 4x150 SE | 71 | 72 | 0.021255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_6775-3_0_3_line_73 | NAYY 4x150 SE | 72 | 73 | 0.053748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_6775-3_0_3_line_74 | NAYY 4x150 SE | 72 | 74 | 0.041442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_6775-3_0_3_line_75 | NAYY 4x150 SE | 73 | 75 | 0.024319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_6775-3_0_3_line_76 | NAYY 4x150 SE | 74 | 76 | 0.038675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_6775-3_0_3_line_77 | NAYY 4x150 SE | 75 | 77 | 0.0072437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_6775-3_0_3_line_78 | NAYY 4x150 SE | 76 | 78 | 0.025622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_6775-3_0_3_line_79 | NAYY 4x150 SE | 78 | 82 | 0.031651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_6775-3_0_3_line_80 | NAYY 4x150 SE | 79 | 80 | 0.082624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_6775-3_0_3_line_81 | NAYY 4x150 SE | 79 | 81 | 0.0065615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_6775-3_0_3_line_82 | NAYY 4x150 SE | 80 | 82 | 0.037947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_6775-3_0_3_line_83 | NAYY 4x150 SE | 81 | 84 | 0.04175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6775-3_0_3_trafo_38 | 0.25 MVA 20/0.4 kV | 85 | 13 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2578608.2233 | 1258356.958 | 2578613.9508 | 1258354.4577 | 2578617.7585 | 1258353.3124
1 | 2578608.2233 | 1258356.958 | 2578594.3769 | 1258365.6586
2 | 2578608.2233 | 1258356.958 | 2578608.9615 | 1258348.5274 | 2578609.7089 | 1258341.3255
3 | 2578594.3769 | 1258365.6586 | 2578594.6851 | 1258371.6393 | 2578594.8615 | 1258374.5406 | 2578595.1278 | 1258377.297 | 2578595.8471 | 1258382.3201 | 2578596.6613 | 1258386.4643 | 2578597.473 | 1258389.9638 | 2578598.877 | 1258394.6396 | 2578601.9817 | 1258402.6337
4 | 2578601.9817 | 1258402.6337 | 2578581.4191 | 1258413.174
5 | 2578601.9817 | 1258402.6337 | 2578618.8809 | 1258431.3141 | 2578646.6929 | 1258419.8388 | 2578648.7163 | 1258417.1608
6 | 2578581.4191 | 1258413.174 | 2578552.1509 | 1258428.1766
7 | 2578528.6225 | 1258369.9231 | 2578530.5362 | 1258369.9937 | 2578543.8212 | 1258370.7014 | 2578549.2666 | 1258371.0131
8 | 2578528.6225 | 1258369.9231 | 2578525.188 | 1258369.7963
9 | 2578535.8425 | 1258440.1663 | 2578542.5688 | 1258434.5714 | 2578549.4856 | 1258429.5428 | 2578552.1509 | 1258428.1766
10 | 2578514.5364 | 1258466.2834 | 2578516.4737 | 1258464.0531 | 2578535.8425 | 1258440.1663 | 2578535.8425 | 1258440.1663
11 | 2578500.5313 | 1258478.71 | 2578508.6068 | 1258473.1101 | 2578514.5364 | 1258466.2834
12 | 2578500.5313 | 1258478.71 | 2578495.1418 | 1258480.8422 | 2578490.1057 | 1258482.0648
13 | 2578500.5313 | 1258478.71 | 2578507.6083 | 1258484.5659 | 2578511.4969 | 1258486.3418 | 2578530.1002 | 1258491.2466
14 | 2578490.1057 | 1258482.0648 | 2578485.5166 | 1258483.1789 | 2578477.0446 | 1258483.3989 | 2578474.6141 | 1258482.9254
15 | 2578532.8448 | 1258491.9702 | 2578530.1002 | 1258491.2466
16 | 2578458.2601 | 1258477.3412 | 2578464.3907 | 1258479.9873 | 2578468.362 | 1258481.7072 | 2578474.6141 | 1258482.9254
17 | 2578532.8448 | 1258491.9702 | 2578550.2649 | 1258496.5631 | 2578550.9429 | 1258496.7238
18 | 2578500.3867 | 1258368.8806 | 2578525.188 | 1258369.7963
19 | 2578470.5009 | 1258365.6876 | 2578474.6991 | 1258367.5735 | 2578478.7035 | 1258368.0036 | 2578500.3867 | 1258368.8806
20 | 2578500.3867 | 1258368.8806 | 2578497.287 | 1258378.7987 | 2578493.6959 | 1258390.5901
21 | 2578500.3867 | 1258368.8806 | 2578507.2385 | 1258346.0291 | 2578509.6166 | 1258340.8169 | 2578512.517 | 1258336.1587 | 2578516.0227 | 1258332.1432 | 2578517.7317 | 1258330.5663
22 | 2578470.5009 | 1258365.6876 | 2578463.5328 | 1258360.2297
23 | 2578470.5009 | 1258365.6876 | 2578450.8429 | 1258386.7848 | 2578447.7824 | 1258392.9446 | 2578446.8086 | 1258396.6951 | 2578446.6489 | 1258400.4427 | 2578446.7275 | 1258400.9981
24 | 2578479.9547 | 1258435.2092 | 2578481.9555 | 1258428.6661 | 2578485.1595 | 1258418.4475 | 2578490.4936 | 1258401.1052 | 2578493.6959 | 1258390.5901
25 | 2578517.7317 | 1258330.5663 | 2578521.2367 | 1258327.3321 | 2578527.9629 | 1258321.6704 | 2578533.1058 | 1258317.4295
26 | 2578463.5328 | 1258360.2297 | 2578455.9625 | 1258354.3
27 | 2578446.7275 | 1258400.9981 | 2578447.1018 | 1258403.6438
28 | 2578541.571 | 1258310.4489 | 2578533.1058 | 1258317.4295
29 | 2578396.1423 | 1258439.394 | 2578380.3696 | 1258432.3833
30 | 2578380.3696 | 1258432.3833 | 2578311.4415 | 1258399.8828
31 | 2578396.1423 | 1258439.394 | 2578397.6904 | 1258440.0821 | 2578412.8696 | 1258449.4209
32 | 2578311.4415 | 1258399.8828 | 2578324.5371 | 1258372.1668
33 | 2578440.8607 | 1258466.642 | 2578412.8696 | 1258449.4209
34 | 2578337.7717 | 1258340.2456 | 2578337.7717 | 1258340.2456 | 2578336.2601 | 1258347.3559 | 2578324.5371 | 1258372.1668
35 | 2578337.7717 | 1258340.2456 | 2578336.2198 | 1258336.4042 | 2578335.9609 | 1258336.3065
36 | 2578440.8607 | 1258466.642 | 2578453.4777 | 1258474.4011 | 2578458.2601 | 1258477.3412
37 | 2578440.8607 | 1258466.642 | 2578449.1701 | 1258449.6425
38 | 2578458.2601 | 1258477.3412 | 2578440.6506 | 1258487.5125 | 2578440.6506 | 1258487.5125
39 | 2578450.6398 | 1258444.6928 | 2578449.3379 | 1258449.2993 | 2578449.1701 | 1258449.6425
40 | 2578305.7426 | 1258328.2552 | 2578318.0801 | 1258329.5552 | 2578335.9609 | 1258336.3065
41 | 2578447.1018 | 1258403.6438 | 2578448.0341 | 1258410.2332 | 2578449.8584 | 1258415.9038
42 | 2578450.6398 | 1258444.6928 | 2578451.9425 | 1258440.0835 | 2578452.7864 | 1258431.7303 | 2578452.7189 | 1258425.6487 | 2578451.389 | 1258420.6613 | 2578449.8584 | 1258415.9038
43 | 2578449.5214 | 1258349.2549 | 2578455.9625 | 1258354.3
44 | 2578449.5214 | 1258349.2549 | 2578447.428 | 1258347.6152 | 2578438.2924 | 1258337.5307 | 2578431.5806 | 1258328.5492 | 2578428.318 | 1258322.7683 | 2578424.875 | 1258315.0868 | 2578423.642 | 1258309.8322 | 2578423.4706 | 1258308.5929
45 | 2578400.391 | 1258504.2374 | 2578403.6279 | 1258503.1141 | 2578406.3129 | 1258501.9827
46 | 2578400.391 | 1258504.2374 | 2578376.984 | 1258512.3602
47 | 2578421.5957 | 1258495.5424 | 2578406.3129 | 1258501.9827
48 | 2578357.4181 | 1258519.1501 | 2578376.984 | 1258512.3602
49 | 2578440.6506 | 1258487.5125 | 2578421.5957 | 1258495.5424
50 | 2578357.4181 | 1258519.1501 | 2578358.358 | 1258528.7642 | 2578357.1101 | 1258539.9653 | 2578353.8888 | 1258549.5169
51 | 2578353.8888 | 1258549.5169 | 2578355.4971 | 1258555.7945
52 | 2578358.7411 | 1258585.8571 | 2578357.1161 | 1258562.1136 | 2578355.4971 | 1258555.7945
53 | 2578615.8766 | 1258511.1568 | 2578607.732 | 1258510.1857 | 2578550.9429 | 1258496.7238
54 | 2578358.7411 | 1258585.8571 | 2578373.5555 | 1258585.4137
55 | 2578359.7641 | 1258593.4807 | 2578358.7411 | 1258585.8571
56 | 2578373.5555 | 1258585.4137 | 2578451.6464 | 1258591.9541
57 | 2578359.7641 | 1258593.4807 | 2578364.4304 | 1258612.0206 | 2578372.2072 | 1258629.8597 | 2578380.3261 | 1258642.493
58 | 2578547.113 | 1258305.8788 | 2578541.571 | 1258310.4489
59 | 2578547.113 | 1258305.8788 | 2578554.8727 | 1258299.3494
60 | 2578547.113 | 1258305.8788 | 2578533.9028 | 1258292.6402 | 2578522.3276 | 1258281.4161
61 | 2578579.7543 | 1258268.5176 | 2578577.5226 | 1258272.7347 | 2578573.8652 | 1258278.5853 | 2578569.4026 | 1258284.8168 | 2578565.2055 | 1258289.4686 | 2578560.4666 | 1258294.3558 | 2578555.8984 | 1258298.4863 | 2578554.8727 | 1258299.3494
62 | 2578423.1392 | 1258306.1972 | 2578423.4706 | 1258308.5929
63 | 2578423.9324 | 1258286.1929 | 2578422.6088 | 1258297.3387 | 2578422.798 | 1258303.7312 | 2578423.1392 | 1258306.1972
64 | 2578423.9324 | 1258286.1929 | 2578412.0002 | 1258280.2993 | 2578409.4379 | 1258278.573
65 | 2578423.9324 | 1258286.1929 | 2578433.9119 | 1258264.6772
66 | 2578302.5448 | 1258295.089 | 2578307.5898 | 1258305.8222 | 2578305.7426 | 1258328.2552
67 | 2578409.4379 | 1258278.573 | 2578408.0976 | 1258277.6701
68 | 2578442.868 | 1258248.9096 | 2578434.4707 | 1258263.4723 | 2578433.9119 | 1258264.6772
69 | 2578388.3694 | 1258257.046 | 2578396.4566 | 1258268.1036 | 2578403.3171 | 1258274.4494 | 2578408.0976 | 1258277.6701
70 | 2578383.0994 | 1258249.8402 | 2578388.3694 | 1258257.046
71 | 2578470.6955 | 1258767.2012 | 2578479.6795 | 1258768.1706
72 | 2578500.8123 | 1258770.4511 | 2578479.6795 | 1258768.1706
73 | 2578500.8123 | 1258770.4511 | 2578507.9526 | 1258771.0032 | 2578529.537 | 1258772.0808 | 2578554.3897 | 1258774.5457
74 | 2578500.8123 | 1258770.4511 | 2578502.2543 | 1258754.5573 | 2578508.8571 | 1258729.9442
75 | 2578578.5897 | 1258776.9459 | 2578554.3897 | 1258774.5457
76 | 2578508.8571 | 1258729.9442 | 2578509.5124 | 1258727.5014 | 2578522.1445 | 1258693.6346
77 | 2578585.7981 | 1258777.6608 | 2578578.5897 | 1258776.9459
78 | 2578522.1445 | 1258693.6346 | 2578522.1951 | 1258693.4987 | 2578532.2635 | 1258670.0953
79 | 2578544.8677 | 1258641.0626 | 2578538.4074 | 1258655.8141 | 2578532.2635 | 1258670.0953
80 | 2578624.3668 | 1258557.4796 | 2578556.8829 | 1258605.1512
81 | 2578624.3668 | 1258557.4796 | 2578624.3009 | 1258550.9184
82 | 2578544.8677 | 1258641.0626 | 2578550.0246 | 1258629.2872 | 2578556.8829 | 1258605.1512
83 | 2578615.8766 | 1258511.1568 | 2578617.4793 | 1258516.588 | 2578624.0716 | 1258528.083 | 2578624.3009 | 1258550.9184

## bus_geodata
| x | y | coords
0 | 2578617.7585 | 1258353.3124
1 | 2578608.2233 | 1258356.958
2 | 2578594.3769 | 1258365.6586
3 | 2578609.7089 | 1258341.3255
4 | 2578601.9817 | 1258402.6337
5 | 2578581.4191 | 1258413.174
6 | 2578648.7163 | 1258417.1608
7 | 2578549.2666 | 1258371.0131
8 | 2578528.6225 | 1258369.9231
9 | 2578552.1509 | 1258428.1766
10 | 2578535.8425 | 1258440.1663
11 | 2578514.5364 | 1258466.2834
12 | 2578500.5313 | 1258478.71
13 | 2578490.1057 | 1258482.0648
14 | 2578530.1002 | 1258491.2466
15 | 2578474.6141 | 1258482.9254
16 | 2578532.8448 | 1258491.9702
17 | 2578525.188 | 1258369.7963
18 | 2578500.3867 | 1258368.8806
19 | 2578470.5009 | 1258365.6876
20 | 2578493.6959 | 1258390.5901
21 | 2578517.7317 | 1258330.5663
22 | 2578463.5328 | 1258360.2297
23 | 2578446.7275 | 1258400.9981
24 | 2578479.9547 | 1258435.2092
25 | 2578533.1058 | 1258317.4295
26 | 2578380.3696 | 1258432.3833
27 | 2578396.1423 | 1258439.394
28 | 2578311.4415 | 1258399.8828
29 | 2578412.8696 | 1258449.4209
30 | 2578324.5371 | 1258372.1668
31 | 2578337.7717 | 1258340.2456
32 | 2578440.8607 | 1258466.642
33 | 2578458.2601 | 1258477.3412
34 | 2578449.1701 | 1258449.6425
35 | 2578335.9609 | 1258336.3065
36 | 2578447.1018 | 1258403.6438
37 | 2578449.8584 | 1258415.9038
38 | 2578450.6398 | 1258444.6928
39 | 2578455.9625 | 1258354.3
40 | 2578449.5214 | 1258349.2549
41 | 2578400.391 | 1258504.2374
42 | 2578406.3129 | 1258501.9827
43 | 2578376.984 | 1258512.3602
44 | 2578421.5957 | 1258495.5424
45 | 2578357.4181 | 1258519.1501
46 | 2578440.6506 | 1258487.5125
47 | 2578353.8888 | 1258549.5169
48 | 2578355.4971 | 1258555.7945
49 | 2578550.9429 | 1258496.7238
50 | 2578358.7411 | 1258585.8571
51 | 2578373.5555 | 1258585.4137
52 | 2578359.7641 | 1258593.4807
53 | 2578451.6464 | 1258591.9541
54 | 2578380.3261 | 1258642.493
55 | 2578541.571 | 1258310.4489
56 | 2578547.113 | 1258305.8788
57 | 2578554.8727 | 1258299.3494
58 | 2578522.3276 | 1258281.4161
59 | 2578423.4706 | 1258308.5929
60 | 2578423.1392 | 1258306.1972
61 | 2578423.9324 | 1258286.1929
62 | 2578305.7426 | 1258328.2552
63 | 2578409.4379 | 1258278.573
64 | 2578433.9119 | 1258264.6772
65 | 2578442.868 | 1258248.9096
66 | 2578408.0976 | 1258277.6701
67 | 2578388.3694 | 1258257.046
68 | 2578383.0994 | 1258249.8402
69 | 2578302.5448 | 1258295.089
70 | 2578470.6955 | 1258767.2012
71 | 2578479.6795 | 1258768.1706
72 | 2578500.8123 | 1258770.4511
73 | 2578554.3897 | 1258774.5457
74 | 2578508.8571 | 1258729.9442
75 | 2578578.5897 | 1258776.9459
76 | 2578522.1445 | 1258693.6346
77 | 2578585.7981 | 1258777.6608
78 | 2578532.2635 | 1258670.0953
79 | 2578624.3668 | 1258557.4796
80 | 2578556.8829 | 1258605.1512
81 | 2578624.3009 | 1258550.9184
82 | 2578544.8677 | 1258641.0626
83 | 2578579.7543 | 1258268.5176
84 | 2578615.8766 | 1258511.1568
85 | 2578500.5313 | 1258478.71

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1